## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2254-6_1_3_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_2254-6_1_3_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_2254-6_1_3_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_2254-6_1_3_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_2254-6_1_3_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_2254-6_1_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_2254-6_1_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_2254-6_1_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_2254-6_1_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_2254-6_1_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2254-6_1_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_2254-6_1_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_2254-6_1_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_2254-6_1_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_2254-6_1_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2254-6_1_3_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_2254-6_1_3_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_2254-6_1_3_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2254-6_1_3_node_103 | 0.4 | n |  | TRUE
19 | bus_LV_2254-6_1_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_2254-6_1_3_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_2254-6_1_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_2254-6_1_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2254-6_1_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_2254-6_1_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2254-6_1_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_2254-6_1_3_node_67 | 0.4 | n |  | TRUE
27 | bus_LV_2254-6_1_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_2254-6_1_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_2254-6_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_2254-6_1_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_2254-6_1_3_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_2254-6_1_3_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_2254-6_1_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_2254-6_1_3_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_2254-6_1_3_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_2254-6_1_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_2254-6_1_3_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_2254-6_1_3_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_2254-6_1_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_2254-6_1_3_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_2254-6_1_3_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_2254-6_1_3_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_2254-6_1_3_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_2254-6_1_3_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_2254-6_1_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_2254-6_1_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_2254-6_1_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_2254-6_1_3_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_2254-6_1_3_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_2254-6_1_3_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_2254-6_1_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_2254-6_1_3_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_2254-6_1_3_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_2254-6_1_3_node_98 | 0.4 | n |  | TRUE
55 | bus_MV_375_1_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2254-6_1_3_load_19 | 0 | 0.0038859 | 0.0009739 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2254-6_1_3_load_20 | 1 | 0.0017251 | 0.00043234 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2254-6_1_3_load_21 | 2 | 0.0070913 | 0.0017773 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2254-6_1_3_load_22 | 3 | 0.0019837 | 0.00049717 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2254-6_1_3_load_39 | 4 | 0.0046387 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2254-6_1_3_load_27 | 6 | 0.0022385 | 0.00056101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2254-6_1_3_load_24 | 8 | 0.0019388 | 0.00048592 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2254-6_1_3_load_25 | 9 | 0.0032761 | 0.00082106 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2254-6_1_3_load_26 | 10 | 0.0051613 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2254-6_1_3_load_29 | 11 | 0.0025146 | 0.00063021 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2254-6_1_3_load_30 | 12 | 0.0053521 | 0.0013414 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2254-6_1_3_load_31 | 13 | 0.0038012 | 0.00095267 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2254-6_1_3_load_32 | 14 | 0.0017368 | 0.00043529 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2254-6_1_3_load_56 | 16 | 0.0033638 | 0.00084305 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2254-6_1_3_load_47 | 17 | 0.003809 | 0.00095462 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2254-6_1_3_load_103 | 18 | 0.0022143 | 0.00055495 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2254-6_1_3_load_33 | 19 | 0.002506 | 0.00062805 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2254-6_1_3_load_34 | 20 | 0.0027407 | 0.00068689 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2254-6_1_3_load_37 | 22 | 0.0053878 | 0.0013503 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2254-6_1_3_load_38 | 23 | 0.0033487 | 0.00083927 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2254-6_1_3_load_41 | 24 | 0.0029119 | 0.0007298 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2254-6_1_3_load_42 | 25 | 0.0044159 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2254-6_1_3_load_67 | 26 | 0.0035179 | 0.00088166 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2254-6_1_3_load_44 | 27 | 0.0026404 | 0.00066173 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2254-6_1_3_load_48 | 28 | 0.0035318 | 0.00088514 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2254-6_1_3_load_46 | 30 | 0.0036509 | 0.00091499 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2254-6_1_3_load_78 | 31 | 0.010015 | 0.0025101 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2254-6_1_3_load_49 | 32 | 0.0035667 | 0.00089389 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2254-6_1_3_load_50 | 33 | 0.0028795 | 0.00072167 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2254-6_1_3_load_51 | 34 | 0.0032402 | 0.00081206 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2254-6_1_3_load_52 | 35 | 0.0048318 | 0.001211 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2254-6_1_3_load_53 | 36 | 0.005695 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2254-6_1_3_load_54 | 37 | 0.0032282 | 0.00080908 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2254-6_1_3_load_55 | 38 | 0.00365 | 0.00091479 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2254-6_1_3_load_61 | 39 | 0.0057773 | 0.0014479 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2254-6_1_3_load_57 | 40 | 0.0043982 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2254-6_1_3_load_58 | 41 | 0.0091492 | 0.002293 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2254-6_1_3_load_59 | 42 | 0.0026696 | 0.00066908 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2254-6_1_3_load_60 | 43 | 0.0016617 | 0.00041647 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2254-6_1_3_load_88 | 44 | 0.0034666 | 0.0008688 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2254-6_1_3_load_66 | 45 | 0.0017913 | 0.00044893 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2254-6_1_3_load_72 | 46 | 0.010523 | 0.0026372 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2254-6_1_3_load_75 | 48 | 0.0036386 | 0.00091191 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2254-6_1_3_load_76 | 49 | 0.0042065 | 0.0010542 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2254-6_1_3_load_86 | 50 | 0.002361 | 0.00059173 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2254-6_1_3_load_87 | 51 | 0.0045719 | 0.0011458 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2254-6_1_3_load_97 | 53 | 0.0049351 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2254-6_1_3_load_98 | 54 | 0.0044849 | 0.001124 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2254-6_1_3_line_0 |  | 0 | 1 | 0.026175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2254-6_1_3_line_1 |  | 0 | 2 | 0.0053343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2254-6_1_3_line_2 |  | 1 | 3 | 0.0039902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2254-6_1_3_line_3 |  | 2 | 4 | 0.088978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2254-6_1_3_line_4 |  | 3 | 5 | 0.023906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2254-6_1_3_line_5 |  | 5 | 6 | 0.042017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2254-6_1_3_line_6 |  | 5 | 7 | 0.032721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2254-6_1_3_line_7 |  | 5 | 8 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2254-6_1_3_line_8 |  | 6 | 12 | 0.048934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2254-6_1_3_line_9 |  | 7 | 13 | 0.019402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2254-6_1_3_line_10 |  | 7 | 14 | 0.013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2254-6_1_3_line_11 |  | 8 | 9 | 0.0050583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2254-6_1_3_line_12 |  | 9 | 10 | 0.026362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2254-6_1_3_line_13 |  | 10 | 11 | 0.003139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2254-6_1_3_line_14 |  | 11 | 15 | 0.021343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2254-6_1_3_line_15 |  | 12 | 16 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2254-6_1_3_line_16 |  | 13 | 17 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2254-6_1_3_line_17 |  | 14 | 18 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2254-6_1_3_line_18 |  | 15 | 27 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2254-6_1_3_line_19 |  | 15 | 24 | 0.011183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2254-6_1_3_line_20 |  | 16 | 40 | 0.021091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2254-6_1_3_line_21 |  | 17 | 29 | 0.015946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2254-6_1_3_line_22 |  | 19 | 20 | 0.007168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2254-6_1_3_line_23 |  | 20 | 21 | 0.029094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2254-6_1_3_line_24 |  | 21 | 22 | 0.032127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2254-6_1_3_line_25 |  | 21 | 23 | 0.018552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2254-6_1_3_line_26 |  | 22 | 24 | 0.027234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2254-6_1_3_line_27 |  | 23 | 25 | 0.00079374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2254-6_1_3_line_28 |  | 25 | 26 | 0.025816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2254-6_1_3_line_29 |  | 26 | 45 | 0.019873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2254-6_1_3_line_30 |  | 27 | 28 | 0.00041566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2254-6_1_3_line_31 |  | 28 | 32 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2254-6_1_3_line_32 |  | 29 | 30 | 0.038314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2254-6_1_3_line_33 |  | 30 | 31 | 0.041391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2254-6_1_3_line_34 |  | 31 | 48 | 0.020098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2254-6_1_3_line_35 |  | 32 | 33 | 0.0089105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2254-6_1_3_line_36 |  | 33 | 34 | 0.022171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2254-6_1_3_line_37 |  | 34 | 35 | 0.0026967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2254-6_1_3_line_38 |  | 35 | 36 | 0.026249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2254-6_1_3_line_39 |  | 36 | 37 | 0.0068685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2254-6_1_3_line_40 |  | 37 | 38 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2254-6_1_3_line_41 |  | 38 | 39 | 0.014793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2254-6_1_3_line_42 |  | 40 | 41 | 0.013407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2254-6_1_3_line_43 |  | 41 | 42 | 0.014013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2254-6_1_3_line_44 |  | 42 | 43 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2254-6_1_3_line_45 |  | 43 | 44 | 0.013684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2254-6_1_3_line_46 |  | 44 | 52 | 0.012973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2254-6_1_3_line_47 |  | 46 | 47 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2254-6_1_3_line_48 |  | 47 | 48 | 0.0245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2254-6_1_3_line_49 |  | 47 | 49 | 0.0028706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2254-6_1_3_line_50 |  | 50 | 51 | 0.0030451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2254-6_1_3_line_51 |  | 51 | 52 | 0.02348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2254-6_1_3_line_52 |  | 52 | 53 | 0.030786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2254-6_1_3_line_53 |  | 53 | 54 | 0.054306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2254-6_1_3_trafo_27 | 0.63 MVA 20/0.4 kV | 55 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2576318.0426 | 1190899.0658 | 2576296.0996 | 1190884.7962
1 | 2576322.5145 | 1190901.9739 | 2576318.0426 | 1190899.0658
2 | 2576292.7544 | 1190882.6209 | 2576296.0996 | 1190884.7962
3 | 2576322.5145 | 1190901.9739 | 2576328.1593 | 1190990.7728
4 | 2576272.7131 | 1190869.588 | 2576292.7544 | 1190882.6209
5 | 2576272.7131 | 1190869.588 | 2576236.7168 | 1190847.9149
6 | 2576257.9543 | 1190898.8067 | 2576272.7131 | 1190869.588
7 | 2576272.7131 | 1190869.588 | 2576279.0191 | 1190858.925
8 | 2576196.6938 | 1190819.9429 | 2576216.5849 | 1190835.7936 | 2576236.7168 | 1190847.9149
9 | 2576257.9543 | 1190898.8067 | 2576249.2136 | 1190916.1288
10 | 2576257.9543 | 1190898.8067 | 2576246.1745 | 1190892.1046
11 | 2576281.5939 | 1190854.5711 | 2576279.0191 | 1190858.925
12 | 2576295.0132 | 1190831.8798 | 2576281.5939 | 1190854.5711
13 | 2576295.0132 | 1190831.8798 | 2576296.6111 | 1190829.178
14 | 2576307.4752 | 1190810.8074 | 2576296.6111 | 1190829.178
15 | 2576196.6938 | 1190819.9429 | 2576181.7234 | 1190808.0134
16 | 2576238.382 | 1190937.5945 | 2576249.2136 | 1190916.1288
17 | 2576231.4683 | 1190883.7375 | 2576246.1745 | 1190892.1046
18 | 2576307.4752 | 1190810.8074 | 2576292.3011 | 1190798.0163
19 | 2576307.4752 | 1190810.8074 | 2576316.369 | 1190817.5875
20 | 2576165.2293 | 1190794.8697 | 2576181.7234 | 1190808.0134
21 | 2576231.1986 | 1190951.8303 | 2576238.382 | 1190937.5945
22 | 2576376.8158 | 1190862.5612 | 2576378.5802 | 1190869.5087
23 | 2576369.6544 | 1190834.3621 | 2576376.8158 | 1190862.5612
24 | 2576369.6544 | 1190834.3621 | 2576353.6233 | 1190837.0493 | 2576338.0273 | 1190834.0985 | 2576338.0273 | 1190834.0985
25 | 2576369.6544 | 1190834.3621 | 2576366.9107 | 1190816.0136
26 | 2576338.0273 | 1190834.0985 | 2576316.369 | 1190817.5875
27 | 2576366.9107 | 1190816.0136 | 2576366.7934 | 1190815.2286
28 | 2576366.7934 | 1190815.2286 | 2576362.9755 | 1190789.6966
29 | 2576360.0365 | 1190770.0417 | 2576362.9755 | 1190789.6966
30 | 2576292.3011 | 1190798.0163 | 2576291.9833 | 1190797.7483
31 | 2576277.8221 | 1190785.811 | 2576291.9833 | 1190797.7483
32 | 2576231.1986 | 1190951.8303 | 2576208.5115 | 1190942.9717 | 2576195.5736 | 1190937.7323
33 | 2576157.2089 | 1190922.1958 | 2576195.5736 | 1190937.7323
34 | 2576157.2089 | 1190922.1958 | 2576138.5802 | 1190914.6518
35 | 2576277.8221 | 1190785.811 | 2576271.0092 | 1190780.068
36 | 2576254.0574 | 1190765.7784 | 2576271.0092 | 1190780.068
37 | 2576251.9956 | 1190764.0403 | 2576254.0574 | 1190765.7784
38 | 2576251.9956 | 1190764.0403 | 2576244.155 | 1190757.431 | 2576232.8391 | 1190746.1273
39 | 2576232.8391 | 1190746.1273 | 2576227.9797 | 1190741.2731
40 | 2576211.8673 | 1190725.1778 | 2576227.9797 | 1190741.2731
41 | 2576211.8673 | 1190725.1778 | 2576201.4016 | 1190714.7233
42 | 2576165.2293 | 1190794.8697 | 2576154.7444 | 1190786.5145
43 | 2576146.723 | 1190798.005 | 2576154.7444 | 1190786.5145 | 2576154.7444 | 1190786.5145
44 | 2576146.723 | 1190798.005 | 2576135.5098 | 1190814.0676
45 | 2576127.677 | 1190825.2881 | 2576135.5098 | 1190814.0676
46 | 2576121.2599 | 1190836.5528 | 2576126.6265 | 1190826.7928 | 2576127.677 | 1190825.2881
47 | 2576115.8711 | 1190905.4554 | 2576105.4373 | 1190923.4432
48 | 2576115.8711 | 1190905.4554 | 2576138.5802 | 1190914.6518
49 | 2576115.8711 | 1190905.4554 | 2576113.0528 | 1190904.9101
50 | 2576108.4759 | 1190859.7943 | 2576109.9435 | 1190857.1262
51 | 2576121.2599 | 1190836.5528 | 2576109.9435 | 1190857.1262
52 | 2576121.2599 | 1190836.5528 | 2576147.7827 | 1190852.1844
53 | 2576192.8661 | 1190862.6915 | 2576186.8323 | 1190871.5203 | 2576156.9883 | 1190857.6099 | 2576147.7827 | 1190852.1844

## bus_geodata
| x | y | coords
0 | 2576318.0426 | 1190899.0658
1 | 2576296.0996 | 1190884.7962
2 | 2576322.5145 | 1190901.9739
3 | 2576292.7544 | 1190882.6209
4 | 2576328.1593 | 1190990.7728
5 | 2576272.7131 | 1190869.588
6 | 2576236.7168 | 1190847.9149
7 | 2576257.9543 | 1190898.8067
8 | 2576279.0191 | 1190858.925
9 | 2576281.5939 | 1190854.5711
10 | 2576295.0132 | 1190831.8798
11 | 2576296.6111 | 1190829.178
12 | 2576196.6938 | 1190819.9429
13 | 2576249.2136 | 1190916.1288
14 | 2576246.1745 | 1190892.1046
15 | 2576307.4752 | 1190810.8074
16 | 2576181.7234 | 1190808.0134
17 | 2576238.382 | 1190937.5945
18 | 2576231.4683 | 1190883.7375
19 | 2576378.5802 | 1190869.5087
20 | 2576376.8158 | 1190862.5612
21 | 2576369.6544 | 1190834.3621
22 | 2576338.0273 | 1190834.0985
23 | 2576366.9107 | 1190816.0136
24 | 2576316.369 | 1190817.5875
25 | 2576366.7934 | 1190815.2286
26 | 2576362.9755 | 1190789.6966
27 | 2576292.3011 | 1190798.0163
28 | 2576291.9833 | 1190797.7483
29 | 2576231.1986 | 1190951.8303
30 | 2576195.5736 | 1190937.7323
31 | 2576157.2089 | 1190922.1958
32 | 2576277.8221 | 1190785.811
33 | 2576271.0092 | 1190780.068
34 | 2576254.0574 | 1190765.7784
35 | 2576251.9956 | 1190764.0403
36 | 2576232.8391 | 1190746.1273
37 | 2576227.9797 | 1190741.2731
38 | 2576211.8673 | 1190725.1778
39 | 2576201.4016 | 1190714.7233
40 | 2576165.2293 | 1190794.8697
41 | 2576154.7444 | 1190786.5145
42 | 2576146.723 | 1190798.005
43 | 2576135.5098 | 1190814.0676
44 | 2576127.677 | 1190825.2881
45 | 2576360.0365 | 1190770.0417
46 | 2576105.4373 | 1190923.4432
47 | 2576115.8711 | 1190905.4554
48 | 2576138.5802 | 1190914.6518
49 | 2576113.0528 | 1190904.9101
50 | 2576108.4759 | 1190859.7943
51 | 2576109.9435 | 1190857.1262
52 | 2576121.2599 | 1190836.5528
53 | 2576147.7827 | 1190852.1844
54 | 2576192.8661 | 1190862.6915
55 | 2576236.7168 | 1190847.9149

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99643 | -0.068444 | 0.0038859 | 0.0009739
1 | 0.9968 | -0.061269 | 0.0017251 | 0.00043234
2 | 0.99637 | -0.069542 | 0.0070913 | 0.0017773
3 | 0.99686 | -0.060055 | 0.0019837 | 0.00049717
4 | 0.996 | -0.076794 | 0.0046387 | 0.0011626
5 | 0.99728 | -0.051954 | 0 | 0
6 | 1 | 0 | -0.19068 | -0.047808
7 | 0.99598 | -0.07699 | 0 | 0
8 | 0.99639 | -0.069025 | 0.0019388 | 0.00048592
9 | 0.99604 | -0.075832 | 0.0032761 | 0.00082106
10 | 0.99427 | -0.10986 | 0.0051613 | 0.0012935
11 | 0.99407 | -0.11364 | 0.0025146 | 0.00063021
12 | 0.99793 | -0.039675 | 0.0053521 | 0.0013414
13 | 0.99528 | -0.090517 | 0.0038012 | 0.00095267
14 | 0.99593 | -0.077931 | 0.0017368 | 0.00043529
15 | 0.99279 | -0.13839 | 0 | 0
16 | 0.99722 | -0.053444 | 0.0033638 | 0.00084305
17 | 0.99449 | -0.10569 | 0.003809 | 0.00095462
18 | 0.9959 | -0.078589 | 0.0022143 | 0.00055495
19 | 0.99124 | -0.16855 | 0.002506 | 0.00062805
20 | 0.99125 | -0.16823 | 0.0027407 | 0.00068689
21 | 0.99139 | -0.16553 | 0 | 0
22 | 0.99193 | -0.15509 | 0.0053878 | 0.0013503
23 | 0.99117 | -0.16983 | 0.0033487 | 0.00083927
24 | 0.99252 | -0.14366 | 0.0029119 | 0.0007298
25 | 0.99116 | -0.16996 | 0.0044159 | 0.0011067
26 | 0.99104 | -0.1724 | 0.0035179 | 0.00088166
27 | 0.99208 | -0.1521 | 0.0026404 | 0.00066173
28 | 0.99207 | -0.15237 | 0.0035318 | 0.00088514
29 | 0.99402 | -0.1147 | 0 | 0
30 | 0.9929 | -0.13638 | 0.0036509 | 0.00091499
31 | 0.99183 | -0.15717 | 0.010015 | 0.0025101
32 | 0.99151 | -0.16316 | 0.0035667 | 0.00089389
33 | 0.99127 | -0.16779 | 0.0028795 | 0.00072167
34 | 0.99074 | -0.17819 | 0.0032402 | 0.00081206
35 | 0.99068 | -0.1793 | 0.0048318 | 0.001211
36 | 0.99024 | -0.18786 | 0.005695 | 0.0014273
37 | 0.99016 | -0.1894 | 0.0032282 | 0.00080908
38 | 0.98996 | -0.19322 | 0.00365 | 0.00091479
39 | 0.98988 | -0.19474 | 0.0057773 | 0.0014479
40 | 0.99649 | -0.067392 | 0.0043982 | 0.0011023
41 | 0.99608 | -0.075232 | 0.0091492 | 0.002293
42 | 0.99578 | -0.081181 | 0.0026696 | 0.00066908
43 | 0.99539 | -0.088582 | 0.0016617 | 0.00041647
44 | 0.99515 | -0.093355 | 0.0034666 | 0.0008688
45 | 0.991 | -0.17303 | 0.0017913 | 0.00044893
46 | 0.99096 | -0.174 | 0.010523 | 0.0026372
47 | 0.99116 | -0.17012 | 0 | 0
48 | 0.99149 | -0.16372 | 0.0036386 | 0.00091191
49 | 0.99115 | -0.17033 | 0.0042065 | 0.0010542
50 | 0.9948 | -0.10008 | 0.002361 | 0.00059173
51 | 0.9948 | -0.099957 | 0.0045719 | 0.0011458
52 | 0.99495 | -0.097091 | 0 | 0
53 | 0.99469 | -0.1022 | 0.0049351 | 0.0012369
54 | 0.99447 | -0.10649 | 0.0044849 | 0.001124
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015618 | -0.0039139 | 0.015623 | 0.003917 | 5.3394e-06 | 3.0761e-06 | 0.023323 | 0.023323 | 0.023323 | 0.99643 | -0.068444 | 0.9968 | -0.061269 | 6.4075
1 | 0.011732 | 0.00294 | -0.011732 | -0.0029397 | 6.1403e-07 | 3.235e-07 | 0.01752 | 0.01752 | 0.01752 | 0.99643 | -0.068444 | 0.99637 | -0.069542 | 4.8132
2 | -0.017349 | -0.0043493 | 0.01735 | 0.0043499 | 1.0036e-06 | 5.903e-07 | 0.025898 | 0.025898 | 0.025898 | 0.9968 | -0.061269 | 0.99686 | -0.060055 | 7.1149
3 | 0.0046403 | 0.0011624 | -0.0046387 | -0.0011626 | 1.6024e-06 | -1.3288e-07 | 0.0069298 | 0.0069302 | 0.0069302 | 0.99637 | -0.069542 | 0.996 | -0.076794 | 1.9039
4 | -0.019333 | -0.0048471 | 0.019341 | 0.0048516 | 7.4665e-06 | 4.4668e-06 | 0.028859 | 0.028859 | 0.028859 | 0.99686 | -0.060055 | 0.99728 | -0.051954 | 7.9284
5 | -0.14209 | -0.035839 | 0.14244 | 0.036065 | 0.00035436 | 0.00022569 | 0.21208 | 0.21208 | 0.21208 | 0.99728 | -0.051954 | 1 | 0 | 29.1324
6 | 0.043787 | 0.011045 | -0.043735 | -0.011012 | 5.2416e-05 | 3.312e-05 | 0.065359 | 0.065359 | 0.065359 | 0.99728 | -0.051954 | 0.99598 | -0.07699 | 17.9557
7 | 0.078959 | 0.019942 | -0.078894 | -0.019901 | 6.4538e-05 | 4.1143e-05 | 0.11787 | 0.11787 | 0.11787 | 0.99728 | -0.051954 | 0.99639 | -0.069025 | 32.3807
8 | 0.046593 | 0.011743 | -0.046505 | -0.011688 | 8.8265e-05 | 5.5849e-05 | 0.069354 | 0.069355 | 0.069355 | 1 | 0 | 0.99793 | -0.039675 | 19.0534
9 | 0.039783 | 0.010022 | -0.039758 | -0.010006 | 2.572e-05 | 1.6209e-05 | 0.059455 | 0.059456 | 0.059456 | 0.99598 | -0.07699 | 0.99528 | -0.090517 | 16.3339
10 | 0.0039513 | 0.00098999 | -0.0039511 | -0.00099006 | 1.7712e-07 | -6.3017e-08 | 0.0059033 | 0.0059033 | 0.0059033 | 0.99598 | -0.07699 | 0.99593 | -0.077931 | 1.6218
11 | 0.076955 | 0.019415 | -0.07693 | -0.019399 | 2.5073e-05 | 1.5981e-05 | 0.11497 | 0.11497 | 0.11497 | 0.99639 | -0.069025 | 0.99604 | -0.075832 | 31.5853
12 | 0.073654 | 0.018578 | -0.073534 | -0.018502 | 0.00011978 | 7.632e-05 | 0.11008 | 0.11008 | 0.11008 | 0.99604 | -0.075832 | 0.99427 | -0.10986 | 30.2408
13 | 0.068373 | 0.017208 | -0.068361 | -0.0172 | 1.2331e-05 | 7.8514e-06 | 0.10235 | 0.10235 | 0.10235 | 0.99427 | -0.10986 | 0.99407 | -0.11364 | 28.1187
14 | 0.065846 | 0.01657 | -0.065768 | -0.016521 | 7.7791e-05 | 4.951e-05 | 0.098588 | 0.098588 | 0.098588 | 0.99407 | -0.11364 | 0.99279 | -0.13839 | 27.0846
15 | 0.041153 | 0.010346 | -0.041126 | -0.010329 | 2.7039e-05 | 1.7055e-05 | 0.061374 | 0.061374 | 0.061374 | 0.99793 | -0.039675 | 0.99722 | -0.053444 | 16.861
16 | 0.035956 | 0.0090533 | -0.03593 | -0.0090369 | 2.6071e-05 | 1.6373e-05 | 0.053772 | 0.053773 | 0.053773 | 0.99528 | -0.090517 | 0.99449 | -0.10569 | 14.7727
17 | 0.0022143 | 0.00055477 | -0.0022143 | -0.00055495 | 6.9448e-08 | -1.7572e-07 | 0.0033084 | 0.0033084 | 0.0033084 | 0.99593 | -0.077931 | 0.9959 | -0.078589 | 0.90891
18 | 0.039115 | 0.0098303 | -0.03909 | -0.0098142 | 2.5588e-05 | 1.612e-05 | 0.058636 | 0.058636 | 0.058636 | 0.99279 | -0.13839 | 0.99208 | -0.1521 | 16.1089
19 | 0.026653 | 0.0066905 | -0.026646 | -0.0066863 | 6.6939e-06 | 4.1395e-06 | 0.039952 | 0.039952 | 0.039952 | 0.99279 | -0.13839 | 0.99252 | -0.14366 | 10.9758
20 | 0.037762 | 0.0094861 | -0.037737 | -0.0094703 | 2.5118e-05 | 1.58e-05 | 0.056355 | 0.056355 | 0.056355 | 0.99722 | -0.053444 | 0.99649 | -0.067392 | 15.4821
21 | 0.032121 | 0.0080823 | -0.032108 | -0.0080736 | 1.3819e-05 | 8.6374e-06 | 0.048073 | 0.048073 | 0.048073 | 0.99449 | -0.10569 | 0.99402 | -0.1147 | 13.207
22 | -0.002506 | -0.00062805 | 0.002506 | 0.00062798 | 3.804e-08 | -6.8055e-08 | 0.0037619 | 0.0037618 | 0.0037619 | 0.99124 | -0.16855 | 0.99125 | -0.16823 | 1.0335
23 | -0.0052467 | -0.0013149 | 0.0052474 | 0.0013149 | 6.7679e-07 | 5.8043e-08 | 0.0078761 | 0.0078759 | 0.0078761 | 0.99125 | -0.16823 | 0.99139 | -0.16553 | 2.1638
24 | -0.018325 | -0.0045929 | 0.018334 | 0.0045983 | 9.1138e-06 | 5.4184e-06 | 0.027504 | 0.027504 | 0.027504 | 0.99139 | -0.16553 | 0.99193 | -0.15509 | 7.5561
25 | 0.013077 | 0.0032779 | -0.013075 | -0.0032765 | 2.6804e-06 | 1.4763e-06 | 0.019628 | 0.019628 | 0.019628 | 0.99139 | -0.16553 | 0.99117 | -0.16983 | 5.3924
26 | -0.023721 | -0.0059486 | 0.023734 | 0.0059565 | 1.2933e-05 | 7.9256e-06 | 0.035586 | 0.035586 | 0.035586 | 0.99193 | -0.15509 | 0.99252 | -0.14366 | 9.7765
27 | 0.0097258 | 0.0024372 | -0.0097257 | -0.0024372 | 6.3456e-08 | 3.0382e-08 | 0.014601 | 0.014601 | 0.014601 | 0.99117 | -0.16983 | 0.99116 | -0.16996 | 4.0113
28 | 0.0053098 | 0.0013304 | -0.0053092 | -0.0013304 | 6.1517e-07 | 6.1022e-08 | 0.0079714 | 0.0079715 | 0.0079715 | 0.99116 | -0.16996 | 0.99104 | -0.1724 | 2.19
29 | 0.0017913 | 0.00044871 | -0.0017913 | -0.00044893 | 5.3911e-08 | -2.2156e-07 | 0.0026895 | 0.0026896 | 0.0026896 | 0.99104 | -0.1724 | 0.991 | -0.17303 | 0.73891
30 | 0.036449 | 0.0091524 | -0.036449 | -0.0091521 | 4.6598e-07 | 2.9286e-07 | 0.054676 | 0.054676 | 0.054676 | 0.99208 | -0.1521 | 0.99207 | -0.15237 | 15.0209
31 | 0.032917 | 0.008267 | -0.0329 | -0.0082564 | 1.6935e-05 | 1.0599e-05 | 0.049379 | 0.049379 | 0.049379 | 0.99207 | -0.15237 | 0.99151 | -0.16316 | 13.5656
32 | 0.032108 | 0.0080736 | -0.032074 | -0.0080529 | 3.3204e-05 | 2.0755e-05 | 0.048073 | 0.048074 | 0.048074 | 0.99402 | -0.1147 | 0.9929 | -0.13638 | 13.207
33 | 0.028424 | 0.0071379 | -0.028395 | -0.0071204 | 2.8171e-05 | 1.7495e-05 | 0.042602 | 0.042602 | 0.042602 | 0.9929 | -0.13638 | 0.99183 | -0.15717 | 11.7039
34 | 0.01838 | 0.0046103 | -0.018374 | -0.0046069 | 5.7315e-06 | 3.4088e-06 | 0.027576 | 0.027576 | 0.027576 | 0.99183 | -0.15717 | 0.99149 | -0.16372 | 7.5759
35 | 0.029333 | 0.0073625 | -0.029327 | -0.0073585 | 6.4767e-06 | 4.0302e-06 | 0.044026 | 0.044026 | 0.044026 | 0.99151 | -0.16316 | 0.99127 | -0.16779 | 12.0951
36 | 0.026447 | 0.0066368 | -0.026434 | -0.0066287 | 1.3106e-05 | 8.1024e-06 | 0.039704 | 0.039704 | 0.039704 | 0.99127 | -0.16779 | 0.99074 | -0.17819 | 10.9076
37 | 0.023194 | 0.0058166 | -0.023193 | -0.0058159 | 1.2273e-06 | 7.5074e-07 | 0.034837 | 0.034837 | 0.034837 | 0.99074 | -0.17819 | 0.99068 | -0.1793 | 9.5707
38 | 0.018361 | 0.0046049 | -0.018354 | -0.0046005 | 7.4874e-06 | 4.4541e-06 | 0.02758 | 0.02758 | 0.02758 | 0.99068 | -0.1793 | 0.99024 | -0.18786 | 7.5769
39 | 0.012659 | 0.0031732 | -0.012658 | -0.0031727 | 9.32e-07 | 5.0813e-07 | 0.019022 | 0.019022 | 0.019022 | 0.99024 | -0.18786 | 0.99016 | -0.1894 | 5.2259
40 | 0.0094295 | 0.0023636 | -0.0094278 | -0.0023628 | 1.715e-06 | 8.0474e-07 | 0.014171 | 0.014171 | 0.014171 | 0.99016 | -0.1894 | 0.98996 | -0.19322 | 3.8931
41 | 0.0057777 | 0.001448 | -0.0057773 | -0.0014479 | 4.1839e-07 | 7.7589e-08 | 0.0086845 | 0.0086846 | 0.0086846 | 0.98996 | -0.19322 | 0.98988 | -0.19474 | 2.3859
42 | 0.033338 | 0.008368 | -0.033326 | -0.0083602 | 1.2462e-05 | 7.8012e-06 | 0.049787 | 0.049787 | 0.049787 | 0.99649 | -0.067392 | 0.99608 | -0.075232 | 13.6778
43 | 0.024177 | 0.0060672 | -0.02417 | -0.006063 | 6.8559e-06 | 4.2054e-06 | 0.03612 | 0.03612 | 0.03612 | 0.99608 | -0.075232 | 0.99578 | -0.081181 | 9.923
44 | 0.0215 | 0.0053939 | -0.021493 | -0.0053893 | 7.5838e-06 | 4.5989e-06 | 0.03213 | 0.032131 | 0.032131 | 0.99578 | -0.081181 | 0.99539 | -0.088582 | 8.8271
45 | 0.019831 | 0.0049728 | -0.019827 | -0.0049701 | 4.5101e-06 | 2.7087e-06 | 0.029646 | 0.029646 | 0.029646 | 0.99539 | -0.088582 | 0.99515 | -0.093355 | 8.1446
46 | 0.01636 | 0.0041013 | -0.016357 | -0.0040996 | 2.9114e-06 | 1.6948e-06 | 0.024463 | 0.024463 | 0.024463 | 0.99515 | -0.093355 | 0.99495 | -0.097091 | 6.7206
47 | -0.010523 | -0.0026372 | 0.010525 | 0.0026382 | 1.9469e-06 | 9.7803e-07 | 0.015801 | 0.015801 | 0.015801 | 0.99096 | -0.174 | 0.99116 | -0.17012 | 4.3408
48 | -0.014731 | -0.0036924 | 0.014736 | 0.003695 | 4.4938e-06 | 2.5601e-06 | 0.022116 | 0.022116 | 0.022116 | 0.99116 | -0.17012 | 0.99149 | -0.16372 | 6.0758
49 | 0.0042065 | 0.0010542 | -0.0042065 | -0.0010542 | 4.2932e-08 | -9.5199e-09 | 0.0063152 | 0.0063153 | 0.0063153 | 0.99116 | -0.17012 | 0.99115 | -0.17033 | 1.735
50 | -0.002361 | -0.00059173 | 0.002361 | 0.0005917 | 1.4242e-08 | -3.042e-08 | 0.0035316 | 0.0035316 | 0.0035316 | 0.9948 | -0.10008 | 0.9948 | -0.099957 | 0.97022
51 | -0.0069329 | -0.0017375 | 0.0069339 | 0.0017378 | 9.4689e-07 | 3.0111e-07 | 0.01037 | 0.01037 | 0.01037 | 0.9948 | -0.099957 | 0.99495 | -0.097091 | 2.8489
52 | 0.0094232 | 0.0023618 | -0.0094209 | -0.0023607 | 2.293e-06 | 1.0678e-06 | 0.014093 | 0.014093 | 0.014093 | 0.99495 | -0.097091 | 0.99469 | -0.1022 | 3.8718
53 | 0.0044858 | 0.0011239 | -0.0044849 | -0.001124 | 9.1705e-07 | -1.1783e-07 | 0.0067104 | 0.0067107 | 0.0067107 | 0.99469 | -0.1022 | 0.99447 | -0.10649 | 1.8436

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19292 | 0.048369

## res_load
| p_mw | q_mvar
0 | 0.0038859 | 0.0009739
1 | 0.0017251 | 0.00043234
2 | 0.0070913 | 0.0017773
3 | 0.0019837 | 0.00049717
4 | 0.0046387 | 0.0011626
5 | 0.0022385 | 0.00056101
6 | 0.0019388 | 0.00048592
7 | 0.0032761 | 0.00082106
8 | 0.0051613 | 0.0012935
9 | 0.0025146 | 0.00063021
10 | 0.0053521 | 0.0013414
11 | 0.0038012 | 0.00095267
12 | 0.0017368 | 0.00043529
13 | 0.0033638 | 0.00084305
14 | 0.003809 | 0.00095462
15 | 0.0022143 | 0.00055495
16 | 0.002506 | 0.00062805
17 | 0.0027407 | 0.00068689
18 | 0.0053878 | 0.0013503
19 | 0.0033487 | 0.00083927
20 | 0.0029119 | 0.0007298
21 | 0.0044159 | 0.0011067
22 | 0.0035179 | 0.00088166
23 | 0.0026404 | 0.00066173
24 | 0.0035318 | 0.00088514
25 | 0.0036509 | 0.00091499
26 | 0.010015 | 0.0025101
27 | 0.0035667 | 0.00089389
28 | 0.0028795 | 0.00072167
29 | 0.0032402 | 0.00081206
30 | 0.0048318 | 0.001211
31 | 0.005695 | 0.0014273
32 | 0.0032282 | 0.00080908
33 | 0.00365 | 0.00091479
34 | 0.0057773 | 0.0014479
35 | 0.0043982 | 0.0011023
36 | 0.0091492 | 0.002293
37 | 0.0026696 | 0.00066908
38 | 0.0016617 | 0.00041647
39 | 0.0034666 | 0.0008688
40 | 0.0017913 | 0.00044893
41 | 0.010523 | 0.0026372
42 | 0.0036386 | 0.00091191
43 | 0.0042065 | 0.0010542
44 | 0.002361 | 0.00059173
45 | 0.0045719 | 0.0011458
46 | 0.0049351 | 0.0012369
47 | 0.0044849 | 0.001124

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1