## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2262-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2262-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2262-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2262-2_0_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_2262-2_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2262-2_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2262-2_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2262-2_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2262-2_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2262-2_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2262-2_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2262-2_0_3_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_2262-2_0_3_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_2262-2_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2262-2_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2262-2_0_3_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_2262-2_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2262-2_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2262-2_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2262-2_0_3_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_2262-2_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2262-2_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2262-2_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2262-2_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2262-2_0_3_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_2262-2_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2262-2_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2262-2_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2262-2_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2262-2_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2262-2_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_2262-2_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2262-2_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2262-2_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2262-2_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2262-2_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2262-2_0_3_node_322 | 0.4 | n |  | TRUE
37 | bus_LV_2262-2_0_3_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2262-2_0_3_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_2262-2_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2262-2_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2262-2_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2262-2_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_2262-2_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_2262-2_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2262-2_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_2262-2_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_2262-2_0_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_2262-2_0_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_2262-2_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_2262-2_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_2262-2_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2262-2_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_2262-2_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_2262-2_0_3_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_2262-2_0_3_node_323 | 0.4 | n |  | TRUE
56 | bus_LV_2262-2_0_3_node_301 | 0.4 | n |  | TRUE
57 | bus_LV_2262-2_0_3_node_324 | 0.4 | n |  | TRUE
58 | bus_LV_2262-2_0_3_node_300 | 0.4 | n |  | TRUE
59 | bus_MV_380_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2262-2_0_3_load_0 | 0 | 0.0031903 | 0.00079957 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2262-2_0_3_load_16 | 3 | 0.0018119 | 0.00045411 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2262-2_0_3_load_3 | 4 | 0.0051798 | 0.0012982 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2262-2_0_3_load_7 | 8 | 0.00079509 | 0.00019927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2262-2_0_3_load_8 | 9 | 0.00034819 | 8.7264e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2262-2_0_3_load_49 | 11 | 0.0027741 | 0.00069525 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2262-2_0_3_load_43 | 12 | 0.00098877 | 0.00024781 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2262-2_0_3_load_33 | 13 | 0.0037327 | 0.0009355 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2262-2_0_3_load_12 | 14 | 0.00099425 | 0.00024918 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2262-2_0_3_load_50 | 15 | 0.0009635 | 0.00024148 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2262-2_0_3_load_10 | 16 | 0.0014951 | 0.0003747 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2262-2_0_3_load_11 | 17 | 0.00078526 | 0.0001968 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2262-2_0_3_load_13 | 18 | 0.00064378 | 0.00016135 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2262-2_0_3_load_48 | 19 | 0.0037313 | 0.00093514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2262-2_0_3_load_14 | 20 | 0.0020332 | 0.00050956 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2262-2_0_3_load_15 | 21 | 0.00068388 | 0.0001714 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2262-2_0_3_load_17 | 22 | 0.002407 | 0.00060325 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2262-2_0_3_load_18 | 23 | 0.0012337 | 0.0003092 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2262-2_0_3_load_52 | 24 | 0.0013165 | 0.00032995 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2262-2_0_3_load_19 | 25 | 0.002993 | 0.00075012 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2262-2_0_3_load_20 | 26 | 0.0012621 | 0.00031631 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2262-2_0_3_load_21 | 27 | 0.00098553 | 0.000247 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2262-2_0_3_load_22 | 28 | 0.0013015 | 0.00032618 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2262-2_0_3_load_23 | 29 | 0.0016381 | 0.00041054 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2262-2_0_3_load_42 | 30 | 0.0013051 | 0.00032708 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2262-2_0_3_load_24 | 31 | 0.0010477 | 0.00026257 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2262-2_0_3_load_31 | 33 | 0.0008465 | 0.00021215 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2262-2_0_3_load_32 | 34 | 0.001203 | 0.00030149 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2262-2_0_3_load_27 | 35 | 0.0035505 | 0.00088985 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2262-2_0_3_load_322 | 36 | 0.0022474 | 0.00056326 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2262-2_0_3_load_44 | 37 | 0.0012635 | 0.00031666 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2262-2_0_3_load_53 | 38 | 0.002906 | 0.00072831 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2262-2_0_3_load_39 | 39 | 0.0012577 | 0.0003152 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2262-2_0_3_load_40 | 40 | 0.005271 | 0.001321 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2262-2_0_3_load_41 | 41 | 0.00045869 | 0.00011496 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2262-2_0_3_load_45 | 42 | 0.0012646 | 0.00031694 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2262-2_0_3_load_46 | 43 | 0.00065101 | 0.00016316 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2262-2_0_3_load_47 | 44 | 0.0011524 | 0.00028881 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2262-2_0_3_load_51 | 45 | 0.00049588 | 0.00012428 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2262-2_0_3_load_55 | 49 | 0.0010902 | 0.00027322 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2262-2_0_3_load_56 | 50 | 0.0036404 | 0.00091238 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2262-2_0_3_load_58 | 52 | 0.00060551 | 0.00015176 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2262-2_0_3_load_59 | 53 | 0.00036915 | 9.2517e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2262-2_0_3_load_60 | 54 | 0.0019802 | 0.00049628 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2262-2_0_3_load_324 | 57 | 0.00030645 | 7.6805e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2262-2_0_3_load_300 | 58 | 0.0036252 | 0.00090855 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2262-2_0_3_line_0 |  | 0 | 1 | 0.040222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2262-2_0_3_line_1 |  | 1 | 2 | 0.58789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2262-2_0_3_line_2 |  | 2 | 3 | 0.13446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2262-2_0_3_line_3 |  | 3 | 20 | 0.0042709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2262-2_0_3_line_4 |  | 4 | 5 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2262-2_0_3_line_5 |  | 4 | 6 | 0.030653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2262-2_0_3_line_6 |  | 5 | 7 | 0.00602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2262-2_0_3_line_7 |  | 5 | 8 | 0.020388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2262-2_0_3_line_8 |  | 6 | 9 | 0.03949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2262-2_0_3_line_9 |  | 6 | 10 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2262-2_0_3_line_10 |  | 7 | 11 | 0.14467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2262-2_0_3_line_11 |  | 7 | 12 | 0.010508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2262-2_0_3_line_12 |  | 8 | 13 | 0.061855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2262-2_0_3_line_13 |  | 10 | 14 | 0.031024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2262-2_0_3_line_14 |  | 10 | 15 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2262-2_0_3_line_15 |  | 11 | 45 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2262-2_0_3_line_16 |  | 12 | 41 | 0.036027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2262-2_0_3_line_17 |  | 14 | 16 | 0.0086592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2262-2_0_3_line_18 |  | 15 | 42 | 0.03777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2262-2_0_3_line_19 |  | 16 | 17 | 0.00074604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2262-2_0_3_line_20 |  | 17 | 18 | 0.038822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2262-2_0_3_line_21 |  | 18 | 19 | 0.025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2262-2_0_3_line_22 |  | 19 | 43 | 0.008302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2262-2_0_3_line_23 |  | 20 | 21 | 0.037902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2262-2_0_3_line_24 |  | 21 | 22 | 0.00057803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2262-2_0_3_line_25 |  | 22 | 23 | 0.0012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2262-2_0_3_line_26 |  | 23 | 24 | 0.0097953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2262-2_0_3_line_27 |  | 24 | 29 | 0.027474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2262-2_0_3_line_28 |  | 25 | 26 | 0.025515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2262-2_0_3_line_29 |  | 25 | 27 | 0.0029491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2262-2_0_3_line_30 |  | 26 | 28 | 0.0027988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2262-2_0_3_line_31 |  | 27 | 29 | 0.029221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2262-2_0_3_line_32 |  | 28 | 30 | 0.0029765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2262-2_0_3_line_33 |  | 30 | 40 | 0.053446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2262-2_0_3_line_34 |  | 31 | 32 | 0.028046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2262-2_0_3_line_35 |  | 32 | 33 | 0.055477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2262-2_0_3_line_36 |  | 32 | 34 | 0.062401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2262-2_0_3_line_37 |  | 33 | 37 | 0.025979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2262-2_0_3_line_38 |  | 34 | 38 | 0.048281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2262-2_0_3_line_39 |  | 35 | 36 | 0.068889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2262-2_0_3_line_40 |  | 36 | 47 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2262-2_0_3_line_41 |  | 37 | 42 | 0.02857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2262-2_0_3_line_42 |  | 38 | 46 | 0.063298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2262-2_0_3_line_43 |  | 39 | 40 | 0.052595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2262-2_0_3_line_44 |  | 39 | 41 | 0.013103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2262-2_0_3_line_45 |  | 43 | 44 | 0.0036844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2262-2_0_3_line_46 |  | 46 | 47 | 0.052252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2262-2_0_3_line_47 |  | 46 | 48 | 0.024949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2262-2_0_3_line_48 |  | 47 | 56 | 0.066279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2262-2_0_3_line_49 |  | 48 | 52 | 0.00044734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2262-2_0_3_line_50 |  | 49 | 50 | 0.016897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2262-2_0_3_line_51 |  | 49 | 51 | 0.012548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2262-2_0_3_line_52 |  | 50 | 52 | 0.032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2262-2_0_3_line_53 |  | 51 | 53 | 0.033475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2262-2_0_3_line_54 |  | 51 | 54 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2262-2_0_3_line_55 |  | 54 | 55 | 0.030318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2262-2_0_3_line_56 |  | 55 | 57 | 0.042375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2262-2_0_3_line_57 |  | 56 | 58 | 0.047227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2262-2_0_3_trafo_5 | 0.63 MVA 20/0.4 kV | 59 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2580632.8236 | 1194920.4677 | 2580635.2744 | 1194922.005 | 2580670.3128 | 1194934.8805
1 | 2580188.541 | 1194542.205 | 2580191.6906 | 1194552.1666 | 2580206.4419 | 1194572.7174 | 2580222.2966 | 1194590.5298 | 2580253.4248 | 1194614.1724 | 2580307.9012 | 1194654.5914 | 2580468.4538 | 1194780.6299 | 2580530.7251 | 1194824.4272 | 2580581.9703 | 1194879.8228 | 2580601.2768 | 1194900.6932 | 2580617.0577 | 1194910.5137 | 2580632.8236 | 1194920.4677
2 | 2580188.541 | 1194542.205 | 2580210.4573 | 1194538.2745 | 2580294.9606 | 1194531.802 | 2580322.3487 | 1194530.0906
3 | 2580322.3487 | 1194530.0906 | 2580326.6113 | 1194529.8243
4 | 2580630.3303 | 1194552.346 | 2580651.796 | 1194559.5095
5 | 2580680.8727 | 1194569.213 | 2580651.796 | 1194559.5095
6 | 2580630.3303 | 1194552.346 | 2580624.8512 | 1194549.818
7 | 2580630.3303 | 1194552.346 | 2580630.0171 | 1194531.9602
8 | 2580680.8727 | 1194569.213 | 2580679.6102 | 1194581.6571 | 2580682.6032 | 1194599.9794 | 2580686.6028 | 1194607.3859
9 | 2580698.3275 | 1194573.3698 | 2580680.8727 | 1194569.213
10 | 2580624.8512 | 1194549.818 | 2580620.9349 | 1194563.905 | 2580619.3801 | 1194577.8286 | 2580625.9326 | 1194589.4357 | 2580638.7698 | 1194595.8974 | 2580651.9643 | 1194606.8047 | 2580667.8494 | 1194629.7543 | 2580675.1892 | 1194649.2186 | 2580660.2593 | 1194666.0532
11 | 2580624.8512 | 1194549.818 | 2580615.3037 | 1194545.4288
12 | 2580630.0171 | 1194531.9602 | 2580629.702 | 1194511.4484 | 2580628.8125 | 1194505.0479 | 2580625.6731 | 1194500.3334 | 2580617.1798 | 1194494.1244 | 2580611.2733 | 1194491.4088 | 2580606.8341 | 1194487.688 | 2580603.802 | 1194482.0506
13 | 2580698.3275 | 1194573.3698 | 2580704.7667 | 1194543.0216
14 | 2580698.3275 | 1194573.3698 | 2580713.2364 | 1194574.9738
15 | 2580649.7875 | 1194677.8608 | 2580660.2593 | 1194666.0532
16 | 2580615.3037 | 1194545.4288 | 2580608.1392 | 1194542.135 | 2580580.2431 | 1194538.4265
17 | 2580704.7667 | 1194543.0216 | 2580699.8977 | 1194535.8609
18 | 2580713.2364 | 1194574.9738 | 2580750.7894 | 1194579.0141
19 | 2580699.8977 | 1194535.8609 | 2580699.4783 | 1194535.244
20 | 2580680.8192 | 1194501.6491 | 2580683.9343 | 1194512.3839 | 2580699.4783 | 1194535.244
21 | 2580680.8192 | 1194501.6491 | 2580673.6765 | 1194477.035
22 | 2580674.0391 | 1194468.9022 | 2580673.0535 | 1194474.8881 | 2580673.6765 | 1194477.035
23 | 2580326.6113 | 1194529.8243 | 2580362.0226 | 1194527.6116 | 2580364.42 | 1194527.2722
24 | 2580364.9923 | 1194527.1912 | 2580364.42 | 1194527.2722
25 | 2580364.9923 | 1194527.1912 | 2580366.2629 | 1194527.0114
26 | 2580366.2629 | 1194527.0114 | 2580374.97 | 1194525.779 | 2580375.9388 | 1194525.5253
27 | 2580402.418 | 1194518.2202 | 2580394.4062 | 1194520.6901 | 2580375.9388 | 1194525.5253
28 | 2580458.7981 | 1194509.9918 | 2580455.6922 | 1194509.4048 | 2580448.512 | 1194508.6391 | 2580434.3196 | 1194509.5862 | 2580433.4303 | 1194509.7771
29 | 2580430.5469 | 1194510.3962 | 2580433.4303 | 1194509.7771
30 | 2580461.5482 | 1194510.5116 | 2580458.7981 | 1194509.9918
31 | 2580430.5469 | 1194510.3962 | 2580421.4895 | 1194512.3409 | 2580402.418 | 1194518.2202
32 | 2580461.5482 | 1194510.5116 | 2580463.7284 | 1194510.9237 | 2580464.4581 | 1194511.1276
33 | 2580515.9321 | 1194525.5119 | 2580464.4581 | 1194511.1276
34 | 2580856.2607 | 1194552.5933 | 2580864.8559 | 1194525.8972
35 | 2580856.2607 | 1194552.5933 | 2580844.6123 | 1194555.5879 | 2580804.2448 | 1194571.6627
36 | 2580856.2607 | 1194552.5933 | 2580878.4647 | 1194552.7443 | 2580901.3218 | 1194554.5608 | 2580918.3243 | 1194557.5738
37 | 2580804.2448 | 1194571.6627 | 2580792.5153 | 1194576.3335 | 2580779.2224 | 1194577.6028
38 | 2580918.3243 | 1194557.5738 | 2580921.5939 | 1194558.1532 | 2580941.594 | 1194562.4693 | 2580960.9214 | 1194568.4995 | 2580964.9308 | 1194569.9205
39 | 2580924.6728 | 1194481.9461 | 2580973.3831 | 1194530.6599
40 | 2580987.5907 | 1194544.8684 | 2580973.3831 | 1194530.6599
41 | 2580779.2224 | 1194577.6028 | 2580757.2094 | 1194579.7048 | 2580750.7894 | 1194579.0141
42 | 2581024.4206 | 1194582.0263 | 2581022.0418 | 1194583.9571 | 2581020.0044 | 1194585.4311 | 2581019.0459 | 1194585.901 | 2581017.7359 | 1194586.072 | 2581015.3203 | 1194586.0352 | 2581007.2208 | 1194583.682 | 2580979.5114 | 1194575.0881 | 2580964.9308 | 1194569.9205
43 | 2580515.9321 | 1194525.5119 | 2580535.9223 | 1194531.098 | 2580559.3295 | 1194535.6462 | 2580567.2542 | 1194536.6998
44 | 2580580.2431 | 1194538.4265 | 2580567.2542 | 1194536.6998
45 | 2580674.0391 | 1194468.9022 | 2580674.6377 | 1194465.2667 | 2580674.6377 | 1194465.2667
46 | 2581024.4206 | 1194582.0263 | 2581019.5215 | 1194577.3505 | 2580987.5907 | 1194544.8684
47 | 2581024.4206 | 1194582.0263 | 2581028.4543 | 1194585.3374 | 2581033.005 | 1194588.3023 | 2581038.8738 | 1194591.2296 | 2581046.0761 | 1194594.2083
48 | 2580987.5907 | 1194544.8684 | 2580995.2993 | 1194536.9396 | 2581000.7657 | 1194530.7633 | 2581008.1557 | 1194520.8677 | 2581012.6189 | 1194513.0938 | 2581017.7379 | 1194503.1166 | 2581023.2805 | 1194489.7251
49 | 2581046.5076 | 1194594.3265 | 2581046.0761 | 1194594.2083
50 | 2581077.5007 | 1194602.2737 | 2581089.0926 | 1194605.055 | 2581093.9449 | 1194606.1592
51 | 2581106.1954 | 1194608.8695 | 2581103.7403 | 1194608.3881 | 2581093.9449 | 1194606.1592
52 | 2581077.5007 | 1194602.2737 | 2581061.4277 | 1194598.4172 | 2581046.5076 | 1194594.3265
53 | 2581106.1954 | 1194608.8695 | 2581106.8446 | 1194614.1702 | 2581107.5512 | 1194615.9134 | 2581118.7865 | 1194629.2293 | 2581121.4221 | 1194631.3998 | 2581126.0352 | 1194634.24
54 | 2581106.1954 | 1194608.8695 | 2581118.0741 | 1194611.2108 | 2581122.0552 | 1194611.8841
55 | 2581152.1762 | 1194615.0937 | 2581140.7371 | 1194614.4073 | 2581129.6239 | 1194613.1641 | 2581122.0552 | 1194611.8841
56 | 2581152.1762 | 1194615.0937 | 2581151.9748 | 1194572.719
57 | 2581023.2805 | 1194489.7251 | 2580993.068 | 1194475.2916 | 2580980.5963 | 1194469.5167

## bus_geodata
| x | y | coords
0 | 2580670.3128 | 1194934.8805
1 | 2580632.8236 | 1194920.4677
2 | 2580188.541 | 1194542.205
3 | 2580322.3487 | 1194530.0906
4 | 2580651.796 | 1194559.5095
5 | 2580630.3303 | 1194552.346
6 | 2580680.8727 | 1194569.213
7 | 2580624.8512 | 1194549.818
8 | 2580630.0171 | 1194531.9602
9 | 2580686.6028 | 1194607.3859
10 | 2580698.3275 | 1194573.3698
11 | 2580660.2593 | 1194666.0532
12 | 2580615.3037 | 1194545.4288
13 | 2580603.802 | 1194482.0506
14 | 2580704.7667 | 1194543.0216
15 | 2580713.2364 | 1194574.9738
16 | 2580699.8977 | 1194535.8609
17 | 2580699.4783 | 1194535.244
18 | 2580680.8192 | 1194501.6491
19 | 2580673.6765 | 1194477.035
20 | 2580326.6113 | 1194529.8243
21 | 2580364.42 | 1194527.2722
22 | 2580364.9923 | 1194527.1912
23 | 2580366.2629 | 1194527.0114
24 | 2580375.9388 | 1194525.5253
25 | 2580433.4303 | 1194509.7771
26 | 2580458.7981 | 1194509.9918
27 | 2580430.5469 | 1194510.3962
28 | 2580461.5482 | 1194510.5116
29 | 2580402.418 | 1194518.2202
30 | 2580464.4581 | 1194511.1276
31 | 2580864.8559 | 1194525.8972
32 | 2580856.2607 | 1194552.5933
33 | 2580804.2448 | 1194571.6627
34 | 2580918.3243 | 1194557.5738
35 | 2580924.6728 | 1194481.9461
36 | 2580973.3831 | 1194530.6599
37 | 2580779.2224 | 1194577.6028
38 | 2580964.9308 | 1194569.9205
39 | 2580567.2542 | 1194536.6998
40 | 2580515.9321 | 1194525.5119
41 | 2580580.2431 | 1194538.4265
42 | 2580750.7894 | 1194579.0141
43 | 2580674.0391 | 1194468.9022
44 | 2580674.6377 | 1194465.2667
45 | 2580649.7875 | 1194677.8608
46 | 2581024.4206 | 1194582.0263
47 | 2580987.5907 | 1194544.8684
48 | 2581046.0761 | 1194594.2083
49 | 2581093.9449 | 1194606.1592
50 | 2581077.5007 | 1194602.2737
51 | 2581106.1954 | 1194608.8695
52 | 2581046.5076 | 1194594.3265
53 | 2581126.0352 | 1194634.24
54 | 2581122.0552 | 1194611.8841
55 | 2581152.1762 | 1194615.0937
56 | 2581023.2805 | 1194489.7251
57 | 2581151.9748 | 1194572.719
58 | 2580980.5963 | 1194469.5167
59 | 2580698.3275 | 1194573.3698

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98996 | -0.19398 | 0.0031903 | 0.00079957
1 | 0.99007 | -0.1917 | 0 | 0
2 | 0.99179 | -0.15829 | 0 | 0
3 | 0.99218 | -0.15064 | 0.0018119 | 0.00045411
4 | 0.9988 | -0.023087 | 0.0051798 | 0.0012982
5 | 0.99801 | -0.038115 | 0 | 0
6 | 1 | 0 | -0.081859 | -0.02022
7 | 0.99783 | -0.041639 | 0 | 0
8 | 0.99793 | -0.039731 | 0.00079509 | 0.00019927
9 | 0.99999 | -0.00024012 | 0.00034819 | 8.7264e-05
10 | 0.99941 | -0.011358 | 0 | 0
11 | 0.9974 | -0.049931 | 0.0027741 | 0.00069525
12 | 0.99754 | -0.047191 | 0.00098877 | 0.00024781
13 | 0.99772 | -0.043774 | 0.0037327 | 0.0009355
14 | 0.99914 | -0.016478 | 0.00099425 | 0.00024918
15 | 0.99904 | -0.018409 | 0.0009635 | 0.00024148
16 | 0.99907 | -0.017758 | 0.0014951 | 0.0003747
17 | 0.99907 | -0.017848 | 0.00078526 | 0.0001968
18 | 0.99885 | -0.022039 | 0.00064378 | 0.00016135
19 | 0.99872 | -0.024518 | 0.0037313 | 0.00093514
20 | 0.9922 | -0.15026 | 0.0020332 | 0.00050956
21 | 0.99245 | -0.14552 | 0.00068388 | 0.0001714
22 | 0.99245 | -0.14544 | 0.002407 | 0.00060325
23 | 0.99246 | -0.14521 | 0.0012337 | 0.0003092
24 | 0.99256 | -0.14324 | 0.0013165 | 0.00032995
25 | 0.99331 | -0.12886 | 0.002993 | 0.00075012
26 | 0.99373 | -0.12061 | 0.0012621 | 0.00031631
27 | 0.99326 | -0.12966 | 0.00098553 | 0.000247
28 | 0.99378 | -0.11964 | 0.0013015 | 0.00032618
29 | 0.99288 | -0.13707 | 0.0016381 | 0.00041054
30 | 0.99384 | -0.11854 | 0.0013051 | 0.00032708
31 | 0.99577 | -0.081109 | 0.0010477 | 0.00026257
32 | 0.9958 | -0.080593 | 0 | 0
33 | 0.99694 | -0.058586 | 0.0008465 | 0.00021215
34 | 0.99457 | -0.10425 | 0.001203 | 0.00030149
35 | 0.99189 | -0.15618 | 0.0035505 | 0.00088985
36 | 0.99211 | -0.15185 | 0.0022474 | 0.00056326
37 | 0.9975 | -0.047912 | 0.0012635 | 0.00031666
38 | 0.99368 | -0.12157 | 0.002906 | 0.00072831
39 | 0.99624 | -0.072232 | 0.0012577 | 0.0003152
40 | 0.99492 | -0.097634 | 0.005271 | 0.001321
41 | 0.99658 | -0.065625 | 0.00045869 | 0.00011496
42 | 0.99814 | -0.035555 | 0.0012646 | 0.00031694
43 | 0.99871 | -0.024779 | 0.00065101 | 0.00016316
44 | 0.99871 | -0.024853 | 0.0011524 | 0.00028881
45 | 0.99739 | -0.050068 | 0.00049588 | 0.00012428
46 | 0.99267 | -0.14107 | 0 | 0
47 | 0.99222 | -0.14979 | 0 | 0
48 | 0.99249 | -0.1446 | 0 | 0
49 | 0.99221 | -0.14997 | 0.0010902 | 0.00027322
50 | 0.99227 | -0.14885 | 0.0036404 | 0.00091238
51 | 0.99218 | -0.15056 | 0 | 0
52 | 0.99248 | -0.14466 | 0.00060551 | 0.00015176
53 | 0.99217 | -0.15078 | 0.00036915 | 9.2517e-05
54 | 0.99215 | -0.15121 | 0.0019802 | 0.00049628
55 | 0.99214 | -0.15138 | 0 | 0
56 | 0.992 | -0.15404 | 0 | 0
57 | 0.99213 | -0.15161 | 0.00030645 | 7.6805e-05
58 | 0.99184 | -0.15708 | 0.0036252 | 0.00090855
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0031903 | -0.00079957 | 0.0031907 | 0.00079927 | 3.4684e-07 | -2.9522e-07 | 0.0047954 | 0.0047952 | 0.0047954 | 0.98996 | -0.19398 | 0.99007 | -0.1917 | 1.3174
1 | -0.0031907 | -0.00079927 | 0.0031957 | 0.00079494 | 5.0664e-06 | -4.3309e-06 | 0.0047952 | 0.0047926 | 0.0047952 | 0.99007 | -0.1917 | 0.99179 | -0.15829 | 1.3174
2 | -0.0031957 | -0.00079494 | 0.0031969 | 0.00079395 | 1.158e-06 | -9.9474e-07 | 0.0047926 | 0.004792 | 0.0047926 | 0.99179 | -0.15829 | 0.99218 | -0.15064 | 1.3166
3 | -0.0050088 | -0.0012481 | 0.0050089 | 0.0012481 | 9.0314e-08 | 2.6409e-09 | 0.0075093 | 0.0075093 | 0.0075093 | 0.99218 | -0.15064 | 0.9922 | -0.15026 | 2.063
4 | 0.038097 | 0.0095937 | -0.03807 | -0.0095764 | 2.7353e-05 | 1.721e-05 | 0.056774 | 0.056774 | 0.056774 | 0.9988 | -0.023087 | 0.99801 | -0.038115 | 15.5973
5 | -0.043277 | -0.010892 | 0.043325 | 0.010922 | 4.7808e-05 | 3.0195e-05 | 0.064491 | 0.064491 | 0.064491 | 0.9988 | -0.023087 | 1 | 0 | 17.7172
6 | 0.033541 | 0.0084421 | -0.033536 | -0.0084385 | 5.6487e-06 | 3.5365e-06 | 0.050022 | 0.050022 | 0.050022 | 0.99801 | -0.038115 | 0.99783 | -0.041639 | 13.7423
7 | 0.0045288 | 0.0011344 | -0.0045285 | -0.0011344 | 3.4858e-07 | -4.3303e-08 | 0.0067522 | 0.0067523 | 0.0067523 | 0.99801 | -0.038115 | 0.99793 | -0.039731 | 1.855
8 | 0.00034819 | 8.6749e-05 | -0.00034819 | -8.7264e-05 | 3.974e-09 | -5.1554e-07 | 0.00051794 | 0.00051812 | 0.00051812 | 1 | 0 | 0.99999 | -0.00024012 | 0.14234
9 | 0.036535 | 0.0092114 | -0.036516 | -0.0091989 | 1.9847e-05 | 1.2467e-05 | 0.054385 | 0.054385 | 0.054385 | 1 | 0 | 0.99941 | -0.011358 | 14.9408
10 | 0.0032713 | 0.00081826 | -0.00327 | -0.00081933 | 1.2909e-06 | -1.0627e-06 | 0.0048777 | 0.0048784 | 0.0048784 | 0.99783 | -0.041639 | 0.9974 | -0.049931 | 1.3402
11 | 0.030264 | 0.0076203 | -0.030256 | -0.0076153 | 8.0308e-06 | 5.0025e-06 | 0.045144 | 0.045144 | 0.045144 | 0.99783 | -0.041639 | 0.99754 | -0.047191 | 12.4023
12 | 0.0037334 | 0.00093515 | -0.0037327 | -0.0009355 | 7.1883e-07 | -3.4792e-07 | 0.0055667 | 0.005567 | 0.005567 | 0.99793 | -0.039731 | 0.99772 | -0.043774 | 1.5294
13 | 0.0094577 | 0.0023707 | -0.0094554 | -0.0023696 | 2.307e-06 | 1.07e-06 | 0.014082 | 0.014082 | 0.014082 | 0.99941 | -0.011358 | 0.99914 | -0.016478 | 3.8686
14 | 0.027058 | 0.0068282 | -0.027049 | -0.0068226 | 9.1338e-06 | 5.6492e-06 | 0.040303 | 0.040303 | 0.040303 | 0.99941 | -0.011358 | 0.99904 | -0.018409 | 11.0723
15 | 0.00049588 | 0.00012407 | -0.00049588 | -0.00012428 | 3.2388e-09 | -2.039e-07 | 0.00073973 | 0.0007398 | 0.0007398 | 0.9974 | -0.049931 | 0.99739 | -0.050068 | 0.20324
16 | 0.029267 | 0.0073675 | -0.029242 | -0.0073514 | 2.5764e-05 | 1.6019e-05 | 0.043669 | 0.043669 | 0.043669 | 0.99754 | -0.047191 | 0.99658 | -0.065625 | 11.9971
17 | 0.0084612 | 0.0021204 | -0.0084607 | -0.0021202 | 5.1562e-07 | 2.166e-07 | 0.012601 | 0.012601 | 0.012601 | 0.99914 | -0.016478 | 0.99907 | -0.017758 | 3.4619
18 | 0.026085 | 0.0065811 | -0.026064 | -0.0065679 | 2.1397e-05 | 1.32e-05 | 0.038868 | 0.038868 | 0.038868 | 0.99904 | -0.018409 | 0.99814 | -0.035555 | 10.678
19 | 0.0069656 | 0.0017455 | -0.0069656 | -0.0017455 | 3.0111e-08 | 9.5017e-09 | 0.010374 | 0.010374 | 0.010374 | 0.99907 | -0.017758 | 0.99907 | -0.017848 | 2.8501
20 | 0.0061803 | 0.0015487 | -0.0061791 | -0.0015484 | 1.2335e-06 | 2.8121e-07 | 0.0092049 | 0.0092051 | 0.0092051 | 0.99907 | -0.017848 | 0.99885 | -0.022039 | 2.5289
21 | 0.0055353 | 0.0013871 | -0.0055347 | -0.001387 | 6.5353e-07 | 8.2834e-08 | 0.008246 | 0.0082461 | 0.0082461 | 0.99885 | -0.022039 | 0.99872 | -0.024518 | 2.2654
22 | 0.0018034 | 0.00045183 | -0.0018034 | -0.00045192 | 2.2476e-08 | -9.4252e-08 | 0.0026869 | 0.0026869 | 0.0026869 | 0.99872 | -0.024518 | 0.99871 | -0.024779 | 0.73816
23 | -0.007042 | -0.0017576 | 0.0070436 | 0.0017581 | 1.5845e-06 | 5.2442e-07 | 0.010558 | 0.010558 | 0.010558 | 0.9922 | -0.15026 | 0.99245 | -0.14552 | 2.9007
24 | -0.0077275 | -0.0019295 | 0.0077275 | 0.0019295 | 2.9085e-08 | 1.1145e-08 | 0.011584 | 0.011584 | 0.011584 | 0.99245 | -0.14552 | 0.99245 | -0.14544 | 3.1823
25 | -0.010135 | -0.0025328 | 0.010135 | 0.0025328 | 1.1107e-07 | 5.4505e-08 | 0.015193 | 0.015193 | 0.015193 | 0.99245 | -0.14544 | 0.99246 | -0.14521 | 4.1738
26 | -0.011368 | -0.002842 | 0.011369 | 0.0028426 | 1.0668e-06 | 5.5619e-07 | 0.017042 | 0.017042 | 0.017042 | 0.99246 | -0.14521 | 0.99256 | -0.14324 | 4.6819
27 | -0.012686 | -0.0031725 | 0.01269 | 0.0031746 | 3.7254e-06 | 2.0291e-06 | 0.019016 | 0.019016 | 0.019016 | 0.99256 | -0.14324 | 0.99288 | -0.13707 | 5.2241
28 | -0.018312 | -0.0045854 | 0.018319 | 0.0045897 | 7.1995e-06 | 4.2773e-06 | 0.027431 | 0.027431 | 0.027431 | 0.99331 | -0.12886 | 0.99373 | -0.12061 | 7.5359
29 | 0.015319 | 0.0038353 | -0.015318 | -0.003835 | 5.8234e-07 | 3.3453e-07 | 0.022947 | 0.022947 | 0.022947 | 0.99331 | -0.12886 | 0.99326 | -0.12966 | 6.3041
30 | -0.019581 | -0.004906 | 0.019582 | 0.0049066 | 9.0228e-07 | 5.412e-07 | 0.02932 | 0.02932 | 0.02932 | 0.99373 | -0.12061 | 0.99378 | -0.11964 | 8.0551
31 | 0.014333 | 0.003588 | -0.014328 | -0.0035851 | 5.0515e-06 | 2.8549e-06 | 0.021471 | 0.021471 | 0.021471 | 0.99326 | -0.12966 | 0.99288 | -0.13707 | 5.8986
32 | -0.020884 | -0.0052327 | 0.020885 | 0.0052334 | 1.0914e-06 | 6.5991e-07 | 0.031269 | 0.031269 | 0.031269 | 0.99378 | -0.11964 | 0.99384 | -0.11854 | 8.5904
33 | -0.02219 | -0.0055605 | 0.022212 | 0.0055739 | 2.2122e-05 | 1.3465e-05 | 0.033223 | 0.033223 | 0.033223 | 0.99384 | -0.11854 | 0.99492 | -0.097634 | 9.1272
34 | -0.0010477 | -0.00026257 | 0.0010477 | 0.00026222 | 2.5776e-08 | -3.4835e-07 | 0.0015656 | 0.0015655 | 0.0015656 | 0.99577 | -0.081109 | 0.9958 | -0.080593 | 0.4301
35 | -0.022639 | -0.0056913 | 0.022663 | 0.0057058 | 2.3817e-05 | 1.452e-05 | 0.033835 | 0.033835 | 0.033835 | 0.9958 | -0.080593 | 0.99694 | -0.058586 | 9.2953
36 | 0.021591 | 0.0054291 | -0.021567 | -0.0054143 | 2.4368e-05 | 1.4785e-05 | 0.03227 | 0.03227 | 0.03227 | 0.9958 | -0.080593 | 0.99457 | -0.10425 | 8.8654
37 | -0.023509 | -0.005918 | 0.023521 | 0.0059253 | 1.2001e-05 | 7.3417e-06 | 0.035098 | 0.035098 | 0.035098 | 0.99694 | -0.058586 | 0.9975 | -0.047912 | 9.6424
38 | 0.020364 | 0.0051128 | -0.020347 | -0.0051027 | 1.681e-05 | 1.0132e-05 | 0.03047 | 0.03047 | 0.03047 | 0.99457 | -0.10425 | 0.99368 | -0.12157 | 8.371
39 | -0.0035505 | -0.00088985 | 0.0035513 | 0.00088943 | 7.3289e-07 | -4.2033e-07 | 0.0053265 | 0.0053262 | 0.0053265 | 0.99189 | -0.15618 | 0.99211 | -0.15185 | 1.4633
40 | -0.0057987 | -0.0014527 | 0.0057993 | 0.0014528 | 5.6991e-07 | 1.0525e-07 | 0.0086969 | 0.0086969 | 0.0086969 | 0.99211 | -0.15185 | 0.99222 | -0.14979 | 2.3893
41 | -0.024785 | -0.006242 | 0.024799 | 0.006251 | 1.4654e-05 | 9.0051e-06 | 0.036983 | 0.036983 | 0.036983 | 0.9975 | -0.047912 | 0.99814 | -0.035555 | 10.1602
42 | 0.017441 | 0.0043744 | -0.017425 | -0.0043648 | 1.6193e-05 | 9.5444e-06 | 0.026119 | 0.026119 | 0.026119 | 0.99368 | -0.12157 | 0.99267 | -0.14107 | 7.1755
43 | 0.027516 | 0.0069156 | -0.027483 | -0.006895 | 3.3327e-05 | 2.0645e-05 | 0.041106 | 0.041106 | 0.041106 | 0.99624 | -0.072232 | 0.99492 | -0.097634 | 11.293
44 | -0.028774 | -0.0072308 | 0.028783 | 0.0072365 | 9.0789e-06 | 5.6398e-06 | 0.042985 | 0.042985 | 0.042985 | 0.99624 | -0.072232 | 0.99658 | -0.065625 | 11.809
45 | 0.0011524 | 0.00028876 | -0.0011524 | -0.00028881 | 4.073e-09 | -4.5606e-08 | 0.0017169 | 0.001717 | 0.001717 | 0.99871 | -0.024779 | 0.99871 | -0.024853 | 0.47169
46 | 0.0094296 | 0.0023625 | -0.0094257 | -0.0023607 | 3.9149e-06 | 1.8303e-06 | 0.014135 | 0.014135 | 0.014135 | 0.99267 | -0.14107 | 0.99222 | -0.14979 | 3.8832
47 | 0.0079951 | 0.0020023 | -0.0079938 | -0.0020018 | 1.3437e-06 | 5.375e-07 | 0.011984 | 0.011984 | 0.011984 | 0.99267 | -0.14107 | 0.99249 | -0.1446 | 3.2924
48 | 0.0036264 | 0.00090789 | -0.0036257 | -0.00090828 | 7.3508e-07 | -3.8542e-07 | 0.0054382 | 0.0054385 | 0.0054385 | 0.99222 | -0.14979 | 0.992 | -0.15404 | 1.4941
49 | 0.0079938 | 0.0020018 | -0.0079937 | -0.0020018 | 2.4094e-08 | 9.6385e-09 | 0.011984 | 0.011984 | 0.011984 | 0.99249 | -0.1446 | 0.99248 | -0.14466 | 3.2924
50 | -0.0037461 | -0.00093718 | 0.0037463 | 0.00093709 | 1.9995e-07 | -9.0284e-08 | 0.0056175 | 0.0056174 | 0.0056175 | 0.99221 | -0.14997 | 0.99227 | -0.14885 | 1.5433
51 | 0.0026559 | 0.00066396 | -0.0026559 | -0.00066407 | 7.463e-08 | -1.1429e-07 | 0.0039825 | 0.0039826 | 0.0039826 | 0.99221 | -0.14997 | 0.99218 | -0.15056 | 1.0941
52 | -0.0073867 | -0.0018495 | 0.0073882 | 0.00185 | 1.4723e-06 | 5.2881e-07 | 0.011077 | 0.011076 | 0.011077 | 0.99227 | -0.14885 | 0.99248 | -0.14466 | 3.043
53 | 0.00036915 | 9.2087e-05 | -0.00036915 | -9.2516e-05 | 3.8466e-09 | -4.2987e-07 | 0.00055348 | 0.00055363 | 0.00055363 | 0.99218 | -0.15056 | 0.99217 | -0.15078 | 0.1521
54 | 0.0022867 | 0.00057199 | -0.0022866 | -0.00057215 | 7.1193e-08 | -1.6294e-07 | 0.0034291 | 0.0034292 | 0.0034292 | 0.99218 | -0.15056 | 0.99215 | -0.15121 | 0.94208
55 | 0.00030646 | 7.5869e-05 | -0.00030646 | -7.6259e-05 | 2.3991e-09 | -3.8999e-07 | 0.0004593 | 0.00045943 | 0.00045943 | 0.99215 | -0.15121 | 0.99214 | -0.15138 | 0.12622
56 | 0.00030646 | 7.6259e-05 | -0.00030645 | -7.6804e-05 | 3.3556e-09 | -5.4507e-07 | 0.00045943 | 0.00045963 | 0.00045963 | 0.99214 | -0.15138 | 0.99213 | -0.15161 | 0.12627
57 | 0.0036257 | 0.00090828 | -0.0036252 | -0.00090855 | 5.2383e-07 | -2.7436e-07 | 0.0054385 | 0.0054387 | 0.0054387 | 0.992 | -0.15404 | 0.99184 | -0.15708 | 1.4941

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.081859 | 0.02022

## res_load
| p_mw | q_mvar
0 | 0.0031903 | 0.00079957
1 | 0.0018119 | 0.00045411
2 | 0.0051798 | 0.0012982
3 | 0.00079509 | 0.00019927
4 | 0.00034819 | 8.7264e-05
5 | 0.0027741 | 0.00069525
6 | 0.00098877 | 0.00024781
7 | 0.0037327 | 0.0009355
8 | 0.00099425 | 0.00024918
9 | 0.0009635 | 0.00024148
10 | 0.0014951 | 0.0003747
11 | 0.00078526 | 0.0001968
12 | 0.00064378 | 0.00016135
13 | 0.0037313 | 0.00093514
14 | 0.0020332 | 0.00050956
15 | 0.00068388 | 0.0001714
16 | 0.002407 | 0.00060325
17 | 0.0012337 | 0.0003092
18 | 0.0013165 | 0.00032995
19 | 0.002993 | 0.00075012
20 | 0.0012621 | 0.00031631
21 | 0.00098553 | 0.000247
22 | 0.0013015 | 0.00032618
23 | 0.0016381 | 0.00041054
24 | 0.0013051 | 0.00032708
25 | 0.0010477 | 0.00026257
26 | 0.0008465 | 0.00021215
27 | 0.001203 | 0.00030149
28 | 0.0035505 | 0.00088985
29 | 0.0022474 | 0.00056326
30 | 0.0012635 | 0.00031666
31 | 0.002906 | 0.00072831
32 | 0.0012577 | 0.0003152
33 | 0.005271 | 0.001321
34 | 0.00045869 | 0.00011496
35 | 0.0012646 | 0.00031694
36 | 0.00065101 | 0.00016316
37 | 0.0011524 | 0.00028881
38 | 0.00049588 | 0.00012428
39 | 0.0010902 | 0.00027322
40 | 0.0036404 | 0.00091238
41 | 0.00060551 | 0.00015176
42 | 0.00036915 | 9.2517e-05
43 | 0.0019802 | 0.00049628
44 | 0.00030645 | 7.6805e-05
45 | 0.0036252 | 0.00090855

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1