## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_227-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_227-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_227-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_227-13_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_227-13_0_3_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_227-13_0_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_227-13_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_227-13_0_3_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_227-13_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_227-13_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_227-13_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_227-13_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_227-13_0_3_node_92 | 0.4 | n |  | TRUE
13 | bus_LV_227-13_0_3_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_227-13_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_227-13_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_227-13_0_3_node_91 | 0.4 | n |  | TRUE
17 | bus_LV_227-13_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_227-13_0_3_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_227-13_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_227-13_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_227-13_0_3_node_97 | 0.4 | n |  | TRUE
22 | bus_LV_227-13_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_227-13_0_3_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_227-13_0_3_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_227-13_0_3_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_227-13_0_3_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_227-13_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_227-13_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_227-13_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_227-13_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_227-13_0_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_227-13_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_227-13_0_3_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_227-13_0_3_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_227-13_0_3_node_90 | 0.4 | n |  | TRUE
36 | bus_MV_369_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_227-13_0_3_load_0 | 0 | 0.015922 | 0.0039905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_227-13_0_3_load_25 | 4 | 0.019558 | 0.0049017 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_227-13_0_3_load_26 | 5 | 0.010257 | 0.0025705 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_227-13_0_3_load_31 | 7 | 0.01483 | 0.0037168 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_227-13_0_3_load_35 | 11 | 0.021888 | 0.0054858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_227-13_0_3_load_92 | 12 | 0.0054463 | 0.001365 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_227-13_0_3_load_89 | 13 | 0.0067365 | 0.0016883 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_227-13_0_3_load_91 | 16 | 0.013641 | 0.0034188 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_227-13_0_3_load_39 | 18 | 0.0074847 | 0.0018758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_227-13_0_3_load_97 | 21 | 0.0027287 | 0.00068388 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_227-13_0_3_load_81 | 23 | 0.0061952 | 0.0015527 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_227-13_0_3_load_96 | 24 | 0.0066033 | 0.0016549 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_227-13_0_3_load_73 | 25 | 0.0072708 | 0.0018222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_227-13_0_3_load_84 | 26 | 0.0074018 | 0.0018551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_227-13_0_3_load_30 | 27 | 0.0062026 | 0.0015545 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_227-13_0_3_load_32 | 28 | 0.0087962 | 0.0022045 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_227-13_0_3_load_36 | 29 | 0.016282 | 0.0040808 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_227-13_0_3_load_40 | 31 | 0.028724 | 0.007199 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_227-13_0_3_load_38 | 32 | 0.0069319 | 0.0017373 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_227-13_0_3_load_82 | 33 | 0.0023888 | 0.00059869 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_227-13_0_3_load_83 | 34 | 0.0030667 | 0.00076858 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_227-13_0_3_load_90 | 35 | 0.0067197 | 0.0016841 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_227-13_0_3_line_0 |  | 0 | 1 | 0.035392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_227-13_0_3_line_1 |  | 0 | 2 | 0.019737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_227-13_0_3_line_2 |  | 1 | 3 | 0.080784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_227-13_0_3_line_3 |  | 2 | 4 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_227-13_0_3_line_4 |  | 2 | 5 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_227-13_0_3_line_5 |  | 3 | 6 | 0.022165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_227-13_0_3_line_6 |  | 4 | 10 | 0.074788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_227-13_0_3_line_7 |  | 5 | 27 | 0.0038022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_227-13_0_3_line_8 |  | 6 | 7 | 0.028659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_227-13_0_3_line_9 |  | 7 | 28 | 0.020878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_227-13_0_3_line_10 |  | 8 | 9 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_227-13_0_3_line_11 |  | 8 | 10 | 0.010408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_227-13_0_3_line_12 |  | 8 | 11 | 0.017962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_227-13_0_3_line_13 |  | 9 | 12 | 0.02565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_227-13_0_3_line_14 |  | 9 | 13 | 0.025997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_227-13_0_3_line_15 |  | 10 | 14 | 0.034636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_227-13_0_3_line_16 |  | 11 | 29 | 0.027667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_227-13_0_3_line_17 |  | 13 | 35 | 0.024542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_227-13_0_3_line_18 |  | 14 | 26 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_227-13_0_3_line_19 |  | 14 | 20 | 0.020453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_227-13_0_3_line_20 |  | 15 | 16 | 0.031165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_227-13_0_3_line_21 |  | 15 | 17 | 0.022411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_227-13_0_3_line_22 |  | 15 | 18 | 0.02194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_227-13_0_3_line_23 |  | 17 | 25 | 0.031829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_227-13_0_3_line_24 |  | 17 | 22 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_227-13_0_3_line_25 |  | 18 | 32 | 0.028429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_227-13_0_3_line_26 |  | 19 | 20 | 0.045816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_227-13_0_3_line_27 |  | 19 | 21 | 0.014897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_227-13_0_3_line_28 |  | 20 | 24 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_227-13_0_3_line_29 |  | 22 | 23 | 0.012961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_227-13_0_3_line_30 |  | 26 | 33 | 0.028297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_227-13_0_3_line_31 |  | 29 | 30 | 0.010596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_227-13_0_3_line_32 |  | 30 | 31 | 0.0048433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_227-13_0_3_line_33 |  | 30 | 32 | 0.0087243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_227-13_0_3_line_34 |  | 33 | 34 | 0.022302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_227-13_0_3_trafo_89 | 0.63 MVA 20/0.4 kV | 36 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2697684.4723 | 1265731.9974 | 2697690.1408 | 1265746.7033 | 2697708.041 | 1265754.7633
1 | 2697725.9895 | 1265762.9648 | 2697724.4965 | 1265762.1727 | 2697708.041 | 1265754.7633
2 | 2697614.6209 | 1265734.9127 | 2697618.2764 | 1265740.1997 | 2697622.5207 | 1265745.8522 | 2697626.4832 | 1265750.7884 | 2697630.0033 | 1265749.679 | 2697684.4723 | 1265731.9974
3 | 2697725.9895 | 1265762.9648 | 2697720.2571 | 1265775.3469 | 2697720.0343 | 1265780.8109
4 | 2697725.9895 | 1265762.9648 | 2697727.7703 | 1265759.1132 | 2697735.5797 | 1265762.7564 | 2697737.9968 | 1265757.9292
5 | 2697606.2992 | 1265719.4292 | 2697602.7889 | 1265720.8502 | 2697606.5186 | 1265725.2932 | 2697614.6209 | 1265734.9127
6 | 2697681.7305 | 1265838.14 | 2697702.6684 | 1265823.8742 | 2697719.0027 | 1265806.1072 | 2697720.0343 | 1265780.8109
7 | 2697737.9968 | 1265757.9292 | 2697739.6991 | 1265754.5294
8 | 2697606.2992 | 1265719.4292 | 2697622.2358 | 1265712.9648 | 2697622.8822 | 1265714.41 | 2697632.063 | 1265710.766
9 | 2697632.063 | 1265710.766 | 2697633.7755 | 1265710.0863 | 2697634.5263 | 1265712.0447 | 2697650.1336 | 1265705.4637
10 | 2697670.1554 | 1265834.5236 | 2697674.5122 | 1265842.4799 | 2697675.4699 | 1265844.2194
11 | 2697675.4699 | 1265844.2194 | 2697674.5122 | 1265842.4799 | 2697678.2396 | 1265840.2174 | 2697681.7305 | 1265838.14
12 | 2697675.4699 | 1265844.2194 | 2697671.6673 | 1265850.5729 | 2697668.9604 | 1265853.0525 | 2697662.2027 | 1265854.3778
13 | 2697645.3118 | 1265839.9844 | 2697666.8066 | 1265836.6589 | 2697670.1554 | 1265834.5236
14 | 2697670.1554 | 1265834.5236 | 2697657.5821 | 1265811.769
15 | 2697681.7305 | 1265838.14 | 2697693.3346 | 1265859.5829 | 2697695.12 | 1265861.3694 | 2697697.2928 | 1265862.4951 | 2697699.7666 | 1265862.7251 | 2697701.5881 | 1265862.3215 | 2697702.4613 | 1265861.8912
16 | 2697634.8205 | 1265858.2707 | 2697634.8205 | 1265858.2707 | 2697656.9326 | 1265855.4113 | 2697662.2027 | 1265854.3778
17 | 2697657.5821 | 1265811.769 | 2697645.7127 | 1265790.2883
18 | 2697702.4613 | 1265861.8912 | 2697703.137 | 1265861.5576 | 2697716.4963 | 1265852.768
19 | 2697702.4613 | 1265861.8912 | 2697704.3228 | 1265864.9912 | 2697706.2723 | 1265868.2372 | 2697704.3229 | 1265869.5394 | 2697703.1834 | 1265871.4999 | 2697702.5671 | 1265873.7027 | 2697702.8223 | 1265876.0311 | 2697704.3384 | 1265879.5257
20 | 2697590.1744 | 1265819.7905 | 2697592.0477 | 1265816.2519 | 2697598.8638 | 1265799.7952 | 2697600.9778 | 1265796.2828 | 2697603.4896 | 1265793.7555 | 2697604.8704 | 1265792.7876
21 | 2697573.0243 | 1265829.0707 | 2697582.2469 | 1265823.7519 | 2697587.8337 | 1265817.4277 | 2697590.1744 | 1265819.7905
22 | 2697590.1744 | 1265819.7905 | 2697594.2854 | 1265823.9396 | 2697598.797 | 1265839.3936 | 2697598.797 | 1265839.3936
23 | 2697573.0243 | 1265829.0707 | 2697563.1647 | 1265833.2893 | 2697543.2153 | 1265840.1756
24 | 2697569.3011 | 1265818.3115 | 2697573.0243 | 1265829.0707
25 | 2697598.797 | 1265839.3936 | 2697609.321 | 1265847.8299 | 2697613.1885 | 1265855.3221 | 2697618.5824 | 1265858.9655
26 | 2697704.3384 | 1265879.5257 | 2697699.6252 | 1265879.9259 | 2697703.0374 | 1265891.7143 | 2697720.4778 | 1265889.4673 | 2697721.7411 | 1265895.9491 | 2697722.6224 | 1265900.4897
27 | 2697722.6224 | 1265900.4897 | 2697716.1537 | 1265901.3946 | 2697707.8681 | 1265902.546
28 | 2697704.3384 | 1265879.5257 | 2697707.7901 | 1265882.5519 | 2697712.798 | 1265884.8254 | 2697720.9713 | 1265883.6181
29 | 2697569.3011 | 1265818.3115 | 2697565.062 | 1265806.0638
30 | 2697737.4525 | 1265833.7985 | 2697734.9367 | 1265836.2067 | 2697729.5859 | 1265841.4559 | 2697725.6478 | 1265845.0716 | 2697720.9072 | 1265849.3968 | 2697717.3819 | 1265852.1853 | 2697716.4963 | 1265852.768
31 | 2697625.812 | 1265863.8488 | 2697634.8205 | 1265858.2707
32 | 2697625.812 | 1265863.8488 | 2697626.1463 | 1265868.6805
33 | 2697625.812 | 1265863.8488 | 2697618.5824 | 1265858.9655
34 | 2697737.4525 | 1265833.7985 | 2697753.563 | 1265818.3772

## bus_geodata
| x | y | coords
0 | 2697708.041 | 1265754.7633
1 | 2697684.4723 | 1265731.9974
2 | 2697725.9895 | 1265762.9648
3 | 2697614.6209 | 1265734.9127
4 | 2697720.0343 | 1265780.8109
5 | 2697737.9968 | 1265757.9292
6 | 2697606.2992 | 1265719.4292
7 | 2697632.063 | 1265710.766
8 | 2697675.4699 | 1265844.2194
9 | 2697670.1554 | 1265834.5236
10 | 2697681.7305 | 1265838.14
11 | 2697662.2027 | 1265854.3778
12 | 2697645.3118 | 1265839.9844
13 | 2697657.5821 | 1265811.769
14 | 2697702.4613 | 1265861.8912
15 | 2697590.1744 | 1265819.7905
16 | 2697604.8704 | 1265792.7876
17 | 2697573.0243 | 1265829.0707
18 | 2697598.797 | 1265839.3936
19 | 2697722.6224 | 1265900.4897
20 | 2697704.3384 | 1265879.5257
21 | 2697707.8681 | 1265902.546
22 | 2697569.3011 | 1265818.3115
23 | 2697565.062 | 1265806.0638
24 | 2697720.9713 | 1265883.6181
25 | 2697543.2153 | 1265840.1756
26 | 2697716.4963 | 1265852.768
27 | 2697739.6991 | 1265754.5294
28 | 2697650.1336 | 1265705.4637
29 | 2697634.8205 | 1265858.2707
30 | 2697625.812 | 1265863.8488
31 | 2697626.1463 | 1265868.6805
32 | 2697618.5824 | 1265858.9655
33 | 2697737.4525 | 1265833.7985
34 | 2697753.563 | 1265818.3772
35 | 2697645.7127 | 1265790.2883
36 | 2697670.1554 | 1265834.5236

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98862 | -0.21883 | 0.015922 | 0.0039905
1 | 0.98785 | -0.23375 | 0 | 0
2 | 0.98933 | -0.20491 | 0 | 0
3 | 0.98609 | -0.26791 | 0 | 0
4 | 0.99032 | -0.18587 | 0.019558 | 0.0049017
5 | 0.98906 | -0.21027 | 0.010257 | 0.0025705
6 | 0.98561 | -0.2773 | 0 | 0
7 | 0.98498 | -0.28946 | 0.01483 | 0.0037168
8 | 0.99644 | -0.068062 | 0 | 0
9 | 0.99748 | -0.048072 | 0 | 0
10 | 0.9955 | -0.085943 | 0 | 0
11 | 0.99466 | -0.10231 | 0.021888 | 0.0054858
12 | 0.99735 | -0.05052 | 0.0054463 | 0.001365
13 | 1 | 0 | -0.22178 | -0.055855
14 | 0.9948 | -0.099473 | 0 | 0
15 | 0.99001 | -0.19221 | 0 | 0
16 | 0.98962 | -0.19978 | 0.013641 | 0.0034188
17 | 0.98973 | -0.19758 | 0 | 0
18 | 0.99055 | -0.18164 | 0.0074847 | 0.0018758
19 | 0.99452 | -0.10504 | 0 | 0
20 | 0.99463 | -0.10284 | 0 | 0
21 | 0.99448 | -0.10576 | 0.0027287 | 0.00068388
22 | 0.98967 | -0.19884 | 0 | 0
23 | 0.98959 | -0.20027 | 0.0061952 | 0.0015527
24 | 0.99452 | -0.10497 | 0.0066033 | 0.0016549
25 | 0.98952 | -0.2017 | 0.0072708 | 0.0018222
26 | 0.99461 | -0.10327 | 0.0074018 | 0.0018551
27 | 0.98904 | -0.21069 | 0.0062026 | 0.0015545
28 | 0.98481 | -0.29276 | 0.0087962 | 0.0022045
29 | 0.99247 | -0.14458 | 0.016282 | 0.0040808
30 | 0.99178 | -0.15776 | 0 | 0
31 | 0.99166 | -0.16023 | 0.028724 | 0.007199
32 | 0.99145 | -0.16419 | 0.0069319 | 0.0017373
33 | 0.99447 | -0.10599 | 0.0023888 | 0.00059869
34 | 0.9944 | -0.10719 | 0.0030667 | 0.00076858
35 | 0.99985 | -0.0028749 | 0.0067197 | 0.0016841
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.023708 | 0.0059709 | -0.023691 | -0.0059605 | 1.6909e-05 | 1.0368e-05 | 0.035694 | 0.035694 | 0.035694 | 0.98862 | -0.21883 | 0.98785 | -0.23375 | 9.8061
1 | -0.03963 | -0.0099614 | 0.039656 | 0.009978 | 2.6343e-05 | 1.6606e-05 | 0.05966 | 0.05966 | 0.05966 | 0.98862 | -0.21883 | 0.98933 | -0.20491 | 16.39
2 | 0.023691 | 0.0059605 | -0.023652 | -0.0059369 | 3.8597e-05 | 2.367e-05 | 0.035694 | 0.035695 | 0.035695 | 0.98785 | -0.23375 | 0.98609 | -0.26791 | 9.8062
3 | -0.05612 | -0.014106 | 0.056171 | 0.014138 | 5.1083e-05 | 3.2448e-05 | 0.084422 | 0.084422 | 0.084422 | 0.98933 | -0.20491 | 0.99032 | -0.18587 | 23.1929
4 | 0.016463 | 0.0041275 | -0.016459 | -0.0041251 | 4.1986e-06 | 2.4527e-06 | 0.024763 | 0.024763 | 0.024763 | 0.98933 | -0.20491 | 0.98906 | -0.21027 | 6.8029
5 | 0.023652 | 0.0059369 | -0.023642 | -0.0059304 | 1.059e-05 | 6.4951e-06 | 0.035695 | 0.035695 | 0.035695 | 0.98609 | -0.26791 | 0.98561 | -0.2773 | 9.8062
6 | -0.075729 | -0.01904 | 0.076092 | 0.019271 | 0.00036326 | 0.00023152 | 0.11381 | 0.11381 | 0.11381 | 0.99032 | -0.18587 | 0.9955 | -0.085943 | 31.2663
7 | 0.0062027 | 0.0015545 | -0.0062026 | -0.0015545 | 1.2417e-07 | 3.067e-08 | 0.0093318 | 0.0093318 | 0.0093318 | 0.98906 | -0.21027 | 0.98904 | -0.21069 | 2.5637
8 | 0.023642 | 0.0059304 | -0.023628 | -0.005922 | 1.3693e-05 | 8.3984e-06 | 0.035695 | 0.035695 | 0.035695 | 0.98561 | -0.2773 | 0.98498 | -0.28946 | 9.8063
9 | 0.0087976 | 0.0022052 | -0.0087962 | -0.0022045 | 1.383e-06 | 6.1941e-07 | 0.013291 | 0.013291 | 0.013291 | 0.98498 | -0.28946 | 0.98481 | -0.29276 | 3.6513
10 | -0.20727 | -0.052365 | 0.20747 | 0.052492 | 0.00019881 | 0.00012695 | 0.30967 | 0.30967 | 0.30967 | 0.99644 | -0.068062 | 0.99748 | -0.048072 | 42.5376
11 | 0.098386 | 0.024896 | -0.098301 | -0.024843 | 8.4352e-05 | 5.385e-05 | 0.14701 | 0.14701 | 0.14701 | 0.99644 | -0.068062 | 0.9955 | -0.085943 | 40.3867
12 | 0.10889 | 0.027468 | -0.10871 | -0.027354 | 0.00017823 | 0.00011383 | 0.16267 | 0.16267 | 0.16267 | 0.99644 | -0.068062 | 0.99466 | -0.10231 | 44.6886
13 | 0.0054469 | 0.001365 | -0.0054463 | -0.001365 | 6.3508e-07 | 7.1676e-08 | 0.0081255 | 0.0081256 | 0.0081256 | 0.99748 | -0.048072 | 0.99735 | -0.05052 | 2.2323
14 | -0.21292 | -0.053857 | 0.21341 | 0.054171 | 0.00049231 | 0.0003144 | 0.3178 | 0.3178 | 0.3178 | 0.99748 | -0.048072 | 1 | 0 | 43.6537
15 | 0.022209 | 0.0055714 | -0.022195 | -0.0055627 | 1.4316e-05 | 8.7119e-06 | 0.033199 | 0.033199 | 0.033199 | 0.9955 | -0.085943 | 0.9948 | -0.099473 | 9.1206
16 | 0.086819 | 0.021869 | -0.086644 | -0.021757 | 0.00017512 | 0.00011172 | 0.12992 | 0.12992 | 0.12992 | 0.99466 | -0.10231 | 0.99247 | -0.14458 | 35.6927
17 | 0.0067206 | 0.0016844 | -0.0067197 | -0.0016841 | 9.204e-07 | 2.6713e-07 | 0.01 | 0.01 | 0.01 | 1 | 0 | 0.99985 | -0.0028749 | 2.7474
18 | 0.01286 | 0.0032235 | -0.012858 | -0.0032222 | 2.3237e-06 | 1.2698e-06 | 0.019237 | 0.019237 | 0.019237 | 0.9948 | -0.099473 | 0.99461 | -0.10327 | 5.2848
19 | 0.0093345 | 0.0023392 | -0.009333 | -0.0023385 | 1.4953e-06 | 6.9146e-07 | 0.013962 | 0.013962 | 0.013962 | 0.9948 | -0.099473 | 0.99463 | -0.10284 | 3.8358
20 | 0.013646 | 0.0034216 | -0.013641 | -0.0034188 | 4.9169e-06 | 2.7462e-06 | 0.020511 | 0.020511 | 0.020511 | 0.99001 | -0.19221 | 0.98962 | -0.19978 | 5.635
21 | 0.013472 | 0.0033775 | -0.013468 | -0.0033756 | 3.4458e-06 | 1.9172e-06 | 0.020249 | 0.020249 | 0.020249 | 0.99001 | -0.19221 | 0.98973 | -0.19758 | 5.5629
22 | -0.027118 | -0.0067991 | 0.027132 | 0.0068076 | 1.3669e-05 | 8.4659e-06 | 0.04076 | 0.04076 | 0.04076 | 0.99001 | -0.19221 | 0.99055 | -0.18164 | 11.1979
23 | 0.0072723 | 0.0018228 | -0.0072708 | -0.0018222 | 1.4269e-06 | 5.0424e-07 | 0.010934 | 0.010934 | 0.010934 | 0.98973 | -0.19758 | 0.98952 | -0.2017 | 3.0038
24 | 0.006196 | 0.0015529 | -0.0061956 | -0.0015528 | 3.7039e-07 | 9.0785e-08 | 0.0093154 | 0.0093155 | 0.0093155 | 0.98973 | -0.19758 | 0.98967 | -0.19884 | 2.5592
25 | -0.034616 | -0.0086834 | 0.034645 | 0.0087015 | 2.8831e-05 | 1.8085e-05 | 0.052004 | 0.052004 | 0.052004 | 0.99055 | -0.18164 | 0.99145 | -0.16419 | 14.2867
26 | -0.0027288 | -0.00068374 | 0.0027291 | 0.00068333 | 2.8638e-07 | -4.1128e-07 | 0.0040828 | 0.0040826 | 0.0040828 | 0.99452 | -0.10504 | 0.99463 | -0.10284 | 1.1217
27 | 0.0027288 | 0.00068374 | -0.0027287 | -0.00068388 | 9.3123e-08 | -1.3369e-07 | 0.0040828 | 0.0040829 | 0.0040829 | 0.99452 | -0.10504 | 0.99448 | -0.10576 | 1.1217
28 | 0.006604 | 0.0016551 | -0.0066033 | -0.0016549 | 6.7178e-07 | 1.9178e-07 | 0.0098799 | 0.00988 | 0.00988 | 0.99463 | -0.10284 | 0.99452 | -0.10497 | 2.7143
29 | 0.0061956 | 0.0015528 | -0.0061952 | -0.0015527 | 4.2176e-07 | 1.034e-07 | 0.0093155 | 0.0093155 | 0.0093155 | 0.98967 | -0.19884 | 0.98959 | -0.20027 | 2.5592
30 | 0.0054564 | 0.0013672 | -0.0054556 | -0.0013671 | 7.0709e-07 | 8.5354e-08 | 0.008163 | 0.0081632 | 0.0081632 | 0.99461 | -0.10327 | 0.99447 | -0.10599 | 2.2426
31 | 0.070362 | 0.017676 | -0.070317 | -0.017648 | 4.4232e-05 | 2.8172e-05 | 0.10551 | 0.10551 | 0.10551 | 0.99247 | -0.14458 | 0.99178 | -0.15776 | 28.9859
32 | 0.028728 | 0.0072011 | -0.028724 | -0.007199 | 3.3741e-06 | 2.0969e-06 | 0.043102 | 0.043102 | 0.043102 | 0.99178 | -0.15776 | 0.99166 | -0.16023 | 11.8411
33 | 0.04159 | 0.010447 | -0.041577 | -0.010439 | 1.2742e-05 | 8.0422e-06 | 0.062407 | 0.062407 | 0.062407 | 0.99178 | -0.15776 | 0.99145 | -0.16419 | 17.1448
34 | 0.0030668 | 0.0007684 | -0.0030667 | -0.00076858 | 1.7611e-07 | -1.7663e-07 | 0.0045888 | 0.0045889 | 0.0045889 | 0.99447 | -0.10599 | 0.9944 | -0.10719 | 1.2607

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22852 | 0.057544

## res_load
| p_mw | q_mvar
0 | 0.015922 | 0.0039905
1 | 0.019558 | 0.0049017
2 | 0.010257 | 0.0025705
3 | 0.01483 | 0.0037168
4 | 0.021888 | 0.0054858
5 | 0.0054463 | 0.001365
6 | 0.0067365 | 0.0016883
7 | 0.013641 | 0.0034188
8 | 0.0074847 | 0.0018758
9 | 0.0027287 | 0.00068388
10 | 0.0061952 | 0.0015527
11 | 0.0066033 | 0.0016549
12 | 0.0072708 | 0.0018222
13 | 0.0074018 | 0.0018551
14 | 0.0062026 | 0.0015545
15 | 0.0087962 | 0.0022045
16 | 0.016282 | 0.0040808
17 | 0.028724 | 0.007199
18 | 0.0069319 | 0.0017373
19 | 0.0023888 | 0.00059869
20 | 0.0030667 | 0.00076858
21 | 0.0067197 | 0.0016841

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1