## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2293-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2293-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2293-12_0_4_node_57 | 0.4 | n |  | TRUE
3 | bus_LV_2293-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2293-12_0_4_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_2293-12_0_4_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_2293-12_0_4_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_2293-12_0_4_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_2293-12_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2293-12_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2293-12_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2293-12_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2293-12_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2293-12_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2293-12_0_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2293-12_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2293-12_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2293-12_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2293-12_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2293-12_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2293-12_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2293-12_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_2293-12_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2293-12_0_4_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_2293-12_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2293-12_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2293-12_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_2293-12_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2293-12_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2293-12_0_4_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_2293-12_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2293-12_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_2293-12_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_2293-12_0_4_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_2293-12_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2293-12_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2293-12_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2293-12_0_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_2293-12_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2293-12_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2293-12_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2293-12_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2293-12_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2293-12_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2293-12_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2293-12_0_4_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_2293-12_0_4_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_2293-12_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2293-12_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2293-12_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_2293-12_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_2293-12_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2293-12_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2293-12_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2293-12_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_2293-12_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_2293-12_0_4_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_2293-12_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_2293-12_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_2293-12_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2293-12_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2293-12_0_4_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_2293-12_0_4_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_2293-12_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_2293-12_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_2293-12_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_2293-12_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_2293-12_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_2293-12_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_2293-12_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_2293-12_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_2293-12_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_2293-12_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_2293-12_0_4_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_2293-12_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_2293-12_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_MV_378_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2293-12_0_4_load_0 | 0 | 0.0016607 | 0.0004162 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2293-12_0_4_load_1 | 1 | 0.016243 | 0.0040708 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2293-12_0_4_load_57 | 2 | 0.0027959 | 0.00070072 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2293-12_0_4_load_3 | 3 | 0.0046886 | 0.0011751 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2293-12_0_4_load_68 | 4 | 0.0049723 | 0.0012462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2293-12_0_4_load_58 | 6 | 0.002797 | 0.00070098 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2293-12_0_4_load_54 | 7 | 0.0027984 | 0.00070135 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2293-12_0_4_load_4 | 8 | 0.013251 | 0.003321 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2293-12_0_4_load_26 | 13 | 0.024707 | 0.0061923 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2293-12_0_4_load_25 | 14 | 0.024701 | 0.0061906 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2293-12_0_4_load_18 | 17 | 0.026435 | 0.0066252 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2293-12_0_4_load_16 | 18 | 0.016774 | 0.004204 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2293-12_0_4_load_14 | 20 | 0.0087974 | 0.0022048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2293-12_0_4_load_15 | 22 | 0.014729 | 0.0036916 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2293-12_0_4_load_80 | 23 | 0.016078 | 0.0040295 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2293-12_0_4_load_29 | 25 | 0.026409 | 0.0066186 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2293-12_0_4_load_11 | 26 | 0.0087984 | 0.0022051 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2293-12_0_4_load_24 | 27 | 0.031078 | 0.0077888 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2293-12_0_4_load_19 | 28 | 0.016082 | 0.0040306 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2293-12_0_4_load_79 | 29 | 0.0027154 | 0.00068055 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2293-12_0_4_load_20 | 30 | 0.037186 | 0.0093197 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2293-12_0_4_load_41 | 32 | 0.0050814 | 0.0012735 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2293-12_0_4_load_39 | 33 | 0.0096903 | 0.0024286 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2293-12_0_4_load_42 | 36 | 0.0088873 | 0.0022274 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2293-12_0_4_load_71 | 37 | 0.0090911 | 0.0022785 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2293-12_0_4_load_37 | 38 | 0.018382 | 0.004607 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2293-12_0_4_load_38 | 39 | 0.013125 | 0.0032893 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2293-12_0_4_load_30 | 40 | 0.022162 | 0.0055544 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2293-12_0_4_load_31 | 41 | 0.027665 | 0.0069334 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2293-12_0_4_load_33 | 43 | 0.0087663 | 0.002197 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2293-12_0_4_load_34 | 44 | 0.009483 | 0.0023767 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2293-12_0_4_load_73 | 46 | 0.022759 | 0.0057039 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2293-12_0_4_load_49 | 49 | 0.013984 | 0.0035046 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2293-12_0_4_load_43 | 53 | 0.0047997 | 0.0012029 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2293-12_0_4_load_59 | 54 | 0.0051022 | 0.0012787 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2293-12_0_4_load_55 | 55 | 0.0038665 | 0.00096903 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2293-12_0_4_load_65 | 56 | 0.0051276 | 0.0012851 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2293-12_0_4_load_46 | 58 | 0.005741 | 0.0014388 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2293-12_0_4_load_47 | 59 | 0.0050288 | 0.0012603 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2293-12_0_4_load_75 | 61 | 0.0015501 | 0.0003885 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2293-12_0_4_load_77 | 62 | 0.0020797 | 0.00052121 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2293-12_0_4_load_74 | 63 | 0.0057385 | 0.0014382 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2293-12_0_4_load_51 | 64 | 0.0038631 | 0.00096817 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2293-12_0_4_load_52 | 65 | 0.0027959 | 0.00070073 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2293-12_0_4_load_64 | 66 | 0.0029358 | 0.00073578 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2293-12_0_4_load_60 | 67 | 0.011596 | 0.0029061 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2293-12_0_4_load_61 | 68 | 0.0018614 | 0.0004665 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2293-12_0_4_load_62 | 69 | 0.0015221 | 0.00038147 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2293-12_0_4_load_69 | 71 | 0.0025268 | 0.00063328 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2293-12_0_4_load_70 | 72 | 0.0025481 | 0.00063861 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2293-12_0_4_load_76 | 73 | 0.0045135 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2293-12_0_4_load_66 | 74 | 0.0045742 | 0.0011464 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2293-12_0_4_load_67 | 75 | 0.0028734 | 0.00072014 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2293-12_0_4_line_0 |  | 0 | 1 | 0.023566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2293-12_0_4_line_1 |  | 0 | 2 | 0.037164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2293-12_0_4_line_2 |  | 1 | 3 | 0.099216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2293-12_0_4_line_3 |  | 2 | 4 | 0.045245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2293-12_0_4_line_4 |  | 2 | 5 | 0.012887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2293-12_0_4_line_5 |  | 5 | 6 | 0.011915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2293-12_0_4_line_6 |  | 5 | 7 | 0.029243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2293-12_0_4_line_7 |  | 7 | 57 | 0.011029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2293-12_0_4_line_8 |  | 8 | 9 | 0.016221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2293-12_0_4_line_9 |  | 8 | 10 | 0.017221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2293-12_0_4_line_10 |  | 9 | 11 | 0.025872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2293-12_0_4_line_11 |  | 10 | 12 | 0.012889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2293-12_0_4_line_12 |  | 11 | 19 | 0.028299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2293-12_0_4_line_13 |  | 11 | 20 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2293-12_0_4_line_14 |  | 12 | 23 | 0.0161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2293-12_0_4_line_15 |  | 12 | 24 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2293-12_0_4_line_16 |  | 13 | 14 | 0.034826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2293-12_0_4_line_17 |  | 13 | 15 | 0.03266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2293-12_0_4_line_18 |  | 14 | 27 | 0.036883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2293-12_0_4_line_19 |  | 14 | 19 | 0.059101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2293-12_0_4_line_20 |  | 15 | 25 | 0.017354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2293-12_0_4_line_21 |  | 15 | 34 | 0.020818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2293-12_0_4_line_22 |  | 16 | 17 | 0.026574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2293-12_0_4_line_23 |  | 16 | 18 | 0.019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2293-12_0_4_line_24 |  | 18 | 24 | 0.018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2293-12_0_4_line_25 |  | 19 | 26 | 0.014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2293-12_0_4_line_26 |  | 20 | 21 | 0.015549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2293-12_0_4_line_27 |  | 21 | 22 | 0.014365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2293-12_0_4_line_28 |  | 24 | 28 | 0.030187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2293-12_0_4_line_29 |  | 28 | 29 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2293-12_0_4_line_30 |  | 30 | 31 | 0.01324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2293-12_0_4_line_31 |  | 31 | 32 | 0.015287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2293-12_0_4_line_32 |  | 31 | 33 | 0.019786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2293-12_0_4_line_33 |  | 32 | 51 | 0.027205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2293-12_0_4_line_34 |  | 33 | 35 | 0.028355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2293-12_0_4_line_35 |  | 34 | 35 | 0.023916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2293-12_0_4_line_36 |  | 35 | 36 | 0.0034948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2293-12_0_4_line_37 |  | 36 | 37 | 0.029925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2293-12_0_4_line_38 |  | 37 | 45 | 0.0076073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2293-12_0_4_line_39 |  | 38 | 39 | 0.036991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2293-12_0_4_line_40 |  | 39 | 48 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2293-12_0_4_line_41 |  | 40 | 41 | 0.018267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2293-12_0_4_line_42 |  | 41 | 42 | 0.028452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2293-12_0_4_line_43 |  | 42 | 43 | 0.033515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2293-12_0_4_line_44 |  | 42 | 44 | 0.030506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2293-12_0_4_line_45 |  | 44 | 45 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2293-12_0_4_line_46 |  | 45 | 46 | 0.023623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2293-12_0_4_line_47 |  | 47 | 48 | 0.014263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2293-12_0_4_line_48 |  | 47 | 49 | 0.027282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2293-12_0_4_line_49 |  | 49 | 50 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2293-12_0_4_line_50 |  | 50 | 60 | 0.025785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2293-12_0_4_line_51 |  | 50 | 58 | 0.0098514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2293-12_0_4_line_52 |  | 51 | 52 | 0.019596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2293-12_0_4_line_53 |  | 51 | 53 | 0.037291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2293-12_0_4_line_54 |  | 52 | 54 | 0.021704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2293-12_0_4_line_55 |  | 52 | 55 | 0.026159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2293-12_0_4_line_56 |  | 54 | 56 | 0.015214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_2293-12_0_4_line_57 |  | 55 | 57 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2293-12_0_4_line_58 |  | 56 | 66 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2293-12_0_4_line_59 |  | 57 | 64 | 0.0078923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2293-12_0_4_line_60 |  | 58 | 59 | 0.0025679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2293-12_0_4_line_61 |  | 60 | 61 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2293-12_0_4_line_62 |  | 60 | 62 | 0.0074495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2293-12_0_4_line_63 |  | 61 | 63 | 0.02311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2293-12_0_4_line_64 |  | 63 | 71 | 0.0038919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2293-12_0_4_line_65 |  | 64 | 65 | 0.0044257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2293-12_0_4_line_66 |  | 66 | 74 | 0.013192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2293-12_0_4_line_67 |  | 67 | 68 | 3.9694e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2293-12_0_4_line_68 |  | 68 | 69 | 0.020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2293-12_0_4_line_69 |  | 69 | 70 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2293-12_0_4_line_70 |  | 70 | 71 | 0.027127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2293-12_0_4_line_71 |  | 70 | 72 | 0.0052682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2293-12_0_4_line_72 |  | 72 | 73 | 0.029935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2293-12_0_4_line_73 |  | 73 | 75 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2293-12_0_4_line_74 |  | 74 | 75 | 0.0161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2293-12_0_4_trafo_73 | 0.63 MVA 20/0.4 kV | 76 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2581921.0074 | 1189081.9263 | 2581933.1856 | 1189061.7505
1 | 2581884.7684 | 1189073.6857 | 2581921.0074 | 1189081.9263
2 | 2581933.1856 | 1189061.7505 | 2582016.6392 | 1189115.41
3 | 2581884.7684 | 1189073.6857 | 2581882.9735 | 1189081.9084 | 2581874.5577 | 1189098.2204 | 2581857.0631 | 1189104.1553
4 | 2581887.5167 | 1189061.0948 | 2581884.7684 | 1189073.6857
5 | 2581887.5167 | 1189061.0948 | 2581888.399 | 1189049.2126
6 | 2581887.5167 | 1189061.0948 | 2581862.6957 | 1189057.2683 | 2581858.6712 | 1189056.348
7 | 2581847.9202 | 1189053.8893 | 2581858.6712 | 1189056.348
8 | 2581657.2676 | 1189110.1693 | 2581641.0678 | 1189110.9904
9 | 2581623.8685 | 1189111.862 | 2581641.0678 | 1189110.9904
10 | 2581657.2676 | 1189110.1693 | 2581651.7018 | 1189135.4331
11 | 2581623.0509 | 1189099.0022 | 2581623.8685 | 1189111.862
12 | 2581651.7018 | 1189135.4331 | 2581643.5334 | 1189162.528
13 | 2581651.7018 | 1189135.4331 | 2581636.4699 | 1189135.6726
14 | 2581623.0509 | 1189099.0022 | 2581606.9062 | 1189099.2411
15 | 2581622.2048 | 1189084.3305 | 2581623.0509 | 1189099.0022
16 | 2581701.8783 | 1189171.9517 | 2581705.7181 | 1189159.5019 | 2581712.0587 | 1189138.6474
17 | 2581725.1494 | 1189109.4382 | 2581720.0546 | 1189114.3453 | 2581714.0914 | 1189131.9617 | 2581712.0587 | 1189138.6474
18 | 2581691.196 | 1189207.253 | 2581694.5574 | 1189195.6885 | 2581701.8783 | 1189171.9517
19 | 2581701.8783 | 1189171.9517 | 2581643.5334 | 1189162.528
20 | 2581725.1494 | 1189109.4382 | 2581723.0316 | 1189092.2143
21 | 2581746.0035 | 1189110.4526 | 2581725.1494 | 1189109.4382
22 | 2581659.8582 | 1189082.1466 | 2581656.3701 | 1189055.8031
23 | 2581659.8582 | 1189082.1466 | 2581640.31 | 1189083.2804
24 | 2581622.2048 | 1189084.3305 | 2581640.31 | 1189083.2804
25 | 2581643.5334 | 1189162.528 | 2581629.2476 | 1189162.8344
26 | 2581620.9226 | 1189135.9171 | 2581636.4699 | 1189135.6726
27 | 2581620.9226 | 1189135.9171 | 2581606.5164 | 1189136.0283
28 | 2581622.2048 | 1189084.3305 | 2581621.5526 | 1189070.6809 | 2581605.0374 | 1189071.135
29 | 2581605.0374 | 1189071.135 | 2581583.4363 | 1189048.9538
30 | 2581773.5361 | 1189063.3324 | 2581760.3032 | 1189062.9036
31 | 2581773.5361 | 1189063.3324 | 2581788.8175 | 1189063.7584
32 | 2581773.5361 | 1189063.3324 | 2581773.5856 | 1189069.5466 | 2581773.5582 | 1189083.0205 | 2581773.5459 | 1189083.1172
33 | 2581814.338 | 1189073.1574 | 2581788.9889 | 1189063.7632 | 2581788.8175 | 1189063.7584
34 | 2581769.9762 | 1189111.2463 | 2581773.5459 | 1189083.1172
35 | 2581769.9762 | 1189111.2463 | 2581746.0035 | 1189110.4526
36 | 2581769.9762 | 1189111.2463 | 2581769.9936 | 1189114.741
37 | 2581770.5566 | 1189144.6548 | 2581770.095 | 1189135.114 | 2581769.9936 | 1189114.741
38 | 2581770.1856 | 1189152.2449 | 2581770.6242 | 1189146.0515 | 2581770.5566 | 1189144.6548
39 | 2581693.7447 | 1189270.0103 | 2581710.653 | 1189276.3926 | 2581709.8376 | 1189279.0854 | 2581725.1312 | 1189284.1322
40 | 2581742.3936 | 1189283.7658 | 2581739.244 | 1189288.7892 | 2581725.1312 | 1189284.1322
41 | 2581725.3152 | 1189202.6478 | 2581743.5798 | 1189202.9461
42 | 2581772.0276 | 1189203.4106 | 2581743.5798 | 1189202.9461
43 | 2581772.0276 | 1189203.4106 | 2581772.3942 | 1189218.5397 | 2581772.2724 | 1189233.548 | 2581771.9436 | 1189236.9044
44 | 2581772.0276 | 1189203.4106 | 2581771.3813 | 1189179.111 | 2581771.1057 | 1189172.919
45 | 2581770.1856 | 1189152.2449 | 2581771.1057 | 1189172.919
46 | 2581746.4965 | 1189151.8617 | 2581762.8943 | 1189152.1339 | 2581770.1856 | 1189152.2449
47 | 2581742.3936 | 1189283.7658 | 2581755.028 | 1189290.4529
48 | 2581782.3084 | 1189290.7807 | 2581755.028 | 1189290.4529
49 | 2581787.1535 | 1189279.0931 | 2581783.7588 | 1189278.7588 | 2581782.3084 | 1189290.7807
50 | 2581787.1535 | 1189279.0931 | 2581812.885 | 1189281.6603
51 | 2581787.1535 | 1189279.0931 | 2581788.1893 | 1189269.2963
52 | 2581814.338 | 1189073.1574 | 2581826.4911 | 1189084.4484 | 2581827.6589 | 1189087.2464
53 | 2581814.338 | 1189073.1574 | 2581825.8614 | 1189037.6914
54 | 2581827.6589 | 1189087.2464 | 2581834.3045 | 1189103.19 | 2581834.0799 | 1189107.615
55 | 2581827.6589 | 1189087.2464 | 2581840.9687 | 1189075.1994 | 2581843.5139 | 1189067.397
56 | 2581833.3088 | 1189122.8092 | 2581834.0799 | 1189107.615
57 | 2581847.9202 | 1189053.8893 | 2581843.5139 | 1189067.397
58 | 2581832.193 | 1189139.3189 | 2581832.6427 | 1189135.9345 | 2581833.3088 | 1189122.8092
59 | 2581847.9202 | 1189053.8893 | 2581850.3697 | 1189046.3867
60 | 2581788.1893 | 1189269.2963 | 2581788.4593 | 1189266.7426
61 | 2581812.885 | 1189281.6603 | 2581814.6972 | 1189268.436
62 | 2581812.885 | 1189281.6603 | 2581811.8732 | 1189289.0407
63 | 2581817.8347 | 1189245.5403 | 2581814.6972 | 1189268.436
64 | 2581817.8347 | 1189245.5403 | 2581818.3631 | 1189241.6845
65 | 2581850.3697 | 1189046.3867 | 2581851.7433 | 1189042.1796
66 | 2581832.193 | 1189139.3189 | 2581830.4556 | 1189152.3961
67 | 2581796.4657 | 1189199.076 | 2581796.4625 | 1189199.1156
68 | 2581796.4625 | 1189199.1156 | 2581795.48 | 1189211.232 | 2581803.4147 | 1189212.3001
69 | 2581822.0461 | 1189214.8083 | 2581803.4147 | 1189212.3001
70 | 2581822.0461 | 1189214.8083 | 2581818.3631 | 1189241.6845
71 | 2581822.0461 | 1189214.8083 | 2581822.7611 | 1189209.5889
72 | 2581822.7611 | 1189209.5889 | 2581825.9553 | 1189186.2702 | 2581826.798 | 1189179.9272
73 | 2581828.3353 | 1189168.3558 | 2581826.798 | 1189179.9272
74 | 2581828.3353 | 1189168.3558 | 2581830.4556 | 1189152.3961

## bus_geodata
| x | y | coords
0 | 2581921.0074 | 1189081.9263
1 | 2581933.1856 | 1189061.7505
2 | 2581884.7684 | 1189073.6857
3 | 2582016.6392 | 1189115.41
4 | 2581857.0631 | 1189104.1553
5 | 2581887.5167 | 1189061.0948
6 | 2581888.399 | 1189049.2126
7 | 2581858.6712 | 1189056.348
8 | 2581641.0678 | 1189110.9904
9 | 2581657.2676 | 1189110.1693
10 | 2581623.8685 | 1189111.862
11 | 2581651.7018 | 1189135.4331
12 | 2581623.0509 | 1189099.0022
13 | 2581712.0587 | 1189138.6474
14 | 2581701.8783 | 1189171.9517
15 | 2581725.1494 | 1189109.4382
16 | 2581659.8582 | 1189082.1466
17 | 2581656.3701 | 1189055.8031
18 | 2581640.31 | 1189083.2804
19 | 2581643.5334 | 1189162.528
20 | 2581636.4699 | 1189135.6726
21 | 2581620.9226 | 1189135.9171
22 | 2581606.5164 | 1189136.0283
23 | 2581606.9062 | 1189099.2411
24 | 2581622.2048 | 1189084.3305
25 | 2581723.0316 | 1189092.2143
26 | 2581629.2476 | 1189162.8344
27 | 2581691.196 | 1189207.253
28 | 2581605.0374 | 1189071.135
29 | 2581583.4363 | 1189048.9538
30 | 2581760.3032 | 1189062.9036
31 | 2581773.5361 | 1189063.3324
32 | 2581788.8175 | 1189063.7584
33 | 2581773.5459 | 1189083.1172
34 | 2581746.0035 | 1189110.4526
35 | 2581769.9762 | 1189111.2463
36 | 2581769.9936 | 1189114.741
37 | 2581770.5566 | 1189144.6548
38 | 2581693.7447 | 1189270.0103
39 | 2581725.1312 | 1189284.1322
40 | 2581725.3152 | 1189202.6478
41 | 2581743.5798 | 1189202.9461
42 | 2581772.0276 | 1189203.4106
43 | 2581771.9436 | 1189236.9044
44 | 2581771.1057 | 1189172.919
45 | 2581770.1856 | 1189152.2449
46 | 2581746.4965 | 1189151.8617
47 | 2581755.028 | 1189290.4529
48 | 2581742.3936 | 1189283.7658
49 | 2581782.3084 | 1189290.7807
50 | 2581787.1535 | 1189279.0931
51 | 2581814.338 | 1189073.1574
52 | 2581827.6589 | 1189087.2464
53 | 2581825.8614 | 1189037.6914
54 | 2581834.0799 | 1189107.615
55 | 2581843.5139 | 1189067.397
56 | 2581833.3088 | 1189122.8092
57 | 2581847.9202 | 1189053.8893
58 | 2581788.1893 | 1189269.2963
59 | 2581788.4593 | 1189266.7426
60 | 2581812.885 | 1189281.6603
61 | 2581814.6972 | 1189268.436
62 | 2581811.8732 | 1189289.0407
63 | 2581817.8347 | 1189245.5404
64 | 2581850.3697 | 1189046.3867
65 | 2581851.7433 | 1189042.1796
66 | 2581832.193 | 1189139.3189
67 | 2581796.4657 | 1189199.076
68 | 2581796.4625 | 1189199.1156
69 | 2581803.4147 | 1189212.3001
70 | 2581822.0461 | 1189214.8083
71 | 2581818.3631 | 1189241.6845
72 | 2581822.7611 | 1189209.5889
73 | 2581826.798 | 1189179.9272
74 | 2581830.4556 | 1189152.3961
75 | 2581828.3353 | 1189168.3558
76 | 2581770.1856 | 1189152.2449

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98406 | -0.30564 | 0.0016607 | 0.0004162
1 | 0.98361 | -0.31453 | 0.016243 | 0.0040708
2 | 0.98484 | -0.29054 | 0.0027959 | 0.00070072
3 | 0.98318 | -0.32291 | 0.0046886 | 0.0011751
4 | 0.98463 | -0.29458 | 0.0049723 | 0.0012462
5 | 0.9852 | -0.28351 | 0 | 0
6 | 0.98517 | -0.28411 | 0.002797 | 0.00070098
7 | 0.98609 | -0.26611 | 0.0027984 | 0.00070135
8 | 0.97742 | -0.43427 | 0.013251 | 0.003321
9 | 0.9788 | -0.40728 | 0 | 0
10 | 0.97617 | -0.45884 | 0 | 0
11 | 0.981 | -0.36438 | 0 | 0
12 | 0.97523 | -0.47726 | 0 | 0
13 | 0.98887 | -0.21224 | 0.024707 | 0.0061923
14 | 0.98742 | -0.24013 | 0.024701 | 0.0061906
15 | 0.99041 | -0.18258 | 0 | 0
16 | 0.97317 | -0.5179 | 0 | 0
17 | 0.97252 | -0.53084 | 0.026435 | 0.0066252
18 | 0.97365 | -0.50838 | 0.016774 | 0.004204
19 | 0.98403 | -0.30569 | 0 | 0
20 | 0.98067 | -0.37088 | 0.0087974 | 0.0022048
21 | 0.98046 | -0.37503 | 0 | 0
22 | 0.98026 | -0.37886 | 0.014729 | 0.0036916
23 | 0.97499 | -0.48201 | 0.016078 | 0.0040295
24 | 0.97438 | -0.49398 | 0 | 0
25 | 0.98999 | -0.19072 | 0.026409 | 0.0066186
26 | 0.98391 | -0.30795 | 0.0087984 | 0.0022051
27 | 0.98637 | -0.26065 | 0.031078 | 0.0077888
28 | 0.97386 | -0.50441 | 0.016082 | 0.0040306
29 | 0.97378 | -0.50595 | 0.0027154 | 0.00068055
30 | 0.99001 | -0.19044 | 0.037186 | 0.0093197
31 | 0.99046 | -0.18169 | 0 | 0
32 | 0.98987 | -0.19305 | 0.0050814 | 0.0012735
33 | 0.9914 | -0.16374 | 0.0096903 | 0.0024286
34 | 0.99152 | -0.16128 | 0 | 0
35 | 0.9928 | -0.13687 | 0 | 0
36 | 0.99316 | -0.13 | 0.0088873 | 0.0022274
37 | 0.99629 | -0.070227 | 0.0090911 | 0.0022785
38 | 0.97082 | -0.564 | 0.018382 | 0.004607
39 | 0.97146 | -0.55143 | 0.013125 | 0.0032893
40 | 0.99252 | -0.14318 | 0.022162 | 0.0055544
41 | 0.99289 | -0.13602 | 0.027665 | 0.0069334
42 | 0.99419 | -0.11099 | 0 | 0
43 | 0.99392 | -0.11617 | 0.0087663 | 0.002197
44 | 0.99582 | -0.07952 | 0.009483 | 0.0023767
45 | 0.99711 | -0.05479 | 0 | 0
46 | 1 | 0 | -0.54037 | -0.13812
47 | 0.97249 | -0.53106 | 0 | 0
48 | 0.97207 | -0.53934 | 0 | 0
49 | 0.97329 | -0.51523 | 0.013984 | 0.0035046
50 | 0.97395 | -0.50225 | 0 | 0
51 | 0.98885 | -0.21268 | 0 | 0
52 | 0.98813 | -0.22643 | 0 | 0
53 | 0.98868 | -0.21587 | 0.0047997 | 0.0012029
54 | 0.98757 | -0.23717 | 0.0051022 | 0.0012787
55 | 0.98701 | -0.24816 | 0.0038665 | 0.00096903
56 | 0.9872 | -0.24436 | 0.0051276 | 0.0012851
57 | 0.98646 | -0.259 | 0 | 0
58 | 0.97385 | -0.5042 | 0.005741 | 0.0014388
59 | 0.97384 | -0.50444 | 0.0050288 | 0.0012603
60 | 0.9753 | -0.47563 | 0 | 0
61 | 0.97603 | -0.46137 | 0.0015501 | 0.0003885
62 | 0.97529 | -0.47591 | 0.0020797 | 0.00052121
63 | 0.97732 | -0.43608 | 0.0057385 | 0.0014382
64 | 0.98641 | -0.25994 | 0.0038631 | 0.00096817
65 | 0.9864 | -0.26017 | 0.0027959 | 0.00070073
66 | 0.98565 | -0.27419 | 0.0029358 | 0.00073578
67 | 0.97877 | -0.40782 | 0.011596 | 0.0029061
68 | 0.97877 | -0.40781 | 0.0018614 | 0.0004665
69 | 0.97902 | -0.40287 | 0.0015221 | 0.00038147
70 | 0.97928 | -0.39775 | 0 | 0
71 | 0.97756 | -0.43142 | 0.0025268 | 0.00063328
72 | 0.97969 | -0.3898 | 0.0025481 | 0.00063861
73 | 0.98208 | -0.34333 | 0.0045135 | 0.0011312
74 | 0.98445 | -0.29733 | 0.0045742 | 0.0011464
75 | 0.98306 | -0.32432 | 0.0028734 | 0.00072014
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020942 | 0.0052512 | -0.020933 | -0.0052458 | 8.8626e-06 | 5.3728e-06 | 0.031668 | 0.031668 | 0.031668 | 0.98406 | -0.30564 | 0.98361 | -0.31453 | 8.7
1 | -0.022603 | -0.0056674 | 0.022619 | 0.0056774 | 1.6281e-05 | 9.9471e-06 | 0.034179 | 0.034179 | 0.034179 | 0.98406 | -0.30564 | 0.98484 | -0.29054 | 9.3898
2 | 0.0046905 | 0.001175 | -0.0046886 | -0.0011751 | 1.8734e-06 | -5.9828e-08 | 0.0070956 | 0.007096 | 0.007096 | 0.98361 | -0.31453 | 0.98318 | -0.32291 | 1.9495
3 | 0.0049732 | 0.0012462 | -0.0049723 | -0.0012462 | 9.5802e-07 | 3.7531e-08 | 0.0075141 | 0.0075143 | 0.0075143 | 0.98484 | -0.29054 | 0.98463 | -0.29458 | 2.0644
4 | -0.030388 | -0.0076243 | 0.030398 | 0.0076307 | 1.0189e-05 | 6.3572e-06 | 0.045917 | 0.045917 | 0.045917 | 0.98484 | -0.29054 | 0.9852 | -0.28351 | 12.6147
5 | 0.002797 | 0.00070088 | -0.002797 | -0.00070098 | 7.9742e-08 | -1.0068e-07 | 0.0042245 | 0.0042246 | 0.0042246 | 0.9852 | -0.28351 | 0.98517 | -0.28411 | 1.1606
6 | -0.033195 | -0.0083315 | 0.033223 | 0.0083488 | 2.7571e-05 | 1.7272e-05 | 0.050142 | 0.050142 | 0.050142 | 0.9852 | -0.28351 | 0.98609 | -0.26611 | 13.7752
7 | -0.036021 | -0.0090502 | 0.036034 | 0.0090578 | 1.2223e-05 | 7.682e-06 | 0.054364 | 0.054364 | 0.054364 | 0.98609 | -0.26611 | 0.98646 | -0.259 | 14.9353
8 | -0.091617 | -0.023069 | 0.091735 | 0.023144 | 0.0001184 | 7.557e-05 | 0.13951 | 0.13951 | 0.13951 | 0.97742 | -0.43427 | 0.9788 | -0.40728 | 38.3283
9 | 0.078366 | 0.019748 | -0.078274 | -0.019689 | 9.1978e-05 | 5.865e-05 | 0.11934 | 0.11934 | 0.11934 | 0.97742 | -0.43427 | 0.97617 | -0.45884 | 32.7862
10 | -0.091735 | -0.023144 | 0.091924 | 0.023265 | 0.00018884 | 0.00012053 | 0.13951 | 0.13951 | 0.13951 | 0.9788 | -0.40728 | 0.981 | -0.36438 | 38.3282
11 | 0.078274 | 0.019689 | -0.078205 | -0.019645 | 6.8839e-05 | 4.3896e-05 | 0.11934 | 0.11934 | 0.11934 | 0.97617 | -0.45884 | 0.97523 | -0.47726 | 32.7862
12 | -0.11546 | -0.029169 | 0.11579 | 0.029377 | 0.00032582 | 0.00020817 | 0.17522 | 0.17522 | 0.17522 | 0.981 | -0.36438 | 0.98403 | -0.30569 | 48.1379
13 | 0.02354 | 0.0059041 | -0.023532 | -0.0058996 | 7.2838e-06 | 4.4693e-06 | 0.035707 | 0.035707 | 0.035707 | 0.981 | -0.36438 | 0.98067 | -0.37088 | 9.8097
14 | 0.016081 | 0.0040316 | -0.016078 | -0.0040295 | 3.6351e-06 | 2.1256e-06 | 0.024537 | 0.024538 | 0.024538 | 0.97523 | -0.47726 | 0.97499 | -0.48201 | 6.7411
15 | 0.062124 | 0.015613 | -0.062074 | -0.015582 | 4.9542e-05 | 3.1524e-05 | 0.094804 | 0.094804 | 0.094804 | 0.97523 | -0.47726 | 0.97438 | -0.49398 | 26.0451
16 | 0.18103 | 0.045985 | -0.18079 | -0.045832 | 0.00024268 | 0.00015353 | 0.27263 | 0.27263 | 0.27263 | 0.98887 | -0.21224 | 0.98742 | -0.24013 | 18.7248
17 | -0.20574 | -0.052177 | 0.20604 | 0.052364 | 0.00029389 | 0.00018641 | 0.30981 | 0.30981 | 0.30981 | 0.98887 | -0.21224 | 0.99041 | -0.18258 | 21.2783
18 | 0.031108 | 0.0078078 | -0.031078 | -0.0077888 | 3.0401e-05 | 1.8986e-05 | 0.046883 | 0.046883 | 0.046883 | 0.98742 | -0.24013 | 0.98637 | -0.26065 | 12.88
19 | 0.12498 | 0.031833 | -0.12459 | -0.031582 | 0.00039387 | 0.00025057 | 0.18853 | 0.18853 | 0.18853 | 0.98742 | -0.24013 | 0.98403 | -0.30569 | 25.8967
20 | 0.026419 | 0.006625 | -0.026409 | -0.0066186 | 1.0253e-05 | 6.3388e-06 | 0.039693 | 0.039694 | 0.039694 | 0.99041 | -0.18258 | 0.98999 | -0.19072 | 10.9048
21 | -0.23245 | -0.058989 | 0.23269 | 0.05914 | 0.0002384 | 0.00015151 | 0.3495 | 0.3495 | 0.3495 | 0.99041 | -0.18258 | 0.99152 | -0.16128 | 24.0044
22 | 0.026451 | 0.0066353 | -0.026435 | -0.0066252 | 1.6302e-05 | 1.0104e-05 | 0.040447 | 0.040447 | 0.040447 | 0.97317 | -0.5179 | 0.97252 | -0.53084 | 11.1118
23 | -0.026451 | -0.0066353 | 0.026463 | 0.0066427 | 1.2013e-05 | 7.4446e-06 | 0.040447 | 0.040447 | 0.040447 | 0.97317 | -0.5179 | 0.97365 | -0.50838 | 11.1117
24 | -0.043237 | -0.010847 | 0.043267 | 0.010865 | 2.9698e-05 | 1.8781e-05 | 0.066082 | 0.066082 | 0.066082 | 0.97365 | -0.50838 | 0.97438 | -0.49398 | 18.1545
25 | 0.0087994 | 0.0022055 | -0.0087984 | -0.0022051 | 9.4874e-07 | 4.2569e-07 | 0.013306 | 0.013306 | 0.013306 | 0.98403 | -0.30569 | 0.98391 | -0.30795 | 3.6556
26 | 0.014735 | 0.0036948 | -0.014732 | -0.0036931 | 2.915e-06 | 1.6695e-06 | 0.022359 | 0.022359 | 0.022359 | 0.98067 | -0.37088 | 0.98046 | -0.37503 | 6.1426
27 | 0.014732 | 0.0036931 | -0.014729 | -0.0036916 | 2.693e-06 | 1.5424e-06 | 0.022359 | 0.022359 | 0.022359 | 0.98046 | -0.37503 | 0.98026 | -0.37886 | 6.1426
28 | 0.018807 | 0.0047165 | -0.018798 | -0.0047109 | 9.3385e-06 | 5.6009e-06 | 0.028722 | 0.028722 | 0.028722 | 0.97438 | -0.49398 | 0.97386 | -0.50441 | 7.8907
29 | 0.0027156 | 0.00068029 | -0.0027154 | -0.00068055 | 1.999e-07 | -2.5727e-07 | 0.0041492 | 0.0041494 | 0.0041494 | 0.97386 | -0.50441 | 0.97378 | -0.50595 | 1.1399
30 | -0.037186 | -0.0093197 | 0.037201 | 0.0093294 | 1.551e-05 | 9.7559e-06 | 0.055892 | 0.055892 | 0.055892 | 0.99001 | -0.19044 | 0.99046 | -0.18169 | 15.3548
31 | 0.16886 | 0.042966 | -0.16877 | -0.042908 | 9.2408e-05 | 5.8354e-05 | 0.25392 | 0.25392 | 0.25392 | 0.99046 | -0.18169 | 0.98987 | -0.19305 | 17.4397
32 | -0.20607 | -0.052296 | 0.20624 | 0.052409 | 0.00017804 | 0.00011293 | 0.30981 | 0.30981 | 0.30981 | 0.99046 | -0.18169 | 0.9914 | -0.16374 | 21.2784
33 | 0.16369 | 0.041634 | -0.16354 | -0.041537 | 0.0001547 | 9.7612e-05 | 0.24628 | 0.24628 | 0.24628 | 0.98987 | -0.19305 | 0.98885 | -0.21268 | 16.9151
34 | -0.21593 | -0.054837 | 0.21621 | 0.055015 | 0.00027967 | 0.00017752 | 0.32436 | 0.32436 | 0.32436 | 0.9914 | -0.16374 | 0.9928 | -0.13687 | 22.2773
35 | -0.23269 | -0.05914 | 0.23297 | 0.059314 | 0.00027388 | 0.00017405 | 0.3495 | 0.3495 | 0.3495 | 0.99152 | -0.16128 | 0.9928 | -0.13687 | 24.0044
36 | -0.44918 | -0.11433 | 0.44933 | 0.11442 | 0.00014878 | 9.5037e-05 | 0.67386 | 0.67386 | 0.67386 | 0.9928 | -0.13687 | 0.99316 | -0.13 | 46.2816
37 | -0.45822 | -0.11665 | 0.45954 | 0.1175 | 0.0013248 | 0.00084631 | 0.68718 | 0.68718 | 0.68718 | 0.99316 | -0.13 | 0.99629 | -0.070227 | 47.1961
38 | -0.46863 | -0.11978 | 0.46898 | 0.12 | 0.00035021 | 0.00022374 | 0.70075 | 0.70075 | 0.70075 | 0.99629 | -0.070227 | 0.99711 | -0.05479 | 48.1287
39 | -0.018382 | -0.004607 | 0.018393 | 0.0046136 | 1.1012e-05 | 6.5897e-06 | 0.028175 | 0.028175 | 0.028175 | 0.97082 | -0.564 | 0.97146 | -0.55143 | 7.7404
40 | -0.031518 | -0.0079029 | 0.031536 | 0.0079143 | 1.8172e-05 | 1.1372e-05 | 0.048278 | 0.048278 | 0.048278 | 0.97146 | -0.55143 | 0.97207 | -0.53934 | 13.2632
41 | -0.022162 | -0.0055544 | 0.02217 | 0.005559 | 7.5625e-06 | 4.6038e-06 | 0.033226 | 0.033226 | 0.033226 | 0.99252 | -0.14318 | 0.99289 | -0.13602 | 9.1281
42 | -0.049835 | -0.012492 | 0.049894 | 0.01253 | 5.9514e-05 | 3.7721e-05 | 0.074686 | 0.074686 | 0.074686 | 0.99289 | -0.13602 | 0.99419 | -0.11099 | 20.5182
43 | 0.0087685 | 0.002198 | -0.0087663 | -0.002197 | 2.1648e-06 | 9.5097e-07 | 0.013124 | 0.013124 | 0.013124 | 0.99419 | -0.11099 | 0.99392 | -0.11617 | 3.6056
44 | -0.058663 | -0.014728 | 0.058751 | 0.014784 | 8.8209e-05 | 5.6057e-05 | 0.08781 | 0.08781 | 0.08781 | 0.99419 | -0.11099 | 0.99582 | -0.07952 | 24.1237
45 | -0.068234 | -0.017161 | 0.068315 | 0.017212 | 8.0708e-05 | 5.1384e-05 | 0.10198 | 0.10198 | 0.10198 | 0.99582 | -0.07952 | 0.99711 | -0.05479 | 28.0166
46 | -0.5373 | -0.13721 | 0.53872 | 0.13812 | 0.0014271 | 0.00091209 | 0.80273 | 0.80273 | 0.80273 | 0.99711 | -0.05479 | 1 | 0 | 55.1327
47 | 0.031548 | 0.0079221 | -0.031536 | -0.0079143 | 1.2466e-05 | 7.8016e-06 | 0.048278 | 0.048278 | 0.048278 | 0.97249 | -0.53106 | 0.97207 | -0.53934 | 13.2632
48 | -0.031548 | -0.0079221 | 0.031572 | 0.007937 | 2.3846e-05 | 1.4922e-05 | 0.048278 | 0.048278 | 0.048278 | 0.97249 | -0.53106 | 0.97329 | -0.51523 | 13.2632
49 | -0.045556 | -0.011442 | 0.045584 | 0.011459 | 2.8224e-05 | 1.7871e-05 | 0.069657 | 0.069657 | 0.069657 | 0.97329 | -0.51523 | 0.97395 | -0.50225 | 19.1365
50 | -0.056355 | -0.014159 | 0.056426 | 0.014205 | 7.1702e-05 | 4.5568e-05 | 0.086113 | 0.086112 | 0.086113 | 0.97395 | -0.50225 | 0.9753 | -0.47563 | 23.6573
51 | 0.010771 | 0.0026997 | -0.01077 | -0.0026992 | 1.0004e-06 | 5.1767e-07 | 0.016456 | 0.016456 | 0.016456 | 0.97395 | -0.50225 | 0.97385 | -0.5042 | 4.5209
52 | 0.15873 | 0.040334 | -0.15863 | -0.040268 | 0.00010499 | 6.619e-05 | 0.23906 | 0.23906 | 0.23906 | 0.98885 | -0.21268 | 0.98813 | -0.22643 | 16.4191
53 | 0.0048004 | 0.0012029 | -0.0047997 | -0.0012029 | 7.2971e-07 | -1.1288e-08 | 0.0072236 | 0.0072237 | 0.0072237 | 0.98885 | -0.21268 | 0.98868 | -0.21587 | 1.9845
54 | 0.112 | 0.028527 | -0.11194 | -0.028491 | 5.7993e-05 | 3.6004e-05 | 0.16882 | 0.16882 | 0.16882 | 0.98813 | -0.22643 | 0.98757 | -0.23717 | 11.595
55 | 0.04663 | 0.01174 | -0.046582 | -0.01171 | 4.8396e-05 | 3.0639e-05 | 0.070239 | 0.070239 | 0.070239 | 0.98813 | -0.22643 | 0.98701 | -0.24816 | 19.2963
56 | 0.10684 | 0.027213 | -0.1068 | -0.02719 | 3.7033e-05 | 2.2923e-05 | 0.16114 | 0.16114 | 0.16114 | 0.98757 | -0.23717 | 0.9872 | -0.24436 | 11.067
57 | 0.042715 | 0.010741 | -0.042693 | -0.010727 | 2.2104e-05 | 1.3965e-05 | 0.06441 | 0.06441 | 0.06441 | 0.98701 | -0.24816 | 0.98646 | -0.259 | 17.695
58 | 0.10168 | 0.025905 | -0.10153 | -0.025811 | 0.00014611 | 9.3301e-05 | 0.15341 | 0.15341 | 0.15341 | 0.9872 | -0.24436 | 0.98565 | -0.27419 | 42.1449
59 | 0.0066593 | 0.001669 | -0.006659 | -0.0016689 | 2.9865e-07 | 9.0382e-08 | 0.010045 | 0.010045 | 0.010045 | 0.98646 | -0.259 | 0.98641 | -0.25994 | 2.7597
60 | 0.0050288 | 0.0012603 | -0.0050288 | -0.0012603 | 5.6856e-08 | 4.4378e-09 | 0.0076839 | 0.0076839 | 0.0076839 | 0.97385 | -0.5042 | 0.97384 | -0.50444 | 2.111
61 | -0.058506 | -0.014726 | 0.058546 | 0.014751 | 3.9903e-05 | 2.5371e-05 | 0.089285 | 0.089285 | 0.089285 | 0.9753 | -0.47563 | 0.97603 | -0.46137 | 24.529
62 | 0.0020797 | 0.00052114 | -0.0020797 | -0.00052121 | 2.8125e-08 | -7.4963e-08 | 0.003173 | 0.003173 | 0.003173 | 0.9753 | -0.47563 | 0.97529 | -0.47591 | 0.8717
63 | -0.060096 | -0.01514 | 0.060169 | 0.015186 | 7.2791e-05 | 4.6297e-05 | 0.091649 | 0.091649 | 0.091649 | 0.97603 | -0.46137 | 0.97732 | -0.43608 | 25.1782
64 | -0.065907 | -0.016624 | 0.065922 | 0.016634 | 1.4707e-05 | 9.3639e-06 | 0.10039 | 0.10039 | 0.10039 | 0.97732 | -0.43608 | 0.97756 | -0.43142 | 27.5785
65 | 0.002796 | 0.00070069 | -0.0027959 | -0.00070073 | 2.9524e-08 | -3.7598e-08 | 0.0042177 | 0.0042178 | 0.0042178 | 0.98641 | -0.25994 | 0.9864 | -0.26017 | 1.1587
66 | 0.098593 | 0.025075 | -0.098483 | -0.025005 | 0.00010979 | 7.0099e-05 | 0.14898 | 0.14898 | 0.14898 | 0.98565 | -0.27419 | 0.98445 | -0.29733 | 40.9273
67 | -0.011596 | -0.0029061 | 0.011596 | 0.0029061 | 4.6295e-09 | 2.4621e-09 | 0.017629 | 0.017629 | 0.017629 | 0.97877 | -0.40782 | 0.97877 | -0.40781 | 4.843
68 | -0.013457 | -0.0033726 | 0.01346 | 0.0033744 | 3.1646e-06 | 1.7719e-06 | 0.020459 | 0.020458 | 0.020459 | 0.97877 | -0.40781 | 0.97902 | -0.40287 | 5.6205
69 | -0.014982 | -0.0037559 | 0.014986 | 0.003758 | 3.6557e-06 | 2.1032e-06 | 0.022772 | 0.022772 | 0.022772 | 0.97902 | -0.40287 | 0.97928 | -0.39775 | 6.256
70 | 0.06856 | 0.017337 | -0.068449 | -0.017267 | 0.00011052 | 7.0392e-05 | 0.10423 | 0.10423 | 0.10423 | 0.97928 | -0.39775 | 0.97756 | -0.43142 | 28.6351
71 | -0.083545 | -0.021095 | 0.083577 | 0.021116 | 3.1866e-05 | 2.0328e-05 | 0.127 | 0.127 | 0.127 | 0.97928 | -0.39775 | 0.97969 | -0.3898 | 34.8911
72 | -0.086125 | -0.021754 | 0.086318 | 0.021877 | 0.00019227 | 0.00012268 | 0.13087 | 0.13087 | 0.13087 | 0.97969 | -0.3898 | 0.98208 | -0.34333 | 35.9543
73 | -0.090831 | -0.023008 | 0.090914 | 0.023061 | 8.3016e-05 | 5.2982e-05 | 0.13771 | 0.13771 | 0.13771 | 0.98208 | -0.34333 | 0.98306 | -0.32432 | 37.833
74 | 0.093909 | 0.023859 | -0.093787 | -0.023781 | 0.00012185 | 7.7777e-05 | 0.14206 | 0.14206 | 0.14206 | 0.98445 | -0.29733 | 0.98306 | -0.32432 | 39.0279

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56313 | 0.14383

## res_load
| p_mw | q_mvar
0 | 0.0016607 | 0.0004162
1 | 0.016243 | 0.0040708
2 | 0.0027959 | 0.00070072
3 | 0.0046886 | 0.0011751
4 | 0.0049723 | 0.0012462
5 | 0.002797 | 0.00070098
6 | 0.0027984 | 0.00070135
7 | 0.013251 | 0.003321
8 | 0.024707 | 0.0061923
9 | 0.024701 | 0.0061906
10 | 0.026435 | 0.0066252
11 | 0.016774 | 0.004204
12 | 0.0087974 | 0.0022048
13 | 0.014729 | 0.0036916
14 | 0.016078 | 0.0040295
15 | 0.026409 | 0.0066186
16 | 0.0087984 | 0.0022051
17 | 0.031078 | 0.0077888
18 | 0.016082 | 0.0040306
19 | 0.0027154 | 0.00068055
20 | 0.037186 | 0.0093197
21 | 0.0050814 | 0.0012735
22 | 0.0096903 | 0.0024286
23 | 0.0088873 | 0.0022274
24 | 0.0090911 | 0.0022785
25 | 0.018382 | 0.004607
26 | 0.013125 | 0.0032893
27 | 0.022162 | 0.0055544
28 | 0.027665 | 0.0069334
29 | 0.0087663 | 0.002197
30 | 0.009483 | 0.0023767
31 | 0.022759 | 0.0057039
32 | 0.013984 | 0.0035046
33 | 0.0047997 | 0.0012029
34 | 0.0051022 | 0.0012787
35 | 0.0038665 | 0.00096903
36 | 0.0051276 | 0.0012851
37 | 0.005741 | 0.0014388
38 | 0.0050288 | 0.0012603
39 | 0.0015501 | 0.0003885
40 | 0.0020797 | 0.00052121
41 | 0.0057385 | 0.0014382
42 | 0.0038631 | 0.00096817
43 | 0.0027959 | 0.00070073
44 | 0.0029358 | 0.00073578
45 | 0.011596 | 0.0029061
46 | 0.0018614 | 0.0004665
47 | 0.0015221 | 0.00038147
48 | 0.0025268 | 0.00063328
49 | 0.0025481 | 0.00063861
50 | 0.0045135 | 0.0011312
51 | 0.0045742 | 0.0011464
52 | 0.0028734 | 0.00072014

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1