## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2293-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2293-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2293-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2293-14_0_3_node_46 | 0.4 | n |  | TRUE
4 | bus_LV_2293-14_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2293-14_0_3_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_2293-14_0_3_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_2293-14_0_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_2293-14_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_2293-14_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_2293-14_0_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_2293-14_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_2293-14_0_3_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_2293-14_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2293-14_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_2293-14_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2293-14_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2293-14_0_3_node_4 | 0.4 | n |  | TRUE
18 | bus_LV_2293-14_0_3_node_5 | 0.4 | n |  | TRUE
19 | bus_LV_2293-14_0_3_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_2293-14_0_3_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_2293-14_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_2293-14_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_2293-14_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2293-14_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_2293-14_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_2293-14_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_2293-14_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_2293-14_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_2293-14_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2293-14_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2293-14_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2293-14_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2293-14_0_3_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_2293-14_0_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_2293-14_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2293-14_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2293-14_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2293-14_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_2293-14_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2293-14_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2293-14_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2293-14_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_2293-14_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_2293-14_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2293-14_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_2293-14_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_2293-14_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2293-14_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2293-14_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2293-14_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2293-14_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2293-14_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_2293-14_0_3_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_2293-14_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_2293-14_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_2293-14_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_2293-14_0_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2293-14_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2293-14_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_MV_378_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2293-14_0_3_load_0 | 0 | 0.0074458 | 0.0018661 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2293-14_0_3_load_1 | 1 | 0.006049 | 0.001516 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2293-14_0_3_load_2 | 2 | 0.0058356 | 0.0014625 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2293-14_0_3_load_45 | 7 | 0.0087129 | 0.0021837 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2293-14_0_3_load_37 | 8 | 0.0063499 | 0.0015914 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2293-14_0_3_load_44 | 9 | 0.0084309 | 0.002113 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2293-14_0_3_load_47 | 10 | 0.0049623 | 0.0012437 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2293-14_0_3_load_55 | 11 | 0.0089348 | 0.0022393 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2293-14_0_3_load_43 | 12 | 0.0034026 | 0.00085277 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2293-14_0_3_load_27 | 14 | 0.0058959 | 0.0014777 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2293-14_0_3_load_22 | 15 | 0.0044983 | 0.0011274 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2293-14_0_3_load_21 | 16 | 0.0038635 | 0.00096829 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2293-14_0_3_load_4 | 17 | 0.0036959 | 0.00092629 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2293-14_0_3_load_5 | 18 | 0.0075271 | 0.0018865 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2293-14_0_3_load_6 | 19 | 0.007654 | 0.0019183 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2293-14_0_3_load_9 | 22 | 0.0043231 | 0.0010835 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2293-14_0_3_load_15 | 23 | 0.0036959 | 0.00092628 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2293-14_0_3_load_10 | 24 | 0.0039611 | 0.00099274 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2293-14_0_3_load_11 | 25 | 0.0058718 | 0.0014716 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2293-14_0_3_load_12 | 26 | 0.0049658 | 0.0012445 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2293-14_0_3_load_13 | 27 | 0.002946 | 0.00073833 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2293-14_0_3_load_14 | 28 | 0.0060888 | 0.001526 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2293-14_0_3_load_20 | 30 | 0.001571 | 0.00039373 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2293-14_0_3_load_17 | 31 | 0.0028353 | 0.0007106 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2293-14_0_3_load_64 | 33 | 0.007078 | 0.0017739 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2293-14_0_3_load_33 | 36 | 0.0060493 | 0.0015161 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2293-14_0_3_load_29 | 37 | 0.010565 | 0.0026478 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2293-14_0_3_load_24 | 38 | 0.005779 | 0.0014484 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2293-14_0_3_load_25 | 39 | 0.0028056 | 0.00070314 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2293-14_0_3_load_26 | 40 | 0.0026374 | 0.00066099 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2293-14_0_3_load_38 | 42 | 0.0060304 | 0.0015114 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2293-14_0_3_load_48 | 43 | 0.0079213 | 0.0019853 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2293-14_0_3_load_36 | 44 | 0.0077075 | 0.0019317 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2293-14_0_3_load_50 | 45 | 0.026708 | 0.0066936 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2293-14_0_3_load_49 | 46 | 0.0089138 | 0.002234 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2293-14_0_3_load_30 | 47 | 0.014536 | 0.0036432 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2293-14_0_3_load_32 | 48 | 0.010656 | 0.0026707 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2293-14_0_3_load_41 | 50 | 0.017504 | 0.0043868 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2293-14_0_3_load_42 | 51 | 0.0067884 | 0.0017013 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2293-14_0_3_load_35 | 52 | 0.0068698 | 0.0017217 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2293-14_0_3_load_61 | 53 | 0.022106 | 0.0055403 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2293-14_0_3_load_59 | 54 | 0.020059 | 0.0050274 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2293-14_0_3_load_62 | 57 | 0.029587 | 0.0074152 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2293-14_0_3_load_60 | 58 | 0.009922 | 0.0024867 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2293-14_0_3_load_63 | 59 | 0.0077732 | 0.0019482 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2293-14_0_3_line_0 |  | 0 | 1 | 0.024478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2293-14_0_3_line_1 |  | 0 | 2 | 0.0039217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2293-14_0_3_line_2 |  | 1 | 3 | 0.045315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2293-14_0_3_line_3 |  | 2 | 4 | 0.017871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2293-14_0_3_line_4 |  | 3 | 10 | 0.0043732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2293-14_0_3_line_5 |  | 3 | 9 | 0.025639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2293-14_0_3_line_6 |  | 4 | 12 | 0.020408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2293-14_0_3_line_7 |  | 4 | 13 | 0.014555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2293-14_0_3_line_8 |  | 5 | 6 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2293-14_0_3_line_9 |  | 5 | 7 | 0.036926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2293-14_0_3_line_10 |  | 5 | 8 | 0.018678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2293-14_0_3_line_11 |  | 6 | 55 | 0.051447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2293-14_0_3_line_12 |  | 6 | 11 | 0.046164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2293-14_0_3_line_13 |  | 7 | 9 | 0.025391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2293-14_0_3_line_14 |  | 8 | 52 | 0.00056907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2293-14_0_3_line_15 |  | 12 | 14 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2293-14_0_3_line_16 |  | 13 | 15 | 0.020669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2293-14_0_3_line_17 |  | 13 | 16 | 0.011852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2293-14_0_3_line_18 |  | 14 | 39 | 0.012134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2293-14_0_3_line_19 |  | 15 | 22 | 0.0053702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2293-14_0_3_line_20 |  | 16 | 30 | 0.011113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2293-14_0_3_line_21 |  | 17 | 18 | 0.023726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2293-14_0_3_line_22 |  | 17 | 19 | 0.021975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2293-14_0_3_line_23 |  | 18 | 20 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2293-14_0_3_line_24 |  | 19 | 21 | 0.031609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2293-14_0_3_line_25 |  | 20 | 22 | 0.03647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2293-14_0_3_line_26 |  | 21 | 23 | 0.010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2293-14_0_3_line_27 |  | 24 | 25 | 0.012158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2293-14_0_3_line_28 |  | 24 | 26 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2293-14_0_3_line_29 |  | 25 | 27 | 0.0063657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2293-14_0_3_line_30 |  | 26 | 28 | 0.0051664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2293-14_0_3_line_31 |  | 27 | 29 | 0.039708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2293-14_0_3_line_32 |  | 28 | 30 | 0.016291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2293-14_0_3_line_33 |  | 29 | 31 | 0.014337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2293-14_0_3_line_34 |  | 32 | 33 | 0.058966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2293-14_0_3_line_35 |  | 32 | 34 | 0.067037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2293-14_0_3_line_36 |  | 34 | 50 | 0.055041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2293-14_0_3_line_37 |  | 35 | 36 | 0.0067529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2293-14_0_3_line_38 |  | 35 | 37 | 0.025299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2293-14_0_3_line_39 |  | 37 | 47 | 0.027075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2293-14_0_3_line_40 |  | 38 | 39 | 0.013589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2293-14_0_3_line_41 |  | 38 | 40 | 0.030706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2293-14_0_3_line_42 |  | 40 | 41 | 0.035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2293-14_0_3_line_43 |  | 41 | 45 | 0.014155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2293-14_0_3_line_44 |  | 42 | 43 | 0.0024682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2293-14_0_3_line_45 |  | 42 | 44 | 0.0087336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2293-14_0_3_line_46 |  | 44 | 53 | 0.06341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2293-14_0_3_line_47 |  | 44 | 52 | 0.026217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2293-14_0_3_line_48 |  | 45 | 46 | 0.0077284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2293-14_0_3_line_49 |  | 46 | 56 | 0.023181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2293-14_0_3_line_50 |  | 47 | 48 | 0.024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2293-14_0_3_line_51 |  | 48 | 49 | 0.045106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2293-14_0_3_line_52 |  | 49 | 50 | 0.024877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2293-14_0_3_line_53 |  | 49 | 51 | 0.019808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2293-14_0_3_line_54 |  | 51 | 56 | 0.0033393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2293-14_0_3_line_55 |  | 53 | 54 | 0.0021253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2293-14_0_3_line_56 |  | 54 | 58 | 0.024265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2293-14_0_3_line_57 |  | 55 | 59 | 0.0019819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2293-14_0_3_line_58 |  | 57 | 58 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2293-14_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 60 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2581411.1312 | 1189017.154 | 2581433.7557 | 1189007.8104
1 | 2581411.1312 | 1189017.154 | 2581407.5065 | 1189018.6509
2 | 2581433.7557 | 1189007.8104 | 2581479.0419 | 1189009.4232
3 | 2581390.9885 | 1189025.4726 | 2581407.5065 | 1189018.6509
4 | 2581479.0419 | 1189009.4232 | 2581480.006 | 1189013.6889
5 | 2581479.0419 | 1189009.4232 | 2581474.2327 | 1188984.2398
6 | 2581390.9885 | 1189025.4726 | 2581381.5248 | 1189007.3915
7 | 2581390.9885 | 1189025.4726 | 2581397.6413 | 1189038.4253
8 | 2581460.0015 | 1188910.0635 | 2581462.5435 | 1188923.0291
9 | 2581462.5435 | 1188923.0291 | 2581469.47 | 1188959.2997
10 | 2581462.5435 | 1188923.0291 | 2581444.2307 | 1188926.7066
11 | 2581449.3503 | 1188859.7369 | 2581460.0015 | 1188910.0635
12 | 2581460.0015 | 1188910.0635 | 2581490.761 | 1188910.2458 | 2581506.1638 | 1188910.434
13 | 2581474.2327 | 1188984.2398 | 2581469.47 | 1188959.2997
14 | 2581443.6728 | 1188926.8186 | 2581444.2307 | 1188926.7066
15 | 2581372.9345 | 1188990.9874 | 2581373.0962 | 1188991.2883 | 2581381.5248 | 1189007.3915
16 | 2581397.6413 | 1189038.4253 | 2581406.714 | 1189056.9967
17 | 2581397.6413 | 1189038.4253 | 2581388.3424 | 1189045.7734
18 | 2581367.1889 | 1188980.3003 | 2581372.9345 | 1188990.9874
19 | 2581406.714 | 1189056.9967 | 2581409.0713 | 1189061.8219
20 | 2581388.3424 | 1189045.7734 | 2581379.6231 | 1189052.6635
21 | 2581396.9488 | 1189118.9336 | 2581414.9848 | 1189103.5179
22 | 2581396.9488 | 1189118.9336 | 2581380.2441 | 1189133.2113
23 | 2581425.965 | 1189094.1329 | 2581414.9848 | 1189103.5179
24 | 2581356.2159 | 1189153.7487 | 2581380.2441 | 1189133.2113
25 | 2581425.965 | 1189094.1329 | 2581415.3031 | 1189074.5781 | 2581409.0713 | 1189061.8219
26 | 2581356.2159 | 1189153.7487 | 2581347.2724 | 1189148.3067
27 | 2581351.1711 | 1189075.1466 | 2581341.632 | 1189082.6845
28 | 2581351.1711 | 1189075.1466 | 2581362.7879 | 1189065.9669
29 | 2581341.632 | 1189082.6845 | 2581336.6375 | 1189086.6312
30 | 2581362.7879 | 1189065.9669 | 2581366.8414 | 1189062.7637
31 | 2581306.9416 | 1189112.6148 | 2581310.8211 | 1189107.0108 | 2581315.8952 | 1189102.9038 | 2581318.9691 | 1189100.593 | 2581336.6375 | 1189086.6312
32 | 2581379.6231 | 1189052.6635 | 2581366.8414 | 1189062.7637
33 | 2581306.9416 | 1189112.6148 | 2581313.1416 | 1189114.9188 | 2581319.6979 | 1189119.0004
34 | 2581205.9679 | 1188997.2273 | 2581227.4742 | 1188977.5491 | 2581247.7846 | 1188999.4856
35 | 2581195.5957 | 1188951.347 | 2581178.7967 | 1188966.7303 | 2581178.3251 | 1188967.1098 | 2581176.3767 | 1188968.3833 | 2581179.4067 | 1188971.5087 | 2581205.9679 | 1188997.2273
36 | 2581195.5957 | 1188951.347 | 2581198.0754 | 1188951.6838 | 2581227.2348 | 1188947.5452 | 2581249.1019 | 1188940.1398
37 | 2581281.3458 | 1189046.7605 | 2581280.1975 | 1189053.4151
38 | 2581281.3458 | 1189046.7605 | 2581283.6403 | 1189034.2801 | 2581286.9695 | 1189022.1183
39 | 2581286.9695 | 1189022.1183 | 2581288.5867 | 1189016.2106 | 2581292.6569 | 1189003.3133 | 2581294.444 | 1188996.7931 | 2581294.4751 | 1188996.1285
40 | 2581360.9445 | 1188968.2354 | 2581362.6785 | 1188971.9107 | 2581367.1889 | 1188980.3003
41 | 2581360.9445 | 1188968.2354 | 2581351.8376 | 1188948.9326 | 2581348.2991 | 1188940.2641
42 | 2581336.2253 | 1188907.4263 | 2581343.2988 | 1188928.015 | 2581348.2991 | 1188940.2641
43 | 2581336.2253 | 1188907.4263 | 2581322.7904 | 1188911.8845
44 | 2581406.9865 | 1188934.1858 | 2581409.4065 | 1188933.6999
45 | 2581417.9692 | 1188931.9803 | 2581409.4065 | 1188933.6999
46 | 2581379.6551 | 1188881.4546 | 2581417.9692 | 1188931.9803
47 | 2581443.6728 | 1188926.8186 | 2581417.9692 | 1188931.9803
48 | 2581315.5329 | 1188914.5333 | 2581319.5856 | 1188912.948 | 2581322.7904 | 1188911.8845
49 | 2581293.9452 | 1188922.9781 | 2581315.5329 | 1188914.5333
50 | 2581288.3454 | 1188973.0355 | 2581291.9141 | 1188980.4925 | 2581293.6155 | 1188985.5454 | 2581294.6941 | 1188991.4451 | 2581294.4751 | 1188996.1285
51 | 2581272.2187 | 1188930.9617 | 2581283.5844 | 1188963.0873 | 2581288.3454 | 1188973.0355
52 | 2581272.2187 | 1188930.9617 | 2581252.3839 | 1188939.0283 | 2581249.1019 | 1188940.1398
53 | 2581272.2187 | 1188930.9617 | 2581290.8109 | 1188924.1299
54 | 2581293.9452 | 1188922.9781 | 2581290.8109 | 1188924.1299
55 | 2581379.6551 | 1188881.4546 | 2581379.99 | 1188879.3558
56 | 2581379.99 | 1188879.3558 | 2581383.3878 | 1188858.0639 | 2581382.5332 | 1188855.4986
57 | 2581449.3503 | 1188859.7369 | 2581448.8761 | 1188857.8125
58 | 2581367.7657 | 1188850.2746 | 2581379.1544 | 1188853.0523 | 2581382.5332 | 1188855.4986 | 2581382.5332 | 1188855.4986

## bus_geodata
| x | y | coords
0 | 2581411.1312 | 1189017.154
1 | 2581433.7557 | 1189007.8104
2 | 2581407.5065 | 1189018.6509
3 | 2581479.0419 | 1189009.4232
4 | 2581390.9885 | 1189025.4726
5 | 2581462.5435 | 1188923.0291
6 | 2581460.0015 | 1188910.0635
7 | 2581469.47 | 1188959.2997
8 | 2581444.2307 | 1188926.7066
9 | 2581474.2327 | 1188984.2398
10 | 2581480.006 | 1189013.6889
11 | 2581506.1638 | 1188910.434
12 | 2581381.5248 | 1189007.3915
13 | 2581397.6413 | 1189038.4253
14 | 2581372.9345 | 1188990.9874
15 | 2581406.714 | 1189056.9967
16 | 2581388.3424 | 1189045.7734
17 | 2581396.9488 | 1189118.9336
18 | 2581414.9848 | 1189103.5179
19 | 2581380.2441 | 1189133.2113
20 | 2581425.965 | 1189094.1329
21 | 2581356.2159 | 1189153.7487
22 | 2581409.0713 | 1189061.8219
23 | 2581347.2724 | 1189148.3067
24 | 2581351.1711 | 1189075.1466
25 | 2581341.632 | 1189082.6845
26 | 2581362.7879 | 1189065.9669
27 | 2581336.6375 | 1189086.6312
28 | 2581366.8414 | 1189062.7637
29 | 2581306.9416 | 1189112.6148
30 | 2581379.6231 | 1189052.6635
31 | 2581319.6979 | 1189119.0004
32 | 2581205.9679 | 1188997.2273
33 | 2581247.7846 | 1188999.4856
34 | 2581195.5957 | 1188951.347
35 | 2581281.3458 | 1189046.7605
36 | 2581280.1975 | 1189053.4151
37 | 2581286.9695 | 1189022.1183
38 | 2581360.9445 | 1188968.2354
39 | 2581367.1889 | 1188980.3003
40 | 2581348.2991 | 1188940.2641
41 | 2581336.2253 | 1188907.4263
42 | 2581409.4065 | 1188933.6999
43 | 2581406.9865 | 1188934.1858
44 | 2581417.9692 | 1188931.9803
45 | 2581322.7904 | 1188911.8845
46 | 2581315.5329 | 1188914.5333
47 | 2581294.4751 | 1188996.1285
48 | 2581288.3454 | 1188973.0355
49 | 2581272.2187 | 1188930.9617
50 | 2581249.1019 | 1188940.1398
51 | 2581290.8109 | 1188924.1299
52 | 2581443.6728 | 1188926.8186
53 | 2581379.6551 | 1188881.4546
54 | 2581379.99 | 1188879.3558
55 | 2581449.3503 | 1188859.7369
56 | 2581293.9452 | 1188922.9781
57 | 2581367.7657 | 1188850.2746
58 | 2581382.5332 | 1188855.4986
59 | 2581448.8761 | 1188857.8125
60 | 2581390.9885 | 1189025.4726

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99095 | -0.17172 | 0.0074458 | 0.0018661
1 | 0.98912 | -0.20685 | 0.006049 | 0.001516
2 | 0.99126 | -0.16584 | 0.0058356 | 0.0014625
3 | 0.98584 | -0.26978 | 0 | 0
4 | 0.99271 | -0.13819 | 0 | 0
5 | 0.98007 | -0.38147 | 0 | 0
6 | 0.97987 | -0.38548 | 0 | 0
7 | 0.98236 | -0.33692 | 0.0087129 | 0.0021837
8 | 0.97906 | -0.40124 | 0.0063499 | 0.0015914
9 | 0.98404 | -0.30442 | 0.0084309 | 0.002113
10 | 0.98582 | -0.27017 | 0.0049623 | 0.0012437
11 | 0.97949 | -0.39297 | 0.0089348 | 0.0022393
12 | 0.99496 | -0.095292 | 0.0034026 | 0.00085277
13 | 0.99187 | -0.15455 | 0 | 0
14 | 0.99704 | -0.055986 | 0.0058959 | 0.0014777
15 | 0.99127 | -0.16606 | 0.0044983 | 0.0011274
16 | 0.99152 | -0.16129 | 0.0038635 | 0.00096829
17 | 0.98976 | -0.19538 | 0.0036959 | 0.00092629
18 | 0.99009 | -0.18903 | 0.0075271 | 0.0018865
19 | 0.98953 | -0.19982 | 0.007654 | 0.0019183
20 | 0.99039 | -0.18324 | 0 | 0
21 | 0.98943 | -0.2019 | 0 | 0
22 | 0.99114 | -0.16862 | 0.0043231 | 0.0010835
23 | 0.98939 | -0.20259 | 0.0036959 | 0.00092628
24 | 0.99052 | -0.18057 | 0.0039611 | 0.00099274
25 | 0.9904 | -0.18308 | 0.0058718 | 0.0014716
26 | 0.99074 | -0.17646 | 0.0049658 | 0.0012445
27 | 0.99036 | -0.18374 | 0.002946 | 0.00073833
28 | 0.99083 | -0.17457 | 0.0060888 | 0.001526
29 | 0.99026 | -0.18574 | 0 | 0
30 | 0.99123 | -0.16686 | 0.001571 | 0.00039373
31 | 0.99022 | -0.18646 | 0.0028353 | 0.0007106
32 | 0.98702 | -0.24966 | 0 | 0
33 | 0.98664 | -0.25713 | 0.007078 | 0.0017739
34 | 0.98746 | -0.24117 | 0 | 0
35 | 0.98539 | -0.28136 | 0 | 0
36 | 0.98535 | -0.28209 | 0.0060493 | 0.0015161
37 | 0.98553 | -0.27861 | 0.010565 | 0.0026478
38 | 1 | 0 | -0.36895 | -0.094203
39 | 0.99843 | -0.029692 | 0.0028056 | 0.00070314
40 | 0.99686 | -0.059835 | 0.0026374 | 0.00066099
41 | 0.99336 | -0.12687 | 0 | 0
42 | 0.97636 | -0.454 | 0.0060304 | 0.0015114
43 | 0.97634 | -0.45436 | 0.0079213 | 0.0019853
44 | 0.97647 | -0.45178 | 0.0077075 | 0.0019317
45 | 0.99195 | -0.15411 | 0.026708 | 0.0066936
46 | 0.99137 | -0.16536 | 0.0089138 | 0.002234
47 | 0.98595 | -0.27054 | 0.014536 | 0.0036432
48 | 0.98664 | -0.25699 | 0.010656 | 0.0026707
49 | 0.98838 | -0.22328 | 0 | 0
50 | 0.98781 | -0.2342 | 0.017504 | 0.0043868
51 | 0.98958 | -0.19984 | 0.0067884 | 0.0017013
52 | 0.979 | -0.40238 | 0.0068698 | 0.0017217
53 | 0.97163 | -0.54692 | 0.022106 | 0.0055403
54 | 0.97151 | -0.54926 | 0.020059 | 0.0050274
55 | 0.9795 | -0.39274 | 0 | 0
56 | 0.98981 | -0.19549 | 0 | 0
57 | 0.97018 | -0.57568 | 0.029587 | 0.0074152
58 | 0.97062 | -0.56698 | 0.009922 | 0.0024867
59 | 0.97948 | -0.39302 | 0.0077732 | 0.0019482
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.16374 | 0.041931 | -0.16346 | -0.041754 | 0.00027817 | 0.0001774 | 0.24619 | 0.24619 | 0.24619 | 0.99095 | -0.17172 | 0.98912 | -0.20685 | 33.8168
1 | -0.17118 | -0.043798 | 0.17123 | 0.043829 | 4.8705e-05 | 3.107e-05 | 0.25737 | 0.25737 | 0.25737 | 0.99095 | -0.17172 | 0.99126 | -0.16584 | 35.3526
2 | 0.15741 | 0.040238 | -0.15693 | -0.039934 | 0.00047759 | 0.0003045 | 0.23709 | 0.23709 | 0.23709 | 0.98912 | -0.20685 | 0.98584 | -0.26978 | 32.5669
3 | -0.17707 | -0.045291 | 0.1773 | 0.045443 | 0.00023732 | 0.00015142 | 0.26613 | 0.26613 | 0.26613 | 0.99126 | -0.16584 | 0.99271 | -0.13819 | 36.5559
4 | 0.0049624 | 0.0012437 | -0.0049623 | -0.0012437 | 9.2006e-08 | 3.1251e-09 | 0.0074902 | 0.0074902 | 0.0074902 | 0.98584 | -0.26978 | 0.98582 | -0.27017 | 2.0577
5 | 0.15197 | 0.03869 | -0.15172 | -0.038528 | 0.00025341 | 0.00016153 | 0.2296 | 0.2296 | 0.2296 | 0.98584 | -0.26978 | 0.98404 | -0.30442 | 31.5381
6 | -0.24094 | -0.061438 | 0.24144 | 0.061758 | 0.00050012 | 0.00031955 | 0.36152 | 0.36152 | 0.36152 | 0.99271 | -0.13819 | 0.99496 | -0.095292 | 49.6598
7 | 0.063632 | 0.015996 | -0.063582 | -0.015964 | 4.9672e-05 | 3.1602e-05 | 0.095397 | 0.095397 | 0.095397 | 0.99271 | -0.13819 | 0.99187 | -0.15455 | 26.208
8 | 0.016717 | 0.0041919 | -0.016714 | -0.00419 | 3.1924e-06 | 1.8767e-06 | 0.025382 | 0.025382 | 0.025382 | 0.98007 | -0.38147 | 0.97987 | -0.38548 | 6.9731
9 | -0.13406 | -0.033906 | 0.13435 | 0.034089 | 0.00028715 | 0.00018284 | 0.20365 | 0.20365 | 0.20365 | 0.98007 | -0.38147 | 0.98236 | -0.33692 | 27.9741
10 | 0.11734 | 0.029714 | -0.11723 | -0.029644 | 0.0001113 | 7.0761e-05 | 0.17827 | 0.17827 | 0.17827 | 0.98007 | -0.38147 | 0.97906 | -0.40124 | 24.4876
11 | 0.007776 | 0.0019493 | -0.0077733 | -0.0019482 | 2.6903e-06 | 1.074e-06 | 0.011809 | 0.011809 | 0.011809 | 0.97987 | -0.38548 | 0.9795 | -0.39274 | 3.2442
12 | 0.008938 | 0.0022407 | -0.0089348 | -0.0022393 | 3.1895e-06 | 1.46e-06 | 0.013573 | 0.013574 | 0.013574 | 0.97987 | -0.38548 | 0.97949 | -0.39297 | 3.729
13 | -0.14306 | -0.036273 | 0.14328 | 0.036415 | 0.00022387 | 0.00014263 | 0.21685 | 0.21685 | 0.21685 | 0.98236 | -0.33692 | 0.98404 | -0.30442 | 29.7869
14 | 0.11088 | 0.028052 | -0.11088 | -0.028048 | 6.0674e-06 | 3.876e-06 | 0.16862 | 0.16862 | 0.16862 | 0.97906 | -0.40124 | 0.979 | -0.40238 | 46.3238
15 | -0.24484 | -0.062611 | 0.2453 | 0.062909 | 0.00046665 | 0.00029817 | 0.36661 | 0.36661 | 0.36661 | 0.99496 | -0.095292 | 0.99704 | -0.055986 | 50.3587
16 | 0.031444 | 0.007898 | -0.031427 | -0.0078873 | 1.7253e-05 | 1.0775e-05 | 0.047179 | 0.04718 | 0.04718 | 0.99187 | -0.15455 | 0.99127 | -0.16606 | 12.9614
17 | 0.032138 | 0.0080662 | -0.032127 | -0.0080598 | 1.0333e-05 | 6.4603e-06 | 0.048218 | 0.048218 | 0.048218 | 0.99187 | -0.15455 | 0.99152 | -0.16129 | 13.2467
18 | -0.2512 | -0.064387 | 0.25152 | 0.064591 | 0.00032063 | 0.00020489 | 0.37541 | 0.37541 | 0.37541 | 0.99704 | -0.055986 | 0.99843 | -0.029692 | 51.5674
19 | 0.026929 | 0.0067599 | -0.026925 | -0.0067578 | 3.2913e-06 | 2.0372e-06 | 0.040427 | 0.040427 | 0.040427 | 0.99127 | -0.16606 | 0.99114 | -0.16862 | 11.1063
20 | 0.028264 | 0.0070915 | -0.028256 | -0.0070868 | 7.4989e-06 | 4.656e-06 | 0.04242 | 0.04242 | 0.04242 | 0.99152 | -0.16129 | 0.99123 | -0.16686 | 11.6538
21 | -0.015049 | -0.0037719 | 0.015053 | 0.0037745 | 4.5543e-06 | 2.6097e-06 | 0.022624 | 0.022624 | 0.022624 | 0.98976 | -0.19538 | 0.99009 | -0.18903 | 6.2155
22 | 0.011353 | 0.0028456 | -0.01135 | -0.0028443 | 2.4006e-06 | 1.2541e-06 | 0.017068 | 0.017068 | 0.017068 | 0.98976 | -0.19538 | 0.98953 | -0.19982 | 4.689
23 | -0.02258 | -0.0056609 | 0.022587 | 0.0056647 | 6.2385e-06 | 3.8068e-06 | 0.033937 | 0.033937 | 0.033937 | 0.99009 | -0.18903 | 0.99039 | -0.18324 | 9.3233
24 | 0.0036964 | 0.00092605 | -0.003696 | -0.00092623 | 3.6623e-07 | -1.7163e-07 | 0.0055584 | 0.0055585 | 0.0055585 | 0.98953 | -0.19982 | 0.98943 | -0.2019 | 1.5271
25 | -0.022587 | -0.0056647 | 0.022602 | 0.0056744 | 1.5751e-05 | 9.6109e-06 | 0.033937 | 0.033937 | 0.033937 | 0.99039 | -0.18324 | 0.99114 | -0.16862 | 9.3233
26 | 0.003696 | 0.00092623 | -0.0036959 | -0.00092628 | 1.213e-07 | -5.6821e-08 | 0.0055585 | 0.0055586 | 0.0055586 | 0.98943 | -0.2019 | 0.98939 | -0.20259 | 1.5271
27 | 0.011655 | 0.0029208 | -0.011654 | -0.0029201 | 1.3977e-06 | 7.3803e-07 | 0.017509 | 0.017509 | 0.017509 | 0.99052 | -0.18057 | 0.9904 | -0.18308 | 4.8101
28 | -0.015616 | -0.0039136 | 0.015619 | 0.0039154 | 3.0556e-06 | 1.7649e-06 | 0.023459 | 0.023459 | 0.023459 | 0.99052 | -0.18057 | 0.99074 | -0.17646 | 6.4448
29 | 0.0057819 | 0.0014485 | -0.0057817 | -0.0014485 | 1.8013e-07 | 3.337e-08 | 0.0086867 | 0.0086868 | 0.0086868 | 0.9904 | -0.18308 | 0.99036 | -0.18374 | 2.3865
30 | -0.020585 | -0.0051599 | 0.020587 | 0.005161 | 1.8519e-06 | 1.1187e-06 | 0.030917 | 0.030917 | 0.030917 | 0.99074 | -0.17646 | 0.99083 | -0.17457 | 8.4938
31 | 0.0028357 | 0.00071014 | -0.0028354 | -0.00071048 | 2.7029e-07 | -3.3791e-07 | 0.0042604 | 0.0042606 | 0.0042606 | 0.99036 | -0.18374 | 0.99026 | -0.18574 | 1.1705
32 | -0.026676 | -0.006687 | 0.026685 | 0.0066931 | 9.8045e-06 | 6.0649e-06 | 0.040062 | 0.040061 | 0.040062 | 0.99083 | -0.17457 | 0.99123 | -0.16686 | 11.0059
33 | 0.0028354 | 0.00071048 | -0.0028353 | -0.0007106 | 9.76e-08 | -1.2198e-07 | 0.0042606 | 0.0042607 | 0.0042607 | 0.99026 | -0.18574 | 0.99022 | -0.18646 | 1.1705
34 | 0.0070806 | 0.0017748 | -0.007078 | -0.0017739 | 2.5197e-06 | 8.5926e-07 | 0.010675 | 0.010675 | 0.010675 | 0.98702 | -0.24966 | 0.98664 | -0.25713 | 2.9327
35 | -0.0070806 | -0.0017748 | 0.0070834 | 0.0017758 | 2.8644e-06 | 9.7606e-07 | 0.010675 | 0.010674 | 0.010675 | 0.98702 | -0.24966 | 0.98746 | -0.24117 | 2.9326
36 | -0.0070834 | -0.0017758 | 0.0070858 | 0.0017766 | 2.3517e-06 | 8.0076e-07 | 0.010674 | 0.010674 | 0.010674 | 0.98746 | -0.24117 | 0.98781 | -0.2342 | 2.9325
37 | 0.0060495 | 0.0015162 | -0.0060493 | -0.0015161 | 2.1133e-07 | 4.9232e-08 | 0.0091353 | 0.0091353 | 0.0091353 | 0.98539 | -0.28136 | 0.98535 | -0.28209 | 2.5097
38 | -0.0060495 | -0.0015162 | 0.0060503 | 0.0015163 | 7.9171e-07 | 1.8438e-07 | 0.0091353 | 0.0091351 | 0.0091353 | 0.98539 | -0.28136 | 0.98553 | -0.27861 | 2.5097
39 | -0.016615 | -0.0041641 | 0.016622 | 0.0041679 | 6.3898e-06 | 3.7443e-06 | 0.025087 | 0.025087 | 0.025087 | 0.98553 | -0.27861 | 0.98595 | -0.27054 | 6.8919
40 | 0.25469 | 0.065529 | -0.25433 | -0.065295 | 0.00036713 | 0.00023461 | 0.37959 | 0.37959 | 0.37959 | 1 | 0 | 0.99843 | -0.029692 | 52.1417
41 | 0.11261 | 0.028674 | -0.11229 | -0.028467 | 0.00032393 | 0.00020691 | 0.16772 | 0.16772 | 0.16772 | 1 | 0 | 0.99686 | -0.059835 | 46.0783
42 | 0.10965 | 0.027806 | -0.1093 | -0.027581 | 0.0003521 | 0.00022489 | 0.16379 | 0.16379 | 0.16379 | 0.99686 | -0.059835 | 0.99336 | -0.12687 | 44.9968
43 | 0.1093 | 0.027581 | -0.10915 | -0.02749 | 0.0001424 | 9.0954e-05 | 0.16379 | 0.16379 | 0.16379 | 0.99336 | -0.12687 | 0.99195 | -0.15411 | 44.9968
44 | 0.0079214 | 0.0019853 | -0.0079213 | -0.0019853 | 1.3491e-07 | 5.5471e-08 | 0.012073 | 0.012073 | 0.012073 | 0.97636 | -0.454 | 0.97634 | -0.45436 | 3.3167
45 | -0.013952 | -0.0034967 | 0.013953 | 0.0034975 | 1.4808e-06 | 8.3846e-07 | 0.021263 | 0.021263 | 0.021263 | 0.97636 | -0.454 | 0.97647 | -0.45178 | 5.8416
46 | 0.0821 | 0.02074 | -0.081727 | -0.020503 | 0.00037255 | 0.00023764 | 0.12517 | 0.12517 | 0.12517 | 0.97647 | -0.45178 | 0.97163 | -0.54692 | 34.3871
47 | -0.10376 | -0.026169 | 0.10401 | 0.026327 | 0.00024598 | 0.0001571 | 0.15818 | 0.15818 | 0.15818 | 0.97647 | -0.45178 | 0.979 | -0.40238 | 43.4552
48 | 0.082446 | 0.020796 | -0.082402 | -0.020768 | 4.4364e-05 | 2.8293e-05 | 0.12372 | 0.12372 | 0.12372 | 0.99195 | -0.15411 | 0.99137 | -0.16536 | 33.9901
49 | 0.073488 | 0.018534 | -0.073382 | -0.018467 | 0.00010584 | 6.7441e-05 | 0.11034 | 0.11034 | 0.11034 | 0.99137 | -0.16536 | 0.98981 | -0.19549 | 30.3145
50 | -0.031158 | -0.0078111 | 0.031178 | 0.0078237 | 2.0138e-05 | 1.2579e-05 | 0.047025 | 0.047025 | 0.047025 | 0.98595 | -0.27054 | 0.98664 | -0.25699 | 12.9191
51 | -0.041834 | -0.010494 | 0.041902 | 0.010537 | 6.734e-05 | 4.2521e-05 | 0.063097 | 0.063096 | 0.063097 | 0.98664 | -0.25699 | 0.98838 | -0.22328 | 17.3342
52 | 0.024602 | 0.0061713 | -0.024589 | -0.0061634 | 1.28e-05 | 7.8732e-06 | 0.037041 | 0.037041 | 0.037041 | 0.98838 | -0.22328 | 0.98781 | -0.2342 | 10.1761
53 | -0.066504 | -0.016708 | 0.066578 | 0.016756 | 7.4483e-05 | 4.7415e-05 | 0.10014 | 0.10014 | 0.10014 | 0.98838 | -0.22328 | 0.98958 | -0.19984 | 27.5103
54 | -0.073367 | -0.018457 | 0.073382 | 0.018467 | 1.5247e-05 | 9.7152e-06 | 0.11034 | 0.11034 | 0.11034 | 0.98958 | -0.19984 | 0.98981 | -0.19549 | 30.3145
55 | 0.059621 | 0.014962 | -0.059614 | -0.014958 | 6.6455e-06 | 4.2268e-06 | 0.091314 | 0.091314 | 0.091314 | 0.97163 | -0.54692 | 0.97151 | -0.54926 | 25.0863
56 | 0.039555 | 0.0099306 | -0.039521 | -0.0099096 | 3.3406e-05 | 2.1079e-05 | 0.06059 | 0.06059 | 0.06059 | 0.97151 | -0.54926 | 0.97062 | -0.56698 | 16.6457
57 | 0.0077733 | 0.0019482 | -0.0077732 | -0.0019482 | 1.0364e-07 | 4.1386e-08 | 0.011809 | 0.011809 | 0.011809 | 0.9795 | -0.39274 | 0.97948 | -0.39302 | 3.2442
58 | -0.029587 | -0.0074152 | 0.029599 | 0.0074229 | 1.2274e-05 | 7.6588e-06 | 0.045379 | 0.045379 | 0.045379 | 0.97018 | -0.57568 | 0.97062 | -0.56698 | 12.4668

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37473 | 0.095651

## res_load
| p_mw | q_mvar
0 | 0.0074458 | 0.0018661
1 | 0.006049 | 0.001516
2 | 0.0058356 | 0.0014625
3 | 0.0087129 | 0.0021837
4 | 0.0063499 | 0.0015914
5 | 0.0084309 | 0.002113
6 | 0.0049623 | 0.0012437
7 | 0.0089348 | 0.0022393
8 | 0.0034026 | 0.00085277
9 | 0.0058959 | 0.0014777
10 | 0.0044983 | 0.0011274
11 | 0.0038635 | 0.00096829
12 | 0.0036959 | 0.00092629
13 | 0.0075271 | 0.0018865
14 | 0.007654 | 0.0019183
15 | 0.0043231 | 0.0010835
16 | 0.0036959 | 0.00092628
17 | 0.0039611 | 0.00099274
18 | 0.0058718 | 0.0014716
19 | 0.0049658 | 0.0012445
20 | 0.002946 | 0.00073833
21 | 0.0060888 | 0.001526
22 | 0.001571 | 0.00039373
23 | 0.0028353 | 0.0007106
24 | 0.007078 | 0.0017739
25 | 0.0060493 | 0.0015161
26 | 0.010565 | 0.0026478
27 | 0.005779 | 0.0014484
28 | 0.0028056 | 0.00070314
29 | 0.0026374 | 0.00066099
30 | 0.0060304 | 0.0015114
31 | 0.0079213 | 0.0019853
32 | 0.0077075 | 0.0019317
33 | 0.026708 | 0.0066936
34 | 0.0089138 | 0.002234
35 | 0.014536 | 0.0036432
36 | 0.010656 | 0.0026707
37 | 0.017504 | 0.0043868
38 | 0.0067884 | 0.0017013
39 | 0.0068698 | 0.0017217
40 | 0.022106 | 0.0055403
41 | 0.020059 | 0.0050274
42 | 0.029587 | 0.0074152
43 | 0.009922 | 0.0024867
44 | 0.0077732 | 0.0019482

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1