## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2293-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2293-4_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2293-4_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2293-4_0_4_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_2293-4_0_4_node_189 | 0.4 | n |  | TRUE
5 | bus_LV_2293-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2293-4_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2293-4_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2293-4_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2293-4_0_4_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_2293-4_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2293-4_0_4_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_2293-4_0_4_node_191 | 0.4 | n |  | TRUE
13 | bus_LV_2293-4_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2293-4_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2293-4_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2293-4_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2293-4_0_4_node_153 | 0.4 | n |  | TRUE
18 | bus_LV_2293-4_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2293-4_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_2293-4_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2293-4_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_2293-4_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2293-4_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2293-4_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2293-4_0_4_node_177 | 0.4 | n |  | TRUE
26 | bus_LV_2293-4_0_4_node_156 | 0.4 | n |  | TRUE
27 | bus_LV_2293-4_0_4_node_154 | 0.4 | n |  | TRUE
28 | bus_LV_2293-4_0_4_node_175 | 0.4 | n |  | TRUE
29 | bus_LV_2293-4_0_4_node_169 | 0.4 | n |  | TRUE
30 | bus_LV_2293-4_0_4_node_155 | 0.4 | n |  | TRUE
31 | bus_LV_2293-4_0_4_node_157 | 0.4 | n |  | TRUE
32 | bus_LV_2293-4_0_4_node_158 | 0.4 | n |  | TRUE
33 | bus_LV_2293-4_0_4_node_163 | 0.4 | n |  | TRUE
34 | bus_LV_2293-4_0_4_node_164 | 0.4 | n |  | TRUE
35 | bus_LV_2293-4_0_4_node_165 | 0.4 | n |  | TRUE
36 | bus_LV_2293-4_0_4_node_166 | 0.4 | n |  | TRUE
37 | bus_LV_2293-4_0_4_node_167 | 0.4 | n |  | TRUE
38 | bus_LV_2293-4_0_4_node_171 | 0.4 | n |  | TRUE
39 | bus_LV_2293-4_0_4_node_125 | 0.4 | n |  | TRUE
40 | bus_LV_2293-4_0_4_node_168 | 0.4 | n |  | TRUE
41 | bus_LV_2293-4_0_4_node_170 | 0.4 | n |  | TRUE
42 | bus_LV_2293-4_0_4_node_172 | 0.4 | n |  | TRUE
43 | bus_LV_2293-4_0_4_node_173 | 0.4 | n |  | TRUE
44 | bus_LV_2293-4_0_4_node_176 | 0.4 | n |  | TRUE
45 | bus_LV_2293-4_0_4_node_190 | 0.4 | n |  | TRUE
46 | bus_LV_2293-4_0_4_node_122 | 0.4 | n |  | TRUE
47 | bus_LV_2293-4_0_4_node_192 | 0.4 | n |  | TRUE
48 | bus_LV_2293-4_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_2293-4_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_2293-4_0_4_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_2293-4_0_4_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_2293-4_0_4_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_2293-4_0_4_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_2293-4_0_4_node_123 | 0.4 | n |  | TRUE
55 | bus_MV_378_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2293-4_0_4_load_0 | 0 | 0.012908 | 0.003235 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2293-4_0_4_load_189 | 4 | 0.039725 | 0.009956 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2293-4_0_4_load_5 | 5 | 0.0081103 | 0.0020326 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2293-4_0_4_load_73 | 9 | 0.020118 | 0.0050419 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2293-4_0_4_load_68 | 11 | 0.00062312 | 0.00015617 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2293-4_0_4_load_191 | 12 | 0.0041034 | 0.0010284 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2293-4_0_4_load_12 | 13 | 0.010533 | 0.0026398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2293-4_0_4_load_13 | 14 | 0.0077569 | 0.0019441 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2293-4_0_4_load_14 | 15 | 0.015008 | 0.0037613 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2293-4_0_4_load_15 | 16 | 0.0084129 | 0.0021085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2293-4_0_4_load_24 | 19 | 0.0067921 | 0.0017023 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2293-4_0_4_load_17 | 21 | 0.010068 | 0.0025232 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2293-4_0_4_load_20 | 24 | 0.0045369 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2293-4_0_4_load_177 | 25 | 0.041622 | 0.010432 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2293-4_0_4_load_156 | 26 | 0.0051523 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2293-4_0_4_load_169 | 29 | 0.00011055 | 2.7706e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2293-4_0_4_load_155 | 30 | 0.062876 | 0.015758 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2293-4_0_4_load_157 | 31 | 0.0019238 | 0.00048214 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2293-4_0_4_load_158 | 32 | 0.0014772 | 0.00037021 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2293-4_0_4_load_163 | 33 | 0.00098251 | 0.00024624 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2293-4_0_4_load_164 | 34 | 8.4177e-05 | 2.1097e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2293-4_0_4_load_166 | 36 | 0.00038468 | 9.6409e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2293-4_0_4_load_167 | 37 | 0.00014895 | 3.733e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2293-4_0_4_load_168 | 40 | 0.00080701 | 0.00020225 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2293-4_0_4_load_170 | 41 | 0.00021323 | 5.3441e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2293-4_0_4_load_172 | 42 | 0.0001189 | 2.9799e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2293-4_0_4_load_173 | 43 | 0.00020805 | 5.2143e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2293-4_0_4_load_176 | 44 | 0.0010781 | 0.0002702 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2293-4_0_4_load_190 | 45 | 0.00013346 | 3.3448e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2293-4_0_4_load_122 | 46 | 0.00024765 | 6.2066e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2293-4_0_4_load_192 | 47 | 0.0022145 | 0.00055501 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2293-4_0_4_load_67 | 49 | 0.0070579 | 0.0017689 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2293-4_0_4_load_70 | 50 | 0.013789 | 0.0034558 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2293-4_0_4_load_75 | 52 | 0.05122 | 0.012837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2293-4_0_4_line_0 |  | 0 | 1 | 0.035858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_2293-4_0_4_line_1 |  | 1 | 2 | 0.048577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_2293-4_0_4_line_2 |  | 2 | 3 | 0.069895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2293-4_0_4_line_3 |  | 2 | 4 | 0.020456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2293-4_0_4_line_4 |  | 3 | 25 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2293-4_0_4_line_5 |  | 3 | 7 | 0.22529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_2293-4_0_4_line_6 |  | 3 | 23 | 0.070269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2293-4_0_4_line_7 |  | 5 | 6 | 0.017778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2293-4_0_4_line_8 |  | 6 | 7 | 0.098139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2293-4_0_4_line_9 |  | 6 | 8 | 0.27303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2293-4_0_4_line_10 |  | 7 | 9 | 0.030137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2293-4_0_4_line_11 |  | 8 | 12 | 0.061829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2293-4_0_4_line_12 |  | 8 | 10 | 0.067206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2293-4_0_4_line_13 |  | 9 | 53 | 0.10688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2293-4_0_4_line_14 |  | 10 | 11 | 0.015615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2293-4_0_4_line_15 |  | 11 | 48 | 0.02761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2293-4_0_4_line_16 |  | 11 | 49 | 0.020434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2293-4_0_4_line_17 |  | 13 | 14 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2293-4_0_4_line_18 |  | 13 | 15 | 0.06346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2293-4_0_4_line_19 |  | 14 | 16 | 0.21642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2293-4_0_4_line_20 |  | 14 | 17 | 0.18492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2293-4_0_4_line_21 |  | 15 | 18 | 0.034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2293-4_0_4_line_22 |  | 17 | 26 | 0.024104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2293-4_0_4_line_23 |  | 18 | 19 | 0.047686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2293-4_0_4_line_24 |  | 18 | 20 | 0.065715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2293-4_0_4_line_25 |  | 20 | 23 | 0.030107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2293-4_0_4_line_26 |  | 20 | 22 | 0.062143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2293-4_0_4_line_27 |  | 21 | 22 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2293-4_0_4_line_28 |  | 23 | 24 | 0.029391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2293-4_0_4_line_29 |  | 26 | 30 | 0.028928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2293-4_0_4_line_30 |  | 27 | 28 | 0.056075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2293-4_0_4_line_31 |  | 27 | 29 | 0.058118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2293-4_0_4_line_32 |  | 28 | 44 | 0.009782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2293-4_0_4_line_33 |  | 28 | 32 | 0.010152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2293-4_0_4_line_34 |  | 29 | 40 | 0.025805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2293-4_0_4_line_35 |  | 30 | 31 | 0.016621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2293-4_0_4_line_36 |  | 31 | 32 | 0.017211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2293-4_0_4_line_37 |  | 33 | 34 | 0.053012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2293-4_0_4_line_38 |  | 33 | 35 | 0.0097843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2293-4_0_4_line_39 |  | 34 | 36 | 0.080584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2293-4_0_4_line_40 |  | 35 | 37 | 0.05593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2293-4_0_4_line_41 |  | 36 | 38 | 0.020036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2293-4_0_4_line_42 |  | 37 | 39 | 0.027617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2293-4_0_4_line_43 |  | 38 | 42 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2293-4_0_4_line_44 |  | 38 | 41 | 0.038611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2293-4_0_4_line_45 |  | 39 | 54 | 0.041147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2293-4_0_4_line_46 |  | 40 | 41 | 0.031744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2293-4_0_4_line_47 |  | 42 | 43 | 0.022807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2293-4_0_4_line_48 |  | 45 | 46 | 0.12857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2293-4_0_4_line_49 |  | 46 | 54 | 0.032803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2293-4_0_4_line_50 |  | 47 | 48 | 0.021528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2293-4_0_4_line_51 |  | 50 | 51 | 0.12805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2293-4_0_4_line_52 |  | 51 | 52 | 0.1077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2293-4_0_4_line_53 |  | 52 | 53 | 0.035414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2293-4_0_4_trafo_0 | 0.63 MVA 20/0.4 kV | 55 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2581815.0802 | 1189778.237 | 2581843.2201 | 1189800.4614
1 | 2581815.0802 | 1189778.237 | 2581801.0667 | 1189766.6181 | 2581810.5099 | 1189757.4622 | 2581814.0898 | 1189753.5826 | 2581821.2333 | 1189755.5063 | 2581825.7641 | 1189755.8482
2 | 2581825.7641 | 1189755.8482 | 2581829.7514 | 1189755.5581 | 2581836.3291 | 1189754.4485 | 2581849.1103 | 1189752.1084 | 2581849.0991 | 1189748.4287 | 2581850.4995 | 1189745.0337 | 2581853.0995 | 1189742.4133 | 2581856.4963 | 1189740.9911 | 2581860.065 | 1189740.9469 | 2581863.3936 | 1189742.2041 | 2581866.0166 | 1189744.6085 | 2581867.5667 | 1189747.8055 | 2581875.896 | 1189745.9458 | 2581872.6152 | 1189737.8515
3 | 2581825.7641 | 1189755.8482 | 2581817.3874 | 1189737.1861
4 | 2581872.6152 | 1189737.8515 | 2581866.5376 | 1189722.844
5 | 2581772.5746 | 1189568.9901 | 2581791.3189 | 1189593.8236 | 2581795.8432 | 1189599.5017 | 2581800.1773 | 1189605.3248 | 2581804.3059 | 1189611.3154 | 2581808.2291 | 1189617.4288 | 2581816.6162 | 1189631.9442 | 2581821.3094 | 1189640.5344 | 2581825.7895 | 1189649.2475 | 2581830.0873 | 1189658.1947 | 2581831.5378 | 1189661.203 | 2581836.974 | 1189673.3817 | 2581842.0372 | 1189685.7617 | 2581844.9206 | 1189693.5459 | 2581846.7045 | 1189698.3541 | 2581848.9971 | 1189704.9617 | 2581851.0688 | 1189711.6589 | 2581852.8055 | 1189718.4905 | 2581853.9325 | 1189725.4908 | 2581856.4963 | 1189740.9911 | 2581860.065 | 1189740.9469 | 2581863.3936 | 1189742.2041 | 2581866.0166 | 1189744.6085 | 2581867.5667 | 1189747.8055 | 2581875.896 | 1189745.9458 | 2581872.6152 | 1189737.8515
6 | 2581872.6152 | 1189737.8515 | 2581875.896 | 1189745.9458 | 2581882.0638 | 1189745.4712 | 2581887.8404 | 1189746.7655 | 2581893.0189 | 1189749.4734 | 2581896.8531 | 1189753.9641 | 2581899.4046 | 1189757.9584 | 2581904.8137 | 1189768.8255 | 2581913.4425 | 1189787.7537
7 | 2581843.99 | 1189583.413 | 2581854.9195 | 1189597.4346
8 | 2581772.5746 | 1189568.9901 | 2581778.6152 | 1189564.2914 | 2581793.2934 | 1189551.2174 | 2581796.903 | 1189547.0597 | 2581797.8541 | 1189543.844 | 2581805.4994 | 1189547.6671 | 2581815.4652 | 1189554.7071 | 2581825.4378 | 1189561.4913 | 2581829.3024 | 1189563.3917 | 2581833.3665 | 1189568.2374 | 2581838.0991 | 1189574.693 | 2581843.99 | 1189583.413
9 | 2581843.99 | 1189583.413 | 2581838.0991 | 1189574.693 | 2581833.3665 | 1189568.2374 | 2581829.3024 | 1189563.3917 | 2581890.8345 | 1189570.2746 | 2581932.3964 | 1189567.8805 | 2581970.2406 | 1189569.2444 | 2581994.6183 | 1189568.4258 | 2582026.3245 | 1189562.4936 | 2582035.4312 | 1189560.4095 | 2582043.1681 | 1189559.2411 | 2582050.2299 | 1189559.3087 | 2582056.9799 | 1189534.3197
10 | 2581772.5746 | 1189568.9901 | 2581760.4017 | 1189578.3656 | 2581750.1498 | 1189589.0011
11 | 2582056.9799 | 1189534.3197 | 2582058.8713 | 1189521.7074 | 2582064.4004 | 1189509.1286 | 2582067.4103 | 1189500.7484 | 2582071.6176 | 1189474.6554
12 | 2582090.8815 | 1189566.0677 | 2582085.3473 | 1189564.2723 | 2582079.6769 | 1189562.8664 | 2582064.3659 | 1189560.967 | 2582050.2299 | 1189559.3087 | 2582056.9799 | 1189534.3197
13 | 2581675.9773 | 1189665.9485 | 2581750.1498 | 1189589.0011
14 | 2582090.8815 | 1189566.0677 | 2582091.7269 | 1189550.4792
15 | 2582101.0375 | 1189524.8711 | 2582092.0884 | 1189543.9191 | 2582091.7269 | 1189550.4792
16 | 2582091.7269 | 1189550.4792 | 2582110.224 | 1189559.1624
17 | 2581984.9239 | 1189967.5528 | 2581987.8012 | 1189974.4934 | 2581992.3622 | 1189982.3727 | 2581994.5609 | 1189985.8017
18 | 2581984.9239 | 1189967.5528 | 2581984.2293 | 1189965.8774 | 2581976.5249 | 1189944.8119 | 2581965.8759 | 1189910.8373 | 2581964.8658 | 1189907.3698
19 | 2582131.61 | 1190149.9969 | 2582128.4076 | 1190147.4388 | 2582085.8865 | 1190111.0362 | 2582061.7318 | 1190088.9973 | 2582048.562 | 1190076.0301 | 2582041.5875 | 1190064.3005 | 2582024.9318 | 1190035.8691 | 2582002.2226 | 1189997.751 | 2581994.5609 | 1189985.8017
20 | 2581994.5609 | 1189985.8017 | 2581918.0554 | 1190154.1549
21 | 2581952.6518 | 1189875.1475 | 2581960.6052 | 1189892.7438 | 2581964.8658 | 1189907.3698
22 | 2581918.0554 | 1190154.1549 | 2581911.7042 | 1190151.8729 | 2581898.5199 | 1190146.7547 | 2581895.7583 | 1190145.1133
23 | 2581952.6518 | 1189875.1475 | 2581955.849 | 1189873.3146 | 2581966.263 | 1189867.4244 | 2581971.4829 | 1189868.7426 | 2581984.5398 | 1189892.0488
24 | 2581926.2144 | 1189814.996 | 2581934.5574 | 1189835.2813 | 2581942.4039 | 1189852.789 | 2581952.6518 | 1189875.1475
25 | 2581913.4425 | 1189787.7537 | 2581919.8467 | 1189799.8517 | 2581926.2144 | 1189814.996
26 | 2581926.2144 | 1189814.996 | 2581934.5574 | 1189835.2813 | 2581928.4909 | 1189836.4337 | 2581894.73 | 1189840.7384
27 | 2581894.73 | 1189840.7384 | 2581895.0724 | 1189842.9719 | 2581897.7465 | 1189862.4707
28 | 2581913.4425 | 1189787.7537 | 2581908.3196 | 1189790.7597 | 2581902.9754 | 1189796.2344 | 2581905.4105 | 1189811.8465
29 | 2581870.8912 | 1190130.3332 | 2581895.7583 | 1190145.1133
30 | 2581831.5223 | 1190113.5189 | 2581830.3991 | 1190120.2481 | 2581829.6223 | 1190125.5866 | 2581829.6128 | 1190129.9556 | 2581830.4617 | 1190135.7783 | 2581831.843 | 1190141.1547 | 2581833.8813 | 1190146.9071 | 2581834.7188 | 1190149.0168 | 2581835.8309 | 1190151.1256 | 2581838.2727 | 1190154.1642 | 2581841.3247 | 1190157.3121 | 2581842.6337 | 1190158.9757 | 2581843.7287 | 1190160.4954 | 2581844.8488 | 1190162.7042 | 2581845.4511 | 1190165.1926
31 | 2581845.4511 | 1190165.1926 | 2581840.8155 | 1190165.3624 | 2581835.8631 | 1190166.667 | 2581827.3918 | 1190169.2609 | 2581809.7276 | 1190175.3625 | 2581790.0335 | 1190182.0854
32 | 2581831.5223 | 1190113.5189 | 2581830.6312 | 1190103.7776
33 | 2581831.5223 | 1190113.5189 | 2581841.6287 | 1190114.4775
34 | 2581765.3599 | 1190189.6206 | 2581782.6178 | 1190184.6168 | 2581790.0335 | 1190182.0854
35 | 2581857.2463 | 1190120.9592 | 2581861.6003 | 1190124.811 | 2581870.8912 | 1190130.3332
36 | 2581857.2463 | 1190120.9592 | 2581855.0631 | 1190119.0279 | 2581851.8013 | 1190117.1146 | 2581847.5806 | 1190115.8379 | 2581841.6287 | 1190114.4775 | 2581841.6287 | 1190114.4775
37 | 2581719.9701 | 1190319.083 | 2581721.2888 | 1190328.8362 | 2581722.0235 | 1190337.1495 | 2581721.4361 | 1190347.012 | 2581720.3221 | 1190354.197 | 2581718.3937 | 1190359.4057 | 2581714.4017 | 1190365.5212 | 2581711.3418 | 1190369.2409
38 | 2581706.6924 | 1190377.7735 | 2581709.6159 | 1190371.3389 | 2581711.3418 | 1190369.2409
39 | 2581719.9701 | 1190319.083 | 2581712.3007 | 1190262.3621 | 2581711.0151 | 1190250.9601 | 2581708.9992 | 1190239.26
40 | 2581706.6924 | 1190377.7735 | 2581704.0154 | 1190385.0189 | 2581699.6888 | 1190391.38 | 2581693.0782 | 1190398.8931 | 2581687.1227 | 1190406.1819 | 2581681.4293 | 1190414.4038 | 2581677.168 | 1190424.6445
41 | 2581703.4707 | 1190220.1336 | 2581706.1185 | 1190225.6951 | 2581707.9175 | 1190232.9823 | 2581708.9992 | 1190239.26
42 | 2581679.664 | 1190450.3059 | 2581675.2346 | 1190445.5615 | 2581675.3245 | 1190432.6544 | 2581677.168 | 1190424.6445
43 | 2581703.4707 | 1190220.1336 | 2581691.1375 | 1190224.018 | 2581679.8497 | 1190226.3571
44 | 2581703.4707 | 1190220.1336 | 2581714.079 | 1190210.7739 | 2581717.6226 | 1190207.5836 | 2581720.7639 | 1190205.0281 | 2581723.8382 | 1190202.9732 | 2581727.5991 | 1190201.0606 | 2581732.024 | 1190199.3239 | 2581734.8783 | 1190198.4822
45 | 2581659.5841 | 1190486.2422 | 2581669.6377 | 1190467.7571 | 2581679.664 | 1190450.3059
46 | 2581765.3599 | 1190189.6206 | 2581739.6423 | 1190197.0772 | 2581734.8783 | 1190198.4822
47 | 2581657.566 | 1190231.2064 | 2581665.0533 | 1190229.4233 | 2581679.8497 | 1190226.3571
48 | 2581689.9846 | 1190498.5637 | 2581816.6758 | 1190520.4787
49 | 2581659.5841 | 1190486.2422 | 2581689.9846 | 1190498.5637
50 | 2582101.0375 | 1189524.8711 | 2582081.5783 | 1189515.5469
51 | 2581554.2213 | 1189591.5517 | 2581559.1619 | 1189593.6931 | 2581564.5542 | 1189593.9432 | 2581569.2024 | 1189592.7726 | 2581573.0292 | 1189589.8482 | 2581611.1574 | 1189542.4276 | 2581640.6096 | 1189506.0431
52 | 2581648.6604 | 1189643.3207 | 2581554.2213 | 1189591.5517
53 | 2581675.9773 | 1189665.9485 | 2581648.6604 | 1189643.3207

## bus_geodata
| x | y | coords
0 | 2581843.2201 | 1189800.4614
1 | 2581815.0802 | 1189778.237
2 | 2581825.7641 | 1189755.8482
3 | 2581872.6152 | 1189737.8515
4 | 2581817.3874 | 1189737.1861
5 | 2581854.9195 | 1189597.4346
6 | 2581843.99 | 1189583.413
7 | 2581772.5746 | 1189568.9901
8 | 2582056.9799 | 1189534.3197
9 | 2581750.1498 | 1189589.0011
10 | 2582090.8815 | 1189566.0677
11 | 2582091.7269 | 1189550.4792
12 | 2582071.6176 | 1189474.6554
13 | 2581984.9239 | 1189967.5528
14 | 2581994.5609 | 1189985.8017
15 | 2581964.8658 | 1189907.3698
16 | 2582131.61 | 1190149.9969
17 | 2581918.0554 | 1190154.1549
18 | 2581952.6518 | 1189875.1475
19 | 2581984.5398 | 1189892.0488
20 | 2581926.2144 | 1189814.996
21 | 2581897.7465 | 1189862.4707
22 | 2581894.73 | 1189840.7384
23 | 2581913.4425 | 1189787.7537
24 | 2581905.4105 | 1189811.8464
25 | 2581866.5376 | 1189722.844
26 | 2581895.7583 | 1190145.1133
27 | 2581845.4511 | 1190165.1926
28 | 2581831.5223 | 1190113.5189
29 | 2581790.0335 | 1190182.0854
30 | 2581870.8912 | 1190130.3332
31 | 2581857.2463 | 1190120.9592
32 | 2581841.6287 | 1190114.4775
33 | 2581711.3418 | 1190369.2409
34 | 2581719.9701 | 1190319.083
35 | 2581706.6924 | 1190377.7735
36 | 2581708.9992 | 1190239.26
37 | 2581677.168 | 1190424.6445
38 | 2581703.4707 | 1190220.1336
39 | 2581679.664 | 1190450.3059
40 | 2581765.3599 | 1190189.6206
41 | 2581734.8783 | 1190198.4822
42 | 2581679.8497 | 1190226.3571
43 | 2581657.566 | 1190231.2064
44 | 2581830.6312 | 1190103.7776
45 | 2581816.6758 | 1190520.4787
46 | 2581689.9846 | 1190498.5637
47 | 2582081.5783 | 1189515.5469
48 | 2582101.0375 | 1189524.8711
49 | 2582110.224 | 1189559.1624
50 | 2581640.6096 | 1189506.0431
51 | 2581554.2213 | 1189591.5517
52 | 2581648.6604 | 1189643.3207
53 | 2581675.9773 | 1189665.9485
54 | 2581659.5841 | 1190486.2422
55 | 2581815.0802 | 1189778.237

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.33486 | -0.085601
1 | 0.99728 | -0.051362 | 0 | 0
2 | 0.9936 | -0.12139 | 0 | 0
3 | 0.98895 | -0.21068 | 0 | 0
4 | 0.99286 | -0.13575 | 0.039725 | 0.009956
5 | 0.98222 | -0.34119 | 0.0081103 | 0.0020326
6 | 0.98235 | -0.33859 | 0 | 0
7 | 0.98336 | -0.319 | 0 | 0
8 | 0.97881 | -0.40793 | 0 | 0
9 | 0.98276 | -0.33057 | 0.020118 | 0.0050419
10 | 0.97819 | -0.42004 | 0 | 0
11 | 0.97805 | -0.42285 | 0.00062312 | 0.00015617
12 | 0.97857 | -0.41254 | 0.0041034 | 0.0010284
13 | 0.98138 | -0.35704 | 0.010533 | 0.0026398
14 | 0.98094 | -0.36567 | 0.0077569 | 0.0019441
15 | 0.9829 | -0.32759 | 0.015008 | 0.0037613
16 | 0.97925 | -0.39872 | 0.0084129 | 0.0021085
17 | 0.97767 | -0.42951 | 0 | 0
18 | 0.98384 | -0.30927 | 0 | 0
19 | 0.98354 | -0.3151 | 0.0067921 | 0.0017023
20 | 0.98574 | -0.2725 | 0 | 0
21 | 0.98496 | -0.2877 | 0.010068 | 0.0025232
22 | 0.98516 | -0.28373 | 0 | 0
23 | 0.98668 | -0.25435 | 0 | 0
24 | 0.98656 | -0.25673 | 0.0045369 | 0.001137
25 | 0.98833 | -0.2227 | 0.041622 | 0.010432
26 | 0.97597 | -0.46296 | 0.0051523 | 0.0012913
27 | 0.97362 | -0.50926 | 0 | 0
28 | 0.9738 | -0.5057 | 0 | 0
29 | 0.97343 | -0.51296 | 0.00011055 | 2.7706e-05
30 | 0.97406 | -0.50052 | 0.062876 | 0.015758
31 | 0.97394 | -0.50295 | 0.0019238 | 0.00048214
32 | 0.97384 | -0.50485 | 0.0014772 | 0.00037021
33 | 0.97297 | -0.52229 | 0.00098251 | 0.00024624
34 | 0.97304 | -0.52081 | 8.4177e-05 | 2.1097e-05
35 | 0.97296 | -0.52239 | 0 | 0
36 | 0.97316 | -0.51842 | 0.00038468 | 9.6409e-05
37 | 0.97293 | -0.52295 | 0.00014895 | 3.733e-05
38 | 0.9732 | -0.51769 | 0 | 0
39 | 0.97292 | -0.52314 | 0 | 0
40 | 0.97335 | -0.51455 | 0.00080701 | 0.00020225
41 | 0.97328 | -0.51603 | 0.00021323 | 5.3441e-05
42 | 0.97319 | -0.51783 | 0.0001189 | 2.9799e-05
43 | 0.97319 | -0.51792 | 0.00020805 | 5.2143e-05
44 | 0.97379 | -0.50589 | 0.0010781 | 0.0002702
45 | 0.97288 | -0.52399 | 0.00013346 | 3.3448e-05
46 | 0.9729 | -0.52367 | 0.00024765 | 6.2066e-05
47 | 0.97795 | -0.42484 | 0.0022145 | 0.00055501
48 | 0.97799 | -0.42397 | 0 | 0
49 | 0.97792 | -0.42548 | 0.0070579 | 0.0017689
50 | 0.97707 | -0.44202 | 0.013789 | 0.0034558
51 | 0.97871 | -0.40983 | 0 | 0
52 | 0.98009 | -0.38284 | 0.05122 | 0.012837
53 | 0.98115 | -0.36197 | 0 | 0
54 | 0.97291 | -0.52344 | 0 | 0
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.33321 | 0.085601 | -0.33238 | -0.085072 | 0.00082889 | 0.00052861 | 0.49656 | 0.49656 | 0.49656 | 1 | 0 | 0.99728 | -0.051362 | 34.1044
1 | 0.33238 | 0.085072 | -0.33126 | -0.084356 | 0.0011229 | 0.00071615 | 0.49656 | 0.49656 | 0.49656 | 0.99728 | -0.051362 | 0.9936 | -0.12139 | 34.1045
2 | 0.2915 | 0.074383 | -0.29025 | -0.073585 | 0.0012515 | 0.00079736 | 0.43703 | 0.43703 | 0.43703 | 0.9936 | -0.12139 | 0.98895 | -0.21068 | 30.0156
3 | 0.039752 | 0.0099731 | -0.039725 | -0.009956 | 2.719e-05 | 1.7137e-05 | 0.059536 | 0.059536 | 0.059536 | 0.9936 | -0.12139 | 0.99286 | -0.13575 | 16.3561
4 | 0.041646 | 0.010447 | -0.041622 | -0.010432 | 2.3844e-05 | 1.5053e-05 | 0.062666 | 0.062666 | 0.062666 | 0.98895 | -0.21068 | 0.98833 | -0.2227 | 17.216
5 | 0.10812 | 0.027411 | -0.10756 | -0.027065 | 0.00055978 | 0.00034676 | 0.1628 | 0.1628 | 0.1628 | 0.98895 | -0.21068 | 0.98336 | -0.319 | 11.1814
6 | 0.14048 | 0.035727 | -0.14019 | -0.035542 | 0.00029487 | 0.00018512 | 0.21156 | 0.21157 | 0.21157 | 0.98895 | -0.21068 | 0.98668 | -0.25435 | 14.5306
7 | -0.0081103 | -0.0020326 | 0.0081113 | 0.002033 | 1.0064e-06 | 4.1907e-07 | 0.012287 | 0.012287 | 0.012287 | 0.98222 | -0.34119 | 0.98235 | -0.33859 | 3.3755
8 | -0.022166 | -0.0055709 | 0.022186 | 0.0055817 | 2.075e-05 | 1.0793e-05 | 0.033581 | 0.03358 | 0.033581 | 0.98235 | -0.33859 | 0.98336 | -0.319 | 4.6128
9 | 0.014054 | 0.0035378 | -0.014008 | -0.0035116 | 4.643e-05 | 2.6271e-05 | 0.021294 | 0.021296 | 0.021296 | 0.98235 | -0.33859 | 0.97881 | -0.40793 | 5.8505
10 | 0.085375 | 0.021483 | -0.085328 | -0.021454 | 4.7178e-05 | 2.8665e-05 | 0.12922 | 0.12922 | 0.12922 | 0.98336 | -0.319 | 0.98276 | -0.33057 | 8.8751
11 | 0.0041043 | 0.0010282 | -0.0041034 | -0.0010284 | 9.0264e-07 | -1.9926e-07 | 0.0062393 | 0.0062396 | 0.0062396 | 0.97881 | -0.40793 | 0.97857 | -0.41254 | 1.7142
12 | 0.0099037 | 0.0024834 | -0.009898 | -0.0024805 | 5.7133e-06 | 2.8123e-06 | 0.015056 | 0.015057 | 0.015057 | 0.97881 | -0.40793 | 0.97819 | -0.42004 | 4.1364
13 | 0.06521 | 0.016412 | -0.065112 | -0.016355 | 9.773e-05 | 5.7139e-05 | 0.098761 | 0.098762 | 0.098762 | 0.98276 | -0.33057 | 0.98115 | -0.36197 | 6.7831
14 | 0.009898 | 0.0024805 | -0.0098967 | -0.0024799 | 1.3275e-06 | 6.5361e-07 | 0.015057 | 0.015057 | 0.015057 | 0.97819 | -0.42004 | 0.97805 | -0.42285 | 4.1365
15 | 0.0022147 | 0.00055453 | -0.0022146 | -0.0005548 | 1.1754e-07 | -2.7125e-07 | 0.0033693 | 0.0033694 | 0.0033694 | 0.97805 | -0.42285 | 0.97799 | -0.42397 | 0.92567
16 | 0.0070588 | 0.0017692 | -0.0070579 | -0.0017689 | 8.8378e-07 | 3.0922e-07 | 0.010739 | 0.010739 | 0.010739 | 0.97805 | -0.42285 | 0.97792 | -0.42548 | 2.9504
17 | 0.092653 | 0.023407 | -0.092615 | -0.023384 | 3.832e-05 | 2.3479e-05 | 0.14055 | 0.14055 | 0.14055 | 0.98138 | -0.35704 | 0.98094 | -0.36567 | 9.6533
18 | -0.10319 | -0.026047 | 0.10333 | 0.026137 | 0.00014575 | 9.007e-05 | 0.15652 | 0.15652 | 0.15652 | 0.98138 | -0.35704 | 0.9829 | -0.32759 | 10.7501
19 | 0.0084262 | 0.0021142 | -0.0084129 | -0.0021085 | 1.3262e-05 | 5.7602e-06 | 0.012783 | 0.012784 | 0.012784 | 0.98094 | -0.36567 | 0.97925 | -0.39872 | 3.512
20 | 0.076432 | 0.019325 | -0.076199 | -0.019185 | 0.0002333 | 0.00014 | 0.116 | 0.11601 | 0.11601 | 0.98094 | -0.36567 | 0.97767 | -0.42951 | 7.9675
21 | -0.11834 | -0.029898 | 0.11844 | 0.029963 | 0.00010404 | 6.4836e-05 | 0.17924 | 0.17924 | 0.17924 | 0.9829 | -0.32759 | 0.98384 | -0.30927 | 12.3105
22 | 0.076199 | 0.019185 | -0.076077 | -0.019108 | 0.00012164 | 7.7549e-05 | 0.11601 | 0.11601 | 0.11601 | 0.97767 | -0.42951 | 0.97597 | -0.46296 | 31.8698
23 | 0.006794 | 0.0017029 | -0.0067921 | -0.0017023 | 1.8882e-06 | 6.0308e-07 | 0.010276 | 0.010276 | 0.010276 | 0.98384 | -0.30927 | 0.98354 | -0.3151 | 2.823
24 | -0.12524 | -0.031666 | 0.12546 | 0.031804 | 0.00022127 | 0.00013827 | 0.18952 | 0.18951 | 0.18952 | 0.98384 | -0.30927 | 0.98574 | -0.2725 | 13.0162
25 | -0.13553 | -0.034331 | 0.13565 | 0.034405 | 0.0001183 | 7.4174e-05 | 0.20472 | 0.20472 | 0.20472 | 0.98574 | -0.2725 | 0.98668 | -0.25435 | 14.0607
26 | 0.010075 | 0.0025268 | -0.01007 | -0.0025241 | 5.3907e-06 | 2.6583e-06 | 0.015209 | 0.01521 | 0.01521 | 0.98574 | -0.2725 | 0.98516 | -0.28373 | 4.1784
27 | -0.010068 | -0.0025232 | 0.01007 | 0.0025241 | 1.9033e-06 | 9.3883e-07 | 0.01521 | 0.01521 | 0.01521 | 0.98496 | -0.2877 | 0.98516 | -0.28373 | 4.1785
28 | 0.0045374 | 0.001137 | -0.0045369 | -0.001137 | 5.1609e-07 | -4.5043e-08 | 0.0068428 | 0.0068429 | 0.0068429 | 0.98668 | -0.25435 | 0.98656 | -0.25673 | 1.8799
29 | 0.070925 | 0.017816 | -0.070798 | -0.017736 | 0.00012688 | 8.0845e-05 | 0.10815 | 0.10815 | 0.10815 | 0.97597 | -0.46296 | 0.97406 | -0.50052 | 29.7118
30 | -0.0034408 | -0.00085487 | 0.0034413 | 0.00085455 | 5.8087e-07 | -3.2573e-07 | 0.005256 | 0.0052557 | 0.005256 | 0.97362 | -0.50926 | 0.9738 | -0.5057 | 1.4439
31 | 0.0034408 | 0.00085487 | -0.0034402 | -0.00085521 | 6.021e-07 | -3.3729e-07 | 0.005256 | 0.0052562 | 0.0052562 | 0.97362 | -0.50926 | 0.97343 | -0.51296 | 1.444
32 | 0.0010781 | 0.00027009 | -0.0010781 | -0.0002702 | 9.9556e-09 | -1.1532e-07 | 0.0016474 | 0.0016474 | 0.0016474 | 0.9738 | -0.5057 | 0.97379 | -0.50589 | 0.45259
33 | -0.0045195 | -0.0011246 | 0.0045197 | 0.0011246 | 1.8141e-07 | -1.02e-08 | 0.0069031 | 0.0069031 | 0.0069031 | 0.9738 | -0.5057 | 0.97384 | -0.50485 | 1.8965
34 | 0.0033296 | 0.0008275 | -0.0033294 | -0.00082766 | 2.5044e-07 | -1.6048e-07 | 0.0050872 | 0.0050873 | 0.0050873 | 0.97343 | -0.51296 | 0.97335 | -0.51455 | 1.3976
35 | 0.007922 | 0.0019775 | -0.0079211 | -0.0019771 | 9.1246e-07 | 3.771e-07 | 0.012099 | 0.012099 | 0.012099 | 0.97406 | -0.50052 | 0.97394 | -0.50295 | 3.324
36 | 0.0059974 | 0.001495 | -0.0059968 | -0.0014948 | 5.4156e-07 | 1.3243e-07 | 0.00916 | 0.0091601 | 0.0091601 | 0.97394 | -0.50295 | 0.97384 | -0.50485 | 2.5165
37 | -0.0015126 | -0.00037543 | 0.0015127 | 0.00037484 | 1.0625e-07 | -5.9044e-07 | 0.002312 | 0.0023118 | 0.002312 | 0.97297 | -0.52229 | 0.97304 | -0.52081 | 0.63516
38 | 0.00053008 | 0.00012919 | -0.00053008 | -0.00012931 | 2.4038e-09 | -1.1998e-07 | 0.00080939 | 0.00080943 | 0.00080943 | 0.97297 | -0.52229 | 0.97296 | -0.52239 | 0.22237
39 | -0.0015969 | -0.00039594 | 0.0015971 | 0.00039505 | 1.7996e-07 | -8.8592e-07 | 0.0024405 | 0.0024401 | 0.0024405 | 0.97304 | -0.52081 | 0.97316 | -0.51842 | 0.67046
40 | 0.00053008 | 0.00012931 | -0.00053007 | -0.00013 | 1.3746e-08 | -6.858e-07 | 0.00080943 | 0.00080967 | 0.00080967 | 0.97296 | -0.52239 | 0.97293 | -0.52295 | 0.22244
41 | -0.0019817 | -0.00049146 | 0.0019818 | 0.00049126 | 6.8902e-08 | -2.0485e-07 | 0.0030283 | 0.0030282 | 0.0030283 | 0.97316 | -0.51842 | 0.9732 | -0.51769 | 0.83196
42 | 0.00038112 | 9.2665e-05 | -0.00038112 | -9.3006e-05 | 3.5072e-09 | -3.4072e-07 | 0.00058187 | 0.00058199 | 0.00058199 | 0.97293 | -0.52295 | 0.97292 | -0.52314 | 0.15989
43 | 0.00032696 | 8.1357e-05 | -0.00032695 | -8.1659e-05 | 2.2907e-09 | -3.0243e-07 | 0.0004997 | 0.00049981 | 0.00049981 | 0.9732 | -0.51769 | 0.97319 | -0.51783 | 0.13731
44 | -0.0023088 | -0.00057261 | 0.0023089 | 0.00057225 | 1.802e-07 | -3.6447e-07 | 0.0035279 | 0.0035278 | 0.0035279 | 0.9732 | -0.51769 | 0.97328 | -0.51603 | 0.96921
45 | 0.00038112 | 9.3006e-05 | -0.00038111 | -9.3514e-05 | 5.2281e-09 | -5.0763e-07 | 0.00058199 | 0.00058217 | 0.00058217 | 0.97292 | -0.52314 | 0.97291 | -0.52344 | 0.15994
46 | 0.0025224 | 0.00062541 | -0.0025222 | -0.00062569 | 1.7678e-07 | -2.8138e-07 | 0.0038536 | 0.0038538 | 0.0038538 | 0.97335 | -0.51455 | 0.97328 | -0.51603 | 1.0587
47 | 0.00020805 | 5.186e-05 | -0.00020805 | -5.2143e-05 | 8.6525e-10 | -2.8283e-07 | 0.00031802 | 0.00031812 | 0.00031812 | 0.97319 | -0.51783 | 0.97319 | -0.51792 | 0.087395
48 | -0.00013346 | -3.3448e-05 | 0.00013346 | 3.1853e-05 | 2.0034e-09 | -1.5953e-06 | 0.00020412 | 0.00020356 | 0.00020412 | 0.97288 | -0.52399 | 0.9729 | -0.52367 | 0.056078
49 | -0.00038111 | -9.3918e-05 | 0.00038111 | 9.3514e-05 | 4.1702e-09 | -4.0467e-07 | 0.00058232 | 0.00058217 | 0.00058232 | 0.9729 | -0.52367 | 0.97291 | -0.52344 | 0.15998
50 | -0.0022145 | -0.00055501 | 0.0022146 | 0.0005548 | 9.1656e-08 | -2.1147e-07 | 0.0033695 | 0.0033694 | 0.0033695 | 0.97795 | -0.42484 | 0.97799 | -0.42397 | 0.9257
51 | -0.013789 | -0.0034558 | 0.01381 | 0.0034678 | 2.1175e-05 | 1.1945e-05 | 0.020999 | 0.020999 | 0.020999 | 0.97707 | -0.44202 | 0.97871 | -0.40983 | 5.7691
52 | -0.01381 | -0.0034678 | 0.013828 | 0.0034778 | 1.7808e-05 | 1.0042e-05 | 0.020999 | 0.020998 | 0.020999 | 0.97871 | -0.40983 | 0.98009 | -0.38284 | 5.7689
53 | -0.065048 | -0.016315 | 0.065112 | 0.016355 | 6.4768e-05 | 4.0558e-05 | 0.098763 | 0.098762 | 0.098763 | 0.98009 | -0.38284 | 0.98115 | -0.36197 | 13.5663

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34776 | 0.088836

## res_load
| p_mw | q_mvar
0 | 0.012908 | 0.003235
1 | 0.039725 | 0.009956
2 | 0.0081103 | 0.0020326
3 | 0.020118 | 0.0050419
4 | 0.00062312 | 0.00015617
5 | 0.0041034 | 0.0010284
6 | 0.010533 | 0.0026398
7 | 0.0077569 | 0.0019441
8 | 0.015008 | 0.0037613
9 | 0.0084129 | 0.0021085
10 | 0.0067921 | 0.0017023
11 | 0.010068 | 0.0025232
12 | 0.0045369 | 0.001137
13 | 0.041622 | 0.010432
14 | 0.0051523 | 0.0012913
15 | 0.00011055 | 2.7706e-05
16 | 0.062876 | 0.015758
17 | 0.0019238 | 0.00048214
18 | 0.0014772 | 0.00037021
19 | 0.00098251 | 0.00024624
20 | 8.4177e-05 | 2.1097e-05
21 | 0.00038468 | 9.6409e-05
22 | 0.00014895 | 3.733e-05
23 | 0.00080701 | 0.00020225
24 | 0.00021323 | 5.3441e-05
25 | 0.0001189 | 2.9799e-05
26 | 0.00020805 | 5.2143e-05
27 | 0.0010781 | 0.0002702
28 | 0.00013346 | 3.3448e-05
29 | 0.00024765 | 6.2066e-05
30 | 0.0022145 | 0.00055501
31 | 0.0070579 | 0.0017689
32 | 0.013789 | 0.0034558
33 | 0.05122 | 0.012837

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1