## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2293-4_1_2_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_2293-4_1_2_node_130 | 0.4 | n |  | TRUE
2 | bus_LV_2293-4_1_2_node_131 | 0.4 | n |  | TRUE
3 | bus_LV_2293-4_1_2_node_132 | 0.4 | n |  | TRUE
4 | bus_LV_2293-4_1_2_node_133 | 0.4 | n |  | TRUE
5 | bus_LV_2293-4_1_2_node_140 | 0.4 | n |  | TRUE
6 | bus_LV_2293-4_1_2_node_110 | 0.4 | n |  | TRUE
7 | bus_LV_2293-4_1_2_node_120 | 0.4 | n |  | TRUE
8 | bus_LV_2293-4_1_2_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_2293-4_1_2_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_2293-4_1_2_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_2293-4_1_2_node_137 | 0.4 | n |  | TRUE
12 | bus_LV_2293-4_1_2_node_138 | 0.4 | n |  | TRUE
13 | bus_LV_2293-4_1_2_node_139 | 0.4 | n |  | TRUE
14 | bus_LV_2293-4_1_2_node_141 | 0.4 | n |  | TRUE
15 | bus_LV_2293-4_1_2_node_142 | 0.4 | n |  | TRUE
16 | bus_LV_2293-4_1_2_node_151 | 0.4 | n |  | TRUE
17 | bus_LV_2293-4_1_2_node_143 | 0.4 | n |  | TRUE
18 | bus_LV_2293-4_1_2_node_149 | 0.4 | n |  | TRUE
19 | bus_LV_2293-4_1_2_node_144 | 0.4 | n |  | TRUE
20 | bus_LV_2293-4_1_2_node_145 | 0.4 | n |  | TRUE
21 | bus_LV_2293-4_1_2_node_146 | 0.4 | n |  | TRUE
22 | bus_LV_2293-4_1_2_node_147 | 0.4 | n |  | TRUE
23 | bus_LV_2293-4_1_2_node_148 | 0.4 | n |  | TRUE
24 | bus_LV_2293-4_1_2_node_150 | 0.4 | n |  | TRUE
25 | bus_LV_2293-4_1_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2293-4_1_2_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_2293-4_1_2_node_119 | 0.4 | n |  | TRUE
28 | bus_LV_2293-4_1_2_node_152 | 0.4 | n |  | TRUE
29 | bus_LV_2293-4_1_2_node_178 | 0.4 | n |  | TRUE
30 | bus_LV_2293-4_1_2_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_2293-4_1_2_node_179 | 0.4 | n |  | TRUE
32 | bus_LV_2293-4_1_2_node_181 | 0.4 | n |  | TRUE
33 | bus_LV_2293-4_1_2_node_183 | 0.4 | n |  | TRUE
34 | bus_LV_2293-4_1_2_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_2293-4_1_2_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_2293-4_1_2_node_184 | 0.4 | n |  | TRUE
37 | bus_LV_2293-4_1_2_node_180 | 0.4 | n |  | TRUE
38 | bus_LV_2293-4_1_2_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_2293-4_1_2_node_185 | 0.4 | n |  | TRUE
40 | bus_LV_2293-4_1_2_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_2293-4_1_2_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_2293-4_1_2_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_2293-4_1_2_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_2293-4_1_2_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_2293-4_1_2_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_2293-4_1_2_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_2293-4_1_2_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_2293-4_1_2_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_2293-4_1_2_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_2293-4_1_2_node_105 | 0.4 | n |  | TRUE
51 | bus_LV_2293-4_1_2_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_2293-4_1_2_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_2293-4_1_2_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_2293-4_1_2_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_2293-4_1_2_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_2293-4_1_2_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_2293-4_1_2_node_113 | 0.4 | n |  | TRUE
58 | bus_LV_2293-4_1_2_node_107 | 0.4 | n |  | TRUE
59 | bus_LV_2293-4_1_2_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_2293-4_1_2_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_2293-4_1_2_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_2293-4_1_2_node_117 | 0.4 | n |  | TRUE
63 | bus_LV_2293-4_1_2_node_111 | 0.4 | n |  | TRUE
64 | bus_LV_2293-4_1_2_node_115 | 0.4 | n |  | TRUE
65 | bus_LV_2293-4_1_2_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_2293-4_1_2_node_118 | 0.4 | n |  | TRUE
67 | bus_MV_378_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2293-4_1_2_load_129 | 0 | 0.0065011 | 0.0016293 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2293-4_1_2_load_130 | 1 | 0.003056 | 0.0007659 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2293-4_1_2_load_131 | 2 | 0.0016081 | 0.00040303 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2293-4_1_2_load_132 | 3 | 0.00027098 | 6.7914e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2293-4_1_2_load_140 | 5 | 0.0019016 | 0.00047658 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2293-4_1_2_load_110 | 6 | 0.0028533 | 0.0007151 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2293-4_1_2_load_134 | 8 | 0.00025741 | 6.4513e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2293-4_1_2_load_135 | 9 | 0.00089854 | 0.0002252 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2293-4_1_2_load_136 | 10 | 0.00097615 | 0.00024465 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2293-4_1_2_load_137 | 11 | 0.00083092 | 0.00020825 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2293-4_1_2_load_138 | 12 | 0.00093481 | 0.00023428 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2293-4_1_2_load_139 | 13 | 0.00056202 | 0.00014086 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2293-4_1_2_load_141 | 14 | 0.0014399 | 0.00036086 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2293-4_1_2_load_142 | 15 | 0.0025936 | 0.00065002 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2293-4_1_2_load_151 | 16 | 0.00040684 | 0.00010196 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2293-4_1_2_load_143 | 17 | 0.0010614 | 0.00026601 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2293-4_1_2_load_149 | 18 | 0.00041949 | 0.00010513 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2293-4_1_2_load_144 | 19 | 0.00094003 | 0.00023559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2293-4_1_2_load_145 | 20 | 0.00083305 | 0.00020878 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2293-4_1_2_load_146 | 21 | 0.00045188 | 0.00011325 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2293-4_1_2_load_147 | 22 | 0.00024704 | 6.1913e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2293-4_1_2_load_148 | 23 | 0.00025703 | 6.4418e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2293-4_1_2_load_150 | 24 | 0.00046273 | 0.00011597 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2293-4_1_2_load_152 | 28 | 0.0087536 | 0.0021939 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2293-4_1_2_load_178 | 29 | 0.00092629 | 0.00023215 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2293-4_1_2_load_94 | 30 | 0.00030829 | 7.7264e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2293-4_1_2_load_181 | 32 | 0.0025451 | 0.00063786 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2293-4_1_2_load_184 | 36 | 0.00048488 | 0.00012152 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2293-4_1_2_load_180 | 37 | 0.00033491 | 8.3937e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2293-4_1_2_load_185 | 39 | 0.00026552 | 6.6546e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2293-4_1_2_load_58 | 40 | 0.00088053 | 0.00022068 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2293-4_1_2_load_59 | 41 | 0.011361 | 0.0028474 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2293-4_1_2_load_61 | 42 | 0.00092691 | 0.00023231 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2293-4_1_2_load_92 | 44 | 0.0062114 | 0.0015567 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2293-4_1_2_load_95 | 45 | 0.0025492 | 0.0006389 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2293-4_1_2_load_96 | 46 | 0.00095813 | 0.00024013 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2293-4_1_2_load_97 | 47 | 0.0011838 | 0.00029669 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2293-4_1_2_load_98 | 48 | 0.0014342 | 0.00035945 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2293-4_1_2_load_99 | 49 | 0.00079169 | 0.00019842 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2293-4_1_2_load_105 | 50 | 0.0032006 | 0.00080215 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2293-4_1_2_load_100 | 52 | 0.00095001 | 0.0002381 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2293-4_1_2_load_101 | 53 | 0.0011017 | 0.0002761 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2293-4_1_2_load_102 | 54 | 0.00070305 | 0.0001762 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2293-4_1_2_load_104 | 56 | 0.0026416 | 0.00066204 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2293-4_1_2_load_108 | 60 | 0.0012193 | 0.0003056 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2293-4_1_2_load_109 | 61 | 0.001623 | 0.00040676 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2293-4_1_2_load_117 | 62 | 0.0036616 | 0.00091768 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2293-4_1_2_load_111 | 63 | 0.00098107 | 0.00024588 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2293-4_1_2_load_115 | 64 | 0.0014997 | 0.00037585 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2293-4_1_2_load_121 | 65 | 0.00055609 | 0.00013937 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2293-4_1_2_load_118 | 66 | 0.00045221 | 0.00011333 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2293-4_1_2_line_0 |  | 0 | 1 | 0.013451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2293-4_1_2_line_1 |  | 0 | 2 | 0.013171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2293-4_1_2_line_2 |  | 1 | 3 | 0.0054579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2293-4_1_2_line_3 |  | 2 | 4 | 0.014117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2293-4_1_2_line_4 |  | 3 | 5 | 0.0079359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2293-4_1_2_line_5 |  | 4 | 6 | 0.076442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2293-4_1_2_line_6 |  | 4 | 7 | 0.00891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2293-4_1_2_line_7 |  | 5 | 13 | 0.0050418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2293-4_1_2_line_8 |  | 6 | 58 | 0.050939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2293-4_1_2_line_9 |  | 7 | 11 | 0.019888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2293-4_1_2_line_10 |  | 7 | 17 | 0.020484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2293-4_1_2_line_11 |  | 8 | 9 | 0.0095787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2293-4_1_2_line_12 |  | 8 | 10 | 0.0099535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2293-4_1_2_line_13 |  | 9 | 11 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2293-4_1_2_line_14 |  | 10 | 12 | 0.045762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2293-4_1_2_line_15 |  | 13 | 14 | 0.031135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2293-4_1_2_line_16 |  | 14 | 15 | 0.0034355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2293-4_1_2_line_17 |  | 15 | 16 | 0.0081519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2293-4_1_2_line_18 |  | 16 | 23 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2293-4_1_2_line_19 |  | 17 | 18 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2293-4_1_2_line_20 |  | 18 | 24 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2293-4_1_2_line_21 |  | 19 | 20 | 0.0074775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2293-4_1_2_line_22 |  | 19 | 21 | 0.040277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2293-4_1_2_line_23 |  | 20 | 22 | 0.026373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2293-4_1_2_line_24 |  | 21 | 23 | 0.00052309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2293-4_1_2_line_25 |  | 25 | 26 | 0.006543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2293-4_1_2_line_26 |  | 25 | 27 | 0.090719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2293-4_1_2_line_27 |  | 26 | 42 | 0.24776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2293-4_1_2_line_28 |  | 27 | 28 | 0.035636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2293-4_1_2_line_29 |  | 27 | 51 | 0.30793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2293-4_1_2_line_30 |  | 29 | 30 | 0.036076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2293-4_1_2_line_31 |  | 29 | 31 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2293-4_1_2_line_32 |  | 30 | 43 | 0.0060127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2293-4_1_2_line_33 |  | 31 | 32 | 0.017352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2293-4_1_2_line_34 |  | 31 | 33 | 0.078009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2293-4_1_2_line_35 |  | 32 | 39 | 0.058503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2293-4_1_2_line_36 |  | 33 | 36 | 0.065564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2293-4_1_2_line_37 |  | 34 | 35 | 0.030295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2293-4_1_2_line_38 |  | 34 | 36 | 0.3422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2293-4_1_2_line_39 |  | 35 | 42 | 0.015139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2293-4_1_2_line_40 |  | 35 | 41 | 0.0076426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2293-4_1_2_line_41 |  | 37 | 38 | 0.031177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2293-4_1_2_line_42 |  | 38 | 43 | 0.020202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2293-4_1_2_line_43 |  | 40 | 41 | 0.022229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2293-4_1_2_line_44 |  | 43 | 44 | 0.10336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2293-4_1_2_line_45 |  | 45 | 46 | 0.02496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2293-4_1_2_line_46 |  | 45 | 47 | 0.020961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2293-4_1_2_line_47 |  | 46 | 48 | 0.00059537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2293-4_1_2_line_48 |  | 47 | 49 | 0.022606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2293-4_1_2_line_49 |  | 48 | 50 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2293-4_1_2_line_50 |  | 49 | 51 | 0.074321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2293-4_1_2_line_51 |  | 51 | 55 | 0.004987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2293-4_1_2_line_52 |  | 52 | 53 | 0.040985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2293-4_1_2_line_53 |  | 52 | 54 | 0.029683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2293-4_1_2_line_54 |  | 53 | 55 | 0.11896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2293-4_1_2_line_55 |  | 54 | 56 | 0.006117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2293-4_1_2_line_56 |  | 55 | 57 | 0.030026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2293-4_1_2_line_57 |  | 56 | 58 | 0.12532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2293-4_1_2_line_58 |  | 57 | 64 | 0.034758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2293-4_1_2_line_59 |  | 57 | 63 | 0.088281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2293-4_1_2_line_60 |  | 58 | 61 | 0.056758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2293-4_1_2_line_61 |  | 58 | 59 | 0.006639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2293-4_1_2_line_62 |  | 59 | 60 | 0.0089913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2293-4_1_2_line_63 |  | 60 | 62 | 0.016444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2293-4_1_2_line_64 |  | 62 | 66 | 0.011469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2293-4_1_2_line_65 |  | 64 | 65 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2293-4_1_2_trafo_105 | 0.63 MVA 20/0.4 kV | 67 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2582601.8656 | 1190792.1612 | 2582595.7399 | 1190801.1106 | 2582594.1213 | 1190803.1532
1 | 2582601.8656 | 1190792.1612 | 2582606.3687 | 1190785.5825 | 2582609.536 | 1190781.46 | 2582609.536 | 1190781.46
2 | 2582590.5951 | 1190807.3118 | 2582591.9341 | 1190805.9132 | 2582594.1213 | 1190803.1532
3 | 2582621.1634 | 1190773.6775 | 2582614.0452 | 1190777.3224 | 2582609.536 | 1190781.46
4 | 2582590.5951 | 1190807.3118 | 2582587.8143 | 1190810.2164 | 2582584.8865 | 1190812.8152
5 | 2582621.1634 | 1190773.6775 | 2582619.1348 | 1190768.2694 | 2582618.3004 | 1190761.9018 | 2582612.3094 | 1190752.1031 | 2582603.2555 | 1190735.1872 | 2582598.6297 | 1190728.1415 | 2582591.0909 | 1190715.7236 | 2582588.9592 | 1190711.5721 | 2582585.7041 | 1190706.5917
6 | 2582629.1575 | 1190769.6965 | 2582621.1634 | 1190773.6775
7 | 2582580.045 | 1190814.1722 | 2582580.9788 | 1190814.0606 | 2582584.8865 | 1190812.8152 | 2582584.8865 | 1190812.8152
8 | 2582555.5664 | 1190665.6234 | 2582557.3256 | 1190667.5303 | 2582571.9196 | 1190688.5543 | 2582580.0903 | 1190698.002 | 2582585.7041 | 1190706.5917
9 | 2582629.1575 | 1190769.6965 | 2582638.2809 | 1190766.0569 | 2582646.4833 | 1190760.2223
10 | 2582629.1575 | 1190769.6965 | 2582633.9115 | 1190776.3195 | 2582639.5546 | 1190781.8948 | 2582643.2135 | 1190784.3363
11 | 2582669.8898 | 1190743.5726 | 2582662.0844 | 1190749.1248
12 | 2582669.8898 | 1190743.5726 | 2582677.2146 | 1190738.3622 | 2582678.0323 | 1190737.8506
13 | 2582662.0844 | 1190749.1248 | 2582646.4833 | 1190760.2223
14 | 2582716.826 | 1190713.577 | 2582678.0323 | 1190737.8506
15 | 2582580.045 | 1190814.1722 | 2582570.5828 | 1190815.3028 | 2582553.4353 | 1190815.2085 | 2582548.9849 | 1190815.4567
16 | 2582548.9849 | 1190815.4567 | 2582545.5548 | 1190815.6481
17 | 2582537.4401 | 1190816.3018 | 2582538.9209 | 1190816.0181 | 2582545.5548 | 1190815.6481
18 | 2582524.9185 | 1190818.9432 | 2582526.3706 | 1190818.4229 | 2582537.4401 | 1190816.3018
19 | 2582658.8107 | 1190794.064 | 2582653.7866 | 1190791.3917 | 2582643.2135 | 1190784.3363
20 | 2582658.8107 | 1190794.064 | 2582673.3654 | 1190801.8057
21 | 2582492.0475 | 1190842.5184 | 2582486.4682 | 1190847.4969
22 | 2582492.0475 | 1190842.5184 | 2582497.8272 | 1190837.3611 | 2582514.0278 | 1190823.9731 | 2582519.6453 | 1190820.8328 | 2582524.426 | 1190819.1197
23 | 2582465.3563 | 1190863.1803 | 2582472.9735 | 1190858.6232 | 2582482.0025 | 1190851.4817 | 2582486.4682 | 1190847.4969
24 | 2582524.426 | 1190819.1197 | 2582524.9185 | 1190818.9432
25 | 2582210.0155 | 1190212.1508 | 2582216.216 | 1190210.009
26 | 2582124.5757 | 1190242.6338 | 2582131.7589 | 1190240.2109 | 2582142.0724 | 1190236.567 | 2582165.9441 | 1190228.0688 | 2582199.6115 | 1190216.1507 | 2582210.0155 | 1190212.1508
27 | 2582216.216 | 1190210.009 | 2582227.9456 | 1190205.6161 | 2582238.6254 | 1190202.0268 | 2582279.1695 | 1190187.0204 | 2582309.7289 | 1190176.0015 | 2582335.1695 | 1190166.71 | 2582356.1842 | 1190158.8658 | 2582372.2853 | 1190152.5593 | 2582382.855 | 1190147.7922 | 2582398.3826 | 1190138.3636 | 2582430.2385 | 1190116.9138 | 2582441.3113 | 1190109.5885
28 | 2582124.5757 | 1190242.6338 | 2582127.9984 | 1190260.0883 | 2582129.633 | 1190266.1199 | 2582131.77 | 1190271.8387 | 2582134.4121 | 1190276.657
29 | 2582124.5757 | 1190242.6338 | 2582131.7589 | 1190240.2109 | 2582130.9703 | 1190244.2043 | 2582129.06 | 1190247.9676 | 2582128.9979 | 1190250.1356 | 2582129.471 | 1190252.7689 | 2582130.2572 | 1190258.1249 | 2582131.5693 | 1190263.4237 | 2582134.2484 | 1190269.3855 | 2582137.2486 | 1190275.6687 | 2582142.6039 | 1190286.6473 | 2582152.8127 | 1190309.1842 | 2582154.3585 | 1190311.0361 | 2582160.3338 | 1190315.187 | 2582317.2291 | 1190426.5891 | 2582326.0702 | 1190433.0329 | 2582322.9866 | 1190437.0997 | 2582329.3511 | 1190441.4831
30 | 2582881.9033 | 1190143.9981 | 2582881.6997 | 1190145.9145 | 2582881.4237 | 1190150.7178 | 2582881.7883 | 1190155.5304 | 2582882.6974 | 1190161.4087 | 2582883.9869 | 1190167.0191 | 2582887.1091 | 1190178.8274 | 2582887.2454 | 1190179.4041
31 | 2582891.0458 | 1190195.4804 | 2582887.2454 | 1190179.4041
32 | 2582882.5386 | 1190138.0191 | 2582881.9033 | 1190143.9981
33 | 2582891.0458 | 1190195.4804 | 2582895.6011 | 1190196.5679 | 2582898.5935 | 1190200.3613 | 2582902.3579 | 1190207.2347
34 | 2582848.87 | 1190213.678 | 2582855.3345 | 1190213.1146 | 2582859.9353 | 1190214.0797 | 2582863.0704 | 1190219.7959 | 2582867.6711 | 1190223.3845 | 2582875.5525 | 1190224.996 | 2582896.4759 | 1190219.722 | 2582891.0458 | 1190195.4804
35 | 2582934.9167 | 1190255.7153 | 2582921.593 | 1190238.2708 | 2582909.7849 | 1190220.7955 | 2582902.3579 | 1190207.2347
36 | 2582848.87 | 1190213.678 | 2582841.1477 | 1190214.345 | 2582833.9456 | 1190212.9761 | 2582826.7265 | 1190203.0473 | 2582822.454 | 1190183.7383 | 2582819.8848 | 1190165.4878
37 | 2582453.9374 | 1190101.2357 | 2582465.5219 | 1190106.9824 | 2582473.3493 | 1190110.8836 | 2582477.41 | 1190112.2724 | 2582481.6908 | 1190113.2826
38 | 2582481.6908 | 1190113.2826 | 2582819.8848 | 1190165.4878
39 | 2582453.9374 | 1190101.2357 | 2582441.3113 | 1190109.5885
40 | 2582453.9374 | 1190101.2357 | 2582460.1904 | 1190096.8415
41 | 2582886.0119 | 1190118.1208 | 2582857.6089 | 1190105.2648
42 | 2582886.0119 | 1190118.1208 | 2582882.5386 | 1190138.0191
43 | 2582478.3778 | 1190084.0605 | 2582460.1904 | 1190096.8415
44 | 2582882.5386 | 1190138.0191 | 2582942.7242 | 1190153.8436 | 2582981.2434 | 1190168.2596
45 | 2582424.9056 | 1190510.5213 | 2582430.7036 | 1190514.8109 | 2582444.1139 | 1190526.4357
46 | 2582424.9056 | 1190510.5213 | 2582408.0548 | 1190498.0544
47 | 2582444.1139 | 1190526.4357 | 2582444.5638 | 1190526.8256
48 | 2582389.8125 | 1190484.704 | 2582395.6522 | 1190488.8785 | 2582408.0548 | 1190498.0544
49 | 2582455.4492 | 1190537.0909 | 2582446.7949 | 1190528.7597 | 2582444.5638 | 1190526.8256
50 | 2582329.3511 | 1190441.4831 | 2582389.8125 | 1190484.704
51 | 2582325.8466 | 1190445.0399 | 2582329.3511 | 1190441.4831
52 | 2582453.1866 | 1190541.4754 | 2582447.349 | 1190535.6617 | 2582434.3442 | 1190523.7604 | 2582422.3924 | 1190514.5022
53 | 2582473.1483 | 1190563.4204 | 2582459.9591 | 1190548.22 | 2582453.1866 | 1190541.4754
54 | 2582325.8466 | 1190445.0399 | 2582328.7134 | 1190447.5438 | 2582341.1076 | 1190456.5451 | 2582396.351 | 1190495.7356 | 2582417.8599 | 1190510.9912 | 2582422.3924 | 1190514.5022
55 | 2582473.1483 | 1190563.4204 | 2582477.1572 | 1190568.0406
56 | 2582304.5678 | 1190466.2809 | 2582325.8466 | 1190445.0399
57 | 2582555.5664 | 1190665.6234 | 2582552.9302 | 1190663.6745 | 2582508.7432 | 1190608.286 | 2582486.8512 | 1190579.2128 | 2582477.1572 | 1190568.0406
58 | 2582304.5678 | 1190466.2809 | 2582333.077 | 1190486.1644
59 | 2582304.5678 | 1190466.2809 | 2582290.3105 | 1190479.4858 | 2582281.9933 | 1190485.1024 | 2582273.8015 | 1190489.2734 | 2582260.4961 | 1190494.3712 | 2582246.2662 | 1190498.8048 | 2582231.8846 | 1190506.0293 | 2582228.1988 | 1190508.3809
60 | 2582555.5664 | 1190665.6234 | 2582520.5451 | 1190698.8213 | 2582512.8863 | 1190702.7125
61 | 2582560.8919 | 1190661.639 | 2582555.5664 | 1190665.6234
62 | 2582560.8919 | 1190661.639 | 2582565.9474 | 1190669.0745
63 | 2582565.9474 | 1190669.0745 | 2582575.1931 | 1190682.6731
64 | 2582575.1931 | 1190682.6731 | 2582581.6418 | 1190692.1577
65 | 2582344.3908 | 1190494.0551 | 2582333.077 | 1190486.1644

## bus_geodata
| x | y | coords
0 | 2582601.8656 | 1190792.1612
1 | 2582594.1213 | 1190803.1532
2 | 2582609.536 | 1190781.46
3 | 2582590.5951 | 1190807.3118
4 | 2582621.1634 | 1190773.6775
5 | 2582584.8865 | 1190812.8152
6 | 2582585.7041 | 1190706.5917
7 | 2582629.1575 | 1190769.6965
8 | 2582669.8898 | 1190743.5726
9 | 2582662.0844 | 1190749.1248
10 | 2582678.0323 | 1190737.8506
11 | 2582646.4833 | 1190760.2223
12 | 2582716.826 | 1190713.577
13 | 2582580.045 | 1190814.1722
14 | 2582548.9849 | 1190815.4567
15 | 2582545.5548 | 1190815.6481
16 | 2582537.4401 | 1190816.3018
17 | 2582643.2135 | 1190784.3363
18 | 2582658.8107 | 1190794.064
19 | 2582492.0475 | 1190842.5184
20 | 2582486.4682 | 1190847.4969
21 | 2582524.426 | 1190819.1197
22 | 2582465.3563 | 1190863.1803
23 | 2582524.9185 | 1190818.9432
24 | 2582673.3654 | 1190801.8057
25 | 2582210.0155 | 1190212.1508
26 | 2582216.216 | 1190210.009
27 | 2582124.5757 | 1190242.6338
28 | 2582134.4121 | 1190276.657
29 | 2582887.2454 | 1190179.4041
30 | 2582881.9033 | 1190143.9981
31 | 2582891.0458 | 1190195.4804
32 | 2582902.3579 | 1190207.2347
33 | 2582848.87 | 1190213.678
34 | 2582481.6908 | 1190113.2826
35 | 2582453.9374 | 1190101.2357
36 | 2582819.8848 | 1190165.4878
37 | 2582857.6089 | 1190105.2648
38 | 2582886.0119 | 1190118.1208
39 | 2582934.9167 | 1190255.7153
40 | 2582478.3778 | 1190084.0605
41 | 2582460.1904 | 1190096.8415
42 | 2582441.3113 | 1190109.5885
43 | 2582882.5386 | 1190138.0191
44 | 2582981.2434 | 1190168.2596
45 | 2582424.9056 | 1190510.5213
46 | 2582444.1139 | 1190526.4357
47 | 2582408.0548 | 1190498.0544
48 | 2582444.5638 | 1190526.8256
49 | 2582389.8125 | 1190484.704
50 | 2582455.4492 | 1190537.0909
51 | 2582329.3511 | 1190441.4831
52 | 2582453.1866 | 1190541.4754
53 | 2582422.3924 | 1190514.5022
54 | 2582473.1483 | 1190563.4204
55 | 2582325.8466 | 1190445.0399
56 | 2582477.1572 | 1190568.0406
57 | 2582304.5678 | 1190466.2809
58 | 2582555.5664 | 1190665.6234
59 | 2582560.8919 | 1190661.639
60 | 2582565.9474 | 1190669.0745
61 | 2582512.8863 | 1190702.7125
62 | 2582575.1931 | 1190682.6731
63 | 2582228.1988 | 1190508.3809
64 | 2582333.077 | 1190486.1644
65 | 2582344.3908 | 1190494.0551
66 | 2582581.6418 | 1190692.1577
67 | 2582455.4492 | 1190537.0909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97832 | -0.41727 | 0.0065011 | 0.0016293
1 | 0.97815 | -0.42045 | 0.003056 | 0.0007659
2 | 0.97855 | -0.4126 | 0.0016081 | 0.00040303
3 | 0.9781 | -0.42143 | 0.00027098 | 6.7914e-05
4 | 0.97883 | -0.40719 | 0 | 0
5 | 0.97803 | -0.42282 | 0.0019016 | 0.00047658
6 | 0.98074 | -0.36982 | 0.0028533 | 0.0007151
7 | 0.97878 | -0.40814 | 0 | 0
8 | 0.97864 | -0.41099 | 0.00025741 | 6.4513e-05
9 | 0.97866 | -0.41062 | 0.00089854 | 0.0002252
10 | 0.97862 | -0.41134 | 0.00097615 | 0.00024465
11 | 0.97871 | -0.40955 | 0.00083092 | 0.00020825
12 | 0.97858 | -0.41212 | 0.00093481 | 0.00023428
13 | 0.978 | -0.42353 | 0.00056202 | 0.00014086
14 | 0.97779 | -0.42761 | 0.0014399 | 0.00036086
15 | 0.97777 | -0.42796 | 0.0025936 | 0.00065002
16 | 0.97775 | -0.42843 | 0.00040684 | 0.00010196
17 | 0.97874 | -0.40886 | 0.0010614 | 0.00026601
18 | 0.97873 | -0.40916 | 0.00041949 | 0.00010513
19 | 0.97764 | -0.43058 | 0.00094003 | 0.00023559
20 | 0.97763 | -0.43073 | 0.00083305 | 0.00020878
21 | 0.97772 | -0.42909 | 0.00045188 | 0.00011325
22 | 0.97763 | -0.43084 | 0.00024704 | 6.1913e-05
23 | 0.97772 | -0.42907 | 0.00025703 | 6.4418e-05
24 | 0.97872 | -0.40929 | 0.00046273 | 0.00011597
25 | 0.98264 | -0.33194 | 0 | 0
26 | 0.98249 | -0.33481 | 0 | 0
27 | 0.98469 | -0.29226 | 0 | 0
28 | 0.9844 | -0.29787 | 0.0087536 | 0.0021939
29 | 0.97118 | -0.55678 | 0.00092629 | 0.00023215
30 | 0.97095 | -0.56136 | 0.00030829 | 7.7264e-05
31 | 0.9713 | -0.55441 | 0 | 0
32 | 0.97125 | -0.55531 | 0.0025451 | 0.00063786
33 | 0.97207 | -0.53914 | 0 | 0
34 | 0.97626 | -0.45663 | 0 | 0
35 | 0.97657 | -0.45049 | 0 | 0
36 | 0.97272 | -0.52632 | 0.00048488 | 0.00012152
37 | 0.97089 | -0.56241 | 0.00033491 | 8.3937e-05
38 | 0.9709 | -0.56221 | 0 | 0
39 | 0.97124 | -0.5556 | 0.00026552 | 6.6546e-05
40 | 0.97646 | -0.45255 | 0.00088053 | 0.00022068
41 | 0.97648 | -0.4522 | 0.011361 | 0.0028474
42 | 0.9769 | -0.44403 | 0.00092691 | 0.00023231
43 | 0.97091 | -0.56209 | 0 | 0
44 | 0.97031 | -0.57397 | 0.0062114 | 0.0015567
45 | 0.99843 | -0.029592 | 0.0025492 | 0.0006389
46 | 0.99939 | -0.011549 | 0.00095813 | 0.00024013
47 | 0.99765 | -0.044303 | 0.0011838 | 0.00029669
48 | 0.99941 | -0.011114 | 0.0014342 | 0.00035945
49 | 0.99683 | -0.05996 | 0.00079169 | 0.00019842
50 | 1 | 0 | -0.088248 | -0.022262
51 | 0.99413 | -0.1111 | 0 | 0
52 | 0.98773 | -0.23394 | 0.00095001 | 0.0002381
53 | 0.98928 | -0.20394 | 0.0011017 | 0.0002761
54 | 0.98663 | -0.25522 | 0.00070305 | 0.0001762
55 | 0.99392 | -0.11507 | 0 | 0
56 | 0.9864 | -0.25954 | 0.0026416 | 0.00066204
57 | 0.99384 | -0.11668 | 0 | 0
58 | 0.98214 | -0.34237 | 0 | 0
59 | 0.98211 | -0.34301 | 0 | 0
60 | 0.98206 | -0.34388 | 0.0012193 | 0.0003056
61 | 0.98206 | -0.34404 | 0.001623 | 0.00040676
62 | 0.982 | -0.3451 | 0.0036616 | 0.00091768
63 | 0.99376 | -0.11821 | 0.00098107 | 0.00024588
64 | 0.99378 | -0.11794 | 0.0014997 | 0.00037585
65 | 0.99377 | -0.11808 | 0.00055609 | 0.00013937
66 | 0.982 | -0.3452 | 0.00045221 | 0.00011333
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012965 | 0.0032493 | -0.012963 | -0.0032482 | 1.9615e-06 | 1.0865e-06 | 0.01972 | 0.01972 | 0.01972 | 0.97832 | -0.41727 | 0.97815 | -0.42045 | 5.4175
1 | -0.019466 | -0.0048786 | 0.01947 | 0.0048812 | 4.3298e-06 | 2.6056e-06 | 0.029608 | 0.029608 | 0.029608 | 0.97832 | -0.41727 | 0.97855 | -0.4126 | 8.134
2 | 0.009907 | 0.0024823 | -0.0099066 | -0.0024821 | 4.6487e-07 | 2.2901e-07 | 0.015071 | 0.015071 | 0.015071 | 0.97815 | -0.42045 | 0.9781 | -0.42143 | 4.1403
3 | -0.021079 | -0.0052843 | 0.021084 | 0.0052876 | 5.4389e-06 | 3.3035e-06 | 0.032053 | 0.032053 | 0.032053 | 0.97855 | -0.4126 | 0.97883 | -0.40719 | 8.8058
4 | 0.0096356 | 0.0024142 | -0.009635 | -0.0024139 | 6.3946e-07 | 3.0966e-07 | 0.014659 | 0.014659 | 0.014659 | 0.9781 | -0.42143 | 0.97803 | -0.42282 | 4.0271
5 | -0.026926 | -0.00675 | 0.026974 | 0.0067798 | 4.8032e-05 | 2.9777e-05 | 0.040934 | 0.040934 | 0.040934 | 0.97883 | -0.40719 | 0.98074 | -0.36982 | 11.2456
6 | 0.0058423 | 0.0014624 | -0.005842 | -0.0014624 | 2.6352e-07 | 5.6664e-08 | 0.0088808 | 0.0088809 | 0.0088809 | 0.97883 | -0.40719 | 0.97878 | -0.40814 | 2.4398
7 | 0.0077334 | 0.0019373 | -0.0077331 | -0.0019372 | 2.6172e-07 | 1.0423e-07 | 0.011766 | 0.011766 | 0.011766 | 0.97803 | -0.42282 | 0.978 | -0.42353 | 3.2323
8 | -0.029828 | -0.0074949 | 0.029867 | 0.0075193 | 3.9135e-05 | 2.4403e-05 | 0.045263 | 0.045262 | 0.045263 | 0.98074 | -0.36982 | 0.98214 | -0.34237 | 12.4348
9 | 0.0038984 | 0.00097591 | -0.0038981 | -0.00097599 | 2.6193e-07 | -8.2313e-08 | 0.0059262 | 0.0059263 | 0.0059263 | 0.97878 | -0.40814 | 0.97871 | -0.40955 | 1.6281
10 | 0.0019437 | 0.00048647 | -0.0019436 | -0.00048669 | 6.7064e-08 | -2.1452e-07 | 0.0029547 | 0.0029548 | 0.0029548 | 0.97878 | -0.40814 | 0.97874 | -0.40886 | 0.81176
11 | -0.0021684 | -0.00054279 | 0.0021685 | 0.00054269 | 3.9042e-08 | -9.5369e-08 | 0.0032969 | 0.0032968 | 0.0032969 | 0.97864 | -0.41099 | 0.97866 | -0.41062 | 0.90573
12 | 0.001911 | 0.00047827 | -0.001911 | -0.00047838 | 3.151e-08 | -1.0489e-07 | 0.0029055 | 0.0029055 | 0.0029055 | 0.97864 | -0.41099 | 0.97862 | -0.41134 | 0.79822
13 | -0.003067 | -0.00076789 | 0.0030672 | 0.00076775 | 1.5611e-07 | -1.4067e-07 | 0.004663 | 0.0046629 | 0.004663 | 0.97866 | -0.41062 | 0.97871 | -0.40955 | 1.281
14 | 0.00093484 | 0.00023373 | -0.00093481 | -0.00023428 | 3.4669e-08 | -5.5275e-07 | 0.0014213 | 0.0014215 | 0.0014215 | 0.97862 | -0.41134 | 0.97858 | -0.41212 | 0.39051
15 | 0.0071711 | 0.0017963 | -0.0071697 | -0.0017958 | 1.3898e-06 | 4.9889e-07 | 0.01091 | 0.010911 | 0.010911 | 0.978 | -0.42353 | 0.97779 | -0.42761 | 2.9974
16 | 0.0057299 | 0.001435 | -0.0057298 | -0.0014349 | 9.7947e-08 | 1.9596e-08 | 0.0087194 | 0.0087194 | 0.0087194 | 0.97779 | -0.42761 | 0.97777 | -0.42796 | 2.3954
17 | 0.0031362 | 0.00078492 | -0.0031361 | -0.00078498 | 6.9625e-08 | -5.7684e-08 | 0.0047724 | 0.0047724 | 0.0047724 | 0.97777 | -0.42796 | 0.97775 | -0.42843 | 1.3111
18 | 0.0027293 | 0.00068301 | -0.0027292 | -0.00068312 | 8.2885e-08 | -1.0765e-07 | 0.0041532 | 0.0041533 | 0.0041533 | 0.97775 | -0.42843 | 0.97772 | -0.42907 | 1.141
19 | 0.00088223 | 0.00022067 | -0.00088222 | -0.0002209 | 1.2412e-08 | -2.2331e-07 | 0.0013411 | 0.0013412 | 0.0013412 | 0.97874 | -0.40886 | 0.97873 | -0.40916 | 0.36846
20 | 0.00046273 | 0.00011576 | -0.00046273 | -0.00011597 | 3.0594e-09 | -2.0522e-07 | 0.00070344 | 0.00070351 | 0.00070351 | 0.97873 | -0.40916 | 0.97872 | -0.40929 | 0.19327
21 | 0.0010801 | 0.00027028 | -0.0010801 | -0.00027037 | 7.5771e-09 | -8.8912e-08 | 0.0016438 | 0.0016438 | 0.0016438 | 0.97764 | -0.43058 | 0.97763 | -0.43073 | 0.45161
22 | -0.0020201 | -0.00050587 | 0.0020203 | 0.00050546 | 1.4277e-07 | -4.137e-07 | 0.0030746 | 0.0030744 | 0.0030746 | 0.97764 | -0.43058 | 0.97772 | -0.42909 | 0.84467
23 | 0.00024704 | 6.1583e-05 | -0.00024704 | -6.1913e-05 | 1.3978e-09 | -3.298e-07 | 0.00037589 | 0.00037601 | 0.00037601 | 0.97763 | -0.43073 | 0.97763 | -0.43084 | 0.1033
24 | -0.0024721 | -0.00061871 | 0.0024721 | 0.0006187 | 2.7763e-09 | -4.7832e-09 | 0.0037621 | 0.0037621 | 0.0037621 | 0.97772 | -0.42909 | 0.97772 | -0.42907 | 1.0336
25 | 0.024445 | 0.0061905 | -0.024442 | -0.0061884 | 3.3663e-06 | 2.0715e-06 | 0.03704 | 0.03704 | 0.03704 | 0.98264 | -0.33194 | 0.98249 | -0.33481 | 10.1758
26 | -0.024445 | -0.0061905 | 0.024492 | 0.0062192 | 4.6673e-05 | 2.8719e-05 | 0.03704 | 0.03704 | 0.03704 | 0.98264 | -0.33194 | 0.98469 | -0.29226 | 10.1758
27 | 0.024442 | 0.0061884 | -0.024314 | -0.00611 | 0.00012747 | 7.8463e-05 | 0.03704 | 0.037041 | 0.037041 | 0.98249 | -0.33481 | 0.9769 | -0.44403 | 10.1761
28 | 0.008756 | 0.0021949 | -0.0087536 | -0.0021939 | 2.3397e-06 | 1.0442e-06 | 0.013232 | 0.013232 | 0.013232 | 0.98469 | -0.29226 | 0.9844 | -0.29787 | 3.6351
29 | -0.033248 | -0.0084141 | 0.033539 | 0.0085969 | 0.00029181 | 0.00018281 | 0.050271 | 0.05027 | 0.050271 | 0.98469 | -0.29226 | 0.99413 | -0.1111 | 13.8108
30 | 0.0068599 | 0.0017188 | -0.0068584 | -0.0017183 | 1.4945e-06 | 5.1018e-07 | 0.01051 | 0.010511 | 0.010511 | 0.97118 | -0.55678 | 0.97095 | -0.56136 | 2.8875
31 | -0.0077861 | -0.001951 | 0.007787 | 0.0019514 | 8.8161e-07 | 3.5979e-07 | 0.01193 | 0.01193 | 0.01193 | 0.97118 | -0.55678 | 0.9713 | -0.55441 | 3.2774
32 | 0.0065501 | 0.0016411 | -0.0065498 | -0.001641 | 2.272e-07 | 7.1044e-08 | 0.010038 | 0.010038 | 0.010038 | 0.97095 | -0.56136 | 0.97091 | -0.56209 | 2.7577
33 | 0.0028107 | 0.00070355 | -0.0028106 | -0.00070368 | 1.2063e-07 | -1.3754e-07 | 0.0043057 | 0.0043058 | 0.0043058 | 0.9713 | -0.55441 | 0.97125 | -0.55531 | 1.1829
34 | -0.010598 | -0.0026549 | 0.010605 | 0.0026589 | 7.7105e-06 | 3.9684e-06 | 0.016235 | 0.016235 | 0.016235 | 0.9713 | -0.55441 | 0.97207 | -0.53914 | 4.4602
35 | 0.00026553 | 6.5825e-05 | -0.00026552 | -6.6546e-05 | 3.6283e-09 | -7.2169e-07 | 0.00040654 | 0.0004068 | 0.0004068 | 0.97125 | -0.55531 | 0.97124 | -0.5556 | 0.11176
36 | -0.010605 | -0.0026589 | 0.010612 | 0.0026622 | 6.4802e-06 | 3.334e-06 | 0.016235 | 0.016235 | 0.016235 | 0.97207 | -0.53914 | 0.97272 | -0.52632 | 4.4601
37 | -0.011134 | -0.0028031 | 0.011137 | 0.0028049 | 3.2735e-06 | 1.7161e-06 | 0.016975 | 0.016975 | 0.016975 | 0.97626 | -0.45663 | 0.97657 | -0.45049 | 4.6634
38 | 0.011134 | 0.0028031 | -0.011097 | -0.0027837 | 3.6979e-05 | 1.9404e-05 | 0.016975 | 0.016976 | 0.016976 | 0.97626 | -0.45663 | 0.97272 | -0.52632 | 4.6638
39 | -0.02338 | -0.0058732 | 0.023387 | 0.0058776 | 7.2068e-06 | 4.4229e-06 | 0.035629 | 0.035629 | 0.035629 | 0.97657 | -0.45049 | 0.9769 | -0.44403 | 9.7883
40 | 0.012243 | 0.0030684 | -0.012242 | -0.0030678 | 9.9735e-07 | 5.4269e-07 | 0.018655 | 0.018655 | 0.018655 | 0.97657 | -0.45049 | 0.97648 | -0.4522 | 5.1249
41 | -0.00033491 | -8.3937e-05 | 0.00033491 | 8.3553e-05 | 3.0795e-09 | -3.8359e-07 | 0.00051329 | 0.00051316 | 0.00051329 | 0.97089 | -0.56241 | 0.9709 | -0.56221 | 0.14102
42 | -0.00033491 | -8.3553e-05 | 0.00033492 | 8.3305e-05 | 1.9946e-09 | -2.4856e-07 | 0.00051316 | 0.00051307 | 0.00051316 | 0.9709 | -0.56221 | 0.97091 | -0.56209 | 0.14098
43 | -0.00088053 | -0.00022068 | 0.00088054 | 0.00022041 | 1.5008e-08 | -2.6847e-07 | 0.0013418 | 0.0013417 | 0.0013418 | 0.97646 | -0.45255 | 0.97648 | -0.4522 | 0.36863
44 | 0.0062149 | 0.0015577 | -0.0062114 | -0.0015567 | 3.5167e-06 | 9.7323e-07 | 0.009525 | 0.0095255 | 0.0095255 | 0.97091 | -0.56209 | 0.97031 | -0.57397 | 2.6169
45 | -0.084083 | -0.021585 | 0.084157 | 0.021631 | 7.3705e-05 | 4.6518e-05 | 0.1255 | 0.1255 | 0.1255 | 0.99843 | -0.029592 | 0.99939 | -0.011549 | 17.2384
46 | 0.081534 | 0.020946 | -0.081476 | -0.020909 | 5.8207e-05 | 3.6705e-05 | 0.1217 | 0.1217 | 0.1217 | 0.99843 | -0.029592 | 0.99765 | -0.044303 | 16.7166
47 | -0.085115 | -0.021872 | 0.085117 | 0.021873 | 1.7983e-06 | 1.1353e-06 | 0.12692 | 0.12692 | 0.12692 | 0.99939 | -0.011549 | 0.99941 | -0.011114 | 17.4344
48 | 0.080292 | 0.020613 | -0.080231 | -0.020574 | 6.0967e-05 | 3.8429e-05 | 0.11993 | 0.11993 | 0.11993 | 0.99765 | -0.044303 | 0.99683 | -0.05996 | 16.4741
49 | -0.086551 | -0.022232 | 0.086598 | 0.022262 | 4.6737e-05 | 2.9519e-05 | 0.12906 | 0.12906 | 0.12906 | 0.99941 | -0.011114 | 1 | 0 | 17.7277
50 | 0.07944 | 0.020376 | -0.079243 | -0.020252 | 0.00019651 | 0.00012383 | 0.11875 | 0.11875 | 0.11875 | 0.99683 | -0.05996 | 0.99413 | -0.1111 | 16.3119
51 | 0.045704 | 0.011655 | -0.045695 | -0.01165 | 8.7701e-06 | 5.5482e-06 | 0.068481 | 0.068481 | 0.068481 | 0.99413 | -0.1111 | 0.99392 | -0.11507 | 18.8134
52 | -0.041314 | -0.010461 | 0.041374 | 0.010499 | 5.9611e-05 | 3.7626e-05 | 0.062278 | 0.062278 | 0.062278 | 0.98773 | -0.23394 | 0.98928 | -0.20394 | 17.1093
53 | 0.040364 | 0.010223 | -0.040323 | -0.010197 | 4.1211e-05 | 2.5995e-05 | 0.060847 | 0.060847 | 0.060847 | 0.98773 | -0.23394 | 0.98663 | -0.25522 | 16.7162
54 | -0.042475 | -0.010775 | 0.042658 | 0.01089 | 0.00018235 | 0.00011517 | 0.063935 | 0.063934 | 0.063935 | 0.98928 | -0.20394 | 0.99392 | -0.11507 | 17.5645
55 | 0.03962 | 0.010021 | -0.039612 | -0.010016 | 8.1992e-06 | 5.1694e-06 | 0.059787 | 0.059787 | 0.059787 | 0.98663 | -0.25522 | 0.9864 | -0.25954 | 16.4249
56 | 0.0030373 | 0.00075922 | -0.003037 | -0.00075946 | 2.3275e-07 | -2.4016e-07 | 0.0045464 | 0.0045466 | 0.0045466 | 0.99392 | -0.11507 | 0.99384 | -0.11668 | 1.2491
57 | 0.03697 | 0.0093539 | -0.036824 | -0.0092619 | 0.00014633 | 9.2061e-05 | 0.055802 | 0.055802 | 0.055802 | 0.9864 | -0.25954 | 0.98214 | -0.34237 | 15.3303
58 | 0.0020559 | 0.00051467 | -0.0020558 | -0.00051505 | 1.2349e-07 | -3.7134e-07 | 0.0030779 | 0.0030781 | 0.0030781 | 0.99384 | -0.11668 | 0.99378 | -0.11794 | 0.84563
59 | 0.00098114 | 0.00024478 | -0.00098107 | -0.00024588 | 7.1422e-08 | -1.0982e-06 | 0.0014686 | 0.001469 | 0.001469 | 0.99384 | -0.11668 | 0.99376 | -0.11821 | 0.40358
60 | 0.0016231 | 0.00040612 | -0.001623 | -0.00040676 | 1.287e-07 | -6.3584e-07 | 0.0024589 | 0.0024591 | 0.0024591 | 0.98214 | -0.34237 | 0.98206 | -0.34404 | 0.67559
61 | 0.0053338 | 0.0013365 | -0.0053336 | -0.0013364 | 1.6258e-07 | 2.0036e-08 | 0.0080809 | 0.008081 | 0.008081 | 0.98214 | -0.34237 | 0.98211 | -0.34301 | 2.22
62 | 0.0053336 | 0.0013364 | -0.0053334 | -0.0013364 | 2.2018e-07 | 2.7145e-08 | 0.008081 | 0.008081 | 0.008081 | 0.98211 | -0.34301 | 0.98206 | -0.34388 | 2.2201
63 | 0.004114 | 0.0010308 | -0.0041138 | -0.0010309 | 2.3961e-07 | -5.4703e-08 | 0.0062334 | 0.0062335 | 0.0062335 | 0.98206 | -0.34388 | 0.982 | -0.3451 | 1.7125
64 | 0.00045221 | 0.00011319 | -0.00045221 | -0.00011333 | 2.0193e-09 | -1.4381e-07 | 0.00068518 | 0.00068523 | 0.00068523 | 0.982 | -0.3451 | 0.982 | -0.3452 | 0.18825
65 | 0.0005561 | 0.00013919 | -0.00055609 | -0.00013937 | 3.586e-09 | -1.7642e-07 | 0.0008326 | 0.00083266 | 0.00083266 | 0.99378 | -0.11794 | 0.99377 | -0.11808 | 0.22875

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.091449 | 0.023064

## res_load
| p_mw | q_mvar
0 | 0.0065011 | 0.0016293
1 | 0.003056 | 0.0007659
2 | 0.0016081 | 0.00040303
3 | 0.00027098 | 6.7914e-05
4 | 0.0019016 | 0.00047658
5 | 0.0028533 | 0.0007151
6 | 0.00025741 | 6.4513e-05
7 | 0.00089854 | 0.0002252
8 | 0.00097615 | 0.00024465
9 | 0.00083092 | 0.00020825
10 | 0.00093481 | 0.00023428
11 | 0.00056202 | 0.00014086
12 | 0.0014399 | 0.00036086
13 | 0.0025936 | 0.00065002
14 | 0.00040684 | 0.00010196
15 | 0.0010614 | 0.00026601
16 | 0.00041949 | 0.00010513
17 | 0.00094003 | 0.00023559
18 | 0.00083305 | 0.00020878
19 | 0.00045188 | 0.00011325
20 | 0.00024704 | 6.1913e-05
21 | 0.00025703 | 6.4418e-05
22 | 0.00046273 | 0.00011597
23 | 0.0087536 | 0.0021939
24 | 0.00092629 | 0.00023215
25 | 0.00030829 | 7.7264e-05
26 | 0.0025451 | 0.00063786
27 | 0.00048488 | 0.00012152
28 | 0.00033491 | 8.3937e-05
29 | 0.00026552 | 6.6546e-05
30 | 0.00088053 | 0.00022068
31 | 0.011361 | 0.0028474
32 | 0.00092691 | 0.00023231
33 | 0.0062114 | 0.0015567
34 | 0.0025492 | 0.0006389
35 | 0.00095813 | 0.00024013
36 | 0.0011838 | 0.00029669
37 | 0.0014342 | 0.00035945
38 | 0.00079169 | 0.00019842
39 | 0.0032006 | 0.00080215
40 | 0.00095001 | 0.0002381
41 | 0.0011017 | 0.0002761
42 | 0.00070305 | 0.0001762
43 | 0.0026416 | 0.00066204
44 | 0.0012193 | 0.0003056
45 | 0.001623 | 0.00040676
46 | 0.0036616 | 0.00091768
47 | 0.00098107 | 0.00024588
48 | 0.0014997 | 0.00037585
49 | 0.00055609 | 0.00013937
50 | 0.00045221 | 0.00011333

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1