## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2293-4_2_3_node_25 | 0.4 | n |  | TRUE
1 | bus_LV_2293-4_2_3_node_26 | 0.4 | n |  | TRUE
2 | bus_LV_2293-4_2_3_node_27 | 0.4 | n |  | TRUE
3 | bus_LV_2293-4_2_3_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_2293-4_2_3_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_2293-4_2_3_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_2293-4_2_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2293-4_2_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_2293-4_2_3_node_186 | 0.4 | n |  | TRUE
9 | bus_LV_2293-4_2_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_2293-4_2_3_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_2293-4_2_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_2293-4_2_3_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_2293-4_2_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_2293-4_2_3_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_2293-4_2_3_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_2293-4_2_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_2293-4_2_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_2293-4_2_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_2293-4_2_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2293-4_2_3_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_2293-4_2_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_2293-4_2_3_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_2293-4_2_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_2293-4_2_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_2293-4_2_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_2293-4_2_3_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_2293-4_2_3_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_2293-4_2_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_2293-4_2_3_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_2293-4_2_3_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_2293-4_2_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_2293-4_2_3_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_2293-4_2_3_node_187 | 0.4 | n |  | TRUE
34 | bus_LV_2293-4_2_3_node_188 | 0.4 | n |  | TRUE
35 | bus_MV_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2293-4_2_3_load_25 | 0 | 0.0017157 | 0.00042999 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2293-4_2_3_load_26 | 1 | 0.0029958 | 0.00075083 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2293-4_2_3_load_27 | 2 | 0.001847 | 0.0004629 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2293-4_2_3_load_28 | 3 | 0.0074403 | 0.0018647 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2293-4_2_3_load_29 | 4 | 0.0019984 | 0.00050085 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2293-4_2_3_load_36 | 7 | 0.0010355 | 0.00025952 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2293-4_2_3_load_186 | 8 | 0.0003048 | 7.639e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2293-4_2_3_load_33 | 9 | 0.012231 | 0.0030653 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2293-4_2_3_load_34 | 10 | 0.00087286 | 0.00021876 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2293-4_2_3_load_39 | 13 | 0.00035148 | 8.8089e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2293-4_2_3_load_38 | 14 | 6.4132e-05 | 1.6073e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2293-4_2_3_load_40 | 15 | 0.00030158 | 7.5584e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2293-4_2_3_load_41 | 16 | 0.00031224 | 7.8254e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2293-4_2_3_load_42 | 17 | 0.00021545 | 5.3996e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2293-4_2_3_load_44 | 19 | 0.00044852 | 0.00011241 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2293-4_2_3_load_62 | 20 | 0.00023957 | 6.0041e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2293-4_2_3_load_46 | 21 | 0.0001769 | 4.4335e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2293-4_2_3_load_50 | 22 | 0.0011683 | 0.00029281 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2293-4_2_3_load_45 | 23 | 0.0014287 | 0.00035807 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2293-4_2_3_load_47 | 24 | 0.0012922 | 0.00032385 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2293-4_2_3_load_48 | 25 | 0.00041267 | 0.00010343 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2293-4_2_3_load_49 | 27 | 0.00034476 | 8.6405e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2293-4_2_3_load_53 | 28 | 0.0016315 | 0.00040888 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2293-4_2_3_load_54 | 29 | 0.0025446 | 0.00063774 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2293-4_2_3_load_55 | 30 | 0.0025273 | 0.00063341 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2293-4_2_3_load_57 | 31 | 0.00036567 | 9.1646e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2293-4_2_3_line_0 |  | 0 | 1 | 0.022924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2293-4_2_3_line_1 |  | 0 | 2 | 0.0074322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2293-4_2_3_line_2 |  | 1 | 3 | 0.023154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2293-4_2_3_line_3 |  | 2 | 4 | 0.019661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2293-4_2_3_line_4 |  | 4 | 5 | 0.038301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2293-4_2_3_line_5 |  | 5 | 6 | 0.054506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2293-4_2_3_line_6 |  | 6 | 7 | 0.042009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2293-4_2_3_line_7 |  | 6 | 8 | 0.36584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2293-4_2_3_line_8 |  | 7 | 11 | 0.029859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2293-4_2_3_line_9 |  | 8 | 33 | 0.013506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2293-4_2_3_line_10 |  | 9 | 10 | 0.0098054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2293-4_2_3_line_11 |  | 9 | 11 | 0.027179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2293-4_2_3_line_12 |  | 11 | 12 | 0.047539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2293-4_2_3_line_13 |  | 12 | 13 | 0.023253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2293-4_2_3_line_14 |  | 12 | 14 | 0.012882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2293-4_2_3_line_15 |  | 15 | 16 | 0.0030899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2293-4_2_3_line_16 |  | 15 | 17 | 0.0031834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2293-4_2_3_line_17 |  | 16 | 18 | 0.02298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2293-4_2_3_line_18 |  | 17 | 19 | 0.011317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2293-4_2_3_line_19 |  | 18 | 20 | 0.044884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2293-4_2_3_line_20 |  | 18 | 21 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2293-4_2_3_line_21 |  | 19 | 22 | 0.036303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2293-4_2_3_line_22 |  | 20 | 34 | 0.11385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2293-4_2_3_line_23 |  | 21 | 23 | 0.002157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2293-4_2_3_line_24 |  | 22 | 27 | 0.058195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2293-4_2_3_line_25 |  | 23 | 24 | 0.039631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2293-4_2_3_line_26 |  | 24 | 25 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2293-4_2_3_line_27 |  | 25 | 26 | 0.0071523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2293-4_2_3_line_28 |  | 26 | 32 | 0.01742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2293-4_2_3_line_29 |  | 28 | 29 | 0.035439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2293-4_2_3_line_30 |  | 28 | 30 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2293-4_2_3_line_31 |  | 30 | 31 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2293-4_2_3_line_32 |  | 31 | 32 | 0.011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2293-4_2_3_line_33 |  | 33 | 34 | 0.034768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2293-4_2_3_trafo_31 | 0.63 MVA 20/0.4 kV | 35 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2582404.2409 | 1189405.3591 | 2582418.0201 | 1189387.038
1 | 2582422.6681 | 1189381.2569 | 2582421.5352 | 1189382.3642 | 2582418.0201 | 1189387.038
2 | 2582404.2409 | 1189405.3591 | 2582390.3238 | 1189423.8637
3 | 2582436.7287 | 1189367.5144 | 2582422.6681 | 1189381.2569
4 | 2582462.5899 | 1189339.2761 | 2582440.873 | 1189363.4639 | 2582436.7287 | 1189367.5144
5 | 2582462.5899 | 1189339.2761 | 2582506.3765 | 1189371.8979
6 | 2582506.3765 | 1189371.8979 | 2582535.6926 | 1189341.8098
7 | 2582745.9444 | 1189648.3845 | 2582506.3765 | 1189371.8979
8 | 2582555.9319 | 1189319.8808 | 2582548.6436 | 1189328.5178 | 2582535.6926 | 1189341.8098
9 | 2582759.3174 | 1189646.4937 | 2582745.9444 | 1189648.3845
10 | 2582531.188 | 1189292.45 | 2582535.2942 | 1189296.1732 | 2582538.1582 | 1189299.3301
11 | 2582555.9319 | 1189319.8808 | 2582550.0698 | 1189312.961 | 2582546.8014 | 1189308.8573 | 2582538.1582 | 1189299.3301
12 | 2582551.5687 | 1189283.1409 | 2582562.5991 | 1189297.0715 | 2582568.7132 | 1189306.7365 | 2582555.9319 | 1189319.8808
13 | 2582537.8092 | 1189264.3714 | 2582551.5687 | 1189283.1409
14 | 2582551.5687 | 1189283.1409 | 2582542.596 | 1189292.3843
15 | 2582843.5618 | 1189826.6102 | 2582844.9983 | 1189823.8745
16 | 2582843.5618 | 1189826.6102 | 2582842.0819 | 1189829.4287
17 | 2582856.9328 | 1189804.2727 | 2582849.3019 | 1189815.6784 | 2582844.9983 | 1189823.8745
18 | 2582840.8995 | 1189840.6833 | 2582842.0819 | 1189829.4287 | 2582842.0819 | 1189829.4287
19 | 2582856.9328 | 1189804.2727 | 2582852.6725 | 1189799.8159 | 2582849.8122 | 1189794.2768 | 2582844.477 | 1189776.7163 | 2582839.9159 | 1189763.3412
20 | 2582856.9328 | 1189804.2727 | 2582862.8436 | 1189807.2239 | 2582866.4005 | 1189808.6231
21 | 2582840.8995 | 1189840.6833 | 2582840.3155 | 1189846.2426 | 2582838.3202 | 1189857.7433 | 2582834.2956 | 1189868.9274 | 2582830.1078 | 1189874.7276
22 | 2582763.3727 | 1189680.1885 | 2582774.4938 | 1189691.6291 | 2582781.4107 | 1189699.6355 | 2582799.3291 | 1189717.3486 | 2582824.7829 | 1189740.7652 | 2582833.0666 | 1189749.4459 | 2582838.709 | 1189759.8018 | 2582839.9159 | 1189763.3412
23 | 2582868.4077 | 1189809.4128 | 2582866.4005 | 1189808.6231
24 | 2582776.3368 | 1189877.0838 | 2582780.5877 | 1189879.1323 | 2582789.3799 | 1189881.7638 | 2582809.6786 | 1189884.1953 | 2582819.6028 | 1189882.6993 | 2582824.4035 | 1189881.5181 | 2582828.979 | 1189876.2911 | 2582830.1078 | 1189874.7276
25 | 2582868.4077 | 1189809.4128 | 2582874.4859 | 1189811.8039 | 2582890.9817 | 1189817.6151 | 2582905.2476 | 1189822.3433 | 2582905.798 | 1189822.5288
26 | 2582905.798 | 1189822.5288 | 2582917.1172 | 1189826.3427
27 | 2582923.895 | 1189828.6265 | 2582917.1172 | 1189826.3427
28 | 2582923.895 | 1189828.6265 | 2582940.7456 | 1189833.2251
29 | 2582980.0491 | 1189843.0746 | 2582985.2196 | 1189844.3704 | 2583007.1988 | 1189850.4553 | 2583014.4457 | 1189851.3573
30 | 2582980.0491 | 1189843.0746 | 2582966.8704 | 1189839.772
31 | 2582952.0004 | 1189836.0456 | 2582966.8704 | 1189839.772
32 | 2582940.7456 | 1189833.2251 | 2582952.0004 | 1189836.0456
33 | 2582763.3727 | 1189680.1885 | 2582764.6564 | 1189678.4172 | 2582765.1857 | 1189676.8704 | 2582764.6021 | 1189672.8367 | 2582759.3174 | 1189646.4937

## bus_geodata
| x | y | coords
0 | 2582418.0201 | 1189387.038
1 | 2582404.2409 | 1189405.3591
2 | 2582422.6681 | 1189381.2569
3 | 2582390.3238 | 1189423.8637
4 | 2582436.7287 | 1189367.5144
5 | 2582462.5899 | 1189339.2761
6 | 2582506.3765 | 1189371.8979
7 | 2582535.6926 | 1189341.8098
8 | 2582745.9444 | 1189648.3845
9 | 2582538.1582 | 1189299.3301
10 | 2582531.188 | 1189292.45
11 | 2582555.9319 | 1189319.8808
12 | 2582551.5687 | 1189283.1409
13 | 2582537.8092 | 1189264.3714
14 | 2582542.596 | 1189292.3843
15 | 2582843.5618 | 1189826.6102
16 | 2582844.9983 | 1189823.8745
17 | 2582842.0819 | 1189829.4287
18 | 2582856.9328 | 1189804.2727
19 | 2582840.8995 | 1189840.6833
20 | 2582839.9159 | 1189763.3412
21 | 2582866.4005 | 1189808.6231
22 | 2582830.1078 | 1189874.7276
23 | 2582868.4077 | 1189809.4128
24 | 2582905.798 | 1189822.5288
25 | 2582917.1172 | 1189826.3427
26 | 2582923.895 | 1189828.6265
27 | 2582776.3368 | 1189877.0838
28 | 2582980.0491 | 1189843.0746
29 | 2583014.4457 | 1189851.3573
30 | 2582966.8704 | 1189839.772
31 | 2582952.0004 | 1189836.0456
32 | 2582940.7456 | 1189833.2251
33 | 2582759.3174 | 1189646.4937
34 | 2582763.3727 | 1189680.1885
35 | 2582506.3765 | 1189371.8979

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99832 | -0.03231 | 0.0017157 | 0.00042999
1 | 0.9981 | -0.036495 | 0.0029958 | 0.00075083
2 | 0.9984 | -0.03073 | 0.001847 | 0.0004629
3 | 0.99795 | -0.03951 | 0.0074403 | 0.0018647
4 | 0.99865 | -0.025918 | 0.0019984 | 0.00050085
5 | 0.99921 | -0.015214 | 0 | 0
6 | 1 | 0 | -0.046056 | -0.011167
7 | 0.99945 | -0.010667 | 0.0010355 | 0.00025952
8 | 0.99542 | -0.088 | 0.0003048 | 7.639e-05
9 | 0.99876 | -0.023936 | 0.012231 | 0.0030653
10 | 0.99875 | -0.024086 | 0.00087286 | 0.00021876
11 | 0.99908 | -0.017715 | 0 | 0
12 | 0.99906 | -0.018062 | 0 | 0
13 | 0.99905 | -0.018205 | 0.00035148 | 8.8089e-05
14 | 0.99906 | -0.018077 | 6.4132e-05 | 1.6073e-05
15 | 0.99282 | -0.13808 | 0.00030158 | 7.5584e-05
16 | 0.99283 | -0.13795 | 0.00031224 | 7.8254e-05
17 | 0.99282 | -0.13821 | 0.00021545 | 5.3996e-05
18 | 0.99289 | -0.13681 | 0 | 0
19 | 0.9928 | -0.1386 | 0.00044852 | 0.00011241
20 | 0.99343 | -0.12636 | 0.00023957 | 6.0041e-05
21 | 0.99279 | -0.13873 | 0.0001769 | 4.4335e-05
22 | 0.99275 | -0.13957 | 0.0011683 | 0.00029281
23 | 0.99277 | -0.13912 | 0.0014287 | 0.00035807
24 | 0.99245 | -0.14527 | 0.0012922 | 0.00032385
25 | 0.99237 | -0.14685 | 0.00041267 | 0.00010343
26 | 0.99232 | -0.14775 | 0 | 0
27 | 0.99273 | -0.13993 | 0.00034476 | 8.6405e-05
28 | 0.99199 | -0.15421 | 0.0016315 | 0.00040888
29 | 0.99191 | -0.15581 | 0.0025446 | 0.00063774
30 | 0.99204 | -0.1532 | 0.0025273 | 0.00063341
31 | 0.99214 | -0.15138 | 0.00036567 | 9.1646e-05
32 | 0.99221 | -0.14993 | 0 | 0
33 | 0.99525 | -0.09119 | 0 | 0
34 | 0.99482 | -0.099407 | 0 | 0
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010439 | 0.0026169 | -0.010437 | -0.0026159 | 2.0814e-06 | 1.0324e-06 | 0.01556 | 0.01556 | 0.01556 | 0.99832 | -0.03231 | 0.9981 | -0.036495 | 4.2748
1 | -0.012155 | -0.0030469 | 0.012156 | 0.0030474 | 9.1483e-07 | 4.8831e-07 | 0.018117 | 0.018117 | 0.018117 | 0.99832 | -0.03231 | 0.9984 | -0.03073 | 4.9773
2 | 0.0074413 | 0.0018651 | -0.0074403 | -0.0018647 | 1.0686e-06 | 3.8136e-07 | 0.011094 | 0.011094 | 0.011094 | 0.9981 | -0.036495 | 0.99795 | -0.03951 | 3.0478
3 | -0.014003 | -0.0035103 | 0.014006 | 0.0035121 | 3.2113e-06 | 1.7981e-06 | 0.02087 | 0.02087 | 0.02087 | 0.9984 | -0.03073 | 0.99865 | -0.025918 | 5.7335
4 | -0.016004 | -0.004013 | 0.016013 | 0.0040177 | 8.1684e-06 | 4.7264e-06 | 0.023848 | 0.023848 | 0.023848 | 0.99865 | -0.025918 | 0.99921 | -0.015214 | 6.5516
5 | -0.016013 | -0.0040177 | 0.016024 | 0.0040244 | 1.1624e-05 | 6.7249e-06 | 0.023848 | 0.023847 | 0.023848 | 0.99921 | -0.015214 | 1 | 0 | 6.5515
6 | 0.01457 | 0.0036554 | -0.014563 | -0.0036512 | 7.4061e-06 | 4.1891e-06 | 0.021682 | 0.021683 | 0.021683 | 1 | 0 | 0.99945 | -0.010667 | 5.9567
7 | 0.013811 | 0.0034875 | -0.013753 | -0.0034551 | 5.7997e-05 | 3.2341e-05 | 0.02056 | 0.020562 | 0.020562 | 1 | 0 | 0.99542 | -0.088 | 5.6488
8 | 0.013528 | 0.0033916 | -0.013523 | -0.0033891 | 4.5423e-06 | 2.5159e-06 | 0.020141 | 0.020141 | 0.020141 | 0.99945 | -0.010667 | 0.99908 | -0.017715 | 5.5333
9 | 0.013448 | 0.0033787 | -0.013446 | -0.0033776 | 2.0475e-06 | 1.1348e-06 | 0.020106 | 0.020106 | 0.020106 | 0.99542 | -0.088 | 0.99525 | -0.09119 | 5.5237
10 | 0.00087286 | 0.00021863 | -0.00087286 | -0.00021876 | 6.2183e-09 | -1.2434e-07 | 0.0013004 | 0.0013005 | 0.0013005 | 0.99876 | -0.023936 | 0.99875 | -0.024086 | 0.35727
11 | -0.013104 | -0.0032839 | 0.013107 | 0.0032861 | 3.8845e-06 | 2.1303e-06 | 0.019523 | 0.019522 | 0.019523 | 0.99876 | -0.023936 | 0.99908 | -0.017715 | 5.3633
12 | 0.00041562 | 0.00010307 | -0.00041561 | -0.00010369 | 6.8251e-09 | -6.1815e-07 | 0.00061864 | 0.00061885 | 0.00061885 | 0.99908 | -0.017715 | 0.99906 | -0.018062 | 0.17001
13 | 0.00035148 | 8.7786e-05 | -0.00035148 | -8.8089e-05 | 2.3892e-09 | -3.0296e-07 | 0.0005234 | 0.0005235 | 0.0005235 | 0.99906 | -0.018062 | 0.99905 | -0.018205 | 0.14382
14 | 6.4132e-05 | 1.5904e-05 | -6.4132e-05 | -1.6073e-05 | 4.4047e-11 | -1.6866e-07 | 9.546e-05 | 9.5519e-05 | 9.5519e-05 | 0.99906 | -0.018062 | 0.99906 | -0.018077 | 0.026241
15 | -0.0024788 | -0.00061987 | 0.0024788 | 0.00061984 | 1.5988e-08 | -2.9725e-08 | 0.0037146 | 0.0037146 | 0.0037146 | 0.99282 | -0.13808 | 0.99283 | -0.13795 | 1.0205
16 | 0.0021772 | 0.00054429 | -0.0021772 | -0.00054432 | 1.2707e-08 | -3.3034e-08 | 0.0032626 | 0.0032626 | 0.0032626 | 0.99282 | -0.13808 | 0.99282 | -0.13821 | 0.89633
17 | -0.002791 | -0.0006981 | 0.0027912 | 0.0006979 | 1.5075e-07 | -2.0071e-07 | 0.0041826 | 0.0041825 | 0.0041826 | 0.99283 | -0.13795 | 0.99289 | -0.13681 | 1.1491
18 | 0.0019617 | 0.00049033 | -0.0019617 | -0.00049045 | 3.6675e-08 | -1.2286e-07 | 0.0029397 | 0.0029398 | 0.0029398 | 0.99282 | -0.13821 | 0.9928 | -0.1386 | 0.80763
19 | -0.013177 | -0.0033015 | 0.013184 | 0.0033051 | 6.5641e-06 | 3.6202e-06 | 0.019748 | 0.019748 | 0.019748 | 0.99289 | -0.13681 | 0.99343 | -0.12636 | 5.4254
20 | 0.010386 | 0.0026036 | -0.010385 | -0.0026031 | 9.4756e-07 | 4.7158e-07 | 0.015566 | 0.015566 | 0.015566 | 0.99289 | -0.13681 | 0.99279 | -0.13873 | 4.2763
21 | 0.0015132 | 0.00037804 | -0.0015131 | -0.00037847 | 7.0002e-08 | -4.246e-07 | 0.0022675 | 0.0022677 | 0.0022677 | 0.9928 | -0.1386 | 0.99275 | -0.13957 | 0.62299
22 | -0.013424 | -0.0033651 | 0.013441 | 0.0033747 | 1.726e-05 | 9.5703e-06 | 0.020107 | 0.020106 | 0.020107 | 0.99343 | -0.12636 | 0.99482 | -0.099407 | 5.5239
23 | 0.010208 | 0.0025587 | -0.010208 | -0.0025587 | 1.8937e-07 | 9.3303e-08 | 0.015301 | 0.015301 | 0.015301 | 0.99279 | -0.13873 | 0.99277 | -0.13912 | 4.2035
24 | 0.00034477 | 8.5657e-05 | -0.00034476 | -8.6405e-05 | 5.8249e-09 | -7.4871e-07 | 0.0005165 | 0.00051677 | 0.00051677 | 0.99275 | -0.13957 | 0.99273 | -0.13993 | 0.14197
25 | 0.0087795 | 0.0022006 | -0.008777 | -0.0021994 | 2.5736e-06 | 1.1348e-06 | 0.013159 | 0.013159 | 0.013159 | 0.99277 | -0.13912 | 0.99245 | -0.14527 | 3.6152
26 | 0.0074848 | 0.0018756 | -0.0074842 | -0.0018754 | 5.6409e-07 | 2.0668e-07 | 0.011222 | 0.011222 | 0.011222 | 0.99245 | -0.14527 | 0.99237 | -0.14685 | 3.083
27 | 0.0070716 | 0.001772 | -0.0070713 | -0.0017719 | 3.0155e-07 | 1.0059e-07 | 0.010603 | 0.010603 | 0.010603 | 0.99237 | -0.14685 | 0.99232 | -0.14775 | 2.913
28 | 0.0070713 | 0.0017719 | -0.0070705 | -0.0017716 | 7.3447e-07 | 2.4504e-07 | 0.010603 | 0.010603 | 0.010603 | 0.99232 | -0.14775 | 0.99221 | -0.14993 | 2.913
29 | 0.0025448 | 0.0006374 | -0.0025446 | -0.00063774 | 1.9365e-07 | -3.3355e-07 | 0.0038171 | 0.0038173 | 0.0038173 | 0.99199 | -0.15421 | 0.99191 | -0.15581 | 1.0487
30 | -0.0041763 | -0.0010463 | 0.0041765 | 0.0010462 | 1.9993e-07 | -4.7451e-08 | 0.0062644 | 0.0062643 | 0.0062644 | 0.99199 | -0.15421 | 0.99204 | -0.1532 | 1.721
31 | -0.0067038 | -0.0016796 | 0.0067044 | 0.0016798 | 5.8122e-07 | 1.7404e-07 | 0.010055 | 0.010055 | 0.010055 | 0.99204 | -0.1532 | 0.99214 | -0.15138 | 2.7624
32 | -0.00707 | -0.0017715 | 0.0070705 | 0.0017716 | 4.8921e-07 | 1.6325e-07 | 0.010604 | 0.010603 | 0.010604 | 0.99214 | -0.15138 | 0.99221 | -0.14993 | 2.9131
33 | 0.013446 | 0.0033776 | -0.013441 | -0.0033747 | 5.2708e-06 | 2.9217e-06 | 0.020106 | 0.020106 | 0.020106 | 0.99525 | -0.09119 | 0.99482 | -0.099407 | 5.5237

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.046056 | 0.011167

## res_load
| p_mw | q_mvar
0 | 0.0017157 | 0.00042999
1 | 0.0029958 | 0.00075083
2 | 0.001847 | 0.0004629
3 | 0.0074403 | 0.0018647
4 | 0.0019984 | 0.00050085
5 | 0.0010355 | 0.00025952
6 | 0.0003048 | 7.639e-05
7 | 0.012231 | 0.0030653
8 | 0.00087286 | 0.00021876
9 | 0.00035148 | 8.8089e-05
10 | 6.4132e-05 | 1.6073e-05
11 | 0.00030158 | 7.5584e-05
12 | 0.00031224 | 7.8254e-05
13 | 0.00021545 | 5.3996e-05
14 | 0.00044852 | 0.00011241
15 | 0.00023957 | 6.0041e-05
16 | 0.0001769 | 4.4335e-05
17 | 0.0011683 | 0.00029281
18 | 0.0014287 | 0.00035807
19 | 0.0012922 | 0.00032385
20 | 0.00041267 | 0.00010343
21 | 0.00034476 | 8.6405e-05
22 | 0.0016315 | 0.00040888
23 | 0.0025446 | 0.00063774
24 | 0.0025273 | 0.00063341
25 | 0.00036567 | 9.1646e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1