## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2293-6_1_6_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2293-6_1_6_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_2293-6_1_6_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_2293-6_1_6_node_126 | 0.4 | n |  | TRUE
4 | bus_LV_2293-6_1_6_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_2293-6_1_6_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_2293-6_1_6_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_2293-6_1_6_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_2293-6_1_6_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_2293-6_1_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2293-6_1_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2293-6_1_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2293-6_1_6_node_150 | 0.4 | n |  | TRUE
13 | bus_LV_2293-6_1_6_node_147 | 0.4 | n |  | TRUE
14 | bus_LV_2293-6_1_6_node_135 | 0.4 | n |  | TRUE
15 | bus_LV_2293-6_1_6_node_136 | 0.4 | n |  | TRUE
16 | bus_LV_2293-6_1_6_node_125 | 0.4 | n |  | TRUE
17 | bus_LV_2293-6_1_6_node_137 | 0.4 | n |  | TRUE
18 | bus_LV_2293-6_1_6_node_138 | 0.4 | n |  | TRUE
19 | bus_LV_2293-6_1_6_node_139 | 0.4 | n |  | TRUE
20 | bus_LV_2293-6_1_6_node_140 | 0.4 | n |  | TRUE
21 | bus_LV_2293-6_1_6_node_141 | 0.4 | n |  | TRUE
22 | bus_LV_2293-6_1_6_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_2293-6_1_6_node_143 | 0.4 | n |  | TRUE
24 | bus_LV_2293-6_1_6_node_144 | 0.4 | n |  | TRUE
25 | bus_LV_2293-6_1_6_node_146 | 0.4 | n |  | TRUE
26 | bus_LV_2293-6_1_6_node_233 | 0.4 | n |  | TRUE
27 | bus_LV_2293-6_1_6_node_163 | 0.4 | n |  | TRUE
28 | bus_LV_2293-6_1_6_node_151 | 0.4 | n |  | TRUE
29 | bus_LV_2293-6_1_6_node_152 | 0.4 | n |  | TRUE
30 | bus_LV_2293-6_1_6_node_153 | 0.4 | n |  | TRUE
31 | bus_LV_2293-6_1_6_node_127 | 0.4 | n |  | TRUE
32 | bus_LV_2293-6_1_6_node_154 | 0.4 | n |  | TRUE
33 | bus_LV_2293-6_1_6_node_155 | 0.4 | n |  | TRUE
34 | bus_LV_2293-6_1_6_node_119 | 0.4 | n |  | TRUE
35 | bus_LV_2293-6_1_6_node_156 | 0.4 | n |  | TRUE
36 | bus_LV_2293-6_1_6_node_178 | 0.4 | n |  | TRUE
37 | bus_LV_2293-6_1_6_node_157 | 0.4 | n |  | TRUE
38 | bus_LV_2293-6_1_6_node_158 | 0.4 | n |  | TRUE
39 | bus_LV_2293-6_1_6_node_159 | 0.4 | n |  | TRUE
40 | bus_LV_2293-6_1_6_node_160 | 0.4 | n |  | TRUE
41 | bus_LV_2293-6_1_6_node_161 | 0.4 | n |  | TRUE
42 | bus_LV_2293-6_1_6_node_162 | 0.4 | n |  | TRUE
43 | bus_LV_2293-6_1_6_node_170 | 0.4 | n |  | TRUE
44 | bus_LV_2293-6_1_6_node_235 | 0.4 | n |  | TRUE
45 | bus_LV_2293-6_1_6_node_177 | 0.4 | n |  | TRUE
46 | bus_LV_2293-6_1_6_node_164 | 0.4 | n |  | TRUE
47 | bus_LV_2293-6_1_6_node_165 | 0.4 | n |  | TRUE
48 | bus_LV_2293-6_1_6_node_171 | 0.4 | n |  | TRUE
49 | bus_LV_2293-6_1_6_node_166 | 0.4 | n |  | TRUE
50 | bus_LV_2293-6_1_6_node_121 | 0.4 | n |  | TRUE
51 | bus_LV_2293-6_1_6_node_167 | 0.4 | n |  | TRUE
52 | bus_LV_2293-6_1_6_node_168 | 0.4 | n |  | TRUE
53 | bus_LV_2293-6_1_6_node_169 | 0.4 | n |  | TRUE
54 | bus_LV_2293-6_1_6_node_179 | 0.4 | n |  | TRUE
55 | bus_LV_2293-6_1_6_node_173 | 0.4 | n |  | TRUE
56 | bus_LV_2293-6_1_6_node_174 | 0.4 | n |  | TRUE
57 | bus_LV_2293-6_1_6_node_175 | 0.4 | n |  | TRUE
58 | bus_LV_2293-6_1_6_node_176 | 0.4 | n |  | TRUE
59 | bus_LV_2293-6_1_6_node_120 | 0.4 | n |  | TRUE
60 | bus_LV_2293-6_1_6_node_180 | 0.4 | n |  | TRUE
61 | bus_LV_2293-6_1_6_node_181 | 0.4 | n |  | TRUE
62 | bus_LV_2293-6_1_6_node_231 | 0.4 | n |  | TRUE
63 | bus_LV_2293-6_1_6_node_116 | 0.4 | n |  | TRUE
64 | bus_LV_2293-6_1_6_node_117 | 0.4 | n |  | TRUE
65 | bus_LV_2293-6_1_6_node_118 | 0.4 | n |  | TRUE
66 | bus_LV_2293-6_1_6_node_122 | 0.4 | n |  | TRUE
67 | bus_LV_2293-6_1_6_node_123 | 0.4 | n |  | TRUE
68 | bus_LV_2293-6_1_6_node_124 | 0.4 | n |  | TRUE
69 | bus_MV_378_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2293-6_1_6_load_128 | 0 | 0.00055877 | 0.00014004 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2293-6_1_6_load_126 | 3 | 0.00039051 | 9.7872e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2293-6_1_6_load_132 | 4 | 0.0014585 | 0.00036553 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2293-6_1_6_load_133 | 7 | 0.000564 | 0.00014135 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2293-6_1_6_load_6 | 9 | 0.0014053 | 0.0003522 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2293-6_1_6_load_150 | 12 | 0.001229 | 0.00030802 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2293-6_1_6_load_147 | 13 | 0.00028372 | 7.1106e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2293-6_1_6_load_135 | 14 | 0.00048183 | 0.00012076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2293-6_1_6_load_136 | 15 | 0.00049449 | 0.00012393 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2293-6_1_6_load_137 | 17 | 0.000137 | 3.4335e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2293-6_1_6_load_138 | 18 | 0.065939 | 0.016526 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2293-6_1_6_load_139 | 19 | 0.0034892 | 0.00087447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2293-6_1_6_load_141 | 21 | 0.015251 | 0.0038222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2293-6_1_6_load_142 | 22 | 0.006073 | 0.001522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2293-6_1_6_load_144 | 24 | 0.043182 | 0.010822 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2293-6_1_6_load_146 | 25 | 0.0016736 | 0.00041943 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2293-6_1_6_load_233 | 26 | 0.0029764 | 0.00074595 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2293-6_1_6_load_163 | 27 | 0.00056836 | 0.00014244 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2293-6_1_6_load_151 | 28 | 0.0040998 | 0.0010275 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2293-6_1_6_load_153 | 30 | 0.00081903 | 0.00020527 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2293-6_1_6_load_154 | 32 | 0.0005461 | 0.00013686 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2293-6_1_6_load_155 | 33 | 0.009573 | 0.0023992 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2293-6_1_6_load_119 | 34 | 0.015131 | 0.0037921 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2293-6_1_6_load_156 | 35 | 0.0010646 | 0.00026682 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2293-6_1_6_load_178 | 36 | 0.0017649 | 0.00044232 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2293-6_1_6_load_157 | 37 | 0.00062652 | 0.00015702 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2293-6_1_6_load_158 | 38 | 0.00079639 | 0.00019959 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2293-6_1_6_load_160 | 40 | 0.0010439 | 0.00026163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2293-6_1_6_load_235 | 44 | 0.00092789 | 0.00023255 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2293-6_1_6_load_177 | 45 | 0.0024357 | 0.00061045 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2293-6_1_6_load_164 | 46 | 0.00051935 | 0.00013016 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2293-6_1_6_load_166 | 49 | 0.0019999 | 0.00050123 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2293-6_1_6_load_167 | 51 | 0.0024387 | 0.00061119 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2293-6_1_6_load_168 | 52 | 0.00082699 | 0.00020726 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2293-6_1_6_load_179 | 54 | 0.0010591 | 0.00026543 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2293-6_1_6_load_173 | 55 | 0.0019417 | 0.00048663 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2293-6_1_6_load_174 | 56 | 0.0082652 | 0.0020714 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2293-6_1_6_load_176 | 58 | 0.0011903 | 0.00029831 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2293-6_1_6_load_180 | 60 | 0.0024292 | 0.00060882 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2293-6_1_6_load_181 | 61 | 0.0014358 | 0.00035984 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2293-6_1_6_load_231 | 62 | 0.00031228 | 7.8265e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2293-6_1_6_load_116 | 63 | 0.008741 | 0.0021907 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2293-6_1_6_load_117 | 64 | 0.0009486 | 0.00023774 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2293-6_1_6_load_122 | 66 | 0.00067035 | 0.00016801 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2293-6_1_6_line_0 |  | 0 | 1 | 0.033933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2293-6_1_6_line_1 |  | 0 | 2 | 0.032424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2293-6_1_6_line_2 |  | 1 | 3 | 0.0079655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2293-6_1_6_line_3 |  | 2 | 4 | 0.026729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2293-6_1_6_line_4 |  | 3 | 68 | 0.020689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2293-6_1_6_line_5 |  | 4 | 8 | 0.02116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2293-6_1_6_line_6 |  | 5 | 6 | 0.21033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2293-6_1_6_line_7 |  | 5 | 7 | 0.045608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2293-6_1_6_line_8 |  | 6 | 62 | 0.1024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2293-6_1_6_line_9 |  | 6 | 22 | 0.2475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2293-6_1_6_line_10 |  | 7 | 8 | 0.0014568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2293-6_1_6_line_11 |  | 8 | 14 | 0.012027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2293-6_1_6_line_12 |  | 9 | 10 | 0.050473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2293-6_1_6_line_13 |  | 10 | 11 | 0.219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2293-6_1_6_line_14 |  | 11 | 12 | 0.1914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2293-6_1_6_line_15 |  | 11 | 13 | 0.1039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2293-6_1_6_line_16 |  | 12 | 27 | 0.18097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2293-6_1_6_line_17 |  | 13 | 26 | 0.071986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2293-6_1_6_line_18 |  | 13 | 25 | 0.053376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2293-6_1_6_line_19 |  | 15 | 16 | 0.007444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2293-6_1_6_line_20 |  | 15 | 17 | 0.0087968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2293-6_1_6_line_21 |  | 16 | 67 | 0.00638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2293-6_1_6_line_22 |  | 18 | 19 | 0.055881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2293-6_1_6_line_23 |  | 18 | 20 | 0.039807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2293-6_1_6_line_24 |  | 19 | 21 | 0.035441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2293-6_1_6_line_25 |  | 20 | 22 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2293-6_1_6_line_26 |  | 21 | 23 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2293-6_1_6_line_27 |  | 23 | 24 | 0.029209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2293-6_1_6_line_28 |  | 27 | 46 | 0.034361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2293-6_1_6_line_29 |  | 28 | 29 | 0.027366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2293-6_1_6_line_30 |  | 28 | 30 | 0.024969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2293-6_1_6_line_31 |  | 29 | 31 | 0.005561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2293-6_1_6_line_32 |  | 29 | 32 | 0.099682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2293-6_1_6_line_33 |  | 31 | 49 | 0.04053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2293-6_1_6_line_34 |  | 31 | 68 | 0.09418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2293-6_1_6_line_35 |  | 33 | 34 | 0.0038451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2293-6_1_6_line_36 |  | 33 | 35 | 0.019548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2293-6_1_6_line_37 |  | 34 | 64 | 0.041112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2293-6_1_6_line_38 |  | 35 | 36 | 0.002584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2293-6_1_6_line_39 |  | 36 | 51 | 0.0085512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2293-6_1_6_line_40 |  | 37 | 38 | 0.095303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2293-6_1_6_line_41 |  | 37 | 39 | 0.0063587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2293-6_1_6_line_42 |  | 38 | 40 | 0.091684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2293-6_1_6_line_43 |  | 39 | 41 | 0.024855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2293-6_1_6_line_44 |  | 39 | 42 | 0.009756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2293-6_1_6_line_45 |  | 40 | 43 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2293-6_1_6_line_46 |  | 41 | 44 | 0.071513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2293-6_1_6_line_47 |  | 42 | 45 | 0.015636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2293-6_1_6_line_48 |  | 43 | 54 | 0.023989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2293-6_1_6_line_49 |  | 43 | 53 | 0.090371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2293-6_1_6_line_50 |  | 45 | 57 | 0.022725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2293-6_1_6_line_51 |  | 46 | 47 | 0.20513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2293-6_1_6_line_52 |  | 47 | 48 | 0.08137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2293-6_1_6_line_53 |  | 48 | 54 | 0.044321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2293-6_1_6_line_54 |  | 49 | 50 | 0.011074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2293-6_1_6_line_55 |  | 50 | 51 | 0.034115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2293-6_1_6_line_56 |  | 52 | 53 | 0.042106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2293-6_1_6_line_57 |  | 55 | 56 | 0.017106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2293-6_1_6_line_58 |  | 55 | 57 | 0.020607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2293-6_1_6_line_59 |  | 56 | 58 | 0.0057755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2293-6_1_6_line_60 |  | 57 | 59 | 0.006324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2293-6_1_6_line_61 |  | 59 | 61 | 0.023295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2293-6_1_6_line_62 |  | 59 | 65 | 0.072174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2293-6_1_6_line_63 |  | 60 | 61 | 0.023273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2293-6_1_6_line_64 |  | 63 | 64 | 0.0049408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2293-6_1_6_line_65 |  | 63 | 65 | 0.0069086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2293-6_1_6_line_66 |  | 66 | 67 | 0.045184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2293-6_1_6_line_67 |  | 66 | 68 | 0.023509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2293-6_1_6_trafo_131 | 0.63 MVA 20/0.4 kV | 69 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2580718.4005 | 1186512.7932 | 2580710.4385 | 1186506.8159 | 2580707.1243 | 1186503.6027 | 2580703.9114 | 1186501.0229 | 2580699.8216 | 1186498.6015 | 2580697.1002 | 1186497.0206 | 2580694.3683 | 1186494.5392 | 2580692.1158 | 1186491.6673
1 | 2580692.0046 | 1186459.7065 | 2580692.0056 | 1186464.7202 | 2580691.724 | 1186469.657 | 2580691.3624 | 1186473.4268 | 2580690.6598 | 1186477.9315 | 2580690.017 | 1186482.0802 | 2580690.0941 | 1186484.6813 | 2580690.2836 | 1186486.6372 | 2580692.1158 | 1186491.6673
2 | 2580718.4005 | 1186512.7932 | 2580721.6204 | 1186520.079
3 | 2580692.0046 | 1186459.7065 | 2580684.9999 | 1186459.5846 | 2580678.2474 | 1186459.5621 | 2580675.5229 | 1186459.393 | 2580673.4768 | 1186458.9883 | 2580671.353 | 1186458.1615 | 2580669.2345 | 1186456.612 | 2580667.7013 | 1186454.3935 | 2580667.4681 | 1186453.8905
4 | 2580729.9835 | 1186539.0028 | 2580721.6204 | 1186520.079
5 | 2580660.4553 | 1186433.9842 | 2580664.2436 | 1186446.9342 | 2580667.4681 | 1186453.8905
6 | 2580623.9626 | 1186195.0778 | 2580628.5766 | 1186203.734 | 2580632.456 | 1186211.77 | 2580636.3359 | 1186219.9617 | 2580639.9192 | 1186228.4545 | 2580643.4351 | 1186237.3477 | 2580646.5852 | 1186246.3978 | 2580649.1429 | 1186253.9157 | 2580652.0744 | 1186263.8002 | 2580655.7676 | 1186277.9623 | 2580662.1401 | 1186308.9133 | 2580670.8529 | 1186355.7318 | 2580678.7009 | 1186397.0502
7 | 2580678.7009 | 1186397.0502 | 2580666.6039 | 1186403.0481 | 2580663.1043 | 1186406.2166 | 2580660.8364 | 1186410.3595 | 2580659.2351 | 1186415.3784 | 2580658.8375 | 1186419.8264 | 2580658.5979 | 1186425.9193 | 2580659.3053 | 1186429.9524 | 2580660.0557 | 1186432.5832
8 | 2580539.3872 | 1186253.0946 | 2580579.0489 | 1186227.2852 | 2580600.8072 | 1186212.2621 | 2580623.9626 | 1186195.0778
9 | 2580623.9626 | 1186195.0778 | 2580775.6258 | 1185999.4955
10 | 2580660.4553 | 1186433.9842 | 2580660.0557 | 1186432.5832
11 | 2580660.4553 | 1186433.9842 | 2580649.2499 | 1186438.3542
12 | 2581140.5192 | 1187087.5548 | 2581137.6937 | 1187101.1486 | 2581134.2748 | 1187110.4754 | 2581128.4099 | 1187120.7104 | 2581116.6579 | 1187129.802
13 | 2581140.5192 | 1187087.5548 | 2581152.6829 | 1187081.2352 | 2581168.4506 | 1187071.0023 | 2581199.5295 | 1187048.5035 | 2581218.2302 | 1187034.4817 | 2581228.8268 | 1187024.6876 | 2581235.8479 | 1187015.7053 | 2581241.3804 | 1187003.9817 | 2581246.9273 | 1186982.2974 | 2581252.8734 | 1186961.4011 | 2581257.7525 | 1186948.1343 | 2581263.602 | 1186935.2981 | 2581267.5982 | 1186929.9272 | 2581272.7104 | 1186925.2643
14 | 2581272.7104 | 1186925.2643 | 2581259.8304 | 1186922.3143 | 2581233.3826 | 1186918.451 | 2581212.101 | 1186917.4175 | 2581195.0752 | 1186918.3384 | 2581178.3244 | 1186919.3695 | 2581161.6635 | 1186919.9002 | 2581136.565 | 1186920.5466 | 2581116.356 | 1186920.8996 | 2581108.8013 | 1186920.4122 | 2581099.8346 | 1186917.3057 | 2581093.0759 | 1186917.5828 | 2581086.1302 | 1186921.4624 | 2581083.9265 | 1186922.7411
15 | 2581272.7104 | 1186925.2643 | 2581286.5657 | 1186927.8221 | 2581302.767 | 1186934.0078 | 2581329.7682 | 1186946.5075 | 2581346.5556 | 1186952.2802 | 2581367.491 | 1186954.9161 | 2581371.1795 | 1186953.7787
16 | 2580920.7587 | 1187000.073 | 2580924.1907 | 1186998.0962 | 2580961.1503 | 1186984.86 | 2580998.076 | 1186968.1112 | 2581044.3923 | 1186946.1523 | 2581068.8892 | 1186931.4668 | 2581083.9265 | 1186922.7411
17 | 2581371.1795 | 1186953.7787 | 2581338.9341 | 1187018.1385
18 | 2581410.204 | 1186919.5643 | 2581395.663 | 1186939.2755 | 2581380.7837 | 1186950.8169 | 2581371.1795 | 1186953.7787
19 | 2580797.1717 | 1186548.4021 | 2580796.0536 | 1186555.7616
20 | 2580796.0536 | 1186555.7616 | 2580795.6475 | 1186558.4345 | 2580799.7851 | 1186562.9075
21 | 2580798.128 | 1186542.0957 | 2580797.1717 | 1186548.4021
22 | 2580826.8693 | 1186002.8927 | 2580874.9419 | 1186006.08 | 2580882.6278 | 1186006.5893
23 | 2580787.1492 | 1186000.2592 | 2580826.8693 | 1186002.8927
24 | 2580917.9915 | 1186008.9326 | 2580882.6278 | 1186006.5893
25 | 2580787.1492 | 1186000.2592 | 2580775.6258 | 1185999.4955
26 | 2580934.6329 | 1186010.0353 | 2580917.9915 | 1186008.9326
27 | 2580934.6329 | 1186010.0353 | 2580963.7784 | 1186011.9639
28 | 2580920.7587 | 1187000.073 | 2580901.0557 | 1187011.4217 | 2580891.9383 | 1187018.6318
29 | 2580758.3742 | 1186631.1816 | 2580740.1201 | 1186632.3745 | 2580732.4204 | 1186629.609 | 2580732.0239 | 1186628.8103
30 | 2580730.5154 | 1186604.3909 | 2580729.8361 | 1186613.7757 | 2580729.7863 | 1186624.3036 | 2580732.0239 | 1186628.8103
31 | 2580762.3673 | 1186627.3 | 2580758.3742 | 1186631.1816
32 | 2580758.3742 | 1186631.1816 | 2580757.0075 | 1186642.6809 | 2580753.8997 | 1186649.0164 | 2580748.8585 | 1186654.3466 | 2580742.475 | 1186657.5133 | 2580735.6904 | 1186659.3028 | 2580728.0477 | 1186659.9946 | 2580720.2432 | 1186660.2199 | 2580709.2033 | 1186660.3001 | 2580698.1615 | 1186659.7911 | 2580688.3727 | 1186657.4772 | 2580676.4725 | 1186656.6034
33 | 2580762.3673 | 1186627.3 | 2580771.2618 | 1186666.8416
34 | 2580762.3673 | 1186627.3 | 2580758.5592 | 1186612.8603 | 2580754.1793 | 1186598.5669 | 2580748.9671 | 1186584.0651 | 2580744.8288 | 1186573.6841 | 2580736.4874 | 1186554.1786 | 2580729.9835 | 1186539.0028
35 | 2580798.239 | 1186733.6903 | 2580798.8434 | 1186737.4876
36 | 2580798.239 | 1186733.6903 | 2580796.4819 | 1186722.651 | 2580793.2292 | 1186714.9387
37 | 2580798.8434 | 1186737.4876 | 2580801.8707 | 1186756.5069 | 2580800.6635 | 1186765.471 | 2580802.7719 | 1186778.1042
38 | 2580793.2292 | 1186714.9387 | 2580792.2251 | 1186712.5577
39 | 2580788.7274 | 1186704.7573 | 2580790.4465 | 1186708.3407 | 2580792.2251 | 1186712.5577
40 | 2580803.8751 | 1186919.2633 | 2580802.0456 | 1186926.8621 | 2580801.3171 | 1186935.1799 | 2580800.1451 | 1186943.1879 | 2580798.431 | 1186951.0753 | 2580795.8388 | 1186958.721 | 2580791.8594 | 1186966.7825 | 2580787.621 | 1186974.9671 | 2580783.0494 | 1186983.9198 | 2580780.6546 | 1186988.8968 | 2580777.1065 | 1186998.1798 | 2580774.4447 | 1187009.0372
41 | 2580807.4822 | 1186914.0268 | 2580803.8751 | 1186919.2633
42 | 2580754.8511 | 1187098.4085 | 2580755.1316 | 1187096.6133 | 2580756.1175 | 1187082.9585 | 2580760.9654 | 1187062.7323 | 2580766.2765 | 1187044.1943 | 2580772.7616 | 1187015.9031 | 2580774.4447 | 1187009.0372
43 | 2580807.4822 | 1186914.0268 | 2580809.271 | 1186938.8118
44 | 2580806.7337 | 1186904.3019 | 2580807.4822 | 1186914.0268
45 | 2580749.7506 | 1187119.4426 | 2580753.3153 | 1187108.2363 | 2580754.8511 | 1187098.4085
46 | 2580809.271 | 1186938.8118 | 2580815.3592 | 1186948.3082 | 2580818.2781 | 1186959.1823 | 2580821.2922 | 1186971.2011 | 2580824.0592 | 1186977.5511 | 2580830.1833 | 1186986.3471 | 2580843.3648 | 1187000.0008
47 | 2580806.7337 | 1186904.3019 | 2580805.6209 | 1186888.7052
48 | 2580749.7506 | 1187119.4426 | 2580746.271 | 1187133.3945 | 2580744.8529 | 1187142.8994
49 | 2580749.7506 | 1187119.4426 | 2580756.1562 | 1187120.9227 | 2580760.3198 | 1187108.5361 | 2580773.5816 | 1187078.5443 | 2580790.0802 | 1187044.3844
50 | 2580803.8868 | 1186866.0466 | 2580805.0558 | 1186880.7839 | 2580805.6209 | 1186888.7052
51 | 2580760.1855 | 1187173.2704 | 2580766.0406 | 1187167.3151 | 2580774.9449 | 1187158.2261 | 2580782.2311 | 1187148.9088 | 2580786.078 | 1187142.3819 | 2580789.5729 | 1187135.5115 | 2580797.3653 | 1187119.8893 | 2580803.84 | 1187107.3285 | 2580809.9519 | 1187098.1485 | 2580825.6146 | 1187081.5783 | 2580848.8823 | 1187059.8144 | 2580868.0052 | 1187039.7536 | 2580882.9745 | 1187025.7205 | 2580891.9383 | 1187018.6318
52 | 2580739.4632 | 1187186.8667 | 2580740.7329 | 1187190.2532 | 2580742.9106 | 1187193.648 | 2580740.9324 | 1187207.1059 | 2580750.2329 | 1187214.4352 | 2580753.7459 | 1187215.5578 | 2580755.0972 | 1187213.5079 | 2580756.4941 | 1187209.0233 | 2580755.3563 | 1187201.6009 | 2580754.178 | 1187193.4671 | 2580754.503 | 1187185.4174 | 2580756.6376 | 1187177.8732 | 2580760.1855 | 1187173.2704
53 | 2580739.4632 | 1187186.8667 | 2580739.936 | 1187179.717 | 2580741.7061 | 1187167.9718 | 2580742.7165 | 1187157.2184 | 2580744.8529 | 1187142.8994
54 | 2580773.692 | 1186677.6453 | 2580771.2618 | 1186666.8416
55 | 2580773.692 | 1186677.6453 | 2580781.2901 | 1186679.6775 | 2580783.5888 | 1186689.8309 | 2580786.4369 | 1186699.9826 | 2580788.7274 | 1186704.7573
56 | 2580790.0802 | 1187044.3844 | 2580793.5587 | 1187051.3546 | 2580784.5662 | 1187075.7408 | 2580788.0597 | 1187083.2965
57 | 2580824.2822 | 1186866.6702 | 2580825.025 | 1186877.0065 | 2580824.9976 | 1186883.7494
58 | 2580803.8868 | 1186866.0466 | 2580821.7841 | 1186865.6332 | 2580824.2822 | 1186866.6702 | 2580824.2822 | 1186866.6702
59 | 2580824.9742 | 1186889.5248 | 2580824.9976 | 1186883.7494
60 | 2580803.3782 | 1186859.7449 | 2580803.8868 | 1186866.0466
61 | 2580803.3782 | 1186859.7449 | 2580785.4172 | 1186866.4396 | 2580781.2905 | 1186866.4529
62 | 2580797.0354 | 1186787.8833 | 2580799.0937 | 1186803.9295 | 2580800.4896 | 1186820.4225 | 2580803.3782 | 1186859.7449
63 | 2580781.2905 | 1186866.4529 | 2580779.657 | 1186866.4582 | 2580777.2963 | 1186860.7184 | 2580774.0432 | 1186845.6321
64 | 2580801.8872 | 1186782.9651 | 2580802.7719 | 1186778.1042 | 2580802.7719 | 1186778.1042
65 | 2580797.0354 | 1186787.8833 | 2580801.8872 | 1186782.9651
66 | 2580798.128 | 1186542.0957 | 2580789.8208 | 1186540.2549 | 2580769.8922 | 1186538.0735 | 2580756.6476 | 1186538.3052 | 2580753.272 | 1186538.1083
67 | 2580729.9835 | 1186539.0028 | 2580738.0501 | 1186537.2203 | 2580753.272 | 1186538.1083

## bus_geodata
| x | y | coords
0 | 2580692.1158 | 1186491.6673
1 | 2580718.4005 | 1186512.7932
2 | 2580692.0046 | 1186459.7065
3 | 2580721.6204 | 1186520.079
4 | 2580667.4681 | 1186453.8905
5 | 2580678.7009 | 1186397.0502
6 | 2580623.9626 | 1186195.0778
7 | 2580660.0557 | 1186432.5832
8 | 2580660.4553 | 1186433.9842
9 | 2581116.6579 | 1187129.802
10 | 2581140.5192 | 1187087.5548
11 | 2581272.7104 | 1186925.2643
12 | 2581083.9265 | 1186922.7411
13 | 2581371.1795 | 1186953.7787
14 | 2580649.2499 | 1186438.3542
15 | 2580796.0536 | 1186555.7616
16 | 2580797.1717 | 1186548.4021
17 | 2580799.7851 | 1186562.9075
18 | 2580826.8693 | 1186002.8927
19 | 2580882.6278 | 1186006.5893
20 | 2580787.1492 | 1186000.2592
21 | 2580917.9915 | 1186008.9326
22 | 2580775.6258 | 1185999.4955
23 | 2580934.6329 | 1186010.0353
24 | 2580963.7784 | 1186011.9639
25 | 2581410.204 | 1186919.5643
26 | 2581338.9341 | 1187018.1385
27 | 2580920.7587 | 1187000.073
28 | 2580732.0239 | 1186628.8103
29 | 2580758.3742 | 1186631.1816
30 | 2580730.5154 | 1186604.3909
31 | 2580762.3673 | 1186627.3
32 | 2580676.4725 | 1186656.6034
33 | 2580798.239 | 1186733.6903
34 | 2580798.8434 | 1186737.4876
35 | 2580793.2292 | 1186714.9387
36 | 2580792.2251 | 1186712.5577
37 | 2580803.8751 | 1186919.2633
38 | 2580774.4447 | 1187009.0372
39 | 2580807.4822 | 1186914.0268
40 | 2580754.8511 | 1187098.4085
41 | 2580809.271 | 1186938.8118
42 | 2580806.7337 | 1186904.3019
43 | 2580749.7506 | 1187119.4426
44 | 2580843.3648 | 1187000.0008
45 | 2580805.6209 | 1186888.7052
46 | 2580891.9383 | 1187018.6318
47 | 2580760.1855 | 1187173.2704
48 | 2580739.4632 | 1187186.8667
49 | 2580771.2618 | 1186666.8416
50 | 2580773.692 | 1186677.6453
51 | 2580788.7274 | 1186704.7573
52 | 2580788.0597 | 1187083.2965
53 | 2580790.0802 | 1187044.3844
54 | 2580744.8529 | 1187142.8994
55 | 2580824.2822 | 1186866.6702
56 | 2580824.9976 | 1186883.7494
57 | 2580803.8868 | 1186866.0466
58 | 2580824.9742 | 1186889.5248
59 | 2580803.3782 | 1186859.7449
60 | 2580774.0432 | 1186845.6321
61 | 2580781.2905 | 1186866.4529
62 | 2580539.3872 | 1186253.0946
63 | 2580801.8872 | 1186782.9651
64 | 2580802.7719 | 1186778.1042
65 | 2580797.0354 | 1186787.8833
66 | 2580753.272 | 1186538.1083
67 | 2580798.128 | 1186542.0957
68 | 2580729.9835 | 1186539.0028
69 | 2580660.4553 | 1186433.9842

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99677 | -0.061078 | 0.00055877 | 0.00014004
1 | 0.99593 | -0.077072 | 0 | 0
2 | 0.99758 | -0.045714 | 0 | 0
3 | 0.99574 | -0.080831 | 0.00039051 | 9.7872e-05
4 | 0.99825 | -0.033067 | 0.0014585 | 0.00036553
5 | 1 | 0 | -0.22387 | -0.05737
6 | 0.99123 | -0.16555 | 0 | 0
7 | 0.99883 | -0.022182 | 0.000564 | 0.00014135
8 | 0.99879 | -0.022886 | 0 | 0
9 | 0.97075 | -0.56715 | 0.0014053 | 0.0003522
10 | 0.97082 | -0.56584 | 0 | 0
11 | 0.97111 | -0.56013 | 0 | 0
12 | 0.97224 | -0.53766 | 0.001229 | 0.00030802
13 | 0.97063 | -0.56962 | 0.00028372 | 7.1106e-05
14 | 0.99878 | -0.022988 | 0.00048183 | 0.00012076
15 | 0.99516 | -0.091749 | 0.00049449 | 0.00012393
16 | 0.99517 | -0.091666 | 0 | 0
17 | 0.99516 | -0.09177 | 0.000137 | 3.4335e-05
18 | 0.97812 | -0.41881 | 0.065939 | 0.016526
19 | 0.9749 | -0.48206 | 0.0034892 | 0.00087447
20 | 0.98049 | -0.37256 | 0 | 0
21 | 0.97296 | -0.52012 | 0.015251 | 0.0038222
22 | 0.98095 | -0.36364 | 0.006073 | 0.001522
23 | 0.97229 | -0.53338 | 0 | 0
24 | 0.97111 | -0.55667 | 0.043182 | 0.010822
25 | 0.97055 | -0.57127 | 0.0016736 | 0.00041943
26 | 0.97043 | -0.57358 | 0.0029764 | 0.00074595
27 | 0.97352 | -0.51236 | 0.00056836 | 0.00014244
28 | 0.99165 | -0.15903 | 0.0040998 | 0.0010275
29 | 0.99177 | -0.15664 | 0 | 0
30 | 0.99163 | -0.15939 | 0.00081903 | 0.00020527
31 | 0.9918 | -0.15611 | 0 | 0
32 | 0.99172 | -0.15761 | 0.0005461 | 0.00013686
33 | 0.98417 | -0.30347 | 0.009573 | 0.0023992
34 | 0.98397 | -0.30738 | 0.015131 | 0.0037921
35 | 0.98536 | -0.28025 | 0.0010646 | 0.00026682
36 | 0.98552 | -0.27714 | 0.0017649 | 0.00044232
37 | 0.97897 | -0.40501 | 0.00062652 | 0.00015702
38 | 0.97787 | -0.42658 | 0.00079639 | 0.00019959
39 | 0.97905 | -0.40349 | 0 | 0
40 | 0.97688 | -0.44603 | 0.0010439 | 0.00026163
41 | 0.97903 | -0.40392 | 0 | 0
42 | 0.97918 | -0.40101 | 0 | 0
43 | 0.97667 | -0.45023 | 0 | 0
44 | 0.97897 | -0.40512 | 0.00092789 | 0.00023255
45 | 0.97938 | -0.39704 | 0.0024357 | 0.00061045
46 | 0.97378 | -0.5072 | 0.00051935 | 0.00013016
47 | 0.97544 | -0.4745 | 0 | 0
48 | 0.97609 | -0.46156 | 0 | 0
49 | 0.98905 | -0.20894 | 0.0019999 | 0.00050123
50 | 0.98832 | -0.22303 | 0 | 0
51 | 0.98607 | -0.26657 | 0.0024387 | 0.00061119
52 | 0.97657 | -0.45224 | 0.00082699 | 0.00020726
53 | 0.9766 | -0.4516 | 0 | 0
54 | 0.97645 | -0.45451 | 0.0010591 | 0.00026543
55 | 0.97951 | -0.39452 | 0.0019417 | 0.00048663
56 | 0.97936 | -0.39746 | 0.0082652 | 0.0020714
57 | 0.97972 | -0.39026 | 0 | 0
58 | 0.97935 | -0.39759 | 0.0011903 | 0.00029831
59 | 0.97989 | -0.38706 | 0 | 0
60 | 0.97975 | -0.38972 | 0.0024292 | 0.00060882
61 | 0.9798 | -0.3887 | 0.0014358 | 0.00035984
62 | 0.9912 | -0.16612 | 0.00031228 | 7.8265e-05
63 | 0.98221 | -0.34167 | 0.008741 | 0.0021907
64 | 0.98239 | -0.33806 | 0.0009486 | 0.00023774
65 | 0.98201 | -0.34563 | 0 | 0
66 | 0.9952 | -0.091092 | 0.00067035 | 0.00016801
67 | 0.99517 | -0.091595 | 0 | 0
68 | 0.99523 | -0.090552 | 0 | 0
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.081563 | 0.02084 | -0.0815 | -0.020801 | 6.3031e-05 | 3.9014e-05 | 0.1219 | 0.1219 | 0.1219 | 0.99677 | -0.061078 | 0.99593 | -0.077072 | 11.1632
1 | -0.082122 | -0.02098 | 0.082183 | 0.021018 | 6.1054e-05 | 3.7806e-05 | 0.12274 | 0.12274 | 0.12274 | 0.99677 | -0.061078 | 0.99758 | -0.045714 | 11.2396
2 | 0.0815 | 0.020801 | -0.081486 | -0.020792 | 1.4796e-05 | 9.1587e-06 | 0.1219 | 0.1219 | 0.1219 | 0.99593 | -0.077072 | 0.99574 | -0.080831 | 11.1632
3 | -0.082183 | -0.021018 | 0.082234 | 0.021049 | 5.033e-05 | 3.1164e-05 | 0.12274 | 0.12274 | 0.12274 | 0.99758 | -0.045714 | 0.99825 | -0.033067 | 11.2395
4 | 0.081095 | 0.020694 | -0.081057 | -0.02067 | 3.8064e-05 | 2.3554e-05 | 0.12132 | 0.12132 | 0.12132 | 0.99574 | -0.080831 | 0.99523 | -0.090552 | 11.1098
5 | -0.083692 | -0.021414 | 0.083733 | 0.02144 | 4.1268e-05 | 2.5581e-05 | 0.12491 | 0.12491 | 0.12491 | 0.99825 | -0.033067 | 0.99879 | -0.022886 | 11.4386
6 | 0.13735 | 0.035609 | -0.13625 | -0.034912 | 0.0011027 | 0.00069755 | 0.2048 | 0.2048 | 0.2048 | 1 | 0 | 0.99123 | -0.16555 | 18.7549
7 | 0.084873 | 0.02176 | -0.084782 | -0.021704 | 9.1181e-05 | 5.6563e-05 | 0.12647 | 0.12647 | 0.12647 | 1 | 0 | 0.99883 | -0.022182 | 11.5812
8 | 0.00031229 | 7.6951e-05 | -0.00031228 | -7.8265e-05 | 8.4311e-09 | -1.3145e-06 | 0.00046834 | 0.0004688 | 0.0004688 | 0.99123 | -0.16555 | 0.9912 | -0.16612 | 0.12879
9 | 0.13593 | 0.034835 | -0.13464 | -0.034018 | 0.0012917 | 0.00081724 | 0.20434 | 0.20434 | 0.20434 | 0.99123 | -0.16555 | 0.98095 | -0.36364 | 18.7124
10 | 0.084218 | 0.021562 | -0.084215 | -0.021561 | 2.874e-06 | 1.7822e-06 | 0.12563 | 0.12563 | 0.12563 | 0.99883 | -0.022182 | 0.99879 | -0.022886 | 11.5043
11 | 0.00048184 | 0.0001206 | -0.00048183 | -0.00012076 | 2.324e-09 | -1.5592e-07 | 0.00071779 | 0.00071785 | 0.00071785 | 0.99879 | -0.022886 | 0.99878 | -0.022988 | 0.19721
12 | -0.0014053 | -0.0003522 | 0.0014054 | 0.00035163 | 8.7815e-08 | -5.6784e-07 | 0.0021541 | 0.0021539 | 0.0021541 | 0.97075 | -0.56715 | 0.97082 | -0.56584 | 0.59178
13 | -0.0014054 | -0.00035163 | 0.0014058 | 0.00034916 | 3.8082e-07 | -2.465e-06 | 0.0021539 | 0.0021529 | 0.0021539 | 0.97082 | -0.56584 | 0.97111 | -0.56013 | 0.59172
14 | -0.0063423 | -0.0015847 | 0.0063491 | 0.0015867 | 6.7756e-06 | 1.9656e-06 | 0.0097165 | 0.0097156 | 0.0097165 | 0.97111 | -0.56013 | 0.97224 | -0.53766 | 2.6694
15 | 0.0049366 | 0.0012355 | -0.0049343 | -0.0012354 | 2.2291e-06 | 1.418e-07 | 0.0075636 | 0.0075641 | 0.0075641 | 0.97111 | -0.56013 | 0.97063 | -0.56962 | 2.078
16 | -0.0075781 | -0.0018947 | 0.0075872 | 0.0018983 | 9.1258e-06 | 3.5934e-06 | 0.011597 | 0.011596 | 0.011597 | 0.97224 | -0.53766 | 0.97352 | -0.51236 | 3.1859
17 | 0.0029769 | 0.00074542 | -0.0029764 | -0.00074595 | 5.6222e-07 | -5.2974e-07 | 0.0045635 | 0.0045638 | 0.0045638 | 0.97063 | -0.56962 | 0.97043 | -0.57358 | 1.2538
18 | 0.0016737 | 0.00041886 | -0.0016736 | -0.00041943 | 1.3176e-07 | -5.7534e-07 | 0.0025656 | 0.0025658 | 0.0025658 | 0.97063 | -0.56962 | 0.97055 | -0.57127 | 0.7049
19 | -0.00063149 | -0.00015815 | 0.0006315 | 0.00015806 | 2.4885e-09 | -9.5125e-08 | 0.0009442 | 0.00094416 | 0.0009442 | 0.99516 | -0.091749 | 0.99517 | -0.091666 | 0.25939
20 | 0.000137 | 3.4221e-05 | -0.000137 | -3.4335e-05 | 1.384e-10 | -1.1421e-07 | 0.00020481 | 0.00020485 | 0.00020485 | 0.99516 | -0.091749 | 0.99516 | -0.09177 | 0.056277
21 | -0.0006315 | -0.00015806 | 0.0006315 | 0.00015798 | 2.1327e-09 | -8.153e-08 | 0.00094416 | 0.00094413 | 0.00094416 | 0.99517 | -0.091666 | 0.99517 | -0.091595 | 0.25939
22 | 0.062292 | 0.015754 | -0.062103 | -0.015634 | 0.00018839 | 0.00011987 | 0.094815 | 0.094816 | 0.094816 | 0.97812 | -0.41881 | 0.9749 | -0.48206 | 26.0483
23 | -0.12823 | -0.03228 | 0.12851 | 0.032461 | 0.00028418 | 0.00018088 | 0.19513 | 0.19513 | 0.19513 | 0.97812 | -0.41881 | 0.98049 | -0.37256 | 26.8032
24 | 0.058614 | 0.01476 | -0.058508 | -0.014692 | 0.00010644 | 6.7678e-05 | 0.08949 | 0.08949 | 0.08949 | 0.9749 | -0.48206 | 0.97296 | -0.52012 | 24.5852
25 | -0.12851 | -0.032461 | 0.12857 | 0.032496 | 5.4964e-05 | 3.474e-05 | 0.19513 | 0.19513 | 0.19513 | 0.98049 | -0.37256 | 0.98095 | -0.36364 | 17.8688
26 | 0.043257 | 0.01087 | -0.043229 | -0.010853 | 2.7381e-05 | 1.7317e-05 | 0.066166 | 0.066166 | 0.066166 | 0.97296 | -0.52012 | 0.97229 | -0.53338 | 18.1775
27 | 0.043229 | 0.010853 | -0.043182 | -0.010822 | 4.7954e-05 | 3.0329e-05 | 0.066166 | 0.066166 | 0.066166 | 0.97229 | -0.53338 | 0.97111 | -0.55667 | 18.1775
28 | -0.0081556 | -0.0020407 | 0.0081576 | 0.0020416 | 2.0019e-06 | 8.5389e-07 | 0.012465 | 0.012464 | 0.012465 | 0.97352 | -0.51236 | 0.97378 | -0.5072 | 3.4243
29 | -0.0049188 | -0.0012325 | 0.0049194 | 0.0012325 | 5.5904e-07 | 4.6937e-09 | 0.0073808 | 0.0073807 | 0.0073808 | 0.99165 | -0.15903 | 0.99177 | -0.15664 | 2.0277
30 | 0.00081904 | 0.00020495 | -0.00081903 | -0.00020527 | 1.4142e-08 | -3.1307e-07 | 0.0012289 | 0.001229 | 0.001229 | 0.99165 | -0.15903 | 0.99163 | -0.15939 | 0.33764
31 | -0.0054655 | -0.0013681 | 0.0054656 | 0.0013681 | 1.4021e-07 | 1.797e-08 | 0.0081996 | 0.0081996 | 0.0081996 | 0.99177 | -0.15664 | 0.9918 | -0.15611 | 2.2526
32 | 0.00054612 | 0.00013559 | -0.0005461 | -0.00013686 | 2.5083e-08 | -1.2702e-06 | 0.00081893 | 0.00081939 | 0.00081939 | 0.99177 | -0.15664 | 0.99172 | -0.15761 | 0.22511
33 | 0.074038 | 0.018818 | -0.07385 | -0.018699 | 0.00018785 | 0.0001197 | 0.11117 | 0.11117 | 0.11117 | 0.9918 | -0.15611 | 0.98905 | -0.20894 | 30.5425
34 | -0.079504 | -0.020186 | 0.079755 | 0.020345 | 0.00025164 | 0.00015861 | 0.11937 | 0.11937 | 0.11937 | 0.9918 | -0.15611 | 0.99523 | -0.090552 | 16.3975
35 | 0.056692 | 0.014276 | -0.056681 | -0.014269 | 1.06e-05 | 6.7351e-06 | 0.085739 | 0.08574 | 0.08574 | 0.98417 | -0.30347 | 0.98397 | -0.30738 | 23.5548
36 | -0.066265 | -0.016675 | 0.066339 | 0.016722 | 7.362e-05 | 4.6868e-05 | 0.10021 | 0.10021 | 0.10021 | 0.98417 | -0.30347 | 0.98536 | -0.28025 | 27.5312
37 | 0.04155 | 0.010477 | -0.04149 | -0.010439 | 6.0914e-05 | 3.8463e-05 | 0.062858 | 0.062858 | 0.062858 | 0.98397 | -0.30738 | 0.98239 | -0.33806 | 17.2687
38 | -0.067403 | -0.016989 | 0.067413 | 0.016995 | 1.0046e-05 | 6.3967e-06 | 0.10182 | 0.10182 | 0.10182 | 0.98536 | -0.28025 | 0.98552 | -0.27714 | 27.9728
39 | -0.069178 | -0.017438 | 0.069213 | 0.01746 | 3.5008e-05 | 2.2296e-05 | 0.10449 | 0.10449 | 0.10449 | 0.98552 | -0.27714 | 0.98607 | -0.26657 | 28.7049
40 | 0.012453 | 0.0031287 | -0.01244 | -0.0031217 | 1.2808e-05 | 7.0004e-06 | 0.018931 | 0.018931 | 0.018931 | 0.97897 | -0.40501 | 0.97787 | -0.42658 | 5.2009
41 | -0.013079 | -0.0032857 | 0.01308 | 0.0032862 | 9.4269e-07 | 5.2337e-07 | 0.019883 | 0.019883 | 0.019883 | 0.97897 | -0.40501 | 0.97905 | -0.40349 | 5.4624
42 | 0.011644 | 0.0029221 | -0.011633 | -0.0029163 | 1.0795e-05 | 5.76e-06 | 0.017719 | 0.01772 | 0.01772 | 0.97787 | -0.42658 | 0.97688 | -0.44603 | 4.8681
43 | 0.00092797 | 0.00023139 | -0.00092795 | -0.00023169 | 1.8531e-08 | -3.0069e-07 | 0.00141 | 0.0014101 | 0.0014101 | 0.97905 | -0.40349 | 0.97903 | -0.40392 | 0.38738
44 | -0.014008 | -0.0035176 | 0.01401 | 0.0035185 | 1.6587e-06 | 9.389e-07 | 0.021293 | 0.021293 | 0.021293 | 0.97905 | -0.40349 | 0.97918 | -0.40101 | 5.8498
45 | 0.010589 | 0.0026547 | -0.010587 | -0.0026536 | 2.1178e-06 | 1.0837e-06 | 0.01613 | 0.01613 | 0.01613 | 0.97688 | -0.44603 | 0.97667 | -0.45023 | 4.4313
46 | 0.00092795 | 0.00023169 | -0.00092789 | -0.00023255 | 5.3333e-08 | -8.6507e-07 | 0.0014101 | 0.0014104 | 0.0014104 | 0.97903 | -0.40392 | 0.97897 | -0.40512 | 0.38747
47 | -0.01401 | -0.0035185 | 0.014013 | 0.0035201 | 2.6585e-06 | 1.5047e-06 | 0.021293 | 0.021293 | 0.021293 | 0.97918 | -0.40101 | 0.97938 | -0.39704 | 5.8497
48 | 0.0097598 | 0.002448 | -0.0097578 | -0.002447 | 1.9893e-06 | 9.73e-07 | 0.01487 | 0.01487 | 0.01487 | 0.97667 | -0.45023 | 0.97645 | -0.45451 | 4.0853
49 | 0.00082707 | 0.00020566 | -0.00082701 | -0.00020675 | 5.3777e-08 | -1.0964e-06 | 0.0012595 | 0.0012599 | 0.0012599 | 0.97667 | -0.45023 | 0.9766 | -0.4516 | 0.34613
50 | -0.016448 | -0.0041305 | 0.016454 | 0.0041336 | 5.3235e-06 | 3.121e-06 | 0.024994 | 0.024994 | 0.024994 | 0.97938 | -0.39704 | 0.97972 | -0.39026 | 6.8664
51 | -0.0086769 | -0.0021717 | 0.0086904 | 0.0021778 | 1.352e-05 | 6.0967e-06 | 0.013258 | 0.013257 | 0.013258 | 0.97378 | -0.5072 | 0.97544 | -0.4745 | 3.6423
52 | -0.0086904 | -0.0021778 | 0.0086958 | 0.0021802 | 5.3627e-06 | 2.4157e-06 | 0.013257 | 0.013257 | 0.013257 | 0.97544 | -0.4745 | 0.97609 | -0.46156 | 3.6421
53 | -0.0086958 | -0.0021802 | 0.0086987 | 0.0021816 | 2.9209e-06 | 1.3151e-06 | 0.013257 | 0.013257 | 0.013257 | 0.97609 | -0.46156 | 0.97645 | -0.45451 | 3.642
54 | 0.07185 | 0.018197 | -0.071801 | -0.018167 | 4.8585e-05 | 3.0952e-05 | 0.10817 | 0.10817 | 0.10817 | 0.98905 | -0.20894 | 0.98832 | -0.22303 | 29.7159
55 | 0.071801 | 0.018167 | -0.071652 | -0.018071 | 0.00014968 | 9.5357e-05 | 0.10817 | 0.10817 | 0.10817 | 0.98832 | -0.22303 | 0.98607 | -0.26657 | 29.7159
56 | -0.00082699 | -0.00020726 | 0.00082701 | 0.00020675 | 2.5068e-08 | -5.1079e-07 | 0.0012601 | 0.0012599 | 0.0012601 | 0.97657 | -0.45224 | 0.9766 | -0.4516 | 0.34618
57 | 0.0094568 | 0.0023703 | -0.0094554 | -0.0023697 | 1.3239e-06 | 6.3204e-07 | 0.014366 | 0.014366 | 0.014366 | 0.97951 | -0.39452 | 0.97936 | -0.39746 | 3.9468
58 | -0.011398 | -0.0028569 | 0.011401 | 0.0028582 | 2.3171e-06 | 1.2235e-06 | 0.017316 | 0.017316 | 0.017316 | 0.97951 | -0.39452 | 0.97972 | -0.39026 | 4.7571
59 | 0.0011903 | 0.00029824 | -0.0011903 | -0.00029831 | 7.0834e-09 | -6.814e-08 | 0.0018085 | 0.0018085 | 0.0018085 | 0.97936 | -0.39746 | 0.97935 | -0.39759 | 0.49684
60 | -0.027854 | -0.0069918 | 0.027859 | 0.0069944 | 4.2452e-06 | 2.6373e-06 | 0.04231 | 0.042309 | 0.04231 | 0.97972 | -0.39026 | 0.97989 | -0.38706 | 11.6235
61 | 0.0038654 | 0.00096834 | -0.0038651 | -0.00096844 | 3.0098e-07 | -1.0079e-07 | 0.0058697 | 0.0058698 | 0.0058698 | 0.97989 | -0.38706 | 0.9798 | -0.3887 | 1.6126
62 | -0.031724 | -0.0079628 | 0.031787 | 0.0080021 | 6.2824e-05 | 3.9296e-05 | 0.048179 | 0.048179 | 0.048179 | 0.97989 | -0.38706 | 0.98201 | -0.34563 | 13.236
63 | -0.0024292 | -0.00060882 | 0.0024293 | 0.0006086 | 1.1879e-07 | -2.1707e-07 | 0.0036894 | 0.0036893 | 0.0036894 | 0.97975 | -0.38972 | 0.9798 | -0.3887 | 1.0136
64 | -0.040534 | -0.010197 | 0.040541 | 0.010201 | 6.9898e-06 | 4.4109e-06 | 0.061421 | 0.061421 | 0.061421 | 0.98221 | -0.34167 | 0.98239 | -0.33806 | 16.874
65 | 0.031793 | 0.0080058 | -0.031787 | -0.0080021 | 6.0136e-06 | 3.7613e-06 | 0.048179 | 0.048179 | 0.048179 | 0.98221 | -0.34167 | 0.98201 | -0.34563 | 13.236
66 | 0.00063151 | 0.0001574 | -0.0006315 | -0.00015798 | 1.5101e-08 | -5.7743e-07 | 0.00094393 | 0.00094413 | 0.00094413 | 0.9952 | -0.091092 | 0.99517 | -0.091595 | 0.25938
67 | -0.0013019 | -0.0003254 | 0.0013019 | 0.00032512 | 3.3391e-08 | -2.841e-07 | 0.0019462 | 0.0019461 | 0.0019462 | 0.9952 | -0.091092 | 0.99523 | -0.090552 | 0.53468

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22387 | 0.05737

## res_load
| p_mw | q_mvar
0 | 0.00055877 | 0.00014004
1 | 0.00039051 | 9.7872e-05
2 | 0.0014585 | 0.00036553
3 | 0.000564 | 0.00014135
4 | 0.0014053 | 0.0003522
5 | 0.001229 | 0.00030802
6 | 0.00028372 | 7.1106e-05
7 | 0.00048183 | 0.00012076
8 | 0.00049449 | 0.00012393
9 | 0.000137 | 3.4335e-05
10 | 0.065939 | 0.016526
11 | 0.0034892 | 0.00087447
12 | 0.015251 | 0.0038222
13 | 0.006073 | 0.001522
14 | 0.043182 | 0.010822
15 | 0.0016736 | 0.00041943
16 | 0.0029764 | 0.00074595
17 | 0.00056836 | 0.00014244
18 | 0.0040998 | 0.0010275
19 | 0.00081903 | 0.00020527
20 | 0.0005461 | 0.00013686
21 | 0.009573 | 0.0023992
22 | 0.015131 | 0.0037921
23 | 0.0010646 | 0.00026682
24 | 0.0017649 | 0.00044232
25 | 0.00062652 | 0.00015702
26 | 0.00079639 | 0.00019959
27 | 0.0010439 | 0.00026163
28 | 0.00092789 | 0.00023255
29 | 0.0024357 | 0.00061045
30 | 0.00051935 | 0.00013016
31 | 0.0019999 | 0.00050123
32 | 0.0024387 | 0.00061119
33 | 0.00082699 | 0.00020726
34 | 0.0010591 | 0.00026543
35 | 0.0019417 | 0.00048663
36 | 0.0082652 | 0.0020714
37 | 0.0011903 | 0.00029831
38 | 0.0024292 | 0.00060882
39 | 0.0014358 | 0.00035984
40 | 0.00031228 | 7.8265e-05
41 | 0.008741 | 0.0021907
42 | 0.0009486 | 0.00023774
43 | 0.00067035 | 0.00016801

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1