## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2293-6_2_2_node_18 | 0.4 | n |  | TRUE
1 | bus_LV_2293-6_2_2_node_19 | 0.4 | n |  | TRUE
2 | bus_LV_2293-6_2_2_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_2293-6_2_2_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_2293-6_2_2_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_2293-6_2_2_node_209 | 0.4 | n |  | TRUE
6 | bus_LV_2293-6_2_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_2293-6_2_2_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_2293-6_2_2_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2293-6_2_2_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_2293-6_2_2_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_2293-6_2_2_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_2293-6_2_2_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_2293-6_2_2_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_2293-6_2_2_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_2293-6_2_2_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_2293-6_2_2_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_2293-6_2_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_2293-6_2_2_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_2293-6_2_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2293-6_2_2_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_2293-6_2_2_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_2293-6_2_2_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_2293-6_2_2_node_220 | 0.4 | n |  | TRUE
24 | bus_LV_2293-6_2_2_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_2293-6_2_2_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_2293-6_2_2_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_2293-6_2_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_2293-6_2_2_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_2293-6_2_2_node_230 | 0.4 | n |  | TRUE
30 | bus_LV_2293-6_2_2_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_2293-6_2_2_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_2293-6_2_2_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_2293-6_2_2_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_2293-6_2_2_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_2293-6_2_2_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_2293-6_2_2_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_2293-6_2_2_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_2293-6_2_2_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_2293-6_2_2_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_2293-6_2_2_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_2293-6_2_2_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_2293-6_2_2_node_234 | 0.4 | n |  | TRUE
43 | bus_LV_2293-6_2_2_node_73 | 0.4 | n |  | TRUE
44 | bus_MV_378_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2293-6_2_2_load_18 | 0 | 0.00055298 | 0.00013859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2293-6_2_2_load_19 | 1 | 0.0019417 | 0.00048663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2293-6_2_2_load_22 | 3 | 0.0035182 | 0.00088175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2293-6_2_2_load_209 | 5 | 0.00085388 | 0.000214 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2293-6_2_2_load_34 | 6 | 0.006097 | 0.001528 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2293-6_2_2_load_35 | 7 | 0.032162 | 0.0080605 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2293-6_2_2_load_36 | 8 | 0.003952 | 0.00099046 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2293-6_2_2_load_38 | 10 | 0.015726 | 0.0039413 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2293-6_2_2_load_43 | 11 | 0.007337 | 0.0018388 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2293-6_2_2_load_39 | 14 | 0.0089151 | 0.0022343 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2293-6_2_2_load_40 | 15 | 0.003141 | 0.00078721 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2293-6_2_2_load_41 | 16 | 0.0072746 | 0.0018232 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2293-6_2_2_load_44 | 19 | 0.004919 | 0.0012328 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2293-6_2_2_load_45 | 20 | 0.0023646 | 0.00059262 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2293-6_2_2_load_47 | 21 | 0.001803 | 0.00045188 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2293-6_2_2_load_220 | 23 | 0.01642 | 0.0041151 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2293-6_2_2_load_52 | 27 | 0.0083978 | 0.0021047 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2293-6_2_2_load_230 | 29 | 0.013733 | 0.0034417 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2293-6_2_2_load_56 | 30 | 0.0072546 | 0.0018182 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2293-6_2_2_load_57 | 31 | 0.0015076 | 0.00037784 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2293-6_2_2_load_60 | 32 | 0.0018546 | 0.0004648 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2293-6_2_2_load_61 | 33 | 0.00018662 | 4.677e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2293-6_2_2_load_71 | 36 | 0.00019278 | 4.8316e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2293-6_2_2_load_70 | 37 | 0.0002554 | 6.401e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2293-6_2_2_load_69 | 39 | 0.00015789 | 3.957e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2293-6_2_2_load_68 | 40 | 0.0019237 | 0.00048213 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2293-6_2_2_load_234 | 42 | 0.0010914 | 0.00027354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2293-6_2_2_load_73 | 43 | 0.00024317 | 6.0945e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2293-6_2_2_line_0 |  | 0 | 1 | 0.028237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2293-6_2_2_line_1 |  | 0 | 2 | 0.09425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2293-6_2_2_line_2 |  | 2 | 3 | 0.060317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2293-6_2_2_line_3 |  | 2 | 4 | 0.43108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2293-6_2_2_line_4 |  | 4 | 5 | 0.077553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2293-6_2_2_line_5 |  | 5 | 25 | 0.025803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2293-6_2_2_line_6 |  | 6 | 7 | 0.022348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2293-6_2_2_line_7 |  | 6 | 8 | 0.012656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2293-6_2_2_line_8 |  | 7 | 9 | 0.05098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2293-6_2_2_line_9 |  | 8 | 10 | 0.011082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2293-6_2_2_line_10 |  | 9 | 11 | 0.025747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2293-6_2_2_line_11 |  | 9 | 12 | 0.48783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2293-6_2_2_line_12 |  | 10 | 13 | 0.023458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2293-6_2_2_line_13 |  | 11 | 16 | 0.019326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2293-6_2_2_line_14 |  | 12 | 37 | 0.19775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2293-6_2_2_line_15 |  | 13 | 24 | 0.17125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2293-6_2_2_line_16 |  | 14 | 15 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2293-6_2_2_line_17 |  | 14 | 16 | 0.0069714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2293-6_2_2_line_18 |  | 15 | 17 | 0.042844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2293-6_2_2_line_19 |  | 17 | 18 | 0.070549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2293-6_2_2_line_20 |  | 18 | 22 | 0.22094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2293-6_2_2_line_21 |  | 18 | 19 | 0.0045644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2293-6_2_2_line_22 |  | 19 | 20 | 0.0083953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2293-6_2_2_line_23 |  | 20 | 21 | 0.015651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2293-6_2_2_line_24 |  | 21 | 23 | 0.0032163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2293-6_2_2_line_25 |  | 22 | 27 | 0.03466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2293-6_2_2_line_26 |  | 24 | 30 | 0.0411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2293-6_2_2_line_27 |  | 25 | 26 | 0.032785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2293-6_2_2_line_28 |  | 26 | 28 | 0.093372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2293-6_2_2_line_29 |  | 26 | 27 | 0.026327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2293-6_2_2_line_30 |  | 28 | 29 | 0.0018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2293-6_2_2_line_31 |  | 30 | 31 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2293-6_2_2_line_32 |  | 32 | 33 | 0.032802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2293-6_2_2_line_33 |  | 33 | 34 | 0.017178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2293-6_2_2_line_34 |  | 34 | 35 | 0.02129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2293-6_2_2_line_35 |  | 34 | 36 | 0.027306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2293-6_2_2_line_36 |  | 35 | 41 | 0.067912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2293-6_2_2_line_37 |  | 35 | 40 | 0.00974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2293-6_2_2_line_38 |  | 36 | 37 | 0.021303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2293-6_2_2_line_39 |  | 38 | 39 | 0.020411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2293-6_2_2_line_40 |  | 38 | 40 | 0.0083929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2293-6_2_2_line_41 |  | 39 | 43 | 0.043709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2293-6_2_2_line_42 |  | 41 | 42 | 0.038778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2293-6_2_2_trafo_42 | 0.63 MVA 20/0.4 kV | 44 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2580757.6517 | 1185282.207 | 2580770.7453 | 1185293.5434 | 2580779.1342 | 1185300.5307
1 | 2580850.8956 | 1185361.621 | 2580819.8325 | 1185334.4289 | 2580779.1342 | 1185300.5307
2 | 2580850.8956 | 1185361.621 | 2580895.5029 | 1185402.2211
3 | 2580493.4517 | 1185518.1166 | 2580519.6925 | 1185521.9661 | 2580524.5081 | 1185519.727 | 2580534.8998 | 1185519.1372 | 2580546.9803 | 1185521.6102 | 2580569.8738 | 1185526.2936 | 2580594.8824 | 1185531.4148 | 2580611.592 | 1185532.9502 | 2580616.5495 | 1185532.1225 | 2580628.4705 | 1185530.1272 | 2580643.2965 | 1185522.6752 | 2580661.0658 | 1185507.4429 | 2580663.5474 | 1185505.5339 | 2580684.7626 | 1185489.2344 | 2580723.8394 | 1185464.873 | 2580736.2599 | 1185473.3373 | 2580739.682 | 1185474.3824 | 2580742.6942 | 1185473.7167 | 2580745.7704 | 1185471.6057 | 2580752.4412 | 1185464.8473 | 2580831.4249 | 1185381.9942 | 2580847.9775 | 1185363.0756 | 2580850.8956 | 1185361.621
4 | 2580493.4517 | 1185518.1166 | 2580449.0719 | 1185581.7163
5 | 2580434.3061 | 1185602.8767 | 2580449.0719 | 1185581.7163
6 | 2580375.2 | 1185956.3555 | 2580380.4179 | 1185955.9269 | 2580384.4086 | 1185955.9138 | 2580390.5556 | 1185957.2276 | 2580397.2367 | 1185955.7817
7 | 2580408.4508 | 1185950.0477 | 2580406.3544 | 1185951.317 | 2580398.745 | 1185955.4553 | 2580397.2367 | 1185955.7817
8 | 2580328.2557 | 1185951.4631 | 2580334.1688 | 1185958.2249 | 2580361.0648 | 1185953.0336 | 2580366.4918 | 1185953.5271 | 2580375.2 | 1185956.3555 | 2580375.2 | 1185956.3555
9 | 2580408.4508 | 1185950.0477 | 2580417.9302 | 1185944.3083
10 | 2580328.2557 | 1185951.4631 | 2580345.2324 | 1185932.1056
11 | 2580328.2557 | 1185951.4631 | 2580084.2135 | 1186373.8605
12 | 2580437.9966 | 1185932.1587 | 2580417.9302 | 1185944.3083
13 | 2580357.9754 | 1185917.5755 | 2580345.2324 | 1185932.1056
14 | 2580084.2135 | 1186373.8605 | 2580074.4801 | 1186370.0577 | 2580060.743 | 1186364.6119 | 2580042.2971 | 1186356.5694 | 2580025.2351 | 1186349.4116 | 2580011.4253 | 1186342.7767 | 2579999.8063 | 1186336.4567 | 2579992.2059 | 1186333.9254 | 2579987.831 | 1186333.0952 | 2579983.1239 | 1186333.2888 | 2579977.5726 | 1186334.3191 | 2579971.3231 | 1186336.4635 | 2579961.3419 | 1186340.6992 | 2579951.5765 | 1186345.5568 | 2579941.1443 | 1186351.8285 | 2579933.8372 | 1186357.1003 | 2579923.351 | 1186365.4288 | 2579908.8423 | 1186378.6095
15 | 2580536.2328 | 1186072.2215 | 2580510.9282 | 1186038.909 | 2580491.661 | 1186013.2141 | 2580472.7166 | 1185988.252 | 2580462.8367 | 1185974.7996 | 2580454.662 | 1185962.4532 | 2580449.99 | 1185954.8312 | 2580446.7055 | 1185949.139 | 2580442.4983 | 1185941.3376 | 2580437.9966 | 1185932.1587
16 | 2580362.7039 | 1185912.4533 | 2580374.0917 | 1185900.1964 | 2580375.5035 | 1185898.7241
17 | 2580357.9754 | 1185917.5755 | 2580358.489 | 1185916.9899 | 2580362.7039 | 1185912.4533
18 | 2580404.7129 | 1185867.4898 | 2580397.6063 | 1185873.7275 | 2580385.5974 | 1185888.1968 | 2580375.5035 | 1185898.7241
19 | 2580384.9629 | 1185806.6563 | 2580390.2236 | 1185812.2419 | 2580395.0714 | 1185817.5732 | 2580403.0331 | 1185825.4067 | 2580408.4546 | 1185831.1585 | 2580408.0967 | 1185842.9881 | 2580406.3654 | 1185859.5024 | 2580404.7129 | 1185867.4898
20 | 2580384.9629 | 1185806.6563 | 2580392.2167 | 1185801.0851 | 2580399.2856 | 1185794.9698 | 2580402.4159 | 1185793.1585 | 2580406.9205 | 1185791.5874 | 2580410.4847 | 1185791.7869 | 2580414.1655 | 1185794.9209 | 2580414.6193 | 1185789.0719 | 2580415.681 | 1185784.7328 | 2580417.5569 | 1185779.7018 | 2580421.5524 | 1185771.7845 | 2580414.8218 | 1185760.1005 | 2580406.0572 | 1185744.8436 | 2580391.7087 | 1185720.9005 | 2580386.5545 | 1185712.9355 | 2580381.6019 | 1185705.937 | 2580376.6133 | 1185699.5723 | 2580370.8984 | 1185692.832 | 2580365.0554 | 1185686.5813 | 2580371.768 | 1185681.1453 | 2580375.6373 | 1185678.9536 | 2580407.2561 | 1185666.1875 | 2580411.3709 | 1185664.373 | 2580417.5728 | 1185661.4289
21 | 2580384.9629 | 1185806.6563 | 2580380.9156 | 1185804.546
22 | 2580373.4714 | 1185800.6646 | 2580380.9156 | 1185804.546
23 | 2580359.5934 | 1185793.4285 | 2580373.4714 | 1185800.6646
24 | 2580356.7415 | 1185791.9415 | 2580359.5934 | 1185793.4285
25 | 2580417.5728 | 1185661.4289 | 2580421.9386 | 1185659.3579 | 2580438.8284 | 1185650.8091 | 2580444.5984 | 1185641.5639
26 | 2580536.2328 | 1186072.2215 | 2580526.0596 | 1186080.9927 | 2580519.085 | 1186087.8968 | 2580516.819 | 1186092.64 | 2580524.5202 | 1186102.609
27 | 2580434.3061 | 1185602.8767 | 2580458.5313 | 1185611.1461 | 2580455.5155 | 1185617.6705
28 | 2580455.5155 | 1185617.6705 | 2580475.2479 | 1185626.5438 | 2580498.0921 | 1185637.2635 | 2580519.9273 | 1185647.5198 | 2580539.3463 | 1185658.6399
29 | 2580455.5155 | 1185617.6705 | 2580447.505 | 1185636.9068 | 2580444.5984 | 1185641.5639
30 | 2580539.3463 | 1185658.6399 | 2580540.9835 | 1185659.5773
31 | 2580524.6899 | 1186113.1207 | 2580521.2112 | 1186108.0782 | 2580524.5202 | 1186102.609 | 2580524.5202 | 1186102.609
32 | 2579882.6671 | 1186424.3613 | 2579883.3378 | 1186428.4299 | 2579883.6899 | 1186435.5436 | 2579883.4676 | 1186442.0032 | 2579882.0895 | 1186449.6452 | 2579879.3838 | 1186456.455
33 | 2579873.4051 | 1186410.7875 | 2579875.6826 | 1186411.9138 | 2579877.3357 | 1186413.3867 | 2579879.5801 | 1186415.9916 | 2579881.4846 | 1186419.6427 | 2579882.5667 | 1186423.7523 | 2579882.6671 | 1186424.3613
34 | 2579873.4051 | 1186410.7875 | 2579870.2441 | 1186410.1534 | 2579867.008 | 1186409.8753 | 2579861.8721 | 1186409.5925 | 2579856.6918 | 1186409.7545 | 2579852.169 | 1186410.2701
35 | 2579873.4051 | 1186410.7875 | 2579875.6021 | 1186408.4011 | 2579887.1415 | 1186393.421 | 2579889.9794 | 1186390.999 | 2579891.2382 | 1186390.3369
36 | 2579792.9221 | 1186412.5717 | 2579804.6377 | 1186415.8782 | 2579820.4829 | 1186419.6932 | 2579825.194 | 1186420.7001 | 2579831.8785 | 1186420.8775 | 2579837.6527 | 1186420.3577 | 2579838.2969 | 1186412.3069 | 2579845.1776 | 1186411.839 | 2579852.169 | 1186410.2701
37 | 2579852.169 | 1186410.2701 | 2579849.8419 | 1186405.7756 | 2579846.9681 | 1186402.0834
38 | 2579891.2382 | 1186390.3369 | 2579897.7863 | 1186386.8928 | 2579901.7775 | 1186384.8227 | 2579908.4645 | 1186378.9527 | 2579908.8423 | 1186378.6095
39 | 2579839.6304 | 1186398.2617 | 2579840.166 | 1186389.6776 | 2579841.3439 | 1186383.7706 | 2579842.9024 | 1186379.8299 | 2579843.6392 | 1186378.4666
40 | 2579839.6304 | 1186398.2617 | 2579843.8393 | 1186399.6593 | 2579846.9681 | 1186402.0834
41 | 2579867.9662 | 1186342.293 | 2579857.0217 | 1186356.1031 | 2579850.3563 | 1186366.0975 | 2579845.6473 | 1186374.7513 | 2579843.6392 | 1186378.4666
42 | 2579792.9221 | 1186412.5717 | 2579795.5231 | 1186398.8335 | 2579799.758 | 1186392.1601 | 2579816.6259 | 1186393.7705

## bus_geodata
| x | y | coords
0 | 2580779.1342 | 1185300.5307
1 | 2580757.6517 | 1185282.207
2 | 2580850.8956 | 1185361.621
3 | 2580895.5029 | 1185402.2211
4 | 2580493.4517 | 1185518.1166
5 | 2580449.0719 | 1185581.7163
6 | 2580397.2367 | 1185955.7817
7 | 2580375.2 | 1185956.3555
8 | 2580408.4508 | 1185950.0477
9 | 2580328.2557 | 1185951.4631
10 | 2580417.9302 | 1185944.3083
11 | 2580345.2324 | 1185932.1056
12 | 2580084.2135 | 1186373.8605
13 | 2580437.9966 | 1185932.1587
14 | 2580362.7039 | 1185912.4533
15 | 2580375.5035 | 1185898.7241
16 | 2580357.9754 | 1185917.5755
17 | 2580404.7129 | 1185867.4898
18 | 2580384.9629 | 1185806.6563
19 | 2580380.9156 | 1185804.546
20 | 2580373.4714 | 1185800.6646
21 | 2580359.5934 | 1185793.4285
22 | 2580417.5728 | 1185661.4289
23 | 2580356.7415 | 1185791.9415
24 | 2580536.2328 | 1186072.2215
25 | 2580434.3061 | 1185602.8767
26 | 2580455.5155 | 1185617.6705
27 | 2580444.5984 | 1185641.5639
28 | 2580539.3463 | 1185658.6399
29 | 2580540.9835 | 1185659.5773
30 | 2580524.5202 | 1186102.609
31 | 2580524.6899 | 1186113.1207
32 | 2579879.3838 | 1186456.455
33 | 2579882.6671 | 1186424.3613
34 | 2579873.4051 | 1186410.7875
35 | 2579852.169 | 1186410.2701
36 | 2579891.2382 | 1186390.3369
37 | 2579908.8423 | 1186378.6095
38 | 2579839.6304 | 1186398.2617
39 | 2579843.6392 | 1186378.4666
40 | 2579846.9681 | 1186402.0834
41 | 2579792.9221 | 1186412.5717
42 | 2579816.6259 | 1186393.7705
43 | 2579867.9662 | 1186342.293
44 | 2580408.4546 | 1185831.1585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98579 | -0.27432 | 0.00055298 | 0.00013859
1 | 0.98573 | -0.27531 | 0.0019417 | 0.00048663
2 | 0.986 | -0.2701 | 0 | 0
3 | 0.98581 | -0.27391 | 0.0035182 | 0.00088175
4 | 0.98838 | -0.22365 | 0 | 0
5 | 0.98881 | -0.2153 | 0.00085388 | 0.000214
6 | 0.98691 | -0.25181 | 0.006097 | 0.001528
7 | 0.98762 | -0.238 | 0.032162 | 0.0080605
8 | 0.98658 | -0.25825 | 0.003952 | 0.00099046
9 | 0.99074 | -0.17742 | 0 | 0
10 | 0.98633 | -0.26311 | 0.015726 | 0.0039413
11 | 0.99246 | -0.14426 | 0.007337 | 0.0018388
12 | 0.9881 | -0.22893 | 0 | 0
13 | 0.98614 | -0.2668 | 0 | 0
14 | 0.99444 | -0.10622 | 0.0089151 | 0.0022343
15 | 0.9961 | -0.074457 | 0.003141 | 0.00078721
16 | 0.99388 | -0.11695 | 0.0072746 | 0.0018232
17 | 1 | 0 | -0.15688 | -0.039436
18 | 0.99648 | -0.067304 | 0 | 0
19 | 0.99638 | -0.069347 | 0.004919 | 0.0012328
20 | 0.99622 | -0.072382 | 0.0023646 | 0.00059262
21 | 0.99596 | -0.077392 | 0.001803 | 0.00045188
22 | 0.9906 | -0.18055 | 0 | 0
23 | 0.99591 | -0.07832 | 0.01642 | 0.0041151
24 | 0.98476 | -0.29374 | 0 | 0
25 | 0.98898 | -0.21213 | 0 | 0
26 | 0.98918 | -0.20811 | 0 | 0
27 | 0.98968 | -0.19844 | 0.0083978 | 0.0021047
28 | 0.98801 | -0.23098 | 0 | 0
29 | 0.98798 | -0.23144 | 0.013733 | 0.0034417
30 | 0.98443 | -0.30022 | 0.0072546 | 0.0018182
31 | 0.98441 | -0.30056 | 0.0015076 | 0.00037784
32 | 0.98669 | -0.25639 | 0.0018546 | 0.0004648
33 | 0.98675 | -0.2553 | 0.00018662 | 4.677e-05
34 | 0.98678 | -0.25467 | 0 | 0
35 | 0.98671 | -0.25598 | 0 | 0
36 | 0.98692 | -0.252 | 0.00019278 | 4.8316e-05
37 | 0.98703 | -0.24985 | 0.0002554 | 6.401e-05
38 | 0.98669 | -0.25645 | 0 | 0
39 | 0.98668 | -0.25659 | 0.00015789 | 3.957e-05
40 | 0.98669 | -0.25638 | 0.0019237 | 0.00048213
41 | 0.98664 | -0.25731 | 0 | 0
42 | 0.98661 | -0.25807 | 0.0010914 | 0.00027354
43 | 0.98667 | -0.25678 | 0.00024317 | 6.0945e-05
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0019418 | 0.00048633 | -0.0019417 | -0.00048663 | 9.0966e-08 | -3.0176e-07 | 0.0029309 | 0.0029311 | 0.0029311 | 0.98579 | -0.27432 | 0.98573 | -0.27531 | 0.80524
1 | -0.0024947 | -0.00062492 | 0.0024952 | 0.00062404 | 5.0112e-07 | -8.8114e-07 | 0.0037656 | 0.0037652 | 0.0037656 | 0.98579 | -0.27432 | 0.986 | -0.2701 | 1.0345
2 | 0.0035189 | 0.00088139 | -0.0035182 | -0.00088175 | 6.3786e-07 | -3.6094e-07 | 0.0053103 | 0.0053105 | 0.0053105 | 0.986 | -0.2701 | 0.98581 | -0.27391 | 1.4589
3 | -0.0060141 | -0.0015054 | 0.0060274 | 0.0015084 | 1.3312e-05 | 3.008e-06 | 0.0090755 | 0.0090735 | 0.0090755 | 0.986 | -0.2701 | 0.98838 | -0.22365 | 2.4933
4 | -0.0060274 | -0.0015084 | 0.0060298 | 0.001509 | 2.3942e-06 | 5.3793e-07 | 0.0090735 | 0.0090732 | 0.0090735 | 0.98838 | -0.22365 | 0.98881 | -0.2153 | 2.4927
5 | -0.0068837 | -0.001723 | 0.0068847 | 0.0017233 | 1.0381e-06 | 3.3337e-07 | 0.010358 | 0.010358 | 0.010358 | 0.98881 | -0.2153 | 0.98898 | -0.21213 | 2.8456
6 | -0.034567 | -0.0086716 | 0.03459 | 0.0086858 | 2.2767e-05 | 1.4285e-05 | 0.052122 | 0.052122 | 0.052122 | 0.98691 | -0.25181 | 0.98762 | -0.238 | 14.3192
7 | 0.02847 | 0.0071435 | -0.028462 | -0.0071381 | 8.7463e-06 | 5.436e-06 | 0.042929 | 0.042929 | 0.042929 | 0.98691 | -0.25181 | 0.98658 | -0.25825 | 11.7937
8 | -0.066752 | -0.016746 | 0.066945 | 0.016869 | 0.00019339 | 0.00012312 | 0.10058 | 0.10058 | 0.10058 | 0.98762 | -0.238 | 0.99074 | -0.17742 | 27.6315
9 | 0.02451 | 0.0061476 | -0.024504 | -0.0061441 | 5.6793e-06 | 3.4933e-06 | 0.036968 | 0.036969 | 0.036969 | 0.98658 | -0.25825 | 0.98633 | -0.26311 | 10.1562
10 | -0.072873 | -0.018351 | 0.072988 | 0.018425 | 0.00011573 | 7.3732e-05 | 0.10948 | 0.10948 | 0.10948 | 0.99074 | -0.17742 | 0.99246 | -0.14426 | 30.0769
11 | 0.0059278 | 0.0014815 | -0.0059133 | -0.0014785 | 1.4499e-05 | 3.0141e-06 | 0.0089016 | 0.0089038 | 0.0089038 | 0.99074 | -0.17742 | 0.9881 | -0.22893 | 2.4461
12 | 0.0087777 | 0.0022028 | -0.0087762 | -0.0022021 | 1.5429e-06 | 6.881e-07 | 0.013243 | 0.013244 | 0.013244 | 0.98633 | -0.26311 | 0.98614 | -0.2668 | 3.6383
13 | -0.080325 | -0.020264 | 0.080431 | 0.020331 | 0.0001052 | 6.7077e-05 | 0.12048 | 0.12048 | 0.12048 | 0.99246 | -0.14426 | 0.99388 | -0.11695 | 33.0989
14 | 0.0059133 | 0.0014785 | -0.0059074 | -0.0014773 | 5.8796e-06 | 1.2327e-06 | 0.0089038 | 0.0089047 | 0.0089047 | 0.9881 | -0.22893 | 0.98703 | -0.24985 | 2.4463
15 | 0.0087762 | 0.0022021 | -0.0087649 | -0.0021971 | 1.1264e-05 | 5.0272e-06 | 0.013244 | 0.013244 | 0.013244 | 0.98614 | -0.2668 | 0.98476 | -0.29374 | 3.6386
16 | -0.096666 | -0.024417 | 0.096813 | 0.024511 | 0.0001474 | 9.4095e-05 | 0.14471 | 0.14471 | 0.14471 | 0.99444 | -0.10622 | 0.9961 | -0.074457 | 39.7559
17 | 0.08775 | 0.022183 | -0.087705 | -0.022154 | 4.5118e-05 | 2.8785e-05 | 0.13137 | 0.13137 | 0.13137 | 0.99444 | -0.10622 | 0.99388 | -0.11695 | 36.0911
18 | -0.099954 | -0.025298 | 0.10031 | 0.025527 | 0.00035863 | 0.00022896 | 0.1494 | 0.1494 | 0.1494 | 0.9961 | -0.074457 | 1 | 0 | 41.0449
19 | 0.054918 | 0.013909 | -0.054741 | -0.013797 | 0.00017689 | 0.00011229 | 0.08177 | 0.08177 | 0.08177 | 1 | 0 | 0.99648 | -0.067304 | 22.4643
20 | 0.029224 | 0.0073981 | -0.029066 | -0.0072999 | 0.00015797 | 9.8242e-05 | 0.043666 | 0.043667 | 0.043667 | 0.99648 | -0.067304 | 0.9906 | -0.18055 | 11.9963
21 | 0.025517 | 0.0063988 | -0.025514 | -0.0063972 | 2.4853e-06 | 1.5311e-06 | 0.038105 | 0.038105 | 0.038105 | 0.99648 | -0.067304 | 0.99638 | -0.069347 | 10.4683
22 | 0.020595 | 0.0051644 | -0.020592 | -0.0051626 | 2.9785e-06 | 1.7969e-06 | 0.030758 | 0.030758 | 0.030758 | 0.99638 | -0.069347 | 0.99622 | -0.072382 | 8.4501
23 | 0.018228 | 0.00457 | -0.018223 | -0.0045674 | 4.3508e-06 | 2.5808e-06 | 0.027227 | 0.027227 | 0.027227 | 0.99622 | -0.072382 | 0.99596 | -0.077392 | 7.4798
24 | 0.01642 | 0.0041155 | -0.01642 | -0.0041151 | 7.2591e-07 | 4.2273e-07 | 0.024533 | 0.024533 | 0.024533 | 0.99596 | -0.077392 | 0.99591 | -0.07832 | 6.7398
25 | 0.029066 | 0.0072999 | -0.029041 | -0.0072845 | 2.4784e-05 | 1.5416e-05 | 0.043667 | 0.043667 | 0.043667 | 0.9906 | -0.18055 | 0.98968 | -0.19844 | 11.9964
26 | 0.0087649 | 0.0021971 | -0.0087622 | -0.0021959 | 2.7036e-06 | 1.2076e-06 | 0.013244 | 0.013245 | 0.013245 | 0.98476 | -0.29374 | 0.98443 | -0.30022 | 3.6386
27 | -0.0068847 | -0.0017233 | 0.006886 | 0.0017237 | 1.319e-06 | 4.2341e-07 | 0.010358 | 0.010358 | 0.010358 | 0.98898 | -0.21213 | 0.98918 | -0.20811 | 2.8456
28 | 0.013748 | 0.0034503 | -0.013733 | -0.0034419 | 1.4978e-05 | 8.389e-06 | 0.020683 | 0.020683 | 0.020683 | 0.98918 | -0.20811 | 0.98801 | -0.23098 | 5.6822
29 | -0.020634 | -0.005174 | 0.020644 | 0.0051798 | 9.5124e-06 | 5.7498e-06 | 0.03104 | 0.03104 | 0.03104 | 0.98918 | -0.20811 | 0.98968 | -0.19844 | 8.5276
30 | 0.013733 | 0.0034419 | -0.013733 | -0.0034417 | 3.0264e-07 | 1.6953e-07 | 0.020683 | 0.020683 | 0.020683 | 0.98801 | -0.23098 | 0.98798 | -0.23144 | 5.6822
31 | 0.0015076 | 0.0003777 | -0.0015076 | -0.00037784 | 2.4379e-08 | -1.4355e-07 | 0.0022788 | 0.0022789 | 0.0022789 | 0.98443 | -0.30022 | 0.98441 | -0.30056 | 0.62607
32 | -0.0018546 | -0.0004648 | 0.0018547 | 0.00046445 | 9.6218e-08 | -3.5741e-07 | 0.0027969 | 0.0027967 | 0.0027969 | 0.98669 | -0.25639 | 0.98675 | -0.2553 | 0.76837
33 | -0.0020413 | -0.00051122 | 0.0020414 | 0.00051104 | 6.1035e-08 | -1.8038e-07 | 0.0030781 | 0.0030781 | 0.0030781 | 0.98675 | -0.2553 | 0.98678 | -0.25467 | 0.84564
34 | 0.0034166 | 0.00085373 | -0.0034164 | -0.00085387 | 2.1185e-07 | -1.3637e-07 | 0.0051511 | 0.0051512 | 0.0051512 | 0.98678 | -0.25467 | 0.98671 | -0.25598 | 1.4152
35 | -0.0054579 | -0.0013648 | 0.0054586 | 0.0013649 | 6.9343e-07 | 9.4918e-08 | 0.0082292 | 0.0082291 | 0.0082292 | 0.98678 | -0.25467 | 0.98692 | -0.252 | 2.2608
36 | 0.0010915 | 0.00027224 | -0.0010915 | -0.00027307 | 6.8979e-08 | -8.2323e-07 | 0.0016456 | 0.0016459 | 0.0016459 | 0.98671 | -0.25598 | 0.98664 | -0.25731 | 0.45218
37 | 0.0023248 | 0.00058163 | -0.0023248 | -0.00058172 | 4.4887e-08 | -9.5678e-08 | 0.0035056 | 0.0035057 | 0.0035057 | 0.98671 | -0.25598 | 0.98669 | -0.25638 | 0.96309
38 | -0.0056514 | -0.0014132 | 0.005652 | 0.0014133 | 5.7986e-07 | 9.8863e-08 | 0.0085197 | 0.0085196 | 0.0085197 | 0.98692 | -0.252 | 0.98703 | -0.24985 | 2.3406
39 | 0.00040107 | 9.9699e-05 | -0.00040106 | -9.9958e-05 | 2.798e-09 | -2.5891e-07 | 0.00060455 | 0.00060465 | 0.00060465 | 0.98669 | -0.25645 | 0.98668 | -0.25659 | 0.16611
40 | -0.00040107 | -9.9699e-05 | 0.00040107 | 9.9593e-05 | 1.1502e-09 | -1.0646e-07 | 0.00060455 | 0.00060452 | 0.00060455 | 0.98669 | -0.25645 | 0.98669 | -0.25638 | 0.16609
41 | 0.00024318 | 6.0388e-05 | -0.00024317 | -6.0945e-05 | 2.2033e-09 | -5.5685e-07 | 0.00036654 | 0.00036673 | 0.00036673 | 0.98668 | -0.25659 | 0.98667 | -0.25678 | 0.10075
42 | 0.0010915 | 0.00027307 | -0.0010914 | -0.00027354 | 3.9399e-08 | -4.7001e-07 | 0.0016459 | 0.0016461 | 0.0016461 | 0.98664 | -0.25731 | 0.98661 | -0.25807 | 0.45223

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.15688 | 0.039436

## res_load
| p_mw | q_mvar
0 | 0.00055298 | 0.00013859
1 | 0.0019417 | 0.00048663
2 | 0.0035182 | 0.00088175
3 | 0.00085388 | 0.000214
4 | 0.006097 | 0.001528
5 | 0.032162 | 0.0080605
6 | 0.003952 | 0.00099046
7 | 0.015726 | 0.0039413
8 | 0.007337 | 0.0018388
9 | 0.0089151 | 0.0022343
10 | 0.003141 | 0.00078721
11 | 0.0072746 | 0.0018232
12 | 0.004919 | 0.0012328
13 | 0.0023646 | 0.00059262
14 | 0.001803 | 0.00045188
15 | 0.01642 | 0.0041151
16 | 0.0083978 | 0.0021047
17 | 0.013733 | 0.0034417
18 | 0.0072546 | 0.0018182
19 | 0.0015076 | 0.00037784
20 | 0.0018546 | 0.0004648
21 | 0.00018662 | 4.677e-05
22 | 0.00019278 | 4.8316e-05
23 | 0.0002554 | 6.401e-05
24 | 0.00015789 | 3.957e-05
25 | 0.0019237 | 0.00048213
26 | 0.0010914 | 0.00027354
27 | 0.00024317 | 6.0945e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1