## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2293-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2293-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2293-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2293-7_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2293-7_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2293-7_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2293-7_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2293-7_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2293-7_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2293-7_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2293-7_0_6_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_2293-7_0_6_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_2293-7_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2293-7_0_6_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_2293-7_0_6_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_2293-7_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_2293-7_0_6_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_2293-7_0_6_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_2293-7_0_6_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_2293-7_0_6_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_2293-7_0_6_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_2293-7_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2293-7_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2293-7_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2293-7_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2293-7_0_6_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2293-7_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2293-7_0_6_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2293-7_0_6_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_2293-7_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2293-7_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2293-7_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2293-7_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2293-7_0_6_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_2293-7_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2293-7_0_6_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2293-7_0_6_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_2293-7_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2293-7_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2293-7_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2293-7_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2293-7_0_6_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_2293-7_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2293-7_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2293-7_0_6_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_2293-7_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2293-7_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2293-7_0_6_node_49 | 0.4 | n |  | TRUE
48 | bus_MV_382_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2293-7_0_6_load_0 | 0 | 0.000432 | 0.00010827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2293-7_0_6_load_1 | 1 | 0.0037822 | 0.0009479 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2293-7_0_6_load_4 | 4 | 0.0026192 | 0.00065645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2293-7_0_6_load_6 | 6 | 0.00039385 | 9.8709e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2293-7_0_6_load_9 | 9 | 0.0017233 | 0.00043189 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2293-7_0_6_load_37 | 10 | 0.00034897 | 8.746e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2293-7_0_6_load_42 | 11 | 0.0024765 | 0.00062067 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2293-7_0_6_load_31 | 13 | 0.00083774 | 0.00020996 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2293-7_0_6_load_27 | 14 | 0.0076926 | 0.0019279 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2293-7_0_6_load_26 | 15 | 0.004014 | 0.001006 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2293-7_0_6_load_38 | 17 | 0.023512 | 0.0058927 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2293-7_0_6_load_29 | 18 | 0.0009808 | 0.00024581 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2293-7_0_6_load_48 | 19 | 0.019183 | 0.0048076 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2293-7_0_6_load_25 | 20 | 0.00046364 | 0.0001162 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2293-7_0_6_load_11 | 21 | 0.0025366 | 0.00063573 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2293-7_0_6_load_16 | 24 | 0.088087 | 0.022077 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2293-7_0_6_load_28 | 27 | 0.00026319 | 6.5962e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2293-7_0_6_load_18 | 29 | 0.00031944 | 8.006e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2293-7_0_6_load_22 | 30 | 0.00029973 | 7.512e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2293-7_0_6_load_23 | 31 | 0.0001268 | 3.1779e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2293-7_0_6_load_20 | 32 | 0.00073275 | 0.00018365 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2293-7_0_6_load_17 | 33 | 0.00012841 | 3.2183e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2293-7_0_6_load_21 | 34 | 0.00032152 | 8.058e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2293-7_0_6_load_19 | 35 | 0.0011863 | 0.00029732 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2293-7_0_6_load_47 | 36 | 0.031111 | 0.0077971 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2293-7_0_6_load_30 | 37 | 0.0044384 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2293-7_0_6_load_33 | 39 | 0.0014546 | 0.00036457 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2293-7_0_6_load_45 | 41 | 0.024031 | 0.0060228 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2293-7_0_6_load_35 | 42 | 0.0022523 | 0.00056447 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2293-7_0_6_load_46 | 44 | 0.0027999 | 0.00070173 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2293-7_0_6_load_39 | 45 | 0.011911 | 0.0029851 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2293-7_0_6_load_41 | 46 | 0.045617 | 0.011433 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2293-7_0_6_load_49 | 47 | 0.008805 | 0.0022067 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2293-7_0_6_line_0 |  | 0 | 1 | 0.0013504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2293-7_0_6_line_1 |  | 0 | 2 | 0.0025958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2293-7_0_6_line_2 |  | 1 | 3 | 0.022316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2293-7_0_6_line_3 |  | 2 | 4 | 0.033559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2293-7_0_6_line_4 |  | 2 | 5 | 0.01653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2293-7_0_6_line_5 |  | 3 | 6 | 0.0017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2293-7_0_6_line_6 |  | 3 | 7 | 0.042164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2293-7_0_6_line_7 |  | 4 | 8 | 0.0033182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2293-7_0_6_line_8 |  | 5 | 9 | 0.040487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2293-7_0_6_line_9 |  | 6 | 10 | 0.0028739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2293-7_0_6_line_10 |  | 7 | 11 | 0.011386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2293-7_0_6_line_11 |  | 8 | 12 | 0.099637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2293-7_0_6_line_12 |  | 8 | 13 | 0.019019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2293-7_0_6_line_13 |  | 11 | 16 | 0.011178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2293-7_0_6_line_14 |  | 12 | 14 | 0.028883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2293-7_0_6_line_15 |  | 12 | 15 | 0.0012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2293-7_0_6_line_16 |  | 13 | 18 | 0.049263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2293-7_0_6_line_17 |  | 14 | 19 | 0.033109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2293-7_0_6_line_18 |  | 15 | 20 | 0.17858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2293-7_0_6_line_19 |  | 16 | 17 | 0.025804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2293-7_0_6_line_20 |  | 17 | 45 | 0.047682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2293-7_0_6_line_21 |  | 18 | 37 | 0.016711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2293-7_0_6_line_22 |  | 19 | 36 | 0.011497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2293-7_0_6_line_23 |  | 20 | 28 | 0.091192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2293-7_0_6_line_24 |  | 21 | 22 | 0.029355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2293-7_0_6_line_25 |  | 22 | 23 | 0.016123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2293-7_0_6_line_26 |  | 22 | 24 | 0.3196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2293-7_0_6_line_27 |  | 22 | 25 | 0.29221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2293-7_0_6_line_28 |  | 23 | 29 | 0.02032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2293-7_0_6_line_29 |  | 23 | 28 | 0.025651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2293-7_0_6_line_30 |  | 25 | 31 | 0.12554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2293-7_0_6_line_31 |  | 26 | 27 | 0.033329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2293-7_0_6_line_32 |  | 26 | 28 | 0.011451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2293-7_0_6_line_33 |  | 29 | 33 | 0.0058475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2293-7_0_6_line_34 |  | 30 | 31 | 0.0060684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2293-7_0_6_line_35 |  | 30 | 32 | 0.019752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2293-7_0_6_line_36 |  | 32 | 34 | 0.028718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2293-7_0_6_line_37 |  | 33 | 35 | 0.0030949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2293-7_0_6_line_38 |  | 36 | 47 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2293-7_0_6_line_39 |  | 37 | 38 | 0.012525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2293-7_0_6_line_40 |  | 38 | 39 | 0.06509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2293-7_0_6_line_41 |  | 39 | 40 | 0.082681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2293-7_0_6_line_42 |  | 40 | 41 | 0.26618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2293-7_0_6_line_43 |  | 41 | 43 | 0.15803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2293-7_0_6_line_44 |  | 42 | 43 | 0.01328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2293-7_0_6_line_45 |  | 43 | 44 | 0.096284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2293-7_0_6_line_46 |  | 45 | 46 | 0.051122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2293-7_0_6_trafo_25 | 0.63 MVA 20/0.4 kV | 48 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2580055.3377 | 1184774.8644 | 2580053.9936 | 1184774.7345
1 | 2580057.9215 | 1184775.1139 | 2580055.3377 | 1184774.8644
2 | 2580031.7807 | 1184772.589 | 2580053.9936 | 1184774.7345
3 | 2580057.9215 | 1184775.1139 | 2580071.4868 | 1184773.7457 | 2580091.4098 | 1184774.0317
4 | 2580073.8497 | 1184779.6964 | 2580057.9215 | 1184775.1139
5 | 2580031.7807 | 1184772.589 | 2580030.0659 | 1184772.3903
6 | 2580017.0406 | 1184810.547 | 2580023.2226 | 1184806.0017 | 2580025.0984 | 1184798.6805 | 2580031.7807 | 1184772.589
7 | 2580094.7277 | 1184774.0794 | 2580091.4098 | 1184774.0317
8 | 2580056.9157 | 1184812.1144 | 2580064.4794 | 1184809.9435 | 2580070.4465 | 1184802.7309 | 2580073.8497 | 1184779.6964
9 | 2580030.0659 | 1184772.3903 | 2580027.2111 | 1184772.0595
10 | 2580017.0406 | 1184810.547 | 2580018.2144 | 1184814.6563 | 2580017.9623 | 1184821.7637
11 | 2580154.4158 | 1184842.1159 | 2580113.7209 | 1184807.489 | 2580090.1975 | 1184788.7799 | 2580089.9683 | 1184784.1561 | 2580090.1675 | 1184782.0876 | 2580090.5198 | 1184780.1632 | 2580091.3079 | 1184778.4931 | 2580092.5293 | 1184776.2879 | 2580094.7277 | 1184774.0794
12 | 2580094.7277 | 1184774.0794 | 2580100.1972 | 1184773.2829 | 2580113.4098 | 1184770.5506
13 | 2580017.5659 | 1184832.9347 | 2580017.9623 | 1184821.7637
14 | 2580154.4158 | 1184842.1159 | 2580140.0034 | 1184848.0225 | 2580128.1009 | 1184853.6318 | 2580127.9704 | 1184853.7031
15 | 2580154.4158 | 1184842.1159 | 2580155.3719 | 1184842.8809
16 | 2580161.365 | 1184759.3059 | 2580159.1788 | 1184759.7349 | 2580124.5116 | 1184768.2548 | 2580113.4098 | 1184770.5506
17 | 2580109.8594 | 1184879.0351 | 2580111.5083 | 1184871.7521 | 2580113.4641 | 1184865.4867 | 2580114.9736 | 1184862.7247 | 2580117.0956 | 1184860.5053 | 2580121.1913 | 1184857.4123 | 2580127.9704 | 1184853.7031
18 | 2580155.3719 | 1184842.8809 | 2580174.4651 | 1184858.1576 | 2580181.2251 | 1184864.4718 | 2580184.7562 | 1184868.3176 | 2580188.3672 | 1184873.2193 | 2580191.8866 | 1184878.1213 | 2580195.8349 | 1184885.801 | 2580202.3729 | 1184903.3996 | 2580208.1744 | 1184922.1679 | 2580217.2142 | 1184955.4553 | 2580226.265 | 1184989.7987 | 2580229.8707 | 1184999.6335
19 | 2580017.5659 | 1184832.9347 | 2580016.6551 | 1184858.7221
20 | 2580016.6551 | 1184858.7221 | 2580015.9139 | 1184879.709 | 2580012.7404 | 1184906.2012
21 | 2580161.365 | 1184759.3059 | 2580177.7634 | 1184756.0878
22 | 2580107.3696 | 1184890.2591 | 2580108.2817 | 1184886.0036 | 2580109.8594 | 1184879.0351
23 | 2580266.7624 | 1185082.9131 | 2580264.0933 | 1185078.8976 | 2580261.8744 | 1185074.8695 | 2580256.9825 | 1185063.3575 | 2580246.5787 | 1185039.8019 | 2580232.2491 | 1185006.1207 | 2580229.8707 | 1184999.6335
24 | 2580281.6106 | 1185121.1951 | 2580252.4752 | 1185124.7817
25 | 2580278.498 | 1185105.386 | 2580280.1307 | 1185112.1619 | 2580281.6106 | 1185121.1951
26 | 2580281.6106 | 1185121.1951 | 2580315.2931 | 1185439.0162
27 | 2580281.6106 | 1185121.1951 | 2580567.9646 | 1185179.4078
28 | 2580278.498 | 1185105.386 | 2580258.2323 | 1185106.8735
29 | 2580266.7624 | 1185082.9131 | 2580269.4631 | 1185087.2398 | 2580275.7734 | 1185096.1347 | 2580278.498 | 1185105.386
30 | 2580567.9646 | 1185179.4078 | 2580606.4011 | 1185189.966 | 2580627.8067 | 1185196.7222 | 2580648.2371 | 1185203.9819 | 2580661.3438 | 1185209.709 | 2580675.0354 | 1185216.9795 | 2580685.1743 | 1185222.9136
31 | 2580259.3879 | 1185091.4309 | 2580252.3254 | 1185092.7772 | 2580248.3884 | 1185093.057 | 2580245.9369 | 1185092.5426 | 2580243.7894 | 1185091.6382 | 2580241.9584 | 1185089.532 | 2580239.0705 | 1185083.9943 | 2580237.5976 | 1185081.6979 | 2580235.4092 | 1185079.9487 | 2580233.0628 | 1185078.9226 | 2580232.8329 | 1185078.9095
32 | 2580259.3879 | 1185091.4309 | 2580262.5404 | 1185089.3082 | 2580266.7624 | 1185082.9131
33 | 2580252.4006 | 1185107.3016 | 2580258.2323 | 1185106.8735
34 | 2580685.1743 | 1185222.9136 | 2580690.4116 | 1185225.9789 | 2580690.4116 | 1185225.9789
35 | 2580706.2851 | 1185237.7336 | 2580690.4116 | 1185225.9789
36 | 2580706.2851 | 1185237.7336 | 2580706.2851 | 1185237.7336 | 2580727.9964 | 1185256.5313
37 | 2580249.3139 | 1185107.5281 | 2580252.4006 | 1185107.3016
38 | 2580104.5167 | 1184903.5697 | 2580107.3696 | 1184890.2591
39 | 2580190.147 | 1184754.2625 | 2580182.1136 | 1184755.2341 | 2580177.7634 | 1184756.0878
40 | 2580190.147 | 1184754.2625 | 2580212.3813 | 1184752.5211 | 2580227.7712 | 1184753.5929 | 2580237.8809 | 1184757.328 | 2580245.2868 | 1184758.1706 | 2580251.0847 | 1184757.3954 | 2580254.0422 | 1184755.9773
41 | 2580316.9218 | 1184702.6493 | 2580288.1389 | 1184727.4684 | 2580280.7528 | 1184734.93 | 2580269.2725 | 1184746.0071 | 2580255.8472 | 1184755.1118 | 2580254.0422 | 1184755.9773
42 | 2580316.9218 | 1184702.6493 | 2580329.6918 | 1184436.7778
43 | 2580487.1274 | 1184425.179 | 2580466.4379 | 1184428.2038 | 2580445.7932 | 1184430.9507 | 2580421.8344 | 1184433.1971 | 2580391.5086 | 1184434.9865 | 2580357.3582 | 1184436.5664 | 2580329.6918 | 1184436.7778
44 | 2580487.1274 | 1184425.179 | 2580486.3604 | 1184433.3524 | 2580484.9759 | 1184438.2306
45 | 2580487.1274 | 1184425.179 | 2580504.7767 | 1184421.386 | 2580522.2173 | 1184416.7599 | 2580539.4108 | 1184411.2787 | 2580558.0496 | 1184404.281 | 2580576.2807 | 1184396.2952 | 2580578.3379 | 1184395.2015
46 | 2579994.8134 | 1184943.6365 | 2580006.7584 | 1184944.2734 | 2580008.3041 | 1184943.2343 | 2580012.7404 | 1184906.2012

## bus_geodata
| x | y | coords
0 | 2580055.3377 | 1184774.8644
1 | 2580053.9936 | 1184774.7345
2 | 2580057.9215 | 1184775.1139
3 | 2580031.7807 | 1184772.589
4 | 2580091.4098 | 1184774.0317
5 | 2580073.8497 | 1184779.6964
6 | 2580030.0659 | 1184772.3903
7 | 2580017.0406 | 1184810.547
8 | 2580094.7277 | 1184774.0794
9 | 2580056.9157 | 1184812.1144
10 | 2580027.2111 | 1184772.0595
11 | 2580017.9623 | 1184821.7637
12 | 2580154.4158 | 1184842.1159
13 | 2580113.4098 | 1184770.5506
14 | 2580127.9704 | 1184853.7031
15 | 2580155.3719 | 1184842.8809
16 | 2580017.5659 | 1184832.9347
17 | 2580016.6551 | 1184858.7221
18 | 2580161.365 | 1184759.3059
19 | 2580109.8594 | 1184879.0351
20 | 2580229.8707 | 1184999.6335
21 | 2580252.4752 | 1185124.7817
22 | 2580281.6106 | 1185121.1951
23 | 2580278.498 | 1185105.386
24 | 2580315.2931 | 1185439.0162
25 | 2580567.9646 | 1185179.4078
26 | 2580259.3879 | 1185091.4309
27 | 2580232.8329 | 1185078.9095
28 | 2580266.7624 | 1185082.9131
29 | 2580258.2323 | 1185106.8735
30 | 2580690.4116 | 1185225.9789
31 | 2580685.1743 | 1185222.9136
32 | 2580706.2851 | 1185237.7336
33 | 2580252.4006 | 1185107.3016
34 | 2580727.9964 | 1185256.5313
35 | 2580249.3139 | 1185107.5281
36 | 2580107.3696 | 1184890.2591
37 | 2580177.7634 | 1184756.0878
38 | 2580190.147 | 1184754.2625
39 | 2580254.0422 | 1184755.9773
40 | 2580316.9218 | 1184702.6493
41 | 2580329.6918 | 1184436.7778
42 | 2580484.9759 | 1184438.2306
43 | 2580487.1274 | 1184425.179
44 | 2580578.3379 | 1184395.2015
45 | 2580012.7404 | 1184906.2012
46 | 2579994.8134 | 1184943.6365
47 | 2580104.5167 | 1184903.5697
48 | 2580266.7624 | 1185082.9131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98375 | -0.31022 | 0.000432 | 0.00010827
1 | 0.98372 | -0.31093 | 0.0037822 | 0.0009479
2 | 0.98382 | -0.30884 | 0 | 0
3 | 0.98313 | -0.32223 | 0 | 0
4 | 0.98476 | -0.29069 | 0.0026192 | 0.00065645
5 | 0.9838 | -0.30935 | 0 | 0
6 | 0.98313 | -0.32225 | 0.00039385 | 9.8709e-05
7 | 0.98149 | -0.35403 | 0 | 0
8 | 0.98486 | -0.28884 | 0 | 0
9 | 0.98373 | -0.31061 | 0.0017233 | 0.00043189
10 | 0.98313 | -0.32227 | 0.00034897 | 8.746e-05
11 | 0.98061 | -0.37125 | 0.0024765 | 0.00062067
12 | 0.98886 | -0.21177 | 0 | 0
13 | 0.98464 | -0.29304 | 0.00083774 | 0.00020996
14 | 0.98709 | -0.24622 | 0.0076926 | 0.0019279
15 | 0.98894 | -0.21034 | 0.004014 | 0.001006
16 | 0.97977 | -0.38769 | 0 | 0
17 | 0.97782 | -0.42573 | 0.023512 | 0.0058927
18 | 0.98409 | -0.30367 | 0.0009808 | 0.00024581
19 | 0.98528 | -0.28128 | 0.019183 | 0.0048076
20 | 1 | 0 | -0.30137 | -0.077132
21 | 0.9961 | -0.074022 | 0.0025366 | 0.00063573
22 | 0.99617 | -0.072714 | 0 | 0
23 | 0.99662 | -0.06402 | 0 | 0
24 | 0.98318 | -0.32324 | 0.088087 | 0.022077
25 | 0.99577 | -0.080373 | 0 | 0
26 | 0.99736 | -0.050013 | 0 | 0
27 | 0.99735 | -0.050167 | 0.00026319 | 6.5962e-05
28 | 0.99736 | -0.04996 | 0 | 0
29 | 0.99659 | -0.064603 | 0.00031944 | 8.006e-05
30 | 0.9956 | -0.083795 | 0.00029973 | 7.512e-05
31 | 0.9956 | -0.08365 | 0.0001268 | 3.1779e-05
32 | 0.99558 | -0.084161 | 0.00073275 | 0.00018365
33 | 0.99659 | -0.064738 | 0.00012841 | 3.2183e-05
34 | 0.99557 | -0.084324 | 0.00032152 | 8.058e-05
35 | 0.99658 | -0.064802 | 0.0011863 | 0.00029732
36 | 0.98486 | -0.28953 | 0.031111 | 0.0077971
37 | 0.98391 | -0.30718 | 0.0044384 | 0.0011124
38 | 0.98379 | -0.30947 | 0 | 0
39 | 0.98286 | -0.3274 | 0.0014546 | 0.00036457
40 | 0.98062 | -0.37091 | 0 | 0
41 | 0.97341 | -0.51233 | 0.024031 | 0.0060228
42 | 0.97264 | -0.52759 | 0.0022523 | 0.00056447
43 | 0.97267 | -0.52704 | 0 | 0
44 | 0.97241 | -0.53201 | 0.0027999 | 0.00070173
45 | 0.97526 | -0.47587 | 0.011911 | 0.0029851
46 | 0.97309 | -0.5187 | 0.045617 | 0.011433
47 | 0.98475 | -0.29168 | 0.008805 | 0.0022067
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.088732 | 0.022503 | -0.088729 | -0.022501 | 3.0449e-06 | 1.8973e-06 | 0.13431 | 0.13431 | 0.13431 | 0.98375 | -0.31022 | 0.98372 | -0.31093 | 12.2994
1 | -0.089164 | -0.022612 | 0.08917 | 0.022615 | 5.9103e-06 | 3.6837e-06 | 0.13496 | 0.13496 | 0.13496 | 0.98375 | -0.31022 | 0.98382 | -0.30884 | 12.3593
2 | 0.084946 | 0.021554 | -0.0849 | -0.021525 | 4.6125e-05 | 2.8671e-05 | 0.12859 | 0.12859 | 0.12859 | 0.98372 | -0.31093 | 0.98313 | -0.32223 | 11.7756
3 | -0.090893 | -0.023047 | 0.090972 | 0.023096 | 7.939e-05 | 4.953e-05 | 0.13757 | 0.13757 | 0.13757 | 0.98382 | -0.30884 | 0.98476 | -0.29069 | 12.598
4 | 0.0017234 | 0.00043126 | -0.0017234 | -0.00043145 | 4.2112e-08 | -1.8295e-07 | 0.0026064 | 0.0026065 | 0.0026065 | 0.98382 | -0.30884 | 0.9838 | -0.30935 | 0.71607
5 | 0.00074282 | 0.00018611 | -0.00074282 | -0.00018613 | 8.1831e-10 | -2.1366e-08 | 0.0011243 | 0.0011243 | 0.0011243 | 0.98313 | -0.32223 | 0.98313 | -0.32225 | 0.30887
6 | 0.084158 | 0.021339 | -0.084029 | -0.021258 | 0.00012845 | 8.114e-05 | 0.12746 | 0.12747 | 0.12747 | 0.98313 | -0.32223 | 0.98149 | -0.35403 | 17.509
7 | -0.093592 | -0.023753 | 0.0936 | 0.023758 | 8.3079e-06 | 5.1904e-06 | 0.14153 | 0.14153 | 0.14153 | 0.98476 | -0.29069 | 0.98486 | -0.28884 | 12.9604
8 | 0.0017234 | 0.00043145 | -0.0017233 | -0.00043189 | 1.0315e-07 | -4.4804e-07 | 0.0026065 | 0.0026067 | 0.0026067 | 0.9838 | -0.30935 | 0.98373 | -0.31061 | 0.71612
9 | 0.00034897 | 8.7424e-05 | -0.00034897 | -8.746e-05 | 3.0061e-10 | -3.625e-08 | 0.00052817 | 0.00052818 | 0.00052818 | 0.98313 | -0.32225 | 0.98313 | -0.32227 | 0.14511
10 | 0.084029 | 0.021258 | -0.08396 | -0.021213 | 6.937e-05 | 4.4253e-05 | 0.12747 | 0.12747 | 0.12747 | 0.98149 | -0.35403 | 0.98061 | -0.37125 | 35.018
11 | -0.13072 | -0.033174 | 0.13121 | 0.033482 | 0.00048655 | 0.00030757 | 0.19765 | 0.19765 | 0.19765 | 0.98486 | -0.28884 | 0.98886 | -0.21177 | 18.1
12 | 0.03712 | 0.0094165 | -0.037112 | -0.0094124 | 7.4889e-06 | 4.067e-06 | 0.056125 | 0.056125 | 0.056125 | 0.98486 | -0.28884 | 0.98464 | -0.29304 | 5.1396
13 | 0.081483 | 0.020593 | -0.081419 | -0.020552 | 6.4149e-05 | 4.0914e-05 | 0.12371 | 0.12371 | 0.12371 | 0.98061 | -0.37125 | 0.97977 | -0.38769 | 33.9856
14 | 0.067017 | 0.016883 | -0.066906 | -0.016813 | 0.00011022 | 7.0168e-05 | 0.10088 | 0.10088 | 0.10088 | 0.98886 | -0.21177 | 0.98709 | -0.24622 | 27.7132
15 | -0.19822 | -0.050365 | 0.19824 | 0.050373 | 1.364e-05 | 8.6825e-06 | 0.29853 | 0.29853 | 0.29853 | 0.98886 | -0.21177 | 0.98894 | -0.21034 | 27.3375
16 | 0.036274 | 0.0092025 | -0.036256 | -0.0091925 | 1.8532e-05 | 9.982e-06 | 0.054859 | 0.05486 | 0.05486 | 0.98464 | -0.29304 | 0.98409 | -0.30367 | 5.0238
17 | 0.059214 | 0.014885 | -0.059115 | -0.014822 | 9.8965e-05 | 6.2915e-05 | 0.08928 | 0.08928 | 0.08928 | 0.98709 | -0.24622 | 0.98528 | -0.28128 | 24.5274
18 | -0.20225 | -0.051379 | 0.20432 | 0.052697 | 0.0020707 | 0.0013183 | 0.30457 | 0.30456 | 0.30457 | 0.98894 | -0.21034 | 1 | 0 | 27.8906
19 | 0.081419 | 0.020552 | -0.081271 | -0.020457 | 0.00014808 | 9.4448e-05 | 0.12371 | 0.12371 | 0.12371 | 0.97977 | -0.38769 | 0.97782 | -0.42573 | 33.9856
20 | 0.057759 | 0.014565 | -0.057621 | -0.014477 | 0.00013824 | 8.7877e-05 | 0.087928 | 0.087928 | 0.087928 | 0.97782 | -0.42573 | 0.97526 | -0.47587 | 24.156
21 | 0.035275 | 0.0089467 | -0.035269 | -0.0089435 | 5.9514e-06 | 3.1721e-06 | 0.053377 | 0.053377 | 0.053377 | 0.98409 | -0.30367 | 0.98391 | -0.30718 | 4.888
22 | 0.039932 | 0.010014 | -0.039917 | -0.010004 | 1.5681e-05 | 9.8898e-06 | 0.060309 | 0.06031 | 0.06031 | 0.98528 | -0.28128 | 0.98486 | -0.28953 | 16.5686
23 | 0.095401 | 0.024434 | -0.095171 | -0.02429 | 0.00023032 | 0.00014382 | 0.14214 | 0.14215 | 0.14215 | 1 | 0 | 0.99736 | -0.04996 | 13.017
24 | -0.0025366 | -0.00063573 | 0.0025368 | 0.00063545 | 1.5806e-07 | -2.8099e-07 | 0.0037893 | 0.0037892 | 0.0037893 | 0.9961 | -0.074022 | 0.99617 | -0.072714 | 1.041
25 | -0.09317 | -0.023751 | 0.093209 | 0.023775 | 3.9116e-05 | 2.4404e-05 | 0.13931 | 0.13931 | 0.13931 | 0.99617 | -0.072714 | 0.99662 | -0.06402 | 12.7577
26 | 0.089152 | 0.02275 | -0.088087 | -0.022077 | 0.001065 | 0.00067342 | 0.13331 | 0.13332 | 0.13332 | 0.99617 | -0.072714 | 0.98318 | -0.32324 | 18.3128
27 | 0.0014816 | 0.00036549 | -0.0014811 | -0.00036895 | 5.3604e-07 | -3.4597e-06 | 0.0022111 | 0.0022124 | 0.0022124 | 0.99617 | -0.072714 | 0.99577 | -0.080373 | 0.60781
28 | 0.0016342 | 0.00040922 | -0.0016342 | -0.00040946 | 4.5365e-08 | -2.3575e-07 | 0.0024399 | 0.00244 | 0.00244 | 0.99662 | -0.06402 | 0.99659 | -0.064603 | 0.67033
29 | -0.094843 | -0.024185 | 0.094908 | 0.024225 | 6.4428e-05 | 4.023e-05 | 0.14175 | 0.14175 | 0.14175 | 0.99662 | -0.06402 | 0.99736 | -0.04996 | 12.9811
30 | 0.0014811 | 0.00036895 | -0.0014808 | -0.00037043 | 2.305e-07 | -1.4853e-06 | 0.0022124 | 0.002213 | 0.002213 | 0.99577 | -0.080373 | 0.9956 | -0.08365 | 0.60796
31 | 0.00026319 | 6.5529e-05 | -0.00026319 | -6.5962e-05 | 1.9264e-09 | -4.3371e-07 | 0.00039252 | 0.00039268 | 0.00039268 | 0.99736 | -0.050013 | 0.99735 | -0.050167 | 0.10788
32 | -0.00026319 | -6.5529e-05 | 0.0002632 | 6.538e-05 | 6.6152e-10 | -1.4901e-07 | 0.00039252 | 0.00039247 | 0.00039252 | 0.99736 | -0.050013 | 0.99736 | -0.04996 | 0.10784
33 | 0.0013148 | 0.0003294 | -0.0013148 | -0.00032947 | 8.4501e-09 | -7.0784e-08 | 0.001963 | 0.0019631 | 0.0019631 | 0.99659 | -0.064603 | 0.99659 | -0.064738 | 0.5393
34 | -0.001354 | -0.00033873 | 0.001354 | 0.00033866 | 9.3176e-09 | -7.295e-08 | 0.0020235 | 0.0020235 | 0.0020235 | 0.9956 | -0.083795 | 0.9956 | -0.08365 | 0.55591
35 | 0.0010543 | 0.00026361 | -0.0010543 | -0.00026385 | 1.8387e-08 | -2.4508e-07 | 0.0015755 | 0.0015756 | 0.0015756 | 0.9956 | -0.083795 | 0.99558 | -0.084161 | 0.43286
36 | 0.00032152 | 8.0208e-05 | -0.00032152 | -8.058e-05 | 2.4863e-09 | -3.7184e-07 | 0.00048042 | 0.00048055 | 0.00048055 | 0.99558 | -0.084161 | 0.99557 | -0.084324 | 0.13202
37 | 0.0011863 | 0.00029729 | -0.0011863 | -0.00029732 | 3.6415e-09 | -3.7996e-08 | 0.0017713 | 0.0017713 | 0.0017713 | 0.99659 | -0.064738 | 0.99658 | -0.064802 | 0.48663
38 | 0.0088059 | 0.0022071 | -0.008805 | -0.0022067 | 9.0366e-07 | 4.0513e-07 | 0.013305 | 0.013305 | 0.013305 | 0.98486 | -0.28953 | 0.98475 | -0.29168 | 3.6552
39 | 0.030831 | 0.0078311 | -0.030827 | -0.0078294 | 3.4093e-06 | 1.7048e-06 | 0.046664 | 0.046665 | 0.046665 | 0.98391 | -0.30718 | 0.98379 | -0.30947 | 4.2733
40 | 0.030827 | 0.0078294 | -0.030801 | -0.0078141 | 2.6576e-05 | 1.5358e-05 | 0.046665 | 0.046665 | 0.046665 | 0.98379 | -0.30947 | 0.98286 | -0.3274 | 6.4101
41 | 0.029346 | 0.0074495 | -0.029285 | -0.0074113 | 6.1297e-05 | 3.8184e-05 | 0.044463 | 0.044463 | 0.044463 | 0.98286 | -0.3274 | 0.98062 | -0.37091 | 12.2152
42 | 0.029285 | 0.0074113 | -0.029088 | -0.0072884 | 0.00019734 | 0.00012297 | 0.044463 | 0.044464 | 0.044464 | 0.98062 | -0.37091 | 0.97341 | -0.51233 | 12.2155
43 | 0.0050564 | 0.0012656 | -0.0050529 | -0.0012653 | 3.5405e-06 | 3.0294e-07 | 0.007729 | 0.0077297 | 0.0077297 | 0.97341 | -0.51233 | 0.97267 | -0.52704 | 2.1235
44 | -0.0022523 | -0.00056447 | 0.0022523 | 0.00056434 | 5.9126e-08 | -1.2699e-07 | 0.0034457 | 0.0034456 | 0.0034457 | 0.97264 | -0.52759 | 0.97267 | -0.52704 | 0.94661
45 | 0.0028006 | 0.00070096 | -0.0027999 | -0.00070173 | 6.6275e-07 | -7.706e-07 | 0.0042841 | 0.0042845 | 0.0042845 | 0.97267 | -0.52704 | 0.97241 | -0.53201 | 1.1771
46 | 0.04571 | 0.011492 | -0.045617 | -0.011433 | 9.3281e-05 | 5.9063e-05 | 0.069755 | 0.069755 | 0.069755 | 0.97526 | -0.47587 | 0.97309 | -0.5187 | 19.1635

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30184 | 0.077248

## res_load
| p_mw | q_mvar
0 | 0.000432 | 0.00010827
1 | 0.0037822 | 0.0009479
2 | 0.0026192 | 0.00065645
3 | 0.00039385 | 9.8709e-05
4 | 0.0017233 | 0.00043189
5 | 0.00034897 | 8.746e-05
6 | 0.0024765 | 0.00062067
7 | 0.00083774 | 0.00020996
8 | 0.0076926 | 0.0019279
9 | 0.004014 | 0.001006
10 | 0.023512 | 0.0058927
11 | 0.0009808 | 0.00024581
12 | 0.019183 | 0.0048076
13 | 0.00046364 | 0.0001162
14 | 0.0025366 | 0.00063573
15 | 0.088087 | 0.022077
16 | 0.00026319 | 6.5962e-05
17 | 0.00031944 | 8.006e-05
18 | 0.00029973 | 7.512e-05
19 | 0.0001268 | 3.1779e-05
20 | 0.00073275 | 0.00018365
21 | 0.00012841 | 3.2183e-05
22 | 0.00032152 | 8.058e-05
23 | 0.0011863 | 0.00029732
24 | 0.031111 | 0.0077971
25 | 0.0044384 | 0.0011124
26 | 0.0014546 | 0.00036457
27 | 0.024031 | 0.0060228
28 | 0.0022523 | 0.00056447
29 | 0.0027999 | 0.00070173
30 | 0.011911 | 0.0029851
31 | 0.045617 | 0.011433
32 | 0.008805 | 0.0022067

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1