## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2295-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2295-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2295-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2295-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2295-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2295-3_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2295-3_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_2295-3_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2295-3_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2295-3_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2295-3_0_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_2295-3_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_2295-3_0_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_2295-3_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2295-3_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2295-3_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2295-3_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2295-3_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2295-3_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2295-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2295-3_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2295-3_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_2295-3_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2295-3_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_2295-3_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2295-3_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2295-3_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2295-3_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2295-3_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2295-3_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2295-3_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2295-3_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_2295-3_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2295-3_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2295-3_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_MV_380_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2295-3_0_4_load_0 | 0 | 0.091267 | 0.022874 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2295-3_0_4_load_1 | 1 | 0.023492 | 0.0058877 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2295-3_0_4_load_2 | 2 | 0.054854 | 0.013748 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2295-3_0_4_load_6 | 5 | 0.026677 | 0.0066859 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2295-3_0_4_load_31 | 6 | 0.00052736 | 0.00013217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2295-3_0_4_load_5 | 9 | 0.0041609 | 0.0010428 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2295-3_0_4_load_34 | 10 | 0.0021265 | 0.00053296 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2295-3_0_4_load_35 | 12 | 0.01792 | 0.0044911 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2295-3_0_4_load_12 | 13 | 0.0012574 | 0.00031514 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2295-3_0_4_load_8 | 14 | 0.0034191 | 0.00085691 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2295-3_0_4_load_9 | 15 | 0.004073 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2295-3_0_4_load_10 | 16 | 0.0040709 | 0.0010203 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2295-3_0_4_load_13 | 19 | 0.0061113 | 0.0015316 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2295-3_0_4_load_32 | 20 | 0.0036877 | 0.00092424 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2295-3_0_4_load_33 | 21 | 0.0040559 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2295-3_0_4_load_28 | 22 | 0.027394 | 0.0068655 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2295-3_0_4_load_23 | 23 | 0.03148 | 0.0078895 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2295-3_0_4_load_36 | 24 | 0.01543 | 0.003867 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2295-3_0_4_load_19 | 26 | 0.0078289 | 0.0019621 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2295-3_0_4_load_26 | 30 | 0.0068476 | 0.0017162 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2295-3_0_4_load_37 | 31 | 0.01612 | 0.0040401 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2295-3_0_4_load_29 | 34 | 0.0113 | 0.002832 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2295-3_0_4_line_0 |  | 0 | 1 | 0.0094935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2295-3_0_4_line_1 |  | 0 | 2 | 0.071667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2295-3_0_4_line_2 |  | 1 | 3 | 0.02423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2295-3_0_4_line_3 |  | 2 | 4 | 0.032869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2295-3_0_4_line_4 |  | 3 | 5 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2295-3_0_4_line_5 |  | 4 | 6 | 0.041533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2295-3_0_4_line_6 |  | 4 | 7 | 0.10709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2295-3_0_4_line_7 |  | 4 | 8 | 0.0073284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2295-3_0_4_line_8 |  | 5 | 9 | 0.046136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2295-3_0_4_line_9 |  | 6 | 10 | 0.02275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2295-3_0_4_line_10 |  | 7 | 11 | 0.00889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2295-3_0_4_line_11 |  | 7 | 12 | 0.036975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2295-3_0_4_line_12 |  | 8 | 13 | 0.019983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2295-3_0_4_line_13 |  | 10 | 21 | 0.026254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2295-3_0_4_line_14 |  | 11 | 22 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2295-3_0_4_line_15 |  | 11 | 23 | 0.050159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2295-3_0_4_line_16 |  | 13 | 16 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2295-3_0_4_line_17 |  | 14 | 15 | 0.020189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2295-3_0_4_line_18 |  | 14 | 16 | 0.049677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2295-3_0_4_line_19 |  | 17 | 18 | 0.003367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2295-3_0_4_line_20 |  | 17 | 19 | 0.029973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2295-3_0_4_line_21 |  | 18 | 20 | 0.03429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2295-3_0_4_line_22 |  | 20 | 21 | 0.027675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2295-3_0_4_line_23 |  | 22 | 33 | 0.044223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2295-3_0_4_line_24 |  | 23 | 32 | 0.0054754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2295-3_0_4_line_25 |  | 24 | 25 | 0.042634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2295-3_0_4_line_26 |  | 25 | 27 | 0.013466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2295-3_0_4_line_27 |  | 26 | 27 | 0.036013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2295-3_0_4_line_28 |  | 27 | 28 | 0.005293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2295-3_0_4_line_29 |  | 28 | 29 | 0.005999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2295-3_0_4_line_30 |  | 28 | 30 | 0.014572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2295-3_0_4_line_31 |  | 29 | 31 | 0.023607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2295-3_0_4_line_32 |  | 30 | 32 | 0.033042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2295-3_0_4_line_33 |  | 33 | 34 | 0.048701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2295-3_0_4_trafo_2 | 0.63 MVA 20/0.4 kV | 35 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2583842.9472 | 1194509.17 | 2583852.3227 | 1194510.6623
1 | 2583842.9472 | 1194509.17 | 2583842.9472 | 1194509.17 | 2583840.6675 | 1194508.6203 | 2583838.4621 | 1194507.4034 | 2583836.9112 | 1194505.918 | 2583835.4344 | 1194503.6207 | 2583834.5661 | 1194500.9217 | 2583834.2992 | 1194498.0653 | 2583834.4806 | 1194494.7297 | 2583840.9532 | 1194442.2476
2 | 2583876.2519 | 1194514.4713 | 2583852.3227 | 1194510.6623
3 | 2583846.5485 | 1194409.9407 | 2583846.1534 | 1194413.1546 | 2583845.8529 | 1194414.7341 | 2583843.7458 | 1194421.6768 | 2583843.0991 | 1194424.8469 | 2583840.9532 | 1194442.2476
4 | 2583876.2519 | 1194514.4713 | 2583886.1475 | 1194516.0578
5 | 2583846.5485 | 1194409.9407 | 2583887.7703 | 1194415.0179
6 | 2583740.691 | 1194394.7432 | 2583746.0451 | 1194396.5629 | 2583755.0955 | 1194398.6392 | 2583774.3274 | 1194401.2548 | 2583844.7192 | 1194409.7345 | 2583846.5485 | 1194409.9407
7 | 2583845.3673 | 1194404.2854 | 2583844.7192 | 1194409.7345 | 2583846.5485 | 1194409.9407
8 | 2583931.702 | 1194523.3612 | 2583886.1475 | 1194516.0578
9 | 2583887.7703 | 1194415.0179 | 2583909.3412 | 1194417.6747 | 2583910.3497 | 1194417.8002
10 | 2583740.691 | 1194394.7432 | 2583732.6114 | 1194390.9855
11 | 2583740.691 | 1194394.7432 | 2583737.3829 | 1194402.6898 | 2583735.1831 | 1194411.8896 | 2583734.9956 | 1194430.797
12 | 2583845.3673 | 1194404.2854 | 2583865.1998 | 1194406.7296
13 | 2583910.3497 | 1194417.8002 | 2583936.403 | 1194421.0425
14 | 2583732.6114 | 1194390.9855 | 2583716.2389 | 1194385.4546
15 | 2583732.6114 | 1194390.9855 | 2583733.6335 | 1194385.8022 | 2583734.7794 | 1194375.7159 | 2583734.9411 | 1194340.9916
16 | 2583865.1998 | 1194406.7296 | 2583878.9169 | 1194408.4202
17 | 2583928.0256 | 1194415.7891 | 2583947.8993 | 1194419.3424
18 | 2583928.0256 | 1194415.7891 | 2583904.3261 | 1194411.5517 | 2583878.9169 | 1194408.4202
19 | 2583998.147 | 1194425.1837 | 2583997.9122 | 1194428.5417
20 | 2583998.147 | 1194425.1837 | 2584000.2535 | 1194395.2843
21 | 2583997.9122 | 1194428.5417 | 2583973.6051 | 1194425.6722 | 2583963.8662 | 1194424.4602
22 | 2583963.8662 | 1194424.4602 | 2583936.403 | 1194421.0425
23 | 2583674.342 | 1194371.3013 | 2583716.2389 | 1194385.4546
24 | 2583734.9666 | 1194335.5162 | 2583734.9411 | 1194340.9916
25 | 2583740.4576 | 1194275.914 | 2583780.6644 | 1194285.7428 | 2583781.7519 | 1194286.3457
26 | 2583740.4576 | 1194275.914 | 2583734.6792 | 1194274.9959 | 2583734.7152 | 1194282.611
27 | 2583734.7152 | 1194282.611 | 2583728.7424 | 1194280.2816 | 2583725.5723 | 1194271.8191 | 2583724.5281 | 1194266.1857 | 2583721.0097 | 1194264.1275 | 2583710.2505 | 1194264.1876
28 | 2583734.7152 | 1194282.611 | 2583734.7373 | 1194287.9026
29 | 2583740.4876 | 1194289.6656 | 2583734.7373 | 1194287.9026
30 | 2583734.7373 | 1194287.9026 | 2583734.8075 | 1194302.4743
31 | 2583740.4876 | 1194289.6656 | 2583763.1225 | 1194296.5853
32 | 2583734.9666 | 1194335.5162 | 2583734.8075 | 1194302.4743
33 | 2583674.342 | 1194371.3013 | 2583661.7623 | 1194324.2535

## bus_geodata
| x | y | coords
0 | 2583842.9472 | 1194509.17
1 | 2583852.3227 | 1194510.6623
2 | 2583840.9532 | 1194442.2476
3 | 2583876.2519 | 1194514.4713
4 | 2583846.5485 | 1194409.9407
5 | 2583886.1475 | 1194516.0578
6 | 2583887.7703 | 1194415.0179
7 | 2583740.691 | 1194394.7432
8 | 2583845.3673 | 1194404.2854
9 | 2583931.702 | 1194523.3612
10 | 2583910.3497 | 1194417.8002
11 | 2583732.6114 | 1194390.9855
12 | 2583734.9956 | 1194430.797
13 | 2583865.1998 | 1194406.7296
14 | 2583928.0256 | 1194415.7891
15 | 2583947.8993 | 1194419.3424
16 | 2583878.9169 | 1194408.4202
17 | 2583998.147 | 1194425.1837
18 | 2583997.9122 | 1194428.5417
19 | 2584000.2535 | 1194395.2843
20 | 2583963.8662 | 1194424.4602
21 | 2583936.403 | 1194421.0425
22 | 2583716.2389 | 1194385.4546
23 | 2583734.9411 | 1194340.9916
24 | 2583781.7519 | 1194286.3457
25 | 2583740.4576 | 1194275.914
26 | 2583710.2505 | 1194264.1876
27 | 2583734.7152 | 1194282.611
28 | 2583734.7373 | 1194287.9026
29 | 2583740.4876 | 1194289.6656
30 | 2583734.8075 | 1194302.4743
31 | 2583763.1225 | 1194296.5853
32 | 2583734.9666 | 1194335.5162
33 | 2583674.342 | 1194371.3013
34 | 2583661.7623 | 1194324.2535
35 | 2583846.5485 | 1194409.9407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99524 | -0.091371 | 0.091267 | 0.022874
1 | 0.99477 | -0.10045 | 0.023492 | 0.0058877
2 | 1 | 0 | -0.31419 | -0.079597
3 | 0.99409 | -0.11362 | 0 | 0
4 | 0.99752 | -0.047001 | 0 | 0
5 | 0.99381 | -0.11907 | 0.026677 | 0.0066859
6 | 0.99689 | -0.059023 | 0.00052736 | 0.00013217
7 | 0.98419 | -0.3024 | 0 | 0
8 | 0.99743 | -0.048647 | 0 | 0
9 | 0.99364 | -0.12246 | 0.0041609 | 0.0010428
10 | 0.99656 | -0.065403 | 0.0021265 | 0.00053296
11 | 0.98323 | -0.32104 | 0 | 0
12 | 0.98358 | -0.31433 | 0.01792 | 0.0044911
13 | 0.9972 | -0.053138 | 0.0012574 | 0.00031514
14 | 0.99671 | -0.062469 | 0.0034191 | 0.00085691
15 | 0.99664 | -0.063912 | 0.004073 | 0.0010208
16 | 0.99705 | -0.05594 | 0.0040709 | 0.0010203
17 | 0.99577 | -0.080601 | 0 | 0
18 | 0.99579 | -0.08024 | 0 | 0
19 | 0.99561 | -0.083822 | 0.0061113 | 0.0015316
20 | 0.99598 | -0.076556 | 0.0036877 | 0.00092424
21 | 0.99623 | -0.071791 | 0.0040559 | 0.0010165
22 | 0.98262 | -0.33311 | 0.027394 | 0.0068655
23 | 0.97962 | -0.39158 | 0.03148 | 0.0078895
24 | 0.97652 | -0.45249 | 0.01543 | 0.003867
25 | 0.97713 | -0.44048 | 0 | 0
26 | 0.97706 | -0.44183 | 0.0078289 | 0.0019621
27 | 0.97732 | -0.43668 | 0 | 0
28 | 0.97744 | -0.43444 | 0 | 0
29 | 0.97735 | -0.4362 | 0 | 0
30 | 0.97797 | -0.42397 | 0.0068476 | 0.0017162
31 | 0.97699 | -0.44315 | 0.01612 | 0.0040401
32 | 0.97939 | -0.39617 | 0 | 0
33 | 0.98216 | -0.34213 | 0 | 0
34 | 0.98165 | -0.35208 | 0.0113 | 0.002832
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.054382 | 0.013648 | -0.054358 | -0.013633 | 2.3539e-05 | 1.4942e-05 | 0.081314 | 0.081314 | 0.081314 | 0.99524 | -0.091371 | 0.99477 | -0.10045 | 22.339
1 | -0.14565 | -0.036522 | 0.14629 | 0.036928 | 0.00063725 | 0.00040597 | 0.21777 | 0.21777 | 0.21777 | 0.99524 | -0.091371 | 1 | 0 | 29.9134
2 | 0.030866 | 0.0077456 | -0.030847 | -0.0077335 | 1.9372e-05 | 1.2084e-05 | 0.046174 | 0.046174 | 0.046174 | 0.99477 | -0.10045 | 0.99409 | -0.11362 | 12.6851
3 | 0.16625 | 0.042669 | -0.16587 | -0.042428 | 0.00037826 | 0.00024122 | 0.24774 | 0.24774 | 0.24774 | 1 | 0 | 0.99752 | -0.047001 | 34.0304
4 | 0.030847 | 0.0077335 | -0.030839 | -0.0077285 | 8.0127e-06 | 4.9982e-06 | 0.046174 | 0.046174 | 0.046174 | 0.99409 | -0.11362 | 0.99381 | -0.11907 | 12.6852
5 | 0.016532 | 0.0041497 | -0.016522 | -0.0041442 | 9.4737e-06 | 5.5214e-06 | 0.024663 | 0.024663 | 0.024663 | 0.99752 | -0.047001 | 0.99689 | -0.059023 | 6.7756
6 | 0.13651 | 0.035062 | -0.13484 | -0.033994 | 0.0016703 | 0.0010676 | 0.20394 | 0.20394 | 0.20394 | 0.99752 | -0.047001 | 0.98419 | -0.3024 | 56.0282
7 | 0.012828 | 0.0032167 | -0.012827 | -0.0032162 | 1.0064e-06 | 5.4846e-07 | 0.019137 | 0.019137 | 0.019137 | 0.99752 | -0.047001 | 0.99743 | -0.048647 | 5.2574
8 | 0.0041616 | 0.0010426 | -0.0041609 | -0.0010428 | 6.7173e-07 | -1.678e-07 | 0.0062309 | 0.0062311 | 0.0062311 | 0.99381 | -0.11907 | 0.99364 | -0.12246 | 1.7118
9 | 0.015995 | 0.004012 | -0.01599 | -0.0040092 | 4.8634e-06 | 2.8161e-06 | 0.023876 | 0.023876 | 0.023876 | 0.99689 | -0.059023 | 0.99656 | -0.065403 | 6.5594
10 | 0.11691 | 0.029497 | -0.11681 | -0.02943 | 0.00010425 | 6.6604e-05 | 0.17683 | 0.17683 | 0.17683 | 0.98419 | -0.3024 | 0.98323 | -0.32104 | 48.5804
11 | 0.01793 | 0.0044972 | -0.01792 | -0.0044911 | 1.0191e-05 | 6.0525e-06 | 0.02711 | 0.02711 | 0.02711 | 0.98419 | -0.3024 | 0.98358 | -0.31433 | 7.4479
12 | 0.012827 | 0.0032162 | -0.012825 | -0.0032147 | 2.7443e-06 | 1.4956e-06 | 0.019137 | 0.019137 | 0.019137 | 0.99743 | -0.048647 | 0.9972 | -0.053138 | 5.2574
13 | 0.013863 | 0.0034763 | -0.013859 | -0.0034739 | 4.219e-06 | 2.3582e-06 | 0.020701 | 0.020701 | 0.020701 | 0.99656 | -0.065403 | 0.99623 | -0.071791 | 5.6871
14 | 0.038726 | 0.009717 | -0.038704 | -0.0097029 | 2.2263e-05 | 1.4029e-05 | 0.058612 | 0.058612 | 0.058612 | 0.98323 | -0.32104 | 0.98262 | -0.33311 | 16.1022
15 | 0.078082 | 0.019713 | -0.07782 | -0.019546 | 0.00026289 | 0.00016761 | 0.11822 | 0.11822 | 0.11822 | 0.98323 | -0.32104 | 0.97962 | -0.39158 | 32.4783
16 | 0.011567 | 0.0028995 | -0.011566 | -0.0028987 | 1.5441e-06 | 8.0798e-07 | 0.017261 | 0.017261 | 0.017261 | 0.9972 | -0.053138 | 0.99705 | -0.05594 | 4.742
17 | 0.0040733 | 0.0010207 | -0.004073 | -0.0010208 | 2.7997e-07 | -8.3927e-08 | 0.006081 | 0.0060811 | 0.0060811 | 0.99671 | -0.062469 | 0.99664 | -0.063912 | 1.6706
18 | -0.0074924 | -0.0018776 | 0.0074947 | 0.0018785 | 2.3307e-06 | 8.4399e-07 | 0.011186 | 0.011185 | 0.011186 | 0.99671 | -0.062469 | 0.99705 | -0.05594 | 3.0729
19 | -0.0061122 | -0.0015318 | 0.0061123 | 0.0015319 | 1.0533e-07 | 2.3613e-08 | 0.0091337 | 0.0091337 | 0.0091337 | 0.99577 | -0.080601 | 0.99579 | -0.08024 | 2.5093
20 | 0.0061122 | 0.0015318 | -0.0061113 | -0.0015316 | 9.3771e-07 | 2.1029e-07 | 0.0091337 | 0.0091338 | 0.0091338 | 0.99577 | -0.080601 | 0.99561 | -0.083822 | 2.5093
21 | -0.0061123 | -0.0015319 | 0.0061134 | 0.0015321 | 1.0727e-06 | 2.4037e-07 | 0.0091337 | 0.0091335 | 0.0091337 | 0.99579 | -0.08024 | 0.99598 | -0.076556 | 2.5093
22 | -0.0098012 | -0.0024563 | 0.0098034 | 0.0024574 | 2.2253e-06 | 1.0639e-06 | 0.014643 | 0.014643 | 0.014643 | 0.99598 | -0.076556 | 0.99623 | -0.071791 | 4.0228
23 | 0.01131 | 0.0028374 | -0.011305 | -0.0028349 | 4.8655e-06 | 2.554e-06 | 0.017129 | 0.017129 | 0.017129 | 0.98262 | -0.33311 | 0.98216 | -0.34213 | 4.7057
24 | 0.04634 | 0.011656 | -0.04633 | -0.01165 | 1.0178e-05 | 6.4448e-06 | 0.070404 | 0.070404 | 0.070404 | 0.97962 | -0.39158 | 0.97939 | -0.39617 | 19.3419
25 | -0.01543 | -0.003867 | 0.015438 | 0.0038721 | 8.8379e-06 | 5.1225e-06 | 0.023512 | 0.023511 | 0.023512 | 0.97652 | -0.45249 | 0.97713 | -0.44048 | 6.4592
26 | -0.015438 | -0.0038721 | 0.015441 | 0.0038738 | 2.7914e-06 | 1.6178e-06 | 0.023511 | 0.023511 | 0.023511 | 0.97713 | -0.44048 | 0.97732 | -0.43668 | 6.4592
27 | -0.0078289 | -0.0019621 | 0.0078308 | 0.0019629 | 1.9198e-06 | 7.7752e-07 | 0.011923 | 0.011923 | 0.011923 | 0.97706 | -0.44183 | 0.97732 | -0.43668 | 3.2756
28 | -0.023272 | -0.0058366 | 0.023274 | 0.0058382 | 2.4922e-06 | 1.5287e-06 | 0.035434 | 0.035434 | 0.035434 | 0.97732 | -0.43668 | 0.97744 | -0.43444 | 9.7347
29 | 0.016127 | 0.004044 | -0.016125 | -0.0040432 | 1.356e-06 | 7.9267e-07 | 0.024552 | 0.024552 | 0.024552 | 0.97744 | -0.43444 | 0.97735 | -0.4362 | 6.7449
30 | -0.039401 | -0.0098821 | 0.039421 | 0.0098945 | 1.9663e-05 | 1.2401e-05 | 0.059986 | 0.059986 | 0.059986 | 0.97744 | -0.43444 | 0.97797 | -0.42397 | 16.4796
31 | 0.016125 | 0.0040432 | -0.01612 | -0.0040401 | 5.3362e-06 | 3.1194e-06 | 0.024552 | 0.024552 | 0.024552 | 0.97735 | -0.4362 | 0.97699 | -0.44315 | 6.745
32 | -0.046268 | -0.011611 | 0.04633 | 0.01165 | 6.1419e-05 | 3.8893e-05 | 0.070405 | 0.070404 | 0.070405 | 0.97797 | -0.42397 | 0.97939 | -0.39617 | 19.3419
33 | 0.011305 | 0.0028349 | -0.0113 | -0.002832 | 5.3582e-06 | 2.8133e-06 | 0.017129 | 0.017129 | 0.017129 | 0.98216 | -0.34213 | 0.98165 | -0.35208 | 4.7058

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36904 | 0.093345

## res_load
| p_mw | q_mvar
0 | 0.091267 | 0.022874
1 | 0.023492 | 0.0058877
2 | 0.054854 | 0.013748
3 | 0.026677 | 0.0066859
4 | 0.00052736 | 0.00013217
5 | 0.0041609 | 0.0010428
6 | 0.0021265 | 0.00053296
7 | 0.01792 | 0.0044911
8 | 0.0012574 | 0.00031514
9 | 0.0034191 | 0.00085691
10 | 0.004073 | 0.0010208
11 | 0.0040709 | 0.0010203
12 | 0.0061113 | 0.0015316
13 | 0.0036877 | 0.00092424
14 | 0.0040559 | 0.0010165
15 | 0.027394 | 0.0068655
16 | 0.03148 | 0.0078895
17 | 0.01543 | 0.003867
18 | 0.0078289 | 0.0019621
19 | 0.0068476 | 0.0017162
20 | 0.01612 | 0.0040401
21 | 0.0113 | 0.002832

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1