## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2295-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2295-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2295-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2295-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2295-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2295-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2295-9_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2295-9_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2295-9_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2295-9_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2295-9_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_2295-9_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2295-9_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2295-9_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2295-9_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2295-9_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2295-9_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2295-9_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2295-9_0_3_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_2295-9_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2295-9_0_3_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_2295-9_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_2295-9_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_2295-9_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_2295-9_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_2295-9_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2295-9_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2295-9_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2295-9_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_2295-9_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2295-9_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2295-9_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2295-9_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2295-9_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2295-9_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2295-9_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_2295-9_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2295-9_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2295-9_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_2295-9_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2295-9_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_2295-9_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2295-9_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_2295-9_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_2295-9_0_3_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_2295-9_0_3_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_2295-9_0_3_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_2295-9_0_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_2295-9_0_3_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_2295-9_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2295-9_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2295-9_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2295-9_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2295-9_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2295-9_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2295-9_0_3_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_2295-9_0_3_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_2295-9_0_3_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_2295-9_0_3_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_2295-9_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_2295-9_0_3_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_2295-9_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2295-9_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2295-9_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2295-9_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2295-9_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2295-9_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2295-9_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_2295-9_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_2295-9_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_2295-9_0_3_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_2295-9_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_2295-9_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_2295-9_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_2295-9_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_2295-9_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_2295-9_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_2295-9_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_2295-9_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_2295-9_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_2295-9_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_2295-9_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2295-9_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_2295-9_0_3_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_2295-9_0_3_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_2295-9_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_2295-9_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_2295-9_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_2295-9_0_3_node_87 | 0.4 | n |  | TRUE
89 | bus_MV_380_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2295-9_0_3_load_0 | 0 | 0.00029805 | 7.4699e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2295-9_0_3_load_1 | 1 | 0.00015983 | 4.0058e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2295-9_0_3_load_3 | 3 | 7.8275e-05 | 1.9617e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2295-9_0_3_load_5 | 5 | 0.00025761 | 6.4563e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2295-9_0_3_load_6 | 6 | 6.2143e-05 | 1.5574e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2295-9_0_3_load_7 | 7 | 0.00011353 | 2.8454e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2295-9_0_3_load_8 | 8 | 0.0001926 | 4.827e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2295-9_0_3_load_9 | 9 | 0.00046405 | 0.0001163 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2295-9_0_3_load_30 | 10 | 0.00035935 | 9.0061e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2295-9_0_3_load_10 | 12 | 0.00016315 | 4.0888e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2295-9_0_3_load_19 | 15 | 0.00014322 | 3.5895e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2295-9_0_3_load_21 | 16 | 8.2258e-05 | 2.0616e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2295-9_0_3_load_17 | 17 | 0.00059348 | 0.00014874 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2295-9_0_3_load_22 | 19 | 0.00030998 | 7.7688e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2295-9_0_3_load_31 | 21 | 0.00012733 | 3.1912e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2295-9_0_3_load_32 | 22 | 0.00027748 | 6.9543e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2295-9_0_3_load_12 | 24 | 0.00047593 | 0.00011928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2295-9_0_3_load_13 | 25 | 6.3788e-05 | 1.5987e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2295-9_0_3_load_15 | 26 | 0.00023597 | 5.9139e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2295-9_0_3_load_36 | 27 | 0.00014048 | 3.5208e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2295-9_0_3_load_18 | 29 | 7.8686e-05 | 1.9721e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2295-9_0_3_load_20 | 30 | 0.00016724 | 4.1916e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2295-9_0_3_load_35 | 31 | 0.00011139 | 2.7916e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2295-9_0_3_load_23 | 32 | 0.020171 | 0.0050552 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2295-9_0_3_load_24 | 33 | 0.0063469 | 0.0015907 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2295-9_0_3_load_25 | 34 | 0.00606 | 0.0015188 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2295-9_0_3_load_38 | 35 | 0.0031021 | 0.00077747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2295-9_0_3_load_26 | 36 | 0.012832 | 0.0032159 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2295-9_0_3_load_27 | 37 | 0.0075828 | 0.0019004 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2295-9_0_3_load_42 | 40 | 0.0033232 | 0.00083287 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2295-9_0_3_load_43 | 42 | 0.00071641 | 0.00017955 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2295-9_0_3_load_28 | 43 | 0.0043798 | 0.0010977 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2295-9_0_3_load_66 | 44 | 0.008163 | 0.0020458 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2295-9_0_3_load_63 | 45 | 0.0081477 | 0.002042 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2295-9_0_3_load_67 | 46 | 0.0025942 | 0.00065017 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2295-9_0_3_load_64 | 47 | 0.0044502 | 0.0011153 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2295-9_0_3_load_44 | 49 | 0.015354 | 0.003848 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2295-9_0_3_load_46 | 50 | 0.007192 | 0.0018025 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2295-9_0_3_load_45 | 51 | 0.0013498 | 0.0003383 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2295-9_0_3_load_47 | 52 | 0.030084 | 0.0075397 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2295-9_0_3_load_48 | 53 | 0.030073 | 0.007537 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2295-9_0_3_load_65 | 55 | 0.0047537 | 0.0011914 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2295-9_0_3_load_57 | 59 | 0.0020882 | 0.00052336 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2295-9_0_3_load_83 | 60 | 0.0089242 | 0.0022366 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2295-9_0_3_load_50 | 61 | 0.019984 | 0.0050084 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2295-9_0_3_load_53 | 64 | 0.0036525 | 0.00091539 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2295-9_0_3_load_54 | 65 | 0.0041637 | 0.0010435 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2295-9_0_3_load_55 | 66 | 0.0088731 | 0.0022238 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2295-9_0_3_load_56 | 67 | 0.024427 | 0.006122 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2295-9_0_3_load_59 | 69 | 0.0095036 | 0.0023818 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2295-9_0_3_load_89 | 70 | 0.0042406 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2295-9_0_3_load_61 | 71 | 0.01812 | 0.0045412 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2295-9_0_3_load_68 | 72 | 0.004013 | 0.0010058 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2295-9_0_3_load_69 | 73 | 0.0025226 | 0.00063222 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2295-9_0_3_load_74 | 74 | 0.0043241 | 0.0010837 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2295-9_0_3_load_70 | 76 | 0.0087011 | 0.0021807 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2295-9_0_3_load_73 | 78 | 0.0050871 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2295-9_0_3_load_76 | 79 | 0.0019054 | 0.00047753 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2295-9_0_3_load_77 | 81 | 0.0026885 | 0.0006738 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2295-9_0_3_load_78 | 82 | 0.0027714 | 0.00069457 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2295-9_0_3_load_88 | 84 | 0.0081857 | 0.0020515 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2295-9_0_3_load_80 | 85 | 0.0031759 | 0.00079595 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2295-9_0_3_load_79 | 86 | 0.0076292 | 0.0019121 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2295-9_0_3_load_81 | 87 | 0.0030084 | 0.00075398 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2295-9_0_3_load_87 | 88 | 0.0036898 | 0.00092474 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2295-9_0_3_line_0 |  | 0 | 1 | 0.043401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2295-9_0_3_line_1 |  | 0 | 2 | 0.046743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2295-9_0_3_line_2 |  | 1 | 3 | 0.010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2295-9_0_3_line_3 |  | 2 | 4 | 0.008042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2295-9_0_3_line_4 |  | 2 | 5 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2295-9_0_3_line_5 |  | 4 | 6 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2295-9_0_3_line_6 |  | 4 | 7 | 0.028011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2295-9_0_3_line_7 |  | 5 | 8 | 0.017728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2295-9_0_3_line_8 |  | 6 | 9 | 0.025348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2295-9_0_3_line_9 |  | 7 | 10 | 0.026671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2295-9_0_3_line_10 |  | 8 | 11 | 0.082616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2295-9_0_3_line_11 |  | 9 | 12 | 0.018638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2295-9_0_3_line_12 |  | 11 | 13 | 0.078977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2295-9_0_3_line_13 |  | 12 | 14 | 0.063188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2295-9_0_3_line_14 |  | 13 | 26 | 0.15181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2295-9_0_3_line_15 |  | 13 | 25 | 0.055288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2295-9_0_3_line_16 |  | 14 | 18 | 0.055084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2295-9_0_3_line_17 |  | 15 | 16 | 0.030106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2295-9_0_3_line_18 |  | 15 | 17 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2295-9_0_3_line_19 |  | 16 | 19 | 0.036211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2295-9_0_3_line_20 |  | 16 | 20 | 0.06131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2295-9_0_3_line_21 |  | 17 | 29 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2295-9_0_3_line_22 |  | 18 | 19 | 0.03561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2295-9_0_3_line_23 |  | 20 | 23 | 0.096705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2295-9_0_3_line_24 |  | 21 | 22 | 0.0094598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2295-9_0_3_line_25 |  | 21 | 23 | 0.048251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2295-9_0_3_line_26 |  | 24 | 25 | 0.0068752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2295-9_0_3_line_27 |  | 26 | 27 | 0.01248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2295-9_0_3_line_28 |  | 27 | 28 | 0.11531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2295-9_0_3_line_29 |  | 28 | 48 | 0.37918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2295-9_0_3_line_30 |  | 29 | 30 | 0.011541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2295-9_0_3_line_31 |  | 30 | 31 | 0.072378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2295-9_0_3_line_32 |  | 32 | 33 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2295-9_0_3_line_33 |  | 32 | 34 | 0.016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2295-9_0_3_line_34 |  | 32 | 35 | 0.27777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2295-9_0_3_line_35 |  | 33 | 36 | 0.0087644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2295-9_0_3_line_36 |  | 34 | 37 | 0.0042693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2295-9_0_3_line_37 |  | 35 | 38 | 0.12611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2295-9_0_3_line_38 |  | 35 | 39 | 0.19199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2295-9_0_3_line_39 |  | 36 | 43 | 0.011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2295-9_0_3_line_40 |  | 37 | 44 | 0.022376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2295-9_0_3_line_41 |  | 38 | 40 | 0.039459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2295-9_0_3_line_42 |  | 39 | 41 | 0.16517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2295-9_0_3_line_43 |  | 40 | 49 | 0.078951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2295-9_0_3_line_44 |  | 41 | 42 | 0.027343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2295-9_0_3_line_45 |  | 43 | 45 | 0.0054923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2295-9_0_3_line_46 |  | 44 | 46 | 0.0098943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2295-9_0_3_line_47 |  | 45 | 47 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2295-9_0_3_line_48 |  | 46 | 72 | 0.016308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2295-9_0_3_line_49 |  | 47 | 55 | 0.0073758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2295-9_0_3_line_50 |  | 48 | 49 | 0.12478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2295-9_0_3_line_51 |  | 50 | 51 | 0.0054819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2295-9_0_3_line_52 |  | 51 | 52 | 0.023456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2295-9_0_3_line_53 |  | 52 | 53 | 0.027705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2295-9_0_3_line_54 |  | 53 | 54 | 0.058754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2295-9_0_3_line_55 |  | 54 | 55 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2295-9_0_3_line_56 |  | 54 | 56 | 0.049917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2295-9_0_3_line_57 |  | 56 | 60 | 0.03023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2295-9_0_3_line_58 |  | 56 | 57 | 0.039143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2295-9_0_3_line_59 |  | 57 | 58 | 0.038007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2295-9_0_3_line_60 |  | 57 | 59 | 0.073259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2295-9_0_3_line_61 |  | 58 | 88 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2295-9_0_3_line_62 |  | 59 | 64 | 0.0021492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2295-9_0_3_line_63 |  | 60 | 83 | 0.0097241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2295-9_0_3_line_64 |  | 61 | 62 | 0.065955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2295-9_0_3_line_65 |  | 61 | 63 | 0.018846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2295-9_0_3_line_66 |  | 62 | 64 | 0.017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2295-9_0_3_line_67 |  | 62 | 65 | 0.027653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2295-9_0_3_line_68 |  | 63 | 66 | 0.022911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2295-9_0_3_line_69 |  | 63 | 67 | 0.028059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2295-9_0_3_line_70 |  | 65 | 68 | 0.019606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2295-9_0_3_line_71 |  | 66 | 69 | 0.027034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2295-9_0_3_line_72 |  | 68 | 70 | 0.020511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2295-9_0_3_line_73 |  | 69 | 71 | 0.032258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2295-9_0_3_line_74 |  | 72 | 73 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2295-9_0_3_line_75 |  | 73 | 74 | 0.015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2295-9_0_3_line_76 |  | 74 | 75 | 0.0036821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2295-9_0_3_line_77 |  | 75 | 76 | 0.023069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2295-9_0_3_line_78 |  | 76 | 77 | 0.0011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2295-9_0_3_line_79 |  | 77 | 78 | 0.020521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2295-9_0_3_line_80 |  | 78 | 79 | 0.0045313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2295-9_0_3_line_81 |  | 80 | 81 | 0.010472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2295-9_0_3_line_82 |  | 80 | 82 | 0.01409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_2295-9_0_3_line_83 |  | 81 | 83 | 0.015438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2295-9_0_3_line_84 |  | 82 | 84 | 0.024725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_2295-9_0_3_line_85 |  | 83 | 85 | 0.025786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2295-9_0_3_line_86 |  | 85 | 86 | 0.00017502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2295-9_0_3_line_87 |  | 86 | 87 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2295-9_0_3_trafo_88 | 0.63 MVA 20/0.4 kV | 89 | 84 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2583265.4798 | 1192512.7521 | 2583262.2013 | 1192521.509 | 2583260.1803 | 1192529.2521 | 2583259.5813 | 1192535.7794 | 2583260.2319 | 1192547.595 | 2583260.9242 | 1192555.2234
1 | 2583301.2722 | 1192488.7486 | 2583287.9006 | 1192496.1011 | 2583279.7174 | 1192497.2024 | 2583273.5919 | 1192498.1757 | 2583269.3052 | 1192502.5345 | 2583265.4798 | 1192512.7521
2 | 2583261.9152 | 1192566.1445 | 2583260.9242 | 1192555.2234
3 | 2583301.2722 | 1192488.7486 | 2583309.1959 | 1192490.2494
4 | 2583301.2722 | 1192488.7486 | 2583296.6608 | 1192474.5633
5 | 2583309.1959 | 1192490.2494 | 2583314.6241 | 1192498.8276 | 2583320.5143 | 1192506.6698
6 | 2583309.1959 | 1192490.2494 | 2583310.7581 | 1192484.6865 | 2583316.4052 | 1192463.1823
7 | 2583296.6608 | 1192474.5633 | 2583294.9752 | 1192469.3782 | 2583292.5089 | 1192457.3529
8 | 2583332.7608 | 1192528.5169 | 2583332.186 | 1192526.1484 | 2583329.0305 | 1192518.0085 | 2583320.5143 | 1192506.6698
9 | 2583328.2121 | 1192440.8144 | 2583324.5433 | 1192442.6589 | 2583320.668 | 1192446.9498 | 2583316.4052 | 1192463.1823
10 | 2583248.1022 | 1192392.2691 | 2583282.9203 | 1192421.798 | 2583287.5717 | 1192433.2799 | 2583292.5089 | 1192457.3529
11 | 2583332.7608 | 1192528.5169 | 2583334.1216 | 1192534.125 | 2583335.9711 | 1192546.8589
12 | 2583248.1022 | 1192392.2691 | 2583242.8115 | 1192400.0992 | 2583235.7412 | 1192406.6671 | 2583208.0607 | 1192435.0268 | 2583192.6784 | 1192448.355
13 | 2583375.1414 | 1192595.8763 | 2583353.6743 | 1192572.9353 | 2583342.4556 | 1192559.7152 | 2583336.0568 | 1192547.4488 | 2583335.9711 | 1192546.8589
14 | 2583192.6784 | 1192448.355 | 2583183.981 | 1192456.306 | 2583177.5065 | 1192468.6864 | 2583163.4515 | 1192511.9379 | 2583154.4906 | 1192555.9977 | 2583143.7978 | 1192572.5478 | 2583133.359 | 1192584.5504
15 | 2583192.6784 | 1192448.355 | 2583202.5298 | 1192457.6766 | 2583207.0442 | 1192463.7782 | 2583211.5706 | 1192474.1598 | 2583216.7369 | 1192492.4883 | 2583217.2148 | 1192496.2246
16 | 2583375.1414 | 1192595.8763 | 2583429.4537 | 1192586.6867
17 | 2583430.6397 | 1192484.7671 | 2583430.368 | 1192514.8714
18 | 2583430.6397 | 1192484.7671 | 2583430.7572 | 1192471.7556 | 2583432.8165 | 1192462.2946
19 | 2583430.0116 | 1192551.0809 | 2583430.0815 | 1192546.6193 | 2583430.368 | 1192514.8714
20 | 2583430.368 | 1192514.8714 | 2583490.6733 | 1192503.8172
21 | 2583435.3942 | 1192451.4641 | 2583434.9943 | 1192452.289 | 2583432.8165 | 1192462.2946
22 | 2583429.4537 | 1192586.6867 | 2583430.0116 | 1192551.0809
23 | 2583490.6733 | 1192503.8172 | 2583499.6032 | 1192497.1222 | 2583507.3383 | 1192496.5894 | 2583521.2537 | 1192503.8436 | 2583549.2869 | 1192530.9582 | 2583567.6501 | 1192545.2483
24 | 2583612.8253 | 1192513.4496 | 2583609.6591 | 1192518.7407 | 2583607.0625 | 1192520.7672
25 | 2583567.6501 | 1192545.2483 | 2583577.3457 | 1192545.3216 | 2583598.3948 | 1192527.532 | 2583607.0625 | 1192520.7672
26 | 2583218.0872 | 1192503.0443 | 2583217.2148 | 1192496.2246
27 | 2583121.8386 | 1192589.35 | 2583133.359 | 1192584.5504 | 2583133.359 | 1192584.5504
28 | 2583015.33 | 1192608.3763 | 2583019.4438 | 1192604.9739 | 2583040.6685 | 1192590.6058 | 2583060.4779 | 1192582.4117 | 2583080.3532 | 1192581.288 | 2583104.7202 | 1192589.034 | 2583119.0388 | 1192590.5164 | 2583121.8386 | 1192589.35
29 | 2583015.33 | 1192608.3763 | 2582942.4243 | 1192980.4819
30 | 2583440.4283 | 1192441.0791 | 2583435.3942 | 1192451.4641
31 | 2583440.4283 | 1192441.0791 | 2583508.4651 | 1192416.3888
32 | 2583449.6347 | 1193163.9363 | 2583457.5036 | 1193148.7701
33 | 2583449.6347 | 1193163.9363 | 2583449.6347 | 1193163.9363 | 2583463.5449 | 1193173.0978
34 | 2583449.6347 | 1193163.9363 | 2583173.1062 | 1193190.1811
35 | 2583457.5036 | 1193148.7701 | 2583461.54 | 1193140.9905
36 | 2583463.5449 | 1193173.0978 | 2583467.1103 | 1193175.4461
37 | 2583047.5071 | 1193193.0834 | 2583059.2371 | 1193196.0071 | 2583173.1062 | 1193190.1811
38 | 2583173.1062 | 1193190.1811 | 2583226.2061 | 1193374.6846
39 | 2583468.127 | 1193131.1565 | 2583461.5743 | 1193140.9243 | 2583461.54 | 1193140.9905
40 | 2583485.7977 | 1193187.7539 | 2583467.1103 | 1193175.4461
41 | 2583047.5071 | 1193193.0834 | 2583041.3454 | 1193175.7362 | 2583026.3197 | 1193160.9934 | 2583026.3197 | 1193160.9934
42 | 2583138.051 | 1193503.1352 | 2583145.3735 | 1193491.9752 | 2583147.2115 | 1193489.7466 | 2583151.864 | 1193488.3549 | 2583158.4937 | 1193482.7888 | 2583163.805 | 1193474.5249 | 2583168.9123 | 1193469.5634 | 2583172.4479 | 1193466.7074 | 2583175.9522 | 1193463.5069 | 2583177.4773 | 1193461.1347 | 2583178.7745 | 1193459.041 | 2583179.1093 | 1193453.4482 | 2583179.612 | 1193447.955 | 2583185.3986 | 1193437.9556 | 2583187.8923 | 1193433.1571 | 2583191.7207 | 1193428.6995 | 2583194.7481 | 1193418.53 | 2583197.0717 | 1193412.876 | 2583199.2196 | 1193407.0112 | 2583202.006 | 1193403.2792 | 2583206.4032 | 1193400.5209 | 2583208.7399 | 1193399.4915 | 2583209.4239 | 1193396.1211 | 2583210.8023 | 1193393.0489 | 2583213.158 | 1193390.6299 | 2583215.4576 | 1193389.9453 | 2583217.6922 | 1193390.5059 | 2583219.9177 | 1193390.5663 | 2583221.7853 | 1193388.0153 | 2583222.502 | 1193385.4341 | 2583222.7205 | 1193381.8094 | 2583223.5861 | 1193377.9715 | 2583226.2061 | 1193374.6846
43 | 2582982.2262 | 1193098.493 | 2582984.1621 | 1193103.7279 | 2582989.7533 | 1193118.6754 | 2582996.9461 | 1193134.0519 | 2583005.0117 | 1193145.4571 | 2583013.6992 | 1193153.1697 | 2583026.3197 | 1193160.9934
44 | 2583138.051 | 1193503.1352 | 2583142.8584 | 1193505.345 | 2583147.1101 | 1193507.7564 | 2583150.7232 | 1193510.7033 | 2583154.6299 | 1193515.1057 | 2583157.7226 | 1193519.9885 | 2583158.1247 | 1193520.7215
45 | 2583471.5929 | 1193126.9318 | 2583469.726 | 1193128.773 | 2583468.127 | 1193131.1565
46 | 2583485.7977 | 1193187.7539 | 2583492.6979 | 1193192.2985 | 2583494.1185 | 1193193.1016
47 | 2583471.5929 | 1193126.9318 | 2583486.2646 | 1193112.4624
48 | 2583508.3146 | 1193201.1272 | 2583494.1185 | 1193193.1016
49 | 2583486.2646 | 1193112.4624 | 2583491.5161 | 1193107.2833
50 | 2582942.4243 | 1192980.4819 | 2582943.8789 | 1192985.4137 | 2582946.4292 | 1192992.3657 | 2582953.5412 | 1193008.6762 | 2582961.5373 | 1193027.6856 | 2582968.0767 | 1193049.0449 | 2582978.2402 | 1193087.7141 | 2582982.2262 | 1193098.493
51 | 2583418.4006 | 1193027.4143 | 2583414.6875 | 1193023.3813
52 | 2583418.4006 | 1193027.4143 | 2583434.2882 | 1193044.6702
53 | 2583454.6137 | 1193063.3692 | 2583454.6137 | 1193063.3692 | 2583443.2327 | 1193054.385 | 2583434.2882 | 1193044.6702
54 | 2583504.3849 | 1193094.5921 | 2583454.6137 | 1193063.3692
55 | 2583504.3849 | 1193094.5921 | 2583491.5161 | 1193107.2833
56 | 2583504.3849 | 1193094.5921 | 2583523.9065 | 1193106.7 | 2583545.9221 | 1193122.2362
57 | 2583545.9221 | 1193122.2362 | 2583566.8463 | 1193144.0542
58 | 2583545.9221 | 1193122.2362 | 2583555.9676 | 1193111.3693 | 2583567.1466 | 1193102.4893 | 2583575.0328 | 1193096.2309
59 | 2583575.0328 | 1193096.2309 | 2583550.4723 | 1193067.1722
60 | 2583575.0328 | 1193096.2309 | 2583606.648 | 1193129.9505 | 2583625.7986 | 1193149.0356
61 | 2583550.4723 | 1193067.1722 | 2583539.6655 | 1193079.8819
62 | 2583625.7986 | 1193149.0356 | 2583627.3209 | 1193150.5527
63 | 2583573.69 | 1193150.9525 | 2583572.4525 | 1193149.8998 | 2583566.8463 | 1193144.0542
64 | 2583639.9614 | 1193163.2432 | 2583687.7619 | 1193208.6872
65 | 2583701.4202 | 1193221.6722 | 2583687.7619 | 1193208.6872
66 | 2583639.9614 | 1193163.2432 | 2583627.3283 | 1193150.5601 | 2583627.3209 | 1193150.5527
67 | 2583639.9614 | 1193163.2432 | 2583660.4347 | 1193144.6548
68 | 2583701.4202 | 1193221.6722 | 2583715.3439 | 1193213.1963 | 2583720.1456 | 1193208.6529
69 | 2583701.4202 | 1193221.6722 | 2583721.8248 | 1193240.9325
70 | 2583673.32 | 1193129.8783 | 2583660.4347 | 1193144.6548
71 | 2583720.1456 | 1193208.6529 | 2583734.4089 | 1193195.1568 | 2583741.7133 | 1193196.3263
72 | 2583673.32 | 1193129.8783 | 2583688.0486 | 1193144.1535
73 | 2583765.0769 | 1193218.4817 | 2583760.4622 | 1193213.2174 | 2583750.3371 | 1193203.3843 | 2583741.7133 | 1193196.3263 | 2583741.7133 | 1193196.3263
74 | 2583508.3146 | 1193201.1272 | 2583518.698 | 1193206.9973
75 | 2583532.1321 | 1193214.5922 | 2583518.698 | 1193206.9973
76 | 2583535.3374 | 1193216.4043 | 2583532.1321 | 1193214.5922
77 | 2583535.3374 | 1193216.4043 | 2583555.5766 | 1193227.474
78 | 2583556.572 | 1193228.0184 | 2583555.5766 | 1193227.474
79 | 2583556.572 | 1193228.0184 | 2583561.9735 | 1193235.563 | 2583562.7599 | 1193241.6085 | 2583560.8158 | 1193246.3724
80 | 2583559.1036 | 1193250.5678 | 2583560.8158 | 1193246.3724
81 | 2583555.7476 | 1193169.6453 | 2583562.9993 | 1193162.0903
82 | 2583555.7476 | 1193169.6453 | 2583543.233 | 1193163.1706
83 | 2583573.69 | 1193150.9525 | 2583562.9993 | 1193162.0903
84 | 2583521.2725 | 1193151.8089 | 2583543.233 | 1193163.1706
85 | 2583573.69 | 1193150.9525 | 2583592.8659 | 1193168.1927
86 | 2583592.8659 | 1193168.1927 | 2583592.9961 | 1193168.3097
87 | 2583605.7412 | 1193179.7683 | 2583592.9961 | 1193168.3097

## bus_geodata
| x | y | coords
0 | 2583265.4798 | 1192512.7521
1 | 2583260.9242 | 1192555.2234
2 | 2583301.2722 | 1192488.7486
3 | 2583261.9152 | 1192566.1445
4 | 2583309.1959 | 1192490.2494
5 | 2583296.6608 | 1192474.5633
6 | 2583320.5143 | 1192506.6698
7 | 2583316.4052 | 1192463.1823
8 | 2583292.5089 | 1192457.3529
9 | 2583332.7608 | 1192528.5169
10 | 2583328.2121 | 1192440.8144
11 | 2583248.1022 | 1192392.2691
12 | 2583335.9711 | 1192546.8589
13 | 2583192.6784 | 1192448.355
14 | 2583375.1414 | 1192595.8763
15 | 2583430.6397 | 1192484.7671
16 | 2583430.368 | 1192514.8714
17 | 2583432.8165 | 1192462.2946
18 | 2583429.4537 | 1192586.6867
19 | 2583430.0116 | 1192551.0809
20 | 2583490.6733 | 1192503.8172
21 | 2583607.0625 | 1192520.7672
22 | 2583612.8253 | 1192513.4496
23 | 2583567.6501 | 1192545.2483
24 | 2583218.0872 | 1192503.0443
25 | 2583217.2148 | 1192496.2246
26 | 2583133.359 | 1192584.5504
27 | 2583121.8386 | 1192589.35
28 | 2583015.33 | 1192608.3763
29 | 2583435.3942 | 1192451.4641
30 | 2583440.4283 | 1192441.0791
31 | 2583508.4651 | 1192416.3888
32 | 2583449.6347 | 1193163.9363
33 | 2583457.5036 | 1193148.7701
34 | 2583463.5449 | 1193173.0978
35 | 2583173.1062 | 1193190.1811
36 | 2583461.54 | 1193140.9905
37 | 2583467.1103 | 1193175.4461
38 | 2583047.5071 | 1193193.0834
39 | 2583226.2061 | 1193374.6846
40 | 2583026.3197 | 1193160.9934
41 | 2583138.0509 | 1193503.1352
42 | 2583158.1247 | 1193520.7215
43 | 2583468.127 | 1193131.1565
44 | 2583485.7977 | 1193187.7539
45 | 2583471.5929 | 1193126.9318
46 | 2583494.1185 | 1193193.1016
47 | 2583486.2646 | 1193112.4624
48 | 2582942.4243 | 1192980.4819
49 | 2582982.2262 | 1193098.493
50 | 2583414.6875 | 1193023.3813
51 | 2583418.4006 | 1193027.4143
52 | 2583434.2882 | 1193044.6702
53 | 2583454.6137 | 1193063.3692
54 | 2583504.3849 | 1193094.5921
55 | 2583491.5161 | 1193107.2833
56 | 2583545.9221 | 1193122.2362
57 | 2583575.0328 | 1193096.2309
58 | 2583550.4723 | 1193067.1722
59 | 2583625.7986 | 1193149.0356
60 | 2583566.8463 | 1193144.0542
61 | 2583687.7619 | 1193208.6872
62 | 2583639.9614 | 1193163.2432
63 | 2583701.4202 | 1193221.6722
64 | 2583627.3209 | 1193150.5527
65 | 2583660.4347 | 1193144.6548
66 | 2583720.1456 | 1193208.6529
67 | 2583721.8248 | 1193240.9325
68 | 2583673.32 | 1193129.8783
69 | 2583741.7133 | 1193196.3263
70 | 2583688.0486 | 1193144.1535
71 | 2583765.0769 | 1193218.4817
72 | 2583508.3146 | 1193201.1272
73 | 2583518.698 | 1193206.9973
74 | 2583532.1321 | 1193214.5922
75 | 2583535.3374 | 1193216.4043
76 | 2583555.5766 | 1193227.474
77 | 2583556.572 | 1193228.0184
78 | 2583560.8158 | 1193246.3724
79 | 2583559.1036 | 1193250.5678
80 | 2583555.7476 | 1193169.6453
81 | 2583562.9993 | 1193162.0903
82 | 2583543.233 | 1193163.1706
83 | 2583573.69 | 1193150.9525
84 | 2583521.2725 | 1193151.8089
85 | 2583592.8659 | 1193168.1927
86 | 2583592.9961 | 1193168.3097
87 | 2583605.7412 | 1193179.7683
88 | 2583539.6655 | 1193079.8819
89 | 2583555.7476 | 1193169.6453

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97118 | -0.55886 | 0.00029805 | 7.4699e-05
1 | 0.97117 | -0.55905 | 0.00015983 | 4.0058e-05
2 | 0.9712 | -0.5584 | 0 | 0
3 | 0.97117 | -0.55907 | 7.8275e-05 | 1.9617e-05
4 | 0.97118 | -0.55885 | 0 | 0
5 | 0.97125 | -0.5574 | 0.00025761 | 6.4563e-05
6 | 0.97113 | -0.55981 | 6.2143e-05 | 1.5574e-05
7 | 0.97117 | -0.5591 | 0.00011353 | 2.8454e-05
8 | 0.97132 | -0.55613 | 0.0001926 | 4.827e-05
9 | 0.97107 | -0.561 | 0.00046405 | 0.0001163
10 | 0.97116 | -0.55928 | 0.00035935 | 9.0061e-05
11 | 0.97163 | -0.54993 | 0 | 0
12 | 0.97104 | -0.56171 | 0.00016315 | 4.0888e-05
13 | 0.97193 | -0.544 | 0 | 0
14 | 0.97093 | -0.56394 | 0 | 0
15 | 0.97068 | -0.56882 | 0.00014322 | 3.5895e-05
16 | 0.97071 | -0.56821 | 8.2258e-05 | 2.0616e-05
17 | 0.97066 | -0.56922 | 0.00059348 | 0.00014874
18 | 0.97083 | -0.56588 | 0 | 0
19 | 0.97077 | -0.56714 | 0.00030998 | 7.7688e-05
20 | 0.97069 | -0.56867 | 0 | 0
21 | 0.97063 | -0.56976 | 0.00012733 | 3.1912e-05
22 | 0.97063 | -0.56981 | 0.00027748 | 6.9543e-05
23 | 0.97065 | -0.5694 | 0 | 0
24 | 0.97189 | -0.54461 | 0.00047593 | 0.00011928
25 | 0.9719 | -0.54455 | 6.3788e-05 | 1.5987e-05
26 | 0.97257 | -0.53108 | 0.00023597 | 5.9139e-05
27 | 0.97263 | -0.52996 | 0.00014048 | 3.5208e-05
28 | 0.97316 | -0.51935 | 0 | 0
29 | 0.97066 | -0.56929 | 7.8686e-05 | 1.9721e-05
30 | 0.97065 | -0.56935 | 0.00016724 | 4.1916e-05
31 | 0.97065 | -0.5695 | 0.00011139 | 2.7916e-05
32 | 0.98298 | -0.32614 | 0.020171 | 0.0050552
33 | 0.9835 | -0.31601 | 0.0063469 | 0.0015907
34 | 0.9822 | -0.34146 | 0.00606 | 0.0015188
35 | 0.98062 | -0.37225 | 0.0031021 | 0.00077747
36 | 0.98378 | -0.31048 | 0.012832 | 0.0032159
37 | 0.98202 | -0.34493 | 0.0075828 | 0.0019004
38 | 0.97785 | -0.42657 | 0 | 0
39 | 0.98049 | -0.37478 | 0 | 0
40 | 0.97698 | -0.44363 | 0.0033232 | 0.00083287
41 | 0.98038 | -0.37694 | 0 | 0
42 | 0.98036 | -0.37729 | 0.00071641 | 0.00017955
43 | 0.98421 | -0.30211 | 0.0043798 | 0.0010977
44 | 0.98125 | -0.36003 | 0.008163 | 0.0020458
45 | 0.98442 | -0.29808 | 0.0081477 | 0.002042
46 | 0.98098 | -0.36525 | 0.0025942 | 0.00065017
47 | 0.98525 | -0.28199 | 0.0044502 | 0.0011153
48 | 0.97491 | -0.4845 | 0 | 0
49 | 0.97549 | -0.47304 | 0.015354 | 0.003848
50 | 0.98139 | -0.35722 | 0.007192 | 0.0018025
51 | 0.98143 | -0.35651 | 0.0013498 | 0.0003383
52 | 0.98161 | -0.35289 | 0.030084 | 0.0075397
53 | 0.9826 | -0.33355 | 0.030073 | 0.007537
54 | 0.98633 | -0.26096 | 0 | 0
55 | 0.98555 | -0.27604 | 0.0047537 | 0.0011914
56 | 0.98953 | -0.19906 | 0 | 0
57 | 0.98773 | -0.23353 | 0 | 0
58 | 0.9876 | -0.23603 | 0 | 0
59 | 0.98124 | -0.35877 | 0.0020882 | 0.00052336
60 | 0.9924 | -0.14414 | 0.0089242 | 0.0022366
61 | 0.97459 | -0.48883 | 0.019984 | 0.0050084
62 | 0.97957 | -0.3914 | 0 | 0
63 | 0.97352 | -0.50992 | 0 | 0
64 | 0.98106 | -0.36238 | 0.0036525 | 0.00091539
65 | 0.97935 | -0.39562 | 0.0041637 | 0.0010435
66 | 0.97274 | -0.52531 | 0.0088731 | 0.0022238
67 | 0.97288 | -0.52254 | 0.024427 | 0.006122
68 | 0.97927 | -0.39714 | 0 | 0
69 | 0.97204 | -0.53908 | 0.0095036 | 0.0023818
70 | 0.97919 | -0.39872 | 0.0042406 | 0.0010628
71 | 0.9715 | -0.54987 | 0.01812 | 0.0045412
72 | 0.98058 | -0.3731 | 0.004013 | 0.0010058
73 | 0.98033 | -0.37797 | 0.0025226 | 0.00063222
74 | 0.98004 | -0.38358 | 0.0043241 | 0.0010837
75 | 0.97999 | -0.38463 | 0 | 0
76 | 0.97966 | -0.3912 | 0.0087011 | 0.0021807
77 | 0.97965 | -0.39135 | 0 | 0
78 | 0.97952 | -0.39395 | 0.0050871 | 0.0012749
79 | 0.97951 | -0.39411 | 0.0019054 | 0.00047753
80 | 0.99599 | -0.075685 | 0 | 0
81 | 0.99492 | -0.0961 | 0.0026885 | 0.0006738
82 | 0.99744 | -0.048286 | 0.0027714 | 0.00069457
83 | 0.99335 | -0.12603 | 0 | 0
84 | 1 | 0 | -0.34292 | -0.087866
85 | 0.99302 | -0.13233 | 0.0031759 | 0.00079595
86 | 0.99302 | -0.13236 | 0.0076292 | 0.0019121
87 | 0.99297 | -0.13327 | 0.0030084 | 0.00075398
88 | 0.98755 | -0.23713 | 0.0036898 | 0.00092474
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00023811 | 5.9004e-05 | -0.00023811 | -5.954e-05 | 2.1645e-09 | -5.3565e-07 | 0.00036459 | 0.00036478 | 0.00036478 | 0.97118 | -0.55886 | 0.97117 | -0.55905 | 0.10021
1 | -0.00053616 | -0.0001337 | 0.00053617 | 0.00013313 | 1.1819e-08 | -5.7084e-07 | 0.00082125 | 0.00082105 | 0.00082125 | 0.97118 | -0.55886 | 0.9712 | -0.5584 | 0.22562
2 | 7.8275e-05 | 1.9482e-05 | -7.8275e-05 | -1.9617e-05 | 5.9125e-11 | -1.3565e-07 | 0.00011988 | 0.00011993 | 0.00011993 | 0.97117 | -0.55905 | 0.97117 | -0.55907 | 0.032948
3 | 0.0030543 | 0.00075748 | -0.0030543 | -0.00075754 | 6.5962e-08 | -5.7299e-08 | 0.0046768 | 0.0046768 | 0.0046768 | 0.9712 | -0.5584 | 0.97118 | -0.55885 | 1.2848
4 | -0.0035905 | -0.00089062 | 0.0035907 | 0.00089054 | 1.6907e-07 | -7.6385e-08 | 0.0054978 | 0.0054978 | 0.0054978 | 0.9712 | -0.5584 | 0.97125 | -0.5574 | 1.5104
5 | 0.0025814 | 0.0006397 | -0.0025813 | -0.00063987 | 1.1693e-07 | -1.7213e-07 | 0.0039525 | 0.0039526 | 0.0039526 | 0.97118 | -0.55885 | 0.97113 | -0.55981 | 1.0859
6 | 0.00047289 | 0.00011784 | -0.00047288 | -0.00011819 | 5.5117e-09 | -3.4308e-07 | 0.0007243 | 0.00072443 | 0.00072443 | 0.97118 | -0.55885 | 0.97117 | -0.5591 | 0.19902
7 | -0.0038483 | -0.0009551 | 0.0038485 | 0.00095503 | 2.3082e-07 | -7.1688e-08 | 0.0058924 | 0.0058923 | 0.0058924 | 0.97125 | -0.5574 | 0.97132 | -0.55613 | 1.6188
8 | 0.0025191 | 0.00062429 | -0.002519 | -0.00062452 | 1.4144e-07 | -2.2309e-07 | 0.0038574 | 0.0038575 | 0.0038575 | 0.97113 | -0.55981 | 0.97107 | -0.561 | 1.0597
9 | 0.00035935 | 8.9733e-05 | -0.00035935 | -9.0061e-05 | 3.0314e-09 | -3.2808e-07 | 0.00055047 | 0.00055059 | 0.00055059 | 0.97117 | -0.5591 | 0.97116 | -0.55928 | 0.15126
10 | -0.0040411 | -0.0010033 | 0.0040423 | 0.001003 | 1.186e-06 | -2.6386e-07 | 0.0061874 | 0.006187 | 0.0061874 | 0.97132 | -0.55613 | 0.97163 | -0.54993 | 1.6998
11 | 0.0020549 | 0.00050822 | -0.0020549 | -0.0005084 | 6.9196e-08 | -1.8629e-07 | 0.0031464 | 0.0031465 | 0.0031465 | 0.97107 | -0.561 | 0.97104 | -0.56171 | 0.86442
12 | -0.0040423 | -0.001003 | 0.0040434 | 0.0010028 | 1.1336e-06 | -2.5294e-07 | 0.006187 | 0.0061867 | 0.006187 | 0.97163 | -0.54993 | 0.97193 | -0.544 | 1.6997
13 | 0.0018917 | 0.00046751 | -0.0018915 | -0.00046817 | 1.9882e-07 | -6.5433e-07 | 0.0028965 | 0.0028968 | 0.0028968 | 0.97104 | -0.56171 | 0.97093 | -0.56394 | 0.79581
14 | -0.0045832 | -0.0011373 | 0.004586 | 0.0011372 | 2.7993e-06 | -9.1012e-08 | 0.0070127 | 0.0070121 | 0.0070127 | 0.97193 | -0.544 | 0.97257 | -0.53108 | 1.9266
15 | 0.00053974 | 0.00013451 | -0.00053972 | -0.00013518 | 1.4152e-08 | -6.761e-07 | 0.00082606 | 0.00082631 | 0.00082631 | 0.97193 | -0.544 | 0.9719 | -0.54455 | 0.22701
16 | 0.0018915 | 0.00046817 | -0.0018913 | -0.00046874 | 1.7335e-07 | -5.7024e-07 | 0.0028968 | 0.002897 | 0.002897 | 0.97093 | -0.56394 | 0.97083 | -0.56588 | 0.79588
17 | -0.001094 | -0.00027274 | 0.0010941 | 0.00027239 | 3.1732e-08 | -3.5185e-07 | 0.0016766 | 0.0016765 | 0.0016766 | 0.97068 | -0.56882 | 0.97071 | -0.56821 | 0.4606
18 | 0.00095081 | 0.00023685 | -0.0009508 | -0.00023712 | 1.8069e-08 | -2.6896e-07 | 0.001457 | 0.0014571 | 0.0014571 | 0.97068 | -0.56882 | 0.97066 | -0.56922 | 0.40031
19 | -0.0015812 | -0.00039182 | 0.0015812 | 0.00039142 | 7.9664e-08 | -3.9669e-07 | 0.0024222 | 0.002422 | 0.0024222 | 0.97071 | -0.56821 | 0.97077 | -0.56714 | 0.66544
20 | 0.00040484 | 9.8808e-05 | -0.00040483 | -9.956e-05 | 8.8313e-09 | -7.5225e-07 | 0.00061964 | 0.00061991 | 0.00061991 | 0.97071 | -0.56821 | 0.97069 | -0.56867 | 0.1703
21 | 0.00035732 | 8.8379e-05 | -0.00035732 | -8.8516e-05 | 1.2535e-09 | -1.371e-07 | 0.00054735 | 0.0005474 | 0.0005474 | 0.97066 | -0.56922 | 0.97066 | -0.56929 | 0.15038
22 | 0.0018913 | 0.00046874 | -0.0018912 | -0.00046911 | 1.1208e-07 | -3.6856e-07 | 0.002897 | 0.0028972 | 0.0028972 | 0.97083 | -0.56588 | 0.97077 | -0.56714 | 0.79592
23 | 0.00040483 | 9.956e-05 | -0.00040482 | -0.00010075 | 1.3945e-08 | -1.1864e-06 | 0.00061991 | 0.00062033 | 0.00062033 | 0.97069 | -0.56867 | 0.97065 | -0.5694 | 0.17042
24 | 0.00027748 | 6.9427e-05 | -0.00027748 | -6.9543e-05 | 6.4186e-10 | -1.1651e-07 | 0.00042535 | 0.00042539 | 0.00042539 | 0.97063 | -0.56976 | 0.97063 | -0.56981 | 0.11686
25 | -0.00040481 | -0.00010134 | 0.00040482 | 0.00010075 | 6.9652e-09 | -5.9194e-07 | 0.00062055 | 0.00062033 | 0.00062055 | 0.97063 | -0.56976 | 0.97065 | -0.5694 | 0.17048
26 | -0.00047593 | -0.00011928 | 0.00047593 | 0.0001192 | 1.3689e-09 | -8.4323e-08 | 0.00072867 | 0.00072864 | 0.00072867 | 0.97189 | -0.54461 | 0.9719 | -0.54455 | 0.20019
27 | -0.0048219 | -0.0011963 | 0.0048222 | 0.0011963 | 2.5442e-07 | 7.9457e-09 | 0.0073731 | 0.007373 | 0.0073731 | 0.97257 | -0.53108 | 0.97263 | -0.52996 | 2.0256
28 | -0.0049627 | -0.0012316 | 0.0049652 | 0.0012317 | 2.4895e-06 | 1.6141e-07 | 0.007588 | 0.0075874 | 0.007588 | 0.97263 | -0.52996 | 0.97316 | -0.51935 | 2.0846
29 | -0.0049652 | -0.0012317 | 0.0049733 | 0.0012322 | 8.1841e-06 | 5.1821e-07 | 0.0075874 | 0.0075858 | 0.0075874 | 0.97316 | -0.51935 | 0.97491 | -0.4845 | 2.0845
30 | 0.00027863 | 6.8795e-05 | -0.00027863 | -6.8937e-05 | 7.8833e-10 | -1.4215e-07 | 0.00042677 | 0.00042682 | 0.00042682 | 0.97066 | -0.56929 | 0.97065 | -0.56935 | 0.11726
31 | 0.00011139 | 2.7022e-05 | -0.00011139 | -2.7916e-05 | 7.899e-10 | -8.9413e-07 | 0.00017044 | 0.00017076 | 0.00017076 | 0.97065 | -0.56935 | 0.97065 | -0.5695 | 0.046911
32 | -0.098871 | -0.024852 | 0.098919 | 0.024882 | 4.786e-05 | 2.998e-05 | 0.1497 | 0.1497 | 0.1497 | 0.98298 | -0.32614 | 0.9835 | -0.31601 | 13.7084
33 | 0.051059 | 0.012836 | -0.051022 | -0.012812 | 3.7328e-05 | 2.3679e-05 | 0.077307 | 0.077307 | 0.077307 | 0.98298 | -0.32614 | 0.9822 | -0.34146 | 21.2381
34 | 0.027642 | 0.0069607 | -0.027581 | -0.0069324 | 6.0832e-05 | 2.8394e-05 | 0.041855 | 0.041859 | 0.041859 | 0.98298 | -0.32614 | 0.98062 | -0.37225 | 3.8332
35 | -0.10527 | -0.026473 | 0.10529 | 0.02649 | 2.7801e-05 | 1.7459e-05 | 0.1593 | 0.1593 | 0.1593 | 0.9835 | -0.31601 | 0.98378 | -0.31048 | 14.5877
36 | 0.044962 | 0.011294 | -0.044955 | -0.011289 | 7.4303e-06 | 4.7014e-06 | 0.068126 | 0.068126 | 0.068126 | 0.9822 | -0.34146 | 0.98202 | -0.34493 | 18.7159
37 | 0.023762 | 0.0059801 | -0.023701 | -0.0059423 | 6.1514e-05 | 3.7782e-05 | 0.036066 | 0.036067 | 0.036067 | 0.98062 | -0.37225 | 0.97785 | -0.42657 | 9.9084
38 | 0.00071658 | 0.00017481 | -0.00071649 | -0.00017718 | 8.4927e-08 | -2.3675e-06 | 0.0010857 | 0.0010865 | 0.0010865 | 0.98062 | -0.37225 | 0.98049 | -0.37478 | 0.29849
39 | -0.11813 | -0.029706 | 0.11817 | 0.029736 | 4.7252e-05 | 2.979e-05 | 0.17871 | 0.17871 | 0.17871 | 0.98378 | -0.31048 | 0.98421 | -0.30211 | 16.3651
40 | 0.037372 | 0.0093885 | -0.037345 | -0.0093716 | 2.6916e-05 | 1.6943e-05 | 0.056636 | 0.056636 | 0.056636 | 0.98202 | -0.34493 | 0.98125 | -0.36003 | 15.5594
41 | 0.023701 | 0.0059423 | -0.023681 | -0.0059305 | 1.9248e-05 | 1.1824e-05 | 0.036067 | 0.036067 | 0.036067 | 0.97785 | -0.42657 | 0.97698 | -0.44363 | 9.9084
42 | 0.00071649 | 0.00017718 | -0.00071642 | -0.00017921 | 7.3171e-08 | -2.0362e-06 | 0.0010865 | 0.0010873 | 0.0010873 | 0.98049 | -0.37478 | 0.98038 | -0.37694 | 0.2987
43 | 0.020358 | 0.0050976 | -0.02033 | -0.0050804 | 2.8462e-05 | 1.7229e-05 | 0.031005 | 0.031006 | 0.031006 | 0.97698 | -0.44363 | 0.97549 | -0.47304 | 8.518
44 | 0.00071642 | 0.00017921 | -0.00071641 | -0.00017955 | 1.2122e-08 | -3.3702e-07 | 0.0010873 | 0.0010874 | 0.0010874 | 0.98038 | -0.37694 | 0.98036 | -0.37729 | 0.29873
45 | -0.12255 | -0.030834 | 0.12258 | 0.030848 | 2.358e-05 | 1.4882e-05 | 0.18533 | 0.18533 | 0.18533 | 0.98421 | -0.30211 | 0.98442 | -0.29808 | 16.9714
46 | 0.029182 | 0.0073257 | -0.029175 | -0.0073212 | 7.2675e-06 | 4.5263e-06 | 0.044257 | 0.044257 | 0.044257 | 0.98125 | -0.36003 | 0.98098 | -0.36525 | 12.1586
47 | -0.13072 | -0.03289 | 0.13082 | 0.032954 | 0.00010062 | 6.3609e-05 | 0.19764 | 0.19764 | 0.19764 | 0.98442 | -0.29808 | 0.98525 | -0.28199 | 18.0993
48 | 0.02658 | 0.006671 | -0.02657 | -0.0066649 | 9.9429e-06 | 6.1577e-06 | 0.040322 | 0.040322 | 0.040322 | 0.98098 | -0.36525 | 0.98058 | -0.3731 | 11.0776
49 | -0.13527 | -0.034069 | 0.13531 | 0.034094 | 3.8506e-05 | 2.4362e-05 | 0.20436 | 0.20436 | 0.20436 | 0.98525 | -0.28199 | 0.98555 | -0.27604 | 18.7147
50 | -0.0049733 | -0.0012322 | 0.004976 | 0.0012324 | 2.6923e-06 | 1.6631e-07 | 0.0075858 | 0.0075852 | 0.0075858 | 0.97491 | -0.4845 | 0.97549 | -0.47304 | 2.084
51 | -0.007192 | -0.0018025 | 0.0071922 | 0.0018026 | 2.4445e-07 | 8.7177e-08 | 0.010905 | 0.010905 | 0.010905 | 0.98139 | -0.35722 | 0.98143 | -0.35651 | 2.9958
52 | -0.008542 | -0.0021409 | 0.0085435 | 0.0021415 | 1.4754e-06 | 6.4777e-07 | 0.012951 | 0.012951 | 0.012951 | 0.98143 | -0.35651 | 0.98161 | -0.35289 | 3.558
53 | -0.038627 | -0.0096812 | 0.038663 | 0.0097037 | 3.5622e-05 | 2.2447e-05 | 0.058555 | 0.058555 | 0.058555 | 0.98161 | -0.35289 | 0.9826 | -0.33355 | 16.0865
54 | -0.068736 | -0.017241 | 0.068975 | 0.017393 | 0.00023875 | 0.00015205 | 0.1041 | 0.1041 | 0.1041 | 0.9826 | -0.33355 | 0.98633 | -0.26096 | 28.5978
55 | 0.14017 | 0.035349 | -0.14007 | -0.035285 | 0.0001011 | 6.4014e-05 | 0.21154 | 0.21154 | 0.21154 | 0.98633 | -0.26096 | 0.98555 | -0.27604 | 19.372
56 | -0.20914 | -0.052742 | 0.20976 | 0.053138 | 0.00062163 | 0.00039593 | 0.31564 | 0.31564 | 0.31564 | 0.98633 | -0.26096 | 0.98953 | -0.19906 | 28.9045
57 | -0.30991 | -0.078775 | 0.31073 | 0.0793 | 0.00082205 | 0.00052494 | 0.46642 | 0.46642 | 0.46642 | 0.98953 | -0.19906 | 0.9924 | -0.14414 | 42.7123
58 | 0.10014 | 0.025637 | -0.099975 | -0.025531 | 0.00016686 | 0.00010579 | 0.15078 | 0.15078 | 0.15078 | 0.98953 | -0.19906 | 0.98773 | -0.23353 | 20.7118
59 | 0.0036904 | 0.00092445 | -0.0036899 | -0.00092465 | 4.4052e-07 | -2.0447e-07 | 0.0055594 | 0.0055596 | 0.0055596 | 0.98773 | -0.23353 | 0.9876 | -0.23603 | 1.5274
60 | 0.096284 | 0.024607 | -0.095705 | -0.024237 | 0.00057938 | 0.00036987 | 0.14522 | 0.14522 | 0.14522 | 0.98773 | -0.23353 | 0.98124 | -0.35877 | 39.8965
61 | 0.0036899 | 0.00092465 | -0.0036898 | -0.00092474 | 1.9337e-07 | -8.9705e-08 | 0.0055596 | 0.0055597 | 0.0055597 | 0.9876 | -0.23603 | 0.98755 | -0.23713 | 1.5274
62 | 0.093617 | 0.023713 | -0.093601 | -0.023703 | 1.6264e-05 | 1.0382e-05 | 0.14206 | 0.14206 | 0.14206 | 0.98124 | -0.35877 | 0.98106 | -0.36238 | 39.0265
63 | -0.31965 | -0.081536 | 0.31993 | 0.081715 | 0.00027982 | 0.00017871 | 0.4798 | 0.4798 | 0.4798 | 0.9924 | -0.14414 | 0.99335 | -0.12603 | 43.9376
64 | -0.081038 | -0.020359 | 0.081416 | 0.020601 | 0.00037874 | 0.00024157 | 0.12375 | 0.12375 | 0.12375 | 0.97459 | -0.48883 | 0.97957 | -0.3914 | 33.9964
65 | 0.061054 | 0.015351 | -0.060992 | -0.015312 | 6.1433e-05 | 3.9083e-05 | 0.093235 | 0.093236 | 0.093236 | 0.97459 | -0.48883 | 0.97352 | -0.50992 | 25.6141
66 | -0.089823 | -0.022708 | 0.089948 | 0.022788 | 0.00012518 | 7.989e-05 | 0.13652 | 0.13652 | 0.13652 | 0.97957 | -0.3914 | 0.98106 | -0.36238 | 37.5046
67 | 0.0084065 | 0.0021069 | -0.0084049 | -0.0021062 | 1.6911e-06 | 7.3425e-07 | 0.01277 | 0.01277 | 0.01277 | 0.97957 | -0.3914 | 0.97935 | -0.39562 | 3.5083
68 | 0.036551 | 0.0091805 | -0.036524 | -0.0091637 | 2.6823e-05 | 1.6882e-05 | 0.055874 | 0.055875 | 0.055875 | 0.97352 | -0.50992 | 0.97274 | -0.52531 | 15.3501
69 | 0.024442 | 0.0061311 | -0.024427 | -0.006122 | 1.4687e-05 | 9.0513e-06 | 0.037361 | 0.037361 | 0.037361 | 0.97352 | -0.50992 | 0.97288 | -0.52254 | 10.2641
70 | 0.0042412 | 0.0010627 | -0.0042409 | -0.0010627 | 3.053e-07 | -5.1289e-08 | 0.006444 | 0.006444 | 0.006444 | 0.97935 | -0.39562 | 0.97927 | -0.39714 | 1.7703
71 | 0.027651 | 0.0069399 | -0.027633 | -0.0069286 | 1.814e-05 | 1.1274e-05 | 0.042301 | 0.042301 | 0.042301 | 0.97274 | -0.52531 | 0.97204 | -0.53908 | 11.6213
72 | 0.0042409 | 0.0010627 | -0.0042406 | -0.0010628 | 3.1941e-07 | -5.3611e-08 | 0.006444 | 0.0064441 | 0.0064441 | 0.97927 | -0.39714 | 0.97919 | -0.39872 | 1.7704
73 | 0.018129 | 0.0045468 | -0.01812 | -0.0045412 | 9.3175e-06 | 5.5636e-06 | 0.027753 | 0.027753 | 0.027753 | 0.97204 | -0.53908 | 0.9715 | -0.54987 | 7.6245
74 | 0.022557 | 0.0056591 | -0.022552 | -0.0056559 | 5.2417e-06 | 3.2043e-06 | 0.034233 | 0.034233 | 0.034233 | 0.98058 | -0.3731 | 0.98033 | -0.37797 | 9.4046
75 | 0.02003 | 0.0050237 | -0.020024 | -0.0050205 | 5.3496e-06 | 3.2292e-06 | 0.030404 | 0.030404 | 0.030404 | 0.98033 | -0.37797 | 0.98004 | -0.38358 | 8.3527
76 | 0.0157 | 0.0039367 | -0.015699 | -0.0039363 | 7.8466e-07 | 4.5579e-07 | 0.023838 | 0.023838 | 0.023838 | 0.98004 | -0.38358 | 0.97999 | -0.38463 | 6.549
77 | 0.015699 | 0.0039363 | -0.015694 | -0.0039334 | 4.916e-06 | 2.8557e-06 | 0.023838 | 0.023839 | 0.023839 | 0.97999 | -0.38463 | 0.97966 | -0.3912 | 6.5491
78 | 0.0069933 | 0.0017527 | -0.0069933 | -0.0017527 | 4.8005e-08 | 1.6438e-08 | 0.010622 | 0.010622 | 0.010622 | 0.97966 | -0.3912 | 0.97965 | -0.39135 | 2.9182
79 | 0.0069933 | 0.0017527 | -0.0069924 | -0.0017524 | 8.6829e-07 | 2.9737e-07 | 0.010622 | 0.010622 | 0.010622 | 0.97965 | -0.39135 | 0.97952 | -0.39395 | 2.9182
80 | 0.0019054 | 0.00047748 | -0.0019054 | -0.00047753 | 1.4237e-08 | -4.7925e-08 | 0.0028945 | 0.0028945 | 0.0028945 | 0.97952 | -0.39395 | 0.97951 | -0.39411 | 0.7952
81 | 0.33726 | 0.086374 | -0.33692 | -0.086162 | 0.00033319 | 0.00021283 | 0.50452 | 0.50452 | 0.50452 | 0.99599 | -0.075685 | 0.99492 | -0.0961 | 46.2013
82 | -0.33726 | -0.086374 | 0.3377 | 0.086661 | 0.00044832 | 0.00028637 | 0.50452 | 0.50452 | 0.50452 | 0.99599 | -0.075685 | 0.99744 | -0.048286 | 46.2013
83 | 0.33423 | 0.085488 | -0.33375 | -0.085179 | 0.00048341 | 0.00030878 | 0.5005 | 0.5005 | 0.5005 | 0.99492 | -0.0961 | 0.99335 | -0.12603 | 45.8331
84 | -0.34047 | -0.087355 | 0.34127 | 0.087866 | 0.00079964 | 0.0005108 | 0.50865 | 0.50865 | 0.50865 | 0.99744 | -0.048286 | 1 | 0 | 46.5799
85 | 0.013818 | 0.0034642 | -0.013814 | -0.0034619 | 4.1432e-06 | 2.3179e-06 | 0.020699 | 0.020699 | 0.020699 | 0.99335 | -0.12603 | 0.99302 | -0.13233 | 5.6866
86 | 0.010638 | 0.0026659 | -0.010638 | -0.0026659 | 1.6677e-08 | 8.4091e-09 | 0.01594 | 0.01594 | 0.01594 | 0.99302 | -0.13233 | 0.99302 | -0.13236 | 4.3792
87 | 0.0030086 | 0.00075384 | -0.0030084 | -0.00075398 | 1.3062e-07 | -1.3811e-07 | 0.0045082 | 0.0045083 | 0.0045083 | 0.99302 | -0.13236 | 0.99297 | -0.13327 | 1.2385

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35111 | 0.089918

## res_load
| p_mw | q_mvar
0 | 0.00029805 | 7.4699e-05
1 | 0.00015983 | 4.0058e-05
2 | 7.8275e-05 | 1.9617e-05
3 | 0.00025761 | 6.4563e-05
4 | 6.2143e-05 | 1.5574e-05
5 | 0.00011353 | 2.8454e-05
6 | 0.0001926 | 4.827e-05
7 | 0.00046405 | 0.0001163
8 | 0.00035935 | 9.0061e-05
9 | 0.00016315 | 4.0888e-05
10 | 0.00014322 | 3.5895e-05
11 | 8.2258e-05 | 2.0616e-05
12 | 0.00059348 | 0.00014874
13 | 0.00030998 | 7.7688e-05
14 | 0.00012733 | 3.1912e-05
15 | 0.00027748 | 6.9543e-05
16 | 0.00047593 | 0.00011928
17 | 6.3788e-05 | 1.5987e-05
18 | 0.00023597 | 5.9139e-05
19 | 0.00014048 | 3.5208e-05
20 | 7.8686e-05 | 1.9721e-05
21 | 0.00016724 | 4.1916e-05
22 | 0.00011139 | 2.7916e-05
23 | 0.020171 | 0.0050552
24 | 0.0063469 | 0.0015907
25 | 0.00606 | 0.0015188
26 | 0.0031021 | 0.00077747
27 | 0.012832 | 0.0032159
28 | 0.0075828 | 0.0019004
29 | 0.0033232 | 0.00083287
30 | 0.00071641 | 0.00017955
31 | 0.0043798 | 0.0010977
32 | 0.008163 | 0.0020458
33 | 0.0081477 | 0.002042
34 | 0.0025942 | 0.00065017
35 | 0.0044502 | 0.0011153
36 | 0.015354 | 0.003848
37 | 0.007192 | 0.0018025
38 | 0.0013498 | 0.0003383
39 | 0.030084 | 0.0075397
40 | 0.030073 | 0.007537
41 | 0.0047537 | 0.0011914
42 | 0.0020882 | 0.00052336
43 | 0.0089242 | 0.0022366
44 | 0.019984 | 0.0050084
45 | 0.0036525 | 0.00091539
46 | 0.0041637 | 0.0010435
47 | 0.0088731 | 0.0022238
48 | 0.024427 | 0.006122
49 | 0.0095036 | 0.0023818
50 | 0.0042406 | 0.0010628
51 | 0.01812 | 0.0045412
52 | 0.004013 | 0.0010058
53 | 0.0025226 | 0.00063222
54 | 0.0043241 | 0.0010837
55 | 0.0087011 | 0.0021807
56 | 0.0050871 | 0.0012749
57 | 0.0019054 | 0.00047753
58 | 0.0026885 | 0.0006738
59 | 0.0027714 | 0.00069457
60 | 0.0081857 | 0.0020515
61 | 0.0031759 | 0.00079595
62 | 0.0076292 | 0.0019121
63 | 0.0030084 | 0.00075398
64 | 0.0036898 | 0.00092474

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1