## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2296-2_1_6_node_171 | 0.4 | n |  | TRUE
1 | bus_LV_2296-2_1_6_node_173 | 0.4 | n |  | TRUE
2 | bus_LV_2296-2_1_6_node_174 | 0.4 | n |  | TRUE
3 | bus_LV_2296-2_1_6_node_175 | 0.4 | n |  | TRUE
4 | bus_LV_2296-2_1_6_node_176 | 0.4 | n |  | TRUE
5 | bus_LV_2296-2_1_6_node_245 | 0.4 | n |  | TRUE
6 | bus_LV_2296-2_1_6_node_239 | 0.4 | n |  | TRUE
7 | bus_LV_2296-2_1_6_node_177 | 0.4 | n |  | TRUE
8 | bus_LV_2296-2_1_6_node_178 | 0.4 | n |  | TRUE
9 | bus_LV_2296-2_1_6_node_203 | 0.4 | n |  | TRUE
10 | bus_LV_2296-2_1_6_node_179 | 0.4 | n |  | TRUE
11 | bus_LV_2296-2_1_6_node_180 | 0.4 | n |  | TRUE
12 | bus_LV_2296-2_1_6_node_181 | 0.4 | n |  | TRUE
13 | bus_LV_2296-2_1_6_node_182 | 0.4 | n |  | TRUE
14 | bus_LV_2296-2_1_6_node_183 | 0.4 | n |  | TRUE
15 | bus_LV_2296-2_1_6_node_184 | 0.4 | n |  | TRUE
16 | bus_LV_2296-2_1_6_node_199 | 0.4 | n |  | TRUE
17 | bus_LV_2296-2_1_6_node_185 | 0.4 | n |  | TRUE
18 | bus_LV_2296-2_1_6_node_186 | 0.4 | n |  | TRUE
19 | bus_LV_2296-2_1_6_node_187 | 0.4 | n |  | TRUE
20 | bus_LV_2296-2_1_6_node_188 | 0.4 | n |  | TRUE
21 | bus_LV_2296-2_1_6_node_189 | 0.4 | n |  | TRUE
22 | bus_LV_2296-2_1_6_node_195 | 0.4 | n |  | TRUE
23 | bus_LV_2296-2_1_6_node_198 | 0.4 | n |  | TRUE
24 | bus_LV_2296-2_1_6_node_190 | 0.4 | n |  | TRUE
25 | bus_LV_2296-2_1_6_node_191 | 0.4 | n |  | TRUE
26 | bus_LV_2296-2_1_6_node_192 | 0.4 | n |  | TRUE
27 | bus_LV_2296-2_1_6_node_193 | 0.4 | n |  | TRUE
28 | bus_LV_2296-2_1_6_node_194 | 0.4 | n |  | TRUE
29 | bus_LV_2296-2_1_6_node_269 | 0.4 | n |  | TRUE
30 | bus_LV_2296-2_1_6_node_196 | 0.4 | n |  | TRUE
31 | bus_LV_2296-2_1_6_node_236 | 0.4 | n |  | TRUE
32 | bus_LV_2296-2_1_6_node_258 | 0.4 | n |  | TRUE
33 | bus_LV_2296-2_1_6_node_197 | 0.4 | n |  | TRUE
34 | bus_LV_2296-2_1_6_node_200 | 0.4 | n |  | TRUE
35 | bus_LV_2296-2_1_6_node_201 | 0.4 | n |  | TRUE
36 | bus_LV_2296-2_1_6_node_202 | 0.4 | n |  | TRUE
37 | bus_LV_2296-2_1_6_node_205 | 0.4 | n |  | TRUE
38 | bus_LV_2296-2_1_6_node_204 | 0.4 | n |  | TRUE
39 | bus_LV_2296-2_1_6_node_227 | 0.4 | n |  | TRUE
40 | bus_LV_2296-2_1_6_node_215 | 0.4 | n |  | TRUE
41 | bus_LV_2296-2_1_6_node_206 | 0.4 | n |  | TRUE
42 | bus_LV_2296-2_1_6_node_207 | 0.4 | n |  | TRUE
43 | bus_LV_2296-2_1_6_node_208 | 0.4 | n |  | TRUE
44 | bus_LV_2296-2_1_6_node_209 | 0.4 | n |  | TRUE
45 | bus_LV_2296-2_1_6_node_211 | 0.4 | n |  | TRUE
46 | bus_LV_2296-2_1_6_node_212 | 0.4 | n |  | TRUE
47 | bus_LV_2296-2_1_6_node_213 | 0.4 | n |  | TRUE
48 | bus_LV_2296-2_1_6_node_214 | 0.4 | n |  | TRUE
49 | bus_LV_2296-2_1_6_node_235 | 0.4 | n |  | TRUE
50 | bus_LV_2296-2_1_6_node_233 | 0.4 | n |  | TRUE
51 | bus_LV_2296-2_1_6_node_257 | 0.4 | n |  | TRUE
52 | bus_LV_2296-2_1_6_node_216 | 0.4 | n |  | TRUE
53 | bus_LV_2296-2_1_6_node_217 | 0.4 | n |  | TRUE
54 | bus_LV_2296-2_1_6_node_218 | 0.4 | n |  | TRUE
55 | bus_LV_2296-2_1_6_node_219 | 0.4 | n |  | TRUE
56 | bus_LV_2296-2_1_6_node_220 | 0.4 | n |  | TRUE
57 | bus_LV_2296-2_1_6_node_221 | 0.4 | n |  | TRUE
58 | bus_LV_2296-2_1_6_node_222 | 0.4 | n |  | TRUE
59 | bus_LV_2296-2_1_6_node_234 | 0.4 | n |  | TRUE
60 | bus_LV_2296-2_1_6_node_246 | 0.4 | n |  | TRUE
61 | bus_LV_2296-2_1_6_node_223 | 0.4 | n |  | TRUE
62 | bus_LV_2296-2_1_6_node_224 | 0.4 | n |  | TRUE
63 | bus_LV_2296-2_1_6_node_225 | 0.4 | n |  | TRUE
64 | bus_LV_2296-2_1_6_node_226 | 0.4 | n |  | TRUE
65 | bus_LV_2296-2_1_6_node_228 | 0.4 | n |  | TRUE
66 | bus_LV_2296-2_1_6_node_229 | 0.4 | n |  | TRUE
67 | bus_LV_2296-2_1_6_node_230 | 0.4 | n |  | TRUE
68 | bus_LV_2296-2_1_6_node_231 | 0.4 | n |  | TRUE
69 | bus_LV_2296-2_1_6_node_232 | 0.4 | n |  | TRUE
70 | bus_LV_2296-2_1_6_node_244 | 0.4 | n |  | TRUE
71 | bus_LV_2296-2_1_6_node_252 | 0.4 | n |  | TRUE
72 | bus_LV_2296-2_1_6_node_237 | 0.4 | n |  | TRUE
73 | bus_LV_2296-2_1_6_node_238 | 0.4 | n |  | TRUE
74 | bus_LV_2296-2_1_6_node_240 | 0.4 | n |  | TRUE
75 | bus_LV_2296-2_1_6_node_241 | 0.4 | n |  | TRUE
76 | bus_LV_2296-2_1_6_node_243 | 0.4 | n |  | TRUE
77 | bus_LV_2296-2_1_6_node_248 | 0.4 | n |  | TRUE
78 | bus_LV_2296-2_1_6_node_247 | 0.4 | n |  | TRUE
79 | bus_LV_2296-2_1_6_node_249 | 0.4 | n |  | TRUE
80 | bus_LV_2296-2_1_6_node_250 | 0.4 | n |  | TRUE
81 | bus_LV_2296-2_1_6_node_251 | 0.4 | n |  | TRUE
82 | bus_LV_2296-2_1_6_node_253 | 0.4 | n |  | TRUE
83 | bus_LV_2296-2_1_6_node_254 | 0.4 | n |  | TRUE
84 | bus_LV_2296-2_1_6_node_259 | 0.4 | n |  | TRUE
85 | bus_MV_119_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2296-2_1_6_load_171 | 0 | 0.0042311 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2296-2_1_6_load_176 | 4 | 0.012264 | 0.0030737 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2296-2_1_6_load_245 | 5 | 0.0058469 | 0.0014654 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2296-2_1_6_load_239 | 6 | 0.0049877 | 0.00125 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2296-2_1_6_load_178 | 8 | 0.030391 | 0.0076167 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2296-2_1_6_load_179 | 10 | 0.0051616 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2296-2_1_6_load_182 | 13 | 0.0053674 | 0.0013452 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2296-2_1_6_load_183 | 14 | 0.0008459 | 0.000212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2296-2_1_6_load_184 | 15 | 0.0035589 | 0.00089195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2296-2_1_6_load_185 | 17 | 0.00039652 | 9.9377e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2296-2_1_6_load_186 | 18 | 7.1554e-05 | 1.7933e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2296-2_1_6_load_187 | 19 | 0.00016887 | 4.2324e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2296-2_1_6_load_189 | 21 | 0.01012 | 0.0025362 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2296-2_1_6_load_195 | 22 | 7.6973e-05 | 1.9291e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2296-2_1_6_load_198 | 23 | 0.00033677 | 8.4404e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2296-2_1_6_load_190 | 24 | 0.00051597 | 0.00012931 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2296-2_1_6_load_269 | 29 | 0.00027253 | 6.8302e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2296-2_1_6_load_258 | 32 | 4.5681e-05 | 1.1449e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2296-2_1_6_load_197 | 33 | 0.00011745 | 2.9435e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2296-2_1_6_load_200 | 34 | 0.009505 | 0.0023822 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2296-2_1_6_load_201 | 35 | 0.025488 | 0.0063879 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2296-2_1_6_load_205 | 37 | 0.00012514 | 3.1363e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2296-2_1_6_load_204 | 38 | 0.0012557 | 0.00031472 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2296-2_1_6_load_227 | 39 | 0.00026194 | 6.5649e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2296-2_1_6_load_206 | 41 | 0.0030602 | 0.00076697 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2296-2_1_6_load_207 | 42 | 0.00099006 | 0.00024813 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2296-2_1_6_load_208 | 43 | 0.0058855 | 0.001475 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2296-2_1_6_load_211 | 45 | 0.00035139 | 8.8066e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2296-2_1_6_load_212 | 46 | 5.2798e-05 | 1.3232e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2296-2_1_6_load_213 | 47 | 9.7698e-05 | 2.4485e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2296-2_1_6_load_235 | 49 | 0.00036677 | 9.1921e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2296-2_1_6_load_233 | 50 | 6.7641e-05 | 1.6952e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2296-2_1_6_load_257 | 51 | 0.0001417 | 3.5513e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2296-2_1_6_load_216 | 52 | 0.00030747 | 7.7059e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2296-2_1_6_load_217 | 53 | 3.8181e-05 | 9.5691e-06 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2296-2_1_6_load_219 | 55 | 9.823e-05 | 2.4619e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2296-2_1_6_load_220 | 56 | 0.0003667 | 9.1904e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2296-2_1_6_load_222 | 58 | 0.00033952 | 8.5092e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2296-2_1_6_load_234 | 59 | 0.00031204 | 7.8203e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2296-2_1_6_load_246 | 60 | 6.4568e-05 | 1.6182e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2296-2_1_6_load_223 | 61 | 0.00012521 | 3.138e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2296-2_1_6_load_224 | 62 | 0.00068719 | 0.00017223 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2296-2_1_6_load_225 | 63 | 3.7587e-05 | 9.4203e-06 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2296-2_1_6_load_226 | 64 | 3.425e-05 | 8.5839e-06 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2296-2_1_6_load_228 | 65 | 0.00020468 | 5.1299e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2296-2_1_6_load_229 | 66 | 0.00052623 | 0.00013189 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2296-2_1_6_load_231 | 68 | 0.0001078 | 2.7016e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2296-2_1_6_load_232 | 69 | 0.00080557 | 0.00020189 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2296-2_1_6_load_244 | 70 | 0.00025662 | 6.4316e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2296-2_1_6_load_252 | 71 | 7.0279e-05 | 1.7613e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2296-2_1_6_load_237 | 72 | 0.021334 | 0.0053468 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2296-2_1_6_load_240 | 74 | 0.00023585 | 5.9108e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2296-2_1_6_load_241 | 75 | 0.00013941 | 3.4938e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2296-2_1_6_load_248 | 77 | 0.00045011 | 0.00011281 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2296-2_1_6_load_247 | 78 | 8.6946e-05 | 2.1791e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2296-2_1_6_load_249 | 79 | 0.00010784 | 2.7027e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2296-2_1_6_load_250 | 80 | 0.0001177 | 2.9499e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2296-2_1_6_load_254 | 83 | 0.00022292 | 5.587e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2296-2_1_6_load_259 | 84 | 0.00029645 | 7.4298e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2296-2_1_6_line_0 |  | 0 | 1 | 0.0027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2296-2_1_6_line_1 |  | 1 | 2 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2296-2_1_6_line_2 |  | 2 | 3 | 0.20237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2296-2_1_6_line_3 |  | 2 | 4 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2296-2_1_6_line_4 |  | 3 | 5 | 0.15658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2296-2_1_6_line_5 |  | 3 | 6 | 0.045683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2296-2_1_6_line_6 |  | 4 | 7 | 0.3547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2296-2_1_6_line_7 |  | 5 | 44 | 0.20076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2296-2_1_6_line_8 |  | 6 | 73 | 0.0025463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2296-2_1_6_line_9 |  | 7 | 8 | 0.054288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2296-2_1_6_line_10 |  | 8 | 9 | 0.2913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2296-2_1_6_line_11 |  | 9 | 35 | 0.075474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2296-2_1_6_line_12 |  | 10 | 11 | 0.093421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2296-2_1_6_line_13 |  | 10 | 12 | 0.030779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2296-2_1_6_line_14 |  | 11 | 13 | 0.033582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2296-2_1_6_line_15 |  | 12 | 14 | 0.13503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2296-2_1_6_line_16 |  | 12 | 15 | 0.015296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2296-2_1_6_line_17 |  | 14 | 16 | 0.017704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2296-2_1_6_line_18 |  | 16 | 23 | 0.0063335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2296-2_1_6_line_19 |  | 17 | 18 | 0.034547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2296-2_1_6_line_20 |  | 17 | 19 | 0.032963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2296-2_1_6_line_21 |  | 18 | 20 | 0.15803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2296-2_1_6_line_22 |  | 19 | 21 | 0.0045921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2296-2_1_6_line_23 |  | 20 | 22 | 0.10646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2296-2_1_6_line_24 |  | 21 | 23 | 0.56329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2296-2_1_6_line_25 |  | 22 | 30 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2296-2_1_6_line_26 |  | 24 | 25 | 0.048161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2296-2_1_6_line_27 |  | 24 | 26 | 0.057985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2296-2_1_6_line_28 |  | 25 | 27 | 0.027202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2296-2_1_6_line_29 |  | 26 | 28 | 0.1936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2296-2_1_6_line_30 |  | 27 | 29 | 0.13231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2296-2_1_6_line_31 |  | 27 | 30 | 0.10502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2296-2_1_6_line_32 |  | 28 | 31 | 0.038644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2296-2_1_6_line_33 |  | 28 | 32 | 0.17443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2296-2_1_6_line_34 |  | 30 | 33 | 0.060043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2296-2_1_6_line_35 |  | 31 | 64 | 0.051667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2296-2_1_6_line_36 |  | 31 | 68 | 0.034106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2296-2_1_6_line_37 |  | 32 | 84 | 0.013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2296-2_1_6_line_38 |  | 34 | 35 | 0.11361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2296-2_1_6_line_39 |  | 34 | 36 | 0.010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2296-2_1_6_line_40 |  | 36 | 37 | 0.14605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2296-2_1_6_line_41 |  | 37 | 40 | 0.07304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2296-2_1_6_line_42 |  | 38 | 39 | 0.021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2296-2_1_6_line_43 |  | 39 | 55 | 0.022876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2296-2_1_6_line_44 |  | 40 | 51 | 0.045363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2296-2_1_6_line_45 |  | 40 | 47 | 0.0094362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2296-2_1_6_line_46 |  | 41 | 42 | 0.020296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2296-2_1_6_line_47 |  | 41 | 43 | 0.018666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2296-2_1_6_line_48 |  | 42 | 44 | 0.053324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2296-2_1_6_line_49 |  | 45 | 46 | 0.0063447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2296-2_1_6_line_50 |  | 45 | 47 | 0.0075362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2296-2_1_6_line_51 |  | 46 | 48 | 0.01976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2296-2_1_6_line_52 |  | 48 | 49 | 0.026171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2296-2_1_6_line_53 |  | 48 | 50 | 0.0043808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2296-2_1_6_line_54 |  | 49 | 71 | 0.0028331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2296-2_1_6_line_55 |  | 50 | 59 | 0.016672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2296-2_1_6_line_56 |  | 52 | 53 | 0.023093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2296-2_1_6_line_57 |  | 52 | 54 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2296-2_1_6_line_58 |  | 53 | 55 | 0.015919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2296-2_1_6_line_59 |  | 54 | 56 | 0.022926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2296-2_1_6_line_60 |  | 54 | 57 | 0.025379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2296-2_1_6_line_61 |  | 56 | 58 | 0.037377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2296-2_1_6_line_62 |  | 57 | 59 | 0.038698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_2296-2_1_6_line_63 |  | 57 | 60 | 0.028187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2296-2_1_6_line_64 |  | 58 | 61 | 0.013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2296-2_1_6_line_65 |  | 60 | 78 | 0.020848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2296-2_1_6_line_66 |  | 61 | 62 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2296-2_1_6_line_67 |  | 62 | 63 | 0.031302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_2296-2_1_6_line_68 |  | 63 | 64 | 0.0018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2296-2_1_6_line_69 |  | 65 | 66 | 0.022966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2296-2_1_6_line_70 |  | 65 | 67 | 0.064659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2296-2_1_6_line_71 |  | 66 | 68 | 0.0029452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2296-2_1_6_line_72 |  | 67 | 69 | 0.048517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2296-2_1_6_line_73 |  | 69 | 70 | 0.022544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2296-2_1_6_line_74 |  | 71 | 80 | 0.045746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2296-2_1_6_line_75 |  | 72 | 73 | 0.020452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2296-2_1_6_line_76 |  | 74 | 75 | 0.052229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2296-2_1_6_line_77 |  | 75 | 76 | 0.0094523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2296-2_1_6_line_78 |  | 76 | 77 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2296-2_1_6_line_79 |  | 77 | 78 | 0.019974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2296-2_1_6_line_80 |  | 79 | 80 | 0.014592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2296-2_1_6_line_81 |  | 79 | 81 | 0.051125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2296-2_1_6_line_82 |  | 81 | 82 | 0.007597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2296-2_1_6_line_83 |  | 82 | 83 | 0.042547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2296-2_1_6_trafo_178 | 0.63 MVA 20/0.4 kV | 85 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2589626.6484 | 1187090.8166 | 2589627.0107 | 1187088.0667
1 | 2589626.6484 | 1187090.8166 | 2589623.0455 | 1187107.1647
2 | 2589623.0455 | 1187107.1647 | 2589630.1806 | 1187103.9284 | 2589637.7239 | 1187102.8702 | 2589685.1986 | 1187124.2432 | 2589742.8322 | 1187144.1204 | 2589772.2893 | 1187149.3835 | 2589804.4116 | 1187151.7851 | 2589815.9353 | 1187154.0999
3 | 2589623.0455 | 1187107.1647 | 2589618.3856 | 1187118.737
4 | 2589815.9353 | 1187154.0999 | 2589840.6685 | 1187162.9844 | 2589858.6238 | 1187165.4995 | 2589876.1011 | 1187165.0472 | 2589930.3909 | 1187157.1842 | 2589958.8577 | 1187149.9434 | 2589968.5243 | 1187145.9609
5 | 2589815.9353 | 1187154.0999 | 2589814.4562 | 1187163.5073 | 2589806.6808 | 1187180.4406 | 2589796.0534 | 1187194.3783
6 | 2589431.5713 | 1187420.2538 | 2589618.3856 | 1187118.737
7 | 2590168.7345 | 1187160.8425 | 2589968.5243 | 1187145.9609
8 | 2589794.5095 | 1187196.4031 | 2589796.0534 | 1187194.3783
9 | 2589431.5713 | 1187420.2538 | 2589428.474 | 1187420.2593 | 2589423.7103 | 1187422.5912 | 2589419.3013 | 1187427.1126 | 2589414.4295 | 1187433.0354 | 2589410.8406 | 1187439.6453 | 2589408.9889 | 1187445.0847 | 2589408.1929 | 1187452.1565 | 2589407.7375 | 1187457.7157 | 2589405.5478 | 1187463.2381
10 | 2589181.4401 | 1187649.3342 | 2589405.5478 | 1187463.2381
11 | 2589181.4401 | 1187649.3342 | 2589169.0873 | 1187643.8093 | 2589159.9377 | 1187637.9118 | 2589134.4385 | 1187618.4149 | 2589119.836 | 1187609.1145 | 2589118.328 | 1187608.4582
12 | 2587634.3345 | 1187916.3669 | 2587653.333 | 1187918.6397 | 2587664.6913 | 1187915.0031 | 2587674.1934 | 1187910.1698 | 2587677.4629 | 1187908.7178 | 2587681.23 | 1187904.4745 | 2587690.7388 | 1187891.8149 | 2587702.743 | 1187879.5725 | 2587712.061 | 1187877.8857
13 | 2587742.6562 | 1187881.0465 | 2587736.6296 | 1187880.881 | 2587712.061 | 1187877.8857
14 | 2587634.3345 | 1187916.3669 | 2587631.1652 | 1187892.6166 | 2587632.853 | 1187883.1445
15 | 2587742.6562 | 1187881.0465 | 2587768.5626 | 1187881.7491 | 2587782.9553 | 1187880.9969 | 2587798.8596 | 1187880.9086 | 2587820.9469 | 1187882.8422 | 2587835.8775 | 1187884.0345 | 2587848.6961 | 1187881.9516 | 2587861.0094 | 1187875.2452 | 2587871.8222 | 1187865.3748
16 | 2587742.6562 | 1187881.0465 | 2587754.1657 | 1187870.9712
17 | 2587882.8616 | 1187851.6661 | 2587876.1687 | 1187861.4071 | 2587871.8222 | 1187865.3748
18 | 2587882.8616 | 1187851.6661 | 2587886.4496 | 1187846.447
19 | 2588209.1382 | 1187342.5746 | 2588223.8421 | 1187318.1256 | 2588228.9971 | 1187315.0221
20 | 2588209.1382 | 1187342.5746 | 2588201.4111 | 1187355.4228 | 2588199.5326 | 1187373.2944
21 | 2588334.9017 | 1187201.2348 | 2588317.195 | 1187232.3413 | 2588279.2658 | 1187279.685 | 2588252.8733 | 1187300.648 | 2588228.9971 | 1187315.0221
22 | 2588199.0526 | 1187377.8614 | 2588199.5326 | 1187373.2944
23 | 2588334.9017 | 1187201.2348 | 2588376.5488 | 1187232.803 | 2588389.3022 | 1187247.3301 | 2588394.3676 | 1187258.9374 | 2588397.1493 | 1187280.9642
24 | 2588199.0526 | 1187377.8614 | 2587886.4496 | 1187846.447
25 | 2588400.1566 | 1187301.2703 | 2588397.3895 | 1187282.8662 | 2588397.1493 | 1187280.9642
26 | 2588501.3171 | 1187377.4024 | 2588542.5333 | 1187360.6252 | 2588544.8913 | 1187357.825
27 | 2588583.0976 | 1187365.7943 | 2588580.397 | 1187353.8266 | 2588572.4849 | 1187345.3374 | 2588564.7901 | 1187342.7286 | 2588555.1072 | 1187345.6932 | 2588544.8913 | 1187357.825
28 | 2588476.555 | 1187365.9888 | 2588501.3171 | 1187377.4024
29 | 2588757.0519 | 1187335.5138 | 2588716.7634 | 1187314.9127 | 2588707.3913 | 1187312.8517 | 2588699.1751 | 1187312.8673 | 2588644.035 | 1187341.3205 | 2588627.4184 | 1187352.6915 | 2588616.686 | 1187361.3165 | 2588606.5864 | 1187365.7493 | 2588590.3694 | 1187366.6141 | 2588583.0976 | 1187365.7943
30 | 2588476.555 | 1187365.9888 | 2588437.4788 | 1187423.8948 | 2588420.9073 | 1187454.1539 | 2588403.45 | 1187476.1105
31 | 2588400.1566 | 1187301.2703 | 2588405.7009 | 1187312.0874 | 2588416.4934 | 1187330.487 | 2588424.8316 | 1187342.2102 | 2588440.2087 | 1187352.6969 | 2588476.555 | 1187365.9888
32 | 2588757.0519 | 1187335.5138 | 2588769.0281 | 1187343.084 | 2588782.4224 | 1187350.1735 | 2588788.5693 | 1187357.2767
33 | 2588757.0519 | 1187335.5138 | 2588754.569 | 1187321.5557 | 2588764.1477 | 1187275.547 | 2588779.2993 | 1187239.5552 | 2588788.9095 | 1187210.055 | 2588808.5702 | 1187182.1702 | 2588810.7272 | 1187177.0635 | 2588810.9964 | 1187173.5596
34 | 2588400.1566 | 1187301.2703 | 2588370.9482 | 1187353.7296
35 | 2588788.5693 | 1187357.2767 | 2588764.3639 | 1187402.9227
36 | 2588788.5693 | 1187357.2767 | 2588809.1183 | 1187339.5732 | 2588813.6114 | 1187334.228
37 | 2588810.9964 | 1187173.5596 | 2588811.174 | 1187171.2485 | 2588808.5509 | 1187163.8051 | 2588807.6711 | 1187160.6191
38 | 2589006.1748 | 1187593.9276 | 2589049.5805 | 1187597.9711 | 2589099.7299 | 1187602.1255 | 2589106.7513 | 1187603.9136 | 2589112.0029 | 1187605.7049 | 2589118.328 | 1187608.4582
39 | 2588996.1035 | 1187592.9894 | 2589006.1748 | 1187593.9276
40 | 2588996.1035 | 1187592.9894 | 2588963.3859 | 1187597.5191 | 2588930.7644 | 1187608.5855 | 2588903.925 | 1187615.3835 | 2588856.8187 | 1187614.9603 | 2588853.1392 | 1187614.0873
41 | 2588782.0725 | 1187597.225 | 2588853.1392 | 1187614.0873
42 | 2588826.9174 | 1187489.6526 | 2588842.2587 | 1187494.5027 | 2588847.2925 | 1187496.7419
43 | 2588805.1486 | 1187483.3997 | 2588810.386 | 1187486.0916 | 2588818.7335 | 1187487.0652 | 2588826.9174 | 1187489.6526
44 | 2588782.0725 | 1187597.225 | 2588779.3276 | 1187638.3405 | 2588779.5768 | 1187642.4894
45 | 2588782.0725 | 1187597.225 | 2588773.9627 | 1187592.4008
46 | 2590218.2106 | 1187213.2244 | 2590215.3341 | 1187203.5433 | 2590208.6936 | 1187195.8052
47 | 2590218.2106 | 1187213.2244 | 2590221.1644 | 1187223.1661 | 2590226.745 | 1187229.3024
48 | 2590168.7345 | 1187160.8425 | 2590198.3958 | 1187183.8054 | 2590208.6936 | 1187195.8052
49 | 2588767.4857 | 1187588.548 | 2588767.4857 | 1187588.548 | 2588761.3626 | 1187586.8859
50 | 2588767.4857 | 1187588.548 | 2588773.9627 | 1187592.4008
51 | 2588743.2109 | 1187579.9227 | 2588746.947 | 1187582.9728 | 2588761.3626 | 1187586.8859
52 | 2588743.2109 | 1187579.9227 | 2588741.4978 | 1187585.7068 | 2588739.322 | 1187605.728
53 | 2588743.2109 | 1187579.9227 | 2588741.9476 | 1187575.7281
54 | 2588739.0159 | 1187608.5444 | 2588739.322 | 1187605.728
55 | 2588741.9476 | 1187575.7281 | 2588741.6449 | 1187574.723 | 2588745.5235 | 1187559.5902
56 | 2588773.1106 | 1187484.9804 | 2588776.5173 | 1187479.2074 | 2588781.3384 | 1187475.0739 | 2588784.7086 | 1187474.2226 | 2588790.9906 | 1187476.1229 | 2588790.9906 | 1187476.1229
57 | 2588765.0045 | 1187498.717 | 2588773.1106 | 1187484.9804
58 | 2588805.1486 | 1187483.3997 | 2588790.9906 | 1187476.1229
59 | 2588765.0045 | 1187498.717 | 2588747.1389 | 1187484.35
60 | 2588755.1316 | 1187522.1034 | 2588765.0045 | 1187498.717
61 | 2588732.5643 | 1187453.2719 | 2588731.6237 | 1187459.4709 | 2588734.8562 | 1187474.4726 | 2588747.1389 | 1187484.35
62 | 2588755.1316 | 1187522.1034 | 2588745.5235 | 1187559.5902
63 | 2588755.1316 | 1187522.1034 | 2588737.581 | 1187519.502 | 2588727.1919 | 1187518.4267
64 | 2588732.5643 | 1187453.2719 | 2588733.5827 | 1187446.5605 | 2588736.3852 | 1187439.9739
65 | 2588727.1919 | 1187518.4267 | 2588721.4435 | 1187517.8317 | 2588706.4283 | 1187519.1079
66 | 2588744.99 | 1187429.6796 | 2588736.3852 | 1187439.9739 | 2588736.3852 | 1187439.9739
67 | 2588744.99 | 1187429.6796 | 2588756.8142 | 1187415.5337 | 2588761.3478 | 1187408.6104 | 2588763.4978 | 1187404.556
68 | 2588763.4978 | 1187404.556 | 2588764.3639 | 1187402.9227
69 | 2588829.5861 | 1187313.8431 | 2588821.2667 | 1187325.1206 | 2588815.5065 | 1187331.9734
70 | 2588872.6736 | 1187266.2158 | 2588863.6684 | 1187272.6693 | 2588848.9422 | 1187287.6047 | 2588829.5861 | 1187313.8431
71 | 2588815.5065 | 1187331.9734 | 2588813.6114 | 1187334.228
72 | 2588872.6736 | 1187266.2158 | 2588877.4266 | 1187266.3403 | 2588882.5274 | 1187268.8321 | 2588902.3438 | 1187283.3581 | 2588913.9441 | 1187290.2933
73 | 2588913.9441 | 1187290.2933 | 2588933.2934 | 1187301.8612
74 | 2588739.0159 | 1187608.5444 | 2588738.1988 | 1187616.0622 | 2588732.7948 | 1187622.4424 | 2588722.4677 | 1187631.4222 | 2588710.0712 | 1187635.27 | 2588706.9592 | 1187635.8023
75 | 2589794.5095 | 1187196.4031 | 2589789.0665 | 1187203.2049 | 2589786.3406 | 1187214.625
76 | 2588609.7241 | 1187521.8631 | 2588622.6729 | 1187519.832 | 2588648.7547 | 1187519.7154 | 2588661.7688 | 1187518.9043
77 | 2588671.2028 | 1187518.3163 | 2588661.7688 | 1187518.9043
78 | 2588671.2028 | 1187518.3163 | 2588686.5257 | 1187520.7996
79 | 2588686.5257 | 1187520.7996 | 2588706.4283 | 1187519.1079
80 | 2588692.5758 | 1187638.263 | 2588706.9592 | 1187635.8023
81 | 2588666.2343 | 1187677.0862 | 2588669.9925 | 1187659.7478 | 2588674.0866 | 1187650.513 | 2588679.2222 | 1187643.3773 | 2588686.7435 | 1187639.2608 | 2588692.5758 | 1187638.263
82 | 2588666.2343 | 1187677.0862 | 2588670.5943 | 1187683.3145
83 | 2588670.5943 | 1187683.3145 | 2588681.1119 | 1187698.3579 | 2588686.3953 | 1187700.7713 | 2588704.584 | 1187703.437

## bus_geodata
| x | y | coords
0 | 2589627.0107 | 1187088.0667
1 | 2589626.6484 | 1187090.8166
2 | 2589623.0455 | 1187107.1647
3 | 2589815.9353 | 1187154.0999
4 | 2589618.3856 | 1187118.737
5 | 2589968.5243 | 1187145.9609
6 | 2589796.0534 | 1187194.3783
7 | 2589431.5713 | 1187420.2538
8 | 2589405.5478 | 1187463.2381
9 | 2589181.4401 | 1187649.3342
10 | 2587712.061 | 1187877.8857
11 | 2587634.3345 | 1187916.3669
12 | 2587742.6562 | 1187881.0465
13 | 2587632.853 | 1187883.1445
14 | 2587871.8222 | 1187865.3748
15 | 2587754.1657 | 1187870.9712
16 | 2587882.8616 | 1187851.6661
17 | 2588209.1382 | 1187342.5746
18 | 2588228.9971 | 1187315.0221
19 | 2588199.5326 | 1187373.2944
20 | 2588334.9017 | 1187201.2348
21 | 2588199.0526 | 1187377.8614
22 | 2588397.1493 | 1187280.9642
23 | 2587886.4496 | 1187846.447
24 | 2588544.8913 | 1187357.825
25 | 2588501.3171 | 1187377.4024
26 | 2588583.0976 | 1187365.7943
27 | 2588476.555 | 1187365.9888
28 | 2588757.0519 | 1187335.5138
29 | 2588403.45 | 1187476.1105
30 | 2588400.1566 | 1187301.2703
31 | 2588788.5693 | 1187357.2767
32 | 2588810.9964 | 1187173.5596
33 | 2588370.9482 | 1187353.7296
34 | 2589006.1748 | 1187593.9276
35 | 2589118.328 | 1187608.4582
36 | 2588996.1035 | 1187592.9894
37 | 2588853.1392 | 1187614.0873
38 | 2588847.2925 | 1187496.7419
39 | 2588826.9174 | 1187489.6526
40 | 2588782.0725 | 1187597.225
41 | 2590218.2106 | 1187213.2244
42 | 2590208.6936 | 1187195.8052
43 | 2590226.745 | 1187229.3024
44 | 2590168.7345 | 1187160.8425
45 | 2588767.4857 | 1187588.548
46 | 2588761.3626 | 1187586.8859
47 | 2588773.9627 | 1187592.4008
48 | 2588743.2109 | 1187579.9227
49 | 2588739.322 | 1187605.728
50 | 2588741.9476 | 1187575.7281
51 | 2588779.5768 | 1187642.4894
52 | 2588773.1106 | 1187484.9804
53 | 2588790.9906 | 1187476.1229
54 | 2588765.0045 | 1187498.717
55 | 2588805.1486 | 1187483.3997
56 | 2588747.1389 | 1187484.35
57 | 2588755.1316 | 1187522.1034
58 | 2588732.5643 | 1187453.2719
59 | 2588745.5235 | 1187559.5902
60 | 2588727.1919 | 1187518.4267
61 | 2588736.3852 | 1187439.9739
62 | 2588744.99 | 1187429.6796
63 | 2588763.4978 | 1187404.556
64 | 2588764.3639 | 1187402.9227
65 | 2588829.5861 | 1187313.8431
66 | 2588815.5065 | 1187331.9734
67 | 2588872.6736 | 1187266.2158
68 | 2588813.6114 | 1187334.228
69 | 2588913.9441 | 1187290.2933
70 | 2588933.2934 | 1187301.8612
71 | 2588739.0159 | 1187608.5445
72 | 2589786.3406 | 1187214.625
73 | 2589794.5095 | 1187196.4031
74 | 2588609.7241 | 1187521.8631
75 | 2588661.7688 | 1187518.9043
76 | 2588671.2028 | 1187518.3163
77 | 2588686.5257 | 1187520.7996
78 | 2588706.4283 | 1187519.1079
79 | 2588692.5758 | 1187638.263
80 | 2588706.9592 | 1187635.8023
81 | 2588666.2343 | 1187677.0862
82 | 2588670.5943 | 1187683.3145
83 | 2588704.584 | 1187703.437
84 | 2588807.6711 | 1187160.6191
85 | 2589382.0926 | 1187480.4733

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9888 | -0.21366 | 0.0042311 | 0.0010604
1 | 0.98881 | -0.21345 | 0 | 0
2 | 0.98887 | -0.21219 | 0 | 0
3 | 0.98097 | -0.36536 | 0 | 0
4 | 0.98941 | -0.20189 | 0.012264 | 0.0030737
5 | 0.97868 | -0.41025 | 0.0058469 | 0.0014654
6 | 0.97986 | -0.38716 | 0.0049877 | 0.00125
7 | 0.99902 | -0.018517 | 0 | 0
8 | 1 | 0 | -0.13309 | -0.033611
9 | 0.99366 | -0.12102 | 0 | 0
10 | 0.97174 | -0.5482 | 0.0051616 | 0.0012936
11 | 0.97127 | -0.55746 | 0 | 0
12 | 0.97204 | -0.54221 | 0 | 0
13 | 0.9711 | -0.56079 | 0.0053674 | 0.0013452
14 | 0.97382 | -0.50717 | 0.0008459 | 0.000212
15 | 0.97199 | -0.54322 | 0.0035589 | 0.00089195
16 | 0.97406 | -0.50231 | 0 | 0
17 | 0.97846 | -0.41592 | 0.00039652 | 9.9377e-05
18 | 0.97874 | -0.41047 | 7.1554e-05 | 1.7933e-05
19 | 0.9782 | -0.42104 | 0.00016887 | 4.2324e-05
20 | 0.98002 | -0.3855 | 0 | 0
21 | 0.97817 | -0.42175 | 0.01012 | 0.0025362
22 | 0.98088 | -0.3687 | 7.6973e-05 | 1.9291e-05
23 | 0.97415 | -0.50057 | 0.00033677 | 8.4404e-05
24 | 0.98252 | -0.33672 | 0.00051597 | 0.00012931
25 | 0.98212 | -0.34444 | 0 | 0
26 | 0.983 | -0.32726 | 0 | 0
27 | 0.9819 | -0.34879 | 0 | 0
28 | 0.98462 | -0.29574 | 0 | 0
29 | 0.98186 | -0.34945 | 0.00027253 | 6.8302e-05
30 | 0.98104 | -0.36546 | 0 | 0
31 | 0.98495 | -0.28937 | 0 | 0
32 | 0.98457 | -0.29682 | 4.5681e-05 | 1.1449e-05
33 | 0.98104 | -0.36559 | 0.00011745 | 2.9435e-05
34 | 0.99044 | -0.18322 | 0.009505 | 0.0023822
35 | 0.99202 | -0.15262 | 0.025488 | 0.0063879
36 | 0.99032 | -0.18537 | 0 | 0
37 | 0.98871 | -0.21659 | 0.00012514 | 3.1363e-05
38 | 0.9864 | -0.26122 | 0.0012557 | 0.00031472
39 | 0.98643 | -0.26073 | 0.00026194 | 6.5649e-05
40 | 0.9879 | -0.23218 | 0 | 0
41 | 0.97617 | -0.45965 | 0.0030602 | 0.00076697
42 | 0.97634 | -0.45633 | 0.00099006 | 0.00024813
43 | 0.97607 | -0.46166 | 0.0058855 | 0.001475
44 | 0.97683 | -0.44664 | 0 | 0
45 | 0.98771 | -0.23579 | 0.00035139 | 8.8066e-05
46 | 0.98764 | -0.23712 | 5.2798e-05 | 1.3232e-05
47 | 0.9878 | -0.23419 | 9.7698e-05 | 2.4485e-05
48 | 0.98743 | -0.24127 | 0 | 0
49 | 0.98741 | -0.24169 | 0.00036677 | 9.1921e-05
50 | 0.98738 | -0.24217 | 6.7641e-05 | 1.6952e-05
51 | 0.98789 | -0.2323 | 0.0001417 | 3.5513e-05
52 | 0.98652 | -0.25896 | 0.00030747 | 7.7059e-05
53 | 0.98648 | -0.25965 | 3.8181e-05 | 9.5691e-06
54 | 0.98655 | -0.2584 | 0 | 0
55 | 0.98646 | -0.26011 | 9.823e-05 | 2.4619e-05
56 | 0.98633 | -0.26265 | 0.0003667 | 9.1904e-05
57 | 0.9868 | -0.25341 | 0 | 0
58 | 0.98597 | -0.26949 | 0.00033952 | 8.5092e-05
59 | 0.98721 | -0.24557 | 0.00031204 | 7.8203e-05
60 | 0.98678 | -0.2539 | 6.4568e-05 | 1.6182e-05
61 | 0.98584 | -0.27201 | 0.00012521 | 3.138e-05
62 | 0.98572 | -0.27443 | 0.00068719 | 0.00017223
63 | 0.98544 | -0.27995 | 3.7587e-05 | 9.4203e-06
64 | 0.98542 | -0.28028 | 3.425e-05 | 8.5839e-06
65 | 0.98486 | -0.29116 | 0.00020468 | 5.1299e-05
66 | 0.98489 | -0.29063 | 0.00052623 | 0.00013189
67 | 0.9848 | -0.2924 | 0 | 0
68 | 0.98489 | -0.29054 | 0.0001078 | 2.7016e-05
69 | 0.98475 | -0.29333 | 0.00080557 | 0.00020189
70 | 0.98474 | -0.29343 | 0.00025662 | 6.4316e-05
71 | 0.98741 | -0.24171 | 7.0279e-05 | 1.7613e-05
72 | 0.97941 | -0.39607 | 0.021334 | 0.0053468
73 | 0.97981 | -0.38815 | 0 | 0
74 | 0.98673 | -0.25493 | 0.00023585 | 5.9108e-05
75 | 0.98674 | -0.25471 | 0.00013941 | 3.4938e-05
76 | 0.98674 | -0.25465 | 0 | 0
77 | 0.98675 | -0.25454 | 0.00045011 | 0.00011281
78 | 0.98676 | -0.25425 | 8.6946e-05 | 2.1791e-05
79 | 0.98738 | -0.24217 | 0.00010784 | 2.7027e-05
80 | 0.98739 | -0.24208 | 0.0001177 | 2.9499e-05
81 | 0.98737 | -0.24238 | 0 | 0
82 | 0.98737 | -0.24241 | 0 | 0
83 | 0.98736 | -0.24258 | 0.00022292 | 5.587e-05
84 | 0.98456 | -0.29689 | 0.00029645 | 7.4298e-05
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0042311 | -0.0010604 | 0.0042311 | 0.0010604 | 4.2169e-08 | -8.59e-09 | 0.0063673 | 0.0063673 | 0.0063673 | 0.9888 | -0.21366 | 0.98881 | -0.21345 | 1.7493
1 | -0.0042311 | -0.0010604 | 0.0042314 | 0.0010604 | 2.5453e-07 | -5.1869e-08 | 0.0063673 | 0.0063672 | 0.0063673 | 0.98881 | -0.21345 | 0.98887 | -0.21219 | 1.7492
2 | 0.04251 | 0.010803 | -0.042199 | -0.010606 | 0.00031104 | 0.00019649 | 0.06402 | 0.064021 | 0.064021 | 0.98887 | -0.21219 | 0.98097 | -0.36536 | 17.5882
3 | -0.046741 | -0.011863 | 0.046764 | 0.011878 | 2.3178e-05 | 1.4674e-05 | 0.070387 | 0.070387 | 0.070387 | 0.98887 | -0.21219 | 0.98941 | -0.20189 | 19.3372
4 | 0.01584 | 0.0039868 | -0.015806 | -0.0039671 | 3.3918e-05 | 1.9735e-05 | 0.024034 | 0.024035 | 0.024035 | 0.98097 | -0.36536 | 0.97868 | -0.41025 | 6.6029
5 | 0.026358 | 0.0066193 | -0.026331 | -0.0066024 | 2.7392e-05 | 1.6955e-05 | 0.039987 | 0.039987 | 0.039987 | 0.98097 | -0.36536 | 0.97986 | -0.38716 | 10.9855
6 | -0.059028 | -0.014951 | 0.059553 | 0.015278 | 0.00052479 | 0.00032666 | 0.088832 | 0.088828 | 0.088832 | 0.98941 | -0.20189 | 0.99902 | -0.018517 | 12.2021
7 | 0.0099596 | 0.0025017 | -0.0099423 | -0.0024932 | 1.7269e-05 | 8.5343e-06 | 0.015145 | 0.015146 | 0.015146 | 0.97868 | -0.41025 | 0.97683 | -0.44664 | 4.1609
8 | 0.021343 | 0.0053523 | -0.021342 | -0.0053517 | 1.0032e-06 | 6.0995e-07 | 0.032413 | 0.032413 | 0.032413 | 0.97986 | -0.38716 | 0.97981 | -0.38815 | 8.9046
9 | -0.059553 | -0.015278 | 0.059607 | 0.01531 | 5.3544e-05 | 3.2134e-05 | 0.088828 | 0.088828 | 0.088828 | 0.99902 | -0.018517 | 1 | 0 | 8.1345
10 | 0.071835 | 0.018301 | -0.071419 | -0.018046 | 0.00041688 | 0.00025541 | 0.107 | 0.107 | 0.107 | 1 | 0 | 0.99366 | -0.12102 | 9.7987
11 | 0.071419 | 0.018046 | -0.071311 | -0.01798 | 0.00010802 | 6.6203e-05 | 0.107 | 0.107 | 0.107 | 0.99366 | -0.12102 | 0.99202 | -0.15262 | 9.7988
12 | 0.0053706 | 0.0013457 | -0.0053682 | -0.0013453 | 2.3694e-06 | 3.5967e-07 | 0.0082238 | 0.0082242 | 0.0082242 | 0.97174 | -0.5482 | 0.97127 | -0.55746 | 2.2594
13 | -0.010532 | -0.0026393 | 0.010535 | 0.0026408 | 3.0022e-06 | 1.54e-06 | 0.016128 | 0.016128 | 0.016128 | 0.97174 | -0.5482 | 0.97204 | -0.54221 | 4.4307
14 | 0.0053682 | 0.0013453 | -0.0053674 | -0.0013452 | 8.518e-07 | 1.296e-07 | 0.0082242 | 0.0082244 | 0.0082244 | 0.97127 | -0.55746 | 0.9711 | -0.56079 | 2.2594
15 | -0.014094 | -0.0035327 | 0.014118 | 0.0035461 | 2.3572e-05 | 1.3409e-05 | 0.021576 | 0.021575 | 0.021576 | 0.97204 | -0.54221 | 0.97382 | -0.50717 | 5.9274
16 | 0.0035591 | 0.00089187 | -0.0035589 | -0.00089195 | 1.7027e-07 | -8.0631e-08 | 0.0054483 | 0.0054483 | 0.0054483 | 0.97204 | -0.54221 | 0.97199 | -0.54322 | 1.4968
17 | -0.014964 | -0.0037581 | 0.014967 | 0.0037601 | 3.4717e-06 | 2.0016e-06 | 0.022868 | 0.022868 | 0.022868 | 0.97382 | -0.50717 | 0.97406 | -0.50231 | 6.2824
18 | -0.014967 | -0.0037601 | 0.014969 | 0.0037608 | 1.242e-06 | 7.1604e-07 | 0.022868 | 0.022868 | 0.022868 | 0.97406 | -0.50231 | 0.97415 | -0.50057 | 6.2824
19 | -0.026055 | -0.0065492 | 0.026062 | 0.0065522 | 6.7824e-06 | 3.0386e-06 | 0.039631 | 0.03963 | 0.039631 | 0.97846 | -0.41592 | 0.97874 | -0.41047 | 3.6292
20 | 0.025659 | 0.0064498 | -0.025652 | -0.006447 | 6.2761e-06 | 2.775e-06 | 0.039028 | 0.039028 | 0.039028 | 0.97846 | -0.41592 | 0.9782 | -0.42104 | 3.574
21 | -0.026134 | -0.0065702 | 0.026165 | 0.0065842 | 3.1194e-05 | 1.3998e-05 | 0.039739 | 0.039737 | 0.039739 | 0.97874 | -0.41047 | 0.98002 | -0.3855 | 3.6391
22 | 0.025484 | 0.0064047 | -0.025483 | -0.0064043 | 8.6288e-07 | 3.793e-07 | 0.038771 | 0.038771 | 0.038771 | 0.9782 | -0.42104 | 0.97817 | -0.42175 | 3.5505
23 | -0.026165 | -0.0065842 | 0.026186 | 0.0065936 | 2.1011e-05 | 9.4197e-06 | 0.039737 | 0.039736 | 0.039737 | 0.98002 | -0.3855 | 0.98088 | -0.3687 | 3.6389
24 | 0.015363 | 0.0038681 | -0.015305 | -0.0038452 | 5.7731e-05 | 2.2864e-05 | 0.023377 | 0.023382 | 0.023382 | 0.97817 | -0.42175 | 0.97415 | -0.50057 | 3.2118
25 | -0.026263 | -0.0066129 | 0.026267 | 0.0066147 | 4.0753e-06 | 1.8307e-06 | 0.039852 | 0.039852 | 0.039852 | 0.98088 | -0.3687 | 0.98104 | -0.36546 | 3.6495
26 | 0.026693 | 0.0067265 | -0.026683 | -0.006722 | 9.8453e-06 | 4.4719e-06 | 0.04044 | 0.040441 | 0.040441 | 0.98252 | -0.33672 | 0.98212 | -0.34444 | 3.7033
27 | -0.027209 | -0.0068558 | 0.027222 | 0.0068615 | 1.2316e-05 | 5.6779e-06 | 0.041221 | 0.041221 | 0.041221 | 0.98252 | -0.33672 | 0.983 | -0.32726 | 3.7748
28 | 0.026683 | 0.006722 | -0.026678 | -0.0067195 | 5.5609e-06 | 2.5266e-06 | 0.040441 | 0.040441 | 0.040441 | 0.98212 | -0.34444 | 0.9819 | -0.34879 | 3.7034
29 | -0.027222 | -0.0068615 | 0.027263 | 0.0068804 | 4.1117e-05 | 1.894e-05 | 0.041221 | 0.041218 | 0.041221 | 0.983 | -0.32726 | 0.98462 | -0.29574 | 3.7748
30 | 0.00027254 | 6.6634e-05 | -0.00027253 | -6.8302e-05 | 8.4516e-09 | -1.6681e-06 | 0.00041243 | 0.00041302 | 0.00041302 | 0.9819 | -0.34879 | 0.98186 | -0.34945 | 0.11347
31 | 0.026405 | 0.0066529 | -0.026384 | -0.0066434 | 2.1035e-05 | 9.4808e-06 | 0.040028 | 0.04003 | 0.04003 | 0.9819 | -0.34879 | 0.98104 | -0.36546 | 3.6657
32 | -0.027605 | -0.0069638 | 0.027613 | 0.0069677 | 8.4133e-06 | 3.9095e-06 | 0.041734 | 0.041734 | 0.041734 | 0.98462 | -0.29574 | 0.98495 | -0.28937 | 3.8218
33 | 0.00034215 | 8.3369e-05 | -0.00034214 | -8.5576e-05 | 1.7458e-08 | -2.2072e-06 | 0.00051624 | 0.00051702 | 0.00051702 | 0.98462 | -0.29574 | 0.98457 | -0.29682 | 0.14204
34 | 0.00011745 | 2.8677e-05 | -0.00011745 | -2.9435e-05 | 7.1343e-10 | -7.5767e-07 | 0.00017787 | 0.00017814 | 0.00017814 | 0.98104 | -0.36546 | 0.98104 | -0.36559 | 0.048939
35 | -0.029514 | -0.0074418 | 0.029527 | 0.007448 | 1.2849e-05 | 6.2499e-06 | 0.044605 | 0.044604 | 0.044605 | 0.98495 | -0.28937 | 0.98542 | -0.28028 | 4.0847
36 | 0.0019012 | 0.00047408 | -0.0019011 | -0.00047445 | 1.0545e-07 | -3.6657e-07 | 0.0028713 | 0.0028715 | 0.0028715 | 0.98495 | -0.28937 | 0.98489 | -0.29054 | 0.78887
37 | 0.00029646 | 7.4127e-05 | -0.00029645 | -7.4298e-05 | 1.0173e-09 | -1.7123e-07 | 0.00044798 | 0.00044804 | 0.00044804 | 0.98457 | -0.29682 | 0.98456 | -0.29689 | 0.12309
38 | -0.045755 | -0.011553 | 0.045823 | 0.011592 | 6.7165e-05 | 3.8592e-05 | 0.068773 | 0.068771 | 0.068773 | 0.99044 | -0.18322 | 0.99202 | -0.15262 | 6.2979
39 | 0.03625 | 0.009171 | -0.036247 | -0.0091689 | 3.7544e-06 | 2.0124e-06 | 0.054493 | 0.054493 | 0.054493 | 0.99044 | -0.18322 | 0.99032 | -0.18537 | 4.9902
40 | 0.036247 | 0.0091689 | -0.036192 | -0.0091399 | 5.4215e-05 | 2.9069e-05 | 0.054493 | 0.054495 | 0.054495 | 0.99032 | -0.18537 | 0.98871 | -0.21659 | 4.9904
41 | 0.036067 | 0.0091085 | -0.03604 | -0.0090941 | 2.6927e-05 | 1.4425e-05 | 0.054306 | 0.054307 | 0.054307 | 0.98871 | -0.21659 | 0.9879 | -0.23218 | 4.9732
42 | -0.0012557 | -0.00031472 | 0.0012558 | 0.00031446 | 2.9064e-08 | -2.5712e-07 | 0.0018943 | 0.0018942 | 0.0018943 | 0.9864 | -0.26122 | 0.98643 | -0.26073 | 0.52042
43 | -0.0015177 | -0.00038011 | 0.0015178 | 0.00037985 | 4.4959e-08 | -2.6326e-07 | 0.0022894 | 0.0022893 | 0.0022894 | 0.98643 | -0.26073 | 0.98646 | -0.26011 | 0.62895
44 | 0.0001417 | 3.4932e-05 | -0.0001417 | -3.5513e-05 | 7.7418e-10 | -5.8032e-07 | 0.00021323 | 0.00021343 | 0.00021343 | 0.9879 | -0.23218 | 0.98789 | -0.2323 | 0.058635
45 | 0.035899 | 0.0090592 | -0.035895 | -0.0090573 | 3.4515e-06 | 1.8465e-06 | 0.054094 | 0.054094 | 0.054094 | 0.9879 | -0.23218 | 0.9878 | -0.23419 | 4.9537
46 | -0.0089463 | -0.0022421 | 0.0089477 | 0.0022428 | 1.4155e-06 | 6.5211e-07 | 0.013637 | 0.013637 | 0.013637 | 0.97617 | -0.45965 | 0.97634 | -0.45633 | 3.7465
47 | 0.005886 | 0.0014752 | -0.0058855 | -0.001475 | 5.6349e-07 | 1.2731e-07 | 0.0089723 | 0.0089724 | 0.0089724 | 0.97617 | -0.45965 | 0.97607 | -0.46166 | 2.465
48 | -0.0099378 | -0.0024909 | 0.0099423 | 0.0024932 | 4.5872e-06 | 2.2686e-06 | 0.015146 | 0.015146 | 0.015146 | 0.97634 | -0.45633 | 0.97683 | -0.44664 | 4.161
49 | 0.035443 | 0.0089433 | -0.035441 | -0.0089421 | 2.263e-06 | 1.2048e-06 | 0.053418 | 0.053418 | 0.053418 | 0.98771 | -0.23579 | 0.98764 | -0.23712 | 4.8918
50 | -0.035795 | -0.0090314 | 0.035798 | 0.0090328 | 2.7416e-06 | 1.4652e-06 | 0.053947 | 0.053947 | 0.053947 | 0.98771 | -0.23579 | 0.9878 | -0.23419 | 4.9402
51 | 0.035388 | 0.0089289 | -0.035381 | -0.0089251 | 7.0273e-06 | 3.739e-06 | 0.053338 | 0.053339 | 0.053339 | 0.98764 | -0.23712 | 0.98743 | -0.24127 | 4.8845
52 | 0.00088554 | 0.00021951 | -0.00088553 | -0.00021984 | 1.7457e-08 | -3.2359e-07 | 0.0013336 | 0.0013337 | 0.0013337 | 0.98743 | -0.24127 | 0.98741 | -0.24169 | 0.36641
53 | 0.034496 | 0.0087056 | -0.034494 | -0.0087048 | 1.481e-06 | 7.7974e-07 | 0.052005 | 0.052005 | 0.052005 | 0.98743 | -0.24127 | 0.98738 | -0.24217 | 4.7624
54 | 0.00051876 | 0.00012792 | -0.00051876 | -0.00012795 | 6.481e-10 | -3.5823e-08 | 0.00078102 | 0.00078104 | 0.00078104 | 0.98741 | -0.24169 | 0.98741 | -0.24171 | 0.21457
55 | 0.034427 | 0.0086879 | -0.034421 | -0.0086849 | 5.6141e-06 | 2.9534e-06 | 0.051903 | 0.051903 | 0.051903 | 0.98738 | -0.24217 | 0.98721 | -0.24557 | 4.7531
56 | 0.0016543 | 0.00041359 | -0.0016542 | -0.00041385 | 5.3903e-08 | -2.6034e-07 | 0.0024948 | 0.002495 | 0.002495 | 0.98652 | -0.25896 | 0.98648 | -0.25965 | 0.68543
57 | -0.0019617 | -0.00049065 | 0.0019618 | 0.00049048 | 5.2355e-08 | -1.7015e-07 | 0.0029586 | 0.0029585 | 0.0029586 | 0.98652 | -0.25896 | 0.98655 | -0.2584 | 0.81281
58 | 0.001616 | 0.00040429 | -0.001616 | -0.00040447 | 3.5464e-08 | -1.8053e-07 | 0.0024374 | 0.0024374 | 0.0024374 | 0.98648 | -0.25965 | 0.98646 | -0.26011 | 0.66962
59 | 0.03115 | 0.0078624 | -0.031143 | -0.0078593 | 6.3312e-06 | 3.174e-06 | 0.047003 | 0.047003 | 0.047003 | 0.98655 | -0.2584 | 0.98633 | -0.26265 | 4.3043
60 | -0.033111 | -0.0083529 | 0.033119 | 0.008357 | 7.9187e-06 | 4.0955e-06 | 0.049962 | 0.049961 | 0.049962 | 0.98655 | -0.2584 | 0.9868 | -0.25341 | 4.5752
61 | 0.030777 | 0.0077674 | -0.030766 | -0.0077623 | 1.0081e-05 | 5.0211e-06 | 0.04645 | 0.046451 | 0.046451 | 0.98633 | -0.26265 | 0.98597 | -0.26949 | 4.2537
62 | -0.034096 | -0.0086 | 0.034109 | 0.0086067 | 1.2797e-05 | 6.7061e-06 | 0.051434 | 0.051433 | 0.051434 | 0.9868 | -0.25341 | 0.98721 | -0.24557 | 4.71
63 | 0.00097693 | 0.000243 | -0.00097691 | -0.00024334 | 2.292e-08 | -3.4542e-07 | 0.0014725 | 0.0014726 | 0.0014726 | 0.9868 | -0.25341 | 0.98678 | -0.2539 | 0.40456
64 | 0.030427 | 0.0076772 | -0.030423 | -0.0076754 | 3.6789e-06 | 1.821e-06 | 0.045938 | 0.045938 | 0.045938 | 0.98597 | -0.26949 | 0.98584 | -0.27201 | 4.2068
65 | 0.00091234 | 0.00022716 | -0.00091233 | -0.00022742 | 1.4787e-08 | -2.5686e-07 | 0.0013752 | 0.0013753 | 0.0013753 | 0.98678 | -0.2539 | 0.98676 | -0.25425 | 0.37784
66 | 0.030298 | 0.007644 | -0.030295 | -0.0076423 | 3.5102e-06 | 1.7334e-06 | 0.045749 | 0.04575 | 0.04575 | 0.98584 | -0.27201 | 0.98572 | -0.27443 | 4.1895
67 | 0.029607 | 0.0074701 | -0.0296 | -0.0074663 | 7.8223e-06 | 3.8096e-06 | 0.044712 | 0.044713 | 0.044713 | 0.98572 | -0.27443 | 0.98544 | -0.27995 | 4.0946
68 | 0.029562 | 0.0074569 | -0.029561 | -0.0074566 | 4.6085e-07 | 2.2428e-07 | 0.044656 | 0.044656 | 0.044656 | 0.98544 | -0.27995 | 0.98542 | -0.28028 | 4.0894
69 | -0.001267 | -0.00031585 | 0.001267 | 0.00031558 | 3.1538e-08 | -2.7207e-07 | 0.0019137 | 0.0019136 | 0.0019137 | 0.98486 | -0.29116 | 0.98489 | -0.29063 | 0.52574
70 | 0.0010623 | 0.00026455 | -0.0010622 | -0.00026534 | 6.2428e-08 | -7.8278e-07 | 0.0016044 | 0.0016047 | 0.0016047 | 0.98486 | -0.29116 | 0.9848 | -0.2924 | 0.44086
71 | -0.0017932 | -0.00044747 | 0.0017933 | 0.00044743 | 8.1031e-09 | -3.2294e-08 | 0.0027086 | 0.0027086 | 0.0027086 | 0.98489 | -0.29063 | 0.98489 | -0.29054 | 0.74413
72 | 0.0010622 | 0.00026534 | -0.0010622 | -0.00026592 | 4.6858e-08 | -5.8728e-07 | 0.0016047 | 0.0016049 | 0.0016049 | 0.9848 | -0.2924 | 0.98475 | -0.29333 | 0.44092
73 | 0.00025662 | 6.403e-05 | -0.00025662 | -6.4316e-05 | 1.2709e-09 | -2.8599e-07 | 0.00038767 | 0.00038778 | 0.00038778 | 0.98475 | -0.29333 | 0.98474 | -0.29343 | 0.10653
74 | 0.00044848 | 0.00011034 | -0.00044847 | -0.00011092 | 7.8214e-09 | -5.8011e-07 | 0.00067513 | 0.00067533 | 0.00067533 | 0.98741 | -0.24171 | 0.98739 | -0.24208 | 0.18553
75 | -0.021334 | -0.0053468 | 0.021342 | 0.0053517 | 8.0577e-06 | 4.8995e-06 | 0.032413 | 0.032413 | 0.032413 | 0.97941 | -0.39607 | 0.97981 | -0.38815 | 8.9047
76 | -0.00023585 | -5.9108e-05 | 0.00023585 | 5.8443e-05 | 2.4759e-09 | -6.6556e-07 | 0.00035566 | 0.00035543 | 0.00035566 | 0.98673 | -0.25493 | 0.98674 | -0.25471 | 0.097709
77 | -0.00037525 | -9.3381e-05 | 0.00037525 | 9.3261e-05 | 1.1341e-09 | -1.2001e-07 | 0.00056565 | 0.00056561 | 0.00056565 | 0.98674 | -0.25471 | 0.98674 | -0.25465 | 0.1554
78 | -0.00037525 | -9.3261e-05 | 0.00037526 | 9.3064e-05 | 1.862e-09 | -1.9709e-07 | 0.00056561 | 0.00056554 | 0.00056561 | 0.98674 | -0.25465 | 0.98675 | -0.25454 | 0.15539
79 | -0.00082537 | -0.00020587 | 0.00082538 | 0.00020563 | 1.1597e-08 | -2.4773e-07 | 0.0012443 | 0.0012442 | 0.0012443 | 0.98675 | -0.25454 | 0.98676 | -0.25425 | 0.34184
80 | -0.00033077 | -8.1605e-05 | 0.00033077 | 8.1419e-05 | 1.3571e-09 | -1.8578e-07 | 0.00049802 | 0.00049796 | 0.00049802 | 0.98738 | -0.24217 | 0.98739 | -0.24208 | 0.13682
81 | 0.00022293 | 5.4578e-05 | -0.00022293 | -5.523e-05 | 2.1595e-09 | -6.5252e-07 | 0.0003355 | 0.00033573 | 0.00033573 | 0.98738 | -0.24217 | 0.98737 | -0.24238 | 0.092234
82 | 0.00022293 | 5.523e-05 | -0.00022293 | -5.5327e-05 | 3.2115e-10 | -9.6961e-08 | 0.00033573 | 0.00033577 | 0.00033577 | 0.98737 | -0.24238 | 0.98737 | -0.24241 | 0.092244
83 | 0.00022293 | 5.5327e-05 | -0.00022292 | -5.587e-05 | 1.7998e-09 | -5.4302e-07 | 0.00033577 | 0.00033596 | 0.00033596 | 0.98737 | -0.24241 | 0.98736 | -0.24258 | 0.092297

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16348 | 0.041228

## res_load
| p_mw | q_mvar
0 | 0.0042311 | 0.0010604
1 | 0.012264 | 0.0030737
2 | 0.0058469 | 0.0014654
3 | 0.0049877 | 0.00125
4 | 0.030391 | 0.0076167
5 | 0.0051616 | 0.0012936
6 | 0.0053674 | 0.0013452
7 | 0.0008459 | 0.000212
8 | 0.0035589 | 0.00089195
9 | 0.00039652 | 9.9377e-05
10 | 7.1554e-05 | 1.7933e-05
11 | 0.00016887 | 4.2324e-05
12 | 0.01012 | 0.0025362
13 | 7.6973e-05 | 1.9291e-05
14 | 0.00033677 | 8.4404e-05
15 | 0.00051597 | 0.00012931
16 | 0.00027253 | 6.8302e-05
17 | 4.5681e-05 | 1.1449e-05
18 | 0.00011745 | 2.9435e-05
19 | 0.009505 | 0.0023822
20 | 0.025488 | 0.0063879
21 | 0.00012514 | 3.1363e-05
22 | 0.0012557 | 0.00031472
23 | 0.00026194 | 6.5649e-05
24 | 0.0030602 | 0.00076697
25 | 0.00099006 | 0.00024813
26 | 0.0058855 | 0.001475
27 | 0.00035139 | 8.8066e-05
28 | 5.2798e-05 | 1.3232e-05
29 | 9.7698e-05 | 2.4485e-05
30 | 0.00036677 | 9.1921e-05
31 | 6.7641e-05 | 1.6952e-05
32 | 0.0001417 | 3.5513e-05
33 | 0.00030747 | 7.7059e-05
34 | 3.8181e-05 | 9.5691e-06
35 | 9.823e-05 | 2.4619e-05
36 | 0.0003667 | 9.1904e-05
37 | 0.00033952 | 8.5092e-05
38 | 0.00031204 | 7.8203e-05
39 | 6.4568e-05 | 1.6182e-05
40 | 0.00012521 | 3.138e-05
41 | 0.00068719 | 0.00017223
42 | 3.7587e-05 | 9.4203e-06
43 | 3.425e-05 | 8.5839e-06
44 | 0.00020468 | 5.1299e-05
45 | 0.00052623 | 0.00013189
46 | 0.0001078 | 2.7016e-05
47 | 0.00080557 | 0.00020189
48 | 0.00025662 | 6.4316e-05
49 | 7.0279e-05 | 1.7613e-05
50 | 0.021334 | 0.0053468
51 | 0.00023585 | 5.9108e-05
52 | 0.00013941 | 3.4938e-05
53 | 0.00045011 | 0.00011281
54 | 8.6946e-05 | 2.1791e-05
55 | 0.00010784 | 2.7027e-05
56 | 0.0001177 | 2.9499e-05
57 | 0.00022292 | 5.587e-05
58 | 0.00029645 | 7.4298e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1