## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_23-1_1_2_node_185 | 0.4 | n |  | TRUE
1 | bus_LV_23-1_1_2_node_187 | 0.4 | n |  | TRUE
2 | bus_LV_23-1_1_2_node_188 | 0.4 | n |  | TRUE
3 | bus_LV_23-1_1_2_node_189 | 0.4 | n |  | TRUE
4 | bus_LV_23-1_1_2_node_203 | 0.4 | n |  | TRUE
5 | bus_LV_23-1_1_2_node_190 | 0.4 | n |  | TRUE
6 | bus_LV_23-1_1_2_node_191 | 0.4 | n |  | TRUE
7 | bus_LV_23-1_1_2_node_192 | 0.4 | n |  | TRUE
8 | bus_LV_23-1_1_2_node_193 | 0.4 | n |  | TRUE
9 | bus_LV_23-1_1_2_node_194 | 0.4 | n |  | TRUE
10 | bus_LV_23-1_1_2_node_195 | 0.4 | n |  | TRUE
11 | bus_LV_23-1_1_2_node_196 | 0.4 | n |  | TRUE
12 | bus_LV_23-1_1_2_node_197 | 0.4 | n |  | TRUE
13 | bus_LV_23-1_1_2_node_263 | 0.4 | n |  | TRUE
14 | bus_LV_23-1_1_2_node_256 | 0.4 | n |  | TRUE
15 | bus_LV_23-1_1_2_node_205 | 0.4 | n |  | TRUE
16 | bus_LV_23-1_1_2_node_200 | 0.4 | n |  | TRUE
17 | bus_LV_23-1_1_2_node_198 | 0.4 | n |  | TRUE
18 | bus_LV_23-1_1_2_node_199 | 0.4 | n |  | TRUE
19 | bus_LV_23-1_1_2_node_201 | 0.4 | n |  | TRUE
20 | bus_LV_23-1_1_2_node_202 | 0.4 | n |  | TRUE
21 | bus_LV_23-1_1_2_node_204 | 0.4 | n |  | TRUE
22 | bus_LV_23-1_1_2_node_206 | 0.4 | n |  | TRUE
23 | bus_LV_23-1_1_2_node_225 | 0.4 | n |  | TRUE
24 | bus_LV_23-1_1_2_node_207 | 0.4 | n |  | TRUE
25 | bus_LV_23-1_1_2_node_208 | 0.4 | n |  | TRUE
26 | bus_LV_23-1_1_2_node_209 | 0.4 | n |  | TRUE
27 | bus_LV_23-1_1_2_node_210 | 0.4 | n |  | TRUE
28 | bus_LV_23-1_1_2_node_218 | 0.4 | n |  | TRUE
29 | bus_LV_23-1_1_2_node_219 | 0.4 | n |  | TRUE
30 | bus_LV_23-1_1_2_node_249 | 0.4 | n |  | TRUE
31 | bus_LV_23-1_1_2_node_211 | 0.4 | n |  | TRUE
32 | bus_LV_23-1_1_2_node_212 | 0.4 | n |  | TRUE
33 | bus_LV_23-1_1_2_node_213 | 0.4 | n |  | TRUE
34 | bus_LV_23-1_1_2_node_214 | 0.4 | n |  | TRUE
35 | bus_LV_23-1_1_2_node_215 | 0.4 | n |  | TRUE
36 | bus_LV_23-1_1_2_node_216 | 0.4 | n |  | TRUE
37 | bus_LV_23-1_1_2_node_217 | 0.4 | n |  | TRUE
38 | bus_LV_23-1_1_2_node_220 | 0.4 | n |  | TRUE
39 | bus_LV_23-1_1_2_node_221 | 0.4 | n |  | TRUE
40 | bus_LV_23-1_1_2_node_222 | 0.4 | n |  | TRUE
41 | bus_LV_23-1_1_2_node_224 | 0.4 | n |  | TRUE
42 | bus_LV_23-1_1_2_node_226 | 0.4 | n |  | TRUE
43 | bus_LV_23-1_1_2_node_227 | 0.4 | n |  | TRUE
44 | bus_LV_23-1_1_2_node_241 | 0.4 | n |  | TRUE
45 | bus_LV_23-1_1_2_node_243 | 0.4 | n |  | TRUE
46 | bus_LV_23-1_1_2_node_245 | 0.4 | n |  | TRUE
47 | bus_LV_23-1_1_2_node_246 | 0.4 | n |  | TRUE
48 | bus_LV_23-1_1_2_node_244 | 0.4 | n |  | TRUE
49 | bus_LV_23-1_1_2_node_247 | 0.4 | n |  | TRUE
50 | bus_LV_23-1_1_2_node_248 | 0.4 | n |  | TRUE
51 | bus_LV_23-1_1_2_node_266 | 0.4 | n |  | TRUE
52 | bus_LV_23-1_1_2_node_265 | 0.4 | n |  | TRUE
53 | bus_LV_23-1_1_2_node_259 | 0.4 | n |  | TRUE
54 | bus_LV_23-1_1_2_node_250 | 0.4 | n |  | TRUE
55 | bus_LV_23-1_1_2_node_251 | 0.4 | n |  | TRUE
56 | bus_LV_23-1_1_2_node_252 | 0.4 | n |  | TRUE
57 | bus_LV_23-1_1_2_node_264 | 0.4 | n |  | TRUE
58 | bus_LV_23-1_1_2_node_253 | 0.4 | n |  | TRUE
59 | bus_LV_23-1_1_2_node_254 | 0.4 | n |  | TRUE
60 | bus_LV_23-1_1_2_node_255 | 0.4 | n |  | TRUE
61 | bus_LV_23-1_1_2_node_257 | 0.4 | n |  | TRUE
62 | bus_LV_23-1_1_2_node_258 | 0.4 | n |  | TRUE
63 | bus_LV_23-1_1_2_node_268 | 0.4 | n |  | TRUE
64 | bus_LV_23-1_1_2_node_260 | 0.4 | n |  | TRUE
65 | bus_LV_23-1_1_2_node_261 | 0.4 | n |  | TRUE
66 | bus_LV_23-1_1_2_node_262 | 0.4 | n |  | TRUE
67 | bus_LV_23-1_1_2_node_269 | 0.4 | n |  | TRUE
68 | bus_LV_23-1_1_2_node_267 | 0.4 | n |  | TRUE
69 | bus_LV_23-1_1_2_node_270 | 0.4 | n |  | TRUE
70 | bus_LV_23-1_1_2_node_271 | 0.4 | n |  | TRUE
71 | bus_MV_372_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_23-1_1_2_load_185 | 0 | 0.0025385 | 0.00063621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_23-1_1_2_load_188 | 2 | 0.0015137 | 0.00037936 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_23-1_1_2_load_203 | 4 | 0.0020412 | 0.00051157 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_23-1_1_2_load_190 | 5 | 0.0025107 | 0.00062925 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_23-1_1_2_load_191 | 6 | 0.00054587 | 0.00013681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_23-1_1_2_load_192 | 7 | 0.0030895 | 0.00077431 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_23-1_1_2_load_194 | 9 | 0.00072396 | 0.00018144 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_23-1_1_2_load_195 | 10 | 0.00045332 | 0.00011361 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_23-1_1_2_load_196 | 11 | 0.0022344 | 0.00056 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_23-1_1_2_load_263 | 13 | 0.00088271 | 0.00022123 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_23-1_1_2_load_256 | 14 | 0.0021767 | 0.00054553 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_23-1_1_2_load_205 | 15 | 0.0032227 | 0.00080768 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_23-1_1_2_load_198 | 17 | 0.0032315 | 0.0008099 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_23-1_1_2_load_199 | 18 | 0.0020911 | 0.00052408 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_23-1_1_2_load_201 | 19 | 0.0028887 | 0.00072398 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_23-1_1_2_load_202 | 20 | 0.00057634 | 0.00014444 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_23-1_1_2_load_204 | 21 | 0.00097641 | 0.00024471 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_23-1_1_2_load_225 | 23 | 0.0026239 | 0.00065762 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_23-1_1_2_load_207 | 24 | 0.0027802 | 0.00069679 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_23-1_1_2_load_208 | 25 | 0.0024762 | 0.00062058 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_23-1_1_2_load_210 | 27 | 0.0009884 | 0.00024772 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_23-1_1_2_load_218 | 28 | 0.0010744 | 0.00026926 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_23-1_1_2_load_219 | 29 | 0.0017437 | 0.00043702 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_23-1_1_2_load_249 | 30 | 0.0085511 | 0.0021431 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_23-1_1_2_load_211 | 31 | 0.0017679 | 0.00044309 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_23-1_1_2_load_212 | 32 | 0.0013611 | 0.00034113 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_23-1_1_2_load_213 | 33 | 0.0029658 | 0.00074331 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_23-1_1_2_load_214 | 34 | 0.0028949 | 0.00072554 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_23-1_1_2_load_215 | 35 | 0.0018849 | 0.0004724 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_23-1_1_2_load_216 | 36 | 0.0018695 | 0.00046854 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_23-1_1_2_load_220 | 38 | 0.0023143 | 0.00058002 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_23-1_1_2_load_221 | 39 | 0.003293 | 0.0008253 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_23-1_1_2_load_222 | 40 | 0.0011694 | 0.00029307 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_23-1_1_2_load_226 | 42 | 0.00095245 | 0.00023871 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_23-1_1_2_load_227 | 43 | 0.001455 | 0.00036466 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_23-1_1_2_load_241 | 44 | 0.0003907 | 9.7918e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_23-1_1_2_load_245 | 46 | 0.00048187 | 0.00012077 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_23-1_1_2_load_246 | 47 | 0.00069963 | 0.00017534 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_23-1_1_2_load_248 | 50 | 0.00063352 | 0.00015877 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_23-1_1_2_load_266 | 51 | 0.0022402 | 0.00056144 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_23-1_1_2_load_265 | 52 | 0.0040995 | 0.0010274 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_23-1_1_2_load_259 | 53 | 0.00046781 | 0.00011724 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_23-1_1_2_load_251 | 55 | 0.00086258 | 0.00021618 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_23-1_1_2_load_264 | 57 | 0.0022674 | 0.00056828 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_23-1_1_2_load_253 | 58 | 0.0003457 | 8.6642e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_23-1_1_2_load_254 | 59 | 0.0027903 | 0.00069931 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_23-1_1_2_load_255 | 60 | 0.00057497 | 0.0001441 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_23-1_1_2_load_257 | 61 | 0.00038571 | 9.6669e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_23-1_1_2_load_258 | 62 | 0.0003142 | 7.8745e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_23-1_1_2_load_268 | 63 | 9.7077e-05 | 2.433e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_23-1_1_2_load_262 | 66 | 0.0020799 | 0.00052128 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_23-1_1_2_load_267 | 68 | 0.0010231 | 0.00025641 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_23-1_1_2_load_271 | 70 | 0.00016763 | 4.2013e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_23-1_1_2_line_0 |  | 0 | 1 | 0.0449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_23-1_1_2_line_1 |  | 1 | 2 | 0.030251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_23-1_1_2_line_2 |  | 2 | 3 | 0.022603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_23-1_1_2_line_3 |  | 3 | 4 | 0.012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_23-1_1_2_line_4 |  | 4 | 19 | 0.0042964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_23-1_1_2_line_5 |  | 5 | 6 | 0.01943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_23-1_1_2_line_6 |  | 5 | 7 | 0.0014372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_23-1_1_2_line_7 |  | 6 | 8 | 0.0076641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_23-1_1_2_line_8 |  | 7 | 9 | 0.02139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_23-1_1_2_line_9 |  | 8 | 10 | 0.0050575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_23-1_1_2_line_10 |  | 8 | 11 | 0.029713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_23-1_1_2_line_11 |  | 9 | 12 | 0.01476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_23-1_1_2_line_12 |  | 10 | 13 | 0.0076278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_23-1_1_2_line_13 |  | 11 | 14 | 0.0048613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_23-1_1_2_line_14 |  | 12 | 15 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_23-1_1_2_line_15 |  | 12 | 16 | 0.014729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_23-1_1_2_line_16 |  | 13 | 57 | 0.037468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_23-1_1_2_line_17 |  | 15 | 23 | 0.01264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_23-1_1_2_line_18 |  | 16 | 20 | 0.028554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_23-1_1_2_line_19 |  | 16 | 17 | 0.026237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_23-1_1_2_line_20 |  | 17 | 18 | 0.0058586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_23-1_1_2_line_21 |  | 18 | 19 | 0.040187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_23-1_1_2_line_22 |  | 20 | 21 | 0.02378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_23-1_1_2_line_23 |  | 21 | 22 | 0.014246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_23-1_1_2_line_24 |  | 22 | 24 | 0.041119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_23-1_1_2_line_25 |  | 22 | 25 | 0.016777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_23-1_1_2_line_26 |  | 23 | 41 | 0.030631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_23-1_1_2_line_27 |  | 24 | 26 | 0.0037127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_23-1_1_2_line_28 |  | 25 | 27 | 0.0016245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_23-1_1_2_line_29 |  | 26 | 28 | 0.020832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_23-1_1_2_line_30 |  | 26 | 29 | 0.0097811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_23-1_1_2_line_31 |  | 27 | 30 | 0.035276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_23-1_1_2_line_32 |  | 28 | 37 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_23-1_1_2_line_33 |  | 29 | 38 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_23-1_1_2_line_34 |  | 30 | 54 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_23-1_1_2_line_35 |  | 31 | 32 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_23-1_1_2_line_36 |  | 31 | 33 | 0.0155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_23-1_1_2_line_37 |  | 32 | 34 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_23-1_1_2_line_38 |  | 34 | 35 | 0.016181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_23-1_1_2_line_39 |  | 35 | 36 | 0.028074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_23-1_1_2_line_40 |  | 36 | 37 | 0.015651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_23-1_1_2_line_41 |  | 38 | 39 | 0.015636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_23-1_1_2_line_42 |  | 40 | 41 | 0.028474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_23-1_1_2_line_43 |  | 41 | 42 | 0.019138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_23-1_1_2_line_44 |  | 42 | 43 | 0.00023866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_23-1_1_2_line_45 |  | 44 | 45 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_23-1_1_2_line_46 |  | 45 | 46 | 0.026323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_23-1_1_2_line_47 |  | 45 | 47 | 0.025875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_23-1_1_2_line_48 |  | 46 | 48 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_23-1_1_2_line_49 |  | 47 | 50 | 0.007924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_23-1_1_2_line_50 |  | 48 | 49 | 0.016152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_23-1_1_2_line_51 |  | 49 | 51 | 0.024245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_23-1_1_2_line_52 |  | 49 | 52 | 0.0096641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_23-1_1_2_line_53 |  | 50 | 53 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_23-1_1_2_line_54 |  | 51 | 68 | 0.0067611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_23-1_1_2_line_55 |  | 52 | 56 | 0.024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_23-1_1_2_line_56 |  | 53 | 64 | 0.20939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_23-1_1_2_line_57 |  | 54 | 55 | 0.039913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_23-1_1_2_line_58 |  | 56 | 57 | 0.005942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_23-1_1_2_line_59 |  | 58 | 59 | 0.016004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_23-1_1_2_line_60 |  | 58 | 60 | 0.0084968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_23-1_1_2_line_61 |  | 60 | 61 | 0.0098621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_23-1_1_2_line_62 |  | 61 | 62 | 0.030882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_23-1_1_2_line_63 |  | 62 | 63 | 0.019649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_23-1_1_2_line_64 |  | 63 | 68 | 0.016874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_23-1_1_2_line_65 |  | 64 | 65 | 0.070223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_23-1_1_2_line_66 |  | 65 | 66 | 0.079596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_23-1_1_2_line_67 |  | 66 | 67 | 0.025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_23-1_1_2_line_68 |  | 67 | 69 | 0.10529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_23-1_1_2_line_69 |  | 69 | 70 | 0.14802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_23-1_1_2_trafo_192 | 0.63 MVA 20/0.4 kV | 71 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2687668.9367 | 1268069.3024 | 2687630.013 | 1268091.6844
1 | 2687668.9367 | 1268069.3024 | 2687677.0404 | 1268062.9397 | 2687682.8597 | 1268055.2976 | 2687688.4327 | 1268046.5852
2 | 2687703.0868 | 1268029.8994 | 2687698.4998 | 1268032.6225 | 2687694.7044 | 1268036.7806 | 2687688.4327 | 1268046.5852
3 | 2687703.0868 | 1268029.8994 | 2687708.5169 | 1268028.7013 | 2687714.0246 | 1268029.3725 | 2687715.7716 | 1268029.7611
4 | 2687719.9655 | 1268030.6941 | 2687715.7716 | 1268029.7611
5 | 2687838.4123 | 1268046.3406 | 2687846.2047 | 1268045.7489 | 2687853.0862 | 1268047.675 | 2687857.1022 | 1268049.6352
6 | 2687838.4123 | 1268046.3406 | 2687836.9792 | 1268046.4494
7 | 2687863.9896 | 1268052.997 | 2687857.1022 | 1268049.6352
8 | 2687836.9792 | 1268046.4494 | 2687818.8943 | 1268047.8225 | 2687815.6687 | 1268048.2465
9 | 2687863.9896 | 1268052.997 | 2687868.4888 | 1268055.307
10 | 2687863.9896 | 1268052.997 | 2687861.7128 | 1268065.8847 | 2687866.406 | 1268081.834 | 2687866.406 | 1268081.834
11 | 2687801.0343 | 1268050.1702 | 2687815.6687 | 1268048.2465
12 | 2687868.4888 | 1268055.307 | 2687875.2744 | 1268058.791
13 | 2687866.406 | 1268081.834 | 2687865.1072 | 1268086.5186
14 | 2687801.0343 | 1268050.1702 | 2687799.963 | 1268057.4157 | 2687799.0491 | 1268064.2076 | 2687799.0491 | 1268064.2076
15 | 2687801.0343 | 1268050.1702 | 2687790.7815 | 1268039.5648
16 | 2687875.2744 | 1268058.791 | 2687901.4611 | 1268072.2364 | 2687909.1858 | 1268074.4351
17 | 2687794.4739 | 1268075.9901 | 2687799.0491 | 1268064.2076
18 | 2687790.7815 | 1268039.5648 | 2687789.5995 | 1268030.4621 | 2687789.7101 | 1268021.501 | 2687792.1406 | 1268015.4878 | 2687794.2946 | 1268012.2041
19 | 2687790.7815 | 1268039.5648 | 2687776.6881 | 1268041.2124 | 2687764.6403 | 1268041.1866
20 | 2687764.6403 | 1268041.1866 | 2687760.083 | 1268041.1769 | 2687758.835 | 1268040.8085
21 | 2687719.9655 | 1268030.6941 | 2687738.6634 | 1268034.8537 | 2687758.835 | 1268040.8085
22 | 2687812.6278 | 1267997.3604 | 2687801.8013 | 1268004.6558 | 2687795.8684 | 1268009.8052 | 2687794.2946 | 1268012.2041
23 | 2687825.4647 | 1267991.2077 | 2687813.4426 | 1267996.8113 | 2687812.6278 | 1267997.3604
24 | 2687825.4647 | 1267991.2077 | 2687821.1501 | 1267950.3161
25 | 2687825.4647 | 1267991.2077 | 2687841.7066 | 1267987.0041
26 | 2687778.7548 | 1268102.2036 | 2687793.03 | 1268079.7085 | 2687794.4739 | 1268075.9901
27 | 2687820.7605 | 1267946.6239 | 2687821.1501 | 1267950.3161
28 | 2687841.7066 | 1267987.0041 | 2687843.2793 | 1267986.5971
29 | 2687820.7605 | 1267946.6239 | 2687812.4802 | 1267927.5082
30 | 2687820.7605 | 1267946.6239 | 2687830.0587 | 1267943.5884
31 | 2687843.2793 | 1267986.5971 | 2687867.7214 | 1267980.2714 | 2687877.1863 | 1267976.9573
32 | 2687800.6746 | 1267912.8537 | 2687811.3358 | 1267924.8663 | 2687812.4802 | 1267927.5082
33 | 2687830.0587 | 1267943.5884 | 2687845.7045 | 1267938.4806
34 | 2687892.3974 | 1267971.6313 | 2687877.1863 | 1267976.9573
35 | 2687729.8719 | 1267964.8973 | 2687740.6453 | 1267956.9783
36 | 2687717.3827 | 1267974.0775 | 2687729.8719 | 1267964.8973
37 | 2687752.4063 | 1267948.3334 | 2687740.6453 | 1267956.9783
38 | 2687752.4063 | 1267948.3334 | 2687765.4437 | 1267938.7503
39 | 2687765.4437 | 1267938.7503 | 2687788.0638 | 1267922.1233
40 | 2687800.6746 | 1267912.8537 | 2687788.0638 | 1267922.1233
41 | 2687845.7045 | 1267938.4806 | 2687850.6019 | 1267936.8817 | 2687854.1172 | 1267933.3422 | 2687855.8556 | 1267930.3434 | 2687856.5227 | 1267928.4269
42 | 2687778.7548 | 1268102.2036 | 2687764.672 | 1268126.9513
43 | 2687778.7548 | 1268102.2036 | 2687794.9117 | 1268112.4619
44 | 2687794.9117 | 1268112.4619 | 2687795.1132 | 1268112.5898
45 | 2687985.0702 | 1268117.0836 | 2687993.8993 | 1268109.9033
46 | 2687985.0702 | 1268117.0836 | 2687979.5609 | 1268107.9386 | 2687970.9868 | 1268094.8504
47 | 2687985.0702 | 1268117.0836 | 2687986.3921 | 1268119.8055 | 2687985.8316 | 1268129.1269 | 2687983.9205 | 1268142.5015
48 | 2687964.0017 | 1268084.1877 | 2687970.9868 | 1268094.8504
49 | 2687983.9205 | 1268142.5015 | 2687982.8063 | 1268150.299 | 2687982.8119 | 1268150.3459
50 | 2687964.0017 | 1268084.1877 | 2687957.3049 | 1268083.5097 | 2687947.9323 | 1268082.5584
51 | 2687947.9323 | 1268082.5584 | 2687944.5662 | 1268099.333 | 2687940.2263 | 1268104.9974
52 | 2687947.9323 | 1268082.5584 | 2687938.4499 | 1268080.6934
53 | 2687986.9077 | 1268173.5325 | 2687985.1084 | 1268169.5822 | 2687982.8119 | 1268150.3459
54 | 2687940.2263 | 1268104.9974 | 2687936.1144 | 1268110.3645
55 | 2687914.9008 | 1268076.0617 | 2687938.4499 | 1268080.6934
56 | 2688045.3659 | 1268353.7623 | 2688025.6297 | 1268331.0499 | 2688019.6652 | 1268311.056 | 2688021.3154 | 1268291.2423 | 2688027.0931 | 1268276.8166 | 2688033.7515 | 1268263.3938 | 2688036.7369 | 1268247.4364 | 2688035.59 | 1268234.9982 | 2688030.4712 | 1268224.9137 | 2688016.7177 | 1268210.3526 | 2687992.4775 | 1268185.7606 | 2687986.9077 | 1268173.5325
57 | 2687892.3974 | 1267971.6313 | 2687917.9394 | 1267948.8149 | 2687920.7921 | 1267943.9215
58 | 2687914.9008 | 1268076.0617 | 2687909.1858 | 1268074.4351
59 | 2687864.007 | 1268149.9758 | 2687860.1803 | 1268144.0919 | 2687857.6236 | 1268135.4785
60 | 2687864.007 | 1268149.9758 | 2687864.007 | 1268149.9758 | 2687872.4032 | 1268151.2794 | 2687872.4032 | 1268151.2794
61 | 2687872.4032 | 1268151.2794 | 2687881.7893 | 1268148.2526
62 | 2687908.8439 | 1268134.0981 | 2687894.6857 | 1268144.0939 | 2687881.7893 | 1268148.2526
63 | 2687908.8439 | 1268134.0981 | 2687924.8958 | 1268122.7654
64 | 2687924.8958 | 1268122.7654 | 2687928.6372 | 1268120.1239 | 2687936.1144 | 1268110.3645
65 | 2688045.3659 | 1268353.7623 | 2688043.5183 | 1268365.0996 | 2688037.0113 | 1268400.6871 | 2688033.6258 | 1268411.6789 | 2688029.3638 | 1268421.8903
66 | 2688029.3638 | 1268421.8903 | 2688018.3584 | 1268424.9845 | 2687977.3565 | 1268436.7613 | 2687953.3141 | 1268445.2721
67 | 2687928.8528 | 1268453.9311 | 2687953.3141 | 1268445.2721
68 | 2687928.8528 | 1268453.9311 | 2687887.752 | 1268464.7952 | 2687841.7988 | 1268473.4745 | 2687827.5017 | 1268481.3017
69 | 2687827.5017 | 1268481.3017 | 2687842.7701 | 1268585.2686 | 2687853.7051 | 1268626.7957

## bus_geodata
| x | y | coords
0 | 2687630.013 | 1268091.6844
1 | 2687668.9367 | 1268069.3024
2 | 2687688.4327 | 1268046.5852
3 | 2687703.0868 | 1268029.8994
4 | 2687715.7716 | 1268029.7611
5 | 2687838.4123 | 1268046.3406
6 | 2687857.1022 | 1268049.6352
7 | 2687836.9792 | 1268046.4494
8 | 2687863.9896 | 1268052.997
9 | 2687815.6687 | 1268048.2465
10 | 2687868.4888 | 1268055.307
11 | 2687866.406 | 1268081.834
12 | 2687801.0343 | 1268050.1702
13 | 2687875.2744 | 1268058.791
14 | 2687865.1072 | 1268086.5186
15 | 2687799.0491 | 1268064.2076
16 | 2687790.7815 | 1268039.5648
17 | 2687764.6403 | 1268041.1866
18 | 2687758.835 | 1268040.8085
19 | 2687719.9655 | 1268030.6941
20 | 2687794.2946 | 1268012.2041
21 | 2687812.6278 | 1267997.3604
22 | 2687825.4647 | 1267991.2077
23 | 2687794.4739 | 1268075.9901
24 | 2687821.1501 | 1267950.3161
25 | 2687841.7066 | 1267987.0041
26 | 2687820.7605 | 1267946.6239
27 | 2687843.2793 | 1267986.5971
28 | 2687812.4802 | 1267927.5082
29 | 2687830.0587 | 1267943.5884
30 | 2687877.1863 | 1267976.9573
31 | 2687729.8719 | 1267964.8973
32 | 2687740.6453 | 1267956.9783
33 | 2687717.3827 | 1267974.0775
34 | 2687752.4063 | 1267948.3334
35 | 2687765.4437 | 1267938.7503
36 | 2687788.0638 | 1267922.1233
37 | 2687800.6746 | 1267912.8537
38 | 2687845.7045 | 1267938.4806
39 | 2687856.5227 | 1267928.4269
40 | 2687764.672 | 1268126.9513
41 | 2687778.7548 | 1268102.2036
42 | 2687794.9117 | 1268112.4619
43 | 2687795.1132 | 1268112.5898
44 | 2687993.8993 | 1268109.9033
45 | 2687985.0702 | 1268117.0836
46 | 2687970.9868 | 1268094.8504
47 | 2687983.9205 | 1268142.5015
48 | 2687964.0017 | 1268084.1877
49 | 2687947.9323 | 1268082.5584
50 | 2687982.8119 | 1268150.3459
51 | 2687940.2263 | 1268104.9974
52 | 2687938.4499 | 1268080.6934
53 | 2687986.9077 | 1268173.5325
54 | 2687892.3974 | 1267971.6313
55 | 2687920.7921 | 1267943.9215
56 | 2687914.9008 | 1268076.0617
57 | 2687909.1858 | 1268074.4351
58 | 2687864.007 | 1268149.9758
59 | 2687857.6236 | 1268135.4785
60 | 2687872.4032 | 1268151.2794
61 | 2687881.7893 | 1268148.2526
62 | 2687908.8439 | 1268134.0981
63 | 2687924.8958 | 1268122.7654
64 | 2688045.3659 | 1268353.7623
65 | 2688029.3638 | 1268421.8903
66 | 2687953.3141 | 1268445.272
67 | 2687928.8528 | 1268453.9311
68 | 2687936.1144 | 1268110.3645
69 | 2687827.5017 | 1268481.3017
70 | 2687853.7051 | 1268626.7957
71 | 2687863.9896 | 1268052.997

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99617 | -0.073493 | 0.0025385 | 0.00063621
1 | 0.99628 | -0.071491 | 0 | 0
2 | 0.99635 | -0.070142 | 0.0015137 | 0.00037936
3 | 0.99643 | -0.068533 | 0 | 0
4 | 0.99648 | -0.067614 | 0.0020412 | 0.00051157
5 | 0.99996 | -0.00069886 | 0.0025107 | 0.00062925
6 | 0.99952 | -0.0093006 | 0.00054587 | 0.00013681
7 | 1 | 0 | -0.092676 | -0.022918
8 | 0.99934 | -0.012623 | 0 | 0
9 | 0.99878 | -0.023463 | 0.00072396 | 0.00018144
10 | 0.99925 | -0.014426 | 0.00045332 | 0.00011361
11 | 0.99922 | -0.014911 | 0.0022344 | 0.00056
12 | 0.99794 | -0.039501 | 0 | 0
13 | 0.99911 | -0.017086 | 0.00088271 | 0.00022123
14 | 0.99922 | -0.015095 | 0.0021767 | 0.00054553
15 | 0.99782 | -0.04184 | 0.0032227 | 0.00080768
16 | 0.99723 | -0.053097 | 0 | 0
17 | 0.99689 | -0.059679 | 0.0032315 | 0.0008099
18 | 0.99683 | -0.060818 | 0.0020911 | 0.00052408
19 | 0.9965 | -0.067154 | 0.0028887 | 0.00072398
20 | 0.99623 | -0.07233 | 0.00057634 | 0.00014444
21 | 0.99541 | -0.088136 | 0.00097641 | 0.00024471
22 | 0.99493 | -0.097372 | 0 | 0
23 | 0.99775 | -0.043213 | 0.0026239 | 0.00065762
24 | 0.99403 | -0.11473 | 0.0027802 | 0.00069679
25 | 0.99474 | -0.10118 | 0.0024762 | 0.00062058
26 | 0.99396 | -0.11612 | 0 | 0
27 | 0.99472 | -0.10148 | 0.0009884 | 0.00024772
28 | 0.9937 | -0.1212 | 0.0010744 | 0.00026926
29 | 0.9939 | -0.11739 | 0.0017437 | 0.00043702
30 | 0.99442 | -0.10733 | 0.0085511 | 0.0021431
31 | 0.99275 | -0.13965 | 0.0017679 | 0.00044309
32 | 0.9928 | -0.13853 | 0.0013611 | 0.00034113
33 | 0.9927 | -0.14046 | 0.0029658 | 0.00074331
34 | 0.99289 | -0.13696 | 0.0028949 | 0.00072554
35 | 0.99302 | -0.13438 | 0.0018849 | 0.0004724
36 | 0.9933 | -0.12899 | 0.0018695 | 0.00046854
37 | 0.99348 | -0.12546 | 0 | 0
38 | 0.99381 | -0.11902 | 0.0023143 | 0.00058002
39 | 0.99377 | -0.11993 | 0.003293 | 0.0008253
40 | 0.99762 | -0.045715 | 0.0011694 | 0.00029307
41 | 0.99765 | -0.045132 | 0 | 0
42 | 0.99761 | -0.045939 | 0.00095245 | 0.00023871
43 | 0.99761 | -0.045945 | 0.001455 | 0.00036466
44 | 0.99766 | -0.045183 | 0.0003907 | 9.7918e-05
45 | 0.99766 | -0.045105 | 0 | 0
46 | 0.99777 | -0.043048 | 0.00048187 | 0.00012077
47 | 0.99756 | -0.04695 | 0.00069963 | 0.00017534
48 | 0.99782 | -0.041944 | 0 | 0
49 | 0.99789 | -0.040546 | 0 | 0
50 | 0.99754 | -0.047418 | 0.00063352 | 0.00015877
51 | 0.99772 | -0.043846 | 0.0022402 | 0.00056144
52 | 0.99801 | -0.038394 | 0.0040995 | 0.0010274
53 | 0.99748 | -0.048555 | 0.00046781 | 0.00011724
54 | 0.99441 | -0.10757 | 0 | 0
55 | 0.99437 | -0.10818 | 0.00086258 | 0.00021618
56 | 0.99837 | -0.031331 | 0 | 0
57 | 0.99846 | -0.029584 | 0.0022674 | 0.00056828
58 | 0.99737 | -0.050678 | 0.0003457 | 8.6642e-05
59 | 0.99733 | -0.051461 | 0.0027903 | 0.00069931
60 | 0.99739 | -0.050211 | 0.00057497 | 0.0001441
61 | 0.99743 | -0.04957 | 0.00038571 | 9.6669e-05
62 | 0.99754 | -0.047353 | 0.0003142 | 7.8745e-05
63 | 0.99762 | -0.045834 | 9.7077e-05 | 2.433e-05
64 | 0.99705 | -0.056868 | 0 | 0
65 | 0.99691 | -0.059652 | 0 | 0
66 | 0.99675 | -0.062805 | 0.0020799 | 0.00052128
67 | 0.99674 | -0.062885 | 0 | 0
68 | 0.99769 | -0.044501 | 0.0010231 | 0.00025641
69 | 0.99673 | -0.063207 | 0 | 0
70 | 0.99671 | -0.063649 | 0.00016763 | 4.2013e-05
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0025385 | -0.00063621 | 0.0025387 | 0.00063578 | 2.4208e-07 | -4.2969e-07 | 0.0037918 | 0.0037916 | 0.0037918 | 0.99617 | -0.073493 | 0.99628 | -0.071491 | 1.0417
1 | -0.0025387 | -0.00063578 | 0.0025389 | 0.00063549 | 1.6308e-07 | -2.8958e-07 | 0.0037916 | 0.0037915 | 0.0037916 | 0.99628 | -0.071491 | 0.99635 | -0.070142 | 1.0417
2 | -0.0040526 | -0.0010149 | 0.0040529 | 0.0010148 | 3.1046e-07 | -9.5705e-08 | 0.0060521 | 0.006052 | 0.0060521 | 0.99635 | -0.070142 | 0.99643 | -0.068533 | 1.6627
3 | -0.0040529 | -0.0010148 | 0.0040531 | 0.0010147 | 1.7716e-07 | -5.4641e-08 | 0.006052 | 0.006052 | 0.006052 | 0.99643 | -0.068533 | 0.99648 | -0.067614 | 1.6626
4 | -0.0060942 | -0.0015263 | 0.0060944 | 0.0015263 | 1.3342e-07 | 2.9417e-08 | 0.0091 | 0.0091 | 0.0091 | 0.99648 | -0.067614 | 0.9965 | -0.067154 | 2.5
5 | 0.025397 | 0.0063688 | -0.025387 | -0.0063624 | 1.0407e-05 | 6.4059e-06 | 0.037794 | 0.037794 | 0.037794 | 0.99996 | -0.00069886 | 0.99952 | -0.0093006 | 10.3829
6 | -0.027908 | -0.006998 | 0.027909 | 0.0069986 | 9.2955e-07 | 5.7606e-07 | 0.04153 | 0.04153 | 0.04153 | 0.99996 | -0.00069886 | 1 | 0 | 11.4093
7 | 0.024841 | 0.0062256 | -0.024837 | -0.0062232 | 3.9306e-06 | 2.4151e-06 | 0.036981 | 0.036981 | 0.036981 | 0.99952 | -0.0093006 | 0.99934 | -0.012623 | 10.1597
8 | 0.063117 | 0.015919 | -0.063046 | -0.015874 | 7.0808e-05 | 4.5037e-05 | 0.093955 | 0.093955 | 0.093955 | 1 | 0 | 0.99878 | -0.023463 | 25.8117
9 | 0.020425 | 0.0051178 | -0.020423 | -0.0051167 | 1.7542e-06 | 1.0564e-06 | 0.030412 | 0.030412 | 0.030412 | 0.99934 | -0.012623 | 0.99925 | -0.014426 | 8.3551
10 | 0.0044116 | 0.0011054 | -0.0044112 | -0.0011055 | 4.8079e-07 | -8.1546e-08 | 0.0065688 | 0.0065689 | 0.0065689 | 0.99934 | -0.012623 | 0.99922 | -0.014911 | 1.8047
11 | 0.062322 | 0.015693 | -0.062274 | -0.015663 | 4.7746e-05 | 3.0364e-05 | 0.092876 | 0.092876 | 0.092876 | 0.99878 | -0.023463 | 0.99794 | -0.039501 | 25.5154
12 | 0.01997 | 0.0050031 | -0.019968 | -0.0050016 | 2.5295e-06 | 1.519e-06 | 0.029737 | 0.029737 | 0.029737 | 0.99925 | -0.014426 | 0.99911 | -0.017086 | 8.1696
13 | 0.0021767 | 0.00054548 | -0.0021767 | -0.00054553 | 1.9155e-08 | -5.1418e-08 | 0.0032415 | 0.0032415 | 0.0032415 | 0.99922 | -0.014911 | 0.99922 | -0.015095 | 0.89053
14 | 0.0094253 | 0.0023616 | -0.0094243 | -0.0023611 | 1.0501e-06 | 4.8683e-07 | 0.014054 | 0.014054 | 0.014054 | 0.99794 | -0.039501 | 0.99782 | -0.04184 | 3.8609
15 | 0.052849 | 0.013301 | -0.052815 | -0.013279 | 3.4317e-05 | 2.177e-05 | 0.078822 | 0.078822 | 0.078822 | 0.99794 | -0.039501 | 0.99723 | -0.053097 | 21.6545
16 | 0.019085 | 0.0047804 | -0.019073 | -0.0047736 | 1.1351e-05 | 6.7742e-06 | 0.028423 | 0.028423 | 0.028423 | 0.99911 | -0.017086 | 0.99846 | -0.029584 | 7.8085
17 | 0.0062016 | 0.0015534 | -0.0062012 | -0.0015533 | 4.0538e-07 | 9.4354e-08 | 0.009248 | 0.009248 | 0.009248 | 0.99782 | -0.04184 | 0.99775 | -0.043213 | 2.5407
18 | 0.038501 | 0.0096909 | -0.038466 | -0.0096687 | 3.5358e-05 | 2.2257e-05 | 0.057464 | 0.057464 | 0.057464 | 0.99723 | -0.053097 | 0.99623 | -0.07233 | 15.7869
19 | 0.014314 | 0.0035883 | -0.014309 | -0.0035858 | 4.4883e-06 | 2.5303e-06 | 0.021358 | 0.021358 | 0.021358 | 0.99723 | -0.053097 | 0.99689 | -0.059679 | 5.8677
20 | 0.011077 | 0.0027759 | -0.011077 | -0.0027756 | 6.0065e-07 | 3.0804e-07 | 0.016535 | 0.016535 | 0.016535 | 0.99689 | -0.059679 | 0.99683 | -0.060818 | 4.5425
21 | 0.0089858 | 0.0022515 | -0.0089831 | -0.0022503 | 2.7114e-06 | 1.2116e-06 | 0.013413 | 0.013413 | 0.013413 | 0.99683 | -0.060818 | 0.9965 | -0.067154 | 3.685
22 | 0.03789 | 0.0095242 | -0.037861 | -0.0095063 | 2.8571e-05 | 1.7976e-05 | 0.056603 | 0.056604 | 0.056604 | 0.99623 | -0.07233 | 0.99541 | -0.088136 | 15.5504
23 | 0.036885 | 0.0092615 | -0.036868 | -0.0092513 | 1.6246e-05 | 1.0212e-05 | 0.055144 | 0.055144 | 0.055144 | 0.99541 | -0.088136 | 0.99493 | -0.097372 | 15.1495
24 | 0.023985 | 0.0060219 | -0.023965 | -0.0060097 | 1.9846e-05 | 1.2168e-05 | 0.035876 | 0.035876 | 0.035876 | 0.99493 | -0.097372 | 0.99403 | -0.11473 | 9.856
25 | 0.012883 | 0.0032295 | -0.012881 | -0.0032282 | 2.3359e-06 | 1.2771e-06 | 0.019268 | 0.019269 | 0.019269 | 0.99493 | -0.097372 | 0.99474 | -0.10118 | 5.2936
26 | 0.0035773 | 0.0008957 | -0.003577 | -0.00089589 | 3.2692e-07 | -1.9078e-07 | 0.0053348 | 0.0053349 | 0.0053349 | 0.99775 | -0.043213 | 0.99765 | -0.045132 | 1.4656
27 | 0.021185 | 0.0053129 | -0.021183 | -0.0053121 | 1.4003e-06 | 8.4807e-07 | 0.031714 | 0.031714 | 0.031714 | 0.99403 | -0.11473 | 0.99396 | -0.11612 | 8.7126
28 | 0.010405 | 0.0026076 | -0.010405 | -0.0026075 | 1.4758e-07 | 7.3363e-08 | 0.015565 | 0.015565 | 0.015565 | 0.99474 | -0.10118 | 0.99472 | -0.10148 | 4.276
29 | 0.013831 | 0.0034696 | -0.013828 | -0.0034677 | 3.3498e-06 | 1.8739e-06 | 0.020707 | 0.020708 | 0.020708 | 0.99396 | -0.11612 | 0.9937 | -0.1212 | 5.6889
30 | 0.0073521 | 0.0018425 | -0.0073516 | -0.0018423 | 4.4433e-07 | 1.5761e-07 | 0.011006 | 0.011006 | 0.011006 | 0.99396 | -0.11612 | 0.9939 | -0.11739 | 3.0237
31 | 0.0094163 | 0.0023598 | -0.0094137 | -0.0023586 | 2.6247e-06 | 1.222e-06 | 0.014086 | 0.014086 | 0.014086 | 0.99472 | -0.10148 | 0.99442 | -0.10733 | 3.8698
32 | 0.012754 | 0.0031985 | -0.012751 | -0.0031971 | 2.5908e-06 | 1.4128e-06 | 0.019099 | 0.019099 | 0.019099 | 0.9937 | -0.1212 | 0.99348 | -0.12546 | 5.2469
33 | 0.0056079 | 0.0014053 | -0.0056075 | -0.0014052 | 4.3506e-07 | 6.516e-08 | 0.0083958 | 0.0083959 | 0.0083959 | 0.9939 | -0.11739 | 0.99381 | -0.11902 | 2.3066
34 | 0.00086261 | 0.00021548 | -0.0008626 | -0.00021568 | 1.0066e-08 | -2.0264e-07 | 0.0012905 | 0.0012906 | 0.0012906 | 0.99442 | -0.10733 | 0.99441 | -0.10757 | 0.35456
35 | -0.0047339 | -0.0011863 | 0.0047341 | 0.0011863 | 2.5244e-07 | -1.1331e-08 | 0.0070955 | 0.0070954 | 0.0070955 | 0.99275 | -0.13965 | 0.9928 | -0.13853 | 1.9493
36 | 0.0029659 | 0.00074318 | -0.0029658 | -0.00074331 | 1.1488e-07 | -1.2688e-07 | 0.0044456 | 0.0044456 | 0.0044456 | 0.99275 | -0.13965 | 0.9927 | -0.14046 | 1.2213
37 | -0.0060953 | -0.0015274 | 0.0060957 | 0.0015275 | 4.5681e-07 | 1.036e-07 | 0.0091355 | 0.0091354 | 0.0091355 | 0.9928 | -0.13853 | 0.99289 | -0.13696 | 2.5098
38 | -0.0089907 | -0.002253 | 0.0089918 | 0.0022535 | 1.1016e-06 | 4.9571e-07 | 0.013474 | 0.013474 | 0.013474 | 0.99289 | -0.13696 | 0.99302 | -0.13438 | 3.7017
39 | -0.010877 | -0.0027259 | 0.010879 | 0.0027274 | 2.7965e-06 | 1.4265e-06 | 0.016298 | 0.016298 | 0.016298 | 0.99302 | -0.13438 | 0.9933 | -0.12899 | 4.4776
40 | -0.012749 | -0.0031959 | 0.012751 | 0.0031971 | 2.1409e-06 | 1.1675e-06 | 0.019099 | 0.019099 | 0.019099 | 0.9933 | -0.12899 | 0.99348 | -0.12546 | 5.247
41 | 0.0032931 | 0.00082519 | -0.003293 | -0.0008253 | 1.4255e-07 | -1.1136e-07 | 0.0049307 | 0.0049308 | 0.0049308 | 0.99381 | -0.11902 | 0.99377 | -0.11993 | 1.3546
42 | -0.0011694 | -0.00029307 | 0.0011694 | 0.00029272 | 3.2482e-08 | -3.5101e-07 | 0.0017442 | 0.0017441 | 0.0017442 | 0.99762 | -0.045715 | 0.99765 | -0.045132 | 0.47917
43 | 0.0024076 | 0.00060317 | -0.0024075 | -0.00060336 | 9.2542e-08 | -1.9066e-07 | 0.0035909 | 0.0035909 | 0.0035909 | 0.99765 | -0.045132 | 0.99761 | -0.045939 | 0.98652
44 | 0.001455 | 0.00036466 | -0.001455 | -0.00036466 | 4.2177e-10 | -2.8468e-09 | 0.0021703 | 0.0021703 | 0.0021703 | 0.99761 | -0.045939 | 0.99761 | -0.045945 | 0.59623
45 | -0.0003907 | -9.7918e-05 | 0.0003907 | 9.777e-05 | 1.449e-09 | -1.4767e-07 | 0.00058273 | 0.00058268 | 0.00058273 | 0.99766 | -0.045183 | 0.99766 | -0.045105 | 0.16009
46 | -0.0044413 | -0.0011047 | 0.0044418 | 0.0011046 | 4.3276e-07 | -6.6793e-08 | 0.0066213 | 0.0066212 | 0.0066213 | 0.99766 | -0.045105 | 0.99777 | -0.043048 | 1.819
47 | 0.0040506 | 0.0010069 | -0.0040503 | -0.001007 | 3.5383e-07 | -1.1139e-07 | 0.0060386 | 0.0060388 | 0.0060388 | 0.99766 | -0.045105 | 0.99756 | -0.04695 | 1.659
48 | -0.0049236 | -0.0012254 | 0.0049239 | 0.0012254 | 2.5752e-07 | -1.6825e-09 | 0.0073398 | 0.0073398 | 0.0073398 | 0.99777 | -0.043048 | 0.99782 | -0.041944 | 2.0164
49 | 0.0033506 | 0.00083169 | -0.0033506 | -0.00083175 | 7.4144e-08 | -5.5996e-08 | 0.0049952 | 0.0049952 | 0.0049952 | 0.99756 | -0.04695 | 0.99754 | -0.047418 | 1.3723
50 | -0.0049239 | -0.0012254 | 0.0049242 | 0.0012254 | 3.263e-07 | -2.1629e-09 | 0.0073398 | 0.0073397 | 0.0073398 | 0.99782 | -0.041944 | 0.99789 | -0.040546 | 2.0164
51 | 0.0077739 | 0.0019477 | -0.0077727 | -0.0019472 | 1.2217e-06 | 4.652e-07 | 0.011592 | 0.011592 | 0.011592 | 0.99789 | -0.040546 | 0.99772 | -0.043846 | 3.1846
52 | -0.012698 | -0.003173 | 0.012699 | 0.0031737 | 1.2989e-06 | 7.0501e-07 | 0.018932 | 0.018932 | 0.018932 | 0.99789 | -0.040546 | 0.99801 | -0.038394 | 5.201
53 | 0.0027171 | 0.00067297 | -0.0027169 | -0.00067319 | 1.4588e-07 | -2.162e-07 | 0.0040502 | 0.0040503 | 0.0040503 | 0.99754 | -0.047418 | 0.99748 | -0.048555 | 1.1127
54 | 0.0055325 | 0.0013857 | -0.0055323 | -0.0013857 | 1.7261e-07 | 2.2175e-08 | 0.008251 | 0.008251 | 0.008251 | 0.99772 | -0.043846 | 0.99769 | -0.044501 | 2.2668
55 | -0.016799 | -0.0042012 | 0.016805 | 0.0042045 | 5.6448e-06 | 3.299e-06 | 0.025044 | 0.025044 | 0.025044 | 0.99801 | -0.038394 | 0.99837 | -0.031331 | 6.8802
56 | 0.0022491 | 0.00055594 | -0.0022482 | -0.00055811 | 8.8274e-07 | -2.1671e-06 | 0.0033524 | 0.0033534 | 0.0033534 | 0.99748 | -0.048555 | 0.99705 | -0.056868 | 0.92126
57 | 0.0008626 | 0.00021568 | -0.00086258 | -0.00021618 | 2.4934e-08 | -5.0181e-07 | 0.0012906 | 0.0012908 | 0.0012908 | 0.99441 | -0.10757 | 0.99437 | -0.10818 | 0.35461
58 | -0.016805 | -0.0042045 | 0.016806 | 0.0042053 | 1.3975e-06 | 8.1671e-07 | 0.025044 | 0.025044 | 0.025044 | 0.99837 | -0.031331 | 0.99846 | -0.029584 | 6.8802
59 | 0.0027904 | 0.00069917 | -0.0027903 | -0.00069931 | 1.0401e-07 | -1.4228e-07 | 0.004163 | 0.0041631 | 0.0041631 | 0.99737 | -0.050678 | 0.99733 | -0.051461 | 1.1437
60 | -0.0031361 | -0.00078581 | 0.0031362 | 0.00078574 | 6.9751e-08 | -6.6248e-08 | 0.0046788 | 0.0046788 | 0.0046788 | 0.99737 | -0.050678 | 0.99739 | -0.050211 | 1.2854
61 | -0.0037111 | -0.00092984 | 0.0037112 | 0.00092979 | 1.1337e-07 | -5.6161e-08 | 0.0055366 | 0.0055365 | 0.0055366 | 0.99739 | -0.050211 | 0.99743 | -0.04957 | 1.521
62 | -0.004097 | -0.0010265 | 0.0040974 | 0.0010263 | 4.3259e-07 | -1.2625e-07 | 0.0061119 | 0.0061118 | 0.0061119 | 0.99743 | -0.04957 | 0.99754 | -0.047353 | 1.6791
63 | -0.0044116 | -0.0011051 | 0.0044119 | 0.001105 | 3.1907e-07 | -5.2333e-08 | 0.0065805 | 0.0065804 | 0.0065805 | 0.99754 | -0.047353 | 0.99762 | -0.045834 | 1.8078
64 | -0.004509 | -0.0011294 | 0.0045093 | 0.0011293 | 2.862e-07 | -3.7178e-08 | 0.0067252 | 0.0067251 | 0.0067252 | 0.99762 | -0.045834 | 0.99769 | -0.044501 | 1.8476
65 | 0.0022482 | 0.00055811 | -0.0022479 | -0.00055884 | 2.9616e-07 | -7.2618e-07 | 0.0033534 | 0.0033537 | 0.0033537 | 0.99705 | -0.056868 | 0.99691 | -0.059652 | 0.92135
66 | 0.0022479 | 0.00055884 | -0.0022476 | -0.00055966 | 3.3575e-07 | -8.2275e-07 | 0.0033537 | 0.0033541 | 0.0033541 | 0.99691 | -0.059652 | 0.99675 | -0.062805 | 0.92145
67 | 0.00016764 | 3.8377e-05 | -0.00016764 | -3.8715e-05 | 6.0374e-10 | -3.3783e-07 | 0.00024903 | 0.00024914 | 0.00024914 | 0.99675 | -0.062805 | 0.99674 | -0.062885 | 0.068446
68 | 0.00016764 | 3.8715e-05 | -0.00016764 | -4.0085e-05 | 2.4553e-09 | -1.3707e-06 | 0.00024914 | 0.0002496 | 0.0002496 | 0.99674 | -0.062885 | 0.99673 | -0.063207 | 0.068571
69 | 0.00016764 | 4.0085e-05 | -0.00016763 | -4.2013e-05 | 3.4673e-09 | -1.927e-06 | 0.0002496 | 0.00025026 | 0.00025026 | 0.99673 | -0.063207 | 0.99671 | -0.063649 | 0.068754

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.095765 | 0.023692

## res_load
| p_mw | q_mvar
0 | 0.0025385 | 0.00063621
1 | 0.0015137 | 0.00037936
2 | 0.0020412 | 0.00051157
3 | 0.0025107 | 0.00062925
4 | 0.00054587 | 0.00013681
5 | 0.0030895 | 0.00077431
6 | 0.00072396 | 0.00018144
7 | 0.00045332 | 0.00011361
8 | 0.0022344 | 0.00056
9 | 0.00088271 | 0.00022123
10 | 0.0021767 | 0.00054553
11 | 0.0032227 | 0.00080768
12 | 0.0032315 | 0.0008099
13 | 0.0020911 | 0.00052408
14 | 0.0028887 | 0.00072398
15 | 0.00057634 | 0.00014444
16 | 0.00097641 | 0.00024471
17 | 0.0026239 | 0.00065762
18 | 0.0027802 | 0.00069679
19 | 0.0024762 | 0.00062058
20 | 0.0009884 | 0.00024772
21 | 0.0010744 | 0.00026926
22 | 0.0017437 | 0.00043702
23 | 0.0085511 | 0.0021431
24 | 0.0017679 | 0.00044309
25 | 0.0013611 | 0.00034113
26 | 0.0029658 | 0.00074331
27 | 0.0028949 | 0.00072554
28 | 0.0018849 | 0.0004724
29 | 0.0018695 | 0.00046854
30 | 0.0023143 | 0.00058002
31 | 0.003293 | 0.0008253
32 | 0.0011694 | 0.00029307
33 | 0.00095245 | 0.00023871
34 | 0.001455 | 0.00036466
35 | 0.0003907 | 9.7918e-05
36 | 0.00048187 | 0.00012077
37 | 0.00069963 | 0.00017534
38 | 0.00063352 | 0.00015877
39 | 0.0022402 | 0.00056144
40 | 0.0040995 | 0.0010274
41 | 0.00046781 | 0.00011724
42 | 0.00086258 | 0.00021618
43 | 0.0022674 | 0.00056828
44 | 0.0003457 | 8.6642e-05
45 | 0.0027903 | 0.00069931
46 | 0.00057497 | 0.0001441
47 | 0.00038571 | 9.6669e-05
48 | 0.0003142 | 7.8745e-05
49 | 9.7077e-05 | 2.433e-05
50 | 0.0020799 | 0.00052128
51 | 0.0010231 | 0.00025641
52 | 0.00016763 | 4.2013e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1