## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2301-1_1_3_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_2301-1_1_3_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_2301-1_1_3_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_2301-1_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_2301-1_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_2301-1_1_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2301-1_1_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_2301-1_1_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2301-1_1_3_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_2301-1_1_3_node_140 | 0.4 | n |  | TRUE
10 | bus_LV_2301-1_1_3_node_141 | 0.4 | n |  | TRUE
11 | bus_LV_2301-1_1_3_node_142 | 0.4 | n |  | TRUE
12 | bus_LV_2301-1_1_3_node_143 | 0.4 | n |  | TRUE
13 | bus_LV_2301-1_1_3_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_2301-1_1_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_2301-1_1_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2301-1_1_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_2301-1_1_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_2301-1_1_3_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_2301-1_1_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_2301-1_1_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_2301-1_1_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2301-1_1_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2301-1_1_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_2301-1_1_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_2301-1_1_3_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_2301-1_1_3_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_2301-1_1_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_2301-1_1_3_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_2301-1_1_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_2301-1_1_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2301-1_1_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_2301-1_1_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2301-1_1_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_2301-1_1_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_2301-1_1_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_2301-1_1_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2301-1_1_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2301-1_1_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2301-1_1_3_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_2301-1_1_3_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_2301-1_1_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_2301-1_1_3_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_2301-1_1_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_2301-1_1_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_2301-1_1_3_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_2301-1_1_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_2301-1_1_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_2301-1_1_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_2301-1_1_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2301-1_1_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_2301-1_1_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_2301-1_1_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_2301-1_1_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_2301-1_1_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_2301-1_1_3_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_2301-1_1_3_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_2301-1_1_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_2301-1_1_3_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_2301-1_1_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_2301-1_1_3_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_2301-1_1_3_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_2301-1_1_3_node_104 | 0.4 | n |  | TRUE
63 | bus_LV_2301-1_1_3_node_105 | 0.4 | n |  | TRUE
64 | bus_LV_2301-1_1_3_node_106 | 0.4 | n |  | TRUE
65 | bus_LV_2301-1_1_3_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_2301-1_1_3_node_109 | 0.4 | n |  | TRUE
67 | bus_LV_2301-1_1_3_node_117 | 0.4 | n |  | TRUE
68 | bus_LV_2301-1_1_3_node_116 | 0.4 | n |  | TRUE
69 | bus_LV_2301-1_1_3_node_118 | 0.4 | n |  | TRUE
70 | bus_LV_2301-1_1_3_node_151 | 0.4 | n |  | TRUE
71 | bus_LV_2301-1_1_3_node_150 | 0.4 | n |  | TRUE
72 | bus_MV_36_1_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2301-1_1_3_load_8 | 0 | 0.001771 | 0.00044386 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2301-1_1_3_load_9 | 1 | 0.0027061 | 0.00067821 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2301-1_1_3_load_12 | 4 | 0.001639 | 0.00041078 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2301-1_1_3_load_13 | 5 | 0.0025239 | 0.00063254 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2301-1_1_3_load_47 | 6 | 0.0080752 | 0.0020238 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2301-1_1_3_load_57 | 8 | 0.0010369 | 0.00025988 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2301-1_1_3_load_140 | 9 | 0.0034246 | 0.00085827 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2301-1_1_3_load_141 | 10 | 0.0040979 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2301-1_1_3_load_142 | 11 | 0.006398 | 0.0016035 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2301-1_1_3_load_143 | 12 | 0.0025011 | 0.00062683 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2301-1_1_3_load_115 | 13 | 0.0027397 | 0.00068663 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2301-1_1_3_load_20 | 14 | 0.0049842 | 0.0012492 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2301-1_1_3_load_21 | 15 | 0.0011141 | 0.00027922 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2301-1_1_3_load_23 | 16 | 0.0022877 | 0.00057335 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2301-1_1_3_load_24 | 17 | 0.0035006 | 0.00087733 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2301-1_1_3_load_25 | 19 | 0.012739 | 0.0031926 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2301-1_1_3_load_26 | 20 | 0.00644 | 0.001614 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2301-1_1_3_load_28 | 22 | 0.0023607 | 0.00059163 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2301-1_1_3_load_30 | 24 | 0.0029728 | 0.00074506 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2301-1_1_3_load_45 | 25 | 0.0037239 | 0.00093329 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2301-1_1_3_load_73 | 26 | 0.0058248 | 0.0014598 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2301-1_1_3_load_67 | 27 | 0.001235 | 0.00030952 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2301-1_1_3_load_58 | 28 | 0.00079078 | 0.00019819 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2301-1_1_3_load_31 | 29 | 0.0022634 | 0.00056727 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2301-1_1_3_load_32 | 30 | 0.0018813 | 0.0004715 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2301-1_1_3_load_33 | 31 | 0.001634 | 0.00040953 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2301-1_1_3_load_34 | 32 | 0.0014426 | 0.00036156 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2301-1_1_3_load_35 | 33 | 0.00080566 | 0.00020192 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2301-1_1_3_load_36 | 34 | 0.0030726 | 0.00077008 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2301-1_1_3_load_37 | 35 | 0.0024574 | 0.00061587 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2301-1_1_3_load_38 | 36 | 0.0042407 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2301-1_1_3_load_40 | 37 | 0.0038873 | 0.00097425 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2301-1_1_3_load_41 | 38 | 0.0029479 | 0.00073881 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2301-1_1_3_load_42 | 39 | 0.0037634 | 0.00094319 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2301-1_1_3_load_43 | 40 | 0.0050871 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2301-1_1_3_load_59 | 42 | 0.012296 | 0.0030817 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2301-1_1_3_load_52 | 43 | 0.0030199 | 0.00075686 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2301-1_1_3_load_50 | 44 | 0.0058633 | 0.0014695 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2301-1_1_3_load_48 | 45 | 0.0014661 | 0.00036744 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2301-1_1_3_load_49 | 46 | 0.00074901 | 0.00018772 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2301-1_1_3_load_61 | 48 | 0.011526 | 0.0028886 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2301-1_1_3_load_51 | 49 | 0.0020976 | 0.0005257 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2301-1_1_3_load_53 | 50 | 0.0053813 | 0.0013487 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2301-1_1_3_load_56 | 51 | 0.0026241 | 0.00065765 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2301-1_1_3_load_60 | 53 | 0.0023629 | 0.0005922 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2301-1_1_3_load_62 | 54 | 0.0030108 | 0.00075458 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2301-1_1_3_load_64 | 55 | 0.0024585 | 0.00061616 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2301-1_1_3_load_66 | 57 | 0.0016312 | 0.00040882 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2301-1_1_3_load_68 | 58 | 0.00182 | 0.00045615 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2301-1_1_3_load_69 | 59 | 0.001511 | 0.00037869 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2301-1_1_3_load_80 | 61 | 0.0028352 | 0.00071058 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2301-1_1_3_load_104 | 62 | 0.0034478 | 0.0008641 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2301-1_1_3_load_105 | 63 | 0.0033054 | 0.00082842 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2301-1_1_3_load_107 | 65 | 0.0044865 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2301-1_1_3_load_109 | 66 | 0.0027501 | 0.00068923 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2301-1_1_3_load_117 | 67 | 0.0032233 | 0.00080784 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2301-1_1_3_load_116 | 68 | 0.0051979 | 0.0013027 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2301-1_1_3_load_151 | 70 | 0.00082401 | 0.00020652 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2301-1_1_3_load_150 | 71 | 0.0020318 | 0.00050921 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2301-1_1_3_line_0 |  | 0 | 1 | 0.001677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2301-1_1_3_line_1 |  | 0 | 2 | 0.025048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2301-1_1_3_line_2 |  | 1 | 3 | 0.013148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2301-1_1_3_line_3 |  | 2 | 4 | 0.011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2301-1_1_3_line_4 |  | 2 | 5 | 0.015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2301-1_1_3_line_5 |  | 3 | 6 | 0.032614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2301-1_1_3_line_6 |  | 3 | 7 | 0.014823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2301-1_1_3_line_7 |  | 4 | 8 | 0.0057195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2301-1_1_3_line_8 |  | 6 | 45 | 0.0010109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2301-1_1_3_line_9 |  | 7 | 17 | 0.0035447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2301-1_1_3_line_10 |  | 7 | 14 | 0.026924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2301-1_1_3_line_11 |  | 8 | 28 | 0.018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2301-1_1_3_line_12 |  | 9 | 10 | 0.018843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2301-1_1_3_line_13 |  | 9 | 11 | 0.029593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2301-1_1_3_line_14 |  | 10 | 12 | 0.049907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2301-1_1_3_line_15 |  | 12 | 13 | 0.027951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2301-1_1_3_line_16 |  | 13 | 56 | 0.023743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2301-1_1_3_line_17 |  | 14 | 15 | 0.010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2301-1_1_3_line_18 |  | 15 | 16 | 0.029421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2301-1_1_3_line_19 |  | 16 | 18 | 0.0095998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2301-1_1_3_line_20 |  | 18 | 44 | 0.021207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2301-1_1_3_line_21 |  | 18 | 40 | 0.019272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2301-1_1_3_line_22 |  | 19 | 20 | 0.021893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2301-1_1_3_line_23 |  | 19 | 21 | 0.027753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2301-1_1_3_line_24 |  | 20 | 22 | 0.0083032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2301-1_1_3_line_25 |  | 21 | 23 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2301-1_1_3_line_26 |  | 21 | 24 | 0.051727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2301-1_1_3_line_27 |  | 22 | 25 | 0.021339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2301-1_1_3_line_28 |  | 23 | 26 | 0.059335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2301-1_1_3_line_29 |  | 23 | 27 | 0.017779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2301-1_1_3_line_30 |  | 24 | 28 | 0.0011797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2301-1_1_3_line_31 |  | 25 | 36 | 0.0061273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2301-1_1_3_line_32 |  | 27 | 57 | 0.00071393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2301-1_1_3_line_33 |  | 29 | 30 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2301-1_1_3_line_34 |  | 29 | 31 | 0.051803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2301-1_1_3_line_35 |  | 30 | 32 | 0.01502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2301-1_1_3_line_36 |  | 31 | 33 | 0.038977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2301-1_1_3_line_37 |  | 32 | 34 | 0.0052104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2301-1_1_3_line_38 |  | 34 | 35 | 0.041422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2301-1_1_3_line_39 |  | 35 | 36 | 0.00084694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2301-1_1_3_line_40 |  | 37 | 38 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2301-1_1_3_line_41 |  | 37 | 39 | 0.032548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2301-1_1_3_line_42 |  | 38 | 40 | 0.020114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2301-1_1_3_line_43 |  | 39 | 41 | 0.024701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2301-1_1_3_line_44 |  | 41 | 42 | 0.0084356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2301-1_1_3_line_45 |  | 41 | 43 | 0.0011182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2301-1_1_3_line_46 |  | 42 | 52 | 0.058802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2301-1_1_3_line_47 |  | 43 | 49 | 0.031532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2301-1_1_3_line_48 |  | 44 | 48 | 0.011275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2301-1_1_3_line_49 |  | 45 | 46 | 0.012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2301-1_1_3_line_50 |  | 46 | 47 | 0.025236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2301-1_1_3_line_51 |  | 47 | 51 | 0.018227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2301-1_1_3_line_52 |  | 48 | 54 | 0.031053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2301-1_1_3_line_53 |  | 49 | 50 | 0.056944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2301-1_1_3_line_54 |  | 52 | 53 | 0.084183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2301-1_1_3_line_55 |  | 54 | 55 | 0.026508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2301-1_1_3_line_56 |  | 55 | 56 | 0.014709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2301-1_1_3_line_57 |  | 56 | 64 | 0.003314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2301-1_1_3_line_58 |  | 57 | 58 | 0.026799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2301-1_1_3_line_59 |  | 58 | 59 | 0.0052781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2301-1_1_3_line_60 |  | 59 | 60 | 0.018306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2301-1_1_3_line_61 |  | 60 | 61 | 0.034443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2301-1_1_3_line_62 |  | 62 | 63 | 0.043658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2301-1_1_3_line_63 |  | 62 | 64 | 0.027438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2301-1_1_3_line_64 |  | 63 | 65 | 0.0034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2301-1_1_3_line_65 |  | 64 | 66 | 0.03179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2301-1_1_3_line_66 |  | 65 | 67 | 0.0073233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2301-1_1_3_line_67 |  | 67 | 68 | 0.02401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2301-1_1_3_line_68 |  | 68 | 69 | 0.023396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2301-1_1_3_line_69 |  | 69 | 70 | 0.10719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2301-1_1_3_line_70 |  | 70 | 71 | 0.076768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2301-1_1_3_trafo_43 | 0.63 MVA 20/0.4 kV | 72 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2584897.2893 | 1179625.1005 | 2584898.5891 | 1179626.1602
1 | 2584878.5099 | 1179608.5642 | 2584885.9149 | 1179615.827 | 2584897.2893 | 1179625.1005
2 | 2584906.7663 | 1179636.1068 | 2584903.8033 | 1179630.4114 | 2584898.5891 | 1179626.1602
3 | 2584878.5099 | 1179608.5642 | 2584880.4914 | 1179603.7456 | 2584880.8027 | 1179597.6674
4 | 2584878.5099 | 1179608.5642 | 2584863.235 | 1179610.5789
5 | 2584906.7663 | 1179636.1068 | 2584918.4329 | 1179628.0176 | 2584934.9346 | 1179619.8383
6 | 2584903.7246 | 1179650.6108 | 2584904.6369 | 1179645.8616 | 2584906.7663 | 1179636.1068
7 | 2584881.0954 | 1179591.9553 | 2584880.8027 | 1179597.6674
8 | 2584934.9346 | 1179619.8383 | 2584935.9339 | 1179619.6862
9 | 2584903.7246 | 1179650.6108 | 2584900.2254 | 1179650.0451
10 | 2584903.7246 | 1179650.6108 | 2584922.9344 | 1179653.1079 | 2584930.4852 | 1179652.9385
11 | 2584881.0954 | 1179591.9553 | 2584881.4448 | 1179585.1337 | 2584882.7518 | 1179573.7036
12 | 2585130.353 | 1179693.8928 | 2585113.1 | 1179701.4688
13 | 2585159.3201 | 1179690.5675 | 2585144.7745 | 1179689.8589 | 2585134.0865 | 1179692.2534 | 2585130.353 | 1179693.8928
14 | 2585113.1 | 1179701.4688 | 2585103.6345 | 1179705.6252 | 2585067.9252 | 1179721.2002 | 2585067.3811 | 1179721.4783
15 | 2585042.4928 | 1179734.2005 | 2585067.3811 | 1179721.4783
16 | 2585021.3519 | 1179745.007 | 2585042.4928 | 1179734.2005
17 | 2584941.2901 | 1179652.696 | 2584930.4852 | 1179652.9385
18 | 2584941.2901 | 1179652.696 | 2584954.755 | 1179652.3939 | 2584970.5923 | 1179650.48
19 | 2584980.1227 | 1179649.3283 | 2584970.5923 | 1179650.48
20 | 2584980.1227 | 1179649.3283 | 2584984.5824 | 1179670.0611 | 2584984.5824 | 1179670.0611
21 | 2584980.1227 | 1179649.3283 | 2584998.9461 | 1179645.1936
22 | 2584936.8262 | 1179527.1167 | 2584936.6102 | 1179527.2311 | 2584917.0648 | 1179525.0905 | 2584915.1018 | 1179524.7853
23 | 2584887.7599 | 1179521.0515 | 2584897.3465 | 1179521.0272 | 2584908.2615 | 1179523.7343 | 2584915.0245 | 1179524.7732 | 2584915.1018 | 1179524.7853
24 | 2584944.1636 | 1179523.23 | 2584936.8262 | 1179527.1167
25 | 2584884.3287 | 1179511.4553 | 2584887.7599 | 1179521.0515
26 | 2584887.7599 | 1179521.0515 | 2584886.5563 | 1179540.4311 | 2584882.8858 | 1179572.5315
27 | 2584944.1636 | 1179523.23 | 2584963.0206 | 1179513.2414
28 | 2584884.3287 | 1179511.4553 | 2584880.829 | 1179498.9688 | 2584875.9021 | 1179483.9292 | 2584872.129 | 1179472.0882 | 2584869.6865 | 1179457.7982 | 2584868.4324 | 1179454.4064
29 | 2584884.3287 | 1179511.4553 | 2584866.5636 | 1179512.1702
30 | 2584882.8858 | 1179572.5315 | 2584882.7518 | 1179573.7036
31 | 2584963.0206 | 1179513.2414 | 2584964.6986 | 1179512.3525 | 2584968.4245 | 1179510.3533
32 | 2584866.5636 | 1179512.1702 | 2584865.8503 | 1179512.1989
33 | 2585027.9943 | 1179494.9224 | 2585045.8598 | 1179494.7345
34 | 2585097.0409 | 1179487.3909 | 2585079.9808 | 1179490.1294 | 2585054.9674 | 1179494.6388 | 2585045.8598 | 1179494.7345
35 | 2585013.0871 | 1179496.6442 | 2585025.8033 | 1179494.9454 | 2585027.9943 | 1179494.9224
36 | 2585097.0409 | 1179487.3909 | 2585135.5252 | 1179481.2135
37 | 2585013.0871 | 1179496.6442 | 2585007.9226 | 1179497.3341
38 | 2584969.1708 | 1179509.9528 | 2584987.6374 | 1179500.044 | 2585007.9226 | 1179497.3341
39 | 2584968.4245 | 1179510.3533 | 2584969.1708 | 1179509.9528
40 | 2585018.5918 | 1179640.8782 | 2585028.5355 | 1179638.694
41 | 2585060.3834 | 1179631.9888 | 2585046.2671 | 1179634.7991 | 2585028.5355 | 1179638.694
42 | 2585018.5918 | 1179640.8782 | 2584998.9461 | 1179645.1936
43 | 2585084.6092 | 1179627.1658 | 2585060.3834 | 1179631.9888
44 | 2585084.6092 | 1179627.1658 | 2585077.0528 | 1179623.4161
45 | 2585084.6092 | 1179627.1658 | 2585085.7057 | 1179626.947
46 | 2585032.5976 | 1179599.7599 | 2585037.3686 | 1179604.5726 | 2585050.21 | 1179607.9421 | 2585050.8893 | 1179619.9132 | 2585058.5356 | 1179622.9734 | 2585077.0528 | 1179623.4161
47 | 2585116.6679 | 1179620.9808 | 2585095.9469 | 1179624.903 | 2585085.7057 | 1179626.947
48 | 2584984.5824 | 1179670.0611 | 2584988.6984 | 1179680.5579
49 | 2584948.6152 | 1179617.7565 | 2584935.9339 | 1179619.6862
50 | 2584973.5636 | 1179613.9601 | 2584948.6152 | 1179617.7565
51 | 2584964.2584 | 1179598.2755 | 2584973.5636 | 1179613.9601
52 | 2584988.6984 | 1179680.5579 | 2584989.8256 | 1179683.4325 | 2584996.1223 | 1179696.5901 | 2585002.3049 | 1179708.4548
53 | 2585172.7967 | 1179611.6533 | 2585159.2718 | 1179612.9167 | 2585116.6679 | 1179620.9808
54 | 2585032.5976 | 1179599.7599 | 2585056.0913 | 1179586.4052 | 2585083.7158 | 1179560.1559 | 2585097.0523 | 1179546.5497
55 | 2585014.5548 | 1179731.963 | 2585002.3049 | 1179708.4548
56 | 2585021.3519 | 1179745.007 | 2585014.5548 | 1179731.963
57 | 2585018.4841 | 1179746.6818 | 2585021.3519 | 1179745.007
58 | 2584865.8503 | 1179512.1989 | 2584856.9083 | 1179512.5587 | 2584839.8521 | 1179517.8224
59 | 2584839.8521 | 1179517.8224 | 2584834.8086 | 1179519.3788
60 | 2584817.3171 | 1179524.7768 | 2584834.8086 | 1179519.3788
61 | 2584817.3171 | 1179524.7768 | 2584821.2943 | 1179541.7531 | 2584818.7835 | 1179558.5741
62 | 2585031.0495 | 1179771.0738 | 2585039.5689 | 1179781.2132 | 2585047.9675 | 1179788.8627 | 2585061.8885 | 1179801.8738
63 | 2585018.4841 | 1179746.6818 | 2585031.0495 | 1179771.0738
64 | 2585064.3725 | 1179804.1954 | 2585061.8885 | 1179801.8738
65 | 2585018.4841 | 1179746.6818 | 2585002.2761 | 1179756.1385 | 2584990.6777 | 1179762.0646
66 | 2585064.3725 | 1179804.1954 | 2585067.5524 | 1179807.1675 | 2585069.6354 | 1179809.2856 | 2585069.6354 | 1179809.2856
67 | 2585085.841 | 1179826.9976 | 2585077.1945 | 1179817.2819 | 2585069.6354 | 1179809.2856
68 | 2585097.6398 | 1179846.757 | 2585094.7456 | 1179837.9152 | 2585088.0333 | 1179829.461 | 2585085.841 | 1179826.9976
69 | 2585097.6398 | 1179846.757 | 2585174.377 | 1179921.6004
70 | 2585174.377 | 1179921.6004 | 2585182.8885 | 1179925.4738 | 2585191.6291 | 1179929.5097 | 2585207.212 | 1179936.041 | 2585235.9081 | 1179948.0538 | 2585244.9549 | 1179951.7799

## bus_geodata
| x | y | coords
0 | 2584897.2893 | 1179625.1005
1 | 2584898.5891 | 1179626.1602
2 | 2584878.5099 | 1179608.5642
3 | 2584906.7663 | 1179636.1068
4 | 2584880.8027 | 1179597.6674
5 | 2584863.235 | 1179610.5789
6 | 2584934.9346 | 1179619.8383
7 | 2584903.7246 | 1179650.6108
8 | 2584881.0954 | 1179591.9553
9 | 2585130.353 | 1179693.8928
10 | 2585113.1 | 1179701.4688
11 | 2585159.3201 | 1179690.5675
12 | 2585067.3811 | 1179721.4783
13 | 2585042.4928 | 1179734.2005
14 | 2584930.4852 | 1179652.9385
15 | 2584941.2901 | 1179652.696
16 | 2584970.5923 | 1179650.48
17 | 2584900.2254 | 1179650.0451
18 | 2584980.1227 | 1179649.3283
19 | 2584915.1018 | 1179524.7853
20 | 2584936.8262 | 1179527.1167
21 | 2584887.7599 | 1179521.0515
22 | 2584944.1636 | 1179523.23
23 | 2584884.3287 | 1179511.4553
24 | 2584882.8858 | 1179572.5315
25 | 2584963.0206 | 1179513.2414
26 | 2584868.4324 | 1179454.4064
27 | 2584866.5636 | 1179512.1702
28 | 2584882.7518 | 1179573.7036
29 | 2585045.8598 | 1179494.7345
30 | 2585027.9943 | 1179494.9224
31 | 2585097.0409 | 1179487.3909
32 | 2585013.0871 | 1179496.6442
33 | 2585135.5252 | 1179481.2135
34 | 2585007.9226 | 1179497.3341
35 | 2584969.1708 | 1179509.9528
36 | 2584968.4245 | 1179510.3533
37 | 2585028.5355 | 1179638.694
38 | 2585018.5918 | 1179640.8782
39 | 2585060.3834 | 1179631.9888
40 | 2584998.9461 | 1179645.1936
41 | 2585084.6092 | 1179627.1658
42 | 2585077.0528 | 1179623.4161
43 | 2585085.7057 | 1179626.947
44 | 2584984.5824 | 1179670.0611
45 | 2584935.9339 | 1179619.6862
46 | 2584948.6152 | 1179617.7565
47 | 2584973.5636 | 1179613.9601
48 | 2584988.6984 | 1179680.5579
49 | 2585116.6679 | 1179620.9808
50 | 2585172.7967 | 1179611.6533
51 | 2584964.2584 | 1179598.2755
52 | 2585032.5976 | 1179599.7599
53 | 2585097.0523 | 1179546.5497
54 | 2585002.3049 | 1179708.4548
55 | 2585014.5548 | 1179731.963
56 | 2585021.3519 | 1179745.007
57 | 2584865.8503 | 1179512.1989
58 | 2584839.8521 | 1179517.8224
59 | 2584834.8086 | 1179519.3788
60 | 2584817.3171 | 1179524.7768
61 | 2584818.7835 | 1179558.5741
62 | 2585031.0495 | 1179771.0738
63 | 2585061.8885 | 1179801.8738
64 | 2585018.4841 | 1179746.6818
65 | 2585064.3725 | 1179804.1954
66 | 2584990.6777 | 1179762.0646
67 | 2585069.6354 | 1179809.2856
68 | 2585085.841 | 1179826.9976
69 | 2585097.6398 | 1179846.757
70 | 2585174.377 | 1179921.6004
71 | 2585244.9549 | 1179951.7799
72 | 2584980.1227 | 1179649.3283

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98993 | -0.19246 | 0.001771 | 0.00044386
1 | 0.99004 | -0.19041 | 0.0027061 | 0.00067821
2 | 0.98839 | -0.22231 | 0 | 0
3 | 0.99091 | -0.17374 | 0 | 0
4 | 0.98772 | -0.23529 | 0.001639 | 0.00041078
5 | 0.98835 | -0.223 | 0.0025239 | 0.00063254
6 | 0.99052 | -0.18122 | 0.0080752 | 0.0020238
7 | 0.99206 | -0.15158 | 0 | 0
8 | 0.98738 | -0.2417 | 0.0010369 | 0.00025988
9 | 0.99183 | -0.15705 | 0.0034246 | 0.00085827
10 | 0.992 | -0.15377 | 0.0040979 | 0.001027
11 | 0.99166 | -0.1604 | 0.006398 | 0.0016035
12 | 0.99264 | -0.14147 | 0.0025011 | 0.00062683
13 | 0.99305 | -0.13335 | 0.0027397 | 0.00068663
14 | 0.99424 | -0.10981 | 0.0049842 | 0.0012492
15 | 0.99516 | -0.092146 | 0.0011141 | 0.00027922
16 | 0.9977 | -0.043652 | 0.0022877 | 0.00057335
17 | 0.99205 | -0.1518 | 0.0035006 | 0.00087733
18 | 0.99855 | -0.027498 | 0 | 0
19 | 0.9824 | -0.33864 | 0.012739 | 0.0031926
20 | 0.98179 | -0.35064 | 0.00644 | 0.001614
21 | 0.98351 | -0.31708 | 0 | 0
22 | 0.98161 | -0.35423 | 0.0023607 | 0.00059163
23 | 0.98337 | -0.31981 | 0 | 0
24 | 0.98627 | -0.26323 | 0.0029728 | 0.00074506
25 | 0.98118 | -0.36254 | 0.0037239 | 0.00093329
26 | 0.98305 | -0.32604 | 0.0058248 | 0.0014598
27 | 0.98322 | -0.3227 | 0.001235 | 0.00030952
28 | 0.98634 | -0.26195 | 0.00079078 | 0.00019819
29 | 0.98044 | -0.37713 | 0.0022634 | 0.00056727
30 | 0.98052 | -0.37561 | 0.0018813 | 0.0004715
31 | 0.98032 | -0.37943 | 0.001634 | 0.00040953
32 | 0.98061 | -0.37382 | 0.0014426 | 0.00036156
33 | 0.98029 | -0.38 | 0.00080566 | 0.00020192
34 | 0.98065 | -0.37306 | 0.0030726 | 0.00077008
35 | 0.98107 | -0.36472 | 0.0024574 | 0.00061587
36 | 0.98108 | -0.36452 | 0.0042407 | 0.0010628
37 | 0.99904 | -0.01838 | 0.0038873 | 0.00097425
38 | 0.99935 | -0.012547 | 0.0029479 | 0.00073881
39 | 0.99819 | -0.034838 | 0.0037634 | 0.00094319
40 | 1 | 0 | -0.20263 | -0.051038
41 | 0.99762 | -0.045718 | 0 | 0
42 | 0.99751 | -0.047884 | 0.012296 | 0.0030817
43 | 0.99761 | -0.045924 | 0.0030199 | 0.00075686
44 | 0.99725 | -0.052481 | 0.0058633 | 0.0014695
45 | 0.99052 | -0.1813 | 0.0014661 | 0.00036744
46 | 0.99048 | -0.18207 | 0.00074901 | 0.00018772
47 | 0.99042 | -0.18325 | 0 | 0
48 | 0.99662 | -0.06463 | 0.011526 | 0.0028886
49 | 0.9974 | -0.050056 | 0.0020976 | 0.0005257
50 | 0.99712 | -0.055427 | 0.0053813 | 0.0013487
51 | 0.99037 | -0.1841 | 0.0026241 | 0.00065765
52 | 0.99738 | -0.050323 | 0 | 0
53 | 0.9972 | -0.05381 | 0.0023629 | 0.0005922
54 | 0.9952 | -0.091868 | 0.0030108 | 0.00075458
55 | 0.99407 | -0.11377 | 0.0024585 | 0.00061616
56 | 0.99347 | -0.12531 | 0 | 0
57 | 0.98321 | -0.32281 | 0.0016312 | 0.00040882
58 | 0.98306 | -0.32579 | 0.00182 | 0.00045615
59 | 0.98304 | -0.3262 | 0.001511 | 0.00037869
60 | 0.98299 | -0.32714 | 0 | 0
61 | 0.9829 | -0.3289 | 0.0028352 | 0.00071058
62 | 0.99283 | -0.13771 | 0.0034478 | 0.0008641
63 | 0.99207 | -0.15245 | 0.0033054 | 0.00082842
64 | 0.99339 | -0.12679 | 0 | 0
65 | 0.99202 | -0.1534 | 0.0044865 | 0.0011244
66 | 0.99331 | -0.12834 | 0.0027501 | 0.00068923
67 | 0.99194 | -0.15487 | 0.0032233 | 0.00080784
68 | 0.99177 | -0.15829 | 0.0051979 | 0.0013027
69 | 0.99171 | -0.15948 | 0 | 0
70 | 0.99143 | -0.16492 | 0.00082401 | 0.00020652
71 | 0.99128 | -0.16768 | 0.0020318 | 0.00050921
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.06911 | -0.017492 | 0.069117 | 0.017496 | 6.7946e-06 | 4.327e-06 | 0.10394 | 0.10394 | 0.10394 | 0.98993 | -0.19246 | 0.99004 | -0.19041 | 28.556
1 | 0.067339 | 0.017048 | -0.067243 | -0.016987 | 9.6353e-05 | 6.1344e-05 | 0.10128 | 0.10128 | 0.10128 | 0.98993 | -0.19246 | 0.98839 | -0.22231 | 27.8247
2 | -0.071823 | -0.018174 | 0.071881 | 0.018211 | 5.752e-05 | 3.6643e-05 | 0.10801 | 0.10801 | 0.10801 | 0.99004 | -0.19041 | 0.99091 | -0.17374 | 29.6734
3 | 0.064719 | 0.016354 | -0.064679 | -0.016329 | 4.0255e-05 | 2.5619e-05 | 0.097482 | 0.097482 | 0.097482 | 0.98839 | -0.22231 | 0.98772 | -0.23529 | 26.7809
4 | 0.002524 | 0.0006324 | -0.0025239 | -0.00063254 | 8.342e-08 | -1.4407e-07 | 0.0037997 | 0.0037998 | 0.0037998 | 0.98839 | -0.22231 | 0.98835 | -0.223 | 1.0439
5 | 0.012919 | 0.0032387 | -0.012915 | -0.0032362 | 4.6035e-06 | 2.5263e-06 | 0.019401 | 0.019401 | 0.019401 | 0.99091 | -0.17374 | 0.99052 | -0.18122 | 5.33
6 | -0.0848 | -0.02145 | 0.08489 | 0.021507 | 9.0238e-05 | 5.7561e-05 | 0.12741 | 0.12741 | 0.12741 | 0.99091 | -0.17374 | 0.99206 | -0.15158 | 35.0033
7 | 0.06304 | 0.015918 | -0.06302 | -0.015905 | 1.9362e-05 | 1.2319e-05 | 0.095013 | 0.095013 | 0.095013 | 0.98772 | -0.23529 | 0.98738 | -0.2417 | 26.1025
8 | 0.0048396 | 0.0012123 | -0.0048395 | -0.0012123 | 2.0036e-08 | -1.8879e-10 | 0.0072701 | 0.0072701 | 0.0072701 | 0.99052 | -0.18122 | 0.99052 | -0.1813 | 1.9973
9 | 0.0035006 | 0.00087731 | -0.0035006 | -0.00087733 | 3.6647e-08 | -2.2313e-08 | 0.0052507 | 0.0052507 | 0.0052507 | 0.99206 | -0.15158 | 0.99205 | -0.1518 | 1.4425
10 | -0.088391 | -0.022385 | 0.088569 | 0.022498 | 0.00017769 | 0.00011337 | 0.13266 | 0.13266 | 0.13266 | 0.99206 | -0.15158 | 0.99424 | -0.10981 | 36.4458
11 | 0.061983 | 0.015646 | -0.061923 | -0.015607 | 6.0045e-05 | 3.8195e-05 | 0.09345 | 0.093451 | 0.093451 | 0.98738 | -0.2417 | 0.98634 | -0.26195 | 25.6732
12 | -0.0098236 | -0.002462 | 0.0098251 | 0.0024628 | 1.5348e-06 | 7.3906e-07 | 0.014738 | 0.014738 | 0.014738 | 0.99183 | -0.15705 | 0.992 | -0.15377 | 4.0489
13 | 0.006399 | 0.0016038 | -0.006398 | -0.0016035 | 1.0228e-06 | 2.7274e-07 | 0.0096003 | 0.0096004 | 0.0096004 | 0.99183 | -0.15705 | 0.99166 | -0.1604 | 2.6375
14 | -0.013923 | -0.0034898 | 0.013931 | 0.0034944 | 8.163e-06 | 4.5796e-06 | 0.020885 | 0.020885 | 0.020885 | 0.992 | -0.15377 | 0.99264 | -0.14147 | 5.7376
15 | -0.016432 | -0.0041212 | 0.016439 | 0.0041249 | 6.3606e-06 | 3.7093e-06 | 0.024634 | 0.024634 | 0.024634 | 0.99264 | -0.14147 | 0.99305 | -0.13335 | 6.7676
16 | -0.019178 | -0.0048116 | 0.019186 | 0.0048159 | 7.3537e-06 | 4.399e-06 | 0.028739 | 0.028739 | 0.028739 | 0.99305 | -0.13335 | 0.99347 | -0.12531 | 7.8953
17 | -0.093553 | -0.023747 | 0.093633 | 0.023798 | 7.9575e-05 | 5.0787e-05 | 0.14012 | 0.14012 | 0.14012 | 0.99424 | -0.10981 | 0.99516 | -0.092146 | 38.4951
18 | -0.094747 | -0.024077 | 0.094968 | 0.024219 | 0.0002218 | 0.00014157 | 0.14179 | 0.14179 | 0.14179 | 0.99516 | -0.092146 | 0.9977 | -0.043652 | 38.9527
19 | -0.097256 | -0.024792 | 0.097332 | 0.02484 | 7.5897e-05 | 4.8449e-05 | 0.1452 | 0.1452 | 0.1452 | 0.9977 | -0.043652 | 0.99855 | -0.027498 | 39.89
20 | 0.067597 | 0.017055 | -0.067516 | -0.017003 | 8.0758e-05 | 5.1408e-05 | 0.10077 | 0.10077 | 0.10077 | 0.99855 | -0.027498 | 0.99725 | -0.052481 | 27.6844
21 | -0.16493 | -0.041895 | 0.16515 | 0.042035 | 0.00021862 | 0.00013941 | 0.24597 | 0.24597 | 0.24597 | 0.99855 | -0.027498 | 1 | 0 | 33.7872
22 | 0.03036 | 0.0076207 | -0.030343 | -0.0076099 | 1.7364e-05 | 1.0836e-05 | 0.045989 | 0.04599 | 0.04599 | 0.9824 | -0.33864 | 0.98179 | -0.35064 | 12.6345
23 | -0.043099 | -0.010813 | 0.043143 | 0.010841 | 4.4357e-05 | 2.8036e-05 | 0.065284 | 0.065284 | 0.065284 | 0.9824 | -0.33864 | 0.98351 | -0.31708 | 17.9353
24 | 0.023903 | 0.0059959 | -0.023899 | -0.0059933 | 4.0869e-06 | 2.5106e-06 | 0.036229 | 0.036229 | 0.036229 | 0.98179 | -0.35064 | 0.98161 | -0.35423 | 9.953
25 | 0.014864 | 0.0037254 | -0.014862 | -0.0037243 | 1.9325e-06 | 1.1075e-06 | 0.022488 | 0.022488 | 0.022488 | 0.98351 | -0.31708 | 0.98337 | -0.31981 | 6.1781
26 | -0.058007 | -0.014567 | 0.058156 | 0.014662 | 0.00014944 | 9.4982e-05 | 0.087773 | 0.087772 | 0.087773 | 0.98351 | -0.31708 | 0.98627 | -0.26323 | 24.1134
27 | 0.021538 | 0.0054017 | -0.021529 | -0.0053965 | 8.5308e-06 | 5.1901e-06 | 0.032651 | 0.032651 | 0.032651 | 0.98161 | -0.35423 | 0.98118 | -0.36254 | 8.97
28 | 0.0058266 | 0.0014602 | -0.0058248 | -0.0014598 | 1.7297e-06 | 3.5447e-07 | 0.0088166 | 0.0088169 | 0.0088169 | 0.98337 | -0.31981 | 0.98305 | -0.32604 | 2.4222
29 | 0.0090351 | 0.0022641 | -0.0090339 | -0.0022635 | 1.2462e-06 | 5.7206e-07 | 0.013672 | 0.013672 | 0.013672 | 0.98337 | -0.31981 | 0.98322 | -0.3227 | 3.756
30 | -0.061129 | -0.015407 | 0.061133 | 0.015409 | 3.7655e-06 | 2.3948e-06 | 0.092258 | 0.092258 | 0.092258 | 0.98627 | -0.26323 | 0.98634 | -0.26195 | 25.3455
31 | 0.017805 | 0.0044632 | -0.017804 | -0.0044622 | 1.6755e-06 | 9.9491e-07 | 0.027003 | 0.027003 | 0.027003 | 0.98118 | -0.36254 | 0.98108 | -0.36452 | 7.4185
32 | 0.0077989 | 0.001954 | -0.0077988 | -0.001954 | 3.7295e-08 | 1.4814e-08 | 0.011803 | 0.011803 | 0.011803 | 0.98322 | -0.3227 | 0.98321 | -0.32281 | 3.2425
33 | -0.0047034 | -0.0011778 | 0.0047038 | 0.0011777 | 3.4137e-07 | -6.8561e-09 | 0.007138 | 0.007138 | 0.007138 | 0.98044 | -0.37713 | 0.98052 | -0.37561 | 1.961
34 | 0.00244 | 0.00061049 | -0.0024397 | -0.00061097 | 2.6637e-07 | -4.8274e-07 | 0.0037028 | 0.0037031 | 0.0037031 | 0.98044 | -0.37713 | 0.98032 | -0.37943 | 1.0173
35 | -0.0065851 | -0.0016493 | 0.0065856 | 0.0016494 | 5.6247e-07 | 1.7051e-07 | 0.009993 | 0.009993 | 0.009993 | 0.98052 | -0.37561 | 0.98061 | -0.37382 | 2.7453
36 | 0.00080568 | 0.00020144 | -0.00080566 | -0.00020192 | 2.1857e-08 | -4.7742e-07 | 0.0012228 | 0.0012229 | 0.0012229 | 0.98032 | -0.37943 | 0.98029 | -0.38 | 0.33597
37 | -0.0080283 | -0.002011 | 0.0080286 | 0.0020111 | 2.8996e-07 | 1.1984e-07 | 0.012182 | 0.012182 | 0.012182 | 0.98061 | -0.37382 | 0.98065 | -0.37306 | 3.3467
38 | -0.011101 | -0.0027812 | 0.011106 | 0.0027835 | 4.4073e-06 | 2.2979e-06 | 0.016844 | 0.016844 | 0.016844 | 0.98065 | -0.37306 | 0.98107 | -0.36472 | 4.6276
39 | -0.013563 | -0.0033993 | 0.013563 | 0.0033994 | 1.344e-07 | 7.5324e-08 | 0.020571 | 0.020571 | 0.020571 | 0.98107 | -0.36472 | 0.98108 | -0.36452 | 5.6515
40 | -0.032849 | -0.0082449 | 0.032859 | 0.0082506 | 9.1409e-06 | 5.7168e-06 | 0.048931 | 0.048931 | 0.048931 | 0.99904 | -0.01838 | 0.99935 | -0.012547 | 13.4427
41 | 0.028962 | 0.0072706 | -0.028939 | -0.0072565 | 2.2717e-05 | 1.4113e-05 | 0.043142 | 0.043142 | 0.043142 | 0.99904 | -0.01838 | 0.99819 | -0.034838 | 11.8521
42 | -0.035806 | -0.0089894 | 0.035828 | 0.0090029 | 2.1445e-05 | 1.3461e-05 | 0.053321 | 0.053321 | 0.053321 | 0.99935 | -0.012547 | 1 | 0 | 14.6486
43 | 0.025176 | 0.0063133 | -0.025163 | -0.0063053 | 1.3048e-05 | 8.028e-06 | 0.037532 | 0.037532 | 0.037532 | 0.99819 | -0.034838 | 0.99762 | -0.045718 | 10.3109
44 | 0.014661 | 0.0036733 | -0.01466 | -0.0036725 | 1.5127e-06 | 8.58e-07 | 0.021868 | 0.021868 | 0.021868 | 0.99762 | -0.045718 | 0.99751 | -0.047884 | 6.0076
45 | 0.010502 | 0.002632 | -0.010502 | -0.0026319 | 1.0289e-07 | 5.1247e-08 | 0.015664 | 0.015664 | 0.015664 | 0.99762 | -0.045718 | 0.99761 | -0.045924 | 4.3033
46 | 0.0023636 | 0.00059076 | -0.0023633 | -0.00059135 | 2.7405e-07 | -5.9211e-07 | 0.0035252 | 0.0035255 | 0.0035255 | 0.99751 | -0.047884 | 0.99738 | -0.050323 | 0.96855
47 | 0.0074817 | 0.001875 | -0.0074802 | -0.0018745 | 1.4726e-06 | 5.3084e-07 | 0.01116 | 0.01116 | 0.01116 | 0.99761 | -0.045924 | 0.9974 | -0.050056 | 3.0658
48 | 0.061653 | 0.015534 | -0.061617 | -0.015511 | 3.5805e-05 | 2.2768e-05 | 0.092023 | 0.092023 | 0.092023 | 0.99725 | -0.052481 | 0.99662 | -0.06463 | 25.281
49 | 0.0033735 | 0.00084489 | -0.0033733 | -0.00084498 | 1.2353e-07 | -8.6041e-08 | 0.0050676 | 0.0050677 | 0.0050677 | 0.99052 | -0.1813 | 0.99048 | -0.18207 | 1.3922
50 | 0.0026243 | 0.00065726 | -0.0026242 | -0.00065749 | 1.4709e-07 | -2.3064e-07 | 0.0039424 | 0.0039425 | 0.0039425 | 0.99048 | -0.18207 | 0.99042 | -0.18325 | 1.0831
51 | 0.0026242 | 0.00065749 | -0.0026241 | -0.00065765 | 1.0624e-07 | -1.6656e-07 | 0.0039425 | 0.0039426 | 0.0039426 | 0.99042 | -0.18325 | 0.99037 | -0.1841 | 1.0831
52 | 0.050092 | 0.012622 | -0.050027 | -0.012581 | 6.5179e-05 | 4.1311e-05 | 0.074814 | 0.074814 | 0.074814 | 0.99662 | -0.06463 | 0.9952 | -0.091868 | 20.5534
53 | 0.0053827 | 0.0013488 | -0.0053813 | -0.0013487 | 1.3771e-06 | 1.3836e-07 | 0.0080303 | 0.0080306 | 0.0080306 | 0.9974 | -0.050056 | 0.99712 | -0.055427 | 2.2062
54 | 0.0023633 | 0.00059135 | -0.0023629 | -0.0005922 | 3.9242e-07 | -8.4731e-07 | 0.0035255 | 0.0035259 | 0.0035259 | 0.99738 | -0.050323 | 0.9972 | -0.05381 | 0.96866
55 | 0.047016 | 0.011827 | -0.046967 | -0.011795 | 4.9146e-05 | 3.1109e-05 | 0.070313 | 0.070313 | 0.070313 | 0.9952 | -0.091868 | 0.99407 | -0.11377 | 19.3167
56 | 0.044508 | 0.011179 | -0.044484 | -0.011164 | 2.449e-05 | 1.5483e-05 | 0.066633 | 0.066633 | 0.066633 | 0.99407 | -0.11377 | 0.99347 | -0.12531 | 18.3057
57 | 0.025298 | 0.0063479 | -0.025296 | -0.0063468 | 1.7845e-06 | 1.0992e-06 | 0.037894 | 0.037894 | 0.037894 | 0.99347 | -0.12531 | 0.99339 | -0.12679 | 10.4104
58 | 0.0061676 | 0.0015452 | -0.0061667 | -0.001545 | 8.7557e-07 | 2.2053e-07 | 0.009334 | 0.0093341 | 0.0093341 | 0.98321 | -0.32281 | 0.98306 | -0.32579 | 2.5643
59 | 0.0043467 | 0.0010888 | -0.0043466 | -0.0010888 | 8.5675e-08 | -1.2086e-08 | 0.0065792 | 0.0065792 | 0.0065792 | 0.98306 | -0.32579 | 0.98304 | -0.3262 | 1.8075
60 | 0.0028356 | 0.00071014 | -0.0028355 | -0.00071029 | 1.2646e-07 | -1.5113e-07 | 0.004292 | 0.0042921 | 0.0042921 | 0.98304 | -0.3262 | 0.98299 | -0.32714 | 1.1792
61 | 0.0028355 | 0.00071029 | -0.0028352 | -0.00071058 | 2.3795e-07 | -2.843e-07 | 0.0042921 | 0.0042923 | 0.0042923 | 0.98299 | -0.32714 | 0.9829 | -0.3289 | 1.1792
62 | 0.019086 | 0.0047866 | -0.019073 | -0.0047786 | 1.3398e-05 | 8.0107e-06 | 0.028607 | 0.028607 | 0.028607 | 0.99283 | -0.13771 | 0.99207 | -0.15245 | 7.8591
63 | -0.022534 | -0.0056507 | 0.022546 | 0.0056578 | 1.1737e-05 | 7.1568e-06 | 0.033774 | 0.033774 | 0.033774 | 0.99283 | -0.13771 | 0.99339 | -0.12679 | 9.2787
64 | 0.015768 | 0.0039501 | -0.015767 | -0.0039497 | 7.131e-07 | 4.1249e-07 | 0.023649 | 0.023649 | 0.023649 | 0.99207 | -0.15245 | 0.99202 | -0.1534 | 6.4971
65 | 0.0027503 | 0.00068895 | -0.0027501 | -0.00068923 | 2.0232e-07 | -2.8205e-07 | 0.0041195 | 0.0041197 | 0.0041197 | 0.99339 | -0.12679 | 0.99331 | -0.12834 | 1.1318
66 | 0.01128 | 0.0028253 | -0.01128 | -0.0028249 | 7.8618e-07 | 4.0861e-07 | 0.01692 | 0.01692 | 0.01692 | 0.99202 | -0.1534 | 0.99194 | -0.15487 | 4.6483
67 | 0.0080562 | 0.0020171 | -0.0080549 | -0.0020165 | 1.3148e-06 | 5.3161e-07 | 0.012084 | 0.012084 | 0.012084 | 0.99194 | -0.15487 | 0.99177 | -0.15829 | 3.3199
68 | 0.002857 | 0.0007138 | -0.0028568 | -0.000714 | 1.6115e-07 | -1.9875e-07 | 0.0042857 | 0.0042858 | 0.0042858 | 0.99177 | -0.15829 | 0.99171 | -0.15948 | 1.1774
69 | 0.0028568 | 0.000714 | -0.0028561 | -0.00071491 | 7.3843e-07 | -9.1007e-07 | 0.0042858 | 0.0042863 | 0.0042863 | 0.99171 | -0.15948 | 0.99143 | -0.16492 | 1.1776
70 | 0.002032 | 0.00050839 | -0.0020318 | -0.00050921 | 2.6775e-07 | -8.1844e-07 | 0.0030496 | 0.0030499 | 0.0030499 | 0.99143 | -0.16492 | 0.99128 | -0.16768 | 0.83788

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20771 | 0.052313

## res_load
| p_mw | q_mvar
0 | 0.001771 | 0.00044386
1 | 0.0027061 | 0.00067821
2 | 0.001639 | 0.00041078
3 | 0.0025239 | 0.00063254
4 | 0.0080752 | 0.0020238
5 | 0.0010369 | 0.00025988
6 | 0.0034246 | 0.00085827
7 | 0.0040979 | 0.001027
8 | 0.006398 | 0.0016035
9 | 0.0025011 | 0.00062683
10 | 0.0027397 | 0.00068663
11 | 0.0049842 | 0.0012492
12 | 0.0011141 | 0.00027922
13 | 0.0022877 | 0.00057335
14 | 0.0035006 | 0.00087733
15 | 0.012739 | 0.0031926
16 | 0.00644 | 0.001614
17 | 0.0023607 | 0.00059163
18 | 0.0029728 | 0.00074506
19 | 0.0037239 | 0.00093329
20 | 0.0058248 | 0.0014598
21 | 0.001235 | 0.00030952
22 | 0.00079078 | 0.00019819
23 | 0.0022634 | 0.00056727
24 | 0.0018813 | 0.0004715
25 | 0.001634 | 0.00040953
26 | 0.0014426 | 0.00036156
27 | 0.00080566 | 0.00020192
28 | 0.0030726 | 0.00077008
29 | 0.0024574 | 0.00061587
30 | 0.0042407 | 0.0010628
31 | 0.0038873 | 0.00097425
32 | 0.0029479 | 0.00073881
33 | 0.0037634 | 0.00094319
34 | 0.0050871 | 0.0012749
35 | 0.012296 | 0.0030817
36 | 0.0030199 | 0.00075686
37 | 0.0058633 | 0.0014695
38 | 0.0014661 | 0.00036744
39 | 0.00074901 | 0.00018772
40 | 0.011526 | 0.0028886
41 | 0.0020976 | 0.0005257
42 | 0.0053813 | 0.0013487
43 | 0.0026241 | 0.00065765
44 | 0.0023629 | 0.0005922
45 | 0.0030108 | 0.00075458
46 | 0.0024585 | 0.00061616
47 | 0.0016312 | 0.00040882
48 | 0.00182 | 0.00045615
49 | 0.001511 | 0.00037869
50 | 0.0028352 | 0.00071058
51 | 0.0034478 | 0.0008641
52 | 0.0033054 | 0.00082842
53 | 0.0044865 | 0.0011244
54 | 0.0027501 | 0.00068923
55 | 0.0032233 | 0.00080784
56 | 0.0051979 | 0.0013027
57 | 0.00082401 | 0.00020652
58 | 0.0020318 | 0.00050921

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1