## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2301-3_1_2_node_30 | 0.4 | n |  | TRUE
1 | bus_LV_2301-3_1_2_node_32 | 0.4 | n |  | TRUE
2 | bus_LV_2301-3_1_2_node_111 | 0.4 | n |  | TRUE
3 | bus_LV_2301-3_1_2_node_61 | 0.4 | n |  | TRUE
4 | bus_LV_2301-3_1_2_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_2301-3_1_2_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_2301-3_1_2_node_79 | 0.4 | n |  | TRUE
7 | bus_LV_2301-3_1_2_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_2301-3_1_2_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_2301-3_1_2_node_77 | 0.4 | n |  | TRUE
10 | bus_LV_2301-3_1_2_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_2301-3_1_2_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_2301-3_1_2_node_115 | 0.4 | n |  | TRUE
13 | bus_LV_2301-3_1_2_node_116 | 0.4 | n |  | TRUE
14 | bus_LV_2301-3_1_2_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_2301-3_1_2_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_2301-3_1_2_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_2301-3_1_2_node_94 | 0.4 | n |  | TRUE
18 | bus_LV_2301-3_1_2_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_2301-3_1_2_node_86 | 0.4 | n |  | TRUE
20 | bus_LV_2301-3_1_2_node_87 | 0.4 | n |  | TRUE
21 | bus_LV_2301-3_1_2_node_88 | 0.4 | n |  | TRUE
22 | bus_LV_2301-3_1_2_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_2301-3_1_2_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_2301-3_1_2_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_2301-3_1_2_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_2301-3_1_2_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_2301-3_1_2_node_104 | 0.4 | n |  | TRUE
28 | bus_LV_2301-3_1_2_node_106 | 0.4 | n |  | TRUE
29 | bus_LV_2301-3_1_2_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_2301-3_1_2_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_2301-3_1_2_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_2301-3_1_2_node_123 | 0.4 | n |  | TRUE
33 | bus_LV_2301-3_1_2_node_100 | 0.4 | n |  | TRUE
34 | bus_LV_2301-3_1_2_node_101 | 0.4 | n |  | TRUE
35 | bus_LV_2301-3_1_2_node_102 | 0.4 | n |  | TRUE
36 | bus_LV_2301-3_1_2_node_103 | 0.4 | n |  | TRUE
37 | bus_LV_2301-3_1_2_node_105 | 0.4 | n |  | TRUE
38 | bus_LV_2301-3_1_2_node_113 | 0.4 | n |  | TRUE
39 | bus_LV_2301-3_1_2_node_114 | 0.4 | n |  | TRUE
40 | bus_LV_2301-3_1_2_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_2301-3_1_2_node_108 | 0.4 | n |  | TRUE
42 | bus_LV_2301-3_1_2_node_109 | 0.4 | n |  | TRUE
43 | bus_LV_2301-3_1_2_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_2301-3_1_2_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_2301-3_1_2_node_117 | 0.4 | n |  | TRUE
46 | bus_LV_2301-3_1_2_node_118 | 0.4 | n |  | TRUE
47 | bus_LV_2301-3_1_2_node_119 | 0.4 | n |  | TRUE
48 | bus_LV_2301-3_1_2_node_121 | 0.4 | n |  | TRUE
49 | bus_LV_2301-3_1_2_node_120 | 0.4 | n |  | TRUE
50 | bus_LV_2301-3_1_2_node_124 | 0.4 | n |  | TRUE
51 | bus_LV_2301-3_1_2_node_122 | 0.4 | n |  | TRUE
52 | bus_MV_36_1_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2301-3_1_2_load_30 | 0 | 0.0017624 | 0.00044169 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2301-3_1_2_load_32 | 1 | 0.0042678 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2301-3_1_2_load_111 | 2 | 0.0022233 | 0.00055721 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2301-3_1_2_load_61 | 3 | 0.0016035 | 0.00040186 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2301-3_1_2_load_64 | 5 | 0.0035903 | 0.00089982 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2301-3_1_2_load_79 | 6 | 0.0020197 | 0.00050619 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2301-3_1_2_load_73 | 7 | 0.0053607 | 0.0013435 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2301-3_1_2_load_81 | 8 | 0.0037502 | 0.00093989 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2301-3_1_2_load_77 | 9 | 0.0038169 | 0.00095659 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2301-3_1_2_load_78 | 10 | 0.0067128 | 0.0016824 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2301-3_1_2_load_115 | 12 | 0.0030855 | 0.0007733 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2301-3_1_2_load_116 | 13 | 0.0046307 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2301-3_1_2_load_83 | 15 | 0.00064291 | 0.00016113 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2301-3_1_2_load_84 | 16 | 0.0017826 | 0.00044675 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2301-3_1_2_load_85 | 18 | 0.0011418 | 0.00028615 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2301-3_1_2_load_86 | 19 | 0.00040285 | 0.00010096 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2301-3_1_2_load_88 | 21 | 0.0058333 | 0.001462 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2301-3_1_2_load_96 | 24 | 0.00056723 | 0.00014216 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2301-3_1_2_load_99 | 25 | 0.0010373 | 0.00025996 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2301-3_1_2_load_97 | 26 | 0.00088584 | 0.00022201 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2301-3_1_2_load_104 | 27 | 0.0017915 | 0.000449 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2301-3_1_2_load_106 | 28 | 0.0037904 | 0.00094995 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2301-3_1_2_load_92 | 29 | 0.0068615 | 0.0017196 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2301-3_1_2_load_93 | 30 | 0.0017574 | 0.00044045 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2301-3_1_2_load_98 | 31 | 0.00065641 | 0.00016451 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2301-3_1_2_load_100 | 33 | 0.0025714 | 0.00064445 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2301-3_1_2_load_101 | 34 | 0.0013484 | 0.00033794 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2301-3_1_2_load_105 | 37 | 0.0018664 | 0.00046776 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2301-3_1_2_load_113 | 38 | 0.0021963 | 0.00055045 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2301-3_1_2_load_114 | 39 | 0.0034317 | 0.00086007 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2301-3_1_2_load_107 | 40 | 0.003296 | 0.00082606 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2301-3_1_2_load_108 | 41 | 0.0020763 | 0.00052038 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2301-3_1_2_load_109 | 42 | 0.0033204 | 0.00083218 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2301-3_1_2_load_110 | 43 | 0.0048838 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2301-3_1_2_load_112 | 44 | 0.0040742 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2301-3_1_2_load_117 | 45 | 0.0015987 | 0.00040066 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2301-3_1_2_load_118 | 46 | 0.0026623 | 0.00066723 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2301-3_1_2_load_119 | 47 | 0.018697 | 0.0046859 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2301-3_1_2_load_121 | 48 | 0.0059652 | 0.001495 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2301-3_1_2_load_124 | 50 | 0.0022123 | 0.00055446 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2301-3_1_2_load_122 | 51 | 0.0061742 | 0.0015474 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2301-3_1_2_line_0 |  | 0 | 1 | 0.006822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2301-3_1_2_line_1 |  | 1 | 2 | 0.020134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2301-3_1_2_line_2 |  | 2 | 42 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2301-3_1_2_line_3 |  | 3 | 4 | 0.0083794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2301-3_1_2_line_4 |  | 4 | 5 | 0.016051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2301-3_1_2_line_5 |  | 5 | 6 | 0.02945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2301-3_1_2_line_6 |  | 6 | 9 | 0.0094014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2301-3_1_2_line_7 |  | 7 | 8 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2301-3_1_2_line_8 |  | 8 | 14 | 0.022705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2301-3_1_2_line_9 |  | 9 | 10 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2301-3_1_2_line_10 |  | 10 | 11 | 0.029666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2301-3_1_2_line_11 |  | 11 | 12 | 0.010844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2301-3_1_2_line_12 |  | 11 | 13 | 0.010985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2301-3_1_2_line_13 |  | 12 | 37 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2301-3_1_2_line_14 |  | 14 | 15 | 0.046701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2301-3_1_2_line_15 |  | 14 | 16 | 0.025444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2301-3_1_2_line_16 |  | 16 | 17 | 0.0078404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2301-3_1_2_line_17 |  | 17 | 24 | 0.018845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2301-3_1_2_line_18 |  | 17 | 29 | 0.053572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2301-3_1_2_line_19 |  | 18 | 19 | 0.011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2301-3_1_2_line_20 |  | 18 | 20 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2301-3_1_2_line_21 |  | 19 | 21 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2301-3_1_2_line_22 |  | 20 | 22 | 0.016276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2301-3_1_2_line_23 |  | 20 | 23 | 0.066931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2301-3_1_2_line_24 |  | 21 | 24 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2301-3_1_2_line_25 |  | 22 | 25 | 0.091517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2301-3_1_2_line_26 |  | 22 | 26 | 0.011137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2301-3_1_2_line_27 |  | 23 | 27 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2301-3_1_2_line_28 |  | 23 | 28 | 0.020511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2301-3_1_2_line_29 |  | 25 | 32 | 0.02285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2301-3_1_2_line_30 |  | 26 | 31 | 0.022767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2301-3_1_2_line_31 |  | 27 | 35 | 0.020869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2301-3_1_2_line_32 |  | 28 | 40 | 0.00037896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2301-3_1_2_line_33 |  | 29 | 30 | 0.1266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2301-3_1_2_line_34 |  | 32 | 51 | 0.10706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2301-3_1_2_line_35 |  | 33 | 34 | 0.0033055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2301-3_1_2_line_36 |  | 33 | 35 | 0.0094723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2301-3_1_2_line_37 |  | 34 | 36 | 0.017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2301-3_1_2_line_38 |  | 35 | 37 | 0.028135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2301-3_1_2_line_39 |  | 36 | 38 | 0.0051468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2301-3_1_2_line_40 |  | 36 | 39 | 0.015292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2301-3_1_2_line_41 |  | 38 | 44 | 0.026792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2301-3_1_2_line_42 |  | 41 | 42 | 0.0012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2301-3_1_2_line_43 |  | 41 | 43 | 0.021503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2301-3_1_2_line_44 |  | 43 | 44 | 0.0017177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2301-3_1_2_line_45 |  | 45 | 46 | 0.0022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2301-3_1_2_line_46 |  | 45 | 47 | 0.0015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2301-3_1_2_line_47 |  | 47 | 48 | 0.19872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2301-3_1_2_line_48 |  | 48 | 49 | 0.11719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2301-3_1_2_line_49 |  | 49 | 50 | 0.2928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2301-3_1_2_line_50 |  | 50 | 51 | 0.026812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2301-3_1_2_trafo_114 | 0.63 MVA 20/0.4 kV | 52 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2584579.8783 | 1179488.1338 | 2584583.4072 | 1179493.9721 | 2584583.4072 | 1179493.9721
1 | 2584579.8783 | 1179488.1338 | 2584579.8783 | 1179488.1338 | 2584578.8694 | 1179482.0333 | 2584581.1668 | 1179478.3255 | 2584587.9386 | 1179471.5362
2 | 2584604.1378 | 1179458.3328 | 2584591.6278 | 1179467.8375 | 2584587.9386 | 1179471.5362
3 | 2584789.2374 | 1179497.9901 | 2584795.6242 | 1179501.2978 | 2584796.5435 | 1179502.0485
4 | 2584789.2374 | 1179497.9901 | 2584781.8332 | 1179494.1515 | 2584774.4573 | 1179491.9045
5 | 2584774.4573 | 1179491.9045 | 2584746.2854 | 1179483.3222
6 | 2584737.292 | 1179480.5825 | 2584746.2854 | 1179483.3222
7 | 2584859.141 | 1179438.6006 | 2584857.6852 | 1179436.4844 | 2584850.1922 | 1179424.8147
8 | 2584834.842 | 1179408.3169 | 2584840.7368 | 1179413.349 | 2584846.4114 | 1179418.9263 | 2584850.1922 | 1179424.8147
9 | 2584737.292 | 1179480.5825 | 2584722.5939 | 1179476.1048 | 2584721.0684 | 1179475.9058
10 | 2584691.6942 | 1179472.8935 | 2584693.9311 | 1179472.3653 | 2584721.0684 | 1179475.9058
11 | 2584691.6942 | 1179472.8935 | 2584690.0202 | 1179469.4961 | 2584691.1415 | 1179465.8802 | 2584691.0185 | 1179462.6122 | 2584691.0185 | 1179462.6122
12 | 2584691.6942 | 1179472.8935 | 2584689.4574 | 1179473.4106 | 2584684.962 | 1179480.8593
13 | 2584697.0714 | 1179436.9613 | 2584691.0185 | 1179462.6122
14 | 2584834.842 | 1179408.3169 | 2584825.8225 | 1179418.1004 | 2584814.9877 | 1179434.9811 | 2584812.2085 | 1179444.5042 | 2584815.2301 | 1179446.1751
15 | 2584834.842 | 1179408.3169 | 2584826.7741 | 1179401.8452 | 2584817.9491 | 1179395.0197 | 2584814.8878 | 1179392.5317
16 | 2584810.0209 | 1179386.4467 | 2584813.5858 | 1179391.4735 | 2584814.8878 | 1179392.5317
17 | 2584810.0209 | 1179386.4467 | 2584804.0445 | 1179385.3613 | 2584791.4113 | 1179383.488
18 | 2584810.0209 | 1179386.4467 | 2584810.7313 | 1179377.4291 | 2584811.5846 | 1179370.5345 | 2584814.1173 | 1179360.2117 | 2584816.9558 | 1179349.9436 | 2584821.8412 | 1179334.3963
19 | 2584755.8546 | 1179375.775 | 2584762.3257 | 1179378.3753 | 2584766.8179 | 1179379.4924
20 | 2584742.0038 | 1179368.5222 | 2584746.5861 | 1179371.1118 | 2584752.4842 | 1179374.4206 | 2584755.8546 | 1179375.775
21 | 2584766.8179 | 1179379.4924 | 2584770.2905 | 1179380.356 | 2584777.8148 | 1179381.4717
22 | 2584729.8529 | 1179357.6588 | 2584735.7022 | 1179362.7909 | 2584742.0038 | 1179368.5222
23 | 2584742.0038 | 1179368.5222 | 2584737.6907 | 1179369.656 | 2584735.3266 | 1179371.2073 | 2584733.7054 | 1179373.546 | 2584725.2052 | 1179395.1678 | 2584723.072 | 1179397.3855 | 2584719.3625 | 1179398.5622 | 2584711.4718 | 1179398.6936 | 2584713.0474 | 1179417.3325
24 | 2584791.4113 | 1179383.488 | 2584777.8148 | 1179381.4717
25 | 2584729.8529 | 1179357.6588 | 2584723.0517 | 1179353.7076 | 2584717.6116 | 1179350.2531 | 2584709.6113 | 1179346.3827 | 2584703.5408 | 1179344.3973 | 2584679.757 | 1179340.0227 | 2584673.5822 | 1179339.0714 | 2584667.3097 | 1179338.7096 | 2584660.5953 | 1179338.8269 | 2584655.4792 | 1179339.6072 | 2584650.2566 | 1179340.5878 | 2584645.7375 | 1179341.7889 | 2584642.5753 | 1179342.8609
26 | 2584729.8529 | 1179357.6588 | 2584726.2226 | 1179350.9981 | 2584724.3661 | 1179347.971
27 | 2584713.0474 | 1179417.3325 | 2584701.6609 | 1179418.4284
28 | 2584713.0474 | 1179417.3325 | 2584733.3266 | 1179420.4072
29 | 2584620.8554 | 1179349.9572 | 2584637.4106 | 1179344.6118 | 2584642.5753 | 1179342.8609
30 | 2584724.3661 | 1179347.971 | 2584712.7445 | 1179329.0213 | 2584712.4333 | 1179328.5832
31 | 2584680.888 | 1179420.4277 | 2584701.6609 | 1179418.4284
32 | 2584733.7013 | 1179420.464 | 2584733.3266 | 1179420.4072
33 | 2584821.8412 | 1179334.3963 | 2584822.9724 | 1179330.7963 | 2584827.0639 | 1179314.6331 | 2584828.2771 | 1179308.0489 | 2584829.2487 | 1179299.6199 | 2584829.035 | 1179275.6859 | 2584827.1804 | 1179258.3596 | 2584822.9452 | 1179242.1287 | 2584819.0098 | 1179229.6323 | 2584814.578 | 1179217.2039 | 2584812.5145 | 1179210.9959
34 | 2584620.8554 | 1179349.9572 | 2584584.472 | 1179297.2019 | 2584567.6328 | 1179272.555 | 2584560.4455 | 1179261.5776
35 | 2584671.9776 | 1179423.6417 | 2584668.8682 | 1179424.7633
36 | 2584680.888 | 1179420.4277 | 2584671.9776 | 1179423.6417
37 | 2584654.0069 | 1179432.3807 | 2584656.9241 | 1179429.0715 | 2584668.8682 | 1179424.7633
38 | 2584680.888 | 1179420.4277 | 2584687.5554 | 1179437.775 | 2584697.0714 | 1179436.9613
39 | 2584654.0069 | 1179432.3807 | 2584649.2363 | 1179434.3124
40 | 2584654.0069 | 1179432.3807 | 2584648.0101 | 1179418.3134
41 | 2584649.2363 | 1179434.3124 | 2584632.8693 | 1179440.9395 | 2584624.9016 | 1179445.4051
42 | 2584604.1378 | 1179458.3328 | 2584605.1658 | 1179457.5517
43 | 2584623.4032 | 1179446.2449 | 2584610.6112 | 1179453.4144 | 2584605.1658 | 1179457.5517
44 | 2584623.4032 | 1179446.2449 | 2584624.9016 | 1179445.4051
45 | 2584420.8206 | 1179347.8761 | 2584422.463 | 1179349.4273
46 | 2584419.728 | 1179346.8443 | 2584420.8206 | 1179347.8761
47 | 2584419.728 | 1179346.8443 | 2584306.1652 | 1179183.7695
48 | 2584306.1652 | 1179183.7695 | 2584307.487 | 1179178.0409 | 2584308.7619 | 1179171.9233 | 2584309.0452 | 1179166.3419 | 2584309.2396 | 1179161.8279 | 2584308.64 | 1179154.6147 | 2584307.4361 | 1179144.1903 | 2584307.3684 | 1179132.9625 | 2584307.4016 | 1179122.357 | 2584307.7524 | 1179104.7248 | 2584308.488 | 1179091.0603 | 2584309.7359 | 1179077.5835 | 2584311.0989 | 1179067.1634
49 | 2584549.155 | 1179237.6294 | 2584311.0989 | 1179067.1634
50 | 2584549.155 | 1179237.6294 | 2584549.5244 | 1179241.6082 | 2584552.7211 | 1179248.9037 | 2584556.1593 | 1179255.0313 | 2584560.4455 | 1179261.5776

## bus_geodata
| x | y | coords
0 | 2584583.4072 | 1179493.9721
1 | 2584579.8783 | 1179488.1338
2 | 2584587.9386 | 1179471.5362
3 | 2584796.5435 | 1179502.0485
4 | 2584789.2374 | 1179497.9901
5 | 2584774.4573 | 1179491.9045
6 | 2584746.2854 | 1179483.3222
7 | 2584859.141 | 1179438.6006
8 | 2584850.1922 | 1179424.8147
9 | 2584737.292 | 1179480.5825
10 | 2584721.0684 | 1179475.9058
11 | 2584691.6942 | 1179472.8935
12 | 2584691.0185 | 1179462.6122
13 | 2584684.962 | 1179480.8593
14 | 2584834.842 | 1179408.3169
15 | 2584815.2301 | 1179446.1751
16 | 2584814.8878 | 1179392.5317
17 | 2584810.0209 | 1179386.4467
18 | 2584755.8546 | 1179375.775
19 | 2584766.8179 | 1179379.4924
20 | 2584742.0038 | 1179368.5222
21 | 2584777.8148 | 1179381.4717
22 | 2584729.8529 | 1179357.6588
23 | 2584713.0474 | 1179417.3325
24 | 2584791.4113 | 1179383.488
25 | 2584642.5753 | 1179342.8609
26 | 2584724.3661 | 1179347.971
27 | 2584701.6609 | 1179418.4284
28 | 2584733.3266 | 1179420.4072
29 | 2584821.8412 | 1179334.3963
30 | 2584812.5145 | 1179210.9959
31 | 2584712.4333 | 1179328.5832
32 | 2584620.8554 | 1179349.9572
33 | 2584671.9776 | 1179423.6417
34 | 2584668.8682 | 1179424.7633
35 | 2584680.888 | 1179420.4277
36 | 2584654.0069 | 1179432.3807
37 | 2584697.0714 | 1179436.9613
38 | 2584649.2363 | 1179434.3124
39 | 2584648.0101 | 1179418.3134
40 | 2584733.7013 | 1179420.464
41 | 2584605.1658 | 1179457.5517
42 | 2584604.1378 | 1179458.3328
43 | 2584623.4032 | 1179446.2449
44 | 2584624.9016 | 1179445.4051
45 | 2584420.8206 | 1179347.8761
46 | 2584422.463 | 1179349.4273
47 | 2584419.728 | 1179346.8443
48 | 2584306.1652 | 1179183.7695
49 | 2584311.0989 | 1179067.1634
50 | 2584549.155 | 1179237.6294
51 | 2584560.4455 | 1179261.5776
52 | 2584654.0069 | 1179432.3807

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99781 | -0.041867 | 0.0017624 | 0.00044169
1 | 0.99783 | -0.041657 | 0.0042678 | 0.0010696
2 | 0.99794 | -0.039532 | 0.0022233 | 0.00055721
3 | 0.99518 | -0.092265 | 0.0016035 | 0.00040186
4 | 0.9952 | -0.092029 | 0 | 0
5 | 0.99522 | -0.091576 | 0.0035903 | 0.00089982
6 | 0.99536 | -0.088884 | 0.0020197 | 0.00050619
7 | 0.99222 | -0.14879 | 0.0053607 | 0.0013435
8 | 0.9923 | -0.14723 | 0.0037502 | 0.00093989
9 | 0.99542 | -0.08769 | 0.0038169 | 0.00095659
10 | 0.99559 | -0.08441 | 0.0067128 | 0.0016824
11 | 0.99607 | -0.075158 | 0 | 0
12 | 0.99629 | -0.070896 | 0.0030855 | 0.0007733
13 | 0.99602 | -0.076051 | 0.0046307 | 0.0011606
14 | 0.99249 | -0.14357 | 0 | 0
15 | 0.99246 | -0.14411 | 0.00064291 | 0.00016113
16 | 0.99272 | -0.13918 | 0.0017826 | 0.00044675
17 | 0.9928 | -0.13758 | 0 | 0
18 | 0.99396 | -0.11506 | 0.0011418 | 0.00028615
19 | 0.99368 | -0.12058 | 0.00040285 | 0.00010096
20 | 0.99436 | -0.1073 | 0 | 0
21 | 0.99341 | -0.12583 | 0.0058333 | 0.001462
22 | 0.99406 | -0.11303 | 0 | 0
23 | 0.99647 | -0.067247 | 0 | 0
24 | 0.99314 | -0.13086 | 0.00056723 | 0.00014216
25 | 0.99079 | -0.17517 | 0.0010373 | 0.00025996
26 | 0.99405 | -0.11333 | 0.00088584 | 0.00022201
27 | 0.99686 | -0.059708 | 0.0017915 | 0.000449
28 | 0.99633 | -0.069799 | 0.0037904 | 0.00094995
29 | 0.99238 | -0.14575 | 0.0068615 | 0.0017196
30 | 0.99217 | -0.1497 | 0.0017574 | 0.00044045
31 | 0.99403 | -0.11359 | 0.00065641 | 0.00016451
32 | 0.99 | -0.19033 | 0 | 0
33 | 0.99806 | -0.036999 | 0.0025714 | 0.00064445
34 | 0.99822 | -0.03391 | 0.0013484 | 0.00033794
35 | 0.9976 | -0.045642 | 0 | 0
36 | 0.99907 | -0.017738 | 0 | 0
37 | 0.9969 | -0.059119 | 0.0018664 | 0.00046776
38 | 0.99895 | -0.019968 | 0.0021963 | 0.00055045
39 | 1 | 0 | -0.13586 | -0.034113
40 | 0.99633 | -0.069821 | 0.003296 | 0.00082606
41 | 0.99811 | -0.036246 | 0.0020763 | 0.00052038
42 | 0.99809 | -0.036508 | 0.0033204 | 0.00083218
43 | 0.99837 | -0.031111 | 0.0048838 | 0.001224
44 | 0.9984 | -0.030555 | 0.0040742 | 0.0010211
45 | 0.97015 | -0.57622 | 0.0015987 | 0.00040066
46 | 0.97014 | -0.57633 | 0.0026623 | 0.00066723
47 | 0.97015 | -0.5761 | 0.018697 | 0.0046859
48 | 0.97442 | -0.49198 | 0.0059652 | 0.001495
49 | 0.97758 | -0.42994 | 0 | 0
50 | 0.9855 | -0.27665 | 0.0022123 | 0.00055446
51 | 0.98628 | -0.26167 | 0.0061742 | 0.0015474
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0017624 | -0.00044169 | 0.0017624 | 0.00044162 | 1.7671e-08 | -7.7801e-08 | 0.0026282 | 0.0026282 | 0.0026282 | 0.99781 | -0.041867 | 0.99783 | -0.041657 | 0.72203
1 | -0.0060302 | -0.0015112 | 0.0060308 | 0.0015114 | 6.1057e-07 | 1.2773e-07 | 0.0089926 | 0.0089925 | 0.0089926 | 0.99783 | -0.041657 | 0.99794 | -0.039532 | 2.4705
2 | -0.0082541 | -0.0020686 | 0.0082553 | 0.0020691 | 1.1892e-06 | 4.8752e-07 | 0.012308 | 0.012308 | 0.012308 | 0.99794 | -0.039532 | 0.99809 | -0.036508 | 3.3812
3 | -0.0016035 | -0.00040186 | 0.0016035 | 0.00040177 | 1.8062e-08 | -9.7317e-08 | 0.0023975 | 0.0023975 | 0.0023975 | 0.99518 | -0.092265 | 0.9952 | -0.092029 | 0.65866
4 | -0.0016035 | -0.00040177 | 0.0016035 | 0.00040158 | 3.4595e-08 | -1.8642e-07 | 0.0023975 | 0.0023974 | 0.0023975 | 0.9952 | -0.092029 | 0.99522 | -0.091576 | 0.65864
5 | -0.0051938 | -0.0013014 | 0.0051945 | 0.0013014 | 6.6596e-07 | 4.3483e-08 | 0.0077655 | 0.0077654 | 0.0077655 | 0.99522 | -0.091576 | 0.99536 | -0.088884 | 2.1334
6 | -0.0072142 | -0.0018076 | 0.0072146 | 0.0018078 | 4.1006e-07 | 1.4023e-07 | 0.010785 | 0.010785 | 0.010785 | 0.99536 | -0.088884 | 0.99542 | -0.08769 | 2.9629
7 | -0.0053607 | -0.0013435 | 0.0053611 | 0.0013436 | 3.9837e-07 | 4.2643e-08 | 0.0080394 | 0.0080393 | 0.0080394 | 0.99222 | -0.14879 | 0.9923 | -0.14723 | 2.2086
8 | -0.0091113 | -0.0022835 | 0.0091129 | 0.0022842 | 1.5894e-06 | 7.2386e-07 | 0.013663 | 0.013663 | 0.013663 | 0.9923 | -0.14723 | 0.99249 | -0.14357 | 3.7536
9 | -0.011031 | -0.0027644 | 0.011033 | 0.0027653 | 1.7237e-06 | 8.8341e-07 | 0.01649 | 0.01649 | 0.01649 | 0.99542 | -0.08769 | 0.99559 | -0.08441 | 4.5303
10 | -0.017746 | -0.0044476 | 0.017754 | 0.0044523 | 7.826e-06 | 4.6227e-06 | 0.026523 | 0.026523 | 0.026523 | 0.99559 | -0.08441 | 0.99607 | -0.075158 | 7.2866
11 | -0.022385 | -0.0056128 | 0.022389 | 0.0056156 | 4.5474e-06 | 2.7692e-06 | 0.033441 | 0.033441 | 0.033441 | 0.99607 | -0.075158 | 0.99629 | -0.070896 | 9.1871
12 | 0.0046309 | 0.0011605 | -0.0046307 | -0.0011606 | 1.9715e-07 | -1.6804e-08 | 0.006918 | 0.006918 | 0.006918 | 0.99607 | -0.075158 | 0.99602 | -0.076051 | 1.9006
13 | -0.025475 | -0.0063889 | 0.025489 | 0.0063977 | 1.4309e-05 | 8.8141e-06 | 0.038049 | 0.038049 | 0.038049 | 0.99629 | -0.070896 | 0.9969 | -0.059119 | 10.4531
14 | 0.00064293 | 0.00016054 | -0.00064291 | -0.00016113 | 1.6269e-08 | -5.9309e-07 | 0.00096372 | 0.00096393 | 0.00096393 | 0.99249 | -0.14357 | 0.99246 | -0.14411 | 0.26482
15 | -0.0097558 | -0.0024447 | 0.0097579 | 0.0024457 | 2.0413e-06 | 9.7753e-07 | 0.014627 | 0.014626 | 0.014627 | 0.99249 | -0.14357 | 0.99272 | -0.13918 | 4.0183
16 | -0.01154 | -0.0028924 | 0.011541 | 0.0028929 | 8.7979e-07 | 4.6169e-07 | 0.017298 | 0.017298 | 0.017298 | 0.99272 | -0.13918 | 0.9928 | -0.13758 | 4.7523
17 | -0.020164 | -0.005053 | 0.02017 | 0.0050569 | 6.4547e-06 | 3.8872e-06 | 0.030222 | 0.030222 | 0.030222 | 0.9928 | -0.13758 | 0.99314 | -0.13086 | 8.3027
18 | 0.0086226 | 0.0021601 | -0.0086192 | -0.0021587 | 3.3552e-06 | 1.4549e-06 | 0.012923 | 0.012924 | 0.012924 | 0.9928 | -0.13758 | 0.99238 | -0.14575 | 3.5504
19 | 0.026992 | 0.0067735 | -0.026985 | -0.0067691 | 7.1061e-06 | 4.3975e-06 | 0.040412 | 0.040412 | 0.040412 | 0.99396 | -0.11506 | 0.99368 | -0.12058 | 11.1023
20 | -0.028134 | -0.0070597 | 0.028145 | 0.0070661 | 1.0418e-05 | 6.4646e-06 | 0.042122 | 0.042121 | 0.042122 | 0.99396 | -0.11506 | 0.99436 | -0.1073 | 11.5718
21 | 0.026583 | 0.0066682 | -0.026576 | -0.0066641 | 6.647e-06 | 4.1092e-06 | 0.039809 | 0.039809 | 0.039809 | 0.99368 | -0.12058 | 0.99341 | -0.12583 | 10.9366
22 | 0.040594 | 0.010436 | -0.040582 | -0.010429 | 1.1296e-05 | 6.8074e-06 | 0.06084 | 0.06084 | 0.06084 | 0.99436 | -0.1073 | 0.99406 | -0.11303 | 8.3572
23 | -0.068738 | -0.017502 | 0.068871 | 0.017586 | 0.00013304 | 8.3404e-05 | 0.10296 | 0.10296 | 0.10296 | 0.99436 | -0.1073 | 0.99647 | -0.067247 | 14.143
24 | 0.020743 | 0.0052021 | -0.020738 | -0.0051991 | 4.9763e-06 | 3.0069e-06 | 0.031071 | 0.031071 | 0.031071 | 0.99341 | -0.12583 | 0.99314 | -0.13086 | 8.5361
25 | 0.03904 | 0.010043 | -0.038922 | -0.0099692 | 0.00011758 | 7.4066e-05 | 0.058532 | 0.058532 | 0.058532 | 0.99406 | -0.11303 | 0.99079 | -0.17517 | 16.0802
26 | 0.0015423 | 0.0003861 | -0.0015423 | -0.00038624 | 2.2257e-08 | -1.3013e-07 | 0.0023085 | 0.0023086 | 0.0023086 | 0.99406 | -0.11303 | 0.99405 | -0.11333 | 0.63422
27 | -0.075958 | -0.019362 | 0.075986 | 0.019379 | 2.7652e-05 | 1.7399e-05 | 0.11354 | 0.11354 | 0.11354 | 0.99647 | -0.067247 | 0.99686 | -0.059708 | 15.5967
28 | 0.0070873 | 0.0017763 | -0.0070864 | -0.001776 | 8.6153e-07 | 2.8422e-07 | 0.010583 | 0.010583 | 0.010583 | 0.99647 | -0.067247 | 0.99633 | -0.069799 | 2.9075
29 | 0.037885 | 0.0097093 | -0.037857 | -0.0096918 | 2.7815e-05 | 1.7508e-05 | 0.056974 | 0.056974 | 0.056974 | 0.99079 | -0.17517 | 0.99 | -0.19033 | 15.6523
30 | 0.00065642 | 0.00016422 | -0.00065641 | -0.00016451 | 8.2424e-09 | -2.8986e-07 | 0.00098251 | 0.00098261 | 0.00098261 | 0.99405 | -0.11333 | 0.99403 | -0.11359 | 0.26995
31 | -0.077778 | -0.019828 | 0.07783 | 0.019862 | 5.285e-05 | 3.3279e-05 | 0.11622 | 0.11622 | 0.11622 | 0.99686 | -0.059708 | 0.9976 | -0.045642 | 15.964
32 | 0.003296 | 0.00082606 | -0.003296 | -0.00082606 | 3.444e-09 | -2.7315e-09 | 0.0049226 | 0.0049226 | 0.0049226 | 0.99633 | -0.069799 | 0.99633 | -0.069821 | 1.3524
33 | 0.0017578 | 0.00043903 | -0.0017574 | -0.00044045 | 3.2974e-07 | -1.4243e-06 | 0.0026351 | 0.0026357 | 0.0026357 | 0.99238 | -0.14575 | 0.99217 | -0.1497 | 0.7241
34 | 0.037857 | 0.0096918 | -0.037727 | -0.0096097 | 0.00013032 | 8.2032e-05 | 0.056974 | 0.056975 | 0.056975 | 0.99 | -0.19033 | 0.98628 | -0.26167 | 15.6524
35 | -0.10782 | -0.02741 | 0.10783 | 0.02742 | 1.6042e-05 | 1.0181e-05 | 0.16089 | 0.16089 | 0.16089 | 0.99806 | -0.036999 | 0.99822 | -0.03391 | 22.0997
36 | 0.10525 | 0.026766 | -0.1052 | -0.026738 | 4.3807e-05 | 2.7789e-05 | 0.15705 | 0.15705 | 0.15705 | 0.99806 | -0.036999 | 0.9976 | -0.045642 | 21.5731
37 | -0.10918 | -0.027758 | 0.10927 | 0.027812 | 8.5122e-05 | 5.403e-05 | 0.1629 | 0.1629 | 0.1629 | 0.99822 | -0.03391 | 0.99907 | -0.017738 | 22.3758
38 | 0.027373 | 0.0068763 | -0.027355 | -0.0068654 | 1.7593e-05 | 1.0893e-05 | 0.040835 | 0.040835 | 0.040835 | 0.9976 | -0.045642 | 0.9969 | -0.059119 | 11.2184
39 | 0.024824 | 0.0062279 | -0.024822 | -0.0062263 | 2.6388e-06 | 1.6214e-06 | 0.036976 | 0.036976 | 0.036976 | 0.99907 | -0.017738 | 0.99895 | -0.019968 | 10.1582
40 | -0.13409 | -0.03404 | 0.13421 | 0.034113 | 0.00011454 | 7.2907e-05 | 0.19987 | 0.19987 | 0.19987 | 0.99907 | -0.017738 | 1 | 0 | 27.4549
41 | 0.022625 | 0.0056759 | -0.022614 | -0.0056689 | 1.1413e-05 | 6.9538e-06 | 0.033704 | 0.033704 | 0.033704 | 0.99895 | -0.019968 | 0.9984 | -0.030555 | 9.2594
42 | 0.011576 | 0.0029013 | -0.011576 | -0.0029012 | 1.442e-07 | 7.5412e-08 | 0.017258 | 0.017258 | 0.017258 | 0.99811 | -0.036246 | 0.99809 | -0.036508 | 4.7412
43 | -0.013652 | -0.0034217 | 0.013656 | 0.0034235 | 3.3404e-06 | 1.8567e-06 | 0.020353 | 0.020353 | 0.020353 | 0.99811 | -0.036246 | 0.99837 | -0.031111 | 5.5916
44 | -0.018539 | -0.0046475 | 0.01854 | 0.0046478 | 4.9181e-07 | 2.923e-07 | 0.027632 | 0.027632 | 0.027632 | 0.99837 | -0.031111 | 0.9984 | -0.030555 | 7.5913
45 | 0.0026623 | 0.00066721 | -0.0026623 | -0.00066723 | 1.4126e-08 | -1.8854e-08 | 0.0040834 | 0.0040834 | 0.0040834 | 0.97015 | -0.57622 | 0.97014 | -0.57633 | 1.1218
46 | -0.004261 | -0.0010679 | 0.004261 | 0.0010679 | 2.4071e-08 | -3.151e-09 | 0.0065355 | 0.0065355 | 0.0065355 | 0.97015 | -0.57622 | 0.97015 | -0.5761 | 1.7955
47 | -0.022958 | -0.0057538 | 0.02305 | 0.0058105 | 9.24e-05 | 5.6671e-05 | 0.035213 | 0.035212 | 0.035213 | 0.97015 | -0.5761 | 0.97442 | -0.49198 | 9.6739
48 | -0.029016 | -0.0073055 | 0.029102 | 0.0073593 | 8.6327e-05 | 5.3784e-05 | 0.044321 | 0.044321 | 0.044321 | 0.97442 | -0.49198 | 0.97758 | -0.42994 | 12.1762
49 | -0.029102 | -0.0073593 | 0.029318 | 0.0074936 | 0.00021568 | 0.00013433 | 0.044321 | 0.04432 | 0.044321 | 0.97758 | -0.42994 | 0.9855 | -0.27665 | 12.1761
50 | -0.03153 | -0.0080481 | 0.031553 | 0.0080623 | 2.2838e-05 | 1.4275e-05 | 0.04766 | 0.04766 | 0.04766 | 0.9855 | -0.27665 | 0.98628 | -0.26167 | 13.0934

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.13929 | 0.034973

## res_load
| p_mw | q_mvar
0 | 0.0017624 | 0.00044169
1 | 0.0042678 | 0.0010696
2 | 0.0022233 | 0.00055721
3 | 0.0016035 | 0.00040186
4 | 0.0035903 | 0.00089982
5 | 0.0020197 | 0.00050619
6 | 0.0053607 | 0.0013435
7 | 0.0037502 | 0.00093989
8 | 0.0038169 | 0.00095659
9 | 0.0067128 | 0.0016824
10 | 0.0030855 | 0.0007733
11 | 0.0046307 | 0.0011606
12 | 0.00064291 | 0.00016113
13 | 0.0017826 | 0.00044675
14 | 0.0011418 | 0.00028615
15 | 0.00040285 | 0.00010096
16 | 0.0058333 | 0.001462
17 | 0.00056723 | 0.00014216
18 | 0.0010373 | 0.00025996
19 | 0.00088584 | 0.00022201
20 | 0.0017915 | 0.000449
21 | 0.0037904 | 0.00094995
22 | 0.0068615 | 0.0017196
23 | 0.0017574 | 0.00044045
24 | 0.00065641 | 0.00016451
25 | 0.0025714 | 0.00064445
26 | 0.0013484 | 0.00033794
27 | 0.0018664 | 0.00046776
28 | 0.0021963 | 0.00055045
29 | 0.0034317 | 0.00086007
30 | 0.003296 | 0.00082606
31 | 0.0020763 | 0.00052038
32 | 0.0033204 | 0.00083218
33 | 0.0048838 | 0.001224
34 | 0.0040742 | 0.0010211
35 | 0.0015987 | 0.00040066
36 | 0.0026623 | 0.00066723
37 | 0.018697 | 0.0046859
38 | 0.0059652 | 0.001495
39 | 0.0022123 | 0.00055446
40 | 0.0061742 | 0.0015474

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1