## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2305-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2305-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2305-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2305-2_0_6_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2305-2_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2305-2_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2305-2_0_6_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_2305-2_0_6_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_2305-2_0_6_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_2305-2_0_6_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_2305-2_0_6_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_2305-2_0_6_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_2305-2_0_6_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_2305-2_0_6_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_2305-2_0_6_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_2305-2_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2305-2_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2305-2_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2305-2_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2305-2_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2305-2_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2305-2_0_6_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2305-2_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2305-2_0_6_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2305-2_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2305-2_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2305-2_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2305-2_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2305-2_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_2305-2_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_2305-2_0_6_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_2305-2_0_6_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_2305-2_0_6_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_2305-2_0_6_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2305-2_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2305-2_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2305-2_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2305-2_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2305-2_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2305-2_0_6_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_2305-2_0_6_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_2305-2_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2305-2_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2305-2_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2305-2_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2305-2_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2305-2_0_6_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_2305-2_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_2305-2_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2305-2_0_6_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_2305-2_0_6_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_2305-2_0_6_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_2305-2_0_6_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_2305-2_0_6_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2305-2_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2305-2_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2305-2_0_6_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_2305-2_0_6_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_2305-2_0_6_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_2305-2_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_2305-2_0_6_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_2305-2_0_6_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_2305-2_0_6_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_2305-2_0_6_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_2305-2_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_2305-2_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_2305-2_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2305-2_0_6_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_2305-2_0_6_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_2305-2_0_6_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_2305-2_0_6_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_2305-2_0_6_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_2305-2_0_6_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_2305-2_0_6_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_2305-2_0_6_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_2305-2_0_6_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_2305-2_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_2305-2_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_2305-2_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_2305-2_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_2305-2_0_6_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_2305-2_0_6_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_2305-2_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_2305-2_0_6_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_2305-2_0_6_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_2305-2_0_6_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_2305-2_0_6_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_2305-2_0_6_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_2305-2_0_6_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_2305-2_0_6_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_2305-2_0_6_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_2305-2_0_6_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_2305-2_0_6_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_2305-2_0_6_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_2305-2_0_6_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_2305-2_0_6_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_2305-2_0_6_node_97 | 0.4 | n |  | TRUE
97 | bus_MV_119_1_node_238 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2305-2_0_6_load_0 | 0 | 0.022051 | 0.0055264 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2305-2_0_6_load_35 | 7 | 0.015764 | 0.0039508 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2305-2_0_6_load_59 | 8 | 0.0071874 | 0.0018013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2305-2_0_6_load_36 | 9 | 0.012269 | 0.0030748 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2305-2_0_6_load_46 | 10 | 0.0070756 | 0.0017733 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2305-2_0_6_load_63 | 13 | 0.015643 | 0.0039204 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2305-2_0_6_load_7 | 15 | 0.011878 | 0.002977 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2305-2_0_6_load_10 | 17 | 0.012615 | 0.0031615 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2305-2_0_6_load_19 | 21 | 0.014373 | 0.0036023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2305-2_0_6_load_13 | 22 | 0.0088042 | 0.0022065 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2305-2_0_6_load_21 | 25 | 0.00605 | 0.0015163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2305-2_0_6_load_20 | 26 | 0.0049318 | 0.001236 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2305-2_0_6_load_14 | 27 | 0.0044016 | 0.0011031 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2305-2_0_6_load_44 | 31 | 0.017595 | 0.0044096 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2305-2_0_6_load_56 | 32 | 0.058556 | 0.014675 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2305-2_0_6_load_24 | 34 | 0.019934 | 0.004996 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2305-2_0_6_load_55 | 40 | 0.0054376 | 0.0013628 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2305-2_0_6_load_34 | 41 | 0.011714 | 0.0029359 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2305-2_0_6_load_31 | 42 | 0.04427 | 0.011095 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2305-2_0_6_load_33 | 43 | 0.012126 | 0.0030391 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2305-2_0_6_load_38 | 44 | 0.0073896 | 0.001852 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2305-2_0_6_load_60 | 46 | 0.0040721 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2305-2_0_6_load_40 | 47 | 0.0031899 | 0.00079947 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2305-2_0_6_load_85 | 50 | 0.017901 | 0.0044864 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2305-2_0_6_load_86 | 51 | 0.01693 | 0.0042431 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2305-2_0_6_load_84 | 52 | 0.0029391 | 0.0007366 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2305-2_0_6_load_49 | 55 | 0.0018208 | 0.00045635 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2305-2_0_6_load_58 | 57 | 0.0064561 | 0.0016181 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2305-2_0_6_load_62 | 58 | 0.004998 | 0.0012526 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2305-2_0_6_load_51 | 59 | 0.015933 | 0.0039931 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2305-2_0_6_load_52 | 60 | 0.0046706 | 0.0011706 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2305-2_0_6_load_76 | 61 | 0.0056428 | 0.0014142 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2305-2_0_6_load_87 | 62 | 0.0028105 | 0.00070437 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2305-2_0_6_load_91 | 63 | 0.026218 | 0.0065708 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2305-2_0_6_load_74 | 64 | 0.0092622 | 0.0023213 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2305-2_0_6_load_57 | 66 | 0.0044767 | 0.001122 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2305-2_0_6_load_65 | 68 | 0.0010367 | 0.00025981 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2305-2_0_6_load_66 | 69 | 0.0016576 | 0.00041543 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2305-2_0_6_load_101 | 70 | 0.0014163 | 0.00035496 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2305-2_0_6_load_99 | 72 | 0.012196 | 0.0030567 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2305-2_0_6_load_81 | 73 | 0.0068223 | 0.0017098 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2305-2_0_6_load_67 | 74 | 0.0033285 | 0.0008342 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2305-2_0_6_load_68 | 75 | 0.0019843 | 0.00049732 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2305-2_0_6_load_70 | 77 | 0.0032542 | 0.00081559 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2305-2_0_6_load_71 | 78 | 0.0055131 | 0.0013817 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2305-2_0_6_load_72 | 79 | 0.0084753 | 0.0021241 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2305-2_0_6_load_73 | 80 | 0.003614 | 0.00090575 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2305-2_0_6_load_82 | 81 | 0.0029445 | 0.00073796 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2305-2_0_6_load_79 | 82 | 0.0061484 | 0.0015409 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2305-2_0_6_load_83 | 83 | 0.0061666 | 0.0015455 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2305-2_0_6_load_75 | 85 | 0.023758 | 0.0059542 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2305-2_0_6_load_80 | 86 | 0.0039751 | 0.00099627 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2305-2_0_6_load_100 | 87 | 0.007767 | 0.0019466 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2305-2_0_6_load_89 | 89 | 0.00037436 | 9.3825e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2305-2_0_6_load_90 | 90 | 0.00040833 | 0.00010234 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2305-2_0_6_load_92 | 91 | 0.00048936 | 0.00012264 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2305-2_0_6_load_93 | 92 | 0.0018547 | 0.00046484 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2305-2_0_6_load_94 | 93 | 0.00036341 | 9.1078e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2305-2_0_6_load_97 | 96 | 0.0010383 | 0.00026023 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2305-2_0_6_line_0 |  | 0 | 1 | 0.0026084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2305-2_0_6_line_1 |  | 0 | 2 | 0.02114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2305-2_0_6_line_2 |  | 1 | 3 | 0.013562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2305-2_0_6_line_3 |  | 2 | 4 | 0.011622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2305-2_0_6_line_4 |  | 3 | 9 | 0.02249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2305-2_0_6_line_5 |  | 3 | 7 | 0.027819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2305-2_0_6_line_6 |  | 4 | 8 | 0.017127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2305-2_0_6_line_7 |  | 5 | 6 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2305-2_0_6_line_8 |  | 5 | 7 | 0.0095751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2305-2_0_6_line_9 |  | 6 | 12 | 0.020645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2305-2_0_6_line_10 |  | 6 | 13 | 0.0086664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2305-2_0_6_line_11 |  | 8 | 14 | 0.030494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2305-2_0_6_line_12 |  | 10 | 11 | 0.011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2305-2_0_6_line_13 |  | 11 | 53 | 0.008663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2305-2_0_6_line_14 |  | 12 | 46 | 0.035241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2305-2_0_6_line_15 |  | 13 | 30 | 0.022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2305-2_0_6_line_16 |  | 14 | 37 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2305-2_0_6_line_17 |  | 15 | 16 | 0.036304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2305-2_0_6_line_18 |  | 16 | 17 | 0.012158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2305-2_0_6_line_19 |  | 17 | 18 | 0.018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2305-2_0_6_line_20 |  | 18 | 22 | 0.024089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2305-2_0_6_line_21 |  | 19 | 20 | 0.035474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2305-2_0_6_line_22 |  | 19 | 21 | 0.028473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2305-2_0_6_line_23 |  | 20 | 22 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2305-2_0_6_line_24 |  | 21 | 26 | 0.0049529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2305-2_0_6_line_25 |  | 23 | 24 | 0.028191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2305-2_0_6_line_26 |  | 23 | 25 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2305-2_0_6_line_27 |  | 24 | 31 | 0.0053325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2305-2_0_6_line_28 |  | 24 | 28 | 0.021537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2305-2_0_6_line_29 |  | 25 | 26 | 0.0016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2305-2_0_6_line_30 |  | 27 | 28 | 0.022888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2305-2_0_6_line_31 |  | 29 | 30 | 0.028924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2305-2_0_6_line_32 |  | 29 | 31 | 0.0072634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2305-2_0_6_line_33 |  | 32 | 33 | 0.040824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2305-2_0_6_line_34 |  | 33 | 40 | 0.03006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2305-2_0_6_line_35 |  | 34 | 35 | 0.035835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2305-2_0_6_line_36 |  | 35 | 36 | 0.014807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2305-2_0_6_line_37 |  | 36 | 41 | 0.018797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2305-2_0_6_line_38 |  | 36 | 42 | 0.018187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2305-2_0_6_line_39 |  | 37 | 43 | 0.046274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2305-2_0_6_line_40 |  | 37 | 42 | 0.021159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2305-2_0_6_line_41 |  | 38 | 39 | 0.011885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2305-2_0_6_line_42 |  | 38 | 40 | 0.016881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2305-2_0_6_line_43 |  | 39 | 41 | 0.016262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2305-2_0_6_line_44 |  | 43 | 44 | 0.010996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2305-2_0_6_line_45 |  | 44 | 45 | 0.022906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2305-2_0_6_line_46 |  | 45 | 47 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2305-2_0_6_line_47 |  | 45 | 48 | 0.019491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2305-2_0_6_line_48 |  | 46 | 54 | 0.015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2305-2_0_6_line_49 |  | 48 | 49 | 0.027534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2305-2_0_6_line_50 |  | 49 | 50 | 0.019453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2305-2_0_6_line_51 |  | 49 | 51 | 0.039447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2305-2_0_6_line_52 |  | 49 | 52 | 0.024958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2305-2_0_6_line_53 |  | 50 | 62 | 0.00016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2305-2_0_6_line_54 |  | 51 | 63 | 0.030506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2305-2_0_6_line_55 |  | 52 | 64 | 0.0077675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2305-2_0_6_line_56 |  | 53 | 54 | 0.029558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2305-2_0_6_line_57 |  | 54 | 57 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2305-2_0_6_line_58 |  | 54 | 58 | 0.041284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2305-2_0_6_line_59 |  | 55 | 56 | 0.016204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2305-2_0_6_line_60 |  | 56 | 61 | 0.030439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2305-2_0_6_line_61 |  | 57 | 65 | 0.011174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2305-2_0_6_line_62 |  | 59 | 60 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2305-2_0_6_line_63 |  | 60 | 65 | 0.025114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2305-2_0_6_line_64 |  | 61 | 85 | 0.0050316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2305-2_0_6_line_65 |  | 62 | 88 | 0.056687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2305-2_0_6_line_66 |  | 64 | 80 | 0.0094377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2305-2_0_6_line_67 |  | 65 | 66 | 0.021584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2305-2_0_6_line_68 |  | 66 | 67 | 0.022513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2305-2_0_6_line_69 |  | 67 | 68 | 0.041579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2305-2_0_6_line_70 |  | 67 | 69 | 0.024944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2305-2_0_6_line_71 |  | 68 | 70 | 0.077002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2305-2_0_6_line_72 |  | 69 | 71 | 0.062058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2305-2_0_6_line_73 |  | 71 | 72 | 0.009164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2305-2_0_6_line_74 |  | 71 | 73 | 0.018169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2305-2_0_6_line_75 |  | 74 | 75 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2305-2_0_6_line_76 |  | 74 | 76 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2305-2_0_6_line_77 |  | 75 | 77 | 0.011334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2305-2_0_6_line_78 |  | 76 | 78 | 0.019472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2305-2_0_6_line_79 |  | 76 | 79 | 0.0066537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2305-2_0_6_line_80 |  | 77 | 80 | 0.0029532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2305-2_0_6_line_81 |  | 78 | 81 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2305-2_0_6_line_82 |  | 79 | 82 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2305-2_0_6_line_83 |  | 81 | 83 | 0.0041833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2305-2_0_6_line_84 |  | 82 | 84 | 0.0030666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2305-2_0_6_line_85 |  | 84 | 86 | 0.030274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2305-2_0_6_line_86 |  | 84 | 85 | 0.012016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2305-2_0_6_line_87 |  | 86 | 87 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2305-2_0_6_line_88 |  | 88 | 89 | 0.031392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2305-2_0_6_line_89 |  | 88 | 90 | 0.02836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2305-2_0_6_line_90 |  | 89 | 91 | 0.021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2305-2_0_6_line_91 |  | 91 | 92 | 0.033707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2305-2_0_6_line_92 |  | 92 | 93 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2305-2_0_6_line_93 |  | 93 | 94 | 0.033176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2305-2_0_6_line_94 |  | 94 | 95 | 0.018761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2305-2_0_6_line_95 |  | 95 | 96 | 0.044607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2305-2_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 97 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2585558.8106 | 1189465.4405 | 2585561.4117 | 1189465.2461
1 | 2585582.4929 | 1189463.671 | 2585561.4117 | 1189465.2461
2 | 2585554.3649 | 1189456.1464 | 2585558.3222 | 1189455.8588 | 2585558.453 | 1189459.5049 | 2585558.6603 | 1189463.2174 | 2585558.8106 | 1189465.4405
3 | 2585580.0984 | 1189454.2608 | 2585580.385 | 1189459.2405 | 2585582.5355 | 1189459.1908 | 2585582.5924 | 1189460.6692 | 2585582.4929 | 1189463.671
4 | 2585554.3649 | 1189456.1464 | 2585554.8674 | 1189433.6621
5 | 2585554.3649 | 1189456.1464 | 2585526.5496 | 1189456.5862
6 | 2585580.0984 | 1189454.2608 | 2585597.1798 | 1189453.012
7 | 2585500.1505 | 1189455.9336 | 2585516.9756 | 1189456.7375
8 | 2585516.9756 | 1189456.7375 | 2585526.5496 | 1189456.5862
9 | 2585499.7356 | 1189476.5677 | 2585499.6875 | 1189472.4656 | 2585500.1505 | 1189455.9336
10 | 2585500.1505 | 1189455.9336 | 2585500.5806 | 1189447.2779
11 | 2585627.593 | 1189450.7885 | 2585597.1798 | 1189453.012
12 | 2585537.317 | 1189517.3977 | 2585537.1469 | 1189505.9534
13 | 2585529.1261 | 1189520.2857 | 2585537.317 | 1189517.3977
14 | 2585499.7356 | 1189476.5677 | 2585499.6275 | 1189511.8083
15 | 2585502.2014 | 1189424.4121 | 2585500.6085 | 1189446.7166 | 2585500.5806 | 1189447.2779
16 | 2585643.514 | 1189449.8718 | 2585627.593 | 1189450.7885
17 | 2585525.622 | 1189280.5353 | 2585534.1056 | 1189281.8042 | 2585540.4493 | 1189281.2329 | 2585542.8755 | 1189281.6828 | 2585545.8219 | 1189282.7651 | 2585558.3631 | 1189292.2935
18 | 2585525.622 | 1189280.5353 | 2585519.218 | 1189278.2496 | 2585513.9644 | 1189277.1952
19 | 2585496.015 | 1189273.5926 | 2585513.9644 | 1189277.1952
20 | 2585496.015 | 1189273.5926 | 2585491.2468 | 1189291.6581 | 2585489.5271 | 1189296.782
21 | 2585518.8417 | 1189321.0619 | 2585485.7425 | 1189308.0579
22 | 2585518.8417 | 1189321.0619 | 2585519.7322 | 1189332.8548 | 2585515.6152 | 1189348.9844
23 | 2585485.7425 | 1189308.0579 | 2585489.5271 | 1189296.782
24 | 2585518.5647 | 1189352.9633 | 2585515.6152 | 1189348.9844
25 | 2585528.7525 | 1189366.7061 | 2585516.9811 | 1189380.6643 | 2585513.0463 | 1189383.9423 | 2585508.9192 | 1189386.487
26 | 2585528.7525 | 1189366.7061 | 2585519.5398 | 1189354.2785
27 | 2585508.9192 | 1189386.487 | 2585509.5733 | 1189388.9089 | 2585509.2133 | 1189391.4 | 2585509.0525 | 1189391.6613
28 | 2585491.9534 | 1189378.1239 | 2585495.661 | 1189381.7946 | 2585498.8183 | 1189384.9219 | 2585500.7673 | 1189383.5609 | 2585503.0843 | 1189383.0327 | 2585505.4265 | 1189383.3939 | 2585507.4732 | 1189384.6006 | 2585508.9192 | 1189386.487
29 | 2585518.5647 | 1189352.9633 | 2585519.5398 | 1189354.2785
30 | 2585491.9534 | 1189378.1239 | 2585485.1834 | 1189382.087 | 2585470.3144 | 1189384.3733
31 | 2585503.3665 | 1189395.5386 | 2585503.0643 | 1189399.8638 | 2585502.9828 | 1189407.0678 | 2585502.9509 | 1189415.9169 | 2585502.2014 | 1189424.4121
32 | 2585503.3665 | 1189395.5386 | 2585505.8361 | 1189395.0101 | 2585507.8916 | 1189393.5487 | 2585509.0525 | 1189391.6613
33 | 2585627.657 | 1189328.9245 | 2585619.1134 | 1189328.0336 | 2585587.9828 | 1189336.3965
34 | 2585627.657 | 1189328.9245 | 2585626.3558 | 1189358.9567
35 | 2585626.6877 | 1189413.8269 | 2585590.9043 | 1189415.7546
36 | 2585626.6877 | 1189413.8269 | 2585626.651 | 1189411.2923 | 2585638.9127 | 1189410.7958
37 | 2585638.9127 | 1189410.7958 | 2585638.483 | 1189392.0033
38 | 2585638.9127 | 1189410.7958 | 2585641.0396 | 1189428.8584
39 | 2585643.514 | 1189449.8718 | 2585674.33 | 1189446.2512 | 2585689.5244 | 1189447.5119
40 | 2585643.514 | 1189449.8718 | 2585641.0396 | 1189428.8584
41 | 2585638.1112 | 1189375.746 | 2585626.1917 | 1189375.8304
42 | 2585626.1917 | 1189375.8304 | 2585626.0606 | 1189365.7699 | 2585626.3558 | 1189358.9567
43 | 2585638.1112 | 1189375.746 | 2585638.483 | 1189392.0033
44 | 2585689.5244 | 1189447.5119 | 2585700.4825 | 1189448.4211
45 | 2585723.1199 | 1189451.8258 | 2585705.321 | 1189448.8225 | 2585700.4825 | 1189448.4211
46 | 2585723.1199 | 1189451.8258 | 2585721.6011 | 1189438.6114
47 | 2585723.1199 | 1189451.8258 | 2585741.598 | 1189458.1849
48 | 2585500.2852 | 1189526.8483 | 2585499.6166 | 1189515.355 | 2585499.6275 | 1189511.8083
49 | 2585763.2737 | 1189475.1085 | 2585750.3278 | 1189463.7002 | 2585741.598 | 1189458.1849
50 | 2585763.2737 | 1189475.1085 | 2585776.8719 | 1189489.0188
51 | 2585763.2737 | 1189475.1085 | 2585772.0202 | 1189462.1141 | 2585774.6131 | 1189449.379 | 2585773.4315 | 1189438.6576
52 | 2585763.2737 | 1189475.1085 | 2585744.1012 | 1189487.6054 | 2585742.1557 | 1189488.319
53 | 2585776.9851 | 1189489.1346 | 2585776.8719 | 1189489.0188
54 | 2585763.417 | 1189410.73 | 2585766.4153 | 1189414.4136 | 2585771.8068 | 1189423.9168 | 2585773.4315 | 1189438.6576
55 | 2585742.1557 | 1189488.319 | 2585734.8632 | 1189490.9937
56 | 2585529.1261 | 1189520.2857 | 2585510.1043 | 1189525.5348 | 2585500.2852 | 1189526.8483
57 | 2585500.2852 | 1189526.8483 | 2585503.4101 | 1189547.8673
58 | 2585500.2852 | 1189526.8483 | 2585489.6521 | 1189528.9753 | 2585483.7015 | 1189531.1354 | 2585473.4432 | 1189536.83 | 2585465.3074 | 1189546.1576
59 | 2585606.2078 | 1189506.8807 | 2585603.4467 | 1189509.8334 | 2585595.4263 | 1189513.866 | 2585592.28 | 1189513.3756
60 | 2585606.2078 | 1189506.8807 | 2585615.354 | 1189501.6336 | 2585628.2077 | 1189500.0573 | 2585635.1217 | 1189499.4099
61 | 2585505.0534 | 1189558.9201 | 2585503.4101 | 1189547.8673
62 | 2585540.1878 | 1189559.1977 | 2585528.5744 | 1189562.3338
63 | 2585505.0534 | 1189558.9201 | 2585512.1267 | 1189560.6038 | 2585515.479 | 1189562.4633 | 2585519.6103 | 1189564.7544 | 2585528.5744 | 1189562.3338
64 | 2585640.1314 | 1189498.9409 | 2585635.1217 | 1189499.4099
65 | 2585821.4165 | 1189523.7952 | 2585792.7212 | 1189505.2317 | 2585776.9851 | 1189489.1346
66 | 2585725.7775 | 1189493.2117 | 2585729.6397 | 1189492.9095 | 2585734.8632 | 1189490.9937
67 | 2585505.0534 | 1189558.9201 | 2585509.4447 | 1189580.053
68 | 2585515.948 | 1189601.6049 | 2585509.498 | 1189580.3094 | 2585509.4447 | 1189580.053
69 | 2585515.948 | 1189601.6049 | 2585529.3588 | 1189640.9619
70 | 2585515.948 | 1189601.6049 | 2585540.5236 | 1189597.3318
71 | 2585529.3588 | 1189640.9619 | 2585533.7826 | 1189653.9445 | 2585552.1281 | 1189706.383 | 2585554.7937 | 1189713.6403
72 | 2585600.5779 | 1189581.6891 | 2585540.5236 | 1189597.3318
73 | 2585600.5779 | 1189581.6891 | 2585609.4717 | 1189579.3775
74 | 2585600.5779 | 1189581.6891 | 2585595.8629 | 1189565.0696 | 2585595.9566 | 1189564.1812
75 | 2585699.0253 | 1189495.305 | 2585711.5334 | 1189494.3263
76 | 2585677.312 | 1189497.004 | 2585699.0253 | 1189495.305
77 | 2585722.8333 | 1189493.4421 | 2585711.5334 | 1189494.3263
78 | 2585677.312 | 1189497.004 | 2585679.7786 | 1189516.319
79 | 2585677.312 | 1189497.004 | 2585670.6618 | 1189497.2194
80 | 2585722.8333 | 1189493.4421 | 2585725.7775 | 1189493.2117
81 | 2585679.7786 | 1189516.319 | 2585682.2856 | 1189535.9499
82 | 2585670.6618 | 1189497.2194 | 2585655.1596 | 1189497.7215
83 | 2585682.8155 | 1189540.0995 | 2585682.2856 | 1189535.9499
84 | 2585652.0947 | 1189497.8207 | 2585655.1596 | 1189497.7215
85 | 2585652.0947 | 1189497.8207 | 2585655.0844 | 1189527.9468
86 | 2585652.0947 | 1189497.8207 | 2585640.1314 | 1189498.9409
87 | 2585656.2684 | 1189539.8772 | 2585655.0844 | 1189527.9468
88 | 2585821.4165 | 1189523.7952 | 2585851.6033 | 1189532.4085
89 | 2585821.4165 | 1189523.7952 | 2585841.8596 | 1189504.139
90 | 2585871.9269 | 1189538.2075 | 2585851.6033 | 1189532.4085
91 | 2585871.9269 | 1189538.2075 | 2585882.3895 | 1189541.1928 | 2585903.8834 | 1189548.8796
92 | 2585924.0232 | 1189556.0822 | 2585903.8834 | 1189548.8796
93 | 2585952.0523 | 1189573.2558 | 2585933.4658 | 1189559.4592 | 2585924.0232 | 1189556.0822
94 | 2585952.0523 | 1189573.2558 | 2585967.1096 | 1189584.504
95 | 2585967.1096 | 1189584.504 | 2585950.2549 | 1189625.8043

## bus_geodata
| x | y | coords
0 | 2585561.4117 | 1189465.2461
1 | 2585558.8106 | 1189465.4405
2 | 2585582.4929 | 1189463.671
3 | 2585554.3649 | 1189456.1464
4 | 2585580.0984 | 1189454.2608
5 | 2585516.9756 | 1189456.7375
6 | 2585500.1505 | 1189455.9336
7 | 2585526.5496 | 1189456.5862
8 | 2585597.1798 | 1189453.012
9 | 2585554.8674 | 1189433.6621
10 | 2585537.1469 | 1189505.9534
11 | 2585537.317 | 1189517.3977
12 | 2585499.7356 | 1189476.5677
13 | 2585500.5806 | 1189447.2779
14 | 2585627.593 | 1189450.7885
15 | 2585558.3631 | 1189292.2935
16 | 2585525.622 | 1189280.5353
17 | 2585513.9644 | 1189277.1952
18 | 2585496.015 | 1189273.5926
19 | 2585518.8417 | 1189321.0619
20 | 2585485.7425 | 1189308.0579
21 | 2585515.6152 | 1189348.9844
22 | 2585489.5271 | 1189296.782
23 | 2585528.7525 | 1189366.7061
24 | 2585508.9192 | 1189386.487
25 | 2585519.5398 | 1189354.2785
26 | 2585518.5647 | 1189352.9633
27 | 2585470.3144 | 1189384.3733
28 | 2585491.9534 | 1189378.1239
29 | 2585503.3665 | 1189395.5386
30 | 2585502.2014 | 1189424.4121
31 | 2585509.0525 | 1189391.6613
32 | 2585587.9828 | 1189336.3965
33 | 2585627.657 | 1189328.9245
34 | 2585590.9043 | 1189415.7546
35 | 2585626.6877 | 1189413.8269
36 | 2585638.9127 | 1189410.7958
37 | 2585643.514 | 1189449.8718
38 | 2585626.1917 | 1189375.8304
39 | 2585638.1112 | 1189375.746
40 | 2585626.3558 | 1189358.9567
41 | 2585638.483 | 1189392.0033
42 | 2585641.0396 | 1189428.8584
43 | 2585689.5244 | 1189447.5119
44 | 2585700.4825 | 1189448.4211
45 | 2585723.1199 | 1189451.8258
46 | 2585499.6275 | 1189511.8083
47 | 2585721.6011 | 1189438.6114
48 | 2585741.598 | 1189458.1849
49 | 2585763.2737 | 1189475.1085
50 | 2585776.8719 | 1189489.0188
51 | 2585773.4315 | 1189438.6576
52 | 2585742.1557 | 1189488.319
53 | 2585529.1261 | 1189520.2857
54 | 2585500.2852 | 1189526.8483
55 | 2585592.28 | 1189513.3756
56 | 2585606.2078 | 1189506.8807
57 | 2585503.4101 | 1189547.8673
58 | 2585465.3074 | 1189546.1576
59 | 2585540.1878 | 1189559.1977
60 | 2585528.5744 | 1189562.3338
61 | 2585635.1217 | 1189499.4099
62 | 2585776.9851 | 1189489.1346
63 | 2585763.417 | 1189410.73
64 | 2585734.8632 | 1189490.9937
65 | 2585505.0534 | 1189558.9201
66 | 2585509.4447 | 1189580.053
67 | 2585515.948 | 1189601.6049
68 | 2585529.3588 | 1189640.9619
69 | 2585540.5236 | 1189597.3318
70 | 2585554.7937 | 1189713.6403
71 | 2585600.5779 | 1189581.6891
72 | 2585609.4717 | 1189579.3775
73 | 2585595.9566 | 1189564.1812
74 | 2585699.0253 | 1189495.305
75 | 2585711.5334 | 1189494.3263
76 | 2585677.312 | 1189497.004
77 | 2585722.8333 | 1189493.4421
78 | 2585679.7786 | 1189516.319
79 | 2585670.6618 | 1189497.2194
80 | 2585725.7775 | 1189493.2117
81 | 2585682.2856 | 1189535.9499
82 | 2585655.1596 | 1189497.7215
83 | 2585682.8155 | 1189540.0995
84 | 2585652.0947 | 1189497.8207
85 | 2585640.1314 | 1189498.9409
86 | 2585655.0844 | 1189527.9468
87 | 2585656.2684 | 1189539.8772
88 | 2585821.4165 | 1189523.7952
89 | 2585851.6033 | 1189532.4085
90 | 2585841.8596 | 1189504.139
91 | 2585871.9269 | 1189538.2075
92 | 2585903.8834 | 1189548.8796
93 | 2585924.0232 | 1189556.0822
94 | 2585952.0523 | 1189573.2558
95 | 2585967.1096 | 1189584.504
96 | 2585950.2549 | 1189625.8043
97 | 2585643.514 | 1189449.8718

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99457 | -0.10328 | 0.022051 | 0.0055264
1 | 0.99442 | -0.10627 | 0 | 0
2 | 0.99598 | -0.076347 | 0 | 0
3 | 0.9936 | -0.12183 | 0 | 0
4 | 0.99676 | -0.061573 | 0 | 0
5 | 0.99155 | -0.16128 | 0 | 0
6 | 0.99025 | -0.18619 | 0 | 0
7 | 0.99204 | -0.15182 | 0.015764 | 0.0039508
8 | 0.9979 | -0.039842 | 0.0071874 | 0.0018013
9 | 0.99335 | -0.12671 | 0.012269 | 0.0030748
10 | 0.98535 | -0.28113 | 0.0070756 | 0.0017733
11 | 0.98543 | -0.27967 | 0 | 0
12 | 0.9889 | -0.21221 | 0 | 0
13 | 0.98948 | -0.20103 | 0.015643 | 0.0039204
14 | 1 | 0 | -0.55994 | -0.14235
15 | 0.97826 | -0.4194 | 0.011878 | 0.002977
16 | 0.97866 | -0.41155 | 0 | 0
17 | 0.9788 | -0.40892 | 0.012615 | 0.0031615
18 | 0.97921 | -0.40076 | 0 | 0
19 | 0.98122 | -0.36145 | 0 | 0
20 | 0.98013 | -0.38285 | 0 | 0
21 | 0.9821 | -0.34429 | 0.014373 | 0.0036023
22 | 0.97976 | -0.39004 | 0.0088042 | 0.0022065
23 | 0.98324 | -0.3221 | 0 | 0
24 | 0.98477 | -0.29233 | 0 | 0
25 | 0.9824 | -0.33847 | 0.00605 | 0.0015163
26 | 0.98232 | -0.34003 | 0.0049318 | 0.001236
27 | 0.98459 | -0.29585 | 0.0044016 | 0.0011031
28 | 0.98468 | -0.29404 | 0 | 0
29 | 0.98562 | -0.27577 | 0 | 0
30 | 0.98777 | -0.23401 | 0 | 0
31 | 0.98508 | -0.28629 | 0.017595 | 0.0044096
32 | 0.98633 | -0.26316 | 0.058556 | 0.014675
33 | 0.98853 | -0.22043 | 0 | 0
34 | 0.99318 | -0.13068 | 0.019934 | 0.004996
35 | 0.99383 | -0.11806 | 0 | 0
36 | 0.9941 | -0.11285 | 0 | 0
37 | 0.99841 | -0.030316 | 0 | 0
38 | 0.99114 | -0.16989 | 0 | 0
39 | 0.99184 | -0.15641 | 0 | 0
40 | 0.99014 | -0.18908 | 0.0054376 | 0.0013628
41 | 0.99279 | -0.13799 | 0.011714 | 0.0029359
42 | 0.9957 | -0.082222 | 0.04427 | 0.011095
43 | 0.99575 | -0.08108 | 0.012126 | 0.0030391
44 | 0.99515 | -0.0924 | 0.0073896 | 0.001852
45 | 0.99397 | -0.11503 | 0 | 0
46 | 0.9866 | -0.2568 | 0.0040721 | 0.0010206
47 | 0.99393 | -0.11578 | 0.0031899 | 0.00079947
48 | 0.99299 | -0.13396 | 0 | 0
49 | 0.9909 | -0.1742 | 0 | 0
50 | 0.99045 | -0.18292 | 0.017901 | 0.0044864
51 | 0.98934 | -0.20446 | 0.01693 | 0.0042431
52 | 0.98867 | -0.21709 | 0.0029391 | 0.0007366
53 | 0.98548 | -0.27857 | 0 | 0
54 | 0.98568 | -0.27482 | 0 | 0
55 | 0.98228 | -0.34158 | 0.0018208 | 0.00045635
56 | 0.9823 | -0.34105 | 0 | 0
57 | 0.9846 | -0.29569 | 0.0064561 | 0.0016181
58 | 0.98549 | -0.27852 | 0.004998 | 0.0012526
59 | 0.98345 | -0.31815 | 0.015933 | 0.0039931
60 | 0.98363 | -0.3147 | 0.0046706 | 0.0011706
61 | 0.98235 | -0.34005 | 0.0056428 | 0.0014142
62 | 0.99045 | -0.18294 | 0.0028105 | 0.00070437
63 | 0.9886 | -0.21871 | 0.026218 | 0.0065708
64 | 0.988 | -0.23007 | 0.0092622 | 0.0023213
65 | 0.98411 | -0.30538 | 0 | 0
66 | 0.98356 | -0.31611 | 0.0044767 | 0.001122
67 | 0.98308 | -0.3255 | 0 | 0
68 | 0.98298 | -0.32734 | 0.0010367 | 0.00025981
69 | 0.9826 | -0.33481 | 0.0016576 | 0.00041543
70 | 0.98288 | -0.32931 | 0.0014163 | 0.00035496
71 | 0.98151 | -0.35614 | 0 | 0
72 | 0.98141 | -0.35816 | 0.012196 | 0.0030567
73 | 0.98139 | -0.35838 | 0.0068223 | 0.0017098
74 | 0.98536 | -0.28131 | 0.0033285 | 0.0008342
75 | 0.98624 | -0.26431 | 0.0019843 | 0.00049732
76 | 0.98391 | -0.30958 | 0 | 0
77 | 0.98705 | -0.24857 | 0.0032542 | 0.00081559
78 | 0.98365 | -0.31471 | 0.0055131 | 0.0013817
79 | 0.98356 | -0.31649 | 0.0084753 | 0.0021241
80 | 0.98727 | -0.24431 | 0.003614 | 0.00090575
81 | 0.98348 | -0.31796 | 0.0029445 | 0.00073796
82 | 0.98286 | -0.33022 | 0.0061484 | 0.0015409
83 | 0.98346 | -0.31843 | 0.0061666 | 0.0015455
84 | 0.98273 | -0.3326 | 0 | 0
85 | 0.98239 | -0.33937 | 0.023758 | 0.0059542
86 | 0.98241 | -0.33902 | 0.0039751 | 0.00099627
87 | 0.98232 | -0.3407 | 0.007767 | 0.0019466
88 | 0.99021 | -0.18751 | 0 | 0
89 | 0.99009 | -0.18982 | 0.00037436 | 9.3825e-05
90 | 0.9902 | -0.18772 | 0.00040833 | 0.00010234
91 | 0.99002 | -0.19123 | 0.00048936 | 0.00012264
92 | 0.98992 | -0.19318 | 0.0018547 | 0.00046484
93 | 0.98989 | -0.19372 | 0.00036341 | 9.1078e-05
94 | 0.98986 | -0.19433 | 0 | 0
95 | 0.98984 | -0.19468 | 0 | 0
96 | 0.9898 | -0.1955 | 0.0010383 | 0.00026023
97 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.19697 | 0.050064 | -0.19694 | -0.050046 | 2.8362e-05 | 1.805e-05 | 0.29494 | 0.29494 | 0.29494 | 0.99457 | -0.10328 | 0.99442 | -0.10627 | 27.0089
1 | -0.21902 | -0.055591 | 0.2193 | 0.055772 | 0.00028416 | 0.00018104 | 0.32793 | 0.32793 | 0.32793 | 0.99457 | -0.10328 | 0.99598 | -0.076347 | 30.03
2 | 0.19694 | 0.050046 | -0.19679 | -0.049952 | 0.00014747 | 9.3855e-05 | 0.29494 | 0.29494 | 0.29494 | 0.99442 | -0.10627 | 0.9936 | -0.12183 | 27.0089
3 | -0.2193 | -0.055772 | 0.21946 | 0.055871 | 0.00015622 | 9.9528e-05 | 0.32793 | 0.32793 | 0.32793 | 0.99598 | -0.076347 | 0.99676 | -0.061573 | 30.03
4 | 0.012271 | 0.0030763 | -0.012269 | -0.0030748 | 2.8485e-06 | 1.5318e-06 | 0.018378 | 0.018378 | 0.018378 | 0.9936 | -0.12183 | 0.99335 | -0.12671 | 5.0489
5 | 0.18452 | 0.046876 | -0.18425 | -0.046707 | 0.00026597 | 0.00016914 | 0.27656 | 0.27656 | 0.27656 | 0.9936 | -0.12183 | 0.99204 | -0.15182 | 25.326
6 | -0.21946 | -0.055871 | 0.21969 | 0.056018 | 0.00023022 | 0.00014667 | 0.32793 | 0.32793 | 0.32793 | 0.99676 | -0.061573 | 0.9979 | -0.039842 | 30.03
7 | 0.16841 | 0.042707 | -0.16821 | -0.042579 | 0.00020143 | 0.00012848 | 0.25292 | 0.25292 | 0.25292 | 0.99155 | -0.16128 | 0.99025 | -0.18619 | 34.7411
8 | -0.16841 | -0.042707 | 0.16849 | 0.042756 | 7.656e-05 | 4.8628e-05 | 0.25292 | 0.25291 | 0.25292 | 0.99155 | -0.16128 | 0.99204 | -0.15182 | 23.1607
9 | 0.071256 | 0.018025 | -0.071168 | -0.017969 | 8.8858e-05 | 5.6604e-05 | 0.10713 | 0.10713 | 0.10713 | 0.99025 | -0.18619 | 0.9889 | -0.21221 | 29.4324
10 | 0.096955 | 0.024553 | -0.096886 | -0.024509 | 6.9068e-05 | 4.4092e-05 | 0.14578 | 0.14578 | 0.14578 | 0.99025 | -0.18619 | 0.98948 | -0.20103 | 40.0499
11 | -0.22688 | -0.057819 | 0.22731 | 0.058098 | 0.00043714 | 0.00027857 | 0.33864 | 0.33864 | 0.33864 | 0.9979 | -0.039842 | 1 | 0 | 31.0114
12 | -0.0070756 | -0.0017733 | 0.0070761 | 0.0017735 | 4.9004e-07 | 1.6782e-07 | 0.010685 | 0.010685 | 0.010685 | 0.98535 | -0.28113 | 0.98543 | -0.27967 | 2.9355
13 | -0.0070761 | -0.0017735 | 0.0070765 | 0.0017736 | 3.709e-07 | 1.2701e-07 | 0.010685 | 0.010685 | 0.010685 | 0.98543 | -0.27967 | 0.98548 | -0.27857 | 2.9355
14 | 0.071168 | 0.017969 | -0.071016 | -0.017872 | 0.00015168 | 9.6625e-05 | 0.10713 | 0.10713 | 0.10713 | 0.9889 | -0.21221 | 0.9866 | -0.2568 | 29.4324
15 | 0.081243 | 0.020589 | -0.081115 | -0.020507 | 0.00012849 | 8.1938e-05 | 0.12226 | 0.12226 | 0.12226 | 0.98948 | -0.20103 | 0.98777 | -0.23401 | 33.5872
16 | 0.33098 | 0.084252 | -0.3305 | -0.083943 | 0.00048302 | 0.00030851 | 0.49296 | 0.49297 | 0.49297 | 1 | 0 | 0.99841 | -0.030316 | 45.1433
17 | -0.011878 | -0.002977 | 0.011883 | 0.0029794 | 4.4443e-06 | 2.3884e-06 | 0.018068 | 0.018068 | 0.018068 | 0.97826 | -0.4194 | 0.97866 | -0.41155 | 4.9637
18 | -0.011883 | -0.0029794 | 0.011884 | 0.0029802 | 1.4884e-06 | 7.9975e-07 | 0.018068 | 0.018068 | 0.018068 | 0.97866 | -0.41155 | 0.9788 | -0.40892 | 4.9637
19 | -0.024499 | -0.0061417 | 0.024509 | 0.0061476 | 9.5236e-06 | 5.8649e-06 | 0.037245 | 0.037245 | 0.037245 | 0.9788 | -0.40892 | 0.97921 | -0.40076 | 10.2322
20 | -0.024509 | -0.0061476 | 0.024521 | 0.0061553 | 1.2531e-05 | 7.7167e-06 | 0.037245 | 0.037245 | 0.037245 | 0.97921 | -0.40076 | 0.97976 | -0.39004 | 10.2322
21 | 0.033371 | 0.0083904 | -0.033337 | -0.008369 | 3.4082e-05 | 2.1365e-05 | 0.050616 | 0.050616 | 0.050616 | 0.98122 | -0.36145 | 0.98013 | -0.38285 | 13.9056
22 | -0.033371 | -0.0083904 | 0.033398 | 0.0084075 | 2.7356e-05 | 1.7148e-05 | 0.050616 | 0.050616 | 0.050616 | 0.98122 | -0.36145 | 0.9821 | -0.34429 | 13.9056
23 | 0.033337 | 0.008369 | -0.033325 | -0.0083619 | 1.1427e-05 | 7.1637e-06 | 0.050616 | 0.050616 | 0.050616 | 0.98013 | -0.38285 | 0.97976 | -0.39004 | 13.9056
24 | -0.047772 | -0.01201 | 0.047781 | 0.012016 | 9.7342e-06 | 6.1672e-06 | 0.072394 | 0.072394 | 0.072394 | 0.9821 | -0.34429 | 0.98232 | -0.34003 | 19.8884
25 | -0.058813 | -0.0148 | 0.058897 | 0.014853 | 8.3791e-05 | 5.3268e-05 | 0.089028 | 0.089028 | 0.089028 | 0.98324 | -0.3221 | 0.98477 | -0.29233 | 24.4583
26 | 0.058813 | 0.0148 | -0.058767 | -0.014771 | 4.5981e-05 | 2.9232e-05 | 0.089028 | 0.089028 | 0.089028 | 0.98324 | -0.3221 | 0.9824 | -0.33847 | 24.4584
27 | -0.063299 | -0.015956 | 0.063317 | 0.015968 | 1.8307e-05 | 1.1648e-05 | 0.09568 | 0.09568 | 0.09568 | 0.98477 | -0.29233 | 0.98508 | -0.28629 | 26.2858
28 | 0.0044023 | 0.001103 | -0.0044019 | -0.0011031 | 3.5738e-07 | -4.5266e-08 | 0.0066519 | 0.006652 | 0.006652 | 0.98477 | -0.29233 | 0.98468 | -0.29404 | 1.8275
29 | 0.052717 | 0.013255 | -0.052713 | -0.013252 | 3.9161e-06 | 2.4856e-06 | 0.079865 | 0.079865 | 0.079865 | 0.9824 | -0.33847 | 0.98232 | -0.34003 | 21.9408
30 | -0.0044016 | -0.0011031 | 0.0044019 | 0.0011031 | 3.7981e-07 | -4.8045e-08 | 0.0066521 | 0.006652 | 0.0066521 | 0.98459 | -0.29585 | 0.98468 | -0.29404 | 1.8275
31 | -0.080953 | -0.020404 | 0.081115 | 0.020507 | 0.00016212 | 0.00010339 | 0.12226 | 0.12226 | 0.12226 | 0.98562 | -0.27577 | 0.98777 | -0.23401 | 33.5873
32 | 0.080953 | 0.020404 | -0.080912 | -0.020378 | 4.0712e-05 | 2.5963e-05 | 0.12226 | 0.12226 | 0.12226 | 0.98562 | -0.27577 | 0.98508 | -0.28629 | 33.5873
33 | -0.058556 | -0.014675 | 0.058675 | 0.014751 | 0.00011947 | 7.5939e-05 | 0.08834 | 0.08834 | 0.08834 | 0.98633 | -0.26316 | 0.98853 | -0.22043 | 24.2692
34 | -0.058675 | -0.014751 | 0.058763 | 0.014807 | 8.7971e-05 | 5.5915e-05 | 0.08834 | 0.08834 | 0.08834 | 0.98853 | -0.22043 | 0.99014 | -0.18908 | 24.2692
35 | -0.019934 | -0.004996 | 0.019946 | 0.0050032 | 1.1987e-05 | 7.2075e-06 | 0.029866 | 0.029866 | 0.029866 | 0.99318 | -0.13068 | 0.99383 | -0.11806 | 8.205
36 | -0.019946 | -0.0050032 | 0.019951 | 0.0050062 | 4.9527e-06 | 2.9778e-06 | 0.029866 | 0.029866 | 0.029866 | 0.99383 | -0.11806 | 0.9941 | -0.11285 | 8.205
37 | 0.076164 | 0.019265 | -0.076073 | -0.019206 | 9.172e-05 | 5.8457e-05 | 0.11407 | 0.11407 | 0.11407 | 0.9941 | -0.11285 | 0.99279 | -0.13799 | 31.3376
38 | -0.096116 | -0.024271 | 0.096257 | 0.024361 | 0.0001413 | 9.0194e-05 | 0.14393 | 0.14393 | 0.14393 | 0.9941 | -0.11285 | 0.9957 | -0.082222 | 39.5426
39 | 0.18962 | 0.048263 | -0.18916 | -0.047969 | 0.00046284 | 0.00029441 | 0.28287 | 0.28287 | 0.28287 | 0.99841 | -0.030316 | 0.99575 | -0.08108 | 25.904
40 | 0.14088 | 0.03568 | -0.14053 | -0.035456 | 0.00035023 | 0.00022387 | 0.21009 | 0.21009 | 0.21009 | 0.99841 | -0.030316 | 0.9957 | -0.082222 | 57.7183
41 | -0.06426 | -0.016208 | 0.064301 | 0.016234 | 4.1513e-05 | 2.6415e-05 | 0.096511 | 0.096511 | 0.096511 | 0.99114 | -0.16989 | 0.99184 | -0.15641 | 26.5141
42 | 0.06426 | 0.016208 | -0.064201 | -0.01617 | 5.8964e-05 | 3.7519e-05 | 0.096511 | 0.096511 | 0.096511 | 0.99114 | -0.16989 | 0.99014 | -0.18908 | 26.5141
43 | -0.064301 | -0.016234 | 0.064358 | 0.01627 | 5.68e-05 | 3.6142e-05 | 0.096511 | 0.096511 | 0.096511 | 0.99184 | -0.15641 | 0.99279 | -0.13799 | 26.5141
44 | 0.17703 | 0.04493 | -0.17693 | -0.044868 | 9.6341e-05 | 6.1229e-05 | 0.26475 | 0.26475 | 0.26475 | 0.99575 | -0.08108 | 0.99515 | -0.0924 | 24.2445
45 | 0.16955 | 0.043016 | -0.16936 | -0.042899 | 0.00018429 | 0.00011705 | 0.2537 | 0.2537 | 0.2537 | 0.99515 | -0.0924 | 0.99397 | -0.11503 | 23.2327
46 | 0.00319 | 0.00079937 | -0.0031899 | -0.00079947 | 1.1376e-07 | -9.9596e-08 | 0.0047755 | 0.0047756 | 0.0047756 | 0.99397 | -0.11503 | 0.99393 | -0.11578 | 1.312
47 | 0.16617 | 0.0421 | -0.16602 | -0.042004 | 0.00015097 | 9.5862e-05 | 0.24893 | 0.24893 | 0.24893 | 0.99397 | -0.11503 | 0.99299 | -0.13396 | 22.7954
48 | 0.066944 | 0.016852 | -0.066886 | -0.016815 | 5.7599e-05 | 3.6671e-05 | 0.10099 | 0.10099 | 0.10099 | 0.9866 | -0.2568 | 0.98568 | -0.27482 | 27.7452
49 | 0.16602 | 0.042004 | -0.1657 | -0.0418 | 0.0003199 | 0.00020402 | 0.24893 | 0.24893 | 0.24893 | 0.99299 | -0.13396 | 0.9909 | -0.1742 | 34.1932
50 | 0.025252 | 0.0063298 | -0.025242 | -0.0063233 | 1.049e-05 | 6.4633e-06 | 0.037922 | 0.037922 | 0.037922 | 0.9909 | -0.1742 | 0.99045 | -0.18292 | 10.418
51 | 0.043228 | 0.010864 | -0.043166 | -0.010825 | 6.2356e-05 | 3.94e-05 | 0.064926 | 0.064926 | 0.064926 | 0.9909 | -0.1742 | 0.98934 | -0.20446 | 17.8368
52 | 0.09722 | 0.024606 | -0.09702 | -0.024478 | 0.00019972 | 0.0001275 | 0.14608 | 0.14608 | 0.14608 | 0.9909 | -0.1742 | 0.98867 | -0.21709 | 40.1316
53 | 0.0073411 | 0.001837 | -0.0073411 | -0.001837 | 7.386e-09 | 2.6433e-09 | 0.011028 | 0.011028 | 0.011028 | 0.99045 | -0.18292 | 0.99045 | -0.18294 | 3.0297
54 | 0.026235 | 0.0065818 | -0.026218 | -0.0065708 | 1.7814e-05 | 1.101e-05 | 0.039462 | 0.039462 | 0.039462 | 0.98934 | -0.20446 | 0.9886 | -0.21871 | 10.8412
55 | 0.094081 | 0.023742 | -0.094022 | -0.023704 | 5.845e-05 | 3.7308e-05 | 0.14166 | 0.14166 | 0.14166 | 0.98867 | -0.21709 | 0.988 | -0.23007 | 38.9163
56 | -0.0070765 | -0.0017736 | 0.0070778 | 0.001774 | 1.2655e-06 | 4.3323e-07 | 0.010685 | 0.010685 | 0.010685 | 0.98548 | -0.27857 | 0.98568 | -0.27482 | 2.9355
57 | 0.054809 | 0.013788 | -0.054755 | -0.013754 | 5.4581e-05 | 3.4661e-05 | 0.082761 | 0.082761 | 0.082761 | 0.98568 | -0.27482 | 0.9846 | -0.29569 | 22.7366
58 | 0.0049989 | 0.0012527 | -0.004998 | -0.0012526 | 8.817e-07 | 3.817e-08 | 0.0075465 | 0.0075467 | 0.0075467 | 0.98568 | -0.27482 | 0.98549 | -0.27852 | 2.0733
59 | -0.0018208 | -0.00045635 | 0.0018209 | 0.00045617 | 4.6231e-08 | -1.7553e-07 | 0.0027583 | 0.0027583 | 0.0027583 | 0.98228 | -0.34158 | 0.9823 | -0.34105 | 0.75779
60 | -0.0018209 | -0.00045617 | 0.001821 | 0.00045584 | 8.6838e-08 | -3.2977e-07 | 0.0027583 | 0.0027581 | 0.0027583 | 0.9823 | -0.34105 | 0.98235 | -0.34005 | 0.75777
61 | 0.048299 | 0.012136 | -0.048276 | -0.012121 | 2.2333e-05 | 1.4151e-05 | 0.073004 | 0.073004 | 0.073004 | 0.9846 | -0.29569 | 0.98411 | -0.30538 | 20.0561
62 | -0.015933 | -0.0039931 | 0.015935 | 0.0039946 | 2.6216e-06 | 1.5251e-06 | 0.024107 | 0.024107 | 0.024107 | 0.98345 | -0.31815 | 0.98363 | -0.3147 | 6.6228
63 | -0.020606 | -0.0051652 | 0.020615 | 0.0051707 | 9.1514e-06 | 5.538e-06 | 0.031173 | 0.031172 | 0.031173 | 0.98363 | -0.3147 | 0.98411 | -0.30538 | 8.5639
64 | -0.0074638 | -0.0018701 | 0.007464 | 0.0018702 | 2.4117e-07 | 9.0644e-08 | 0.011306 | 0.011306 | 0.011306 | 0.98235 | -0.34005 | 0.98239 | -0.33937 | 3.1059
65 | 0.0045306 | 0.0011326 | -0.0045296 | -0.0011327 | 9.8462e-07 | -9.9222e-08 | 0.0068056 | 0.0068059 | 0.0068059 | 0.99045 | -0.18294 | 0.99021 | -0.18751 | 1.8698
66 | 0.08476 | 0.021383 | -0.084702 | -0.021346 | 5.7719e-05 | 3.682e-05 | 0.12771 | 0.12771 | 0.12771 | 0.988 | -0.23007 | 0.98727 | -0.24431 | 35.0841
67 | 0.027661 | 0.0069506 | -0.027647 | -0.0069418 | 1.4164e-05 | 8.7907e-06 | 0.041832 | 0.041832 | 0.041832 | 0.98411 | -0.30538 | 0.98356 | -0.31611 | 11.4922
68 | 0.02317 | 0.0058199 | -0.02316 | -0.0058135 | 1.0377e-05 | 6.3555e-06 | 0.035059 | 0.035059 | 0.035059 | 0.98356 | -0.31611 | 0.98308 | -0.3255 | 9.6316
69 | 0.0024533 | 0.00061349 | -0.0024531 | -0.00061388 | 2.1496e-07 | -3.8955e-07 | 0.0037129 | 0.0037131 | 0.0037131 | 0.98308 | -0.3255 | 0.98298 | -0.32734 | 1.0201
70 | 0.020707 | 0.0052 | -0.020698 | -0.0051944 | 9.1912e-06 | 5.5663e-06 | 0.031346 | 0.031346 | 0.031346 | 0.98308 | -0.3255 | 0.9826 | -0.33481 | 8.6116
71 | 0.0014164 | 0.00035407 | -0.0014163 | -0.00035496 | 1.3274e-07 | -8.9107e-07 | 0.0021438 | 0.0021442 | 0.0021442 | 0.98298 | -0.32734 | 0.98288 | -0.32931 | 0.58906
72 | 0.01904 | 0.004779 | -0.019021 | -0.0047674 | 1.9351e-05 | 1.16e-05 | 0.028836 | 0.028836 | 0.028836 | 0.9826 | -0.33481 | 0.98151 | -0.35614 | 7.9221
73 | 0.012198 | 0.0030574 | -0.012196 | -0.0030567 | 1.1752e-06 | 6.363e-07 | 0.018492 | 0.018492 | 0.018492 | 0.98151 | -0.35614 | 0.98141 | -0.35816 | 5.0803
74 | 0.006823 | 0.0017101 | -0.0068223 | -0.0017098 | 7.2901e-07 | 2.3697e-07 | 0.010344 | 0.010344 | 0.010344 | 0.98151 | -0.35614 | 0.98139 | -0.35838 | 2.8418
75 | -0.075713 | -0.019041 | 0.075775 | 0.01908 | 6.1531e-05 | 3.922e-05 | 0.11436 | 0.11436 | 0.11436 | 0.98536 | -0.28131 | 0.98624 | -0.26431 | 31.4174
76 | 0.072385 | 0.018206 | -0.072287 | -0.018144 | 9.763e-05 | 6.2206e-05 | 0.10933 | 0.10933 | 0.10933 | 0.98536 | -0.28131 | 0.98391 | -0.30958 | 30.0365
77 | -0.077759 | -0.019577 | 0.077818 | 0.019614 | 5.8536e-05 | 3.7318e-05 | 0.11735 | 0.11735 | 0.11735 | 0.98624 | -0.26431 | 0.98705 | -0.24857 | 32.2399
78 | 0.014629 | 0.0036679 | -0.014626 | -0.0036659 | 3.5745e-06 | 2.0404e-06 | 0.022125 | 0.022125 | 0.022125 | 0.98391 | -0.30958 | 0.98365 | -0.31471 | 6.0783
79 | 0.057658 | 0.014476 | -0.057639 | -0.014464 | 1.8976e-05 | 1.206e-05 | 0.087208 | 0.087208 | 0.087208 | 0.98391 | -0.30958 | 0.98356 | -0.31649 | 23.9582
80 | -0.081072 | -0.02043 | 0.081088 | 0.020441 | 1.6553e-05 | 1.0556e-05 | 0.12226 | 0.12226 | 0.12226 | 0.98705 | -0.24857 | 0.98727 | -0.24431 | 33.5876
81 | 0.0091126 | 0.0022841 | -0.0091112 | -0.0022835 | 1.4103e-06 | 6.5143e-07 | 0.013785 | 0.013785 | 0.013785 | 0.98365 | -0.31471 | 0.98348 | -0.31796 | 3.7872
82 | 0.049164 | 0.01234 | -0.049131 | -0.01232 | 3.2183e-05 | 2.0401e-05 | 0.074386 | 0.074386 | 0.074386 | 0.98356 | -0.31649 | 0.98286 | -0.33022 | 20.4357
83 | 0.0061667 | 0.0015455 | -0.0061666 | -0.0015455 | 1.3657e-07 | 3.4319e-08 | 0.0093303 | 0.0093303 | 0.0093303 | 0.98348 | -0.31796 | 0.98346 | -0.31843 | 2.5633
84 | 0.042983 | 0.010779 | -0.042978 | -0.010776 | 4.8702e-06 | 3.0781e-06 | 0.065077 | 0.065077 | 0.065077 | 0.98286 | -0.33022 | 0.98273 | -0.3326 | 17.8784
85 | 0.011746 | 0.002945 | -0.011743 | -0.0029431 | 3.5915e-06 | 1.9151e-06 | 0.017786 | 0.017786 | 0.017786 | 0.98273 | -0.3326 | 0.98241 | -0.33902 | 4.8864
86 | 0.031232 | 0.0078307 | -0.031222 | -0.0078244 | 1.0077e-05 | 6.2971e-06 | 0.047291 | 0.047291 | 0.047291 | 0.98273 | -0.3326 | 0.98239 | -0.33937 | 12.992
87 | 0.0077676 | 0.0019468 | -0.007767 | -0.0019466 | 6.2234e-07 | 2.4651e-07 | 0.011765 | 0.011765 | 0.011765 | 0.98241 | -0.33902 | 0.98232 | -0.3407 | 3.2323
88 | 0.0041213 | 0.0010307 | -0.0041209 | -0.0010308 | 4.5141e-07 | -1.1486e-07 | 0.0061924 | 0.0061926 | 0.0061926 | 0.99021 | -0.18751 | 0.99009 | -0.18982 | 1.7013
89 | 0.00040833 | 0.00010197 | -0.00040833 | -0.00010234 | 4.0034e-09 | -3.6225e-07 | 0.00061348 | 0.00061361 | 0.00061361 | 0.99021 | -0.18751 | 0.9902 | -0.18772 | 0.16857
90 | 0.0037465 | 0.000937 | -0.0037462 | -0.00093711 | 2.5121e-07 | -1.1101e-07 | 0.0056299 | 0.00563 | 0.00563 | 0.99009 | -0.18982 | 0.99002 | -0.19123 | 1.5467
91 | 0.0032569 | 0.00081447 | -0.0032566 | -0.00081471 | 3.0282e-07 | -2.3958e-07 | 0.0048945 | 0.0048947 | 0.0048947 | 0.99002 | -0.19123 | 0.98992 | -0.19318 | 1.3447
92 | 0.0014019 | 0.00034987 | -0.0014018 | -0.00035012 | 3.56e-08 | -2.5219e-07 | 0.0021067 | 0.0021068 | 0.0021068 | 0.98992 | -0.19318 | 0.98989 | -0.19372 | 0.57879
93 | 0.0010384 | 0.00025905 | -0.0010384 | -0.00025945 | 3.03e-08 | -4.0708e-07 | 0.0015605 | 0.0015607 | 0.0015607 | 0.98989 | -0.19372 | 0.98986 | -0.19433 | 0.42876
94 | 0.0010384 | 0.00025945 | -0.0010384 | -0.00025968 | 1.7137e-08 | -2.3019e-07 | 0.0015607 | 0.0015608 | 0.0015608 | 0.98986 | -0.19433 | 0.98984 | -0.19468 | 0.42878
95 | 0.0010384 | 0.00025968 | -0.0010383 | -0.00026023 | 4.0754e-08 | -5.4728e-07 | 0.0015608 | 0.001561 | 0.001561 | 0.98984 | -0.19468 | 0.9898 | -0.1955 | 0.42884

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55994 | 0.14235

## res_load
| p_mw | q_mvar
0 | 0.022051 | 0.0055264
1 | 0.015764 | 0.0039508
2 | 0.0071874 | 0.0018013
3 | 0.012269 | 0.0030748
4 | 0.0070756 | 0.0017733
5 | 0.015643 | 0.0039204
6 | 0.011878 | 0.002977
7 | 0.012615 | 0.0031615
8 | 0.014373 | 0.0036023
9 | 0.0088042 | 0.0022065
10 | 0.00605 | 0.0015163
11 | 0.0049318 | 0.001236
12 | 0.0044016 | 0.0011031
13 | 0.017595 | 0.0044096
14 | 0.058556 | 0.014675
15 | 0.019934 | 0.004996
16 | 0.0054376 | 0.0013628
17 | 0.011714 | 0.0029359
18 | 0.04427 | 0.011095
19 | 0.012126 | 0.0030391
20 | 0.0073896 | 0.001852
21 | 0.0040721 | 0.0010206
22 | 0.0031899 | 0.00079947
23 | 0.017901 | 0.0044864
24 | 0.01693 | 0.0042431
25 | 0.0029391 | 0.0007366
26 | 0.0018208 | 0.00045635
27 | 0.0064561 | 0.0016181
28 | 0.004998 | 0.0012526
29 | 0.015933 | 0.0039931
30 | 0.0046706 | 0.0011706
31 | 0.0056428 | 0.0014142
32 | 0.0028105 | 0.00070437
33 | 0.026218 | 0.0065708
34 | 0.0092622 | 0.0023213
35 | 0.0044767 | 0.001122
36 | 0.0010367 | 0.00025981
37 | 0.0016576 | 0.00041543
38 | 0.0014163 | 0.00035496
39 | 0.012196 | 0.0030567
40 | 0.0068223 | 0.0017098
41 | 0.0033285 | 0.0008342
42 | 0.0019843 | 0.00049732
43 | 0.0032542 | 0.00081559
44 | 0.0055131 | 0.0013817
45 | 0.0084753 | 0.0021241
46 | 0.003614 | 0.00090575
47 | 0.0029445 | 0.00073796
48 | 0.0061484 | 0.0015409
49 | 0.0061666 | 0.0015455
50 | 0.023758 | 0.0059542
51 | 0.0039751 | 0.00099627
52 | 0.007767 | 0.0019466
53 | 0.00037436 | 9.3825e-05
54 | 0.00040833 | 0.00010234
55 | 0.00048936 | 0.00012264
56 | 0.0018547 | 0.00046484
57 | 0.00036341 | 9.1078e-05
58 | 0.0010383 | 0.00026023

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1