## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2305-4_1_2_node_57 | 0.4 | n |  | TRUE
1 | bus_LV_2305-4_1_2_node_58 | 0.4 | n |  | TRUE
2 | bus_LV_2305-4_1_2_node_60 | 0.4 | n |  | TRUE
3 | bus_LV_2305-4_1_2_node_96 | 0.4 | n |  | TRUE
4 | bus_LV_2305-4_1_2_node_115 | 0.4 | n |  | TRUE
5 | bus_LV_2305-4_1_2_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_2305-4_1_2_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_2305-4_1_2_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_2305-4_1_2_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_2305-4_1_2_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_2305-4_1_2_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_2305-4_1_2_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_2305-4_1_2_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_2305-4_1_2_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_2305-4_1_2_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_2305-4_1_2_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_2305-4_1_2_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_2305-4_1_2_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_2305-4_1_2_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_2305-4_1_2_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_2305-4_1_2_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_2305-4_1_2_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_2305-4_1_2_node_86 | 0.4 | n |  | TRUE
23 | bus_LV_2305-4_1_2_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_2305-4_1_2_node_101 | 0.4 | n |  | TRUE
25 | bus_LV_2305-4_1_2_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_2305-4_1_2_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_2305-4_1_2_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_2305-4_1_2_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_2305-4_1_2_node_105 | 0.4 | n |  | TRUE
30 | bus_LV_2305-4_1_2_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_2305-4_1_2_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_2305-4_1_2_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_2305-4_1_2_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_2305-4_1_2_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_2305-4_1_2_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_2305-4_1_2_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_2305-4_1_2_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_2305-4_1_2_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_2305-4_1_2_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_2305-4_1_2_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_2305-4_1_2_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_2305-4_1_2_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_2305-4_1_2_node_109 | 0.4 | n |  | TRUE
44 | bus_LV_2305-4_1_2_node_110 | 0.4 | n |  | TRUE
45 | bus_LV_2305-4_1_2_node_112 | 0.4 | n |  | TRUE
46 | bus_MV_119_1_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2305-4_1_2_load_58 | 1 | 0.0091474 | 0.0022925 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2305-4_1_2_load_60 | 2 | 0.0029627 | 0.00074252 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2305-4_1_2_load_96 | 3 | 0.0027877 | 0.00069867 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2305-4_1_2_load_115 | 4 | 0.0039964 | 0.0010016 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2305-4_1_2_load_69 | 5 | 0.0029129 | 0.00073005 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2305-4_1_2_load_70 | 6 | 0.002662 | 0.00066716 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2305-4_1_2_load_71 | 7 | 0.0070006 | 0.0017545 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2305-4_1_2_load_81 | 9 | 0.0015822 | 0.00039653 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2305-4_1_2_load_83 | 10 | 0.0037445 | 0.00093847 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2305-4_1_2_load_73 | 11 | 0.022972 | 0.0057572 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2305-4_1_2_load_75 | 13 | 0.0060597 | 0.0015187 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2305-4_1_2_load_76 | 14 | 0.0049667 | 0.0012448 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2305-4_1_2_load_78 | 15 | 0.0076512 | 0.0019176 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2305-4_1_2_load_79 | 17 | 0.0016709 | 0.00041876 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2305-4_1_2_load_80 | 18 | 0.0015833 | 0.00039681 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2305-4_1_2_load_82 | 19 | 0.0016698 | 0.0004185 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2305-4_1_2_load_85 | 21 | 0.0014512 | 0.00036371 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2305-4_1_2_load_86 | 22 | 0.0040102 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2305-4_1_2_load_92 | 23 | 0.013113 | 0.0032863 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2305-4_1_2_load_101 | 24 | 0.005309 | 0.0013306 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2305-4_1_2_load_87 | 25 | 0.00194 | 0.0004862 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2305-4_1_2_load_88 | 26 | 0.0020086 | 0.0005034 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2305-4_1_2_load_90 | 27 | 0.0063018 | 0.0015794 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2305-4_1_2_load_91 | 28 | 0.00097517 | 0.0002444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2305-4_1_2_load_93 | 30 | 0.00032429 | 8.1276e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2305-4_1_2_load_94 | 31 | 0.00060003 | 0.00015038 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2305-4_1_2_load_97 | 34 | 0.0026628 | 0.00066736 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2305-4_1_2_load_98 | 35 | 0.0061787 | 0.0015485 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2305-4_1_2_load_99 | 36 | 0.0026477 | 0.00066358 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2305-4_1_2_load_100 | 37 | 0.0026594 | 0.00066651 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2305-4_1_2_load_102 | 38 | 0.0016407 | 0.0004112 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2305-4_1_2_load_108 | 39 | 0.0017371 | 0.00043536 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2305-4_1_2_load_104 | 40 | 0.0027868 | 0.00069844 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2305-4_1_2_load_106 | 41 | 0.0041098 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2305-4_1_2_load_109 | 43 | 0.0010357 | 0.00025958 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2305-4_1_2_load_110 | 44 | 0.0013072 | 0.00032761 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2305-4_1_2_load_112 | 45 | 0.00064029 | 0.00016047 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2305-4_1_2_line_0 |  | 0 | 1 | 0.02022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2305-4_1_2_line_1 |  | 0 | 2 | 0.045497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2305-4_1_2_line_2 |  | 1 | 3 | 0.049385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2305-4_1_2_line_3 |  | 2 | 4 | 0.066882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2305-4_1_2_line_4 |  | 3 | 34 | 0.022601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2305-4_1_2_line_5 |  | 3 | 14 | 0.024511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2305-4_1_2_line_6 |  | 5 | 6 | 0.025831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2305-4_1_2_line_7 |  | 5 | 7 | 0.0097335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2305-4_1_2_line_8 |  | 6 | 8 | 0.009687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2305-4_1_2_line_9 |  | 8 | 9 | 0.029536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2305-4_1_2_line_10 |  | 8 | 10 | 0.016871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2305-4_1_2_line_11 |  | 9 | 17 | 0.014475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2305-4_1_2_line_12 |  | 10 | 16 | 0.018011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2305-4_1_2_line_13 |  | 11 | 12 | 0.029866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2305-4_1_2_line_14 |  | 11 | 13 | 0.055524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2305-4_1_2_line_15 |  | 12 | 14 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2305-4_1_2_line_16 |  | 12 | 15 | 0.03776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2305-4_1_2_line_17 |  | 15 | 16 | 0.056948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2305-4_1_2_line_18 |  | 16 | 21 | 0.013306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2305-4_1_2_line_19 |  | 16 | 22 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2305-4_1_2_line_20 |  | 17 | 18 | 0.016666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2305-4_1_2_line_21 |  | 18 | 19 | 0.017812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2305-4_1_2_line_22 |  | 19 | 20 | 0.027315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2305-4_1_2_line_23 |  | 20 | 28 | 0.012446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2305-4_1_2_line_24 |  | 20 | 25 | 0.011226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2305-4_1_2_line_25 |  | 21 | 23 | 0.031706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2305-4_1_2_line_26 |  | 22 | 24 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2305-4_1_2_line_27 |  | 24 | 38 | 0.016425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2305-4_1_2_line_28 |  | 26 | 27 | 0.033561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2305-4_1_2_line_29 |  | 27 | 29 | 0.01385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2305-4_1_2_line_30 |  | 28 | 30 | 0.026206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2305-4_1_2_line_31 |  | 29 | 42 | 0.013231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2305-4_1_2_line_32 |  | 29 | 40 | 0.018405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2305-4_1_2_line_33 |  | 30 | 31 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2305-4_1_2_line_34 |  | 31 | 32 | 0.036046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2305-4_1_2_line_35 |  | 32 | 33 | 0.010118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2305-4_1_2_line_36 |  | 33 | 43 | 0.018392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2305-4_1_2_line_37 |  | 34 | 35 | 0.004812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2305-4_1_2_line_38 |  | 35 | 36 | 0.020286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2305-4_1_2_line_39 |  | 36 | 37 | 0.0044641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2305-4_1_2_line_40 |  | 38 | 39 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2305-4_1_2_line_41 |  | 39 | 42 | 0.013202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2305-4_1_2_line_42 |  | 40 | 41 | 0.014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2305-4_1_2_line_43 |  | 43 | 44 | 0.028001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2305-4_1_2_line_44 |  | 44 | 45 | 0.0023498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2305-4_1_2_trafo_78 | 0.63 MVA 20/0.4 kV | 46 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2585251.1868 | 1189507.2833 | 2585254.7867 | 1189507.4634 | 2585269.3344 | 1189515.5872
1 | 2585251.1868 | 1189507.2833 | 2585229.1396 | 1189547.0811
2 | 2585311.2166 | 1189541.7554 | 2585269.3344 | 1189515.5872
3 | 2585260.6097 | 1189606.0968 | 2585229.1396 | 1189547.0811
4 | 2585311.2166 | 1189541.7554 | 2585299.6154 | 1189561.152
5 | 2585311.2166 | 1189541.7554 | 2585323.798 | 1189520.7196
6 | 2585447.8359 | 1189566.3457 | 2585431.526 | 1189586.3767
7 | 2585447.8359 | 1189566.3457 | 2585449.7623 | 1189563.9799 | 2585454.1548 | 1189558.9439
8 | 2585425.4096 | 1189593.8885 | 2585431.526 | 1189586.3767
9 | 2585425.4096 | 1189593.8885 | 2585413.0909 | 1189620.7327
10 | 2585425.4096 | 1189593.8885 | 2585409.2501 | 1189589.0406
11 | 2585410.7191 | 1189635.0117 | 2585413.0909 | 1189620.7327
12 | 2585391.9987 | 1189583.8651 | 2585409.2501 | 1189589.0406
13 | 2585332.8921 | 1189516.5863 | 2585361.8133 | 1189509.1336
14 | 2585400.3859 | 1189527.3594 | 2585393.732 | 1189525.7415 | 2585390.2639 | 1189510.9089 | 2585387.5736 | 1189505.4015 | 2585384.8991 | 1189503.1847 | 2585361.8133 | 1189509.1336
15 | 2585332.8921 | 1189516.5863 | 2585323.9031 | 1189520.5439 | 2585323.798 | 1189520.7196
16 | 2585332.8921 | 1189516.5863 | 2585346.9161 | 1189551.6455
17 | 2585391.9987 | 1189583.8651 | 2585360.7472 | 1189568.1559 | 2585349.2361 | 1189557.4453 | 2585346.9161 | 1189551.6455
18 | 2585391.9987 | 1189583.8651 | 2585394.2144 | 1189579.3573 | 2585393.2953 | 1189571.1249
19 | 2585391.9987 | 1189583.8651 | 2585376.8198 | 1189596.0246
20 | 2585410.7191 | 1189635.0117 | 2585407.9882 | 1189651.4525
21 | 2585407.9882 | 1189651.4525 | 2585405.0696 | 1189669.0233
22 | 2585400.5937 | 1189695.9695 | 2585405.0696 | 1189669.0233
23 | 2585400.5937 | 1189695.9695 | 2585398.0423 | 1189708.1517
24 | 2585400.5937 | 1189695.9695 | 2585389.4395 | 1189694.6994
25 | 2585385.3162 | 1189540.8517 | 2585389.3854 | 1189559.9924 | 2585392.5926 | 1189564.8315 | 2585393.2953 | 1189571.1249
26 | 2585376.8198 | 1189596.0246 | 2585364.4032 | 1189605.9712
27 | 2585351.5843 | 1189616.2401 | 2585364.4032 | 1189605.9712
28 | 2585355.4206 | 1189690.8259 | 2585349.273 | 1189690.1259 | 2585344.4131 | 1189683.0008 | 2585340.1445 | 1189664.744
29 | 2585336.9912 | 1189651.258 | 2585340.1445 | 1189664.744
30 | 2585389.6267 | 1189732.8458 | 2585396.0185 | 1189717.8144 | 2585398.0423 | 1189708.1517
31 | 2585336.9912 | 1189651.258 | 2585334.2598 | 1189638.3134
32 | 2585336.9912 | 1189651.258 | 2585354.5199 | 1189645.6475
33 | 2585389.6267 | 1189732.8458 | 2585384.9828 | 1189743.7668
34 | 2585370.3959 | 1189776.7082 | 2585373.2424 | 1189771.3762 | 2585384.9828 | 1189743.7668
35 | 2585370.3959 | 1189776.7082 | 2585360.3642 | 1189778.2337
36 | 2585360.3642 | 1189778.2337 | 2585359.9633 | 1189770.2416 | 2585361.2731 | 1189759.9349
37 | 2585299.6154 | 1189561.152 | 2585297.1454 | 1189565.2817
38 | 2585286.7329 | 1189582.6912 | 2585297.1454 | 1189565.2817
39 | 2585286.7329 | 1189582.6912 | 2585284.4415 | 1189586.5223
40 | 2585351.5843 | 1189616.2401 | 2585338.7717 | 1189626.504
41 | 2585334.2598 | 1189638.3134 | 2585334.7111 | 1189632.6983 | 2585336.9719 | 1189627.9458 | 2585338.7717 | 1189626.504
42 | 2585368.6982 | 1189644.5208 | 2585359.6374 | 1189644.0095 | 2585354.5199 | 1189645.6475
43 | 2585361.2731 | 1189759.9349 | 2585362.9706 | 1189746.5774 | 2585366.3691 | 1189732.4438
44 | 2585366.9185 | 1189730.159 | 2585366.3691 | 1189732.4438

## bus_geodata
| x | y | coords
0 | 2585251.1868 | 1189507.2833
1 | 2585269.3344 | 1189515.5872
2 | 2585229.1396 | 1189547.0811
3 | 2585311.2166 | 1189541.7554
4 | 2585260.6097 | 1189606.0968
5 | 2585447.8359 | 1189566.3457
6 | 2585431.526 | 1189586.3767
7 | 2585454.1548 | 1189558.9439
8 | 2585425.4096 | 1189593.8885
9 | 2585413.0909 | 1189620.7327
10 | 2585409.2501 | 1189589.0406
11 | 2585361.8133 | 1189509.1336
12 | 2585332.8921 | 1189516.5863
13 | 2585400.3859 | 1189527.3594
14 | 2585323.798 | 1189520.7196
15 | 2585346.9161 | 1189551.6455
16 | 2585391.9987 | 1189583.8651
17 | 2585410.7191 | 1189635.0117
18 | 2585407.9882 | 1189651.4525
19 | 2585405.0696 | 1189669.0233
20 | 2585400.5937 | 1189695.9695
21 | 2585393.2953 | 1189571.1249
22 | 2585376.8198 | 1189596.0246
23 | 2585385.3162 | 1189540.8517
24 | 2585364.4032 | 1189605.9712
25 | 2585389.4395 | 1189694.6994
26 | 2585355.4206 | 1189690.8259
27 | 2585340.1445 | 1189664.744
28 | 2585398.0423 | 1189708.1517
29 | 2585336.9912 | 1189651.258
30 | 2585389.6267 | 1189732.8458
31 | 2585384.9828 | 1189743.7668
32 | 2585370.3959 | 1189776.7082
33 | 2585360.3642 | 1189778.2337
34 | 2585299.6154 | 1189561.152
35 | 2585297.1454 | 1189565.2817
36 | 2585286.7329 | 1189582.6912
37 | 2585284.4415 | 1189586.5223
38 | 2585351.5843 | 1189616.2401
39 | 2585338.7717 | 1189626.504
40 | 2585354.5199 | 1189645.6475
41 | 2585368.6982 | 1189644.5208
42 | 2585334.2598 | 1189638.3134
43 | 2585361.2731 | 1189759.9349
44 | 2585366.3691 | 1189732.4438
45 | 2585366.9185 | 1189730.159
46 | 2585332.8921 | 1189516.5863

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99576 | -0.081562 | 0 | 0
1 | 0.99589 | -0.079087 | 0.0091474 | 0.0022925
2 | 0.99547 | -0.087131 | 0.0029627 | 0.00074252
3 | 0.99661 | -0.065114 | 0.0027877 | 0.00069867
4 | 0.99523 | -0.091835 | 0.0039964 | 0.0010016
5 | 0.99503 | -0.095593 | 0.0029129 | 0.00073005
6 | 0.99526 | -0.091086 | 0.002662 | 0.00066716
7 | 0.99497 | -0.096793 | 0.0070006 | 0.0017545
8 | 0.99537 | -0.088942 | 0 | 0
9 | 0.99501 | -0.095875 | 0.0015822 | 0.00039653
10 | 0.99577 | -0.081254 | 0.0037445 | 0.00093847
11 | 0.99691 | -0.059427 | 0.022972 | 0.0057572
12 | 0.9977 | -0.044232 | 0 | 0
13 | 0.9966 | -0.065331 | 0.0060597 | 0.0015187
14 | 0.99735 | -0.050909 | 0.0049667 | 0.0012448
15 | 1 | 0 | -0.14135 | -0.035213
16 | 0.99626 | -0.071869 | 0 | 0
17 | 0.99486 | -0.09887 | 0.0016709 | 0.00041876
18 | 0.99471 | -0.10183 | 0.0015833 | 0.00039681
19 | 0.99457 | -0.1045 | 0.0016698 | 0.0004185
20 | 0.9944 | -0.10778 | 0 | 0
21 | 0.99608 | -0.075273 | 0.0014512 | 0.00036371
22 | 0.99576 | -0.081405 | 0.0040102 | 0.001005
23 | 0.9957 | -0.082579 | 0.013113 | 0.0032863
24 | 0.99542 | -0.088091 | 0.005309 | 0.0013306
25 | 0.99438 | -0.10817 | 0.00194 | 0.0004862
26 | 0.99435 | -0.10866 | 0.0020086 | 0.0005034
27 | 0.99441 | -0.10747 | 0.0063018 | 0.0015794
28 | 0.99434 | -0.10886 | 0.00097517 | 0.0002444
29 | 0.99452 | -0.10544 | 0 | 0
30 | 0.99425 | -0.11066 | 0.00032429 | 8.1276e-05
31 | 0.99421 | -0.11141 | 0.00060003 | 0.00015038
32 | 0.99411 | -0.11331 | 0 | 0
33 | 0.99408 | -0.11384 | 0 | 0
34 | 0.99632 | -0.070728 | 0.0026628 | 0.00066736
35 | 0.99627 | -0.071699 | 0.0061787 | 0.0015485
36 | 0.99617 | -0.073589 | 0.0026477 | 0.00066358
37 | 0.99616 | -0.073798 | 0.0026594 | 0.00066651
38 | 0.99514 | -0.093463 | 0.0016407 | 0.0004112
39 | 0.99488 | -0.098361 | 0.0017371 | 0.00043536
40 | 0.9944 | -0.10768 | 0.0027868 | 0.00069844
41 | 0.99435 | -0.10873 | 0.0041098 | 0.00103
42 | 0.9947 | -0.1019 | 0 | 0
43 | 0.99403 | -0.11481 | 0.0010357 | 0.00025958
44 | 0.99398 | -0.11578 | 0.0013072 | 0.00032761
45 | 0.99398 | -0.1158 | 0.00064029 | 0.00016047
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0069618 | -0.0017444 | 0.0069627 | 0.0017447 | 8.2064e-07 | 2.6215e-07 | 0.010403 | 0.010403 | 0.010403 | 0.99576 | -0.081562 | 0.99589 | -0.079087 | 2.858
1 | 0.0069618 | 0.0017444 | -0.00696 | -0.0017438 | 1.8465e-06 | 5.9013e-07 | 0.010403 | 0.010404 | 0.010404 | 0.99576 | -0.081562 | 0.99547 | -0.087131 | 2.8581
2 | -0.01611 | -0.0040372 | 0.016121 | 0.0040434 | 1.073e-05 | 6.2243e-06 | 0.024071 | 0.024071 | 0.024071 | 0.99589 | -0.079087 | 0.99661 | -0.065114 | 6.6129
3 | 0.0039973 | 0.0010013 | -0.0039964 | -0.0010016 | 8.9543e-07 | -2.9623e-07 | 0.0059749 | 0.0059752 | 0.0059752 | 0.99547 | -0.087131 | 0.99523 | -0.091835 | 1.6415
4 | 0.014153 | 0.0035484 | -0.01415 | -0.0035463 | 3.7851e-06 | 2.128e-06 | 0.021133 | 0.021133 | 0.021133 | 0.99661 | -0.065114 | 0.99632 | -0.070728 | 5.8057
5 | -0.033062 | -0.0082905 | 0.033084 | 0.0083045 | 2.24e-05 | 1.4016e-05 | 0.049366 | 0.049365 | 0.049366 | 0.99661 | -0.065114 | 0.99735 | -0.050909 | 13.562
6 | -0.0099139 | -0.0024847 | 0.009916 | 0.0024857 | 2.1291e-06 | 1.027e-06 | 0.014826 | 0.014826 | 0.014826 | 0.99503 | -0.095593 | 0.99526 | -0.091086 | 4.073
7 | 0.007001 | 0.0017546 | -0.0070006 | -0.0017545 | 4.0009e-07 | 1.2964e-07 | 0.01047 | 0.01047 | 0.01047 | 0.99503 | -0.095593 | 0.99497 | -0.096793 | 2.8763
8 | -0.012578 | -0.0031529 | 0.012579 | 0.0031536 | 1.2847e-06 | 6.9629e-07 | 0.018806 | 0.018805 | 0.018806 | 0.99526 | -0.091086 | 0.99537 | -0.088942 | 5.1664
9 | 0.01334 | 0.0033441 | -0.013335 | -0.0033417 | 4.4049e-06 | 2.4354e-06 | 0.019942 | 0.019943 | 0.019943 | 0.99537 | -0.088942 | 0.99501 | -0.095875 | 5.4787
10 | -0.025919 | -0.0064977 | 0.025929 | 0.0065036 | 9.4988e-06 | 5.8598e-06 | 0.038748 | 0.038748 | 0.038748 | 0.99537 | -0.088942 | 0.99577 | -0.081254 | 10.645
11 | 0.011753 | 0.0029452 | -0.011752 | -0.0029443 | 1.6769e-06 | 8.8523e-07 | 0.017576 | 0.017577 | 0.017577 | 0.99501 | -0.095875 | 0.99486 | -0.09887 | 4.8287
12 | -0.029673 | -0.007442 | 0.029686 | 0.0074503 | 1.3281e-05 | 8.2654e-06 | 0.044343 | 0.044343 | 0.044343 | 0.99577 | -0.081254 | 0.99626 | -0.071869 | 12.1823
13 | -0.029033 | -0.0072763 | 0.029054 | 0.0072894 | 2.1033e-05 | 1.3071e-05 | 0.043336 | 0.043335 | 0.043336 | 0.99691 | -0.059427 | 0.9977 | -0.044232 | 11.9054
14 | 0.0060614 | 0.0015191 | -0.0060597 | -0.0015187 | 1.7044e-06 | 3.6709e-07 | 0.0090474 | 0.0090476 | 0.0090476 | 0.99691 | -0.059427 | 0.9966 | -0.065331 | 2.4856
15 | 0.038063 | 0.0095569 | -0.038051 | -0.0095493 | 1.212e-05 | 7.6258e-06 | 0.056776 | 0.056776 | 0.056776 | 0.9977 | -0.044232 | 0.99735 | -0.050909 | 15.5977
16 | -0.067117 | -0.016846 | 0.067259 | 0.016937 | 0.00014191 | 9.0331e-05 | 0.10011 | 0.10011 | 0.10011 | 0.9977 | -0.044232 | 1 | 0 | 27.503
17 | 0.072445 | 0.018277 | -0.072197 | -0.018118 | 0.00024836 | 0.00015821 | 0.10784 | 0.10784 | 0.10784 | 1 | 0 | 0.99626 | -0.071869 | 29.627
18 | 0.014571 | 0.0036539 | -0.014568 | -0.0036525 | 2.3635e-06 | 1.3394e-06 | 0.021764 | 0.021764 | 0.021764 | 0.99626 | -0.071869 | 0.99608 | -0.075273 | 5.9791
19 | 0.02794 | 0.0070142 | -0.027927 | -0.0070063 | 1.2704e-05 | 7.8773e-06 | 0.041735 | 0.041735 | 0.041735 | 0.99626 | -0.071869 | 0.99576 | -0.081405 | 11.4658
20 | 0.010081 | 0.0025255 | -0.010079 | -0.0025248 | 1.4208e-06 | 6.9291e-07 | 0.015077 | 0.015077 | 0.015077 | 0.99486 | -0.09887 | 0.99471 | -0.10183 | 4.1422
21 | 0.008496 | 0.002128 | -0.0084949 | -0.0021276 | 1.0788e-06 | 4.5928e-07 | 0.012709 | 0.012709 | 0.012709 | 0.99471 | -0.10183 | 0.99457 | -0.1045 | 3.4915
22 | 0.006825 | 0.0017091 | -0.006824 | -0.0017087 | 1.068e-06 | 3.2908e-07 | 0.010211 | 0.010211 | 0.010211 | 0.99457 | -0.1045 | 0.9944 | -0.10778 | 2.8052
23 | 0.004884 | 0.0012227 | -0.0048837 | -0.0012227 | 2.4927e-07 | -1.9249e-09 | 0.0073079 | 0.0073079 | 0.0073079 | 0.9944 | -0.10778 | 0.99434 | -0.10886 | 2.0077
24 | 0.00194 | 0.00048608 | -0.00194 | -0.0004862 | 3.5478e-08 | -1.2293e-07 | 0.002903 | 0.002903 | 0.002903 | 0.9944 | -0.10778 | 0.99438 | -0.10817 | 0.79753
25 | 0.013117 | 0.0032888 | -0.013113 | -0.0032863 | 4.5657e-06 | 2.5095e-06 | 0.019596 | 0.019596 | 0.019596 | 0.99608 | -0.075273 | 0.9957 | -0.082579 | 5.3835
26 | 0.023917 | 0.0060012 | -0.023909 | -0.0059966 | 7.6219e-06 | 4.6711e-06 | 0.035743 | 0.035743 | 0.035743 | 0.99576 | -0.081405 | 0.99542 | -0.088091 | 9.8195
27 | 0.0186 | 0.004666 | -0.018596 | -0.0046632 | 4.7625e-06 | 2.8345e-06 | 0.027807 | 0.027807 | 0.027807 | 0.99542 | -0.088091 | 0.99514 | -0.093463 | 7.6392
28 | -0.0020086 | -0.0005034 | 0.0020087 | 0.00050303 | 1.137e-07 | -3.626e-07 | 0.0030058 | 0.0030056 | 0.0030058 | 0.99435 | -0.10866 | 0.99441 | -0.10747 | 0.82576
29 | -0.0083105 | -0.0020824 | 0.0083113 | 0.0020827 | 8.0315e-07 | 3.3432e-07 | 0.012435 | 0.012435 | 0.012435 | 0.99441 | -0.10747 | 0.99452 | -0.10544 | 3.4163
30 | 0.0039085 | 0.00097825 | -0.0039082 | -0.00097838 | 3.3616e-07 | -1.2475e-07 | 0.0058486 | 0.0058487 | 0.0058487 | 0.99434 | -0.10886 | 0.99425 | -0.11066 | 1.6068
31 | -0.015209 | -0.0038114 | 0.015211 | 0.0038128 | 2.5692e-06 | 1.4726e-06 | 0.022756 | 0.022756 | 0.022756 | 0.99452 | -0.10544 | 0.9947 | -0.1019 | 6.2515
32 | 0.0068975 | 0.0017286 | -0.0068968 | -0.0017284 | 7.3508e-07 | 2.3166e-07 | 0.01032 | 0.01032 | 0.01032 | 0.99452 | -0.10544 | 0.9944 | -0.10768 | 2.8352
33 | 0.0035839 | 0.0008971 | -0.0035838 | -0.00089717 | 1.2802e-07 | -7.1969e-08 | 0.0053634 | 0.0053634 | 0.0053634 | 0.99425 | -0.11066 | 0.99421 | -0.11141 | 1.4735
34 | 0.0029838 | 0.00074679 | -0.0029835 | -0.00074709 | 2.6954e-07 | -2.9489e-07 | 0.0044654 | 0.0044655 | 0.0044655 | 0.99421 | -0.11141 | 0.99411 | -0.11331 | 1.2268
35 | 0.0029835 | 0.00074709 | -0.0029834 | -0.00074717 | 7.5662e-08 | -8.2755e-08 | 0.0044655 | 0.0044656 | 0.0044656 | 0.99411 | -0.11331 | 0.99408 | -0.11384 | 1.2268
36 | 0.0029834 | 0.00074717 | -0.0029833 | -0.00074732 | 1.3754e-07 | -1.504e-07 | 0.0044656 | 0.0044657 | 0.0044657 | 0.99408 | -0.11384 | 0.99403 | -0.11481 | 1.2268
37 | 0.011487 | 0.0028789 | -0.011486 | -0.0028786 | 5.3111e-07 | 2.7724e-07 | 0.017156 | 0.017156 | 0.017156 | 0.99632 | -0.070728 | 0.99627 | -0.071699 | 4.7131
38 | 0.0053076 | 0.0013301 | -0.0053071 | -0.00133 | 4.7806e-07 | 4.1832e-08 | 0.0079274 | 0.0079274 | 0.0079274 | 0.99627 | -0.071699 | 0.99617 | -0.073589 | 2.1779
39 | 0.0026594 | 0.00066646 | -0.0026594 | -0.00066651 | 2.6417e-08 | -4.1211e-08 | 0.0039724 | 0.0039725 | 0.0039725 | 0.99617 | -0.073589 | 0.99616 | -0.073798 | 1.0913
40 | 0.016955 | 0.004252 | -0.016951 | -0.0042497 | 3.9573e-06 | 2.3194e-06 | 0.025353 | 0.025354 | 0.025354 | 0.99514 | -0.093463 | 0.99488 | -0.098361 | 6.9653
41 | 0.015214 | 0.0038143 | -0.015211 | -0.0038128 | 2.5636e-06 | 1.4693e-06 | 0.022755 | 0.022756 | 0.022756 | 0.99488 | -0.098361 | 0.9947 | -0.1019 | 6.2515
42 | 0.00411 | 0.0010299 | -0.0041098 | -0.00103 | 2.0494e-07 | -5.6268e-08 | 0.0061501 | 0.0061501 | 0.0061501 | 0.9944 | -0.10768 | 0.99435 | -0.10873 | 1.6896
43 | 0.0019476 | 0.00048774 | -0.0019475 | -0.00048805 | 8.9245e-08 | -3.0585e-07 | 0.0029153 | 0.0029154 | 0.0029154 | 0.99403 | -0.11481 | 0.99398 | -0.11578 | 0.80093
44 | 0.00064029 | 0.00016044 | -0.00064029 | -0.00016047 | 8.0963e-10 | -2.994e-08 | 0.00095851 | 0.00095852 | 0.00095852 | 0.99398 | -0.11578 | 0.99398 | -0.1158 | 0.26333

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.14901 | 0.037131

## res_load
| p_mw | q_mvar
0 | 0.0091474 | 0.0022925
1 | 0.0029627 | 0.00074252
2 | 0.0027877 | 0.00069867
3 | 0.0039964 | 0.0010016
4 | 0.0029129 | 0.00073005
5 | 0.002662 | 0.00066716
6 | 0.0070006 | 0.0017545
7 | 0.0015822 | 0.00039653
8 | 0.0037445 | 0.00093847
9 | 0.022972 | 0.0057572
10 | 0.0060597 | 0.0015187
11 | 0.0049667 | 0.0012448
12 | 0.0076512 | 0.0019176
13 | 0.0016709 | 0.00041876
14 | 0.0015833 | 0.00039681
15 | 0.0016698 | 0.0004185
16 | 0.0014512 | 0.00036371
17 | 0.0040102 | 0.001005
18 | 0.013113 | 0.0032863
19 | 0.005309 | 0.0013306
20 | 0.00194 | 0.0004862
21 | 0.0020086 | 0.0005034
22 | 0.0063018 | 0.0015794
23 | 0.00097517 | 0.0002444
24 | 0.00032429 | 8.1276e-05
25 | 0.00060003 | 0.00015038
26 | 0.0026628 | 0.00066736
27 | 0.0061787 | 0.0015485
28 | 0.0026477 | 0.00066358
29 | 0.0026594 | 0.00066651
30 | 0.0016407 | 0.0004112
31 | 0.0017371 | 0.00043536
32 | 0.0027868 | 0.00069844
33 | 0.0041098 | 0.00103
34 | 0.0010357 | 0.00025958
35 | 0.0013072 | 0.00032761
36 | 0.00064029 | 0.00016047

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1