## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2305-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2305-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2305-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2305-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2305-5_0_3_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_2305-5_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2305-5_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2305-5_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2305-5_0_3_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_2305-5_0_3_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_2305-5_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2305-5_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2305-5_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2305-5_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2305-5_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2305-5_0_3_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_2305-5_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2305-5_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2305-5_0_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_2305-5_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_2305-5_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_2305-5_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2305-5_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_2305-5_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2305-5_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2305-5_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2305-5_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2305-5_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2305-5_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2305-5_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2305-5_0_3_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_2305-5_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2305-5_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_2305-5_0_3_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_2305-5_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2305-5_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_2305-5_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2305-5_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_2305-5_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2305-5_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_2305-5_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2305-5_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2305-5_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2305-5_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_2305-5_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2305-5_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2305-5_0_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_2305-5_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_2305-5_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_2305-5_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_2305-5_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2305-5_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_2305-5_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_2305-5_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2305-5_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2305-5_0_3_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_2305-5_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_2305-5_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_2305-5_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_2305-5_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_2305-5_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2305-5_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_2305-5_0_3_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_2305-5_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_2305-5_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_2305-5_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_2305-5_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_2305-5_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_2305-5_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_MV_119_1_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2305-5_0_3_load_0 | 0 | 0.0074945 | 0.0018783 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2305-5_0_3_load_62 | 4 | 0.01025 | 0.0025688 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2305-5_0_3_load_7 | 5 | 0.010461 | 0.0026218 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2305-5_0_3_load_5 | 6 | 0.0044064 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2305-5_0_3_load_52 | 9 | 0.014747 | 0.0036959 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2305-5_0_3_load_8 | 12 | 0.0058177 | 0.0014581 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2305-5_0_3_load_15 | 14 | 0.0025251 | 0.00063284 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2305-5_0_3_load_68 | 15 | 0.0023371 | 0.00058573 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2305-5_0_3_load_19 | 16 | 0.0035368 | 0.0008864 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2305-5_0_3_load_20 | 17 | 0.0057164 | 0.0014327 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2305-5_0_3_load_49 | 19 | 0.0046411 | 0.0011632 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2305-5_0_3_load_22 | 22 | 0.033622 | 0.0084266 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2305-5_0_3_load_10 | 23 | 0.013319 | 0.0033382 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2305-5_0_3_load_11 | 24 | 0.0026244 | 0.00065773 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2305-5_0_3_load_12 | 25 | 0.0025486 | 0.00063874 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2305-5_0_3_load_13 | 26 | 0.005918 | 0.0014832 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2305-5_0_3_load_14 | 27 | 0.0062962 | 0.001578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2305-5_0_3_load_16 | 28 | 0.0048875 | 0.0012249 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2305-5_0_3_load_50 | 32 | 0.008795 | 0.0022042 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2305-5_0_3_load_61 | 33 | 0.011101 | 0.0027821 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2305-5_0_3_load_42 | 34 | 0.004515 | 0.0011316 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2305-5_0_3_load_40 | 36 | 0.0037497 | 0.00093975 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2305-5_0_3_load_21 | 38 | 0.0017987 | 0.00045079 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2305-5_0_3_load_23 | 39 | 0.0098619 | 0.0024716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2305-5_0_3_load_34 | 41 | 0.030607 | 0.0076707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2305-5_0_3_load_58 | 43 | 0.055808 | 0.013987 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2305-5_0_3_load_38 | 44 | 0.01018 | 0.0025515 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2305-5_0_3_load_59 | 46 | 0.054345 | 0.01362 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2305-5_0_3_load_28 | 47 | 0.0046627 | 0.0011686 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2305-5_0_3_load_29 | 48 | 0.011508 | 0.0028841 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2305-5_0_3_load_31 | 50 | 0.0029611 | 0.00074212 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2305-5_0_3_load_33 | 51 | 0.0052461 | 0.0013148 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2305-5_0_3_load_32 | 52 | 0.010322 | 0.002587 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2305-5_0_3_load_39 | 54 | 0.004205 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2305-5_0_3_load_36 | 55 | 0.0085076 | 0.0021322 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2305-5_0_3_load_45 | 56 | 0.003954 | 0.00099097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2305-5_0_3_load_66 | 58 | 0.0041757 | 0.0010465 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2305-5_0_3_load_46 | 59 | 0.0039923 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2305-5_0_3_load_57 | 60 | 0.0021298 | 0.00053378 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2305-5_0_3_load_54 | 61 | 0.0014598 | 0.00036587 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2305-5_0_3_load_47 | 63 | 0.018531 | 0.0046443 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2305-5_0_3_load_55 | 64 | 0.0020006 | 0.0005014 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2305-5_0_3_load_60 | 65 | 0.0061484 | 0.0015409 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2305-5_0_3_load_63 | 66 | 0.00030915 | 7.748e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2305-5_0_3_load_67 | 68 | 0.0007878 | 0.00019744 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2305-5_0_3_line_0 |  | 0 | 1 | 0.06361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2305-5_0_3_line_1 |  | 1 | 2 | 0.11714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2305-5_0_3_line_2 |  | 1 | 3 | 0.069279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2305-5_0_3_line_3 |  | 2 | 4 | 0.018925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2305-5_0_3_line_4 |  | 3 | 5 | 0.025157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2305-5_0_3_line_5 |  | 3 | 6 | 0.027858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2305-5_0_3_line_6 |  | 4 | 7 | 0.031534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2305-5_0_3_line_7 |  | 5 | 10 | 0.01647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2305-5_0_3_line_8 |  | 6 | 11 | 0.019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2305-5_0_3_line_9 |  | 7 | 8 | 0.037454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2305-5_0_3_line_10 |  | 8 | 9 | 0.013902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2305-5_0_3_line_11 |  | 10 | 16 | 0.028421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2305-5_0_3_line_12 |  | 10 | 17 | 0.019472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2305-5_0_3_line_13 |  | 11 | 12 | 0.058294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2305-5_0_3_line_14 |  | 11 | 13 | 0.075816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2305-5_0_3_line_15 |  | 12 | 14 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2305-5_0_3_line_16 |  | 13 | 15 | 0.035459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2305-5_0_3_line_17 |  | 15 | 18 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2305-5_0_3_line_18 |  | 16 | 38 | 0.0030513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2305-5_0_3_line_19 |  | 18 | 19 | 0.012096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2305-5_0_3_line_20 |  | 19 | 37 | 0.032975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2305-5_0_3_line_21 |  | 19 | 63 | 0.014139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2305-5_0_3_line_22 |  | 20 | 21 | 0.031578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2305-5_0_3_line_23 |  | 20 | 22 | 0.042634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2305-5_0_3_line_24 |  | 21 | 43 | 0.046758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2305-5_0_3_line_25 |  | 22 | 39 | 0.0066524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2305-5_0_3_line_26 |  | 23 | 24 | 0.010634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2305-5_0_3_line_27 |  | 23 | 25 | 0.0026747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2305-5_0_3_line_28 |  | 24 | 26 | 0.010541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2305-5_0_3_line_29 |  | 25 | 27 | 0.0081697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2305-5_0_3_line_30 |  | 26 | 28 | 0.021559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2305-5_0_3_line_31 |  | 28 | 29 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2305-5_0_3_line_32 |  | 29 | 30 | 0.047039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2305-5_0_3_line_33 |  | 29 | 31 | 0.16769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2305-5_0_3_line_34 |  | 29 | 32 | 0.026243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2305-5_0_3_line_35 |  | 30 | 33 | 0.074006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2305-5_0_3_line_36 |  | 31 | 34 | 0.018772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2305-5_0_3_line_37 |  | 31 | 35 | 0.13322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2305-5_0_3_line_38 |  | 31 | 36 | 0.026838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2305-5_0_3_line_39 |  | 32 | 37 | 0.0090699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2305-5_0_3_line_40 |  | 34 | 56 | 0.03349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2305-5_0_3_line_41 |  | 35 | 57 | 0.056654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2305-5_0_3_line_42 |  | 35 | 58 | 0.14815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2305-5_0_3_line_43 |  | 36 | 50 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2305-5_0_3_line_44 |  | 39 | 40 | 0.066484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2305-5_0_3_line_45 |  | 40 | 41 | 0.042923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2305-5_0_3_line_46 |  | 40 | 42 | 0.039145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2305-5_0_3_line_47 |  | 41 | 45 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2305-5_0_3_line_48 |  | 42 | 44 | 0.0018312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2305-5_0_3_line_49 |  | 43 | 46 | 0.03763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2305-5_0_3_line_50 |  | 45 | 55 | 0.012001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2305-5_0_3_line_51 |  | 45 | 53 | 0.02485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2305-5_0_3_line_52 |  | 47 | 48 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2305-5_0_3_line_53 |  | 47 | 49 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2305-5_0_3_line_54 |  | 48 | 50 | 0.0044045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2305-5_0_3_line_55 |  | 49 | 51 | 0.0071655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2305-5_0_3_line_56 |  | 51 | 54 | 0.021447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2305-5_0_3_line_57 |  | 52 | 53 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2305-5_0_3_line_58 |  | 53 | 54 | 0.0046259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2305-5_0_3_line_59 |  | 56 | 59 | 0.029727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2305-5_0_3_line_60 |  | 57 | 60 | 0.016831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2305-5_0_3_line_61 |  | 57 | 61 | 0.034481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2305-5_0_3_line_62 |  | 58 | 62 | 0.031264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2305-5_0_3_line_63 |  | 60 | 65 | 0.013567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2305-5_0_3_line_64 |  | 61 | 64 | 0.00085177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2305-5_0_3_line_65 |  | 62 | 66 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2305-5_0_3_line_66 |  | 66 | 67 | 0.16755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2305-5_0_3_line_67 |  | 67 | 68 | 0.1543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2305-5_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 69 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2585511.4937 | 1189169.1224 | 2585549.2119 | 1189165.073 | 2585556.2228 | 1189165.9565 | 2585560.5148 | 1189171.5601 | 2585563.7803 | 1189182.6389
1 | 2585599.8364 | 1189127.2639 | 2585562.6377 | 1189134.958 | 2585566.558 | 1189153.9251 | 2585526.2809 | 1189162.6608 | 2585511.2799 | 1189165.9101 | 2585511.4937 | 1189169.1224
2 | 2585511.4937 | 1189169.1224 | 2585496.1304 | 1189170.7718 | 2585497.254 | 1189196.8271 | 2585498.4426 | 1189224.5499
3 | 2585599.8364 | 1189127.2639 | 2585595.5972 | 1189108.82
4 | 2585498.4426 | 1189224.5499 | 2585523.5009 | 1189222.3188
5 | 2585498.4426 | 1189224.5499 | 2585497.0649 | 1189252.3736
6 | 2585586.7157 | 1189081.9274 | 2585591.8993 | 1189109.2514 | 2585595.5972 | 1189108.82
7 | 2585539.906 | 1189220.8582 | 2585523.5009 | 1189222.3188
8 | 2585496.1094 | 1189271.6691 | 2585497.0649 | 1189252.3736
9 | 2585623.457 | 1189074.1345 | 2585586.7157 | 1189081.9274
10 | 2585623.457 | 1189074.1345 | 2585637.0404 | 1189071.1741
11 | 2585539.906 | 1189220.8582 | 2585543.307 | 1189223.8515 | 2585548.537 | 1189247.1625
12 | 2585559.3567 | 1189219.1212 | 2585539.906 | 1189220.8582
13 | 2585496.1094 | 1189271.6691 | 2585531.7524 | 1189267.5135 | 2585539.5174 | 1189264.9489 | 2585542.0739 | 1189262.4969 | 2585540.1222 | 1189251.9868
14 | 2585496.1094 | 1189271.6691 | 2585496.015 | 1189273.5926 | 2585519.218 | 1189278.2496 | 2585525.622 | 1189280.5353 | 2585534.1056 | 1189281.8042 | 2585540.4493 | 1189281.2329 | 2585542.8755 | 1189281.6828 | 2585545.8219 | 1189282.7651 | 2585559.7656 | 1189293.3591 | 2585561.9202 | 1189294.9991 | 2585564.029 | 1189296.606
15 | 2585540.1222 | 1189251.9868 | 2585537.0248 | 1189235.3067
16 | 2585564.029 | 1189296.606 | 2585586.0245 | 1189268.7937
17 | 2585596.383 | 1189275.9168 | 2585593.0823 | 1189273.379 | 2585586.0245 | 1189268.7937
18 | 2585549.205 | 1189250.1398 | 2585548.537 | 1189247.1625
19 | 2585603.5663 | 1189266.1721 | 2585596.383 | 1189275.9168
20 | 2585623.201 | 1189239.644 | 2585603.5663 | 1189266.1721
21 | 2585603.5663 | 1189266.1721 | 2585613.1964 | 1189271.6405 | 2585615.133 | 1189269.2651
22 | 2585704.1026 | 1189322.6038 | 2585689.1961 | 1189323.7624 | 2585672.6197 | 1189325.0474
23 | 2585672.6197 | 1189325.0474 | 2585673.6951 | 1189321.9432 | 2585702.9003 | 1189295.5725
24 | 2585704.1026 | 1189322.6038 | 2585727.0229 | 1189320.8367 | 2585728.362 | 1189297.1045
25 | 2585702.9003 | 1189295.5725 | 2585707.8378 | 1189291.1142
26 | 2585593.5857 | 1189182.6351 | 2585595.045 | 1189189.4636 | 2585597.8865 | 1189191.756
27 | 2585593.0267 | 1189180.0194 | 2585593.5857 | 1189182.6351
28 | 2585607.2033 | 1189196.4795 | 2585600.2793 | 1189193.6865 | 2585597.8865 | 1189191.756
29 | 2585591.3192 | 1189172.0301 | 2585593.0267 | 1189180.0194
30 | 2585627.1971 | 1189204.5446 | 2585607.2033 | 1189196.4795
31 | 2585644.632 | 1189211.5776 | 2585627.1971 | 1189204.5446
32 | 2585642.2097 | 1189174.842 | 2585655.1495 | 1189189.7075 | 2585658.0788 | 1189193.18 | 2585644.632 | 1189211.5776
33 | 2585644.632 | 1189211.5776 | 2585658.0788 | 1189193.18 | 2585676.567 | 1189168.5448 | 2585695.3039 | 1189142.664 | 2585737.571 | 1189085.8439 | 2585746.6628 | 1189092.6146
34 | 2585644.632 | 1189211.5776 | 2585628.7054 | 1189232.4354
35 | 2585642.2097 | 1189174.842 | 2585645.6883 | 1189172.0544 | 2585657.6691 | 1189162.4427 | 2585663.8666 | 1189161.2493 | 2585669.3095 | 1189157.0785 | 2585673.8235 | 1189150.4197 | 2585673.1366 | 1189143.8624 | 2585657.3007 | 1189132.9726 | 2585651.0149 | 1189129.5379
36 | 2585746.6628 | 1189092.6146 | 2585750.2959 | 1189087.4254 | 2585751.7424 | 1189079.9958 | 2585754.4668 | 1189075.9614
37 | 2585746.6628 | 1189092.6146 | 2585737.571 | 1189085.8439 | 2585764.9613 | 1189048.9924 | 2585776.8544 | 1189034.3674 | 2585797.7868 | 1189014.0623 | 2585821.0722 | 1188998.5987
38 | 2585746.6628 | 1189092.6146 | 2585761.8875 | 1189103.0169 | 2585766.1584 | 1189110.2487
39 | 2585623.201 | 1189239.644 | 2585628.7054 | 1189232.4354
40 | 2585773.8379 | 1189048.6891 | 2585769.5256 | 1189053.6617 | 2585754.4668 | 1189075.9614
41 | 2585821.0722 | 1188998.5987 | 2585816.1995 | 1188992.4849 | 2585814.1346 | 1188983.7075 | 2585817.4992 | 1188977.8186 | 2585827.8807 | 1188975.2814 | 2585834.7921 | 1188969.5397 | 2585838.088 | 1188963.651 | 2585838.2247 | 1188956.9805
42 | 2585821.0722 | 1188998.5987 | 2585834.7749 | 1188991.1733 | 2585849.3714 | 1188984.3573 | 2585867.3949 | 1188978.6114 | 2585879.6117 | 1188974.8916 | 2585894.3095 | 1188972.1664 | 2585944.7537 | 1188966.1995 | 2585963.6492 | 1188964.0357
43 | 2585766.1584 | 1189110.2487 | 2585767.5847 | 1189112.6639 | 2585763.2406 | 1189126.1061
44 | 2585698.3858 | 1189241.3416 | 2585722.2071 | 1189262.1175 | 2585721.8015 | 1189277.4154 | 2585713.692 | 1189285.8281 | 2585707.8378 | 1189291.1142
45 | 2585698.3858 | 1189241.3416 | 2585723.9506 | 1189206.8621
46 | 2585698.3858 | 1189241.3416 | 2585681.0844 | 1189264.6843 | 2585671.9679 | 1189260.2484
47 | 2585715.1049 | 1189200.9025 | 2585723.9506 | 1189206.8621
48 | 2585671.9679 | 1189260.2484 | 2585673.0446 | 1189258.7671
49 | 2585741.7804 | 1189270.197 | 2585729.8027 | 1189271.5709 | 2585728.362 | 1189297.1045
50 | 2585715.1049 | 1189200.9025 | 2585708.0489 | 1189210.6098
51 | 2585730.2878 | 1189181.3002 | 2585727.8523 | 1189183.3627 | 2585715.1049 | 1189200.9025
52 | 2585754.9189 | 1189142.6321 | 2585761.5315 | 1189130.1472
53 | 2585748.8996 | 1189153.9969 | 2585754.9189 | 1189142.6321
54 | 2585763.2406 | 1189126.1061 | 2585762.5655 | 1189128.1951 | 2585761.5315 | 1189130.1472
55 | 2585748.8996 | 1189153.9969 | 2585745.1229 | 1189160.0864
56 | 2585745.1229 | 1189160.0864 | 2585733.8193 | 1189178.3124
57 | 2585730.2878 | 1189181.3002 | 2585726.1709 | 1189178.6865 | 2585726.1403 | 1189165.9466 | 2585727.5196 | 1189164.1536
58 | 2585730.2878 | 1189181.3002 | 2585733.8193 | 1189178.3124
59 | 2585798.133 | 1189034.5167 | 2585786.5211 | 1189035.934 | 2585779.6791 | 1189041.9535 | 2585773.8379 | 1189048.6891
60 | 2585838.2247 | 1188956.9805 | 2585832.6298 | 1188951.8912 | 2585823.3675 | 1188951.5659
61 | 2585838.2247 | 1188956.9805 | 2585843.4742 | 1188948.3413 | 2585845.9731 | 1188937.5853 | 2585846.3524 | 1188924.2617
62 | 2585994.7105 | 1188960.4788 | 2585963.6492 | 1188964.0357
63 | 2585809.8087 | 1188951.0896 | 2585823.3675 | 1188951.5659
64 | 2585846.3524 | 1188924.2617 | 2585846.3766 | 1188923.4103
65 | 2585994.7105 | 1188960.4788 | 2586005.0466 | 1188959.3417
66 | 2586171.5275 | 1188940.4549 | 2586147.1813 | 1188943.0017 | 2586051.4005 | 1188954.2424 | 2586005.0466 | 1188959.3417
67 | 2586171.5275 | 1188940.4549 | 2586188.425 | 1189024.3706 | 2586195.6498 | 1189054.981 | 2586192.8953 | 1189060.9905 | 2586163.0002 | 1189068.0303

## bus_geodata
| x | y | coords
0 | 2585563.7803 | 1189182.6389
1 | 2585511.4937 | 1189169.1224
2 | 2585599.8364 | 1189127.2639
3 | 2585498.4426 | 1189224.5499
4 | 2585595.5972 | 1189108.82
5 | 2585523.5009 | 1189222.3188
6 | 2585497.0649 | 1189252.3736
7 | 2585586.7157 | 1189081.9274
8 | 2585623.457 | 1189074.1345
9 | 2585637.0404 | 1189071.1741
10 | 2585539.906 | 1189220.8582
11 | 2585496.1094 | 1189271.6691
12 | 2585540.1222 | 1189251.9868
13 | 2585564.029 | 1189296.606
14 | 2585537.0248 | 1189235.3067
15 | 2585586.0245 | 1189268.7937
16 | 2585548.537 | 1189247.1625
17 | 2585559.3567 | 1189219.1212
18 | 2585596.383 | 1189275.9168
19 | 2585603.5663 | 1189266.1721
20 | 2585672.6197 | 1189325.0474
21 | 2585704.1026 | 1189322.6038
22 | 2585702.9003 | 1189295.5725
23 | 2585593.5857 | 1189182.6351
24 | 2585597.8865 | 1189191.756
25 | 2585593.0267 | 1189180.0194
26 | 2585607.2033 | 1189196.4795
27 | 2585591.3192 | 1189172.0301
28 | 2585627.1971 | 1189204.5446
29 | 2585644.632 | 1189211.5776
30 | 2585642.2097 | 1189174.842
31 | 2585746.6628 | 1189092.6146
32 | 2585628.7054 | 1189232.4354
33 | 2585651.0149 | 1189129.5379
34 | 2585754.4668 | 1189075.9614
35 | 2585821.0722 | 1188998.5987
36 | 2585766.1584 | 1189110.2487
37 | 2585623.201 | 1189239.644
38 | 2585549.205 | 1189250.1398
39 | 2585707.8378 | 1189291.1142
40 | 2585698.3858 | 1189241.3416
41 | 2585723.9506 | 1189206.8621
42 | 2585671.9679 | 1189260.2484
43 | 2585728.362 | 1189297.1045
44 | 2585673.0446 | 1189258.7671
45 | 2585715.1049 | 1189200.9025
46 | 2585741.7804 | 1189270.197
47 | 2585754.9189 | 1189142.6321
48 | 2585761.5315 | 1189130.1472
49 | 2585748.8996 | 1189153.9969
50 | 2585763.2406 | 1189126.1061
51 | 2585745.1229 | 1189160.0864
52 | 2585727.5196 | 1189164.1536
53 | 2585730.2878 | 1189181.3002
54 | 2585733.8193 | 1189178.3124
55 | 2585708.0489 | 1189210.6098
56 | 2585773.8379 | 1189048.6891
57 | 2585838.2247 | 1188956.9805
58 | 2585963.6492 | 1188964.0357
59 | 2585798.133 | 1189034.5167
60 | 2585823.3675 | 1188951.5659
61 | 2585846.3524 | 1188924.2617
62 | 2585994.7104 | 1188960.4788
63 | 2585615.133 | 1189269.2651
64 | 2585846.3766 | 1188923.4103
65 | 2585809.8087 | 1188951.0896
66 | 2586005.0466 | 1188959.3417
67 | 2586171.5275 | 1188940.4549
68 | 2586163.0002 | 1189068.0303
69 | 2585715.1049 | 1189200.9025

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97556 | -0.47119 | 0.0074945 | 0.0018783
1 | 0.976 | -0.46246 | 0 | 0
2 | 0.97327 | -0.51619 | 0 | 0
3 | 0.97705 | -0.44188 | 0 | 0
4 | 0.97283 | -0.5249 | 0.01025 | 0.0025688
5 | 0.97655 | -0.45177 | 0.010461 | 0.0026218
6 | 0.97752 | -0.43273 | 0.0044064 | 0.0011043
7 | 0.9724 | -0.53347 | 0 | 0
8 | 0.97188 | -0.54366 | 0 | 0
9 | 0.97169 | -0.54744 | 0.014747 | 0.0036959
10 | 0.97638 | -0.4551 | 0 | 0
11 | 0.97787 | -0.42587 | 0 | 0
12 | 0.97742 | -0.43474 | 0.0058177 | 0.0014581
13 | 0.97944 | -0.39515 | 0 | 0
14 | 0.97738 | -0.43552 | 0.0025251 | 0.00063284
15 | 0.98017 | -0.38082 | 0.0023371 | 0.00058573
16 | 0.97624 | -0.45787 | 0.0035368 | 0.0008864
17 | 0.97628 | -0.45713 | 0.0057164 | 0.0014327
18 | 0.98044 | -0.37557 | 0 | 0
19 | 0.9807 | -0.37051 | 0.0046411 | 0.0011632
20 | 0.98773 | -0.23421 | 0 | 0
21 | 0.9845 | -0.29656 | 0 | 0
22 | 0.99208 | -0.15068 | 0.033622 | 0.0084266
23 | 0.98103 | -0.36418 | 0.013319 | 0.0033382
24 | 0.98125 | -0.35991 | 0.0026244 | 0.00065773
25 | 0.98101 | -0.36461 | 0.0025486 | 0.00063874
26 | 0.98149 | -0.35518 | 0.005918 | 0.0014832
27 | 0.98096 | -0.36554 | 0.0062962 | 0.001578
28 | 0.9821 | -0.34321 | 0.0048875 | 0.0012249
29 | 0.98272 | -0.33113 | 0 | 0
30 | 0.98224 | -0.34056 | 0 | 0
31 | 0.99038 | -0.18316 | 0 | 0
32 | 0.9819 | -0.3471 | 0.008795 | 0.0022042
33 | 0.98148 | -0.35541 | 0.011101 | 0.0027821
34 | 0.99017 | -0.18732 | 0.004515 | 0.0011316
35 | 0.9883 | -0.22357 | 0 | 0
36 | 0.99185 | -0.15502 | 0.0037497 | 0.00093975
37 | 0.98164 | -0.35215 | 0 | 0
38 | 0.97623 | -0.45797 | 0.0017987 | 0.00045079
39 | 0.99252 | -0.14221 | 0.0098619 | 0.0024716
40 | 0.99567 | -0.082156 | 0 | 0
41 | 0.99783 | -0.041033 | 0.030607 | 0.0076707
42 | 0.99531 | -0.089165 | 0 | 0
43 | 0.97973 | -0.38963 | 0.055808 | 0.013987
44 | 0.99529 | -0.089493 | 0.01018 | 0.0025515
45 | 0.99847 | -0.028939 | 0 | 0
46 | 0.97783 | -0.42684 | 0.054345 | 0.01362
47 | 0.9939 | -0.11589 | 0.0046627 | 0.0011686
48 | 0.99304 | -0.13215 | 0.011508 | 0.0028841
49 | 0.99469 | -0.10076 | 0 | 0
50 | 0.99279 | -0.13693 | 0.0029611 | 0.00074212
51 | 0.99513 | -0.092339 | 0.0052461 | 0.0013148
52 | 0.9966 | -0.064451 | 0.010322 | 0.002587
53 | 0.99679 | -0.060851 | 0 | 0
54 | 0.99649 | -0.066523 | 0.004205 | 0.0010539
55 | 1 | 0 | -0.42208 | -0.10771
56 | 0.98992 | -0.19206 | 0.003954 | 0.00099097
57 | 0.98769 | -0.23545 | 0 | 0
58 | 0.98758 | -0.23756 | 0.0041757 | 0.0010465
59 | 0.98981 | -0.19417 | 0.0039923 | 0.0010006
60 | 0.98756 | -0.23794 | 0.0021298 | 0.00053378
61 | 0.98758 | -0.23758 | 0.0014598 | 0.00036587
62 | 0.98755 | -0.23818 | 0 | 0
63 | 0.98046 | -0.37526 | 0.018531 | 0.0046443
64 | 0.98758 | -0.23761 | 0.0020006 | 0.0005014
65 | 0.98749 | -0.23943 | 0.0061484 | 0.0015409
66 | 0.98754 | -0.23838 | 0.00030915 | 7.748e-05
67 | 0.98742 | -0.24077 | 0 | 0
68 | 0.98731 | -0.24295 | 0.0007878 | 0.00019744
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0074945 | -0.0018783 | 0.0074976 | 0.0018795 | 3.117e-06 | 1.2003e-06 | 0.011431 | 0.011431 | 0.011431 | 0.97556 | -0.47119 | 0.976 | -0.46246 | 3.1405
1 | 0.025087 | 0.0063199 | -0.025023 | -0.0062802 | 6.4298e-05 | 3.9691e-05 | 0.038259 | 0.03826 | 0.03826 | 0.976 | -0.46246 | 0.97327 | -0.51619 | 10.5109
2 | -0.032584 | -0.0081994 | 0.032617 | 0.0082182 | 3.2073e-05 | 1.8793e-05 | 0.04969 | 0.04969 | 0.04969 | 0.976 | -0.46246 | 0.97705 | -0.44188 | 6.8256
3 | 0.025023 | 0.0062802 | -0.025012 | -0.0062738 | 1.0388e-05 | 6.4135e-06 | 0.03826 | 0.03826 | 0.03826 | 0.97327 | -0.51619 | 0.97283 | -0.5249 | 10.511
4 | 0.021526 | 0.0053989 | -0.021516 | -0.0053927 | 1.014e-05 | 6.1748e-06 | 0.032785 | 0.032785 | 0.032785 | 0.97705 | -0.44188 | 0.97655 | -0.45177 | 9.0068
5 | -0.054142 | -0.013617 | 0.054166 | 0.013631 | 2.3686e-05 | 1.4112e-05 | 0.082474 | 0.082474 | 0.082474 | 0.97705 | -0.44188 | 0.97752 | -0.43273 | 7.5526
6 | 0.014763 | 0.003705 | -0.014757 | -0.0037015 | 6.0306e-06 | 3.4682e-06 | 0.022582 | 0.022583 | 0.022583 | 0.97283 | -0.5249 | 0.9724 | -0.53347 | 6.204
7 | 0.011055 | 0.0027709 | -0.011053 | -0.00277 | 1.7525e-06 | 9.1559e-07 | 0.016845 | 0.016845 | 0.016845 | 0.97655 | -0.45177 | 0.97638 | -0.4551 | 4.6278
8 | -0.058573 | -0.014736 | 0.058592 | 0.014747 | 1.9206e-05 | 1.1565e-05 | 0.089182 | 0.089181 | 0.089182 | 0.97752 | -0.43273 | 0.97787 | -0.42587 | 8.1668
9 | 0.014757 | 0.0037015 | -0.014749 | -0.0036974 | 7.1628e-06 | 4.1198e-06 | 0.022583 | 0.022583 | 0.022583 | 0.9724 | -0.53347 | 0.97188 | -0.54366 | 6.2041
10 | 0.014749 | 0.0036974 | -0.014747 | -0.0036959 | 2.6587e-06 | 1.5293e-06 | 0.022583 | 0.022583 | 0.022583 | 0.97188 | -0.54366 | 0.97169 | -0.54744 | 6.2041
11 | 0.0053362 | 0.0013373 | -0.0053355 | -0.0013372 | 7.0487e-07 | 9.5712e-08 | 0.0081323 | 0.0081325 | 0.0081325 | 0.97638 | -0.4551 | 0.97624 | -0.45787 | 2.2342
12 | 0.0057169 | 0.0014328 | -0.0057164 | -0.0014327 | 5.5431e-07 | 1.1125e-07 | 0.0087127 | 0.0087128 | 0.0087128 | 0.97638 | -0.4551 | 0.97628 | -0.45713 | 2.3936
13 | 0.0083464 | 0.0020923 | -0.0083429 | -0.0020907 | 3.5264e-06 | 1.5259e-06 | 0.012701 | 0.012701 | 0.012701 | 0.97787 | -0.42587 | 0.97742 | -0.43474 | 3.4893
14 | -0.066938 | -0.016839 | 0.067037 | 0.016899 | 9.837e-05 | 6.0099e-05 | 0.10188 | 0.10188 | 0.10188 | 0.97787 | -0.42587 | 0.97944 | -0.39515 | 9.3299
15 | 0.0025252 | 0.00063269 | -0.0025251 | -0.00063284 | 9.4021e-08 | -1.5245e-07 | 0.0038442 | 0.0038443 | 0.0038443 | 0.97742 | -0.43474 | 0.97738 | -0.43552 | 1.0561
16 | -0.067037 | -0.016899 | 0.067083 | 0.016928 | 4.6007e-05 | 2.8104e-05 | 0.10188 | 0.10188 | 0.10188 | 0.97944 | -0.39515 | 0.98017 | -0.38082 | 9.3298
17 | -0.06942 | -0.017513 | 0.069437 | 0.017524 | 1.7479e-05 | 1.0711e-05 | 0.10543 | 0.10543 | 0.10543 | 0.98017 | -0.38082 | 0.98044 | -0.37557 | 9.6546
18 | 0.0017987 | 0.00045076 | -0.0017987 | -0.00045079 | 8.6006e-09 | -3.2647e-08 | 0.0027416 | 0.0027416 | 0.0027416 | 0.97624 | -0.45787 | 0.97623 | -0.45797 | 0.75319
19 | -0.069437 | -0.017524 | 0.069454 | 0.017534 | 1.6806e-05 | 1.0298e-05 | 0.10543 | 0.10543 | 0.10543 | 0.98044 | -0.37557 | 0.9807 | -0.37051 | 9.6546
20 | -0.09263 | -0.023344 | 0.092712 | 0.023395 | 8.1476e-05 | 5.0895e-05 | 0.14059 | 0.14059 | 0.14059 | 0.9807 | -0.37051 | 0.98164 | -0.35215 | 12.8749
21 | 0.018535 | 0.0046468 | -0.018531 | -0.0046443 | 4.1939e-06 | 2.5057e-06 | 0.028124 | 0.028124 | 0.028124 | 0.9807 | -0.37051 | 0.98046 | -0.37526 | 7.7264
22 | 0.11107 | 0.028195 | -0.11074 | -0.027982 | 0.00033207 | 0.00021212 | 0.16746 | 0.16746 | 0.16746 | 0.98773 | -0.23421 | 0.9845 | -0.29656 | 46.0057
23 | -0.11107 | -0.028195 | 0.11152 | 0.028481 | 0.00044835 | 0.00028639 | 0.16746 | 0.16746 | 0.16746 | 0.98773 | -0.23421 | 0.99208 | -0.15068 | 46.0056
24 | 0.11074 | 0.027982 | -0.11025 | -0.027668 | 0.00049172 | 0.00031411 | 0.16746 | 0.16746 | 0.16746 | 0.9845 | -0.29656 | 0.97973 | -0.38963 | 46.0057
25 | -0.14514 | -0.036907 | 0.1452 | 0.036945 | 5.9218e-05 | 3.7728e-05 | 0.21789 | 0.21789 | 0.21789 | 0.99208 | -0.15068 | 0.99252 | -0.14221 | 29.9299
26 | -0.022165 | -0.005555 | 0.022169 | 0.0055578 | 4.507e-06 | 2.7502e-06 | 0.033619 | 0.033619 | 0.033619 | 0.98103 | -0.36418 | 0.98125 | -0.35991 | 9.236
27 | 0.0088453 | 0.0022169 | -0.0088451 | -0.0022168 | 1.8054e-07 | 8.1776e-08 | 0.013416 | 0.013416 | 0.013416 | 0.98103 | -0.36418 | 0.98101 | -0.36461 | 3.6858
28 | -0.024794 | -0.0062155 | 0.024799 | 0.006219 | 5.5878e-06 | 3.443e-06 | 0.037599 | 0.037599 | 0.037599 | 0.98125 | -0.35991 | 0.98149 | -0.35518 | 10.3294
29 | 0.0062965 | 0.0015781 | -0.0062962 | -0.001578 | 2.7945e-07 | 7.5706e-08 | 0.0095507 | 0.0095507 | 0.0095507 | 0.98101 | -0.36461 | 0.98096 | -0.36554 | 2.6238
30 | -0.030717 | -0.0077022 | 0.030735 | 0.0077131 | 1.7534e-05 | 1.0949e-05 | 0.046571 | 0.046571 | 0.046571 | 0.98149 | -0.35518 | 0.9821 | -0.34321 | 12.7942
31 | -0.035622 | -0.008938 | 0.035643 | 0.0089509 | 2.054e-05 | 1.2907e-05 | 0.053976 | 0.053976 | 0.053976 | 0.9821 | -0.34321 | 0.98272 | -0.33113 | 14.8286
32 | 0.011114 | 0.0027888 | -0.011109 | -0.0027862 | 4.996e-06 | 2.6018e-06 | 0.016829 | 0.016829 | 0.016829 | 0.98272 | -0.33113 | 0.98224 | -0.34056 | 4.6235
33 | -0.14836 | -0.037402 | 0.14942 | 0.038073 | 0.0010586 | 0.00067108 | 0.22473 | 0.22472 | 0.22473 | 0.98272 | -0.33113 | 0.99038 | -0.18316 | 20.5794
34 | 0.10161 | 0.025662 | -0.10153 | -0.025613 | 7.7719e-05 | 4.8743e-05 | 0.15392 | 0.15392 | 0.15392 | 0.98272 | -0.33113 | 0.9819 | -0.3471 | 14.0954
35 | 0.011109 | 0.0027862 | -0.011101 | -0.0027821 | 7.8604e-06 | 4.0946e-06 | 0.016829 | 0.01683 | 0.01683 | 0.98224 | -0.34056 | 0.98148 | -0.35541 | 4.6236
36 | 0.012466 | 0.003125 | -0.012463 | -0.0031237 | 2.4695e-06 | 1.339e-06 | 0.01873 | 0.01873 | 0.01873 | 0.99038 | -0.18316 | 0.99017 | -0.18732 | 5.1456
37 | 0.017056 | 0.0042824 | -0.017023 | -0.0042631 | 3.2815e-05 | 1.9291e-05 | 0.025629 | 0.02563 | 0.02563 | 0.99038 | -0.18316 | 0.9883 | -0.22357 | 7.0412
38 | -0.17894 | -0.04548 | 0.17919 | 0.045635 | 0.0002429 | 0.00015442 | 0.26908 | 0.26908 | 0.26908 | 0.99038 | -0.18316 | 0.99185 | -0.15502 | 24.6413
39 | 0.092734 | 0.023409 | -0.092712 | -0.023395 | 2.241e-05 | 1.3998e-05 | 0.14059 | 0.14059 | 0.14059 | 0.9819 | -0.3471 | 0.98164 | -0.35215 | 12.8749
40 | 0.0079485 | 0.0019921 | -0.0079467 | -0.0019914 | 1.792e-06 | 7.1619e-07 | 0.011945 | 0.011945 | 0.011945 | 0.99017 | -0.18732 | 0.98992 | -0.19206 | 3.2816
41 | 0.011747 | 0.0029458 | -0.01174 | -0.0029423 | 6.6465e-06 | 3.5283e-06 | 0.017687 | 0.017688 | 0.017688 | 0.9883 | -0.22357 | 0.98769 | -0.23545 | 4.8592
42 | 0.0052764 | 0.0013173 | -0.0052729 | -0.0013169 | 3.5048e-06 | 3.4611e-07 | 0.0079425 | 0.0079431 | 0.0079431 | 0.9883 | -0.22357 | 0.98758 | -0.23756 | 2.1822
43 | -0.18294 | -0.046575 | 0.1831 | 0.046676 | 0.00015972 | 0.00010156 | 0.27471 | 0.27471 | 0.27471 | 0.99185 | -0.15502 | 0.99279 | -0.13693 | 25.1564
44 | -0.15507 | -0.039417 | 0.15552 | 0.039702 | 0.00044991 | 0.00028536 | 0.23267 | 0.23267 | 0.23267 | 0.99252 | -0.14221 | 0.99567 | -0.082156 | 21.3072
45 | -0.1657 | -0.042255 | 0.16603 | 0.042465 | 0.00032971 | 0.00020934 | 0.24789 | 0.24789 | 0.24789 | 0.99567 | -0.082156 | 0.99783 | -0.041033 | 22.7009
46 | 0.010184 | 0.0025532 | -0.010181 | -0.0025515 | 3.4006e-06 | 1.6674e-06 | 0.01522 | 0.01522 | 0.01522 | 0.99567 | -0.082156 | 0.99531 | -0.089165 | 4.1814
47 | -0.19664 | -0.050135 | 0.19675 | 0.050209 | 0.00011488 | 7.3103e-05 | 0.29353 | 0.29353 | 0.29353 | 0.99783 | -0.041033 | 0.99847 | -0.028939 | 26.8805
48 | 0.010181 | 0.0025515 | -0.01018 | -0.0025515 | 1.5908e-07 | 7.8014e-08 | 0.01522 | 0.01522 | 0.01522 | 0.99531 | -0.089165 | 0.99529 | -0.089493 | 4.1814
49 | 0.054441 | 0.013681 | -0.054345 | -0.01362 | 9.651e-05 | 6.1293e-05 | 0.082699 | 0.082699 | 0.082699 | 0.97973 | -0.38963 | 0.97783 | -0.42684 | 22.7195
50 | -0.41984 | -0.10733 | 0.42043 | 0.10771 | 0.00058868 | 0.00037628 | 0.62644 | 0.62644 | 0.62644 | 0.99847 | -0.028939 | 1 | 0 | 57.3663
51 | 0.22309 | 0.057122 | -0.22275 | -0.056903 | 0.00034425 | 0.00021935 | 0.3329 | 0.33291 | 0.33291 | 0.99847 | -0.028939 | 0.99679 | -0.060851 | 30.4858
52 | 0.19776 | 0.050428 | -0.19761 | -0.05033 | 0.00015514 | 9.8739e-05 | 0.29639 | 0.29639 | 0.29639 | 0.9939 | -0.11589 | 0.99304 | -0.13215 | 27.1419
53 | -0.20243 | -0.051597 | 0.20257 | 0.051691 | 0.00014795 | 9.4187e-05 | 0.30337 | 0.30337 | 0.30337 | 0.9939 | -0.11589 | 0.99469 | -0.10076 | 27.7812
54 | 0.1861 | 0.047445 | -0.18606 | -0.047418 | 4.2901e-05 | 2.7286e-05 | 0.27915 | 0.27915 | 0.27915 | 0.99304 | -0.13215 | 0.99279 | -0.13693 | 25.5628
55 | -0.20257 | -0.051691 | 0.20266 | 0.051744 | 8.2434e-05 | 5.2478e-05 | 0.30337 | 0.30337 | 0.30337 | 0.99469 | -0.10076 | 0.99513 | -0.092339 | 27.7812
56 | -0.2079 | -0.053058 | 0.20816 | 0.053224 | 0.00025965 | 0.00016534 | 0.31121 | 0.31121 | 0.31121 | 0.99513 | -0.092339 | 0.99649 | -0.066523 | 28.4995
57 | -0.010322 | -0.002587 | 0.010324 | 0.0025879 | 1.7707e-06 | 8.7419e-07 | 0.015412 | 0.015412 | 0.015412 | 0.9966 | -0.064451 | 0.99679 | -0.060851 | 4.2342
58 | 0.21243 | 0.054315 | -0.21237 | -0.054278 | 5.8287e-05 | 3.7123e-05 | 0.31749 | 0.31749 | 0.31749 | 0.99679 | -0.060851 | 0.99649 | -0.066523 | 29.0745
59 | 0.0039927 | 0.0010004 | -0.0039923 | -0.0010006 | 4.0154e-07 | -1.2514e-07 | 0.0060017 | 0.0060018 | 0.0060018 | 0.98992 | -0.19206 | 0.98981 | -0.19417 | 1.6488
60 | 0.0082796 | 0.0020752 | -0.0082786 | -0.0020748 | 9.8209e-07 | 4.1315e-07 | 0.012474 | 0.012474 | 0.012474 | 0.98769 | -0.23545 | 0.98756 | -0.23794 | 3.4269
61 | 0.0034608 | 0.00086705 | -0.0034605 | -0.00086726 | 3.515e-07 | -2.1628e-07 | 0.0052138 | 0.005214 | 0.005214 | 0.98769 | -0.23545 | 0.98758 | -0.23758 | 1.4324
62 | 0.0010972 | 0.00027041 | -0.0010971 | -0.00027079 | 3.198e-08 | -3.7956e-07 | 0.0016515 | 0.0016517 | 0.0016517 | 0.98758 | -0.23756 | 0.98755 | -0.23818 | 0.45375
63 | 0.0061488 | 0.001541 | -0.0061484 | -0.0015409 | 4.3671e-07 | 1.0592e-07 | 0.0092648 | 0.0092648 | 0.0092648 | 0.98756 | -0.23794 | 0.98749 | -0.23943 | 2.5453
64 | 0.0020006 | 0.00050139 | -0.0020006 | -0.0005014 | 2.9025e-09 | -9.0413e-09 | 0.0030144 | 0.0030144 | 0.0030144 | 0.98758 | -0.23758 | 0.98758 | -0.23761 | 0.82813
65 | 0.0010971 | 0.00027079 | -0.0010971 | -0.00027091 | 1.0638e-08 | -1.2624e-07 | 0.0016517 | 0.0016517 | 0.0016517 | 0.98755 | -0.23818 | 0.98754 | -0.23838 | 0.45377
66 | 0.00078797 | 0.00019343 | -0.00078789 | -0.00019552 | 8.8417e-08 | -2.0869e-06 | 0.0011859 | 0.0011866 | 0.0011866 | 0.98754 | -0.23838 | 0.98742 | -0.24077 | 0.326
67 | 0.00078789 | 0.00019552 | -0.0007878 | -0.00019744 | 8.1525e-08 | -1.9213e-06 | 0.0011866 | 0.0011873 | 0.0011873 | 0.98742 | -0.24077 | 0.98731 | -0.24295 | 0.32619

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43059 | 0.10984

## res_load
| p_mw | q_mvar
0 | 0.0074945 | 0.0018783
1 | 0.01025 | 0.0025688
2 | 0.010461 | 0.0026218
3 | 0.0044064 | 0.0011043
4 | 0.014747 | 0.0036959
5 | 0.0058177 | 0.0014581
6 | 0.0025251 | 0.00063284
7 | 0.0023371 | 0.00058573
8 | 0.0035368 | 0.0008864
9 | 0.0057164 | 0.0014327
10 | 0.0046411 | 0.0011632
11 | 0.033622 | 0.0084266
12 | 0.013319 | 0.0033382
13 | 0.0026244 | 0.00065773
14 | 0.0025486 | 0.00063874
15 | 0.005918 | 0.0014832
16 | 0.0062962 | 0.001578
17 | 0.0048875 | 0.0012249
18 | 0.008795 | 0.0022042
19 | 0.011101 | 0.0027821
20 | 0.004515 | 0.0011316
21 | 0.0037497 | 0.00093975
22 | 0.0017987 | 0.00045079
23 | 0.0098619 | 0.0024716
24 | 0.030607 | 0.0076707
25 | 0.055808 | 0.013987
26 | 0.01018 | 0.0025515
27 | 0.054345 | 0.01362
28 | 0.0046627 | 0.0011686
29 | 0.011508 | 0.0028841
30 | 0.0029611 | 0.00074212
31 | 0.0052461 | 0.0013148
32 | 0.010322 | 0.002587
33 | 0.004205 | 0.0010539
34 | 0.0085076 | 0.0021322
35 | 0.003954 | 0.00099097
36 | 0.0041757 | 0.0010465
37 | 0.0039923 | 0.0010006
38 | 0.0021298 | 0.00053378
39 | 0.0014598 | 0.00036587
40 | 0.018531 | 0.0046443
41 | 0.0020006 | 0.0005014
42 | 0.0061484 | 0.0015409
43 | 0.00030915 | 7.748e-05
44 | 0.0007878 | 0.00019744

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1