## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2305-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2305-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2305-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2305-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2305-9_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2305-9_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2305-9_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2305-9_0_6_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_2305-9_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2305-9_0_6_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_2305-9_0_6_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_2305-9_0_6_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_2305-9_0_6_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_2305-9_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2305-9_0_6_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_2305-9_0_6_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_2305-9_0_6_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_2305-9_0_6_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_2305-9_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2305-9_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2305-9_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2305-9_0_6_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_2305-9_0_6_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2305-9_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2305-9_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2305-9_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2305-9_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2305-9_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_2305-9_0_6_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_2305-9_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2305-9_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_2305-9_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2305-9_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_2305-9_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2305-9_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2305-9_0_6_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_2305-9_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2305-9_0_6_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_2305-9_0_6_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_2305-9_0_6_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_2305-9_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2305-9_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_2305-9_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2305-9_0_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2305-9_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2305-9_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2305-9_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2305-9_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2305-9_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2305-9_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_2305-9_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_2305-9_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2305-9_0_6_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_2305-9_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_2305-9_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2305-9_0_6_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2305-9_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_MV_119_1_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2305-9_0_6_load_0 | 0 | 0.09565 | 0.023972 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2305-9_0_6_load_3 | 3 | 0.034495 | 0.0086452 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2305-9_0_6_load_5 | 5 | 0.0022257 | 0.0005578 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2305-9_0_6_load_6 | 6 | 0.0051278 | 0.0012851 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2305-9_0_6_load_49 | 7 | 0.0042628 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2305-9_0_6_load_7 | 8 | 0.0018332 | 0.00045944 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2305-9_0_6_load_43 | 9 | 0.015353 | 0.0038478 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2305-9_0_6_load_50 | 10 | 0.0075693 | 0.0018971 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2305-9_0_6_load_38 | 11 | 0.010773 | 0.0026999 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2305-9_0_6_load_8 | 13 | 0.0015861 | 0.00039751 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2305-9_0_6_load_44 | 14 | 0.0028732 | 0.00072008 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2305-9_0_6_load_32 | 16 | 0.0013535 | 0.00033923 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2305-9_0_6_load_30 | 17 | 0.00196 | 0.00049122 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2305-9_0_6_load_9 | 18 | 0.063191 | 0.015837 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2305-9_0_6_load_42 | 21 | 0.012197 | 0.0030569 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2305-9_0_6_load_37 | 22 | 0.065292 | 0.016364 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2305-9_0_6_load_12 | 23 | 0.0051224 | 0.0012838 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2305-9_0_6_load_13 | 24 | 0.0011054 | 0.00027704 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2305-9_0_6_load_14 | 25 | 0.0053283 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2305-9_0_6_load_16 | 27 | 0.017457 | 0.004375 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2305-9_0_6_load_31 | 28 | 0.0029736 | 0.00074525 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2305-9_0_6_load_17 | 30 | 0.0036987 | 0.00092699 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2305-9_0_6_load_57 | 35 | 0.080426 | 0.020157 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2305-9_0_6_load_55 | 37 | 0.010717 | 0.0026859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2305-9_0_6_load_48 | 38 | 0.0017458 | 0.00043754 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2305-9_0_6_load_47 | 39 | 0.0021885 | 0.00054849 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2305-9_0_6_load_24 | 40 | 0.0015237 | 0.00038187 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2305-9_0_6_load_25 | 41 | 0.00323 | 0.00080951 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2305-9_0_6_load_26 | 42 | 0.0018735 | 0.00046953 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2305-9_0_6_load_27 | 43 | 0.0026659 | 0.00066814 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2305-9_0_6_load_28 | 44 | 0.0024792 | 0.00062134 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2305-9_0_6_load_40 | 45 | 0.0017485 | 0.00043821 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2305-9_0_6_load_41 | 46 | 0.0031043 | 0.000778 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2305-9_0_6_load_39 | 47 | 0.0028375 | 0.00071115 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2305-9_0_6_load_36 | 48 | 0.0031294 | 0.0007843 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2305-9_0_6_load_33 | 49 | 0.0032519 | 0.00081499 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2305-9_0_6_load_34 | 50 | 0.0029366 | 0.00073598 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2305-9_0_6_load_54 | 54 | 0.0070092 | 0.0017567 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2305-9_0_6_load_56 | 56 | 0.024259 | 0.0060799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2305-9_0_6_line_0 |  | 0 | 1 | 0.014954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2305-9_0_6_line_1 |  | 0 | 2 | 0.03554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2305-9_0_6_line_2 |  | 1 | 3 | 0.019154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2305-9_0_6_line_3 |  | 1 | 4 | 0.027859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2305-9_0_6_line_4 |  | 2 | 5 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2305-9_0_6_line_5 |  | 2 | 6 | 0.0065425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2305-9_0_6_line_6 |  | 4 | 7 | 0.0096899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2305-9_0_6_line_7 |  | 5 | 8 | 0.025381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2305-9_0_6_line_8 |  | 6 | 9 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2305-9_0_6_line_9 |  | 7 | 10 | 0.0059507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2305-9_0_6_line_10 |  | 8 | 13 | 0.014783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2305-9_0_6_line_11 |  | 9 | 14 | 0.025061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2305-9_0_6_line_12 |  | 11 | 12 | 0.043315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2305-9_0_6_line_13 |  | 12 | 22 | 0.13066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2305-9_0_6_line_14 |  | 12 | 49 | 0.013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2305-9_0_6_line_15 |  | 13 | 15 | 0.035568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2305-9_0_6_line_16 |  | 14 | 51 | 0.051125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2305-9_0_6_line_17 |  | 15 | 16 | 0.015946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2305-9_0_6_line_18 |  | 15 | 17 | 0.019419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2305-9_0_6_line_19 |  | 16 | 47 | 0.023955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2305-9_0_6_line_20 |  | 17 | 29 | 0.015624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2305-9_0_6_line_21 |  | 18 | 19 | 0.02408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2305-9_0_6_line_22 |  | 19 | 20 | 0.024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2305-9_0_6_line_23 |  | 20 | 21 | 0.041259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2305-9_0_6_line_24 |  | 21 | 22 | 0.046804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2305-9_0_6_line_25 |  | 23 | 24 | 0.04477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2305-9_0_6_line_26 |  | 23 | 25 | 0.0030109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2305-9_0_6_line_27 |  | 24 | 26 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2305-9_0_6_line_28 |  | 25 | 27 | 0.0085119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2305-9_0_6_line_29 |  | 26 | 28 | 0.02544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2305-9_0_6_line_30 |  | 28 | 29 | 0.016528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2305-9_0_6_line_31 |  | 29 | 31 | 0.011404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2305-9_0_6_line_32 |  | 30 | 31 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2305-9_0_6_line_33 |  | 30 | 32 | 0.053181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2305-9_0_6_line_34 |  | 32 | 33 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2305-9_0_6_line_35 |  | 32 | 34 | 0.23596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2305-9_0_6_line_36 |  | 33 | 35 | 0.015177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2305-9_0_6_line_37 |  | 34 | 36 | 0.072694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2305-9_0_6_line_38 |  | 34 | 37 | 0.087579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2305-9_0_6_line_39 |  | 36 | 38 | 0.081347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2305-9_0_6_line_40 |  | 38 | 39 | 0.024223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2305-9_0_6_line_41 |  | 40 | 41 | 0.022417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2305-9_0_6_line_42 |  | 40 | 42 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2305-9_0_6_line_43 |  | 41 | 43 | 0.00026167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2305-9_0_6_line_44 |  | 42 | 44 | 0.0024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2305-9_0_6_line_45 |  | 43 | 45 | 0.031275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2305-9_0_6_line_46 |  | 44 | 46 | 0.00048778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2305-9_0_6_line_47 |  | 45 | 47 | 0.0030772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2305-9_0_6_line_48 |  | 46 | 48 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2305-9_0_6_line_49 |  | 48 | 50 | 0.0058215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2305-9_0_6_line_50 |  | 49 | 50 | 0.0085459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2305-9_0_6_line_51 |  | 51 | 52 | 0.010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2305-9_0_6_line_52 |  | 51 | 53 | 0.01848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2305-9_0_6_line_53 |  | 52 | 54 | 0.044725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2305-9_0_6_line_54 |  | 53 | 55 | 0.14666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2305-9_0_6_line_55 |  | 55 | 56 | 0.13199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2305-9_0_6_trafo_41 | 0.63 MVA 20/0.4 kV | 57 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2585652.7253 | 1190043.8612 | 2585663.1969 | 1190044.692 | 2585667.3323 | 1190043.0506
1 | 2585700.3655 | 1190029.9392 | 2585667.3323 | 1190043.0506
2 | 2585652.7253 | 1190043.8612 | 2585650.3423 | 1190062.8659
3 | 2585625.2928 | 1190038.9915 | 2585642.4291 | 1190043.0412 | 2585652.7253 | 1190043.8612
4 | 2585700.3655 | 1190029.9392 | 2585705.6468 | 1190038.6373
5 | 2585700.3655 | 1190029.9392 | 2585696.876 | 1190024.4049
6 | 2585625.2928 | 1190038.9915 | 2585626.0027 | 1190029.3276
7 | 2585705.6468 | 1190038.6373 | 2585718.8197 | 1190060.3326
8 | 2585688.6062 | 1190011.2888 | 2585696.876 | 1190024.4049
9 | 2585626.4387 | 1190023.3929 | 2585626.0027 | 1190029.3276
10 | 2585726.492 | 1190072.9686 | 2585718.8197 | 1190060.3326
11 | 2585688.6062 | 1190011.2888 | 2585675.2398 | 1189990.0896
12 | 2585594.2037 | 1190130.0478 | 2585604.7737 | 1190108.5776 | 2585609.8535 | 1190096.5702 | 2585612.0113 | 1190090.6022
13 | 2585594.2037 | 1190130.0478 | 2585586.9328 | 1190140.96 | 2585570.9453 | 1190164.0331 | 2585539.3248 | 1190205.2982 | 2585521.046 | 1190232.9349 | 2585519.2264 | 1190236.894
14 | 2585594.2037 | 1190130.0478 | 2585606.8181 | 1190134.029
15 | 2585744.9515 | 1190103.3708 | 2585726.492 | 1190072.9686
16 | 2585646.3409 | 1189948.2042 | 2585652.2561 | 1189953.6372 | 2585675.2398 | 1189990.0896
17 | 2585744.9515 | 1190103.3708 | 2585729.9681 | 1190108.8264
18 | 2585744.9515 | 1190103.3708 | 2585754.4403 | 1190120.3137
19 | 2585729.9681 | 1190108.8264 | 2585722.4538 | 1190111.5624 | 2585707.1648 | 1190116.1346
20 | 2585762.0748 | 1190133.9459 | 2585754.4403 | 1190120.3137
21 | 2585474.7777 | 1190330.0654 | 2585467.8117 | 1190328.2925 | 2585459.1544 | 1190330.1925 | 2585451.794 | 1190333.3996
22 | 2585474.7777 | 1190330.0654 | 2585478.1103 | 1190327.1446 | 2585482.9525 | 1190324.1757 | 2585488.7348 | 1190322.0938 | 2585496.5027 | 1190321.2744
23 | 2585496.5027 | 1190321.2744 | 2585497.595 | 1190306.4529 | 2585500.0214 | 1190291.4835 | 2585502.6857 | 1190280.5714
24 | 2585502.6857 | 1190280.5714 | 2585504.136 | 1190274.6313 | 2585511.1173 | 1190254.5371 | 2585519.2264 | 1190236.894
25 | 2585792.2356 | 1190099.0305 | 2585783.6319 | 1190079.9438 | 2585782.977 | 1190077.1328 | 2585782.2759 | 1190074.1106 | 2585774.6061 | 1190057.9978
26 | 2585773.312 | 1190055.2791 | 2585774.6061 | 1190057.9978
27 | 2585798.887 | 1190113.7918 | 2585796.3266 | 1190108.106 | 2585792.2356 | 1190099.0305
28 | 2585769.6536 | 1190047.5935 | 2585773.312 | 1190055.2791
29 | 2585798.887 | 1190113.7918 | 2585776.5723 | 1190126.0087
30 | 2585762.0748 | 1190133.9459 | 2585776.5723 | 1190126.0087
31 | 2585767.0634 | 1190144.206 | 2585762.0748 | 1190133.9459
32 | 2585767.0634 | 1190144.206 | 2585778.1702 | 1190162.4596
33 | 2585805.8142 | 1190207.8913 | 2585778.1702 | 1190162.4596
34 | 2585805.8142 | 1190207.8913 | 2585804.0395 | 1190208.696 | 2585801.7777 | 1190209.8909 | 2585796.3402 | 1190212.7721
35 | 2585805.8142 | 1190207.8913 | 2585807.9957 | 1190211.3657 | 2585812.4435 | 1190209.1651 | 2585816.7385 | 1190210.0442 | 2585836.4491 | 1190232.3201 | 2585845.275 | 1190243.4716 | 2585854.3304 | 1190254.9116 | 2585857.8992 | 1190258.2605 | 2585862.8814 | 1190259.5159 | 2585870.7312 | 1190257.8297 | 2585883.6006 | 1190250.6732 | 2585890.6578 | 1190245.9318 | 2585895.3099 | 1190243.0526 | 2585898.8882 | 1190243.989 | 2585906.1083 | 1190246.8179 | 2585899.3467 | 1190250.8026 | 2585877.4131 | 1190262.0161 | 2585838.2224 | 1190282.1309 | 2585849.7101 | 1190296.8002 | 2585852.4556 | 1190300.1954 | 2585848.7769 | 1190305.1957
36 | 2585787.8234 | 1190200.1969 | 2585796.3402 | 1190212.7721
37 | 2585848.7769 | 1190305.1957 | 2585852.4556 | 1190300.1954 | 2585881.8218 | 1190336.5225 | 2585898.8493 | 1190346.5763
38 | 2585848.7769 | 1190305.1957 | 2585844.0038 | 1190311.6549 | 2585808.7245 | 1190353.8388 | 2585785.6504 | 1190362.2401
39 | 2585898.8493 | 1190346.5763 | 2585872.6215 | 1190357.0329 | 2585827.8881 | 1190367.5559 | 2585820.7707 | 1190368.3071
40 | 2585796.6815 | 1190370.8495 | 2585820.7707 | 1190368.3071
41 | 2585673.7792 | 1190125.2158 | 2585651.9511 | 1190130.3218
42 | 2585640.5798 | 1190132.9817 | 2585640.5798 | 1190132.9817 | 2585651.9511 | 1190130.3218
43 | 2585673.7792 | 1190125.2158 | 2585674.034 | 1190125.1562
44 | 2585640.5798 | 1190132.9817 | 2585638.1156 | 1190133.33
45 | 2585704.2165 | 1190117.0162 | 2585687.6391 | 1190121.9737 | 2585674.034 | 1190125.1562
46 | 2585637.6326 | 1190133.3982 | 2585638.1156 | 1190133.33
47 | 2585707.1648 | 1190116.1346 | 2585704.2165 | 1190117.0162
48 | 2585620.7319 | 1190135.7865 | 2585637.6326 | 1190133.3982
49 | 2585614.9678 | 1190136.601 | 2585614.9678 | 1190136.601 | 2585620.7319 | 1190135.7865
50 | 2585606.8181 | 1190134.029 | 2585614.9678 | 1190136.601
51 | 2585646.3409 | 1189948.2042 | 2585653.2131 | 1189945.7641 | 2585655.9026 | 1189944.8127
52 | 2585646.3409 | 1189948.2042 | 2585642.3209 | 1189944.5119 | 2585629.844 | 1189940.64
53 | 2585655.9026 | 1189944.8127 | 2585698.5613 | 1189958.2504
54 | 2585515.13 | 1190017.2916 | 2585544.48 | 1189985.9149 | 2585578.37 | 1189949.2468 | 2585587.6531 | 1189944.155 | 2585596.7174 | 1189940.0086 | 2585602.6482 | 1189939.2828 | 2585629.844 | 1189940.64
55 | 2585515.13 | 1190017.2916 | 2585542.7533 | 1190037.8464 | 2585484.0304 | 1190115.9414

## bus_geodata
| x | y | coords
0 | 2585667.3323 | 1190043.0506
1 | 2585652.7253 | 1190043.8612
2 | 2585700.3655 | 1190029.9392
3 | 2585650.3423 | 1190062.8659
4 | 2585625.2928 | 1190038.9915
5 | 2585705.6468 | 1190038.6374
6 | 2585696.876 | 1190024.4049
7 | 2585626.0027 | 1190029.3276
8 | 2585718.8197 | 1190060.3326
9 | 2585688.6062 | 1190011.2888
10 | 2585626.4387 | 1190023.3929
11 | 2585612.0113 | 1190090.6022
12 | 2585594.2037 | 1190130.0478
13 | 2585726.492 | 1190072.9686
14 | 2585675.2398 | 1189990.0896
15 | 2585744.9515 | 1190103.3708
16 | 2585729.9681 | 1190108.8264
17 | 2585754.4403 | 1190120.3137
18 | 2585451.794 | 1190333.3996
19 | 2585474.7777 | 1190330.0654
20 | 2585496.5027 | 1190321.2744
21 | 2585502.6857 | 1190280.5714
22 | 2585519.2264 | 1190236.894
23 | 2585774.6061 | 1190057.9978
24 | 2585792.2356 | 1190099.0305
25 | 2585773.312 | 1190055.2791
26 | 2585798.887 | 1190113.7918
27 | 2585769.6536 | 1190047.5935
28 | 2585776.5723 | 1190126.0087
29 | 2585762.0748 | 1190133.9459
30 | 2585778.1702 | 1190162.4596
31 | 2585767.0634 | 1190144.206
32 | 2585805.8142 | 1190207.8913
33 | 2585796.3402 | 1190212.7721
34 | 2585848.7769 | 1190305.1957
35 | 2585787.8234 | 1190200.1969
36 | 2585898.8493 | 1190346.5763
37 | 2585785.6504 | 1190362.2401
38 | 2585820.7707 | 1190368.3071
39 | 2585796.6815 | 1190370.8495
40 | 2585651.9511 | 1190130.3218
41 | 2585673.7792 | 1190125.2158
42 | 2585640.5798 | 1190132.9817
43 | 2585674.034 | 1190125.1562
44 | 2585638.1156 | 1190133.33
45 | 2585704.2165 | 1190117.0162
46 | 2585637.6326 | 1190133.3982
47 | 2585707.1648 | 1190116.1346
48 | 2585620.7319 | 1190135.7865
49 | 2585606.8181 | 1190134.029
50 | 2585614.9678 | 1190136.601
51 | 2585646.3409 | 1189948.2042
52 | 2585655.9026 | 1189944.8127
53 | 2585629.844 | 1189940.64
54 | 2585698.5613 | 1189958.2504
55 | 2585515.13 | 1190017.2916
56 | 2585484.0304 | 1190115.9414
57 | 2585594.2037 | 1190130.0478

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98057 | -0.37246 | 0.09565 | 0.023972
1 | 0.97993 | -0.38503 | 0 | 0
2 | 0.98291 | -0.32684 | 0 | 0
3 | 0.97932 | -0.39703 | 0.034495 | 0.0086452
4 | 0.97963 | -0.39101 | 0 | 0
5 | 0.98353 | -0.31481 | 0.0022257 | 0.0005578
6 | 0.98258 | -0.33329 | 0.0051278 | 0.0012851
7 | 0.97952 | -0.3931 | 0.0042628 | 0.0010684
8 | 0.98508 | -0.28455 | 0.0018332 | 0.00045944
9 | 0.98186 | -0.34716 | 0.015353 | 0.0038478
10 | 0.97948 | -0.39391 | 0.0075693 | 0.0018971
11 | 0.99712 | -0.05471 | 0.010773 | 0.0026999
12 | 0.99755 | -0.046533 | 0 | 0
13 | 0.986 | -0.2668 | 0.0015861 | 0.00039751
14 | 0.98107 | -0.36264 | 0.0028732 | 0.00072008
15 | 0.98822 | -0.22391 | 0 | 0
16 | 0.98987 | -0.19218 | 0.0013535 | 0.00033923
17 | 0.98582 | -0.27003 | 0.00196 | 0.00049122
18 | 0.9806 | -0.37378 | 0.063191 | 0.015837
19 | 0.98201 | -0.34623 | 0 | 0
20 | 0.98341 | -0.31885 | 0 | 0
21 | 0.98582 | -0.27198 | 0.012197 | 0.0030569
22 | 0.98908 | -0.2089 | 0.065292 | 0.016364
23 | 0.98116 | -0.36066 | 0.0051224 | 0.0012838
24 | 0.98232 | -0.33806 | 0.0011054 | 0.00027704
25 | 0.9811 | -0.3619 | 0.0053283 | 0.0013354
26 | 0.98275 | -0.32958 | 0 | 0
27 | 0.98096 | -0.36459 | 0.017457 | 0.004375
28 | 0.98343 | -0.31627 | 0.0029736 | 0.00074525
29 | 0.98392 | -0.30674 | 0 | 0
30 | 0.98091 | -0.36521 | 0.0036987 | 0.00092699
31 | 0.98287 | -0.32705 | 0 | 0
32 | 0.9762 | -0.45726 | 0 | 0
33 | 0.9754 | -0.47292 | 0 | 0
34 | 0.97298 | -0.52075 | 0 | 0
35 | 0.97427 | -0.49531 | 0.080426 | 0.020157
36 | 0.97271 | -0.52603 | 0 | 0
37 | 0.9721 | -0.53805 | 0.010717 | 0.0026859
38 | 0.97241 | -0.53193 | 0.0017458 | 0.00043754
39 | 0.97236 | -0.5329 | 0.0021885 | 0.00054849
40 | 0.99842 | -0.029749 | 0.0015237 | 0.00038187
41 | 0.99601 | -0.075177 | 0.00323 | 0.00080951
42 | 0.99968 | -0.006066 | 0.0018735 | 0.00046953
43 | 0.99599 | -0.075703 | 0.0026659 | 0.00066814
44 | 0.99995 | -0.0009997 | 0.0024792 | 0.00062134
45 | 0.99269 | -0.13837 | 0.0017485 | 0.00043821
46 | 1 | 0 | -0.524 | -0.13435
47 | 0.99236 | -0.14452 | 0.0028375 | 0.00071115
48 | 0.99916 | -0.015958 | 0.0031294 | 0.0007843
49 | 0.99847 | -0.029003 | 0.0032519 | 0.00081499
50 | 0.99888 | -0.021301 | 0.0029366 | 0.00073598
51 | 0.97958 | -0.39165 | 0 | 0
52 | 0.97951 | -0.39294 | 0 | 0
53 | 0.97916 | -0.3998 | 0 | 0
54 | 0.97922 | -0.39864 | 0.0070092 | 0.0017567
55 | 0.97584 | -0.46471 | 0 | 0
56 | 0.97286 | -0.5235 | 0.024259 | 0.0060799
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.046379 | 0.011643 | -0.046351 | -0.011626 | 2.7782e-05 | 1.7592e-05 | 0.070387 | 0.070387 | 0.070387 | 0.98057 | -0.37246 | 0.97993 | -0.38503 | 19.3372
1 | -0.14203 | -0.035615 | 0.14234 | 0.035813 | 0.00030957 | 0.00019723 | 0.21554 | 0.21554 | 0.21554 | 0.98057 | -0.37246 | 0.98291 | -0.32684 | 29.6066
2 | 0.034514 | 0.0086576 | -0.034495 | -0.0086452 | 1.9731e-05 | 1.2387e-05 | 0.052412 | 0.052412 | 0.052412 | 0.97993 | -0.38503 | 0.97932 | -0.39703 | 14.399
3 | 0.011837 | 0.002968 | -0.011834 | -0.0029662 | 3.3754e-06 | 1.8094e-06 | 0.017975 | 0.017975 | 0.017975 | 0.97993 | -0.38503 | 0.97963 | -0.39101 | 4.9382
4 | -0.19724 | -0.049673 | 0.19735 | 0.049745 | 0.00011347 | 7.2236e-05 | 0.29868 | 0.29868 | 0.29868 | 0.98291 | -0.32684 | 0.98353 | -0.31481 | 27.3517
5 | 0.054897 | 0.01386 | -0.05488 | -0.013849 | 1.6961e-05 | 1.0772e-05 | 0.083145 | 0.083145 | 0.083145 | 0.98291 | -0.32684 | 0.98258 | -0.33329 | 22.8419
6 | 0.011834 | 0.0029662 | -0.011832 | -0.0029655 | 1.1741e-06 | 6.2941e-07 | 0.017975 | 0.017975 | 0.017975 | 0.97963 | -0.39101 | 0.97952 | -0.3931 | 4.9382
7 | -0.19958 | -0.050303 | 0.19986 | 0.050487 | 0.00028945 | 0.00018428 | 0.30205 | 0.30205 | 0.30205 | 0.98353 | -0.31481 | 0.98508 | -0.28455 | 27.66
8 | 0.049752 | 0.012564 | -0.049719 | -0.012543 | 3.3039e-05 | 2.0948e-05 | 0.075379 | 0.075379 | 0.075379 | 0.98258 | -0.33329 | 0.98186 | -0.34716 | 20.7086
9 | 0.0075696 | 0.0018972 | -0.0075693 | -0.0018971 | 2.9508e-07 | 1.1395e-07 | 0.011499 | 0.011499 | 0.011499 | 0.97952 | -0.3931 | 0.97948 | -0.39391 | 3.1591
10 | -0.2017 | -0.050946 | 0.20187 | 0.051056 | 0.00017169 | 0.00010932 | 0.30482 | 0.30482 | 0.30482 | 0.98508 | -0.28455 | 0.986 | -0.2668 | 27.9136
11 | 0.034366 | 0.0086953 | -0.034341 | -0.0086793 | 2.5522e-05 | 1.6017e-05 | 0.052112 | 0.052112 | 0.052112 | 0.98186 | -0.34716 | 0.98107 | -0.36264 | 14.3165
12 | -0.010773 | -0.0026999 | 0.010777 | 0.0027021 | 4.198e-06 | 2.1215e-06 | 0.016076 | 0.016076 | 0.016076 | 0.99712 | -0.05471 | 0.99755 | -0.046533 | 4.4166
13 | 0.14232 | 0.036305 | -0.14122 | -0.0356 | 0.0011066 | 0.00070482 | 0.21253 | 0.21253 | 0.21253 | 0.99755 | -0.046533 | 0.98908 | -0.2089 | 29.1932
14 | -0.1531 | -0.039007 | 0.15323 | 0.039089 | 0.00012961 | 8.2606e-05 | 0.2286 | 0.2286 | 0.2286 | 0.99755 | -0.046533 | 0.99847 | -0.029003 | 31.4013
15 | -0.20346 | -0.051453 | 0.20388 | 0.05172 | 0.0004196 | 0.00026718 | 0.30721 | 0.30721 | 0.30721 | 0.986 | -0.2668 | 0.98822 | -0.22391 | 28.1328
16 | 0.031468 | 0.0079592 | -0.031424 | -0.0079319 | 4.3721e-05 | 2.7337e-05 | 0.047754 | 0.047755 | 0.047755 | 0.98107 | -0.36264 | 0.97958 | -0.39165 | 13.1194
17 | -0.33811 | -0.085941 | 0.33863 | 0.086272 | 0.0005175 | 0.00033059 | 0.50954 | 0.50954 | 0.50954 | 0.98822 | -0.22391 | 0.98987 | -0.19218 | 46.6611
18 | 0.13423 | 0.034221 | -0.13394 | -0.034031 | 0.00029811 | 0.00019054 | 0.20233 | 0.20233 | 0.20233 | 0.98822 | -0.22391 | 0.98582 | -0.27003 | 55.5852
19 | -0.33998 | -0.086611 | 0.34076 | 0.087112 | 0.00078365 | 0.00050061 | 0.51157 | 0.51157 | 0.51157 | 0.98987 | -0.19218 | 0.99236 | -0.14452 | 46.8474
20 | 0.13198 | 0.033539 | -0.13174 | -0.03339 | 0.0002329 | 0.00014885 | 0.19937 | 0.19937 | 0.19937 | 0.98582 | -0.27003 | 0.98392 | -0.30674 | 54.7724
21 | -0.063191 | -0.015837 | 0.063274 | 0.01589 | 8.3029e-05 | 5.2834e-05 | 0.095889 | 0.095889 | 0.095889 | 0.9806 | -0.37378 | 0.98201 | -0.34623 | 26.3432
22 | -0.063274 | -0.01589 | 0.063357 | 0.015943 | 8.279e-05 | 5.2682e-05 | 0.095889 | 0.095889 | 0.095889 | 0.98201 | -0.34623 | 0.98341 | -0.31885 | 26.3432
23 | -0.063357 | -0.015943 | 0.063499 | 0.016033 | 0.00014226 | 9.0523e-05 | 0.095889 | 0.095889 | 0.095889 | 0.98341 | -0.31885 | 0.98582 | -0.27198 | 26.3431
24 | -0.075696 | -0.01909 | 0.075925 | 0.019236 | 0.0002293 | 0.00014615 | 0.1143 | 0.1143 | 0.1143 | 0.98582 | -0.27198 | 0.98908 | -0.2089 | 31.4009
25 | -0.027911 | -0.0069964 | 0.027941 | 0.0070151 | 3.0082e-05 | 1.8686e-05 | 0.04233 | 0.042329 | 0.04233 | 0.98116 | -0.36066 | 0.98232 | -0.33806 | 11.629
26 | 0.022788 | 0.0057126 | -0.022787 | -0.0057117 | 1.3487e-06 | 8.2512e-07 | 0.034561 | 0.034561 | 0.034561 | 0.98116 | -0.36066 | 0.9811 | -0.3619 | 9.4948
27 | -0.029046 | -0.0072921 | 0.029058 | 0.0072994 | 1.1756e-05 | 7.3191e-06 | 0.044004 | 0.044004 | 0.044004 | 0.98232 | -0.33806 | 0.98275 | -0.32958 | 12.089
28 | 0.017459 | 0.0043764 | -0.017457 | -0.004375 | 2.2381e-06 | 1.3249e-06 | 0.02648 | 0.02648 | 0.02648 | 0.9811 | -0.3619 | 0.98096 | -0.36459 | 7.2747
29 | -0.029058 | -0.0072994 | 0.029077 | 0.0073109 | 1.8473e-05 | 1.15e-05 | 0.044004 | 0.044004 | 0.044004 | 0.98275 | -0.32958 | 0.98343 | -0.31627 | 12.089
30 | -0.03205 | -0.0080562 | 0.032065 | 0.0080653 | 1.4581e-05 | 9.122e-06 | 0.048503 | 0.048503 | 0.048503 | 0.98343 | -0.31627 | 0.98392 | -0.30674 | 13.325
31 | 0.099678 | 0.025325 | -0.09958 | -0.025263 | 9.7339e-05 | 6.2152e-05 | 0.15087 | 0.15087 | 0.15087 | 0.98392 | -0.30674 | 0.98287 | -0.32705 | 41.4475
32 | -0.099398 | -0.025147 | 0.09958 | 0.025263 | 0.00018238 | 0.00011645 | 0.15087 | 0.15087 | 0.15087 | 0.98091 | -0.36521 | 0.98287 | -0.32705 | 41.4475
33 | 0.095699 | 0.02422 | -0.095278 | -0.023951 | 0.00042079 | 0.00026864 | 0.14526 | 0.14526 | 0.14526 | 0.98091 | -0.36521 | 0.9762 | -0.45726 | 39.9062
34 | 0.080572 | 0.02025 | -0.080512 | -0.020211 | 6.0181e-05 | 3.8383e-05 | 0.12284 | 0.12284 | 0.12284 | 0.9762 | -0.45726 | 0.9754 | -0.47292 | 33.7461
35 | 0.014707 | 0.0037012 | -0.014662 | -0.0036757 | 4.449e-05 | 2.5533e-05 | 0.022423 | 0.022424 | 0.022424 | 0.9762 | -0.45726 | 0.97298 | -0.52075 | 6.1604
36 | 0.080512 | 0.020211 | -0.080426 | -0.020157 | 8.5875e-05 | 5.4771e-05 | 0.12284 | 0.12284 | 0.12284 | 0.9754 | -0.47292 | 0.97427 | -0.49531 | 33.7461
37 | 0.0039365 | 0.00098522 | -0.0039355 | -0.00098549 | 9.8789e-07 | -2.7035e-07 | 0.0060197 | 0.0060201 | 0.0060201 | 0.97298 | -0.52075 | 0.97271 | -0.52603 | 1.6539
38 | 0.010726 | 0.0026904 | -0.010717 | -0.0026859 | 8.8378e-06 | 4.5694e-06 | 0.016404 | 0.016404 | 0.016404 | 0.97298 | -0.52075 | 0.9721 | -0.53805 | 4.5067
39 | 0.0039355 | 0.00098549 | -0.0039344 | -0.00098579 | 1.1056e-06 | -3.0186e-07 | 0.0060201 | 0.0060204 | 0.0060204 | 0.97271 | -0.52603 | 0.97241 | -0.53193 | 1.654
40 | 0.0021886 | 0.00054825 | -0.0021885 | -0.00054849 | 1.0188e-07 | -2.3528e-07 | 0.003349 | 0.0033491 | 0.0033491 | 0.97241 | -0.53193 | 0.97236 | -0.5329 | 0.92008
41 | 0.35319 | 0.090979 | -0.35241 | -0.090481 | 0.000779 | 0.00049768 | 0.52726 | 0.52726 | 0.52726 | 0.99842 | -0.029749 | 0.99601 | -0.075177 | 48.2836
42 | -0.35471 | -0.091361 | 0.35512 | 0.091622 | 0.00040932 | 0.00026151 | 0.52953 | 0.52953 | 0.52953 | 0.99842 | -0.029749 | 0.99968 | -0.006066 | 48.4915
43 | 0.34918 | 0.089672 | -0.34917 | -0.089666 | 8.9274e-06 | 5.7033e-06 | 0.52243 | 0.52243 | 0.52243 | 0.99601 | -0.075177 | 0.99599 | -0.075703 | 47.8417
44 | -0.35699 | -0.092092 | 0.35708 | 0.092148 | 8.815e-05 | 5.6318e-05 | 0.53232 | 0.53232 | 0.53232 | 0.99968 | -0.006066 | 0.99995 | -0.0009997 | 48.7468
45 | 0.3465 | 0.088998 | -0.34545 | -0.088327 | 0.0010508 | 0.0006713 | 0.51845 | 0.51845 | 0.51845 | 0.99599 | -0.075703 | 0.99269 | -0.13837 | 47.477
46 | -0.35956 | -0.092769 | 0.35958 | 0.092781 | 1.7518e-05 | 1.1192e-05 | 0.536 | 0.536 | 0.536 | 0.99995 | -0.0009997 | 1 | 0 | 49.0847
47 | 0.3437 | 0.087888 | -0.3436 | -0.087823 | 0.00010235 | 6.5384e-05 | 0.51583 | 0.51583 | 0.51583 | 0.99269 | -0.13837 | 0.99236 | -0.14452 | 47.237
48 | 0.16277 | 0.041567 | -0.16265 | -0.041488 | 0.00012545 | 7.9616e-05 | 0.24248 | 0.24248 | 0.24248 | 1 | 0 | 0.99916 | -0.015958 | 22.2054
49 | 0.15952 | 0.040703 | -0.15948 | -0.040677 | 4.1157e-05 | 2.6112e-05 | 0.23782 | 0.23782 | 0.23782 | 0.99916 | -0.015958 | 0.99888 | -0.021301 | 21.7786
50 | -0.15648 | -0.039904 | 0.15654 | 0.039941 | 5.8217e-05 | 3.6923e-05 | 0.23345 | 0.23345 | 0.23345 | 0.99847 | -0.029003 | 0.99888 | -0.021301 | 21.378
51 | 0.0070115 | 0.0017575 | -0.0070111 | -0.0017573 | 4.3159e-07 | 1.485e-07 | 0.010651 | 0.010651 | 0.010651 | 0.97958 | -0.39165 | 0.97951 | -0.39294 | 2.9261
52 | 0.024413 | 0.0061744 | -0.024403 | -0.0061685 | 9.5405e-06 | 5.8734e-06 | 0.037104 | 0.037104 | 0.037104 | 0.97958 | -0.39165 | 0.97916 | -0.3998 | 10.1934
53 | 0.0070111 | 0.0017573 | -0.0070092 | -0.0017567 | 1.9027e-06 | 6.549e-07 | 0.010651 | 0.010651 | 0.010651 | 0.97951 | -0.39294 | 0.97922 | -0.39864 | 2.9261
54 | 0.024403 | 0.0061685 | -0.024327 | -0.0061219 | 7.5714e-05 | 4.6618e-05 | 0.037104 | 0.037104 | 0.037104 | 0.97916 | -0.3998 | 0.97584 | -0.46471 | 10.1935
55 | 0.024327 | 0.0061219 | -0.024259 | -0.0060799 | 6.8145e-05 | 4.1969e-05 | 0.037104 | 0.037105 | 0.037105 | 0.97584 | -0.46471 | 0.97286 | -0.5235 | 10.1937

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5271 | 0.13513

## res_load
| p_mw | q_mvar
0 | 0.09565 | 0.023972
1 | 0.034495 | 0.0086452
2 | 0.0022257 | 0.0005578
3 | 0.0051278 | 0.0012851
4 | 0.0042628 | 0.0010684
5 | 0.0018332 | 0.00045944
6 | 0.015353 | 0.0038478
7 | 0.0075693 | 0.0018971
8 | 0.010773 | 0.0026999
9 | 0.0015861 | 0.00039751
10 | 0.0028732 | 0.00072008
11 | 0.0013535 | 0.00033923
12 | 0.00196 | 0.00049122
13 | 0.063191 | 0.015837
14 | 0.012197 | 0.0030569
15 | 0.065292 | 0.016364
16 | 0.0051224 | 0.0012838
17 | 0.0011054 | 0.00027704
18 | 0.0053283 | 0.0013354
19 | 0.017457 | 0.004375
20 | 0.0029736 | 0.00074525
21 | 0.0036987 | 0.00092699
22 | 0.080426 | 0.020157
23 | 0.010717 | 0.0026859
24 | 0.0017458 | 0.00043754
25 | 0.0021885 | 0.00054849
26 | 0.0015237 | 0.00038187
27 | 0.00323 | 0.00080951
28 | 0.0018735 | 0.00046953
29 | 0.0026659 | 0.00066814
30 | 0.0024792 | 0.00062134
31 | 0.0017485 | 0.00043821
32 | 0.0031043 | 0.000778
33 | 0.0028375 | 0.00071115
34 | 0.0031294 | 0.0007843
35 | 0.0032519 | 0.00081499
36 | 0.0029366 | 0.00073598
37 | 0.0070092 | 0.0017567
38 | 0.024259 | 0.0060799

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1