## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2308-1_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_2308-1_1_2_node_253 | 0.4 | n |  | TRUE
2 | bus_LV_2308-1_1_2_node_148 | 0.4 | n |  | TRUE
3 | bus_LV_2308-1_1_2_node_149 | 0.4 | n |  | TRUE
4 | bus_LV_2308-1_1_2_node_150 | 0.4 | n |  | TRUE
5 | bus_LV_2308-1_1_2_node_151 | 0.4 | n |  | TRUE
6 | bus_LV_2308-1_1_2_node_152 | 0.4 | n |  | TRUE
7 | bus_LV_2308-1_1_2_node_179 | 0.4 | n |  | TRUE
8 | bus_LV_2308-1_1_2_node_186 | 0.4 | n |  | TRUE
9 | bus_LV_2308-1_1_2_node_154 | 0.4 | n |  | TRUE
10 | bus_LV_2308-1_1_2_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_2308-1_1_2_node_169 | 0.4 | n |  | TRUE
12 | bus_LV_2308-1_1_2_node_170 | 0.4 | n |  | TRUE
13 | bus_LV_2308-1_1_2_node_171 | 0.4 | n |  | TRUE
14 | bus_LV_2308-1_1_2_node_173 | 0.4 | n |  | TRUE
15 | bus_LV_2308-1_1_2_node_172 | 0.4 | n |  | TRUE
16 | bus_LV_2308-1_1_2_node_187 | 0.4 | n |  | TRUE
17 | bus_LV_2308-1_1_2_node_184 | 0.4 | n |  | TRUE
18 | bus_LV_2308-1_1_2_node_174 | 0.4 | n |  | TRUE
19 | bus_LV_2308-1_1_2_node_175 | 0.4 | n |  | TRUE
20 | bus_LV_2308-1_1_2_node_176 | 0.4 | n |  | TRUE
21 | bus_LV_2308-1_1_2_node_178 | 0.4 | n |  | TRUE
22 | bus_LV_2308-1_1_2_node_177 | 0.4 | n |  | TRUE
23 | bus_LV_2308-1_1_2_node_203 | 0.4 | n |  | TRUE
24 | bus_LV_2308-1_1_2_node_181 | 0.4 | n |  | TRUE
25 | bus_LV_2308-1_1_2_node_180 | 0.4 | n |  | TRUE
26 | bus_LV_2308-1_1_2_node_182 | 0.4 | n |  | TRUE
27 | bus_LV_2308-1_1_2_node_183 | 0.4 | n |  | TRUE
28 | bus_LV_2308-1_1_2_node_185 | 0.4 | n |  | TRUE
29 | bus_LV_2308-1_1_2_node_188 | 0.4 | n |  | TRUE
30 | bus_LV_2308-1_1_2_node_189 | 0.4 | n |  | TRUE
31 | bus_LV_2308-1_1_2_node_190 | 0.4 | n |  | TRUE
32 | bus_LV_2308-1_1_2_node_191 | 0.4 | n |  | TRUE
33 | bus_LV_2308-1_1_2_node_192 | 0.4 | n |  | TRUE
34 | bus_LV_2308-1_1_2_node_193 | 0.4 | n |  | TRUE
35 | bus_LV_2308-1_1_2_node_200 | 0.4 | n |  | TRUE
36 | bus_LV_2308-1_1_2_node_208 | 0.4 | n |  | TRUE
37 | bus_LV_2308-1_1_2_node_194 | 0.4 | n |  | TRUE
38 | bus_LV_2308-1_1_2_node_195 | 0.4 | n |  | TRUE
39 | bus_LV_2308-1_1_2_node_196 | 0.4 | n |  | TRUE
40 | bus_LV_2308-1_1_2_node_201 | 0.4 | n |  | TRUE
41 | bus_LV_2308-1_1_2_node_197 | 0.4 | n |  | TRUE
42 | bus_LV_2308-1_1_2_node_207 | 0.4 | n |  | TRUE
43 | bus_LV_2308-1_1_2_node_206 | 0.4 | n |  | TRUE
44 | bus_LV_2308-1_1_2_node_198 | 0.4 | n |  | TRUE
45 | bus_LV_2308-1_1_2_node_199 | 0.4 | n |  | TRUE
46 | bus_LV_2308-1_1_2_node_204 | 0.4 | n |  | TRUE
47 | bus_LV_2308-1_1_2_node_202 | 0.4 | n |  | TRUE
48 | bus_LV_2308-1_1_2_node_205 | 0.4 | n |  | TRUE
49 | bus_MV_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2308-1_1_2_load_6 | 0 | 0.0011943 | 0.00029932 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2308-1_1_2_load_253 | 1 | 0.00279 | 0.00069924 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2308-1_1_2_load_148 | 2 | 0.00029503 | 7.3941e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2308-1_1_2_load_149 | 3 | 0.00066441 | 0.00016652 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2308-1_1_2_load_150 | 4 | 0.0032103 | 0.00080457 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2308-1_1_2_load_152 | 6 | 0.0013447 | 0.00033702 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2308-1_1_2_load_179 | 7 | 0.0022225 | 0.000557 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2308-1_1_2_load_186 | 8 | 0.00048961 | 0.00012271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2308-1_1_2_load_154 | 9 | 0.0011467 | 0.00028738 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2308-1_1_2_load_153 | 10 | 0.0024497 | 0.00061394 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2308-1_1_2_load_169 | 11 | 0.0020743 | 0.00051988 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2308-1_1_2_load_170 | 12 | 0.001014 | 0.00025413 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2308-1_1_2_load_171 | 13 | 0.00044126 | 0.00011059 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2308-1_1_2_load_173 | 14 | 0.00031623 | 7.9255e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2308-1_1_2_load_187 | 16 | 0.00075181 | 0.00018842 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2308-1_1_2_load_174 | 18 | 0.0011806 | 0.0002959 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2308-1_1_2_load_175 | 19 | 0.0012419 | 0.00031126 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2308-1_1_2_load_178 | 21 | 0.00017845 | 4.4724e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2308-1_1_2_load_203 | 23 | 0.0018235 | 0.000457 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2308-1_1_2_load_181 | 24 | 0.00040071 | 0.00010043 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2308-1_1_2_load_180 | 25 | 0.0013764 | 0.00034495 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2308-1_1_2_load_182 | 26 | 0.0005627 | 0.00014102 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2308-1_1_2_load_183 | 27 | 0.00055468 | 0.00013902 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2308-1_1_2_load_185 | 28 | 0.0010626 | 0.0002663 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2308-1_1_2_load_188 | 29 | 0.0012856 | 0.0003222 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2308-1_1_2_load_189 | 30 | 0.00049264 | 0.00012347 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2308-1_1_2_load_190 | 31 | 0.00030775 | 7.7129e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2308-1_1_2_load_191 | 32 | 0.0001267 | 3.1755e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2308-1_1_2_load_192 | 33 | 0.00026512 | 6.6445e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2308-1_1_2_load_208 | 36 | 0.00073181 | 0.00018341 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2308-1_1_2_load_194 | 37 | 0.0027192 | 0.0006815 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2308-1_1_2_load_196 | 39 | 0.00059276 | 0.00014856 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2308-1_1_2_load_201 | 40 | 0.00026718 | 6.6961e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2308-1_1_2_load_207 | 42 | 0.00024857 | 6.2297e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2308-1_1_2_load_206 | 43 | 0.0014746 | 0.00036956 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2308-1_1_2_load_198 | 44 | 0.00024649 | 6.1777e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2308-1_1_2_load_199 | 45 | 0.00012403 | 3.1084e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2308-1_1_2_load_202 | 47 | 0.0011152 | 0.00027949 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2308-1_1_2_load_205 | 48 | 0.0022026 | 0.00055203 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2308-1_1_2_line_0 |  | 0 | 1 | 0.28794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2308-1_1_2_line_1 |  | 1 | 15 | 0.55541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2308-1_1_2_line_2 |  | 2 | 3 | 0.021975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2308-1_1_2_line_3 |  | 2 | 4 | 0.035841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2308-1_1_2_line_4 |  | 3 | 5 | 0.064401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2308-1_1_2_line_5 |  | 4 | 6 | 0.029622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2308-1_1_2_line_6 |  | 5 | 7 | 0.096339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2308-1_1_2_line_7 |  | 5 | 8 | 0.13883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2308-1_1_2_line_8 |  | 6 | 9 | 0.0035422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2308-1_1_2_line_9 |  | 7 | 25 | 0.0040965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2308-1_1_2_line_10 |  | 8 | 28 | 0.0034355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2308-1_1_2_line_11 |  | 9 | 10 | 0.032118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2308-1_1_2_line_12 |  | 11 | 12 | 0.025931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2308-1_1_2_line_13 |  | 11 | 13 | 0.089921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2308-1_1_2_line_14 |  | 12 | 14 | 0.0028483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2308-1_1_2_line_15 |  | 13 | 15 | 0.042187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2308-1_1_2_line_16 |  | 14 | 17 | 0.25204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2308-1_1_2_line_17 |  | 15 | 16 | 0.13 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2308-1_1_2_line_18 |  | 17 | 26 | 0.016297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2308-1_1_2_line_19 |  | 18 | 19 | 0.017269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2308-1_1_2_line_20 |  | 18 | 20 | 0.033408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2308-1_1_2_line_21 |  | 19 | 21 | 0.14126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2308-1_1_2_line_22 |  | 20 | 22 | 0.082446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2308-1_1_2_line_23 |  | 21 | 24 | 0.36587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2308-1_1_2_line_24 |  | 22 | 23 | 0.088082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2308-1_1_2_line_25 |  | 23 | 48 | 0.036752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2308-1_1_2_line_26 |  | 23 | 47 | 0.042681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2308-1_1_2_line_27 |  | 24 | 25 | 0.0068729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2308-1_1_2_line_28 |  | 26 | 27 | 0.025236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2308-1_1_2_line_29 |  | 27 | 28 | 0.045296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2308-1_1_2_line_30 |  | 29 | 30 | 0.0038461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2308-1_1_2_line_31 |  | 29 | 31 | 0.0016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2308-1_1_2_line_32 |  | 30 | 32 | 0.026378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2308-1_1_2_line_33 |  | 31 | 33 | 0.041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2308-1_1_2_line_34 |  | 32 | 34 | 0.00048208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2308-1_1_2_line_35 |  | 34 | 35 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2308-1_1_2_line_36 |  | 34 | 36 | 0.01729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2308-1_1_2_line_37 |  | 35 | 40 | 0.034417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2308-1_1_2_line_38 |  | 35 | 44 | 0.0089989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2308-1_1_2_line_39 |  | 36 | 42 | 0.020881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2308-1_1_2_line_40 |  | 37 | 38 | 0.010857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2308-1_1_2_line_41 |  | 38 | 39 | 0.025179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2308-1_1_2_line_42 |  | 39 | 40 | 0.0050677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2308-1_1_2_line_43 |  | 41 | 42 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2308-1_1_2_line_44 |  | 41 | 43 | 0.031831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2308-1_1_2_line_45 |  | 44 | 45 | 0.027784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2308-1_1_2_line_46 |  | 45 | 46 | 0.091805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2308-1_1_2_line_47 |  | 46 | 47 | 0.016793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2308-1_1_2_trafo_181 | 0.63 MVA 20/0.4 kV | 49 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2590441.6196 | 1191585.231 | 2590511.3779 | 1191305.8642
1 | 2590441.6196 | 1191585.231 | 2589911.0008 | 1191749.3286
2 | 2590064.6263 | 1192384.4104 | 2590068.7967 | 1192375.9256 | 2590070.7662 | 1192363.5606
3 | 2590064.6263 | 1192384.4104 | 2590055.9891 | 1192401.983 | 2590048.988 | 1192416.6592
4 | 2590064.0971 | 1192300.5382 | 2590068.9665 | 1192313.4258 | 2590071.3564 | 1192324.9945 | 2590073.0812 | 1192349.0265 | 2590070.7662 | 1192363.5606
5 | 2590037.1369 | 1192443.7285 | 2590038.5117 | 1192438.6205 | 2590048.988 | 1192416.6592
6 | 2590064.0971 | 1192300.5382 | 2590125.3721 | 1192226.1968
7 | 2590064.0971 | 1192300.5382 | 2589983.1773 | 1192187.7259
8 | 2590037.1369 | 1192443.7285 | 2590036.2163 | 1192447.149
9 | 2590125.3721 | 1192226.1968 | 2590129.4631 | 1192226.4101
10 | 2589983.1773 | 1192187.7259 | 2589981.6356 | 1192184.6558
11 | 2590027.8721 | 1192478.1638 | 2590030.6867 | 1192467.6934 | 2590036.2163 | 1192447.149
12 | 2589849.5769 | 1191848.5733 | 2589856.6493 | 1191852.7868 | 2589870.988 | 1191863.161
13 | 2589849.5769 | 1191848.5733 | 2589870.592 | 1191761.1426
14 | 2589873.2957 | 1191864.8307 | 2589870.988 | 1191863.161
15 | 2589911.0008 | 1191749.3286 | 2589889.7833 | 1191756.9354 | 2589870.592 | 1191761.1426
16 | 2589948.4923 | 1192105.3968 | 2589873.2957 | 1191864.8307
17 | 2589911.0008 | 1191749.3286 | 2589875.4913 | 1191624.2721
18 | 2589948.4923 | 1192105.3968 | 2589949.9834 | 1192121.625
19 | 2590593.7349 | 1192456.7544 | 2590583.8892 | 1192455.9282 | 2590576.5224 | 1192455.3595
20 | 2590627.0952 | 1192457.9052 | 2590607.4222 | 1192457.903 | 2590593.7349 | 1192456.7544
21 | 2590576.5224 | 1192455.3595 | 2590436.6255 | 1192435.7753
22 | 2590627.0952 | 1192457.9052 | 2590629.9259 | 1192440.436 | 2590645.0254 | 1192377.479
23 | 2590436.6255 | 1192435.7753 | 2590136.3266 | 1192226.7678
24 | 2590645.0254 | 1192377.479 | 2590715.6542 | 1192324.8483
25 | 2590752.0511 | 1192327.8946 | 2590734.0505 | 1192326.2568 | 2590726.9093 | 1192326.935 | 2590718.5612 | 1192325.9031 | 2590715.6542 | 1192324.8483
26 | 2590692.7394 | 1192298.5958 | 2590691.9923 | 1192303.3884 | 2590690.0499 | 1192309.0833 | 2590690.5049 | 1192312.4622 | 2590694.7159 | 1192314.6234 | 2590704.6449 | 1192317.6094 | 2590712.3988 | 1192323.6671 | 2590715.6542 | 1192324.8483
27 | 2590129.4631 | 1192226.4101 | 2590136.3266 | 1192226.7678
28 | 2589949.9834 | 1192121.625 | 2589949.9834 | 1192121.625 | 2589961.3082 | 1192144.1768
29 | 2589961.3082 | 1192144.1768 | 2589981.6356 | 1192184.6558
30 | 2590629.1971 | 1192153.0202 | 2590632.8128 | 1192154.3313
31 | 2590629.1971 | 1192153.0202 | 2590627.6764 | 1192152.4687
32 | 2590632.8128 | 1192154.3313 | 2590634.6278 | 1192154.9895 | 2590652.8404 | 1192161.1973 | 2590657.8101 | 1192162.7462
33 | 2590590.6826 | 1192134.9784 | 2590591.613 | 1192135.5584 | 2590604.3693 | 1192142.6864 | 2590620.0983 | 1192149.7207 | 2590627.6764 | 1192152.4687
34 | 2590658.2703 | 1192162.8897 | 2590657.8101 | 1192162.7462
35 | 2590658.2703 | 1192162.8897 | 2590665.0273 | 1192164.9913 | 2590668.8258 | 1192166.5639
36 | 2590658.2703 | 1192162.8897 | 2590658.6915 | 1192154.3957 | 2590655.951 | 1192146.0483
37 | 2590668.8258 | 1192166.5639 | 2590669.9952 | 1192163.7161 | 2590672.7486 | 1192159.8875 | 2590679.666 | 1192157.3976 | 2590698.0227 | 1192151.5329
38 | 2590668.8258 | 1192166.5639 | 2590674.7906 | 1192169.0336 | 2590676.7332 | 1192170.6747
39 | 2590654.9895 | 1192125.9331 | 2590653.7895 | 1192129.8349 | 2590652.7784 | 1192136.3844 | 2590655.951 | 1192146.0483
40 | 2590708.3266 | 1192127.9371 | 2590713.5678 | 1192125.8501 | 2590717.1903 | 1192122.098
41 | 2590708.3266 | 1192127.9371 | 2590709.5484 | 1192134.1718 | 2590710.022 | 1192139.6629 | 2590708.8861 | 1192144.4227 | 2590706.3381 | 1192148.0397 | 2590702.85 | 1192149.9907
42 | 2590702.85 | 1192149.9907 | 2590698.0227 | 1192151.5329
43 | 2590658.4005 | 1192114.842 | 2590654.9895 | 1192125.9331
44 | 2590658.4005 | 1192114.842 | 2590659.9829 | 1192103.2 | 2590664.5041 | 1192083.6331
45 | 2590676.7332 | 1192170.6747 | 2590680.767 | 1192174.0824 | 2590686.3117 | 1192180.8662 | 2590691.0138 | 1192189.9525 | 2590692.3623 | 1192193.1939
46 | 2590692.3623 | 1192193.1939 | 2590684.4471 | 1192284.657
47 | 2590684.4471 | 1192284.657 | 2590687.759 | 1192287.0642 | 2590691.2286 | 1192292.7507 | 2590692.7394 | 1192298.5958

## bus_geodata
| x | y | coords
0 | 2590511.3779 | 1191305.8642
1 | 2590441.6196 | 1191585.231
2 | 2590064.6263 | 1192384.4104
3 | 2590070.7662 | 1192363.5606
4 | 2590048.988 | 1192416.6592
5 | 2590064.0971 | 1192300.5382
6 | 2590037.1369 | 1192443.7285
7 | 2590125.3721 | 1192226.1969
8 | 2589983.1773 | 1192187.7259
9 | 2590036.2163 | 1192447.149
10 | 2590027.8721 | 1192478.1638
11 | 2589849.5769 | 1191848.5733
12 | 2589870.988 | 1191863.161
13 | 2589870.592 | 1191761.1426
14 | 2589873.2957 | 1191864.8307
15 | 2589911.0008 | 1191749.3286
16 | 2589875.4913 | 1191624.2721
17 | 2589948.4923 | 1192105.3968
18 | 2590593.7349 | 1192456.7544
19 | 2590576.5224 | 1192455.3595
20 | 2590627.0952 | 1192457.9052
21 | 2590436.6255 | 1192435.7753
22 | 2590645.0254 | 1192377.479
23 | 2590715.6542 | 1192324.8483
24 | 2590136.3266 | 1192226.7678
25 | 2590129.4631 | 1192226.4101
26 | 2589949.9834 | 1192121.625
27 | 2589961.3082 | 1192144.1768
28 | 2589981.6356 | 1192184.6558
29 | 2590629.1971 | 1192153.0202
30 | 2590632.8128 | 1192154.3313
31 | 2590627.6764 | 1192152.4687
32 | 2590657.8101 | 1192162.7462
33 | 2590590.6826 | 1192134.9784
34 | 2590658.2703 | 1192162.8897
35 | 2590668.8258 | 1192166.5639
36 | 2590655.951 | 1192146.0483
37 | 2590717.1903 | 1192122.098
38 | 2590708.3266 | 1192127.9371
39 | 2590702.85 | 1192149.9907
40 | 2590698.0227 | 1192151.5329
41 | 2590658.4005 | 1192114.842
42 | 2590654.9895 | 1192125.9331
43 | 2590664.5041 | 1192083.6332
44 | 2590676.7332 | 1192170.6747
45 | 2590692.3623 | 1192193.1939
46 | 2590684.4471 | 1192284.657
47 | 2590692.7394 | 1192298.5958
48 | 2590752.0511 | 1192327.8946
49 | 2590136.3266 | 1192226.7678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99067 | -0.1807 | 0.0011943 | 0.00029932
1 | 0.99098 | -0.17457 | 0.00279 | 0.00069924
2 | 0.99728 | -0.052401 | 0.00029503 | 7.3941e-05
3 | 0.99745 | -0.049147 | 0.00066441 | 0.00016652
4 | 0.99701 | -0.057524 | 0.0032103 | 0.00080457
5 | 0.99798 | -0.038868 | 0 | 0
6 | 0.99688 | -0.060092 | 0.0013447 | 0.00033702
7 | 0.99977 | -0.004496 | 0.0022225 | 0.000557
8 | 0.99655 | -0.066368 | 0.00048961 | 0.00012271
9 | 0.99687 | -0.060315 | 0.0011467 | 0.00028738
10 | 0.99679 | -0.061695 | 0.0024497 | 0.00061394
11 | 0.99361 | -0.12335 | 0.0020743 | 0.00051988
12 | 0.99378 | -0.12002 | 0.001014 | 0.00025413
13 | 0.99319 | -0.13163 | 0.00044126 | 0.00011059
14 | 0.99381 | -0.1196 | 0.00031623 | 7.9255e-05
15 | 0.99301 | -0.13519 | 0 | 0
16 | 0.99292 | -0.13692 | 0.00075181 | 0.00018842
17 | 0.99578 | -0.081319 | 0 | 0
18 | 0.99205 | -0.15258 | 0.0011806 | 0.0002959
19 | 0.99229 | -0.14792 | 0.0012419 | 0.00031126
20 | 0.99162 | -0.16089 | 0 | 0
21 | 0.99442 | -0.10682 | 0.00017845 | 4.4724e-05
22 | 0.99056 | -0.18144 | 0 | 0
23 | 0.98943 | -0.20343 | 0.0018235 | 0.000457
24 | 1 | 0 | -0.042503 | -0.010302
25 | 0.99985 | -0.0028783 | 0.0013764 | 0.00034495
26 | 0.99591 | -0.078848 | 0.0005627 | 0.00014102
27 | 0.99612 | -0.074773 | 0.00055468 | 0.00013902
28 | 0.99652 | -0.06702 | 0.0010626 | 0.0002663
29 | 0.98774 | -0.23623 | 0.0012856 | 0.0003222
30 | 0.98775 | -0.2361 | 0.00049264 | 0.00012347
31 | 0.98774 | -0.23624 | 0.00030775 | 7.7129e-05
32 | 0.9878 | -0.23499 | 0.0001267 | 3.1755e-05
33 | 0.98773 | -0.23644 | 0.00026512 | 6.6445e-05
34 | 0.98781 | -0.23497 | 0 | 0
35 | 0.98786 | -0.23398 | 0 | 0
36 | 0.98777 | -0.23573 | 0.00073181 | 0.00018341
37 | 0.98764 | -0.23824 | 0.0027192 | 0.0006815
38 | 0.98767 | -0.23771 | 0 | 0
39 | 0.98773 | -0.23648 | 0.00059276 | 0.00014856
40 | 0.98774 | -0.23618 | 0.00026718 | 6.6961e-05
41 | 0.98772 | -0.23668 | 0 | 0
42 | 0.98773 | -0.23637 | 0.00024857 | 6.2297e-05
43 | 0.98768 | -0.23751 | 0.0014746 | 0.00036956
44 | 0.98793 | -0.23261 | 0.00024649 | 6.1777e-05
45 | 0.98815 | -0.22826 | 0.00012403 | 3.1084e-05
46 | 0.9889 | -0.2137 | 0 | 0
47 | 0.98904 | -0.21104 | 0.0011152 | 0.00027949
48 | 0.98935 | -0.20487 | 0.0022026 | 0.00055203
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0011943 | -0.00029932 | 0.0011947 | 0.00029584 | 3.4723e-07 | -3.4864e-06 | 0.0017939 | 0.0017926 | 0.0017939 | 0.99067 | -0.1807 | 0.99098 | -0.17457 | 0.49283
1 | -0.0039847 | -0.00099508 | 0.0039921 | 0.00099268 | 7.4499e-06 | -2.4025e-06 | 0.005982 | 0.0059794 | 0.005982 | 0.99098 | -0.17457 | 0.99301 | -0.13519 | 1.6434
2 | -0.0084491 | -0.0021173 | 0.0084504 | 0.0021179 | 1.3097e-06 | 5.5141e-07 | 0.012607 | 0.012607 | 0.012607 | 0.99728 | -0.052401 | 0.99745 | -0.049147 | 3.4634
3 | 0.0081541 | 0.0020434 | -0.0081521 | -0.0020426 | 1.9895e-06 | 8.0577e-07 | 0.012166 | 0.012167 | 0.012167 | 0.99728 | -0.052401 | 0.99701 | -0.057524 | 3.3425
4 | -0.0091149 | -0.0022844 | 0.0091193 | 0.0022864 | 4.4653e-06 | 2.0168e-06 | 0.013598 | 0.013597 | 0.013598 | 0.99745 | -0.049147 | 0.99798 | -0.038868 | 3.7357
5 | 0.0049418 | 0.001238 | -0.0049412 | -0.001238 | 6.0426e-07 | 4.7974e-10 | 0.0073754 | 0.0073755 | 0.0073755 | 0.99701 | -0.057524 | 0.99688 | -0.060092 | 2.0262
6 | -0.02042 | -0.0051168 | 0.020453 | 0.005137 | 3.3489e-05 | 2.0172e-05 | 0.030446 | 0.030446 | 0.030446 | 0.99798 | -0.038868 | 0.99977 | -0.004496 | 8.3644
7 | 0.011301 | 0.0028304 | -0.011286 | -0.0028228 | 1.478e-05 | 7.648e-06 | 0.016849 | 0.01685 | 0.01685 | 0.99798 | -0.038868 | 0.99655 | -0.066368 | 4.629
8 | 0.0035965 | 0.00090098 | -0.0035965 | -0.000901 | 3.8281e-08 | -2.1681e-08 | 0.0053683 | 0.0053683 | 0.0053683 | 0.99688 | -0.060092 | 0.99687 | -0.060315 | 1.4748
9 | -0.022676 | -0.005694 | 0.022678 | 0.0056951 | 1.7502e-06 | 1.0664e-06 | 0.033754 | 0.033754 | 0.033754 | 0.99977 | -0.004496 | 0.99985 | -0.0028783 | 9.273
10 | 0.010796 | 0.0027001 | -0.010796 | -0.0026999 | 3.3471e-07 | 1.6946e-07 | 0.016119 | 0.016119 | 0.016119 | 0.99655 | -0.066368 | 0.99652 | -0.06702 | 4.4282
11 | 0.0024498 | 0.00061363 | -0.0024497 | -0.00061394 | 1.6105e-07 | -3.1562e-07 | 0.0036567 | 0.0036569 | 0.0036569 | 0.99687 | -0.060315 | 0.99679 | -0.061695 | 1.0046
12 | -0.0072624 | -0.00181 | 0.0072636 | 0.0018104 | 1.1495e-06 | 3.9975e-07 | 0.010873 | 0.010872 | 0.010873 | 0.99361 | -0.12335 | 0.99378 | -0.12002 | 2.987
13 | 0.0051881 | 0.0012901 | -0.0051861 | -0.00129 | 2.0338e-06 | 1.3747e-07 | 0.007766 | 0.0077664 | 0.0077664 | 0.99361 | -0.12335 | 0.99319 | -0.13163 | 2.1336
14 | -0.0082776 | -0.0020646 | 0.0082777 | 0.0020646 | 1.6399e-07 | 6.8046e-08 | 0.012391 | 0.012391 | 0.012391 | 0.99378 | -0.12002 | 0.99381 | -0.1196 | 3.404
15 | 0.0047448 | 0.0011794 | -0.004744 | -0.0011795 | 7.9871e-07 | -3.4671e-08 | 0.0071053 | 0.0071055 | 0.0071055 | 0.99319 | -0.13163 | 0.99301 | -0.13519 | 1.9521
16 | -0.008594 | -0.0021439 | 0.0086096 | 0.0021506 | 1.564e-05 | 6.7372e-06 | 0.012864 | 0.012863 | 0.012864 | 0.99381 | -0.1196 | 0.99578 | -0.081319 | 3.5341
17 | 0.00075187 | 0.00018678 | -0.00075181 | -0.00018842 | 6.1852e-08 | -1.642e-06 | 0.0011261 | 0.0011267 | 0.0011267 | 0.99301 | -0.13519 | 0.99292 | -0.13692 | 0.30953
18 | -0.0086096 | -0.0021506 | 0.0086106 | 0.0021511 | 1.0111e-06 | 4.351e-07 | 0.012863 | 0.012863 | 0.012863 | 0.99578 | -0.081319 | 0.99591 | -0.078848 | 3.5338
19 | -0.015253 | -0.0038332 | 0.015257 | 0.0038351 | 3.3908e-06 | 1.9471e-06 | 0.022882 | 0.022882 | 0.022882 | 0.99205 | -0.15258 | 0.99229 | -0.14792 | 6.2864
20 | 0.014072 | 0.0035373 | -0.014067 | -0.0035341 | 5.5838e-06 | 3.1425e-06 | 0.021112 | 0.021112 | 0.021112 | 0.99205 | -0.15258 | 0.99162 | -0.16089 | 5.7999
21 | -0.016498 | -0.0041464 | 0.016531 | 0.0041653 | 3.2435e-05 | 1.8929e-05 | 0.024745 | 0.024744 | 0.024745 | 0.99229 | -0.14792 | 0.99442 | -0.10682 | 6.798
22 | 0.014067 | 0.0035341 | -0.014053 | -0.0035264 | 1.378e-05 | 7.7569e-06 | 0.021112 | 0.021112 | 0.021112 | 0.99162 | -0.16089 | 0.99056 | -0.18144 | 5.8
23 | -0.016709 | -0.00421 | 0.016795 | 0.0042602 | 8.5822e-05 | 5.0153e-05 | 0.025011 | 0.025009 | 0.025011 | 0.99442 | -0.10682 | 1 | 0 | 6.8712
24 | 0.014053 | 0.0035264 | -0.014038 | -0.0035181 | 1.4723e-05 | 8.29e-06 | 0.021112 | 0.021113 | 0.021113 | 0.99056 | -0.18144 | 0.98943 | -0.20343 | 5.8001
25 | 0.0022028 | 0.00055166 | -0.0022026 | -0.00055203 | 1.5125e-07 | -3.7519e-07 | 0.0033127 | 0.0033128 | 0.0033128 | 0.98943 | -0.20343 | 0.98935 | -0.20487 | 0.91012
26 | 0.010012 | 0.0025094 | -0.010009 | -0.0025076 | 3.6289e-06 | 1.7746e-06 | 0.015058 | 0.015058 | 0.015058 | 0.98943 | -0.20343 | 0.98904 | -0.21104 | 4.1367
27 | 0.024057 | 0.0060421 | -0.024054 | -0.00604 | 3.3036e-06 | 2.0242e-06 | 0.035802 | 0.035802 | 0.035802 | 1 | 0 | 0.99985 | -0.0028783 | 9.8358
28 | -0.0091733 | -0.0022921 | 0.0091751 | 0.0022929 | 1.7771e-06 | 8.0891e-07 | 0.013704 | 0.013704 | 0.013704 | 0.99591 | -0.078848 | 0.99612 | -0.074773 | 3.7647
29 | -0.0097298 | -0.0024319 | 0.0097334 | 0.0024336 | 3.5871e-06 | 1.7059e-06 | 0.014532 | 0.014532 | 0.014532 | 0.99612 | -0.074773 | 0.99652 | -0.06702 | 3.9923
30 | -0.0018585 | -0.00046523 | 0.0018585 | 0.00046519 | 1.1304e-08 | -4.1995e-08 | 0.0027996 | 0.0027996 | 0.0027996 | 0.98774 | -0.23623 | 0.98775 | -0.2361 | 0.76911
31 | 0.00057287 | 0.00014303 | -0.00057287 | -0.00014305 | 4.5155e-10 | -2.0414e-08 | 0.00086283 | 0.00086283 | 0.00086283 | 0.98774 | -0.23623 | 0.98774 | -0.23624 | 0.23704
32 | -0.0023511 | -0.00058865 | 0.0023513 | 0.0005884 | 1.2407e-07 | -2.5824e-07 | 0.0035417 | 0.0035416 | 0.0035417 | 0.98775 | -0.2361 | 0.9878 | -0.23499 | 0.97299
33 | 0.00026512 | 6.5922e-05 | -0.00026512 | -6.6445e-05 | 2.4515e-09 | -5.2321e-07 | 0.00039922 | 0.0003994 | 0.0003994 | 0.98774 | -0.23624 | 0.98773 | -0.23644 | 0.10973
34 | -0.002478 | -0.00062015 | 0.002478 | 0.00062015 | 2.5185e-09 | -4.5598e-09 | 0.0037324 | 0.0037324 | 0.0037324 | 0.9878 | -0.23499 | 0.98781 | -0.23497 | 1.0254
35 | -0.0049331 | -0.0012345 | 0.0049334 | 0.0012345 | 2.3104e-07 | 5.0108e-09 | 0.0074305 | 0.0074305 | 0.0074305 | 0.98781 | -0.23497 | 0.98786 | -0.23398 | 2.0414
36 | 0.0024552 | 0.00061436 | -0.0024551 | -0.00061452 | 8.8673e-08 | -1.6458e-07 | 0.0036981 | 0.0036982 | 0.0036982 | 0.98781 | -0.23497 | 0.98777 | -0.23573 | 1.016
37 | 0.0035798 | 0.00089646 | -0.0035794 | -0.00089666 | 3.7525e-07 | -2.0042e-07 | 0.005392 | 0.0053922 | 0.0053922 | 0.98786 | -0.23398 | 0.98774 | -0.23618 | 1.4814
38 | -0.0085132 | -0.002131 | 0.0085137 | 0.0021312 | 5.5484e-07 | 2.3988e-07 | 0.012823 | 0.012822 | 0.012823 | 0.98786 | -0.23398 | 0.98793 | -0.23261 | 3.5227
39 | 0.0017233 | 0.00043112 | -0.0017232 | -0.00043135 | 5.276e-08 | -2.335e-07 | 0.0025957 | 0.0025958 | 0.0025958 | 0.98777 | -0.23573 | 0.98773 | -0.23637 | 0.71314
40 | -0.0027192 | -0.00068149 | 0.0027193 | 0.0006814 | 6.8334e-08 | -9.5204e-08 | 0.0040969 | 0.0040968 | 0.0040969 | 0.98764 | -0.23824 | 0.98767 | -0.23771 | 1.1255
41 | -0.0027193 | -0.0006814 | 0.0027194 | 0.00068118 | 1.5847e-07 | -2.2083e-07 | 0.0040968 | 0.0040967 | 0.0040968 | 0.98767 | -0.23771 | 0.98773 | -0.23648 | 1.1255
42 | -0.0033122 | -0.00082974 | 0.0033122 | 0.0008297 | 4.7314e-08 | -3.4583e-08 | 0.0049897 | 0.0049897 | 0.0049897 | 0.98773 | -0.23648 | 0.98774 | -0.23618 | 1.3708
43 | -0.0014746 | -0.00036919 | 0.0014746 | 0.00036905 | 2.1472e-08 | -1.3478e-07 | 0.0022214 | 0.0022214 | 0.0022214 | 0.98772 | -0.23668 | 0.98773 | -0.23637 | 0.61028
44 | 0.0014746 | 0.00036919 | -0.0014746 | -0.00036956 | 5.8908e-08 | -3.6969e-07 | 0.0022214 | 0.0022216 | 0.0022216 | 0.98772 | -0.23668 | 0.98768 | -0.23751 | 0.61032
45 | -0.0087602 | -0.002193 | 0.008762 | 0.0021938 | 1.8136e-06 | 8.049e-07 | 0.013194 | 0.013194 | 0.013194 | 0.98793 | -0.23261 | 0.98815 | -0.22826 | 3.6247
46 | -0.008886 | -0.0022249 | 0.0088922 | 0.0022276 | 6.1634e-06 | 2.7676e-06 | 0.01338 | 0.01338 | 0.01338 | 0.98815 | -0.22826 | 0.9889 | -0.2137 | 3.6759
47 | -0.0088922 | -0.0022276 | 0.0088933 | 0.0022282 | 1.1274e-06 | 5.0603e-07 | 0.01338 | 0.01338 | 0.01338 | 0.9889 | -0.2137 | 0.98904 | -0.21104 | 3.6758

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.042903 | 0.010403

## res_load
| p_mw | q_mvar
0 | 0.0011943 | 0.00029932
1 | 0.00279 | 0.00069924
2 | 0.00029503 | 7.3941e-05
3 | 0.00066441 | 0.00016652
4 | 0.0032103 | 0.00080457
5 | 0.0013447 | 0.00033702
6 | 0.0022225 | 0.000557
7 | 0.00048961 | 0.00012271
8 | 0.0011467 | 0.00028738
9 | 0.0024497 | 0.00061394
10 | 0.0020743 | 0.00051988
11 | 0.001014 | 0.00025413
12 | 0.00044126 | 0.00011059
13 | 0.00031623 | 7.9255e-05
14 | 0.00075181 | 0.00018842
15 | 0.0011806 | 0.0002959
16 | 0.0012419 | 0.00031126
17 | 0.00017845 | 4.4724e-05
18 | 0.0018235 | 0.000457
19 | 0.00040071 | 0.00010043
20 | 0.0013764 | 0.00034495
21 | 0.0005627 | 0.00014102
22 | 0.00055468 | 0.00013902
23 | 0.0010626 | 0.0002663
24 | 0.0012856 | 0.0003222
25 | 0.00049264 | 0.00012347
26 | 0.00030775 | 7.7129e-05
27 | 0.0001267 | 3.1755e-05
28 | 0.00026512 | 6.6445e-05
29 | 0.00073181 | 0.00018341
30 | 0.0027192 | 0.0006815
31 | 0.00059276 | 0.00014856
32 | 0.00026718 | 6.6961e-05
33 | 0.00024857 | 6.2297e-05
34 | 0.0014746 | 0.00036956
35 | 0.00024649 | 6.1777e-05
36 | 0.00012403 | 3.1084e-05
37 | 0.0011152 | 0.00027949
38 | 0.0022026 | 0.00055203

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1