## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2309-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2309-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2309-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2309-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2309-12_0_4_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_2309-12_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_2309-12_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2309-12_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2309-12_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2309-12_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2309-12_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2309-12_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2309-12_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2309-12_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2309-12_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2309-12_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2309-12_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2309-12_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2309-12_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2309-12_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2309-12_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2309-12_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_2309-12_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_2309-12_0_4_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_2309-12_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_2309-12_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2309-12_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2309-12_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2309-12_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2309-12_0_4_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_2309-12_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2309-12_0_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_2309-12_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_2309-12_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2309-12_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2309-12_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2309-12_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2309-12_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2309-12_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2309-12_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2309-12_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_2309-12_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2309-12_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2309-12_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2309-12_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2309-12_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2309-12_0_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_2309-12_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2309-12_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_2309-12_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_2309-12_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2309-12_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2309-12_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_2309-12_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2309-12_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2309-12_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2309-12_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_2309-12_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_2309-12_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_MV_120_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2309-12_0_4_load_0 | 0 | 0.0005458 | 0.00013679 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2309-12_0_4_load_1 | 1 | 0.0012265 | 0.00030739 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2309-12_0_4_load_2 | 2 | 0.0015414 | 0.00038631 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2309-12_0_4_load_3 | 3 | 0.0016807 | 0.00042121 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2309-12_0_4_load_38 | 4 | 0.0031807 | 0.00079715 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2309-12_0_4_load_29 | 5 | 0.010494 | 0.0026299 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2309-12_0_4_load_7 | 6 | 0.00063142 | 0.00015825 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2309-12_0_4_load_5 | 7 | 0.0010421 | 0.00026116 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2309-12_0_4_load_4 | 8 | 0.00079788 | 0.00019997 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2309-12_0_4_load_6 | 9 | 0.0021032 | 0.00052711 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2309-12_0_4_load_8 | 10 | 0.0011073 | 0.00027751 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2309-12_0_4_load_10 | 12 | 0.0057449 | 0.0014398 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2309-12_0_4_load_11 | 13 | 0.0036839 | 0.00092328 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2309-12_0_4_load_16 | 14 | 0.0023345 | 0.00058509 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2309-12_0_4_load_22 | 15 | 0.0042844 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2309-12_0_4_load_14 | 16 | 0.0025728 | 0.0006448 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2309-12_0_4_load_12 | 18 | 0.007409 | 0.0018569 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2309-12_0_4_load_13 | 19 | 0.0020337 | 0.0005097 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2309-12_0_4_load_36 | 21 | 0.0022655 | 0.00056779 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2309-12_0_4_load_37 | 22 | 0.0033219 | 0.00083256 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2309-12_0_4_load_45 | 23 | 0.0033963 | 0.0008512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2309-12_0_4_load_17 | 25 | 0.0018344 | 0.00045974 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2309-12_0_4_load_18 | 26 | 0.0014188 | 0.00035558 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2309-12_0_4_load_20 | 27 | 0.0014726 | 0.00036907 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2309-12_0_4_load_21 | 28 | 0.0025515 | 0.00063946 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2309-12_0_4_load_28 | 30 | 0.0008177 | 0.00020493 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2309-12_0_4_load_51 | 31 | 0.0014035 | 0.00035176 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2309-12_0_4_load_47 | 32 | 0.001749 | 0.00043834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2309-12_0_4_load_23 | 33 | 0.027818 | 0.0069719 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2309-12_0_4_load_26 | 36 | 0.0042944 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2309-12_0_4_load_27 | 37 | 0.0074499 | 0.0018671 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2309-12_0_4_load_32 | 38 | 0.0023066 | 0.00057808 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2309-12_0_4_load_40 | 39 | 0.005989 | 0.001501 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2309-12_0_4_load_31 | 40 | 0.047571 | 0.011922 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2309-12_0_4_load_30 | 41 | 0.049766 | 0.012473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2309-12_0_4_load_33 | 42 | 0.011523 | 0.0028881 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2309-12_0_4_load_34 | 43 | 0.0086852 | 0.0021767 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2309-12_0_4_load_56 | 45 | 0.001567 | 0.00039274 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2309-12_0_4_load_59 | 46 | 0.0068892 | 0.0017266 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2309-12_0_4_load_58 | 48 | 0.0055905 | 0.0014011 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2309-12_0_4_load_41 | 50 | 0.015757 | 0.0039491 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2309-12_0_4_load_55 | 52 | 0.0043803 | 0.0010978 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2309-12_0_4_load_52 | 53 | 0.0019614 | 0.00049157 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2309-12_0_4_load_57 | 54 | 0.0018593 | 0.00046598 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2309-12_0_4_load_48 | 55 | 0.0014769 | 0.00037015 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2309-12_0_4_load_50 | 56 | 0.0020102 | 0.0005038 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2309-12_0_4_load_54 | 57 | 0.0015431 | 0.00038674 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2309-12_0_4_load_53 | 58 | 0.002596 | 0.00065062 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2309-12_0_4_line_0 |  | 0 | 1 | 0.018892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2309-12_0_4_line_1 |  | 0 | 2 | 0.013445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2309-12_0_4_line_2 |  | 2 | 3 | 0.024833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2309-12_0_4_line_3 |  | 3 | 6 | 0.019161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2309-12_0_4_line_4 |  | 4 | 5 | 0.10114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2309-12_0_4_line_5 |  | 5 | 30 | 0.003455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2309-12_0_4_line_6 |  | 6 | 7 | 0.0016237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2309-12_0_4_line_7 |  | 7 | 8 | 0.011376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2309-12_0_4_line_8 |  | 8 | 9 | 0.0041971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2309-12_0_4_line_9 |  | 9 | 10 | 0.06061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2309-12_0_4_line_10 |  | 10 | 11 | 0.12709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2309-12_0_4_line_11 |  | 11 | 12 | 0.034026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2309-12_0_4_line_12 |  | 11 | 13 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2309-12_0_4_line_13 |  | 12 | 14 | 0.0087296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2309-12_0_4_line_14 |  | 13 | 15 | 0.028477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2309-12_0_4_line_15 |  | 14 | 16 | 0.020239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2309-12_0_4_line_16 |  | 15 | 17 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2309-12_0_4_line_17 |  | 16 | 18 | 0.021573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2309-12_0_4_line_18 |  | 17 | 28 | 0.041435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2309-12_0_4_line_19 |  | 17 | 25 | 0.022236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2309-12_0_4_line_20 |  | 19 | 20 | 0.00052966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2309-12_0_4_line_21 |  | 20 | 21 | 0.016083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2309-12_0_4_line_22 |  | 20 | 22 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2309-12_0_4_line_23 |  | 21 | 23 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2309-12_0_4_line_24 |  | 22 | 24 | 0.023361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2309-12_0_4_line_25 |  | 23 | 49 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2309-12_0_4_line_26 |  | 24 | 39 | 0.022788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2309-12_0_4_line_27 |  | 24 | 36 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2309-12_0_4_line_28 |  | 25 | 26 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2309-12_0_4_line_29 |  | 26 | 27 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2309-12_0_4_line_30 |  | 27 | 29 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2309-12_0_4_line_31 |  | 28 | 30 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2309-12_0_4_line_32 |  | 29 | 31 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2309-12_0_4_line_33 |  | 29 | 32 | 0.03031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2309-12_0_4_line_34 |  | 31 | 47 | 0.0054047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2309-12_0_4_line_35 |  | 32 | 55 | 0.0088745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2309-12_0_4_line_36 |  | 33 | 34 | 0.038946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2309-12_0_4_line_37 |  | 33 | 35 | 0.055006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2309-12_0_4_line_38 |  | 34 | 36 | 0.040517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2309-12_0_4_line_39 |  | 35 | 37 | 0.01646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2309-12_0_4_line_40 |  | 37 | 38 | 0.02614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2309-12_0_4_line_41 |  | 38 | 40 | 0.054606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2309-12_0_4_line_42 |  | 40 | 41 | 0.043175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2309-12_0_4_line_43 |  | 42 | 43 | 0.020246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2309-12_0_4_line_44 |  | 43 | 44 | 0.016912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2309-12_0_4_line_45 |  | 44 | 45 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2309-12_0_4_line_46 |  | 44 | 46 | 0.033778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2309-12_0_4_line_47 |  | 45 | 47 | 0.0077762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2309-12_0_4_line_48 |  | 46 | 48 | 0.017224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2309-12_0_4_line_49 |  | 47 | 51 | 0.047215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2309-12_0_4_line_50 |  | 48 | 54 | 0.0017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2309-12_0_4_line_51 |  | 49 | 52 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_2309-12_0_4_line_52 |  | 49 | 53 | 0.025216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2309-12_0_4_line_53 |  | 50 | 51 | 0.016027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2309-12_0_4_line_54 |  | 52 | 54 | 0.017162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2309-12_0_4_line_55 |  | 55 | 56 | 0.00056557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2309-12_0_4_line_56 |  | 56 | 57 | 0.0092314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2309-12_0_4_line_57 |  | 57 | 58 | 0.0084423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2309-12_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 59 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2591952.2219 | 1193151.3856 | 2591970.9627 | 1193149.0007
1 | 2591952.2219 | 1193151.3856 | 2591938.8847 | 1193153.0828
2 | 2591938.8847 | 1193153.0828 | 2591933.1068 | 1193153.818 | 2591923.7792 | 1193154.5422 | 2591914.6338 | 1193154.677 | 2591914.1281 | 1193154.649
3 | 2591895.0506 | 1193152.9473 | 2591897.3086 | 1193153.2777 | 2591907.5759 | 1193154.2864 | 2591914.1281 | 1193154.649
4 | 2591683.4547 | 1193078.0787 | 2591761.038 | 1193013.1891
5 | 2591683.4547 | 1193078.0787 | 2591683.8549 | 1193081.5105
6 | 2591895.0506 | 1193152.9473 | 2591893.444 | 1193152.7122
7 | 2591882.1738 | 1193151.1679 | 2591886.5451 | 1193151.7027 | 2591893.444 | 1193152.7122
8 | 2591882.1738 | 1193151.1679 | 2591878.0077 | 1193150.6583 | 2591878.0077 | 1193150.6583
9 | 2591825.9546 | 1193178.8712 | 2591842.7952 | 1193165.9147 | 2591851.8176 | 1193159.3988 | 2591855.7314 | 1193156.8699 | 2591859.8894 | 1193154.4963 | 2591864.1776 | 1193152.5894 | 2591868.7562 | 1193151.2046 | 2591873.1527 | 1193150.5093 | 2591878.0077 | 1193150.6583
10 | 2591700.2291 | 1193197.4404 | 2591825.9546 | 1193178.8712
11 | 2591700.2291 | 1193197.4404 | 2591696.9624 | 1193199.4794 | 2591692.4863 | 1193203.1765 | 2591690.3165 | 1193204.8248 | 2591671.8758 | 1193216.1578
12 | 2591700.2291 | 1193197.4404 | 2591698.4617 | 1193186.7451
13 | 2591671.8758 | 1193216.1578 | 2591664.4384 | 1193220.7286
14 | 2591698.4617 | 1193186.7451 | 2591693.8189 | 1193158.6496
15 | 2591664.4384 | 1193220.7286 | 2591647.1952 | 1193231.3256
16 | 2591691.3645 | 1193142.3571 | 2591692.6271 | 1193151.4379 | 2591693.8189 | 1193158.6496
17 | 2591647.1952 | 1193231.3256 | 2591628.8153 | 1193242.6212
18 | 2591691.3645 | 1193142.3571 | 2591689.6184 | 1193130.9424 | 2591686.1571 | 1193101.2559
19 | 2591691.3645 | 1193142.3571 | 2591682.5126 | 1193139.8793 | 2591678.0218 | 1193138.5849 | 2591669.8044 | 1193136.9905
20 | 2591584.1916 | 1193256.8784 | 2591583.6698 | 1193256.9695
21 | 2591583.6698 | 1193256.9695 | 2591582.1785 | 1193240.9561
22 | 2591583.6698 | 1193256.9695 | 2591577.9403 | 1193258.1004 | 2591571.0412 | 1193259.7459
23 | 2591582.1785 | 1193240.9561 | 2591581.0694 | 1193229.0473 | 2591582.7153 | 1193226.9475
24 | 2591548.7404 | 1193266.6687 | 2591567.3428 | 1193260.6279 | 2591571.0412 | 1193259.7459
25 | 2591589.5746 | 1193218.1962 | 2591582.7153 | 1193226.9475
26 | 2591546.5208 | 1193243.9933 | 2591548.7404 | 1193266.6687
27 | 2591548.7404 | 1193266.6687 | 2591536.3994 | 1193270.3883 | 2591531.84 | 1193271.443
28 | 2591669.8044 | 1193136.9905 | 2591669.1481 | 1193136.8632 | 2591656.4655 | 1193134.9365
29 | 2591656.4655 | 1193134.9365 | 2591644.0873 | 1193133.0562
30 | 2591627.8321 | 1193131.0516 | 2591635.5764 | 1193131.7633 | 2591644.0873 | 1193133.0562
31 | 2591683.8549 | 1193081.5105 | 2591686.1571 | 1193101.2559
32 | 2591627.8321 | 1193131.0516 | 2591623.7314 | 1193130.7906 | 2591615.9203 | 1193130.9068
33 | 2591627.8321 | 1193131.0516 | 2591627.9543 | 1193161.3614
34 | 2591610.5163 | 1193130.9872 | 2591615.9203 | 1193130.9068
35 | 2591627.9543 | 1193161.3614 | 2591627.9901 | 1193170.2359
36 | 2591493.6004 | 1193282.1447 | 2591529.8691 | 1193296.3347
37 | 2591573.9864 | 1193328.8322 | 2591535.0752 | 1193298.3716 | 2591529.8691 | 1193296.3347
38 | 2591493.6004 | 1193282.1447 | 2591495.571 | 1193279.9073 | 2591498.3654 | 1193278.0912 | 2591501.496 | 1193276.8639 | 2591512.6967 | 1193275.1803 | 2591523.7295 | 1193273.3191 | 2591531.84 | 1193271.443
39 | 2591573.9864 | 1193328.8322 | 2591589.5761 | 1193323.5523
40 | 2591614.335 | 1193315.1669 | 2591589.5761 | 1193323.5523
41 | 2591614.335 | 1193315.1669 | 2591617.0023 | 1193314.2636 | 2591630.6725 | 1193312.7768 | 2591646.8521 | 1193323.5597 | 2591648.6788 | 1193342.0658
42 | 2591663.1584 | 1193380.5656 | 2591661.348 | 1193378.0235 | 2591651.1277 | 1193366.8765 | 2591648.6788 | 1193342.0658
43 | 2591551.1857 | 1193131.8453 | 2591571.4289 | 1193131.5281
44 | 2591588.3384 | 1193131.2632 | 2591571.4289 | 1193131.5281
45 | 2591588.3384 | 1193131.2632 | 2591602.7406 | 1193131.084
46 | 2591588.3384 | 1193131.2632 | 2591588.9266 | 1193165.0357
47 | 2591610.5163 | 1193130.9872 | 2591602.7406 | 1193131.084
48 | 2591589.2265 | 1193182.2573 | 2591588.9266 | 1193165.0357
49 | 2591610.1141 | 1193083.7851 | 2591610.3339 | 1193120.6487 | 2591610.5163 | 1193130.9872
50 | 2591589.2575 | 1193184.0407 | 2591589.2265 | 1193182.2573
51 | 2591589.5746 | 1193218.1962 | 2591589.5505 | 1193201.1997
52 | 2591589.5746 | 1193218.1962 | 2591606.1072 | 1193219.7069 | 2591613.5274 | 1193215.3304
53 | 2591610.1141 | 1193083.7851 | 2591618.9238 | 1193083.2946 | 2591626.1258 | 1193083.151
54 | 2591589.2575 | 1193184.0407 | 2591589.5499 | 1193200.8315 | 2591589.5505 | 1193201.1997
55 | 2591627.9901 | 1193170.2359 | 2591627.9924 | 1193170.8015
56 | 2591628.0296 | 1193180.0327 | 2591627.9924 | 1193170.8015
57 | 2591628.0296 | 1193180.0327 | 2591628.0636 | 1193188.4749

## bus_geodata
| x | y | coords
0 | 2591952.2219 | 1193151.3856
1 | 2591970.9627 | 1193149.0007
2 | 2591938.8847 | 1193153.0828
3 | 2591914.1281 | 1193154.649
4 | 2591761.038 | 1193013.1891
5 | 2591683.4547 | 1193078.0787
6 | 2591895.0506 | 1193152.9473
7 | 2591893.444 | 1193152.7122
8 | 2591882.1738 | 1193151.1679
9 | 2591878.0077 | 1193150.6583
10 | 2591825.9546 | 1193178.8712
11 | 2591700.2291 | 1193197.4404
12 | 2591671.8758 | 1193216.1578
13 | 2591698.4617 | 1193186.7451
14 | 2591664.4384 | 1193220.7286
15 | 2591693.8189 | 1193158.6496
16 | 2591647.1952 | 1193231.3256
17 | 2591691.3645 | 1193142.3571
18 | 2591628.8153 | 1193242.6212
19 | 2591584.1916 | 1193256.8784
20 | 2591583.6698 | 1193256.9695
21 | 2591582.1785 | 1193240.9561
22 | 2591571.0412 | 1193259.7459
23 | 2591582.7153 | 1193226.9475
24 | 2591548.7404 | 1193266.6687
25 | 2591669.8044 | 1193136.9905
26 | 2591656.4655 | 1193134.9365
27 | 2591644.0873 | 1193133.0562
28 | 2591686.1571 | 1193101.2559
29 | 2591627.8321 | 1193131.0516
30 | 2591683.8549 | 1193081.5105
31 | 2591615.9203 | 1193130.9068
32 | 2591627.9543 | 1193161.3614
33 | 2591529.8691 | 1193296.3347
34 | 2591493.6004 | 1193282.1447
35 | 2591573.9864 | 1193328.8322
36 | 2591531.84 | 1193271.443
37 | 2591589.5761 | 1193323.5523
38 | 2591614.335 | 1193315.1669
39 | 2591546.5208 | 1193243.9933
40 | 2591648.6788 | 1193342.0658
41 | 2591663.1585 | 1193380.5656
42 | 2591551.1857 | 1193131.8453
43 | 2591571.4289 | 1193131.5281
44 | 2591588.3384 | 1193131.2632
45 | 2591602.7406 | 1193131.084
46 | 2591588.9266 | 1193165.0357
47 | 2591610.5163 | 1193130.9872
48 | 2591589.2265 | 1193182.2573
49 | 2591589.5746 | 1193218.1962
50 | 2591626.1258 | 1193083.151
51 | 2591610.1141 | 1193083.7851
52 | 2591589.5505 | 1193201.1997
53 | 2591613.5274 | 1193215.3304
54 | 2591589.2575 | 1193184.0407
55 | 2591627.9901 | 1193170.2359
56 | 2591627.9924 | 1193170.8015
57 | 2591628.0296 | 1193180.0327
58 | 2591628.0636 | 1193188.4749
59 | 2591583.6698 | 1193256.9695

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99264 | -0.14021 | 0.0005458 | 0.00013679
1 | 0.99262 | -0.14062 | 0.0012265 | 0.00030739
2 | 0.99266 | -0.13979 | 0.0015414 | 0.00038631
3 | 0.99273 | -0.13833 | 0.0016807 | 0.00042121
4 | 0.99021 | -0.18642 | 0.0031807 | 0.00079715
5 | 0.9905 | -0.1807 | 0.010494 | 0.0026299
6 | 0.99282 | -0.13664 | 0.00063142 | 0.00015825
7 | 0.99283 | -0.13648 | 0.0010421 | 0.00026116
8 | 0.9929 | -0.13514 | 0.00079788 | 0.00019997
9 | 0.99293 | -0.13458 | 0.0021032 | 0.00052711
10 | 0.99346 | -0.12433 | 0.0011073 | 0.00027751
11 | 0.9947 | -0.10038 | 0 | 0
12 | 0.99679 | -0.060649 | 0.0057449 | 0.0014398
13 | 0.99406 | -0.11257 | 0.0036839 | 0.00092328
14 | 0.99734 | -0.050261 | 0.0023345 | 0.00058509
15 | 0.9924 | -0.14418 | 0.0042844 | 0.0010738
16 | 0.99862 | -0.026017 | 0.0025728 | 0.0006448
17 | 0.99145 | -0.16221 | 0 | 0
18 | 1 | 0 | -0.28286 | -0.072355
19 | 0.98126 | -0.35893 | 0.0020337 | 0.0005097
20 | 0.98126 | -0.35891 | 0 | 0
21 | 0.98182 | -0.34795 | 0.0022655 | 0.00056779
22 | 0.98081 | -0.36761 | 0.0033219 | 0.00083256
23 | 0.98234 | -0.33785 | 0.0033963 | 0.0008512
24 | 0.98002 | -0.38299 | 0 | 0
25 | 0.99027 | -0.18491 | 0.0018344 | 0.00045974
26 | 0.98955 | -0.1986 | 0.0014188 | 0.00035558
27 | 0.9889 | -0.21124 | 0.0014726 | 0.00036907
28 | 0.99081 | -0.17474 | 0.0025515 | 0.00063946
29 | 0.98804 | -0.22771 | 0 | 0
30 | 0.99054 | -0.17986 | 0.0008177 | 0.00020493
31 | 0.98744 | -0.2392 | 0.0014035 | 0.00035176
32 | 0.98778 | -0.23278 | 0.001749 | 0.00043834
33 | 0.97695 | -0.44292 | 0.027818 | 0.0069719
34 | 0.97818 | -0.41896 | 0 | 0
35 | 0.97558 | -0.46986 | 0 | 0
36 | 0.97945 | -0.39409 | 0.0042944 | 0.0010763
37 | 0.97517 | -0.47793 | 0.0074499 | 0.0018671
38 | 0.97457 | -0.48988 | 0.0023066 | 0.00057808
39 | 0.97989 | -0.38546 | 0.005989 | 0.001501
40 | 0.97333 | -0.5143 | 0.047571 | 0.011922
41 | 0.97283 | -0.52418 | 0.049766 | 0.012473
42 | 0.98563 | -0.27432 | 0.011523 | 0.0028881
43 | 0.98584 | -0.27014 | 0.0086852 | 0.0021767
44 | 0.98616 | -0.26401 | 0 | 0
45 | 0.98682 | -0.25129 | 0.001567 | 0.00039274
46 | 0.98477 | -0.29083 | 0.0068892 | 0.0017266
47 | 0.98717 | -0.24438 | 0 | 0
48 | 0.98409 | -0.304 | 0.0055905 | 0.0014011
49 | 0.98274 | -0.33001 | 0 | 0
50 | 0.98626 | -0.26222 | 0.015757 | 0.0039491
51 | 0.98649 | -0.2577 | 0 | 0
52 | 0.98337 | -0.31788 | 0.0043803 | 0.0010978
53 | 0.9827 | -0.3309 | 0.0019614 | 0.00049157
54 | 0.98402 | -0.30532 | 0.0018593 | 0.00046598
55 | 0.98772 | -0.23399 | 0.0014769 | 0.00037015
56 | 0.98771 | -0.23405 | 0.0020102 | 0.0005038
57 | 0.98768 | -0.23473 | 0.0015431 | 0.00038674
58 | 0.98766 | -0.23513 | 0.002596 | 0.00065062
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0012265 | 0.00030716 | -0.0012265 | -0.00030739 | 2.3949e-08 | -2.2888e-07 | 0.0018386 | 0.0018386 | 0.0018386 | 0.99264 | -0.14021 | 0.99262 | -0.14062 | 0.50512
1 | -0.0017723 | -0.00044395 | 0.0017724 | 0.0004438 | 3.5585e-08 | -1.5103e-07 | 0.0026567 | 0.0026567 | 0.0026567 | 0.99264 | -0.14021 | 0.99266 | -0.13979 | 0.72987
2 | -0.0033138 | -0.00083011 | 0.003314 | 0.00082994 | 2.2977e-07 | -1.74e-07 | 0.0049673 | 0.0049671 | 0.0049673 | 0.99266 | -0.13979 | 0.99273 | -0.13833 | 1.3646
3 | -0.0049946 | -0.0012511 | 0.004995 | 0.0012512 | 4.027e-07 | 9.965e-09 | 0.0074863 | 0.0074862 | 0.0074863 | 0.99273 | -0.13833 | 0.99282 | -0.13664 | 2.0567
4 | -0.0031807 | -0.00079715 | 0.0031815 | 0.0007964 | 8.6641e-07 | -7.4694e-07 | 0.0047797 | 0.0047792 | 0.0047797 | 0.99021 | -0.18642 | 0.9905 | -0.1807 | 1.3131
5 | -0.013675 | -0.0034263 | 0.013676 | 0.0034266 | 5.4681e-07 | 3.0548e-07 | 0.020544 | 0.020544 | 0.020544 | 0.9905 | -0.1807 | 0.99054 | -0.17986 | 5.6438
6 | -0.0056265 | -0.0014094 | 0.0056265 | 0.0014094 | 4.3298e-08 | 6.7129e-09 | 0.0084326 | 0.0084325 | 0.0084326 | 0.99282 | -0.13664 | 0.99283 | -0.13648 | 2.3166
7 | -0.0066686 | -0.0016706 | 0.006669 | 0.0016707 | 4.2613e-07 | 1.2559e-07 | 0.0099943 | 0.0099943 | 0.0099943 | 0.99283 | -0.13648 | 0.9929 | -0.13514 | 2.7457
8 | -0.0074669 | -0.0018707 | 0.0074671 | 0.0018707 | 1.9708e-07 | 7.1846e-08 | 0.01119 | 0.01119 | 0.01119 | 0.9929 | -0.13514 | 0.99293 | -0.13458 | 3.0742
9 | -0.0095703 | -0.0023979 | 0.0095749 | 0.0024001 | 4.675e-06 | 2.2076e-06 | 0.014342 | 0.014342 | 0.014342 | 0.99293 | -0.13458 | 0.99346 | -0.12433 | 3.9401
10 | -0.010682 | -0.0026776 | 0.010694 | 0.0026837 | 1.22e-05 | 6.1606e-06 | 0.016 | 0.016 | 0.016 | 0.99346 | -0.12433 | 0.9947 | -0.10038 | 4.3956
11 | -0.26922 | -0.068833 | 0.26973 | 0.069163 | 0.00051863 | 0.00033016 | 0.40322 | 0.40322 | 0.40322 | 0.9947 | -0.10038 | 0.99679 | -0.060649 | 27.6935
12 | 0.25852 | 0.066149 | -0.25837 | -0.066052 | 0.00015238 | 9.696e-05 | 0.38722 | 0.38722 | 0.38722 | 0.9947 | -0.10038 | 0.99406 | -0.11257 | 26.5947
13 | -0.27548 | -0.070602 | 0.27562 | 0.070691 | 0.00013878 | 8.8363e-05 | 0.41179 | 0.41179 | 0.41179 | 0.99679 | -0.060649 | 0.99734 | -0.050261 | 28.2825
14 | 0.25468 | 0.065129 | -0.2543 | -0.064881 | 0.00038897 | 0.00024746 | 0.3817 | 0.3817 | 0.3817 | 0.99406 | -0.11257 | 0.9924 | -0.14418 | 26.216
15 | -0.27795 | -0.071276 | 0.27828 | 0.071484 | 0.00032722 | 0.00020836 | 0.41528 | 0.41528 | 0.41528 | 0.99734 | -0.050261 | 0.99862 | -0.026017 | 28.5217
16 | 0.25001 | 0.063807 | -0.24979 | -0.063669 | 0.00021756 | 0.00013839 | 0.37528 | 0.37528 | 0.37528 | 0.9924 | -0.14418 | 0.99145 | -0.16221 | 25.7748
17 | -0.28085 | -0.072129 | 0.28121 | 0.072355 | 0.00035526 | 0.00022623 | 0.41911 | 0.41911 | 0.41911 | 0.99862 | -0.026017 | 1 | 0 | 28.785
18 | 0.017059 | 0.004279 | -0.017048 | -0.004273 | 1.0186e-05 | 5.985e-06 | 0.025604 | 0.025604 | 0.025604 | 0.99145 | -0.16221 | 0.99081 | -0.17474 | 7.034
19 | 0.23274 | 0.05939 | -0.23248 | -0.059228 | 0.0002549 | 0.00016199 | 0.34968 | 0.34968 | 0.34968 | 0.99145 | -0.16221 | 0.99027 | -0.18491 | 24.0163
20 | -0.0020337 | -0.0005097 | 0.0020337 | 0.00050969 | 1.8891e-09 | -5.4813e-09 | 0.003084 | 0.003084 | 0.003084 | 0.98126 | -0.35893 | 0.98126 | -0.35891 | 0.84725
21 | -0.15149 | -0.038313 | 0.15157 | 0.038363 | 7.9652e-05 | 5.0164e-05 | 0.22984 | 0.22984 | 0.22984 | 0.98126 | -0.35891 | 0.98182 | -0.34795 | 15.786
22 | 0.14945 | 0.037804 | -0.14939 | -0.037764 | 6.2344e-05 | 3.9247e-05 | 0.22676 | 0.22676 | 0.22676 | 0.98126 | -0.35891 | 0.98081 | -0.36761 | 15.5742
23 | -0.15383 | -0.038931 | 0.15391 | 0.038978 | 7.4629e-05 | 4.7022e-05 | 0.23328 | 0.23328 | 0.23328 | 0.98182 | -0.34795 | 0.98234 | -0.33785 | 16.0218
24 | 0.14607 | 0.036932 | -0.14596 | -0.036864 | 0.00010766 | 6.7727e-05 | 0.22172 | 0.22172 | 0.22172 | 0.98081 | -0.36761 | 0.98002 | -0.38299 | 15.2281
25 | -0.1573 | -0.039829 | 0.15736 | 0.039867 | 5.9256e-05 | 3.7361e-05 | 0.23842 | 0.23842 | 0.23842 | 0.98234 | -0.33785 | 0.98274 | -0.33001 | 16.3751
26 | 0.0059897 | 0.0015012 | -0.005989 | -0.001501 | 7.0681e-07 | 1.6526e-07 | 0.0090945 | 0.0090946 | 0.0090946 | 0.98002 | -0.38299 | 0.97989 | -0.38546 | 2.4985
27 | 0.13997 | 0.035363 | -0.1399 | -0.035316 | 7.4466e-05 | 4.6773e-05 | 0.21263 | 0.21263 | 0.21263 | 0.98002 | -0.38299 | 0.97945 | -0.39409 | 14.6035
28 | 0.23065 | 0.058768 | -0.23049 | -0.058671 | 0.00015229 | 9.6769e-05 | 0.34692 | 0.34692 | 0.34692 | 0.99027 | -0.18491 | 0.98955 | -0.1986 | 23.827
29 | 0.22907 | 0.058316 | -0.22894 | -0.058227 | 0.00013954 | 8.866e-05 | 0.34479 | 0.34479 | 0.34479 | 0.98955 | -0.1986 | 0.9889 | -0.21124 | 23.6805
30 | 0.22746 | 0.057858 | -0.22728 | -0.057744 | 0.00018027 | 0.00011454 | 0.34257 | 0.34257 | 0.34257 | 0.9889 | -0.21124 | 0.98804 | -0.22771 | 23.5284
31 | 0.014497 | 0.0036336 | -0.014493 | -0.0036316 | 3.5336e-06 | 2.0056e-06 | 0.021772 | 0.021772 | 0.021772 | 0.99081 | -0.17474 | 0.99054 | -0.17986 | 5.9813
32 | 0.2179 | 0.055393 | -0.21778 | -0.055316 | 0.00012056 | 7.6551e-05 | 0.32845 | 0.32845 | 0.32845 | 0.98804 | -0.22771 | 0.98744 | -0.2392 | 22.5583
33 | 0.0093781 | 0.0023508 | -0.0093759 | -0.0023497 | 2.2674e-06 | 1.0631e-06 | 0.014124 | 0.014124 | 0.014124 | 0.98804 | -0.22771 | 0.98778 | -0.23278 | 3.8802
34 | 0.21638 | 0.054964 | -0.21633 | -0.05493 | 5.3959e-05 | 3.4257e-05 | 0.32633 | 0.32633 | 0.32633 | 0.98744 | -0.2392 | 0.98717 | -0.24438 | 22.4131
35 | 0.0076269 | 0.0019114 | -0.0076264 | -0.0019112 | 4.393e-07 | 1.6756e-07 | 0.011489 | 0.011489 | 0.011489 | 0.98778 | -0.23278 | 0.98772 | -0.23399 | 3.1564
36 | -0.13529 | -0.034041 | 0.13544 | 0.034139 | 0.0001551 | 9.7309e-05 | 0.2061 | 0.2061 | 0.2061 | 0.97695 | -0.44292 | 0.97818 | -0.41896 | 14.1555
37 | 0.10747 | 0.027069 | -0.10733 | -0.026984 | 0.00013825 | 8.5728e-05 | 0.16373 | 0.16373 | 0.16373 | 0.97695 | -0.44292 | 0.97558 | -0.46986 | 11.2455
38 | -0.13544 | -0.034139 | 0.1356 | 0.03424 | 0.00016135 | 0.00010123 | 0.2061 | 0.2061 | 0.2061 | 0.97818 | -0.41896 | 0.97945 | -0.39409 | 14.1555
39 | 0.10733 | 0.026984 | -0.10729 | -0.026958 | 4.1369e-05 | 2.5654e-05 | 0.16373 | 0.16373 | 0.16373 | 0.97558 | -0.46986 | 0.97517 | -0.47793 | 11.2455
40 | 0.099837 | 0.025091 | -0.099781 | -0.025056 | 5.6894e-05 | 3.5108e-05 | 0.15237 | 0.15237 | 0.15237 | 0.97517 | -0.47793 | 0.97457 | -0.48988 | 10.4648
41 | 0.097474 | 0.024478 | -0.097361 | -0.024408 | 0.00011342 | 6.9871e-05 | 0.14885 | 0.14885 | 0.14885 | 0.97457 | -0.48988 | 0.97333 | -0.5143 | 10.223
42 | 0.04979 | 0.012485 | -0.049766 | -0.012473 | 2.3454e-05 | 1.2865e-05 | 0.076121 | 0.076122 | 0.076122 | 0.97333 | -0.5143 | 0.97283 | -0.52418 | 5.2281
43 | -0.011523 | -0.0028881 | 0.011526 | 0.0028893 | 2.2978e-06 | 1.2125e-06 | 0.017397 | 0.017397 | 0.017397 | 0.98563 | -0.27432 | 0.98584 | -0.27014 | 4.7794
44 | -0.020211 | -0.005066 | 0.020217 | 0.0050695 | 5.902e-06 | 3.5616e-06 | 0.030506 | 0.030506 | 0.030506 | 0.98584 | -0.27014 | 0.98616 | -0.26401 | 8.3809
45 | -0.1988 | -0.050461 | 0.19892 | 0.050538 | 0.00012169 | 7.7145e-05 | 0.3002 | 0.3002 | 0.3002 | 0.98616 | -0.26401 | 0.98682 | -0.25129 | 20.6181
46 | 0.17858 | 0.045392 | -0.17835 | -0.045246 | 0.00023032 | 0.00014569 | 0.26969 | 0.26969 | 0.26969 | 0.98616 | -0.26401 | 0.98477 | -0.29083 | 18.5229
47 | -0.20049 | -0.050931 | 0.20056 | 0.050973 | 6.6737e-05 | 4.2314e-05 | 0.30256 | 0.30256 | 0.30256 | 0.98682 | -0.25129 | 0.98717 | -0.24438 | 20.7803
48 | 0.17146 | 0.043519 | -0.17136 | -0.043451 | 0.00010856 | 6.8601e-05 | 0.25928 | 0.25928 | 0.25928 | 0.98477 | -0.29083 | 0.98409 | -0.304 | 17.808
49 | 0.01577 | 0.0039568 | -0.01576 | -0.003951 | 1.0007e-05 | 5.801e-06 | 0.023773 | 0.023773 | 0.023773 | 0.98717 | -0.24438 | 0.98649 | -0.2577 | 6.5311
50 | 0.16576 | 0.04205 | -0.16575 | -0.042043 | 1.0521e-05 | 6.6428e-06 | 0.25083 | 0.25083 | 0.25083 | 0.98409 | -0.304 | 0.98402 | -0.30532 | 17.2274
51 | -0.15932 | -0.040358 | 0.15942 | 0.040417 | 9.2848e-05 | 5.8561e-05 | 0.24139 | 0.24139 | 0.24139 | 0.98274 | -0.33001 | 0.98337 | -0.31788 | 16.5791
52 | 0.0019615 | 0.00049131 | -0.0019614 | -0.00049157 | 8.3407e-08 | -2.661e-07 | 0.0029699 | 0.00297 | 0.00297 | 0.98274 | -0.33001 | 0.9827 | -0.3309 | 0.81593
53 | -0.015757 | -0.0039491 | 0.01576 | 0.003951 | 3.3967e-06 | 1.9693e-06 | 0.023773 | 0.023773 | 0.023773 | 0.98626 | -0.26222 | 0.98649 | -0.2577 | 6.5311
54 | -0.1638 | -0.041515 | 0.1639 | 0.041577 | 9.8969e-05 | 6.2469e-05 | 0.24802 | 0.24802 | 0.24802 | 0.98337 | -0.31788 | 0.98402 | -0.30532 | 17.0343
55 | 0.0061495 | 0.0015411 | -0.0061495 | -0.001541 | 1.8203e-08 | 4.411e-09 | 0.0092643 | 0.0092643 | 0.0092643 | 0.98772 | -0.23399 | 0.98771 | -0.23405 | 2.5451
56 | 0.0041393 | 0.0010373 | -0.0041392 | -0.0010373 | 1.3462e-07 | -3.1992e-08 | 0.0062359 | 0.0062359 | 0.0062359 | 0.98771 | -0.23405 | 0.98768 | -0.23473 | 1.7132
57 | 0.0025961 | 0.00065055 | -0.002596 | -0.00065062 | 4.8429e-08 | -7.7047e-08 | 0.0039112 | 0.0039112 | 0.0039112 | 0.98768 | -0.23473 | 0.98766 | -0.23513 | 1.0745

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29027 | 0.074212

## res_load
| p_mw | q_mvar
0 | 0.0005458 | 0.00013679
1 | 0.0012265 | 0.00030739
2 | 0.0015414 | 0.00038631
3 | 0.0016807 | 0.00042121
4 | 0.0031807 | 0.00079715
5 | 0.010494 | 0.0026299
6 | 0.00063142 | 0.00015825
7 | 0.0010421 | 0.00026116
8 | 0.00079788 | 0.00019997
9 | 0.0021032 | 0.00052711
10 | 0.0011073 | 0.00027751
11 | 0.0057449 | 0.0014398
12 | 0.0036839 | 0.00092328
13 | 0.0023345 | 0.00058509
14 | 0.0042844 | 0.0010738
15 | 0.0025728 | 0.0006448
16 | 0.007409 | 0.0018569
17 | 0.0020337 | 0.0005097
18 | 0.0022655 | 0.00056779
19 | 0.0033219 | 0.00083256
20 | 0.0033963 | 0.0008512
21 | 0.0018344 | 0.00045974
22 | 0.0014188 | 0.00035558
23 | 0.0014726 | 0.00036907
24 | 0.0025515 | 0.00063946
25 | 0.0008177 | 0.00020493
26 | 0.0014035 | 0.00035176
27 | 0.001749 | 0.00043834
28 | 0.027818 | 0.0069719
29 | 0.0042944 | 0.0010763
30 | 0.0074499 | 0.0018671
31 | 0.0023066 | 0.00057808
32 | 0.005989 | 0.001501
33 | 0.047571 | 0.011922
34 | 0.049766 | 0.012473
35 | 0.011523 | 0.0028881
36 | 0.0086852 | 0.0021767
37 | 0.001567 | 0.00039274
38 | 0.0068892 | 0.0017266
39 | 0.0055905 | 0.0014011
40 | 0.015757 | 0.0039491
41 | 0.0043803 | 0.0010978
42 | 0.0019614 | 0.00049157
43 | 0.0018593 | 0.00046598
44 | 0.0014769 | 0.00037015
45 | 0.0020102 | 0.0005038
46 | 0.0015431 | 0.00038674
47 | 0.002596 | 0.00065062

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1