## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2309-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2309-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2309-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2309-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2309-3_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2309-3_0_5_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2309-3_0_5_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_2309-3_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2309-3_0_5_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_2309-3_0_5_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_2309-3_0_5_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2309-3_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2309-3_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2309-3_0_5_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_2309-3_0_5_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_2309-3_0_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2309-3_0_5_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_2309-3_0_5_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2309-3_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2309-3_0_5_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_2309-3_0_5_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_2309-3_0_5_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_2309-3_0_5_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_2309-3_0_5_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2309-3_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2309-3_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_2309-3_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2309-3_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2309-3_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_2309-3_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2309-3_0_5_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_2309-3_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2309-3_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2309-3_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2309-3_0_5_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_2309-3_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2309-3_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2309-3_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2309-3_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_2309-3_0_5_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_2309-3_0_5_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_2309-3_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2309-3_0_5_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_2309-3_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2309-3_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2309-3_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2309-3_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2309-3_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2309-3_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2309-3_0_5_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_2309-3_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_2309-3_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_2309-3_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_2309-3_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2309-3_0_5_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_2309-3_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2309-3_0_5_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_2309-3_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_2309-3_0_5_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_2309-3_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_2309-3_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2309-3_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_2309-3_0_5_node_65 | 0.4 | n |  | TRUE
63 | bus_MV_120_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2309-3_0_5_load_0 | 0 | 0.030081 | 0.007539 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2309-3_0_5_load_1 | 1 | 0.011618 | 0.0029117 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2309-3_0_5_load_63 | 6 | 0.0041374 | 0.0010369 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2309-3_0_5_load_29 | 9 | 0.016558 | 0.0041499 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2309-3_0_5_load_31 | 11 | 0.0070055 | 0.0017557 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2309-3_0_5_load_6 | 12 | 0.018824 | 0.0047179 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2309-3_0_5_load_24 | 15 | 0.0052137 | 0.0013067 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2309-3_0_5_load_64 | 16 | 0.0085025 | 0.0021309 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2309-3_0_5_load_19 | 17 | 0.090412 | 0.022659 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2309-3_0_5_load_15 | 18 | 0.010449 | 0.0026189 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2309-3_0_5_load_23 | 19 | 0.0030413 | 0.00076222 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2309-3_0_5_load_7 | 20 | 0.010769 | 0.0026989 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2309-3_0_5_load_21 | 26 | 0.0031368 | 0.00078616 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2309-3_0_5_load_22 | 27 | 0.000315 | 7.8947e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2309-3_0_5_load_20 | 29 | 0.0039718 | 0.00099543 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2309-3_0_5_load_66 | 30 | 0.034373 | 0.0086148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2309-3_0_5_load_28 | 32 | 0.0032023 | 0.00080258 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2309-3_0_5_load_27 | 33 | 0.002715 | 0.00068045 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2309-3_0_5_load_62 | 34 | 0.0019831 | 0.00049701 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2309-3_0_5_load_32 | 35 | 0.010042 | 0.0025169 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2309-3_0_5_load_33 | 36 | 0.0046769 | 0.0011721 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2309-3_0_5_load_55 | 39 | 0.0048446 | 0.0012142 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2309-3_0_5_load_46 | 40 | 0.02577 | 0.0064587 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2309-3_0_5_load_41 | 41 | 0.069096 | 0.017317 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2309-3_0_5_load_56 | 42 | 0.0049348 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2309-3_0_5_load_35 | 43 | 0.059715 | 0.014966 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2309-3_0_5_load_36 | 44 | 0.0069948 | 0.0017531 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2309-3_0_5_load_39 | 47 | 0.0079983 | 0.0020046 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2309-3_0_5_load_52 | 50 | 0.022004 | 0.0055147 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2309-3_0_5_load_51 | 51 | 0.01238 | 0.0031028 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2309-3_0_5_load_58 | 52 | 0.0091021 | 0.0022812 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2309-3_0_5_load_44 | 54 | 0.017027 | 0.0042673 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2309-3_0_5_load_61 | 56 | 0.0081174 | 0.0020344 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2309-3_0_5_load_47 | 57 | 0.0082907 | 0.0020778 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2309-3_0_5_load_48 | 58 | 0.011336 | 0.0028411 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2309-3_0_5_load_49 | 59 | 0.029436 | 0.0073773 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2309-3_0_5_load_50 | 60 | 0.01268 | 0.0031779 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2309-3_0_5_load_57 | 61 | 0.0081161 | 0.0020341 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2309-3_0_5_load_65 | 62 | 0.0051417 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2309-3_0_5_line_0 |  | 0 | 1 | 0.0097279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_2309-3_0_5_line_1 |  | 0 | 2 | 0.031763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_2309-3_0_5_line_2 |  | 1 | 3 | 0.02497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_2309-3_0_5_line_3 |  | 2 | 4 | 0.028317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_2309-3_0_5_line_4 |  | 3 | 5 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_2309-3_0_5_line_5 |  | 3 | 6 | 0.016999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2309-3_0_5_line_6 |  | 4 | 10 | 0.012048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2309-3_0_5_line_7 |  | 4 | 11 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_2309-3_0_5_line_8 |  | 5 | 14 | 0.042661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_2309-3_0_5_line_9 |  | 5 | 15 | 0.010787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2309-3_0_5_line_10 |  | 6 | 16 | 0.036575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2309-3_0_5_line_11 |  | 7 | 8 | 0.026834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_2309-3_0_5_line_12 |  | 7 | 9 | 0.034803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_2309-3_0_5_line_13 |  | 8 | 11 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_2309-3_0_5_line_14 |  | 10 | 17 | 0.043944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_2309-3_0_5_line_15 |  | 10 | 18 | 0.0077891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2309-3_0_5_line_16 |  | 12 | 13 | 0.045425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2309-3_0_5_line_17 |  | 13 | 19 | 0.033261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2309-3_0_5_line_18 |  | 14 | 34 | 0.0046361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2309-3_0_5_line_19 |  | 15 | 19 | 0.039115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2309-3_0_5_line_20 |  | 16 | 62 | 0.0422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2309-3_0_5_line_21 |  | 17 | 24 | 0.027985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_2309-3_0_5_line_22 |  | 20 | 21 | 0.032497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_2309-3_0_5_line_23 |  | 20 | 22 | 0.080731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_2309-3_0_5_line_24 |  | 21 | 23 | 0.008161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_2309-3_0_5_line_25 |  | 22 | 24 | 0.020144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_2309-3_0_5_line_26 |  | 23 | 25 | 0.01855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_2309-3_0_5_line_27 |  | 23 | 26 | 0.023997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2309-3_0_5_line_28 |  | 24 | 30 | 0.085888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2309-3_0_5_line_29 |  | 25 | 27 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_2309-3_0_5_line_30 |  | 26 | 28 | 0.025084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2309-3_0_5_line_31 |  | 27 | 31 | 0.019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_2309-3_0_5_line_32 |  | 28 | 29 | 0.028821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2309-3_0_5_line_33 |  | 31 | 33 | 0.0027552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2309-3_0_5_line_34 |  | 31 | 32 | 0.0055226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2309-3_0_5_line_35 |  | 33 | 35 | 0.01135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_2309-3_0_5_line_36 |  | 34 | 46 | 0.018597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_2309-3_0_5_line_37 |  | 35 | 36 | 0.054107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2309-3_0_5_line_38 |  | 36 | 37 | 0.0089513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2309-3_0_5_line_39 |  | 37 | 38 | 0.004838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2309-3_0_5_line_40 |  | 37 | 39 | 0.010983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2309-3_0_5_line_41 |  | 38 | 40 | 0.010335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2309-3_0_5_line_42 |  | 38 | 41 | 0.032954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2309-3_0_5_line_43 |  | 39 | 42 | 0.024307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2309-3_0_5_line_44 |  | 42 | 55 | 0.025259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2309-3_0_5_line_45 |  | 43 | 44 | 0.060878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_2309-3_0_5_line_46 |  | 43 | 45 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_2309-3_0_5_line_47 |  | 44 | 46 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_2309-3_0_5_line_48 |  | 45 | 47 | 0.054898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2309-3_0_5_line_49 |  | 46 | 48 | 0.060721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2309-3_0_5_line_50 |  | 47 | 49 | 0.022698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2309-3_0_5_line_51 |  | 48 | 50 | 0.017927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2309-3_0_5_line_52 |  | 49 | 51 | 0.03842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2309-3_0_5_line_53 |  | 49 | 52 | 0.025333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2309-3_0_5_line_54 |  | 51 | 60 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2309-3_0_5_line_55 |  | 52 | 61 | 0.030066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2309-3_0_5_line_56 |  | 53 | 54 | 0.060898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2309-3_0_5_line_57 |  | 53 | 55 | 0.015597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2309-3_0_5_line_58 |  | 54 | 56 | 0.011771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2309-3_0_5_line_59 |  | 57 | 58 | 0.015083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2309-3_0_5_line_60 |  | 57 | 59 | 0.016064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2309-3_0_5_line_61 |  | 58 | 60 | 0.0001934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2309-3_0_5_trafo_29 | 0.63 MVA 20/0.4 kV | 63 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2590428.0233 | 1193269.9482 | 2590427.7454 | 1193279.6722
1 | 2590424.3694 | 1193238.596 | 2590428.3638 | 1193258.0332 | 2590428.0233 | 1193269.9482
2 | 2590425.1007 | 1193304.463 | 2590427.5054 | 1193288.0726 | 2590427.7454 | 1193279.6722
3 | 2590424.8343 | 1193210.2915 | 2590424.5556 | 1193217.0066 | 2590424.3694 | 1193238.596
4 | 2590407.7227 | 1193303.3571 | 2590425.1007 | 1193304.463
5 | 2590425.1007 | 1193304.463 | 2590442.0093 | 1193306.2136
6 | 2590412.7837 | 1193209.4105 | 2590424.8343 | 1193210.2915
7 | 2590424.8343 | 1193210.2915 | 2590429.3008 | 1193210.5511 | 2590443.6197 | 1193211.3801
8 | 2590436.1172 | 1193335.2614 | 2590419.7633 | 1193317.0004 | 2590407.7227 | 1193303.3571
9 | 2590407.7227 | 1193303.3571 | 2590397.9934 | 1193298.6994
10 | 2590442.0093 | 1193306.2136 | 2590478.3903 | 1193309.9803
11 | 2590463.676 | 1193212.5412 | 2590462.3244 | 1193239.3353
12 | 2590462.3244 | 1193239.3353 | 2590462.3629 | 1193244.3156 | 2590492.1472 | 1193245.8198
13 | 2590463.676 | 1193212.5412 | 2590443.6197 | 1193211.3801
14 | 2590412.7837 | 1193209.4105 | 2590414.0653 | 1193196.0791 | 2590414.6011 | 1193188.0296 | 2590415.5637 | 1193180.0683 | 2590417.4633 | 1193171.7719 | 2590419.2865 | 1193166.1049
15 | 2590412.7837 | 1193209.4105 | 2590405.0096 | 1193208.9267
16 | 2590333.5533 | 1193265.791 | 2590349.6854 | 1193255.1925 | 2590366.8493 | 1193251.0513 | 2590374.8722 | 1193248.3457
17 | 2590333.5533 | 1193265.791 | 2590351.9214 | 1193275.8108 | 2590362.8392 | 1193281.5571
18 | 2590436.1172 | 1193335.2614 | 2590439.4589 | 1193338.4749
19 | 2590397.9934 | 1193298.6994 | 2590379.4414 | 1193289.818 | 2590369.3355 | 1193284.9762 | 2590362.8392 | 1193281.5571
20 | 2590520.3657 | 1193314.3263 | 2590478.3903 | 1193309.9803
21 | 2590431.8259 | 1193141.2104 | 2590428.2147 | 1193146.7414 | 2590424.2019 | 1193153.7627 | 2590420.0719 | 1193163.6634 | 2590419.2865 | 1193166.1049
22 | 2590547.3163 | 1193157.9563 | 2590537.6579 | 1193151.8129 | 2590516.6604 | 1193150.3218
23 | 2590447.5592 | 1193128.734 | 2590453.8705 | 1193129.2797 | 2590493.7168 | 1193130.3274 | 2590503.6704 | 1193149.3993 | 2590516.6604 | 1193150.3218
24 | 2590553.7483 | 1193162.5041 | 2590552.2163 | 1193162.4398 | 2590547.3163 | 1193157.9563
25 | 2590431.8259 | 1193141.2104 | 2590435.4396 | 1193137.2247 | 2590447.5592 | 1193128.734
26 | 2590553.7483 | 1193162.5041 | 2590553.3686 | 1193172.899 | 2590554.296 | 1193180.9907
27 | 2590553.7483 | 1193162.5041 | 2590577.7243 | 1193163.4987
28 | 2590431.8259 | 1193141.2104 | 2590425.6305 | 1193136.9848 | 2590414.9958 | 1193135.1677 | 2590386.3746 | 1193133.3797 | 2590379.4271 | 1193135.3254 | 2590376.3717 | 1193140.5331 | 2590375.4593 | 1193146.5377 | 2590373.7536 | 1193166.2064
29 | 2590554.296 | 1193180.9907 | 2590558.65 | 1193198.581
30 | 2590602.7872 | 1193164.5384 | 2590577.7243 | 1193163.4987
31 | 2590561.6704 | 1193217.3982 | 2590562.028 | 1193212.2282 | 2590558.65 | 1193198.581
32 | 2590602.7872 | 1193164.5384 | 2590601.9174 | 1193183.1384 | 2590591.7271 | 1193182.6789
33 | 2590561.6704 | 1193217.3982 | 2590564.4216 | 1193217.5474
34 | 2590561.6704 | 1193217.3982 | 2590556.1566 | 1193217.0866
35 | 2590575.7552 | 1193218.1623 | 2590564.4216 | 1193217.5474
36 | 2590452.8639 | 1193351.3652 | 2590439.4589 | 1193338.4749
37 | 2590575.7552 | 1193218.1623 | 2590629.7823 | 1193221.0934
38 | 2590638.7204 | 1193221.5783 | 2590629.7823 | 1193221.0934
39 | 2590638.7204 | 1193221.5783 | 2590638.629 | 1193226.4143
40 | 2590638.7204 | 1193221.5783 | 2590649.6885 | 1193222.16
41 | 2590628.2784 | 1193225.8637 | 2590638.629 | 1193226.4143
42 | 2590638.629 | 1193226.4143 | 2590638.4326 | 1193237.1981 | 2590660.5705 | 1193238.3655
43 | 2590649.6885 | 1193222.16 | 2590673.9618 | 1193223.4473
44 | 2590699.1849 | 1193224.7849 | 2590673.9618 | 1193223.4473
45 | 2590522.9159 | 1193365.9245 | 2590481.1876 | 1193363.2037 | 2590463.6007 | 1193355.8529
46 | 2590533.2755 | 1193366.5999 | 2590522.9159 | 1193365.9245
47 | 2590452.8639 | 1193351.3652 | 2590463.6007 | 1193355.8529
48 | 2590533.2755 | 1193366.5999 | 2590544.0376 | 1193367.3054 | 2590588.007 | 1193370.8542
49 | 2590452.8639 | 1193351.3652 | 2590463.2072 | 1193366.5343 | 2590478.1745 | 1193380.451 | 2590476.4354 | 1193389.0139 | 2590477.9009 | 1193390.4122 | 2590475.495 | 1193401.3552
50 | 2590610.6315 | 1193372.6802 | 2590588.007 | 1193370.8542
51 | 2590475.495 | 1193401.3552 | 2590492.8523 | 1193405.8404
52 | 2590610.6315 | 1193372.6802 | 2590612.0164 | 1193334.2852
53 | 2590610.6315 | 1193372.6802 | 2590635.8821 | 1193374.7175
54 | 2590612.0164 | 1193334.2852 | 2590612.3398 | 1193325.3192 | 2590612.2056 | 1193322.3956 | 2590611.5769 | 1193320.0287 | 2590610.1878 | 1193318.708 | 2590607.7093 | 1193317.7003 | 2590607.7093 | 1193317.7003
55 | 2590665.8512 | 1193377.1354 | 2590635.8821 | 1193374.7175
56 | 2590698.6149 | 1193240.3718 | 2590696.1557 | 1193301.2202
57 | 2590698.6149 | 1193240.3718 | 2590699.0021 | 1193229.6767 | 2590699.1849 | 1193224.7849
58 | 2590695.6804 | 1193312.9814 | 2590696.1557 | 1193301.2202
59 | 2590592.4441 | 1193317.1067 | 2590607.5161 | 1193317.6928
60 | 2590576.3921 | 1193316.4826 | 2590592.4441 | 1193317.1067
61 | 2590607.5161 | 1193317.6928 | 2590607.7093 | 1193317.7003

## bus_geodata
| x | y | coords
0 | 2590428.0233 | 1193269.9482
1 | 2590427.7454 | 1193279.6722
2 | 2590424.3694 | 1193238.596
3 | 2590425.1007 | 1193304.4629
4 | 2590424.8343 | 1193210.2915
5 | 2590407.7227 | 1193303.3571
6 | 2590442.0093 | 1193306.2136
7 | 2590462.3244 | 1193239.3353
8 | 2590463.676 | 1193212.5412
9 | 2590492.1472 | 1193245.8198
10 | 2590412.7837 | 1193209.4105
11 | 2590443.6197 | 1193211.38
12 | 2590374.8722 | 1193248.3457
13 | 2590333.5533 | 1193265.791
14 | 2590436.1172 | 1193335.2614
15 | 2590397.9934 | 1193298.6994
16 | 2590478.3903 | 1193309.9803
17 | 2590419.2865 | 1193166.1049
18 | 2590405.0096 | 1193208.9267
19 | 2590362.8392 | 1193281.5571
20 | 2590516.6604 | 1193150.3218
21 | 2590547.3163 | 1193157.9563
22 | 2590447.5592 | 1193128.734
23 | 2590553.7483 | 1193162.504
24 | 2590431.8259 | 1193141.2104
25 | 2590554.296 | 1193180.9907
26 | 2590577.7243 | 1193163.4987
27 | 2590558.65 | 1193198.581
28 | 2590602.7872 | 1193164.5384
29 | 2590591.7271 | 1193182.6789
30 | 2590373.7536 | 1193166.2064
31 | 2590561.6704 | 1193217.3982
32 | 2590556.1566 | 1193217.0866
33 | 2590564.4216 | 1193217.5474
34 | 2590439.4589 | 1193338.4749
35 | 2590575.7552 | 1193218.1623
36 | 2590629.7823 | 1193221.0934
37 | 2590638.7204 | 1193221.5783
38 | 2590638.629 | 1193226.4143
39 | 2590649.6885 | 1193222.16
40 | 2590628.2784 | 1193225.8637
41 | 2590660.5705 | 1193238.3655
42 | 2590673.9618 | 1193223.4473
43 | 2590522.9159 | 1193365.9245
44 | 2590463.6007 | 1193355.8529
45 | 2590533.2755 | 1193366.5999
46 | 2590452.8639 | 1193351.3652
47 | 2590588.007 | 1193370.8542
48 | 2590475.495 | 1193401.3552
49 | 2590610.6315 | 1193372.6802
50 | 2590492.8523 | 1193405.8404
51 | 2590612.0164 | 1193334.2852
52 | 2590635.8821 | 1193374.7175
53 | 2590698.6149 | 1193240.3718
54 | 2590696.1557 | 1193301.2202
55 | 2590699.1849 | 1193224.7849
56 | 2590695.6804 | 1193312.9814
57 | 2590592.4441 | 1193317.1067
58 | 2590607.5161 | 1193317.6928
59 | 2590576.3921 | 1193316.4826
60 | 2590607.7093 | 1193317.7003
61 | 2590665.8512 | 1193377.1354
62 | 2590520.3657 | 1193314.3263
63 | 2590516.3408 | 1193247.0417

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98599 | -0.26717 | 0.030081 | 0.007539
1 | 0.98554 | -0.27577 | 0.011618 | 0.0029117
2 | 0.98762 | -0.23571 | 0 | 0
3 | 0.98446 | -0.29685 | 0 | 0
4 | 0.98907 | -0.20775 | 0 | 0
5 | 0.98376 | -0.31042 | 0 | 0
6 | 0.98418 | -0.30229 | 0.0041374 | 0.0010369
7 | 0.99621 | -0.071558 | 0 | 0
8 | 0.99328 | -0.1271 | 0 | 0
9 | 1 | 0 | -0.60054 | -0.15449
10 | 0.98839 | -0.22081 | 0 | 0
11 | 0.99109 | -0.1689 | 0.0070055 | 0.0017557
12 | 0.98133 | -0.35788 | 0.018824 | 0.0047179
13 | 0.98212 | -0.34242 | 0 | 0
14 | 0.98225 | -0.33967 | 0 | 0
15 | 0.98349 | -0.31568 | 0.0052137 | 0.0013067
16 | 0.98372 | -0.31127 | 0.0085025 | 0.0021309
17 | 0.986 | -0.26694 | 0.090412 | 0.022659
18 | 0.98832 | -0.22226 | 0.010449 | 0.0026189
19 | 0.9827 | -0.33111 | 0.0030413 | 0.00076222
20 | 0.98177 | -0.34866 | 0.010769 | 0.0026989
21 | 0.98082 | -0.36724 | 0 | 0
22 | 0.98431 | -0.29955 | 0 | 0
23 | 0.98058 | -0.37191 | 0 | 0
24 | 0.98494 | -0.28733 | 0 | 0
25 | 0.98006 | -0.38205 | 0 | 0
26 | 0.98042 | -0.375 | 0.0031368 | 0.00078616
27 | 0.97955 | -0.39197 | 0.000315 | 7.8947e-05
28 | 0.98033 | -0.37681 | 0 | 0
29 | 0.98022 | -0.37888 | 0.0039718 | 0.00099543
30 | 0.98222 | -0.34052 | 0.034373 | 0.0086148
31 | 0.97901 | -0.40249 | 0 | 0
32 | 0.97899 | -0.40281 | 0.0032023 | 0.00080258
33 | 0.97893 | -0.40397 | 0.002715 | 0.00068045
34 | 0.98209 | -0.34286 | 0.0019831 | 0.00049701
35 | 0.97862 | -0.40994 | 0.010042 | 0.0025169
36 | 0.97523 | -0.47638 | 0.0046769 | 0.0011721
37 | 0.97469 | -0.48703 | 0 | 0
38 | 0.97426 | -0.49545 | 0 | 0
39 | 0.97433 | -0.49407 | 0.0048446 | 0.0012142
40 | 0.97402 | -0.50034 | 0.02577 | 0.0064587
41 | 0.97214 | -0.53735 | 0.069096 | 0.017317
42 | 0.97365 | -0.5075 | 0.0049348 | 0.0012368
43 | 0.97928 | -0.39764 | 0.059715 | 0.014966
44 | 0.98108 | -0.36251 | 0.0069948 | 0.0017531
45 | 0.97909 | -0.40139 | 0 | 0
46 | 0.98144 | -0.35551 | 0 | 0
47 | 0.97807 | -0.42125 | 0.0079983 | 0.0020046
48 | 0.9802 | -0.37972 | 0 | 0
49 | 0.9771 | -0.44015 | 0 | 0
50 | 0.97983 | -0.38688 | 0.022004 | 0.0055147
51 | 0.97445 | -0.49229 | 0.01238 | 0.0031028
52 | 0.9767 | -0.44812 | 0.0091021 | 0.0022812
53 | 0.97269 | -0.52641 | 0 | 0
54 | 0.97126 | -0.55466 | 0.017027 | 0.0042673
55 | 0.97306 | -0.51919 | 0 | 0
56 | 0.97117 | -0.55643 | 0.0081174 | 0.0020344
57 | 0.97282 | -0.52442 | 0.0082907 | 0.0020778
58 | 0.97335 | -0.51395 | 0.011336 | 0.0028411
59 | 0.97238 | -0.53314 | 0.029436 | 0.0073773
60 | 0.97336 | -0.51377 | 0.01268 | 0.0031779
61 | 0.97647 | -0.45258 | 0.0081161 | 0.0020341
62 | 0.98352 | -0.31518 | 0.0051417 | 0.0012886
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.24831 | 0.062909 | -0.24821 | -0.062844 | 0.00010259 | 6.5037e-05 | 0.37498 | 0.37498 | 0.37498 | 0.98599 | -0.26717 | 0.98554 | -0.27577 | 20.6034
1 | -0.27839 | -0.070448 | 0.27881 | 0.070716 | 0.00042099 | 0.0002674 | 0.42038 | 0.42038 | 0.42038 | 0.98599 | -0.26717 | 0.98762 | -0.23571 | 23.0978
2 | 0.23659 | 0.059932 | -0.23635 | -0.059781 | 0.00023927 | 0.00015154 | 0.35744 | 0.35744 | 0.35744 | 0.98554 | -0.27577 | 0.98446 | -0.29685 | 19.6397
3 | -0.27881 | -0.070716 | 0.27919 | 0.070954 | 0.00037531 | 0.00023838 | 0.42038 | 0.42038 | 0.42038 | 0.98762 | -0.23571 | 0.98907 | -0.20775 | 23.0977
4 | 0.21856 | 0.055318 | -0.21842 | -0.055228 | 0.00014228 | 8.9958e-05 | 0.33055 | 0.33055 | 0.33055 | 0.98446 | -0.29685 | 0.98376 | -0.31042 | 18.1619
5 | 0.017793 | 0.0044626 | -0.017788 | -0.0044598 | 4.6112e-06 | 2.7351e-06 | 0.026896 | 0.026896 | 0.026896 | 0.98446 | -0.29685 | 0.98418 | -0.30229 | 7.3889
6 | 0.30671 | 0.077958 | -0.30652 | -0.077836 | 0.00019272 | 0.00012257 | 0.46183 | 0.46183 | 0.46183 | 0.98907 | -0.20775 | 0.98839 | -0.22081 | 25.3751
7 | -0.5859 | -0.14891 | 0.587 | 0.14961 | 0.0010984 | 0.00070175 | 0.88221 | 0.8822 | 0.88221 | 0.98907 | -0.20775 | 0.99109 | -0.1689 | 48.4728
8 | 0.19129 | 0.048413 | -0.19102 | -0.048244 | 0.00026818 | 0.00016893 | 0.28951 | 0.28951 | 0.28951 | 0.98376 | -0.31042 | 0.98225 | -0.33967 | 15.9072
9 | 0.027126 | 0.0068152 | -0.02712 | -0.006811 | 6.8119e-06 | 4.2227e-06 | 0.041037 | 0.041037 | 0.041037 | 0.98376 | -0.31042 | 0.98349 | -0.31568 | 11.2739
10 | 0.013651 | 0.0034229 | -0.013645 | -0.0034196 | 5.8432e-06 | 3.2751e-06 | 0.02064 | 0.02064 | 0.02064 | 0.98418 | -0.30229 | 0.98372 | -0.31127 | 5.6704
11 | 0.59681 | 0.15316 | -0.59521 | -0.15214 | 0.0016039 | 0.0010248 | 0.89272 | 0.89272 | 0.89272 | 0.99621 | -0.071558 | 0.99328 | -0.1271 | 49.0507
12 | -0.59681 | -0.15316 | 0.59889 | 0.15449 | 0.0020802 | 0.0013291 | 0.89272 | 0.89272 | 0.89272 | 0.99621 | -0.071558 | 1 | 0 | 49.0506
13 | 0.59521 | 0.15214 | -0.594 | -0.15137 | 0.0012008 | 0.00076721 | 0.89272 | 0.89272 | 0.89272 | 0.99328 | -0.1271 | 0.99109 | -0.1689 | 49.0507
14 | 0.29607 | 0.075216 | -0.29541 | -0.074799 | 0.00065586 | 0.00041694 | 0.44609 | 0.4461 | 0.4461 | 0.98839 | -0.22081 | 0.986 | -0.26694 | 24.5108
15 | 0.01045 | 0.0026193 | -0.010449 | -0.0026189 | 7.2299e-07 | 3.6289e-07 | 0.015733 | 0.015733 | 0.015733 | 0.98839 | -0.22081 | 0.98832 | -0.22226 | 4.3222
16 | -0.018824 | -0.0047179 | 0.018838 | 0.0047262 | 1.3879e-05 | 8.3082e-06 | 0.028544 | 0.028544 | 0.028544 | 0.98133 | -0.35788 | 0.98212 | -0.34242 | 7.8418
17 | -0.018838 | -0.0047262 | 0.018849 | 0.0047322 | 1.0162e-05 | 6.0827e-06 | 0.028544 | 0.028544 | 0.028544 | 0.98212 | -0.34242 | 0.9827 | -0.33111 | 7.8417
18 | 0.19102 | 0.048244 | -0.19099 | -0.048226 | 2.9144e-05 | 1.8359e-05 | 0.28951 | 0.28951 | 0.28951 | 0.98225 | -0.33967 | 0.98209 | -0.34286 | 15.9072
19 | 0.021906 | 0.0055043 | -0.02189 | -0.0054945 | 1.6118e-05 | 9.8197e-06 | 0.033149 | 0.033149 | 0.033149 | 0.98349 | -0.31568 | 0.9827 | -0.33111 | 9.1069
20 | 0.0051426 | 0.0012887 | -0.0051417 | -0.0012886 | 9.5762e-07 | 7.7237e-08 | 0.0077789 | 0.0077791 | 0.0077791 | 0.98372 | -0.31127 | 0.98352 | -0.31518 | 2.1371
21 | 0.205 | 0.05214 | -0.2048 | -0.052013 | 0.00020125 | 0.00012702 | 0.30965 | 0.30965 | 0.30965 | 0.986 | -0.26694 | 0.98494 | -0.28733 | 17.0139
22 | 0.15907 | 0.04033 | -0.15893 | -0.040241 | 0.00014187 | 8.8741e-05 | 0.24126 | 0.24126 | 0.24126 | 0.98177 | -0.34866 | 0.98082 | -0.36724 | 13.2561
23 | -0.16984 | -0.043029 | 0.17024 | 0.043281 | 0.00040172 | 0.00025198 | 0.25758 | 0.25758 | 0.25758 | 0.98177 | -0.34866 | 0.98431 | -0.29955 | 14.1528
24 | 0.15893 | 0.040241 | -0.15889 | -0.040219 | 3.5627e-05 | 2.2286e-05 | 0.24126 | 0.24126 | 0.24126 | 0.98082 | -0.36724 | 0.98058 | -0.37191 | 13.2561
25 | -0.17024 | -0.043281 | 0.17034 | 0.043344 | 0.00010024 | 6.2871e-05 | 0.25758 | 0.25758 | 0.25758 | 0.98431 | -0.29955 | 0.98494 | -0.28733 | 14.1527
26 | 0.15178 | 0.038437 | -0.15171 | -0.038391 | 7.3899e-05 | 4.6126e-05 | 0.23047 | 0.23047 | 0.23047 | 0.98058 | -0.37191 | 0.98006 | -0.38205 | 12.6633
27 | 0.0071104 | 0.0017817 | -0.0071094 | -0.0017814 | 1.0477e-06 | 3.6784e-07 | 0.01079 | 0.01079 | 0.01079 | 0.98058 | -0.37191 | 0.98042 | -0.375 | 2.9643
28 | 0.034461 | 0.0086696 | -0.034373 | -0.0086148 | 8.7339e-05 | 5.4807e-05 | 0.052074 | 0.052074 | 0.052074 | 0.98494 | -0.28733 | 0.98222 | -0.34052 | 14.3061
29 | 0.15171 | 0.038391 | -0.15164 | -0.038346 | 7.2191e-05 | 4.5061e-05 | 0.23047 | 0.23047 | 0.23047 | 0.98006 | -0.38205 | 0.97955 | -0.39197 | 12.6633
30 | 0.0039725 | 0.00099522 | -0.0039722 | -0.00099531 | 3.4194e-07 | -9.7457e-08 | 0.0060291 | 0.0060292 | 0.0060292 | 0.98042 | -0.375 | 0.98033 | -0.37681 | 1.6564
31 | 0.15132 | 0.038267 | -0.15124 | -0.038219 | 7.6336e-05 | 4.7645e-05 | 0.22999 | 0.22999 | 0.22999 | 0.97955 | -0.39197 | 0.97901 | -0.40249 | 12.637
32 | 0.0039722 | 0.00099531 | -0.0039718 | -0.00099543 | 3.9289e-07 | -1.1189e-07 | 0.0060292 | 0.0060294 | 0.0060294 | 0.98033 | -0.37681 | 0.98022 | -0.37888 | 1.6564
33 | 0.14804 | 0.037417 | -0.14803 | -0.03741 | 1.0473e-05 | 6.5295e-06 | 0.22513 | 0.22513 | 0.22513 | 0.97901 | -0.40249 | 0.97893 | -0.40397 | 12.3696
34 | 0.0032024 | 0.00080255 | -0.0032023 | -0.00080258 | 4.9065e-08 | -3.804e-08 | 0.0048674 | 0.0048674 | 0.0048674 | 0.97901 | -0.40249 | 0.97899 | -0.40281 | 1.3372
35 | 0.14532 | 0.03673 | -0.14528 | -0.036704 | 4.1577e-05 | 2.5896e-05 | 0.221 | 0.221 | 0.221 | 0.97893 | -0.40397 | 0.97862 | -0.40994 | 12.1428
36 | 0.18901 | 0.047729 | -0.18889 | -0.047657 | 0.00011449 | 7.2099e-05 | 0.28651 | 0.28651 | 0.28651 | 0.98209 | -0.34286 | 0.98144 | -0.35551 | 15.7421
37 | 0.13523 | 0.034187 | -0.1348 | -0.033914 | 0.00042939 | 0.00027345 | 0.20573 | 0.20573 | 0.20573 | 0.97862 | -0.40994 | 0.97523 | -0.47638 | 28.2597
38 | 0.13013 | 0.032741 | -0.13006 | -0.032699 | 6.6194e-05 | 4.2141e-05 | 0.19859 | 0.19859 | 0.19859 | 0.97523 | -0.47638 | 0.97469 | -0.48703 | 27.2795
39 | 0.095049 | 0.023892 | -0.09501 | -0.023867 | 3.8214e-05 | 2.4397e-05 | 0.14513 | 0.14513 | 0.14513 | 0.97469 | -0.48703 | 0.97426 | -0.49545 | 39.8714
40 | 0.035012 | 0.0088074 | -0.035 | -0.0088 | 1.1773e-05 | 7.3977e-06 | 0.053463 | 0.053463 | 0.053463 | 0.97469 | -0.48703 | 0.97433 | -0.49407 | 14.6876
41 | 0.025776 | 0.0064624 | -0.02577 | -0.0064587 | 6.0071e-06 | 3.7159e-06 | 0.03937 | 0.03937 | 0.03937 | 0.97426 | -0.49545 | 0.97402 | -0.50034 | 10.8158
42 | 0.069234 | 0.017405 | -0.069096 | -0.017317 | 0.00013823 | 8.8058e-05 | 0.10576 | 0.10576 | 0.10576 | 0.97426 | -0.49545 | 0.97214 | -0.53735 | 29.0556
43 | 0.030156 | 0.0075858 | -0.030136 | -0.0075738 | 1.9342e-05 | 1.2076e-05 | 0.046064 | 0.046064 | 0.046064 | 0.97433 | -0.49407 | 0.97365 | -0.5075 | 12.655
44 | 0.025201 | 0.006337 | -0.025187 | -0.0063283 | 1.4056e-05 | 8.6821e-06 | 0.038523 | 0.038523 | 0.038523 | 0.97365 | -0.5075 | 0.97306 | -0.51919 | 10.5831
45 | -0.15954 | -0.040166 | 0.15981 | 0.040334 | 0.00026846 | 0.00016798 | 0.24248 | 0.24248 | 0.24248 | 0.97928 | -0.39764 | 0.98108 | -0.36251 | 13.3233
46 | 0.099823 | 0.0252 | -0.099805 | -0.025189 | 1.793e-05 | 1.0822e-05 | 0.15175 | 0.15175 | 0.15175 | 0.97928 | -0.39764 | 0.97909 | -0.40139 | 8.3378
47 | -0.1668 | -0.042087 | 0.16686 | 0.042122 | 5.5906e-05 | 3.5045e-05 | 0.25309 | 0.25309 | 0.25309 | 0.98108 | -0.36251 | 0.98144 | -0.35551 | 13.9061
48 | 0.099805 | 0.025189 | -0.099711 | -0.025132 | 9.4812e-05 | 5.7231e-05 | 0.15175 | 0.15175 | 0.15175 | 0.97909 | -0.40139 | 0.97807 | -0.42125 | 8.3378
49 | 0.022037 | 0.0055348 | -0.022011 | -0.0055193 | 2.5426e-05 | 1.5506e-05 | 0.033416 | 0.033416 | 0.033416 | 0.98144 | -0.35551 | 0.9802 | -0.37972 | 9.1802
50 | 0.091712 | 0.023127 | -0.091629 | -0.023075 | 8.2916e-05 | 5.2497e-05 | 0.13958 | 0.13958 | 0.13958 | 0.97807 | -0.42125 | 0.9771 | -0.44015 | 19.1731
51 | 0.022011 | 0.0055193 | -0.022004 | -0.0055147 | 7.5068e-06 | 4.5785e-06 | 0.033416 | 0.033416 | 0.033416 | 0.9802 | -0.37972 | 0.97983 | -0.38688 | 9.1802
52 | 0.074403 | 0.018755 | -0.074218 | -0.018637 | 0.0001851 | 0.00011798 | 0.11335 | 0.11335 | 0.11335 | 0.9771 | -0.44015 | 0.97445 | -0.49229 | 31.139
53 | 0.017226 | 0.0043199 | -0.01722 | -0.004316 | 6.5384e-06 | 3.8674e-06 | 0.026235 | 0.026235 | 0.026235 | 0.9771 | -0.44015 | 0.9767 | -0.44812 | 7.2074
54 | 0.061837 | 0.015534 | -0.061774 | -0.015494 | 6.3347e-05 | 4.0306e-05 | 0.094441 | 0.094441 | 0.094441 | 0.97445 | -0.49229 | 0.97336 | -0.51377 | 25.9452
55 | 0.0081178 | 0.0020348 | -0.0081161 | -0.0020341 | 1.7246e-06 | 7.2757e-07 | 0.012368 | 0.012368 | 0.012368 | 0.9767 | -0.44812 | 0.97647 | -0.45258 | 3.3978
56 | 0.025179 | 0.0063229 | -0.025145 | -0.006302 | 3.389e-05 | 2.0935e-05 | 0.038523 | 0.038523 | 0.038523 | 0.97269 | -0.52641 | 0.97126 | -0.55466 | 10.5832
57 | -0.025179 | -0.0063229 | 0.025187 | 0.0063283 | 8.6799e-06 | 5.3615e-06 | 0.038523 | 0.038523 | 0.038523 | 0.97269 | -0.52641 | 0.97306 | -0.51919 | 10.5832
58 | 0.0081181 | 0.0020347 | -0.0081174 | -0.0020344 | 6.828e-07 | 2.9133e-07 | 0.012437 | 0.012437 | 0.012437 | 0.97126 | -0.55466 | 0.97117 | -0.55643 | 3.4169
59 | -0.037739 | -0.0094628 | 0.037757 | 0.0094746 | 1.8848e-05 | 1.1876e-05 | 0.057726 | 0.057726 | 0.057726 | 0.97282 | -0.52442 | 0.97335 | -0.51395 | 15.8588
60 | 0.029448 | 0.0073849 | -0.029436 | -0.0073773 | 1.2223e-05 | 7.6234e-06 | 0.045045 | 0.045045 | 0.045045 | 0.97282 | -0.52442 | 0.97238 | -0.53314 | 12.375
61 | -0.049093 | -0.012316 | 0.049094 | 0.012316 | 4.0857e-07 | 2.5908e-07 | 0.075056 | 0.075056 | 0.075056 | 0.97335 | -0.51395 | 0.97336 | -0.51377 | 20.6198

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.6171 | 0.15864

## res_load
| p_mw | q_mvar
0 | 0.030081 | 0.007539
1 | 0.011618 | 0.0029117
2 | 0.0041374 | 0.0010369
3 | 0.016558 | 0.0041499
4 | 0.0070055 | 0.0017557
5 | 0.018824 | 0.0047179
6 | 0.0052137 | 0.0013067
7 | 0.0085025 | 0.0021309
8 | 0.090412 | 0.022659
9 | 0.010449 | 0.0026189
10 | 0.0030413 | 0.00076222
11 | 0.010769 | 0.0026989
12 | 0.0031368 | 0.00078616
13 | 0.000315 | 7.8947e-05
14 | 0.0039718 | 0.00099543
15 | 0.034373 | 0.0086148
16 | 0.0032023 | 0.00080258
17 | 0.002715 | 0.00068045
18 | 0.0019831 | 0.00049701
19 | 0.010042 | 0.0025169
20 | 0.0046769 | 0.0011721
21 | 0.0048446 | 0.0012142
22 | 0.02577 | 0.0064587
23 | 0.069096 | 0.017317
24 | 0.0049348 | 0.0012368
25 | 0.059715 | 0.014966
26 | 0.0069948 | 0.0017531
27 | 0.0079983 | 0.0020046
28 | 0.022004 | 0.0055147
29 | 0.01238 | 0.0031028
30 | 0.0091021 | 0.0022812
31 | 0.017027 | 0.0042673
32 | 0.0081174 | 0.0020344
33 | 0.0082907 | 0.0020778
34 | 0.011336 | 0.0028411
35 | 0.029436 | 0.0073773
36 | 0.01268 | 0.0031779
37 | 0.0081161 | 0.0020341
38 | 0.0051417 | 0.0012886

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1