## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2309-5_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2309-5_1_2_node_125 | 0.4 | n |  | TRUE
2 | bus_LV_2309-5_1_2_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_2309-5_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_2309-5_1_2_node_98 | 0.4 | n |  | TRUE
5 | bus_LV_2309-5_1_2_node_83 | 0.4 | n |  | TRUE
6 | bus_LV_2309-5_1_2_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_2309-5_1_2_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_2309-5_1_2_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_2309-5_1_2_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_2309-5_1_2_node_113 | 0.4 | n |  | TRUE
11 | bus_LV_2309-5_1_2_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_2309-5_1_2_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_2309-5_1_2_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_2309-5_1_2_node_108 | 0.4 | n |  | TRUE
15 | bus_LV_2309-5_1_2_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_2309-5_1_2_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_2309-5_1_2_node_93 | 0.4 | n |  | TRUE
18 | bus_LV_2309-5_1_2_node_94 | 0.4 | n |  | TRUE
19 | bus_LV_2309-5_1_2_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_2309-5_1_2_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_2309-5_1_2_node_107 | 0.4 | n |  | TRUE
22 | bus_LV_2309-5_1_2_node_103 | 0.4 | n |  | TRUE
23 | bus_LV_2309-5_1_2_node_117 | 0.4 | n |  | TRUE
24 | bus_LV_2309-5_1_2_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_2309-5_1_2_node_97 | 0.4 | n |  | TRUE
26 | bus_LV_2309-5_1_2_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_2309-5_1_2_node_104 | 0.4 | n |  | TRUE
28 | bus_LV_2309-5_1_2_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_2309-5_1_2_node_120 | 0.4 | n |  | TRUE
30 | bus_LV_2309-5_1_2_node_121 | 0.4 | n |  | TRUE
31 | bus_LV_2309-5_1_2_node_122 | 0.4 | n |  | TRUE
32 | bus_LV_2309-5_1_2_node_114 | 0.4 | n |  | TRUE
33 | bus_LV_2309-5_1_2_node_115 | 0.4 | n |  | TRUE
34 | bus_LV_2309-5_1_2_node_118 | 0.4 | n |  | TRUE
35 | bus_LV_2309-5_1_2_node_116 | 0.4 | n |  | TRUE
36 | bus_LV_2309-5_1_2_node_119 | 0.4 | n |  | TRUE
37 | bus_LV_2309-5_1_2_node_123 | 0.4 | n |  | TRUE
38 | bus_LV_2309-5_1_2_node_124 | 0.4 | n |  | TRUE
39 | bus_LV_2309-5_1_2_node_126 | 0.4 | n |  | TRUE
40 | bus_MV_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2309-5_1_2_load_128 | 0 | 9.7887e-05 | 2.4533e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2309-5_1_2_load_125 | 1 | 0.0002061 | 5.1655e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2309-5_1_2_load_127 | 2 | 0.00032415 | 8.1239e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2309-5_1_2_load_129 | 3 | 0.00081809 | 0.00020503 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2309-5_1_2_load_98 | 4 | 0.00024055 | 6.0286e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2309-5_1_2_load_83 | 5 | 0.0014563 | 0.00036498 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2309-5_1_2_load_84 | 6 | 0.0007113 | 0.00017827 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2309-5_1_2_load_85 | 7 | 0.00012043 | 3.0183e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2309-5_1_2_load_86 | 8 | 0.00039701 | 9.9499e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2309-5_1_2_load_87 | 9 | 0.00020618 | 5.1672e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2309-5_1_2_load_113 | 10 | 0.00049222 | 0.00012336 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2309-5_1_2_load_88 | 12 | 0.0017006 | 0.00042621 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2309-5_1_2_load_90 | 13 | 0.00054847 | 0.00013746 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2309-5_1_2_load_108 | 14 | 0.00021658 | 5.4281e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2309-5_1_2_load_91 | 15 | 0.00067045 | 0.00016803 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2309-5_1_2_load_92 | 16 | 0.00037633 | 9.4317e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2309-5_1_2_load_93 | 17 | 0.00028939 | 7.2528e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2309-5_1_2_load_107 | 21 | 0.00099355 | 0.00024901 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2309-5_1_2_load_103 | 22 | 0.00035609 | 8.9246e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2309-5_1_2_load_96 | 24 | 0.0026917 | 0.0006746 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2309-5_1_2_load_97 | 25 | 0.00012077 | 3.0269e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2309-5_1_2_load_99 | 26 | 0.00042566 | 0.00010668 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2309-5_1_2_load_104 | 27 | 7.1588e-05 | 1.7942e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2309-5_1_2_load_105 | 28 | 0.00025066 | 6.2822e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2309-5_1_2_load_120 | 29 | 0.00022227 | 5.5706e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2309-5_1_2_load_121 | 30 | 0.00043062 | 0.00010792 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2309-5_1_2_load_114 | 32 | 0.00014934 | 3.7429e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2309-5_1_2_load_115 | 33 | 0.0001655 | 4.1479e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2309-5_1_2_load_118 | 34 | 0.00030048 | 7.5308e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2309-5_1_2_load_116 | 35 | 7.9775e-05 | 1.9994e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2309-5_1_2_load_123 | 37 | 0.00027088 | 6.789e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2309-5_1_2_load_126 | 39 | 0.00022131 | 5.5465e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2309-5_1_2_line_0 |  | 0 | 1 | 0.044953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2309-5_1_2_line_1 |  | 0 | 2 | 0.00099291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2309-5_1_2_line_2 |  | 1 | 38 | 0.075732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2309-5_1_2_line_3 |  | 2 | 36 | 0.030997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2309-5_1_2_line_4 |  | 3 | 4 | 0.27606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2309-5_1_2_line_5 |  | 4 | 24 | 0.031466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2309-5_1_2_line_6 |  | 5 | 6 | 0.0043509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2309-5_1_2_line_7 |  | 5 | 7 | 0.0083822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2309-5_1_2_line_8 |  | 6 | 8 | 0.0055074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2309-5_1_2_line_9 |  | 7 | 9 | 0.022876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2309-5_1_2_line_10 |  | 8 | 10 | 0.011334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2309-5_1_2_line_11 |  | 9 | 11 | 0.034856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2309-5_1_2_line_12 |  | 10 | 32 | 0.083477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2309-5_1_2_line_13 |  | 11 | 13 | 0.024414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2309-5_1_2_line_14 |  | 11 | 12 | 0.010648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2309-5_1_2_line_15 |  | 13 | 14 | 0.083872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2309-5_1_2_line_16 |  | 14 | 26 | 0.038546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2309-5_1_2_line_17 |  | 15 | 16 | 0.0050902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2309-5_1_2_line_18 |  | 15 | 17 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2309-5_1_2_line_19 |  | 16 | 18 | 0.016302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2309-5_1_2_line_20 |  | 17 | 19 | 0.07389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2309-5_1_2_line_21 |  | 18 | 20 | 0.024655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2309-5_1_2_line_22 |  | 18 | 21 | 0.031694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2309-5_1_2_line_23 |  | 18 | 22 | 0.084508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2309-5_1_2_line_24 |  | 19 | 23 | 0.11507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2309-5_1_2_line_25 |  | 20 | 30 | 0.028538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2309-5_1_2_line_26 |  | 21 | 31 | 0.044469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2309-5_1_2_line_27 |  | 22 | 27 | 0.043566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2309-5_1_2_line_28 |  | 23 | 35 | 0.13425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2309-5_1_2_line_29 |  | 24 | 25 | 0.038391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2309-5_1_2_line_30 |  | 25 | 26 | 0.10782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2309-5_1_2_line_31 |  | 27 | 28 | 0.002484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2309-5_1_2_line_32 |  | 28 | 29 | 0.028442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2309-5_1_2_line_33 |  | 29 | 32 | 0.41599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2309-5_1_2_line_34 |  | 31 | 37 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2309-5_1_2_line_35 |  | 33 | 34 | 0.03984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2309-5_1_2_line_36 |  | 34 | 36 | 0.040479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2309-5_1_2_line_37 |  | 37 | 38 | 0.0049942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2309-5_1_2_line_38 |  | 38 | 39 | 0.037966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2309-5_1_2_trafo_114 | 0.63 MVA 20/0.4 kV | 40 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2587587.5274 | 1192170.2864 | 2587547.3517 | 1192190.4528
1 | 2587587.5274 | 1192170.2864 | 2587588.4148 | 1192169.841
2 | 2587479.6684 | 1192224.4269 | 2587547.3517 | 1192190.4528
3 | 2587613.8285 | 1192152.8303 | 2587610.0042 | 1192157.5519 | 2587603.9688 | 1192162.0335 | 2587588.4148 | 1192169.841
4 | 2587559.8616 | 1192849.1061 | 2587834.5708 | 1192876.371
5 | 2587539.2655 | 1192871.9663 | 2587545.1318 | 1192868.4403 | 2587556.3039 | 1192856.8552 | 2587559.8616 | 1192849.1061
6 | 2587319.4994 | 1192861.8805 | 2587319.4994 | 1192861.8805 | 2587321.1447 | 1192857.8527 | 2587321.1447 | 1192857.8527
7 | 2587319.4994 | 1192861.8805 | 2587318.7703 | 1192870.2309
8 | 2587321.1447 | 1192857.8527 | 2587323.5693 | 1192852.9077
9 | 2587332.2148 | 1192887.9783 | 2587329.3244 | 1192883.571 | 2587326.1461 | 1192879.987 | 2587320.7414 | 1192876.0076 | 2587318.7703 | 1192870.2309 | 2587318.7703 | 1192870.2309
10 | 2587328.5592 | 1192842.7307 | 2587323.5693 | 1192852.9077
11 | 2587314.9765 | 1192917.4751 | 2587330.6553 | 1192896.5306 | 2587332.2148 | 1192887.9783
12 | 2587328.5592 | 1192842.7307 | 2587365.3093 | 1192767.7787
13 | 2587314.9765 | 1192917.4751 | 2587327.3637 | 1192938.5129
14 | 2587314.9765 | 1192917.4751 | 2587305.1684 | 1192921.6208
15 | 2587400.3905 | 1192973.3567 | 2587359.7251 | 1192961.3474 | 2587334.4976 | 1192950.6288 | 2587327.3637 | 1192938.5129
16 | 2587400.3905 | 1192973.3567 | 2587417.3577 | 1192978.3675 | 2587426.5569 | 1192978.348 | 2587432.5458 | 1192970.3644 | 2587433.4849 | 1192968.9776
17 | 2587355.1379 | 1192218.892 | 2587360.211 | 1192219.3087
18 | 2587355.1379 | 1192218.892 | 2587343.2109 | 1192217.9124 | 2587333.8098 | 1192214.2718
19 | 2587376.4587 | 1192220.6431 | 2587360.211 | 1192219.3087
20 | 2587265.181 | 1192186.9071 | 2587289.5647 | 1192197.1381 | 2587333.8098 | 1192214.2718
21 | 2587376.4587 | 1192220.6431 | 2587380.4089 | 1192196.3108
22 | 2587376.4587 | 1192220.6431 | 2587408.0274 | 1192223.4558
23 | 2587376.4587 | 1192220.6431 | 2587371.6164 | 1192237.6624 | 2587352.8522 | 1192253.1104 | 2587330.3362 | 1192275.0255 | 2587326.2471 | 1192285.3322
24 | 2587216.9901 | 1192083.7784 | 2587235.8116 | 1192126.8162 | 2587260.7864 | 1192185.06 | 2587265.181 | 1192186.9071
25 | 2587380.4089 | 1192196.3108 | 2587408.9342 | 1192195.4625
26 | 2587452.3741 | 1192225.3961 | 2587436.2994 | 1192225.9748 | 2587408.0274 | 1192223.4558
27 | 2587326.2471 | 1192285.3322 | 2587321.5869 | 1192297.078 | 2587320.6264 | 1192304.1727 | 2587317.6888 | 1192320.6543 | 2587315.7239 | 1192327.4032
28 | 2587216.9901 | 1192083.7784 | 2587096.698 | 1192143.3913
29 | 2587539.2655 | 1192871.9663 | 2587506.3607 | 1192891.7438
30 | 2587506.3607 | 1192891.7438 | 2587487.2038 | 1192903.2581 | 2587463.6441 | 1192924.4412 | 2587433.4849 | 1192968.9776
31 | 2587315.0296 | 1192329.7882 | 2587315.7239 | 1192327.4032
32 | 2587315.0296 | 1192329.7882 | 2587311.2569 | 1192342.7463 | 2587304.784 | 1192356.2182
33 | 2587304.784 | 1192356.2182 | 2587365.3093 | 1192767.7787
34 | 2587452.3741 | 1192225.3961 | 2587474.6774 | 1192224.6041
35 | 2587611.413 | 1192072.7594 | 2587613.0583 | 1192086.875 | 2587614.2554 | 1192112.4758
36 | 2587613.8285 | 1192152.8303 | 2587615.1219 | 1192144.3454 | 2587615.3162 | 1192135.1624 | 2587614.2554 | 1192112.4758
37 | 2587479.6684 | 1192224.4269 | 2587474.6774 | 1192224.6041
38 | 2587479.6684 | 1192224.4269 | 2587495.2223 | 1192244.3491 | 2587500.0882 | 1192256.0699

## bus_geodata
| x | y | coords
0 | 2587587.5274 | 1192170.2864
1 | 2587547.3517 | 1192190.4528
2 | 2587588.4148 | 1192169.841
3 | 2587834.5708 | 1192876.371
4 | 2587559.8616 | 1192849.1061
5 | 2587319.4994 | 1192861.8805
6 | 2587321.1447 | 1192857.8527
7 | 2587318.7703 | 1192870.2309
8 | 2587323.5693 | 1192852.9077
9 | 2587332.2148 | 1192887.9783
10 | 2587328.5592 | 1192842.7307
11 | 2587314.9765 | 1192917.4751
12 | 2587305.1684 | 1192921.6208
13 | 2587327.3637 | 1192938.5129
14 | 2587400.3905 | 1192973.3567
15 | 2587355.1379 | 1192218.892
16 | 2587360.211 | 1192219.3087
17 | 2587333.8098 | 1192214.2718
18 | 2587376.4587 | 1192220.6431
19 | 2587265.181 | 1192186.9071
20 | 2587380.4089 | 1192196.3108
21 | 2587408.0274 | 1192223.4558
22 | 2587326.2471 | 1192285.3322
23 | 2587216.9901 | 1192083.7784
24 | 2587539.2655 | 1192871.9663
25 | 2587506.3607 | 1192891.7438
26 | 2587433.4849 | 1192968.9776
27 | 2587315.7239 | 1192327.4032
28 | 2587315.0296 | 1192329.7882
29 | 2587304.784 | 1192356.2182
30 | 2587408.9342 | 1192195.4625
31 | 2587452.3741 | 1192225.3961
32 | 2587365.3093 | 1192767.7787
33 | 2587611.413 | 1192072.7594
34 | 2587614.2554 | 1192112.4758
35 | 2587096.698 | 1192143.3913
36 | 2587613.8285 | 1192152.8303
37 | 2587474.6774 | 1192224.6041
38 | 2587479.6684 | 1192224.4269
39 | 2587500.0882 | 1192256.0699
40 | 2587365.3093 | 1192767.7787

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99703 | -0.057608 | 9.7887e-05 | 2.4533e-05
1 | 0.99707 | -0.056904 | 0.0002061 | 5.1655e-05
2 | 0.99703 | -0.057621 | 0.00032415 | 8.1239e-05
3 | 0.99729 | -0.052384 | 0.00081809 | 0.00020503
4 | 0.99749 | -0.048405 | 0.00024055 | 6.0286e-05
5 | 0.99905 | -0.018267 | 0.0014563 | 0.00036498
6 | 0.99909 | -0.017616 | 0.0007113 | 0.00017827
7 | 0.999 | -0.019308 | 0.00012043 | 3.0183e-05
8 | 0.99913 | -0.016724 | 0.00039701 | 9.9499e-05
9 | 0.99885 | -0.022102 | 0.00020618 | 5.1672e-05
10 | 0.99923 | -0.014809 | 0.00049222 | 0.00012336
11 | 0.99864 | -0.026233 | 0 | 0
12 | 0.99862 | -0.02655 | 0.0017006 | 0.00042621
13 | 0.99853 | -0.028402 | 0.00054847 | 0.00013746
14 | 0.99818 | -0.035047 | 0.00021658 | 5.4281e-05
15 | 0.99729 | -0.05252 | 0.00067045 | 0.00016803
16 | 0.9973 | -0.052426 | 0.00037633 | 9.4317e-05
17 | 0.99728 | -0.052667 | 0.00028939 | 7.2528e-05
18 | 0.99732 | -0.052018 | 0 | 0
19 | 0.99728 | -0.052783 | 0 | 0
20 | 0.99731 | -0.052205 | 0 | 0
21 | 0.99724 | -0.053458 | 0.00099355 | 0.00024901
22 | 0.99766 | -0.045424 | 0.00035609 | 8.9246e-05
23 | 0.99727 | -0.052956 | 0 | 0
24 | 0.99752 | -0.047816 | 0.0026917 | 0.0006746
25 | 0.99765 | -0.045287 | 0.00012077 | 3.0269e-05
26 | 0.99803 | -0.037956 | 0.00042566 | 0.00010668
27 | 0.99785 | -0.041753 | 7.1588e-05 | 1.7942e-05
28 | 0.99786 | -0.041541 | 0.00025066 | 6.2822e-05
29 | 0.99799 | -0.038984 | 0.00022227 | 5.5706e-05
30 | 0.9973 | -0.05242 | 0.00043062 | 0.00010792
31 | 0.99718 | -0.054703 | 0 | 0
32 | 1 | 0 | -0.017152 | -0.0038685
33 | 0.99699 | -0.058325 | 0.0001655 | 4.1479e-05
34 | 0.997 | -0.058209 | 0.00030048 | 7.5308e-05
35 | 0.99726 | -0.053149 | 7.9775e-05 | 1.9994e-05
36 | 0.99702 | -0.057876 | 0 | 0
37 | 0.99715 | -0.055327 | 0.00027088 | 6.789e-05
38 | 0.99714 | -0.055443 | 0 | 0
39 | 0.99713 | -0.055591 | 0.00022131 | 5.5465e-05
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00088804 | -0.0002211 | 0.00088807 | 0.00022054 | 2.9583e-08 | -5.6734e-07 | 0.0013248 | 0.0013246 | 0.0013248 | 0.99703 | -0.057608 | 0.99707 | -0.056904 | 0.36397
1 | 0.00079015 | 0.00019657 | -0.00079015 | -0.00019658 | 5.1737e-10 | -1.2618e-08 | 0.0011787 | 0.0011788 | 0.0011788 | 0.99703 | -0.057608 | 0.99703 | -0.057621 | 0.32383
2 | -0.0010942 | -0.00027219 | 0.0010942 | 0.00027125 | 7.5644e-08 | -9.3938e-07 | 0.0016322 | 0.0016319 | 0.0016322 | 0.99707 | -0.056904 | 0.99714 | -0.055443 | 0.44841
3 | 0.000466 | 0.00011534 | -0.000466 | -0.00011575 | 5.6154e-09 | -4.0065e-07 | 0.00069498 | 0.00069512 | 0.00069512 | 0.99703 | -0.057621 | 0.99702 | -0.057876 | 0.19097
4 | -0.00081809 | -0.00020503 | 0.00081824 | 0.00020153 | 1.5408e-07 | -3.5042e-06 | 0.0012206 | 0.0012194 | 0.0012206 | 0.99729 | -0.052384 | 0.99749 | -0.048405 | 0.33534
5 | -0.0010588 | -0.00026181 | 0.0010588 | 0.00026142 | 2.9387e-08 | -3.9194e-07 | 0.0015782 | 0.0015781 | 0.0015782 | 0.99749 | -0.048405 | 0.99752 | -0.047816 | 0.43357
6 | -0.0085525 | -0.0021374 | 0.0085527 | 0.0021375 | 2.6466e-07 | 1.1241e-07 | 0.012736 | 0.012736 | 0.012736 | 0.99905 | -0.018267 | 0.99909 | -0.017616 | 3.4989
7 | 0.0070962 | 0.0017724 | -0.0070958 | -0.0017723 | 3.51e-07 | 1.1488e-07 | 0.010567 | 0.010567 | 0.010567 | 0.99905 | -0.018267 | 0.999 | -0.019308 | 2.9031
8 | -0.009264 | -0.0023158 | 0.0092644 | 0.0023159 | 3.9305e-07 | 1.7943e-07 | 0.013796 | 0.013796 | 0.013796 | 0.99909 | -0.017616 | 0.99913 | -0.016724 | 3.79
9 | 0.0069754 | 0.0017421 | -0.0069745 | -0.0017418 | 9.2568e-07 | 2.9296e-07 | 0.010388 | 0.010388 | 0.010388 | 0.999 | -0.019308 | 0.99885 | -0.022102 | 2.8538
10 | -0.0096614 | -0.0024154 | 0.0096623 | 0.0024159 | 8.7975e-07 | 4.1458e-07 | 0.014387 | 0.014387 | 0.014387 | 0.99913 | -0.016724 | 0.99923 | -0.014809 | 3.9524
11 | 0.0067683 | 0.0016901 | -0.006767 | -0.0016897 | 1.3283e-06 | 3.9398e-07 | 0.010081 | 0.010081 | 0.010081 | 0.99885 | -0.022102 | 0.99864 | -0.026233 | 2.7695
12 | -0.010155 | -0.0025392 | 0.010162 | 0.0025427 | 7.1561e-06 | 3.4856e-06 | 0.01512 | 0.015119 | 0.01512 | 0.99923 | -0.014809 | 1 | 0 | 4.1538
13 | 0.0050663 | 0.0012637 | -0.0050658 | -0.0012636 | 5.2145e-07 | 1.4344e-08 | 0.0075469 | 0.007547 | 0.007547 | 0.99864 | -0.026233 | 0.99853 | -0.028402 | 2.0734
14 | 0.0017006 | 0.00042609 | -0.0017006 | -0.00042621 | 2.564e-08 | -1.2291e-07 | 0.002534 | 0.002534 | 0.002534 | 0.99864 | -0.026233 | 0.99862 | -0.02655 | 0.69616
15 | 0.0045173 | 0.0011262 | -0.0045159 | -0.0011264 | 1.4245e-06 | -1.8504e-07 | 0.0067297 | 0.0067301 | 0.0067301 | 0.99853 | -0.028402 | 0.99818 | -0.035047 | 1.8489
16 | 0.0042993 | 0.0010721 | -0.0042987 | -0.0010722 | 5.9342e-07 | -1.24e-07 | 0.0064072 | 0.0064074 | 0.0064074 | 0.99818 | -0.035047 | 0.99803 | -0.037956 | 1.7603
17 | -0.0010396 | -0.00025605 | 0.0010396 | 0.00025599 | 4.5836e-09 | -6.3486e-08 | 0.0015496 | 0.0015496 | 0.0015496 | 0.99729 | -0.05252 | 0.9973 | -0.052426 | 0.42571
18 | 0.00036917 | 8.8019e-05 | -0.00036917 | -8.8305e-05 | 2.495e-09 | -2.861e-07 | 0.00054927 | 0.00054937 | 0.00054937 | 0.99729 | -0.05252 | 0.99728 | -0.052667 | 0.15093
19 | -0.001416 | -0.0003503 | 0.001416 | 0.00035011 | 2.7244e-08 | -1.9529e-07 | 0.0021111 | 0.002111 | 0.0021111 | 0.9973 | -0.052426 | 0.99732 | -0.052018 | 0.57997
20 | 7.9777e-05 | 1.5777e-05 | -7.9777e-05 | -1.6741e-05 | 3.8474e-10 | -9.6387e-07 | 0.0001177 | 0.00011798 | 0.00011798 | 0.99728 | -0.052667 | 0.99728 | -0.052783 | 0.032411
21 | 0.00043062 | 0.00010723 | -0.00043062 | -0.00010755 | 3.8144e-09 | -3.1928e-07 | 0.00064226 | 0.00064237 | 0.00064237 | 0.99732 | -0.052018 | 0.99731 | -0.052205 | 0.17647
22 | 0.0025803 | 0.00064198 | -0.0025801 | -0.00064228 | 1.7601e-07 | -3.0089e-07 | 0.0038482 | 0.0038484 | 0.0038484 | 0.99732 | -0.052018 | 0.99724 | -0.053458 | 1.0572
23 | -0.0044269 | -0.0010993 | 0.0044283 | 0.0010991 | 1.381e-06 | -2.1929e-07 | 0.0066015 | 0.0066011 | 0.0066015 | 0.99732 | -0.052018 | 0.99766 | -0.045424 | 1.8136
24 | 7.9777e-05 | 1.6741e-05 | -7.9776e-05 | -1.8242e-05 | 6.0294e-10 | -1.5011e-06 | 0.00011798 | 0.00011844 | 0.00011844 | 0.99728 | -0.052783 | 0.99727 | -0.052956 | 0.032539
25 | 0.00043062 | 0.00010755 | -0.00043061 | -0.00010792 | 4.4168e-09 | -3.6955e-07 | 0.00064237 | 0.0006425 | 0.0006425 | 0.99731 | -0.052205 | 0.9973 | -0.05242 | 0.17651
26 | 0.0015866 | 0.00039327 | -0.0015865 | -0.00039379 | 9.3349e-08 | -5.2041e-07 | 0.0023659 | 0.0023661 | 0.0023661 | 0.99724 | -0.053458 | 0.99718 | -0.054703 | 0.65002
27 | -0.0047844 | -0.0011883 | 0.0047852 | 0.0011883 | 8.3104e-07 | -3.7129e-08 | 0.0071322 | 0.007132 | 0.0071322 | 0.99766 | -0.045424 | 0.99785 | -0.041753 | 1.9594
28 | 7.9776e-05 | 1.8242e-05 | -7.9775e-05 | -1.9994e-05 | 7.0972e-10 | -1.7512e-06 | 0.00011844 | 0.00011903 | 0.00011903 | 0.99727 | -0.052956 | 0.99726 | -0.053149 | 0.032701
29 | -0.0037505 | -0.00093602 | 0.003751 | 0.00093581 | 4.5038e-07 | -2.1299e-07 | 0.0055933 | 0.0055931 | 0.0055933 | 0.99752 | -0.047816 | 0.99765 | -0.045287 | 1.5366
30 | -0.0038717 | -0.00096608 | 0.0038731 | 0.00096553 | 1.3475e-06 | -5.4602e-07 | 0.0057733 | 0.0057728 | 0.0057733 | 0.99765 | -0.045287 | 0.99803 | -0.037956 | 1.5861
31 | -0.0048568 | -0.0012062 | 0.0048569 | 0.0012062 | 4.881e-08 | -1.2097e-09 | 0.0072388 | 0.0072388 | 0.0072388 | 0.99785 | -0.041753 | 0.99786 | -0.041541 | 1.9887
32 | -0.0051075 | -0.0012691 | 0.0051081 | 0.0012691 | 6.1809e-07 | 2.3982e-08 | 0.0076126 | 0.0076124 | 0.0076126 | 0.99786 | -0.041541 | 0.99799 | -0.038984 | 2.0914
33 | -0.0053304 | -0.0013248 | 0.0053403 | 0.0013257 | 9.8416e-06 | 8.5216e-07 | 0.0079438 | 0.0079419 | 0.0079438 | 0.99799 | -0.038984 | 1 | 0 | 2.1824
34 | 0.0015865 | 0.00039379 | -0.0015864 | -0.00039405 | 4.6854e-08 | -2.6114e-07 | 0.0023661 | 0.0023662 | 0.0023662 | 0.99718 | -0.054703 | 0.99715 | -0.055327 | 0.65005
35 | -0.0001655 | -4.1479e-05 | 0.0001655 | 4.096e-05 | 9.1091e-10 | -5.1895e-07 | 0.00024701 | 0.00024683 | 0.00024701 | 0.99699 | -0.058325 | 0.997 | -0.058209 | 0.067861
36 | -0.00046599 | -0.00011627 | 0.000466 | 0.00011575 | 7.3366e-09 | -5.2319e-07 | 0.0006953 | 0.00069512 | 0.0006953 | 0.997 | -0.058209 | 0.99702 | -0.057876 | 0.19102
37 | 0.0013156 | 0.00032616 | -0.0013156 | -0.00032622 | 7.2089e-09 | -6.0532e-08 | 0.0019619 | 0.001962 | 0.001962 | 0.99715 | -0.055327 | 0.99714 | -0.055443 | 0.539
38 | 0.00022131 | 5.4971e-05 | -0.00022131 | -5.5465e-05 | 1.552e-09 | -4.9424e-07 | 0.00033009 | 0.00033026 | 0.00033026 | 0.99714 | -0.055443 | 0.99713 | -0.055591 | 0.09073

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.017301 | 0.0039059

## res_load
| p_mw | q_mvar
0 | 9.7887e-05 | 2.4533e-05
1 | 0.0002061 | 5.1655e-05
2 | 0.00032415 | 8.1239e-05
3 | 0.00081809 | 0.00020503
4 | 0.00024055 | 6.0286e-05
5 | 0.0014563 | 0.00036498
6 | 0.0007113 | 0.00017827
7 | 0.00012043 | 3.0183e-05
8 | 0.00039701 | 9.9499e-05
9 | 0.00020618 | 5.1672e-05
10 | 0.00049222 | 0.00012336
11 | 0.0017006 | 0.00042621
12 | 0.00054847 | 0.00013746
13 | 0.00021658 | 5.4281e-05
14 | 0.00067045 | 0.00016803
15 | 0.00037633 | 9.4317e-05
16 | 0.00028939 | 7.2528e-05
17 | 0.00099355 | 0.00024901
18 | 0.00035609 | 8.9246e-05
19 | 0.0026917 | 0.0006746
20 | 0.00012077 | 3.0269e-05
21 | 0.00042566 | 0.00010668
22 | 7.1588e-05 | 1.7942e-05
23 | 0.00025066 | 6.2822e-05
24 | 0.00022227 | 5.5706e-05
25 | 0.00043062 | 0.00010792
26 | 0.00014934 | 3.7429e-05
27 | 0.0001655 | 4.1479e-05
28 | 0.00030048 | 7.5308e-05
29 | 7.9775e-05 | 1.9994e-05
30 | 0.00027088 | 6.789e-05
31 | 0.00022131 | 5.5465e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1