## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2309-7_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_2309-7_1_3_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_2309-7_1_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_2309-7_1_3_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_2309-7_1_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_2309-7_1_3_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_2309-7_1_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_2309-7_1_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2309-7_1_3_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_2309-7_1_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2309-7_1_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_2309-7_1_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2309-7_1_3_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_2309-7_1_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_2309-7_1_3_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_2309-7_1_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2309-7_1_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2309-7_1_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2309-7_1_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2309-7_1_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_2309-7_1_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_2309-7_1_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2309-7_1_3_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_2309-7_1_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_2309-7_1_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2309-7_1_3_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_2309-7_1_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_2309-7_1_3_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_2309-7_1_3_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_2309-7_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_2309-7_1_3_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_2309-7_1_3_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_2309-7_1_3_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_2309-7_1_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_2309-7_1_3_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_2309-7_1_3_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_2309-7_1_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_2309-7_1_3_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_2309-7_1_3_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_2309-7_1_3_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_2309-7_1_3_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_2309-7_1_3_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_2309-7_1_3_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_2309-7_1_3_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_2309-7_1_3_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_2309-7_1_3_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_2309-7_1_3_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_2309-7_1_3_node_79 | 0.4 | n |  | TRUE
48 | bus_MV_120_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2309-7_1_3_load_28 | 1 | 0.018757 | 0.004701 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2309-7_1_3_load_34 | 3 | 0.0036059 | 0.00090372 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2309-7_1_3_load_66 | 5 | 0.010947 | 0.0027437 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2309-7_1_3_load_67 | 8 | 0.0093857 | 0.0023523 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2309-7_1_3_load_37 | 10 | 0.0099394 | 0.0024911 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2309-7_1_3_load_14 | 11 | 0.0045815 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2309-7_1_3_load_65 | 12 | 0.0068158 | 0.0017082 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2309-7_1_3_load_35 | 14 | 0.02301 | 0.0057669 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2309-7_1_3_load_36 | 15 | 0.023005 | 0.0057657 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2309-7_1_3_load_15 | 16 | 0.010578 | 0.0026512 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2309-7_1_3_load_16 | 17 | 0.0059968 | 0.0015029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2309-7_1_3_load_24 | 18 | 0.0050643 | 0.0012692 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2309-7_1_3_load_29 | 21 | 0.007452 | 0.0018676 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2309-7_1_3_load_40 | 23 | 0.025793 | 0.0064643 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2309-7_1_3_load_62 | 25 | 0.0040152 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2309-7_1_3_load_59 | 26 | 0.0018565 | 0.00046528 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2309-7_1_3_load_52 | 28 | 0.0074198 | 0.0018596 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2309-7_1_3_load_38 | 29 | 0.024217 | 0.0060694 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2309-7_1_3_load_81 | 30 | 0.0026209 | 0.00065686 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2309-7_1_3_load_57 | 32 | 0.003917 | 0.00098169 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2309-7_1_3_load_39 | 33 | 0.024254 | 0.0060787 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2309-7_1_3_load_69 | 35 | 0.002622 | 0.00065713 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2309-7_1_3_load_53 | 36 | 0.023081 | 0.0057846 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2309-7_1_3_load_71 | 38 | 0.0026254 | 0.00065798 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2309-7_1_3_load_56 | 39 | 0.0053168 | 0.0013325 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2309-7_1_3_load_80 | 40 | 0.0026206 | 0.00065678 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2309-7_1_3_load_73 | 43 | 0.0026218 | 0.00065709 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2309-7_1_3_load_75 | 45 | 0.0026246 | 0.00065778 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2309-7_1_3_load_77 | 46 | 0.0026212 | 0.00065694 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2309-7_1_3_load_79 | 47 | 0.0026242 | 0.0006577 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2309-7_1_3_line_0 |  | 0 | 1 | 0.07871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2309-7_1_3_line_1 |  | 0 | 2 | 0.021263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2309-7_1_3_line_2 |  | 0 | 3 | 0.019075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2309-7_1_3_line_3 |  | 1 | 13 | 0.017459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2309-7_1_3_line_4 |  | 2 | 4 | 0.035017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2309-7_1_3_line_5 |  | 2 | 5 | 0.013943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2309-7_1_3_line_6 |  | 3 | 14 | 0.049724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2309-7_1_3_line_7 |  | 4 | 11 | 0.061107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2309-7_1_3_line_8 |  | 5 | 9 | 0.021895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2309-7_1_3_line_9 |  | 6 | 7 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2309-7_1_3_line_10 |  | 6 | 8 | 0.072685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2309-7_1_3_line_11 |  | 7 | 9 | 0.029379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2309-7_1_3_line_12 |  | 7 | 10 | 0.027449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2309-7_1_3_line_13 |  | 9 | 12 | 0.025649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2309-7_1_3_line_14 |  | 11 | 16 | 0.020345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2309-7_1_3_line_15 |  | 13 | 20 | 0.043202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2309-7_1_3_line_16 |  | 13 | 18 | 0.039785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2309-7_1_3_line_17 |  | 14 | 15 | 0.035581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2309-7_1_3_line_18 |  | 16 | 17 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2309-7_1_3_line_19 |  | 18 | 19 | 0.015804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2309-7_1_3_line_20 |  | 19 | 21 | 0.041688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2309-7_1_3_line_21 |  | 20 | 22 | 0.00509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2309-7_1_3_line_22 |  | 20 | 23 | 0.027964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2309-7_1_3_line_23 |  | 22 | 27 | 0.005948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2309-7_1_3_line_24 |  | 22 | 28 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2309-7_1_3_line_25 |  | 23 | 29 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2309-7_1_3_line_26 |  | 24 | 25 | 0.012762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2309-7_1_3_line_27 |  | 24 | 26 | 0.034736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2309-7_1_3_line_28 |  | 25 | 30 | 0.006709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2309-7_1_3_line_29 |  | 25 | 31 | 0.007039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2309-7_1_3_line_30 |  | 26 | 32 | 0.022916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2309-7_1_3_line_31 |  | 27 | 34 | 0.007574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2309-7_1_3_line_32 |  | 27 | 35 | 0.007083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2309-7_1_3_line_33 |  | 28 | 36 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2309-7_1_3_line_34 |  | 29 | 33 | 0.076351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2309-7_1_3_line_35 |  | 31 | 40 | 0.006783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2309-7_1_3_line_36 |  | 31 | 41 | 0.002629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2309-7_1_3_line_37 |  | 32 | 39 | 0.0191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2309-7_1_3_line_38 |  | 34 | 37 | 0.002617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2309-7_1_3_line_39 |  | 34 | 38 | 0.006999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2309-7_1_3_line_40 |  | 37 | 42 | 0.007273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2309-7_1_3_line_41 |  | 37 | 43 | 0.006982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2309-7_1_3_line_42 |  | 41 | 47 | 0.006808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2309-7_1_3_line_43 |  | 41 | 44 | 0.007396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2309-7_1_3_line_44 |  | 42 | 44 | 0.002183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2309-7_1_3_line_45 |  | 42 | 45 | 0.006905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2309-7_1_3_line_46 |  | 44 | 46 | 0.006882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2309-7_1_3_trafo_38 | 0.63 MVA 20/0.4 kV | 48 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2590757.1952 | 1193232.8318 | 2590753.594 | 1193311.4598
1 | 2590750.9884 | 1193216.1438 | 2590751.9741 | 1193222.6679 | 2590752.7364 | 1193227.6916 | 2590757.4163 | 1193227.94 | 2590757.1952 | 1193232.8318
2 | 2590757.1952 | 1193232.8318 | 2590776.2423 | 1193233.8597
3 | 2590752.7952 | 1193328.9005 | 2590753.594 | 1193311.4598
4 | 2590750.9884 | 1193216.1438 | 2590751.2127 | 1193203.5813 | 2590773.6214 | 1193204.9804
5 | 2590750.9884 | 1193216.1438 | 2590737.069 | 1193215.3351
6 | 2590824.7631 | 1193239.4476 | 2590799.5242 | 1193238.091 | 2590795.64 | 1193234.9065 | 2590776.2423 | 1193233.8597
7 | 2590773.6214 | 1193204.9804 | 2590775.1676 | 1193165.1681 | 2590796.3805 | 1193163.6819
8 | 2590715.2109 | 1193214.0653 | 2590737.069 | 1193215.3351
9 | 2590698.6149 | 1193240.3718 | 2590699.0021 | 1193229.6767
10 | 2590695.6804 | 1193312.9814 | 2590698.6149 | 1193240.3718
11 | 2590699.0021 | 1193229.6767 | 2590699.1849 | 1193224.7849 | 2590711.7306 | 1193225.4656 | 2590713.2319 | 1193220.5384 | 2590715.2109 | 1193214.0653
12 | 2590699.0021 | 1193229.6767 | 2590726.4112 | 1193231.1627
13 | 2590715.2109 | 1193214.0653 | 2590719.2404 | 1193188.7351
14 | 2590796.3805 | 1193163.6819 | 2590816.6757 | 1193162.26
15 | 2590752.7952 | 1193328.9005 | 2590795.9445 | 1193332.8243
16 | 2590752.7952 | 1193328.9005 | 2590749.3553 | 1193368.5365
17 | 2590860.2931 | 1193241.3572 | 2590824.7631 | 1193239.4476
18 | 2590832.181 | 1193161.1736 | 2590816.6757 | 1193162.26
19 | 2590747.9889 | 1193384.2816 | 2590749.3553 | 1193368.5365
20 | 2590747.9889 | 1193384.2816 | 2590706.4608 | 1193380.6297
21 | 2590801.021 | 1193333.3612 | 2590795.9445 | 1193332.8243
22 | 2590795.9445 | 1193332.8243 | 2590797.3059 | 1193304.8934
23 | 2590801.021 | 1193333.3612 | 2590800.6872 | 1193339.2982
24 | 2590801.021 | 1193333.3612 | 2590810.8005 | 1193334.4021 | 2590822.8968 | 1193335.5567
25 | 2590798.0092 | 1193290.4631 | 2590797.3059 | 1193304.8934
26 | 2590798.6254 | 1193375.9429 | 2590798.4919 | 1193378.2777 | 2590797.037 | 1193388.5965
27 | 2590797.037 | 1193388.5965 | 2590831.6389 | 1193391.6473
28 | 2590791.9032 | 1193375.6421 | 2590798.6254 | 1193375.9429
29 | 2590799.0185 | 1193368.9164 | 2590798.6254 | 1193375.9429
30 | 2590831.6389 | 1193391.6473 | 2590842.3885 | 1193392.5951 | 2590854.4846 | 1193393.4314
31 | 2590800.6872 | 1193339.2982 | 2590800.2569 | 1193346.8584
32 | 2590793.5842 | 1193339.1758 | 2590800.6872 | 1193339.2982
33 | 2590848.622 | 1193338.0122 | 2590822.8968 | 1193335.5567
34 | 2590798.0092 | 1193290.4631 | 2590798.7364 | 1193275.5453 | 2590860.0703 | 1193278.7098
35 | 2590792.2275 | 1193368.5156 | 2590799.0185 | 1193368.9164
36 | 2590799.1668 | 1193366.2925 | 2590799.0185 | 1193368.9164
37 | 2590873.539 | 1193394.7488 | 2590854.4846 | 1193393.4314
38 | 2590800.2569 | 1193346.8584 | 2590800.1162 | 1193349.4711
39 | 2590793.2524 | 1193346.4023 | 2590800.2569 | 1193346.8584
40 | 2590800.1162 | 1193349.4711 | 2590799.7083 | 1193356.7311
41 | 2590793.1196 | 1193349.1929 | 2590800.1162 | 1193349.4711
42 | 2590792.3455 | 1193366.003 | 2590799.1668 | 1193366.2925
43 | 2590799.5821 | 1193358.9102 | 2590799.1668 | 1193366.2925
44 | 2590799.7083 | 1193356.7311 | 2590799.5821 | 1193358.9102
45 | 2590792.7953 | 1193356.3194 | 2590799.7083 | 1193356.7311
46 | 2590792.6847 | 1193358.6541 | 2590799.5821 | 1193358.9102

## bus_geodata
| x | y | coords
0 | 2590757.1952 | 1193232.8318
1 | 2590753.594 | 1193311.4598
2 | 2590750.9884 | 1193216.1438
3 | 2590776.2423 | 1193233.8597
4 | 2590773.6214 | 1193204.9804
5 | 2590737.069 | 1193215.3351
6 | 2590698.6149 | 1193240.3718
7 | 2590699.0021 | 1193229.6767
8 | 2590695.6804 | 1193312.9814
9 | 2590715.2109 | 1193214.0653
10 | 2590726.4112 | 1193231.1627
11 | 2590796.3805 | 1193163.6819
12 | 2590719.2404 | 1193188.7351
13 | 2590752.7952 | 1193328.9005
14 | 2590824.7631 | 1193239.4476
15 | 2590860.2931 | 1193241.3572
16 | 2590816.6757 | 1193162.26
17 | 2590832.181 | 1193161.1736
18 | 2590749.3553 | 1193368.5365
19 | 2590747.9889 | 1193384.2816
20 | 2590795.9445 | 1193332.8243
21 | 2590706.4608 | 1193380.6297
22 | 2590801.021 | 1193333.3612
23 | 2590797.3059 | 1193304.8934
24 | 2590797.037 | 1193388.5965
25 | 2590798.6254 | 1193375.9429
26 | 2590831.6389 | 1193391.6473
27 | 2590800.6872 | 1193339.2982
28 | 2590822.8968 | 1193335.5567
29 | 2590798.0092 | 1193290.4631
30 | 2590791.9032 | 1193375.6421
31 | 2590799.0185 | 1193368.9164
32 | 2590854.4846 | 1193393.4314
33 | 2590860.0703 | 1193278.7098
34 | 2590800.2569 | 1193346.8584
35 | 2590793.5842 | 1193339.1758
36 | 2590848.622 | 1193338.0122
37 | 2590800.1162 | 1193349.4711
38 | 2590793.2524 | 1193346.4023
39 | 2590873.539 | 1193394.7488
40 | 2590792.2275 | 1193368.5156
41 | 2590799.1668 | 1193366.2925
42 | 2590799.7083 | 1193356.7311
43 | 2590793.1196 | 1193349.1929
44 | 2590799.5821 | 1193358.9102
45 | 2590792.7953 | 1193356.3194
46 | 2590792.6846 | 1193358.6541
47 | 2590792.3455 | 1193366.003
48 | 2590795.9445 | 1193332.8243

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98314 | -0.32368 | 0 | 0
1 | 0.991 | -0.17177 | 0.018757 | 0.004701
2 | 0.98199 | -0.34604 | 0 | 0
3 | 0.98226 | -0.34076 | 0.0036059 | 0.00090372
4 | 0.98131 | -0.35944 | 0 | 0
5 | 0.98151 | -0.3554 | 0.010947 | 0.0027437
6 | 0.98037 | -0.37787 | 0 | 0
7 | 0.98046 | -0.37605 | 0 | 0
8 | 0.97974 | -0.39025 | 0.0093857 | 0.0023523
9 | 0.98098 | -0.36576 | 0 | 0
10 | 0.98021 | -0.381 | 0.0099394 | 0.0024911
11 | 0.98011 | -0.38288 | 0.0045815 | 0.0011482
12 | 0.98082 | -0.36893 | 0.0068158 | 0.0017082
13 | 0.99304 | -0.13261 | 0 | 0
14 | 0.98014 | -0.38219 | 0.02301 | 0.0057669
15 | 0.97939 | -0.39705 | 0.023005 | 0.0057657
16 | 0.9798 | -0.389 | 0.010578 | 0.0026512
17 | 0.97971 | -0.39069 | 0.0059968 | 0.0015029
18 | 0.99259 | -0.14142 | 0.0050643 | 0.0012692
19 | 0.99248 | -0.1435 | 0 | 0
20 | 0.99582 | -0.07963 | 0 | 0
21 | 0.99219 | -0.149 | 0.007452 | 0.0018676
22 | 0.99551 | -0.08559 | 0 | 0
23 | 0.99846 | -0.029199 | 0.025793 | 0.0064643
24 | 0.99432 | -0.10848 | 0 | 0
25 | 0.99445 | -0.10598 | 0.0040152 | 0.0010063
26 | 0.99397 | -0.11527 | 0.0018565 | 0.00046528
27 | 0.99531 | -0.089366 | 0 | 0
28 | 0.9949 | -0.097391 | 0.0074198 | 0.0018596
29 | 1 | 0 | -0.26008 | -0.065789
30 | 0.99444 | -0.10629 | 0.0026209 | 0.00065686
31 | 0.99457 | -0.10378 | 0 | 0
32 | 0.99378 | -0.11901 | 0.003917 | 0.00098169
33 | 0.99832 | -0.032333 | 0.024254 | 0.0060787
34 | 0.99508 | -0.093827 | 0 | 0
35 | 0.9953 | -0.089693 | 0.002622 | 0.00065713
36 | 0.99435 | -0.1079 | 0.023081 | 0.0057846
37 | 0.99501 | -0.095248 | 0 | 0
38 | 0.99506 | -0.094151 | 0.0026254 | 0.00065798
39 | 0.99369 | -0.1208 | 0.0053168 | 0.0013325
40 | 0.99455 | -0.1041 | 0.0026206 | 0.00065678
41 | 0.99461 | -0.10284 | 0 | 0
42 | 0.99482 | -0.098862 | 0 | 0
43 | 0.99499 | -0.09557 | 0.0026218 | 0.00065709
44 | 0.99477 | -0.099847 | 0 | 0
45 | 0.9948 | -0.099182 | 0.0026246 | 0.00065778
46 | 0.99475 | -0.10016 | 0.0026212 | 0.00065694
47 | 0.9946 | -0.10315 | 0.0026242 | 0.0006577
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10817 | -0.027221 | 0.10896 | 0.027727 | 0.00079151 | 0.00050556 | 0.16376 | 0.16376 | 0.16376 | 0.98314 | -0.32368 | 0.991 | -0.17177 | 44.988
1 | 0.058398 | 0.014691 | -0.058336 | -0.014652 | 6.2321e-05 | 3.9616e-05 | 0.088408 | 0.088408 | 0.088408 | 0.98314 | -0.32368 | 0.98199 | -0.34604 | 24.2879
2 | 0.04977 | 0.01253 | -0.049729 | -0.012504 | 4.061e-05 | 2.5749e-05 | 0.075348 | 0.075348 | 0.075348 | 0.98314 | -0.32368 | 0.98226 | -0.34076 | 20.7001
3 | -0.12772 | -0.032428 | 0.12796 | 0.032582 | 0.00024115 | 0.00015411 | 0.19192 | 0.19192 | 0.19192 | 0.991 | -0.17177 | 0.99304 | -0.13261 | 52.7254
4 | 0.021199 | 0.0053279 | -0.021186 | -0.0053197 | 1.3555e-05 | 8.2324e-06 | 0.032129 | 0.032129 | 0.032129 | 0.98199 | -0.34604 | 0.98131 | -0.35944 | 8.8266
5 | 0.037137 | 0.0093238 | -0.03712 | -0.0093134 | 1.6561e-05 | 1.0423e-05 | 0.05628 | 0.05628 | 0.05628 | 0.98199 | -0.34604 | 0.98151 | -0.3554 | 15.4614
6 | 0.046123 | 0.0116 | -0.046032 | -0.011543 | 9.1071e-05 | 5.7657e-05 | 0.069886 | 0.069886 | 0.069886 | 0.98226 | -0.34076 | 0.98014 | -0.38219 | 19.1995
7 | 0.021186 | 0.0053197 | -0.021162 | -0.0053053 | 2.3655e-05 | 1.4368e-05 | 0.032129 | 0.032129 | 0.032129 | 0.98131 | -0.35944 | 0.98011 | -0.38288 | 8.8266
8 | 0.026173 | 0.0065697 | -0.02616 | -0.0065617 | 1.293e-05 | 7.9984e-06 | 0.039683 | 0.039683 | 0.039683 | 0.98151 | -0.3554 | 0.98098 | -0.36576 | 10.9019
9 | -0.0093912 | -0.0023549 | 0.009392 | 0.0023553 | 8.1569e-07 | 3.8705e-07 | 0.014255 | 0.014255 | 0.014255 | 0.98037 | -0.37787 | 0.98046 | -0.37605 | 3.9161
10 | 0.0093912 | 0.0023549 | -0.0093857 | -0.0023523 | 5.5386e-06 | 2.6288e-06 | 0.014255 | 0.014255 | 0.014255 | 0.98037 | -0.37787 | 0.97974 | -0.39025 | 3.9162
11 | -0.019334 | -0.0048475 | 0.019343 | 0.0048532 | 9.4859e-06 | 5.7003e-06 | 0.029343 | 0.029343 | 0.029343 | 0.98046 | -0.37605 | 0.98098 | -0.36576 | 8.0613
12 | 0.0099418 | 0.0024922 | -0.0099394 | -0.0024911 | 2.3435e-06 | 1.1537e-06 | 0.015089 | 0.015089 | 0.015089 | 0.98046 | -0.37605 | 0.98021 | -0.381 | 4.1452
13 | 0.0068168 | 0.0017085 | -0.0068158 | -0.0017082 | 1.0284e-06 | 3.344e-07 | 0.01034 | 0.01034 | 0.01034 | 0.98098 | -0.36576 | 0.98082 | -0.36893 | 2.8407
14 | 0.01658 | 0.0041571 | -0.016576 | -0.0041542 | 4.8347e-06 | 2.8379e-06 | 0.025173 | 0.025173 | 0.025173 | 0.98011 | -0.38288 | 0.9798 | -0.389 | 6.9157
15 | -0.14048 | -0.035722 | 0.14084 | 0.035951 | 0.00035957 | 0.000229 | 0.21069 | 0.21069 | 0.21069 | 0.99304 | -0.13261 | 0.99582 | -0.07963 | 28.9406
16 | 0.012524 | 0.0031407 | -0.012519 | -0.0031379 | 5.255e-06 | 2.8487e-06 | 0.018768 | 0.018768 | 0.018768 | 0.99304 | -0.13261 | 0.99259 | -0.14142 | 5.156
17 | 0.023022 | 0.0057757 | -0.023005 | -0.0057657 | 1.6301e-05 | 9.9845e-06 | 0.034953 | 0.034953 | 0.034953 | 0.98014 | -0.38219 | 0.97939 | -0.39705 | 9.6024
18 | 0.0059973 | 0.0015031 | -0.0059968 | -0.0015029 | 4.8354e-07 | 1.1372e-07 | 0.0091081 | 0.0091081 | 0.0091081 | 0.9798 | -0.389 | 0.97971 | -0.39069 | 2.5022
19 | 0.0074547 | 0.0018686 | -0.007454 | -0.0018684 | 7.4021e-07 | 2.6948e-07 | 0.011176 | 0.011176 | 0.011176 | 0.99259 | -0.14142 | 0.99248 | -0.1435 | 3.0703
20 | 0.007454 | 0.0018684 | -0.007452 | -0.0018676 | 1.9526e-06 | 7.1108e-07 | 0.011176 | 0.011176 | 0.011176 | 0.99248 | -0.1435 | 0.99219 | -0.149 | 3.0703
21 | 0.06667 | 0.016738 | -0.066651 | -0.016726 | 1.8947e-05 | 1.206e-05 | 0.099632 | 0.099633 | 0.099633 | 0.99582 | -0.07963 | 0.99551 | -0.08559 | 27.3716
22 | -0.20751 | -0.05269 | 0.20802 | 0.053012 | 0.00050492 | 0.00032242 | 0.31032 | 0.31032 | 0.31032 | 0.99582 | -0.07963 | 0.99846 | -0.029199 | 42.6263
23 | 0.036121 | 0.0090641 | -0.036115 | -0.00906 | 6.5031e-06 | 4.0847e-06 | 0.053996 | 0.053996 | 0.053996 | 0.99551 | -0.08559 | 0.99531 | -0.089366 | 14.834
24 | 0.030529 | 0.0076619 | -0.030512 | -0.0076512 | 1.7171e-05 | 1.0704e-05 | 0.045637 | 0.045637 | 0.045637 | 0.99551 | -0.08559 | 0.9949 | -0.097391 | 12.5376
25 | -0.23381 | -0.059476 | 0.23414 | 0.059687 | 0.00032949 | 0.00021049 | 0.34876 | 0.34876 | 0.34876 | 0.99846 | -0.029199 | 1 | 0 | 47.9063
26 | -0.011096 | -0.0027821 | 0.011097 | 0.0027828 | 1.3197e-06 | 6.7903e-07 | 0.016606 | 0.016606 | 0.016606 | 0.99432 | -0.10848 | 0.99445 | -0.10598 | 4.562
27 | 0.011096 | 0.0027821 | -0.011092 | -0.0027803 | 3.592e-06 | 1.8485e-06 | 0.016606 | 0.016606 | 0.016606 | 0.99432 | -0.10848 | 0.99397 | -0.11527 | 4.5621
28 | 0.0026209 | 0.0006568 | -0.0026209 | -0.00065686 | 3.8694e-08 | -6.2278e-08 | 0.0039217 | 0.0039218 | 0.0039218 | 0.99445 | -0.10598 | 0.99444 | -0.10629 | 1.0774
29 | -0.017733 | -0.0044459 | 0.017735 | 0.004447 | 1.8586e-06 | 1.0982e-06 | 0.026535 | 0.026535 | 0.026535 | 0.99445 | -0.10598 | 0.99457 | -0.10378 | 7.29
30 | 0.0092359 | 0.002315 | -0.0092343 | -0.0023143 | 1.6429e-06 | 7.5448e-07 | 0.013827 | 0.013827 | 0.013827 | 0.99397 | -0.11527 | 0.99378 | -0.11901 | 3.7986
31 | 0.033493 | 0.008403 | -0.033486 | -0.0083985 | 7.1222e-06 | 4.4598e-06 | 0.050076 | 0.050076 | 0.050076 | 0.99531 | -0.089366 | 0.99508 | -0.093827 | 13.7571
32 | 0.002622 | 0.00065707 | -0.002622 | -0.00065713 | 4.0815e-08 | -6.5932e-08 | 0.00392 | 0.00392 | 0.00392 | 0.99531 | -0.089366 | 0.9953 | -0.089693 | 1.0769
33 | 0.023092 | 0.0057916 | -0.023081 | -0.0057846 | 1.1561e-05 | 7.0636e-06 | 0.034539 | 0.03454 | 0.03454 | 0.9949 | -0.097391 | 0.99435 | -0.1079 | 9.4889
34 | 0.024292 | 0.0061017 | -0.024254 | -0.0060787 | 3.742e-05 | 2.2949e-05 | 0.036151 | 0.036152 | 0.036152 | 1 | 0 | 0.99832 | -0.032333 | 9.9318
35 | 0.0026206 | 0.00065672 | -0.0026206 | -0.00065678 | 3.9103e-08 | -6.2996e-08 | 0.0039208 | 0.0039209 | 0.0039209 | 0.99457 | -0.10378 | 0.99455 | -0.1041 | 1.0772
36 | -0.020356 | -0.0051037 | 0.020357 | 0.0051043 | 9.1448e-07 | 5.5115e-07 | 0.030456 | 0.030456 | 0.030456 | 0.99457 | -0.10378 | 0.99461 | -0.10284 | 8.3671
37 | 0.0053173 | 0.0013326 | -0.0053168 | -0.0013325 | 4.5402e-07 | 4.3131e-08 | 0.0079617 | 0.0079618 | 0.0079618 | 0.99378 | -0.11901 | 0.99369 | -0.1208 | 2.1873
38 | 0.03086 | 0.0077406 | -0.030858 | -0.0077393 | 2.0901e-06 | 1.3037e-06 | 0.04615 | 0.04615 | 0.04615 | 0.99508 | -0.093827 | 0.99501 | -0.095248 | 12.6785
39 | 0.0026254 | 0.00065792 | -0.0026254 | -0.00065798 | 4.0454e-08 | -6.5029e-08 | 0.003926 | 0.003926 | 0.003926 | 0.99508 | -0.093827 | 0.99506 | -0.094151 | 1.0786
40 | 0.028236 | 0.0070823 | -0.028232 | -0.0070793 | 4.8637e-06 | 3.0183e-06 | 0.042229 | 0.042229 | 0.042229 | 0.99501 | -0.095248 | 0.99482 | -0.098862 | 11.6014
41 | 0.0026218 | 0.00065702 | -0.0026218 | -0.00065709 | 4.0252e-08 | -6.4924e-08 | 0.0039209 | 0.0039209 | 0.0039209 | 0.99501 | -0.095248 | 0.99499 | -0.09557 | 1.0772
42 | 0.0026243 | 0.00065763 | -0.0026242 | -0.0006577 | 3.9353e-08 | -6.3169e-08 | 0.0039261 | 0.0039261 | 0.0039261 | 0.99461 | -0.10284 | 0.9946 | -0.10315 | 1.0786
43 | -0.022981 | -0.0057619 | 0.022984 | 0.0057639 | 3.2787e-06 | 2.0023e-06 | 0.034382 | 0.034382 | 0.034382 | 0.99461 | -0.10284 | 0.99477 | -0.099847 | 9.4457
44 | 0.025607 | 0.0064215 | -0.025606 | -0.0064208 | 1.201e-06 | 7.4032e-07 | 0.038303 | 0.038303 | 0.038303 | 0.99482 | -0.098862 | 0.99477 | -0.099847 | 10.5229
45 | 0.0026246 | 0.00065772 | -0.0026246 | -0.00065778 | 3.9907e-08 | -6.4111e-08 | 0.0039258 | 0.0039258 | 0.0039258 | 0.99482 | -0.098862 | 0.9948 | -0.099182 | 1.0785
46 | 0.0026213 | 0.00065687 | -0.0026212 | -0.00065694 | 3.9676e-08 | -6.395e-08 | 0.003921 | 0.003921 | 0.003921 | 0.99477 | -0.099847 | 0.99475 | -0.10016 | 1.0772

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2843 | 0.071858

## res_load
| p_mw | q_mvar
0 | 0.018757 | 0.004701
1 | 0.0036059 | 0.00090372
2 | 0.010947 | 0.0027437
3 | 0.0093857 | 0.0023523
4 | 0.0099394 | 0.0024911
5 | 0.0045815 | 0.0011482
6 | 0.0068158 | 0.0017082
7 | 0.02301 | 0.0057669
8 | 0.023005 | 0.0057657
9 | 0.010578 | 0.0026512
10 | 0.0059968 | 0.0015029
11 | 0.0050643 | 0.0012692
12 | 0.007452 | 0.0018676
13 | 0.025793 | 0.0064643
14 | 0.0040152 | 0.0010063
15 | 0.0018565 | 0.00046528
16 | 0.0074198 | 0.0018596
17 | 0.024217 | 0.0060694
18 | 0.0026209 | 0.00065686
19 | 0.003917 | 0.00098169
20 | 0.024254 | 0.0060787
21 | 0.002622 | 0.00065713
22 | 0.023081 | 0.0057846
23 | 0.0026254 | 0.00065798
24 | 0.0053168 | 0.0013325
25 | 0.0026206 | 0.00065678
26 | 0.0026218 | 0.00065709
27 | 0.0026246 | 0.00065778
28 | 0.0026212 | 0.00065694
29 | 0.0026242 | 0.0006577

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1