## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_231-7_1_3_node_256 | 0.4 | n |  | TRUE
1 | bus_LV_231-7_1_3_node_40 | 0.4 | n |  | TRUE
2 | bus_LV_231-7_1_3_node_265 | 0.4 | n |  | TRUE
3 | bus_LV_231-7_1_3_node_255 | 0.4 | n |  | TRUE
4 | bus_LV_231-7_1_3_node_257 | 0.4 | n |  | TRUE
5 | bus_LV_231-7_1_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_231-7_1_3_node_262 | 0.4 | n |  | TRUE
7 | bus_LV_231-7_1_3_node_258 | 0.4 | n |  | TRUE
8 | bus_LV_231-7_1_3_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_231-7_1_3_node_259 | 0.4 | n |  | TRUE
10 | bus_LV_231-7_1_3_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_231-7_1_3_node_97 | 0.4 | n |  | TRUE
12 | bus_LV_231-7_1_3_node_260 | 0.4 | n |  | TRUE
13 | bus_LV_231-7_1_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_231-7_1_3_node_261 | 0.4 | n |  | TRUE
15 | bus_LV_231-7_1_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_231-7_1_3_node_263 | 0.4 | n |  | TRUE
17 | bus_LV_231-7_1_3_node_264 | 0.4 | n |  | TRUE
18 | bus_LV_231-7_1_3_node_250 | 0.4 | n |  | TRUE
19 | bus_LV_231-7_1_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_231-7_1_3_node_266 | 0.4 | n |  | TRUE
21 | bus_LV_231-7_1_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_231-7_1_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_231-7_1_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_231-7_1_3_node_253 | 0.4 | n |  | TRUE
25 | bus_LV_231-7_1_3_node_269 | 0.4 | n |  | TRUE
26 | bus_LV_231-7_1_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_231-7_1_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_231-7_1_3_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_231-7_1_3_node_267 | 0.4 | n |  | TRUE
30 | bus_LV_231-7_1_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_231-7_1_3_node_268 | 0.4 | n |  | TRUE
32 | bus_LV_231-7_1_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_231-7_1_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_231-7_1_3_node_248 | 0.4 | n |  | TRUE
35 | bus_LV_231-7_1_3_node_251 | 0.4 | n |  | TRUE
36 | bus_LV_231-7_1_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_231-7_1_3_node_112 | 0.4 | n |  | TRUE
38 | bus_LV_231-7_1_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_231-7_1_3_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_231-7_1_3_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_231-7_1_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_231-7_1_3_node_254 | 0.4 | n |  | TRUE
43 | bus_LV_231-7_1_3_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_231-7_1_3_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_231-7_1_3_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_231-7_1_3_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_231-7_1_3_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_231-7_1_3_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_231-7_1_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_231-7_1_3_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_231-7_1_3_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_231-7_1_3_node_114 | 0.4 | n |  | TRUE
53 | bus_LV_231-7_1_3_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_231-7_1_3_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_231-7_1_3_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_231-7_1_3_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_231-7_1_3_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_231-7_1_3_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_231-7_1_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_231-7_1_3_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_231-7_1_3_node_106 | 0.4 | n |  | TRUE
62 | bus_LV_231-7_1_3_node_107 | 0.4 | n |  | TRUE
63 | bus_LV_231-7_1_3_node_108 | 0.4 | n |  | TRUE
64 | bus_LV_231-7_1_3_node_109 | 0.4 | n |  | TRUE
65 | bus_LV_231-7_1_3_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_231-7_1_3_node_111 | 0.4 | n |  | TRUE
67 | bus_LV_231-7_1_3_node_249 | 0.4 | n |  | TRUE
68 | bus_LV_231-7_1_3_node_252 | 0.4 | n |  | TRUE
69 | bus_MV_26_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_231-7_1_3_load_265 | 2 | 0.048513 | 0.012159 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_231-7_1_3_load_255 | 3 | 0.027712 | 0.0069454 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_231-7_1_3_load_257 | 4 | 0.015814 | 0.0039634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_231-7_1_3_load_258 | 7 | 0.0015994 | 0.00040084 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_231-7_1_3_load_259 | 9 | 0.0003847 | 9.6415e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_231-7_1_3_load_260 | 12 | 0.0015679 | 0.00039295 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_231-7_1_3_load_261 | 14 | 0.0017978 | 0.00045057 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_231-7_1_3_load_263 | 16 | 0.027931 | 0.0070003 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_231-7_1_3_load_264 | 17 | 0.0091761 | 0.0022997 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_231-7_1_3_load_266 | 20 | 0.064171 | 0.016083 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_231-7_1_3_load_253 | 24 | 0.0049105 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_231-7_1_3_load_269 | 25 | 0.013605 | 0.0034098 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_231-7_1_3_load_105 | 28 | 0.0092646 | 0.0023219 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_231-7_1_3_load_267 | 29 | 0.002439 | 0.00061127 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_231-7_1_3_load_268 | 31 | 0.00070002 | 0.00017544 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_231-7_1_3_load_248 | 34 | 0.0037664 | 0.00094395 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_231-7_1_3_load_251 | 35 | 0.00037471 | 9.391e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_231-7_1_3_load_112 | 37 | 0.00084372 | 0.00021146 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_231-7_1_3_load_85 | 40 | 0.0049409 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_231-7_1_3_load_254 | 42 | 0.0037867 | 0.00094903 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_231-7_1_3_load_88 | 44 | 0.0064789 | 0.0016238 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_231-7_1_3_load_89 | 45 | 0.0029183 | 0.00073141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_231-7_1_3_load_90 | 46 | 0.0023171 | 0.00058071 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_231-7_1_3_load_92 | 47 | 0.0034019 | 0.00085259 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_231-7_1_3_load_94 | 48 | 0.0026412 | 0.00066194 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_231-7_1_3_load_95 | 49 | 0.0026925 | 0.0006748 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_231-7_1_3_load_113 | 50 | 0.0022532 | 0.0005647 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_231-7_1_3_load_91 | 51 | 0.0088465 | 0.0022171 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_231-7_1_3_load_114 | 52 | 0.0022758 | 0.00057038 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_231-7_1_3_load_93 | 53 | 0.0021993 | 0.00055119 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_231-7_1_3_load_96 | 54 | 0.0026419 | 0.00066212 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_231-7_1_3_load_101 | 55 | 0.0011924 | 0.00029885 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_231-7_1_3_load_98 | 56 | 0.00061633 | 0.00015447 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_231-7_1_3_load_99 | 57 | 0.0026924 | 0.00067477 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_231-7_1_3_load_102 | 59 | 0.00058687 | 0.00014708 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_231-7_1_3_load_103 | 60 | 0.0023679 | 0.00059346 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_231-7_1_3_load_106 | 61 | 0.00084353 | 0.00021141 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_231-7_1_3_load_107 | 62 | 0.0008465 | 0.00021215 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_231-7_1_3_load_108 | 63 | 0.0008463 | 0.0002121 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_231-7_1_3_load_109 | 64 | 0.0021528 | 0.00053955 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_231-7_1_3_load_110 | 65 | 0.00084656 | 0.00021217 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_231-7_1_3_load_111 | 66 | 0.0021444 | 0.00053744 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_231-7_1_3_load_249 | 67 | 0.0025082 | 0.00062862 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_231-7_1_3_load_252 | 68 | 0.00050641 | 0.00012692 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_231-7_1_3_line_0 |  | 0 | 1 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_231-7_1_3_line_1 |  | 0 | 2 | 0.048452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_231-7_1_3_line_2 |  | 0 | 3 | 0.0093218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_231-7_1_3_line_3 |  | 1 | 20 | 0.015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_231-7_1_3_line_4 |  | 2 | 19 | 0.0084916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_231-7_1_3_line_5 |  | 4 | 5 | 0.01226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_231-7_1_3_line_6 |  | 4 | 6 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_231-7_1_3_line_7 |  | 5 | 41 | 0.00879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_231-7_1_3_line_8 |  | 6 | 16 | 0.014795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_231-7_1_3_line_9 |  | 6 | 17 | 0.0088256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_231-7_1_3_line_10 |  | 7 | 8 | 0.0060254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_231-7_1_3_line_11 |  | 8 | 32 | 0.040838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_231-7_1_3_line_12 |  | 8 | 21 | 0.050282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_231-7_1_3_line_13 |  | 9 | 10 | 0.050658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_231-7_1_3_line_14 |  | 9 | 11 | 0.062092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_231-7_1_3_line_15 |  | 10 | 22 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_231-7_1_3_line_16 |  | 11 | 55 | 0.022483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_231-7_1_3_line_17 |  | 11 | 54 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_231-7_1_3_line_18 |  | 12 | 13 | 0.031805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_231-7_1_3_line_19 |  | 12 | 14 | 0.040987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_231-7_1_3_line_20 |  | 13 | 38 | 0.023077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_231-7_1_3_line_21 |  | 14 | 15 | 0.069605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_231-7_1_3_line_22 |  | 15 | 36 | 0.25754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_231-7_1_3_line_23 |  | 16 | 18 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_231-7_1_3_line_24 |  | 17 | 19 | 0.026001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_231-7_1_3_line_25 |  | 18 | 30 | 0.006249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_231-7_1_3_line_26 |  | 19 | 25 | 0.038586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_231-7_1_3_line_27 |  | 20 | 21 | 0.042944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_231-7_1_3_line_28 |  | 22 | 23 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_231-7_1_3_line_29 |  | 22 | 24 | 0.043441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_231-7_1_3_line_30 |  | 23 | 35 | 0.010995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_231-7_1_3_line_31 |  | 24 | 38 | 0.018854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_231-7_1_3_line_32 |  | 26 | 27 | 0.12812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_231-7_1_3_line_33 |  | 26 | 28 | 0.13906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_231-7_1_3_line_34 |  | 27 | 39 | 0.024203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_231-7_1_3_line_35 |  | 27 | 40 | 0.04112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_231-7_1_3_line_36 |  | 29 | 30 | 0.0079941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_231-7_1_3_line_37 |  | 30 | 33 | 0.02102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_231-7_1_3_line_38 |  | 31 | 32 | 0.031224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_231-7_1_3_line_39 |  | 32 | 38 | 0.046808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_231-7_1_3_line_40 |  | 33 | 34 | 0.0098554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_231-7_1_3_line_41 |  | 34 | 67 | 0.024002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_231-7_1_3_line_42 |  | 35 | 68 | 0.0010873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_231-7_1_3_line_43 |  | 36 | 37 | 0.010659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_231-7_1_3_line_44 |  | 37 | 65 | 0.0053461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_231-7_1_3_line_45 |  | 39 | 46 | 0.028245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_231-7_1_3_line_46 |  | 39 | 47 | 0.034355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_231-7_1_3_line_47 |  | 40 | 43 | 0.021987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_231-7_1_3_line_48 |  | 41 | 42 | 0.019001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_231-7_1_3_line_49 |  | 43 | 44 | 0.029409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_231-7_1_3_line_50 |  | 43 | 45 | 0.038606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_231-7_1_3_line_51 |  | 44 | 48 | 0.0054817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_231-7_1_3_line_52 |  | 45 | 49 | 0.011951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_231-7_1_3_line_53 |  | 46 | 50 | 0.0071994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_231-7_1_3_line_54 |  | 47 | 53 | 0.030504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_231-7_1_3_line_55 |  | 49 | 54 | 0.006377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_231-7_1_3_line_56 |  | 50 | 52 | 0.014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_231-7_1_3_line_57 |  | 51 | 52 | 0.0035795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_231-7_1_3_line_58 |  | 55 | 57 | 0.00153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_231-7_1_3_line_59 |  | 56 | 57 | 0.022397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_231-7_1_3_line_60 |  | 56 | 58 | 0.023605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_231-7_1_3_line_61 |  | 58 | 59 | 0.0071133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_231-7_1_3_line_62 |  | 59 | 60 | 0.023018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_231-7_1_3_line_63 |  | 61 | 62 | 0.012851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_231-7_1_3_line_64 |  | 61 | 63 | 0.0073956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_231-7_1_3_line_65 |  | 62 | 64 | 0.0074111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_231-7_1_3_line_66 |  | 63 | 65 | 0.0073811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_231-7_1_3_line_67 |  | 64 | 66 | 0.0073959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_231-7_1_3_trafo_18 | 0.63 MVA 20/0.4 kV | 69 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2704671.3407 | 1255304.155 | 2704684.1592 | 1255309.6749
1 | 2704684.1592 | 1255309.6749 | 2704683.2833 | 1255313.1289 | 2704707.1427 | 1255324.8381 | 2704724.1391 | 1255331.6495
2 | 2704684.1592 | 1255309.6749 | 2704686.4416 | 1255300.6369
3 | 2704671.3407 | 1255304.155 | 2704657.1847 | 1255298.0642
4 | 2704732.0212 | 1255334.8083 | 2704724.1391 | 1255331.6495
5 | 2704775.2042 | 1255307.6055 | 2704771.6834 | 1255319.3489
6 | 2704766.8418 | 1255335.4803 | 2704767.6355 | 1255332.8367 | 2704768.87 | 1255328.7329 | 2704771.6834 | 1255319.3489
7 | 2704766.9763 | 1255304.4463 | 2704775.2042 | 1255307.6055
8 | 2704766.8418 | 1255335.4803 | 2704781.2119 | 1255338.9995
9 | 2704766.8418 | 1255335.4803 | 2704758.0178 | 1255335.31
10 | 2704583.9883 | 1255256.0948 | 2704578.3412 | 1255253.9935
11 | 2704569.7911 | 1255237.6512 | 2704583.386 | 1255241.9392 | 2704588.0863 | 1255247.4823 | 2704594.5622 | 1255251.1664 | 2704592.7419 | 1255252.9913 | 2704583.9883 | 1255256.0948
12 | 2704583.9883 | 1255256.0948 | 2704584.7091 | 1255263.5469 | 2704582.8218 | 1255269.1626 | 2704617.4932 | 1255281.7074
13 | 2704468.6919 | 1255205.7632 | 2704470.5124 | 1255200.5022 | 2704443.0154 | 1255192.6441 | 2704433.4276 | 1255192.1413 | 2704426.6479 | 1255193.3794
14 | 2704366.6797 | 1255181.9452 | 2704372.6413 | 1255185.2863 | 2704408.6699 | 1255194.5067 | 2704421.2114 | 1255194.3721 | 2704426.6479 | 1255193.3794
15 | 2704476.1504 | 1255197.388 | 2704473.4935 | 1255207.2825 | 2704468.6919 | 1255205.7632
16 | 2704366.6797 | 1255181.9452 | 2704371.0782 | 1255172.9599 | 2704377.2742 | 1255166.0079 | 2704379.9079 | 1255164.2497
17 | 2704366.6797 | 1255181.9452 | 2704354.5482 | 1255178.9401
18 | 2704516.9495 | 1255220.9826 | 2704512.991 | 1255237.9377 | 2704498.7121 | 1255236.1223
19 | 2704498.7121 | 1255236.1223 | 2704482.5193 | 1255234.0636 | 2704459.0717 | 1255241.7117
20 | 2704516.9495 | 1255220.9826 | 2704532.0524 | 1255225.7531 | 2704534.0013 | 1255218.7818
21 | 2704519.9333 | 1255275.4464 | 2704514.549 | 1255272.7491 | 2704481.8367 | 1255255.2021 | 2704459.0717 | 1255241.7117
22 | 2704284.5373 | 1255309.3576 | 2704292.8268 | 1255306.0342 | 2704299.4495 | 1255305.2502 | 2704304.6234 | 1255305.3413 | 2704309.333 | 1255306.0916 | 2704318.6303 | 1255309.3691 | 2704327.8373 | 1255314.769 | 2704336.2376 | 1255320.5662 | 2704340.5828 | 1255323.156 | 2704341.322 | 1255323.5916 | 2704345.1894 | 1255325.8949 | 2704353.9118 | 1255317.2749 | 2704386.7956 | 1255295.5923 | 2704402.4056 | 1255284.8699 | 2704445.2903 | 1255287.7395 | 2704456.6822 | 1255283.904 | 2704462.0657 | 1255281.9529 | 2704468.4917 | 1255282.0552 | 2704470.3958 | 1255279.331 | 2704480.9527 | 1255277.4935 | 2704490.7262 | 1255276.4429 | 2704513.0042 | 1255275.6353 | 2704519.9333 | 1255275.4464
23 | 2704797.4825 | 1255342.9842 | 2704781.2119 | 1255338.9995
24 | 2704732.0212 | 1255334.8083 | 2704758.0178 | 1255335.31
25 | 2704802.7628 | 1255339.6193 | 2704797.4825 | 1255342.9842
26 | 2704732.0212 | 1255334.8083 | 2704700.2402 | 1255329.4976 | 2704695.2843 | 1255325.504
27 | 2704617.4932 | 1255281.7074 | 2704628.1081 | 1255285.5536 | 2704657.1847 | 1255298.0642
28 | 2704465.2441 | 1255181.8274 | 2704471.7137 | 1255183.743 | 2704475.4593 | 1255185.2548 | 2704477.1262 | 1255187.8419 | 2704477.2164 | 1255188.2883 | 2704477.8416 | 1255191.3351 | 2704476.1504 | 1255197.388
29 | 2704476.1504 | 1255197.388 | 2704500.8838 | 1255204.5191 | 2704504.8263 | 1255208.5475 | 2704516.2101 | 1255212.5408
30 | 2704465.2441 | 1255181.8274 | 2704462.6845 | 1255181.0816 | 2704454.7273 | 1255178.6207
31 | 2704534.0013 | 1255218.7818 | 2704516.2101 | 1255212.5408
32 | 2704149.1335 | 1255205.8794 | 2704152.27 | 1255210.7052 | 2704167.2551 | 1255233.7542 | 2704174.5906 | 1255244.7699 | 2704180.3181 | 1255252.8439 | 2704190.367 | 1255248.1502 | 2704205.4486 | 1255242.5666 | 2704242.1775 | 1255231.7263 | 2704248.2056 | 1255230.0088
33 | 2704149.1335 | 1255205.8794 | 2704162.8145 | 1255189.8626 | 2704230.1922 | 1255139.04 | 2704238.9385 | 1255132.4997 | 2704257.0973 | 1255118.9222
34 | 2704238.8896 | 1255207.66 | 2704248.2056 | 1255230.0088
35 | 2704248.2056 | 1255230.0088 | 2704284.8973 | 1255219.5797 | 2704287.6787 | 1255218.5255
36 | 2704802.7628 | 1255339.6193 | 2704800.8103 | 1255331.8673
37 | 2704802.7628 | 1255339.6193 | 2704819.0441 | 1255341.7203 | 2704823.5297 | 1255342.7561
38 | 2704569.7911 | 1255237.6512 | 2704576.08 | 1255214.777 | 2704578.2185 | 1255207.5878
39 | 2704534.0013 | 1255218.7818 | 2704532.0524 | 1255225.7531 | 2704545.3998 | 1255229.9588 | 2704557.0064 | 1255233.6222 | 2704569.7911 | 1255237.6512
40 | 2704823.5297 | 1255342.7561 | 2704833.1352 | 1255344.9614
41 | 2704833.1352 | 1255344.9614 | 2704844.6285 | 1255347.6002 | 2704855.5943 | 1255348.6619 | 2704855.0354 | 1255349.7151
42 | 2704454.7273 | 1255178.6207 | 2704453.6885 | 1255178.2995
43 | 2704284.5373 | 1255309.3576 | 2704288.5889 | 1255299.4986 | 2704288.5889 | 1255299.4986
44 | 2704288.5889 | 1255299.4986 | 2704292.3406 | 1255295.69
45 | 2704238.8896 | 1255207.66 | 2704229.9712 | 1255186.2856 | 2704234.6217 | 1255184.2303
46 | 2704238.8896 | 1255207.66 | 2704267.02 | 1255195.8456 | 2704265.4509 | 1255192.3363
47 | 2704307.6133 | 1255209.338 | 2704296.1686 | 1255215.308 | 2704287.6787 | 1255218.5255
48 | 2704766.9763 | 1255304.4463 | 2704761.3674 | 1255302.9347 | 2704757.3357 | 1255303.9531 | 2704748.7019 | 1255301.2939
49 | 2704307.6133 | 1255209.338 | 2704296.3018 | 1255182.191
50 | 2704307.6133 | 1255209.338 | 2704312.045 | 1255207.0253 | 2704330.0068 | 1255190.8619 | 2704337.7708 | 1255185.4859
51 | 2704294.1934 | 1255177.131 | 2704296.3018 | 1255182.191
52 | 2704348.3288 | 1255180.349 | 2704343.6632 | 1255181.4059 | 2704337.7708 | 1255185.4859
53 | 2704234.6217 | 1255184.2303 | 2704241.2066 | 1255181.32
54 | 2704247.6171 | 1255178.4867 | 2704257.3371 | 1255174.1908 | 2704265.4509 | 1255192.3363
55 | 2704354.5482 | 1255178.9401 | 2704348.3288 | 1255180.349
56 | 2704241.2066 | 1255181.32 | 2704254.0631 | 1255175.6378
57 | 2704254.0631 | 1255175.6378 | 2704257.3371 | 1255174.1908
58 | 2704381.1803 | 1255163.4002 | 2704379.9079 | 1255164.2497
59 | 2704381.1803 | 1255163.4002 | 2704399.8079 | 1255150.9649
60 | 2704417.6912 | 1255135.6178 | 2704403.4835 | 1255148.5111 | 2704399.8079 | 1255150.9649
61 | 2704417.6912 | 1255135.6178 | 2704416.7896 | 1255131.1316 | 2704415.8646 | 1255128.7688
62 | 2704415.8646 | 1255128.7688 | 2704407.4732 | 1255107.3344
63 | 2704302.7103 | 1255285.163 | 2704311.7285 | 1255276.008
64 | 2704302.7103 | 1255285.163 | 2704297.5204 | 1255290.4317
65 | 2704311.7285 | 1255276.008 | 2704316.9294 | 1255270.7282
66 | 2704297.5204 | 1255290.4317 | 2704292.3406 | 1255295.69
67 | 2704322.1195 | 1255265.4594 | 2704316.9294 | 1255270.7282

## bus_geodata
| x | y | coords
0 | 2704684.1592 | 1255309.6749
1 | 2704671.3407 | 1255304.155
2 | 2704724.1391 | 1255331.6495
3 | 2704686.4416 | 1255300.6369
4 | 2704771.6834 | 1255319.3489
5 | 2704775.2042 | 1255307.6055
6 | 2704766.8418 | 1255335.4803
7 | 2704578.3412 | 1255253.9935
8 | 2704583.9883 | 1255256.0948
9 | 2704426.6479 | 1255193.3794
10 | 2704468.6919 | 1255205.7632
11 | 2704366.6797 | 1255181.9452
12 | 2704498.7121 | 1255236.1223
13 | 2704516.9495 | 1255220.9826
14 | 2704459.0717 | 1255241.7117
15 | 2704519.9333 | 1255275.4464
16 | 2704781.2119 | 1255338.9995
17 | 2704758.0178 | 1255335.31
18 | 2704797.4825 | 1255342.9842
19 | 2704732.0212 | 1255334.8083
20 | 2704657.1847 | 1255298.0642
21 | 2704617.4932 | 1255281.7074
22 | 2704476.1504 | 1255197.388
23 | 2704465.2441 | 1255181.8274
24 | 2704516.2101 | 1255212.5408
25 | 2704695.2843 | 1255325.504
26 | 2704149.1335 | 1255205.8794
27 | 2704248.2056 | 1255230.0088
28 | 2704257.0973 | 1255118.9222
29 | 2704800.8103 | 1255331.8673
30 | 2704802.7628 | 1255339.6193
31 | 2704578.2184 | 1255207.5878
32 | 2704569.7911 | 1255237.6512
33 | 2704823.5297 | 1255342.7561
34 | 2704833.1352 | 1255344.9614
35 | 2704454.7273 | 1255178.6207
36 | 2704284.5373 | 1255309.3576
37 | 2704288.5889 | 1255299.4986
38 | 2704534.0013 | 1255218.7818
39 | 2704238.8896 | 1255207.66
40 | 2704287.6787 | 1255218.5255
41 | 2704766.9763 | 1255304.4463
42 | 2704748.7019 | 1255301.2939
43 | 2704307.6133 | 1255209.338
44 | 2704296.3018 | 1255182.191
45 | 2704337.7708 | 1255185.4859
46 | 2704234.6217 | 1255184.2303
47 | 2704265.4509 | 1255192.3363
48 | 2704294.1934 | 1255177.131
49 | 2704348.3288 | 1255180.349
50 | 2704241.2066 | 1255181.32
51 | 2704257.3371 | 1255174.1908
52 | 2704254.0631 | 1255175.6378
53 | 2704247.6171 | 1255178.4867
54 | 2704354.5482 | 1255178.9401
55 | 2704379.9079 | 1255164.2497
56 | 2704399.8079 | 1255150.9649
57 | 2704381.1803 | 1255163.4002
58 | 2704417.6912 | 1255135.6178
59 | 2704415.8645 | 1255128.7688
60 | 2704407.4732 | 1255107.3344
61 | 2704302.7103 | 1255285.163
62 | 2704311.7285 | 1255276.008
63 | 2704297.5204 | 1255290.4317
64 | 2704316.9294 | 1255270.7282
65 | 2704292.3406 | 1255295.69
66 | 2704322.1195 | 1255265.4594
67 | 2704855.0354 | 1255349.7151
68 | 2704453.6885 | 1255178.2995
69 | 2704643.5628 | 1255269.9918

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99359 | -0.1226 | 0 | 0
1 | 0.99458 | -0.10354 | 0 | 0
2 | 0.98791 | -0.23233 | 0.048513 | 0.012159
3 | 0.99335 | -0.12716 | 0.027712 | 0.0069454
4 | 0.98496 | -0.28963 | 0.015814 | 0.0039634
5 | 0.98492 | -0.29047 | 0 | 0
6 | 0.98527 | -0.2837 | 0 | 0
7 | 0.99622 | -0.071199 | 0.0015994 | 0.00040084
8 | 0.99623 | -0.07103 | 0 | 0
9 | 0.98244 | -0.3353 | 0.0003847 | 9.6415e-05
10 | 0.9853 | -0.2799 | 0 | 0
11 | 0.97895 | -0.40321 | 0 | 0
12 | 0.98922 | -0.20468 | 0.0015679 | 0.00039295
13 | 0.98957 | -0.19794 | 0 | 0
14 | 0.98884 | -0.21223 | 0.0017978 | 0.00045057
15 | 0.98829 | -0.22283 | 0 | 0
16 | 0.98477 | -0.29344 | 0.027931 | 0.0070003
17 | 0.98572 | -0.27479 | 0.0091761 | 0.0022997
18 | 0.98463 | -0.29607 | 0 | 0
19 | 0.98729 | -0.24432 | 0 | 0
20 | 0.99568 | -0.082479 | 0.064171 | 0.016083
21 | 1 | 0 | -0.30547 | -0.077562
22 | 0.98617 | -0.26325 | 0 | 0
23 | 0.98615 | -0.26362 | 0 | 0
24 | 0.98866 | -0.2154 | 0.0049105 | 0.0012307
25 | 0.98681 | -0.25372 | 0.013605 | 0.0034098
26 | 0.9729 | -0.52214 | 0 | 0
27 | 0.97401 | -0.50029 | 0 | 0
28 | 0.9717 | -0.54589 | 0.0092646 | 0.0023219
29 | 0.98456 | -0.2974 | 0.002439 | 0.00061127
30 | 0.98458 | -0.29705 | 0 | 0
31 | 0.99321 | -0.12835 | 0.00070002 | 0.00017544
32 | 0.99323 | -0.12796 | 0 | 0
33 | 0.98446 | -0.29942 | 0 | 0
34 | 0.9844 | -0.30053 | 0.0037664 | 0.00094395
35 | 0.98614 | -0.2638 | 0.00037471 | 9.391e-05
36 | 0.98627 | -0.26211 | 0 | 0
37 | 0.98619 | -0.26374 | 0.00084372 | 0.00021146
38 | 0.98982 | -0.19305 | 0 | 0
39 | 0.97353 | -0.50976 | 0 | 0
40 | 0.97518 | -0.47722 | 0.0049409 | 0.0012383
41 | 0.98489 | -0.29106 | 0 | 0
42 | 0.98482 | -0.29236 | 0.0037867 | 0.00094903
43 | 0.97591 | -0.46292 | 0 | 0
44 | 0.97566 | -0.46783 | 0.0064789 | 0.0016238
45 | 0.97751 | -0.43144 | 0.0029183 | 0.00073141
46 | 0.97311 | -0.51792 | 0.0023171 | 0.00058071
47 | 0.97335 | -0.5133 | 0.0034019 | 0.00085259
48 | 0.97564 | -0.46809 | 0.0026412 | 0.00066194
49 | 0.97804 | -0.42107 | 0.0026925 | 0.0006748
50 | 0.97302 | -0.51969 | 0.0022532 | 0.0005647
51 | 0.97285 | -0.52315 | 0.0088465 | 0.0022171
52 | 0.97288 | -0.52257 | 0.0022758 | 0.00057038
53 | 0.97329 | -0.51454 | 0.0021993 | 0.00055119
54 | 0.97834 | -0.41524 | 0.0026419 | 0.00066212
55 | 0.9788 | -0.40626 | 0.0011924 | 0.00029885
56 | 0.97872 | -0.40789 | 0.00061633 | 0.00015447
57 | 0.97879 | -0.40643 | 0.0026924 | 0.00067477
58 | 0.97865 | -0.40916 | 0 | 0
59 | 0.97863 | -0.40954 | 0.00058687 | 0.00014708
60 | 0.97858 | -0.41053 | 0.0023679 | 0.00059346
61 | 0.98606 | -0.26617 | 0.00084353 | 0.00021141
62 | 0.986 | -0.26736 | 0.0008465 | 0.00021215
63 | 0.9861 | -0.26538 | 0.0008463 | 0.0002121
64 | 0.98597 | -0.26793 | 0.0021528 | 0.00053955
65 | 0.98615 | -0.26447 | 0.00084656 | 0.00021217
66 | 0.98596 | -0.26821 | 0.0021444 | 0.00053744
67 | 0.98435 | -0.30161 | 0.0025082 | 0.00062862
68 | 0.98614 | -0.26381 | 0.00050641 | 0.00012692
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15613 | -0.039466 | 0.15627 | 0.039557 | 0.00014285 | 9.1062e-05 | 0.23394 | 0.23394 | 0.23394 | 0.99359 | -0.1226 | 0.99458 | -0.10354 | 32.1345
1 | 0.12841 | 0.032517 | -0.12774 | -0.032087 | 0.00067278 | 0.00042995 | 0.19243 | 0.19243 | 0.19243 | 0.99359 | -0.1226 | 0.98791 | -0.23233 | 52.8646
2 | 0.027718 | 0.0069491 | -0.027712 | -0.0069454 | 6.024e-06 | 3.7347e-06 | 0.041512 | 0.041512 | 0.041512 | 0.99359 | -0.1226 | 0.99335 | -0.12716 | 11.4045
3 | -0.15627 | -0.039557 | 0.15643 | 0.039658 | 0.00015814 | 0.00010081 | 0.23394 | 0.23394 | 0.23394 | 0.99458 | -0.10354 | 0.99568 | -0.082479 | 32.1345
4 | 0.079224 | 0.019929 | -0.079178 | -0.0199 | 4.5363e-05 | 2.8924e-05 | 0.11936 | 0.11936 | 0.11936 | 0.98791 | -0.23233 | 0.98729 | -0.24432 | 32.7899
5 | 0.0037872 | 0.00094884 | -0.003787 | -0.0009489 | 1.5049e-07 | -5.9718e-08 | 0.0057213 | 0.0057214 | 0.0057214 | 0.98496 | -0.28963 | 0.98492 | -0.29047 | 1.5718
6 | -0.019601 | -0.0049122 | 0.019607 | 0.0049156 | 5.5383e-06 | 3.3301e-06 | 0.029612 | 0.029612 | 0.029612 | 0.98496 | -0.28963 | 0.98527 | -0.2837 | 8.1352
7 | 0.003787 | 0.0009489 | -0.0037869 | -0.00094894 | 1.079e-07 | -4.2807e-08 | 0.0057214 | 0.0057214 | 0.0057214 | 0.98492 | -0.29047 | 0.98489 | -0.29106 | 1.5718
8 | 0.036665 | 0.0091955 | -0.036648 | -0.0091848 | 1.7013e-05 | 1.07e-05 | 0.055376 | 0.055376 | 0.055376 | 0.98527 | -0.2837 | 0.98477 | -0.29344 | 15.2132
9 | -0.056272 | -0.014111 | 0.056295 | 0.014126 | 2.3905e-05 | 1.5187e-05 | 0.084988 | 0.084988 | 0.084988 | 0.98527 | -0.2837 | 0.98572 | -0.27479 | 23.3484
10 | -0.0015994 | -0.00040084 | 0.0015994 | 0.00040077 | 1.2895e-08 | -7.0201e-08 | 0.0023889 | 0.0023889 | 0.0023889 | 0.99622 | -0.071199 | 0.99623 | -0.07103 | 0.65629
11 | 0.080462 | 0.020679 | -0.08024 | -0.020538 | 0.00022187 | 0.00014147 | 0.12036 | 0.12036 | 0.12036 | 0.99623 | -0.07103 | 0.99323 | -0.12796 | 33.0672
12 | -0.082061 | -0.02108 | 0.082345 | 0.021261 | 0.00028413 | 0.00018118 | 0.12275 | 0.12275 | 0.12275 | 0.99623 | -0.07103 | 1 | 0 | 33.7234
13 | -0.061147 | -0.015485 | 0.06131 | 0.015589 | 0.00016315 | 0.00010377 | 0.092672 | 0.092672 | 0.092672 | 0.98244 | -0.3353 | 0.9853 | -0.2799 | 25.4594
14 | 0.060763 | 0.015389 | -0.060565 | -0.015263 | 0.00019747 | 0.00012559 | 0.092089 | 0.09209 | 0.09209 | 0.98244 | -0.3353 | 0.97895 | -0.40321 | 25.2994
15 | -0.06131 | -0.015589 | 0.06136 | 0.01562 | 4.9214e-05 | 3.1302e-05 | 0.092672 | 0.092672 | 0.092672 | 0.9853 | -0.2799 | 0.98617 | -0.26325 | 25.4593
16 | 0.0074576 | 0.0018685 | -0.0074565 | -0.0018681 | 1.0834e-06 | 4.1071e-07 | 0.011335 | 0.011336 | 0.011336 | 0.97895 | -0.40321 | 0.9788 | -0.40626 | 3.1142
17 | 0.053108 | 0.013395 | -0.053077 | -0.013375 | 3.0564e-05 | 1.9404e-05 | 0.080754 | 0.080754 | 0.080754 | 0.97895 | -0.40321 | 0.97834 | -0.41524 | 22.1853
18 | -0.011915 | -0.0029909 | 0.011919 | 0.002993 | 3.8322e-06 | 2.0442e-06 | 0.017925 | 0.017925 | 0.017925 | 0.98922 | -0.20468 | 0.98957 | -0.19794 | 4.9245
19 | 0.010348 | 0.002598 | -0.010344 | -0.0025961 | 3.7245e-06 | 1.8577e-06 | 0.015567 | 0.015567 | 0.015567 | 0.98922 | -0.20468 | 0.98884 | -0.21223 | 4.2766
20 | -0.011919 | -0.002993 | 0.011922 | 0.0029945 | 2.7805e-06 | 1.483e-06 | 0.017925 | 0.017925 | 0.017925 | 0.98957 | -0.19794 | 0.98982 | -0.19305 | 4.9245
21 | 0.0085461 | 0.0021455 | -0.0085417 | -0.0021437 | 4.3179e-06 | 1.871e-06 | 0.012862 | 0.012862 | 0.012862 | 0.98884 | -0.21223 | 0.98829 | -0.22283 | 3.5335
22 | 0.0085417 | 0.0021437 | -0.0085258 | -0.0021367 | 1.5978e-05 | 6.9325e-06 | 0.012862 | 0.012863 | 0.012863 | 0.98829 | -0.22283 | 0.98627 | -0.26211 | 3.5338
23 | 0.0087163 | 0.0021845 | -0.0087152 | -0.002184 | 1.0897e-06 | 4.843e-07 | 0.013171 | 0.013171 | 0.013171 | 0.98477 | -0.29344 | 0.98463 | -0.29607 | 3.6183
24 | -0.065472 | -0.016426 | 0.065567 | 0.016487 | 9.5256e-05 | 6.0632e-05 | 0.09884 | 0.09884 | 0.09884 | 0.98572 | -0.27479 | 0.98729 | -0.24432 | 27.1538
25 | 0.0087152 | 0.002184 | -0.0087148 | -0.0021838 | 4.065e-07 | 1.8068e-07 | 0.013171 | 0.013171 | 0.013171 | 0.98463 | -0.29607 | 0.98458 | -0.29705 | 3.6183
26 | 0.013611 | 0.0034132 | -0.013605 | -0.0034098 | 6.0902e-06 | 3.4046e-06 | 0.020516 | 0.020516 | 0.020516 | 0.98729 | -0.24432 | 0.98681 | -0.25372 | 5.6362
27 | -0.2206 | -0.055741 | 0.22148 | 0.056301 | 0.00087602 | 0.00055953 | 0.32984 | 0.32984 | 0.32984 | 0.99568 | -0.082479 | 1 | 0 | 45.3078
28 | 0.00088114 | 0.00022039 | -0.00088112 | -0.00022068 | 1.5717e-08 | -2.925e-07 | 0.0013294 | 0.0013295 | 0.0013295 | 0.98617 | -0.26325 | 0.98615 | -0.26362 | 0.36524
29 | -0.062241 | -0.015841 | 0.062385 | 0.015932 | 0.00014395 | 9.157e-05 | 0.094001 | 0.094001 | 0.094001 | 0.98617 | -0.26325 | 0.98866 | -0.2154 | 25.8245
30 | 0.00088112 | 0.00022068 | -0.00088111 | -0.00022081 | 7.288e-09 | -1.3561e-07 | 0.0013295 | 0.0013295 | 0.0013295 | 0.98615 | -0.26362 | 0.98614 | -0.2638 | 0.36526
31 | -0.067295 | -0.017163 | 0.067368 | 0.017209 | 7.2684e-05 | 4.6276e-05 | 0.10139 | 0.10139 | 0.10139 | 0.98866 | -0.2154 | 0.98982 | -0.19305 | 27.8548
32 | -0.0092751 | -0.0023269 | 0.0092848 | 0.0023315 | 9.6692e-06 | 4.5955e-06 | 0.014187 | 0.014186 | 0.014187 | 0.9729 | -0.52214 | 0.97401 | -0.50029 | 3.8975
33 | 0.0092751 | 0.0023269 | -0.0092646 | -0.0023219 | 1.0496e-05 | 4.9925e-06 | 0.014187 | 0.014187 | 0.014187 | 0.9729 | -0.52214 | 0.9717 | -0.54589 | 3.8976
34 | 0.021313 | 0.0053475 | -0.021304 | -0.0053417 | 9.624e-06 | 5.8583e-06 | 0.032563 | 0.032563 | 0.032563 | 0.97401 | -0.50029 | 0.97353 | -0.50976 | 8.946
35 | -0.030598 | -0.0076791 | 0.030632 | 0.0077001 | 3.37e-05 | 2.1056e-05 | 0.046749 | 0.046749 | 0.046749 | 0.97401 | -0.50029 | 0.97518 | -0.47722 | 12.8432
36 | -0.002439 | -0.00061127 | 0.002439 | 0.00061119 | 4.0732e-08 | -7.5597e-08 | 0.0036861 | 0.0036861 | 0.0036861 | 0.98456 | -0.2974 | 0.98458 | -0.29705 | 1.0127
37 | 0.0062758 | 0.0015726 | -0.0062751 | -0.0015724 | 7.0911e-07 | 1.8653e-07 | 0.0094847 | 0.0094848 | 0.0094848 | 0.98458 | -0.29705 | 0.98446 | -0.29942 | 2.6057
38 | -0.00070002 | -0.00017544 | 0.00070004 | 0.00017505 | 1.2877e-08 | -3.9585e-07 | 0.0010488 | 0.0010486 | 0.0010488 | 0.99321 | -0.12835 | 0.99323 | -0.12796 | 0.28812
39 | 0.07954 | 0.020363 | -0.07929 | -0.020204 | 0.00024989 | 0.00015933 | 0.11932 | 0.11932 | 0.11932 | 0.99323 | -0.12796 | 0.98982 | -0.19305 | 32.7792
40 | 0.0062751 | 0.0015724 | -0.0062748 | -0.0015724 | 3.3248e-07 | 8.7483e-08 | 0.0094848 | 0.0094848 | 0.0094848 | 0.98446 | -0.29942 | 0.9844 | -0.30053 | 2.6057
41 | 0.0025083 | 0.0006284 | -0.0025082 | -0.00062862 | 1.2939e-07 | -2.2231e-07 | 0.0037915 | 0.0037916 | 0.0037916 | 0.9844 | -0.30053 | 0.98435 | -0.30161 | 1.0417
42 | 0.00050641 | 0.0001269 | -0.00050641 | -0.00012692 | 2.3812e-10 | -1.372e-08 | 0.00076413 | 0.00076414 | 0.00076414 | 0.98614 | -0.2638 | 0.98614 | -0.26381 | 0.20993
43 | 0.0085258 | 0.0021367 | -0.0085251 | -0.0021365 | 6.6136e-07 | 2.8725e-07 | 0.012863 | 0.012863 | 0.012863 | 0.98627 | -0.26211 | 0.98619 | -0.26374 | 3.5338
44 | 0.0076814 | 0.001925 | -0.0076811 | -0.0019249 | 2.693e-07 | 1.0414e-07 | 0.01159 | 0.01159 | 0.01159 | 0.98619 | -0.26374 | 0.98615 | -0.26447 | 3.1841
45 | 0.015702 | 0.003938 | -0.015695 | -0.0039345 | 6.1012e-06 | 3.5537e-06 | 0.024001 | 0.024001 | 0.024001 | 0.97353 | -0.50976 | 0.97311 | -0.51792 | 6.5936
46 | 0.0056022 | 0.0014037 | -0.0056013 | -0.0014035 | 9.446e-07 | 1.7746e-07 | 0.0085627 | 0.0085629 | 0.0085629 | 0.97353 | -0.50976 | 0.97335 | -0.5133 | 2.3524
47 | -0.035573 | -0.0089384 | 0.035597 | 0.0089537 | 2.4301e-05 | 1.5278e-05 | 0.054288 | 0.054288 | 0.054288 | 0.97518 | -0.47722 | 0.97591 | -0.46292 | 14.9144
48 | 0.0037869 | 0.00094894 | -0.0037867 | -0.00094903 | 2.3325e-07 | -9.2509e-08 | 0.0057214 | 0.0057215 | 0.0057215 | 0.98489 | -0.29106 | 0.98482 | -0.29236 | 1.5718
49 | 0.0091222 | 0.0022866 | -0.00912 | -0.0022856 | 2.1337e-06 | 9.9818e-07 | 0.013909 | 0.013909 | 0.013909 | 0.97591 | -0.46292 | 0.97566 | -0.46783 | 3.8212
50 | -0.044719 | -0.01124 | 0.044787 | 0.011283 | 6.7332e-05 | 4.2609e-05 | 0.068198 | 0.068197 | 0.068198 | 0.97591 | -0.46292 | 0.97751 | -0.43144 | 18.7356
51 | 0.0026412 | 0.00066189 | -0.0026412 | -0.00066194 | 3.3355e-08 | -4.7109e-08 | 0.0040282 | 0.0040282 | 0.0040282 | 0.97566 | -0.46783 | 0.97564 | -0.46809 | 1.1066
52 | -0.047705 | -0.012014 | 0.047729 | 0.012029 | 2.3647e-05 | 1.4984e-05 | 0.07264 | 0.07264 | 0.07264 | 0.97751 | -0.43144 | 0.97804 | -0.42107 | 19.956
53 | 0.013378 | 0.0033538 | -0.013377 | -0.0033531 | 1.1299e-06 | 6.337e-07 | 0.020458 | 0.020458 | 0.020458 | 0.97311 | -0.51792 | 0.97302 | -0.51969 | 5.6202
54 | 0.0021994 | 0.00055089 | -0.0021993 | -0.00055119 | 1.2932e-07 | -2.9636e-07 | 0.0033622 | 0.0033624 | 0.0033624 | 0.97335 | -0.5133 | 0.97329 | -0.51454 | 0.92372
55 | -0.050421 | -0.012704 | 0.050435 | 0.012713 | 1.4081e-05 | 8.9321e-06 | 0.076736 | 0.076736 | 0.076736 | 0.97804 | -0.42107 | 0.97834 | -0.41524 | 21.0814
56 | 0.011124 | 0.0027884 | -0.011123 | -0.0027876 | 1.5255e-06 | 8.0175e-07 | 0.017012 | 0.017012 | 0.017012 | 0.97302 | -0.51969 | 0.97288 | -0.52257 | 4.6736
57 | -0.0088465 | -0.0022171 | 0.0088468 | 0.0022173 | 2.4577e-07 | 1.1284e-07 | 0.013531 | 0.013531 | 0.013531 | 0.97285 | -0.52315 | 0.97288 | -0.52257 | 3.7173
58 | 0.0062641 | 0.0015692 | -0.0062641 | -0.0015692 | 5.2028e-08 | 1.4068e-08 | 0.0095228 | 0.0095228 | 0.0095228 | 0.9788 | -0.40626 | 0.97879 | -0.40643 | 2.6162
59 | -0.0035715 | -0.00089456 | 0.0035717 | 0.00089443 | 2.4762e-07 | -1.23e-07 | 0.0054298 | 0.0054297 | 0.0054298 | 0.97872 | -0.40789 | 0.97879 | -0.40643 | 1.4917
60 | 0.0029552 | 0.00074009 | -0.002955 | -0.00074027 | 1.7868e-07 | -1.8227e-07 | 0.0044928 | 0.0044929 | 0.0044929 | 0.97872 | -0.40789 | 0.97865 | -0.40916 | 1.2343
61 | 0.002955 | 0.00074027 | -0.0029549 | -0.00074033 | 5.3846e-08 | -5.4916e-08 | 0.0044929 | 0.0044929 | 0.0044929 | 0.97865 | -0.40916 | 0.97863 | -0.40954 | 1.2343
62 | 0.002368 | 0.00059324 | -0.0023679 | -0.00059346 | 1.1191e-07 | -2.1758e-07 | 0.0036005 | 0.0036007 | 0.0036007 | 0.97863 | -0.40954 | 0.97858 | -0.41053 | 0.98919
63 | 0.0051442 | 0.0012891 | -0.0051439 | -0.0012891 | 2.904e-07 | 2.194e-08 | 0.0077628 | 0.0077628 | 0.0077628 | 0.98606 | -0.26617 | 0.986 | -0.26736 | 2.1326
64 | -0.0059877 | -0.0015005 | 0.005988 | 0.0015005 | 2.2642e-07 | 5.0569e-08 | 0.0090357 | 0.0090357 | 0.0090357 | 0.98606 | -0.26617 | 0.9861 | -0.26538 | 2.4823
65 | 0.0042974 | 0.0010769 | -0.0042973 | -0.0010769 | 1.1689e-07 | -1.9712e-08 | 0.0064853 | 0.0064854 | 0.0064854 | 0.986 | -0.26736 | 0.98597 | -0.26793 | 1.7817
66 | -0.0068343 | -0.0017126 | 0.0068346 | 0.0017127 | 2.9437e-07 | 9.4232e-08 | 0.010313 | 0.010313 | 0.010313 | 0.9861 | -0.26538 | 0.98615 | -0.26447 | 2.8332
67 | 0.0021444 | 0.00053736 | -0.0021444 | -0.00053744 | 2.9049e-08 | -7.5733e-08 | 0.0032363 | 0.0032364 | 0.0032364 | 0.98597 | -0.26793 | 0.98596 | -0.26821 | 0.88911

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30547 | 0.077562

## res_load
| p_mw | q_mvar
0 | 0.048513 | 0.012159
1 | 0.027712 | 0.0069454
2 | 0.015814 | 0.0039634
3 | 0.0015994 | 0.00040084
4 | 0.0003847 | 9.6415e-05
5 | 0.0015679 | 0.00039295
6 | 0.0017978 | 0.00045057
7 | 0.027931 | 0.0070003
8 | 0.0091761 | 0.0022997
9 | 0.064171 | 0.016083
10 | 0.0049105 | 0.0012307
11 | 0.013605 | 0.0034098
12 | 0.0092646 | 0.0023219
13 | 0.002439 | 0.00061127
14 | 0.00070002 | 0.00017544
15 | 0.0037664 | 0.00094395
16 | 0.00037471 | 9.391e-05
17 | 0.00084372 | 0.00021146
18 | 0.0049409 | 0.0012383
19 | 0.0037867 | 0.00094903
20 | 0.0064789 | 0.0016238
21 | 0.0029183 | 0.00073141
22 | 0.0023171 | 0.00058071
23 | 0.0034019 | 0.00085259
24 | 0.0026412 | 0.00066194
25 | 0.0026925 | 0.0006748
26 | 0.0022532 | 0.0005647
27 | 0.0088465 | 0.0022171
28 | 0.0022758 | 0.00057038
29 | 0.0021993 | 0.00055119
30 | 0.0026419 | 0.00066212
31 | 0.0011924 | 0.00029885
32 | 0.00061633 | 0.00015447
33 | 0.0026924 | 0.00067477
34 | 0.00058687 | 0.00014708
35 | 0.0023679 | 0.00059346
36 | 0.00084353 | 0.00021141
37 | 0.0008465 | 0.00021215
38 | 0.0008463 | 0.0002121
39 | 0.0021528 | 0.00053955
40 | 0.00084656 | 0.00021217
41 | 0.0021444 | 0.00053744
42 | 0.0025082 | 0.00062862
43 | 0.00050641 | 0.00012692

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1