## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2321-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2321-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2321-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2321-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2321-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2321-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2321-5_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_2321-5_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2321-5_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2321-5_0_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_2321-5_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_2321-5_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2321-5_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2321-5_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_2321-5_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2321-5_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2321-5_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2321-5_0_3_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_2321-5_0_3_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_2321-5_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2321-5_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2321-5_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2321-5_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2321-5_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2321-5_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2321-5_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2321-5_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2321-5_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2321-5_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2321-5_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_2321-5_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_2321-5_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2321-5_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2321-5_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2321-5_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2321-5_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2321-5_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2321-5_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2321-5_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2321-5_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_2321-5_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_2321-5_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2321-5_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2321-5_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_2321-5_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2321-5_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2321-5_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2321-5_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2321-5_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2321-5_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_MV_384_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2321-5_0_3_load_0 | 0 | 0.038227 | 0.0095806 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2321-5_0_3_load_1 | 1 | 0.016141 | 0.0040454 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2321-5_0_3_load_3 | 3 | 0.054409 | 0.013636 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2321-5_0_3_load_4 | 4 | 0.029099 | 0.0072929 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2321-5_0_3_load_5 | 5 | 0.013135 | 0.003292 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2321-5_0_3_load_8 | 8 | 0.016586 | 0.0041568 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2321-5_0_3_load_42 | 9 | 0.020544 | 0.0051489 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2321-5_0_3_load_19 | 10 | 0.015765 | 0.003951 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2321-5_0_3_load_12 | 15 | 0.0080025 | 0.0020056 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2321-5_0_3_load_21 | 16 | 0.0015246 | 0.0003821 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2321-5_0_3_load_38 | 18 | 0.018296 | 0.0045854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2321-5_0_3_load_11 | 19 | 0.0010925 | 0.00027382 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2321-5_0_3_load_10 | 20 | 0.016029 | 0.0040173 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2321-5_0_3_load_13 | 21 | 0.003798 | 0.00095187 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2321-5_0_3_load_14 | 22 | 0.0046215 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2321-5_0_3_load_24 | 26 | 0.0023416 | 0.00058686 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2321-5_0_3_load_22 | 28 | 0.00122 | 0.00030575 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2321-5_0_3_load_48 | 29 | 0.011656 | 0.0029214 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2321-5_0_3_load_37 | 30 | 0.013224 | 0.0033143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2321-5_0_3_load_17 | 31 | 0.028973 | 0.0072614 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2321-5_0_3_load_18 | 32 | 0.027523 | 0.0068978 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2321-5_0_3_load_23 | 33 | 0.0034085 | 0.00085424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2321-5_0_3_load_27 | 35 | 0.002531 | 0.00063432 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2321-5_0_3_load_36 | 36 | 0.0025479 | 0.00063856 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2321-5_0_3_load_29 | 37 | 0.002607 | 0.00065336 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2321-5_0_3_load_30 | 39 | 0.0062708 | 0.0015716 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2321-5_0_3_load_51 | 40 | 0.0046955 | 0.0011768 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2321-5_0_3_load_43 | 41 | 0.028626 | 0.0071743 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2321-5_0_3_load_31 | 42 | 0.0054096 | 0.0013558 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2321-5_0_3_load_46 | 43 | 0.0028877 | 0.00072373 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2321-5_0_3_load_32 | 44 | 0.0029873 | 0.00074869 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2321-5_0_3_load_34 | 46 | 0.0015029 | 0.00037667 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2321-5_0_3_load_40 | 48 | 0.0062428 | 0.0015646 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2321-5_0_3_load_49 | 49 | 0.012414 | 0.0031113 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2321-5_0_3_line_0 |  | 0 | 1 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2321-5_0_3_line_1 |  | 0 | 2 | 0.024759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2321-5_0_3_line_2 |  | 1 | 3 | 0.049425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2321-5_0_3_line_3 |  | 2 | 4 | 0.01366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2321-5_0_3_line_4 |  | 2 | 5 | 0.017235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2321-5_0_3_line_5 |  | 3 | 6 | 0.02816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2321-5_0_3_line_6 |  | 4 | 7 | 0.073706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2321-5_0_3_line_7 |  | 5 | 8 | 0.028441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2321-5_0_3_line_8 |  | 6 | 9 | 0.027123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2321-5_0_3_line_9 |  | 6 | 10 | 0.050828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2321-5_0_3_line_10 |  | 7 | 11 | 0.04596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2321-5_0_3_line_11 |  | 8 | 12 | 0.035118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2321-5_0_3_line_12 |  | 10 | 32 | 0.014933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2321-5_0_3_line_13 |  | 11 | 13 | 0.049689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2321-5_0_3_line_14 |  | 11 | 14 | 0.074389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2321-5_0_3_line_15 |  | 11 | 15 | 0.029602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2321-5_0_3_line_16 |  | 12 | 20 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2321-5_0_3_line_17 |  | 13 | 16 | 0.013213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2321-5_0_3_line_18 |  | 14 | 17 | 0.043992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2321-5_0_3_line_19 |  | 14 | 18 | 0.035059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2321-5_0_3_line_20 |  | 15 | 19 | 0.015595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2321-5_0_3_line_21 |  | 16 | 28 | 0.024784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2321-5_0_3_line_22 |  | 17 | 29 | 0.028198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2321-5_0_3_line_23 |  | 18 | 30 | 0.035869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2321-5_0_3_line_24 |  | 19 | 21 | 0.062176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2321-5_0_3_line_25 |  | 21 | 22 | 0.042566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2321-5_0_3_line_26 |  | 22 | 23 | 0.02959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2321-5_0_3_line_27 |  | 23 | 24 | 0.021341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2321-5_0_3_line_28 |  | 23 | 25 | 0.098761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2321-5_0_3_line_29 |  | 24 | 40 | 0.040597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2321-5_0_3_line_30 |  | 25 | 41 | 0.061647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2321-5_0_3_line_31 |  | 26 | 27 | 0.021319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2321-5_0_3_line_32 |  | 27 | 36 | 0.00083916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2321-5_0_3_line_33 |  | 27 | 34 | 0.045031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2321-5_0_3_line_34 |  | 28 | 33 | 0.020191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2321-5_0_3_line_35 |  | 29 | 49 | 0.01897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2321-5_0_3_line_36 |  | 30 | 47 | 0.039172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2321-5_0_3_line_37 |  | 31 | 32 | 0.00083708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2321-5_0_3_line_38 |  | 33 | 34 | 0.014952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2321-5_0_3_line_39 |  | 34 | 35 | 0.022385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2321-5_0_3_line_40 |  | 35 | 37 | 0.014495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2321-5_0_3_line_41 |  | 36 | 38 | 0.0034185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2321-5_0_3_line_42 |  | 37 | 39 | 0.046321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2321-5_0_3_line_43 |  | 38 | 46 | 3.1643e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2321-5_0_3_line_44 |  | 39 | 42 | 0.063287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2321-5_0_3_line_45 |  | 42 | 43 | 0.081235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2321-5_0_3_line_46 |  | 44 | 45 | 0.022201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2321-5_0_3_line_47 |  | 45 | 46 | 0.02644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2321-5_0_3_line_48 |  | 47 | 48 | 0.035587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2321-5_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 50 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2554329.8241 | 1151354.9653 | 2554317.9877 | 1151357.8114
1 | 2554353.8847 | 1151349.127 | 2554341.8419 | 1151352.0755 | 2554329.8241 | 1151354.9653
2 | 2554285.1531 | 1151387.3571 | 2554286.6846 | 1151378.7753 | 2554291.1222 | 1151367.8581 | 2554303.1228 | 1151361.3857 | 2554317.9877 | 1151357.8114
3 | 2554353.8847 | 1151349.127 | 2554367.1507 | 1151345.8706
4 | 2554353.8847 | 1151349.127 | 2554353.2464 | 1151345.9302 | 2554351.5921 | 1151332.0529
5 | 2554282.4414 | 1151415.2264 | 2554281.9882 | 1151405.0913 | 2554285.1531 | 1151387.3571
6 | 2554439.6937 | 1151336.1693 | 2554417.2976 | 1151335.1385 | 2554373.4198 | 1151344.3317 | 2554367.1507 | 1151345.8706
7 | 2554351.5921 | 1151332.0529 | 2554351.5741 | 1151331.9023 | 2554350.9697 | 1151308.9283 | 2554352.3573 | 1151303.8051
8 | 2554282.4414 | 1151415.2264 | 2554277.3094 | 1151441.8594
9 | 2554282.4414 | 1151415.2264 | 2554293.0062 | 1151417.7696 | 2554330.9732 | 1151430.2379
10 | 2554439.6937 | 1151336.1693 | 2554444.9578 | 1151343.1107 | 2554457.6221 | 1151361.3909 | 2554462.0854 | 1151366.9933 | 2554468.2171 | 1151371.9605
11 | 2554365.1273 | 1151271.1346 | 2554361.2883 | 1151281.0578 | 2554353.7395 | 1151298.702 | 2554352.3573 | 1151303.8051
12 | 2554330.9732 | 1151430.2379 | 2554345.1603 | 1151434.8969
13 | 2554468.2171 | 1151371.9605 | 2554488.9212 | 1151388.7569 | 2554505.6049 | 1151404.7388
14 | 2554519.0591 | 1151317.5363 | 2554493.3224 | 1151344.634 | 2554478.926 | 1151360.0955 | 2554468.2171 | 1151371.9605
15 | 2554468.2171 | 1151371.9605 | 2554451.8276 | 1151389.7606 | 2554448.4573 | 1151393.9872
16 | 2554365.1273 | 1151271.1346 | 2554356.9498 | 1151265.6383 | 2554350.936 | 1151262.1229
17 | 2554505.6049 | 1151404.7388 | 2554508.9972 | 1151417.5089
18 | 2554519.0591 | 1151317.5363 | 2554549.0783 | 1151285.3037
19 | 2554519.0591 | 1151317.5363 | 2554522.4843 | 1151321.8682 | 2554541.7802 | 1151344.2301
20 | 2554438.7347 | 1151406.1799 | 2554448.4573 | 1151393.9872
21 | 2554515.2316 | 1151441.4961 | 2554511.2694 | 1151426.0625 | 2554508.9972 | 1151417.5089
22 | 2554549.0783 | 1151285.3037 | 2554557.5173 | 1151298.0131 | 2554562.6841 | 1151309.8795
23 | 2554564.6971 | 1151371.8233 | 2554543.2511 | 1151345.9347 | 2554541.7802 | 1151344.2301
24 | 2554405.422 | 1151458.6068 | 2554433.0717 | 1151413.2816 | 2554438.7347 | 1151406.1799
25 | 2554405.422 | 1151458.6068 | 2554395.3882 | 1151475.0549 | 2554384.2375 | 1151495.5122
26 | 2554370.0759 | 1151521.4933 | 2554384.2375 | 1151495.5122
27 | 2554370.0759 | 1151521.4933 | 2554379.0756 | 1151526.1607 | 2554383.3878 | 1151530.0633 | 2554385.3373 | 1151535.1178
28 | 2554299.9255 | 1151548.4513 | 2554346.4219 | 1151564.9065 | 2554370.0759 | 1151521.4933
29 | 2554385.3373 | 1151535.1178 | 2554398.2089 | 1151535.2313 | 2554422.9962 | 1151547.651
30 | 2554299.9255 | 1151548.4513 | 2554317.7386 | 1151507.05 | 2554325.9207 | 1151492.6338
31 | 2554563.6871 | 1151457.1933 | 2554547.9151 | 1151442.85
32 | 2554564.3415 | 1151457.7186 | 2554563.6871 | 1151457.1933
33 | 2554523.3417 | 1151475.6858 | 2554533.8227 | 1151473.2608 | 2554543.2579 | 1151470.5769 | 2554551.074 | 1151465.9043 | 2554560.8856 | 1151460.216 | 2554563.6871 | 1151457.1933
34 | 2554515.2316 | 1151441.4961 | 2554519.0115 | 1151456.2196 | 2554520.0951 | 1151461.0909
35 | 2554562.6841 | 1151309.8795 | 2554564.0159 | 1151312.9384 | 2554569.6321 | 1151327.5289
36 | 2554591.036 | 1151400.7352 | 2554579.4007 | 1151389.5729 | 2554564.6971 | 1151371.8233
37 | 2554345.9556 | 1151435.1581 | 2554345.1603 | 1151434.8969
38 | 2554523.3417 | 1151475.6858 | 2554520.0951 | 1151461.0909
39 | 2554523.3417 | 1151475.6858 | 2554519.0291 | 1151497.6518
40 | 2554519.0291 | 1151497.6518 | 2554517.9471 | 1151503.163 | 2554513.591 | 1151510.8993
41 | 2554567.0075 | 1151459.8584 | 2554564.3415 | 1151457.7186
42 | 2554513.591 | 1151510.8993 | 2554490.864 | 1151551.2617
43 | 2554567.0075 | 1151459.8584 | 2554567.0334 | 1151459.8765
44 | 2554463.4142 | 1151608.2801 | 2554489.677 | 1151553.3697 | 2554490.864 | 1151551.2617
45 | 2554413.3265 | 1151668.1291 | 2554417.3936 | 1151667.4209 | 2554431.2969 | 1151660.9232 | 2554457.3866 | 1151620.8825 | 2554463.4142 | 1151608.2801
46 | 2554588.7269 | 1151474.991 | 2554590.2106 | 1151497.1423
47 | 2554588.7269 | 1151474.991 | 2554567.0334 | 1151459.8765
48 | 2554591.036 | 1151400.7352 | 2554603.8387 | 1151413.0226 | 2554619.3853 | 1151421.7764

## bus_geodata
| x | y | coords
0 | 2554329.8241 | 1151354.9653
1 | 2554317.9877 | 1151357.8114
2 | 2554353.8847 | 1151349.127
3 | 2554285.1531 | 1151387.3571
4 | 2554367.1507 | 1151345.8706
5 | 2554351.5921 | 1151332.0529
6 | 2554282.4414 | 1151415.2264
7 | 2554439.6937 | 1151336.1693
8 | 2554352.3573 | 1151303.8051
9 | 2554277.3094 | 1151441.8594
10 | 2554330.9732 | 1151430.2379
11 | 2554468.2171 | 1151371.9605
12 | 2554365.1273 | 1151271.1346
13 | 2554505.6049 | 1151404.7388
14 | 2554519.0591 | 1151317.5363
15 | 2554448.4573 | 1151393.9872
16 | 2554508.9972 | 1151417.5089
17 | 2554549.0783 | 1151285.3037
18 | 2554541.7802 | 1151344.2301
19 | 2554438.7347 | 1151406.1799
20 | 2554350.936 | 1151262.1229
21 | 2554405.422 | 1151458.6068
22 | 2554384.2375 | 1151495.5122
23 | 2554370.0759 | 1151521.4933
24 | 2554385.3373 | 1151535.1178
25 | 2554299.9255 | 1151548.4513
26 | 2554547.9151 | 1151442.85
27 | 2554563.6871 | 1151457.1933
28 | 2554515.2316 | 1151441.4961
29 | 2554562.6841 | 1151309.8795
30 | 2554564.6971 | 1151371.8233
31 | 2554345.9556 | 1151435.1581
32 | 2554345.1603 | 1151434.8969
33 | 2554520.0951 | 1151461.0909
34 | 2554523.3417 | 1151475.6858
35 | 2554519.0291 | 1151497.6518
36 | 2554564.3415 | 1151457.7186
37 | 2554513.591 | 1151510.8993
38 | 2554567.0075 | 1151459.8585
39 | 2554490.864 | 1151551.2617
40 | 2554422.9962 | 1151547.651
41 | 2554325.9207 | 1151492.6338
42 | 2554463.4142 | 1151608.2801
43 | 2554413.3265 | 1151668.1291
44 | 2554590.2106 | 1151497.1423
45 | 2554588.7269 | 1151474.991
46 | 2554567.0334 | 1151459.8765
47 | 2554591.036 | 1151400.7352
48 | 2554619.3853 | 1151421.7764
49 | 2554569.6321 | 1151327.5289
50 | 2554375.688 | 1151444.9222

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98457 | -0.29471 | 0.038227 | 0.0095806
1 | 0.98556 | -0.27568 | 0.016141 | 0.0040454
2 | 0.98287 | -0.32783 | 0 | 0
3 | 0.9898 | -0.19408 | 0.054409 | 0.013636
4 | 0.98212 | -0.34239 | 0.029099 | 0.0072929
5 | 0.98214 | -0.34207 | 0.013135 | 0.003292
6 | 0.99268 | -0.13886 | 0 | 0
7 | 0.97873 | -0.40831 | 0 | 0
8 | 0.98128 | -0.35885 | 0.016586 | 0.0041568
9 | 0.99217 | -0.14872 | 0.020544 | 0.0051489
10 | 0.9982 | -0.033905 | 0.015765 | 0.003951
11 | 0.97662 | -0.44965 | 0 | 0
12 | 0.98076 | -0.36904 | 0 | 0
13 | 0.97607 | -0.46033 | 0 | 0
14 | 0.97447 | -0.49178 | 0 | 0
15 | 0.97615 | -0.45883 | 0.0080025 | 0.0020056
16 | 0.97586 | -0.46459 | 0.0015246 | 0.0003821
17 | 0.97349 | -0.51123 | 0 | 0
18 | 0.97324 | -0.51611 | 0.018296 | 0.0045854
19 | 0.97594 | -0.4629 | 0.0010925 | 0.00027382
20 | 0.98051 | -0.37393 | 0.016029 | 0.0040173
21 | 0.97514 | -0.47876 | 0.003798 | 0.00095187
22 | 0.97463 | -0.48863 | 0.0046215 | 0.0011583
23 | 0.97433 | -0.49467 | 0 | 0
24 | 0.97423 | -0.49651 | 0 | 0
25 | 0.97345 | -0.51199 | 0 | 0
26 | 0.97362 | -0.50861 | 0.0023416 | 0.00058686
27 | 0.97367 | -0.50769 | 0 | 0
28 | 0.97508 | -0.4799 | 0.00122 | 0.00030575
29 | 0.97285 | -0.52373 | 0.011656 | 0.0029214
30 | 0.97259 | -0.52897 | 0.013224 | 0.0033143
31 | 1 | 0 | -0.40347 | -0.10318
32 | 0.9999 | -0.0019234 | 0.027523 | 0.0068978
33 | 0.97447 | -0.49194 | 0.0034085 | 0.00085424
34 | 0.97406 | -0.49993 | 0 | 0
35 | 0.97365 | -0.50804 | 0.002531 | 0.00063432
36 | 0.97366 | -0.5078 | 0.0025479 | 0.00063856
37 | 0.97342 | -0.51262 | 0.002607 | 0.00065336
38 | 0.97365 | -0.50808 | 0 | 0
39 | 0.97279 | -0.52504 | 0.0062708 | 0.0015716
40 | 0.97406 | -0.50001 | 0.0046955 | 0.0011768
41 | 0.97263 | -0.52824 | 0.028626 | 0.0071743
42 | 0.9723 | -0.53472 | 0.0054096 | 0.0013558
43 | 0.97208 | -0.53905 | 0.0028877 | 0.00072373
44 | 0.97351 | -0.51076 | 0.0029873 | 0.00074869
45 | 0.97357 | -0.50954 | 0 | 0
46 | 0.97365 | -0.50809 | 0.0015029 | 0.00037667
47 | 0.97236 | -0.53348 | 0 | 0
48 | 0.97215 | -0.53757 | 0.0062428 | 0.0015646
49 | 0.97263 | -0.52806 | 0.012414 | 0.0031113
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26277 | -0.066518 | 0.26301 | 0.066671 | 0.00024028 | 0.00015331 | 0.39736 | 0.39736 | 0.39736 | 0.98457 | -0.29471 | 0.98556 | -0.27568 | 36.3887
1 | 0.22454 | 0.056937 | -0.22418 | -0.05671 | 0.00035691 | 0.00022748 | 0.33959 | 0.33959 | 0.33959 | 0.98457 | -0.29471 | 0.98287 | -0.32783 | 31.0981
2 | -0.27915 | -0.070717 | 0.28025 | 0.071418 | 0.0010988 | 0.00070137 | 0.42174 | 0.42173 | 0.42174 | 0.98556 | -0.27568 | 0.9898 | -0.19408 | 38.6204
3 | 0.17836 | 0.045201 | -0.17824 | -0.045122 | 0.00012467 | 7.9272e-05 | 0.27021 | 0.27022 | 0.27022 | 0.98287 | -0.32783 | 0.98212 | -0.34239 | 24.745
4 | 0.045819 | 0.011509 | -0.045788 | -0.011489 | 3.1109e-05 | 1.9691e-05 | 0.069377 | 0.069377 | 0.069377 | 0.98287 | -0.32783 | 0.98214 | -0.34207 | 19.0596
5 | -0.33466 | -0.085054 | 0.33555 | 0.085624 | 0.00089246 | 0.00057009 | 0.50353 | 0.50353 | 0.50353 | 0.9898 | -0.19408 | 0.99268 | -0.13886 | 46.1109
6 | 0.14914 | 0.037829 | -0.14867 | -0.03753 | 0.0004711 | 0.00029872 | 0.22613 | 0.22613 | 0.22613 | 0.98212 | -0.34239 | 0.97873 | -0.40831 | 20.7077
7 | 0.032652 | 0.0081971 | -0.032626 | -0.0081808 | 2.6108e-05 | 1.6349e-05 | 0.049476 | 0.049476 | 0.049476 | 0.98214 | -0.34207 | 0.98128 | -0.35885 | 13.5923
8 | 0.020554 | 0.0051547 | -0.020544 | -0.0051489 | 9.6558e-06 | 5.8292e-06 | 0.030811 | 0.030811 | 0.030811 | 0.99268 | -0.13886 | 0.99217 | -0.14872 | 8.4647
9 | -0.3561 | -0.090779 | 0.35792 | 0.091938 | 0.0018141 | 0.001159 | 0.53434 | 0.53434 | 0.53434 | 0.99268 | -0.13886 | 0.9982 | -0.033905 | 48.9323
10 | 0.14867 | 0.03753 | -0.14838 | -0.037344 | 0.00029376 | 0.00018628 | 0.22613 | 0.22613 | 0.22613 | 0.97873 | -0.40831 | 0.97662 | -0.44965 | 20.7077
11 | 0.016041 | 0.004024 | -0.016033 | -0.0040194 | 7.7927e-06 | 4.5439e-06 | 0.024325 | 0.024326 | 0.024326 | 0.98128 | -0.35885 | 0.98076 | -0.36904 | 6.6829
12 | -0.37368 | -0.095889 | 0.37426 | 0.09626 | 0.00058085 | 0.00037116 | 0.55784 | 0.55784 | 0.55784 | 0.9982 | -0.033905 | 0.9999 | -0.0019234 | 51.0843
13 | 0.035347 | 0.0088936 | -0.035329 | -0.008884 | 1.8024e-05 | 9.6711e-06 | 0.053869 | 0.053869 | 0.053869 | 0.97662 | -0.44965 | 0.97607 | -0.46033 | 4.9331
14 | 0.062056 | 0.015634 | -0.061931 | -0.015556 | 0.00012477 | 7.7997e-05 | 0.094581 | 0.094581 | 0.094581 | 0.97662 | -0.44965 | 0.97447 | -0.49178 | 12.9919
15 | 0.050973 | 0.012816 | -0.05095 | -0.012802 | 2.2328e-05 | 1.3179e-05 | 0.077679 | 0.077679 | 0.077679 | 0.97662 | -0.44965 | 0.97615 | -0.45883 | 7.1135
16 | 0.016033 | 0.0040194 | -0.016029 | -0.0040173 | 3.7321e-06 | 2.1764e-06 | 0.024326 | 0.024326 | 0.024326 | 0.98076 | -0.36904 | 0.98051 | -0.37393 | 6.6829
17 | 0.035329 | 0.008884 | -0.035322 | -0.0088797 | 7.1893e-06 | 4.2709e-06 | 0.053869 | 0.05387 | 0.05387 | 0.97607 | -0.46033 | 0.97586 | -0.46459 | 7.3997
18 | 0.02411 | 0.0060566 | -0.024087 | -0.0060429 | 2.2366e-05 | 1.3767e-05 | 0.036821 | 0.036821 | 0.036821 | 0.97447 | -0.49178 | 0.97349 | -0.51123 | 10.1156
19 | 0.037821 | 0.0094998 | -0.037778 | -0.0094722 | 4.3862e-05 | 2.7636e-05 | 0.057761 | 0.057761 | 0.057761 | 0.97447 | -0.49178 | 0.97324 | -0.51611 | 15.8684
20 | 0.042948 | 0.010797 | -0.04294 | -0.010792 | 8.3582e-06 | 4.7645e-06 | 0.065481 | 0.065481 | 0.065481 | 0.97615 | -0.45883 | 0.97594 | -0.4629 | 5.9964
21 | 0.033797 | 0.0084976 | -0.033772 | -0.0084821 | 2.4693e-05 | 1.5494e-05 | 0.051545 | 0.051545 | 0.051545 | 0.97586 | -0.46459 | 0.97508 | -0.4799 | 14.1607
22 | 0.024087 | 0.0060429 | -0.024073 | -0.006034 | 1.4337e-05 | 8.8251e-06 | 0.036821 | 0.036821 | 0.036821 | 0.97349 | -0.51123 | 0.97285 | -0.52373 | 10.1157
23 | 0.019482 | 0.0048868 | -0.01947 | -0.0048797 | 1.1935e-05 | 7.1931e-06 | 0.029788 | 0.029788 | 0.029788 | 0.97324 | -0.51611 | 0.97259 | -0.52897 | 8.1835
24 | 0.041847 | 0.010518 | -0.041815 | -0.0105 | 3.1651e-05 | 1.7928e-05 | 0.063815 | 0.063816 | 0.063816 | 0.97594 | -0.4629 | 0.97514 | -0.47876 | 5.844
25 | 0.038017 | 0.0095484 | -0.038 | -0.0095385 | 1.7912e-05 | 9.8713e-06 | 0.05802 | 0.058021 | 0.058021 | 0.97514 | -0.47876 | 0.97463 | -0.48863 | 5.3133
26 | 0.033378 | 0.0083803 | -0.033368 | -0.0083752 | 9.6073e-06 | 5.0428e-06 | 0.050965 | 0.050965 | 0.050965 | 0.97463 | -0.48863 | 0.97433 | -0.49467 | 4.6672
27 | 0.0046967 | 0.0011768 | -0.0046963 | -0.0011768 | 4.1174e-07 | -2.2477e-09 | 0.0071728 | 0.0071729 | 0.0071729 | 0.97433 | -0.49467 | 0.97423 | -0.49651 | 1.9706
28 | 0.028672 | 0.0071984 | -0.028648 | -0.007187 | 2.3676e-05 | 1.1466e-05 | 0.043793 | 0.043794 | 0.043794 | 0.97433 | -0.49467 | 0.97345 | -0.51199 | 4.0104
29 | 0.0046963 | 0.0011768 | -0.0046955 | -0.0011768 | 7.8328e-07 | -4.116e-09 | 0.0071729 | 0.007173 | 0.007173 | 0.97423 | -0.49651 | 0.97406 | -0.50001 | 1.9706
30 | 0.028648 | 0.007187 | -0.028626 | -0.0071743 | 2.2169e-05 | 1.2657e-05 | 0.043794 | 0.043795 | 0.043795 | 0.97345 | -0.51199 | 0.97263 | -0.52824 | 6.0157
31 | -0.0023416 | -0.00058686 | 0.0023417 | 0.00058666 | 1.0239e-07 | -1.9961e-07 | 0.0035787 | 0.0035786 | 0.0035787 | 0.97362 | -0.50861 | 0.97367 | -0.50769 | 0.98317
32 | 0.0070386 | 0.0017636 | -0.0070386 | -0.0017636 | 3.6411e-08 | 1.2866e-08 | 0.010757 | 0.010757 | 0.010757 | 0.97367 | -0.50769 | 0.97366 | -0.5078 | 2.9551
33 | -0.0093803 | -0.0023502 | 0.0093838 | 0.0023519 | 3.4702e-06 | 1.6606e-06 | 0.014335 | 0.014335 | 0.014335 | 0.97367 | -0.50769 | 0.97406 | -0.49993 | 3.9383
34 | 0.032552 | 0.0081764 | -0.032534 | -0.0081647 | 1.869e-05 | 1.171e-05 | 0.049683 | 0.049683 | 0.049683 | 0.97508 | -0.4799 | 0.97447 | -0.49194 | 13.6492
35 | 0.012417 | 0.0031127 | -0.012414 | -0.0031113 | 2.5659e-06 | 1.4067e-06 | 0.018992 | 0.018992 | 0.018992 | 0.97285 | -0.52373 | 0.97263 | -0.52806 | 5.2176
36 | 0.0062454 | 0.0015653 | -0.006244 | -0.0015649 | 1.3412e-06 | 3.7237e-07 | 0.0095552 | 0.0095554 | 0.0095554 | 0.97259 | -0.52897 | 0.97236 | -0.53348 | 2.6251
37 | 0.40182 | 0.10318 | -0.40179 | -0.10316 | 3.7518e-05 | 2.3978e-05 | 0.5988 | 0.5988 | 0.5988 | 1 | 0 | 0.9999 | -0.0019234 | 54.835
38 | 0.029125 | 0.0073104 | -0.029114 | -0.0073035 | 1.1092e-05 | 6.9129e-06 | 0.044478 | 0.044479 | 0.044479 | 0.97447 | -0.49194 | 0.97406 | -0.49993 | 12.2194
39 | 0.01973 | 0.0049516 | -0.019723 | -0.004947 | 7.6275e-06 | 4.6031e-06 | 0.030143 | 0.030144 | 0.030144 | 0.97406 | -0.49993 | 0.97365 | -0.50804 | 8.2812
40 | 0.017192 | 0.0043127 | -0.017188 | -0.0043105 | 3.7527e-06 | 2.2215e-06 | 0.026275 | 0.026276 | 0.026276 | 0.97365 | -0.50804 | 0.97342 | -0.51262 | 7.2186
41 | 0.0044907 | 0.001125 | -0.0044906 | -0.001125 | 6.0378e-08 | -3.8749e-09 | 0.0068628 | 0.0068628 | 0.0068628 | 0.97366 | -0.5078 | 0.97365 | -0.50808 | 1.8854
42 | 0.014581 | 0.0036571 | -0.014572 | -0.0036521 | 8.6308e-06 | 4.9483e-06 | 0.02229 | 0.022291 | 0.022291 | 0.97342 | -0.51262 | 0.97279 | -0.52504 | 6.1238
43 | 0.0044906 | 0.001125 | -0.0044906 | -0.001125 | 5.5894e-10 | -3.5503e-11 | 0.0068628 | 0.0068628 | 0.0068628 | 0.97365 | -0.50808 | 0.97365 | -0.50809 | 1.8854
44 | 0.0083017 | 0.0020805 | -0.0082979 | -0.0020789 | 3.8271e-06 | 1.664e-06 | 0.012699 | 0.012699 | 0.012699 | 0.97279 | -0.52504 | 0.9723 | -0.53472 | 3.4887
45 | 0.0028883 | 0.0007231 | -0.0028877 | -0.00072373 | 5.9519e-07 | -6.2637e-07 | 0.00442 | 0.0044204 | 0.0044204 | 0.9723 | -0.53472 | 0.97208 | -0.53905 | 1.2144
46 | -0.0029873 | -0.00074869 | 0.0029875 | 0.00074853 | 1.7358e-07 | -1.6496e-07 | 0.0045661 | 0.004566 | 0.0045661 | 0.97351 | -0.51076 | 0.97357 | -0.50954 | 1.2544
47 | -0.0029875 | -0.00074853 | 0.0029877 | 0.00074833 | 2.0671e-07 | -1.9651e-07 | 0.004566 | 0.0045659 | 0.004566 | 0.97357 | -0.50954 | 0.97365 | -0.50809 | 1.2544
48 | 0.006244 | 0.0015649 | -0.0062428 | -0.0015646 | 1.2185e-06 | 3.3851e-07 | 0.0095554 | 0.0095555 | 0.0095555 | 0.97236 | -0.53348 | 0.97215 | -0.53757 | 2.6251

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43245 | 0.11044

## res_load
| p_mw | q_mvar
0 | 0.038227 | 0.0095806
1 | 0.016141 | 0.0040454
2 | 0.054409 | 0.013636
3 | 0.029099 | 0.0072929
4 | 0.013135 | 0.003292
5 | 0.016586 | 0.0041568
6 | 0.020544 | 0.0051489
7 | 0.015765 | 0.003951
8 | 0.0080025 | 0.0020056
9 | 0.0015246 | 0.0003821
10 | 0.018296 | 0.0045854
11 | 0.0010925 | 0.00027382
12 | 0.016029 | 0.0040173
13 | 0.003798 | 0.00095187
14 | 0.0046215 | 0.0011583
15 | 0.0023416 | 0.00058686
16 | 0.00122 | 0.00030575
17 | 0.011656 | 0.0029214
18 | 0.013224 | 0.0033143
19 | 0.028973 | 0.0072614
20 | 0.027523 | 0.0068978
21 | 0.0034085 | 0.00085424
22 | 0.002531 | 0.00063432
23 | 0.0025479 | 0.00063856
24 | 0.002607 | 0.00065336
25 | 0.0062708 | 0.0015716
26 | 0.0046955 | 0.0011768
27 | 0.028626 | 0.0071743
28 | 0.0054096 | 0.0013558
29 | 0.0028877 | 0.00072373
30 | 0.0029873 | 0.00074869
31 | 0.0015029 | 0.00037667
32 | 0.0062428 | 0.0015646
33 | 0.012414 | 0.0031113

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1