## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2321-6_2_2_node_175 | 0.4 | n |  | TRUE
1 | bus_LV_2321-6_2_2_node_176 | 0.4 | n |  | TRUE
2 | bus_LV_2321-6_2_2_node_177 | 0.4 | n |  | TRUE
3 | bus_LV_2321-6_2_2_node_178 | 0.4 | n |  | TRUE
4 | bus_LV_2321-6_2_2_node_205 | 0.4 | n |  | TRUE
5 | bus_LV_2321-6_2_2_node_179 | 0.4 | n |  | TRUE
6 | bus_LV_2321-6_2_2_node_180 | 0.4 | n |  | TRUE
7 | bus_LV_2321-6_2_2_node_183 | 0.4 | n |  | TRUE
8 | bus_LV_2321-6_2_2_node_184 | 0.4 | n |  | TRUE
9 | bus_LV_2321-6_2_2_node_181 | 0.4 | n |  | TRUE
10 | bus_LV_2321-6_2_2_node_182 | 0.4 | n |  | TRUE
11 | bus_LV_2321-6_2_2_node_191 | 0.4 | n |  | TRUE
12 | bus_LV_2321-6_2_2_node_194 | 0.4 | n |  | TRUE
13 | bus_LV_2321-6_2_2_node_188 | 0.4 | n |  | TRUE
14 | bus_LV_2321-6_2_2_node_185 | 0.4 | n |  | TRUE
15 | bus_LV_2321-6_2_2_node_186 | 0.4 | n |  | TRUE
16 | bus_LV_2321-6_2_2_node_187 | 0.4 | n |  | TRUE
17 | bus_LV_2321-6_2_2_node_214 | 0.4 | n |  | TRUE
18 | bus_LV_2321-6_2_2_node_189 | 0.4 | n |  | TRUE
19 | bus_LV_2321-6_2_2_node_190 | 0.4 | n |  | TRUE
20 | bus_LV_2321-6_2_2_node_192 | 0.4 | n |  | TRUE
21 | bus_LV_2321-6_2_2_node_193 | 0.4 | n |  | TRUE
22 | bus_LV_2321-6_2_2_node_195 | 0.4 | n |  | TRUE
23 | bus_LV_2321-6_2_2_node_196 | 0.4 | n |  | TRUE
24 | bus_LV_2321-6_2_2_node_197 | 0.4 | n |  | TRUE
25 | bus_LV_2321-6_2_2_node_227 | 0.4 | n |  | TRUE
26 | bus_LV_2321-6_2_2_node_219 | 0.4 | n |  | TRUE
27 | bus_LV_2321-6_2_2_node_226 | 0.4 | n |  | TRUE
28 | bus_LV_2321-6_2_2_node_228 | 0.4 | n |  | TRUE
29 | bus_LV_2321-6_2_2_node_198 | 0.4 | n |  | TRUE
30 | bus_LV_2321-6_2_2_node_199 | 0.4 | n |  | TRUE
31 | bus_LV_2321-6_2_2_node_203 | 0.4 | n |  | TRUE
32 | bus_LV_2321-6_2_2_node_200 | 0.4 | n |  | TRUE
33 | bus_LV_2321-6_2_2_node_201 | 0.4 | n |  | TRUE
34 | bus_LV_2321-6_2_2_node_202 | 0.4 | n |  | TRUE
35 | bus_LV_2321-6_2_2_node_113 | 0.4 | n |  | TRUE
36 | bus_LV_2321-6_2_2_node_204 | 0.4 | n |  | TRUE
37 | bus_LV_2321-6_2_2_node_206 | 0.4 | n |  | TRUE
38 | bus_LV_2321-6_2_2_node_208 | 0.4 | n |  | TRUE
39 | bus_LV_2321-6_2_2_node_207 | 0.4 | n |  | TRUE
40 | bus_LV_2321-6_2_2_node_215 | 0.4 | n |  | TRUE
41 | bus_LV_2321-6_2_2_node_216 | 0.4 | n |  | TRUE
42 | bus_LV_2321-6_2_2_node_224 | 0.4 | n |  | TRUE
43 | bus_LV_2321-6_2_2_node_217 | 0.4 | n |  | TRUE
44 | bus_LV_2321-6_2_2_node_218 | 0.4 | n |  | TRUE
45 | bus_LV_2321-6_2_2_node_221 | 0.4 | n |  | TRUE
46 | bus_LV_2321-6_2_2_node_222 | 0.4 | n |  | TRUE
47 | bus_LV_2321-6_2_2_node_223 | 0.4 | n |  | TRUE
48 | bus_LV_2321-6_2_2_node_225 | 0.4 | n |  | TRUE
49 | bus_LV_2321-6_2_2_node_229 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_191 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2321-6_2_2_load_175 | 0 | 0.00075623 | 0.00018953 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2321-6_2_2_load_176 | 1 | 0.0065152 | 0.0016329 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2321-6_2_2_load_205 | 4 | 0.0011713 | 0.00029356 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2321-6_2_2_load_179 | 5 | 0.003356 | 0.0008411 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2321-6_2_2_load_183 | 7 | 0.0023177 | 0.00058088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2321-6_2_2_load_184 | 8 | 0.00094447 | 0.00023671 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2321-6_2_2_load_182 | 10 | 0.00091935 | 0.00023041 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2321-6_2_2_load_191 | 11 | 0.00083802 | 0.00021003 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2321-6_2_2_load_194 | 12 | 0.0022399 | 0.00056138 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2321-6_2_2_load_188 | 13 | 0.0014244 | 0.00035699 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2321-6_2_2_load_185 | 14 | 0.0027908 | 0.00069943 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2321-6_2_2_load_187 | 16 | 0.0036885 | 0.00092444 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2321-6_2_2_load_214 | 17 | 0.0023574 | 0.00059082 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2321-6_2_2_load_189 | 18 | 0.0013496 | 0.00033824 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2321-6_2_2_load_190 | 19 | 0.00025287 | 6.3375e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2321-6_2_2_load_196 | 23 | 0.00077473 | 0.00019417 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2321-6_2_2_load_197 | 24 | 0.0008472 | 0.00021233 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2321-6_2_2_load_227 | 25 | 0.0027911 | 0.00069952 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2321-6_2_2_load_219 | 26 | 0.00049477 | 0.000124 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2321-6_2_2_load_226 | 27 | 0.0016916 | 0.00042395 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2321-6_2_2_load_228 | 28 | 0.00058862 | 0.00014752 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2321-6_2_2_load_198 | 29 | 0.0086369 | 0.0021646 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2321-6_2_2_load_199 | 30 | 0.0015265 | 0.00038257 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2321-6_2_2_load_203 | 31 | 0.00077281 | 0.00019369 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2321-6_2_2_load_200 | 32 | 0.00025601 | 6.4163e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2321-6_2_2_load_204 | 36 | 0.00058952 | 0.00014775 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2321-6_2_2_load_206 | 37 | 0.00071478 | 0.00017914 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2321-6_2_2_load_208 | 38 | 0.0025361 | 0.00063561 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2321-6_2_2_load_207 | 39 | 0.00075458 | 0.00018912 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2321-6_2_2_load_215 | 40 | 0.0045213 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2321-6_2_2_load_216 | 41 | 0.0034226 | 0.00085779 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2321-6_2_2_load_224 | 42 | 0.00044549 | 0.00011165 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2321-6_2_2_load_217 | 43 | 0.0010346 | 0.0002593 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2321-6_2_2_load_218 | 44 | 0.0024911 | 0.00062434 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2321-6_2_2_load_221 | 45 | 0.0020045 | 0.00050238 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2321-6_2_2_load_223 | 47 | 0.00046909 | 0.00011757 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2321-6_2_2_load_225 | 48 | 0.0017662 | 0.00044266 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2321-6_2_2_load_229 | 49 | 0.0026248 | 0.00065784 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2321-6_2_2_line_0 |  | 0 | 1 | 0.040022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2321-6_2_2_line_1 |  | 0 | 2 | 0.034217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2321-6_2_2_line_2 |  | 1 | 3 | 0.12948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2321-6_2_2_line_3 |  | 2 | 4 | 0.28167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2321-6_2_2_line_4 |  | 3 | 5 | 0.032712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2321-6_2_2_line_5 |  | 3 | 6 | 0.028725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2321-6_2_2_line_6 |  | 4 | 34 | 0.035763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2321-6_2_2_line_7 |  | 6 | 7 | 0.0070277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2321-6_2_2_line_8 |  | 6 | 8 | 0.023563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2321-6_2_2_line_9 |  | 7 | 13 | 0.15095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2321-6_2_2_line_10 |  | 8 | 14 | 0.083134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2321-6_2_2_line_11 |  | 9 | 10 | 0.011739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2321-6_2_2_line_12 |  | 9 | 11 | 0.096505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2321-6_2_2_line_13 |  | 10 | 12 | 0.017896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2321-6_2_2_line_14 |  | 11 | 20 | 0.012928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2321-6_2_2_line_15 |  | 12 | 24 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2321-6_2_2_line_16 |  | 13 | 18 | 0.021425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2321-6_2_2_line_17 |  | 14 | 15 | 0.072981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2321-6_2_2_line_18 |  | 15 | 16 | 0.0014314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2321-6_2_2_line_19 |  | 16 | 17 | 0.052181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2321-6_2_2_line_20 |  | 18 | 19 | 0.020784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2321-6_2_2_line_21 |  | 19 | 20 | 0.01524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2321-6_2_2_line_22 |  | 20 | 21 | 0.087975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2321-6_2_2_line_23 |  | 21 | 22 | 0.088853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2321-6_2_2_line_24 |  | 21 | 23 | 0.011704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2321-6_2_2_line_25 |  | 22 | 25 | 0.049538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2321-6_2_2_line_26 |  | 22 | 26 | 0.011618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2321-6_2_2_line_27 |  | 22 | 27 | 0.038118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2321-6_2_2_line_28 |  | 23 | 28 | 0.010415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2321-6_2_2_line_29 |  | 24 | 29 | 0.019733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2321-6_2_2_line_30 |  | 26 | 44 | 0.019695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2321-6_2_2_line_31 |  | 27 | 42 | 0.029454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2321-6_2_2_line_32 |  | 28 | 49 | 0.019143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2321-6_2_2_line_33 |  | 30 | 31 | 0.30832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2321-6_2_2_line_34 |  | 31 | 33 | 0.058533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2321-6_2_2_line_35 |  | 32 | 33 | 0.038008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2321-6_2_2_line_36 |  | 32 | 34 | 0.010194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2321-6_2_2_line_37 |  | 33 | 35 | 0.03681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2321-6_2_2_line_38 |  | 33 | 36 | 0.019601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2321-6_2_2_line_39 |  | 34 | 37 | 0.034382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2321-6_2_2_line_40 |  | 35 | 39 | 0.022586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2321-6_2_2_line_41 |  | 37 | 38 | 0.052155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2321-6_2_2_line_42 |  | 40 | 41 | 0.042548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2321-6_2_2_line_43 |  | 40 | 42 | 0.13737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2321-6_2_2_line_44 |  | 41 | 43 | 0.029693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2321-6_2_2_line_45 |  | 42 | 46 | 0.065028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2321-6_2_2_line_46 |  | 45 | 46 | 0.016462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2321-6_2_2_line_47 |  | 45 | 47 | 0.0072821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2321-6_2_2_line_48 |  | 46 | 48 | 0.055509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2321-6_2_2_trafo_191 | 0.63 MVA 20/0.4 kV | 50 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2555628.5491 | 1151694.4919 | 2555625.5954 | 1151712.2133 | 2555625.125 | 1151729.5702 | 2555626.616 | 1151734.0196
1 | 2555638.016 | 1151661.7067 | 2555630.1665 | 1151684.7876 | 2555628.5491 | 1151694.4919
2 | 2555691.9838 | 1151845.7924 | 2555626.616 | 1151734.0196
3 | 2555646.9352 | 1151380.1733 | 2555638.016 | 1151661.7067
4 | 2555691.9838 | 1151845.7924 | 2555664.6582 | 1151863.8922
5 | 2555691.9838 | 1151845.7924 | 2555705.9217 | 1151870.9249
6 | 2555634.1705 | 1151346.7614 | 2555646.9352 | 1151380.1733
7 | 2555705.9217 | 1151870.9249 | 2555712.7472 | 1151869.2515
8 | 2555705.9217 | 1151870.9249 | 2555703.7723 | 1151876.0545 | 2555697.2795 | 1151885.385 | 2555693.2117 | 1151889.4948 | 2555692.5654 | 1151890.0492
9 | 2555863.2409 | 1151857.5828 | 2555712.7472 | 1151869.2515
10 | 2555692.5654 | 1151890.0492 | 2555684.5713 | 1151896.9068 | 2555677.73 | 1151903.7275 | 2555671.3 | 1151911.1454 | 2555662.3291 | 1151924.7186 | 2555657.3049 | 1151935.4612 | 2555654.5433 | 1151943.9304 | 2555653.5 | 1151949.1852 | 2555652.623 | 1151956.1731 | 2555652.84 | 1151959.853
11 | 2555872.0538 | 1151750.3405 | 2555878.9077 | 1151745.1876 | 2555881.2726 | 1151743.0857
12 | 2555911.2679 | 1151838.5196 | 2555872.0538 | 1151750.3405
13 | 2555895.0759 | 1151731.7182 | 2555888.2786 | 1151736.8589 | 2555881.2726 | 1151743.0857
14 | 2555917.9923 | 1151849.499 | 2555912.4067 | 1151841.3247 | 2555911.2679 | 1151838.5196
15 | 2555895.0759 | 1151731.7182 | 2555898.7728 | 1151728.9223 | 2555903.7917 | 1151725.6543
16 | 2555863.2409 | 1151857.5828 | 2555870.6898 | 1151857.1835 | 2555884.4417 | 1151859.6166
17 | 2555694.6774 | 1152017.4501 | 2555689.8824 | 1152013.4834 | 2555684.8957 | 1152008.4954 | 2555667.146 | 1151989.8833 | 2555659.1577 | 1151979.5592 | 2555656.0439 | 1151973.5902 | 2555654.2608 | 1151969.0788 | 2555652.9827 | 1151962.2736 | 2555652.84 | 1151959.853
18 | 2555694.6774 | 1152017.4501 | 2555695.8453 | 1152018.2776
19 | 2555695.8453 | 1152018.2776 | 2555699.4758 | 1152020.8498 | 2555706.497 | 1152023.8774 | 2555727.7 | 1152031.0582 | 2555733.5427 | 1152034.5392 | 2555742.2076 | 1152041.1491
20 | 2555884.4417 | 1151859.6166 | 2555886.4352 | 1151859.9693 | 2555893.1131 | 1151860.1315 | 2555899.9264 | 1151858.8697 | 2555904.7072 | 1151856.9537
21 | 2555917.9923 | 1151849.499 | 2555905.3516 | 1151856.6955 | 2555904.7072 | 1151856.9537
22 | 2555917.9923 | 1151849.499 | 2555924.7218 | 1151853.5517 | 2555932.6546 | 1151856.3506 | 2555963.5485 | 1151864.2727 | 2555971.7038 | 1151867.0588 | 2555979.6124 | 1151871.7811 | 2555994.0069 | 1151881.892 | 2555998.241 | 1151883.6952
23 | 2556086.7472 | 1151891.7631 | 2556067.1893 | 1151888.1264 | 2556046.4764 | 1151886.0657 | 2556006.2417 | 1151885.293 | 2555998.241 | 1151883.6952
24 | 2555998.241 | 1151883.6952 | 2555998.1561 | 1151894.1123 | 2555998.5009 | 1151895.3514
25 | 2556086.7472 | 1151891.7631 | 2556059.8153 | 1151933.3814
26 | 2556086.7472 | 1151891.7631 | 2556092.2851 | 1151882.9626 | 2556092.9657 | 1151881.9496
27 | 2556086.7472 | 1151891.7631 | 2556089.7016 | 1151895.9326 | 2556113.5829 | 1151918.7189
28 | 2555998.5009 | 1151895.3514 | 2556000.8754 | 1151903.8864 | 2556001.6479 | 1151905.2369
29 | 2555903.7917 | 1151725.6543 | 2555913.606 | 1151719.264 | 2555919.5062 | 1151713.829
30 | 2556092.9657 | 1151881.9496 | 2556103.9496 | 1151865.6014
31 | 2556134.8931 | 1151939.0521 | 2556113.5829 | 1151918.7189
32 | 2556011.1525 | 1151921.8537 | 2556001.6479 | 1151905.2369
33 | 2555669.1383 | 1151301.3959 | 2555955.6551 | 1151187.5148
34 | 2555611.4316 | 1151304.4964 | 2555642.3383 | 1151307.4808 | 2555669.1383 | 1151301.3959
35 | 2555611.4316 | 1151304.4964 | 2555620.7696 | 1151317.6453 | 2555628.8009 | 1151333.6609 | 2555630.3043 | 1151337.3288
36 | 2555634.1705 | 1151346.7614 | 2555630.3043 | 1151337.3288
37 | 2555575.0734 | 1151298.1173 | 2555611.4316 | 1151304.4964
38 | 2555611.4316 | 1151304.4964 | 2555609.5712 | 1151296.8173 | 2555605.7166 | 1151285.7708
39 | 2555634.1705 | 1151346.7614 | 2555656.6358 | 1151355.1333 | 2555664.803 | 1151361.5844
40 | 2555575.0734 | 1151298.1173 | 2555563.9178 | 1151317.343 | 2555563.7489 | 1151317.6594
41 | 2555712.1919 | 1151380.6701 | 2555681.1639 | 1151373.673 | 2555670.2308 | 1151365.8719 | 2555664.803 | 1151361.5844
42 | 2556249.041 | 1151862.6206 | 2556251.5855 | 1151863.3907 | 2556290.9924 | 1151869.5738 | 2556290.9924 | 1151869.5738
43 | 2556134.8931 | 1151939.0521 | 2556249.041 | 1151862.6206
44 | 2556290.9924 | 1151869.5738 | 2556307.9975 | 1151869.3834 | 2556319.2166 | 1151863.4602
45 | 2556172.7996 | 1151991.642 | 2556142.1375 | 1151945.9644 | 2556134.8931 | 1151939.0521
46 | 2556172.7996 | 1151991.642 | 2556157.7592 | 1151998.3339
47 | 2556151.1059 | 1152001.2941 | 2556157.7592 | 1151998.3339
48 | 2556172.7996 | 1151991.642 | 2556180.9244 | 1152003.9669 | 2556192.3946 | 1152028.8405 | 2556196.224 | 1152041.6359

## bus_geodata
| x | y | coords
0 | 2555628.5491 | 1151694.4918
1 | 2555626.616 | 1151734.0196
2 | 2555638.016 | 1151661.7067
3 | 2555691.9838 | 1151845.7924
4 | 2555646.9352 | 1151380.1733
5 | 2555664.6582 | 1151863.8922
6 | 2555705.9217 | 1151870.9249
7 | 2555712.7472 | 1151869.2515
8 | 2555692.5654 | 1151890.0492
9 | 2555872.0538 | 1151750.3405
10 | 2555881.2726 | 1151743.0857
11 | 2555911.2679 | 1151838.5196
12 | 2555895.0759 | 1151731.7182
13 | 2555863.2409 | 1151857.5828
14 | 2555652.84 | 1151959.853
15 | 2555694.6774 | 1152017.4501
16 | 2555695.8453 | 1152018.2776
17 | 2555742.2076 | 1152041.1491
18 | 2555884.4417 | 1151859.6166
19 | 2555904.7072 | 1151856.9537
20 | 2555917.9923 | 1151849.499
21 | 2555998.241 | 1151883.6952
22 | 2556086.7472 | 1151891.7631
23 | 2555998.5009 | 1151895.3514
24 | 2555903.7917 | 1151725.6543
25 | 2556059.8153 | 1151933.3814
26 | 2556092.9657 | 1151881.9496
27 | 2556113.5829 | 1151918.7189
28 | 2556001.6479 | 1151905.2369
29 | 2555919.5062 | 1151713.829
30 | 2555955.6551 | 1151187.5148
31 | 2555669.1383 | 1151301.3959
32 | 2555630.3043 | 1151337.3288
33 | 2555611.4316 | 1151304.4964
34 | 2555634.1705 | 1151346.7614
35 | 2555575.0734 | 1151298.1173
36 | 2555605.7166 | 1151285.7708
37 | 2555664.803 | 1151361.5844
38 | 2555712.1919 | 1151380.6701
39 | 2555563.7489 | 1151317.6594
40 | 2556249.041 | 1151862.6206
41 | 2556290.9924 | 1151869.5738
42 | 2556134.8931 | 1151939.0521
43 | 2556319.2166 | 1151863.4602
44 | 2556103.9496 | 1151865.6014
45 | 2556157.7592 | 1151998.3339
46 | 2556172.7996 | 1151991.642
47 | 2556151.1059 | 1152001.2941
48 | 2556196.224 | 1152041.6359
49 | 2556011.1525 | 1151921.8537
50 | 2555911.2679 | 1151838.5196

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99039 | -0.18508 | 0.00075623 | 0.00018953
1 | 0.99072 | -0.17861 | 0.0065152 | 0.0016329
2 | 0.99013 | -0.19016 | 0 | 0
3 | 0.99257 | -0.14274 | 0 | 0
4 | 0.98798 | -0.23205 | 0.0011713 | 0.00029356
5 | 0.99247 | -0.14468 | 0.003356 | 0.0008411
6 | 0.99307 | -0.1331 | 0 | 0
7 | 0.99326 | -0.12952 | 0.0023177 | 0.00058088
8 | 0.99286 | -0.13717 | 0.00094447 | 0.00023671
9 | 0.99889 | -0.021296 | 0 | 0
10 | 0.99876 | -0.02389 | 0.00091935 | 0.00023041
11 | 1 | 0 | -0.073903 | -0.018237
12 | 0.99857 | -0.027557 | 0.0022399 | 0.00056138
13 | 0.99755 | -0.046952 | 0.0014244 | 0.00035699
14 | 0.99219 | -0.15018 | 0.0027908 | 0.00069943
15 | 0.99179 | -0.158 | 0 | 0
16 | 0.99178 | -0.15815 | 0.0036885 | 0.00092444
17 | 0.99167 | -0.16033 | 0.0023574 | 0.00059082
18 | 0.99818 | -0.034755 | 0.0013496 | 0.00033824
19 | 0.99883 | -0.022447 | 0.00025287 | 6.3375e-05
20 | 0.9993 | -0.013365 | 0 | 0
21 | 0.99729 | -0.05205 | 0 | 0
22 | 0.99557 | -0.085041 | 0 | 0
23 | 0.99724 | -0.052869 | 0.00077473 | 0.00019417
24 | 0.99848 | -0.029318 | 0.0008472 | 0.00021233
25 | 0.99545 | -0.087473 | 0.0027911 | 0.00069952
26 | 0.99554 | -0.085651 | 0.00049477 | 0.000124
27 | 0.99504 | -0.095348 | 0.0016916 | 0.00042395
28 | 0.99721 | -0.053455 | 0.00058862 | 0.00014752
29 | 0.99832 | -0.032298 | 0.0086369 | 0.0021646
30 | 0.98702 | -0.25069 | 0.0015265 | 0.00038257
31 | 0.98745 | -0.24224 | 0.00077281 | 0.00019369
32 | 0.98771 | -0.23734 | 0.00025601 | 6.4163e-05
33 | 0.98758 | -0.23983 | 0 | 0
34 | 0.98774 | -0.23663 | 0 | 0
35 | 0.98755 | -0.24032 | 0 | 0
36 | 0.98757 | -0.24003 | 0.00058952 | 0.00014775
37 | 0.98764 | -0.23863 | 0.00071478 | 0.00017914
38 | 0.98752 | -0.24099 | 0.0025361 | 0.00063561
39 | 0.98754 | -0.24063 | 0.00075458 | 0.00018912
40 | 0.99355 | -0.12421 | 0.0045213 | 0.0011332
41 | 0.99337 | -0.12756 | 0.0034226 | 0.00085779
42 | 0.99467 | -0.10244 | 0.00044549 | 0.00011165
43 | 0.99335 | -0.1281 | 0.0010346 | 0.0002593
44 | 0.9955 | -0.086514 | 0.0024911 | 0.00062434
45 | 0.99439 | -0.10802 | 0.0020045 | 0.00050238
46 | 0.99442 | -0.1073 | 0 | 0
47 | 0.99438 | -0.10808 | 0.00046909 | 0.00011757
48 | 0.99433 | -0.10903 | 0.0017662 | 0.00044266
49 | 0.99717 | -0.054336 | 0.0026248 | 0.00065784
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0091001 | -0.0022774 | 0.0091029 | 0.0022787 | 2.8051e-06 | 1.2801e-06 | 0.013671 | 0.013671 | 0.013671 | 0.99039 | -0.18508 | 0.99072 | -0.17861 | 3.7559
1 | 0.0083439 | 0.0020879 | -0.0083419 | -0.002087 | 2.0162e-06 | 8.5019e-07 | 0.012535 | 0.012535 | 0.012535 | 0.99039 | -0.18508 | 0.99013 | -0.19016 | 3.4438
2 | -0.015618 | -0.0039116 | 0.015645 | 0.003927 | 2.6716e-05 | 1.5428e-05 | 0.023457 | 0.023456 | 0.023457 | 0.99072 | -0.17861 | 0.99257 | -0.14274 | 6.4442
3 | 0.0083419 | 0.002087 | -0.0083253 | -0.00208 | 1.6599e-05 | 7.0087e-06 | 0.012535 | 0.012537 | 0.012537 | 0.99013 | -0.19016 | 0.98798 | -0.23205 | 3.4441
4 | 0.0033563 | 0.00084087 | -0.003356 | -0.0008411 | 3.1057e-07 | -2.24e-07 | 0.0050316 | 0.0050317 | 0.0050317 | 0.99257 | -0.14274 | 0.99247 | -0.14468 | 1.3823
5 | -0.019001 | -0.0047679 | 0.01901 | 0.0047731 | 8.7418e-06 | 5.2233e-06 | 0.028488 | 0.028488 | 0.028488 | 0.99257 | -0.14274 | 0.99307 | -0.1331 | 7.8263
6 | 0.0071539 | 0.0017865 | -0.0071524 | -0.0017859 | 1.5563e-06 | 5.3818e-07 | 0.010772 | 0.010773 | 0.010773 | 0.98798 | -0.23205 | 0.98774 | -0.23663 | 2.9595
7 | -0.028801 | -0.0072278 | 0.028806 | 0.0072309 | 4.9089e-06 | 3.0507e-06 | 0.043159 | 0.043159 | 0.043159 | 0.99307 | -0.1331 | 0.99326 | -0.12952 | 11.8568
8 | 0.0097911 | 0.0024547 | -0.0097892 | -0.0024538 | 1.902e-06 | 9.1246e-07 | 0.014671 | 0.014671 | 0.014671 | 0.99307 | -0.1331 | 0.99286 | -0.13717 | 4.0306
9 | -0.031124 | -0.0078117 | 0.031247 | 0.0078886 | 0.00012308 | 7.681e-05 | 0.046631 | 0.04663 | 0.046631 | 0.99326 | -0.12952 | 0.99755 | -0.046952 | 12.8107
10 | 0.0088447 | 0.0022171 | -0.0088393 | -0.0022147 | 5.4782e-06 | 2.4316e-06 | 0.013256 | 0.013256 | 0.013256 | 0.99286 | -0.13717 | 0.99219 | -0.15018 | 3.6418
11 | 0.012649 | 0.0031715 | -0.012647 | -0.0031707 | 1.563e-06 | 8.4671e-07 | 0.018843 | 0.018843 | 0.018843 | 0.99889 | -0.021296 | 0.99876 | -0.02389 | 5.1767
12 | -0.012649 | -0.0031715 | 0.012662 | 0.0031785 | 1.2849e-05 | 6.959e-06 | 0.018843 | 0.018843 | 0.018843 | 0.99889 | -0.021296 | 1 | 0 | 5.1767
13 | 0.011728 | 0.0029403 | -0.011726 | -0.0029392 | 2.049e-06 | 1.0772e-06 | 0.017474 | 0.017474 | 0.017474 | 0.99876 | -0.02389 | 0.99857 | -0.027557 | 4.8005
14 | 0.059591 | 0.015058 | -0.059553 | -0.015034 | 3.8156e-05 | 2.425e-05 | 0.088716 | 0.088716 | 0.088716 | 1 | 0 | 0.9993 | -0.013365 | 24.3724
15 | 0.0094861 | 0.0023778 | -0.0094853 | -0.0023775 | 7.9611e-07 | 3.7054e-07 | 0.014136 | 0.014136 | 0.014136 | 0.99857 | -0.027557 | 0.99848 | -0.029318 | 3.8835
16 | -0.032671 | -0.0082455 | 0.03269 | 0.0082575 | 1.9098e-05 | 1.1943e-05 | 0.048755 | 0.048755 | 0.048755 | 0.99755 | -0.046952 | 0.99818 | -0.034755 | 13.3942
17 | 0.0060485 | 0.0015152 | -0.0060462 | -0.0015147 | 2.2519e-06 | 4.9906e-07 | 0.0090709 | 0.0090712 | 0.0090712 | 0.99219 | -0.15018 | 0.99179 | -0.158 | 2.4921
18 | 0.0060462 | 0.0015147 | -0.0060462 | -0.0015147 | 4.4169e-08 | 9.7967e-09 | 0.0090712 | 0.0090712 | 0.0090712 | 0.99179 | -0.158 | 0.99178 | -0.15815 | 2.4921
19 | 0.0023576 | 0.0005903 | -0.0023574 | -0.00059082 | 2.4483e-07 | -5.166e-07 | 0.0035371 | 0.0035373 | 0.0035373 | 0.99178 | -0.15815 | 0.99167 | -0.16033 | 0.97179
20 | -0.03404 | -0.0085957 | 0.03406 | 0.0086083 | 2.0087e-05 | 1.2584e-05 | 0.050767 | 0.050767 | 0.050767 | 0.99818 | -0.034755 | 0.99883 | -0.022447 | 13.9469
21 | -0.034313 | -0.0086717 | 0.034328 | 0.0086811 | 1.4948e-05 | 9.3673e-06 | 0.051143 | 0.051143 | 0.051143 | 0.99883 | -0.022447 | 0.9993 | -0.013365 | 14.0504
22 | 0.025225 | 0.0063532 | -0.025178 | -0.0063245 | 4.6572e-05 | 2.8656e-05 | 0.037572 | 0.037573 | 0.037573 | 0.9993 | -0.013365 | 0.99729 | -0.05205 | 10.3222
23 | 0.02119 | 0.0053253 | -0.021156 | -0.0053051 | 3.3318e-05 | 2.0166e-05 | 0.031622 | 0.031622 | 0.031622 | 0.99729 | -0.05205 | 0.99557 | -0.085041 | 8.6874
24 | 0.0039885 | 0.00099922 | -0.0039884 | -0.00099927 | 1.5543e-07 | -5.3229e-08 | 0.005951 | 0.005951 | 0.005951 | 0.99729 | -0.05205 | 0.99724 | -0.052869 | 1.6349
25 | 0.0027915 | 0.00069909 | -0.0027911 | -0.00069952 | 3.2336e-07 | -4.3713e-07 | 0.004172 | 0.0041722 | 0.0041722 | 0.99557 | -0.085041 | 0.99545 | -0.087473 | 1.1462
26 | 0.0029861 | 0.00074806 | -0.002986 | -0.00074815 | 8.6784e-08 | -9.5533e-08 | 0.004463 | 0.0044631 | 0.0044631 | 0.99557 | -0.085041 | 0.99554 | -0.085651 | 1.2261
27 | 0.015379 | 0.003858 | -0.015371 | -0.0038536 | 7.5532e-06 | 4.3387e-06 | 0.022987 | 0.022987 | 0.022987 | 0.99557 | -0.085041 | 0.99504 | -0.095348 | 6.3152
28 | 0.0032136 | 0.00080511 | -0.0032135 | -0.00080518 | 8.9801e-08 | -7.8408e-08 | 0.0047951 | 0.0047951 | 0.0047951 | 0.99724 | -0.052869 | 0.99721 | -0.053455 | 1.3173
29 | 0.0086381 | 0.0021651 | -0.0086369 | -0.0021646 | 1.2264e-06 | 5.2681e-07 | 0.012873 | 0.012873 | 0.012873 | 0.99848 | -0.029318 | 0.99832 | -0.032298 | 3.5367
30 | 0.0024912 | 0.00062415 | -0.0024911 | -0.00062434 | 1.024e-07 | -1.9054e-07 | 0.0037235 | 0.0037236 | 0.0037236 | 0.99554 | -0.085651 | 0.9955 | -0.086514 | 1.023
31 | 0.01368 | 0.0034297 | -0.013675 | -0.0034271 | 4.6227e-06 | 2.5761e-06 | 0.020458 | 0.020458 | 0.020458 | 0.99504 | -0.095348 | 0.99467 | -0.10244 | 5.6203
32 | 0.0026249 | 0.00065766 | -0.0026248 | -0.00065784 | 1.1013e-07 | -1.7925e-07 | 0.0039168 | 0.0039169 | 0.0039169 | 0.99721 | -0.053455 | 0.99717 | -0.054336 | 1.0761
33 | -0.0015265 | -0.00038257 | 0.0015271 | 0.00037902 | 6.1194e-07 | -3.5507e-06 | 0.0023013 | 0.0022999 | 0.0023013 | 0.98702 | -0.25069 | 0.98745 | -0.24224 | 0.63222
34 | -0.0022999 | -0.0005727 | 0.0023002 | 0.00057212 | 2.6343e-07 | -5.8026e-07 | 0.0034645 | 0.0034642 | 0.0034645 | 0.98745 | -0.24224 | 0.98758 | -0.23983 | 0.95177
35 | 0.0036447 | 0.00090778 | -0.0036443 | -0.00090799 | 4.2943e-07 | -2.1155e-07 | 0.0054889 | 0.0054891 | 0.0054891 | 0.98771 | -0.23734 | 0.98758 | -0.23983 | 1.508
36 | -0.0039007 | -0.00097194 | 0.0039009 | 0.0009719 | 1.3193e-07 | -4.6043e-08 | 0.0058746 | 0.0058746 | 0.0058746 | 0.98771 | -0.23734 | 0.98774 | -0.23663 | 1.6139
37 | 0.00075461 | 0.00018837 | -0.00075459 | -0.00018883 | 1.7839e-08 | -4.5957e-07 | 0.0011367 | 0.0011369 | 0.0011369 | 0.98758 | -0.23983 | 0.98755 | -0.24032 | 0.31233
38 | 0.00058953 | 0.0001475 | -0.00058952 | -0.00014775 | 5.7989e-09 | -2.4709e-07 | 0.00088817 | 0.00088826 | 0.00088826 | 0.98758 | -0.23983 | 0.98757 | -0.24003 | 0.24403
39 | 0.0032515 | 0.00081402 | -0.0032512 | -0.00081426 | 3.0933e-07 | -2.4206e-07 | 0.004898 | 0.0048982 | 0.0048982 | 0.98774 | -0.23663 | 0.98764 | -0.23863 | 1.3457
40 | 0.00075459 | 0.00018883 | -0.00075458 | -0.00018911 | 1.0949e-08 | -2.8198e-07 | 0.0011369 | 0.001137 | 0.001137 | 0.98755 | -0.24032 | 0.98754 | -0.24063 | 0.31236
41 | 0.0025364 | 0.00063513 | -0.0025361 | -0.00063561 | 2.8561e-07 | -4.8456e-07 | 0.0038213 | 0.0038215 | 0.0038215 | 0.98764 | -0.23863 | 0.98752 | -0.24099 | 1.0499
42 | 0.004458 | 0.0011166 | -0.0044573 | -0.0011167 | 7.1121e-07 | -9.5741e-08 | 0.0066764 | 0.0066766 | 0.0066766 | 0.99355 | -0.12421 | 0.99337 | -0.12756 | 1.8342
43 | -0.0089793 | -0.0022498 | 0.0089886 | 0.002254 | 9.3158e-06 | 4.1811e-06 | 0.013448 | 0.013447 | 0.013448 | 0.99355 | -0.12421 | 0.99467 | -0.10244 | 3.6945
44 | 0.0010346 | 0.00025893 | -0.0010346 | -0.0002593 | 2.6743e-08 | -3.6728e-07 | 0.0015497 | 0.0015498 | 0.0015498 | 0.99337 | -0.12756 | 0.99335 | -0.1281 | 0.42578
45 | 0.004241 | 0.0010615 | -0.0042401 | -0.0010617 | 9.8148e-07 | -2.1569e-07 | 0.006344 | 0.0063443 | 0.0063443 | 0.99467 | -0.10244 | 0.99442 | -0.1073 | 1.7429
46 | -0.0024736 | -0.00061985 | 0.0024737 | 0.00061969 | 8.4579e-08 | -1.5943e-07 | 0.0037015 | 0.0037014 | 0.0037015 | 0.99439 | -0.10802 | 0.99442 | -0.1073 | 1.0169
47 | 0.00046909 | 0.00011747 | -0.00046909 | -0.00011757 | 1.3455e-09 | -9.3605e-08 | 0.00070193 | 0.00070196 | 0.00070196 | 0.99439 | -0.10802 | 0.99438 | -0.10808 | 0.19285
48 | 0.0017664 | 0.00044203 | -0.0017662 | -0.00044266 | 1.4541e-07 | -6.2701e-07 | 0.0026429 | 0.0026431 | 0.0026431 | 0.99442 | -0.1073 | 0.99433 | -0.10903 | 0.72614

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.074741 | 0.018447

## res_load
| p_mw | q_mvar
0 | 0.00075623 | 0.00018953
1 | 0.0065152 | 0.0016329
2 | 0.0011713 | 0.00029356
3 | 0.003356 | 0.0008411
4 | 0.0023177 | 0.00058088
5 | 0.00094447 | 0.00023671
6 | 0.00091935 | 0.00023041
7 | 0.00083802 | 0.00021003
8 | 0.0022399 | 0.00056138
9 | 0.0014244 | 0.00035699
10 | 0.0027908 | 0.00069943
11 | 0.0036885 | 0.00092444
12 | 0.0023574 | 0.00059082
13 | 0.0013496 | 0.00033824
14 | 0.00025287 | 6.3375e-05
15 | 0.00077473 | 0.00019417
16 | 0.0008472 | 0.00021233
17 | 0.0027911 | 0.00069952
18 | 0.00049477 | 0.000124
19 | 0.0016916 | 0.00042395
20 | 0.00058862 | 0.00014752
21 | 0.0086369 | 0.0021646
22 | 0.0015265 | 0.00038257
23 | 0.00077281 | 0.00019369
24 | 0.00025601 | 6.4163e-05
25 | 0.00058952 | 0.00014775
26 | 0.00071478 | 0.00017914
27 | 0.0025361 | 0.00063561
28 | 0.00075458 | 0.00018912
29 | 0.0045213 | 0.0011332
30 | 0.0034226 | 0.00085779
31 | 0.00044549 | 0.00011165
32 | 0.0010346 | 0.0002593
33 | 0.0024911 | 0.00062434
34 | 0.0020045 | 0.00050238
35 | 0.00046909 | 0.00011757
36 | 0.0017662 | 0.00044266
37 | 0.0026248 | 0.00065784

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1