## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2323-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2323-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2323-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2323-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2323-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2323-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2323-2_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_2323-2_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_2323-2_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2323-2_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2323-2_0_3_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_2323-2_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2323-2_0_3_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_2323-2_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2323-2_0_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_2323-2_0_3_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_2323-2_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2323-2_0_3_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_2323-2_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_2323-2_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2323-2_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_2323-2_0_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_2323-2_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2323-2_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2323-2_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2323-2_0_3_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_2323-2_0_3_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_2323-2_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2323-2_0_3_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_2323-2_0_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_2323-2_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2323-2_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2323-2_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2323-2_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2323-2_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2323-2_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2323-2_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2323-2_0_3_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_2323-2_0_3_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_2323-2_0_3_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_2323-2_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2323-2_0_3_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_2323-2_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2323-2_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2323-2_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_2323-2_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2323-2_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2323-2_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2323-2_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2323-2_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2323-2_0_3_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_2323-2_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2323-2_0_3_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_2323-2_0_3_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_2323-2_0_3_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_2323-2_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2323-2_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2323-2_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2323-2_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_2323-2_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_2323-2_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2323-2_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_2323-2_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_2323-2_0_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_2323-2_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_2323-2_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_2323-2_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2323-2_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_2323-2_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_2323-2_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_2323-2_0_3_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_2323-2_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_2323-2_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_2323-2_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_2323-2_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2323-2_0_3_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_2323-2_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_2323-2_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2323-2_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2323-2_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_2323-2_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2323-2_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_2323-2_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_MV_384_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2323-2_0_3_load_0 | 0 | 0.010368 | 0.0025985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2323-2_0_3_load_1 | 1 | 0.018477 | 0.0046308 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2323-2_0_3_load_25 | 6 | 0.010774 | 0.0027001 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2323-2_0_3_load_12 | 9 | 0.013477 | 0.0033778 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2323-2_0_3_load_60 | 12 | 0.0085306 | 0.002138 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2323-2_0_3_load_47 | 14 | 0.0043746 | 0.0010964 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2323-2_0_3_load_41 | 15 | 0.005411 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2323-2_0_3_load_6 | 17 | 0.013473 | 0.0033767 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2323-2_0_3_load_7 | 18 | 0.014652 | 0.0036722 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2323-2_0_3_load_40 | 21 | 0.0067466 | 0.0016908 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2323-2_0_3_load_13 | 22 | 0.0050917 | 0.0012761 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2323-2_0_3_load_17 | 24 | 0.0031406 | 0.00078711 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2323-2_0_3_load_71 | 25 | 0.001443 | 0.00036165 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2323-2_0_3_load_86 | 26 | 0.0095723 | 0.002399 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2323-2_0_3_load_15 | 27 | 0.0054594 | 0.0013682 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2323-2_0_3_load_72 | 28 | 0.0093584 | 0.0023454 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2323-2_0_3_load_61 | 29 | 0.015656 | 0.0039238 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2323-2_0_3_load_20 | 30 | 0.017967 | 0.004503 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2323-2_0_3_load_27 | 34 | 0.023492 | 0.0058877 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2323-2_0_3_load_85 | 37 | 0.017953 | 0.0044993 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2323-2_0_3_load_84 | 39 | 0.013844 | 0.0034696 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2323-2_0_3_load_83 | 41 | 0.0021714 | 0.00054422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2323-2_0_3_load_31 | 43 | 0.0087787 | 0.0022002 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2323-2_0_3_load_29 | 44 | 0.018503 | 0.0046374 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2323-2_0_3_load_37 | 45 | 0.001894 | 0.00047468 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2323-2_0_3_load_34 | 46 | 0.0032516 | 0.00081493 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2323-2_0_3_load_35 | 47 | 0.0032318 | 0.00080997 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2323-2_0_3_load_39 | 49 | 0.0039772 | 0.00099678 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2323-2_0_3_load_80 | 50 | 0.00085199 | 0.00021353 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2323-2_0_3_load_38 | 51 | 0.0033689 | 0.00084432 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2323-2_0_3_load_77 | 52 | 0.00019925 | 4.9936e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2323-2_0_3_load_78 | 53 | 0.00013576 | 3.4025e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2323-2_0_3_load_79 | 54 | 0.00020366 | 5.1043e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2323-2_0_3_load_42 | 55 | 0.006293 | 0.0015772 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2323-2_0_3_load_43 | 56 | 0.0025248 | 0.00063277 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2323-2_0_3_load_44 | 57 | 0.0024143 | 0.00060509 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2323-2_0_3_load_45 | 58 | 0.0048726 | 0.0012212 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2323-2_0_3_load_49 | 59 | 0.0024211 | 0.00060679 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2323-2_0_3_load_51 | 61 | 0.0026905 | 0.00067431 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2323-2_0_3_load_52 | 62 | 0.002608 | 0.00065364 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2323-2_0_3_load_67 | 63 | 0.0098561 | 0.0024702 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2323-2_0_3_load_55 | 64 | 0.0034521 | 0.00086517 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2323-2_0_3_load_65 | 65 | 0.0029886 | 0.00074901 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2323-2_0_3_load_48 | 66 | 0.0077218 | 0.0019353 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2323-2_0_3_load_63 | 67 | 0.003643 | 0.00091303 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2323-2_0_3_load_62 | 68 | 0.002888 | 0.0007238 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2323-2_0_3_load_53 | 69 | 0.0041267 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2323-2_0_3_load_54 | 70 | 0.0041279 | 0.0010345 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2323-2_0_3_load_56 | 71 | 0.0043552 | 0.0010915 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2323-2_0_3_load_58 | 72 | 0.0027472 | 0.00068851 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2323-2_0_3_load_66 | 73 | 0.0038213 | 0.0009577 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2323-2_0_3_load_59 | 74 | 0.0023164 | 0.00058056 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2323-2_0_3_load_64 | 75 | 0.0065729 | 0.0016473 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2323-2_0_3_load_73 | 76 | 0.0094977 | 0.0023803 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2323-2_0_3_load_76 | 80 | 0.00228 | 0.00057142 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2323-2_0_3_load_75 | 81 | 0.0029325 | 0.00073496 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2323-2_0_3_load_74 | 82 | 0.0026295 | 0.00065902 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2323-2_0_3_line_0 |  | 0 | 1 | 0.068297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2323-2_0_3_line_1 |  | 0 | 2 | 0.003469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2323-2_0_3_line_2 |  | 2 | 3 | 0.028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2323-2_0_3_line_3 |  | 2 | 4 | 0.027729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2323-2_0_3_line_4 |  | 3 | 5 | 0.050043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2323-2_0_3_line_5 |  | 3 | 6 | 0.024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2323-2_0_3_line_6 |  | 4 | 7 | 0.030818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2323-2_0_3_line_7 |  | 5 | 8 | 0.026491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2323-2_0_3_line_8 |  | 5 | 9 | 0.033072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2323-2_0_3_line_9 |  | 7 | 10 | 0.0067414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2323-2_0_3_line_10 |  | 8 | 14 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2323-2_0_3_line_11 |  | 8 | 15 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2323-2_0_3_line_12 |  | 9 | 16 | 0.0011602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2323-2_0_3_line_13 |  | 10 | 42 | 0.012702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2323-2_0_3_line_14 |  | 10 | 43 | 0.026728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2323-2_0_3_line_15 |  | 11 | 12 | 0.011797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2323-2_0_3_line_16 |  | 11 | 13 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2323-2_0_3_line_17 |  | 12 | 19 | 0.0097302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2323-2_0_3_line_18 |  | 13 | 16 | 0.036687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2323-2_0_3_line_19 |  | 13 | 17 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2323-2_0_3_line_20 |  | 14 | 20 | 0.041092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2323-2_0_3_line_21 |  | 15 | 21 | 0.03185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2323-2_0_3_line_22 |  | 17 | 18 | 0.02844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2323-2_0_3_line_23 |  | 19 | 29 | 0.029162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2323-2_0_3_line_24 |  | 20 | 66 | 0.014566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2323-2_0_3_line_25 |  | 20 | 58 | 0.023651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2323-2_0_3_line_26 |  | 21 | 33 | 0.053945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2323-2_0_3_line_27 |  | 22 | 23 | 0.027039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2323-2_0_3_line_28 |  | 22 | 24 | 0.022238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2323-2_0_3_line_29 |  | 23 | 25 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2323-2_0_3_line_30 |  | 24 | 26 | 0.021318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2323-2_0_3_line_31 |  | 25 | 28 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2323-2_0_3_line_32 |  | 25 | 29 | 0.033618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2323-2_0_3_line_33 |  | 27 | 28 | 0.0036168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2323-2_0_3_line_34 |  | 30 | 31 | 0.018544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2323-2_0_3_line_35 |  | 31 | 32 | 0.014998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2323-2_0_3_line_36 |  | 31 | 33 | 0.033821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2323-2_0_3_line_37 |  | 32 | 34 | 0.019443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2323-2_0_3_line_38 |  | 33 | 35 | 0.029834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2323-2_0_3_line_39 |  | 33 | 36 | 0.051624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2323-2_0_3_line_40 |  | 35 | 39 | 0.025447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2323-2_0_3_line_41 |  | 35 | 40 | 0.040596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2323-2_0_3_line_42 |  | 36 | 37 | 0.026234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2323-2_0_3_line_43 |  | 36 | 38 | 0.027895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2323-2_0_3_line_44 |  | 38 | 41 | 0.029403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2323-2_0_3_line_45 |  | 40 | 44 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2323-2_0_3_line_46 |  | 42 | 45 | 0.02032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2323-2_0_3_line_47 |  | 42 | 46 | 0.061651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2323-2_0_3_line_48 |  | 46 | 47 | 0.025112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2323-2_0_3_line_49 |  | 47 | 48 | 0.040758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2323-2_0_3_line_50 |  | 48 | 49 | 0.027323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2323-2_0_3_line_51 |  | 48 | 50 | 0.28388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2323-2_0_3_line_52 |  | 49 | 51 | 0.037187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2323-2_0_3_line_53 |  | 50 | 53 | 0.047591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2323-2_0_3_line_54 |  | 52 | 53 | 0.019768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2323-2_0_3_line_55 |  | 52 | 54 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2323-2_0_3_line_56 |  | 55 | 56 | 0.021429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2323-2_0_3_line_57 |  | 55 | 57 | 0.0010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2323-2_0_3_line_58 |  | 56 | 58 | 0.010661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2323-2_0_3_line_59 |  | 59 | 60 | 0.034451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2323-2_0_3_line_60 |  | 60 | 61 | 0.033181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2323-2_0_3_line_61 |  | 60 | 62 | 0.012273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2323-2_0_3_line_62 |  | 61 | 63 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2323-2_0_3_line_63 |  | 62 | 64 | 0.030323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2323-2_0_3_line_64 |  | 63 | 65 | 0.034662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2323-2_0_3_line_65 |  | 64 | 71 | 0.032824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2323-2_0_3_line_66 |  | 65 | 69 | 0.0073493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2323-2_0_3_line_67 |  | 66 | 67 | 0.0011705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2323-2_0_3_line_68 |  | 67 | 68 | 0.02622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2323-2_0_3_line_69 |  | 68 | 75 | 3.0795e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2323-2_0_3_line_70 |  | 69 | 70 | 0.024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2323-2_0_3_line_71 |  | 70 | 72 | 0.024785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2323-2_0_3_line_72 |  | 70 | 73 | 0.0036514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2323-2_0_3_line_73 |  | 72 | 74 | 0.022589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2323-2_0_3_line_74 |  | 74 | 77 | 0.045396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2323-2_0_3_line_75 |  | 75 | 76 | 0.039985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2323-2_0_3_line_76 |  | 76 | 82 | 0.0015967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2323-2_0_3_line_77 |  | 77 | 78 | 0.002441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2323-2_0_3_line_78 |  | 78 | 79 | 0.047447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2323-2_0_3_line_79 |  | 79 | 80 | 0.017094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2323-2_0_3_line_80 |  | 79 | 81 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2323-2_0_3_line_81 |  | 81 | 82 | 0.027331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2323-2_0_3_trafo_41 | 0.63 MVA 20/0.4 kV | 83 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2554915.2363 | 1153343.155 | 2554915.2363 | 1153343.155 | 2554918.9657 | 1153347.3181 | 2554916.2885 | 1153352.4964 | 2554911.1284 | 1153355.0031 | 2554914.7246 | 1153365.9484 | 2554917.8903 | 1153374.7515 | 2554919.2538 | 1153385.6913 | 2554920.1105 | 1153400.6816 | 2554915.9177 | 1153401.2133
1 | 2554917.5879 | 1153345.7054 | 2554915.2363 | 1153343.155
2 | 2554917.5879 | 1153345.7054 | 2554945.9632 | 1153347.0265
3 | 2554893.9204 | 1153348.0509 | 2554898.016 | 1153350.9105 | 2554909.3892 | 1153353.293 | 2554917.5879 | 1153345.7054
4 | 2554933.1476 | 1153298.6532 | 2554939.9435 | 1153323.9375 | 2554942.8924 | 1153335.5436 | 2554945.9632 | 1153347.0265
5 | 2554945.9632 | 1153347.0265 | 2554951.307 | 1153367.9862 | 2554951.8244 | 1153370.846
6 | 2554893.9204 | 1153348.0509 | 2554891.46 | 1153346.3462 | 2554887.3455 | 1153340.9632 | 2554884.6107 | 1153339.4941 | 2554866.776 | 1153336.9601
7 | 2554935.4831 | 1153297.0126 | 2554932.6613 | 1153285.9836 | 2554929.974 | 1153286.7597 | 2554933.1476 | 1153298.6532
8 | 2554933.1476 | 1153298.6532 | 2554917.5591 | 1153313.2554 | 2554909.3911 | 1153304.8607
9 | 2554861.6034 | 1153337.8105 | 2554866.6578 | 1153338.584 | 2554866.776 | 1153336.9601
10 | 2554935.4831 | 1153297.0126 | 2554956.4758 | 1153294.6508
11 | 2554935.4831 | 1153297.0126 | 2554941.8584 | 1153318.634
12 | 2554908.582 | 1153304.0291 | 2554909.3911 | 1153304.8607
13 | 2554861.6034 | 1153337.8105 | 2554849.0135 | 1153335.8707
14 | 2554861.6034 | 1153337.8105 | 2554863.3424 | 1153364.4819
15 | 2554927.0432 | 1153260.2013 | 2554927.2382 | 1153251.4286 | 2554927.6176 | 1153248.4299
16 | 2554927.0432 | 1153260.2013 | 2554923.7529 | 1153263.4276 | 2554911.7034 | 1153275.2352
17 | 2554928.839 | 1153238.7767 | 2554927.6176 | 1153248.4299
18 | 2554908.582 | 1153304.0291 | 2554900.9967 | 1153296.2376 | 2554900.248 | 1153286.4492 | 2554911.7034 | 1153275.2352
19 | 2554911.7034 | 1153275.2352 | 2554908.4408 | 1153270.9131 | 2554900.2743 | 1153262.5259
20 | 2554997.3105 | 1153290.0567 | 2554956.4758 | 1153294.6508
21 | 2554949.7862 | 1153349.4791 | 2554942.986 | 1153322.4584 | 2554941.8584 | 1153318.634
22 | 2554881.4049 | 1153280.4432 | 2554886.5946 | 1153275.724 | 2554892.1926 | 1153265.1098 | 2554899.2316 | 1153261.455 | 2554900.2743 | 1153262.5259
23 | 2554928.839 | 1153238.7767 | 2554932.5044 | 1153209.8457
24 | 2554997.3105 | 1153290.0567 | 2554994.9825 | 1153275.6778
25 | 2554997.3105 | 1153290.0567 | 2555001.6448 | 1153313.3071
26 | 2554960.2733 | 1153402.3812 | 2554958.8726 | 1153393.6317 | 2554951.0841 | 1153354.6365 | 2554949.7862 | 1153349.4791
27 | 2554932.4115 | 1153188.2904 | 2554925.8346 | 1153194.2429 | 2554921.9144 | 1153191.2485 | 2554917.7632 | 1153191.213 | 2554911.3914 | 1153184.7388
28 | 2554899.6762 | 1153203.6413 | 2554911.3914 | 1153184.7388
29 | 2554936.7304 | 1153176.4947 | 2554932.4115 | 1153188.2904
30 | 2554899.6762 | 1153203.6413 | 2554907.2031 | 1153223.5867
31 | 2554936.7304 | 1153176.4947 | 2554938.98 | 1153158.7484
32 | 2554932.5044 | 1153209.8457 | 2554935.6045 | 1153185.3761 | 2554936.7304 | 1153176.4947
33 | 2554938.98 | 1153158.7484 | 2554936.4051 | 1153156.2084
34 | 2554966.3232 | 1153435.6531 | 2554961.4548 | 1153438.1798 | 2554955.2723 | 1153449.6827
35 | 2554966.3232 | 1153435.6531 | 2554969.1266 | 1153450.3842
36 | 2554960.2733 | 1153402.3812 | 2554961.7307 | 1153411.5417 | 2554966.3232 | 1153435.6531
37 | 2554969.1266 | 1153450.3842 | 2554975.1026 | 1153453.3409 | 2554987.8173 | 1153452.094
38 | 2554989.7509 | 1153397.2688 | 2554980.2497 | 1153398.952 | 2554966.5802 | 1153401.3779 | 2554960.2733 | 1153402.3812
39 | 2554924.2096 | 1153423.4293 | 2554929.4396 | 1153423.0898 | 2554949.759 | 1153421.4144 | 2554957.5363 | 1153419.0326 | 2554961.7307 | 1153411.5417 | 2554960.2733 | 1153402.3812
40 | 2554984.5415 | 1153374.774 | 2554988.0607 | 1153375.4702 | 2554988.8595 | 1153385.814 | 2554989.1564 | 1153389.6026 | 2554989.6749 | 1153396.3356 | 2554989.7509 | 1153397.2688
41 | 2554989.7509 | 1153397.2688 | 2554991.3718 | 1153415.9552 | 2555006.471 | 1153414.9194 | 2555013.2194 | 1153414.4686
42 | 2554924.2096 | 1153423.4293 | 2554925.4441 | 1153429.4676 | 2554931.298 | 1153435.5824 | 2554926.4131 | 1153446.1245
43 | 2554897.0938 | 1153422.221 | 2554899.9249 | 1153424.2675 | 2554904.3573 | 1153424.979 | 2554924.2096 | 1153423.4293
44 | 2554897.0938 | 1153422.221 | 2554893.5133 | 1153429.7073 | 2554898.0595 | 1153437.4105 | 2554898.8014 | 1153440.173 | 2554894.259 | 1153448.3002
45 | 2555015.2053 | 1153403.0367 | 2555019.6618 | 1153404.9154 | 2555019.73 | 1153414.0197 | 2555013.2194 | 1153414.4686
46 | 2554849.0135 | 1153335.8707 | 2554849.6698 | 1153356.1802
47 | 2554849.0135 | 1153335.8707 | 2554820.8952 | 1153332.0023 | 2554787.9939 | 1153327.0743
48 | 2554787.9939 | 1153327.0743 | 2554779.9774 | 1153325.8736 | 2554763.1727 | 1153323.267
49 | 2554722.6944 | 1153318.8013 | 2554744.4349 | 1153320.3606 | 2554763.1727 | 1153323.267
50 | 2554722.6944 | 1153318.8013 | 2554725.8676 | 1153328.5491 | 2554729.52 | 1153339.7719 | 2554730.5301 | 1153344.9437
51 | 2554722.6944 | 1153318.8013 | 2554467.5783 | 1153194.2843
52 | 2554737.6844 | 1153381.4361 | 2554736.3752 | 1153374.8717 | 2554730.5301 | 1153344.9437
53 | 2554467.5783 | 1153194.2843 | 2554466.3953 | 1153181.6114 | 2554462.2341 | 1153154.9514 | 2554462.1485 | 1153147.0717
54 | 2554461.9339 | 1153127.3047 | 2554462.1485 | 1153147.0717
55 | 2554461.9339 | 1153127.3047 | 2554461.8046 | 1153115.3992
56 | 2555010.3106 | 1153340.5189 | 2555006.952 | 1153319.3552
57 | 2555010.3106 | 1153340.5189 | 2555010.4693 | 1153341.5189
58 | 2555006.952 | 1153319.3552 | 2555006.952 | 1153319.3552 | 2555002.8423 | 1153319.7306 | 2555001.6448 | 1153313.3071
59 | 2555129.836 | 1153285.4966 | 2555132.74 | 1153299.3487 | 2555137.4617 | 1153319.0896
60 | 2555129.836 | 1153285.4966 | 2555114.6845 | 1153288.8337 | 2555097.3949 | 1153292.4645
61 | 2555129.836 | 1153285.4966 | 2555129.008 | 1153273.252
62 | 2555097.3949 | 1153292.4645 | 2555077.768 | 1153298.6035
63 | 2555129.008 | 1153273.252 | 2555130.7985 | 1153242.9822
64 | 2555077.768 | 1153298.6035 | 2555071.1993 | 1153264.5696
65 | 2555132.7368 | 1153210.2151 | 2555130.7985 | 1153242.9822
66 | 2555073.3256 | 1153257.5346 | 2555071.1993 | 1153264.5696
67 | 2554994.7954 | 1153274.5224 | 2554994.9825 | 1153275.6778
68 | 2554991.1649 | 1153248.5643 | 2554992.2824 | 1153259.0005 | 2554994.7954 | 1153274.5224
69 | 2554991.1649 | 1153248.5643 | 2554991.1617 | 1153248.5337
70 | 2555073.3256 | 1153257.5346 | 2555068.7846 | 1153233.8381
71 | 2555068.7846 | 1153233.8381 | 2555064.12 | 1153209.4957
72 | 2555068.7846 | 1153233.8381 | 2555065.1693 | 1153233.3266
73 | 2555064.12 | 1153209.4957 | 2555060.8456 | 1153192.4084 | 2555059.7997 | 1153187.3239
74 | 2555050.6536 | 1153142.859 | 2555059.7997 | 1153187.3239
75 | 2554991.1617 | 1153248.5337 | 2555017.1154 | 1153218.1167
76 | 2555017.1154 | 1153218.1167 | 2555017.0893 | 1153216.5202
77 | 2555050.6536 | 1153142.859 | 2555048.3894 | 1153143.7875
78 | 2555017.7098 | 1153177.0899 | 2555021.9104 | 1153166.2973 | 2555028.6889 | 1153155.4855 | 2555037.5428 | 1153148.2488 | 2555048.3894 | 1153143.7875
79 | 2555017.7098 | 1153177.0899 | 2555024.2339 | 1153178.4084 | 2555034.6581 | 1153177.8658
80 | 2555017.7098 | 1153177.0899 | 2555016.655 | 1153189.208
81 | 2555016.655 | 1153189.208 | 2555016.4452 | 1153191.618 | 2555016.8826 | 1153203.91 | 2555017.0893 | 1153216.5202

## bus_geodata
| x | y | coords
0 | 2554915.2363 | 1153343.155
1 | 2554915.9177 | 1153401.2133
2 | 2554917.5879 | 1153345.7054
3 | 2554945.9632 | 1153347.0265
4 | 2554893.9204 | 1153348.0509
5 | 2554933.1476 | 1153298.6532
6 | 2554951.8244 | 1153370.846
7 | 2554866.776 | 1153336.9601
8 | 2554935.4831 | 1153297.0126
9 | 2554909.3911 | 1153304.8607
10 | 2554861.6034 | 1153337.8105
11 | 2554927.0432 | 1153260.2013
12 | 2554927.6176 | 1153248.4299
13 | 2554911.7034 | 1153275.2352
14 | 2554956.4758 | 1153294.6508
15 | 2554941.8584 | 1153318.634
16 | 2554908.582 | 1153304.0291
17 | 2554900.2743 | 1153262.5259
18 | 2554881.4049 | 1153280.4432
19 | 2554928.839 | 1153238.7767
20 | 2554997.3105 | 1153290.0567
21 | 2554949.7862 | 1153349.4791
22 | 2554911.3914 | 1153184.7388
23 | 2554932.4115 | 1153188.2904
24 | 2554899.6762 | 1153203.6413
25 | 2554936.7304 | 1153176.4947
26 | 2554907.2031 | 1153223.5867
27 | 2554936.4051 | 1153156.2084
28 | 2554938.98 | 1153158.7484
29 | 2554932.5044 | 1153209.8457
30 | 2554955.2723 | 1153449.6827
31 | 2554966.3232 | 1153435.6531
32 | 2554969.1266 | 1153450.3842
33 | 2554960.2733 | 1153402.3812
34 | 2554987.8173 | 1153452.094
35 | 2554989.7509 | 1153397.2688
36 | 2554924.2096 | 1153423.4293
37 | 2554926.4131 | 1153446.1245
38 | 2554897.0938 | 1153422.221
39 | 2554984.5415 | 1153374.774
40 | 2555013.2194 | 1153414.4686
41 | 2554894.259 | 1153448.3002
42 | 2554849.0135 | 1153335.8707
43 | 2554863.3424 | 1153364.4819
44 | 2555015.2053 | 1153403.0367
45 | 2554849.6698 | 1153356.1802
46 | 2554787.9939 | 1153327.0743
47 | 2554763.1727 | 1153323.267
48 | 2554722.6944 | 1153318.8013
49 | 2554730.5301 | 1153344.9437
50 | 2554467.5783 | 1153194.2843
51 | 2554737.6844 | 1153381.4361
52 | 2554461.9339 | 1153127.3047
53 | 2554462.1485 | 1153147.0717
54 | 2554461.8046 | 1153115.3992
55 | 2555010.3106 | 1153340.5189
56 | 2555006.952 | 1153319.3552
57 | 2555010.4693 | 1153341.5189
58 | 2555001.6448 | 1153313.3071
59 | 2555137.4617 | 1153319.0896
60 | 2555129.836 | 1153285.4966
61 | 2555097.3949 | 1153292.4645
62 | 2555129.008 | 1153273.252
63 | 2555077.768 | 1153298.6035
64 | 2555130.7985 | 1153242.9822
65 | 2555071.1993 | 1153264.5696
66 | 2554994.9825 | 1153275.6778
67 | 2554994.7954 | 1153274.5224
68 | 2554991.1649 | 1153248.5643
69 | 2555073.3256 | 1153257.5346
70 | 2555068.7846 | 1153233.8381
71 | 2555132.7368 | 1153210.2151
72 | 2555064.12 | 1153209.4957
73 | 2555065.1693 | 1153233.3266
74 | 2555059.7997 | 1153187.3239
75 | 2554991.1617 | 1153248.5337
76 | 2555017.1154 | 1153218.1167
77 | 2555050.6536 | 1153142.859
78 | 2555048.3894 | 1153143.7875
79 | 2555017.7098 | 1153177.0899
80 | 2555034.6581 | 1153177.8658
81 | 2555016.655 | 1153189.208
82 | 2555017.0893 | 1153216.5202
83 | 2554935.4831 | 1153297.0126

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99068 | -0.17876 | 0.010368 | 0.0025985
1 | 0.98952 | -0.20119 | 0.018477 | 0.0046308
2 | 0.99077 | -0.17698 | 0 | 0
3 | 0.99219 | -0.14948 | 0 | 0
4 | 0.99011 | -0.18975 | 0 | 0
5 | 0.99519 | -0.091585 | 0 | 0
6 | 0.99195 | -0.15416 | 0.010774 | 0.0027001
7 | 0.98938 | -0.20396 | 0 | 0
8 | 0.9972 | -0.053107 | 0 | 0
9 | 0.99216 | -0.14989 | 0.013477 | 0.0033778
10 | 0.98922 | -0.20707 | 0 | 0
11 | 0.988 | -0.23027 | 0 | 0
12 | 0.98736 | -0.24255 | 0.0085306 | 0.002138
13 | 0.98915 | -0.20795 | 0 | 0
14 | 0.99517 | -0.091759 | 0.0043746 | 0.0010964
15 | 1 | 0 | -0.37608 | -0.095461
16 | 0.99206 | -0.15166 | 0 | 0
17 | 0.98871 | -0.21653 | 0.013473 | 0.0033767
18 | 0.98833 | -0.22397 | 0.014652 | 0.0036722
19 | 0.98692 | -0.2512 | 0 | 0
20 | 0.99139 | -0.16421 | 0 | 0
21 | 0.99706 | -0.056061 | 0.0067466 | 0.0016908
22 | 0.98388 | -0.31045 | 0.0050917 | 0.0012761
23 | 0.98432 | -0.30178 | 0 | 0
24 | 0.98362 | -0.31554 | 0.0031406 | 0.00078711
25 | 0.98453 | -0.29776 | 0.001443 | 0.00036165
26 | 0.98343 | -0.31922 | 0.0095723 | 0.002399
27 | 0.98427 | -0.30288 | 0.0054594 | 0.0013682
28 | 0.98428 | -0.30253 | 0.0093584 | 0.0023454
29 | 0.98558 | -0.27719 | 0.015656 | 0.0039238
30 | 0.99084 | -0.17608 | 0.017967 | 0.004503
31 | 0.99114 | -0.17017 | 0 | 0
32 | 0.99082 | -0.17642 | 0 | 0
33 | 0.99243 | -0.14532 | 0 | 0
34 | 0.9904 | -0.18454 | 0.023492 | 0.0058877
35 | 0.99154 | -0.16242 | 0 | 0
36 | 0.99148 | -0.16373 | 0 | 0
37 | 0.99105 | -0.17208 | 0.017953 | 0.0044993
38 | 0.99142 | -0.1648 | 0 | 0
39 | 0.99122 | -0.16867 | 0.013844 | 0.0034696
40 | 0.99086 | -0.17575 | 0 | 0
41 | 0.99136 | -0.16594 | 0.0021714 | 0.00054422
42 | 0.98902 | -0.21094 | 0 | 0
43 | 0.989 | -0.21125 | 0.0087787 | 0.0022002
44 | 0.99051 | -0.18246 | 0.018503 | 0.0046374
45 | 0.98898 | -0.21163 | 0.001894 | 0.00047468
46 | 0.98816 | -0.2277 | 0.0032516 | 0.00081493
47 | 0.98788 | -0.23307 | 0.0032318 | 0.00080997
48 | 0.98755 | -0.23944 | 0 | 0
49 | 0.98737 | -0.24303 | 0.0039772 | 0.00099678
50 | 0.98719 | -0.24654 | 0.00085199 | 0.00021353
51 | 0.98725 | -0.24527 | 0.0033689 | 0.00084432
52 | 0.98716 | -0.24714 | 0.00019925 | 4.9936e-05
53 | 0.98717 | -0.247 | 0.00013576 | 3.4025e-05
54 | 0.98716 | -0.24718 | 0.00020366 | 5.1043e-05
55 | 0.99076 | -0.1764 | 0.006293 | 0.0015772
56 | 0.99093 | -0.17309 | 0.0025248 | 0.00063277
57 | 0.99076 | -0.17645 | 0.0024143 | 0.00060509
58 | 0.99104 | -0.17097 | 0.0048726 | 0.0012212
59 | 0.97582 | -0.46673 | 0.0024211 | 0.00060679
60 | 0.9759 | -0.4652 | 0 | 0
61 | 0.97629 | -0.45741 | 0.0026905 | 0.00067431
62 | 0.97578 | -0.46754 | 0.002608 | 0.00065364
63 | 0.97659 | -0.45157 | 0.0098561 | 0.0024702
64 | 0.97556 | -0.47188 | 0.0034521 | 0.00086517
65 | 0.97741 | -0.4355 | 0.0029886 | 0.00074901
66 | 0.99026 | -0.18585 | 0.0077218 | 0.0019353
67 | 0.99018 | -0.18743 | 0.003643 | 0.00091303
68 | 0.98843 | -0.2212 | 0.002888 | 0.0007238
69 | 0.9776 | -0.43169 | 0.0041267 | 0.0010343
70 | 0.97833 | -0.4174 | 0.0041279 | 0.0010345
71 | 0.97543 | -0.47449 | 0.0043552 | 0.0010915
72 | 0.97926 | -0.39916 | 0.0027472 | 0.00068851
73 | 0.97832 | -0.41765 | 0.0038213 | 0.0009577
74 | 0.98017 | -0.38144 | 0.0023164 | 0.00058056
75 | 0.98842 | -0.22124 | 0.0065729 | 0.0016473
76 | 0.9861 | -0.26619 | 0.0094977 | 0.0023803
77 | 0.98208 | -0.34402 | 0 | 0
78 | 0.98219 | -0.34201 | 0 | 0
79 | 0.98419 | -0.30307 | 0 | 0
80 | 0.98416 | -0.30377 | 0.00228 | 0.00057142
81 | 0.98473 | -0.29261 | 0.0029325 | 0.00073496
82 | 0.98602 | -0.26772 | 0.0026295 | 0.00065902
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.018497 | 0.0046425 | -0.018477 | -0.0046308 | 1.9772e-05 | 1.1776e-05 | 0.027785 | 0.027785 | 0.027785 | 0.99068 | -0.17876 | 0.98952 | -0.20119 | 7.6333
1 | -0.028865 | -0.0072411 | 0.028868 | 0.0072426 | 2.4456e-06 | 1.5205e-06 | 0.043358 | 0.043358 | 0.043358 | 0.99068 | -0.17876 | 0.99077 | -0.17698 | 11.9117
2 | -0.054823 | -0.013763 | 0.054895 | 0.013809 | 7.2019e-05 | 4.5727e-05 | 0.082345 | 0.082345 | 0.082345 | 0.99077 | -0.17698 | 0.99219 | -0.14948 | 22.6224
3 | 0.025955 | 0.0065204 | -0.025939 | -0.0065107 | 1.5805e-05 | 9.7586e-06 | 0.038987 | 0.038987 | 0.038987 | 0.99077 | -0.17698 | 0.99011 | -0.18975 | 10.7107
4 | -0.065671 | -0.01651 | 0.065853 | 0.016626 | 0.0001821 | 0.00011589 | 0.098507 | 0.098506 | 0.098507 | 0.99219 | -0.14948 | 0.99519 | -0.091585 | 27.0622
5 | 0.010776 | 0.0027013 | -0.010774 | -0.0027001 | 2.4033e-06 | 1.2213e-06 | 0.016161 | 0.016161 | 0.016161 | 0.99219 | -0.14948 | 0.99195 | -0.15416 | 4.44
6 | 0.025939 | 0.0065107 | -0.025922 | -0.0064998 | 1.7566e-05 | 1.0846e-05 | 0.038987 | 0.038987 | 0.038987 | 0.99011 | -0.18975 | 0.98938 | -0.20396 | 10.7108
7 | -0.16648 | -0.042141 | 0.16679 | 0.042337 | 0.00030813 | 0.00019651 | 0.24907 | 0.24907 | 0.24907 | 0.99519 | -0.091585 | 0.9972 | -0.053107 | 34.2125
8 | 0.10063 | 0.025515 | -0.10034 | -0.025335 | 0.00028114 | 0.0001795 | 0.15056 | 0.15056 | 0.15056 | 0.99519 | -0.091585 | 0.99216 | -0.14989 | 41.3628
9 | 0.025922 | 0.0064998 | -0.025918 | -0.0064975 | 3.8426e-06 | 2.3727e-06 | 0.038987 | 0.038987 | 0.038987 | 0.98938 | -0.20396 | 0.98922 | -0.20707 | 10.7108
10 | 0.10545 | 0.026926 | -0.10526 | -0.0268 | 0.00019659 | 0.00012554 | 0.15753 | 0.15753 | 0.15753 | 0.9972 | -0.053107 | 0.99517 | -0.091759 | 43.278
11 | -0.27224 | -0.069263 | 0.27294 | 0.06971 | 0.00069875 | 0.00044661 | 0.4066 | 0.4066 | 0.4066 | 0.9972 | -0.053107 | 1 | 0 | 55.8514
12 | 0.086867 | 0.021958 | -0.086859 | -0.021953 | 7.3923e-06 | 4.7161e-06 | 0.13035 | 0.13035 | 0.13035 | 0.99216 | -0.14989 | 0.99206 | -0.15166 | 35.8097
13 | 0.017137 | 0.0042965 | -0.017134 | -0.0042947 | 3.1655e-06 | 1.8629e-06 | 0.025779 | 0.025779 | 0.025779 | 0.98922 | -0.20707 | 0.98902 | -0.21094 | 7.0822
14 | 0.0087805 | 0.0022009 | -0.0087787 | -0.0022002 | 1.7486e-06 | 7.7602e-07 | 0.013208 | 0.013208 | 0.013208 | 0.98922 | -0.20707 | 0.989 | -0.21125 | 3.6286
15 | 0.058421 | 0.014705 | -0.058387 | -0.014683 | 3.4268e-05 | 2.178e-05 | 0.08801 | 0.08801 | 0.08801 | 0.988 | -0.23027 | 0.98736 | -0.24255 | 24.1787
16 | -0.058421 | -0.014705 | 0.058484 | 0.014745 | 6.2389e-05 | 3.9653e-05 | 0.08801 | 0.08801 | 0.08801 | 0.988 | -0.23027 | 0.98915 | -0.20795 | 24.1787
17 | 0.049856 | 0.012545 | -0.049836 | -0.012532 | 2.0609e-05 | 1.3065e-05 | 0.075154 | 0.075154 | 0.075154 | 0.98736 | -0.24255 | 0.98692 | -0.2512 | 20.6468
18 | -0.086626 | -0.021804 | 0.086859 | 0.021953 | 0.00023375 | 0.00014913 | 0.13035 | 0.13035 | 0.13035 | 0.98915 | -0.20795 | 0.99206 | -0.15166 | 35.8098
19 | 0.028142 | 0.007059 | -0.028131 | -0.0070519 | 1.1509e-05 | 7.1459e-06 | 0.042337 | 0.042337 | 0.042337 | 0.98915 | -0.20795 | 0.98871 | -0.21653 | 11.6312
20 | 0.10088 | 0.025704 | -0.10053 | -0.02548 | 0.00035131 | 0.00022431 | 0.15099 | 0.15099 | 0.15099 | 0.99517 | -0.091759 | 0.99139 | -0.16421 | 41.4811
21 | 0.1015 | 0.025751 | -0.10122 | -0.025577 | 0.00027283 | 0.0001742 | 0.15114 | 0.15114 | 0.15114 | 1 | 0 | 0.99706 | -0.056061 | 41.5215
22 | 0.014658 | 0.0036752 | -0.014652 | -0.0036722 | 5.1903e-06 | 2.9572e-06 | 0.02206 | 0.02206 | 0.02206 | 0.98871 | -0.21653 | 0.98833 | -0.22397 | 6.0606
23 | 0.049836 | 0.012532 | -0.049774 | -0.012493 | 6.1768e-05 | 3.9159e-05 | 0.075154 | 0.075154 | 0.075154 | 0.98692 | -0.2512 | 0.98558 | -0.27719 | 20.6468
24 | 0.084418 | 0.021439 | -0.08433 | -0.021383 | 8.7833e-05 | 5.6026e-05 | 0.12681 | 0.12681 | 0.12681 | 0.99139 | -0.16421 | 0.99026 | -0.18585 | 34.837
25 | 0.016112 | 0.0040404 | -0.016107 | -0.0040374 | 5.1875e-06 | 3.0152e-06 | 0.024185 | 0.024185 | 0.024185 | 0.99139 | -0.16421 | 0.99104 | -0.17097 | 6.6441
26 | 0.094477 | 0.023886 | -0.094074 | -0.023629 | 0.00040258 | 0.00025695 | 0.14107 | 0.14107 | 0.14107 | 0.99706 | -0.056061 | 0.99243 | -0.14532 | 38.7555
27 | -0.017809 | -0.0044647 | 0.017817 | 0.0044691 | 7.3563e-06 | 4.3645e-06 | 0.026935 | 0.026935 | 0.026935 | 0.98388 | -0.31045 | 0.98432 | -0.30178 | 7.3998
28 | 0.012718 | 0.0031886 | -0.012715 | -0.003187 | 3.0854e-06 | 1.6923e-06 | 0.019235 | 0.019235 | 0.019235 | 0.98388 | -0.31045 | 0.98362 | -0.31554 | 5.2843
29 | -0.017817 | -0.0044691 | 0.01782 | 0.0044711 | 3.4175e-06 | 2.0275e-06 | 0.026935 | 0.026935 | 0.026935 | 0.98432 | -0.30178 | 0.98453 | -0.29776 | 7.3998
30 | 0.0095739 | 0.0023998 | -0.0095723 | -0.002399 | 1.677e-06 | 8.0276e-07 | 0.014484 | 0.014484 | 0.014484 | 0.98362 | -0.31554 | 0.98343 | -0.31922 | 3.979
31 | 0.014821 | 0.0037156 | -0.014818 | -0.0037137 | 3.3662e-06 | 1.927e-06 | 0.022401 | 0.022401 | 0.022401 | 0.98453 | -0.29776 | 0.98428 | -0.30253 | 6.1542
32 | -0.034084 | -0.0085484 | 0.034118 | 0.0085694 | 3.3458e-05 | 2.0985e-05 | 0.051517 | 0.051517 | 0.051517 | 0.98453 | -0.29776 | 0.98558 | -0.27719 | 14.1531
33 | -0.0054594 | -0.0013682 | 0.0054594 | 0.0013683 | 9.2392e-08 | 1.3161e-08 | 0.0082535 | 0.0082535 | 0.0082535 | 0.98427 | -0.30288 | 0.98428 | -0.30253 | 2.2674
34 | -0.017967 | -0.004503 | 0.017972 | 0.004506 | 5.0629e-06 | 3.0013e-06 | 0.026983 | 0.026982 | 0.026983 | 0.99084 | -0.17608 | 0.99114 | -0.17017 | 7.4128
35 | 0.023508 | 0.0058975 | -0.023501 | -0.0058933 | 7.0065e-06 | 4.2909e-06 | 0.035295 | 0.035295 | 0.035295 | 0.99114 | -0.17017 | 0.99082 | -0.17642 | 9.6965
36 | -0.04148 | -0.010404 | 0.04153 | 0.010435 | 4.919e-05 | 3.1045e-05 | 0.062278 | 0.062278 | 0.062278 | 0.99114 | -0.17017 | 0.99243 | -0.14532 | 17.1093
37 | 0.023501 | 0.0058933 | -0.023492 | -0.0058877 | 9.0831e-06 | 5.5629e-06 | 0.035295 | 0.035295 | 0.035295 | 0.99082 | -0.17642 | 0.9904 | -0.18454 | 9.6966
38 | 0.032395 | 0.0081363 | -0.032369 | -0.0081198 | 2.6402e-05 | 1.6512e-05 | 0.048579 | 0.048579 | 0.048579 | 0.99243 | -0.14532 | 0.99154 | -0.16242 | 13.3458
39 | 0.020149 | 0.0050578 | -0.020131 | -0.0050472 | 1.7673e-05 | 1.0644e-05 | 0.030214 | 0.030214 | 0.030214 | 0.99243 | -0.14532 | 0.99148 | -0.16373 | 8.3006
40 | 0.013848 | 0.0034719 | -0.013844 | -0.0034696 | 4.1215e-06 | 2.3096e-06 | 0.020782 | 0.020782 | 0.020782 | 0.99154 | -0.16242 | 0.99122 | -0.16867 | 5.7094
41 | 0.018521 | 0.0046479 | -0.018509 | -0.0046409 | 1.1763e-05 | 7.0048e-06 | 0.027797 | 0.027797 | 0.027797 | 0.99154 | -0.16242 | 0.99086 | -0.17575 | 7.6365
42 | 0.01796 | 0.0045036 | -0.017953 | -0.0044993 | 7.1479e-06 | 4.2365e-06 | 0.026955 | 0.026955 | 0.026955 | 0.99148 | -0.16373 | 0.99105 | -0.17208 | 7.4053
43 | 0.0021717 | 0.00054362 | -0.0021716 | -0.00054391 | 1.1111e-07 | -2.8862e-07 | 0.003259 | 0.0032592 | 0.0032592 | 0.99148 | -0.16373 | 0.99142 | -0.1648 | 0.89538
44 | 0.0021716 | 0.00054391 | -0.0021714 | -0.00054422 | 1.1713e-07 | -3.0417e-07 | 0.0032592 | 0.0032593 | 0.0032593 | 0.99142 | -0.1648 | 0.99136 | -0.16594 | 0.89541
45 | 0.018509 | 0.0046409 | -0.018503 | -0.0046374 | 5.9222e-06 | 3.5271e-06 | 0.027797 | 0.027797 | 0.027797 | 0.99086 | -0.17575 | 0.99051 | -0.18246 | 7.6365
46 | 0.0018941 | 0.00047446 | -0.001894 | -0.00047468 | 6.1878e-08 | -2.2115e-07 | 0.0028496 | 0.0028497 | 0.0028497 | 0.98902 | -0.21094 | 0.98898 | -0.21163 | 0.78288
47 | 0.01524 | 0.0038202 | -0.015228 | -0.0038132 | 1.2156e-05 | 6.9891e-06 | 0.02293 | 0.02293 | 0.02293 | 0.98902 | -0.21094 | 0.98816 | -0.2277 | 6.2994
48 | 0.011976 | 0.0029983 | -0.011973 | -0.0029967 | 3.0624e-06 | 1.6384e-06 | 0.018033 | 0.018034 | 0.018034 | 0.98816 | -0.2277 | 0.98788 | -0.23307 | 4.9543
49 | 0.0087415 | 0.0021867 | -0.0087388 | -0.0021855 | 2.6493e-06 | 1.1739e-06 | 0.013166 | 0.013166 | 0.013166 | 0.98788 | -0.23307 | 0.98755 | -0.23944 | 3.617
50 | 0.0073477 | 0.0018413 | -0.0073464 | -0.0018409 | 1.2559e-06 | 4.5425e-07 | 0.011071 | 0.011071 | 0.011071 | 0.98755 | -0.23944 | 0.98737 | -0.24303 | 3.0416
51 | 0.0013911 | 0.0003442 | -0.0013907 | -0.00034753 | 4.6733e-07 | -3.3318e-06 | 0.0020946 | 0.0020959 | 0.0020959 | 0.98755 | -0.23944 | 0.98719 | -0.24654 | 0.57578
52 | 0.0033693 | 0.00084408 | -0.0033689 | -0.00084432 | 3.5954e-07 | -2.4546e-07 | 0.0050775 | 0.0050777 | 0.0050777 | 0.98737 | -0.24303 | 0.98725 | -0.24527 | 1.395
53 | 0.00053869 | 0.000134 | -0.00053868 | -0.0001346 | 1.1759e-08 | -6.0093e-07 | 0.00081162 | 0.00081184 | 0.00081184 | 0.98719 | -0.24654 | 0.98717 | -0.247 | 0.22303
54 | -0.00040291 | -0.00010083 | 0.00040292 | 0.00010058 | 2.7335e-09 | -2.5098e-07 | 0.00060728 | 0.0006072 | 0.00060728 | 0.98716 | -0.24714 | 0.98717 | -0.247 | 0.16684
55 | 0.00020367 | 5.0891e-05 | -0.00020366 | -5.1043e-05 | 4.2072e-10 | -1.5195e-07 | 0.00030695 | 0.000307 | 0.000307 | 0.98716 | -0.24714 | 0.98716 | -0.24718 | 0.08434
56 | -0.0087074 | -0.0021823 | 0.0087088 | 0.0021829 | 1.3743e-06 | 6.0353e-07 | 0.013078 | 0.013077 | 0.013078 | 0.99076 | -0.1764 | 0.99093 | -0.17309 | 3.5927
57 | 0.0024143 | 0.00060508 | -0.0024143 | -0.00060509 | 4.9923e-09 | -9.8435e-09 | 0.0036261 | 0.0036261 | 0.0036261 | 0.99076 | -0.1764 | 0.99076 | -0.17645 | 0.99618
58 | -0.011234 | -0.0028156 | 0.011235 | 0.0028162 | 1.1376e-06 | 5.9071e-07 | 0.016869 | 0.016869 | 0.016869 | 0.99093 | -0.17309 | 0.99104 | -0.17097 | 4.6343
59 | -0.0024211 | -0.00060679 | 0.0024213 | 0.00060647 | 1.7608e-07 | -3.1772e-07 | 0.0036919 | 0.0036918 | 0.0036919 | 0.97582 | -0.46673 | 0.9759 | -0.4652 | 1.0143
60 | -0.01284 | -0.003218 | 0.012845 | 0.0032206 | 4.7693e-06 | 2.6376e-06 | 0.019578 | 0.019578 | 0.019578 | 0.9759 | -0.4652 | 0.97629 | -0.45741 | 5.3785
61 | 0.010419 | 0.0026115 | -0.010418 | -0.0026109 | 1.1615e-06 | 5.9002e-07 | 0.015886 | 0.015886 | 0.015886 | 0.9759 | -0.4652 | 0.97578 | -0.46754 | 4.3643
62 | -0.015535 | -0.0038949 | 0.01554 | 0.0038974 | 4.3237e-06 | 2.51e-06 | 0.023679 | 0.023678 | 0.023679 | 0.97629 | -0.45741 | 0.97659 | -0.45157 | 6.5051
63 | 0.0078095 | 0.0019573 | -0.0078079 | -0.0019566 | 1.6127e-06 | 6.5345e-07 | 0.011909 | 0.011909 | 0.011909 | 0.97578 | -0.46754 | 0.97556 | -0.47188 | 3.2718
64 | -0.025396 | -0.0063676 | 0.025415 | 0.0063796 | 1.9463e-05 | 1.2022e-05 | 0.038696 | 0.038696 | 0.038696 | 0.97659 | -0.45157 | 0.97741 | -0.4355 | 10.6308
65 | 0.0043558 | 0.0010915 | -0.0043552 | -0.0010915 | 5.4333e-07 | -6.205e-08 | 0.0066438 | 0.0066439 | 0.0066439 | 0.97556 | -0.47188 | 0.97543 | -0.47449 | 1.8253
66 | -0.028404 | -0.0071287 | 0.028409 | 0.0071319 | 5.1542e-06 | 3.2066e-06 | 0.043246 | 0.043246 | 0.043246 | 0.97741 | -0.4355 | 0.9776 | -0.43169 | 11.8807
67 | 0.076608 | 0.019448 | -0.076602 | -0.019444 | 5.8253e-06 | 3.7132e-06 | 0.1152 | 0.1152 | 0.1152 | 0.99026 | -0.18585 | 0.99018 | -0.18743 | 31.6493
68 | 0.072959 | 0.018531 | -0.072841 | -0.018456 | 0.00011839 | 7.5431e-05 | 0.10973 | 0.10973 | 0.10973 | 0.99018 | -0.18743 | 0.98843 | -0.2212 | 30.1453
69 | 0.069953 | 0.017732 | -0.069953 | -0.017732 | 1.2824e-07 | 8.168e-08 | 0.10538 | 0.10538 | 0.10538 | 0.98843 | -0.2212 | 0.98842 | -0.22124 | 28.9509
70 | -0.032536 | -0.0081661 | 0.032558 | 0.00818 | 2.2194e-05 | 1.3901e-05 | 0.049527 | 0.049527 | 0.049527 | 0.9776 | -0.43169 | 0.97833 | -0.4174 | 13.6064
71 | -0.040507 | -0.010172 | 0.040542 | 0.010195 | 3.5288e-05 | 2.2273e-05 | 0.061617 | 0.061617 | 0.061617 | 0.97833 | -0.4174 | 0.97926 | -0.39916 | 16.9279
72 | 0.0038213 | 0.00095768 | -0.0038213 | -0.0009577 | 4.6255e-08 | -1.6246e-08 | 0.0058121 | 0.0058121 | 0.0058121 | 0.97833 | -0.4174 | 0.97832 | -0.41765 | 1.5967
73 | -0.04329 | -0.010883 | 0.043326 | 0.010906 | 3.6667e-05 | 2.3182e-05 | 0.065792 | 0.065792 | 0.065792 | 0.97926 | -0.39916 | 0.98017 | -0.38144 | 18.0747
74 | -0.045643 | -0.011487 | 0.045724 | 0.011539 | 8.1774e-05 | 5.1762e-05 | 0.069308 | 0.069308 | 0.069308 | 0.98017 | -0.38144 | 0.98208 | -0.34402 | 19.0408
75 | 0.06338 | 0.016084 | -0.063243 | -0.015998 | 0.00013671 | 8.6985e-05 | 0.095486 | 0.095486 | 0.095486 | 0.98842 | -0.22124 | 0.9861 | -0.26619 | 26.2325
76 | 0.053746 | 0.013617 | -0.053742 | -0.013615 | 3.9436e-06 | 2.5035e-06 | 0.081154 | 0.081154 | 0.081154 | 0.9861 | -0.26619 | 0.98602 | -0.26772 | 22.2952
77 | -0.045724 | -0.011539 | 0.045729 | 0.011541 | 4.3971e-06 | 2.7833e-06 | 0.069308 | 0.069308 | 0.069308 | 0.98208 | -0.34402 | 0.98219 | -0.34201 | 19.0407
78 | -0.045729 | -0.011541 | 0.045814 | 0.011595 | 8.5469e-05 | 5.4098e-05 | 0.069308 | 0.069308 | 0.069308 | 0.98219 | -0.34201 | 0.98419 | -0.30307 | 19.0407
79 | 0.0022801 | 0.00057125 | -0.00228 | -0.00057142 | 7.6177e-08 | -1.6847e-07 | 0.0034472 | 0.0034473 | 0.0034473 | 0.98419 | -0.30307 | 0.98416 | -0.30377 | 0.94705
80 | -0.048094 | -0.012167 | 0.048118 | 0.012182 | 2.4145e-05 | 1.5298e-05 | 0.072755 | 0.072755 | 0.072755 | 0.98419 | -0.30307 | 0.98473 | -0.29261 | 19.9877
81 | -0.051051 | -0.012917 | 0.051112 | 0.012956 | 6.1061e-05 | 3.8731e-05 | 0.077186 | 0.077186 | 0.077186 | 0.98473 | -0.29261 | 0.98602 | -0.26772 | 21.205

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38149 | 0.096817

## res_load
| p_mw | q_mvar
0 | 0.010368 | 0.0025985
1 | 0.018477 | 0.0046308
2 | 0.010774 | 0.0027001
3 | 0.013477 | 0.0033778
4 | 0.0085306 | 0.002138
5 | 0.0043746 | 0.0010964
6 | 0.005411 | 0.0013561
7 | 0.013473 | 0.0033767
8 | 0.014652 | 0.0036722
9 | 0.0067466 | 0.0016908
10 | 0.0050917 | 0.0012761
11 | 0.0031406 | 0.00078711
12 | 0.001443 | 0.00036165
13 | 0.0095723 | 0.002399
14 | 0.0054594 | 0.0013682
15 | 0.0093584 | 0.0023454
16 | 0.015656 | 0.0039238
17 | 0.017967 | 0.004503
18 | 0.023492 | 0.0058877
19 | 0.017953 | 0.0044993
20 | 0.013844 | 0.0034696
21 | 0.0021714 | 0.00054422
22 | 0.0087787 | 0.0022002
23 | 0.018503 | 0.0046374
24 | 0.001894 | 0.00047468
25 | 0.0032516 | 0.00081493
26 | 0.0032318 | 0.00080997
27 | 0.0039772 | 0.00099678
28 | 0.00085199 | 0.00021353
29 | 0.0033689 | 0.00084432
30 | 0.00019925 | 4.9936e-05
31 | 0.00013576 | 3.4025e-05
32 | 0.00020366 | 5.1043e-05
33 | 0.006293 | 0.0015772
34 | 0.0025248 | 0.00063277
35 | 0.0024143 | 0.00060509
36 | 0.0048726 | 0.0012212
37 | 0.0024211 | 0.00060679
38 | 0.0026905 | 0.00067431
39 | 0.002608 | 0.00065364
40 | 0.0098561 | 0.0024702
41 | 0.0034521 | 0.00086517
42 | 0.0029886 | 0.00074901
43 | 0.0077218 | 0.0019353
44 | 0.003643 | 0.00091303
45 | 0.002888 | 0.0007238
46 | 0.0041267 | 0.0010343
47 | 0.0041279 | 0.0010345
48 | 0.0043552 | 0.0010915
49 | 0.0027472 | 0.00068851
50 | 0.0038213 | 0.0009577
51 | 0.0023164 | 0.00058056
52 | 0.0065729 | 0.0016473
53 | 0.0094977 | 0.0023803
54 | 0.00228 | 0.00057142
55 | 0.0029325 | 0.00073496
56 | 0.0026295 | 0.00065902

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1