## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2328-1_1_3_node_156 | 0.4 | n |  | TRUE
1 | bus_LV_2328-1_1_3_node_157 | 0.4 | n |  | TRUE
2 | bus_LV_2328-1_1_3_node_159 | 0.4 | n |  | TRUE
3 | bus_LV_2328-1_1_3_node_195 | 0.4 | n |  | TRUE
4 | bus_LV_2328-1_1_3_node_161 | 0.4 | n |  | TRUE
5 | bus_LV_2328-1_1_3_node_162 | 0.4 | n |  | TRUE
6 | bus_LV_2328-1_1_3_node_163 | 0.4 | n |  | TRUE
7 | bus_LV_2328-1_1_3_node_164 | 0.4 | n |  | TRUE
8 | bus_LV_2328-1_1_3_node_165 | 0.4 | n |  | TRUE
9 | bus_LV_2328-1_1_3_node_166 | 0.4 | n |  | TRUE
10 | bus_LV_2328-1_1_3_node_202 | 0.4 | n |  | TRUE
11 | bus_LV_2328-1_1_3_node_203 | 0.4 | n |  | TRUE
12 | bus_LV_2328-1_1_3_node_193 | 0.4 | n |  | TRUE
13 | bus_LV_2328-1_1_3_node_180 | 0.4 | n |  | TRUE
14 | bus_LV_2328-1_1_3_node_181 | 0.4 | n |  | TRUE
15 | bus_LV_2328-1_1_3_node_183 | 0.4 | n |  | TRUE
16 | bus_LV_2328-1_1_3_node_201 | 0.4 | n |  | TRUE
17 | bus_LV_2328-1_1_3_node_189 | 0.4 | n |  | TRUE
18 | bus_LV_2328-1_1_3_node_200 | 0.4 | n |  | TRUE
19 | bus_LV_2328-1_1_3_node_187 | 0.4 | n |  | TRUE
20 | bus_LV_2328-1_1_3_node_188 | 0.4 | n |  | TRUE
21 | bus_LV_2328-1_1_3_node_190 | 0.4 | n |  | TRUE
22 | bus_LV_2328-1_1_3_node_191 | 0.4 | n |  | TRUE
23 | bus_LV_2328-1_1_3_node_192 | 0.4 | n |  | TRUE
24 | bus_LV_2328-1_1_3_node_197 | 0.4 | n |  | TRUE
25 | bus_LV_2328-1_1_3_node_194 | 0.4 | n |  | TRUE
26 | bus_LV_2328-1_1_3_node_196 | 0.4 | n |  | TRUE
27 | bus_LV_2328-1_1_3_node_198 | 0.4 | n |  | TRUE
28 | bus_LV_2328-1_1_3_node_199 | 0.4 | n |  | TRUE
29 | bus_MV_384_0_node_171 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2328-1_1_3_load_156 | 0 | 0.0065262 | 0.0016356 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2328-1_1_3_load_159 | 2 | 0.00099539 | 0.00024947 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2328-1_1_3_load_161 | 4 | 0.029151 | 0.0073061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2328-1_1_3_load_165 | 8 | 0.0071266 | 0.0017861 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2328-1_1_3_load_202 | 10 | 0.0092447 | 0.0023169 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2328-1_1_3_load_203 | 11 | 0.0087796 | 0.0022004 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2328-1_1_3_load_180 | 13 | 0.00072983 | 0.00018291 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2328-1_1_3_load_181 | 14 | 0.003647 | 0.00091401 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2328-1_1_3_load_201 | 16 | 0.0023053 | 0.00057777 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2328-1_1_3_load_187 | 19 | 0.034119 | 0.008551 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2328-1_1_3_load_192 | 23 | 0.012951 | 0.0032459 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2328-1_1_3_load_197 | 24 | 0.025688 | 0.006438 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2328-1_1_3_load_194 | 25 | 0.0027253 | 0.00068303 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2328-1_1_3_load_196 | 26 | 0.027688 | 0.0069394 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2328-1_1_3_load_198 | 27 | 0.04688 | 0.011749 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2328-1_1_3_load_199 | 28 | 0.002917 | 0.00073106 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2328-1_1_3_line_0 |  | 0 | 1 | 0.053242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2328-1_1_3_line_1 |  | 1 | 2 | 0.026082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2328-1_1_3_line_2 |  | 2 | 3 | 0.2104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2328-1_1_3_line_3 |  | 3 | 5 | 0.1733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2328-1_1_3_line_4 |  | 3 | 25 | 0.033364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2328-1_1_3_line_5 |  | 4 | 5 | 0.0094932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2328-1_1_3_line_6 |  | 4 | 6 | 0.046214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2328-1_1_3_line_7 |  | 5 | 7 | 0.078942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2328-1_1_3_line_8 |  | 6 | 8 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2328-1_1_3_line_9 |  | 6 | 9 | 0.044868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2328-1_1_3_line_10 |  | 7 | 10 | 0.021015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2328-1_1_3_line_11 |  | 9 | 11 | 0.021146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2328-1_1_3_line_12 |  | 9 | 12 | 0.11099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2328-1_1_3_line_13 |  | 12 | 23 | 0.0066861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2328-1_1_3_line_14 |  | 13 | 14 | 0.0083537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2328-1_1_3_line_15 |  | 14 | 15 | 0.03921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2328-1_1_3_line_16 |  | 15 | 16 | 0.031281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2328-1_1_3_line_17 |  | 15 | 17 | 0.058193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2328-1_1_3_line_18 |  | 15 | 18 | 0.046223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2328-1_1_3_line_19 |  | 17 | 22 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2328-1_1_3_line_20 |  | 17 | 19 | 0.10025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2328-1_1_3_line_21 |  | 18 | 28 | 0.041395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2328-1_1_3_line_22 |  | 19 | 20 | 0.036384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2328-1_1_3_line_23 |  | 20 | 21 | 0.025647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2328-1_1_3_line_24 |  | 21 | 23 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2328-1_1_3_line_25 |  | 22 | 24 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2328-1_1_3_line_26 |  | 24 | 26 | 0.023875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2328-1_1_3_line_27 |  | 26 | 27 | 0.02874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2328-1_1_3_trafo_193 | 0.63 MVA 20/0.4 kV | 29 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2553305.944 | 1153455.048 | 2553295.3332 | 1153448.1713 | 2553288.2529 | 1153444.391 | 2553279.7019 | 1153444.88 | 2553273.736 | 1153447.2721 | 2553266.944 | 1153453.9283 | 2553262.0838 | 1153460.3695
1 | 2553305.944 | 1153455.048 | 2553308.4899 | 1153462.7766 | 2553301.3522 | 1153479.2407
2 | 2553500.5907 | 1153546.8529 | 2553301.3522 | 1153479.2407
3 | 2553476.233 | 1153718.4306 | 2553500.5907 | 1153546.8529
4 | 2553500.5907 | 1153546.8529 | 2553512.7494 | 1153545.6137 | 2553532.8902 | 1153544.7575 | 2553533.8631 | 1153544.615
5 | 2553476.233 | 1153718.4306 | 2553476.3545 | 1153727.923
6 | 2553477.7384 | 1153774.1034 | 2553476.7383 | 1153757.9027 | 2553476.3545 | 1153727.923
7 | 2553476.233 | 1153718.4306 | 2553408.7162 | 1153759.653
8 | 2553477.7384 | 1153774.1034 | 2553471.9889 | 1153774.6816 | 2553464.9333 | 1153774.0069
9 | 2553481.5674 | 1153818.7525 | 2553479.8706 | 1153808.6827 | 2553477.7384 | 1153774.1034
10 | 2553408.7162 | 1153759.653 | 2553427.6684 | 1153768.8441
11 | 2553481.5674 | 1153818.7525 | 2553474.7064 | 1153819.4505 | 2553471.9273 | 1153817.2375 | 2553468.2894 | 1153807.1493
12 | 2553453.5379 | 1153926.1477 | 2553481.5674 | 1153818.7525
13 | 2553453.5379 | 1153926.1477 | 2553457.0748 | 1153931.8217
14 | 2553392.9658 | 1154127.3009 | 2553384.6168 | 1154127.5822
15 | 2553345.4291 | 1154128.9027 | 2553384.6168 | 1154127.5822
16 | 2553345.4291 | 1154128.9027 | 2553346.0095 | 1154160.17
17 | 2553345.4291 | 1154128.9027 | 2553346.2003 | 1154119.5474 | 2553348.5269 | 1154109.9466 | 2553372.3301 | 1154079.1013
18 | 2553345.4291 | 1154128.9027 | 2553321.7487 | 1154128.1418 | 2553299.2067 | 1154125.7935
19 | 2553372.3301 | 1154079.1013 | 2553363.1598 | 1154071.8354
20 | 2553372.3301 | 1154079.1013 | 2553433.5761 | 1153999.7371
21 | 2553299.2067 | 1154125.7935 | 2553293.3453 | 1154166.7713
22 | 2553455.3478 | 1153970.6123 | 2553451.9824 | 1153975.8856 | 2553433.5761 | 1153999.7371
23 | 2553464.4836 | 1153946.6847 | 2553461.423 | 1153956.6358 | 2553455.3478 | 1153970.6123
24 | 2553464.4836 | 1153946.6847 | 2553461.7102 | 1153939.2578 | 2553457.0748 | 1153931.8217
25 | 2553363.1598 | 1154071.8354 | 2553345.4821 | 1154067.5926 | 2553345.4821 | 1154067.5926
26 | 2553325.7133 | 1154054.205 | 2553345.4821 | 1154067.5926
27 | 2553299.1651 | 1154043.4955 | 2553322.1603 | 1154051.7989 | 2553325.7133 | 1154054.205

## bus_geodata
| x | y | coords
0 | 2553262.0838 | 1153460.3695
1 | 2553305.944 | 1153455.048
2 | 2553301.3522 | 1153479.2407
3 | 2553500.5907 | 1153546.8529
4 | 2553476.3545 | 1153727.923
5 | 2553476.233 | 1153718.4306
6 | 2553477.7384 | 1153774.1034
7 | 2553408.7162 | 1153759.653
8 | 2553464.9333 | 1153774.0069
9 | 2553481.5674 | 1153818.7525
10 | 2553427.6684 | 1153768.8441
11 | 2553468.2894 | 1153807.1493
12 | 2553453.5379 | 1153926.1477
13 | 2553392.9658 | 1154127.3009
14 | 2553384.6168 | 1154127.5822
15 | 2553345.4291 | 1154128.9027
16 | 2553346.0095 | 1154160.17
17 | 2553372.3301 | 1154079.1013
18 | 2553299.2067 | 1154125.7935
19 | 2553433.5761 | 1153999.7371
20 | 2553455.3478 | 1153970.6123
21 | 2553464.4836 | 1153946.6847
22 | 2553363.1598 | 1154071.8354
23 | 2553457.0748 | 1153931.8217
24 | 2553345.4821 | 1154067.5926
25 | 2553533.8631 | 1153544.615
26 | 2553325.7133 | 1154054.205
27 | 2553299.1651 | 1154043.4955
28 | 2553293.3453 | 1154166.7713
29 | 2553464.4836 | 1153946.6847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98534 | -0.28274 | 0.0065262 | 0.0016356
1 | 0.98566 | -0.27651 | 0 | 0
2 | 0.98581 | -0.27345 | 0.00099539 | 0.00024947
3 | 0.98727 | -0.24509 | 0 | 0
4 | 0.98907 | -0.21005 | 0.029151 | 0.0073061
5 | 0.9889 | -0.21335 | 0 | 0
6 | 0.99113 | -0.17006 | 0 | 0
7 | 0.98823 | -0.22637 | 0 | 0
8 | 0.99105 | -0.17169 | 0.0071266 | 0.0017861
9 | 0.99343 | -0.12575 | 0 | 0
10 | 0.98805 | -0.22983 | 0.0092447 | 0.0023169
11 | 0.99326 | -0.12903 | 0.0087796 | 0.0022004
12 | 1 | 0 | -0.22602 | -0.057343
13 | 0.9834 | -0.31801 | 0.00072983 | 0.00018291
14 | 0.98341 | -0.3179 | 0.003647 | 0.00091401
15 | 0.98357 | -0.3148 | 0 | 0
16 | 0.9835 | -0.3161 | 0.0023053 | 0.00057777
17 | 0.98408 | -0.30474 | 0 | 0
18 | 0.98344 | -0.31724 | 0 | 0
19 | 0.99428 | -0.10855 | 0.034119 | 0.008551
20 | 0.9967 | -0.062477 | 0 | 0
21 | 0.99841 | -0.030137 | 0 | 0
22 | 0.983 | -0.32584 | 0 | 0
23 | 0.99952 | -0.0091492 | 0.012951 | 0.0032459
24 | 0.98131 | -0.35877 | 0.025688 | 0.006438
25 | 0.98718 | -0.24672 | 0.0027253 | 0.00068303
26 | 0.97966 | -0.39105 | 0.027688 | 0.0069394
27 | 0.97841 | -0.41555 | 0.04688 | 0.011749
28 | 0.98333 | -0.31941 | 0.002917 | 0.00073106
29 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0065262 | -0.0016356 | 0.0065281 | 0.0016362 | 1.9393e-06 | 5.6276e-07 | 0.0098556 | 0.0098554 | 0.0098556 | 0.98534 | -0.28274 | 0.98566 | -0.27651 | 2.7076
1 | -0.0065281 | -0.0016362 | 0.0065291 | 0.0016365 | 9.4997e-07 | 2.755e-07 | 0.0098554 | 0.0098553 | 0.0098554 | 0.98566 | -0.27651 | 0.98581 | -0.27345 | 2.7075
2 | -0.0075245 | -0.0018859 | 0.0075347 | 0.0018898 | 1.0177e-05 | 3.8268e-06 | 0.011358 | 0.011357 | 0.011358 | 0.98581 | -0.27345 | 0.98727 | -0.24509 | 3.1203
3 | -0.01026 | -0.0025725 | 0.010276 | 0.0025802 | 1.5541e-05 | 7.7266e-06 | 0.015465 | 0.015464 | 0.015465 | 0.98727 | -0.24509 | 0.9889 | -0.21335 | 4.2485
4 | 0.0027255 | 0.00068274 | -0.0027253 | -0.00068303 | 2.1113e-07 | -2.9148e-07 | 0.0041078 | 0.004108 | 0.004108 | 0.98727 | -0.24509 | 0.98718 | -0.24672 | 1.1286
5 | 0.019531 | 0.0049024 | -0.019528 | -0.0049005 | 3.0741e-06 | 1.8456e-06 | 0.029386 | 0.029386 | 0.029386 | 0.98907 | -0.21005 | 0.9889 | -0.21335 | 8.073
6 | -0.048682 | -0.012208 | 0.048775 | 0.012267 | 9.2968e-05 | 5.8905e-05 | 0.073243 | 0.073243 | 0.073243 | 0.98907 | -0.21005 | 0.99113 | -0.17006 | 20.1217
7 | 0.0092519 | 0.0023203 | -0.0092462 | -0.0023176 | 5.738e-06 | 2.6602e-06 | 0.013922 | 0.013922 | 0.013922 | 0.9889 | -0.21335 | 0.98823 | -0.22637 | 3.8248
8 | 0.0071271 | 0.0017863 | -0.0071266 | -0.0017861 | 5.5242e-07 | 1.8774e-07 | 0.0107 | 0.0107 | 0.0107 | 0.99113 | -0.17006 | 0.99105 | -0.17169 | 2.9396
9 | -0.055902 | -0.014054 | 0.056021 | 0.014129 | 0.00011856 | 7.5298e-05 | 0.083943 | 0.083943 | 0.083943 | 0.99113 | -0.17006 | 0.99343 | -0.12575 | 23.0613
10 | 0.0092462 | 0.0023176 | -0.0092447 | -0.0023169 | 1.5275e-06 | 7.0843e-07 | 0.013922 | 0.013923 | 0.013923 | 0.98823 | -0.22637 | 0.98805 | -0.22983 | 3.8249
11 | 0.008781 | 0.002201 | -0.0087796 | -0.0022004 | 1.3718e-06 | 6.0422e-07 | 0.013153 | 0.013153 | 0.013153 | 0.99343 | -0.12575 | 0.99326 | -0.12903 | 3.6134
12 | -0.064802 | -0.01633 | 0.065194 | 0.01658 | 0.00039239 | 0.00024969 | 0.097096 | 0.097095 | 0.097096 | 0.99343 | -0.12575 | 1 | 0 | 26.6746
13 | 0.15918 | 0.040764 | -0.15911 | -0.040719 | 7.0516e-05 | 4.4955e-05 | 0.23717 | 0.23717 | 0.23717 | 1 | 0 | 0.99952 | -0.0091492 | 32.578
14 | -0.00072983 | -0.00018291 | 0.00072984 | 0.00018281 | 3.8203e-09 | -1.0354e-07 | 0.0011043 | 0.0011043 | 0.0011043 | 0.9834 | -0.31801 | 0.98341 | -0.3179 | 0.30339
15 | -0.0043768 | -0.0010968 | 0.0043774 | 0.0010967 | 6.4487e-07 | -8.4847e-08 | 0.0066226 | 0.0066224 | 0.0066226 | 0.98341 | -0.3179 | 0.98357 | -0.3148 | 1.8194
16 | 0.0023055 | 0.00057746 | -0.0023053 | -0.00057777 | 1.427e-07 | -3.0565e-07 | 0.0034878 | 0.0034879 | 0.0034879 | 0.98357 | -0.3148 | 0.9835 | -0.3161 | 0.95821
17 | -0.0096005 | -0.0024046 | 0.0096051 | 0.0024068 | 4.6032e-06 | 2.2071e-06 | 0.014524 | 0.014524 | 0.014524 | 0.98357 | -0.3148 | 0.98408 | -0.30474 | 3.9901
18 | 0.0029176 | 0.00073036 | -0.0029173 | -0.00073073 | 3.3768e-07 | -3.7046e-07 | 0.0044137 | 0.0044139 | 0.0044139 | 0.98357 | -0.3148 | 0.98344 | -0.31724 | 1.2126
19 | 0.10069 | 0.0254 | -0.10058 | -0.025335 | 0.0001016 | 6.4876e-05 | 0.1523 | 0.1523 | 0.1523 | 0.98408 | -0.30474 | 0.983 | -0.32584 | 41.8418
20 | -0.11029 | -0.027807 | 0.11134 | 0.028475 | 0.0010463 | 0.00066832 | 0.16683 | 0.16683 | 0.16683 | 0.98408 | -0.30474 | 0.99428 | -0.10855 | 45.8317
21 | 0.0029173 | 0.00073073 | -0.002917 | -0.00073106 | 3.0244e-07 | -3.3162e-07 | 0.0044139 | 0.0044141 | 0.0044141 | 0.98344 | -0.31724 | 0.98333 | -0.31941 | 1.2127
22 | -0.14546 | -0.037026 | 0.14578 | 0.037233 | 0.00032387 | 0.00020633 | 0.21789 | 0.21789 | 0.21789 | 0.99428 | -0.10855 | 0.9967 | -0.062477 | 29.9296
23 | -0.14578 | -0.037233 | 0.14601 | 0.037378 | 0.0002283 | 0.00014544 | 0.21789 | 0.21789 | 0.21789 | 0.9967 | -0.062477 | 0.99841 | -0.030137 | 29.9296
24 | -0.14601 | -0.037378 | 0.14616 | 0.037473 | 0.00014857 | 9.4648e-05 | 0.21789 | 0.21789 | 0.21789 | 0.99841 | -0.030137 | 0.99952 | -0.0091492 | 29.9296
25 | 0.10058 | 0.025335 | -0.10043 | -0.025234 | 0.00015814 | 0.00010098 | 0.1523 | 0.1523 | 0.1523 | 0.983 | -0.32584 | 0.98131 | -0.35877 | 41.8418
26 | 0.074738 | 0.018797 | -0.074623 | -0.018723 | 0.00011504 | 7.3323e-05 | 0.11335 | 0.11335 | 0.11335 | 0.98131 | -0.35877 | 0.97966 | -0.39105 | 31.1408
27 | 0.046934 | 0.011784 | -0.04688 | -0.011749 | 5.4783e-05 | 3.47e-05 | 0.071296 | 0.071296 | 0.071296 | 0.97966 | -0.39105 | 0.97841 | -0.41555 | 19.5869

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22602 | 0.057343

## res_load
| p_mw | q_mvar
0 | 0.0065262 | 0.0016356
1 | 0.00099539 | 0.00024947
2 | 0.029151 | 0.0073061
3 | 0.0071266 | 0.0017861
4 | 0.0092447 | 0.0023169
5 | 0.0087796 | 0.0022004
6 | 0.00072983 | 0.00018291
7 | 0.003647 | 0.00091401
8 | 0.0023053 | 0.00057777
9 | 0.034119 | 0.008551
10 | 0.012951 | 0.0032459
11 | 0.025688 | 0.006438
12 | 0.0027253 | 0.00068303
13 | 0.027688 | 0.0069394
14 | 0.04688 | 0.011749
15 | 0.002917 | 0.00073106

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1