## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2335-1_2_2_node_137 | 0.4 | n |  | TRUE
1 | bus_LV_2335-1_2_2_node_138 | 0.4 | n |  | TRUE
2 | bus_LV_2335-1_2_2_node_139 | 0.4 | n |  | TRUE
3 | bus_LV_2335-1_2_2_node_140 | 0.4 | n |  | TRUE
4 | bus_LV_2335-1_2_2_node_141 | 0.4 | n |  | TRUE
5 | bus_LV_2335-1_2_2_node_142 | 0.4 | n |  | TRUE
6 | bus_LV_2335-1_2_2_node_162 | 0.4 | n |  | TRUE
7 | bus_LV_2335-1_2_2_node_165 | 0.4 | n |  | TRUE
8 | bus_LV_2335-1_2_2_node_152 | 0.4 | n |  | TRUE
9 | bus_LV_2335-1_2_2_node_145 | 0.4 | n |  | TRUE
10 | bus_LV_2335-1_2_2_node_143 | 0.4 | n |  | TRUE
11 | bus_LV_2335-1_2_2_node_144 | 0.4 | n |  | TRUE
12 | bus_LV_2335-1_2_2_node_146 | 0.4 | n |  | TRUE
13 | bus_LV_2335-1_2_2_node_149 | 0.4 | n |  | TRUE
14 | bus_LV_2335-1_2_2_node_154 | 0.4 | n |  | TRUE
15 | bus_LV_2335-1_2_2_node_150 | 0.4 | n |  | TRUE
16 | bus_LV_2335-1_2_2_node_151 | 0.4 | n |  | TRUE
17 | bus_LV_2335-1_2_2_node_153 | 0.4 | n |  | TRUE
18 | bus_LV_2335-1_2_2_node_155 | 0.4 | n |  | TRUE
19 | bus_LV_2335-1_2_2_node_156 | 0.4 | n |  | TRUE
20 | bus_LV_2335-1_2_2_node_157 | 0.4 | n |  | TRUE
21 | bus_LV_2335-1_2_2_node_158 | 0.4 | n |  | TRUE
22 | bus_LV_2335-1_2_2_node_159 | 0.4 | n |  | TRUE
23 | bus_LV_2335-1_2_2_node_169 | 0.4 | n |  | TRUE
24 | bus_LV_2335-1_2_2_node_204 | 0.4 | n |  | TRUE
25 | bus_LV_2335-1_2_2_node_160 | 0.4 | n |  | TRUE
26 | bus_LV_2335-1_2_2_node_172 | 0.4 | n |  | TRUE
27 | bus_LV_2335-1_2_2_node_163 | 0.4 | n |  | TRUE
28 | bus_LV_2335-1_2_2_node_164 | 0.4 | n |  | TRUE
29 | bus_LV_2335-1_2_2_node_174 | 0.4 | n |  | TRUE
30 | bus_LV_2335-1_2_2_node_167 | 0.4 | n |  | TRUE
31 | bus_LV_2335-1_2_2_node_168 | 0.4 | n |  | TRUE
32 | bus_LV_2335-1_2_2_node_170 | 0.4 | n |  | TRUE
33 | bus_LV_2335-1_2_2_node_171 | 0.4 | n |  | TRUE
34 | bus_LV_2335-1_2_2_node_173 | 0.4 | n |  | TRUE
35 | bus_LV_2335-1_2_2_node_175 | 0.4 | n |  | TRUE
36 | bus_LV_2335-1_2_2_node_197 | 0.4 | n |  | TRUE
37 | bus_LV_2335-1_2_2_node_113 | 0.4 | n |  | TRUE
38 | bus_LV_2335-1_2_2_node_202 | 0.4 | n |  | TRUE
39 | bus_LV_2335-1_2_2_node_203 | 0.4 | n |  | TRUE
40 | bus_LV_2335-1_2_2_node_112 | 0.4 | n |  | TRUE
41 | bus_MV_0_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2335-1_2_2_load_137 | 0 | 0.0018377 | 0.00046057 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2335-1_2_2_load_138 | 1 | 0.0017705 | 0.00044373 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2335-1_2_2_load_140 | 3 | 0.00067006 | 0.00016793 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2335-1_2_2_load_142 | 5 | 0.0013577 | 0.00034028 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2335-1_2_2_load_162 | 6 | 0.00074251 | 0.00018609 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2335-1_2_2_load_165 | 7 | 0.0025073 | 0.0006284 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2335-1_2_2_load_152 | 8 | 0.001018 | 0.00025513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2335-1_2_2_load_145 | 9 | 0.0012154 | 0.0003046 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2335-1_2_2_load_143 | 10 | 0.0024949 | 0.00062528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2335-1_2_2_load_144 | 11 | 0.00086868 | 0.00021771 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2335-1_2_2_load_146 | 12 | 0.00083583 | 0.00020948 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2335-1_2_2_load_149 | 13 | 0.0012821 | 0.00032133 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2335-1_2_2_load_154 | 14 | 0.0025098 | 0.00062901 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2335-1_2_2_load_150 | 15 | 0.0022069 | 0.00055311 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2335-1_2_2_load_151 | 16 | 0.0052962 | 0.0013273 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2335-1_2_2_load_153 | 17 | 0.0022747 | 0.0005701 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2335-1_2_2_load_155 | 18 | 0.0025052 | 0.00062785 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2335-1_2_2_load_156 | 19 | 0.0020336 | 0.00050968 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2335-1_2_2_load_157 | 20 | 0.00019755 | 4.951e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2335-1_2_2_load_158 | 21 | 0.0017633 | 0.00044192 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2335-1_2_2_load_159 | 22 | 0.0012461 | 0.0003123 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2335-1_2_2_load_169 | 23 | 0.0026732 | 0.00066996 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2335-1_2_2_load_204 | 24 | 0.00054176 | 0.00013578 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2335-1_2_2_load_172 | 26 | 0.0012383 | 0.00031036 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2335-1_2_2_load_163 | 27 | 0.0028998 | 0.00072677 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2335-1_2_2_load_164 | 28 | 0.0011806 | 0.00029588 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2335-1_2_2_load_167 | 30 | 0.0023934 | 0.00059984 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2335-1_2_2_load_170 | 32 | 0.0017605 | 0.00044122 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2335-1_2_2_load_171 | 33 | 0.0020162 | 0.00050531 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2335-1_2_2_load_173 | 34 | 0.0010041 | 0.00025166 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2335-1_2_2_load_175 | 35 | 0.002107 | 0.00052805 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2335-1_2_2_load_197 | 36 | 0.00075529 | 0.00018929 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2335-1_2_2_load_113 | 37 | 0.0005124 | 0.00012842 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2335-1_2_2_load_203 | 39 | 0.0011722 | 0.00029377 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2335-1_2_2_line_0 |  | 0 | 1 | 0.045282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2335-1_2_2_line_1 |  | 0 | 2 | 0.022786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2335-1_2_2_line_2 |  | 1 | 3 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2335-1_2_2_line_3 |  | 2 | 4 | 0.090569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2335-1_2_2_line_4 |  | 2 | 5 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2335-1_2_2_line_5 |  | 3 | 6 | 0.023461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2335-1_2_2_line_6 |  | 4 | 7 | 0.023948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2335-1_2_2_line_7 |  | 4 | 8 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2335-1_2_2_line_8 |  | 5 | 9 | 0.013484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2335-1_2_2_line_9 |  | 6 | 27 | 0.041804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2335-1_2_2_line_10 |  | 7 | 30 | 0.0070286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2335-1_2_2_line_11 |  | 8 | 15 | 0.027723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2335-1_2_2_line_12 |  | 9 | 10 | 0.024523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2335-1_2_2_line_13 |  | 10 | 11 | 0.0030029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2335-1_2_2_line_14 |  | 11 | 12 | 0.02064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2335-1_2_2_line_15 |  | 12 | 13 | 0.006083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2335-1_2_2_line_16 |  | 13 | 14 | 0.023403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2335-1_2_2_line_17 |  | 14 | 18 | 0.00011566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2335-1_2_2_line_18 |  | 15 | 16 | 0.013102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2335-1_2_2_line_19 |  | 16 | 17 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2335-1_2_2_line_20 |  | 18 | 19 | 0.021615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2335-1_2_2_line_21 |  | 20 | 21 | 0.053012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2335-1_2_2_line_22 |  | 20 | 22 | 0.022736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2335-1_2_2_line_23 |  | 20 | 23 | 0.31425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2335-1_2_2_line_24 |  | 21 | 24 | 0.20425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2335-1_2_2_line_25 |  | 22 | 25 | 0.053645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2335-1_2_2_line_26 |  | 23 | 31 | 0.020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2335-1_2_2_line_27 |  | 24 | 38 | 0.040036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2335-1_2_2_line_28 |  | 25 | 26 | 0.056176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2335-1_2_2_line_29 |  | 26 | 34 | 0.064532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2335-1_2_2_line_30 |  | 27 | 28 | 0.026301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2335-1_2_2_line_31 |  | 28 | 29 | 0.16651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2335-1_2_2_line_32 |  | 29 | 35 | 0.05975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2335-1_2_2_line_33 |  | 30 | 31 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2335-1_2_2_line_34 |  | 31 | 32 | 0.030147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2335-1_2_2_line_35 |  | 32 | 33 | 0.0022458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2335-1_2_2_line_36 |  | 36 | 37 | 0.0073739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2335-1_2_2_line_37 |  | 37 | 40 | 0.0362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2335-1_2_2_line_38 |  | 38 | 39 | 0.061046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2335-1_2_2_line_39 |  | 39 | 40 | 0.26672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2335-1_2_2_trafo_154 | 0.63 MVA 20/0.4 kV | 41 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2556235.5182 | 1159585.3295 | 2556213.1934 | 1159566.5331 | 2556201.9335 | 1159555.0283
1 | 2556252.9484 | 1159600.005 | 2556235.5182 | 1159585.3295
2 | 2556191.9335 | 1159544.8111 | 2556201.9335 | 1159555.0283
3 | 2556252.9484 | 1159600.005 | 2556304.6895 | 1159646.0075 | 2556322.52 | 1159657.984
4 | 2556252.9484 | 1159600.005 | 2556262.8131 | 1159587.0709
5 | 2556176.4946 | 1159527.2239 | 2556181.5941 | 1159534.2469 | 2556191.9335 | 1159544.8111
6 | 2556322.52 | 1159657.984 | 2556336.294 | 1159638.3931
7 | 2556322.52 | 1159657.984 | 2556331.485 | 1159664.0018
8 | 2556270.9822 | 1159576.343 | 2556270.4099 | 1159577.1103 | 2556262.8131 | 1159587.0709
9 | 2556176.4946 | 1159527.2239 | 2556151.9323 | 1159493.3973
10 | 2556340.3365 | 1159632.6434 | 2556336.294 | 1159638.3931
11 | 2556354.5031 | 1159679.4527 | 2556331.485 | 1159664.0018
12 | 2556285.6448 | 1159556.6861 | 2556270.9822 | 1159576.343
13 | 2556285.6448 | 1159556.6861 | 2556287.4402 | 1159554.2791
14 | 2556287.4402 | 1159554.2791 | 2556299.7813 | 1159537.7344
15 | 2556303.4184 | 1159532.8585 | 2556299.7813 | 1159537.7344
16 | 2556317.4114 | 1159514.099 | 2556303.4184 | 1159532.8585
17 | 2556317.4114 | 1159514.099 | 2556317.4806 | 1159514.0063
18 | 2556354.5031 | 1159679.4527 | 2556365.3816 | 1159686.7549
19 | 2556365.3816 | 1159686.7549 | 2556369.0173 | 1159689.1953 | 2556379.7628 | 1159696.8697
20 | 2556330.4045 | 1159496.6802 | 2556317.4806 | 1159514.0063
21 | 2556646.3789 | 1159480.5246 | 2556634.8422 | 1159463.3627 | 2556626.2873 | 1159432.1823
22 | 2556646.3789 | 1159480.5246 | 2556650.9581 | 1159487.3365 | 2556660.7864 | 1159498.0352
23 | 2556365.5359 | 1159621.5188 | 2556646.3789 | 1159480.5246
24 | 2556626.2873 | 1159432.1823 | 2556795.2945 | 1159317.4855
25 | 2556697.0785 | 1159537.5408 | 2556660.7864 | 1159498.0352
26 | 2556350.0721 | 1159618.7965 | 2556361.8459 | 1159626.3259 | 2556365.5359 | 1159621.5188
27 | 2556826.3724 | 1159317.0394 | 2556825.8151 | 1159324.803 | 2556821.941 | 1159326.4651 | 2556795.2945 | 1159317.4855
28 | 2556697.0785 | 1159537.5408 | 2556713.3734 | 1159539.6465 | 2556742.9992 | 1159542.0675 | 2556753.0061 | 1159541.5276
29 | 2556753.0061 | 1159541.5276 | 2556755.6025 | 1159541.3875 | 2556779.6249 | 1159539.469 | 2556817.2176 | 1159535.2099
30 | 2556136.2864 | 1159472.2625 | 2556139.1416 | 1159475.7822 | 2556151.9323 | 1159493.3973
31 | 2556136.2864 | 1159472.2625 | 2556032.7323 | 1159341.8689
32 | 2556032.7323 | 1159341.8689 | 2556035.8235 | 1159336.9548 | 2556042.126 | 1159322.579 | 2556049.7917 | 1159311.1836 | 2556065.3735 | 1159292.2041
33 | 2556350.0721 | 1159618.7965 | 2556340.3365 | 1159632.6434
34 | 2556350.0721 | 1159618.7965 | 2556327.4505 | 1159598.8689
35 | 2556325.7654 | 1159597.3844 | 2556327.4505 | 1159598.8689
36 | 2556519.5576 | 1159165.1532 | 2556526.4881 | 1159162.6347
37 | 2556560.5117 | 1159150.2711 | 2556526.4881 | 1159162.6347
38 | 2556826.3724 | 1159317.0394 | 2556826.4157 | 1159303.8767 | 2556825.0255 | 1159293.8927 | 2556823.0453 | 1159287.1368 | 2556817.4331 | 1159280.5515 | 2556800.9163 | 1159265.796
39 | 2556560.5117 | 1159150.2711 | 2556800.9163 | 1159265.796

## bus_geodata
| x | y | coords
0 | 2556235.5182 | 1159585.3295
1 | 2556201.9335 | 1159555.0283
2 | 2556252.9484 | 1159600.005
3 | 2556191.9335 | 1159544.8111
4 | 2556322.5199 | 1159657.984
5 | 2556262.8131 | 1159587.0709
6 | 2556176.4946 | 1159527.2239
7 | 2556336.294 | 1159638.3931
8 | 2556331.485 | 1159664.0018
9 | 2556270.9822 | 1159576.343
10 | 2556285.6448 | 1159556.6861
11 | 2556287.4402 | 1159554.2791
12 | 2556299.7813 | 1159537.7344
13 | 2556303.4184 | 1159532.8585
14 | 2556317.4114 | 1159514.099
15 | 2556354.5031 | 1159679.4527
16 | 2556365.3816 | 1159686.7549
17 | 2556379.7628 | 1159696.8697
18 | 2556317.4806 | 1159514.0063
19 | 2556330.4045 | 1159496.6802
20 | 2556646.3789 | 1159480.5246
21 | 2556626.2873 | 1159432.1823
22 | 2556660.7864 | 1159498.0352
23 | 2556365.5359 | 1159621.5188
24 | 2556795.2945 | 1159317.4855
25 | 2556697.0785 | 1159537.5408
26 | 2556753.0061 | 1159541.5276
27 | 2556151.9323 | 1159493.3973
28 | 2556136.2864 | 1159472.2625
29 | 2556032.7323 | 1159341.8689
30 | 2556340.3365 | 1159632.6434
31 | 2556350.0721 | 1159618.7965
32 | 2556327.4505 | 1159598.8689
33 | 2556325.7654 | 1159597.3844
34 | 2556817.2176 | 1159535.2099
35 | 2556065.3735 | 1159292.2041
36 | 2556519.5576 | 1159165.1532
37 | 2556526.4881 | 1159162.6347
38 | 2556826.3724 | 1159317.0394
39 | 2556800.9163 | 1159265.796
40 | 2556560.5117 | 1159150.2711
41 | 2556317.4114 | 1159514.099

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99526 | -0.091051 | 0.0018377 | 0.00046057
1 | 0.99487 | -0.098529 | 0.0017705 | 0.00044373
2 | 0.99549 | -0.086553 | 0 | 0
3 | 0.99477 | -0.10045 | 0.00067006 | 0.00016793
4 | 0.99296 | -0.13546 | 0 | 0
5 | 0.99611 | -0.074588 | 0.0013577 | 0.00034028
6 | 0.99462 | -0.10331 | 0.00074251 | 0.00018609
7 | 0.99252 | -0.14385 | 0.0025073 | 0.0006284
8 | 0.99285 | -0.13752 | 0.001018 | 0.00025513
9 | 0.99664 | -0.06436 | 0.0012154 | 0.0003046
10 | 0.99764 | -0.045265 | 0.0024949 | 0.00062528
11 | 0.99777 | -0.042798 | 0.00086868 | 0.00021771
12 | 0.99867 | -0.025545 | 0.00083583 | 0.00020948
13 | 0.99893 | -0.020378 | 0.0012821 | 0.00032133
14 | 1 | 0 | -0.056345 | -0.013805
15 | 0.9926 | -0.14231 | 0.0022069 | 0.00055311
16 | 0.99251 | -0.14407 | 0.0052962 | 0.0013273
17 | 0.99248 | -0.14478 | 0.0022747 | 0.0005701
18 | 1 | -9.1512e-06 | 0.0025052 | 0.00062785
19 | 0.99996 | -0.00077548 | 0.0020336 | 0.00050968
20 | 0.98955 | -0.20166 | 0.00019755 | 4.951e-05
21 | 0.98932 | -0.20615 | 0.0017633 | 0.00044192
22 | 0.98948 | -0.20307 | 0.0012461 | 0.0003123
23 | 0.99198 | -0.15442 | 0.0026732 | 0.00066996
24 | 0.98876 | -0.21707 | 0.00054176 | 0.00013578
25 | 0.98937 | -0.20522 | 0 | 0
26 | 0.98925 | -0.20746 | 0.0012383 | 0.00031036
27 | 0.99439 | -0.10788 | 0.0028998 | 0.00072677
28 | 0.99431 | -0.10941 | 0.0011806 | 0.00029588
29 | 0.99399 | -0.11561 | 0 | 0
30 | 0.99241 | -0.14601 | 0.0023934 | 0.00059984
31 | 0.99218 | -0.15048 | 0 | 0
32 | 0.99208 | -0.15249 | 0.0017605 | 0.00044122
33 | 0.99208 | -0.15257 | 0.0020162 | 0.00050531
34 | 0.9892 | -0.20862 | 0.0010041 | 0.00025166
35 | 0.99387 | -0.11783 | 0.002107 | 0.00052805
36 | 0.98818 | -0.22846 | 0.00075529 | 0.00018929
37 | 0.98819 | -0.22836 | 0.0005124 | 0.00012842
38 | 0.98868 | -0.21882 | 0 | 0
39 | 0.98854 | -0.22149 | 0.0011722 | 0.00029377
40 | 0.98823 | -0.22755 | 0 | 0
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0093778 | 0.0023483 | -0.0093745 | -0.0023467 | 3.3378e-06 | 1.548e-06 | 0.01402 | 0.01402 | 0.01402 | 0.99526 | -0.091051 | 0.99487 | -0.098529 | 3.8517
1 | -0.011215 | -0.0028089 | 0.011218 | 0.0028101 | 2.4023e-06 | 1.2413e-06 | 0.016768 | 0.016768 | 0.016768 | 0.99526 | -0.091051 | 0.99549 | -0.086553 | 4.6065
2 | 0.007604 | 0.001903 | -0.0076033 | -0.0019028 | 6.9335e-07 | 2.5812e-07 | 0.011372 | 0.011372 | 0.011372 | 0.99487 | -0.098529 | 0.99477 | -0.10045 | 3.1243
3 | 0.030691 | 0.0077179 | -0.03062 | -0.0076733 | 7.1509e-05 | 4.4591e-05 | 0.045885 | 0.045886 | 0.045886 | 0.99549 | -0.086553 | 0.99296 | -0.13546 | 12.606
4 | -0.041909 | -0.010528 | 0.041933 | 0.010543 | 2.3945e-05 | 1.5113e-05 | 0.062653 | 0.062653 | 0.062653 | 0.99549 | -0.086553 | 0.99611 | -0.074588 | 17.2123
5 | 0.0069332 | 0.0017348 | -0.0069323 | -0.0017345 | 9.461e-07 | 3.0097e-07 | 0.01037 | 0.01037 | 0.01037 | 0.99477 | -0.10045 | 0.99462 | -0.10331 | 2.8489
6 | 0.01982 | 0.0049659 | -0.019812 | -0.0049612 | 7.9224e-06 | 4.7607e-06 | 0.029701 | 0.029701 | 0.029701 | 0.99296 | -0.13546 | 0.99252 | -0.14385 | 8.1597
7 | 0.0108 | 0.0027073 | -0.010799 | -0.0027068 | 1.0606e-06 | 5.3914e-07 | 0.016184 | 0.016185 | 0.016185 | 0.99296 | -0.13546 | 0.99285 | -0.13752 | 4.4463
8 | -0.043291 | -0.010883 | 0.043312 | 0.010897 | 2.1155e-05 | 1.3363e-05 | 0.064681 | 0.064681 | 0.064681 | 0.99611 | -0.074588 | 0.99664 | -0.06436 | 17.7695
9 | 0.0061898 | 0.0015484 | -0.0061884 | -0.0015481 | 1.344e-06 | 3.1775e-07 | 0.0092593 | 0.0092594 | 0.0092594 | 0.99462 | -0.10331 | 0.99439 | -0.10788 | 2.5438
10 | 0.017305 | 0.0043328 | -0.017303 | -0.0043317 | 1.7738e-06 | 1.0444e-06 | 0.025942 | 0.025942 | 0.025942 | 0.99252 | -0.14385 | 0.99241 | -0.14601 | 7.127
11 | 0.0097808 | 0.0024517 | -0.0097785 | -0.0024506 | 2.234e-06 | 1.0713e-06 | 0.014659 | 0.014659 | 0.014659 | 0.99285 | -0.13752 | 0.9926 | -0.14231 | 4.0272
12 | -0.044527 | -0.011201 | 0.044568 | 0.011227 | 4.0662e-05 | 2.5704e-05 | 0.066495 | 0.066495 | 0.066495 | 0.99664 | -0.06436 | 0.99764 | -0.045265 | 18.268
13 | -0.047063 | -0.011852 | 0.047069 | 0.011856 | 5.552e-06 | 3.514e-06 | 0.070217 | 0.070217 | 0.070217 | 0.99764 | -0.045265 | 0.99777 | -0.042798 | 19.2903
14 | -0.047937 | -0.012074 | 0.047977 | 0.012099 | 3.9583e-05 | 2.5063e-05 | 0.071512 | 0.071512 | 0.071512 | 0.99777 | -0.042798 | 0.99867 | -0.025545 | 19.6462
15 | -0.048813 | -0.012308 | 0.048825 | 0.012316 | 1.2075e-05 | 7.6487e-06 | 0.072757 | 0.072757 | 0.072757 | 0.99867 | -0.025545 | 0.99893 | -0.020378 | 19.9883
16 | -0.050107 | -0.012637 | 0.050156 | 0.012668 | 4.893e-05 | 3.1008e-05 | 0.074667 | 0.074667 | 0.074667 | 0.99893 | -0.020378 | 1 | 0 | 20.513
17 | 0.0045389 | 0.0011373 | -0.0045389 | -0.0011373 | 1.9784e-09 | -2.5085e-10 | 0.0067538 | 0.0067538 | 0.0067538 | 1 | 0 | 1 | -9.1512e-06 | 1.8554
18 | 0.0075716 | 0.0018975 | -0.007571 | -0.0018973 | 6.3301e-07 | 2.3578e-07 | 0.011351 | 0.011351 | 0.011351 | 0.9926 | -0.14231 | 0.99251 | -0.14407 | 3.1183
19 | 0.0022748 | 0.00056992 | -0.0022747 | -0.0005701 | 7.6693e-08 | -1.7815e-07 | 0.0034104 | 0.0034105 | 0.0034105 | 0.99251 | -0.14407 | 0.99248 | -0.14478 | 0.93694
20 | 0.0020337 | 0.00050944 | -0.0020336 | -0.00050968 | 7.4229e-08 | -2.3606e-07 | 0.0030261 | 0.0030262 | 0.0030262 | 1 | -9.1512e-06 | 0.99996 | -0.00077548 | 0.83138
21 | 0.0047484 | 0.0011828 | -0.0047474 | -0.0011829 | 1.0128e-06 | -3.2658e-08 | 0.0071377 | 0.0071379 | 0.0071379 | 0.98955 | -0.20166 | 0.98932 | -0.20615 | 1.961
22 | 0.0034893 | 0.00087226 | -0.0034891 | -0.00087241 | 2.3466e-07 | -1.4188e-07 | 0.0052462 | 0.0052463 | 0.0052463 | 0.98955 | -0.20166 | 0.98948 | -0.20307 | 1.4413
23 | -0.0084352 | -0.0021046 | 0.0084542 | 0.0021127 | 1.8948e-05 | 8.0796e-06 | 0.012681 | 0.012679 | 0.012681 | 0.98955 | -0.20166 | 0.99198 | -0.15442 | 3.4838
24 | 0.0029841 | 0.00074094 | -0.0029825 | -0.00074258 | 1.5416e-06 | -1.6346e-06 | 0.0044858 | 0.0044867 | 0.0044867 | 0.98932 | -0.20615 | 0.98876 | -0.21707 | 1.2326
25 | 0.002243 | 0.00056011 | -0.0022428 | -0.00056065 | 2.288e-07 | -5.4255e-07 | 0.0033724 | 0.0033726 | 0.0033726 | 0.98948 | -0.20307 | 0.98937 | -0.20522 | 0.92654
26 | -0.011127 | -0.0027826 | 0.011129 | 0.0027837 | 2.0892e-06 | 1.0788e-06 | 0.016689 | 0.016689 | 0.016689 | 0.99198 | -0.15442 | 0.99218 | -0.15048 | 4.585
27 | 0.0024408 | 0.0006068 | -0.0024406 | -0.00060718 | 2.0238e-07 | -3.8394e-07 | 0.0036714 | 0.0036716 | 0.0036716 | 0.98876 | -0.21707 | 0.98868 | -0.21882 | 1.0087
28 | 0.0022428 | 0.00056065 | -0.0022425 | -0.00056122 | 2.3963e-07 | -5.6796e-07 | 0.0033726 | 0.0033729 | 0.0033729 | 0.98937 | -0.20522 | 0.98925 | -0.20746 | 0.92661
29 | 0.0010042 | 0.00025086 | -0.0010041 | -0.00025166 | 5.5201e-08 | -7.9314e-07 | 0.0015102 | 0.0015105 | 0.0015105 | 0.98925 | -0.20746 | 0.9892 | -0.20862 | 0.41497
30 | 0.0032886 | 0.00082135 | -0.0032884 | -0.00082154 | 2.3876e-07 | -1.8836e-07 | 0.0049201 | 0.0049202 | 0.0049202 | 0.99439 | -0.10788 | 0.99431 | -0.10941 | 1.3517
31 | 0.0021078 | 0.00052566 | -0.0021072 | -0.00052742 | 6.2109e-07 | -1.7615e-06 | 0.0031535 | 0.0031542 | 0.0031542 | 0.99431 | -0.10941 | 0.99399 | -0.11561 | 0.86655
32 | 0.0021072 | 0.00052742 | -0.002107 | -0.00052805 | 2.2294e-07 | -6.3171e-07 | 0.0031542 | 0.0031545 | 0.0031545 | 0.99399 | -0.11561 | 0.99387 | -0.11783 | 0.86662
33 | 0.01491 | 0.0037319 | -0.014906 | -0.0037301 | 3.1718e-06 | 1.8113e-06 | 0.022354 | 0.022354 | 0.022354 | 0.99241 | -0.14601 | 0.99218 | -0.15048 | 6.1411
34 | 0.0037771 | 0.00094635 | -0.0037767 | -0.0009465 | 3.6275e-07 | -1.5715e-07 | 0.0056645 | 0.0056647 | 0.0056647 | 0.99218 | -0.15048 | 0.99208 | -0.15249 | 1.5562
35 | 0.0020162 | 0.00050528 | -0.0020162 | -0.00050531 | 7.7018e-09 | -2.4069e-08 | 0.0030241 | 0.0030241 | 0.0030241 | 0.99208 | -0.15249 | 0.99208 | -0.15257 | 0.8308
36 | -0.00075529 | -0.00018929 | 0.00075529 | 0.0001892 | 3.5767e-09 | -9.2178e-08 | 0.0011373 | 0.0011373 | 0.0011373 | 0.98818 | -0.22846 | 0.98819 | -0.22836 | 0.31245
37 | -0.0012677 | -0.00031762 | 0.0012677 | 0.00031719 | 4.946e-08 | -4.3213e-07 | 0.0019089 | 0.0019087 | 0.0019089 | 0.98819 | -0.22836 | 0.98823 | -0.22755 | 0.52441
38 | 0.0024406 | 0.00060718 | -0.0024403 | -0.00060777 | 3.0863e-07 | -5.8521e-07 | 0.0036716 | 0.0036719 | 0.0036719 | 0.98868 | -0.21882 | 0.98854 | -0.22149 | 1.0088
39 | 0.0012681 | 0.000314 | -0.0012677 | -0.00031719 | 3.6416e-07 | -3.1853e-06 | 0.0019075 | 0.0019087 | 0.0019087 | 0.98854 | -0.22149 | 0.98823 | -0.22755 | 0.52437

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.058854 | 0.014434

## res_load
| p_mw | q_mvar
0 | 0.0018377 | 0.00046057
1 | 0.0017705 | 0.00044373
2 | 0.00067006 | 0.00016793
3 | 0.0013577 | 0.00034028
4 | 0.00074251 | 0.00018609
5 | 0.0025073 | 0.0006284
6 | 0.001018 | 0.00025513
7 | 0.0012154 | 0.0003046
8 | 0.0024949 | 0.00062528
9 | 0.00086868 | 0.00021771
10 | 0.00083583 | 0.00020948
11 | 0.0012821 | 0.00032133
12 | 0.0025098 | 0.00062901
13 | 0.0022069 | 0.00055311
14 | 0.0052962 | 0.0013273
15 | 0.0022747 | 0.0005701
16 | 0.0025052 | 0.00062785
17 | 0.0020336 | 0.00050968
18 | 0.00019755 | 4.951e-05
19 | 0.0017633 | 0.00044192
20 | 0.0012461 | 0.0003123
21 | 0.0026732 | 0.00066996
22 | 0.00054176 | 0.00013578
23 | 0.0012383 | 0.00031036
24 | 0.0028998 | 0.00072677
25 | 0.0011806 | 0.00029588
26 | 0.0023934 | 0.00059984
27 | 0.0017605 | 0.00044122
28 | 0.0020162 | 0.00050531
29 | 0.0010041 | 0.00025166
30 | 0.002107 | 0.00052805
31 | 0.00075529 | 0.00018929
32 | 0.0005124 | 0.00012842
33 | 0.0011722 | 0.00029377

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1