## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2338-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2338-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2338-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2338-2_0_2_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_2338-2_0_2_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_2338-2_0_2_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_2338-2_0_2_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_2338-2_0_2_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_2338-2_0_2_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_2338-2_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_2338-2_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2338-2_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2338-2_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2338-2_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2338-2_0_2_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_2338-2_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2338-2_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2338-2_0_2_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_2338-2_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2338-2_0_2_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_2338-2_0_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_2338-2_0_2_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2338-2_0_2_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2338-2_0_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_2338-2_0_2_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_2338-2_0_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_2338-2_0_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_2338-2_0_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_2338-2_0_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2338-2_0_2_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_2338-2_0_2_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2338-2_0_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_2338-2_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2338-2_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2338-2_0_2_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_2338-2_0_2_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_2338-2_0_2_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_2338-2_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2338-2_0_2_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2338-2_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_2338-2_0_2_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_2338-2_0_2_node_15 | 0.4 | n |  | TRUE
42 | bus_LV_2338-2_0_2_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_2338-2_0_2_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_2338-2_0_2_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2338-2_0_2_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_2338-2_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_2338-2_0_2_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_2338-2_0_2_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_2338-2_0_2_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_2338-2_0_2_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_2338-2_0_2_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_2338-2_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2338-2_0_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2338-2_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_2338-2_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_2338-2_0_2_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2338-2_0_2_node_54 | 0.4 | n |  | TRUE
58 | bus_MV_37_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2338-2_0_2_load_0 | 0 | 0.0049317 | 0.001236 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2338-2_0_2_load_1 | 1 | 0.00046012 | 0.00011532 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2338-2_0_2_load_32 | 4 | 0.00035206 | 8.8234e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2338-2_0_2_load_50 | 5 | 0.00093748 | 0.00023496 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2338-2_0_2_load_21 | 6 | 0.0012334 | 0.00030912 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2338-2_0_2_load_57 | 7 | 0.0012575 | 0.00031516 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2338-2_0_2_load_3 | 8 | 0.0025007 | 0.00062674 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2338-2_0_2_load_4 | 9 | 0.0021708 | 0.00054406 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2338-2_0_2_load_6 | 11 | 0.0017381 | 0.00043561 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2338-2_0_2_load_7 | 12 | 0.00052968 | 0.00013275 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2338-2_0_2_load_8 | 13 | 0.0015609 | 0.00039121 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2338-2_0_2_load_35 | 14 | 0.0011138 | 0.00027913 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2338-2_0_2_load_9 | 15 | 0.0013037 | 0.00032673 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2338-2_0_2_load_10 | 16 | 0.0011977 | 0.00030018 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2338-2_0_2_load_44 | 17 | 0.0016858 | 0.00042249 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2338-2_0_2_load_11 | 18 | 0.00028686 | 7.1894e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2338-2_0_2_load_27 | 19 | 0.0024127 | 0.00060467 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2338-2_0_2_load_28 | 20 | 0.0037533 | 0.00094065 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2338-2_0_2_load_30 | 22 | 0.00059028 | 0.00014794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2338-2_0_2_load_31 | 23 | 0.00085614 | 0.00021457 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2338-2_0_2_load_37 | 24 | 0.002138 | 0.00053584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2338-2_0_2_load_38 | 25 | 0.0038062 | 0.00095393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2338-2_0_2_load_39 | 26 | 0.00058689 | 0.00014709 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2338-2_0_2_load_40 | 27 | 0.0055702 | 0.001396 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2338-2_0_2_load_41 | 28 | 0.0018511 | 0.00046394 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2338-2_0_2_load_43 | 29 | 0.0036843 | 0.00092336 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2338-2_0_2_load_42 | 31 | 0.0036269 | 0.00090899 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2338-2_0_2_load_25 | 32 | 0.001373 | 0.00034411 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2338-2_0_2_load_12 | 34 | 0.0064958 | 0.001628 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2338-2_0_2_load_13 | 35 | 0.00035193 | 8.8202e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2338-2_0_2_load_14 | 36 | 0.00045173 | 0.00011321 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2338-2_0_2_load_23 | 37 | 0.0018682 | 0.00046822 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2338-2_0_2_load_20 | 38 | 0.010587 | 0.0026535 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2338-2_0_2_load_19 | 39 | 0.0051107 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2338-2_0_2_load_18 | 40 | 0.00096669 | 0.00024228 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2338-2_0_2_load_15 | 41 | 0.0013633 | 0.00034168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2338-2_0_2_load_16 | 42 | 0.00032752 | 8.2085e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2338-2_0_2_load_59 | 43 | 0.0043544 | 0.0010913 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2338-2_0_2_load_33 | 44 | 0.002459 | 0.00061627 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2338-2_0_2_load_49 | 45 | 0.0011308 | 0.00028341 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2338-2_0_2_load_45 | 46 | 0.00089386 | 0.00022402 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2338-2_0_2_load_58 | 47 | 0.0011507 | 0.00028839 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2338-2_0_2_load_55 | 49 | 0.0015534 | 0.00038931 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2338-2_0_2_load_56 | 50 | 0.0052852 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2338-2_0_2_load_34 | 51 | 0.0023154 | 0.0005803 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2338-2_0_2_load_47 | 52 | 0.0016684 | 0.00041813 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2338-2_0_2_load_48 | 53 | 0.0034132 | 0.00085543 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2338-2_0_2_load_51 | 54 | 0.003389 | 0.00084936 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2338-2_0_2_load_52 | 55 | 0.0035331 | 0.00088547 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2338-2_0_2_load_53 | 56 | 0.0033603 | 0.00084216 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2338-2_0_2_load_54 | 57 | 0.0029657 | 0.00074329 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2338-2_0_2_line_0 |  | 0 | 1 | 0.0045668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2338-2_0_2_line_1 |  | 1 | 2 | 0.024751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2338-2_0_2_line_2 |  | 2 | 3 | 0.033511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2338-2_0_2_line_3 |  | 2 | 4 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2338-2_0_2_line_4 |  | 3 | 5 | 0.0065635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2338-2_0_2_line_5 |  | 3 | 6 | 0.010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2338-2_0_2_line_6 |  | 4 | 7 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2338-2_0_2_line_7 |  | 5 | 11 | 0.017622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2338-2_0_2_line_8 |  | 6 | 39 | 0.12604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2338-2_0_2_line_9 |  | 7 | 50 | 0.025645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2338-2_0_2_line_10 |  | 8 | 9 | 0.031053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2338-2_0_2_line_11 |  | 8 | 10 | 0.02517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2338-2_0_2_line_12 |  | 9 | 11 | 0.025603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2338-2_0_2_line_13 |  | 10 | 12 | 0.027855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2338-2_0_2_line_14 |  | 10 | 13 | 0.010263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2338-2_0_2_line_15 |  | 13 | 14 | 0.039384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2338-2_0_2_line_16 |  | 15 | 16 | 0.026428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2338-2_0_2_line_17 |  | 15 | 17 | 0.081352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2338-2_0_2_line_18 |  | 16 | 18 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2338-2_0_2_line_19 |  | 17 | 31 | 0.031944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2338-2_0_2_line_20 |  | 18 | 32 | 0.0087489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2338-2_0_2_line_21 |  | 19 | 20 | 0.029219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2338-2_0_2_line_22 |  | 19 | 21 | 0.016705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2338-2_0_2_line_23 |  | 20 | 22 | 0.0091183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2338-2_0_2_line_24 |  | 21 | 49 | 0.12861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2338-2_0_2_line_25 |  | 21 | 23 | 0.019979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2338-2_0_2_line_26 |  | 24 | 25 | 0.018363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2338-2_0_2_line_27 |  | 24 | 26 | 0.004134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2338-2_0_2_line_28 |  | 25 | 27 | 0.014257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2338-2_0_2_line_29 |  | 26 | 28 | 0.015827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2338-2_0_2_line_30 |  | 27 | 29 | 0.0021414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2338-2_0_2_line_31 |  | 28 | 30 | 0.045254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2338-2_0_2_line_32 |  | 29 | 31 | 0.030143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2338-2_0_2_line_33 |  | 30 | 49 | 0.030127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2338-2_0_2_line_34 |  | 30 | 51 | 0.021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2338-2_0_2_line_35 |  | 32 | 33 | 0.0021928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2338-2_0_2_line_36 |  | 33 | 45 | 0.020933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2338-2_0_2_line_37 |  | 33 | 46 | 0.024549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2338-2_0_2_line_38 |  | 34 | 35 | 0.013726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2338-2_0_2_line_39 |  | 34 | 36 | 0.017436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2338-2_0_2_line_40 |  | 35 | 37 | 0.039445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2338-2_0_2_line_41 |  | 36 | 38 | 0.11193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2338-2_0_2_line_42 |  | 38 | 39 | 0.01056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2338-2_0_2_line_43 |  | 38 | 40 | 0.085935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2338-2_0_2_line_44 |  | 40 | 42 | 0.02962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2338-2_0_2_line_45 |  | 41 | 42 | 0.016168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2338-2_0_2_line_46 |  | 43 | 44 | 0.3869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2338-2_0_2_line_47 |  | 44 | 51 | 0.053799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2338-2_0_2_line_48 |  | 45 | 47 | 0.010123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2338-2_0_2_line_49 |  | 46 | 48 | 0.031023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2338-2_0_2_line_50 |  | 48 | 52 | 0.013119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2338-2_0_2_line_51 |  | 48 | 53 | 0.038098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2338-2_0_2_line_52 |  | 50 | 53 | 0.00099329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2338-2_0_2_line_53 |  | 52 | 54 | 0.036992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2338-2_0_2_line_54 |  | 54 | 55 | 0.0034466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2338-2_0_2_line_55 |  | 55 | 56 | 0.018504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2338-2_0_2_line_56 |  | 56 | 57 | 0.0022564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2338-2_0_2_trafo_7 | 0.63 MVA 20/0.4 kV | 58 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2559519.5166 | 1159229.0231 | 2559518.6879 | 1159229.9983 | 2559516.7803 | 1159232.6751
1 | 2559502.4161 | 1159252.831 | 2559516.7803 | 1159232.6751
2 | 2559502.4161 | 1159252.831 | 2559474.1477 | 1159270.9534
3 | 2559502.4161 | 1159252.831 | 2559518.3852 | 1159247.6094 | 2559522.9869 | 1159248.1413
4 | 2559474.1477 | 1159270.9534 | 2559479.3478 | 1159274.9582
5 | 2559474.1477 | 1159270.9534 | 2559466.0574 | 1159263.7038
6 | 2559522.9869 | 1159248.1413 | 2559534.4711 | 1159249.4686 | 2559537.0017 | 1159250.4659
7 | 2559479.3478 | 1159274.9582 | 2559482.862 | 1159277.6646 | 2559490.609 | 1159288.335
8 | 2559466.0574 | 1159263.7038 | 2559368.9823 | 1159183.3192
9 | 2559537.0017 | 1159250.4659 | 2559560.8609 | 1159259.8693
10 | 2559523.8953 | 1159334.1822 | 2559505.6513 | 1159309.0536
11 | 2559538.6828 | 1159354.5499 | 2559523.8953 | 1159334.1822
12 | 2559490.609 | 1159288.335 | 2559505.6513 | 1159309.0536
13 | 2559538.6828 | 1159354.5499 | 2559546.8024 | 1159340.1544 | 2559554.8192 | 1159332.1185
14 | 2559538.6828 | 1159354.5499 | 2559544.7136 | 1159362.8545
15 | 2559567.8561 | 1159394.7223 | 2559544.7136 | 1159362.8545
16 | 2559618.0031 | 1159365.2789 | 2559624.4482 | 1159359.7083 | 2559626.0543 | 1159355.7732 | 2559626.0723 | 1159348.2025 | 2559625.0814 | 1159342.195 | 2559625.0814 | 1159342.195
17 | 2559618.0031 | 1159365.2789 | 2559692.1 | 1159398.8626
18 | 2559625.0814 | 1159342.195 | 2559622.7966 | 1159335.2512 | 2559617.4179 | 1159328.4288
19 | 2559692.1 | 1159398.8626 | 2559710.6086 | 1159424.8984
20 | 2559612.0013 | 1159321.5582 | 2559617.4179 | 1159328.4288
21 | 2559769.1149 | 1159653.6437 | 2559769.1149 | 1159653.6437 | 2559778.5249 | 1159665.9426 | 2559789.7249 | 1159657.9959
22 | 2559753.3873 | 1159653.6047 | 2559762.0152 | 1159650.99 | 2559765.6756 | 1159651.6658 | 2559769.1149 | 1159653.6437
23 | 2559789.7249 | 1159657.9959 | 2559797.1615 | 1159652.7194
24 | 2559685.8158 | 1159544.1765 | 2559753.3873 | 1159653.6047
25 | 2559753.3873 | 1159653.6047 | 2559763.86 | 1159670.6192
26 | 2559721.5385 | 1159479.0391 | 2559729.2133 | 1159473.1628 | 2559732.7393 | 1159465.2128 | 2559732.7393 | 1159465.2128
27 | 2559721.5385 | 1159479.0391 | 2559718.2562 | 1159481.5523
28 | 2559732.7393 | 1159465.2128 | 2559730.9697 | 1159456.2201 | 2559728.2944 | 1159451.8882
29 | 2559718.2562 | 1159481.5523 | 2559705.6897 | 1159491.174
30 | 2559727.1693 | 1159450.0662 | 2559728.2944 | 1159451.8882
31 | 2559669.7582 | 1159518.6855 | 2559705.6897 | 1159491.174
32 | 2559710.6086 | 1159424.8984 | 2559718.3622 | 1159435.8053 | 2559727.1693 | 1159450.0662
33 | 2559669.7582 | 1159518.6855 | 2559685.8158 | 1159544.1765
34 | 2559669.7582 | 1159518.6855 | 2559658.3866 | 1159500.642
35 | 2559610.6437 | 1159319.8362 | 2559612.0013 | 1159321.5582
36 | 2559610.6437 | 1159319.8362 | 2559608.4981 | 1159326.7542 | 2559604.8138 | 1159333.9493 | 2559601.4124 | 1159338.4063
37 | 2559610.6437 | 1159319.8362 | 2559610.0716 | 1159319.1063 | 2559594.366 | 1159301.4616
38 | 2559289.64 | 1159270.1148 | 2559279.3931 | 1159260.9815
39 | 2559274.9192 | 1159247.8728 | 2559271.6029 | 1159254.038 | 2559279.3931 | 1159260.9815
40 | 2559289.64 | 1159270.1148 | 2559270.8047 | 1159304.7723
41 | 2559361.035 | 1159176.3651 | 2559274.9192 | 1159247.8728
42 | 2559361.035 | 1159176.3651 | 2559368.9823 | 1159183.3192
43 | 2559298.5188 | 1159117.4036 | 2559361.035 | 1159176.3651
44 | 2559275.8071 | 1159098.3891 | 2559298.5188 | 1159117.4036
45 | 2559275.8071 | 1159098.3891 | 2559263.4099 | 1159088.0101
46 | 2559623.2902 | 1159459.8832 | 2559336.6853 | 1159719.7924
47 | 2559623.2902 | 1159459.8832 | 2559657.8352 | 1159499.767 | 2559658.3866 | 1159500.642
48 | 2559595.271 | 1159346.4534 | 2559601.4124 | 1159338.4063
49 | 2559597.2295 | 1159274.203 | 2559592.6027 | 1159282.5829 | 2559590.0479 | 1159286.7911 | 2559589.1217 | 1159290.3881 | 2559589.0836 | 1159293.8346 | 2559590.8715 | 1159297.5356 | 2559594.366 | 1159301.4616
50 | 2559597.2295 | 1159274.203 | 2559610.1638 | 1159272.0094
51 | 2559597.2295 | 1159274.203 | 2559561.785 | 1159260.2336
52 | 2559560.8609 | 1159259.8693 | 2559561.785 | 1159260.2336
53 | 2559610.1638 | 1159272.0094 | 2559619.9606 | 1159270.348 | 2559644.6929 | 1159259.3801
54 | 2559647.8436 | 1159257.9829 | 2559644.6929 | 1159259.3801
55 | 2559664.7593 | 1159250.4813 | 2559647.8436 | 1159257.9829
56 | 2559666.822 | 1159249.5666 | 2559664.7593 | 1159250.4813

## bus_geodata
| x | y | coords
0 | 2559519.5166 | 1159229.0231
1 | 2559516.7803 | 1159232.6751
2 | 2559502.4161 | 1159252.831
3 | 2559474.1477 | 1159270.9534
4 | 2559522.9869 | 1159248.1413
5 | 2559479.3478 | 1159274.9582
6 | 2559466.0574 | 1159263.7038
7 | 2559537.0017 | 1159250.4659
8 | 2559523.8953 | 1159334.1822
9 | 2559505.6513 | 1159309.0536
10 | 2559538.6828 | 1159354.5499
11 | 2559490.609 | 1159288.335
12 | 2559554.8192 | 1159332.1185
13 | 2559544.7136 | 1159362.8545
14 | 2559567.8561 | 1159394.7223
15 | 2559618.0031 | 1159365.2789
16 | 2559625.0814 | 1159342.195
17 | 2559692.1 | 1159398.8626
18 | 2559617.4179 | 1159328.4288
19 | 2559769.1149 | 1159653.6437
20 | 2559789.7249 | 1159657.9959
21 | 2559753.3873 | 1159653.6047
22 | 2559797.1615 | 1159652.7194
23 | 2559763.86 | 1159670.6192
24 | 2559721.5385 | 1159479.0391
25 | 2559732.7393 | 1159465.2128
26 | 2559718.2562 | 1159481.5523
27 | 2559728.2944 | 1159451.8882
28 | 2559705.6897 | 1159491.174
29 | 2559727.1693 | 1159450.0662
30 | 2559669.7582 | 1159518.6855
31 | 2559710.6086 | 1159424.8984
32 | 2559612.0013 | 1159321.5582
33 | 2559610.6437 | 1159319.8362
34 | 2559279.3931 | 1159260.9815
35 | 2559289.64 | 1159270.1148
36 | 2559274.9192 | 1159247.8728
37 | 2559270.8047 | 1159304.7723
38 | 2559361.035 | 1159176.3651
39 | 2559368.9823 | 1159183.3192
40 | 2559298.5188 | 1159117.4036
41 | 2559263.4099 | 1159088.0101
42 | 2559275.8071 | 1159098.3891
43 | 2559336.6853 | 1159719.7924
44 | 2559623.2902 | 1159459.8832
45 | 2559601.4124 | 1159338.4063
46 | 2559594.366 | 1159301.4616
47 | 2559595.271 | 1159346.4534
48 | 2559597.2295 | 1159274.2029
49 | 2559685.8158 | 1159544.1765
50 | 2559560.8609 | 1159259.8693
51 | 2559658.3866 | 1159500.642
52 | 2559610.1638 | 1159272.0094
53 | 2559561.785 | 1159260.2336
54 | 2559644.6929 | 1159259.3801
55 | 2559647.8436 | 1159257.9829
56 | 2559664.7593 | 1159250.4813
57 | 2559666.822 | 1159249.5666
58 | 2559538.6828 | 1159354.5499

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99039 | -0.18286 | 0.0049317 | 0.001236
1 | 0.99041 | -0.18246 | 0.00046012 | 0.00011532
2 | 0.99053 | -0.18009 | 0 | 0
3 | 0.993 | -0.13304 | 0 | 0
4 | 0.98906 | -0.20825 | 0.00035206 | 8.8234e-05
5 | 0.99332 | -0.12678 | 0.00093748 | 0.00023496
6 | 0.99271 | -0.13857 | 0.0012334 | 0.00030912
7 | 0.98809 | -0.22697 | 0.0012575 | 0.00031516
8 | 0.99714 | -0.054114 | 0.0025007 | 0.00062674
9 | 0.99552 | -0.084882 | 0.0021708 | 0.00054406
10 | 0.99848 | -0.028698 | 0 | 0
11 | 0.99421 | -0.10983 | 0.0017381 | 0.00043561
12 | 1 | 0 | -0.12154 | -0.030768
13 | 0.99846 | -0.029178 | 0.0015609 | 0.00039121
14 | 0.99842 | -0.029946 | 0.0011138 | 0.00027913
15 | 0.97941 | -0.395 | 0.0013037 | 0.00032673
16 | 0.98046 | -0.37458 | 0.0011977 | 0.00030018
17 | 0.97629 | -0.4562 | 0.0016858 | 0.00042249
18 | 0.98111 | -0.36189 | 0.00028686 | 7.1894e-05
19 | 0.97086 | -0.56325 | 0.0024127 | 0.00060467
20 | 0.97074 | -0.5656 | 0.0037533 | 0.00094065
21 | 0.97096 | -0.56116 | 0 | 0
22 | 0.97073 | -0.5657 | 0.00059028 | 0.00014794
23 | 0.97095 | -0.56148 | 0.00085614 | 0.00021457
24 | 0.97329 | -0.51524 | 0.002138 | 0.00053584
25 | 0.97368 | -0.50751 | 0.0038062 | 0.00095393
26 | 0.97321 | -0.51682 | 0.00058689 | 0.00014709
27 | 0.97403 | -0.50051 | 0.0055702 | 0.001396
28 | 0.97291 | -0.5227 | 0.0018511 | 0.00046394
29 | 0.9741 | -0.49924 | 0.0036843 | 0.00092336
30 | 0.97214 | -0.53797 | 0 | 0
31 | 0.97511 | -0.47935 | 0.0036269 | 0.00090899
32 | 0.98147 | -0.35491 | 0.001373 | 0.00034411
33 | 0.98157 | -0.35311 | 0 | 0
34 | 0.98823 | -0.22537 | 0.0064958 | 0.001628
35 | 0.9882 | -0.22592 | 0.00035193 | 8.8202e-05
36 | 0.98837 | -0.22266 | 0.00045173 | 0.00011321
37 | 0.98814 | -0.22723 | 0.0018682 | 0.00046822
38 | 0.98931 | -0.20436 | 0.010587 | 0.0026535
39 | 0.98953 | -0.20015 | 0.0051107 | 0.0012809
40 | 0.9891 | -0.20843 | 0.00096669 | 0.00024228
41 | 0.98904 | -0.20972 | 0.0013633 | 0.00034168
42 | 0.98906 | -0.20933 | 0.00032752 | 8.2085e-05
43 | 0.97004 | -0.57955 | 0.0043544 | 0.0010913
44 | 0.97161 | -0.54835 | 0.002459 | 0.00061627
45 | 0.98152 | -0.35397 | 0.0011308 | 0.00028341
46 | 0.98266 | -0.33194 | 0.00089386 | 0.00022402
47 | 0.98151 | -0.35418 | 0.0011507 | 0.00028839
48 | 0.98406 | -0.30475 | 0 | 0
49 | 0.97188 | -0.54307 | 0.0015534 | 0.00038931
50 | 0.98637 | -0.2601 | 0.0052852 | 0.0013246
51 | 0.97195 | -0.54157 | 0.0023154 | 0.0005803
52 | 0.98388 | -0.30828 | 0.0016684 | 0.00041813
53 | 0.98631 | -0.26129 | 0.0034132 | 0.00085543
54 | 0.98343 | -0.31711 | 0.003389 | 0.00084936
55 | 0.9834 | -0.31772 | 0.0035331 | 0.00088547
56 | 0.98329 | -0.31983 | 0.0033603 | 0.00084216
57 | 0.98328 | -0.31995 | 0.0029657 | 0.00074329
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0049317 | -0.001236 | 0.0049318 | 0.001236 | 9.4024e-08 | 1.4072e-09 | 0.0074097 | 0.0074097 | 0.0074097 | 0.99039 | -0.18286 | 0.99041 | -0.18246 | 2.0356
1 | -0.0053919 | -0.0013513 | 0.0053925 | 0.0013514 | 6.0909e-07 | 7.1268e-08 | 0.008101 | 0.0081009 | 0.008101 | 0.99041 | -0.18246 | 0.99053 | -0.18009 | 2.2255
2 | -0.080089 | -0.020404 | 0.080271 | 0.02052 | 0.00018226 | 0.00011621 | 0.12043 | 0.12043 | 0.12043 | 0.99053 | -0.18009 | 0.993 | -0.13304 | 33.0854
3 | 0.074696 | 0.019052 | -0.074595 | -0.018988 | 0.00010142 | 6.4632e-05 | 0.11233 | 0.11233 | 0.11233 | 0.99053 | -0.18009 | 0.98906 | -0.20825 | 30.8599
4 | -0.10913 | -0.027787 | 0.10916 | 0.027808 | 3.2975e-05 | 2.0934e-05 | 0.16369 | 0.16369 | 0.16369 | 0.993 | -0.13304 | 0.99332 | -0.12678 | 22.4848
5 | 0.02886 | 0.0072672 | -0.028852 | -0.0072624 | 7.6233e-06 | 4.7384e-06 | 0.043259 | 0.043259 | 0.043259 | 0.993 | -0.13304 | 0.99271 | -0.13857 | 11.8843
6 | 0.074243 | 0.018899 | -0.074176 | -0.018857 | 6.6937e-05 | 4.2657e-05 | 0.1118 | 0.1118 | 0.1118 | 0.98906 | -0.20825 | 0.98809 | -0.22697 | 30.7144
7 | -0.1101 | -0.028043 | 0.11019 | 0.0281 | 9.0055e-05 | 5.7179e-05 | 0.16509 | 0.16509 | 0.16509 | 0.99332 | -0.12678 | 0.99421 | -0.10983 | 22.6777
8 | 0.027619 | 0.0069533 | -0.027538 | -0.0069031 | 8.1049e-05 | 5.0247e-05 | 0.04141 | 0.041411 | 0.041411 | 0.99271 | -0.13857 | 0.98953 | -0.20015 | 11.3766
9 | 0.072918 | 0.018541 | -0.072802 | -0.018467 | 0.00011617 | 7.402e-05 | 0.10991 | 0.10991 | 0.10991 | 0.98809 | -0.22697 | 0.98637 | -0.2601 | 30.1942
10 | 0.11441 | 0.029273 | -0.11424 | -0.029165 | 0.00017013 | 0.00010808 | 0.17094 | 0.17094 | 0.17094 | 0.99714 | -0.054114 | 0.99552 | -0.084882 | 23.4807
11 | -0.11691 | -0.0299 | 0.11705 | 0.029992 | 0.00014399 | 9.1493e-05 | 0.17467 | 0.17467 | 0.17467 | 0.99714 | -0.054114 | 0.99848 | -0.028698 | 23.9933
12 | 0.11206 | 0.028621 | -0.11193 | -0.028536 | 0.000135 | 8.5736e-05 | 0.16769 | 0.16769 | 0.16769 | 0.99552 | -0.084882 | 0.99421 | -0.10983 | 23.035
13 | -0.11973 | -0.030661 | 0.11989 | 0.030767 | 0.0001667 | 0.00010596 | 0.17866 | 0.17866 | 0.17866 | 0.99848 | -0.028698 | 1 | 0 | 24.5407
14 | 0.0026748 | 0.00066976 | -0.0026747 | -0.00066985 | 6.115e-08 | -9.51e-08 | 0.003986 | 0.003986 | 0.003986 | 0.99848 | -0.028698 | 0.99846 | -0.029178 | 1.0951
15 | 0.0011138 | 0.00027864 | -0.0011138 | -0.00027913 | 4.0689e-08 | -4.8904e-07 | 0.0016597 | 0.0016599 | 0.0016599 | 0.99846 | -0.029178 | 0.99842 | -0.029946 | 0.45602
16 | -0.042807 | -0.010818 | 0.042849 | 0.010844 | 4.1961e-05 | 2.6522e-05 | 0.065069 | 0.065069 | 0.065069 | 0.97941 | -0.395 | 0.98046 | -0.37458 | 17.876
17 | 0.041503 | 0.010491 | -0.041382 | -0.010414 | 0.00012142 | 7.669e-05 | 0.063088 | 0.063088 | 0.063088 | 0.97941 | -0.395 | 0.97629 | -0.4562 | 17.332
18 | -0.044047 | -0.011145 | 0.044074 | 0.011162 | 2.6839e-05 | 1.6975e-05 | 0.066886 | 0.066886 | 0.066886 | 0.98046 | -0.37458 | 0.98111 | -0.36189 | 18.3753
19 | 0.039696 | 0.009992 | -0.039652 | -0.0099643 | 4.3874e-05 | 2.768e-05 | 0.060519 | 0.060519 | 0.060519 | 0.97629 | -0.4562 | 0.97511 | -0.47935 | 16.6261
20 | -0.04436 | -0.011233 | 0.044375 | 0.011243 | 1.4869e-05 | 9.4058e-06 | 0.067321 | 0.067321 | 0.067321 | 0.98111 | -0.36189 | 0.98147 | -0.35491 | 18.4948
21 | 0.004344 | 0.0010884 | -0.0043435 | -0.0010885 | 4.857e-07 | -5.0416e-08 | 0.0066579 | 0.006658 | 0.006658 | 0.97086 | -0.56325 | 0.97074 | -0.5656 | 1.8291
22 | -0.0067567 | -0.0016931 | 0.0067574 | 0.0016933 | 6.718e-07 | 2.2336e-07 | 0.010356 | 0.010356 | 0.010356 | 0.97086 | -0.56325 | 0.97096 | -0.56116 | 2.845
23 | 0.00059028 | 0.00014783 | -0.00059028 | -0.00014794 | 2.7993e-09 | -1.1094e-07 | 0.00090478 | 0.00090482 | 0.00090482 | 0.97074 | -0.5656 | 0.97073 | -0.5657 | 0.24858
24 | -0.0076135 | -0.0019077 | 0.0076201 | 0.0019103 | 6.5652e-06 | 2.6095e-06 | 0.011668 | 0.011667 | 0.011668 | 0.97096 | -0.56116 | 0.97188 | -0.54307 | 3.2054
25 | 0.00085615 | 0.00021433 | -0.00085614 | -0.00021457 | 1.2897e-08 | -2.3885e-07 | 0.001312 | 0.0013121 | 0.0013121 | 0.97096 | -0.56116 | 0.97095 | -0.56148 | 0.36046
26 | -0.022911 | -0.0057486 | 0.02292 | 0.0057537 | 8.4501e-06 | 5.1798e-06 | 0.03503 | 0.03503 | 0.03503 | 0.97329 | -0.51524 | 0.97368 | -0.50751 | 9.6237
27 | 0.020773 | 0.0052127 | -0.020772 | -0.0052118 | 1.5639e-06 | 9.4953e-07 | 0.031762 | 0.031762 | 0.031762 | 0.97329 | -0.51524 | 0.97321 | -0.51682 | 8.7257
28 | -0.026726 | -0.0067077 | 0.026735 | 0.0067132 | 8.9201e-06 | 5.5315e-06 | 0.040847 | 0.040847 | 0.040847 | 0.97368 | -0.50751 | 0.97403 | -0.50051 | 11.2218
29 | 0.020185 | 0.0050647 | -0.020179 | -0.0050613 | 5.6539e-06 | 3.4219e-06 | 0.030864 | 0.030864 | 0.030864 | 0.97321 | -0.51682 | 0.97291 | -0.5227 | 8.4792
30 | -0.032305 | -0.0081092 | 0.032307 | 0.0081105 | 1.9562e-06 | 1.2253e-06 | 0.049357 | 0.049357 | 0.049357 | 0.97403 | -0.50051 | 0.9741 | -0.49924 | 13.5595
31 | 0.018328 | 0.0045973 | -0.018315 | -0.0045893 | 1.3336e-05 | 7.9738e-06 | 0.028033 | 0.028033 | 0.028033 | 0.97291 | -0.5227 | 0.97214 | -0.53797 | 7.7015
32 | -0.035991 | -0.0090338 | 0.036025 | 0.0090553 | 3.4175e-05 | 2.1496e-05 | 0.054985 | 0.054984 | 0.054985 | 0.9741 | -0.49924 | 0.97511 | -0.47935 | 15.1057
33 | 0.0091757 | 0.0023006 | -0.0091734 | -0.0022996 | 2.2287e-06 | 1.0529e-06 | 0.014045 | 0.014045 | 0.014045 | 0.97214 | -0.53797 | 0.97188 | -0.54307 | 3.8586
34 | 0.009139 | 0.0022887 | -0.0091374 | -0.002288 | 1.565e-06 | 7.372e-07 | 0.013988 | 0.013988 | 0.013988 | 0.97214 | -0.53797 | 0.97195 | -0.54157 | 3.8429
35 | -0.045748 | -0.011587 | 0.045752 | 0.011589 | 3.9609e-06 | 2.5072e-06 | 0.069403 | 0.069403 | 0.069403 | 0.98147 | -0.35491 | 0.98157 | -0.35311 | 19.0667
36 | 0.0022816 | 0.00057148 | -0.0022815 | -0.00057168 | 9.391e-08 | -2.0448e-07 | 0.0034587 | 0.0034588 | 0.0034588 | 0.98157 | -0.35311 | 0.98152 | -0.35397 | 0.95022
37 | -0.048034 | -0.012161 | 0.048083 | 0.012192 | 4.8873e-05 | 3.0968e-05 | 0.072862 | 0.072861 | 0.072862 | 0.98157 | -0.35311 | 0.98266 | -0.33194 | 20.0169
38 | 0.0022203 | 0.00055585 | -0.0022203 | -0.00055599 | 5.7528e-08 | -1.3905e-07 | 0.003343 | 0.0033431 | 0.0033431 | 0.98823 | -0.22537 | 0.9882 | -0.22592 | 0.91843
39 | -0.0087161 | -0.0021839 | 0.0087173 | 0.0021844 | 1.1262e-06 | 4.9733e-07 | 0.013124 | 0.013124 | 0.013124 | 0.98823 | -0.22537 | 0.98837 | -0.22266 | 3.6055
40 | 0.0018683 | 0.00046779 | -0.0018682 | -0.00046822 | 1.1707e-07 | -4.304e-07 | 0.0028132 | 0.0028133 | 0.0028133 | 0.9882 | -0.22592 | 0.98814 | -0.22723 | 0.77289
41 | -0.009169 | -0.0022976 | 0.009177 | 0.0023013 | 7.9981e-06 | 3.6829e-06 | 0.013804 | 0.013803 | 0.013804 | 0.98837 | -0.22266 | 0.98931 | -0.20436 | 3.7923
42 | -0.022423 | -0.0056195 | 0.022427 | 0.0056222 | 4.5043e-06 | 2.7471e-06 | 0.033726 | 0.033726 | 0.033726 | 0.98931 | -0.20436 | 0.98953 | -0.20015 | 9.2653
43 | 0.0026582 | 0.00066474 | -0.0026576 | -0.00066552 | 5.1504e-07 | -7.7357e-07 | 0.0039976 | 0.003998 | 0.003998 | 0.98931 | -0.20436 | 0.9891 | -0.20843 | 1.0983
44 | 0.0016909 | 0.00042324 | -0.0016909 | -0.00042358 | 7.1874e-08 | -3.3416e-07 | 0.0025437 | 0.0025438 | 0.0025438 | 0.9891 | -0.20843 | 0.98906 | -0.20933 | 0.69885
45 | -0.0013633 | -0.00034168 | 0.0013633 | 0.00034149 | 2.5508e-08 | -1.9117e-07 | 0.0020511 | 0.0020511 | 0.0020511 | 0.98904 | -0.20972 | 0.98906 | -0.20933 | 0.5635
46 | -0.0043544 | -0.0010913 | 0.0043609 | 0.0010907 | 6.4716e-06 | -6.422e-07 | 0.0066795 | 0.0066778 | 0.0066795 | 0.97004 | -0.57955 | 0.97161 | -0.54835 | 1.835
47 | -0.0068198 | -0.0017069 | 0.006822 | 0.0017077 | 2.2004e-06 | 7.4172e-07 | 0.010444 | 0.010443 | 0.010444 | 0.97161 | -0.54835 | 0.97195 | -0.54157 | 2.8691
48 | 0.0011507 | 0.00028827 | -0.0011507 | -0.00028839 | 1.1552e-08 | -1.2055e-07 | 0.0017445 | 0.0017445 | 0.0017445 | 0.98152 | -0.35397 | 0.98151 | -0.35418 | 0.47926
49 | -0.048977 | -0.012416 | 0.049041 | 0.012457 | 6.4075e-05 | 4.0615e-05 | 0.074215 | 0.074215 | 0.074215 | 0.98266 | -0.33194 | 0.98406 | -0.30475 | 20.3887
50 | 0.014925 | 0.0037432 | -0.014923 | -0.0037418 | 2.5061e-06 | 1.4373e-06 | 0.02257 | 0.02257 | 0.02257 | 0.98406 | -0.30475 | 0.98388 | -0.30828 | 6.2005
51 | -0.063966 | -0.0162 | 0.0641 | 0.016285 | 0.00013383 | 8.5164e-05 | 0.096785 | 0.096784 | 0.096785 | 0.98406 | -0.30475 | 0.98631 | -0.26129 | 26.5892
52 | 0.067517 | 0.017143 | -0.067513 | -0.01714 | 3.8703e-06 | 2.4643e-06 | 0.10193 | 0.10193 | 0.10193 | 0.98637 | -0.2601 | 0.98631 | -0.26129 | 28.0038
53 | 0.013255 | 0.0033237 | -0.013249 | -0.0033206 | 5.5748e-06 | 3.0983e-06 | 0.020047 | 0.020047 | 0.020047 | 0.98388 | -0.30828 | 0.98343 | -0.31711 | 5.5074
54 | 0.00986 | 0.0024712 | -0.0098597 | -0.0024711 | 2.8768e-07 | 1.4039e-07 | 0.014919 | 0.014919 | 0.014919 | 0.98343 | -0.31711 | 0.9834 | -0.31772 | 4.0987
55 | 0.0063267 | 0.0015856 | -0.006326 | -0.0015854 | 6.3594e-07 | 1.7226e-07 | 0.0095731 | 0.0095732 | 0.0095732 | 0.9834 | -0.31772 | 0.98329 | -0.31983 | 2.63
56 | 0.0029658 | 0.00074327 | -0.0029657 | -0.00074329 | 1.7044e-08 | -1.7713e-08 | 0.0044881 | 0.0044881 | 0.0044881 | 0.98329 | -0.31983 | 0.98328 | -0.31995 | 1.233

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.12207 | 0.0309

## res_load
| p_mw | q_mvar
0 | 0.0049317 | 0.001236
1 | 0.00046012 | 0.00011532
2 | 0.00035206 | 8.8234e-05
3 | 0.00093748 | 0.00023496
4 | 0.0012334 | 0.00030912
5 | 0.0012575 | 0.00031516
6 | 0.0025007 | 0.00062674
7 | 0.0021708 | 0.00054406
8 | 0.0017381 | 0.00043561
9 | 0.00052968 | 0.00013275
10 | 0.0015609 | 0.00039121
11 | 0.0011138 | 0.00027913
12 | 0.0013037 | 0.00032673
13 | 0.0011977 | 0.00030018
14 | 0.0016858 | 0.00042249
15 | 0.00028686 | 7.1894e-05
16 | 0.0024127 | 0.00060467
17 | 0.0037533 | 0.00094065
18 | 0.00059028 | 0.00014794
19 | 0.00085614 | 0.00021457
20 | 0.002138 | 0.00053584
21 | 0.0038062 | 0.00095393
22 | 0.00058689 | 0.00014709
23 | 0.0055702 | 0.001396
24 | 0.0018511 | 0.00046394
25 | 0.0036843 | 0.00092336
26 | 0.0036269 | 0.00090899
27 | 0.001373 | 0.00034411
28 | 0.0064958 | 0.001628
29 | 0.00035193 | 8.8202e-05
30 | 0.00045173 | 0.00011321
31 | 0.0018682 | 0.00046822
32 | 0.010587 | 0.0026535
33 | 0.0051107 | 0.0012809
34 | 0.00096669 | 0.00024228
35 | 0.0013633 | 0.00034168
36 | 0.00032752 | 8.2085e-05
37 | 0.0043544 | 0.0010913
38 | 0.002459 | 0.00061627
39 | 0.0011308 | 0.00028341
40 | 0.00089386 | 0.00022402
41 | 0.0011507 | 0.00028839
42 | 0.0015534 | 0.00038931
43 | 0.0052852 | 0.0013246
44 | 0.0023154 | 0.0005803
45 | 0.0016684 | 0.00041813
46 | 0.0034132 | 0.00085543
47 | 0.003389 | 0.00084936
48 | 0.0035331 | 0.00088547
49 | 0.0033603 | 0.00084216
50 | 0.0029657 | 0.00074329

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1