## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_242-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_242-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_242-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_242-3_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_242-3_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_242-3_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_242-3_0_4_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_242-3_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_242-3_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_242-3_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_242-3_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_242-3_0_4_node_81 | 0.4 | n |  | TRUE
12 | bus_LV_242-3_0_4_node_98 | 0.4 | n |  | TRUE
13 | bus_LV_242-3_0_4_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_242-3_0_4_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_242-3_0_4_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_242-3_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_242-3_0_4_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_242-3_0_4_node_96 | 0.4 | n |  | TRUE
19 | bus_LV_242-3_0_4_node_94 | 0.4 | n |  | TRUE
20 | bus_LV_242-3_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_242-3_0_4_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_242-3_0_4_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_242-3_0_4_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_242-3_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_242-3_0_4_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_242-3_0_4_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_242-3_0_4_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_242-3_0_4_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_242-3_0_4_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_242-3_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_242-3_0_4_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_242-3_0_4_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_242-3_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_242-3_0_4_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_242-3_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_242-3_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_242-3_0_4_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_242-3_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_242-3_0_4_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_242-3_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_242-3_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_242-3_0_4_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_242-3_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_242-3_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_242-3_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_242-3_0_4_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_242-3_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_242-3_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_242-3_0_4_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_242-3_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_242-3_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_242-3_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_242-3_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_242-3_0_4_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_242-3_0_4_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_242-3_0_4_node_87 | 0.4 | n |  | TRUE
57 | bus_LV_242-3_0_4_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_242-3_0_4_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_242-3_0_4_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_242-3_0_4_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_242-3_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_242-3_0_4_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_242-3_0_4_node_95 | 0.4 | n |  | TRUE
64 | bus_LV_242-3_0_4_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_242-3_0_4_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_242-3_0_4_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_242-3_0_4_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_242-3_0_4_node_36 | 0.4 | n |  | TRUE
69 | bus_LV_242-3_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_242-3_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_242-3_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_242-3_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_242-3_0_4_node_37 | 0.4 | n |  | TRUE
74 | bus_LV_242-3_0_4_node_38 | 0.4 | n |  | TRUE
75 | bus_LV_242-3_0_4_node_39 | 0.4 | n |  | TRUE
76 | bus_LV_242-3_0_4_node_40 | 0.4 | n |  | TRUE
77 | bus_LV_242-3_0_4_node_41 | 0.4 | n |  | TRUE
78 | bus_LV_242-3_0_4_node_42 | 0.4 | n |  | TRUE
79 | bus_LV_242-3_0_4_node_47 | 0.4 | n |  | TRUE
80 | bus_LV_242-3_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_242-3_0_4_node_44 | 0.4 | n |  | TRUE
82 | bus_LV_242-3_0_4_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_242-3_0_4_node_43 | 0.4 | n |  | TRUE
84 | bus_LV_242-3_0_4_node_45 | 0.4 | n |  | TRUE
85 | bus_LV_242-3_0_4_node_46 | 0.4 | n |  | TRUE
86 | bus_LV_242-3_0_4_node_49 | 0.4 | n |  | TRUE
87 | bus_LV_242-3_0_4_node_50 | 0.4 | n |  | TRUE
88 | bus_LV_242-3_0_4_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_242-3_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_242-3_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_242-3_0_4_node_61 | 0.4 | n |  | TRUE
92 | bus_LV_242-3_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_242-3_0_4_node_86 | 0.4 | n |  | TRUE
94 | bus_MV_358_1_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_242-3_0_4_load_0 | 0 | 0.083658 | 0.020967 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_242-3_0_4_load_1 | 1 | 0.00054644 | 0.00013695 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_242-3_0_4_load_5 | 4 | 0.0023386 | 0.0005861 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_242-3_0_4_load_70 | 6 | 0.0097108 | 0.0024337 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_242-3_0_4_load_6 | 9 | 0.0075566 | 0.0018939 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_242-3_0_4_load_98 | 12 | 0.021153 | 0.0053014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_242-3_0_4_load_65 | 13 | 0.019381 | 0.0048573 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_242-3_0_4_load_97 | 15 | 0.0023675 | 0.00059336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_242-3_0_4_load_96 | 18 | 0.0038233 | 0.00095821 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_242-3_0_4_load_94 | 19 | 0.0087154 | 0.0021843 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_242-3_0_4_load_83 | 22 | 0.001067 | 0.00026742 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_242-3_0_4_load_80 | 23 | 0.0010365 | 0.00025976 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_242-3_0_4_load_69 | 24 | 0.0091778 | 0.0023002 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_242-3_0_4_load_77 | 26 | 0.0046892 | 0.0011752 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_242-3_0_4_load_76 | 27 | 0.003769 | 0.0009446 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_242-3_0_4_load_78 | 28 | 0.015961 | 0.0040002 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_242-3_0_4_load_79 | 31 | 0.0062081 | 0.0015559 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_242-3_0_4_load_74 | 32 | 0.0099867 | 0.0025029 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_242-3_0_4_load_90 | 34 | 0.0013335 | 0.00033421 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_242-3_0_4_load_72 | 37 | 0.0047945 | 0.0012016 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_242-3_0_4_load_66 | 39 | 0.030175 | 0.0075627 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_242-3_0_4_load_68 | 40 | 0.012442 | 0.0031182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_242-3_0_4_load_75 | 42 | 0.0037807 | 0.00094753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_242-3_0_4_load_30 | 45 | 0.014028 | 0.0035158 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_242-3_0_4_load_73 | 46 | 0.010006 | 0.0025079 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_242-3_0_4_load_100 | 49 | 0.00084293 | 0.00021126 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_242-3_0_4_load_51 | 52 | 0.0013583 | 0.00034042 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_242-3_0_4_load_91 | 54 | 0.0024599 | 0.0006165 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_242-3_0_4_load_99 | 55 | 0.013858 | 0.0034732 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_242-3_0_4_load_87 | 56 | 0.0023047 | 0.0005776 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_242-3_0_4_load_88 | 57 | 0.0047447 | 0.0011891 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_242-3_0_4_load_84 | 58 | 0.0015495 | 0.00038834 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_242-3_0_4_load_89 | 59 | 0.0029322 | 0.00073488 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_242-3_0_4_load_71 | 60 | 0.0046264 | 0.0011595 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_242-3_0_4_load_67 | 61 | 0.038847 | 0.0097361 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_242-3_0_4_load_31 | 62 | 0.013212 | 0.0033111 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_242-3_0_4_load_95 | 63 | 0.0056578 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_242-3_0_4_load_32 | 64 | 0.0031579 | 0.00079144 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_242-3_0_4_load_33 | 65 | 0.0013853 | 0.00034718 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_242-3_0_4_load_34 | 66 | 0.0026476 | 0.00066354 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_242-3_0_4_load_36 | 68 | 0.0034276 | 0.00085904 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_242-3_0_4_load_60 | 69 | 0.0025457 | 0.00063802 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_242-3_0_4_load_58 | 70 | 0.002555 | 0.00064033 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_242-3_0_4_load_62 | 71 | 0.0031757 | 0.00079592 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_242-3_0_4_load_37 | 73 | 0.0029488 | 0.00073904 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_242-3_0_4_load_38 | 74 | 0.0011455 | 0.00028708 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_242-3_0_4_load_40 | 76 | 0.002747 | 0.00068846 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_242-3_0_4_load_42 | 78 | 0.0011861 | 0.00029725 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_242-3_0_4_load_47 | 79 | 0.0020121 | 0.00050427 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_242-3_0_4_load_63 | 80 | 0.0011833 | 0.00029656 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_242-3_0_4_load_44 | 81 | 0.001367 | 0.00034259 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_242-3_0_4_load_64 | 82 | 0.0051869 | 0.0013 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_242-3_0_4_load_43 | 83 | 0.0014161 | 0.0003549 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_242-3_0_4_load_45 | 84 | 0.0022374 | 0.00056074 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_242-3_0_4_load_49 | 86 | 0.002147 | 0.0005381 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_242-3_0_4_load_101 | 88 | 0.005348 | 0.0013403 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_242-3_0_4_load_85 | 89 | 0.0013762 | 0.0003449 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_242-3_0_4_load_93 | 90 | 0.00091511 | 0.00022935 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_242-3_0_4_load_61 | 91 | 0.0030803 | 0.000772 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_242-3_0_4_load_92 | 92 | 0.0010256 | 0.00025703 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_242-3_0_4_load_86 | 93 | 0.0023474 | 0.00058831 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_242-3_0_4_line_0 |  | 0 | 1 | 0.013711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_242-3_0_4_line_1 |  | 0 | 2 | 0.02407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_242-3_0_4_line_2 |  | 2 | 3 | 0.014545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_242-3_0_4_line_3 |  | 2 | 4 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_242-3_0_4_line_4 |  | 3 | 5 | 0.02778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_242-3_0_4_line_5 |  | 3 | 6 | 0.010829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_242-3_0_4_line_6 |  | 5 | 13 | 0.049893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_242-3_0_4_line_7 |  | 5 | 10 | 0.042834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_242-3_0_4_line_8 |  | 6 | 24 | 0.0094316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_242-3_0_4_line_9 |  | 7 | 8 | 0.001992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_242-3_0_4_line_10 |  | 7 | 9 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_242-3_0_4_line_11 |  | 8 | 28 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_242-3_0_4_line_12 |  | 8 | 25 | 0.0082312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_242-3_0_4_line_13 |  | 10 | 11 | 0.043825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_242-3_0_4_line_14 |  | 10 | 12 | 0.024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_242-3_0_4_line_15 |  | 11 | 23 | 0.018911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_242-3_0_4_line_16 |  | 14 | 15 | 0.013607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_242-3_0_4_line_17 |  | 14 | 16 | 0.02075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_242-3_0_4_line_18 |  | 15 | 20 | 0.024904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_242-3_0_4_line_19 |  | 16 | 39 | 0.024048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_242-3_0_4_line_20 |  | 16 | 35 | 0.0087167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_242-3_0_4_line_21 |  | 17 | 18 | 0.019782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_242-3_0_4_line_22 |  | 17 | 19 | 0.020374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_242-3_0_4_line_23 |  | 17 | 20 | 0.047131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_242-3_0_4_line_24 |  | 18 | 56 | 0.0071806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_242-3_0_4_line_25 |  | 19 | 63 | 0.035119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_242-3_0_4_line_26 |  | 20 | 33 | 0.04951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_242-3_0_4_line_27 |  | 20 | 34 | 0.046708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_242-3_0_4_line_28 |  | 21 | 22 | 0.012908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_242-3_0_4_line_29 |  | 21 | 23 | 0.012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_242-3_0_4_line_30 |  | 22 | 90 | 0.0045063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_242-3_0_4_line_31 |  | 24 | 61 | 0.028302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_242-3_0_4_line_32 |  | 25 | 26 | 0.028351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_242-3_0_4_line_33 |  | 25 | 27 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_242-3_0_4_line_34 |  | 26 | 31 | 0.014727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_242-3_0_4_line_35 |  | 28 | 38 | 0.030672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_242-3_0_4_line_36 |  | 29 | 30 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_242-3_0_4_line_37 |  | 29 | 31 | 0.030617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_242-3_0_4_line_38 |  | 30 | 32 | 0.031889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_242-3_0_4_line_39 |  | 32 | 43 | 0.031632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_242-3_0_4_line_40 |  | 33 | 46 | 0.036852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_242-3_0_4_line_41 |  | 34 | 59 | 0.029229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_242-3_0_4_line_42 |  | 35 | 36 | 0.065142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_242-3_0_4_line_43 |  | 35 | 37 | 0.06288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_242-3_0_4_line_44 |  | 36 | 41 | 0.012319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_242-3_0_4_line_45 |  | 37 | 60 | 0.030471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_242-3_0_4_line_46 |  | 38 | 39 | 0.034373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_242-3_0_4_line_47 |  | 38 | 40 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_242-3_0_4_line_48 |  | 40 | 61 | 0.009194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_242-3_0_4_line_49 |  | 41 | 42 | 0.06278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_242-3_0_4_line_50 |  | 43 | 44 | 0.039861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_242-3_0_4_line_51 |  | 44 | 45 | 0.048306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_242-3_0_4_line_52 |  | 45 | 62 | 0.060693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_242-3_0_4_line_53 |  | 47 | 48 | 0.23695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_242-3_0_4_line_54 |  | 47 | 49 | 0.05689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_242-3_0_4_line_55 |  | 48 | 68 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_242-3_0_4_line_56 |  | 49 | 88 | 0.020269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_242-3_0_4_line_57 |  | 50 | 51 | 0.12815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_242-3_0_4_line_58 |  | 50 | 52 | 0.0046411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_242-3_0_4_line_59 |  | 51 | 56 | 0.010963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_242-3_0_4_line_60 |  | 51 | 57 | 0.015158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_242-3_0_4_line_61 |  | 51 | 58 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_242-3_0_4_line_62 |  | 52 | 87 | 0.0021087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_242-3_0_4_line_63 |  | 53 | 54 | 0.0049827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_242-3_0_4_line_64 |  | 53 | 55 | 0.031981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_242-3_0_4_line_65 |  | 55 | 57 | 0.028062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_242-3_0_4_line_66 |  | 58 | 89 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_242-3_0_4_line_67 |  | 64 | 65 | 0.0024885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_242-3_0_4_line_68 |  | 64 | 66 | 0.018408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_242-3_0_4_line_69 |  | 65 | 67 | 0.01127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_242-3_0_4_line_70 |  | 66 | 68 | 0.013646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_242-3_0_4_line_71 |  | 67 | 69 | 0.01125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_242-3_0_4_line_72 |  | 67 | 70 | 0.024471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_242-3_0_4_line_73 |  | 69 | 71 | 0.0020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_242-3_0_4_line_74 |  | 70 | 72 | 0.014266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_242-3_0_4_line_75 |  | 71 | 77 | 0.023043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_242-3_0_4_line_76 |  | 72 | 91 | 0.012294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_242-3_0_4_line_77 |  | 73 | 74 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_242-3_0_4_line_78 |  | 73 | 75 | 0.0090271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_242-3_0_4_line_79 |  | 74 | 76 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_242-3_0_4_line_80 |  | 75 | 77 | 0.00935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_242-3_0_4_line_81 |  | 75 | 78 | 0.014369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_242-3_0_4_line_82 |  | 76 | 79 | 0.0051069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_242-3_0_4_line_83 |  | 77 | 80 | 0.0098308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_242-3_0_4_line_84 |  | 78 | 81 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_242-3_0_4_line_85 |  | 80 | 82 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_242-3_0_4_line_86 |  | 81 | 83 | 0.011784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_242-3_0_4_line_87 |  | 83 | 84 | 0.014059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_242-3_0_4_line_88 |  | 84 | 85 | 0.02194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_242-3_0_4_line_89 |  | 85 | 86 | 0.020574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_242-3_0_4_line_90 |  | 86 | 87 | 0.034793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_242-3_0_4_line_91 |  | 89 | 93 | 0.0060185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_242-3_0_4_line_92 |  | 90 | 92 | 0.012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_242-3_0_4_trafo_65 | 0.63 MVA 20/0.4 kV | 94 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2675500.9077 | 1245442.4006 | 2675490.0027 | 1245434.0901
1 | 2675516.8177 | 1245460.2872 | 2675505.2764 | 1245445.7299 | 2675500.9077 | 1245442.4006
2 | 2675525.5474 | 1245471.94 | 2675516.8177 | 1245460.2872
3 | 2675516.8177 | 1245460.2872 | 2675501.141 | 1245471.5029
4 | 2675506.7324 | 1245491.5923 | 2675514.2097 | 1245487.0842 | 2675519.6328 | 1245481.894 | 2675525.5474 | 1245471.94
5 | 2675525.5474 | 1245471.94 | 2675530.845 | 1245462.4955
6 | 2675506.7324 | 1245491.5923 | 2675513.8422 | 1245491.0157 | 2675555.7398 | 1245482.4697
7 | 2675506.7324 | 1245491.5923 | 2675492.5882 | 1245496.9161 | 2675493.6464 | 1245499.8539 | 2675497.0736 | 1245509.5933 | 2675497.388 | 1245512.1992 | 2675495.5791 | 1245523.7066
8 | 2675530.845 | 1245462.4955 | 2675535.4591 | 1245454.2696
9 | 2675550.0543 | 1245384.5118 | 2675550.5056 | 1245386.4523
10 | 2675550.0543 | 1245384.5118 | 2675546.0664 | 1245368.3718 | 2675545.2634 | 1245363.8177
11 | 2675550.5056 | 1245386.4523 | 2675556.9746 | 1245399.4106
12 | 2675558.2118 | 1245383.5595 | 2675554.3018 | 1245385.0218 | 2675550.5056 | 1245386.4523
13 | 2675509.1242 | 1245558.3037 | 2675498.9652 | 1245552.1033 | 2675493.1966 | 1245543.4793 | 2675490.5136 | 1245531.6701 | 2675495.5791 | 1245523.7066
14 | 2675495.5791 | 1245523.7066 | 2675513.9253 | 1245519.4926 | 2675518.7985 | 1245517.3981
15 | 2675509.1242 | 1245558.3037 | 2675515.7693 | 1245573.4435 | 2675516.9632 | 1245575.4984
16 | 2675642.261 | 1245464.933 | 2675653.7407 | 1245472.2374
17 | 2675642.261 | 1245464.933 | 2675640.3307 | 1245464.0299 | 2675627.2087 | 1245456.1348 | 2675624.0573 | 1245454.9938
18 | 2675674.7517 | 1245485.6065 | 2675653.7407 | 1245472.2374
19 | 2675624.0573 | 1245454.9938 | 2675620.3361 | 1245453.512 | 2675602.5879 | 1245444.2005
20 | 2675629.344 | 1245448.0785 | 2675627.4105 | 1245450.9781 | 2675624.0573 | 1245454.9938
21 | 2675634.9988 | 1245508.2491 | 2675644.5831 | 1245509.1608 | 2675645.8807 | 1245519.2324
22 | 2675634.9988 | 1245508.2491 | 2675615.9716 | 1245515.5338
23 | 2675674.7517 | 1245485.6065 | 2675670.8684 | 1245492.6842 | 2675664.5584 | 1245496.3064 | 2675657.0309 | 1245499.4126 | 2675634.9988 | 1245508.2491
24 | 2675645.8807 | 1245519.2324 | 2675646.7984 | 1245526.3541
25 | 2675615.9716 | 1245515.5338 | 2675583.1742 | 1245528.0907
26 | 2675674.7517 | 1245485.6065 | 2675677.2012 | 1245481.9462 | 2675697.0072 | 1245488.2812 | 2675721.0325 | 1245492.0016
27 | 2675674.7517 | 1245485.6065 | 2675694.7042 | 1245492.3103 | 2675720.1184 | 1245495.8493
28 | 2675523.4882 | 1245586.729 | 2675535.2915 | 1245581.5046
29 | 2675523.4882 | 1245586.729 | 2675516.9632 | 1245575.4984
30 | 2675539.4121 | 1245579.6807 | 2675535.2915 | 1245581.5046
31 | 2675556.6032 | 1245436.102 | 2675542.327 | 1245445.4013 | 2675536.9977 | 1245451.5267 | 2675535.4591 | 1245454.2696
32 | 2675558.2118 | 1245383.5595 | 2675553.1576 | 1245365.7157 | 2675551.4122 | 1245356.0666
33 | 2675558.2118 | 1245383.5595 | 2675563.4268 | 1245394.7116 | 2675564.7042 | 1245396.7497
34 | 2675548.789 | 1245341.5752 | 2675548.7953 | 1245341.5985 | 2675551.4122 | 1245356.0666
35 | 2675575.5769 | 1245423.7427 | 2675566.3295 | 1245412.995 | 2675556.9746 | 1245399.4106
36 | 2675531.8926 | 1245300.6652 | 2675538.7507 | 1245312.7501
37 | 2675538.7507 | 1245312.7501 | 2675544.5467 | 1245325.7553 | 2675548.789 | 1245341.5752
38 | 2675531.8926 | 1245300.6652 | 2675560.0107 | 1245285.6228
39 | 2675587.9023 | 1245270.7016 | 2675560.0107 | 1245285.6228
40 | 2675721.0325 | 1245492.0016 | 2675723.6831 | 1245476.1463 | 2675703.1077 | 1245473.2594
41 | 2675749.0166 | 1245500.2361 | 2675720.4614 | 1245495.8971 | 2675720.1184 | 1245495.8493
42 | 2675629.344 | 1245448.0785 | 2675612.8307 | 1245439.4841 | 2675611.3484 | 1245437.8085 | 2675610.799 | 1245435.8667 | 2675610.7598 | 1245433.6091 | 2675611.3779 | 1245431.3487 | 2675616.7203 | 1245425.9907 | 2675622.1339 | 1245420.9672 | 2675628.0257 | 1245416.3724 | 2675634.145 | 1245411.7137 | 2675632.0901 | 1245408.1294 | 2675630.5652 | 1245405.0634
43 | 2675629.344 | 1245448.0785 | 2675634.3205 | 1245450.666 | 2675656.0413 | 1245436.0436 | 2675669.4671 | 1245427.8312 | 2675683.261 | 1245421.0995
44 | 2675635.7759 | 1245395.8121 | 2675631.4485 | 1245398.014 | 2675632.107 | 1245402.0698 | 2675630.5652 | 1245405.0634
45 | 2675712.6102 | 1245413.0963 | 2675711.1501 | 1245413.2637 | 2675697.5852 | 1245416.3817 | 2675683.3887 | 1245421.0372 | 2675683.261 | 1245421.0995
46 | 2675575.5769 | 1245423.7427 | 2675580.4317 | 1245429.9534 | 2675588.7748 | 1245436.9535 | 2675602.5879 | 1245444.2005
47 | 2675575.5769 | 1245423.7427 | 2675564.3069 | 1245431.0838
48 | 2675556.6032 | 1245436.102 | 2675564.3069 | 1245431.0838
49 | 2675635.7759 | 1245395.8121 | 2675624.3164 | 1245376.0408 | 2675619.9187 | 1245367.1673 | 2675616.2554 | 1245357.5804 | 2675610.649 | 1245338.6309
50 | 2675587.9023 | 1245270.7016 | 2675589.9621 | 1245269.7494 | 2675598.5379 | 1245264.4438 | 2675613.9582 | 1245252.1315 | 2675620.4802 | 1245247.9005
51 | 2675620.4802 | 1245247.9005 | 2675643.4886 | 1245270.9991 | 2675648.064 | 1245273.0589 | 2675653.129 | 1245282.4684
52 | 2675653.129 | 1245282.4684 | 2675668.0003 | 1245310.0951 | 2675663.9502 | 1245312.4674 | 2675665.8906 | 1245319.6862 | 2675670.1254 | 1245328.8912 | 2675673.6825 | 1245334.9394
53 | 2675683.2443 | 1245718.2254 | 2675752.5475 | 1245680.6609 | 2675757.3817 | 1245680.1778 | 2675762.372 | 1245680.4862 | 2675774.1718 | 1245685.963 | 2675784.8771 | 1245693.1271 | 2675792.7302 | 1245704.7246 | 2675797.6128 | 1245717.5851 | 2675807.0698 | 1245703.607 | 2675826.6281 | 1245693.7944 | 2675836.7701 | 1245686.5188 | 2675853.2173 | 1245673.0306 | 2675865.4821 | 1245665.1929 | 2675858.1692 | 1245663.3536
54 | 2675858.1692 | 1245663.3536 | 2675856.2066 | 1245666.7532 | 2675853.6952 | 1245669.3451 | 2675848.9501 | 1245671.7195 | 2675842.4126 | 1245673.048 | 2675833.0231 | 1245670.5262 | 2675813.7144 | 1245660.8058 | 2675808.8714 | 1245657.1987
55 | 2675683.2443 | 1245718.2254 | 2675672.5461 | 1245723.4125
56 | 2675792.6161 | 1245645.0916 | 2675808.8714 | 1245657.1987
57 | 2675623.1571 | 1245609.0924 | 2675616.1778 | 1245605.3674 | 2675610.9337 | 1245602.4429 | 2675603.258 | 1245598.8203 | 2675608.2574 | 1245594.8701 | 2675600.8768 | 1245592.3965 | 2675610.4401 | 1245587.8262 | 2675615.3401 | 1245585.1534 | 2675623.2693 | 1245580.7513 | 2675652.8446 | 1245564.5835 | 2675658.3312 | 1245561.5291 | 2675651.6169 | 1245544.1421 | 2675648.1993 | 1245537.227
58 | 2675623.1571 | 1245609.0924 | 2675618.849 | 1245610.8188
59 | 2675648.1993 | 1245537.227 | 2675646.7984 | 1245526.3541
60 | 2675648.1993 | 1245537.227 | 2675662.9723 | 1245533.8314
61 | 2675648.1993 | 1245537.227 | 2675635.5247 | 1245542.4297
62 | 2675616.8916 | 1245611.6032 | 2675618.849 | 1245610.8188
63 | 2675722.3276 | 1245527.8548 | 2675727.0864 | 1245526.378
64 | 2675722.3276 | 1245527.8548 | 2675690.3468 | 1245527.77
65 | 2675662.9723 | 1245533.8314 | 2675689.3553 | 1245527.7673 | 2675690.3468 | 1245527.77
66 | 2675635.5247 | 1245542.4297 | 2675623.7351 | 1245547.2691
67 | 2675641.2237 | 1245728.6043 | 2675638.7472 | 1245728.8489
68 | 2675659.5424 | 1245726.7951 | 2675641.2237 | 1245728.6043
69 | 2675627.5313 | 1245729.9567 | 2675638.7472 | 1245728.8489
70 | 2675659.5424 | 1245726.7951 | 2675667.1116 | 1245726.0475 | 2675672.5461 | 1245723.4125
71 | 2675627.5313 | 1245729.9567 | 2675623.5735 | 1245719.4258
72 | 2675627.5313 | 1245729.9567 | 2675605.1396 | 1245739.828
73 | 2675622.8352 | 1245717.4612 | 2675623.5735 | 1245719.4258
74 | 2675592.0857 | 1245745.5828 | 2675605.1396 | 1245739.828
75 | 2675614.7286 | 1245695.8914 | 2675622.8352 | 1245717.4612
76 | 2675592.0857 | 1245745.5828 | 2675581.4868 | 1245745.4699 | 2675579.8052 | 1245745.6807
77 | 2675586.6347 | 1245703.9715 | 2675597.0518 | 1245701.0059
78 | 2675605.734 | 1245698.5342 | 2675597.0518 | 1245701.0059
79 | 2675586.6347 | 1245703.9715 | 2675573.2482 | 1245707.7824 | 2675570.7875 | 1245708.3663
80 | 2675605.734 | 1245698.5342 | 2675614.7286 | 1245695.8914
81 | 2675605.734 | 1245698.5342 | 2675600.587 | 1245685.1187
82 | 2675565.8186 | 1245709.5453 | 2675570.7875 | 1245708.3663
83 | 2675614.7286 | 1245695.8914 | 2675623.4821 | 1245691.4169
84 | 2675600.587 | 1245685.1187 | 2675598.0047 | 1245678.388 | 2675589.581 | 1245680.642
85 | 2675634.0837 | 1245685.9977 | 2675623.4821 | 1245691.4169
86 | 2675583.5856 | 1245672.6741 | 2675587.2163 | 1245681.2748 | 2675589.581 | 1245680.642
87 | 2675578.1178 | 1245659.7219 | 2675583.5856 | 1245672.6741
88 | 2675569.5851 | 1245639.5092 | 2675578.1178 | 1245659.7219
89 | 2675569.5851 | 1245639.5092 | 2675586.0329 | 1245627.1504
90 | 2675616.8916 | 1245611.6032 | 2675603.3432 | 1245616.434 | 2675592.2119 | 1245622.5076 | 2675586.0329 | 1245627.1504
91 | 2675623.7351 | 1245547.2691 | 2675618.1674 | 1245549.5545
92 | 2675551.1473 | 1245574.4864 | 2675539.4121 | 1245579.6807

## bus_geodata
| x | y | coords
0 | 2675500.9077 | 1245442.4006
1 | 2675490.0027 | 1245434.0901
2 | 2675516.8177 | 1245460.2872
3 | 2675525.5474 | 1245471.94
4 | 2675501.141 | 1245471.5029
5 | 2675506.7324 | 1245491.5923
6 | 2675530.845 | 1245462.4955
7 | 2675550.0543 | 1245384.5118
8 | 2675550.5056 | 1245386.4523
9 | 2675545.2634 | 1245363.8177
10 | 2675495.5791 | 1245523.7066
11 | 2675509.1242 | 1245558.3037
12 | 2675518.7985 | 1245517.3981
13 | 2675555.7398 | 1245482.4697
14 | 2675642.261 | 1245464.933
15 | 2675653.7407 | 1245472.2374
16 | 2675624.0573 | 1245454.9938
17 | 2675634.9988 | 1245508.2491
18 | 2675645.8807 | 1245519.2324
19 | 2675615.9716 | 1245515.5338
20 | 2675674.7517 | 1245485.6065
21 | 2675523.4882 | 1245586.729
22 | 2675535.2915 | 1245581.5046
23 | 2675516.9632 | 1245575.4984
24 | 2675535.4591 | 1245454.2696
25 | 2675558.2118 | 1245383.5595
26 | 2675551.4122 | 1245356.0666
27 | 2675564.7042 | 1245396.7497
28 | 2675556.9746 | 1245399.4106
29 | 2675538.7507 | 1245312.7501
30 | 2675531.8926 | 1245300.6652
31 | 2675548.789 | 1245341.5752
32 | 2675560.0107 | 1245285.6228
33 | 2675721.0325 | 1245492.0016
34 | 2675720.1184 | 1245495.8493
35 | 2675629.344 | 1245448.0785
36 | 2675630.5652 | 1245405.0634
37 | 2675683.261 | 1245421.0995
38 | 2675575.5769 | 1245423.7427
39 | 2675602.5879 | 1245444.2005
40 | 2675564.3069 | 1245431.0838
41 | 2675635.7759 | 1245395.8121
42 | 2675610.649 | 1245338.6309
43 | 2675587.9023 | 1245270.7016
44 | 2675620.4802 | 1245247.9005
45 | 2675653.129 | 1245282.4684
46 | 2675703.1077 | 1245473.2594
47 | 2675858.1692 | 1245663.3536
48 | 2675683.2443 | 1245718.2254
49 | 2675808.8714 | 1245657.1987
50 | 2675623.1571 | 1245609.0924
51 | 2675648.1993 | 1245537.227
52 | 2675618.849 | 1245610.8188
53 | 2675722.3276 | 1245527.8548
54 | 2675727.0864 | 1245526.378
55 | 2675690.3468 | 1245527.77
56 | 2675646.7984 | 1245526.3541
57 | 2675662.9723 | 1245533.8314
58 | 2675635.5247 | 1245542.4297
59 | 2675749.0166 | 1245500.2361
60 | 2675712.6102 | 1245413.0963
61 | 2675556.6032 | 1245436.102
62 | 2675673.6825 | 1245334.9394
63 | 2675583.1742 | 1245528.0907
64 | 2675641.2237 | 1245728.6043
65 | 2675638.7472 | 1245728.8489
66 | 2675659.5424 | 1245726.7951
67 | 2675627.5313 | 1245729.9567
68 | 2675672.5461 | 1245723.4125
69 | 2675623.5735 | 1245719.4258
70 | 2675605.1396 | 1245739.828
71 | 2675622.8352 | 1245717.4612
72 | 2675592.0857 | 1245745.5828
73 | 2675597.0518 | 1245701.0059
74 | 2675586.6347 | 1245703.9715
75 | 2675605.734 | 1245698.5342
76 | 2675570.7875 | 1245708.3663
77 | 2675614.7286 | 1245695.8914
78 | 2675600.587 | 1245685.1187
79 | 2675565.8186 | 1245709.5453
80 | 2675623.4821 | 1245691.4169
81 | 2675589.581 | 1245680.642
82 | 2675634.0837 | 1245685.9977
83 | 2675583.5856 | 1245672.6741
84 | 2675578.1178 | 1245659.7219
85 | 2675569.5851 | 1245639.5092
86 | 2675586.0329 | 1245627.1504
87 | 2675616.8916 | 1245611.6032
88 | 2675792.6161 | 1245645.0916
89 | 2675623.7351 | 1245547.2691
90 | 2675539.4121 | 1245579.6807
91 | 2675579.8052 | 1245745.6807
92 | 2675551.1473 | 1245574.4864
93 | 2675618.1674 | 1245549.5545
94 | 2675506.7324 | 1245491.5923

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98969 | -0.19753 | 0.083658 | 0.020967
1 | 0.98968 | -0.19766 | 0.00054644 | 0.00013695
2 | 0.99154 | -0.16153 | 0 | 0
3 | 0.9927 | -0.13924 | 0 | 0
4 | 0.9915 | -0.16233 | 0.0023386 | 0.0005861
5 | 0.99521 | -0.091183 | 0 | 0
6 | 0.99193 | -0.15388 | 0.0097108 | 0.0024337
7 | 0.98521 | -0.28369 | 0 | 0
8 | 0.98523 | -0.28342 | 0 | 0
9 | 0.98506 | -0.28657 | 0.0075566 | 0.0018939
10 | 0.99422 | -0.1102 | 0 | 0
11 | 0.99406 | -0.11333 | 0 | 0
12 | 0.99376 | -0.1192 | 0.021153 | 0.0053014
13 | 1 | 0 | -0.42458 | -0.10815
14 | 0.98561 | -0.27599 | 0 | 0
15 | 0.98524 | -0.28312 | 0.0023675 | 0.00059336
16 | 0.98617 | -0.26514 | 0 | 0
17 | 0.98349 | -0.31711 | 0 | 0
18 | 0.9831 | -0.32474 | 0.0038233 | 0.00095821
19 | 0.98322 | -0.32239 | 0.0087154 | 0.0021843
20 | 0.98458 | -0.2959 | 0 | 0
21 | 0.99395 | -0.11537 | 0 | 0
22 | 0.99392 | -0.11605 | 0.001067 | 0.00026742
23 | 0.99399 | -0.11468 | 0.0010365 | 0.00025976
24 | 0.99129 | -0.16625 | 0.0091778 | 0.0023002
25 | 0.98483 | -0.29109 | 0 | 0
26 | 0.98357 | -0.31564 | 0.0046892 | 0.0011752
27 | 0.98478 | -0.29209 | 0.003769 | 0.0009446
28 | 0.98602 | -0.26796 | 0.015961 | 0.0040002
29 | 0.98192 | -0.34776 | 0 | 0
30 | 0.98144 | -0.35712 | 0 | 0
31 | 0.98297 | -0.32718 | 0.0062081 | 0.0015559
32 | 0.98034 | -0.37862 | 0.0099867 | 0.0025029
33 | 0.98413 | -0.30481 | 0 | 0
34 | 0.9844 | -0.29948 | 0.0013335 | 0.00033421
35 | 0.98606 | -0.26721 | 0 | 0
36 | 0.98584 | -0.27163 | 0 | 0
37 | 0.98552 | -0.27783 | 0.0047945 | 0.0012016
38 | 0.98816 | -0.22658 | 0 | 0
39 | 0.98689 | -0.25116 | 0.030175 | 0.0075627
40 | 0.98889 | -0.21246 | 0.012442 | 0.0031182
41 | 0.98579 | -0.27246 | 0 | 0
42 | 0.98557 | -0.27672 | 0.0037807 | 0.00094753
43 | 0.97954 | -0.39427 | 0 | 0
44 | 0.97853 | -0.41401 | 0 | 0
45 | 0.97731 | -0.438 | 0.014028 | 0.0035158
46 | 0.98379 | -0.31145 | 0.010006 | 0.0025079
47 | 0.97383 | -0.50646 | 0 | 0
48 | 0.97519 | -0.47951 | 0 | 0
49 | 0.9735 | -0.51294 | 0.00084293 | 0.00021126
50 | 0.98118 | -0.36209 | 0 | 0
51 | 0.98276 | -0.33132 | 0 | 0
52 | 0.98113 | -0.3632 | 0.0013583 | 0.00034042
53 | 0.98197 | -0.34678 | 0 | 0
54 | 0.98196 | -0.347 | 0.0024599 | 0.0006165
55 | 0.98205 | -0.34536 | 0.013858 | 0.0034732
56 | 0.98296 | -0.32739 | 0.0023047 | 0.0005776
57 | 0.98247 | -0.33708 | 0.0047447 | 0.0011891
58 | 0.9827 | -0.33262 | 0.0015495 | 0.00038834
59 | 0.98432 | -0.30103 | 0.0029322 | 0.00073488
60 | 0.98539 | -0.28036 | 0.0046264 | 0.0011595
61 | 0.98942 | -0.20231 | 0.038847 | 0.0097361
62 | 0.97656 | -0.45264 | 0.013212 | 0.0033111
63 | 0.98304 | -0.32597 | 0.0056578 | 0.001418
64 | 0.9756 | -0.47161 | 0.0031579 | 0.00079144
65 | 0.97563 | -0.47091 | 0.0013853 | 0.00034718
66 | 0.97539 | -0.47575 | 0.0026476 | 0.00066354
67 | 0.97581 | -0.46744 | 0 | 0
68 | 0.97526 | -0.47816 | 0.0034276 | 0.00085904
69 | 0.97604 | -0.46282 | 0.0025457 | 0.00063802
70 | 0.97568 | -0.46996 | 0.002555 | 0.00064033
71 | 0.97609 | -0.46186 | 0.0031757 | 0.00079592
72 | 0.97564 | -0.47077 | 0 | 0
73 | 0.97692 | -0.44554 | 0.0029488 | 0.00073904
74 | 0.97686 | -0.44671 | 0.0011455 | 0.00028708
75 | 0.97699 | -0.44408 | 0 | 0
76 | 0.97679 | -0.44814 | 0.002747 | 0.00068846
77 | 0.97669 | -0.44998 | 0 | 0
78 | 0.97757 | -0.4327 | 0.0011861 | 0.00029725
79 | 0.97678 | -0.44833 | 0.0020121 | 0.00050427
80 | 0.97664 | -0.45113 | 0.0011833 | 0.00029656
81 | 0.97823 | -0.41975 | 0.001367 | 0.00034259
82 | 0.97658 | -0.45226 | 0.0051869 | 0.0013
83 | 0.97874 | -0.4099 | 0.0014161 | 0.0003549
84 | 0.97935 | -0.39778 | 0.0022374 | 0.00056074
85 | 0.98037 | -0.37802 | 0 | 0
86 | 0.98068 | -0.37185 | 0.002147 | 0.0005381
87 | 0.9811 | -0.3637 | 0 | 0
88 | 0.9734 | -0.51493 | 0.005348 | 0.0013403
89 | 0.98265 | -0.33348 | 0.0013762 | 0.0003449
90 | 0.99391 | -0.11621 | 0.00091511 | 0.00022935
91 | 0.9756 | -0.47146 | 0.0030803 | 0.000772
92 | 0.9939 | -0.11644 | 0.0010256 | 0.00025703
93 | 0.98264 | -0.33373 | 0.0023474 | 0.00058831
94 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00054644 | 0.00013678 | -0.00054644 | -0.00013695 | 3.4703e-09 | -1.7396e-07 | 0.00082153 | 0.00082159 | 0.00082159 | 0.98969 | -0.19753 | 0.98968 | -0.19766 | 0.22571
1 | -0.084204 | -0.021103 | 0.084349 | 0.021196 | 0.00014468 | 9.2283e-05 | 0.1266 | 0.1266 | 0.1266 | 0.98969 | -0.19753 | 0.99154 | -0.16153 | 34.781
2 | -0.086688 | -0.021782 | 0.08678 | 0.021841 | 9.2338e-05 | 5.8909e-05 | 0.13011 | 0.13011 | 0.13011 | 0.99154 | -0.16153 | 0.9927 | -0.13924 | 35.7452
3 | 0.0023386 | 0.0005859 | -0.0023386 | -0.0005861 | 8.9033e-08 | -1.9163e-07 | 0.0035095 | 0.0035096 | 0.0035096 | 0.99154 | -0.16153 | 0.9915 | -0.16233 | 0.96418
4 | -0.39493 | -0.10004 | 0.39584 | 0.10063 | 0.00091387 | 0.00058343 | 0.59237 | 0.59236 | 0.59237 | 0.9927 | -0.13924 | 0.99521 | -0.091183 | 40.6844
5 | 0.30815 | 0.078202 | -0.30793 | -0.078064 | 0.00021692 | 0.00013827 | 0.46225 | 0.46225 | 0.46225 | 0.9927 | -0.13924 | 0.99193 | -0.15388 | 31.7482
6 | -0.42107 | -0.10696 | 0.42293 | 0.10815 | 0.001857 | 0.0011859 | 0.63009 | 0.63009 | 0.63009 | 0.99521 | -0.091183 | 1 | 0 | 43.2755
7 | 0.02523 | 0.0063339 | -0.025207 | -0.0063198 | 2.2863e-05 | 1.4076e-05 | 0.037727 | 0.037728 | 0.037728 | 0.99521 | -0.091183 | 0.99422 | -0.1102 | 10.3647
8 | 0.29822 | 0.07563 | -0.29805 | -0.075517 | 0.00017722 | 0.00011293 | 0.44769 | 0.44769 | 0.44769 | 0.99193 | -0.15388 | 0.99129 | -0.16625 | 30.7477
9 | -0.0075576 | -0.0018942 | 0.0075577 | 0.0018943 | 9.733e-08 | 3.6925e-08 | 0.011415 | 0.011415 | 0.011415 | 0.98521 | -0.28369 | 0.98523 | -0.28342 | 3.1359
10 | 0.0075576 | 0.0018942 | -0.0075566 | -0.0018939 | 1.0383e-06 | 3.9395e-07 | 0.011415 | 0.011415 | 0.011415 | 0.98521 | -0.28369 | 0.98506 | -0.28657 | 3.1359
11 | -0.059729 | -0.015074 | 0.059774 | 0.015102 | 4.4236e-05 | 2.8126e-05 | 0.090248 | 0.090248 | 0.090248 | 0.98523 | -0.28342 | 0.98602 | -0.26796 | 24.7935
12 | 0.052172 | 0.01318 | -0.052152 | -0.013168 | 1.9183e-05 | 1.2172e-05 | 0.078834 | 0.078834 | 0.078834 | 0.98523 | -0.28342 | 0.98483 | -0.29109 | 21.6576
13 | 0.0040452 | 0.0010129 | -0.0040446 | -0.0010131 | 6.0237e-07 | -1.8272e-07 | 0.006054 | 0.0060542 | 0.0060542 | 0.99422 | -0.1102 | 0.99406 | -0.11333 | 1.6633
14 | 0.021162 | 0.0053069 | -0.021153 | -0.0053014 | 9.0772e-06 | 5.4967e-06 | 0.031674 | 0.031674 | 0.031674 | 0.99422 | -0.1102 | 0.99376 | -0.1192 | 8.7016
15 | 0.0040446 | 0.0010131 | -0.0040444 | -0.0010131 | 2.5993e-07 | -7.878e-08 | 0.0060542 | 0.0060543 | 0.0060543 | 0.99406 | -0.11333 | 0.99399 | -0.11468 | 1.6633
16 | 0.11719 | 0.029581 | -0.11715 | -0.029557 | 3.9965e-05 | 2.4884e-05 | 0.177 | 0.177 | 0.177 | 0.98561 | -0.27599 | 0.98524 | -0.28312 | 12.1568
17 | -0.11719 | -0.029581 | 0.11725 | 0.029619 | 6.0946e-05 | 3.7947e-05 | 0.177 | 0.177 | 0.177 | 0.98561 | -0.27599 | 0.98617 | -0.26514 | 12.1567
18 | 0.11478 | 0.028963 | -0.11471 | -0.02892 | 7.0221e-05 | 4.3674e-05 | 0.17343 | 0.17343 | 0.17343 | 0.98524 | -0.28312 | 0.98458 | -0.2959 | 11.9112
19 | -0.13046 | -0.03293 | 0.13055 | 0.032985 | 8.7436e-05 | 5.4731e-05 | 0.19693 | 0.19693 | 0.19693 | 0.98617 | -0.26514 | 0.98689 | -0.25116 | 13.5257
20 | 0.01321 | 0.0033109 | -0.013209 | -0.0033102 | 1.2987e-06 | 7.1996e-07 | 0.019932 | 0.019932 | 0.019932 | 0.98617 | -0.26514 | 0.98606 | -0.26721 | 5.4759
21 | 0.085952 | 0.021672 | -0.085921 | -0.021653 | 3.1387e-05 | 1.9084e-05 | 0.13009 | 0.13009 | 0.13009 | 0.98349 | -0.31711 | 0.9831 | -0.32474 | 8.9349
22 | 0.014378 | 0.0036045 | -0.014374 | -0.0036024 | 3.6156e-06 | 2.0555e-06 | 0.021754 | 0.021754 | 0.021754 | 0.98349 | -0.31711 | 0.98322 | -0.32239 | 5.9763
23 | -0.10033 | -0.025276 | 0.10043 | 0.025339 | 0.00010188 | 6.2806e-05 | 0.15185 | 0.15184 | 0.15185 | 0.98349 | -0.31711 | 0.98458 | -0.2959 | 10.4289
24 | 0.082097 | 0.020695 | -0.082087 | -0.020688 | 1.0402e-05 | 6.2931e-06 | 0.1243 | 0.1243 | 0.1243 | 0.9831 | -0.32474 | 0.98296 | -0.32739 | 8.5374
25 | 0.0056588 | 0.0014181 | -0.0056578 | -0.001418 | 9.659e-07 | 1.7285e-07 | 0.008564 | 0.0085641 | 0.0085641 | 0.98322 | -0.32239 | 0.98304 | -0.32597 | 2.3528
26 | 0.010014 | 0.0025115 | -0.01001 | -0.0025094 | 4.2529e-06 | 2.0925e-06 | 0.015135 | 0.015135 | 0.015135 | 0.98458 | -0.2959 | 0.98413 | -0.30481 | 4.158
27 | 0.0042666 | 0.0010687 | -0.0042659 | -0.0010689 | 7.2827e-07 | -1.2783e-07 | 0.006448 | 0.0064482 | 0.0064482 | 0.98458 | -0.2959 | 0.9844 | -0.29948 | 1.7715
28 | 0.0030078 | 0.00075349 | -0.0030077 | -0.00075359 | 9.8141e-08 | -1.0448e-07 | 0.0045028 | 0.0045028 | 0.0045028 | 0.99395 | -0.11537 | 0.99392 | -0.11605 | 1.237
29 | -0.0030078 | -0.00075349 | 0.0030079 | 0.00075338 | 9.8753e-08 | -1.0515e-07 | 0.0045028 | 0.0045027 | 0.0045028 | 0.99395 | -0.11537 | 0.99399 | -0.11468 | 1.237
30 | 0.0019407 | 0.00048617 | -0.0019407 | -0.00048622 | 1.4265e-08 | -4.9272e-08 | 0.0029054 | 0.0029054 | 0.0029054 | 0.99392 | -0.11605 | 0.99391 | -0.11621 | 0.79819
31 | 0.28887 | 0.073217 | -0.28837 | -0.072899 | 0.00049956 | 0.00031826 | 0.43391 | 0.43391 | 0.43391 | 0.99129 | -0.16625 | 0.98942 | -0.20231 | 29.8015
32 | 0.048383 | 0.012223 | -0.048326 | -0.012187 | 5.6873e-05 | 3.6038e-05 | 0.073139 | 0.073139 | 0.073139 | 0.98483 | -0.29109 | 0.98357 | -0.31564 | 20.0931
33 | 0.0037692 | 0.00094453 | -0.003769 | -0.0009446 | 1.7899e-07 | -7.2695e-08 | 0.005695 | 0.005695 | 0.005695 | 0.98483 | -0.29109 | 0.98478 | -0.29209 | 1.5646
34 | 0.043637 | 0.011012 | -0.043613 | -0.010997 | 2.4089e-05 | 1.523e-05 | 0.066045 | 0.066045 | 0.066045 | 0.98357 | -0.31564 | 0.98297 | -0.32718 | 18.1442
35 | -0.075734 | -0.019102 | 0.075885 | 0.019198 | 0.00015036 | 9.5839e-05 | 0.11433 | 0.11433 | 0.11433 | 0.98602 | -0.26796 | 0.98816 | -0.22658 | 31.4107
36 | 0.037368 | 0.0094177 | -0.037351 | -0.0094071 | 1.671e-05 | 1.0519e-05 | 0.056647 | 0.056647 | 0.056647 | 0.98192 | -0.34776 | 0.98144 | -0.35712 | 15.5625
37 | -0.037368 | -0.0094177 | 0.037405 | 0.0094409 | 3.6843e-05 | 2.3192e-05 | 0.056647 | 0.056647 | 0.056647 | 0.98192 | -0.34776 | 0.98297 | -0.32718 | 15.5624
38 | 0.037351 | 0.0094071 | -0.037313 | -0.009383 | 3.8374e-05 | 2.4157e-05 | 0.056647 | 0.056648 | 0.056648 | 0.98144 | -0.35712 | 0.98034 | -0.37862 | 15.5625
39 | 0.027326 | 0.0068801 | -0.027306 | -0.0068674 | 2.0419e-05 | 1.2669e-05 | 0.041489 | 0.041489 | 0.041489 | 0.98034 | -0.37862 | 0.97954 | -0.39427 | 11.3981
40 | 0.01001 | 0.0025094 | -0.010006 | -0.0025079 | 3.1657e-06 | 1.5579e-06 | 0.015135 | 0.015135 | 0.015135 | 0.98413 | -0.30481 | 0.98379 | -0.31145 | 4.158
41 | 0.0029324 | 0.00073464 | -0.0029322 | -0.00073488 | 2.1536e-07 | -2.3374e-07 | 0.0044325 | 0.0044327 | 0.0044327 | 0.9844 | -0.29948 | 0.98432 | -0.30103 | 1.2178
42 | 0.0037824 | 0.00094684 | -0.0037816 | -0.00094716 | 7.9579e-07 | -3.2147e-07 | 0.0057074 | 0.0057077 | 0.0057077 | 0.98606 | -0.26721 | 0.98584 | -0.27163 | 1.5681
43 | 0.0094263 | 0.0023633 | -0.0094215 | -0.0023611 | 4.7716e-06 | 2.2521e-06 | 0.014225 | 0.014225 | 0.014225 | 0.98606 | -0.26721 | 0.98552 | -0.27783 | 3.908
44 | 0.0037816 | 0.00094716 | -0.0037815 | -0.00094722 | 1.505e-07 | -6.0744e-08 | 0.0057077 | 0.0057078 | 0.0057078 | 0.98584 | -0.27163 | 0.98579 | -0.27246 | 1.5681
45 | 0.004627 | 0.0011595 | -0.0046264 | -0.0011595 | 5.5769e-07 | -3.1286e-08 | 0.0069861 | 0.0069863 | 0.0069863 | 0.98552 | -0.27783 | 0.98539 | -0.28036 | 1.9193
46 | 0.16091 | 0.040667 | -0.16072 | -0.040548 | 0.00018939 | 0.00011945 | 0.24243 | 0.24243 | 0.24243 | 0.98816 | -0.22658 | 0.98689 | -0.25116 | 16.6505
47 | -0.2368 | -0.059865 | 0.23696 | 0.059967 | 0.00016049 | 0.00010203 | 0.35677 | 0.35677 | 0.35677 | 0.98816 | -0.22658 | 0.98889 | -0.21246 | 24.5031
48 | -0.2494 | -0.063086 | 0.24952 | 0.063163 | 0.00012152 | 7.7304e-05 | 0.37549 | 0.37549 | 0.37549 | 0.98889 | -0.21246 | 0.98942 | -0.20231 | 25.7889
49 | 0.0037815 | 0.00094722 | -0.0037807 | -0.00094753 | 7.6703e-07 | -3.0932e-07 | 0.0057078 | 0.0057081 | 0.0057081 | 0.98579 | -0.27246 | 0.98557 | -0.27672 | 1.5682
50 | 0.027306 | 0.0068674 | -0.02728 | -0.0068515 | 2.573e-05 | 1.5966e-05 | 0.041489 | 0.041489 | 0.041489 | 0.97954 | -0.39427 | 0.97853 | -0.41401 | 11.3982
51 | 0.02728 | 0.0068515 | -0.027249 | -0.0068321 | 3.1183e-05 | 1.9351e-05 | 0.041489 | 0.04149 | 0.04149 | 0.97853 | -0.41401 | 0.97731 | -0.438 | 11.3983
52 | 0.013221 | 0.0033163 | -0.013212 | -0.0033111 | 9.2233e-06 | 5.1429e-06 | 0.020131 | 0.020131 | 0.020131 | 0.97731 | -0.438 | 0.97656 | -0.45264 | 5.5304
53 | -0.0061933 | -0.0015522 | 0.0062013 | 0.0015543 | 7.9567e-06 | 2.1402e-06 | 0.0094635 | 0.0094624 | 0.0094635 | 0.97383 | -0.50646 | 0.97519 | -0.47951 | 2.5999
54 | 0.0061933 | 0.0015522 | -0.0061914 | -0.0015517 | 1.9106e-06 | 5.1525e-07 | 0.0094635 | 0.0094637 | 0.0094637 | 0.97383 | -0.50646 | 0.9735 | -0.51294 | 2.5999
55 | -0.0062013 | -0.0015543 | 0.0062017 | 0.0015544 | 3.992e-07 | 1.0714e-07 | 0.0094624 | 0.0094624 | 0.0094624 | 0.97519 | -0.47951 | 0.97526 | -0.47816 | 2.5996
56 | 0.0053485 | 0.0013404 | -0.005348 | -0.0013403 | 5.08e-07 | 7.3145e-08 | 0.0081753 | 0.0081754 | 0.0081754 | 0.9735 | -0.51294 | 0.9734 | -0.51493 | 2.246
57 | -0.05334 | -0.013451 | 0.053419 | 0.013495 | 7.8669e-05 | 4.3864e-05 | 0.080922 | 0.08092 | 0.080922 | 0.98118 | -0.36209 | 0.98276 | -0.33132 | 5.5579
58 | 0.05334 | 0.013451 | -0.053337 | -0.013449 | 2.8493e-06 | 1.5891e-06 | 0.080922 | 0.080923 | 0.080923 | 0.98118 | -0.36209 | 0.98113 | -0.3632 | 5.5579
59 | -0.079767 | -0.020102 | 0.079782 | 0.020111 | 1.5002e-05 | 9.0453e-06 | 0.12082 | 0.12082 | 0.12082 | 0.98276 | -0.33132 | 0.98296 | -0.32739 | 8.2978
60 | 0.021075 | 0.0052858 | -0.021069 | -0.0052822 | 5.7887e-06 | 3.5127e-06 | 0.031912 | 0.031912 | 0.031912 | 0.98276 | -0.33132 | 0.98247 | -0.33708 | 8.767
61 | 0.0052735 | 0.0013215 | -0.0052732 | -0.0013214 | 3.2756e-07 | 3.605e-08 | 0.0079847 | 0.0079847 | 0.0079847 | 0.98276 | -0.33132 | 0.9827 | -0.33262 | 2.1936
62 | 0.051979 | 0.013109 | -0.051978 | -0.013108 | 1.2295e-06 | 6.8035e-07 | 0.078862 | 0.078863 | 0.078863 | 0.98113 | -0.3632 | 0.9811 | -0.3637 | 5.4164
63 | 0.0024599 | 0.00061646 | -0.0024599 | -0.0006165 | 2.5963e-08 | -4.6417e-08 | 0.0037276 | 0.0037276 | 0.0037276 | 0.98197 | -0.34678 | 0.98196 | -0.347 | 1.0241
64 | -0.0024599 | -0.00061646 | 0.0024601 | 0.00061616 | 1.6663e-07 | -2.9796e-07 | 0.0037276 | 0.0037274 | 0.0037276 | 0.98197 | -0.34678 | 0.98205 | -0.34536 | 1.0241
65 | -0.016318 | -0.0040894 | 0.016325 | 0.0040931 | 6.4335e-06 | 3.7623e-06 | 0.024726 | 0.024726 | 0.024726 | 0.98205 | -0.34536 | 0.98247 | -0.33708 | 6.7928
66 | 0.0037237 | 0.00093309 | -0.0037236 | -0.00093315 | 1.5194e-07 | -6.4211e-08 | 0.0056385 | 0.0056385 | 0.0056385 | 0.9827 | -0.33262 | 0.98265 | -0.33348 | 1.549
67 | -0.015438 | -0.0038703 | 0.015439 | 0.0038706 | 5.1744e-07 | 3.0009e-07 | 0.023547 | 0.023547 | 0.023547 | 0.9756 | -0.47161 | 0.97563 | -0.47091 | 6.4691
68 | 0.01228 | 0.0030789 | -0.012278 | -0.0030775 | 2.4219e-06 | 1.3202e-06 | 0.018731 | 0.018731 | 0.018731 | 0.9756 | -0.47161 | 0.97539 | -0.47575 | 5.1459
69 | -0.016824 | -0.0042178 | 0.016827 | 0.0042194 | 2.7829e-06 | 1.6403e-06 | 0.02566 | 0.02566 | 0.02566 | 0.97563 | -0.47091 | 0.97581 | -0.46744 | 7.0495
70 | 0.0096304 | 0.002414 | -0.0096293 | -0.0024135 | 1.1046e-06 | 5.3662e-07 | 0.014692 | 0.014692 | 0.014692 | 0.97539 | -0.47575 | 0.97526 | -0.47816 | 4.0363
71 | -0.022463 | -0.0056317 | 0.022468 | 0.0056347 | 4.9502e-06 | 3.0276e-06 | 0.034255 | 0.034255 | 0.034255 | 0.97581 | -0.46744 | 0.97604 | -0.46282 | 9.4106
72 | 0.0056362 | 0.0014123 | -0.0056355 | -0.0014121 | 6.7786e-07 | 1.2817e-07 | 0.0085946 | 0.0085947 | 0.0085947 | 0.97581 | -0.46744 | 0.97568 | -0.46996 | 2.3612
73 | -0.025014 | -0.0062727 | 0.025015 | 0.0062735 | 1.1446e-06 | 7.0634e-07 | 0.038136 | 0.038136 | 0.038136 | 0.97604 | -0.46282 | 0.97609 | -0.46186 | 10.4769
74 | 0.0030805 | 0.00077181 | -0.0030804 | -0.00077191 | 1.1808e-07 | -1.0259e-07 | 0.0046981 | 0.0046981 | 0.0046981 | 0.97568 | -0.46996 | 0.97564 | -0.47077 | 1.2907
75 | -0.028191 | -0.0070694 | 0.028207 | 0.0070793 | 1.596e-05 | 9.9264e-06 | 0.042977 | 0.042977 | 0.042977 | 0.97609 | -0.46186 | 0.97669 | -0.44998 | 11.8069
76 | 0.0030804 | 0.00077191 | -0.0030803 | -0.000772 | 1.0176e-07 | -8.8395e-08 | 0.0046981 | 0.0046982 | 0.0046982 | 0.97564 | -0.47077 | 0.9756 | -0.47146 | 1.2907
77 | 0.0059052 | 0.0014798 | -0.0059049 | -0.0014798 | 3.286e-07 | 7.4698e-08 | 0.0089945 | 0.0089946 | 0.0089946 | 0.97692 | -0.44554 | 0.97686 | -0.44671 | 2.471
78 | -0.008854 | -0.0022189 | 0.0088546 | 0.0022192 | 6.1568e-07 | 2.81e-07 | 0.013486 | 0.013486 | 0.013486 | 0.97692 | -0.44554 | 0.97699 | -0.44408 | 3.705
79 | 0.0047594 | 0.0011927 | -0.0047591 | -0.0011927 | 3.2417e-07 | 1.5801e-09 | 0.0072498 | 0.0072498 | 0.0072498 | 0.97686 | -0.44671 | 0.97679 | -0.44814 | 1.9917
80 | 0.034587 | 0.0086821 | -0.034577 | -0.0086759 | 9.7316e-06 | 6.1112e-06 | 0.052683 | 0.052683 | 0.052683 | 0.97699 | -0.44408 | 0.97669 | -0.44998 | 14.4734
81 | -0.043442 | -0.010901 | 0.043465 | 0.010916 | 2.3592e-05 | 1.4919e-05 | 0.066169 | 0.066169 | 0.066169 | 0.97699 | -0.44408 | 0.97757 | -0.4327 | 18.1783
82 | 0.0020121 | 0.00050422 | -0.0020121 | -0.00050427 | 1.7992e-08 | -5.2409e-08 | 0.0030651 | 0.0030652 | 0.0030652 | 0.97679 | -0.44814 | 0.97678 | -0.44833 | 0.84207
83 | 0.0063708 | 0.0015966 | -0.0063705 | -0.0015965 | 3.473e-07 | 9.9249e-08 | 0.0097061 | 0.0097061 | 0.0097061 | 0.97669 | -0.44998 | 0.97664 | -0.45113 | 2.6665
84 | -0.044651 | -0.011213 | 0.044679 | 0.011231 | 2.76e-05 | 1.7464e-05 | 0.067974 | 0.067974 | 0.067974 | 0.97757 | -0.4327 | 0.97823 | -0.41975 | 18.6743
85 | 0.0051872 | 0.0013 | -0.0051869 | -0.0013 | 2.7888e-07 | 2.9506e-08 | 0.0079032 | 0.0079033 | 0.0079033 | 0.97664 | -0.45113 | 0.97658 | -0.45226 | 2.1712
86 | -0.046046 | -0.011573 | 0.046068 | 0.011587 | 2.1685e-05 | 1.3731e-05 | 0.070054 | 0.070054 | 0.070054 | 0.97823 | -0.41975 | 0.97874 | -0.4099 | 19.2455
87 | -0.047484 | -0.011942 | 0.047511 | 0.011959 | 2.7488e-05 | 1.7415e-05 | 0.072206 | 0.072206 | 0.072206 | 0.97874 | -0.4099 | 0.97935 | -0.39778 | 19.8369
88 | -0.049749 | -0.01252 | 0.049796 | 0.01255 | 4.703e-05 | 2.9823e-05 | 0.075606 | 0.075606 | 0.075606 | 0.97935 | -0.39778 | 0.98037 | -0.37802 | 20.7708
89 | -0.049796 | -0.01255 | 0.04981 | 0.012559 | 1.47e-05 | 8.6297e-06 | 0.075606 | 0.075605 | 0.075606 | 0.98037 | -0.37802 | 0.98068 | -0.37185 | 6.9236
90 | -0.051957 | -0.013097 | 0.051978 | 0.013108 | 2.0287e-05 | 1.1227e-05 | 0.078863 | 0.078863 | 0.078863 | 0.98068 | -0.37185 | 0.9811 | -0.3637 | 5.4164
91 | 0.0023474 | 0.00058825 | -0.0023474 | -0.00058831 | 2.8518e-08 | -5.7991e-08 | 0.0035546 | 0.0035547 | 0.0035547 | 0.98265 | -0.33348 | 0.98264 | -0.33373 | 0.97655
92 | 0.0010256 | 0.00025687 | -0.0010256 | -0.00025703 | 1.1346e-08 | -1.5906e-07 | 0.0015354 | 0.0015354 | 0.0015354 | 0.99391 | -0.11621 | 0.9939 | -0.11644 | 0.42183

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44396 | 0.113

## res_load
| p_mw | q_mvar
0 | 0.083658 | 0.020967
1 | 0.00054644 | 0.00013695
2 | 0.0023386 | 0.0005861
3 | 0.0097108 | 0.0024337
4 | 0.0075566 | 0.0018939
5 | 0.021153 | 0.0053014
6 | 0.019381 | 0.0048573
7 | 0.0023675 | 0.00059336
8 | 0.0038233 | 0.00095821
9 | 0.0087154 | 0.0021843
10 | 0.001067 | 0.00026742
11 | 0.0010365 | 0.00025976
12 | 0.0091778 | 0.0023002
13 | 0.0046892 | 0.0011752
14 | 0.003769 | 0.0009446
15 | 0.015961 | 0.0040002
16 | 0.0062081 | 0.0015559
17 | 0.0099867 | 0.0025029
18 | 0.0013335 | 0.00033421
19 | 0.0047945 | 0.0012016
20 | 0.030175 | 0.0075627
21 | 0.012442 | 0.0031182
22 | 0.0037807 | 0.00094753
23 | 0.014028 | 0.0035158
24 | 0.010006 | 0.0025079
25 | 0.00084293 | 0.00021126
26 | 0.0013583 | 0.00034042
27 | 0.0024599 | 0.0006165
28 | 0.013858 | 0.0034732
29 | 0.0023047 | 0.0005776
30 | 0.0047447 | 0.0011891
31 | 0.0015495 | 0.00038834
32 | 0.0029322 | 0.00073488
33 | 0.0046264 | 0.0011595
34 | 0.038847 | 0.0097361
35 | 0.013212 | 0.0033111
36 | 0.0056578 | 0.001418
37 | 0.0031579 | 0.00079144
38 | 0.0013853 | 0.00034718
39 | 0.0026476 | 0.00066354
40 | 0.0034276 | 0.00085904
41 | 0.0025457 | 0.00063802
42 | 0.002555 | 0.00064033
43 | 0.0031757 | 0.00079592
44 | 0.0029488 | 0.00073904
45 | 0.0011455 | 0.00028708
46 | 0.002747 | 0.00068846
47 | 0.0011861 | 0.00029725
48 | 0.0020121 | 0.00050427
49 | 0.0011833 | 0.00029656
50 | 0.001367 | 0.00034259
51 | 0.0051869 | 0.0013
52 | 0.0014161 | 0.0003549
53 | 0.0022374 | 0.00056074
54 | 0.002147 | 0.0005381
55 | 0.005348 | 0.0013403
56 | 0.0013762 | 0.0003449
57 | 0.00091511 | 0.00022935
58 | 0.0030803 | 0.000772
59 | 0.0010256 | 0.00025703
60 | 0.0023474 | 0.00058831

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1