## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_242-5_1_3_node_220 | 0.4 | n |  | TRUE
1 | bus_LV_242-5_1_3_node_221 | 0.4 | n |  | TRUE
2 | bus_LV_242-5_1_3_node_267 | 0.4 | n |  | TRUE
3 | bus_LV_242-5_1_3_node_229 | 0.4 | n |  | TRUE
4 | bus_LV_242-5_1_3_node_230 | 0.4 | n |  | TRUE
5 | bus_LV_242-5_1_3_node_231 | 0.4 | n |  | TRUE
6 | bus_LV_242-5_1_3_node_232 | 0.4 | n |  | TRUE
7 | bus_LV_242-5_1_3_node_233 | 0.4 | n |  | TRUE
8 | bus_LV_242-5_1_3_node_234 | 0.4 | n |  | TRUE
9 | bus_LV_242-5_1_3_node_250 | 0.4 | n |  | TRUE
10 | bus_LV_242-5_1_3_node_302 | 0.4 | n |  | TRUE
11 | bus_LV_242-5_1_3_node_309 | 0.4 | n |  | TRUE
12 | bus_LV_242-5_1_3_node_306 | 0.4 | n |  | TRUE
13 | bus_LV_242-5_1_3_node_235 | 0.4 | n |  | TRUE
14 | bus_LV_242-5_1_3_node_287 | 0.4 | n |  | TRUE
15 | bus_LV_242-5_1_3_node_236 | 0.4 | n |  | TRUE
16 | bus_LV_242-5_1_3_node_237 | 0.4 | n |  | TRUE
17 | bus_LV_242-5_1_3_node_238 | 0.4 | n |  | TRUE
18 | bus_LV_242-5_1_3_node_239 | 0.4 | n |  | TRUE
19 | bus_LV_242-5_1_3_node_240 | 0.4 | n |  | TRUE
20 | bus_LV_242-5_1_3_node_241 | 0.4 | n |  | TRUE
21 | bus_LV_242-5_1_3_node_243 | 0.4 | n |  | TRUE
22 | bus_LV_242-5_1_3_node_244 | 0.4 | n |  | TRUE
23 | bus_LV_242-5_1_3_node_251 | 0.4 | n |  | TRUE
24 | bus_LV_242-5_1_3_node_268 | 0.4 | n |  | TRUE
25 | bus_LV_242-5_1_3_node_271 | 0.4 | n |  | TRUE
26 | bus_LV_242-5_1_3_node_259 | 0.4 | n |  | TRUE
27 | bus_LV_242-5_1_3_node_270 | 0.4 | n |  | TRUE
28 | bus_LV_242-5_1_3_node_245 | 0.4 | n |  | TRUE
29 | bus_LV_242-5_1_3_node_246 | 0.4 | n |  | TRUE
30 | bus_LV_242-5_1_3_node_247 | 0.4 | n |  | TRUE
31 | bus_LV_242-5_1_3_node_248 | 0.4 | n |  | TRUE
32 | bus_LV_242-5_1_3_node_249 | 0.4 | n |  | TRUE
33 | bus_LV_242-5_1_3_node_257 | 0.4 | n |  | TRUE
34 | bus_LV_242-5_1_3_node_269 | 0.4 | n |  | TRUE
35 | bus_LV_242-5_1_3_node_275 | 0.4 | n |  | TRUE
36 | bus_LV_242-5_1_3_node_253 | 0.4 | n |  | TRUE
37 | bus_LV_242-5_1_3_node_252 | 0.4 | n |  | TRUE
38 | bus_LV_242-5_1_3_node_254 | 0.4 | n |  | TRUE
39 | bus_LV_242-5_1_3_node_255 | 0.4 | n |  | TRUE
40 | bus_LV_242-5_1_3_node_256 | 0.4 | n |  | TRUE
41 | bus_LV_242-5_1_3_node_258 | 0.4 | n |  | TRUE
42 | bus_LV_242-5_1_3_node_281 | 0.4 | n |  | TRUE
43 | bus_LV_242-5_1_3_node_260 | 0.4 | n |  | TRUE
44 | bus_LV_242-5_1_3_node_261 | 0.4 | n |  | TRUE
45 | bus_LV_242-5_1_3_node_262 | 0.4 | n |  | TRUE
46 | bus_LV_242-5_1_3_node_263 | 0.4 | n |  | TRUE
47 | bus_LV_242-5_1_3_node_264 | 0.4 | n |  | TRUE
48 | bus_LV_242-5_1_3_node_310 | 0.4 | n |  | TRUE
49 | bus_LV_242-5_1_3_node_265 | 0.4 | n |  | TRUE
50 | bus_LV_242-5_1_3_node_266 | 0.4 | n |  | TRUE
51 | bus_LV_242-5_1_3_node_272 | 0.4 | n |  | TRUE
52 | bus_LV_242-5_1_3_node_273 | 0.4 | n |  | TRUE
53 | bus_LV_242-5_1_3_node_286 | 0.4 | n |  | TRUE
54 | bus_LV_242-5_1_3_node_274 | 0.4 | n |  | TRUE
55 | bus_LV_242-5_1_3_node_276 | 0.4 | n |  | TRUE
56 | bus_LV_242-5_1_3_node_277 | 0.4 | n |  | TRUE
57 | bus_LV_242-5_1_3_node_289 | 0.4 | n |  | TRUE
58 | bus_LV_242-5_1_3_node_278 | 0.4 | n |  | TRUE
59 | bus_LV_242-5_1_3_node_279 | 0.4 | n |  | TRUE
60 | bus_LV_242-5_1_3_node_280 | 0.4 | n |  | TRUE
61 | bus_LV_242-5_1_3_node_285 | 0.4 | n |  | TRUE
62 | bus_LV_242-5_1_3_node_282 | 0.4 | n |  | TRUE
63 | bus_LV_242-5_1_3_node_283 | 0.4 | n |  | TRUE
64 | bus_LV_242-5_1_3_node_284 | 0.4 | n |  | TRUE
65 | bus_LV_242-5_1_3_node_288 | 0.4 | n |  | TRUE
66 | bus_LV_242-5_1_3_node_304 | 0.4 | n |  | TRUE
67 | bus_LV_242-5_1_3_node_295 | 0.4 | n |  | TRUE
68 | bus_LV_242-5_1_3_node_301 | 0.4 | n |  | TRUE
69 | bus_LV_242-5_1_3_node_290 | 0.4 | n |  | TRUE
70 | bus_LV_242-5_1_3_node_298 | 0.4 | n |  | TRUE
71 | bus_LV_242-5_1_3_node_292 | 0.4 | n |  | TRUE
72 | bus_LV_242-5_1_3_node_293 | 0.4 | n |  | TRUE
73 | bus_LV_242-5_1_3_node_294 | 0.4 | n |  | TRUE
74 | bus_LV_242-5_1_3_node_296 | 0.4 | n |  | TRUE
75 | bus_LV_242-5_1_3_node_297 | 0.4 | n |  | TRUE
76 | bus_LV_242-5_1_3_node_299 | 0.4 | n |  | TRUE
77 | bus_LV_242-5_1_3_node_300 | 0.4 | n |  | TRUE
78 | bus_LV_242-5_1_3_node_303 | 0.4 | n |  | TRUE
79 | bus_LV_242-5_1_3_node_305 | 0.4 | n |  | TRUE
80 | bus_LV_242-5_1_3_node_307 | 0.4 | n |  | TRUE
81 | bus_LV_242-5_1_3_node_308 | 0.4 | n |  | TRUE
82 | bus_LV_242-5_1_3_node_311 | 0.4 | n |  | TRUE
83 | bus_MV_358_1_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_242-5_1_3_load_220 | 0 | 0.0023361 | 0.00058549 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_242-5_1_3_load_221 | 1 | 0.0033964 | 0.00085121 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_242-5_1_3_load_267 | 2 | 0.0031209 | 0.00078217 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_242-5_1_3_load_229 | 3 | 0.0024806 | 0.00062169 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_242-5_1_3_load_230 | 4 | 0.0025509 | 0.00063932 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_242-5_1_3_load_232 | 6 | 0.0017908 | 0.00044881 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_242-5_1_3_load_234 | 8 | 0.0024067 | 0.00060317 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_242-5_1_3_load_250 | 9 | 0.0071684 | 0.0017966 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_242-5_1_3_load_302 | 10 | 0.0019558 | 0.00049017 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_242-5_1_3_load_309 | 11 | 0.001735 | 0.00043482 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_242-5_1_3_load_306 | 12 | 0.0025251 | 0.00063284 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_242-5_1_3_load_235 | 13 | 0.0067348 | 0.0016879 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_242-5_1_3_load_236 | 15 | 0.0013454 | 0.00033719 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_242-5_1_3_load_237 | 16 | 0.00116 | 0.00029072 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_242-5_1_3_load_239 | 18 | 0.0031862 | 0.00079853 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_242-5_1_3_load_241 | 20 | 0.0016703 | 0.00041862 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_242-5_1_3_load_251 | 23 | 0.0011589 | 0.00029045 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_242-5_1_3_load_270 | 27 | 0.0035487 | 0.00088939 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_242-5_1_3_load_245 | 28 | 0.00049912 | 0.00012509 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_242-5_1_3_load_247 | 30 | 0.00053156 | 0.00013322 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_242-5_1_3_load_249 | 32 | 0.0012216 | 0.00030617 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_242-5_1_3_load_269 | 34 | 0.0023546 | 0.00059012 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_242-5_1_3_load_275 | 35 | 0.0010176 | 0.00025503 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_242-5_1_3_load_253 | 36 | 0.0038703 | 0.00096999 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_242-5_1_3_load_252 | 37 | 0.0012383 | 0.00031036 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_242-5_1_3_load_254 | 38 | 0.0013195 | 0.00033069 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_242-5_1_3_load_255 | 39 | 0.0024935 | 0.00062494 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_242-5_1_3_load_258 | 41 | 0.0013056 | 0.0003272 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_242-5_1_3_load_260 | 43 | 0.00079157 | 0.00019839 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_242-5_1_3_load_263 | 46 | 0.0010032 | 0.00025141 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_242-5_1_3_load_264 | 47 | 0.00054944 | 0.0001377 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_242-5_1_3_load_310 | 48 | 0.00045338 | 0.00011363 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_242-5_1_3_load_265 | 49 | 0.0021728 | 0.00054456 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_242-5_1_3_load_266 | 50 | 0.0030662 | 0.00076847 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_242-5_1_3_load_272 | 51 | 0.00073496 | 0.0001842 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_242-5_1_3_load_273 | 52 | 0.0056746 | 0.0014222 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_242-5_1_3_load_286 | 53 | 0.0052232 | 0.0013091 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_242-5_1_3_load_274 | 54 | 0.0025749 | 0.00064533 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_242-5_1_3_load_276 | 55 | 0.0027364 | 0.00068581 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_242-5_1_3_load_277 | 56 | 0.00037738 | 9.4581e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_242-5_1_3_load_289 | 57 | 0.0013037 | 0.00032675 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_242-5_1_3_load_278 | 58 | 0.004201 | 0.0010529 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_242-5_1_3_load_279 | 59 | 0.0016573 | 0.00041535 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_242-5_1_3_load_280 | 60 | 0.0051725 | 0.0012964 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_242-5_1_3_load_282 | 62 | 0.0069483 | 0.0017414 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_242-5_1_3_load_283 | 63 | 0.0048493 | 0.0012153 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_242-5_1_3_load_304 | 66 | 0.0013387 | 0.0003355 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_242-5_1_3_load_301 | 68 | 0.0063941 | 0.0016025 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_242-5_1_3_load_290 | 69 | 0.0027413 | 0.00068704 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_242-5_1_3_load_298 | 70 | 0.0013509 | 0.00033857 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_242-5_1_3_load_292 | 71 | 0.0036414 | 0.00091261 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_242-5_1_3_load_293 | 72 | 0.0038924 | 0.00097552 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_242-5_1_3_load_294 | 73 | 0.0036071 | 0.00090402 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_242-5_1_3_load_296 | 74 | 0.003872 | 0.00097041 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_242-5_1_3_load_297 | 75 | 0.0019083 | 0.00047826 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_242-5_1_3_load_299 | 76 | 0.0016382 | 0.00041057 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_242-5_1_3_load_300 | 77 | 0.00287 | 0.00071929 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_242-5_1_3_load_303 | 78 | 0.0016126 | 0.00040415 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_242-5_1_3_load_305 | 79 | 0.0085486 | 0.0021425 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_242-5_1_3_load_307 | 80 | 0.0019044 | 0.0004773 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_242-5_1_3_load_308 | 81 | 0.0087909 | 0.0022032 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_242-5_1_3_load_311 | 82 | 0.0021862 | 0.00054792 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_242-5_1_3_line_0 |  | 0 | 1 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_242-5_1_3_line_1 |  | 1 | 2 | 0.32908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_242-5_1_3_line_2 |  | 2 | 49 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_242-5_1_3_line_3 |  | 3 | 4 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_242-5_1_3_line_4 |  | 3 | 5 | 0.020397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_242-5_1_3_line_5 |  | 4 | 6 | 0.022332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_242-5_1_3_line_6 |  | 5 | 7 | 0.00416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_242-5_1_3_line_7 |  | 5 | 8 | 0.02827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_242-5_1_3_line_8 |  | 6 | 9 | 0.0047285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_242-5_1_3_line_9 |  | 7 | 10 | 0.029063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_242-5_1_3_line_10 |  | 7 | 11 | 0.035084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_242-5_1_3_line_11 |  | 7 | 12 | 0.017288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_242-5_1_3_line_12 |  | 9 | 36 | 0.025689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_242-5_1_3_line_13 |  | 10 | 67 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_242-5_1_3_line_14 |  | 11 | 19 | 0.030022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_242-5_1_3_line_15 |  | 12 | 80 | 0.0023518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_242-5_1_3_line_16 |  | 13 | 14 | 0.0097853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_242-5_1_3_line_17 |  | 14 | 67 | 0.003057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_242-5_1_3_line_18 |  | 14 | 64 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_242-5_1_3_line_19 |  | 15 | 16 | 0.01267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_242-5_1_3_line_20 |  | 15 | 17 | 0.053921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_242-5_1_3_line_21 |  | 16 | 18 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_242-5_1_3_line_22 |  | 17 | 19 | 0.008285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_242-5_1_3_line_23 |  | 17 | 20 | 0.037867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_242-5_1_3_line_24 |  | 18 | 21 | 0.0042723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_242-5_1_3_line_25 |  | 19 | 22 | 0.014897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_242-5_1_3_line_26 |  | 20 | 23 | 0.033642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_242-5_1_3_line_27 |  | 21 | 24 | 0.034006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_242-5_1_3_line_28 |  | 21 | 25 | 0.003829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_242-5_1_3_line_29 |  | 22 | 26 | 0.006613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_242-5_1_3_line_30 |  | 22 | 27 | 0.026702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_242-5_1_3_line_31 |  | 23 | 37 | 0.0087573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_242-5_1_3_line_32 |  | 24 | 50 | 0.030461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_242-5_1_3_line_33 |  | 25 | 51 | 0.018611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_242-5_1_3_line_34 |  | 25 | 52 | 0.033998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_242-5_1_3_line_35 |  | 26 | 40 | 0.005959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_242-5_1_3_line_36 |  | 28 | 29 | 0.055491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_242-5_1_3_line_37 |  | 28 | 30 | 0.00033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_242-5_1_3_line_38 |  | 29 | 31 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_242-5_1_3_line_39 |  | 29 | 32 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_242-5_1_3_line_40 |  | 31 | 33 | 0.019764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_242-5_1_3_line_41 |  | 31 | 34 | 0.061683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_242-5_1_3_line_42 |  | 32 | 35 | 0.016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_242-5_1_3_line_43 |  | 33 | 42 | 0.025184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_242-5_1_3_line_44 |  | 33 | 39 | 0.028443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_242-5_1_3_line_45 |  | 35 | 54 | 0.03554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_242-5_1_3_line_46 |  | 38 | 39 | 0.03169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_242-5_1_3_line_47 |  | 38 | 40 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_242-5_1_3_line_48 |  | 40 | 41 | 0.0077466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_242-5_1_3_line_49 |  | 41 | 43 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_242-5_1_3_line_50 |  | 42 | 61 | 0.027397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_242-5_1_3_line_51 |  | 42 | 60 | 0.0072868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_242-5_1_3_line_52 |  | 43 | 44 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_242-5_1_3_line_53 |  | 44 | 45 | 0.007264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_242-5_1_3_line_54 |  | 44 | 46 | 0.027182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_242-5_1_3_line_55 |  | 45 | 47 | 0.038624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_242-5_1_3_line_56 |  | 46 | 48 | 0.021846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_242-5_1_3_line_57 |  | 48 | 82 | 0.02296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_242-5_1_3_line_58 |  | 49 | 50 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_242-5_1_3_line_59 |  | 51 | 53 | 0.021107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_242-5_1_3_line_60 |  | 54 | 55 | 0.039363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_242-5_1_3_line_61 |  | 55 | 56 | 0.010019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_242-5_1_3_line_62 |  | 56 | 57 | 0.0012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_242-5_1_3_line_63 |  | 57 | 69 | 0.015658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_242-5_1_3_line_64 |  | 58 | 59 | 0.011771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_242-5_1_3_line_65 |  | 59 | 60 | 0.036758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_242-5_1_3_line_66 |  | 61 | 66 | 0.042972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_242-5_1_3_line_67 |  | 62 | 63 | 0.026905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_242-5_1_3_line_68 |  | 63 | 64 | 0.045568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_242-5_1_3_line_69 |  | 64 | 65 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_242-5_1_3_line_70 |  | 65 | 68 | 0.012402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_242-5_1_3_line_71 |  | 66 | 79 | 0.0045908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_242-5_1_3_line_72 |  | 67 | 72 | 0.031092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_242-5_1_3_line_73 |  | 69 | 70 | 0.016452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_242-5_1_3_line_74 |  | 70 | 76 | 0.0089048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_242-5_1_3_line_75 |  | 71 | 72 | 0.0042598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_242-5_1_3_line_76 |  | 71 | 73 | 0.0086726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_242-5_1_3_line_77 |  | 73 | 74 | 0.0023022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_242-5_1_3_line_78 |  | 74 | 75 | 0.0040674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_242-5_1_3_line_79 |  | 76 | 77 | 0.0053343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_242-5_1_3_line_80 |  | 77 | 78 | 0.00054846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_242-5_1_3_line_81 |  | 80 | 81 | 0.011584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_242-5_1_3_trafo_238 | 0.63 MVA 20/0.4 kV | 83 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2676847.3768 | 1245082.4129 | 2676837.9942 | 1245086.0572
1 | 2677174.5883 | 1245117.4072 | 2676847.3768 | 1245082.4129
2 | 2677174.5883 | 1245117.4072 | 2677175.4291 | 1245132.2044
3 | 2677319.9587 | 1245078.7881 | 2677346.3307 | 1245068.6679
4 | 2677300.9153 | 1245086.0959 | 2677319.9587 | 1245078.7881
5 | 2677346.3307 | 1245068.6679 | 2677349.1702 | 1245067.5782 | 2677361.3664 | 1245058.8754 | 2677364.493 | 1245055.9119
6 | 2677300.9153 | 1245086.0959 | 2677296.9466 | 1245087.3785
7 | 2677300.9153 | 1245086.0959 | 2677300.3035 | 1245099.9868 | 2677299.4642 | 1245114.328
8 | 2677364.493 | 1245055.9119 | 2677367.9249 | 1245052.659
9 | 2677296.9466 | 1245087.3785 | 2677298.6633 | 1245058.3659
10 | 2677296.9466 | 1245087.3785 | 2677296.5267 | 1245096.4017 | 2677295.6898 | 1245097.4249 | 2677294.8171 | 1245112.7801 | 2677295.5855 | 1245114.1132 | 2677294.2059 | 1245121.8006
11 | 2677296.9466 | 1245087.3785 | 2677284.0315 | 1245091.5354 | 2677280.3138 | 1245091.3886
12 | 2677386.569 | 1245034.987 | 2677367.9249 | 1245052.659
13 | 2677299.9608 | 1245036.4368 | 2677298.6633 | 1245058.3659
14 | 2677283.2318 | 1245147.0871 | 2677286.8883 | 1245145.9894 | 2677289.4624 | 1245143.8659 | 2677291.1714 | 1245141.4531 | 2677291.929 | 1245138.4052 | 2677292.9537 | 1245128.7784 | 2677294.2059 | 1245121.8006
15 | 2677280.3138 | 1245091.3886 | 2677277.9639 | 1245091.2958
16 | 2677303.0182 | 1245036.6657 | 2677302.6114 | 1245046.4425
17 | 2677299.9608 | 1245036.4368 | 2677303.0182 | 1245036.6657
18 | 2677303.0182 | 1245036.6657 | 2677303.8379 | 1245020.1646
19 | 2677224.2142 | 1245165.8014 | 2677214.3396 | 1245167.5047 | 2677211.6977 | 1245167.7068
20 | 2677275.2019 | 1245149.2173 | 2677261.8644 | 1245153.3243 | 2677261.4164 | 1245154.0746 | 2677231.7203 | 1245164.5066 | 2677224.2142 | 1245165.8014
21 | 2677201.2996 | 1245168.5024 | 2677211.6977 | 1245167.7068
22 | 2677283.2318 | 1245147.0871 | 2677275.2019 | 1245149.2173
23 | 2677275.2019 | 1245149.2173 | 2677273.3132 | 1245146.8688 | 2677267.9373 | 1245144.2303 | 2677253.2596 | 1245143.3274 | 2677243.6015 | 1245132.9727
24 | 2677201.4027 | 1245172.7735 | 2677201.2996 | 1245168.5024 | 2677201.2996 | 1245168.5024
25 | 2677283.2318 | 1245147.0871 | 2677284.595 | 1245153.2314 | 2677280.972 | 1245161.0343
26 | 2677243.6015 | 1245132.9727 | 2677230.1204 | 1245118.5195 | 2677218.411 | 1245111.0706
27 | 2677201.4027 | 1245172.7735 | 2677185.7526 | 1245174.0152 | 2677167.3647 | 1245174.8655
28 | 2677201.4027 | 1245172.7735 | 2677201.7989 | 1245176.5814
29 | 2677280.972 | 1245161.0343 | 2677283.5719 | 1245163.8924 | 2677284.1716 | 1245166.5799
30 | 2677280.972 | 1245161.0343 | 2677277.6008 | 1245160.5456 | 2677273.9776 | 1245160.8319 | 2677255.0416 | 1245166.1203
31 | 2677211.0221 | 1245106.3702 | 2677218.411 | 1245111.0706
32 | 2677167.3647 | 1245174.8655 | 2677167.9108 | 1245165.9996 | 2677176.9061 | 1245158.1999 | 2677176.3574 | 1245148.5427
33 | 2677201.7989 | 1245176.5814 | 2677204.0303 | 1245195.0578
34 | 2677201.7989 | 1245176.5814 | 2677167.8326 | 1245178.043
35 | 2677284.1716 | 1245166.5799 | 2677290.0844 | 1245167.4465
36 | 2677279.2069 | 1245265.7308 | 2677279.4253 | 1245259.4069 | 2677280.9336 | 1245252.099 | 2677282.7716 | 1245246.7414 | 2677285.5749 | 1245242.1079 | 2677291.9834 | 1245239.723 | 2677312.3043 | 1245227.365
37 | 2677312.5862 | 1245227.1936 | 2677312.3043 | 1245227.365
38 | 2677279.2069 | 1245265.7308 | 2677267.6958 | 1245263.646
39 | 2677279.2069 | 1245265.7308 | 2677290.8304 | 1245266.5768
40 | 2677267.1975 | 1245243.9032 | 2677267.1204 | 1245254.4542 | 2677267.6958 | 1245263.646
41 | 2677267.6958 | 1245263.646 | 2677268.106 | 1245279.7184 | 2677268.3003 | 1245285.1026 | 2677269.6599 | 1245298.4743 | 2677272.6111 | 1245308.5756 | 2677277.9461 | 1245323.9288
42 | 2677290.8304 | 1245266.5768 | 2677299.491 | 1245267.2072 | 2677307.4363 | 1245267.4347
43 | 2677243.7161 | 1245252.9372 | 2677262.8949 | 1245246.4601 | 2677267.1975 | 1245243.9032
44 | 2677267.1975 | 1245243.9032 | 2677271.8229 | 1245236.8695 | 2677277.3485 | 1245217.6222
45 | 2677342.012 | 1245261.6863 | 2677331.7263 | 1245265.993 | 2677316.6069 | 1245267.6972 | 2677307.4363 | 1245267.4347
46 | 2677285.9392 | 1245187.1245 | 2677285.4852 | 1245189.28 | 2677277.3485 | 1245217.6222
47 | 2677290.0844 | 1245167.4465 | 2677285.9392 | 1245187.1245
48 | 2677290.0844 | 1245167.4465 | 2677297.826 | 1245167.7253
49 | 2677310.2508 | 1245151.692 | 2677306.0553 | 1245154.3563 | 2677300.6442 | 1245160.7904 | 2677297.826 | 1245167.7253
50 | 2677243.7161 | 1245252.9372 | 2677217.6915 | 1245261.727
51 | 2677243.7161 | 1245252.9372 | 2677247.0197 | 1245246.4422 | 2677247.0197 | 1245246.4422
52 | 2677329.6772 | 1245144.4348 | 2677313.3471 | 1245149.7257 | 2677310.2508 | 1245151.692
53 | 2677329.6772 | 1245144.4348 | 2677322.8256 | 1245141.9659
54 | 2677329.6772 | 1245144.4348 | 2677355.5337 | 1245136.0485
55 | 2677322.8256 | 1245141.9659 | 2677354.5268 | 1245131.3493 | 2677359.0563 | 1245128.8102
56 | 2677355.5337 | 1245136.0485 | 2677355.7131 | 1245135.9903 | 2677364.5524 | 1245130.9019 | 2677373.691 | 1245123.9902
57 | 2677388.6265 | 1245106.6747 | 2677376.5188 | 1245121.8515 | 2677373.691 | 1245123.9902
58 | 2677175.4291 | 1245132.2044 | 2677176.3574 | 1245148.5427
59 | 2677204.0303 | 1245195.0578 | 2677205.5299 | 1245207.4743 | 2677207.2806 | 1245209.9766 | 2677212.6963 | 1245211.1726
60 | 2677342.012 | 1245261.6863 | 2677358.0977 | 1245254.9511 | 2677360.9516 | 1245252.8201 | 2677361.3119 | 1245249.5225 | 2677360.8023 | 1245243.4114 | 2677361.3424 | 1245239.0821 | 2677362.8988 | 1245235.0439 | 2677363.1048 | 1245234.9593
61 | 2677372.373 | 1245231.1526 | 2677363.1048 | 1245234.9593
62 | 2677372.373 | 1245231.1526 | 2677373.5428 | 1245230.6722
63 | 2677373.5428 | 1245230.6722 | 2677375.9654 | 1245229.6771 | 2677388.3449 | 1245225.5831
64 | 2677274.5949 | 1245211.4708 | 2677271.5304 | 1245222.8359
65 | 2677271.5304 | 1245222.8359 | 2677269.6876 | 1245229.6698 | 2677267.2958 | 1245235.1982 | 2677264.2955 | 1245238.7172 | 2677259.5167 | 1245241.8683 | 2677247.0197 | 1245246.4422
66 | 2677217.6915 | 1245261.727 | 2677206.5431 | 1245256.745 | 2677176.0705 | 1245252.5459
67 | 2677372.8601 | 1244998.0705 | 2677347.2362 | 1245006.2727
68 | 2677303.8379 | 1245020.1646 | 2677347.2362 | 1245006.2727
69 | 2677302.5847 | 1245002.6802 | 2677305.651 | 1245003.3873 | 2677304.9528 | 1245006.5138 | 2677303.8379 | 1245020.1646
70 | 2677302.5847 | 1245002.6802 | 2677301.7832 | 1245013.155 | 2677301.6352 | 1245015.0457
71 | 2677171.5227 | 1245251.9192 | 2677176.0705 | 1245252.5459
72 | 2677299.9608 | 1245036.4368 | 2677271.0675 | 1245035.0817 | 2677269.6903 | 1245036.7545
73 | 2677402.2702 | 1245217.2664 | 2677399.7418 | 1245220.0692 | 2677389.9064 | 1245225.0667 | 2677388.3449 | 1245225.5831
74 | 2677402.2702 | 1245217.2664 | 2677408.2349 | 1245210.6545
75 | 2677266.9828 | 1245040.0432 | 2677266.9828 | 1245040.0432 | 2677269.6903 | 1245036.7545
76 | 2677266.9828 | 1245040.0432 | 2677269.9162 | 1245048.2047
77 | 2677270.6949 | 1245050.3712 | 2677269.9162 | 1245048.2047
78 | 2677270.6949 | 1245050.3712 | 2677272.0706 | 1245054.1988
79 | 2677408.2349 | 1245210.6545 | 2677411.8079 | 1245206.6937
80 | 2677412.1753 | 1245206.2864 | 2677411.8079 | 1245206.6937
81 | 2677266.3889 | 1245090.8385 | 2677277.9639 | 1245091.2958

## bus_geodata
| x | y | coords
0 | 2676837.9942 | 1245086.0572
1 | 2676847.3768 | 1245082.4129
2 | 2677174.5883 | 1245117.4072
3 | 2677319.9587 | 1245078.7881
4 | 2677346.3307 | 1245068.6679
5 | 2677300.9153 | 1245086.0959
6 | 2677364.493 | 1245055.9119
7 | 2677296.9466 | 1245087.3785
8 | 2677299.4642 | 1245114.328
9 | 2677367.9249 | 1245052.659
10 | 2677298.6633 | 1245058.3659
11 | 2677294.2059 | 1245121.8006
12 | 2677280.3138 | 1245091.3886
13 | 2677302.6114 | 1245046.4425
14 | 2677303.0182 | 1245036.6657
15 | 2677224.2142 | 1245165.8014
16 | 2677211.6977 | 1245167.7068
17 | 2677275.2019 | 1245149.2173
18 | 2677201.2996 | 1245168.5024
19 | 2677283.2318 | 1245147.0871
20 | 2677243.6015 | 1245132.9727
21 | 2677201.4027 | 1245172.7735
22 | 2677280.972 | 1245161.0343
23 | 2677218.411 | 1245111.0706
24 | 2677167.3647 | 1245174.8655
25 | 2677201.7989 | 1245176.5814
26 | 2677284.1716 | 1245166.5799
27 | 2677255.0416 | 1245166.1203
28 | 2677312.3043 | 1245227.365
29 | 2677279.2069 | 1245265.7308
30 | 2677312.5862 | 1245227.1936
31 | 2677267.6958 | 1245263.646
32 | 2677290.8304 | 1245266.5768
33 | 2677267.1975 | 1245243.9032
34 | 2677277.9461 | 1245323.9288
35 | 2677307.4363 | 1245267.4347
36 | 2677386.569 | 1245034.987
37 | 2677211.0221 | 1245106.3702
38 | 2677285.9392 | 1245187.1245
39 | 2677277.3485 | 1245217.6222
40 | 2677290.0844 | 1245167.4465
41 | 2677297.826 | 1245167.7253
42 | 2677243.7161 | 1245252.9372
43 | 2677310.2508 | 1245151.692
44 | 2677329.6772 | 1245144.4348
45 | 2677322.8256 | 1245141.9659
46 | 2677355.5337 | 1245136.0485
47 | 2677359.0563 | 1245128.8102
48 | 2677373.691 | 1245123.9902
49 | 2677175.4291 | 1245132.2044
50 | 2677176.3574 | 1245148.5427
51 | 2677204.0303 | 1245195.0578
52 | 2677167.8326 | 1245178.043
53 | 2677212.6963 | 1245211.1726
54 | 2677342.012 | 1245261.6863
55 | 2677363.1048 | 1245234.9593
56 | 2677372.373 | 1245231.1526
57 | 2677373.5428 | 1245230.6722
58 | 2677274.5949 | 1245211.4708
59 | 2677271.5304 | 1245222.8359
60 | 2677247.0197 | 1245246.4422
61 | 2677217.6915 | 1245261.727
62 | 2677372.8601 | 1244998.0705
63 | 2677347.2362 | 1245006.2727
64 | 2677303.8379 | 1245020.1646
65 | 2677302.5847 | 1245002.6802
66 | 2677176.0705 | 1245252.5459
67 | 2677299.9608 | 1245036.4368
68 | 2677301.6352 | 1245015.0457
69 | 2677388.3449 | 1245225.5831
70 | 2677402.2702 | 1245217.2664
71 | 2677266.9828 | 1245040.0432
72 | 2677269.6903 | 1245036.7545
73 | 2677269.9162 | 1245048.2047
74 | 2677270.6949 | 1245050.3712
75 | 2677272.0706 | 1245054.1988
76 | 2677408.2349 | 1245210.6545
77 | 2677411.8079 | 1245206.6937
78 | 2677412.1753 | 1245206.2864
79 | 2677171.5227 | 1245251.9192
80 | 2677277.9639 | 1245091.2958
81 | 2677266.3889 | 1245090.8385
82 | 2677388.6265 | 1245106.6747
83 | 2677276.1548 | 1245154.9561

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99489 | -0.098478 | 0.0023361 | 0.00058549
1 | 0.99491 | -0.098064 | 0.0033964 | 0.00085121
2 | 0.99663 | -0.064871 | 0.0031209 | 0.00078217
3 | 0.99391 | -0.11687 | 0.0024806 | 0.00062169
4 | 0.99352 | -0.12454 | 0.0025509 | 0.00063932
5 | 0.99425 | -0.11044 | 0 | 0
6 | 0.99325 | -0.1296 | 0.0017908 | 0.00044881
7 | 0.99432 | -0.10896 | 0 | 0
8 | 0.99418 | -0.11164 | 0.0024067 | 0.00060317
9 | 0.99321 | -0.13052 | 0.0071684 | 0.0017966
10 | 0.99316 | -0.13143 | 0.0019558 | 0.00049017
11 | 0.9968 | -0.061262 | 0.001735 | 0.00043482
12 | 0.99411 | -0.11299 | 0.0025251 | 0.00063284
13 | 0.99219 | -0.15021 | 0.0067348 | 0.0016879
14 | 0.99225 | -0.14904 | 0 | 0
15 | 0.99846 | -0.02959 | 0.0013454 | 0.00033719
16 | 0.99811 | -0.036257 | 0.00116 | 0.00029072
17 | 1 | 0 | -0.17451 | -0.043668
18 | 0.99784 | -0.041537 | 0.0031862 | 0.00079853
19 | 0.99897 | -0.019726 | 0 | 0
20 | 0.99986 | -0.0026864 | 0.0016703 | 0.00041862
21 | 0.99774 | -0.043462 | 0 | 0
22 | 0.99819 | -0.034679 | 0 | 0
23 | 0.99979 | -0.004093 | 0.0011589 | 0.00029045
24 | 0.9973 | -0.051864 | 0 | 0
25 | 0.9977 | -0.044242 | 0 | 0
26 | 0.99786 | -0.040913 | 0 | 0
27 | 0.9981 | -0.036337 | 0.0035487 | 0.00088939
28 | 0.99354 | -0.12418 | 0.00049912 | 0.00012509
29 | 0.99359 | -0.12316 | 0 | 0
30 | 0.99354 | -0.12418 | 0.00053156 | 0.00013322
31 | 0.99381 | -0.11895 | 0 | 0
32 | 0.99338 | -0.12717 | 0.0012216 | 0.00030617
33 | 0.99422 | -0.11098 | 0 | 0
34 | 0.99368 | -0.12151 | 0.0023546 | 0.00059012
35 | 0.99311 | -0.13252 | 0.0010176 | 0.00025503
36 | 0.99312 | -0.13228 | 0.0038703 | 0.00096999
37 | 0.99978 | -0.0042821 | 0.0012383 | 0.00031036
38 | 0.9967 | -0.063306 | 0.0013195 | 0.00033069
39 | 0.99536 | -0.089061 | 0.0024935 | 0.00062494
40 | 0.99757 | -0.046534 | 0 | 0
41 | 0.99752 | -0.047388 | 0.0013056 | 0.0003272
42 | 0.99374 | -0.12028 | 0 | 0
43 | 0.99743 | -0.049211 | 0.00079157 | 0.00019839
44 | 0.99735 | -0.050743 | 0 | 0
45 | 0.99735 | -0.050813 | 0 | 0
46 | 0.99726 | -0.052479 | 0.0010032 | 0.00025141
47 | 0.99733 | -0.051185 | 0.00054944 | 0.0001377
48 | 0.99721 | -0.05349 | 0.00045338 | 0.00011363
49 | 0.99675 | -0.062565 | 0.0021728 | 0.00054456
50 | 0.99691 | -0.059397 | 0.0030662 | 0.00076847
51 | 0.9976 | -0.046184 | 0.00073496 | 0.0001842
52 | 0.99752 | -0.047621 | 0.0056746 | 0.0014222
53 | 0.9975 | -0.048115 | 0.0052232 | 0.0013091
54 | 0.99255 | -0.14334 | 0.0025749 | 0.00064533
55 | 0.99202 | -0.15353 | 0.0027364 | 0.00068581
56 | 0.99191 | -0.15565 | 0.00037738 | 9.4581e-05
57 | 0.9919 | -0.1559 | 0.0013037 | 0.00032675
58 | 0.99343 | -0.12637 | 0.004201 | 0.0010529
59 | 0.99347 | -0.1255 | 0.0016573 | 0.00041535
60 | 0.99367 | -0.1217 | 0.0051725 | 0.0012964
61 | 0.99349 | -0.12506 | 0 | 0
62 | 0.99131 | -0.16721 | 0.0069483 | 0.0017414
63 | 0.99148 | -0.16389 | 0.0048493 | 0.0012153
64 | 0.99197 | -0.15436 | 0 | 0
65 | 0.99186 | -0.15663 | 0 | 0
66 | 0.99311 | -0.13257 | 0.0013387 | 0.0003355
67 | 0.99232 | -0.14769 | 0 | 0
68 | 0.99178 | -0.15804 | 0.0063941 | 0.0016025
69 | 0.99175 | -0.15874 | 0.0027413 | 0.00068704
70 | 0.99164 | -0.16092 | 0.0013509 | 0.00033857
71 | 0.99179 | -0.15799 | 0.0036414 | 0.00091261
72 | 0.99184 | -0.15701 | 0.0038924 | 0.00097552
73 | 0.99171 | -0.15943 | 0.0036071 | 0.00090402
74 | 0.9917 | -0.15967 | 0.003872 | 0.00097041
75 | 0.99169 | -0.15981 | 0.0019083 | 0.00047826
76 | 0.99159 | -0.16188 | 0.0016382 | 0.00041057
77 | 0.99157 | -0.16231 | 0.00287 | 0.00071929
78 | 0.99157 | -0.16232 | 0.0016126 | 0.00040415
79 | 0.99307 | -0.13326 | 0.0085486 | 0.0021425
80 | 0.99409 | -0.11343 | 0.0019044 | 0.0004773
81 | 0.994 | -0.11523 | 0.0087909 | 0.0022032
82 | 0.99716 | -0.05437 | 0.0021862 | 0.00054792
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0023361 | -0.00058549 | 0.0023362 | 0.00058539 | 4.6082e-08 | -1.0122e-07 | 0.0034941 | 0.003494 | 0.0034941 | 0.99489 | -0.098478 | 0.99491 | -0.098064 | 0.95991
1 | -0.0057325 | -0.0014366 | 0.0057416 | 0.0014381 | 9.0697e-06 | 1.5238e-06 | 0.0085737 | 0.0085722 | 0.0085737 | 0.99491 | -0.098064 | 0.99663 | -0.064871 | 2.3554
2 | -0.0088625 | -0.0022203 | 0.0088635 | 0.0022207 | 9.7309e-07 | 4.2962e-07 | 0.013232 | 0.013232 | 0.013232 | 0.99663 | -0.064871 | 0.99675 | -0.062565 | 3.6351
3 | 0.01539 | 0.0038597 | -0.015384 | -0.0038565 | 5.6239e-06 | 3.2334e-06 | 0.023042 | 0.023042 | 0.023042 | 0.99391 | -0.11687 | 0.99352 | -0.12454 | 6.3302
4 | -0.017871 | -0.0044814 | 0.017876 | 0.0044847 | 5.4756e-06 | 3.2399e-06 | 0.026755 | 0.026755 | 0.026755 | 0.99391 | -0.11687 | 0.99425 | -0.11044 | 7.3504
5 | 0.012833 | 0.0032172 | -0.01283 | -0.0032155 | 3.0941e-06 | 1.6911e-06 | 0.019221 | 0.019221 | 0.019221 | 0.99352 | -0.12454 | 0.99325 | -0.1296 | 5.2806
6 | -0.020283 | -0.0050876 | 0.020284 | 0.0050884 | 1.4376e-06 | 8.6614e-07 | 0.030357 | 0.030357 | 0.030357 | 0.99425 | -0.11044 | 0.99432 | -0.10896 | 8.3399
7 | 0.0024068 | 0.00060289 | -0.0024067 | -0.00060317 | 1.3755e-07 | -2.7857e-07 | 0.003602 | 0.0036021 | 0.0036021 | 0.99425 | -0.11044 | 0.99418 | -0.11164 | 0.98959
8 | 0.01104 | 0.0027667 | -0.011039 | -0.0027664 | 4.8502e-07 | 2.4921e-07 | 0.016539 | 0.016539 | 0.016539 | 0.99325 | -0.1296 | 0.99321 | -0.13052 | 4.5436
9 | 0.043906 | 0.011041 | -0.043859 | -0.011011 | 4.7071e-05 | 2.9749e-05 | 0.065719 | 0.065719 | 0.065719 | 0.99432 | -0.10896 | 0.99316 | -0.13143 | 18.0546
10 | -0.077414 | -0.019444 | 0.077591 | 0.019557 | 0.00017662 | 0.00011258 | 0.11587 | 0.11587 | 0.11587 | 0.99432 | -0.10896 | 0.9968 | -0.061262 | 31.8313
11 | 0.013224 | 0.0033152 | -0.013221 | -0.0033138 | 2.5391e-06 | 1.4008e-06 | 0.01979 | 0.01979 | 0.01979 | 0.99432 | -0.10896 | 0.99411 | -0.11299 | 5.4368
12 | 0.0038706 | 0.00096986 | -0.0038703 | -0.00096999 | 3.2394e-07 | -1.251e-07 | 0.0057989 | 0.005799 | 0.005799 | 0.99321 | -0.13052 | 0.99312 | -0.13228 | 1.5931
13 | 0.041903 | 0.010521 | -0.04187 | -0.0105 | 3.2477e-05 | 2.0501e-05 | 0.062788 | 0.062789 | 0.062789 | 0.99316 | -0.13143 | 0.99232 | -0.14769 | 17.2496
14 | -0.079326 | -0.019992 | 0.079484 | 0.020092 | 0.00015798 | 0.00010071 | 0.11846 | 0.11846 | 0.11846 | 0.9968 | -0.061262 | 0.99897 | -0.019726 | 32.5428
15 | 0.010696 | 0.0026809 | -0.010696 | -0.0026808 | 2.2607e-07 | 1.1419e-07 | 0.016011 | 0.016011 | 0.016011 | 0.99411 | -0.11299 | 0.99409 | -0.11343 | 4.3985
16 | -0.0067348 | -0.0016879 | 0.0067352 | 0.001688 | 3.7435e-07 | 1.132e-07 | 0.0101 | 0.0101 | 0.0101 | 0.99219 | -0.15021 | 0.99225 | -0.14904 | 2.7748
17 | -0.024939 | -0.0062535 | 0.024941 | 0.0062545 | 1.6036e-06 | 9.8679e-07 | 0.037401 | 0.037401 | 0.037401 | 0.99225 | -0.14904 | 0.99232 | -0.14769 | 10.2749
18 | 0.018204 | 0.0045655 | -0.018199 | -0.0045627 | 4.618e-06 | 2.7422e-06 | 0.0273 | 0.0273 | 0.0273 | 0.99225 | -0.14904 | 0.99197 | -0.15436 | 7.5001
19 | 0.030115 | 0.0075578 | -0.030106 | -0.0075518 | 9.5722e-06 | 5.9606e-06 | 0.044885 | 0.044885 | 0.044885 | 0.99846 | -0.02959 | 0.99811 | -0.036257 | 12.3311
20 | -0.031461 | -0.007895 | 0.031505 | 0.0079227 | 4.4458e-05 | 2.7747e-05 | 0.04689 | 0.04689 | 0.04689 | 0.99846 | -0.02959 | 1 | 0 | 12.8819
21 | 0.028946 | 0.0072611 | -0.028939 | -0.0072566 | 7.2834e-06 | 4.5251e-06 | 0.043156 | 0.043156 | 0.043156 | 0.99811 | -0.036257 | 0.99784 | -0.041537 | 11.856
22 | 0.13729 | 0.034726 | -0.13716 | -0.034643 | 0.0001298 | 8.2962e-05 | 0.2044 | 0.2044 | 0.2044 | 1 | 0 | 0.99897 | -0.019726 | 56.1528
23 | 0.0040683 | 0.0010188 | -0.0040677 | -0.001019 | 5.2036e-07 | -1.637e-07 | 0.0060533 | 0.0060535 | 0.0060535 | 1 | 0 | 0.99986 | -0.0026864 | 1.6631
24 | 0.025752 | 0.006458 | -0.02575 | -0.0064566 | 2.363e-06 | 1.4565e-06 | 0.038404 | 0.038404 | 0.038404 | 0.99784 | -0.041537 | 0.99774 | -0.043462 | 10.5507
25 | 0.057673 | 0.014551 | -0.057631 | -0.014524 | 4.1259e-05 | 2.6211e-05 | 0.08594 | 0.08594 | 0.08594 | 0.99897 | -0.019726 | 0.99819 | -0.034679 | 23.61
26 | 0.0023974 | 0.00060036 | -0.0023973 | -0.0006007 | 1.6059e-07 | -3.3843e-07 | 0.0035677 | 0.0035679 | 0.0035679 | 0.99986 | -0.0026864 | 0.99979 | -0.004093 | 0.98019
27 | 0.014115 | 0.0035406 | -0.014109 | -0.0035374 | 5.6516e-06 | 3.1731e-06 | 0.021052 | 0.021052 | 0.021052 | 0.99774 | -0.043462 | 0.9973 | -0.051864 | 5.7835
28 | 0.011635 | 0.002916 | -0.011635 | -0.0029157 | 4.3236e-07 | 2.267e-07 | 0.017353 | 0.017353 | 0.017353 | 0.99774 | -0.043462 | 0.9977 | -0.044242 | 4.7672
29 | 0.054082 | 0.013635 | -0.054066 | -0.013625 | 1.613e-05 | 1.0237e-05 | 0.08065 | 0.08065 | 0.08065 | 0.99819 | -0.034679 | 0.99786 | -0.040913 | 22.1566
30 | 0.003549 | 0.00088922 | -0.0035487 | -0.00088939 | 2.8026e-07 | -1.6964e-07 | 0.0052905 | 0.0052906 | 0.0052906 | 0.99819 | -0.034679 | 0.9981 | -0.036337 | 1.4535
31 | 0.0012384 | 0.00031025 | -0.0012383 | -0.00031036 | 1.1155e-08 | -1.077e-07 | 0.001843 | 0.0018431 | 0.0018431 | 0.99979 | -0.004093 | 0.99978 | -0.0042821 | 0.50634
32 | 0.014109 | 0.0035374 | -0.014104 | -0.0035346 | 5.0626e-06 | 2.8427e-06 | 0.021052 | 0.021052 | 0.021052 | 0.9973 | -0.051864 | 0.99691 | -0.059397 | 5.7836
33 | 0.0059592 | 0.0014934 | -0.0059587 | -0.0014933 | 5.513e-07 | 1.0982e-07 | 0.0088878 | 0.0088879 | 0.0088879 | 0.9977 | -0.044242 | 0.9976 | -0.046184 | 2.4417
34 | 0.0056755 | 0.0014223 | -0.0056746 | -0.0014222 | 9.1352e-07 | 1.4076e-07 | 0.0084648 | 0.0084649 | 0.0084649 | 0.9977 | -0.044242 | 0.99752 | -0.047621 | 2.3255
35 | 0.054066 | 0.013625 | -0.054052 | -0.013616 | 1.4535e-05 | 9.2246e-06 | 0.08065 | 0.08065 | 0.08065 | 0.99786 | -0.040913 | 0.99757 | -0.046534 | 22.1566
36 | -0.0010307 | -0.00025831 | 0.0010307 | 0.00025762 | 4.9576e-08 | -6.8693e-07 | 0.0015436 | 0.0015434 | 0.0015436 | 0.99354 | -0.12418 | 0.99359 | -0.12316 | 0.42408
37 | 0.00053156 | 0.00013322 | -0.00053156 | -0.00013322 | 7.8206e-11 | -4.223e-09 | 0.00079611 | 0.00079612 | 0.00079612 | 0.99354 | -0.12418 | 0.99354 | -0.12418 | 0.21871
38 | -0.020504 | -0.0051469 | 0.020508 | 0.0051494 | 4.1253e-06 | 2.4891e-06 | 0.030709 | 0.030709 | 0.030709 | 0.99359 | -0.12316 | 0.99381 | -0.11895 | 8.4366
39 | 0.019473 | 0.0048893 | -0.019469 | -0.004887 | 3.7177e-06 | 2.2284e-06 | 0.029166 | 0.029166 | 0.029166 | 0.99359 | -0.12316 | 0.99338 | -0.12717 | 8.0126
40 | -0.022863 | -0.0057389 | 0.022871 | 0.0057442 | 8.6865e-06 | 5.3032e-06 | 0.034235 | 0.034235 | 0.034235 | 0.99381 | -0.11895 | 0.99422 | -0.11098 | 9.4052
41 | 0.0023549 | 0.0005895 | -0.0023546 | -0.00059012 | 2.8756e-07 | -6.1511e-07 | 0.0035257 | 0.003526 | 0.003526 | 0.99381 | -0.11895 | 0.99368 | -0.12151 | 0.96867
42 | 0.018247 | 0.0045809 | -0.018243 | -0.0045781 | 4.6607e-06 | 2.7676e-06 | 0.027336 | 0.027336 | 0.027336 | 0.99338 | -0.12717 | 0.99311 | -0.13252 | 7.5099
43 | 0.020935 | 0.0052516 | -0.020926 | -0.005246 | 9.2728e-06 | 5.6082e-06 | 0.031335 | 0.031335 | 0.031335 | 0.99422 | -0.11098 | 0.99374 | -0.12028 | 8.6085
44 | -0.043807 | -0.010996 | 0.043852 | 0.011025 | 4.5858e-05 | 2.898e-05 | 0.06557 | 0.06557 | 0.06557 | 0.99422 | -0.11098 | 0.99536 | -0.089061 | 18.0137
45 | 0.017225 | 0.0043231 | -0.017216 | -0.0043178 | 8.8794e-06 | 5.2232e-06 | 0.025811 | 0.025812 | 0.025812 | 0.99311 | -0.13252 | 0.99255 | -0.14334 | 7.0911
46 | 0.046403 | 0.011686 | -0.046346 | -0.01165 | 5.7067e-05 | 3.611e-05 | 0.069297 | 0.069297 | 0.069297 | 0.9967 | -0.063306 | 0.99536 | -0.089061 | 19.0377
47 | -0.047722 | -0.012016 | 0.047761 | 0.012041 | 3.8302e-05 | 2.4251e-05 | 0.071267 | 0.071267 | 0.071267 | 0.9967 | -0.063306 | 0.99757 | -0.046534 | 19.5789
48 | 0.0062909 | 0.001575 | -0.0062906 | -0.001575 | 2.5576e-07 | 6.2557e-08 | 0.0093831 | 0.0093832 | 0.0093832 | 0.99757 | -0.046534 | 0.99752 | -0.047388 | 2.5778
49 | 0.004985 | 0.0012478 | -0.0049846 | -0.0012478 | 4.3256e-07 | 4.5133e-09 | 0.0074357 | 0.0074358 | 0.0074358 | 0.99752 | -0.047388 | 0.99743 | -0.049211 | 2.0428
50 | 0.0098933 | 0.0024809 | -0.0098911 | -0.0024798 | 2.2549e-06 | 1.0883e-06 | 0.014815 | 0.014815 | 0.014815 | 0.99374 | -0.12028 | 0.99349 | -0.12506 | 4.07
51 | 0.011033 | 0.0027651 | -0.011032 | -0.0027647 | 7.4577e-07 | 3.829e-07 | 0.01652 | 0.01652 | 0.01652 | 0.99374 | -0.12028 | 0.99367 | -0.1217 | 4.5385
52 | 0.004193 | 0.0010494 | -0.0041927 | -0.0010495 | 3.0566e-07 | -7.6277e-08 | 0.0062548 | 0.0062549 | 0.0062549 | 0.99743 | -0.049211 | 0.99735 | -0.050743 | 1.7184
53 | 0.00054946 | 0.00013711 | -0.00054945 | -0.00013721 | 1.8297e-09 | -9.3623e-08 | 0.00081956 | 0.00081959 | 0.00081959 | 0.99735 | -0.050743 | 0.99735 | -0.050813 | 0.22516
54 | 0.0036433 | 0.00091235 | -0.003643 | -0.00091251 | 3.0116e-07 | -1.6196e-07 | 0.0054354 | 0.0054355 | 0.0054355 | 0.99735 | -0.050743 | 0.99726 | -0.052479 | 1.4933
55 | 0.00054945 | 0.00013721 | -0.00054944 | -0.0001377 | 9.7316e-09 | -4.978e-07 | 0.00081959 | 0.00081977 | 0.00081977 | 0.99735 | -0.050813 | 0.99733 | -0.051185 | 0.22521
56 | 0.0026398 | 0.0006611 | -0.0026397 | -0.0006613 | 1.2709e-07 | -2.0368e-07 | 0.0039387 | 0.0039388 | 0.0039388 | 0.99726 | -0.052479 | 0.99721 | -0.05349 | 1.0821
57 | 0.0021863 | 0.00054768 | -0.0021862 | -0.00054792 | 9.1635e-08 | -2.4088e-07 | 0.0032623 | 0.0032624 | 0.0032624 | 0.99721 | -0.05349 | 0.99716 | -0.05437 | 0.89626
58 | -0.011036 | -0.0027653 | 0.011038 | 0.0027661 | 1.6658e-06 | 8.5276e-07 | 0.016476 | 0.016475 | 0.016476 | 0.99675 | -0.062565 | 0.99691 | -0.059397 | 4.5263
59 | 0.0052237 | 0.0013091 | -0.0052232 | -0.0013091 | 4.8053e-07 | 3.1986e-08 | 0.0077916 | 0.0077917 | 0.0077917 | 0.9976 | -0.046184 | 0.9975 | -0.048115 | 2.1406
60 | 0.014641 | 0.0036725 | -0.014634 | -0.0036685 | 7.113e-06 | 4.0438e-06 | 0.021951 | 0.021952 | 0.021952 | 0.99255 | -0.14334 | 0.99202 | -0.15353 | 6.0306
61 | 0.011898 | 0.0029827 | -0.011897 | -0.002982 | 1.1968e-06 | 6.3658e-07 | 0.017847 | 0.017847 | 0.017847 | 0.99202 | -0.15353 | 0.99191 | -0.15565 | 4.903
62 | 0.011519 | 0.0028874 | -0.011519 | -0.0028874 | 1.4162e-07 | 7.4315e-08 | 0.017281 | 0.017281 | 0.017281 | 0.99191 | -0.15565 | 0.9919 | -0.1559 | 4.7475
63 | 0.010215 | 0.0025606 | -0.010214 | -0.0025599 | 1.379e-06 | 6.805e-07 | 0.015325 | 0.015325 | 0.015325 | 0.9919 | -0.1559 | 0.99175 | -0.15874 | 4.2102
64 | -0.004201 | -0.0010529 | 0.0042011 | 0.0010528 | 1.7478e-07 | -4.0554e-08 | 0.0062925 | 0.0062924 | 0.0062925 | 0.99343 | -0.12637 | 0.99347 | -0.1255 | 1.7287
65 | -0.0058584 | -0.0014682 | 0.0058595 | 0.0014684 | 1.0613e-06 | 2.0317e-07 | 0.0087747 | 0.0087745 | 0.0087747 | 0.99347 | -0.1255 | 0.99367 | -0.1217 | 2.4106
66 | 0.0098911 | 0.0024798 | -0.0098876 | -0.0024781 | 3.5368e-06 | 1.7073e-06 | 0.014815 | 0.014815 | 0.014815 | 0.99349 | -0.12506 | 0.99311 | -0.13257 | 4.0701
67 | -0.0069483 | -0.0017414 | 0.0069494 | 0.0017418 | 1.0975e-06 | 3.5547e-07 | 0.01043 | 0.01043 | 0.01043 | 0.99131 | -0.16721 | 0.99148 | -0.16389 | 2.8653
68 | -0.011799 | -0.0029571 | 0.011804 | 0.0029599 | 5.3579e-06 | 2.8411e-06 | 0.017707 | 0.017707 | 0.017707 | 0.99148 | -0.16389 | 0.99197 | -0.15436 | 4.8647
69 | 0.0063952 | 0.0016028 | -0.0063945 | -0.0016026 | 6.9183e-07 | 1.8401e-07 | 0.0095932 | 0.0095933 | 0.0095933 | 0.99197 | -0.15436 | 0.99186 | -0.15663 | 2.6355
70 | 0.0063945 | 0.0016026 | -0.0063941 | -0.0016025 | 4.2801e-07 | 1.1387e-07 | 0.0095933 | 0.0095933 | 0.0095933 | 0.99186 | -0.15663 | 0.99178 | -0.15804 | 2.6355
71 | 0.0085489 | 0.0021426 | -0.0085486 | -0.0021425 | 2.8247e-07 | 1.2138e-07 | 0.012809 | 0.012809 | 0.012809 | 0.99311 | -0.13257 | 0.99307 | -0.13326 | 3.519
72 | 0.01693 | 0.0042458 | -0.016922 | -0.0042414 | 7.5151e-06 | 4.4082e-06 | 0.025388 | 0.025388 | 0.025388 | 0.99232 | -0.14769 | 0.99184 | -0.15701 | 6.9748
73 | 0.0074728 | 0.0018729 | -0.007472 | -0.0018726 | 7.7557e-07 | 2.841e-07 | 0.011212 | 0.011212 | 0.011212 | 0.99175 | -0.15874 | 0.99164 | -0.16092 | 3.0803
74 | 0.0061211 | 0.001534 | -0.0061208 | -0.001534 | 2.8172e-07 | 6.543e-08 | 0.0091851 | 0.0091851 | 0.0091851 | 0.99164 | -0.16092 | 0.99159 | -0.16188 | 2.5234
75 | -0.013029 | -0.0032656 | 0.01303 | 0.0032659 | 6.1045e-07 | 3.3571e-07 | 0.019549 | 0.019549 | 0.019549 | 0.99179 | -0.15799 | 0.99184 | -0.15701 | 5.3705
76 | 0.009388 | 0.0023529 | -0.0093874 | -0.0023526 | 6.4523e-07 | 3.0104e-07 | 0.014085 | 0.014085 | 0.014085 | 0.99179 | -0.15799 | 0.99171 | -0.15943 | 3.8696
77 | 0.0057803 | 0.0014486 | -0.0057803 | -0.0014486 | 6.4941e-08 | 1.1858e-08 | 0.0086731 | 0.0086731 | 0.0086731 | 0.99171 | -0.15943 | 0.9917 | -0.15967 | 2.3827
78 | 0.0019083 | 0.00047821 | -0.0019083 | -0.00047826 | 1.2505e-08 | -4.4475e-08 | 0.0028633 | 0.0028633 | 0.0028633 | 0.9917 | -0.15967 | 0.99169 | -0.15981 | 0.78663
79 | 0.0044827 | 0.0011234 | -0.0044826 | -0.0011234 | 9.0518e-08 | -1.0878e-08 | 0.0067268 | 0.0067269 | 0.0067269 | 0.99159 | -0.16188 | 0.99157 | -0.16231 | 1.848
80 | 0.0016126 | 0.00040414 | -0.0016126 | -0.00040415 | 1.2047e-09 | -6.3036e-09 | 0.0024199 | 0.0024199 | 0.0024199 | 0.99157 | -0.16231 | 0.99157 | -0.16232 | 0.66482
81 | 0.0087916 | 0.0022035 | -0.0087909 | -0.0022032 | 7.5231e-07 | 3.3131e-07 | 0.01316 | 0.01316 | 0.01316 | 0.99409 | -0.11343 | 0.994 | -0.11523 | 3.6154

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17451 | 0.043668

## res_load
| p_mw | q_mvar
0 | 0.0023361 | 0.00058549
1 | 0.0033964 | 0.00085121
2 | 0.0031209 | 0.00078217
3 | 0.0024806 | 0.00062169
4 | 0.0025509 | 0.00063932
5 | 0.0017908 | 0.00044881
6 | 0.0024067 | 0.00060317
7 | 0.0071684 | 0.0017966
8 | 0.0019558 | 0.00049017
9 | 0.001735 | 0.00043482
10 | 0.0025251 | 0.00063284
11 | 0.0067348 | 0.0016879
12 | 0.0013454 | 0.00033719
13 | 0.00116 | 0.00029072
14 | 0.0031862 | 0.00079853
15 | 0.0016703 | 0.00041862
16 | 0.0011589 | 0.00029045
17 | 0.0035487 | 0.00088939
18 | 0.00049912 | 0.00012509
19 | 0.00053156 | 0.00013322
20 | 0.0012216 | 0.00030617
21 | 0.0023546 | 0.00059012
22 | 0.0010176 | 0.00025503
23 | 0.0038703 | 0.00096999
24 | 0.0012383 | 0.00031036
25 | 0.0013195 | 0.00033069
26 | 0.0024935 | 0.00062494
27 | 0.0013056 | 0.0003272
28 | 0.00079157 | 0.00019839
29 | 0.0010032 | 0.00025141
30 | 0.00054944 | 0.0001377
31 | 0.00045338 | 0.00011363
32 | 0.0021728 | 0.00054456
33 | 0.0030662 | 0.00076847
34 | 0.00073496 | 0.0001842
35 | 0.0056746 | 0.0014222
36 | 0.0052232 | 0.0013091
37 | 0.0025749 | 0.00064533
38 | 0.0027364 | 0.00068581
39 | 0.00037738 | 9.4581e-05
40 | 0.0013037 | 0.00032675
41 | 0.004201 | 0.0010529
42 | 0.0016573 | 0.00041535
43 | 0.0051725 | 0.0012964
44 | 0.0069483 | 0.0017414
45 | 0.0048493 | 0.0012153
46 | 0.0013387 | 0.0003355
47 | 0.0063941 | 0.0016025
48 | 0.0027413 | 0.00068704
49 | 0.0013509 | 0.00033857
50 | 0.0036414 | 0.00091261
51 | 0.0038924 | 0.00097552
52 | 0.0036071 | 0.00090402
53 | 0.003872 | 0.00097041
54 | 0.0019083 | 0.00047826
55 | 0.0016382 | 0.00041057
56 | 0.00287 | 0.00071929
57 | 0.0016126 | 0.00040415
58 | 0.0085486 | 0.0021425
59 | 0.0019044 | 0.0004773
60 | 0.0087909 | 0.0022032
61 | 0.0021862 | 0.00054792

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1