## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2457-2_1_3_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_2457-2_1_3_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_2457-2_1_3_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_2457-2_1_3_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_2457-2_1_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_2457-2_1_3_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_2457-2_1_3_node_193 | 0.4 | n |  | TRUE
7 | bus_LV_2457-2_1_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2457-2_1_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2457-2_1_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_2457-2_1_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_2457-2_1_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_2457-2_1_3_node_234 | 0.4 | n |  | TRUE
13 | bus_LV_2457-2_1_3_node_110 | 0.4 | n |  | TRUE
14 | bus_LV_2457-2_1_3_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_2457-2_1_3_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_2457-2_1_3_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_2457-2_1_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_2457-2_1_3_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_2457-2_1_3_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_2457-2_1_3_node_236 | 0.4 | n |  | TRUE
21 | bus_LV_2457-2_1_3_node_143 | 0.4 | n |  | TRUE
22 | bus_LV_2457-2_1_3_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_2457-2_1_3_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_2457-2_1_3_node_195 | 0.4 | n |  | TRUE
25 | bus_LV_2457-2_1_3_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_2457-2_1_3_node_133 | 0.4 | n |  | TRUE
27 | bus_LV_2457-2_1_3_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_2457-2_1_3_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_2457-2_1_3_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_2457-2_1_3_node_95 | 0.4 | n |  | TRUE
31 | bus_LV_2457-2_1_3_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_2457-2_1_3_node_181 | 0.4 | n |  | TRUE
33 | bus_LV_2457-2_1_3_node_213 | 0.4 | n |  | TRUE
34 | bus_LV_2457-2_1_3_node_162 | 0.4 | n |  | TRUE
35 | bus_LV_2457-2_1_3_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_2457-2_1_3_node_112 | 0.4 | n |  | TRUE
37 | bus_LV_2457-2_1_3_node_141 | 0.4 | n |  | TRUE
38 | bus_LV_2457-2_1_3_node_131 | 0.4 | n |  | TRUE
39 | bus_LV_2457-2_1_3_node_132 | 0.4 | n |  | TRUE
40 | bus_LV_2457-2_1_3_node_134 | 0.4 | n |  | TRUE
41 | bus_LV_2457-2_1_3_node_184 | 0.4 | n |  | TRUE
42 | bus_LV_2457-2_1_3_node_139 | 0.4 | n |  | TRUE
43 | bus_LV_2457-2_1_3_node_140 | 0.4 | n |  | TRUE
44 | bus_LV_2457-2_1_3_node_142 | 0.4 | n |  | TRUE
45 | bus_LV_2457-2_1_3_node_175 | 0.4 | n |  | TRUE
46 | bus_LV_2457-2_1_3_node_144 | 0.4 | n |  | TRUE
47 | bus_LV_2457-2_1_3_node_180 | 0.4 | n |  | TRUE
48 | bus_LV_2457-2_1_3_node_156 | 0.4 | n |  | TRUE
49 | bus_LV_2457-2_1_3_node_157 | 0.4 | n |  | TRUE
50 | bus_LV_2457-2_1_3_node_158 | 0.4 | n |  | TRUE
51 | bus_LV_2457-2_1_3_node_159 | 0.4 | n |  | TRUE
52 | bus_LV_2457-2_1_3_node_160 | 0.4 | n |  | TRUE
53 | bus_LV_2457-2_1_3_node_161 | 0.4 | n |  | TRUE
54 | bus_LV_2457-2_1_3_node_163 | 0.4 | n |  | TRUE
55 | bus_LV_2457-2_1_3_node_171 | 0.4 | n |  | TRUE
56 | bus_LV_2457-2_1_3_node_172 | 0.4 | n |  | TRUE
57 | bus_LV_2457-2_1_3_node_173 | 0.4 | n |  | TRUE
58 | bus_LV_2457-2_1_3_node_174 | 0.4 | n |  | TRUE
59 | bus_LV_2457-2_1_3_node_228 | 0.4 | n |  | TRUE
60 | bus_LV_2457-2_1_3_node_232 | 0.4 | n |  | TRUE
61 | bus_LV_2457-2_1_3_node_177 | 0.4 | n |  | TRUE
62 | bus_LV_2457-2_1_3_node_178 | 0.4 | n |  | TRUE
63 | bus_LV_2457-2_1_3_node_179 | 0.4 | n |  | TRUE
64 | bus_LV_2457-2_1_3_node_196 | 0.4 | n |  | TRUE
65 | bus_LV_2457-2_1_3_node_194 | 0.4 | n |  | TRUE
66 | bus_LV_2457-2_1_3_node_183 | 0.4 | n |  | TRUE
67 | bus_LV_2457-2_1_3_node_212 | 0.4 | n |  | TRUE
68 | bus_LV_2457-2_1_3_node_190 | 0.4 | n |  | TRUE
69 | bus_LV_2457-2_1_3_node_191 | 0.4 | n |  | TRUE
70 | bus_LV_2457-2_1_3_node_192 | 0.4 | n |  | TRUE
71 | bus_LV_2457-2_1_3_node_205 | 0.4 | n |  | TRUE
72 | bus_LV_2457-2_1_3_node_229 | 0.4 | n |  | TRUE
73 | bus_LV_2457-2_1_3_node_206 | 0.4 | n |  | TRUE
74 | bus_LV_2457-2_1_3_node_227 | 0.4 | n |  | TRUE
75 | bus_LV_2457-2_1_3_node_230 | 0.4 | n |  | TRUE
76 | bus_LV_2457-2_1_3_node_231 | 0.4 | n |  | TRUE
77 | bus_LV_2457-2_1_3_node_233 | 0.4 | n |  | TRUE
78 | bus_MV_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2457-2_1_3_load_11 | 0 | 0.0022985 | 0.00057606 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2457-2_1_3_load_12 | 1 | 0.00013088 | 3.2802e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2457-2_1_3_load_13 | 2 | 0.00022269 | 5.5812e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2457-2_1_3_load_14 | 3 | 0.00053265 | 0.00013349 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2457-2_1_3_load_15 | 4 | 0.00055569 | 0.00013927 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2457-2_1_3_load_193 | 6 | 0.0013756 | 0.00034475 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2457-2_1_3_load_16 | 7 | 0.0050572 | 0.0012675 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2457-2_1_3_load_17 | 8 | 0.0027844 | 0.00069785 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2457-2_1_3_load_19 | 10 | 0.0029055 | 0.0007282 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2457-2_1_3_load_234 | 12 | 0.0018087 | 0.0004533 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2457-2_1_3_load_110 | 13 | 0.0083893 | 0.0021026 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2457-2_1_3_load_38 | 14 | 0.00030441 | 7.6292e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2457-2_1_3_load_58 | 16 | 0.0013841 | 0.00034689 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2457-2_1_3_load_59 | 17 | 0.00013863 | 3.4743e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2457-2_1_3_load_61 | 18 | 0.00045161 | 0.00011318 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2457-2_1_3_load_62 | 19 | 0.0020012 | 0.00050155 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2457-2_1_3_load_236 | 20 | 0.00013351 | 3.3461e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2457-2_1_3_load_143 | 21 | 0.00034691 | 8.6945e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2457-2_1_3_load_84 | 22 | 0.0012423 | 0.00031135 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2457-2_1_3_load_133 | 26 | 0.0012663 | 0.00031736 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2457-2_1_3_load_92 | 27 | 0.0004709 | 0.00011802 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2457-2_1_3_load_93 | 28 | 0.0005553 | 0.00013917 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2457-2_1_3_load_94 | 29 | 0.0022234 | 0.00055723 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2457-2_1_3_load_95 | 30 | 0.00041387 | 0.00010373 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2457-2_1_3_load_213 | 33 | 0.00070217 | 0.00017598 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2457-2_1_3_load_162 | 34 | 0.00069277 | 0.00017362 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2457-2_1_3_load_111 | 35 | 0.00053891 | 0.00013506 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2457-2_1_3_load_112 | 36 | 0.0004523 | 0.00011336 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2457-2_1_3_load_131 | 38 | 0.001792 | 0.00044912 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2457-2_1_3_load_132 | 39 | 0.00033135 | 8.3044e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2457-2_1_3_load_134 | 40 | 0.00098179 | 0.00024606 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2457-2_1_3_load_184 | 41 | 0.00059278 | 0.00014857 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2457-2_1_3_load_139 | 42 | 0.0011678 | 0.00029269 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2457-2_1_3_load_140 | 43 | 0.00058387 | 0.00014633 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2457-2_1_3_load_142 | 44 | 0.00060707 | 0.00015215 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2457-2_1_3_load_144 | 46 | 0.00069648 | 0.00017455 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2457-2_1_3_load_180 | 47 | 0.00044074 | 0.00011046 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2457-2_1_3_load_156 | 48 | 0.0011043 | 0.00027676 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2457-2_1_3_load_157 | 49 | 0.00041411 | 0.00010379 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2457-2_1_3_load_158 | 50 | 0.0019453 | 0.00048754 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2457-2_1_3_load_159 | 51 | 0.0005729 | 0.00014358 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2457-2_1_3_load_160 | 52 | 0.0003531 | 8.8495e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2457-2_1_3_load_161 | 53 | 0.0024543 | 0.0006151 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2457-2_1_3_load_163 | 54 | 0.0012432 | 0.00031157 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2457-2_1_3_load_171 | 55 | 0.00059119 | 0.00014817 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2457-2_1_3_load_172 | 56 | 0.0011103 | 0.00027828 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2457-2_1_3_load_173 | 57 | 0.0002388 | 5.985e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2457-2_1_3_load_228 | 59 | 0.0001884 | 4.7218e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2457-2_1_3_load_232 | 60 | 0.00070971 | 0.00017787 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2457-2_1_3_load_177 | 61 | 0.0004352 | 0.00010907 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2457-2_1_3_load_178 | 62 | 0.00036861 | 9.2382e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2457-2_1_3_load_194 | 65 | 0.00017239 | 4.3206e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2457-2_1_3_load_183 | 66 | 0.00025457 | 6.3802e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2457-2_1_3_load_212 | 67 | 0.00082774 | 0.00020745 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2457-2_1_3_load_190 | 68 | 0.00045698 | 0.00011453 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2457-2_1_3_load_191 | 69 | 0.0013902 | 0.00034842 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2457-2_1_3_load_192 | 70 | 0.00038954 | 9.7628e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2457-2_1_3_load_205 | 71 | 0.00047027 | 0.00011786 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2457-2_1_3_load_229 | 72 | 0.00071149 | 0.00017832 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2457-2_1_3_load_206 | 73 | 0.00018986 | 4.7584e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2457-2_1_3_load_227 | 74 | 0.0010027 | 0.0002513 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2457-2_1_3_load_230 | 75 | 0.00058436 | 0.00014645 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2457-2_1_3_line_0 |  | 0 | 1 | 0.027064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2457-2_1_3_line_1 |  | 0 | 2 | 0.0087315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2457-2_1_3_line_2 |  | 1 | 3 | 0.016663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2457-2_1_3_line_3 |  | 2 | 4 | 0.0072234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2457-2_1_3_line_4 |  | 3 | 5 | 0.03617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2457-2_1_3_line_5 |  | 4 | 6 | 0.014688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2457-2_1_3_line_6 |  | 5 | 14 | 0.005732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2457-2_1_3_line_7 |  | 5 | 11 | 0.030627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2457-2_1_3_line_8 |  | 6 | 70 | 0.0033646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2457-2_1_3_line_9 |  | 7 | 8 | 0.0041172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2457-2_1_3_line_10 |  | 7 | 9 | 0.026902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2457-2_1_3_line_11 |  | 8 | 10 | 0.014704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2457-2_1_3_line_12 |  | 9 | 11 | 0.062408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2457-2_1_3_line_13 |  | 10 | 12 | 0.0094376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2457-2_1_3_line_14 |  | 11 | 13 | 0.044238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2457-2_1_3_line_15 |  | 12 | 52 | 0.0031178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2457-2_1_3_line_16 |  | 13 | 35 | 0.0025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2457-2_1_3_line_17 |  | 14 | 15 | 0.020583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2457-2_1_3_line_18 |  | 15 | 19 | 0.0014707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2457-2_1_3_line_19 |  | 15 | 16 | 0.017326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2457-2_1_3_line_20 |  | 16 | 17 | 0.018864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2457-2_1_3_line_21 |  | 17 | 18 | 0.0045785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2457-2_1_3_line_22 |  | 18 | 20 | 0.012225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2457-2_1_3_line_23 |  | 19 | 21 | 0.034276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2457-2_1_3_line_24 |  | 21 | 46 | 0.0042178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2457-2_1_3_line_25 |  | 22 | 23 | 0.080699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2457-2_1_3_line_26 |  | 22 | 24 | 0.21362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2457-2_1_3_line_27 |  | 23 | 25 | 0.016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2457-2_1_3_line_28 |  | 24 | 71 | 0.17388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2457-2_1_3_line_29 |  | 24 | 65 | 0.0057595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2457-2_1_3_line_30 |  | 25 | 26 | 0.11803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2457-2_1_3_line_31 |  | 26 | 38 | 0.0053374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2457-2_1_3_line_32 |  | 27 | 28 | 0.006525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2457-2_1_3_line_33 |  | 27 | 29 | 0.004095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2457-2_1_3_line_34 |  | 28 | 30 | 0.002986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2457-2_1_3_line_35 |  | 29 | 31 | 0.015458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2457-2_1_3_line_36 |  | 30 | 32 | 0.046862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2457-2_1_3_line_37 |  | 31 | 33 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2457-2_1_3_line_38 |  | 31 | 34 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2457-2_1_3_line_39 |  | 32 | 67 | 0.049218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2457-2_1_3_line_40 |  | 32 | 51 | 0.0069907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2457-2_1_3_line_41 |  | 34 | 53 | 0.020205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2457-2_1_3_line_42 |  | 35 | 36 | 0.02152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2457-2_1_3_line_43 |  | 36 | 37 | 0.066685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2457-2_1_3_line_44 |  | 37 | 44 | 0.031534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2457-2_1_3_line_45 |  | 37 | 42 | 0.058585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2457-2_1_3_line_46 |  | 38 | 39 | 0.028594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2457-2_1_3_line_47 |  | 39 | 40 | 0.0034548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2457-2_1_3_line_48 |  | 40 | 41 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2457-2_1_3_line_49 |  | 41 | 66 | 0.015123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2457-2_1_3_line_50 |  | 42 | 43 | 0.030931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2457-2_1_3_line_51 |  | 44 | 45 | 0.014614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2457-2_1_3_line_52 |  | 45 | 60 | 0.040009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2457-2_1_3_line_53 |  | 45 | 57 | 0.0020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2457-2_1_3_line_54 |  | 46 | 47 | 0.020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2457-2_1_3_line_55 |  | 47 | 66 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2457-2_1_3_line_56 |  | 48 | 49 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2457-2_1_3_line_57 |  | 48 | 50 | 0.0081069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2457-2_1_3_line_58 |  | 49 | 51 | 0.0024118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2457-2_1_3_line_59 |  | 50 | 52 | 0.0090111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2457-2_1_3_line_60 |  | 53 | 54 | 0.0061249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2457-2_1_3_line_61 |  | 55 | 56 | 0.014938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2457-2_1_3_line_62 |  | 55 | 57 | 0.0093121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2457-2_1_3_line_63 |  | 56 | 58 | 0.022215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2457-2_1_3_line_64 |  | 58 | 59 | 0.013508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2457-2_1_3_line_65 |  | 59 | 74 | 0.029043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2457-2_1_3_line_66 |  | 60 | 77 | 0.041272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2457-2_1_3_line_67 |  | 61 | 62 | 0.028327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2457-2_1_3_line_68 |  | 62 | 63 | 0.027207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2457-2_1_3_line_69 |  | 63 | 64 | 0.054461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2457-2_1_3_line_70 |  | 63 | 65 | 0.054082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2457-2_1_3_line_71 |  | 64 | 72 | 0.031922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2457-2_1_3_line_72 |  | 68 | 69 | 0.020351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2457-2_1_3_line_73 |  | 68 | 70 | 0.012592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2457-2_1_3_line_74 |  | 71 | 73 | 0.010741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2457-2_1_3_line_75 |  | 75 | 76 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2457-2_1_3_line_76 |  | 76 | 77 | 0.035005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2457-2_1_3_trafo_20 | 0.63 MVA 20/0.4 kV | 78 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2599472.9089 | 1216914.8272 | 2599473.9028 | 1216907.7051 | 2599481.8948 | 1216889.5101
1 | 2599486.2149 | 1216881.936 | 2599482.6002 | 1216887.9041 | 2599481.8948 | 1216889.5101
2 | 2599472.9089 | 1216914.8272 | 2599471.4375 | 1216925.3709 | 2599470.8113 | 1216931.3552
3 | 2599489.957 | 1216875.7575 | 2599486.2149 | 1216881.936
4 | 2599467.0466 | 1216967.3284 | 2599470.8113 | 1216931.3552
5 | 2599497.5661 | 1216863.1944 | 2599489.957 | 1216875.7575
6 | 2599467.0466 | 1216967.3284 | 2599472.7466 | 1216967.933
7 | 2599467.0466 | 1216967.3284 | 2599453.8532 | 1216964.2058 | 2599437.4258 | 1216959.2714
8 | 2599497.5661 | 1216863.1944 | 2599499.1992 | 1216860.4981 | 2599499.3175 | 1216860.3218
9 | 2599359.4805 | 1216908.7928 | 2599362.2012 | 1216911.1971 | 2599362.564 | 1216911.521
10 | 2599382.6308 | 1216929.4384 | 2599362.564 | 1216911.521
11 | 2599359.4805 | 1216908.7928 | 2599348.4624 | 1216899.0564
12 | 2599382.6308 | 1216929.4384 | 2599425.8869 | 1216953.6806 | 2599437.4258 | 1216959.2714
13 | 2599341.3904 | 1216892.807 | 2599348.4624 | 1216899.0564
14 | 2599437.4258 | 1216959.2714 | 2599429.4035 | 1216971.2012 | 2599420.197 | 1216983.8983 | 2599414.3003 | 1216996.6062 | 2599414.2665 | 1216996.7714
15 | 2599341.3904 | 1216892.807 | 2599339.0541 | 1216890.7424
16 | 2599413.7559 | 1216999.2659 | 2599414.2665 | 1216996.7714
17 | 2599493.2811 | 1216968.9601 | 2599481.2874 | 1216968.839 | 2599472.7466 | 1216967.933
18 | 2599493.2811 | 1216968.9601 | 2599494.7518 | 1216968.9631
19 | 2599493.2811 | 1216968.9601 | 2599493.5018 | 1216974.6967 | 2599490.7541 | 1216985.9513
20 | 2599490.7541 | 1216985.9513 | 2599486.28 | 1217004.2772
21 | 2599485.1941 | 1217008.725 | 2599486.28 | 1217004.2772
22 | 2599482.2945 | 1217020.6015 | 2599485.1941 | 1217008.725
23 | 2599494.7518 | 1216968.9631 | 2599529.0276 | 1216969.0335
24 | 2599529.0276 | 1216969.0335 | 2599533.2454 | 1216969.0422
25 | 2599759.408 | 1217030.2638 | 2599834.4535 | 1217059.9363
26 | 2599706.1172 | 1217230.7138 | 2599834.4535 | 1217059.9363
27 | 2599759.408 | 1217030.2638 | 2599743.7933 | 1217024.6726
28 | 2599706.1172 | 1217230.7138 | 2599868.2781 | 1217293.4722
29 | 2599706.1172 | 1217230.7138 | 2599700.7377 | 1217228.6565
30 | 2599632.2824 | 1216985.9874 | 2599743.7933 | 1217024.6726
31 | 2599632.2824 | 1216985.9874 | 2599627.2087 | 1216984.3306
32 | 2599265.9151 | 1216832.3845 | 2599271.2915 | 1216836.0817
33 | 2599262.5409 | 1216830.0642 | 2599265.9151 | 1216832.3845
34 | 2599273.7519 | 1216837.7737 | 2599271.2915 | 1216836.0817
35 | 2599249.8036 | 1216821.3051 | 2599262.5409 | 1216830.0642
36 | 2599311.0926 | 1216866.0334 | 2599289.5013 | 1216848.6041 | 2599273.7519 | 1216837.7737
37 | 2599249.8036 | 1216821.3051 | 2599239.4144 | 1216814.1796
38 | 2599249.8036 | 1216821.3051 | 2599242.0416 | 1216833.4313
39 | 2599311.0926 | 1216866.0334 | 2599332.4814 | 1216821.7062
40 | 2599311.0926 | 1216866.0334 | 2599316.331 | 1216870.6625
41 | 2599231.1486 | 1216850.4488 | 2599242.0416 | 1216833.4313
42 | 2599413.0006 | 1217020.4757 | 2599411.5994 | 1217009.8029 | 2599413.7559 | 1216999.2659
43 | 2599433.879 | 1217083.5533 | 2599422.9984 | 1217056.7616 | 2599414.304 | 1217030.4031 | 2599413.0006 | 1217020.4757
44 | 2599433.879 | 1217083.5533 | 2599417.3622 | 1217090.5035 | 2599411.9121 | 1217091.4602 | 2599407.2969 | 1217091.3051 | 2599403.8834 | 1217090.7189
45 | 2599433.879 | 1217083.5533 | 2599442.4048 | 1217096.2596 | 2599447.4457 | 1217101.9512 | 2599453.4354 | 1217107.3203 | 2599470.6144 | 1217118.0802 | 2599477.0508 | 1217121.6633
46 | 2599599.2906 | 1216978.2271 | 2599624.4311 | 1216983.4236 | 2599627.2087 | 1216984.3306
47 | 2599599.2906 | 1216978.2271 | 2599595.9073 | 1216977.5277
48 | 2599595.9073 | 1216977.5277 | 2599581.0393 | 1216974.4545
49 | 2599581.0393 | 1216974.4545 | 2599576.9034 | 1216973.5996 | 2599566.0667 | 1216972.4306
50 | 2599504.0764 | 1217136.7083 | 2599477.0508 | 1217121.6633
51 | 2599389.7009 | 1217087.3048 | 2599397.3983 | 1217089.6052 | 2599403.8834 | 1217090.7189
52 | 2599389.7009 | 1217087.3048 | 2599379.4337 | 1217114.5548 | 2599382.1972 | 1217125.0874
53 | 2599389.7009 | 1217087.3048 | 2599387.73 | 1217086.5881
54 | 2599553.8055 | 1216971.108 | 2599534.6822 | 1216969.0451 | 2599533.2454 | 1216969.0422
55 | 2599553.8055 | 1216971.108 | 2599566.0667 | 1216972.4306
56 | 2599326.2268 | 1216879.4072 | 2599318.1383 | 1216872.2595
57 | 2599332.3017 | 1216884.7755 | 2599326.2268 | 1216879.4072
58 | 2599316.331 | 1216870.6625 | 2599318.1383 | 1216872.2595
59 | 2599332.3017 | 1216884.7755 | 2599339.0541 | 1216890.7424
60 | 2599227.8466 | 1216855.6074 | 2599231.1486 | 1216850.4488
61 | 2599365.098 | 1217077.9024 | 2599372.0971 | 1217080.9032 | 2599378.9786 | 1217083.4057
62 | 2599387.73 | 1217086.5881 | 2599378.9786 | 1217083.4057
63 | 2599345.9982 | 1217066.6983 | 2599349.9989 | 1217069.8996 | 2599354.0982 | 1217072.2004 | 2599365.098 | 1217077.9024 | 2599365.098 | 1217077.9024
64 | 2599345.9982 | 1217066.6983 | 2599345.1021 | 1217063.5967 | 2599342.3005 | 1217059.0055 | 2599339.6308 | 1217054.895
65 | 2599320.0725 | 1217033.8799 | 2599326.304 | 1217038.0956 | 2599329.8038 | 1217041.4971 | 2599334.0021 | 1217046.4994 | 2599337.2972 | 1217051.3018 | 2599339.6308 | 1217054.895
66 | 2599384.6999 | 1217164.4047 | 2599382.7404 | 1217154.5437 | 2599385.3813 | 1217148.9959 | 2599387.4227 | 1217145.0045 | 2599382.1972 | 1217125.0874
67 | 2599696.6528 | 1217246.5121 | 2599691.3011 | 1217242.6993 | 2599672.595 | 1217231.5909
68 | 2599649.2018 | 1217217.6991 | 2599672.595 | 1217231.5909
69 | 2599649.2018 | 1217217.6991 | 2599601.5988 | 1217190.9986
70 | 2599649.2018 | 1217217.6991 | 2599666.5311 | 1217215.5745 | 2599700.7377 | 1217228.6565
71 | 2599601.5988 | 1217190.9986 | 2599598.502 | 1217193.6004 | 2599597.0978 | 1217194.1008 | 2599594.5018 | 1217194.201 | 2599590.6001 | 1217193.0007 | 2599586.3036 | 1217190.6997 | 2599582.9029 | 1217189.3992 | 2599580.5042 | 1217188.8992 | 2599572.0853 | 1217186.5447
72 | 2599517.7441 | 1216833.0153 | 2599515.1003 | 1216836.8053 | 2599506.3347 | 1216849.8661
73 | 2599499.3175 | 1216860.3218 | 2599506.3347 | 1216849.8661
74 | 2599868.2781 | 1217293.4722 | 2599878.0432 | 1217297.9461
75 | 2599419.7006 | 1217164.0005 | 2599430.1001 | 1217165.8004 | 2599434.2513 | 1217167.3506
76 | 2599419.7006 | 1217164.0005 | 2599410.0983 | 1217163.4012 | 2599401.999 | 1217163.202 | 2599390.704 | 1217163.4034 | 2599384.6999 | 1217164.4047

## bus_geodata
| x | y | coords
0 | 2599481.8948 | 1216889.5101
1 | 2599472.9089 | 1216914.8272
2 | 2599486.2149 | 1216881.936
3 | 2599470.8113 | 1216931.3552
4 | 2599489.957 | 1216875.7575
5 | 2599467.0466 | 1216967.3284
6 | 2599497.5661 | 1216863.1944
7 | 2599362.564 | 1216911.521
8 | 2599359.4805 | 1216908.7928
9 | 2599382.6308 | 1216929.4384
10 | 2599348.4624 | 1216899.0564
11 | 2599437.4258 | 1216959.2714
12 | 2599341.3904 | 1216892.807
13 | 2599414.2665 | 1216996.7714
14 | 2599472.7466 | 1216967.933
15 | 2599493.2811 | 1216968.9601
16 | 2599490.7541 | 1216985.9513
17 | 2599486.28 | 1217004.2772
18 | 2599485.1941 | 1217008.725
19 | 2599494.7518 | 1216968.9631
20 | 2599482.2945 | 1217020.6015
21 | 2599529.0276 | 1216969.0335
22 | 2599834.4535 | 1217059.9363
23 | 2599759.408 | 1217030.2638
24 | 2599706.1172 | 1217230.7138
25 | 2599743.7933 | 1217024.6726
26 | 2599632.2824 | 1216985.9874
27 | 2599265.9151 | 1216832.3845
28 | 2599271.2915 | 1216836.0817
29 | 2599262.5409 | 1216830.0642
30 | 2599273.7519 | 1216837.7737
31 | 2599249.8036 | 1216821.3051
32 | 2599311.0926 | 1216866.0334
33 | 2599239.4144 | 1216814.1796
34 | 2599242.0416 | 1216833.4313
35 | 2599413.7559 | 1216999.2659
36 | 2599413.0006 | 1217020.4757
37 | 2599433.879 | 1217083.5533
38 | 2599627.2087 | 1216984.3306
39 | 2599599.2906 | 1216978.2271
40 | 2599595.9073 | 1216977.5277
41 | 2599581.0393 | 1216974.4545
42 | 2599477.0508 | 1217121.6633
43 | 2599504.0764 | 1217136.7083
44 | 2599403.8834 | 1217090.7189
45 | 2599389.7009 | 1217087.3048
46 | 2599533.2454 | 1216969.0422
47 | 2599553.8055 | 1216971.108
48 | 2599326.2268 | 1216879.4072
49 | 2599318.1383 | 1216872.2595
50 | 2599332.3017 | 1216884.7755
51 | 2599316.331 | 1216870.6625
52 | 2599339.0541 | 1216890.7424
53 | 2599231.1486 | 1216850.4488
54 | 2599227.8466 | 1216855.6074
55 | 2599378.9786 | 1217083.4057
56 | 2599365.098 | 1217077.9024
57 | 2599387.73 | 1217086.5881
58 | 2599345.9982 | 1217066.6983
59 | 2599339.6308 | 1217054.895
60 | 2599382.1972 | 1217125.0874
61 | 2599696.6528 | 1217246.5121
62 | 2599672.595 | 1217231.5909
63 | 2599649.2018 | 1217217.6991
64 | 2599601.5988 | 1217190.9986
65 | 2599700.7377 | 1217228.6565
66 | 2599566.0667 | 1216972.4306
67 | 2599332.4814 | 1216821.7062
68 | 2599506.3347 | 1216849.8661
69 | 2599517.7441 | 1216833.0153
70 | 2599499.3175 | 1216860.3218
71 | 2599868.2781 | 1217293.4722
72 | 2599572.0853 | 1217186.5447
73 | 2599878.0432 | 1217297.9461
74 | 2599320.0725 | 1217033.8799
75 | 2599434.2513 | 1217167.3506
76 | 2599419.7006 | 1217164.0005
77 | 2599384.6999 | 1217164.4047
78 | 2599437.4258 | 1216959.2714

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99888 | -0.021597 | 0.0022985 | 0.00057606
1 | 0.99904 | -0.018434 | 0.00013088 | 3.2802e-05
2 | 0.99884 | -0.022267 | 0.00022269 | 5.5812e-05
3 | 0.99915 | -0.016449 | 0.00053265 | 0.00013349
4 | 0.99882 | -0.022794 | 0.00055569 | 0.00013927
5 | 0.99939 | -0.011804 | 0 | 0
6 | 0.99877 | -0.023721 | 0.0013756 | 0.00034475
7 | 0.99785 | -0.0414 | 0.0050572 | 0.0012675
8 | 0.99777 | -0.042948 | 0.0027844 | 0.00069785
9 | 0.99849 | -0.028911 | 0 | 0
10 | 0.99752 | -0.047762 | 0.0029055 | 0.0007282
11 | 1 | 0 | -0.06652 | -0.016277
12 | 0.99738 | -0.050373 | 0.0018087 | 0.0004533
13 | 0.99935 | -0.012484 | 0.0083893 | 0.0021026
14 | 0.99931 | -0.013279 | 0.00030441 | 7.6292e-05
15 | 0.99904 | -0.018466 | 0 | 0
16 | 0.99901 | -0.019104 | 0.0013841 | 0.00034689
17 | 0.999 | -0.019343 | 0.00013863 | 3.4743e-05
18 | 0.99899 | -0.01939 | 0.00045161 | 0.00011318
19 | 0.99902 | -0.018783 | 0.0020012 | 0.00050155
20 | 0.99899 | -0.019419 | 0.00013351 | 3.3461e-05
21 | 0.9987 | -0.024965 | 0.00034691 | 8.6945e-05
22 | 0.99725 | -0.053196 | 0.0012423 | 0.00031135
23 | 0.99751 | -0.048089 | 0 | 0
24 | 0.99679 | -0.062051 | 0 | 0
25 | 0.99756 | -0.047042 | 0 | 0
26 | 0.99795 | -0.039571 | 0.0012663 | 0.00031736
27 | 0.99651 | -0.067085 | 0.0004709 | 0.00011802
28 | 0.99656 | -0.066193 | 0.0005553 | 0.00013917
29 | 0.99649 | -0.067611 | 0.0022234 | 0.00055723
30 | 0.99658 | -0.065756 | 0.00041387 | 0.00010373
31 | 0.99641 | -0.068994 | 0 | 0
32 | 0.99696 | -0.058555 | 0 | 0
33 | 0.99641 | -0.069149 | 0.00070217 | 0.00017598
34 | 0.99636 | -0.070104 | 0.00069277 | 0.00017362
35 | 0.99933 | -0.01283 | 0.00053891 | 0.00013506
36 | 0.99919 | -0.015554 | 0.0004523 | 0.00011336
37 | 0.99878 | -0.023471 | 0 | 0
38 | 0.99797 | -0.039115 | 0.001792 | 0.00044912
39 | 0.99814 | -0.035774 | 0.00033135 | 8.3044e-05
40 | 0.99817 | -0.035351 | 0.00098179 | 0.00024606
41 | 0.99828 | -0.033229 | 0.00059278 | 0.00014857
42 | 0.99869 | -0.025266 | 0.0011678 | 0.00029269
43 | 0.99867 | -0.025582 | 0.00058387 | 0.00014633
44 | 0.99864 | -0.026248 | 0.00060707 | 0.00015215
45 | 0.99858 | -0.027381 | 0 | 0
46 | 0.99867 | -0.0257 | 0.00069648 | 0.00017455
47 | 0.99849 | -0.029053 | 0.00044074 | 0.00011046
48 | 0.99714 | -0.054948 | 0.0011043 | 0.00027676
49 | 0.99704 | -0.05695 | 0.00041411 | 0.00010379
50 | 0.99723 | -0.053288 | 0.0019453 | 0.00048754
51 | 0.99702 | -0.05738 | 0.0005729 | 0.00014358
52 | 0.99734 | -0.051137 | 0.0003531 | 8.8495e-05
53 | 0.99629 | -0.071416 | 0.0024543 | 0.0006151
54 | 0.99628 | -0.071549 | 0.0012432 | 0.00031157
55 | 0.99855 | -0.027967 | 0.00059119 | 0.00014817
56 | 0.99852 | -0.028569 | 0.0011103 | 0.00027828
57 | 0.99857 | -0.027496 | 0.0002388 | 5.985e-05
58 | 0.99849 | -0.029032 | 0 | 0
59 | 0.99848 | -0.029313 | 0.0001884 | 4.7218e-05
60 | 0.99853 | -0.028288 | 0.00070971 | 0.00017787
61 | 0.99668 | -0.064267 | 0.0004352 | 0.00010907
62 | 0.99669 | -0.06405 | 0.00036861 | 9.2382e-05
63 | 0.99671 | -0.063666 | 0 | 0
64 | 0.99667 | -0.064347 | 0 | 0
65 | 0.99678 | -0.062223 | 0.00017239 | 4.3206e-05
66 | 0.99839 | -0.030959 | 0.00025457 | 6.3802e-05
67 | 0.99692 | -0.05927 | 0.00082774 | 0.00020745
68 | 0.99874 | -0.024259 | 0.00045698 | 0.00011453
69 | 0.99871 | -0.024754 | 0.0013902 | 0.00034842
70 | 0.99876 | -0.023853 | 0.00038954 | 9.7628e-05
71 | 0.99669 | -0.064075 | 0.00047027 | 0.00011786
72 | 0.99665 | -0.064746 | 0.00071149 | 0.00017832
73 | 0.99668 | -0.064111 | 0.00018986 | 4.7584e-05
74 | 0.99845 | -0.029823 | 0.0010027 | 0.0002513
75 | 0.99848 | -0.029223 | 0.00058436 | 0.00014645
76 | 0.99849 | -0.02907 | 0 | 0
77 | 0.99851 | -0.028712 | 0 | 0
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0066897 | -0.0016759 | 0.0066907 | 0.0016762 | 1.0079e-06 | 2.907e-07 | 0.0099653 | 0.0099652 | 0.0099653 | 0.99888 | -0.021597 | 0.99904 | -0.018434 | 2.7377
1 | 0.0043912 | 0.0010998 | -0.004391 | -0.0010999 | 1.401e-07 | -2.4626e-08 | 0.0065412 | 0.0065413 | 0.0065413 | 0.99888 | -0.021597 | 0.99884 | -0.022267 | 1.797
2 | -0.0068216 | -0.001709 | 0.0068222 | 0.0017092 | 6.4502e-07 | 1.946e-07 | 0.01016 | 0.01016 | 0.01016 | 0.99904 | -0.018434 | 0.99915 | -0.016449 | 2.7912
3 | 0.0041683 | 0.0010441 | -0.0041682 | -0.0010441 | 1.0444e-07 | -2.7699e-08 | 0.0062095 | 0.0062095 | 0.0062095 | 0.99884 | -0.022267 | 0.99882 | -0.022794 | 1.7059
4 | -0.0073549 | -0.0018427 | 0.0073565 | 0.0018433 | 1.6273e-06 | 5.6763e-07 | 0.010953 | 0.010953 | 0.010953 | 0.99915 | -0.016449 | 0.99939 | -0.011804 | 3.0091
5 | 0.0036125 | 0.00090481 | -0.0036124 | -0.0009049 | 1.5953e-07 | -9.0132e-08 | 0.0053817 | 0.0053817 | 0.0053817 | 0.99882 | -0.022794 | 0.99877 | -0.023721 | 1.4785
6 | 0.014724 | 0.0036832 | -0.014723 | -0.0036826 | 1.0328e-06 | 5.8589e-07 | 0.02192 | 0.02192 | 0.02192 | 0.99939 | -0.011804 | 0.99931 | -0.013279 | 6.022
7 | -0.02208 | -0.0055265 | 0.022092 | 0.005534 | 1.2411e-05 | 7.5416e-06 | 0.032873 | 0.032873 | 0.032873 | 0.99939 | -0.011804 | 1 | 0 | 9.0311
8 | 0.0022368 | 0.00056016 | -0.0022368 | -0.00056019 | 1.4011e-08 | -3.5065e-08 | 0.0033324 | 0.0033324 | 0.0033324 | 0.99877 | -0.023721 | 0.99876 | -0.023853 | 0.91549
9 | 0.021489 | 0.005389 | -0.021487 | -0.0053881 | 1.5856e-06 | 9.6099e-07 | 0.032046 | 0.032046 | 0.032046 | 0.99785 | -0.0414 | 0.99777 | -0.042948 | 8.8039
10 | -0.026546 | -0.0066565 | 0.026562 | 0.0066662 | 1.581e-05 | 9.7667e-06 | 0.039588 | 0.039587 | 0.039588 | 0.99785 | -0.0414 | 0.99849 | -0.028911 | 10.8757
11 | 0.018703 | 0.0046902 | -0.018699 | -0.0046877 | 4.2901e-06 | 2.5536e-06 | 0.027894 | 0.027894 | 0.027894 | 0.99777 | -0.042948 | 0.99752 | -0.047762 | 7.6631
12 | -0.026562 | -0.0066662 | 0.026599 | 0.0066889 | 3.6676e-05 | 2.2655e-05 | 0.039587 | 0.039587 | 0.039587 | 0.99849 | -0.028911 | 1 | 0 | 10.8757
13 | 0.015793 | 0.0039595 | -0.015791 | -0.0039583 | 1.9644e-06 | 1.134e-06 | 0.023559 | 0.023559 | 0.023559 | 0.99752 | -0.047762 | 0.99738 | -0.050373 | 6.4724
14 | 0.016179 | 0.0040542 | -0.01617 | -0.0040486 | 9.6152e-06 | 5.5738e-06 | 0.024075 | 0.024075 | 0.024075 | 1 | 0 | 0.99935 | -0.012484 | 6.6141
15 | 0.013982 | 0.003505 | -0.013982 | -0.0035047 | 5.0881e-07 | 2.8495e-07 | 0.020861 | 0.020861 | 0.020861 | 0.99738 | -0.050373 | 0.99734 | -0.051137 | 5.731
16 | 0.0077805 | 0.001946 | -0.0077804 | -0.001946 | 1.2812e-07 | 4.8636e-08 | 0.011584 | 0.011584 | 0.011584 | 0.99935 | -0.012484 | 0.99933 | -0.01283 | 3.1823
17 | 0.014418 | 0.0036063 | -0.014415 | -0.0036043 | 3.5569e-06 | 2.0068e-06 | 0.021467 | 0.021467 | 0.021467 | 0.99931 | -0.013279 | 0.99904 | -0.018466 | 5.8975
18 | 0.012307 | 0.0030767 | -0.012306 | -0.0030766 | 1.8525e-07 | 9.9305e-08 | 0.018327 | 0.018327 | 0.018327 | 0.99904 | -0.018466 | 0.99902 | -0.018783 | 5.035
19 | 0.0021079 | 0.00052763 | -0.0021079 | -0.00052781 | 6.4037e-08 | -1.8588e-07 | 0.0031394 | 0.0031395 | 0.0031395 | 0.99904 | -0.018466 | 0.99901 | -0.019104 | 0.86249
20 | 0.00072376 | 0.00018093 | -0.00072375 | -0.00018117 | 8.2193e-09 | -2.4173e-07 | 0.0010779 | 0.001078 | 0.001078 | 0.99901 | -0.019104 | 0.999 | -0.019343 | 0.29614
21 | 0.00058512 | 0.00014643 | -0.00058512 | -0.00014649 | 1.304e-09 | -5.9111e-08 | 0.00087147 | 0.00087149 | 0.00087149 | 0.999 | -0.019343 | 0.99899 | -0.01939 | 0.23942
22 | 0.00013351 | 3.3301e-05 | -0.00013351 | -3.3461e-05 | 1.8125e-10 | -1.5995e-07 | 0.00019881 | 0.00019886 | 0.00019886 | 0.99899 | -0.01939 | 0.99899 | -0.019419 | 0.054633
23 | 0.010305 | 0.002575 | -0.010302 | -0.0025735 | 3.0273e-06 | 1.4888e-06 | 0.015347 | 0.015347 | 0.015347 | 0.99902 | -0.018783 | 0.9987 | -0.024965 | 4.2162
24 | 0.0099553 | 0.0024866 | -0.0099549 | -0.0024864 | 3.4785e-07 | 1.6744e-07 | 0.01483 | 0.01483 | 0.01483 | 0.9987 | -0.024965 | 0.99867 | -0.0257 | 4.0742
25 | -0.0035913 | -0.00089273 | 0.0035922 | 0.00089223 | 8.6811e-07 | -4.9758e-07 | 0.0053562 | 0.0053558 | 0.0053562 | 0.99725 | -0.053196 | 0.99751 | -0.048089 | 1.4715
26 | 0.002349 | 0.00058138 | -0.0023481 | -0.00058354 | 9.8301e-07 | -2.1568e-06 | 0.0035025 | 0.0035035 | 0.0035035 | 0.99725 | -0.053196 | 0.99679 | -0.062051 | 0.96249
27 | -0.0035922 | -0.00089223 | 0.0035924 | 0.00089213 | 1.7795e-07 | -1.0208e-07 | 0.0053558 | 0.0053557 | 0.0053558 | 0.99751 | -0.048089 | 0.99756 | -0.047042 | 1.4714
28 | 0.00066019 | 0.00016308 | -0.00066013 | -0.0001653 | 6.3277e-08 | -2.2259e-06 | 0.00098471 | 0.0009855 | 0.0009855 | 0.99679 | -0.062051 | 0.99669 | -0.064075 | 0.27074
29 | 0.0016879 | 0.00042046 | -0.0016879 | -0.00042052 | 1.3702e-08 | -6.6306e-08 | 0.0025188 | 0.0025188 | 0.0025188 | 0.99679 | -0.062051 | 0.99678 | -0.062223 | 0.69197
30 | -0.0035924 | -0.00089213 | 0.0035937 | 0.0008914 | 1.2695e-06 | -7.2908e-07 | 0.0053557 | 0.0053552 | 0.0053557 | 0.99756 | -0.047042 | 0.99795 | -0.039571 | 1.4714
31 | -0.0048599 | -0.0012088 | 0.00486 | 0.0012088 | 1.0501e-07 | -2.5313e-09 | 0.0072433 | 0.0072433 | 0.0072433 | 0.99795 | -0.039571 | 0.99797 | -0.039115 | 1.9899
32 | -0.0077877 | -0.0019512 | 0.007788 | 0.0019513 | 3.3087e-07 | 1.2675e-07 | 0.011628 | 0.011628 | 0.011628 | 0.99651 | -0.067085 | 0.99656 | -0.066193 | 3.1946
33 | 0.0073168 | 0.0018332 | -0.0073166 | -0.0018331 | 1.833e-07 | 6.3961e-08 | 0.010925 | 0.010925 | 0.010925 | 0.99651 | -0.067085 | 0.99649 | -0.067611 | 3.0015
34 | -0.0083433 | -0.0020905 | 0.0083435 | 0.0020906 | 1.7378e-07 | 7.2312e-08 | 0.012458 | 0.012458 | 0.012458 | 0.99656 | -0.066193 | 0.99658 | -0.065756 | 3.4224
35 | 0.0050932 | 0.0012759 | -0.0050929 | -0.0012759 | 3.353e-07 | 1.3224e-08 | 0.0076053 | 0.0076053 | 0.0076053 | 0.99649 | -0.067611 | 0.99641 | -0.068994 | 2.0894
36 | -0.0087573 | -0.0021943 | 0.0087603 | 0.0021956 | 3.0045e-06 | 1.312e-06 | 0.013076 | 0.013075 | 0.013076 | 0.99658 | -0.065756 | 0.99696 | -0.058555 | 3.5922
37 | 0.00070218 | 0.00017582 | -0.00070217 | -0.00017598 | 5.1944e-09 | -1.6077e-07 | 0.0010486 | 0.0010486 | 0.0010486 | 0.99641 | -0.068994 | 0.99641 | -0.069149 | 0.28808
38 | 0.0043907 | 0.0011001 | -0.0043904 | -0.0011001 | 2.3212e-07 | -3.8968e-08 | 0.0065568 | 0.0065569 | 0.0065569 | 0.99641 | -0.068994 | 0.99636 | -0.070104 | 1.8013
39 | 0.00082776 | 0.00020683 | -0.00082774 | -0.00020745 | 2.8168e-08 | -6.2372e-07 | 0.0012353 | 0.0012355 | 0.0012355 | 0.99696 | -0.058555 | 0.99692 | -0.05927 | 0.33942
40 | -0.0095881 | -0.0024024 | 0.0095886 | 0.0024027 | 5.3687e-07 | 2.5243e-07 | 0.014311 | 0.014311 | 0.014311 | 0.99696 | -0.058555 | 0.99702 | -0.05738 | 3.9315
41 | 0.0036977 | 0.00092648 | -0.0036975 | -0.00092659 | 2.3107e-07 | -1.1525e-07 | 0.0055222 | 0.0055223 | 0.0055223 | 0.99636 | -0.070104 | 0.99629 | -0.071416 | 1.5171
42 | 0.0072414 | 0.0018109 | -0.0072405 | -0.0018106 | 9.3801e-07 | 3.1842e-07 | 0.010781 | 0.010781 | 0.010781 | 0.99933 | -0.01283 | 0.99919 | -0.015554 | 2.9619
43 | 0.0067882 | 0.0016973 | -0.0067856 | -0.0016965 | 2.5549e-06 | 7.6206e-07 | 0.010108 | 0.010108 | 0.010108 | 0.99919 | -0.015554 | 0.99878 | -0.023471 | 2.7769
44 | 0.0050338 | 0.0012585 | -0.0050331 | -0.0012585 | 6.6491e-07 | 1.2901e-08 | 0.0074984 | 0.0074986 | 0.0074986 | 0.99878 | -0.023471 | 0.99864 | -0.026248 | 2.06
45 | 0.0017519 | 0.00043795 | -0.0017517 | -0.00043862 | 1.4963e-07 | -6.7089e-07 | 0.0026096 | 0.0026099 | 0.0026099 | 0.99878 | -0.023471 | 0.99869 | -0.025266 | 0.717
46 | -0.006652 | -0.0016579 | 0.0066531 | 0.0016582 | 1.0541e-06 | 3.0098e-07 | 0.0099152 | 0.0099151 | 0.0099152 | 0.99797 | -0.039115 | 0.99814 | -0.035774 | 2.724
47 | -0.0069844 | -0.0017412 | 0.0069846 | 0.0017413 | 1.4037e-07 | 4.4679e-08 | 0.010409 | 0.010409 | 0.010409 | 0.99814 | -0.035774 | 0.99817 | -0.035351 | 2.8596
48 | -0.0079664 | -0.0019873 | 0.0079672 | 0.0019876 | 8.0253e-07 | 3.1514e-07 | 0.011873 | 0.011873 | 0.011873 | 0.99817 | -0.035351 | 0.99828 | -0.033229 | 3.2617
49 | -0.00856 | -0.0021362 | 0.0085609 | 0.0021366 | 9.2279e-07 | 3.9284e-07 | 0.012756 | 0.012756 | 0.012756 | 0.99828 | -0.033229 | 0.99839 | -0.030959 | 3.5044
50 | 0.00058388 | 0.00014593 | -0.00058387 | -0.00014633 | 8.7772e-09 | -3.9911e-07 | 0.00086982 | 0.00086996 | 0.00086996 | 0.99869 | -0.025266 | 0.99867 | -0.025582 | 0.239
51 | 0.004426 | 0.0011064 | -0.0044258 | -0.0011064 | 2.3829e-07 | -3.8687e-08 | 0.006594 | 0.0065941 | 0.0065941 | 0.99864 | -0.026248 | 0.99858 | -0.027381 | 1.8116
52 | 0.0012941 | 0.00032266 | -0.0012941 | -0.00032315 | 5.5768e-08 | -4.8768e-07 | 0.0019279 | 0.001928 | 0.001928 | 0.99858 | -0.027381 | 0.99853 | -0.028288 | 0.52968
53 | 0.0031317 | 0.00078376 | -0.0031316 | -0.00078378 | 1.7124e-08 | -1.6476e-08 | 0.0046662 | 0.0046662 | 0.0046662 | 0.99858 | -0.027381 | 0.99857 | -0.027496 | 1.2819
54 | 0.0092585 | 0.0023119 | -0.009257 | -0.0023112 | 1.4746e-06 | 6.733e-07 | 0.013792 | 0.013792 | 0.013792 | 0.99867 | -0.0257 | 0.99849 | -0.029053 | 3.7891
55 | 0.0088162 | 0.0022007 | -0.0088155 | -0.0022004 | 7.9793e-07 | 3.4939e-07 | 0.013135 | 0.013135 | 0.013135 | 0.99849 | -0.029053 | 0.99839 | -0.030959 | 3.6087
56 | 0.010577 | 0.0026507 | -0.010576 | -0.0026502 | 1.0084e-06 | 5.0459e-07 | 0.015784 | 0.015784 | 0.015784 | 0.99714 | -0.054948 | 0.99704 | -0.05695 | 4.3362
57 | -0.011681 | -0.0029274 | 0.011682 | 0.0029279 | 9.2375e-07 | 4.8544e-07 | 0.017432 | 0.017431 | 0.017432 | 0.99714 | -0.054948 | 0.99723 | -0.053288 | 4.7889
58 | 0.010162 | 0.0025464 | -0.010162 | -0.0025463 | 2.0801e-07 | 1.0168e-07 | 0.015166 | 0.015166 | 0.015166 | 0.99704 | -0.05695 | 0.99702 | -0.05738 | 4.1664
59 | -0.013627 | -0.0034155 | 0.013629 | 0.0034162 | 1.3972e-06 | 7.7663e-07 | 0.020334 | 0.020334 | 0.020334 | 0.99723 | -0.053288 | 0.99734 | -0.051137 | 5.5863
60 | 0.0012432 | 0.00031149 | -0.0012432 | -0.00031157 | 7.9184e-09 | -7.469e-08 | 0.0018567 | 0.0018568 | 0.0018568 | 0.99629 | -0.071416 | 0.99628 | -0.071549 | 0.5101
61 | 0.0023016 | 0.00057584 | -0.0023015 | -0.00057599 | 6.5881e-08 | -1.5323e-07 | 0.0034294 | 0.0034295 | 0.0034295 | 0.99855 | -0.027967 | 0.99852 | -0.028569 | 0.94217
62 | -0.0028928 | -0.00072401 | 0.0028928 | 0.00072393 | 6.488e-08 | -8.0294e-08 | 0.0043104 | 0.0043104 | 0.0043104 | 0.99855 | -0.027967 | 0.99857 | -0.027496 | 1.1842
63 | 0.0011912 | 0.00029772 | -0.0011912 | -0.00029799 | 2.6243e-08 | -2.7377e-07 | 0.0017748 | 0.0017749 | 0.0017749 | 0.99852 | -0.028569 | 0.99849 | -0.029032 | 0.48762
64 | 0.0011912 | 0.00029799 | -0.0011911 | -0.00029816 | 1.5959e-08 | -1.6647e-07 | 0.0017749 | 0.001775 | 0.001775 | 0.99849 | -0.029032 | 0.99848 | -0.029313 | 0.48764
65 | 0.0010027 | 0.00025094 | -0.0010027 | -0.0002513 | 2.4319e-08 | -3.6429e-07 | 0.0014942 | 0.0014944 | 0.0014944 | 0.99848 | -0.029313 | 0.99845 | -0.029823 | 0.41054
66 | 0.00058439 | 0.00014528 | -0.00058437 | -0.00014581 | 1.1729e-08 | -5.3236e-07 | 0.00087044 | 0.00087063 | 0.00087063 | 0.99853 | -0.028288 | 0.99851 | -0.028712 | 0.23918
67 | -0.0004352 | -0.00010907 | 0.00043521 | 0.00010871 | 4.4837e-09 | -3.663e-07 | 0.00064975 | 0.00064962 | 0.00064975 | 0.99668 | -0.064267 | 0.99669 | -0.06405 | 0.1785
68 | -0.00080382 | -0.00020109 | 0.00080383 | 0.00020074 | 1.4689e-08 | -3.4518e-07 | 0.0011999 | 0.0011998 | 0.0011999 | 0.99669 | -0.06405 | 0.99671 | -0.063666 | 0.32965
69 | 0.00071153 | 0.00017721 | -0.00071151 | -0.00017791 | 2.3034e-08 | -6.9503e-07 | 0.0010619 | 0.0010621 | 0.0010621 | 0.99671 | -0.063666 | 0.99667 | -0.064347 | 0.29179
70 | -0.0015154 | -0.00037796 | 0.0015155 | 0.00037732 | 1.0373e-07 | -6.3852e-07 | 0.0022617 | 0.0022614 | 0.0022617 | 0.99671 | -0.063666 | 0.99678 | -0.062223 | 0.62134
71 | 0.00071151 | 0.00017791 | -0.00071149 | -0.00017832 | 1.3506e-08 | -4.0736e-07 | 0.0010621 | 0.0010623 | 0.0010623 | 0.99667 | -0.064347 | 0.99665 | -0.064746 | 0.29183
72 | 0.0013902 | 0.00034818 | -0.0013902 | -0.00034842 | 3.2741e-08 | -2.4535e-07 | 0.0020712 | 0.0020713 | 0.0020713 | 0.99874 | -0.024259 | 0.99871 | -0.024754 | 0.56905
73 | -0.0018472 | -0.0004627 | 0.0018473 | 0.00046256 | 3.5764e-08 | -1.419e-07 | 0.0027521 | 0.002752 | 0.0027521 | 0.99874 | -0.024259 | 0.99876 | -0.023853 | 0.75607
74 | 0.00018986 | 4.7444e-05 | -0.00018986 | -4.7584e-05 | 3.2357e-10 | -1.3978e-07 | 0.00028341 | 0.00028346 | 0.00028346 | 0.99669 | -0.064075 | 0.99668 | -0.064111 | 0.077873
75 | -0.00058436 | -0.00014645 | 0.00058436 | 0.00014626 | 4.2614e-09 | -1.9327e-07 | 0.00087086 | 0.00087079 | 0.00087086 | 0.99848 | -0.029223 | 0.99849 | -0.02907 | 0.23925
76 | -0.00058436 | -0.00014626 | 0.00058437 | 0.00014581 | 9.9519e-09 | -4.515e-07 | 0.00087079 | 0.00087063 | 0.00087079 | 0.99849 | -0.02907 | 0.99851 | -0.028712 | 0.23923

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.06652 | 0.016277

## res_load
| p_mw | q_mvar
0 | 0.0022985 | 0.00057606
1 | 0.00013088 | 3.2802e-05
2 | 0.00022269 | 5.5812e-05
3 | 0.00053265 | 0.00013349
4 | 0.00055569 | 0.00013927
5 | 0.0013756 | 0.00034475
6 | 0.0050572 | 0.0012675
7 | 0.0027844 | 0.00069785
8 | 0.0029055 | 0.0007282
9 | 0.0018087 | 0.0004533
10 | 0.0083893 | 0.0021026
11 | 0.00030441 | 7.6292e-05
12 | 0.0013841 | 0.00034689
13 | 0.00013863 | 3.4743e-05
14 | 0.00045161 | 0.00011318
15 | 0.0020012 | 0.00050155
16 | 0.00013351 | 3.3461e-05
17 | 0.00034691 | 8.6945e-05
18 | 0.0012423 | 0.00031135
19 | 0.0012663 | 0.00031736
20 | 0.0004709 | 0.00011802
21 | 0.0005553 | 0.00013917
22 | 0.0022234 | 0.00055723
23 | 0.00041387 | 0.00010373
24 | 0.00070217 | 0.00017598
25 | 0.00069277 | 0.00017362
26 | 0.00053891 | 0.00013506
27 | 0.0004523 | 0.00011336
28 | 0.001792 | 0.00044912
29 | 0.00033135 | 8.3044e-05
30 | 0.00098179 | 0.00024606
31 | 0.00059278 | 0.00014857
32 | 0.0011678 | 0.00029269
33 | 0.00058387 | 0.00014633
34 | 0.00060707 | 0.00015215
35 | 0.00069648 | 0.00017455
36 | 0.00044074 | 0.00011046
37 | 0.0011043 | 0.00027676
38 | 0.00041411 | 0.00010379
39 | 0.0019453 | 0.00048754
40 | 0.0005729 | 0.00014358
41 | 0.0003531 | 8.8495e-05
42 | 0.0024543 | 0.0006151
43 | 0.0012432 | 0.00031157
44 | 0.00059119 | 0.00014817
45 | 0.0011103 | 0.00027828
46 | 0.0002388 | 5.985e-05
47 | 0.0001884 | 4.7218e-05
48 | 0.00070971 | 0.00017787
49 | 0.0004352 | 0.00010907
50 | 0.00036861 | 9.2382e-05
51 | 0.00017239 | 4.3206e-05
52 | 0.00025457 | 6.3802e-05
53 | 0.00082774 | 0.00020745
54 | 0.00045698 | 0.00011453
55 | 0.0013902 | 0.00034842
56 | 0.00038954 | 9.7628e-05
57 | 0.00047027 | 0.00011786
58 | 0.00071149 | 0.00017832
59 | 0.00018986 | 4.7584e-05
60 | 0.0010027 | 0.0002513
61 | 0.00058436 | 0.00014645

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1