## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2464-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2464-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2464-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2464-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2464-2_0_5_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_2464-2_0_5_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_2464-2_0_5_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_2464-2_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2464-2_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2464-2_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2464-2_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2464-2_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2464-2_0_5_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_2464-2_0_5_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_2464-2_0_5_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_2464-2_0_5_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2464-2_0_5_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_2464-2_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2464-2_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2464-2_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2464-2_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2464-2_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2464-2_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2464-2_0_5_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_2464-2_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2464-2_0_5_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_2464-2_0_5_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_2464-2_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2464-2_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_2464-2_0_5_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_2464-2_0_5_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_2464-2_0_5_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_2464-2_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2464-2_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2464-2_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2464-2_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2464-2_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_2464-2_0_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_2464-2_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2464-2_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2464-2_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_2464-2_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2464-2_0_5_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_2464-2_0_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_2464-2_0_5_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_2464-2_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_2464-2_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2464-2_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2464-2_0_5_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_2464-2_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_2464-2_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2464-2_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_2464-2_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_2464-2_0_5_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_2464-2_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2464-2_0_5_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_2464-2_0_5_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_2464-2_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2464-2_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_2464-2_0_5_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_2464-2_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_2464-2_0_5_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2464-2_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2464-2_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2464-2_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_2464-2_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2464-2_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_2464-2_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_2464-2_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2464-2_0_5_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_2464-2_0_5_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_2464-2_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_MV_292_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2464-2_0_5_load_0 | 0 | 0.0030477 | 0.00076383 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2464-2_0_5_load_1 | 1 | 0.0042434 | 0.0010635 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2464-2_0_5_load_2 | 2 | 0.011383 | 0.002853 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2464-2_0_5_load_3 | 3 | 0.0050238 | 0.0012591 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2464-2_0_5_load_47 | 4 | 0.097709 | 0.024488 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2464-2_0_5_load_76 | 5 | 0.0051418 | 0.0012887 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2464-2_0_5_load_43 | 6 | 0.0019941 | 0.00049976 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2464-2_0_5_load_4 | 7 | 0.0034094 | 0.00085446 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2464-2_0_5_load_8 | 8 | 0.0021624 | 0.00054194 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2464-2_0_5_load_5 | 9 | 0.0023759 | 0.00059546 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2464-2_0_5_load_9 | 10 | 0.00037724 | 9.4544e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2464-2_0_5_load_35 | 12 | 0.00096114 | 0.00024089 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2464-2_0_5_load_72 | 13 | 0.0041532 | 0.0010409 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2464-2_0_5_load_73 | 14 | 0.0041106 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2464-2_0_5_load_37 | 16 | 0.00069992 | 0.00017542 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2464-2_0_5_load_11 | 17 | 0.0090678 | 0.0022726 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2464-2_0_5_load_12 | 18 | 0.0026346 | 0.00066028 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2464-2_0_5_load_15 | 21 | 0.0050196 | 0.001258 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2464-2_0_5_load_16 | 22 | 0.0042559 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2464-2_0_5_load_27 | 23 | 0.0022013 | 0.00055169 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2464-2_0_5_load_32 | 24 | 0.0090619 | 0.0022711 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2464-2_0_5_load_45 | 25 | 0.0027327 | 0.00068488 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2464-2_0_5_load_25 | 27 | 0.0011191 | 0.00028048 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2464-2_0_5_load_30 | 28 | 0.007538 | 0.0018892 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2464-2_0_5_load_44 | 29 | 0.007504 | 0.0018807 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2464-2_0_5_load_50 | 30 | 0.003558 | 0.00089171 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2464-2_0_5_load_55 | 31 | 0.0033711 | 0.00084487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2464-2_0_5_load_17 | 32 | 0.028353 | 0.007106 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2464-2_0_5_load_20 | 36 | 0.02497 | 0.006258 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2464-2_0_5_load_21 | 38 | 0.0043245 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2464-2_0_5_load_22 | 39 | 0.046912 | 0.011757 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2464-2_0_5_load_24 | 40 | 0.027508 | 0.0068941 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2464-2_0_5_load_34 | 41 | 0.01767 | 0.0044284 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2464-2_0_5_load_64 | 42 | 0.040131 | 0.010058 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2464-2_0_5_load_57 | 43 | 0.016655 | 0.004174 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2464-2_0_5_load_42 | 44 | 0.031969 | 0.0080122 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2464-2_0_5_load_26 | 45 | 0.0013922 | 0.00034891 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2464-2_0_5_load_28 | 46 | 0.0014328 | 0.0003591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2464-2_0_5_load_38 | 47 | 0.00057137 | 0.0001432 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2464-2_0_5_load_63 | 48 | 0.0015519 | 0.00038894 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2464-2_0_5_load_29 | 49 | 0.010443 | 0.0026173 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2464-2_0_5_load_58 | 52 | 0.0041536 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2464-2_0_5_load_56 | 53 | 0.0010948 | 0.00027438 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2464-2_0_5_load_40 | 54 | 0.0024886 | 0.00062371 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2464-2_0_5_load_70 | 55 | 0.0020464 | 0.00051287 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2464-2_0_5_load_65 | 56 | 0.001176 | 0.00029474 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2464-2_0_5_load_39 | 57 | 0.0024936 | 0.00062495 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2464-2_0_5_load_74 | 59 | 0.030688 | 0.0076911 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2464-2_0_5_load_48 | 60 | 0.0045623 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2464-2_0_5_load_49 | 61 | 0.0018344 | 0.00045974 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2464-2_0_5_load_51 | 62 | 0.0015351 | 0.00038474 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2464-2_0_5_load_52 | 63 | 0.001469 | 0.00036816 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2464-2_0_5_load_53 | 64 | 0.0012155 | 0.00030462 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2464-2_0_5_load_54 | 65 | 0.0014423 | 0.00036146 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2464-2_0_5_load_61 | 67 | 0.00058501 | 0.00014662 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2464-2_0_5_load_68 | 68 | 0.00047681 | 0.0001195 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2464-2_0_5_load_75 | 70 | 0.080005 | 0.020051 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2464-2_0_5_load_67 | 71 | 0.00067392 | 0.0001689 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2464-2_0_5_line_0 |  | 0 | 1 | 0.0036772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2464-2_0_5_line_1 |  | 0 | 2 | 0.012979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2464-2_0_5_line_2 |  | 1 | 3 | 0.0020402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2464-2_0_5_line_3 |  | 3 | 7 | 0.016814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2464-2_0_5_line_4 |  | 3 | 8 | 0.039819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2464-2_0_5_line_5 |  | 4 | 5 | 0.14541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2464-2_0_5_line_6 |  | 4 | 6 | 0.022862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2464-2_0_5_line_7 |  | 5 | 9 | 0.042685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2464-2_0_5_line_8 |  | 6 | 58 | 0.034791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_2464-2_0_5_line_9 |  | 7 | 9 | 0.0055312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2464-2_0_5_line_10 |  | 10 | 11 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2464-2_0_5_line_11 |  | 11 | 12 | 0.036918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2464-2_0_5_line_12 |  | 12 | 15 | 0.016584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2464-2_0_5_line_13 |  | 13 | 14 | 0.0365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2464-2_0_5_line_14 |  | 14 | 52 | 0.036773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2464-2_0_5_line_15 |  | 14 | 55 | 0.096399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2464-2_0_5_line_16 |  | 15 | 16 | 0.02865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2464-2_0_5_line_17 |  | 16 | 55 | 0.0084968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2464-2_0_5_line_18 |  | 17 | 18 | 0.0042611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2464-2_0_5_line_19 |  | 17 | 19 | 0.030575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2464-2_0_5_line_20 |  | 18 | 20 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2464-2_0_5_line_21 |  | 19 | 21 | 0.029963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2464-2_0_5_line_22 |  | 19 | 22 | 0.017097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2464-2_0_5_line_23 |  | 20 | 23 | 0.031449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2464-2_0_5_line_24 |  | 20 | 24 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2464-2_0_5_line_25 |  | 21 | 25 | 0.023315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2464-2_0_5_line_26 |  | 22 | 26 | 0.01105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2464-2_0_5_line_27 |  | 23 | 27 | 0.017272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2464-2_0_5_line_28 |  | 24 | 28 | 0.041516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2464-2_0_5_line_29 |  | 25 | 29 | 0.023929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2464-2_0_5_line_30 |  | 26 | 30 | 0.024893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2464-2_0_5_line_31 |  | 26 | 31 | 0.014372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2464-2_0_5_line_32 |  | 27 | 45 | 0.023129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2464-2_0_5_line_33 |  | 28 | 49 | 0.040595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2464-2_0_5_line_34 |  | 30 | 61 | 0.0033671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2464-2_0_5_line_35 |  | 31 | 64 | 0.0056581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2464-2_0_5_line_36 |  | 32 | 33 | 0.10205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2464-2_0_5_line_37 |  | 33 | 34 | 0.035064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2464-2_0_5_line_38 |  | 34 | 35 | 0.034599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_2464-2_0_5_line_39 |  | 34 | 36 | 0.055065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_2464-2_0_5_line_40 |  | 35 | 37 | 0.051147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_2464-2_0_5_line_41 |  | 36 | 38 | 0.019485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_2464-2_0_5_line_42 |  | 37 | 42 | 0.030537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_2464-2_0_5_line_43 |  | 37 | 43 | 0.062885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_2464-2_0_5_line_44 |  | 38 | 39 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_2464-2_0_5_line_45 |  | 39 | 40 | 0.02845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_2464-2_0_5_line_46 |  | 40 | 41 | 0.093088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_2464-2_0_5_line_47 |  | 41 | 44 | 0.010852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_2464-2_0_5_line_48 |  | 42 | 59 | 0.0058027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2464-2_0_5_line_49 |  | 43 | 53 | 0.024146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_2464-2_0_5_line_50 |  | 44 | 54 | 0.04428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_2464-2_0_5_line_51 |  | 45 | 46 | 0.0055915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2464-2_0_5_line_52 |  | 46 | 47 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2464-2_0_5_line_53 |  | 47 | 48 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2464-2_0_5_line_54 |  | 48 | 56 | 0.0092513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2464-2_0_5_line_55 |  | 49 | 50 | 0.13019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2464-2_0_5_line_56 |  | 50 | 51 | 0.006615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2464-2_0_5_line_57 |  | 51 | 52 | 0.051126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2464-2_0_5_line_58 |  | 51 | 53 | 0.074017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2464-2_0_5_line_59 |  | 54 | 57 | 0.049568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_2464-2_0_5_line_60 |  | 56 | 69 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2464-2_0_5_line_61 |  | 57 | 58 | 0.009069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_2464-2_0_5_line_62 |  | 59 | 70 | 0.008536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_2464-2_0_5_line_63 |  | 60 | 61 | 0.0030198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2464-2_0_5_line_64 |  | 62 | 63 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2464-2_0_5_line_65 |  | 62 | 64 | 0.021169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2464-2_0_5_line_66 |  | 63 | 65 | 0.0029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2464-2_0_5_line_67 |  | 65 | 66 | 0.013568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2464-2_0_5_line_68 |  | 66 | 67 | 0.025483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2464-2_0_5_line_69 |  | 68 | 69 | 0.014504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2464-2_0_5_line_70 |  | 69 | 71 | 0.017829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2464-2_0_5_trafo_75 | 0.63 MVA 20/0.4 kV | 72 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2604342.9115 | 1226518.7051 | 2604339.7126 | 1226516.8915
1 | 2604354.2017 | 1226525.106 | 2604342.9115 | 1226518.7051
2 | 2604339.7126 | 1226516.8915 | 2604337.9378 | 1226515.8853
3 | 2604323.3105 | 1226507.5925 | 2604337.9378 | 1226515.8853
4 | 2604337.9378 | 1226515.8853 | 2604354.677 | 1226479.7561
5 | 2604260.1164 | 1226668.4565 | 2604280.5972 | 1226524.4975
6 | 2604260.1164 | 1226668.4565 | 2604251.4494 | 1226689.6119
7 | 2604318.4988 | 1226504.8645 | 2604280.5972 | 1226524.4975
8 | 2604238.2602 | 1226721.8058 | 2604251.4494 | 1226689.6119
9 | 2604323.3105 | 1226507.5925 | 2604318.4988 | 1226504.8645
10 | 2604604.6294 | 1226551.8851 | 2604596.4028 | 1226556.6038 | 2604590.119 | 1226557.9776 | 2604587.2011 | 1226558.0259
11 | 2604604.6294 | 1226551.8851 | 2604608.4604 | 1226566.7857 | 2604615.3262 | 1226577.3749 | 2604623.9367 | 1226579.6743
12 | 2604639.9595 | 1226583.9532 | 2604623.9367 | 1226579.6743
13 | 2604588.2856 | 1226689.4155 | 2604621.8251 | 1226703.8147
14 | 2604621.8251 | 1226703.8147 | 2604655.616 | 1226718.3218
15 | 2604621.8251 | 1226703.8147 | 2604653.4729 | 1226612.7583
16 | 2604639.9595 | 1226583.9532 | 2604637.1201 | 1226600.294 | 2604646.7152 | 1226607.6075
17 | 2604653.4729 | 1226612.7583 | 2604646.7152 | 1226607.6075
18 | 2604759.5327 | 1226888.7859 | 2604760.8332 | 1226884.7281
19 | 2604750.2016 | 1226917.9018 | 2604759.5327 | 1226888.7859
20 | 2604765.8286 | 1226869.141 | 2604760.8332 | 1226884.7281
21 | 2604750.2016 | 1226917.9018 | 2604722.1922 | 1226907.2593
22 | 2604750.2016 | 1226917.9018 | 2604765.7499 | 1226925.0115
23 | 2604765.8286 | 1226869.141 | 2604795.5963 | 1226878.5813 | 2604795.8066 | 1226878.648
24 | 2604765.8286 | 1226869.141 | 2604771.9864 | 1226849.89
25 | 2604700.3991 | 1226898.9742 | 2604704.503 | 1226900.5336 | 2604713.8442 | 1226904.0874 | 2604722.1922 | 1226907.2593
26 | 2604775.7993 | 1226929.6067 | 2604765.7499 | 1226925.0115
27 | 2604812.27 | 1226883.8718 | 2604795.8066 | 1226878.648
28 | 2604771.9864 | 1226849.89 | 2604784.6348 | 1226810.3474
29 | 2604678.0302 | 1226890.4742 | 2604700.3991 | 1226898.9742
30 | 2604775.7993 | 1226929.6067 | 2604763.8543 | 1226951.4465
31 | 2604775.7993 | 1226929.6067 | 2604788.8766 | 1226935.5671
32 | 2604812.27 | 1226883.8718 | 2604834.3159 | 1226890.8669
33 | 2604797.0026 | 1226771.682 | 2604784.6348 | 1226810.3474
34 | 2604762.2387 | 1226954.4006 | 2604763.8543 | 1226951.4465
35 | 2604794.0252 | 1226937.9137 | 2604788.8766 | 1226935.5671
36 | 2604513.4984 | 1226902.3111 | 2604610.6359 | 1226933.5914
37 | 2604524.2012 | 1226868.9996 | 2604520.142 | 1226885.5062 | 2604517.644 | 1226891.8303 | 2604516.3077 | 1226895.1979 | 2604513.4984 | 1226902.3111
38 | 2604524.2012 | 1226868.9996 | 2604538.1009 | 1226837.3025
39 | 2604524.2012 | 1226868.9996 | 2604504.8995 | 1226868.596 | 2604471.3977 | 1226856.0923
40 | 2604538.1009 | 1226837.3025 | 2604552.1748 | 1226816.1006 | 2604571.3233 | 1226798.8716
41 | 2604471.3977 | 1226856.0923 | 2604453.1427 | 1226849.2791
42 | 2604571.3233 | 1226798.8716 | 2604556.4655 | 1226772.1925
43 | 2604571.3233 | 1226798.8716 | 2604587.563 | 1226789.9675 | 2604611.518 | 1226780.647 | 2604628.3179 | 1226772.5252
44 | 2604453.1427 | 1226849.2791 | 2604428.5966 | 1226840.1179
45 | 2604428.5966 | 1226840.1179 | 2604407.1504 | 1226832.1136 | 2604401.8255 | 1226830.5165
46 | 2604324.7254 | 1226789.4642 | 2604327.9909 | 1226794.5121 | 2604337.1034 | 1226811.1617 | 2604338.8758 | 1226812.4304 | 2604342.201 | 1226814.8009 | 2604358.4523 | 1226820.8606 | 2604378.8347 | 1226825.7115 | 2604393.5881 | 1226828.0458 | 2604401.8255 | 1226830.5165
47 | 2604324.7254 | 1226789.4642 | 2604318.8311 | 1226780.3528 | 2604318.8311 | 1226780.3528
48 | 2604553.6422 | 1226767.123 | 2604556.4655 | 1226772.1925
49 | 2604649.0249 | 1226760.1946 | 2604635.6036 | 1226769.003 | 2604628.3179 | 1226772.5252
50 | 2604279.0503 | 1226761.5991 | 2604291.8615 | 1226766.7256 | 2604301.3243 | 1226770.5901 | 2604312.0826 | 1226774.9225 | 2604318.8311 | 1226780.3528
51 | 2604834.3159 | 1226890.8669 | 2604839.6455 | 1226892.558 | 2604839.6455 | 1226892.558
52 | 2604839.6455 | 1226892.558 | 2604846.2027 | 1226890.0729 | 2604851.3825 | 1226890.2892
53 | 2604851.3825 | 1226890.2892 | 2604855.16 | 1226890.447 | 2604855.6106 | 1226886.1115 | 2604859.0743 | 1226886.1746
54 | 2604868.3241 | 1226886.3431 | 2604859.0743 | 1226886.1746
55 | 2604705.9974 | 1226704.1972 | 2604761.8164 | 1226729.1889 | 2604768.9375 | 1226732.6521 | 2604770.6647 | 1226733.4429 | 2604784.9747 | 1226740.8363 | 2604803.678 | 1226750.8126 | 2604797.0026 | 1226771.682
56 | 2604705.9974 | 1226704.1972 | 2604701.5526 | 1226709.1077
57 | 2604701.5526 | 1226709.1077 | 2604671.4612 | 1226724.8825 | 2604659.0666 | 1226719.8033 | 2604655.616 | 1226718.3218
58 | 2604701.5526 | 1226709.1077 | 2604685.1959 | 1226731.4526 | 2604664.4012 | 1226750.103 | 2604649.0249 | 1226760.1946
59 | 2604242.4037 | 1226729.873 | 2604243.0358 | 1226731.1035 | 2604250.3569 | 1226741.4258 | 2604260.3005 | 1226751.3387 | 2604270.5418 | 1226758.1944 | 2604279.0503 | 1226761.5991
60 | 2604884.3471 | 1226886.6349 | 2604868.3241 | 1226886.3431
61 | 2604238.2602 | 1226721.8058 | 2604242.4037 | 1226729.873
62 | 2604549.4891 | 1226759.6654 | 2604553.6422 | 1226767.123
63 | 2604760.7896 | 1226957.05 | 2604762.2387 | 1226954.4006
64 | 2604813.2874 | 1226946.6929 | 2604829.9021 | 1226954.2655
65 | 2604813.2874 | 1226946.6929 | 2604794.0252 | 1226937.9137
66 | 2604829.9021 | 1226954.2655 | 2604832.5571 | 1226955.4756
67 | 2604844.9028 | 1226961.1025 | 2604832.5571 | 1226955.4756
68 | 2604844.9028 | 1226961.1025 | 2604842.2264 | 1226981.5679 | 2604841.0992 | 1226986.2787
69 | 2604884.3471 | 1226886.6349 | 2604884.2475 | 1226901.139
70 | 2604884.3471 | 1226886.6349 | 2604884.4681 | 1226868.8069

## bus_geodata
| x | y | coords
0 | 2604342.9115 | 1226518.7051
1 | 2604339.7126 | 1226516.8915
2 | 2604354.2017 | 1226525.106
3 | 2604337.9378 | 1226515.8853
4 | 2604260.1164 | 1226668.4565
5 | 2604280.5972 | 1226524.4975
6 | 2604251.4494 | 1226689.6119
7 | 2604323.3105 | 1226507.5925
8 | 2604354.677 | 1226479.7561
9 | 2604318.4988 | 1226504.8645
10 | 2604587.2011 | 1226558.0259
11 | 2604604.6294 | 1226551.8851
12 | 2604623.9366 | 1226579.6743
13 | 2604588.2856 | 1226689.4155
14 | 2604621.8251 | 1226703.8147
15 | 2604639.9595 | 1226583.9532
16 | 2604646.7152 | 1226607.6075
17 | 2604759.5327 | 1226888.7859
18 | 2604760.8332 | 1226884.7281
19 | 2604750.2016 | 1226917.9018
20 | 2604765.8286 | 1226869.141
21 | 2604722.1922 | 1226907.2593
22 | 2604765.7499 | 1226925.0115
23 | 2604795.8066 | 1226878.648
24 | 2604771.9864 | 1226849.89
25 | 2604700.3991 | 1226898.9742
26 | 2604775.7993 | 1226929.6067
27 | 2604812.27 | 1226883.8718
28 | 2604784.6348 | 1226810.3474
29 | 2604678.0302 | 1226890.4742
30 | 2604763.8543 | 1226951.4465
31 | 2604788.8766 | 1226935.5671
32 | 2604610.6359 | 1226933.5914
33 | 2604513.4984 | 1226902.3111
34 | 2604524.2012 | 1226868.9996
35 | 2604538.1009 | 1226837.3025
36 | 2604471.3977 | 1226856.0923
37 | 2604571.3233 | 1226798.8716
38 | 2604453.1427 | 1226849.2791
39 | 2604428.5966 | 1226840.1179
40 | 2604401.8255 | 1226830.5165
41 | 2604324.7254 | 1226789.4642
42 | 2604556.4655 | 1226772.1925
43 | 2604628.3179 | 1226772.5252
44 | 2604318.8311 | 1226780.3528
45 | 2604834.3159 | 1226890.8669
46 | 2604839.6455 | 1226892.558
47 | 2604851.3825 | 1226890.2892
48 | 2604859.0743 | 1226886.1746
49 | 2604797.0026 | 1226771.682
50 | 2604705.9974 | 1226704.1972
51 | 2604701.5526 | 1226709.1077
52 | 2604655.616 | 1226718.3218
53 | 2604649.0249 | 1226760.1946
54 | 2604279.0503 | 1226761.5991
55 | 2604653.4729 | 1226612.7583
56 | 2604868.3241 | 1226886.3431
57 | 2604242.4037 | 1226729.873
58 | 2604238.2602 | 1226721.8058
59 | 2604553.6422 | 1226767.123
60 | 2604760.7896 | 1226957.05
61 | 2604762.2387 | 1226954.4006
62 | 2604813.2874 | 1226946.6929
63 | 2604829.9021 | 1226954.2655
64 | 2604794.0252 | 1226937.9137
65 | 2604832.5571 | 1226955.4756
66 | 2604844.9028 | 1226961.1025
67 | 2604841.0992 | 1226986.2787
68 | 2604884.2475 | 1226901.139
69 | 2604884.3471 | 1226886.6349
70 | 2604549.4891 | 1226759.6654
71 | 2604884.4681 | 1226868.8069
72 | 2604571.3233 | 1226798.8716

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97241 | -0.53309 | 0.0030477 | 0.00076383
1 | 0.97246 | -0.53212 | 0.0042434 | 0.0010635
2 | 0.97228 | -0.53582 | 0.011383 | 0.002853
3 | 0.9725 | -0.53141 | 0.0050238 | 0.0012591
4 | 0.97681 | -0.44659 | 0.097709 | 0.024488
5 | 0.97431 | -0.49559 | 0.0051418 | 0.0012887
6 | 0.97738 | -0.43536 | 0.0019941 | 0.00049976
7 | 0.9729 | -0.5234 | 0.0034094 | 0.00085446
8 | 0.97242 | -0.533 | 0.0021624 | 0.00054194
9 | 0.97305 | -0.52042 | 0.0023759 | 0.00059546
10 | 0.99019 | -0.18672 | 0.00037724 | 9.4544e-05
11 | 0.99019 | -0.1866 | 0 | 0
12 | 0.9902 | -0.18635 | 0.00096114 | 0.00024089
13 | 0.9905 | -0.18065 | 0.0041532 | 0.0010409
14 | 0.99064 | -0.17796 | 0.0041106 | 0.0010302
15 | 0.99022 | -0.18595 | 0 | 0
16 | 0.99026 | -0.18527 | 0.00069992 | 0.00017542
17 | 0.97274 | -0.52471 | 0.0090678 | 0.0022726
18 | 0.97293 | -0.52093 | 0.0026346 | 0.00066028
19 | 0.97162 | -0.54675 | 0 | 0
20 | 0.9737 | -0.50563 | 0 | 0
21 | 0.97119 | -0.5552 | 0.0050196 | 0.001258
22 | 0.97124 | -0.55428 | 0.0042559 | 0.0010666
23 | 0.97339 | -0.51176 | 0.0022013 | 0.00055169
24 | 0.97486 | -0.48285 | 0.0090619 | 0.0022711
25 | 0.97097 | -0.55961 | 0.0027327 | 0.00068488
26 | 0.97104 | -0.55828 | 0 | 0
27 | 0.97326 | -0.51443 | 0.0011191 | 0.00028048
28 | 0.97759 | -0.42935 | 0.007538 | 0.0018892
29 | 0.9708 | -0.56293 | 0.007504 | 0.0018807
30 | 0.97081 | -0.56286 | 0.003558 | 0.00089171
31 | 0.97091 | -0.56083 | 0.0033711 | 0.00084487
32 | 0.98744 | -0.2401 | 0.028353 | 0.007106
33 | 0.9901 | -0.18851 | 0 | 0
34 | 0.99101 | -0.17085 | 0 | 0
35 | 0.99308 | -0.13123 | 0 | 0
36 | 0.98801 | -0.22866 | 0.02497 | 0.006258
37 | 0.99614 | -0.072971 | 0 | 0
38 | 0.98703 | -0.24746 | 0.0043245 | 0.0010838
39 | 0.98574 | -0.27239 | 0.046912 | 0.011757
40 | 0.98459 | -0.29474 | 0.027508 | 0.0068941
41 | 0.98129 | -0.35894 | 0.01767 | 0.0044284
42 | 0.99866 | -0.025246 | 0.040131 | 0.010058
43 | 0.99471 | -0.10012 | 0.016655 | 0.004174
44 | 0.98094 | -0.36576 | 0.031969 | 0.0080122
45 | 0.9731 | -0.51753 | 0.0013922 | 0.00034891
46 | 0.97307 | -0.51814 | 0.0014328 | 0.0003591
47 | 0.97302 | -0.51914 | 0.00057137 | 0.0001432
48 | 0.97298 | -0.51997 | 0.0015519 | 0.00038894
49 | 0.98054 | -0.37178 | 0.010443 | 0.0026173
50 | 0.99128 | -0.16529 | 0 | 0
51 | 0.99182 | -0.15492 | 0 | 0
52 | 0.99105 | -0.16989 | 0.0041536 | 0.001041
53 | 0.99423 | -0.10915 | 0.0010948 | 0.00027438
54 | 0.97977 | -0.38849 | 0.0024886 | 0.00062371
55 | 0.99028 | -0.18496 | 0.0020464 | 0.00051287
56 | 0.97296 | -0.52036 | 0.001176 | 0.00029474
57 | 0.97849 | -0.41354 | 0.0024936 | 0.00062495
58 | 0.97826 | -0.41805 | 0 | 0
59 | 0.99918 | -0.015391 | 0.030688 | 0.0076911
60 | 0.97077 | -0.56351 | 0.0045623 | 0.0011434
61 | 0.97079 | -0.56326 | 0.0018344 | 0.00045974
62 | 0.97078 | -0.56346 | 0.0015351 | 0.00038474
63 | 0.97072 | -0.56464 | 0.001469 | 0.00036816
64 | 0.97088 | -0.56149 | 0.0012155 | 0.00030462
65 | 0.97071 | -0.56475 | 0.0014423 | 0.00036146
66 | 0.9707 | -0.56489 | 0 | 0
67 | 0.97069 | -0.56517 | 0.00058501 | 0.00014662
68 | 0.97293 | -0.52083 | 0.00047681 | 0.0001195
69 | 0.97294 | -0.5207 | 0 | 0
70 | 1 | 0 | -0.52658 | -0.13471
71 | 0.97293 | -0.52092 | 0.00067392 | 0.0001689
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014433 | -0.0036176 | 0.014433 | 0.003618 | 6.7261e-07 | 3.8485e-07 | 0.022085 | 0.022085 | 0.022085 | 0.97241 | -0.53309 | 0.97246 | -0.53212 | 6.0674
1 | 0.011385 | 0.0028537 | -0.011383 | -0.002853 | 1.4772e-06 | 7.8443e-07 | 0.017422 | 0.017422 | 0.017422 | 0.97241 | -0.53309 | 0.97228 | -0.53582 | 4.7862
2 | -0.018677 | -0.0046815 | 0.018677 | 0.0046818 | 6.2487e-07 | 3.746e-07 | 0.028579 | 0.028579 | 0.028579 | 0.97246 | -0.53212 | 0.9725 | -0.53141 | 7.8512
3 | -0.025864 | -0.0064825 | 0.025874 | 0.0064886 | 9.875e-06 | 6.1113e-06 | 0.039574 | 0.039574 | 0.039574 | 0.9725 | -0.53141 | 0.9729 | -0.5234 | 10.872
4 | 0.0021625 | 0.00054155 | -0.0021624 | -0.00054194 | 1.6348e-07 | -3.8939e-07 | 0.0033087 | 0.0033089 | 0.0033089 | 0.9725 | -0.53141 | 0.97242 | -0.533 | 0.90904
5 | 0.036929 | 0.0093049 | -0.036842 | -0.0092533 | 8.6338e-05 | 5.1625e-05 | 0.056273 | 0.056274 | 0.056274 | 0.97681 | -0.44659 | 0.97431 | -0.49559 | 7.73
6 | -0.13464 | -0.033793 | 0.13471 | 0.033838 | 7.214e-05 | 4.4738e-05 | 0.20512 | 0.20512 | 0.20512 | 0.97681 | -0.44659 | 0.97738 | -0.43536 | 11.2702
7 | 0.031701 | 0.0079646 | -0.031663 | -0.0079411 | 3.7531e-05 | 2.3489e-05 | 0.048422 | 0.048422 | 0.048422 | 0.97431 | -0.49559 | 0.97305 | -0.52042 | 13.3027
8 | -0.1367 | -0.034338 | 0.13682 | 0.034408 | 0.00011305 | 7.0173e-05 | 0.20815 | 0.20815 | 0.20815 | 0.97738 | -0.43536 | 0.97826 | -0.41805 | 11.437
9 | -0.029283 | -0.0073431 | 0.029287 | 0.0073456 | 4.1609e-06 | 2.5943e-06 | 0.044789 | 0.044789 | 0.044789 | 0.9729 | -0.5234 | 0.97305 | -0.52042 | 12.3045
10 | -0.00037724 | -9.4544e-05 | 0.00037724 | 9.4304e-05 | 2.2695e-09 | -2.4082e-07 | 0.0005669 | 0.00056681 | 0.0005669 | 0.99019 | -0.18672 | 0.99019 | -0.1866 | 0.15574
11 | -0.00037724 | -9.4304e-05 | 0.00037724 | 9.3832e-05 | 4.4465e-09 | -4.7204e-07 | 0.00056681 | 0.00056664 | 0.00056681 | 0.99019 | -0.1866 | 0.9902 | -0.18635 | 0.15572
12 | -0.0013384 | -0.00033472 | 0.0013384 | 0.00033452 | 2.515e-08 | -1.9724e-07 | 0.002011 | 0.0020109 | 0.002011 | 0.9902 | -0.18635 | 0.99022 | -0.18595 | 0.55247
13 | -0.0041532 | -0.0010409 | 0.0041538 | 0.0010408 | 5.3284e-07 | -1.2884e-07 | 0.0062394 | 0.0062392 | 0.0062394 | 0.9905 | -0.18065 | 0.99064 | -0.17796 | 1.7141
14 | -0.012351 | -0.003093 | 0.012355 | 0.0030956 | 4.7455e-06 | 2.5635e-06 | 0.018551 | 0.01855 | 0.018551 | 0.99064 | -0.17796 | 0.99105 | -0.16989 | 5.0963
15 | 0.0040861 | 0.001022 | -0.0040848 | -0.0010224 | 1.3616e-06 | -3.6925e-07 | 0.006137 | 0.0061374 | 0.0061374 | 0.99064 | -0.17796 | 0.99028 | -0.18496 | 1.6861
16 | -0.0013384 | -0.00033452 | 0.0013385 | 0.00033418 | 4.3443e-08 | -3.4077e-07 | 0.0020109 | 0.0020108 | 0.0020109 | 0.99022 | -0.18595 | 0.99026 | -0.18527 | 0.55245
17 | -0.0020384 | -0.00050959 | 0.0020384 | 0.0005095 | 2.9884e-08 | -9.0187e-08 | 0.0030625 | 0.0030625 | 0.0030625 | 0.99026 | -0.18527 | 0.99028 | -0.18496 | 0.84135
18 | -0.04822 | -0.012108 | 0.048229 | 0.012113 | 8.6962e-06 | 5.5127e-06 | 0.073771 | 0.073771 | 0.073771 | 0.97274 | -0.52471 | 0.97293 | -0.52093 | 20.2668
19 | 0.039152 | 0.0098353 | -0.039111 | -0.0098094 | 4.1138e-05 | 2.5949e-05 | 0.0599 | 0.0599 | 0.0599 | 0.97274 | -0.52471 | 0.97162 | -0.54675 | 16.4561
20 | -0.050863 | -0.012774 | 0.0509 | 0.012797 | 3.7153e-05 | 2.3574e-05 | 0.077801 | 0.077801 | 0.077801 | 0.97293 | -0.52093 | 0.9737 | -0.50563 | 21.3738
21 | 0.015266 | 0.0038287 | -0.01526 | -0.0038252 | 6.1421e-06 | 3.56e-06 | 0.02338 | 0.02338 | 0.02338 | 0.97162 | -0.54675 | 0.97119 | -0.5552 | 6.4232
22 | 0.023845 | 0.0059807 | -0.023837 | -0.0059754 | 8.5508e-06 | 5.2608e-06 | 0.03652 | 0.03652 | 0.03652 | 0.97162 | -0.54675 | 0.97124 | -0.55428 | 10.033
23 | 0.010601 | 0.0026572 | -0.010598 | -0.0026556 | 3.0955e-06 | 1.5901e-06 | 0.016201 | 0.016201 | 0.016201 | 0.9737 | -0.50563 | 0.97339 | -0.51176 | 4.4509
24 | -0.061502 | -0.015455 | 0.061569 | 0.015497 | 6.6974e-05 | 4.2612e-05 | 0.094002 | 0.094001 | 0.094002 | 0.9737 | -0.50563 | 0.97486 | -0.48285 | 25.8246
25 | 0.01024 | 0.0025671 | -0.010238 | -0.002566 | 2.1522e-06 | 1.089e-06 | 0.01569 | 0.01569 | 0.01569 | 0.97119 | -0.5552 | 0.97097 | -0.55961 | 4.3104
26 | 0.019581 | 0.0049088 | -0.019577 | -0.0049065 | 3.7293e-06 | 2.25e-06 | 0.03 | 0.03 | 0.03 | 0.97124 | -0.55428 | 0.97104 | -0.55828 | 8.2417
27 | 0.0083969 | 0.002104 | -0.0083958 | -0.0021035 | 1.0672e-06 | 4.6834e-07 | 0.012836 | 0.012836 | 0.012836 | 0.97339 | -0.51176 | 0.97326 | -0.51443 | 3.5264
28 | -0.07063 | -0.017768 | 0.070812 | 0.017884 | 0.00018103 | 0.00011534 | 0.10783 | 0.10783 | 0.10783 | 0.97486 | -0.48285 | 0.97759 | -0.42935 | 29.6246
29 | 0.0075052 | 0.0018811 | -0.007504 | -0.0018807 | 1.1871e-06 | 4.6384e-07 | 0.011502 | 0.011502 | 0.011502 | 0.97097 | -0.55961 | 0.9708 | -0.56293 | 3.1599
30 | 0.009957 | 0.002496 | -0.0099548 | -0.0024949 | 2.1733e-06 | 1.0831e-06 | 0.015258 | 0.015258 | 0.015258 | 0.97104 | -0.55828 | 0.97081 | -0.56286 | 4.1919
31 | 0.00962 | 0.0024105 | -0.0096188 | -0.00241 | 1.1712e-06 | 5.7179e-07 | 0.014741 | 0.014742 | 0.014742 | 0.97104 | -0.55828 | 0.97091 | -0.56083 | 4.0499
32 | 0.0072767 | 0.001823 | -0.0072756 | -0.0018226 | 1.0735e-06 | 3.9966e-07 | 0.011125 | 0.011125 | 0.011125 | 0.97326 | -0.51443 | 0.9731 | -0.51753 | 3.0564
33 | -0.078349 | -0.019773 | 0.078566 | 0.019911 | 0.00021669 | 0.00013817 | 0.11931 | 0.11931 | 0.11931 | 0.97759 | -0.42935 | 0.98054 | -0.37178 | 32.7767
34 | 0.0063968 | 0.0016032 | -0.0063967 | -0.0016032 | 1.2138e-07 | 3.6055e-08 | 0.0098048 | 0.0098048 | 0.0098048 | 0.97081 | -0.56286 | 0.97079 | -0.56326 | 2.6936
35 | 0.0062477 | 0.0015651 | -0.0062475 | -0.001565 | 1.9453e-07 | 5.4525e-08 | 0.009575 | 0.009575 | 0.009575 | 0.97091 | -0.56083 | 0.97088 | -0.56149 | 2.6305
36 | -0.028353 | -0.007106 | 0.028423 | 0.0071494 | 6.9862e-05 | 4.3403e-05 | 0.042727 | 0.042727 | 0.042727 | 0.98744 | -0.2401 | 0.9901 | -0.18851 | 11.7382
37 | -0.028423 | -0.0071494 | 0.028447 | 0.0071644 | 2.4004e-05 | 1.4911e-05 | 0.042727 | 0.042726 | 0.042727 | 0.9901 | -0.18851 | 0.99101 | -0.17085 | 11.7381
38 | -0.32623 | -0.082915 | 0.32685 | 0.083312 | 0.00062366 | 0.00039691 | 0.49024 | 0.49024 | 0.49024 | 0.99101 | -0.17085 | 0.99308 | -0.13123 | 26.9365
39 | 0.29778 | 0.07575 | -0.29695 | -0.075225 | 0.0008271 | 0.00052581 | 0.44752 | 0.44752 | 0.44752 | 0.99101 | -0.17085 | 0.98801 | -0.22866 | 24.589
40 | -0.32685 | -0.083312 | 0.32777 | 0.083898 | 0.00092194 | 0.00058673 | 0.49024 | 0.49024 | 0.49024 | 0.99308 | -0.13123 | 0.99614 | -0.072971 | 26.9365
41 | 0.27198 | 0.068967 | -0.27174 | -0.068811 | 0.00024555 | 0.00015591 | 0.40991 | 0.40991 | 0.40991 | 0.98801 | -0.22866 | 0.98703 | -0.24746 | 22.5227
42 | -0.45244 | -0.11589 | 0.45349 | 0.11656 | 0.0010489 | 0.00066929 | 0.67673 | 0.67673 | 0.67673 | 0.99614 | -0.072971 | 0.99866 | -0.025246 | 37.1831
43 | 0.12466 | 0.031996 | -0.1245 | -0.031895 | 0.00016403 | 0.00010089 | 0.18649 | 0.18649 | 0.18649 | 0.99614 | -0.072971 | 0.99471 | -0.10012 | 10.2467
44 | 0.26741 | 0.067727 | -0.26709 | -0.067524 | 0.00031976 | 0.00020297 | 0.40339 | 0.40339 | 0.40339 | 0.98703 | -0.24746 | 0.98574 | -0.27239 | 22.1645
45 | 0.22018 | 0.055767 | -0.21994 | -0.055617 | 0.00023602 | 0.00014924 | 0.33258 | 0.33258 | 0.33258 | 0.98574 | -0.27239 | 0.98459 | -0.29474 | 18.2737
46 | 0.19244 | 0.048723 | -0.19185 | -0.048351 | 0.00059125 | 0.0003725 | 0.29101 | 0.29101 | 0.29101 | 0.98459 | -0.29474 | 0.98129 | -0.35894 | 15.9896
47 | 0.17418 | 0.043922 | -0.17412 | -0.043887 | 5.6817e-05 | 3.5678e-05 | 0.26422 | 0.26422 | 0.26422 | 0.98129 | -0.35894 | 0.98094 | -0.36576 | 14.5174
48 | -0.49362 | -0.12662 | 0.49385 | 0.12677 | 0.00023609 | 0.00015072 | 0.73653 | 0.73653 | 0.73653 | 0.99866 | -0.025246 | 0.99918 | -0.015391 | 40.4684
49 | 0.10785 | 0.027721 | -0.1078 | -0.027693 | 4.7279e-05 | 2.8692e-05 | 0.16158 | 0.16158 | 0.16158 | 0.99471 | -0.10012 | 0.99423 | -0.10915 | 8.8779
50 | 0.14215 | 0.035875 | -0.142 | -0.035778 | 0.00015455 | 9.6118e-05 | 0.21572 | 0.21572 | 0.21572 | 0.98094 | -0.36576 | 0.97977 | -0.38849 | 11.8529
51 | 0.0058835 | 0.0014737 | -0.0058833 | -0.0014736 | 1.697e-07 | 3.915e-08 | 0.0089964 | 0.0089964 | 0.0089964 | 0.9731 | -0.51753 | 0.97307 | -0.51814 | 2.4715
52 | 0.0044505 | 0.0011146 | -0.0044503 | -0.0011146 | 2.1182e-07 | -1.5934e-08 | 0.0068053 | 0.0068054 | 0.0068054 | 0.97307 | -0.51814 | 0.97302 | -0.51914 | 1.8696
53 | 0.0038789 | 0.00097137 | -0.0038787 | -0.00097142 | 1.531e-07 | -4.6139e-08 | 0.0059316 | 0.0059317 | 0.0059317 | 0.97302 | -0.51914 | 0.97298 | -0.51997 | 1.6296
54 | 0.0023268 | 0.00058247 | -0.0023268 | -0.00058256 | 4.3926e-08 | -8.6785e-08 | 0.0035583 | 0.0035583 | 0.0035583 | 0.97298 | -0.51997 | 0.97296 | -0.52036 | 0.97756
55 | -0.089009 | -0.022528 | 0.089901 | 0.023097 | 0.00089182 | 0.0005691 | 0.13515 | 0.13515 | 0.13515 | 0.98054 | -0.37178 | 0.99128 | -0.16529 | 37.1304
56 | -0.089901 | -0.023097 | 0.089946 | 0.023126 | 4.5313e-05 | 2.8915e-05 | 0.13515 | 0.13515 | 0.13515 | 0.99128 | -0.16529 | 0.99182 | -0.15492 | 37.1302
57 | 0.016521 | 0.0041434 | -0.016509 | -0.0041365 | 1.1779e-05 | 6.8793e-06 | 0.024787 | 0.024787 | 0.024787 | 0.99182 | -0.15492 | 0.99105 | -0.16989 | 6.8096
58 | -0.10647 | -0.02727 | 0.1067 | 0.027418 | 0.00023668 | 0.0001486 | 0.15994 | 0.15994 | 0.15994 | 0.99182 | -0.15492 | 0.99423 | -0.10915 | 14.6465
59 | 0.13951 | 0.035155 | -0.13934 | -0.035051 | 0.00016699 | 0.00010376 | 0.21194 | 0.21194 | 0.21194 | 0.97977 | -0.38849 | 0.97849 | -0.41354 | 11.6453
60 | 0.0011508 | 0.00028782 | -0.0011507 | -0.00028801 | 1.8611e-08 | -1.8711e-07 | 0.0017597 | 0.0017598 | 0.0017598 | 0.97296 | -0.52036 | 0.97294 | -0.5207 | 0.48346
61 | 0.13685 | 0.034426 | -0.13682 | -0.034408 | 2.947e-05 | 1.8291e-05 | 0.20815 | 0.20815 | 0.20815 | 0.97849 | -0.41354 | 0.97826 | -0.41805 | 11.4369
62 | -0.52454 | -0.13446 | 0.52493 | 0.13471 | 0.00039173 | 0.00025015 | 0.78223 | 0.78223 | 0.78223 | 0.99918 | -0.015391 | 1 | 0 | 42.9795
63 | -0.0045623 | -0.0011434 | 0.0045623 | 0.0011434 | 5.5381e-08 | -1.8929e-09 | 0.0069932 | 0.0069931 | 0.0069932 | 0.97077 | -0.56351 | 0.97079 | -0.56326 | 1.9212
64 | 0.0034964 | 0.00087563 | -0.0034962 | -0.00087573 | 1.9665e-07 | -9.9876e-08 | 0.0053591 | 0.0053592 | 0.0053592 | 0.97078 | -0.56346 | 0.97072 | -0.56464 | 1.4723
65 | -0.0050316 | -0.0012604 | 0.0050321 | 0.0012604 | 4.7215e-07 | 4.0425e-08 | 0.0077122 | 0.0077121 | 0.0077122 | 0.97078 | -0.56346 | 0.97088 | -0.56149 | 2.1187
66 | 0.0020273 | 0.00050758 | -0.0020273 | -0.0005076 | 1.0565e-08 | -2.9307e-08 | 0.0031074 | 0.0031075 | 0.0031075 | 0.97072 | -0.56464 | 0.97071 | -0.56475 | 0.8537
67 | 0.00058502 | 0.00014614 | -0.00058501 | -0.00014631 | 4.0904e-09 | -1.651e-07 | 0.00089661 | 0.00089667 | 0.00089667 | 0.97071 | -0.56475 | 0.9707 | -0.56489 | 0.24634
68 | 0.00058501 | 0.00014631 | -0.00058501 | -0.00014662 | 7.6844e-09 | -3.101e-07 | 0.00089667 | 0.00089678 | 0.00089678 | 0.9707 | -0.56489 | 0.97069 | -0.56517 | 0.24637
69 | -0.00047681 | -0.0001195 | 0.00047682 | 0.00011932 | 2.8923e-09 | -1.7828e-07 | 0.00072924 | 0.00072918 | 0.00072924 | 0.97293 | -0.52083 | 0.97294 | -0.5207 | 0.20034
70 | 0.00067393 | 0.00016868 | -0.00067392 | -0.0001689 | 7.102e-09 | -2.1686e-07 | 0.0010306 | 0.0010307 | 0.0010307 | 0.97294 | -0.5207 | 0.97293 | -0.52092 | 0.28316

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60659 | 0.15477

## res_load
| p_mw | q_mvar
0 | 0.0030477 | 0.00076383
1 | 0.0042434 | 0.0010635
2 | 0.011383 | 0.002853
3 | 0.0050238 | 0.0012591
4 | 0.097709 | 0.024488
5 | 0.0051418 | 0.0012887
6 | 0.0019941 | 0.00049976
7 | 0.0034094 | 0.00085446
8 | 0.0021624 | 0.00054194
9 | 0.0023759 | 0.00059546
10 | 0.00037724 | 9.4544e-05
11 | 0.00096114 | 0.00024089
12 | 0.0041532 | 0.0010409
13 | 0.0041106 | 0.0010302
14 | 0.00069992 | 0.00017542
15 | 0.0090678 | 0.0022726
16 | 0.0026346 | 0.00066028
17 | 0.0050196 | 0.001258
18 | 0.0042559 | 0.0010666
19 | 0.0022013 | 0.00055169
20 | 0.0090619 | 0.0022711
21 | 0.0027327 | 0.00068488
22 | 0.0011191 | 0.00028048
23 | 0.007538 | 0.0018892
24 | 0.007504 | 0.0018807
25 | 0.003558 | 0.00089171
26 | 0.0033711 | 0.00084487
27 | 0.028353 | 0.007106
28 | 0.02497 | 0.006258
29 | 0.0043245 | 0.0010838
30 | 0.046912 | 0.011757
31 | 0.027508 | 0.0068941
32 | 0.01767 | 0.0044284
33 | 0.040131 | 0.010058
34 | 0.016655 | 0.004174
35 | 0.031969 | 0.0080122
36 | 0.0013922 | 0.00034891
37 | 0.0014328 | 0.0003591
38 | 0.00057137 | 0.0001432
39 | 0.0015519 | 0.00038894
40 | 0.010443 | 0.0026173
41 | 0.0041536 | 0.001041
42 | 0.0010948 | 0.00027438
43 | 0.0024886 | 0.00062371
44 | 0.0020464 | 0.00051287
45 | 0.001176 | 0.00029474
46 | 0.0024936 | 0.00062495
47 | 0.030688 | 0.0076911
48 | 0.0045623 | 0.0011434
49 | 0.0018344 | 0.00045974
50 | 0.0015351 | 0.00038474
51 | 0.001469 | 0.00036816
52 | 0.0012155 | 0.00030462
53 | 0.0014423 | 0.00036146
54 | 0.00058501 | 0.00014662
55 | 0.00047681 | 0.0001195
56 | 0.080005 | 0.020051
57 | 0.00067392 | 0.0001689

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1