## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2471-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2471-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2471-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2471-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2471-1_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2471-1_0_5_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_2471-1_0_5_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_2471-1_0_5_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_2471-1_0_5_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_2471-1_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2471-1_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2471-1_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2471-1_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2471-1_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2471-1_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2471-1_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2471-1_0_5_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_2471-1_0_5_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_2471-1_0_5_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_2471-1_0_5_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_2471-1_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2471-1_0_5_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_2471-1_0_5_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_2471-1_0_5_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_2471-1_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2471-1_0_5_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_2471-1_0_5_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_2471-1_0_5_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_2471-1_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2471-1_0_5_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_2471-1_0_5_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_2471-1_0_5_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_2471-1_0_5_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_2471-1_0_5_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_2471-1_0_5_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_2471-1_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_2471-1_0_5_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_2471-1_0_5_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_2471-1_0_5_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_2471-1_0_5_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2471-1_0_5_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_2471-1_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_2471-1_0_5_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_2471-1_0_5_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_2471-1_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_2471-1_0_5_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_2471-1_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2471-1_0_5_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_2471-1_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_2471-1_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2471-1_0_5_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_2471-1_0_5_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_2471-1_0_5_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_2471-1_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2471-1_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_2471-1_0_5_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_2471-1_0_5_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_2471-1_0_5_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_2471-1_0_5_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_2471-1_0_5_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_2471-1_0_5_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_2471-1_0_5_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_2471-1_0_5_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_2471-1_0_5_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_2471-1_0_5_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_2471-1_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2471-1_0_5_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_2471-1_0_5_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_2471-1_0_5_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_2471-1_0_5_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_2471-1_0_5_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_2471-1_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_2471-1_0_5_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_2471-1_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_2471-1_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_2471-1_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_2471-1_0_5_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_2471-1_0_5_node_78 | 0.4 | n |  | TRUE
78 | bus_MV_288_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2471-1_0_5_load_0 | 0 | 0.00093033 | 0.00023316 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2471-1_0_5_load_1 | 1 | 0.0005315 | 0.00013321 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2471-1_0_5_load_2 | 2 | 0.0012215 | 0.00030614 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2471-1_0_5_load_3 | 3 | 0.00080108 | 0.00020077 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2471-1_0_5_load_51 | 5 | 0.00054883 | 0.00013755 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2471-1_0_5_load_33 | 6 | 0.0012412 | 0.00031106 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2471-1_0_5_load_57 | 7 | 0.0018044 | 0.00045222 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2471-1_0_5_load_32 | 8 | 0.0040458 | 0.001014 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2471-1_0_5_load_5 | 9 | 0.0056847 | 0.0014247 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2471-1_0_5_load_8 | 12 | 0.015003 | 0.00376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2471-1_0_5_load_9 | 13 | 0.0022999 | 0.0005764 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2471-1_0_5_load_10 | 14 | 0.012126 | 0.003039 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2471-1_0_5_load_68 | 16 | 0.003149 | 0.00078921 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2471-1_0_5_load_69 | 17 | 0.0014199 | 0.00035585 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2471-1_0_5_load_45 | 18 | 0.018501 | 0.0046368 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2471-1_0_5_load_60 | 23 | 0.0054701 | 0.0013709 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2471-1_0_5_load_63 | 25 | 0.0032156 | 0.0008059 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2471-1_0_5_load_64 | 26 | 0.0022988 | 0.00057615 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2471-1_0_5_load_66 | 27 | 0.0018411 | 0.00046144 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2471-1_0_5_load_44 | 29 | 0.022111 | 0.0055415 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2471-1_0_5_load_75 | 31 | 0.017423 | 0.0043665 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2471-1_0_5_load_74 | 32 | 0.0009603 | 0.00024067 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2471-1_0_5_load_80 | 33 | 0.0042033 | 0.0010534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2471-1_0_5_load_15 | 35 | 0.00043475 | 0.00010896 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2471-1_0_5_load_16 | 36 | 0.0049398 | 0.001238 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2471-1_0_5_load_17 | 37 | 0.0031506 | 0.00078961 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2471-1_0_5_load_19 | 38 | 0.011136 | 0.0027909 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2471-1_0_5_load_49 | 39 | 0.0052162 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2471-1_0_5_load_47 | 40 | 0.0019779 | 0.0004957 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2471-1_0_5_load_20 | 41 | 0.0019438 | 0.00048716 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2471-1_0_5_load_21 | 42 | 0.0023947 | 0.00060016 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2471-1_0_5_load_22 | 43 | 0.0028472 | 0.00071357 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2471-1_0_5_load_23 | 44 | 0.0039818 | 0.00099793 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2471-1_0_5_load_24 | 45 | 0.0019412 | 0.00048652 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2471-1_0_5_load_30 | 46 | 0.0056363 | 0.0014126 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2471-1_0_5_load_67 | 47 | 0.0030746 | 0.00077057 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2471-1_0_5_load_28 | 48 | 0.0031998 | 0.00080194 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2471-1_0_5_load_35 | 49 | 0.0037672 | 0.00094416 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2471-1_0_5_load_25 | 50 | 0.048586 | 0.012177 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2471-1_0_5_load_26 | 51 | 0.057905 | 0.014512 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2471-1_0_5_load_27 | 52 | 0.0098833 | 0.002477 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2471-1_0_5_load_29 | 54 | 0.0031927 | 0.00080017 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2471-1_0_5_load_70 | 57 | 0.0057978 | 0.0014531 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2471-1_0_5_load_34 | 58 | 0.003679 | 0.00092205 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2471-1_0_5_load_36 | 59 | 0.0046496 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2471-1_0_5_load_37 | 60 | 0.0013089 | 0.00032805 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2471-1_0_5_load_38 | 61 | 0.0036977 | 0.00092674 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2471-1_0_5_load_72 | 62 | 0.0051693 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2471-1_0_5_load_39 | 63 | 0.006553 | 0.0016423 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2471-1_0_5_load_40 | 64 | 0.0044914 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2471-1_0_5_load_59 | 65 | 0.0011767 | 0.00029491 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2471-1_0_5_load_42 | 66 | 0.0026754 | 0.00067053 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2471-1_0_5_load_41 | 67 | 0.0028491 | 0.00071405 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2471-1_0_5_load_43 | 68 | 0.0011761 | 0.00029475 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2471-1_0_5_load_48 | 69 | 0.0039412 | 0.00098776 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2471-1_0_5_load_50 | 70 | 0.0022347 | 0.00056007 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2471-1_0_5_load_52 | 71 | 0.0047262 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2471-1_0_5_load_53 | 72 | 0.0099441 | 0.0024922 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2471-1_0_5_load_54 | 73 | 0.097967 | 0.024553 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2471-1_0_5_load_55 | 74 | 0.0025738 | 0.00064506 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2471-1_0_5_load_56 | 75 | 0.0047264 | 0.0011846 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2471-1_0_5_load_65 | 76 | 0.0013179 | 0.0003303 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2471-1_0_5_load_78 | 77 | 0.002696 | 0.00067568 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2471-1_0_5_line_0 |  | 0 | 1 | 0.013767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2471-1_0_5_line_1 |  | 0 | 2 | 0.029056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2471-1_0_5_line_2 |  | 1 | 3 | 0.01033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2471-1_0_5_line_3 |  | 2 | 4 | 0.022196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2471-1_0_5_line_4 |  | 3 | 5 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2471-1_0_5_line_5 |  | 4 | 6 | 0.020414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2471-1_0_5_line_6 |  | 4 | 7 | 0.013479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2471-1_0_5_line_7 |  | 6 | 8 | 0.038263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2471-1_0_5_line_8 |  | 8 | 58 | 0.0077962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2471-1_0_5_line_9 |  | 9 | 10 | 0.06125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2471-1_0_5_line_10 |  | 9 | 11 | 0.073945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2471-1_0_5_line_11 |  | 10 | 12 | 0.055244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2471-1_0_5_line_12 |  | 10 | 13 | 0.02263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2471-1_0_5_line_13 |  | 11 | 14 | 0.023204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2471-1_0_5_line_14 |  | 11 | 15 | 0.041291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2471-1_0_5_line_15 |  | 12 | 16 | 0.038695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2471-1_0_5_line_16 |  | 13 | 17 | 0.045357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2471-1_0_5_line_17 |  | 14 | 18 | 0.031592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2471-1_0_5_line_18 |  | 15 | 19 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2471-1_0_5_line_19 |  | 16 | 27 | 0.0059112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2471-1_0_5_line_20 |  | 17 | 28 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2471-1_0_5_line_21 |  | 18 | 29 | 0.031973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2471-1_0_5_line_22 |  | 19 | 30 | 0.019343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2471-1_0_5_line_23 |  | 19 | 31 | 0.031681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2471-1_0_5_line_24 |  | 20 | 21 | 0.012168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2471-1_0_5_line_25 |  | 20 | 22 | 0.005653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2471-1_0_5_line_26 |  | 20 | 23 | 0.035531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2471-1_0_5_line_27 |  | 21 | 32 | 0.0073011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2471-1_0_5_line_28 |  | 22 | 33 | 0.012196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2471-1_0_5_line_29 |  | 23 | 24 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2471-1_0_5_line_30 |  | 24 | 25 | 0.0072724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2471-1_0_5_line_31 |  | 24 | 26 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2471-1_0_5_line_32 |  | 25 | 34 | 0.017221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2471-1_0_5_line_33 |  | 27 | 76 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2471-1_0_5_line_34 |  | 28 | 39 | 0.016178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2471-1_0_5_line_35 |  | 28 | 36 | 0.028914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2471-1_0_5_line_36 |  | 29 | 53 | 0.0060518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2471-1_0_5_line_37 |  | 30 | 77 | 0.02747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2471-1_0_5_line_38 |  | 31 | 34 | 0.034297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2471-1_0_5_line_39 |  | 32 | 65 | 0.018653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2471-1_0_5_line_40 |  | 35 | 36 | 0.024054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2471-1_0_5_line_41 |  | 35 | 37 | 0.084454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2471-1_0_5_line_42 |  | 37 | 38 | 0.046181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2471-1_0_5_line_43 |  | 39 | 40 | 0.0284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2471-1_0_5_line_44 |  | 40 | 69 | 0.034369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2471-1_0_5_line_45 |  | 41 | 42 | 0.0022239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2471-1_0_5_line_46 |  | 41 | 43 | 0.00095158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2471-1_0_5_line_47 |  | 42 | 44 | 0.021441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2471-1_0_5_line_48 |  | 43 | 45 | 0.0078305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2471-1_0_5_line_49 |  | 44 | 46 | 0.018459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2471-1_0_5_line_50 |  | 45 | 47 | 0.00088455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2471-1_0_5_line_51 |  | 46 | 48 | 0.0021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2471-1_0_5_line_52 |  | 47 | 49 | 0.0094231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2471-1_0_5_line_53 |  | 48 | 54 | 0.0018825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2471-1_0_5_line_54 |  | 49 | 58 | 0.021911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2471-1_0_5_line_55 |  | 50 | 51 | 0.026342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2471-1_0_5_line_56 |  | 51 | 52 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2471-1_0_5_line_57 |  | 52 | 53 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2471-1_0_5_line_58 |  | 54 | 55 | 0.044044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2471-1_0_5_line_59 |  | 55 | 56 | 0.1051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2471-1_0_5_line_60 |  | 56 | 57 | 0.017817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2471-1_0_5_line_61 |  | 57 | 75 | 0.027703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2471-1_0_5_line_62 |  | 59 | 60 | 0.023589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2471-1_0_5_line_63 |  | 59 | 61 | 0.011735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2471-1_0_5_line_64 |  | 59 | 62 | 0.057526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2471-1_0_5_line_65 |  | 60 | 63 | 0.0079868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2471-1_0_5_line_66 |  | 61 | 64 | 0.015811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2471-1_0_5_line_67 |  | 63 | 65 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2471-1_0_5_line_68 |  | 64 | 66 | 0.0043219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2471-1_0_5_line_69 |  | 66 | 67 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2471-1_0_5_line_70 |  | 67 | 68 | 0.054976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2471-1_0_5_line_71 |  | 69 | 70 | 0.016406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2471-1_0_5_line_72 |  | 71 | 72 | 0.038048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2471-1_0_5_line_73 |  | 71 | 73 | 0.0043789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_2471-1_0_5_line_74 |  | 72 | 74 | 0.048669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_2471-1_0_5_line_75 |  | 73 | 75 | 0.0081404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2471-1_0_5_line_76 |  | 74 | 76 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2471-1_0_5_trafo_69 | 0.63 MVA 20/0.4 kV | 78 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2604905.1122 | 1259813.4558 | 2604891.6028 | 1259810.8041
1 | 2604905.1122 | 1259813.4558 | 2604925.5436 | 1259817.4662 | 2604933.5745 | 1259819.2851
2 | 2604891.6028 | 1259810.8041 | 2604890.106 | 1259810.5103 | 2604881.3689 | 1259809.4232
3 | 2604955.2311 | 1259824.1396 | 2604952.4657 | 1259823.6259 | 2604941.2614 | 1259821.026 | 2604933.5745 | 1259819.2851
4 | 2604867.5047 | 1259807.698 | 2604881.3689 | 1259809.4232
5 | 2604955.2311 | 1259824.1396 | 2604975.3019 | 1259827.8673
6 | 2604955.2311 | 1259824.1396 | 2604953.9493 | 1259810.7214
7 | 2604975.3019 | 1259827.8673 | 2604979.7053 | 1259828.6852 | 2604992.4192 | 1259828.4511 | 2605008.2637 | 1259824.6395 | 2605012.8367 | 1259823.2774
8 | 2605020.3085 | 1259821.0518 | 2605012.8367 | 1259823.2774
9 | 2604864.367 | 1259841.4992 | 2604804.7675 | 1259827.3765
10 | 2604732.0287 | 1259814.4641 | 2604766.2023 | 1259818.9942 | 2604785.5524 | 1259822.8233 | 2604804.7675 | 1259827.3765
11 | 2604864.367 | 1259841.4992 | 2604918.0654 | 1259854.4747
12 | 2604864.367 | 1259841.4992 | 2604859.5443 | 1259863.6095
13 | 2604732.0287 | 1259814.4641 | 2604728.9863 | 1259837.468
14 | 2604732.0287 | 1259814.4641 | 2604713.0316 | 1259811.9586 | 2604712.3637 | 1259818.0177 | 2604707.2317 | 1259817.6356 | 2604704.0653 | 1259819.2009 | 2604702.7677 | 1259820.8454 | 2604697.5074 | 1259820.8747
15 | 2604955.6777 | 1259863.5632 | 2604918.0654 | 1259854.4747
16 | 2604859.5443 | 1259863.6095 | 2604855.8949 | 1259880.3408 | 2604856.6088 | 1259892.1938 | 2604860.7318 | 1259900.6584 | 2604865.6436 | 1259905.5653
17 | 2604728.9863 | 1259837.468 | 2604724.844 | 1259868.7873
18 | 2604685.9402 | 1259838.7999 | 2604692.5549 | 1259831.9672 | 2604696.8861 | 1259825.077 | 2604697.5074 | 1259820.8747
19 | 2604955.6777 | 1259863.5632 | 2604961.4235 | 1259864.9516
20 | 2604879.878 | 1259913.9718 | 2604868.2393 | 1259908.1585 | 2604865.6436 | 1259905.5653
21 | 2604720.6465 | 1259900.4837 | 2604721.3617 | 1259895.0768 | 2604723.1433 | 1259881.6469 | 2604724.844 | 1259868.7873
22 | 2604671.7921 | 1259851.7643 | 2604675.0792 | 1259850.0435 | 2604678.5487 | 1259846.4549 | 2604685.9402 | 1259838.7999
23 | 2604685.9402 | 1259838.7999 | 2604681.4889 | 1259835.4053 | 2604671.9634 | 1259835.0087 | 2604655.4276 | 1259834.3306
24 | 2604575.4216 | 1259798.0873 | 2604574.2355 | 1259801.8667 | 2604572.8151 | 1259806.491 | 2604572.1344 | 1259809.7927
25 | 2604570.7391 | 1259801.2747 | 2604575.4216 | 1259798.0873
26 | 2604575.4216 | 1259798.0873 | 2604578.4875 | 1259799.8908 | 2604580.6633 | 1259802.7166 | 2604584.6692 | 1259807.3117 | 2604596.2614 | 1259805.5193 | 2604606.7665 | 1259806.786
27 | 2604572.1344 | 1259809.7927 | 2604570.6644 | 1259816.9443
28 | 2604570.7391 | 1259801.2747 | 2604560.6352 | 1259808.1495
29 | 2604622.1538 | 1259808.6413 | 2604606.7665 | 1259806.786
30 | 2604622.1538 | 1259808.6413 | 2604621.8637 | 1259813.4109 | 2604621.7882 | 1259815.9037
31 | 2604622.1538 | 1259808.6413 | 2604633.8165 | 1259809.5582
32 | 2604621.1552 | 1259833.1126 | 2604621.3703 | 1259827.8536 | 2604621.4624 | 1259825.6633 | 2604621.5853 | 1259822.5947 | 2604621.7882 | 1259815.9037
33 | 2604972.987 | 1259868.3001 | 2604962.3868 | 1259865.1843 | 2604961.4235 | 1259864.9516
34 | 2604879.878 | 1259913.9718 | 2604877.8199 | 1259930.0181
35 | 2604879.878 | 1259913.9718 | 2604906.709 | 1259924.7462
36 | 2604719.853 | 1259906.4833 | 2604720.6465 | 1259900.4837
37 | 2604671.7921 | 1259851.7643 | 2604644.3491 | 1259850.5363
38 | 2604621.1552 | 1259833.1126 | 2604625.8202 | 1259833.1162 | 2604629.1285 | 1259833.2521 | 2604655.4276 | 1259834.3306
39 | 2604566.9088 | 1259835.2155 | 2604570.6644 | 1259816.9443
40 | 2604929.0301 | 1259933.7096 | 2604906.709 | 1259924.7462
41 | 2604929.0301 | 1259933.7096 | 2605007.4017 | 1259965.1808
42 | 2605048.1456 | 1259985.9263 | 2605037.9714 | 1259977.4565 | 2605007.4017 | 1259965.1808
43 | 2604874.2069 | 1259958.1874 | 2604877.8199 | 1259930.0181
44 | 2604874.2069 | 1259958.1874 | 2604872.3848 | 1259972.3941 | 2604890.9823 | 1259979.8749
45 | 2605060.7124 | 1259814.6555 | 2605062.9333 | 1259814.5402
46 | 2605059.7621 | 1259814.7048 | 2605060.7124 | 1259814.6555
47 | 2605084.3454 | 1259813.4292 | 2605062.9333 | 1259814.5402
48 | 2605059.7621 | 1259814.7048 | 2605056.5117 | 1259814.8734 | 2605051.9797 | 1259815.5047
49 | 2605084.3454 | 1259813.4292 | 2605102.7795 | 1259812.4727
50 | 2605051.1036 | 1259815.6267 | 2605051.9797 | 1259815.5047
51 | 2605102.7795 | 1259812.4727 | 2605104.9187 | 1259812.3617
52 | 2605051.1036 | 1259815.6267 | 2605041.7706 | 1259816.9267
53 | 2605104.9187 | 1259812.3617 | 2605106.7987 | 1259812.2642
54 | 2605020.3085 | 1259821.0518 | 2605027.4709 | 1259818.9184 | 2605041.7706 | 1259816.9267
55 | 2604775.1869 | 1259913.0973 | 2604749.0309 | 1259909.9709
56 | 2604737.5938 | 1259908.6038 | 2604749.0309 | 1259909.9709
57 | 2604719.853 | 1259906.4833 | 2604737.5938 | 1259908.6038
58 | 2605150.8243 | 1259811.1289 | 2605115.5463 | 1259811.8103 | 2605106.7987 | 1259812.2642
59 | 2605121.9795 | 1259912.0946 | 2605138.3581 | 1259856.5044 | 2605139.8255 | 1259850.2236 | 2605148.3711 | 1259824.4914 | 2605150.8243 | 1259811.1289
60 | 2605121.9795 | 1259912.0946 | 2605111.0171 | 1259908.8719 | 2605104.8861 | 1259907.0698
61 | 2605078.307 | 1259899.2573 | 2605104.8861 | 1259907.0698
62 | 2604570.7282 | 1259868.7537 | 2604579.2698 | 1259890.7416 | 2604579.2698 | 1259890.7416
63 | 2604590.134 | 1259895.1294 | 2604583.4961 | 1259892.7907 | 2604579.2698 | 1259890.7416
64 | 2604579.2698 | 1259890.7416 | 2604522.8249 | 1259901.8422
65 | 2604570.7282 | 1259868.7537 | 2604567.8362 | 1259861.3089
66 | 2604590.134 | 1259895.1294 | 2604596.937 | 1259897.5264 | 2604605.0633 | 1259900.3358
67 | 2604566.9088 | 1259835.2155 | 2604565.9922 | 1259839.6748 | 2604565.2166 | 1259848.7359 | 2604567.5137 | 1259860.4789 | 2604567.8362 | 1259861.3089
68 | 2604609.148 | 1259901.748 | 2604605.0633 | 1259900.3358
69 | 2604623.7396 | 1259906.7927 | 2604609.148 | 1259901.748
70 | 2604669.2496 | 1259932.8171 | 2604664.0027 | 1259925.408 | 2604653.129 | 1259914.292 | 2604627.6539 | 1259908.146 | 2604623.7396 | 1259906.7927
71 | 2604906.2032 | 1259985.9975 | 2604890.9823 | 1259979.8749
72 | 2605066.2958 | 1259895.7268 | 2605029.7919 | 1259884.997
73 | 2605066.2958 | 1259895.7268 | 2605070.497 | 1259896.9617
74 | 2604983.0986 | 1259871.2722 | 2605029.7919 | 1259884.997
75 | 2605078.307 | 1259899.2573 | 2605070.497 | 1259896.9617
76 | 2604983.0986 | 1259871.2722 | 2604972.987 | 1259868.3001

## bus_geodata
| x | y | coords
0 | 2604905.1122 | 1259813.4558
1 | 2604891.6028 | 1259810.8041
2 | 2604933.5745 | 1259819.2851
3 | 2604881.3689 | 1259809.4232
4 | 2604955.2311 | 1259824.1396
5 | 2604867.5047 | 1259807.698
6 | 2604975.3019 | 1259827.8673
7 | 2604953.9493 | 1259810.7214
8 | 2605012.8367 | 1259823.2774
9 | 2604804.7675 | 1259827.3765
10 | 2604864.367 | 1259841.4992
11 | 2604732.0287 | 1259814.4641
12 | 2604918.0654 | 1259854.4747
13 | 2604859.5443 | 1259863.6095
14 | 2604728.9863 | 1259837.468
15 | 2604697.5074 | 1259820.8747
16 | 2604955.6777 | 1259863.5632
17 | 2604865.6436 | 1259905.5653
18 | 2604724.844 | 1259868.7873
19 | 2604685.9402 | 1259838.7999
20 | 2604575.4216 | 1259798.0873
21 | 2604572.1344 | 1259809.7927
22 | 2604570.7391 | 1259801.2747
23 | 2604606.7665 | 1259806.786
24 | 2604622.1538 | 1259808.6413
25 | 2604621.7882 | 1259815.9037
26 | 2604633.8165 | 1259809.5582
27 | 2604961.4235 | 1259864.9516
28 | 2604879.878 | 1259913.9718
29 | 2604720.6465 | 1259900.4837
30 | 2604671.7921 | 1259851.7643
31 | 2604655.4276 | 1259834.3306
32 | 2604570.6644 | 1259816.9443
33 | 2604560.6352 | 1259808.1495
34 | 2604621.1552 | 1259833.1126
35 | 2604929.0301 | 1259933.7096
36 | 2604906.709 | 1259924.7462
37 | 2605007.4017 | 1259965.1808
38 | 2605048.1456 | 1259985.9263
39 | 2604877.8199 | 1259930.0181
40 | 2604874.2069 | 1259958.1874
41 | 2605060.7124 | 1259814.6555
42 | 2605062.9333 | 1259814.5402
43 | 2605059.7621 | 1259814.7048
44 | 2605084.3454 | 1259813.4292
45 | 2605051.9797 | 1259815.5047
46 | 2605102.7795 | 1259812.4727
47 | 2605051.1036 | 1259815.6267
48 | 2605104.9187 | 1259812.3617
49 | 2605041.7706 | 1259816.9267
50 | 2604775.1869 | 1259913.0973
51 | 2604749.0309 | 1259909.9709
52 | 2604737.5938 | 1259908.6038
53 | 2604719.853 | 1259906.4833
54 | 2605106.7987 | 1259812.2642
55 | 2605150.8243 | 1259811.1289
56 | 2605121.9795 | 1259912.0946
57 | 2605104.8861 | 1259907.0698
58 | 2605020.3085 | 1259821.0518
59 | 2604579.2698 | 1259890.7416
60 | 2604570.7282 | 1259868.7537
61 | 2604590.134 | 1259895.1294
62 | 2604522.8249 | 1259901.8422
63 | 2604567.8362 | 1259861.3089
64 | 2604605.0633 | 1259900.3358
65 | 2604566.9088 | 1259835.2155
66 | 2604609.148 | 1259901.748
67 | 2604623.7396 | 1259906.7927
68 | 2604669.2496 | 1259932.8171
69 | 2604890.9823 | 1259979.8749
70 | 2604906.2032 | 1259985.9975
71 | 2605066.2958 | 1259895.7268
72 | 2605029.7919 | 1259884.997
73 | 2605070.497 | 1259896.9617
74 | 2604983.0986 | 1259871.2722
75 | 2605078.307 | 1259899.2573
76 | 2604972.987 | 1259868.3001
77 | 2604644.3491 | 1259850.5363
78 | 2604865.6436 | 1259905.5653

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97244 | -0.5324 | 0.00093033 | 0.00023316
1 | 0.97242 | -0.53288 | 0.0005315 | 0.00013321
2 | 0.97252 | -0.5309 | 0.0012215 | 0.00030614
3 | 0.9724 | -0.53314 | 0.00080108 | 0.00020077
4 | 0.9726 | -0.52924 | 0 | 0
5 | 0.9724 | -0.53328 | 0.00054883 | 0.00013755
6 | 0.97271 | -0.52705 | 0.0012412 | 0.00031106
7 | 0.97258 | -0.52969 | 0.0018044 | 0.00045222
8 | 0.97296 | -0.52206 | 0.0040458 | 0.001014
9 | 0.98958 | -0.19784 | 0.0056847 | 0.0014247
10 | 0.99307 | -0.13134 | 0 | 0
11 | 0.98548 | -0.27686 | 0 | 0
12 | 0.99059 | -0.17878 | 0.015003 | 0.00376
13 | 0.99537 | -0.087572 | 0.0022999 | 0.0005764
14 | 0.98457 | -0.29448 | 0.012126 | 0.003039
15 | 0.98481 | -0.28984 | 0 | 0
16 | 0.98899 | -0.20956 | 0.003149 | 0.00078921
17 | 1 | 0 | -0.48397 | -0.12409
18 | 0.98342 | -0.3168 | 0.018501 | 0.0046368
19 | 0.9841 | -0.30361 | 0 | 0
20 | 0.97749 | -0.43252 | 0 | 0
21 | 0.9771 | -0.44023 | 0 | 0
22 | 0.97747 | -0.43296 | 0 | 0
23 | 0.97878 | -0.40733 | 0.0054701 | 0.0013709
24 | 0.97942 | -0.39482 | 0 | 0
25 | 0.97973 | -0.38866 | 0.0032156 | 0.0008059
26 | 0.97939 | -0.39531 | 0.0022988 | 0.00057615
27 | 0.98875 | -0.21419 | 0.0018411 | 0.00046144
28 | 0.9995 | -0.0096097 | 0 | 0
29 | 0.9793 | -0.39693 | 0.022111 | 0.0055415
30 | 0.98405 | -0.30455 | 0 | 0
31 | 0.98212 | -0.34208 | 0.017423 | 0.0043665
32 | 0.97686 | -0.44486 | 0.0009603 | 0.00024067
33 | 0.97742 | -0.43389 | 0.0042033 | 0.0010534
34 | 0.98053 | -0.37306 | 0 | 0
35 | 0.99866 | -0.025724 | 0.00043475 | 0.00010896
36 | 0.99898 | -0.019536 | 0.0049398 | 0.001238
37 | 0.99756 | -0.046837 | 0.0031506 | 0.00078961
38 | 0.9971 | -0.055849 | 0.011136 | 0.0027909
39 | 0.9993 | -0.013385 | 0.0052162 | 0.0013073
40 | 0.99909 | -0.017429 | 0.0019779 | 0.0004957
41 | 0.97372 | -0.50706 | 0.0019438 | 0.00048716
42 | 0.97378 | -0.5059 | 0.0023947 | 0.00060016
43 | 0.9737 | -0.50752 | 0.0028472 | 0.00071357
44 | 0.9744 | -0.49377 | 0.0039818 | 0.00099793
45 | 0.97353 | -0.51092 | 0.0019412 | 0.00048652
46 | 0.97499 | -0.482 | 0.0056363 | 0.0014126
47 | 0.97351 | -0.51127 | 0.0030746 | 0.00077057
48 | 0.97508 | -0.48041 | 0.0031998 | 0.00080194
49 | 0.97335 | -0.51449 | 0.0037672 | 0.00094416
50 | 0.97438 | -0.49356 | 0.048586 | 0.012177
51 | 0.97557 | -0.47009 | 0.057905 | 0.014512
52 | 0.97671 | -0.44766 | 0.0098833 | 0.002477
53 | 0.97865 | -0.40974 | 0 | 0
54 | 0.97515 | -0.47891 | 0.0031927 | 0.00080017
55 | 0.97707 | -0.44121 | 0 | 0
56 | 0.98165 | -0.35184 | 0 | 0
57 | 0.98243 | -0.33677 | 0.0057978 | 0.0014531
58 | 0.97304 | -0.52046 | 0.003679 | 0.00092205
59 | 0.97474 | -0.48667 | 0.0046496 | 0.0011653
60 | 0.97528 | -0.47598 | 0.0013089 | 0.00032805
61 | 0.97457 | -0.48987 | 0.0036977 | 0.00092674
62 | 0.97446 | -0.49212 | 0.0051693 | 0.0012956
63 | 0.97547 | -0.47217 | 0.006553 | 0.0016423
64 | 0.97441 | -0.49312 | 0.0044914 | 0.0011257
65 | 0.97628 | -0.45637 | 0.0011767 | 0.00029491
66 | 0.97438 | -0.49365 | 0.0026754 | 0.00067053
67 | 0.97433 | -0.4948 | 0.0028491 | 0.00071405
68 | 0.97427 | -0.49598 | 0.0011761 | 0.00029475
69 | 0.9989 | -0.021136 | 0.0039412 | 0.00098776
70 | 0.99887 | -0.021777 | 0.0022347 | 0.00056007
71 | 0.98453 | -0.29598 | 0.0047262 | 0.0011845
72 | 0.98594 | -0.26865 | 0.0099441 | 0.0024922
73 | 0.98422 | -0.30209 | 0.097967 | 0.024553
74 | 0.98785 | -0.23164 | 0.0025738 | 0.00064506
75 | 0.98378 | -0.31049 | 0.0047264 | 0.0011846
76 | 0.98827 | -0.22352 | 0.0013179 | 0.0003303
77 | 0.98398 | -0.30589 | 0.002696 | 0.00067568
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0018815 | 0.00047109 | -0.0018814 | -0.00047123 | 4.2787e-08 | -1.4341e-07 | 0.0028788 | 0.0028789 | 0.0028789 | 0.97244 | -0.5324 | 0.97242 | -0.53288 | 0.7909
1 | -0.0028118 | -0.00070425 | 0.002812 | 0.00070402 | 2.0168e-07 | -2.3142e-07 | 0.0043024 | 0.0043023 | 0.0043024 | 0.97244 | -0.5324 | 0.97252 | -0.5309 | 1.182
2 | 0.0013499 | 0.00033803 | -0.0013499 | -0.00033815 | 1.6528e-08 | -1.1757e-07 | 0.0020656 | 0.0020656 | 0.0020656 | 0.97242 | -0.53288 | 0.9724 | -0.53314 | 0.56748
3 | -0.0040335 | -0.0010102 | 0.0040338 | 0.0010101 | 3.1699e-07 | -7.2561e-08 | 0.0061712 | 0.0061711 | 0.0061712 | 0.97252 | -0.5309 | 0.9726 | -0.52924 | 1.6954
4 | 0.00054883 | 0.00013738 | -0.00054883 | -0.00013755 | 3.6951e-09 | -1.7095e-07 | 0.00083978 | 0.00083984 | 0.00083984 | 0.9724 | -0.53314 | 0.9724 | -0.53328 | 0.23073
5 | -0.0058382 | -0.0014622 | 0.0058388 | 0.0014623 | 6.107e-07 | 1.3748e-07 | 0.0089317 | 0.0089316 | 0.0089317 | 0.9726 | -0.52924 | 0.97271 | -0.52705 | 2.4538
6 | 0.0018044 | 0.00045208 | -0.0018044 | -0.00045222 | 3.8522e-08 | -1.4262e-07 | 0.0027606 | 0.0027606 | 0.0027606 | 0.9726 | -0.52924 | 0.97258 | -0.52969 | 0.75842
7 | -0.00708 | -0.0017734 | 0.0070817 | 0.001774 | 1.683e-06 | 6.0204e-07 | 0.01083 | 0.01083 | 0.01083 | 0.97271 | -0.52705 | 0.97296 | -0.52206 | 2.9754
8 | -0.011127 | -0.0027879 | 0.011128 | 0.0027884 | 8.4666e-07 | 4.4503e-07 | 0.017018 | 0.017018 | 0.017018 | 0.97296 | -0.52206 | 0.97304 | -0.52046 | 4.6752
9 | -0.24753 | -0.06308 | 0.24833 | 0.063587 | 0.0007971 | 0.00050698 | 0.37258 | 0.37258 | 0.37258 | 0.98958 | -0.19784 | 0.99307 | -0.13134 | 25.5892
10 | 0.24185 | 0.061655 | -0.24093 | -0.061071 | 0.00091867 | 0.00058416 | 0.36403 | 0.36403 | 0.36403 | 0.98958 | -0.19784 | 0.98548 | -0.27686 | 25.0022
11 | 0.19576 | 0.049795 | -0.19531 | -0.049512 | 0.0004464 | 0.00028284 | 0.29358 | 0.29359 | 0.29359 | 0.99307 | -0.13134 | 0.99059 | -0.17878 | 20.1638
12 | -0.44408 | -0.11338 | 0.44503 | 0.11398 | 0.0009415 | 0.00060138 | 0.66616 | 0.66616 | 0.66616 | 0.99307 | -0.13134 | 0.99537 | -0.087572 | 45.7529
13 | 0.17041 | 0.043211 | -0.17027 | -0.04312 | 0.00014423 | 9.1127e-05 | 0.25749 | 0.25749 | 0.25749 | 0.98548 | -0.27686 | 0.98457 | -0.29448 | 17.6848
14 | 0.070516 | 0.01786 | -0.070472 | -0.017834 | 4.3941e-05 | 2.6019e-05 | 0.10654 | 0.10654 | 0.10654 | 0.98548 | -0.27686 | 0.98481 | -0.28984 | 7.3175
15 | 0.18031 | 0.045752 | -0.18004 | -0.045584 | 0.00026651 | 0.00016858 | 0.27105 | 0.27105 | 0.27105 | 0.99059 | -0.17878 | 0.98899 | -0.20956 | 18.6161
16 | -0.44733 | -0.11456 | 0.44923 | 0.11578 | 0.0019066 | 0.0012178 | 0.6696 | 0.6696 | 0.6696 | 0.99537 | -0.087572 | 1 | 0 | 45.989
17 | 0.15814 | 0.040081 | -0.15797 | -0.039974 | 0.00016941 | 0.00010682 | 0.23917 | 0.23917 | 0.23917 | 0.98457 | -0.29448 | 0.98342 | -0.3168 | 16.4262
18 | 0.070472 | 0.017834 | -0.070425 | -0.017804 | 4.6562e-05 | 2.9244e-05 | 0.10654 | 0.10654 | 0.10654 | 0.98481 | -0.28984 | 0.9841 | -0.30361 | 14.635
19 | 0.17689 | 0.044795 | -0.17685 | -0.04477 | 3.9304e-05 | 2.4851e-05 | 0.26631 | 0.26631 | 0.26631 | 0.98899 | -0.20956 | 0.98875 | -0.21419 | 18.2907
20 | 0.033084 | 0.0083085 | -0.033069 | -0.008299 | 1.5162e-05 | 9.4849e-06 | 0.049235 | 0.049236 | 0.049236 | 1 | 0 | 0.9995 | -0.0096097 | 13.5262
21 | 0.13947 | 0.035337 | -0.13894 | -0.034996 | 0.00053467 | 0.00034179 | 0.21117 | 0.21117 | 0.21117 | 0.98342 | -0.3168 | 0.9793 | -0.39693 | 58.0143
22 | 0.0026963 | 0.00067527 | -0.0026962 | -0.00067544 | 1.2056e-07 | -1.6859e-07 | 0.0040768 | 0.0040769 | 0.0040769 | 0.9841 | -0.30361 | 0.98405 | -0.30455 | 1.12
23 | 0.067729 | 0.017129 | -0.067604 | -0.01705 | 0.00012474 | 7.943e-05 | 0.10247 | 0.10247 | 0.10247 | 0.9841 | -0.30361 | 0.98212 | -0.34208 | 28.15
24 | 0.034794 | 0.0087509 | -0.034782 | -0.0087428 | 1.2807e-05 | 8.0439e-06 | 0.052978 | 0.052978 | 0.052978 | 0.97749 | -0.43252 | 0.9771 | -0.44023 | 14.5544
25 | 0.0042036 | 0.0010534 | -0.0042035 | -0.0010534 | 8.6803e-08 | -1.5306e-08 | 0.006399 | 0.006399 | 0.006399 | 0.97749 | -0.43252 | 0.97747 | -0.43296 | 1.758
26 | -0.038998 | -0.0098043 | 0.039045 | 0.0098339 | 4.6975e-05 | 2.9618e-05 | 0.059377 | 0.059377 | 0.059377 | 0.97749 | -0.43252 | 0.97878 | -0.40733 | 16.3124
27 | 0.034782 | 0.0087428 | -0.034774 | -0.008738 | 7.6845e-06 | 4.8266e-06 | 0.052978 | 0.052978 | 0.052978 | 0.9771 | -0.44023 | 0.97686 | -0.44486 | 14.5544
28 | 0.0042035 | 0.0010534 | -0.0042033 | -0.0010534 | 1.8728e-07 | -3.301e-08 | 0.006399 | 0.0063991 | 0.0063991 | 0.97747 | -0.43296 | 0.97742 | -0.43389 | 1.758
29 | -0.044515 | -0.011205 | 0.044542 | 0.011222 | 2.6633e-05 | 1.685e-05 | 0.067693 | 0.067693 | 0.067693 | 0.97878 | -0.40733 | 0.97942 | -0.39482 | 18.5969
30 | -0.046841 | -0.011798 | 0.046854 | 0.011806 | 1.3819e-05 | 8.7529e-06 | 0.071185 | 0.071185 | 0.071185 | 0.97942 | -0.39482 | 0.97973 | -0.38866 | 19.5564
31 | 0.0022989 | 0.00057603 | -0.0022988 | -0.00057615 | 5.3516e-08 | -1.1297e-07 | 0.0034927 | 0.0034927 | 0.0034927 | 0.97942 | -0.39482 | 0.97939 | -0.39531 | 0.95953
32 | -0.05007 | -0.012612 | 0.050107 | 0.012636 | 3.7368e-05 | 2.3698e-05 | 0.076069 | 0.076069 | 0.076069 | 0.97973 | -0.38866 | 0.98053 | -0.37306 | 20.8981
33 | 0.17501 | 0.044308 | -0.17493 | -0.044259 | 7.8394e-05 | 4.9555e-05 | 0.26354 | 0.26354 | 0.26354 | 0.98875 | -0.21419 | 0.98827 | -0.22352 | 18.1004
34 | 0.013375 | 0.0033529 | -0.013373 | -0.0033515 | 2.4055e-06 | 1.3275e-06 | 0.019913 | 0.019913 | 0.019913 | 0.9995 | -0.0096097 | 0.9993 | -0.013385 | 5.4705
35 | 0.019694 | 0.0049461 | -0.019684 | -0.0049405 | 9.3228e-06 | 5.5879e-06 | 0.029323 | 0.029323 | 0.029323 | 0.9995 | -0.0096097 | 0.99898 | -0.019536 | 8.0558
36 | 0.11683 | 0.029454 | -0.11675 | -0.029409 | 7.1563e-05 | 4.5724e-05 | 0.17758 | 0.17758 | 0.17758 | 0.9793 | -0.39693 | 0.97865 | -0.40974 | 48.7845
37 | 0.0026962 | 0.00067544 | -0.002696 | -0.00067568 | 1.7122e-07 | -2.3938e-07 | 0.0040769 | 0.004077 | 0.004077 | 0.98405 | -0.30455 | 0.98398 | -0.30589 | 1.1201
38 | 0.050182 | 0.012683 | -0.050107 | -0.012636 | 7.4423e-05 | 4.7197e-05 | 0.076069 | 0.076069 | 0.076069 | 0.98212 | -0.34208 | 0.98053 | -0.37306 | 20.8981
39 | 0.033814 | 0.0084973 | -0.033795 | -0.0084857 | 1.8563e-05 | 1.1647e-05 | 0.051515 | 0.051515 | 0.051515 | 0.97686 | -0.44486 | 0.97628 | -0.45637 | 14.1526
40 | -0.01474 | -0.0037 | 0.014745 | 0.0037025 | 4.3519e-06 | 2.4704e-06 | 0.021965 | 0.021965 | 0.021965 | 0.99866 | -0.025724 | 0.99898 | -0.019536 | 6.0344
41 | 0.014305 | 0.0035911 | -0.014291 | -0.0035829 | 1.4392e-05 | 8.1072e-06 | 0.021317 | 0.021318 | 0.021318 | 0.99866 | -0.025724 | 0.99756 | -0.046837 | 5.8565
42 | 0.011141 | 0.0027933 | -0.011136 | -0.0027909 | 4.7826e-06 | 2.4582e-06 | 0.016618 | 0.016618 | 0.016618 | 0.99756 | -0.046837 | 0.9971 | -0.055849 | 4.5655
43 | 0.0081565 | 0.0020442 | -0.0081549 | -0.0020436 | 1.571e-06 | 6.3346e-07 | 0.012145 | 0.012146 | 0.012146 | 0.9993 | -0.013385 | 0.99909 | -0.017429 | 3.3367
44 | 0.006177 | 0.0015479 | -0.006176 | -0.0015477 | 1.0908e-06 | 2.4815e-07 | 0.0091998 | 0.0092 | 0.0092 | 0.99909 | -0.017429 | 0.9989 | -0.021136 | 2.5275
45 | -0.028393 | -0.0071195 | 0.028395 | 0.0071204 | 1.5702e-06 | 9.7725e-07 | 0.043391 | 0.043391 | 0.043391 | 0.97372 | -0.50706 | 0.97378 | -0.5059 | 11.9206
46 | 0.026449 | 0.0066323 | -0.026449 | -0.0066319 | 5.8302e-07 | 3.6129e-07 | 0.04042 | 0.04042 | 0.04042 | 0.97372 | -0.50706 | 0.9737 | -0.50752 | 11.1045
47 | -0.030789 | -0.0077206 | 0.030807 | 0.0077317 | 1.7799e-05 | 1.1124e-05 | 0.04705 | 0.04705 | 0.04705 | 0.97378 | -0.5059 | 0.9744 | -0.49377 | 12.9259
48 | 0.023602 | 0.0059184 | -0.023598 | -0.005916 | 3.8203e-06 | 2.3476e-06 | 0.036069 | 0.036069 | 0.036069 | 0.9737 | -0.50752 | 0.97353 | -0.51092 | 9.9092
49 | -0.034789 | -0.0087297 | 0.034809 | 0.0087419 | 1.954e-05 | 1.2276e-05 | 0.053131 | 0.053131 | 0.053131 | 0.9744 | -0.49377 | 0.97499 | -0.482 | 14.5963
50 | 0.021657 | 0.0054295 | -0.021656 | -0.0054293 | 3.6347e-07 | 2.2162e-07 | 0.033102 | 0.033102 | 0.033102 | 0.97353 | -0.51092 | 0.97351 | -0.51127 | 9.094
51 | -0.040445 | -0.010155 | 0.040448 | 0.010156 | 3.0612e-06 | 1.9325e-06 | 0.061733 | 0.061733 | 0.061733 | 0.97499 | -0.482 | 0.97508 | -0.48041 | 16.9595
52 | 0.018582 | 0.0046587 | -0.018579 | -0.004657 | 2.8507e-06 | 1.7073e-06 | 0.028403 | 0.028403 | 0.028403 | 0.97351 | -0.51127 | 0.97335 | -0.51449 | 7.803
53 | -0.043648 | -0.010958 | 0.043651 | 0.01096 | 3.1327e-06 | 1.9814e-06 | 0.066616 | 0.066616 | 0.066616 | 0.97508 | -0.48041 | 0.97515 | -0.47891 | 18.301
54 | 0.014812 | 0.0037128 | -0.014807 | -0.0037104 | 4.213e-06 | 2.424e-06 | 0.022644 | 0.022644 | 0.022644 | 0.97335 | -0.51449 | 0.97304 | -0.52046 | 6.2208
55 | -0.048586 | -0.012177 | 0.04864 | 0.012211 | 5.4382e-05 | 3.4476e-05 | 0.074197 | 0.074197 | 0.074197 | 0.97438 | -0.49356 | 0.97557 | -0.47009 | 20.3839
56 | -0.10655 | -0.026724 | 0.10666 | 0.026797 | 0.00011409 | 7.2871e-05 | 0.16252 | 0.16252 | 0.16252 | 0.97557 | -0.47009 | 0.97671 | -0.44766 | 44.648
57 | -0.11654 | -0.029274 | 0.11675 | 0.029409 | 0.00021128 | 0.00013499 | 0.17758 | 0.17758 | 0.17758 | 0.97671 | -0.44766 | 0.97865 | -0.40974 | 48.7846
58 | -0.046844 | -0.011761 | 0.046928 | 0.011814 | 8.4407e-05 | 5.347e-05 | 0.071487 | 0.071487 | 0.071487 | 0.97515 | -0.47891 | 0.97707 | -0.44121 | 19.6394
59 | -0.046928 | -0.011814 | 0.047129 | 0.011942 | 0.00020142 | 0.00012759 | 0.071487 | 0.071487 | 0.071487 | 0.97707 | -0.44121 | 0.98165 | -0.35184 | 19.6394
60 | -0.047129 | -0.011942 | 0.047163 | 0.011963 | 3.4143e-05 | 2.1626e-05 | 0.071487 | 0.071487 | 0.071487 | 0.98165 | -0.35184 | 0.98243 | -0.33677 | 19.6392
61 | -0.052961 | -0.013416 | 0.053028 | 0.013459 | 6.6935e-05 | 4.2487e-05 | 0.080268 | 0.080268 | 0.080268 | 0.98243 | -0.33677 | 0.98378 | -0.31049 | 22.0517
62 | -0.024715 | -0.0061943 | 0.024727 | 0.0062021 | 1.2592e-05 | 7.7644e-06 | 0.037729 | 0.037729 | 0.037729 | 0.97474 | -0.48667 | 0.97528 | -0.47598 | 10.3651
63 | 0.014894 | 0.0037333 | -0.014892 | -0.003732 | 2.275e-06 | 1.3098e-06 | 0.022737 | 0.022738 | 0.022738 | 0.97474 | -0.48667 | 0.97457 | -0.48987 | 6.2466
64 | 0.0051707 | 0.0012957 | -0.0051693 | -0.0012956 | 1.3441e-06 | 1.4339e-07 | 0.0078934 | 0.0078937 | 0.0078937 | 0.97474 | -0.48667 | 0.97446 | -0.49212 | 2.1686
65 | -0.026036 | -0.0065301 | 0.026041 | 0.0065331 | 4.7266e-06 | 2.9254e-06 | 0.039726 | 0.039726 | 0.039726 | 0.97528 | -0.47598 | 0.97547 | -0.47217 | 10.9137
66 | 0.011194 | 0.0028053 | -0.011192 | -0.0028044 | 1.7321e-06 | 9.1154e-07 | 0.017092 | 0.017092 | 0.017092 | 0.97457 | -0.48987 | 0.97441 | -0.49312 | 4.6955
67 | -0.032594 | -0.0081754 | 0.032618 | 0.0081908 | 2.4571e-05 | 1.5394e-05 | 0.049722 | 0.049722 | 0.049722 | 0.97547 | -0.47217 | 0.97628 | -0.45637 | 13.6599
68 | 0.0067011 | 0.0016787 | -0.0067009 | -0.0016786 | 1.6971e-07 | 5.4779e-08 | 0.010233 | 0.010233 | 0.010233 | 0.97441 | -0.49312 | 0.97438 | -0.49365 | 2.8112
69 | 0.0040254 | 0.0010081 | -0.0040252 | -0.0010082 | 2.1878e-07 | -5.2277e-08 | 0.0061471 | 0.0061472 | 0.0061472 | 0.97438 | -0.49365 | 0.97433 | -0.4948 | 1.6888
70 | 0.0011761 | 0.00029411 | -0.0011761 | -0.00029475 | 6.6508e-08 | -6.4208e-07 | 0.001796 | 0.0017962 | 0.0017962 | 0.97433 | -0.4948 | 0.97427 | -0.49598 | 0.49347
71 | 0.0022348 | 0.0005599 | -0.0022347 | -0.00056007 | 6.8182e-08 | -1.7112e-07 | 0.003329 | 0.003329 | 0.003329 | 0.9989 | -0.021136 | 0.99887 | -0.021777 | 0.91457
72 | -0.16052 | -0.040425 | 0.16073 | 0.040557 | 0.00021006 | 0.0001325 | 0.24267 | 0.24267 | 0.24267 | 0.98453 | -0.29598 | 0.98594 | -0.26865 | 16.6672
73 | 0.15579 | 0.03924 | -0.15575 | -0.039211 | 4.5548e-05 | 2.9039e-05 | 0.23553 | 0.23553 | 0.23553 | 0.98453 | -0.29598 | 0.98422 | -0.30209 | 32.3532
74 | -0.17067 | -0.043049 | 0.17097 | 0.043241 | 0.00030296 | 0.00019141 | 0.25768 | 0.25768 | 0.25768 | 0.98594 | -0.26865 | 0.98785 | -0.23164 | 17.6979
75 | 0.057778 | 0.014658 | -0.057755 | -0.014643 | 2.3328e-05 | 1.4826e-05 | 0.087417 | 0.087417 | 0.087417 | 0.98422 | -0.30209 | 0.98378 | -0.31049 | 24.0157
76 | -0.17355 | -0.043886 | 0.17362 | 0.043929 | 6.7596e-05 | 4.2721e-05 | 0.26156 | 0.26156 | 0.26156 | 0.98785 | -0.23164 | 0.98827 | -0.22352 | 17.9641

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48539 | 0.12444

## res_load
| p_mw | q_mvar
0 | 0.00093033 | 0.00023316
1 | 0.0005315 | 0.00013321
2 | 0.0012215 | 0.00030614
3 | 0.00080108 | 0.00020077
4 | 0.00054883 | 0.00013755
5 | 0.0012412 | 0.00031106
6 | 0.0018044 | 0.00045222
7 | 0.0040458 | 0.001014
8 | 0.0056847 | 0.0014247
9 | 0.015003 | 0.00376
10 | 0.0022999 | 0.0005764
11 | 0.012126 | 0.003039
12 | 0.003149 | 0.00078921
13 | 0.0014199 | 0.00035585
14 | 0.018501 | 0.0046368
15 | 0.0054701 | 0.0013709
16 | 0.0032156 | 0.0008059
17 | 0.0022988 | 0.00057615
18 | 0.0018411 | 0.00046144
19 | 0.022111 | 0.0055415
20 | 0.017423 | 0.0043665
21 | 0.0009603 | 0.00024067
22 | 0.0042033 | 0.0010534
23 | 0.00043475 | 0.00010896
24 | 0.0049398 | 0.001238
25 | 0.0031506 | 0.00078961
26 | 0.011136 | 0.0027909
27 | 0.0052162 | 0.0013073
28 | 0.0019779 | 0.0004957
29 | 0.0019438 | 0.00048716
30 | 0.0023947 | 0.00060016
31 | 0.0028472 | 0.00071357
32 | 0.0039818 | 0.00099793
33 | 0.0019412 | 0.00048652
34 | 0.0056363 | 0.0014126
35 | 0.0030746 | 0.00077057
36 | 0.0031998 | 0.00080194
37 | 0.0037672 | 0.00094416
38 | 0.048586 | 0.012177
39 | 0.057905 | 0.014512
40 | 0.0098833 | 0.002477
41 | 0.0031927 | 0.00080017
42 | 0.0057978 | 0.0014531
43 | 0.003679 | 0.00092205
44 | 0.0046496 | 0.0011653
45 | 0.0013089 | 0.00032805
46 | 0.0036977 | 0.00092674
47 | 0.0051693 | 0.0012956
48 | 0.006553 | 0.0016423
49 | 0.0044914 | 0.0011257
50 | 0.0011767 | 0.00029491
51 | 0.0026754 | 0.00067053
52 | 0.0028491 | 0.00071405
53 | 0.0011761 | 0.00029475
54 | 0.0039412 | 0.00098776
55 | 0.0022347 | 0.00056007
56 | 0.0047262 | 0.0011845
57 | 0.0099441 | 0.0024922
58 | 0.097967 | 0.024553
59 | 0.0025738 | 0.00064506
60 | 0.0047264 | 0.0011846
61 | 0.0013179 | 0.0003303
62 | 0.002696 | 0.00067568

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1