## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_248-1_1_3_node_155 | 0.4 | n |  | TRUE
1 | bus_LV_248-1_1_3_node_156 | 0.4 | n |  | TRUE
2 | bus_LV_248-1_1_3_node_158 | 0.4 | n |  | TRUE
3 | bus_LV_248-1_1_3_node_157 | 0.4 | n |  | TRUE
4 | bus_LV_248-1_1_3_node_159 | 0.4 | n |  | TRUE
5 | bus_LV_248-1_1_3_node_160 | 0.4 | n |  | TRUE
6 | bus_LV_248-1_1_3_node_109 | 0.4 | n |  | TRUE
7 | bus_LV_248-1_1_3_node_161 | 0.4 | n |  | TRUE
8 | bus_LV_248-1_1_3_node_162 | 0.4 | n |  | TRUE
9 | bus_LV_248-1_1_3_node_94 | 0.4 | n |  | TRUE
10 | bus_LV_248-1_1_3_node_163 | 0.4 | n |  | TRUE
11 | bus_LV_248-1_1_3_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_248-1_1_3_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_248-1_1_3_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_248-1_1_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_248-1_1_3_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_248-1_1_3_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_248-1_1_3_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_248-1_1_3_node_101 | 0.4 | n |  | TRUE
19 | bus_LV_248-1_1_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_248-1_1_3_node_125 | 0.4 | n |  | TRUE
21 | bus_LV_248-1_1_3_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_248-1_1_3_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_248-1_1_3_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_248-1_1_3_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_248-1_1_3_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_248-1_1_3_node_89 | 0.4 | n |  | TRUE
27 | bus_LV_248-1_1_3_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_248-1_1_3_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_248-1_1_3_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_248-1_1_3_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_248-1_1_3_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_248-1_1_3_node_100 | 0.4 | n |  | TRUE
33 | bus_LV_248-1_1_3_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_248-1_1_3_node_96 | 0.4 | n |  | TRUE
35 | bus_LV_248-1_1_3_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_248-1_1_3_node_98 | 0.4 | n |  | TRUE
37 | bus_LV_248-1_1_3_node_99 | 0.4 | n |  | TRUE
38 | bus_LV_248-1_1_3_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_248-1_1_3_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_248-1_1_3_node_108 | 0.4 | n |  | TRUE
41 | bus_LV_248-1_1_3_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_248-1_1_3_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_248-1_1_3_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_248-1_1_3_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_248-1_1_3_node_110 | 0.4 | n |  | TRUE
46 | bus_LV_248-1_1_3_node_127 | 0.4 | n |  | TRUE
47 | bus_LV_248-1_1_3_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_248-1_1_3_node_122 | 0.4 | n |  | TRUE
49 | bus_LV_248-1_1_3_node_123 | 0.4 | n |  | TRUE
50 | bus_LV_248-1_1_3_node_124 | 0.4 | n |  | TRUE
51 | bus_LV_248-1_1_3_node_126 | 0.4 | n |  | TRUE
52 | bus_MV_358_1_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_248-1_1_3_load_155 | 0 | 0.0028652 | 0.00071809 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_248-1_1_3_load_156 | 1 | 0.0018323 | 0.00045921 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_248-1_1_3_load_158 | 2 | 0.0026975 | 0.00067606 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_248-1_1_3_load_157 | 3 | 0.00091371 | 0.000229 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_248-1_1_3_load_160 | 5 | 0.0015247 | 0.00038213 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_248-1_1_3_load_109 | 6 | 0.0009131 | 0.00022884 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_248-1_1_3_load_161 | 7 | 0.0026809 | 0.00067191 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_248-1_1_3_load_162 | 8 | 0.0025215 | 0.00063195 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_248-1_1_3_load_163 | 10 | 0.004787 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_248-1_1_3_load_36 | 11 | 0.0061147 | 0.0015325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_248-1_1_3_load_53 | 12 | 0.0014387 | 0.00036057 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_248-1_1_3_load_55 | 13 | 0.0011842 | 0.00029679 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_248-1_1_3_load_56 | 14 | 0.0014583 | 0.00036548 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_248-1_1_3_load_64 | 15 | 0.0042663 | 0.0010692 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_248-1_1_3_load_61 | 16 | 0.0014436 | 0.0003618 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_248-1_1_3_load_63 | 17 | 0.0019952 | 0.00050005 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_248-1_1_3_load_101 | 18 | 0.0059843 | 0.0014998 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_248-1_1_3_load_65 | 19 | 0.0017608 | 0.00044131 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_248-1_1_3_load_125 | 20 | 0.0024262 | 0.00060806 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_248-1_1_3_load_84 | 21 | 0.0046334 | 0.0011612 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_248-1_1_3_load_88 | 25 | 0.022712 | 0.0056921 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_248-1_1_3_load_89 | 26 | 0.0058478 | 0.0014656 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_248-1_1_3_load_90 | 27 | 0.0017962 | 0.00045018 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_248-1_1_3_load_91 | 28 | 0.0017505 | 0.00043872 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_248-1_1_3_load_92 | 29 | 0.010015 | 0.00251 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_248-1_1_3_load_93 | 30 | 0.0011923 | 0.00029882 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_248-1_1_3_load_111 | 31 | 0.046248 | 0.011591 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_248-1_1_3_load_95 | 33 | 0.0061 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_248-1_1_3_load_96 | 34 | 0.0023861 | 0.00059801 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_248-1_1_3_load_97 | 35 | 0.0015052 | 0.00037723 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_248-1_1_3_load_98 | 36 | 0.0063375 | 0.0015883 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_248-1_1_3_load_99 | 37 | 0.0011251 | 0.00028197 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_248-1_1_3_load_102 | 38 | 0.0010793 | 0.00027051 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_248-1_1_3_load_108 | 40 | 0.0010668 | 0.00026738 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_248-1_1_3_load_105 | 41 | 0.002309 | 0.00057869 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_248-1_1_3_load_104 | 42 | 0.0027797 | 0.00069665 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_248-1_1_3_load_106 | 43 | 0.00087736 | 0.00021989 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_248-1_1_3_load_107 | 44 | 0.002107 | 0.00052807 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_248-1_1_3_load_110 | 45 | 0.0011155 | 0.00027956 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_248-1_1_3_load_127 | 46 | 0.0017608 | 0.00044131 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_248-1_1_3_load_112 | 47 | 0.0087981 | 0.002205 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_248-1_1_3_load_122 | 48 | 0.0011943 | 0.00029932 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_248-1_1_3_load_123 | 49 | 0.0014556 | 0.00036482 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_248-1_1_3_load_124 | 50 | 0.0014706 | 0.00036857 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_248-1_1_3_load_126 | 51 | 0.0055787 | 0.0013981 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_248-1_1_3_line_0 |  | 0 | 1 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_248-1_1_3_line_1 |  | 1 | 2 | 0.0035103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_248-1_1_3_line_2 |  | 2 | 3 | 0.034357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_248-1_1_3_line_3 |  | 3 | 4 | 0.024239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_248-1_1_3_line_4 |  | 4 | 5 | 0.022362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_248-1_1_3_line_5 |  | 5 | 6 | 0.027588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_248-1_1_3_line_6 |  | 5 | 7 | 0.0011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_248-1_1_3_line_7 |  | 6 | 44 | 0.0037046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_248-1_1_3_line_8 |  | 8 | 9 | 0.0071501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_248-1_1_3_line_9 |  | 8 | 10 | 0.0063933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_248-1_1_3_line_10 |  | 9 | 27 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_248-1_1_3_line_11 |  | 11 | 12 | 0.047922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_248-1_1_3_line_12 |  | 12 | 13 | 0.00095424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_248-1_1_3_line_13 |  | 13 | 14 | 0.0004597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_248-1_1_3_line_14 |  | 14 | 15 | 0.013415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_248-1_1_3_line_15 |  | 15 | 19 | 0.0065255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_248-1_1_3_line_16 |  | 16 | 17 | 0.0023975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_248-1_1_3_line_17 |  | 17 | 18 | 0.0047102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_248-1_1_3_line_18 |  | 18 | 37 | 0.025586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_248-1_1_3_line_19 |  | 19 | 20 | 0.0050932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_248-1_1_3_line_20 |  | 20 | 49 | 0.0031483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_248-1_1_3_line_21 |  | 21 | 22 | 0.0090981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_248-1_1_3_line_22 |  | 21 | 23 | 0.035144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_248-1_1_3_line_23 |  | 22 | 24 | 0.055114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_248-1_1_3_line_24 |  | 22 | 25 | 0.035395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_248-1_1_3_line_25 |  | 23 | 26 | 0.011405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_248-1_1_3_line_26 |  | 23 | 27 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_248-1_1_3_line_27 |  | 24 | 28 | 0.053326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_248-1_1_3_line_28 |  | 25 | 29 | 0.009167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_248-1_1_3_line_29 |  | 26 | 30 | 0.0093512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_248-1_1_3_line_30 |  | 29 | 31 | 0.061946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_248-1_1_3_line_31 |  | 30 | 32 | 0.027386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_248-1_1_3_line_32 |  | 31 | 47 | 0.00037807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_248-1_1_3_line_33 |  | 32 | 38 | 0.030351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_248-1_1_3_line_34 |  | 32 | 36 | 0.0031542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_248-1_1_3_line_35 |  | 33 | 34 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_248-1_1_3_line_36 |  | 33 | 35 | 0.013158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_248-1_1_3_line_37 |  | 34 | 36 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_248-1_1_3_line_38 |  | 35 | 37 | 0.001522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_248-1_1_3_line_39 |  | 38 | 39 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_248-1_1_3_line_40 |  | 39 | 40 | 0.0041333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_248-1_1_3_line_41 |  | 39 | 41 | 0.021744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_248-1_1_3_line_42 |  | 40 | 45 | 0.013227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_248-1_1_3_line_43 |  | 41 | 42 | 0.0039053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_248-1_1_3_line_44 |  | 42 | 43 | 0.0071248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_248-1_1_3_line_45 |  | 43 | 44 | 0.0045307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_248-1_1_3_line_46 |  | 45 | 46 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_248-1_1_3_line_47 |  | 46 | 51 | 0.0064663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_248-1_1_3_line_48 |  | 48 | 49 | 0.00086139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_248-1_1_3_line_49 |  | 48 | 50 | 0.00061194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_248-1_1_3_line_50 |  | 50 | 51 | 0.014359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_248-1_1_3_trafo_162 | 0.63 MVA 20/0.4 kV | 52 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2678047.8079 | 1245949.2815 | 2678054.0616 | 1245950.3332 | 2678063.526 | 1245954.1351
1 | 2678063.526 | 1245954.1351 | 2678065.0794 | 1245954.7591 | 2678066.5689 | 1245955.8331
2 | 2678097.053 | 1245971.1117 | 2678089.0203 | 1245968.662 | 2678075.2429 | 1245962.087 | 2678066.5689 | 1245955.8331
3 | 2678120.8841 | 1245971.8616 | 2678104.4918 | 1245973.3802 | 2678097.053 | 1245971.1117
4 | 2678137.3947 | 1245956.7793 | 2678120.8841 | 1245971.8616
5 | 2678122.487 | 1245943.1064 | 2678123.1328 | 1245945.1275 | 2678126.1732 | 1245947.1801 | 2678123.9592 | 1245950.6424 | 2678124.8259 | 1245952.5218 | 2678134.453 | 1245959.2757 | 2678137.3947 | 1245956.7793 | 2678137.3947 | 1245956.7793
6 | 2678138.275 | 1245957.4789 | 2678137.3947 | 1245956.7793
7 | 2678122.487 | 1245943.1064 | 2678122.487 | 1245943.1064 | 2678124.2525 | 1245939.8496
8 | 2678172.671 | 1245932.6711 | 2678165.5375 | 1245932.1838
9 | 2678159.1591 | 1245931.748 | 2678165.5375 | 1245932.1838
10 | 2678172.671 | 1245932.6711 | 2678182.5613 | 1245921.319
11 | 2678054.0874 | 1245865.2454 | 2678011.3105 | 1245886.8473
12 | 2678054.8188 | 1245865.8583 | 2678054.0874 | 1245865.2454
13 | 2678055.1711 | 1245866.1536 | 2678054.8188 | 1245865.8583
14 | 2678065.4536 | 1245874.7698 | 2678055.1711 | 1245866.1536
15 | 2678065.4536 | 1245874.7698 | 2678070.4552 | 1245878.9609
16 | 2678095.7937 | 1245817.0288 | 2678097.7222 | 1245818.4532
17 | 2678101.4117 | 1245821.3714 | 2678100.3946 | 1245820.4272 | 2678097.7222 | 1245818.4532
18 | 2678101.4117 | 1245821.3714 | 2678120.1631 | 1245838.7789
19 | 2678070.4552 | 1245878.9609 | 2678074.0317 | 1245881.9578 | 2678074.3604 | 1245882.2304
20 | 2678074.3604 | 1245882.2304 | 2678076.7842 | 1245884.2396
21 | 2678234.1184 | 1245925.8095 | 2678225.292 | 1245923.6025
22 | 2678193.99 | 1245908.2011 | 2678206.5996 | 1245916.2398 | 2678218.0633 | 1245921.7949 | 2678225.292 | 1245923.6025
23 | 2678289.3291 | 1245923.2249 | 2678248.7573 | 1245925.4913 | 2678234.1184 | 1245925.8095
24 | 2678234.1184 | 1245925.8095 | 2678233.6753 | 1245961.2013
25 | 2678193.99 | 1245908.2011 | 2678185.7367 | 1245900.3293
26 | 2678193.99 | 1245908.2011 | 2678182.5613 | 1245921.319
27 | 2678289.3291 | 1245923.2249 | 2678289.966 | 1245976.5472
28 | 2678233.5605 | 1245970.3676 | 2678233.6753 | 1245961.2013
29 | 2678178.9698 | 1245893.8752 | 2678185.7367 | 1245900.3293
30 | 2678233.5605 | 1245970.3676 | 2678211.5629 | 1246028.2764
31 | 2678159.1521 | 1245874.9736 | 2678178.9698 | 1245893.8752
32 | 2678211.5629 | 1246028.2764 | 2678211.185 | 1246028.2639
33 | 2678159.1521 | 1245874.9736 | 2678136.7342 | 1245895.4334
34 | 2678159.1521 | 1245874.9736 | 2678156.8404 | 1245872.8276
35 | 2678130.9221 | 1245848.7668 | 2678142.9561 | 1245859.9384
36 | 2678130.9221 | 1245848.7668 | 2678121.2786 | 1245839.8145
37 | 2678156.8404 | 1245872.8276 | 2678142.9561 | 1245859.9384
38 | 2678120.1631 | 1245838.7789 | 2678121.2786 | 1245839.8145
39 | 2678125.0866 | 1245904.0792 | 2678129.1514 | 1245902.3537 | 2678136.7342 | 1245895.4334
40 | 2678125.0866 | 1245904.0792 | 2678121.0392 | 1245904.9179
41 | 2678125.0866 | 1245904.0792 | 2678121.6378 | 1245925.5477
42 | 2678108.0582 | 1245905.6202 | 2678113.23 | 1245906.536 | 2678121.0392 | 1245904.9179
43 | 2678121.0184 | 1245929.4036 | 2678121.6378 | 1245925.5477
44 | 2678121.5743 | 1245936.4536 | 2678120.782 | 1245930.8752 | 2678121.0184 | 1245929.4036
45 | 2678121.5743 | 1245936.4536 | 2678121.7361 | 1245937.5926 | 2678124.2525 | 1245939.8496 | 2678124.2525 | 1245939.8496
46 | 2678093.9509 | 1245898.4703 | 2678101.0867 | 1245904.3857 | 2678108.0582 | 1245905.6202
47 | 2678088.9727 | 1245894.3435 | 2678093.9509 | 1245898.4703
48 | 2678077.4474 | 1245884.7894 | 2678076.7842 | 1245884.2396
49 | 2678077.9185 | 1245885.1799 | 2678077.4474 | 1245884.7894
50 | 2678088.9727 | 1245894.3435 | 2678077.9185 | 1245885.1799

## bus_geodata
| x | y | coords
0 | 2678047.8079 | 1245949.2815
1 | 2678063.526 | 1245954.1351
2 | 2678066.5689 | 1245955.8331
3 | 2678097.053 | 1245971.1117
4 | 2678120.8841 | 1245971.8616
5 | 2678137.3947 | 1245956.7793
6 | 2678122.487 | 1245943.1064
7 | 2678138.275 | 1245957.4789
8 | 2678165.5375 | 1245932.1838
9 | 2678172.671 | 1245932.6711
10 | 2678159.1591 | 1245931.748
11 | 2678011.3105 | 1245886.8473
12 | 2678054.0874 | 1245865.2454
13 | 2678054.8188 | 1245865.8583
14 | 2678055.1711 | 1245866.1536
15 | 2678065.4536 | 1245874.7698
16 | 2678095.7937 | 1245817.0288
17 | 2678097.7222 | 1245818.4532
18 | 2678101.4117 | 1245821.3714
19 | 2678070.4552 | 1245878.9609
20 | 2678074.3604 | 1245882.2304
21 | 2678225.292 | 1245923.6025
22 | 2678234.1184 | 1245925.8095
23 | 2678193.99 | 1245908.2011
24 | 2678289.3291 | 1245923.2249
25 | 2678233.6753 | 1245961.2013
26 | 2678185.7367 | 1245900.3293
27 | 2678182.5613 | 1245921.319
28 | 2678289.966 | 1245976.5472
29 | 2678233.5605 | 1245970.3676
30 | 2678178.9698 | 1245893.8752
31 | 2678211.5629 | 1246028.2764
32 | 2678159.1521 | 1245874.9736
33 | 2678130.9221 | 1245848.7668
34 | 2678142.9561 | 1245859.9384
35 | 2678121.2786 | 1245839.8145
36 | 2678156.8404 | 1245872.8276
37 | 2678120.1631 | 1245838.7789
38 | 2678136.7342 | 1245895.4334
39 | 2678125.0866 | 1245904.0792
40 | 2678121.0392 | 1245904.9179
41 | 2678121.6378 | 1245925.5477
42 | 2678121.0184 | 1245929.4036
43 | 2678121.5743 | 1245936.4536
44 | 2678124.2525 | 1245939.8496
45 | 2678108.0582 | 1245905.6202
46 | 2678093.9509 | 1245898.4703
47 | 2678211.185 | 1246028.2639
48 | 2678077.4474 | 1245884.7894
49 | 2678076.7842 | 1245884.2396
50 | 2678077.9185 | 1245885.1799
51 | 2678088.9727 | 1245894.3435
52 | 2678159.1591 | 1245931.748

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98904 | -0.21071 | 0.0028652 | 0.00071809
1 | 0.98909 | -0.20987 | 0.0018323 | 0.00045921
2 | 0.9891 | -0.20957 | 0.0026975 | 0.00067606
3 | 0.98934 | -0.20505 | 0.00091371 | 0.000229
4 | 0.98952 | -0.20146 | 0 | 0
5 | 0.98969 | -0.19815 | 0.0015247 | 0.00038213
6 | 0.99001 | -0.19201 | 0.0009131 | 0.00022884
7 | 0.98969 | -0.19821 | 0.0026809 | 0.00067191
8 | 1 | 0 | -0.19298 | -0.048643
9 | 0.99939 | -0.01152 | 0 | 0
10 | 0.99997 | -0.00053345 | 0.004787 | 0.0011997
11 | 0.98865 | -0.21831 | 0.0061147 | 0.0015325
12 | 0.98892 | -0.21308 | 0.0014387 | 0.00036057
13 | 0.98893 | -0.21295 | 0.0011842 | 0.00029679
14 | 0.98893 | -0.21288 | 0.0014583 | 0.00036548
15 | 0.98906 | -0.21044 | 0.0042663 | 0.0010692
16 | 0.99187 | -0.15602 | 0.0014436 | 0.0003618
17 | 0.99187 | -0.15595 | 0.0019952 | 0.00050005
18 | 0.99189 | -0.15567 | 0.0059843 | 0.0014998
19 | 0.98914 | -0.20876 | 0.0017608 | 0.00044131
20 | 0.98922 | -0.20729 | 0.0024262 | 0.00060806
21 | 0.99362 | -0.12196 | 0.0046334 | 0.0011612
22 | 0.99287 | -0.13635 | 0 | 0
23 | 0.99666 | -0.063711 | 0 | 0
24 | 0.99278 | -0.13806 | 0 | 0
25 | 0.99002 | -0.19143 | 0.022712 | 0.0056921
26 | 0.99573 | -0.0815 | 0.0058478 | 0.0014656
27 | 0.99812 | -0.035824 | 0.0017962 | 0.00045018
28 | 0.9927 | -0.13971 | 0.0017505 | 0.00043872
29 | 0.98947 | -0.20205 | 0.010015 | 0.00251
30 | 0.99502 | -0.095146 | 0.0011923 | 0.00029882
31 | 0.98634 | -0.26294 | 0.046248 | 0.011591
32 | 0.99297 | -0.13465 | 0 | 0
33 | 0.99227 | -0.1483 | 0.0061 | 0.0015288
34 | 0.99254 | -0.14303 | 0.0023861 | 0.00059801
35 | 0.99212 | -0.15111 | 0.0015052 | 0.00037723
36 | 0.99289 | -0.13615 | 0.0063375 | 0.0015883
37 | 0.99211 | -0.1514 | 0.0011251 | 0.00028197
38 | 0.99145 | -0.16414 | 0.0010793 | 0.00027051
39 | 0.99072 | -0.17815 | 0 | 0
40 | 0.9906 | -0.18052 | 0.0010668 | 0.00026738
41 | 0.99029 | -0.18646 | 0.002309 | 0.00057869
42 | 0.99022 | -0.18779 | 0.0027797 | 0.00069665
43 | 0.99012 | -0.18987 | 0.00087736 | 0.00021989
44 | 0.99005 | -0.19112 | 0.002107 | 0.00052807
45 | 0.99022 | -0.18786 | 0.0011155 | 0.00027956
46 | 0.98977 | -0.19662 | 0.0017608 | 0.00044131
47 | 0.98633 | -0.263 | 0.0087981 | 0.002205
48 | 0.98929 | -0.20593 | 0.0011943 | 0.00029932
49 | 0.98927 | -0.20624 | 0.0014556 | 0.00036482
50 | 0.9893 | -0.2057 | 0.0014706 | 0.00036857
51 | 0.9896 | -0.19988 | 0.0055787 | 0.0013981
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0028652 | -0.00071809 | 0.0028653 | 0.00071795 | 1.1526e-07 | -1.3852e-07 | 0.0043107 | 0.0043106 | 0.0043107 | 0.98904 | -0.21071 | 0.98909 | -0.20987 | 1.1843
1 | -0.0046976 | -0.0011772 | 0.0046977 | 0.0011772 | 6.5746e-08 | -2.9769e-09 | 0.0070672 | 0.0070671 | 0.0070672 | 0.98909 | -0.20987 | 0.9891 | -0.20957 | 1.9415
2 | -0.0073952 | -0.0018532 | 0.0073968 | 0.0018538 | 1.5947e-06 | 5.795e-07 | 0.011125 | 0.011125 | 0.011125 | 0.9891 | -0.20957 | 0.98934 | -0.20505 | 3.0564
3 | -0.0083105 | -0.0020828 | 0.0083119 | 0.0020834 | 1.4201e-06 | 5.9757e-07 | 0.012499 | 0.012499 | 0.012499 | 0.98934 | -0.20505 | 0.98952 | -0.20146 | 3.4339
4 | -0.0083119 | -0.0020834 | 0.0083132 | 0.0020839 | 1.3101e-06 | 5.5118e-07 | 0.012499 | 0.012499 | 0.012499 | 0.98952 | -0.20146 | 0.98969 | -0.19815 | 3.4339
5 | -0.012519 | -0.003138 | 0.012523 | 0.00314 | 3.6652e-06 | 1.9911e-06 | 0.018822 | 0.018822 | 0.018822 | 0.98969 | -0.19815 | 0.99001 | -0.19201 | 5.171
6 | 0.0026809 | 0.0006719 | -0.0026809 | -0.00067191 | 6.8509e-09 | -1.0064e-08 | 0.0040308 | 0.0040308 | 0.0040308 | 0.98969 | -0.19815 | 0.98969 | -0.19821 | 1.1074
7 | -0.013436 | -0.0033688 | 0.013436 | 0.0033691 | 5.6657e-07 | 3.1497e-07 | 0.020195 | 0.020195 | 0.020195 | 0.99001 | -0.19201 | 0.99005 | -0.19112 | 5.548
8 | 0.18654 | 0.047444 | -0.18644 | -0.047378 | 0.00010348 | 6.604e-05 | 0.27782 | 0.27782 | 0.27782 | 1 | 0 | 0.99939 | -0.01152 | 38.1628
9 | 0.0047871 | 0.0011997 | -0.004787 | -0.0011997 | 1.2165e-07 | -6.015e-09 | 0.0071233 | 0.0071234 | 0.0071234 | 1 | 0 | 0.99997 | -0.00053345 | 1.957
10 | 0.18644 | 0.047378 | -0.18622 | -0.047238 | 0.0002179 | 0.00013906 | 0.27782 | 0.27782 | 0.27782 | 0.99939 | -0.01152 | 0.99812 | -0.035824 | 38.1628
11 | -0.0061147 | -0.0015325 | 0.0061162 | 0.0015328 | 1.5221e-06 | 3.5944e-07 | 0.0092032 | 0.009203 | 0.0092032 | 0.98865 | -0.21831 | 0.98892 | -0.21308 | 2.5283
12 | -0.0075549 | -0.0018934 | 0.0075549 | 0.0018934 | 4.6242e-08 | 1.7352e-08 | 0.011368 | 0.011368 | 0.011368 | 0.98892 | -0.21308 | 0.98893 | -0.21295 | 3.123
13 | -0.0087391 | -0.0021902 | 0.0087392 | 0.0021902 | 2.9808e-08 | 1.3179e-08 | 0.01315 | 0.01315 | 0.01315 | 0.98893 | -0.21295 | 0.98893 | -0.21288 | 3.6125
14 | -0.010197 | -0.0025557 | 0.010199 | 0.0025563 | 1.1844e-06 | 5.8586e-07 | 0.015344 | 0.015344 | 0.015344 | 0.98893 | -0.21288 | 0.98906 | -0.21044 | 4.2153
15 | -0.014465 | -0.0036255 | 0.014466 | 0.0036262 | 1.1589e-06 | 6.5795e-07 | 0.021762 | 0.021762 | 0.021762 | 0.98906 | -0.21044 | 0.98914 | -0.20876 | 5.9787
16 | -0.0014436 | -0.0003618 | 0.0014436 | 0.00036178 | 4.2169e-09 | -2.8245e-08 | 0.0021657 | 0.0021657 | 0.0021657 | 0.99187 | -0.15602 | 0.99187 | -0.15595 | 0.59498
17 | -0.0034389 | -0.00086183 | 0.0034389 | 0.0008618 | 4.7011e-08 | -3.0708e-08 | 0.005159 | 0.005159 | 0.005159 | 0.99187 | -0.15595 | 0.99189 | -0.15567 | 1.4173
18 | -0.0094232 | -0.0023616 | 0.0094252 | 0.0023625 | 1.9174e-06 | 8.9683e-07 | 0.014137 | 0.014136 | 0.014137 | 0.99189 | -0.15567 | 0.99211 | -0.1514 | 3.8837
19 | -0.016227 | -0.0040675 | 0.016228 | 0.0040682 | 1.1381e-06 | 6.6303e-07 | 0.024411 | 0.024411 | 0.024411 | 0.98914 | -0.20876 | 0.98922 | -0.20729 | 6.7064
20 | -0.018654 | -0.0046762 | 0.018655 | 0.0046768 | 9.2962e-07 | 5.5453e-07 | 0.028061 | 0.028061 | 0.028061 | 0.98922 | -0.20729 | 0.98927 | -0.20624 | 7.709
21 | 0.090011 | 0.022746 | -0.089949 | -0.022706 | 6.2055e-05 | 3.9598e-05 | 0.13486 | 0.13486 | 0.13486 | 0.99362 | -0.12196 | 0.99287 | -0.13635 | 37.0507
22 | -0.094645 | -0.023907 | 0.09491 | 0.024076 | 0.000265 | 0.00016915 | 0.1418 | 0.1418 | 0.1418 | 0.99362 | -0.12196 | 0.99666 | -0.063711 | 38.9569
23 | 0.0017508 | 0.00043749 | -0.0017506 | -0.00043812 | 1.4226e-07 | -6.2168e-07 | 0.0026234 | 0.0026237 | 0.0026237 | 0.99287 | -0.13635 | 0.99278 | -0.13806 | 0.72079
24 | 0.088198 | 0.022269 | -0.087966 | -0.022121 | 0.00023211 | 0.0001481 | 0.13224 | 0.13224 | 0.13224 | 0.99287 | -0.13635 | 0.99002 | -0.19143 | 36.33
25 | 0.08927 | 0.022554 | -0.089194 | -0.022506 | 7.6048e-05 | 4.8522e-05 | 0.13334 | 0.13334 | 0.13334 | 0.99666 | -0.063711 | 0.99573 | -0.0815 | 36.6331
26 | -0.18418 | -0.046631 | 0.18443 | 0.046788 | 0.00024696 | 0.0001576 | 0.27515 | 0.27515 | 0.27515 | 0.99666 | -0.063711 | 0.99812 | -0.035824 | 37.795
27 | 0.0017506 | 0.00043812 | -0.0017505 | -0.00043872 | 1.3767e-07 | -6.0137e-07 | 0.0026237 | 0.0026239 | 0.0026239 | 0.99278 | -0.13806 | 0.9927 | -0.13971 | 0.72086
28 | 0.065254 | 0.016429 | -0.065221 | -0.016408 | 3.3086e-05 | 2.1057e-05 | 0.098105 | 0.098105 | 0.098105 | 0.99002 | -0.19143 | 0.98947 | -0.20205 | 26.9519
29 | 0.083346 | 0.02104 | -0.083292 | -0.021006 | 5.4447e-05 | 3.4725e-05 | 0.12461 | 0.12461 | 0.12461 | 0.99573 | -0.0815 | 0.99502 | -0.095146 | 34.2323
30 | 0.055206 | 0.013898 | -0.055046 | -0.013796 | 0.0001602 | 0.00010173 | 0.083044 | 0.083044 | 0.083044 | 0.98947 | -0.20205 | 0.98634 | -0.26294 | 22.8143
31 | 0.082099 | 0.020707 | -0.081944 | -0.020608 | 0.00015492 | 9.8797e-05 | 0.12282 | 0.12282 | 0.12282 | 0.99502 | -0.095146 | 0.99297 | -0.13465 | 33.7425
32 | 0.0087981 | 0.002205 | -0.0087981 | -0.002205 | 2.4978e-08 | 1.1161e-08 | 0.013273 | 0.013273 | 0.013273 | 0.98634 | -0.26294 | 0.98633 | -0.263 | 3.6465
33 | 0.05505 | 0.013862 | -0.054973 | -0.013813 | 7.7501e-05 | 4.9209e-05 | 0.082519 | 0.082519 | 0.082519 | 0.99297 | -0.13465 | 0.99145 | -0.16414 | 22.67
34 | 0.026894 | 0.0067457 | -0.026892 | -0.0067446 | 1.9214e-06 | 1.1889e-06 | 0.040304 | 0.040304 | 0.040304 | 0.99297 | -0.13465 | 0.99289 | -0.13615 | 11.0725
35 | -0.018157 | -0.0045514 | 0.018162 | 0.0045541 | 4.5653e-06 | 2.7096e-06 | 0.027229 | 0.027229 | 0.027229 | 0.99227 | -0.1483 | 0.99254 | -0.14303 | 7.4805
36 | 0.012057 | 0.0030226 | -0.012056 | -0.0030218 | 1.6132e-06 | 8.6252e-07 | 0.018081 | 0.018081 | 0.018081 | 0.99227 | -0.1483 | 0.99212 | -0.15111 | 4.9674
37 | -0.020548 | -0.0051522 | 0.020554 | 0.0051562 | 6.7421e-06 | 4.07e-06 | 0.030806 | 0.030806 | 0.030806 | 0.99254 | -0.14303 | 0.99289 | -0.13615 | 8.4632
38 | 0.01055 | 0.0026445 | -0.01055 | -0.0026445 | 1.4292e-07 | 7.1813e-08 | 0.015824 | 0.015824 | 0.015824 | 0.99212 | -0.15111 | 0.99211 | -0.1514 | 4.3472
39 | 0.053894 | 0.013542 | -0.053858 | -0.01352 | 3.6033e-05 | 2.2872e-05 | 0.080899 | 0.080899 | 0.080899 | 0.99145 | -0.16414 | 0.99072 | -0.17815 | 22.225
40 | 0.032336 | 0.0081198 | -0.032332 | -0.0081175 | 3.6569e-06 | 2.2872e-06 | 0.048573 | 0.048573 | 0.048573 | 0.99072 | -0.17815 | 0.9906 | -0.18052 | 13.3441
41 | 0.021522 | 0.0053998 | -0.021513 | -0.0053946 | 8.5208e-06 | 5.1735e-06 | 0.032326 | 0.032327 | 0.032327 | 0.99072 | -0.17815 | 0.99029 | -0.18646 | 8.8809
42 | 0.031265 | 0.0078501 | -0.031255 | -0.0078433 | 1.0943e-05 | 6.8335e-06 | 0.04697 | 0.04697 | 0.04697 | 0.9906 | -0.18052 | 0.99022 | -0.18786 | 12.9039
43 | 0.019204 | 0.0048159 | -0.019203 | -0.0048152 | 1.2195e-06 | 7.3026e-07 | 0.028857 | 0.028857 | 0.028857 | 0.99029 | -0.18646 | 0.99022 | -0.18779 | 7.9278
44 | 0.016423 | 0.0041186 | -0.016422 | -0.0041176 | 1.6274e-06 | 9.499e-07 | 0.02468 | 0.02468 | 0.02468 | 0.99022 | -0.18779 | 0.99012 | -0.18987 | 6.7802
45 | 0.015544 | 0.0038977 | -0.015543 | -0.0038972 | 9.2726e-07 | 5.3518e-07 | 0.023362 | 0.023362 | 0.023362 | 0.99012 | -0.18987 | 0.99005 | -0.19112 | 6.418
46 | 0.030139 | 0.0075637 | -0.030127 | -0.0075559 | 1.2578e-05 | 7.8394e-06 | 0.045294 | 0.045294 | 0.045294 | 0.99022 | -0.18786 | 0.98977 | -0.19662 | 12.4434
47 | 0.028366 | 0.0071146 | -0.028361 | -0.0071118 | 4.4102e-06 | 2.7395e-06 | 0.042647 | 0.042647 | 0.042647 | 0.98977 | -0.19662 | 0.9896 | -0.19988 | 11.7162
48 | 0.020111 | 0.0050418 | -0.020111 | -0.0050416 | 2.9559e-07 | 1.7812e-07 | 0.03025 | 0.03025 | 0.03025 | 0.98929 | -0.20593 | 0.98927 | -0.20624 | 8.3105
49 | -0.021305 | -0.0053411 | 0.021306 | 0.0053412 | 2.3567e-07 | 1.4297e-07 | 0.032047 | 0.032047 | 0.032047 | 0.98929 | -0.20593 | 0.9893 | -0.2057 | 8.804
50 | -0.022776 | -0.0057098 | 0.022783 | 0.0057137 | 6.3194e-06 | 3.86e-06 | 0.034259 | 0.034258 | 0.034259 | 0.9893 | -0.2057 | 0.9896 | -0.19988 | 9.4117

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.1955 | 0.049275

## res_load
| p_mw | q_mvar
0 | 0.0028652 | 0.00071809
1 | 0.0018323 | 0.00045921
2 | 0.0026975 | 0.00067606
3 | 0.00091371 | 0.000229
4 | 0.0015247 | 0.00038213
5 | 0.0009131 | 0.00022884
6 | 0.0026809 | 0.00067191
7 | 0.0025215 | 0.00063195
8 | 0.004787 | 0.0011997
9 | 0.0061147 | 0.0015325
10 | 0.0014387 | 0.00036057
11 | 0.0011842 | 0.00029679
12 | 0.0014583 | 0.00036548
13 | 0.0042663 | 0.0010692
14 | 0.0014436 | 0.0003618
15 | 0.0019952 | 0.00050005
16 | 0.0059843 | 0.0014998
17 | 0.0017608 | 0.00044131
18 | 0.0024262 | 0.00060806
19 | 0.0046334 | 0.0011612
20 | 0.022712 | 0.0056921
21 | 0.0058478 | 0.0014656
22 | 0.0017962 | 0.00045018
23 | 0.0017505 | 0.00043872
24 | 0.010015 | 0.00251
25 | 0.0011923 | 0.00029882
26 | 0.046248 | 0.011591
27 | 0.0061 | 0.0015288
28 | 0.0023861 | 0.00059801
29 | 0.0015052 | 0.00037723
30 | 0.0063375 | 0.0015883
31 | 0.0011251 | 0.00028197
32 | 0.0010793 | 0.00027051
33 | 0.0010668 | 0.00026738
34 | 0.002309 | 0.00057869
35 | 0.0027797 | 0.00069665
36 | 0.00087736 | 0.00021989
37 | 0.002107 | 0.00052807
38 | 0.0011155 | 0.00027956
39 | 0.0017608 | 0.00044131
40 | 0.0087981 | 0.002205
41 | 0.0011943 | 0.00029932
42 | 0.0014556 | 0.00036482
43 | 0.0014706 | 0.00036857
44 | 0.0055787 | 0.0013981

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1