## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_248-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_248-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_248-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_248-8_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_248-8_0_3_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_248-8_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_248-8_0_3_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_248-8_0_3_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_248-8_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_248-8_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_248-8_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_248-8_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_248-8_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_248-8_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_248-8_0_3_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_248-8_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_248-8_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_248-8_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_248-8_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_248-8_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_248-8_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_248-8_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_248-8_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_248-8_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_248-8_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_248-8_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_248-8_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_248-8_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_248-8_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_248-8_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_248-8_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_248-8_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_248-8_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_248-8_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_248-8_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_248-8_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_248-8_0_3_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_248-8_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_248-8_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_248-8_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_248-8_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_248-8_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_248-8_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_248-8_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_248-8_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_248-8_0_3_node_134 | 0.4 | n |  | TRUE
46 | bus_LV_248-8_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_248-8_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_248-8_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_248-8_0_3_node_104 | 0.4 | n |  | TRUE
50 | bus_LV_248-8_0_3_node_133 | 0.4 | n |  | TRUE
51 | bus_LV_248-8_0_3_node_138 | 0.4 | n |  | TRUE
52 | bus_LV_248-8_0_3_node_135 | 0.4 | n |  | TRUE
53 | bus_LV_248-8_0_3_node_136 | 0.4 | n |  | TRUE
54 | bus_LV_248-8_0_3_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_248-8_0_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_248-8_0_3_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_248-8_0_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_248-8_0_3_node_76 | 0.4 | n |  | TRUE
59 | bus_MV_388_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_248-8_0_3_load_0 | 0 | 0.0049858 | 0.0012495 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_248-8_0_3_load_2 | 2 | 0.0029436 | 0.00073774 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_248-8_0_3_load_32 | 4 | 0.006323 | 0.0015847 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_248-8_0_3_load_77 | 6 | 0.020295 | 0.0050864 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_248-8_0_3_load_132 | 7 | 0.0081001 | 0.0020301 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_248-8_0_3_load_37 | 8 | 0.002639 | 0.0006614 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_248-8_0_3_load_5 | 9 | 0.010579 | 0.0026514 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_248-8_0_3_load_6 | 10 | 0.010196 | 0.0025552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_248-8_0_3_load_46 | 14 | 0.010013 | 0.0025095 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_248-8_0_3_load_9 | 15 | 0.010796 | 0.0027057 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_248-8_0_3_load_10 | 17 | 0.0046434 | 0.0011637 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_248-8_0_3_load_15 | 21 | 0.0075598 | 0.0018947 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_248-8_0_3_load_16 | 22 | 0.0042048 | 0.0010538 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_248-8_0_3_load_19 | 23 | 0.0039956 | 0.0010014 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_248-8_0_3_load_17 | 24 | 0.0052667 | 0.00132 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_248-8_0_3_load_14 | 25 | 0.0040667 | 0.0010192 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_248-8_0_3_load_18 | 28 | 0.0036348 | 0.00091097 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_248-8_0_3_load_48 | 29 | 0.003992 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_248-8_0_3_load_23 | 30 | 0.008245 | 0.0020664 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_248-8_0_3_load_24 | 31 | 0.0012254 | 0.00030712 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_248-8_0_3_load_26 | 32 | 0.0016236 | 0.00040692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_248-8_0_3_load_28 | 33 | 0.0038863 | 0.00097399 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_248-8_0_3_load_29 | 34 | 0.0067842 | 0.0017003 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_248-8_0_3_load_31 | 35 | 0.010942 | 0.0027424 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_248-8_0_3_load_54 | 36 | 0.010988 | 0.0027538 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_248-8_0_3_load_33 | 37 | 0.007119 | 0.0017842 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_248-8_0_3_load_34 | 38 | 0.0046484 | 0.001165 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_248-8_0_3_load_35 | 39 | 0.0034397 | 0.00086207 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_248-8_0_3_load_38 | 41 | 0.0099883 | 0.0025033 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_248-8_0_3_load_134 | 45 | 0.0077693 | 0.0019472 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_248-8_0_3_load_42 | 46 | 0.0071245 | 0.0017856 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_248-8_0_3_load_104 | 49 | 0.0081262 | 0.0020366 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_248-8_0_3_load_133 | 50 | 0.0080714 | 0.0020229 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_248-8_0_3_load_138 | 51 | 0.0015309 | 0.00038368 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_248-8_0_3_load_135 | 52 | 0.0018189 | 0.00045586 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_248-8_0_3_load_136 | 53 | 0.0018237 | 0.00045707 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_248-8_0_3_load_67 | 54 | 0.0067453 | 0.0016905 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_248-8_0_3_load_68 | 55 | 0.0087642 | 0.0021965 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_248-8_0_3_load_75 | 56 | 0.011717 | 0.0029366 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_248-8_0_3_load_72 | 57 | 0.0086776 | 0.0021748 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_248-8_0_3_load_76 | 58 | 0.020116 | 0.0050416 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_248-8_0_3_line_0 |  | 0 | 1 | 0.043479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_248-8_0_3_line_1 |  | 1 | 2 | 0.020123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_248-8_0_3_line_2 |  | 1 | 3 | 0.050273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_248-8_0_3_line_3 |  | 2 | 4 | 0.0004299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_248-8_0_3_line_4 |  | 3 | 8 | 0.03142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_248-8_0_3_line_5 |  | 3 | 5 | 0.030099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_248-8_0_3_line_6 |  | 4 | 37 | 0.029675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_248-8_0_3_line_7 |  | 5 | 6 | 0.0048131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_248-8_0_3_line_8 |  | 5 | 7 | 0.033016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_248-8_0_3_line_9 |  | 6 | 58 | 0.021033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_248-8_0_3_line_10 |  | 8 | 39 | 0.011656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_248-8_0_3_line_11 |  | 9 | 10 | 0.026096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_248-8_0_3_line_12 |  | 10 | 11 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_248-8_0_3_line_13 |  | 11 | 12 | 0.035278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_248-8_0_3_line_14 |  | 12 | 13 | 0.022659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_248-8_0_3_line_15 |  | 12 | 14 | 0.021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_248-8_0_3_line_16 |  | 13 | 36 | 0.020005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_248-8_0_3_line_17 |  | 13 | 40 | 0.03472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_248-8_0_3_line_18 |  | 15 | 16 | 0.017162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_248-8_0_3_line_19 |  | 16 | 26 | 0.002077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_248-8_0_3_line_20 |  | 16 | 30 | 0.024568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_248-8_0_3_line_21 |  | 17 | 18 | 0.017318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_248-8_0_3_line_22 |  | 17 | 19 | 0.024231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_248-8_0_3_line_23 |  | 18 | 20 | 0.031208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_248-8_0_3_line_24 |  | 19 | 21 | 0.020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_248-8_0_3_line_25 |  | 19 | 22 | 0.011819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_248-8_0_3_line_26 |  | 20 | 23 | 0.044734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_248-8_0_3_line_27 |  | 20 | 24 | 0.014629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_248-8_0_3_line_28 |  | 21 | 27 | 0.017369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_248-8_0_3_line_29 |  | 22 | 26 | 0.016569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_248-8_0_3_line_30 |  | 23 | 29 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_248-8_0_3_line_31 |  | 24 | 28 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_248-8_0_3_line_32 |  | 25 | 26 | 0.014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_248-8_0_3_line_33 |  | 27 | 35 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_248-8_0_3_line_34 |  | 27 | 33 | 0.031314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_248-8_0_3_line_35 |  | 30 | 31 | 0.047012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_248-8_0_3_line_36 |  | 31 | 32 | 0.060398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_248-8_0_3_line_37 |  | 33 | 34 | 0.018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_248-8_0_3_line_38 |  | 35 | 36 | 0.029077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_248-8_0_3_line_39 |  | 38 | 39 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_248-8_0_3_line_40 |  | 38 | 40 | 0.0089943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_248-8_0_3_line_41 |  | 40 | 41 | 0.01913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_248-8_0_3_line_42 |  | 41 | 42 | 0.022821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_248-8_0_3_line_43 |  | 42 | 43 | 0.026393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_248-8_0_3_line_44 |  | 43 | 44 | 0.036291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_248-8_0_3_line_45 |  | 43 | 45 | 0.034175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_248-8_0_3_line_46 |  | 44 | 47 | 0.028162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_248-8_0_3_line_47 |  | 44 | 48 | 0.037507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_248-8_0_3_line_48 |  | 44 | 46 | 0.032679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_248-8_0_3_line_49 |  | 45 | 52 | 0.013434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_248-8_0_3_line_50 |  | 47 | 49 | 0.025052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_248-8_0_3_line_51 |  | 47 | 50 | 0.01198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_248-8_0_3_line_52 |  | 48 | 51 | 0.037133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_248-8_0_3_line_53 |  | 52 | 53 | 0.043131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_248-8_0_3_line_54 |  | 54 | 55 | 0.028867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_248-8_0_3_line_55 |  | 55 | 56 | 0.014416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_248-8_0_3_line_56 |  | 55 | 57 | 0.013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_248-8_0_3_line_57 |  | 56 | 58 | 0.025297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_248-8_0_3_trafo_35 | 0.63 MVA 20/0.4 kV | 59 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2676099.5169 | 1247762.8524 | 2676085.921 | 1247804.1509
1 | 2676099.5169 | 1247762.8524 | 2676080.485 | 1247756.3169
2 | 2676099.5169 | 1247762.8524 | 2676112.6332 | 1247725.4604 | 2676114.9118 | 1247715.0599
3 | 2676080.0784 | 1247756.1773 | 2676080.485 | 1247756.3169
4 | 2676114.9118 | 1247715.0599 | 2676110.8151 | 1247713.5285 | 2676112.0132 | 1247704.3372 | 2676099.8199 | 1247695.7301 | 2676097.676 | 1247693.8483
5 | 2676114.9118 | 1247715.0599 | 2676112.6332 | 1247725.4604 | 2676119.5194 | 1247726.7942 | 2676131.8726 | 1247728.2427
6 | 2676080.0784 | 1247756.1773 | 2676052.0125 | 1247746.5397
7 | 2676131.8726 | 1247728.2427 | 2676136.6531 | 1247728.8021
8 | 2676131.8726 | 1247728.2427 | 2676138.1787 | 1247711.2447 | 2676137.1044 | 1247709.0293 | 2676138.2857 | 1247705.8533 | 2676141.4378 | 1247697.3858
9 | 2676157.5541 | 1247731.1196 | 2676155.5684 | 1247731.0156 | 2676136.6531 | 1247728.8021
10 | 2676097.676 | 1247693.8483 | 2676088.9164 | 1247686.1593
11 | 2675953.8534 | 1247640.1745 | 2675978.8175 | 1247647.7777
12 | 2675999.6642 | 1247654.1269 | 2675978.8175 | 1247647.7777
13 | 2675999.6642 | 1247654.1269 | 2676001.8697 | 1247647.6505 | 2676019.6777 | 1247625.4405
14 | 2676037.1126 | 1247639.9745 | 2676019.6777 | 1247625.4405
15 | 2676019.6777 | 1247625.4405 | 2676004.0188 | 1247611.2501
16 | 2676037.1126 | 1247639.9745 | 2676030.2137 | 1247658.7523
17 | 2676037.1126 | 1247639.9745 | 2676063.829 | 1247662.2442
18 | 2675977.267 | 1247720.2987 | 2675978.5427 | 1247716.2344 | 2675982.6967 | 1247704.0195
19 | 2675976.6449 | 1247722.2811 | 2675977.267 | 1247720.2987
20 | 2675977.267 | 1247720.2987 | 2675969.811 | 1247718.0349 | 2675965.4229 | 1247730.9881 | 2675962.8346 | 1247730.2099 | 2675962.7012 | 1247730.5833
21 | 2675988.7854 | 1247771.5388 | 2675994.7581 | 1247755.2831
22 | 2676003.1149 | 1247732.5388 | 2675994.7581 | 1247755.2831
23 | 2676018.7925 | 1247780.4187 | 2675988.7854 | 1247771.5388
24 | 2676003.1149 | 1247732.5388 | 2676010.1914 | 1247713.263
25 | 2676003.1149 | 1247732.5388 | 2675992.0947 | 1247728.2682
26 | 2676018.7925 | 1247780.4187 | 2676022.9508 | 1247787.7439 | 2676046.7533 | 1247795.7215 | 2676050.3324 | 1247785.101
27 | 2676018.7925 | 1247780.4187 | 2676023.6584 | 1247766.6221
28 | 2676016.1772 | 1247696.9583 | 2676010.1914 | 1247713.263
29 | 2675976.6449 | 1247722.2811 | 2675992.0947 | 1247728.2682
30 | 2676056.4426 | 1247766.9694 | 2676050.3324 | 1247785.101
31 | 2676023.6584 | 1247766.6221 | 2676028.5376 | 1247752.7878
32 | 2675976.6449 | 1247722.2811 | 2675972.268 | 1247736.2214
33 | 2676016.1772 | 1247696.9583 | 2676020.1862 | 1247686.0461
34 | 2676016.1772 | 1247696.9583 | 2676046.0812 | 1247706.2484 | 2676046.0812 | 1247706.2484
35 | 2675962.7012 | 1247730.5833 | 2675956.4263 | 1247748.1519 | 2675954.5658 | 1247748.9397 | 2675940.3492 | 1247744.3766 | 2675929.9525 | 1247739.6877
36 | 2675923.3916 | 1247688.4636 | 2675921.2129 | 1247695.8077 | 2675921.9193 | 1247699.6195 | 2675921.7498 | 1247703.4201 | 2675918.75 | 1247712.3659 | 2675918.0072 | 1247720.818 | 2675915.9993 | 1247728.3978 | 2675916.9897 | 1247732.4467 | 2675918.5264 | 1247734.5346 | 2675929.9525 | 1247739.6877
37 | 2676039.927 | 1247723.3186 | 2676046.0812 | 1247706.2484
38 | 2676030.2137 | 1247658.7523 | 2676020.1862 | 1247686.0461
39 | 2676070.0087 | 1247668.7795 | 2676074.366 | 1247673.3874 | 2676088.9164 | 1247686.1593
40 | 2676063.829 | 1247662.2442 | 2676070.0087 | 1247668.7795
41 | 2676063.829 | 1247662.2442 | 2676069.2481 | 1247643.8982
42 | 2676075.7128 | 1247622.0121 | 2676069.2481 | 1247643.8982
43 | 2676101.0773 | 1247629.5652 | 2676075.7128 | 1247622.0121
44 | 2676101.0773 | 1247629.5652 | 2676134.6434 | 1247640.7263 | 2676134.4054 | 1247641.6127
45 | 2676101.0773 | 1247629.5652 | 2676105.4175 | 1247608.0276 | 2676111.6917 | 1247606.4514 | 2676116.3274 | 1247603.0751
46 | 2676159.5732 | 1247652.1212 | 2676150.1387 | 1247648.6531 | 2676148.2544 | 1247645.4044 | 2676142.498 | 1247643.1288 | 2676134.4054 | 1247641.6127
47 | 2676145.049 | 1247605.6568 | 2676139.5572 | 1247622.7542 | 2676134.6434 | 1247640.7263 | 2676134.4054 | 1247641.6127
48 | 2676134.4054 | 1247641.6127 | 2676126.0223 | 1247673.1984
49 | 2676116.3274 | 1247603.0751 | 2676116.3274 | 1247603.0751 | 2676119.4334 | 1247590.0056
50 | 2676159.5732 | 1247652.1212 | 2676161.8327 | 1247646.7464 | 2676165.8103 | 1247637.5686 | 2676169.5931 | 1247629.1614
51 | 2676159.5732 | 1247652.1212 | 2676158.3734 | 1247654.9745 | 2676154.9654 | 1247663.1799
52 | 2676145.049 | 1247605.6568 | 2676139.0927 | 1247603.6455 | 2676140.6898 | 1247598.0954 | 2676148.6353 | 1247582.2526 | 2676152.3028 | 1247575.8854
53 | 2676119.4334 | 1247590.0056 | 2676119.4334 | 1247590.0056 | 2676123.9974 | 1247582.8034 | 2676128.1605 | 1247566.8231 | 2676133.8037 | 1247564.9831 | 2676137.0686 | 1247554.8399 | 2676138.0317 | 1247553.6909
54 | 2676197.0735 | 1247728.5469 | 2676208.5761 | 1247702.0705
55 | 2676197.0735 | 1247728.5469 | 2676182.7797 | 1247730.4199
56 | 2676197.0735 | 1247728.5469 | 2676209.8175 | 1247723.4204
57 | 2676157.5541 | 1247731.1196 | 2676163.7201 | 1247731.4428 | 2676173.1075 | 1247731.5189 | 2676182.2371 | 1247730.491 | 2676182.7797 | 1247730.4199

## bus_geodata
| x | y | coords
0 | 2676085.921 | 1247804.1509
1 | 2676099.5169 | 1247762.8524
2 | 2676080.485 | 1247756.3169
3 | 2676114.9118 | 1247715.0599
4 | 2676080.0784 | 1247756.1773
5 | 2676131.8726 | 1247728.2427
6 | 2676136.6531 | 1247728.8021
7 | 2676141.4378 | 1247697.3858
8 | 2676097.676 | 1247693.8483
9 | 2675953.8534 | 1247640.1745
10 | 2675978.8175 | 1247647.7777
11 | 2675999.6642 | 1247654.1269
12 | 2676019.6777 | 1247625.4405
13 | 2676037.1126 | 1247639.9745
14 | 2676004.0188 | 1247611.2501
15 | 2675982.6967 | 1247704.0195
16 | 2675977.267 | 1247720.2987
17 | 2675994.7581 | 1247755.2831
18 | 2675988.7854 | 1247771.5388
19 | 2676003.1149 | 1247732.5388
20 | 2676018.7925 | 1247780.4187
21 | 2676010.1914 | 1247713.263
22 | 2675992.0947 | 1247728.2682
23 | 2676050.3324 | 1247785.101
24 | 2676023.6584 | 1247766.6221
25 | 2675972.268 | 1247736.2214
26 | 2675976.6449 | 1247722.2811
27 | 2676016.1772 | 1247696.9583
28 | 2676028.5376 | 1247752.7878
29 | 2676056.4426 | 1247766.9694
30 | 2675962.7012 | 1247730.5833
31 | 2675929.9525 | 1247739.6877
32 | 2675923.3916 | 1247688.4636
33 | 2676046.0812 | 1247706.2484
34 | 2676039.927 | 1247723.3186
35 | 2676020.1863 | 1247686.0461
36 | 2676030.2137 | 1247658.7523
37 | 2676052.0125 | 1247746.5397
38 | 2676070.0087 | 1247668.7795
39 | 2676088.9164 | 1247686.1593
40 | 2676063.829 | 1247662.2442
41 | 2676069.2481 | 1247643.8982
42 | 2676075.7128 | 1247622.0121
43 | 2676101.0773 | 1247629.5652
44 | 2676134.4054 | 1247641.6127
45 | 2676116.3274 | 1247603.0751
46 | 2676126.0223 | 1247673.1984
47 | 2676159.5732 | 1247652.1212
48 | 2676145.049 | 1247605.6568
49 | 2676169.5931 | 1247629.1614
50 | 2676154.9654 | 1247663.1799
51 | 2676152.3028 | 1247575.8854
52 | 2676119.4334 | 1247590.0056
53 | 2676138.0317 | 1247553.6909
54 | 2676208.5761 | 1247702.0705
55 | 2676197.0735 | 1247728.5469
56 | 2676182.7797 | 1247730.4199
57 | 2676209.8175 | 1247723.4204
58 | 2676157.5541 | 1247731.1196
59 | 2676063.829 | 1247662.2442

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99463 | -0.10303 | 0.0049858 | 0.0012495
1 | 0.99483 | -0.099211 | 0 | 0
2 | 0.99453 | -0.10502 | 0.0029436 | 0.00073774
3 | 0.99581 | -0.080304 | 0 | 0
4 | 0.99452 | -0.10512 | 0.006323 | 0.0015847
5 | 0.99348 | -0.12507 | 0 | 0
6 | 0.99315 | -0.13156 | 0.020295 | 0.0050864
7 | 0.99324 | -0.12979 | 0.0081001 | 0.0020301
8 | 0.99884 | -0.022054 | 0.002639 | 0.0006614
9 | 0.99138 | -0.16542 | 0.010579 | 0.0026514
10 | 0.99163 | -0.16052 | 0.010196 | 0.0025552
11 | 0.99204 | -0.1525 | 0 | 0
12 | 0.99271 | -0.13953 | 0 | 0
13 | 0.99335 | -0.1272 | 0 | 0
14 | 0.99252 | -0.14327 | 0.010013 | 0.0025095
15 | 0.9859 | -0.27155 | 0.010796 | 0.0027057
16 | 0.98607 | -0.26823 | 0 | 0
17 | 0.98635 | -0.26267 | 0.0046434 | 0.0011637
18 | 0.98608 | -0.26791 | 0 | 0
19 | 0.98683 | -0.25333 | 0 | 0
20 | 0.9856 | -0.27737 | 0 | 0
21 | 0.98781 | -0.23434 | 0.0075598 | 0.0018947
22 | 0.98651 | -0.25971 | 0.0042048 | 0.0010538
23 | 0.98527 | -0.28378 | 0.0039956 | 0.0010014
24 | 0.98548 | -0.27971 | 0.0052667 | 0.00132
25 | 0.98606 | -0.26848 | 0.0040667 | 0.0010192
26 | 0.98611 | -0.26742 | 0 | 0
27 | 0.98876 | -0.21597 | 0 | 0
28 | 0.98543 | -0.28066 | 0.0036348 | 0.00091097
29 | 0.9852 | -0.28515 | 0.003992 | 0.0010005
30 | 0.98582 | -0.27312 | 0.008245 | 0.0020664
31 | 0.98569 | -0.27553 | 0.0012254 | 0.00030712
32 | 0.9856 | -0.27729 | 0.0016236 | 0.00040692
33 | 0.98845 | -0.22193 | 0.0038863 | 0.00097399
34 | 0.98834 | -0.22413 | 0.0067842 | 0.0017003
35 | 0.9895 | -0.20149 | 0.010942 | 0.0027424
36 | 0.99166 | -0.15971 | 0.010988 | 0.0027538
37 | 0.99433 | -0.10885 | 0.007119 | 0.0017842
38 | 0.99796 | -0.03896 | 0.0046484 | 0.001165
39 | 1 | 0 | -0.28591 | -0.072114
40 | 0.99726 | -0.052264 | 0 | 0
41 | 0.99645 | -0.067787 | 0.0099883 | 0.0025033
42 | 0.9957 | -0.08233 | 0 | 0
43 | 0.99483 | -0.099177 | 0 | 0
44 | 0.994 | -0.11508 | 0 | 0
45 | 0.99447 | -0.10605 | 0.0077693 | 0.0019472
46 | 0.99379 | -0.11919 | 0.0071245 | 0.0017856
47 | 0.99359 | -0.12313 | 0 | 0
48 | 0.99395 | -0.11609 | 0 | 0
49 | 0.9934 | -0.12672 | 0.0081262 | 0.0020366
50 | 0.9935 | -0.12484 | 0.0080714 | 0.0020229
51 | 0.9939 | -0.1171 | 0.0015309 | 0.00038368
52 | 0.99443 | -0.10691 | 0.0018189 | 0.00045586
53 | 0.99435 | -0.1083 | 0.0018237 | 0.00045707
54 | 0.99074 | -0.17815 | 0.0067453 | 0.0016905
55 | 0.99092 | -0.17469 | 0.0087642 | 0.0021965
56 | 0.99124 | -0.1685 | 0.011717 | 0.0029366
57 | 0.99081 | -0.17681 | 0.0086776 | 0.0021748
58 | 0.99207 | -0.1524 | 0.020116 | 0.0050416
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0049858 | -0.0012495 | 0.0049867 | 0.0012496 | 9.071e-07 | 1.6126e-08 | 0.0074589 | 0.0074587 | 0.0074589 | 0.99463 | -0.10303 | 0.99483 | -0.099211 | 2.0492
1 | 0.016391 | 0.0041097 | -0.016387 | -0.0041071 | 4.5363e-06 | 2.642e-06 | 0.024518 | 0.024518 | 0.024518 | 0.99483 | -0.099211 | 0.99453 | -0.10502 | 6.7358
2 | -0.021378 | -0.0053593 | 0.021397 | 0.005371 | 1.9277e-05 | 1.1684e-05 | 0.031977 | 0.031977 | 0.031977 | 0.99483 | -0.099211 | 0.99581 | -0.080304 | 8.7849
3 | 0.013443 | 0.0033693 | -0.013443 | -0.0033693 | 6.5222e-08 | 3.6164e-08 | 0.020114 | 0.020114 | 0.020114 | 0.99453 | -0.10502 | 0.99452 | -0.10512 | 5.5258
4 | -0.10611 | -0.026717 | 0.10641 | 0.026906 | 0.00029639 | 0.00018928 | 0.1586 | 0.1586 | 0.1586 | 0.99581 | -0.080304 | 0.99884 | -0.022054 | 43.5726
5 | 0.084714 | 0.021346 | -0.084533 | -0.02123 | 0.00018099 | 0.00011544 | 0.12663 | 0.12663 | 0.12663 | 0.99581 | -0.080304 | 0.99348 | -0.12507 | 34.7878
6 | 0.0071203 | 0.0017846 | -0.007119 | -0.0017842 | 1.263e-06 | 4.2335e-07 | 0.010654 | 0.010654 | 0.010654 | 0.99452 | -0.10512 | 0.99433 | -0.10885 | 2.9268
7 | 0.076431 | 0.019199 | -0.076408 | -0.019184 | 2.366e-05 | 1.508e-05 | 0.11449 | 0.11449 | 0.11449 | 0.99348 | -0.12507 | 0.99315 | -0.13156 | 31.454
8 | 0.0081019 | 0.0020308 | -0.0081001 | -0.0020301 | 1.8232e-06 | 7.3945e-07 | 0.012135 | 0.012135 | 0.012135 | 0.99348 | -0.12507 | 0.99324 | -0.12979 | 3.3338
9 | 0.056113 | 0.014098 | -0.056057 | -0.014062 | 5.5766e-05 | 3.5418e-05 | 0.084085 | 0.084085 | 0.084085 | 0.99315 | -0.13156 | 0.99207 | -0.1524 | 23.1003
10 | -0.10905 | -0.027567 | 0.10916 | 0.027641 | 0.00011547 | 7.3746e-05 | 0.16254 | 0.16254 | 0.16254 | 0.99884 | -0.022054 | 1 | 0 | 44.6526
11 | -0.010579 | -0.0026514 | 0.010582 | 0.0026527 | 2.4675e-06 | 1.2426e-06 | 0.015879 | 0.015879 | 0.015879 | 0.99138 | -0.16542 | 0.99163 | -0.16052 | 4.3624
12 | -0.020777 | -0.0052079 | 0.020785 | 0.0052127 | 7.9438e-06 | 4.8028e-06 | 0.031178 | 0.031178 | 0.031178 | 0.99163 | -0.16052 | 0.99204 | -0.1525 | 8.5654
13 | -0.020785 | -0.0052127 | 0.020798 | 0.0052205 | 1.286e-05 | 7.7744e-06 | 0.031178 | 0.031178 | 0.031178 | 0.99204 | -0.1525 | 0.99271 | -0.13953 | 8.5654
14 | -0.030813 | -0.0077309 | 0.030831 | 0.0077422 | 1.8128e-05 | 1.1309e-05 | 0.04619 | 0.04619 | 0.04619 | 0.99271 | -0.13953 | 0.99335 | -0.1272 | 12.6895
15 | 0.010015 | 0.0025104 | -0.010013 | -0.0025095 | 1.7858e-06 | 8.6977e-07 | 0.015012 | 0.015012 | 0.015012 | 0.99271 | -0.13953 | 0.99252 | -0.14327 | 4.1241
16 | 0.092361 | 0.023339 | -0.092217 | -0.023247 | 0.00014374 | 9.1736e-05 | 0.13842 | 0.13842 | 0.13842 | 0.99335 | -0.1272 | 0.99166 | -0.15971 | 38.0281
17 | -0.12319 | -0.031081 | 0.12364 | 0.031364 | 0.00044374 | 0.00028354 | 0.18461 | 0.18461 | 0.18461 | 0.99335 | -0.1272 | 0.99726 | -0.052264 | 50.7175
18 | -0.010796 | -0.0027057 | 0.010798 | 0.0027066 | 1.7087e-06 | 8.7468e-07 | 0.016294 | 0.016294 | 0.016294 | 0.9859 | -0.27155 | 0.98607 | -0.26823 | 4.4765
19 | -0.021895 | -0.0054873 | 0.021896 | 0.0054878 | 8.5026e-07 | 5.1767e-07 | 0.03304 | 0.03304 | 0.03304 | 0.98607 | -0.26823 | 0.98611 | -0.26742 | 9.0769
20 | 0.011097 | 0.0027807 | -0.011095 | -0.0027794 | 2.5835e-06 | 1.3401e-06 | 0.016746 | 0.016746 | 0.016746 | 0.98607 | -0.26823 | 0.98582 | -0.27312 | 4.6005
21 | 0.016905 | 0.004241 | -0.016901 | -0.0042386 | 4.2243e-06 | 2.4826e-06 | 0.025504 | 0.025504 | 0.025504 | 0.98635 | -0.26267 | 0.98608 | -0.26791 | 7.0067
22 | -0.021548 | -0.0054048 | 0.021558 | 0.0054106 | 9.6031e-06 | 5.8366e-06 | 0.032509 | 0.032509 | 0.032509 | 0.98635 | -0.26267 | 0.98683 | -0.25333 | 8.9311
23 | 0.016901 | 0.0042386 | -0.016893 | -0.0042341 | 7.6124e-06 | 4.474e-06 | 0.025504 | 0.025504 | 0.025504 | 0.98608 | -0.26791 | 0.9856 | -0.27737 | 7.0067
24 | -0.051744 | -0.012983 | 0.051791 | 0.013013 | 4.6882e-05 | 2.9742e-05 | 0.078028 | 0.078028 | 0.078028 | 0.98683 | -0.25333 | 0.98781 | -0.23434 | 21.4364
25 | 0.030186 | 0.0075724 | -0.030177 | -0.0075667 | 9.1832e-06 | 5.7263e-06 | 0.045519 | 0.045519 | 0.045519 | 0.98683 | -0.25333 | 0.98651 | -0.25971 | 12.5053
26 | 0.0079903 | 0.0020028 | -0.0079879 | -0.0020018 | 2.4413e-06 | 9.9254e-07 | 0.012063 | 0.012064 | 0.012064 | 0.9856 | -0.27737 | 0.98527 | -0.28378 | 3.3142
27 | 0.0089026 | 0.0022313 | -0.0089017 | -0.0022308 | 9.911e-07 | 4.4788e-07 | 0.013441 | 0.013441 | 0.013441 | 0.9856 | -0.27737 | 0.98548 | -0.27971 | 3.6926
28 | -0.059351 | -0.014907 | 0.059403 | 0.014941 | 5.2075e-05 | 3.3106e-05 | 0.089416 | 0.089416 | 0.089416 | 0.98781 | -0.23434 | 0.98876 | -0.21597 | 24.5649
29 | 0.025972 | 0.0065129 | -0.025963 | -0.006507 | 9.5367e-06 | 5.892e-06 | 0.039177 | 0.039177 | 0.039177 | 0.98651 | -0.25971 | 0.98611 | -0.26742 | 10.7629
30 | 0.0039923 | 0.0010004 | -0.003992 | -0.0010005 | 2.6084e-07 | -7.6724e-08 | 0.0060293 | 0.0060294 | 0.0060294 | 0.98527 | -0.28378 | 0.9852 | -0.28515 | 1.6564
31 | 0.003635 | 0.00091089 | -0.0036348 | -0.00091097 | 1.6572e-07 | -8.0838e-08 | 0.0054885 | 0.0054886 | 0.0054886 | 0.98548 | -0.27971 | 0.98543 | -0.28066 | 1.5079
32 | -0.0040667 | -0.0010192 | 0.004067 | 0.0010192 | 2.0636e-07 | -5.4322e-08 | 0.006137 | 0.0061369 | 0.006137 | 0.98606 | -0.26848 | 0.98611 | -0.26742 | 1.686
33 | -0.070077 | -0.017617 | 0.070125 | 0.017648 | 4.8504e-05 | 3.0894e-05 | 0.10548 | 0.10548 | 0.10548 | 0.98876 | -0.21597 | 0.9895 | -0.20149 | 28.9781
34 | 0.010674 | 0.002676 | -0.010671 | -0.0026745 | 3.0304e-06 | 1.5379e-06 | 0.016064 | 0.016064 | 0.016064 | 0.98876 | -0.21597 | 0.98845 | -0.22193 | 4.4133
35 | 0.0028495 | 0.00071297 | -0.0028492 | -0.00071336 | 3.2609e-07 | -3.9062e-07 | 0.0043007 | 0.0043009 | 0.0043009 | 0.98582 | -0.27312 | 0.98569 | -0.27553 | 1.1816
36 | 0.0016238 | 0.00040623 | -0.0016236 | -0.00040692 | 1.3608e-07 | -6.8271e-07 | 0.002451 | 0.0024513 | 0.0024513 | 0.98569 | -0.27553 | 0.9856 | -0.27729 | 0.67342
37 | 0.0067849 | 0.0017005 | -0.0067842 | -0.0017003 | 7.0991e-07 | 2.2178e-07 | 0.010214 | 0.010214 | 0.010214 | 0.98845 | -0.22193 | 0.98834 | -0.22413 | 2.8061
38 | -0.081068 | -0.02039 | 0.08123 | 0.020493 | 0.00016212 | 0.00010338 | 0.12194 | 0.12194 | 0.12194 | 0.9895 | -0.20149 | 0.99166 | -0.15971 | 33.4987
39 | -0.17477 | -0.044264 | 0.1751 | 0.044473 | 0.00032767 | 0.00020904 | 0.26075 | 0.26075 | 0.26075 | 0.99796 | -0.03896 | 1 | 0 | 35.8177
40 | 0.17012 | 0.043099 | -0.17001 | -0.04303 | 0.00010865 | 6.9301e-05 | 0.25382 | 0.25382 | 0.25382 | 0.99796 | -0.03896 | 0.99726 | -0.052264 | 34.8657
41 | 0.046375 | 0.011665 | -0.04634 | -0.011643 | 3.4363e-05 | 2.1743e-05 | 0.069211 | 0.069211 | 0.069211 | 0.99726 | -0.052264 | 0.99645 | -0.067787 | 19.0139
42 | 0.036352 | 0.00914 | -0.036327 | -0.0091242 | 2.5228e-05 | 1.5849e-05 | 0.054295 | 0.054295 | 0.054295 | 0.99645 | -0.067787 | 0.9957 | -0.08233 | 14.9163
43 | 0.036327 | 0.0091242 | -0.036297 | -0.0091058 | 2.9177e-05 | 1.833e-05 | 0.054295 | 0.054295 | 0.054295 | 0.9957 | -0.08233 | 0.99483 | -0.099177 | 14.9163
44 | 0.024882 | 0.0062444 | -0.024863 | -0.0062328 | 1.8853e-05 | 1.1595e-05 | 0.03722 | 0.03722 | 0.03722 | 0.99483 | -0.099177 | 0.994 | -0.11508 | 10.2253
45 | 0.011416 | 0.0028615 | -0.011412 | -0.0028595 | 3.7367e-06 | 1.9479e-06 | 0.017076 | 0.017076 | 0.017076 | 0.99483 | -0.099177 | 0.99447 | -0.10605 | 4.6911
46 | 0.016206 | 0.004064 | -0.0162 | -0.0040603 | 6.216e-06 | 3.6134e-06 | 0.024261 | 0.024261 | 0.024261 | 0.994 | -0.11508 | 0.99359 | -0.12313 | 6.6651
47 | 0.001531 | 0.0003828 | -0.001531 | -0.00038324 | 7.387e-08 | -4.3888e-07 | 0.0022916 | 0.0022918 | 0.0022918 | 0.994 | -0.11508 | 0.99395 | -0.11609 | 0.62961
48 | 0.0071258 | 0.001786 | -0.0071245 | -0.0017856 | 1.3945e-06 | 4.6898e-07 | 0.010667 | 0.010668 | 0.010668 | 0.994 | -0.11508 | 0.99379 | -0.11919 | 2.9306
49 | 0.0036429 | 0.00091236 | -0.0036427 | -0.00091244 | 1.4966e-07 | -7.8503e-08 | 0.0054506 | 0.0054507 | 0.0054507 | 0.99447 | -0.10605 | 0.99443 | -0.10691 | 1.4974
50 | 0.0081276 | 0.0020372 | -0.0081262 | -0.0020366 | 1.3919e-06 | 5.6643e-07 | 0.012172 | 0.012172 | 0.012172 | 0.99359 | -0.12313 | 0.9934 | -0.12672 | 3.344
51 | 0.008072 | 0.0020231 | -0.0080714 | -0.0020229 | 6.5656e-07 | 2.6505e-07 | 0.012089 | 0.012089 | 0.012089 | 0.99359 | -0.12313 | 0.9935 | -0.12484 | 3.3211
52 | 0.001531 | 0.00038324 | -0.0015309 | -0.00038368 | 7.3144e-08 | -4.3445e-07 | 0.0022918 | 0.002292 | 0.002292 | 0.99395 | -0.11609 | 0.9939 | -0.1171 | 0.62966
53 | 0.0018238 | 0.00045658 | -0.0018237 | -0.00045707 | 1.2046e-07 | -4.8242e-07 | 0.0027289 | 0.0027291 | 0.0027291 | 0.99443 | -0.10691 | 0.99435 | -0.1083 | 0.74976
54 | -0.0067453 | -0.0016905 | 0.0067464 | 0.0016909 | 1.111e-06 | 3.3925e-07 | 0.010131 | 0.010131 | 0.010131 | 0.99074 | -0.17815 | 0.99092 | -0.17469 | 2.7832
55 | -0.024189 | -0.0060626 | 0.024196 | 0.006067 | 7.1327e-06 | 4.3791e-06 | 0.036324 | 0.036324 | 0.036324 | 0.99092 | -0.17469 | 0.99124 | -0.1685 | 9.979
56 | 0.0086785 | 0.0021752 | -0.0086776 | -0.0021748 | 8.7486e-07 | 3.8297e-07 | 0.013032 | 0.013032 | 0.013032 | 0.99092 | -0.17469 | 0.99081 | -0.17681 | 3.5803
57 | -0.035913 | -0.0090035 | 0.035941 | 0.0090208 | 2.7572e-05 | 1.732e-05 | 0.053913 | 0.053913 | 0.053913 | 0.99124 | -0.1685 | 0.99207 | -0.1524 | 14.8112

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28935 | 0.072976

## res_load
| p_mw | q_mvar
0 | 0.0049858 | 0.0012495
1 | 0.0029436 | 0.00073774
2 | 0.006323 | 0.0015847
3 | 0.020295 | 0.0050864
4 | 0.0081001 | 0.0020301
5 | 0.002639 | 0.0006614
6 | 0.010579 | 0.0026514
7 | 0.010196 | 0.0025552
8 | 0.010013 | 0.0025095
9 | 0.010796 | 0.0027057
10 | 0.0046434 | 0.0011637
11 | 0.0075598 | 0.0018947
12 | 0.0042048 | 0.0010538
13 | 0.0039956 | 0.0010014
14 | 0.0052667 | 0.00132
15 | 0.0040667 | 0.0010192
16 | 0.0036348 | 0.00091097
17 | 0.003992 | 0.0010005
18 | 0.008245 | 0.0020664
19 | 0.0012254 | 0.00030712
20 | 0.0016236 | 0.00040692
21 | 0.0038863 | 0.00097399
22 | 0.0067842 | 0.0017003
23 | 0.010942 | 0.0027424
24 | 0.010988 | 0.0027538
25 | 0.007119 | 0.0017842
26 | 0.0046484 | 0.001165
27 | 0.0034397 | 0.00086207
28 | 0.0099883 | 0.0025033
29 | 0.0077693 | 0.0019472
30 | 0.0071245 | 0.0017856
31 | 0.0081262 | 0.0020366
32 | 0.0080714 | 0.0020229
33 | 0.0015309 | 0.00038368
34 | 0.0018189 | 0.00045586
35 | 0.0018237 | 0.00045707
36 | 0.0067453 | 0.0016905
37 | 0.0087642 | 0.0021965
38 | 0.011717 | 0.0029366
39 | 0.0086776 | 0.0021748
40 | 0.020116 | 0.0050416

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1