## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_248-8_1_3_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_248-8_1_3_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_248-8_1_3_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_248-8_1_3_node_51 | 0.4 | n |  | TRUE
4 | bus_LV_248-8_1_3_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_248-8_1_3_node_145 | 0.4 | n |  | TRUE
6 | bus_LV_248-8_1_3_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_248-8_1_3_node_103 | 0.4 | n |  | TRUE
8 | bus_LV_248-8_1_3_node_105 | 0.4 | n |  | TRUE
9 | bus_LV_248-8_1_3_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_248-8_1_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_248-8_1_3_node_130 | 0.4 | n |  | TRUE
12 | bus_LV_248-8_1_3_node_131 | 0.4 | n |  | TRUE
13 | bus_LV_248-8_1_3_node_111 | 0.4 | n |  | TRUE
14 | bus_LV_248-8_1_3_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_248-8_1_3_node_140 | 0.4 | n |  | TRUE
16 | bus_LV_248-8_1_3_node_144 | 0.4 | n |  | TRUE
17 | bus_LV_248-8_1_3_node_118 | 0.4 | n |  | TRUE
18 | bus_LV_248-8_1_3_node_109 | 0.4 | n |  | TRUE
19 | bus_LV_248-8_1_3_node_141 | 0.4 | n |  | TRUE
20 | bus_LV_248-8_1_3_node_139 | 0.4 | n |  | TRUE
21 | bus_LV_248-8_1_3_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_248-8_1_3_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_248-8_1_3_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_248-8_1_3_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_248-8_1_3_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_248-8_1_3_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_248-8_1_3_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_248-8_1_3_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_248-8_1_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_248-8_1_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_248-8_1_3_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_248-8_1_3_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_248-8_1_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_248-8_1_3_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_248-8_1_3_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_248-8_1_3_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_248-8_1_3_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_248-8_1_3_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_248-8_1_3_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_248-8_1_3_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_248-8_1_3_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_248-8_1_3_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_248-8_1_3_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_248-8_1_3_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_248-8_1_3_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_248-8_1_3_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_248-8_1_3_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_248-8_1_3_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_248-8_1_3_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_248-8_1_3_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_248-8_1_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_248-8_1_3_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_248-8_1_3_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_248-8_1_3_node_108 | 0.4 | n |  | TRUE
55 | bus_LV_248-8_1_3_node_122 | 0.4 | n |  | TRUE
56 | bus_LV_248-8_1_3_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_248-8_1_3_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_248-8_1_3_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_248-8_1_3_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_248-8_1_3_node_123 | 0.4 | n |  | TRUE
61 | bus_LV_248-8_1_3_node_124 | 0.4 | n |  | TRUE
62 | bus_LV_248-8_1_3_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_248-8_1_3_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_248-8_1_3_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_248-8_1_3_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_248-8_1_3_node_115 | 0.4 | n |  | TRUE
67 | bus_LV_248-8_1_3_node_112 | 0.4 | n |  | TRUE
68 | bus_LV_248-8_1_3_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_248-8_1_3_node_113 | 0.4 | n |  | TRUE
70 | bus_LV_248-8_1_3_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_248-8_1_3_node_121 | 0.4 | n |  | TRUE
72 | bus_LV_248-8_1_3_node_110 | 0.4 | n |  | TRUE
73 | bus_LV_248-8_1_3_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_248-8_1_3_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_248-8_1_3_node_120 | 0.4 | n |  | TRUE
76 | bus_LV_248-8_1_3_node_119 | 0.4 | n |  | TRUE
77 | bus_LV_248-8_1_3_node_129 | 0.4 | n |  | TRUE
78 | bus_LV_248-8_1_3_node_116 | 0.4 | n |  | TRUE
79 | bus_LV_248-8_1_3_node_117 | 0.4 | n |  | TRUE
80 | bus_LV_248-8_1_3_node_126 | 0.4 | n |  | TRUE
81 | bus_LV_248-8_1_3_node_125 | 0.4 | n |  | TRUE
82 | bus_LV_248-8_1_3_node_137 | 0.4 | n |  | TRUE
83 | bus_LV_248-8_1_3_node_142 | 0.4 | n |  | TRUE
84 | bus_LV_248-8_1_3_node_143 | 0.4 | n |  | TRUE
85 | bus_MV_388_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_248-8_1_3_load_20 | 0 | 0.0027039 | 0.00067765 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_248-8_1_3_load_51 | 3 | 0.0042408 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_248-8_1_3_load_49 | 4 | 0.0033035 | 0.00082795 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_248-8_1_3_load_145 | 5 | 0.0034625 | 0.0008678 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_248-8_1_3_load_105 | 8 | 0.0032717 | 0.00081996 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_248-8_1_3_load_101 | 9 | 0.0020878 | 0.00052326 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_248-8_1_3_load_130 | 11 | 0.0033852 | 0.00084841 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_248-8_1_3_load_131 | 12 | 0.0032245 | 0.00080815 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_248-8_1_3_load_111 | 13 | 0.0058364 | 0.0014627 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_248-8_1_3_load_53 | 14 | 0.0080739 | 0.0020235 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_248-8_1_3_load_144 | 16 | 0.0018175 | 0.0004555 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_248-8_1_3_load_118 | 17 | 0.0016024 | 0.00040159 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_248-8_1_3_load_109 | 18 | 0.0022605 | 0.00056653 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_248-8_1_3_load_139 | 20 | 0.00153 | 0.00038346 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_248-8_1_3_load_55 | 21 | 0.0029153 | 0.00073064 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_248-8_1_3_load_56 | 22 | 0.0018506 | 0.00046381 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_248-8_1_3_load_57 | 23 | 0.004366 | 0.0010942 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_248-8_1_3_load_58 | 24 | 0.0019462 | 0.00048777 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_248-8_1_3_load_59 | 25 | 0.0036434 | 0.00091312 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_248-8_1_3_load_94 | 26 | 0.0043365 | 0.0010868 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_248-8_1_3_load_60 | 28 | 0.0031143 | 0.00078051 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_248-8_1_3_load_61 | 29 | 0.0017803 | 0.00044618 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_248-8_1_3_load_62 | 30 | 0.0017818 | 0.00044656 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_248-8_1_3_load_63 | 31 | 0.0067029 | 0.0016799 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_248-8_1_3_load_64 | 32 | 0.002199 | 0.00055112 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_248-8_1_3_load_66 | 33 | 0.008382 | 0.0021007 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_248-8_1_3_load_100 | 34 | 0.0021988 | 0.00055107 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_248-8_1_3_load_65 | 35 | 0.005036 | 0.0012621 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_248-8_1_3_load_69 | 37 | 0.0046645 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_248-8_1_3_load_70 | 38 | 0.0043198 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_248-8_1_3_load_88 | 41 | 0.0017092 | 0.00042836 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_248-8_1_3_load_83 | 42 | 0.0084802 | 0.0021253 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_248-8_1_3_load_73 | 43 | 0.005942 | 0.0014892 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_248-8_1_3_load_74 | 44 | 0.0035376 | 0.00088662 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_248-8_1_3_load_86 | 46 | 0.0034836 | 0.00087307 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_248-8_1_3_load_80 | 47 | 0.010569 | 0.0026488 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_248-8_1_3_load_78 | 48 | 0.0086896 | 0.0021778 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_248-8_1_3_load_79 | 49 | 0.010559 | 0.0026464 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_248-8_1_3_load_81 | 50 | 0.0086298 | 0.0021628 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_248-8_1_3_load_84 | 51 | 0.006344 | 0.0015899 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_248-8_1_3_load_92 | 52 | 0.0038948 | 0.00097612 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_248-8_1_3_load_89 | 53 | 0.0056412 | 0.0014138 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_248-8_1_3_load_108 | 54 | 0.0048977 | 0.0012275 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_248-8_1_3_load_90 | 56 | 0.0046757 | 0.0011718 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_248-8_1_3_load_107 | 57 | 0.0026475 | 0.00066353 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_248-8_1_3_load_91 | 58 | 0.004804 | 0.001204 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_248-8_1_3_load_93 | 59 | 0.0025926 | 0.00064976 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_248-8_1_3_load_123 | 60 | 0.0014981 | 0.00037546 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_248-8_1_3_load_124 | 61 | 0.0016696 | 0.00041845 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_248-8_1_3_load_95 | 62 | 0.006247 | 0.0015657 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_248-8_1_3_load_96 | 63 | 0.0059123 | 0.0014817 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_248-8_1_3_load_98 | 64 | 0.0043015 | 0.0010781 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_248-8_1_3_load_115 | 66 | 0.0024829 | 0.00062227 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_248-8_1_3_load_112 | 67 | 0.0025471 | 0.00063836 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_248-8_1_3_load_128 | 68 | 0.0027978 | 0.00070119 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_248-8_1_3_load_113 | 69 | 0.0024746 | 0.00062019 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_248-8_1_3_load_102 | 70 | 0.001608 | 0.000403 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_248-8_1_3_load_121 | 71 | 0.0083809 | 0.0021005 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_248-8_1_3_load_110 | 72 | 0.0032099 | 0.00080447 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_248-8_1_3_load_106 | 73 | 0.0027129 | 0.00067992 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_248-8_1_3_load_114 | 74 | 0.0025532 | 0.00063989 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_248-8_1_3_load_120 | 75 | 0.0018853 | 0.00047251 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_248-8_1_3_load_119 | 76 | 0.0019203 | 0.00048128 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_248-8_1_3_load_129 | 77 | 0.0072208 | 0.0018097 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_248-8_1_3_load_116 | 78 | 0.00079323 | 0.0001988 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_248-8_1_3_load_117 | 79 | 0.00082008 | 0.00020553 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_248-8_1_3_load_126 | 80 | 0.0023935 | 0.00059988 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_248-8_1_3_load_125 | 81 | 0.0031839 | 0.00079795 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_248-8_1_3_load_137 | 82 | 0.0018181 | 0.00045565 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_248-8_1_3_load_143 | 84 | 0.0015981 | 0.00040053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_248-8_1_3_line_0 |  | 0 | 1 | 0.023931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_248-8_1_3_line_1 |  | 1 | 2 | 0.024476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_248-8_1_3_line_2 |  | 2 | 3 | 0.019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_248-8_1_3_line_3 |  | 2 | 4 | 0.012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_248-8_1_3_line_4 |  | 3 | 5 | 0.025448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_248-8_1_3_line_5 |  | 4 | 6 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_248-8_1_3_line_6 |  | 5 | 16 | 0.041688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_248-8_1_3_line_7 |  | 6 | 10 | 0.004143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_248-8_1_3_line_8 |  | 7 | 8 | 0.057952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_248-8_1_3_line_9 |  | 7 | 9 | 0.024604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_248-8_1_3_line_10 |  | 8 | 72 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_248-8_1_3_line_11 |  | 9 | 70 | 0.019561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_248-8_1_3_line_12 |  | 9 | 71 | 0.041844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_248-8_1_3_line_13 |  | 10 | 11 | 0.021183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_248-8_1_3_line_14 |  | 10 | 12 | 0.003796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_248-8_1_3_line_15 |  | 10 | 13 | 0.030922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_248-8_1_3_line_16 |  | 11 | 17 | 0.0044074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_248-8_1_3_line_17 |  | 13 | 18 | 0.028399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_248-8_1_3_line_18 |  | 14 | 15 | 0.060461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_248-8_1_3_line_19 |  | 15 | 19 | 0.018319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_248-8_1_3_line_20 |  | 15 | 20 | 0.023418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_248-8_1_3_line_21 |  | 16 | 84 | 0.016242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_248-8_1_3_line_22 |  | 17 | 79 | 0.0060111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_248-8_1_3_line_23 |  | 18 | 72 | 0.023971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_248-8_1_3_line_24 |  | 19 | 83 | 0.017696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_248-8_1_3_line_25 |  | 19 | 82 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_248-8_1_3_line_26 |  | 21 | 22 | 0.015593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_248-8_1_3_line_27 |  | 21 | 23 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_248-8_1_3_line_28 |  | 22 | 24 | 0.026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_248-8_1_3_line_29 |  | 23 | 25 | 0.016275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_248-8_1_3_line_30 |  | 25 | 26 | 0.022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_248-8_1_3_line_31 |  | 26 | 27 | 0.022723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_248-8_1_3_line_32 |  | 27 | 39 | 0.042788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_248-8_1_3_line_33 |  | 27 | 38 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_248-8_1_3_line_34 |  | 28 | 29 | 0.0044185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_248-8_1_3_line_35 |  | 28 | 30 | 0.0011258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_248-8_1_3_line_36 |  | 29 | 31 | 0.034866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_248-8_1_3_line_37 |  | 30 | 32 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_248-8_1_3_line_38 |  | 31 | 33 | 0.030276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_248-8_1_3_line_39 |  | 32 | 34 | 0.0092693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_248-8_1_3_line_40 |  | 33 | 35 | 0.030666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_248-8_1_3_line_41 |  | 34 | 36 | 0.01956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_248-8_1_3_line_42 |  | 36 | 65 | 0.031284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_248-8_1_3_line_43 |  | 36 | 62 | 0.041588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_248-8_1_3_line_44 |  | 37 | 38 | 0.019864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_248-8_1_3_line_45 |  | 39 | 40 | 0.04574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_248-8_1_3_line_46 |  | 39 | 41 | 0.043801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_248-8_1_3_line_47 |  | 39 | 42 | 0.047079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_248-8_1_3_line_48 |  | 40 | 52 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_248-8_1_3_line_49 |  | 40 | 53 | 0.027679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_248-8_1_3_line_50 |  | 41 | 54 | 0.0036637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_248-8_1_3_line_51 |  | 42 | 51 | 0.022241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_248-8_1_3_line_52 |  | 43 | 44 | 0.034389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_248-8_1_3_line_53 |  | 44 | 45 | 0.0082961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_248-8_1_3_line_54 |  | 45 | 46 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_248-8_1_3_line_55 |  | 45 | 47 | 0.047988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_248-8_1_3_line_56 |  | 46 | 51 | 0.019077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_248-8_1_3_line_57 |  | 47 | 48 | 0.019321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_248-8_1_3_line_58 |  | 48 | 49 | 0.014741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_248-8_1_3_line_59 |  | 49 | 50 | 0.0047929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_248-8_1_3_line_60 |  | 52 | 55 | 0.042015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_248-8_1_3_line_61 |  | 53 | 56 | 0.0019487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_248-8_1_3_line_62 |  | 54 | 57 | 0.026027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_248-8_1_3_line_63 |  | 55 | 60 | 0.011338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_248-8_1_3_line_64 |  | 55 | 61 | 0.014224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_248-8_1_3_line_65 |  | 56 | 58 | 0.028572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_248-8_1_3_line_66 |  | 57 | 73 | 0.035959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_248-8_1_3_line_67 |  | 58 | 59 | 0.0070426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_248-8_1_3_line_68 |  | 60 | 64 | 0.00068034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_248-8_1_3_line_69 |  | 61 | 80 | 7.9962e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_248-8_1_3_line_70 |  | 62 | 63 | 0.0035677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_248-8_1_3_line_71 |  | 63 | 64 | 0.027496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_248-8_1_3_line_72 |  | 65 | 66 | 0.0039002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_248-8_1_3_line_73 |  | 65 | 67 | 0.0045758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_248-8_1_3_line_74 |  | 66 | 68 | 0.014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_248-8_1_3_line_75 |  | 67 | 69 | 0.02227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_248-8_1_3_line_76 |  | 68 | 77 | 0.0087177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_248-8_1_3_line_77 |  | 69 | 74 | 0.0069918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_248-8_1_3_line_78 |  | 71 | 76 | 0.0020223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_248-8_1_3_line_79 |  | 74 | 75 | 0.0212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_248-8_1_3_line_80 |  | 75 | 76 | 0.0063886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_248-8_1_3_line_81 |  | 78 | 79 | 0.0062192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_248-8_1_3_line_82 |  | 80 | 81 | 0.019457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_248-8_1_3_line_83 |  | 83 | 84 | 0.017767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_248-8_1_3_trafo_91 | 0.63 MVA 20/0.4 kV | 85 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2676255.1418 | 1247412.6433 | 2676260.7432 | 1247415.8287 | 2676267.9075 | 1247414.9535 | 2676276.2049 | 1247408.9027
1 | 2676255.1418 | 1247412.6433 | 2676270.3258 | 1247431.8746
2 | 2676270.3258 | 1247431.8746 | 2676256.869 | 1247442.1868 | 2676254.6157 | 1247443.4841
3 | 2676270.3258 | 1247431.8746 | 2676277.3412 | 1247441.633
4 | 2676254.6157 | 1247443.4841 | 2676249.3126 | 1247446.5372 | 2676241.5106 | 1247454.7095 | 2676234.0357 | 1247457.6431
5 | 2676285.575 | 1247453.086 | 2676277.3412 | 1247441.633
6 | 2676201.9583 | 1247481.9763 | 2676213.0273 | 1247471.7223 | 2676230.4492 | 1247464.3631 | 2676233.7747 | 1247457.7455 | 2676234.0357 | 1247457.6431
7 | 2676285.575 | 1247453.086 | 2676288.2763 | 1247456.2341
8 | 2676165.2207 | 1247567.0769 | 2676170.692 | 1247558.0406 | 2676179.2237 | 1247546.553 | 2676189.2603 | 1247535.5185 | 2676194.4596 | 1247530.6039 | 2676202.2028 | 1247522.7791
9 | 2676165.2207 | 1247567.0769 | 2676186.6883 | 1247579.0983
10 | 2676221.0207 | 1247505.3679 | 2676215.2443 | 1247509.6003 | 2676202.2028 | 1247522.7791
11 | 2676186.6883 | 1247579.0983 | 2676188.2057 | 1247579.9481 | 2676190.5466 | 1247585.282 | 2676189.1143 | 1247587.9989 | 2676185.2027 | 1247596.0219
12 | 2676227.3111 | 1247589.1349 | 2676186.6883 | 1247579.0983
13 | 2676288.2763 | 1247456.2341 | 2676305.2737 | 1247443.5923
14 | 2676290.6247 | 1247459.222 | 2676288.2763 | 1247456.2341
15 | 2676288.2763 | 1247456.2341 | 2676281.4765 | 1247461.0724 | 2676263.265 | 1247474.4158
16 | 2676308.8102 | 1247440.962 | 2676305.2737 | 1247443.5923
17 | 2676240.357 | 1247491.2004 | 2676263.265 | 1247474.4158
18 | 2676189.0344 | 1247526.0643 | 2676205.2134 | 1247511.3727 | 2676234.4141 | 1247487.8977 | 2676235.3387 | 1247487.2307
19 | 2676177.0498 | 1247512.356 | 2676182.522 | 1247520.2987 | 2676189.0344 | 1247526.0643
20 | 2676189.0344 | 1247526.0643 | 2676173.4908 | 1247543.5798
21 | 2676192.8911 | 1247493.9796 | 2676201.8998 | 1247486.5233 | 2676201.9583 | 1247481.9763 | 2676201.9583 | 1247481.9763
22 | 2676308.8102 | 1247440.962 | 2676313.6335 | 1247437.3746
23 | 2676240.357 | 1247491.2004 | 2676221.0207 | 1247505.3679
24 | 2676176.6235 | 1247496.1611 | 2676174.1917 | 1247498.4871 | 2676174.7938 | 1247506.8787 | 2676177.0498 | 1247512.356
25 | 2676177.0498 | 1247512.356 | 2676168.5523 | 1247517.0725 | 2676164.5082 | 1247520.5894
26 | 2676453.7267 | 1247613.0614 | 2676454.9528 | 1247612.1929 | 2676461.7336 | 1247608.2441 | 2676467.455 | 1247605.7443
27 | 2676453.7267 | 1247613.0614 | 2676437.2007 | 1247624.7686
28 | 2676467.455 | 1247605.7443 | 2676472.0413 | 1247603.7404 | 2676488.7278 | 1247601.276 | 2676492.89 | 1247599.3592
29 | 2676423.9206 | 1247634.1763 | 2676437.2007 | 1247624.7686
30 | 2676423.9206 | 1247634.1763 | 2676405.4611 | 1247647.2531
31 | 2676385.9888 | 1247658.7934 | 2676395.4649 | 1247654.3345 | 2676405.4611 | 1247647.2531
32 | 2676368.9794 | 1247619.5127 | 2676385.9888 | 1247658.7934
33 | 2676385.9888 | 1247658.7934 | 2676389.832 | 1247670.7252
34 | 2676257.3617 | 1247598.9455 | 2676256.1245 | 1247600.4357 | 2676254.6668 | 1247602.4441
35 | 2676258.0807 | 1247598.0793 | 2676257.3617 | 1247598.9455
36 | 2676238.6094 | 1247633.1844 | 2676245.5671 | 1247617.3121 | 2676247.8891 | 1247611.7824 | 2676254.6668 | 1247602.4441
37 | 2676272.7968 | 1247581.3446 | 2676265.1392 | 1247589.5771 | 2676258.0807 | 1247598.0793
38 | 2676238.6094 | 1247633.1844 | 2676226.7516 | 1247660.2346 | 2676226.4563 | 1247660.9144
39 | 2676272.7968 | 1247581.3446 | 2676274.7667 | 1247579.2268 | 2676279.4665 | 1247574.9166
40 | 2676214.2369 | 1247689.0407 | 2676226.4563 | 1247660.9144
41 | 2676295.6901 | 1247565.0524 | 2676288.1579 | 1247566.9457 | 2676279.4665 | 1247574.9166
42 | 2676295.6901 | 1247565.0524 | 2676283.4876 | 1247558.335 | 2676272.5358 | 1247544.8066
43 | 2676295.6901 | 1247565.0524 | 2676330.6315 | 1247542.4988
44 | 2676394.4758 | 1247689.9982 | 2676392.3579 | 1247678.5675 | 2676389.832 | 1247670.7252
45 | 2676368.9794 | 1247619.5127 | 2676365.9445 | 1247618.2282 | 2676365.0241 | 1247614.0356 | 2676358.628 | 1247576.415
46 | 2676368.9794 | 1247619.5127 | 2676371.3925 | 1247612.194 | 2676397.2869 | 1247587.0482
47 | 2676368.9794 | 1247619.5127 | 2676364.1242 | 1247621.7407 | 2676340.7904 | 1247643.6116 | 2676333.4504 | 1247650.0373
48 | 2676358.628 | 1247576.415 | 2676358.6695 | 1247559.9419
49 | 2676358.628 | 1247576.415 | 2676337.8742 | 1247594.729
50 | 2676399.9153 | 1247584.4958 | 2676397.2869 | 1247587.0482
51 | 2676333.4504 | 1247650.0373 | 2676318.8353 | 1247662.8318 | 2676316.5841 | 1247664.5248
52 | 2676254.7668 | 1247703.2726 | 2676257.8868 | 1247701.7981 | 2676284.4869 | 1247685.9986
53 | 2676291.6197 | 1247681.762 | 2676284.4869 | 1247685.9986
54 | 2676291.6197 | 1247681.762 | 2676301.2616 | 1247675.8788
55 | 2676291.6197 | 1247681.762 | 2676300.6964 | 1247690.1292 | 2676304.8891 | 1247698.8672 | 2676308.4436 | 1247708.4866 | 2676309.9872 | 1247724.1066
56 | 2676316.5841 | 1247664.5248 | 2676302.4527 | 1247675.1521 | 2676301.2616 | 1247675.8788
57 | 2676308.0946 | 1247743.2605 | 2676309.1391 | 1247739.529 | 2676309.9872 | 1247724.1066
58 | 2676308.0946 | 1247743.2605 | 2676304.121 | 1247757.4562
59 | 2676304.121 | 1247757.4562 | 2676302.829 | 1247762.0717
60 | 2676366.8286 | 1247519.1348 | 2676361.3636 | 1247534.0975 | 2676358.6978 | 1247548.7181 | 2676358.6695 | 1247559.9419
61 | 2676337.8742 | 1247594.729 | 2676336.413 | 1247596.0184
62 | 2676418.5874 | 1247566.3635 | 2676399.9153 | 1247584.4958
63 | 2676366.8286 | 1247519.1348 | 2676357.3026 | 1247525.2836
64 | 2676366.8286 | 1247519.1348 | 2676378.6228 | 1247511.1835
65 | 2676314.9897 | 1247614.9234 | 2676336.413 | 1247596.0184
66 | 2676446.0738 | 1247543.2546 | 2676427.5202 | 1247557.6889 | 2676418.5874 | 1247566.3635
67 | 2676309.7092 | 1247619.5832 | 2676314.9897 | 1247614.9234
68 | 2676356.731 | 1247525.6525 | 2676357.3026 | 1247525.2836
69 | 2676378.6228 | 1247511.1835 | 2676378.6891 | 1247511.1388
70 | 2676330.6315 | 1247542.4988 | 2676333.629 | 1247540.564
71 | 2676333.629 | 1247540.564 | 2676356.731 | 1247525.6525
72 | 2676272.5358 | 1247544.8066 | 2676275.6207 | 1247542.4202
73 | 2676272.5358 | 1247544.8066 | 2676269.06 | 1247547.7827
74 | 2676275.6207 | 1247542.4202 | 2676280.6228 | 1247538.5506 | 2676288.912 | 1247537.701
75 | 2676252.144 | 1247562.2669 | 2676269.06 | 1247547.7827
76 | 2676296.2983 | 1247533.0705 | 2676288.912 | 1247537.701
77 | 2676252.144 | 1247562.2669 | 2676250.441 | 1247563.7251 | 2676247.2436 | 1247567.2376
78 | 2676227.3111 | 1247589.1349 | 2676228.6724 | 1247587.6394
79 | 2676232.9729 | 1247582.9151 | 2676247.2436 | 1247567.2376
80 | 2676232.9729 | 1247582.9151 | 2676228.6724 | 1247587.6394
81 | 2676318.6238 | 1247433.6631 | 2676313.6335 | 1247437.3746
82 | 2676378.6891 | 1247511.1388 | 2676394.822 | 1247500.2625
83 | 2676176.6235 | 1247496.1611 | 2676180.3477 | 1247492.6064 | 2676192.8911 | 1247493.9796

## bus_geodata
| x | y | coords
0 | 2676276.2049 | 1247408.9027
1 | 2676255.1418 | 1247412.6433
2 | 2676270.3258 | 1247431.8746
3 | 2676254.6157 | 1247443.4841
4 | 2676277.3412 | 1247441.633
5 | 2676234.0357 | 1247457.6431
6 | 2676285.575 | 1247453.086
7 | 2676165.2207 | 1247567.0769
8 | 2676202.2028 | 1247522.7791
9 | 2676186.6883 | 1247579.0983
10 | 2676288.2763 | 1247456.2341
11 | 2676305.2737 | 1247443.5923
12 | 2676290.6247 | 1247459.222
13 | 2676263.265 | 1247474.4158
14 | 2676235.3387 | 1247487.2307
15 | 2676189.0344 | 1247526.0643
16 | 2676201.9583 | 1247481.9763
17 | 2676308.8102 | 1247440.962
18 | 2676240.357 | 1247491.2004
19 | 2676177.0498 | 1247512.356
20 | 2676173.4908 | 1247543.5798
21 | 2676453.7267 | 1247613.0614
22 | 2676467.455 | 1247605.7443
23 | 2676437.2007 | 1247624.7686
24 | 2676492.89 | 1247599.3592
25 | 2676423.9206 | 1247634.1763
26 | 2676405.4611 | 1247647.2531
27 | 2676385.9888 | 1247658.7934
28 | 2676257.3617 | 1247598.9455
29 | 2676254.6668 | 1247602.4441
30 | 2676258.0807 | 1247598.0793
31 | 2676238.6094 | 1247633.1844
32 | 2676272.7968 | 1247581.3446
33 | 2676226.4563 | 1247660.9144
34 | 2676279.4665 | 1247574.9166
35 | 2676214.2369 | 1247689.0407
36 | 2676295.6901 | 1247565.0524
37 | 2676394.4758 | 1247689.9982
38 | 2676389.832 | 1247670.7252
39 | 2676368.9794 | 1247619.5127
40 | 2676358.628 | 1247576.415
41 | 2676397.2869 | 1247587.0482
42 | 2676333.4504 | 1247650.0373
43 | 2676254.7668 | 1247703.2726
44 | 2676284.4869 | 1247685.9986
45 | 2676291.6197 | 1247681.762
46 | 2676301.2616 | 1247675.8788
47 | 2676309.9872 | 1247724.1066
48 | 2676308.0946 | 1247743.2605
49 | 2676304.121 | 1247757.4562
50 | 2676302.829 | 1247762.0717
51 | 2676316.5841 | 1247664.5248
52 | 2676358.6695 | 1247559.9419
53 | 2676337.8742 | 1247594.729
54 | 2676399.9153 | 1247584.4958
55 | 2676366.8286 | 1247519.1348
56 | 2676336.413 | 1247596.0184
57 | 2676418.5874 | 1247566.3635
58 | 2676314.9897 | 1247614.9234
59 | 2676309.7092 | 1247619.5832
60 | 2676357.3026 | 1247525.2836
61 | 2676378.6228 | 1247511.1835
62 | 2676330.6315 | 1247542.4988
63 | 2676333.629 | 1247540.564
64 | 2676356.7309 | 1247525.6525
65 | 2676272.5358 | 1247544.8066
66 | 2676275.6207 | 1247542.4202
67 | 2676269.06 | 1247547.7827
68 | 2676288.912 | 1247537.701
69 | 2676252.144 | 1247562.2669
70 | 2676185.2027 | 1247596.0219
71 | 2676227.3111 | 1247589.1349
72 | 2676221.0207 | 1247505.3679
73 | 2676446.0738 | 1247543.2546
74 | 2676247.2436 | 1247567.2376
75 | 2676232.9729 | 1247582.9151
76 | 2676228.6724 | 1247587.6394
77 | 2676296.2983 | 1247533.0705
78 | 2676318.6238 | 1247433.6631
79 | 2676313.6335 | 1247437.3746
80 | 2676378.6891 | 1247511.1388
81 | 2676394.822 | 1247500.2625
82 | 2676164.5082 | 1247520.5894
83 | 2676176.6235 | 1247496.1611
84 | 2676192.8911 | 1247493.9796
85 | 2676309.7092 | 1247619.5832

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9727 | -0.52705 | 0.0027039 | 0.00067765
1 | 0.97276 | -0.52586 | 0 | 0
2 | 0.97282 | -0.52464 | 0 | 0
3 | 0.97241 | -0.53276 | 0.0042408 | 0.0010629
4 | 0.97311 | -0.51905 | 0.0033035 | 0.00082795
5 | 0.97198 | -0.54136 | 0.0034625 | 0.0008678
6 | 0.97348 | -0.51164 | 0 | 0
7 | 0.97893 | -0.40467 | 0 | 0
8 | 0.9775 | -0.43262 | 0.0032717 | 0.00081996
9 | 0.97954 | -0.39282 | 0.0020878 | 0.00052326
10 | 0.97359 | -0.50947 | 0 | 0
11 | 0.97346 | -0.51204 | 0.0033852 | 0.00084841
12 | 0.97358 | -0.50969 | 0.0032245 | 0.00080815
13 | 0.9747 | -0.48766 | 0.0058364 | 0.0014627
14 | 0.9702 | -0.57647 | 0.0080739 | 0.0020235
15 | 0.97066 | -0.56743 | 0 | 0
16 | 0.9714 | -0.55278 | 0.0018175 | 0.0004555
17 | 0.97345 | -0.5123 | 0.0016024 | 0.00040159
18 | 0.97587 | -0.46465 | 0.0022605 | 0.00056653
19 | 0.97082 | -0.56418 | 0 | 0
20 | 0.97063 | -0.5681 | 0.00153 | 0.00038346
21 | 0.98641 | -0.2603 | 0.0029153 | 0.00073064
22 | 0.98635 | -0.26137 | 0.0018506 | 0.00046381
23 | 0.98653 | -0.25787 | 0.004366 | 0.0010942
24 | 0.98631 | -0.26229 | 0.0019462 | 0.00048777
25 | 0.9867 | -0.25464 | 0.0036434 | 0.00091312
26 | 0.987 | -0.24868 | 0.0043365 | 0.0010868
27 | 0.9874 | -0.24093 | 0 | 0
28 | 0.98265 | -0.33254 | 0.0031143 | 0.00078051
29 | 0.98256 | -0.33428 | 0.0017803 | 0.00044618
30 | 0.98267 | -0.33203 | 0.0017818 | 0.00044656
31 | 0.98191 | -0.34696 | 0.0067029 | 0.0016799
32 | 0.98323 | -0.32125 | 0.002199 | 0.00055112
33 | 0.98154 | -0.35431 | 0.008382 | 0.0021007
34 | 0.98347 | -0.31641 | 0.0021988 | 0.00055107
35 | 0.98139 | -0.3571 | 0.005036 | 0.0012621
36 | 0.98404 | -0.30542 | 0 | 0
37 | 0.98721 | -0.2446 | 0.0046645 | 0.001169
38 | 0.9873 | -0.24295 | 0.0043198 | 0.0010826
39 | 0.9885 | -0.2195 | 0 | 0
40 | 0.99298 | -0.1332 | 0 | 0
41 | 0.98802 | -0.22886 | 0.0017092 | 0.00042836
42 | 0.98563 | -0.27529 | 0.0084802 | 0.0021253
43 | 0.98277 | -0.33089 | 0.005942 | 0.0014892
44 | 0.98296 | -0.3272 | 0.0035376 | 0.00088662
45 | 0.98303 | -0.32578 | 0 | 0
46 | 0.98353 | -0.31602 | 0.0034836 | 0.00087307
47 | 0.98133 | -0.35912 | 0.010569 | 0.0026488
48 | 0.98083 | -0.36887 | 0.0086896 | 0.0021778
49 | 0.98057 | -0.374 | 0.010559 | 0.0026464
50 | 0.98053 | -0.37475 | 0.0086298 | 0.0021628
51 | 0.98444 | -0.29837 | 0.006344 | 0.0015899
52 | 0.99185 | -0.15495 | 0.0038948 | 0.00097612
53 | 0.99625 | -0.070893 | 0.0056412 | 0.0014138
54 | 0.98799 | -0.22953 | 0.0048977 | 0.0012275
55 | 0.98902 | -0.20921 | 0 | 0
56 | 0.99649 | -0.066426 | 0.0046757 | 0.0011718
57 | 0.98786 | -0.23202 | 0.0026475 | 0.00066353
58 | 1 | 0 | -0.27442 | -0.070051
59 | 0.99998 | -0.00031825 | 0.0025926 | 0.00064976
60 | 0.98829 | -0.22317 | 0.0014981 | 0.00037546
61 | 0.98892 | -0.21104 | 0.0016696 | 0.00041845
62 | 0.98635 | -0.26055 | 0.006247 | 0.0015657
63 | 0.98656 | -0.25651 | 0.0059123 | 0.0014817
64 | 0.98825 | -0.224 | 0.0043015 | 0.0010781
65 | 0.98275 | -0.33049 | 0 | 0
66 | 0.9827 | -0.33137 | 0.0024829 | 0.00062227
67 | 0.98258 | -0.33365 | 0.0025471 | 0.00063836
68 | 0.98257 | -0.33402 | 0.0027978 | 0.00070119
69 | 0.98182 | -0.34851 | 0.0024746 | 0.00062019
70 | 0.97951 | -0.39339 | 0.001608 | 0.000403
71 | 0.98065 | -0.37131 | 0.0083809 | 0.0021005
72 | 0.97691 | -0.44428 | 0.0032099 | 0.00080447
73 | 0.98777 | -0.23376 | 0.0027129 | 0.00067992
74 | 0.98159 | -0.35303 | 0.0025532 | 0.00063989
75 | 0.98091 | -0.36624 | 0.0018853 | 0.00047251
76 | 0.98071 | -0.37012 | 0.0019203 | 0.00048128
77 | 0.98251 | -0.33516 | 0.0072208 | 0.0018097
78 | 0.97344 | -0.51257 | 0.00079323 | 0.0001988
79 | 0.97344 | -0.51248 | 0.00082008 | 0.00020553
80 | 0.98892 | -0.21105 | 0.0023935 | 0.00059988
81 | 0.98887 | -0.21216 | 0.0031839 | 0.00079795
82 | 0.9708 | -0.56468 | 0.0018181 | 0.00045565
83 | 0.97101 | -0.56044 | 0 | 0
84 | 0.9712 | -0.55669 | 0.0015981 | 0.00040053
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0027039 | -0.00067765 | 0.002704 | 0.00067745 | 1.5353e-07 | -1.9881e-07 | 0.0041363 | 0.0041362 | 0.0041363 | 0.9727 | -0.52705 | 0.97276 | -0.52586 | 1.1363
1 | -0.002704 | -0.00067745 | 0.0027042 | 0.00067725 | 1.5702e-07 | -2.0338e-07 | 0.0041362 | 0.0041361 | 0.0041362 | 0.97276 | -0.52586 | 0.97282 | -0.52464 | 1.1363
2 | 0.022577 | 0.0056691 | -0.022568 | -0.0056638 | 8.7465e-06 | 5.3551e-06 | 0.034537 | 0.034537 | 0.034537 | 0.97282 | -0.52464 | 0.97241 | -0.53276 | 9.4883
3 | -0.025281 | -0.0063464 | 0.025288 | 0.0063505 | 6.7406e-06 | 4.1647e-06 | 0.038673 | 0.038673 | 0.038673 | 0.97282 | -0.52464 | 0.97311 | -0.51905 | 10.6245
4 | 0.018327 | 0.0046009 | -0.01832 | -0.0045964 | 7.5072e-06 | 4.4891e-06 | 0.028048 | 0.028048 | 0.028048 | 0.97241 | -0.53276 | 0.97198 | -0.54136 | 7.7055
5 | -0.028591 | -0.0071785 | 0.028601 | 0.0071848 | 1.0113e-05 | 6.297e-06 | 0.043725 | 0.043725 | 0.043725 | 0.97311 | -0.51905 | 0.97348 | -0.51164 | 12.0123
6 | 0.014857 | 0.0037286 | -0.014849 | -0.003724 | 8.089e-06 | 4.6605e-06 | 0.022747 | 0.022747 | 0.022747 | 0.97198 | -0.54136 | 0.9714 | -0.55278 | 6.2492
7 | -0.028601 | -0.0071848 | 0.028604 | 0.0071866 | 2.9703e-06 | 1.8495e-06 | 0.043725 | 0.043725 | 0.043725 | 0.97348 | -0.51164 | 0.97359 | -0.50947 | 12.0123
8 | 0.053242 | 0.013449 | -0.053171 | -0.013405 | 7.1236e-05 | 4.4136e-05 | 0.080968 | 0.080969 | 0.080969 | 0.97893 | -0.40467 | 0.9775 | -0.43262 | 11.1221
9 | -0.053242 | -0.013449 | 0.053273 | 0.013468 | 3.0244e-05 | 1.8737e-05 | 0.080968 | 0.080968 | 0.080968 | 0.97893 | -0.40467 | 0.97954 | -0.39282 | 11.122
10 | 0.0499 | 0.012585 | -0.049872 | -0.012568 | 2.7827e-05 | 1.7165e-05 | 0.075988 | 0.075989 | 0.075989 | 0.9775 | -0.43262 | 0.97691 | -0.44428 | 10.438
11 | 0.001608 | 0.00040278 | -0.001608 | -0.000403 | 4.377e-08 | -2.1822e-07 | 0.0024427 | 0.0024428 | 0.0024428 | 0.97954 | -0.39282 | 0.97951 | -0.39339 | 0.67109
12 | -0.056969 | -0.014394 | 0.057027 | 0.01443 | 5.8816e-05 | 3.6587e-05 | 0.086582 | 0.086582 | 0.086582 | 0.97954 | -0.39282 | 0.98065 | -0.37131 | 11.8932
13 | 0.0066017 | 0.0016544 | -0.0066009 | -0.0016542 | 8.0872e-07 | 2.5419e-07 | 0.01009 | 0.01009 | 0.01009 | 0.97359 | -0.50947 | 0.97346 | -0.51204 | 2.772
14 | 0.0032246 | 0.00080812 | -0.0032245 | -0.00080815 | 3.4575e-08 | -2.5077e-08 | 0.0049284 | 0.0049284 | 0.0049284 | 0.97359 | -0.50947 | 0.97358 | -0.50969 | 1.3539
15 | -0.038431 | -0.0096492 | 0.038471 | 0.0096744 | 4.0014e-05 | 2.5224e-05 | 0.058743 | 0.058743 | 0.058743 | 0.97359 | -0.50947 | 0.9747 | -0.48766 | 16.1382
16 | 0.0032157 | 0.00080575 | -0.0032157 | -0.00080578 | 3.9934e-08 | -2.9236e-08 | 0.0049154 | 0.0049154 | 0.0049154 | 0.97346 | -0.51204 | 0.97345 | -0.5123 | 1.3504
17 | -0.044307 | -0.011137 | 0.044356 | 0.011168 | 4.8742e-05 | 3.0841e-05 | 0.067653 | 0.067653 | 0.067653 | 0.9747 | -0.48766 | 0.97587 | -0.46465 | 18.586
18 | -0.0080739 | -0.0020235 | 0.0080774 | 0.002025 | 3.4766e-06 | 1.478e-06 | 0.012383 | 0.012383 | 0.012383 | 0.9702 | -0.57647 | 0.97066 | -0.56743 | 3.4019
19 | -0.0096074 | -0.0024082 | 0.0096089 | 0.0024089 | 1.4902e-06 | 7.2723e-07 | 0.014728 | 0.014728 | 0.014728 | 0.97066 | -0.56743 | 0.97082 | -0.56418 | 4.0462
20 | 0.0015301 | 0.0003832 | -0.00153 | -0.00038346 | 4.8313e-08 | -2.5853e-07 | 0.0023455 | 0.0023456 | 0.0023456 | 0.97066 | -0.56743 | 0.97063 | -0.5681 | 0.6444
21 | 0.013032 | 0.0032685 | -0.013029 | -0.0032671 | 2.4273e-06 | 1.3524e-06 | 0.019963 | 0.019963 | 0.019963 | 0.9714 | -0.55278 | 0.9712 | -0.55669 | 5.4844
22 | 0.0016133 | 0.00040419 | -0.0016133 | -0.00040426 | 1.3709e-08 | -6.5955e-08 | 0.0024661 | 0.0024661 | 0.0024661 | 0.97345 | -0.5123 | 0.97344 | -0.51248 | 0.6775
23 | -0.046616 | -0.011734 | 0.046662 | 0.011763 | 4.5441e-05 | 2.8783e-05 | 0.0711 | 0.071099 | 0.0711 | 0.97587 | -0.46465 | 0.97691 | -0.44428 | 19.5328
24 | -0.011427 | -0.0028644 | 0.011429 | 0.0028655 | 2.0357e-06 | 1.084e-06 | 0.017515 | 0.017515 | 0.017515 | 0.97082 | -0.56418 | 0.97101 | -0.56044 | 4.8118
25 | 0.0018181 | 0.0004555 | -0.0018181 | -0.00045565 | 4.3909e-08 | -1.5833e-07 | 0.0027866 | 0.0027867 | 0.0027867 | 0.97082 | -0.56418 | 0.9708 | -0.56468 | 0.76558
26 | 0.0037971 | 0.00095122 | -0.0037969 | -0.00095129 | 1.9185e-07 | -7.6254e-08 | 0.0057279 | 0.0057279 | 0.0057279 | 0.98641 | -0.2603 | 0.98635 | -0.26137 | 1.5736
27 | -0.0067124 | -0.0016819 | 0.0067132 | 0.0016821 | 7.7867e-07 | 2.3979e-07 | 0.010126 | 0.010126 | 0.010126 | 0.98641 | -0.2603 | 0.98653 | -0.25787 | 2.7818
28 | 0.0019463 | 0.00048749 | -0.0019462 | -0.00048777 | 8.5526e-08 | -2.8291e-07 | 0.0029361 | 0.0029362 | 0.0029362 | 0.98635 | -0.26137 | 0.98631 | -0.26229 | 0.80666
29 | -0.011079 | -0.0027763 | 0.011081 | 0.0027772 | 1.7043e-06 | 8.8291e-07 | 0.016711 | 0.016711 | 0.016711 | 0.98653 | -0.25787 | 0.9867 | -0.25464 | 4.5909
30 | -0.014724 | -0.0036903 | 0.014728 | 0.0036927 | 4.1829e-06 | 2.388e-06 | 0.022205 | 0.022205 | 0.022205 | 0.9867 | -0.25464 | 0.987 | -0.24868 | 6.1004
31 | -0.019065 | -0.0047795 | 0.019072 | 0.0047838 | 7.0398e-06 | 4.215e-06 | 0.028743 | 0.028743 | 0.028743 | 0.987 | -0.24868 | 0.9874 | -0.24093 | 7.8964
32 | -0.028058 | -0.0070358 | 0.028086 | 0.0070536 | 2.8688e-05 | 1.7813e-05 | 0.042284 | 0.042284 | 0.042284 | 0.9874 | -0.24093 | 0.9885 | -0.2195 | 11.6165
33 | 0.0089856 | 0.0022521 | -0.0089847 | -0.0022517 | 8.6198e-07 | 3.9134e-07 | 0.013541 | 0.013541 | 0.013541 | 0.9874 | -0.24093 | 0.9873 | -0.24295 | 3.7202
34 | 0.02192 | 0.0055001 | -0.021919 | -0.0054989 | 1.8259e-06 | 1.1126e-06 | 0.033196 | 0.033196 | 0.033196 | 0.98265 | -0.33254 | 0.98256 | -0.33428 | 9.1199
35 | -0.025035 | -0.0062806 | 0.025035 | 0.0062809 | 6.0678e-07 | 3.7408e-07 | 0.037912 | 0.037912 | 0.037912 | 0.98265 | -0.33254 | 0.98267 | -0.33203 | 10.4154
36 | 0.020138 | 0.0050528 | -0.020126 | -0.0050454 | 1.2163e-05 | 7.3431e-06 | 0.0305 | 0.0305 | 0.0305 | 0.98256 | -0.33428 | 0.98191 | -0.34696 | 8.3792
37 | -0.026817 | -0.0067275 | 0.026831 | 0.0067361 | 1.3787e-05 | 8.5414e-06 | 0.04061 | 0.04061 | 0.04061 | 0.98267 | -0.33203 | 0.98323 | -0.32125 | 11.1567
38 | 0.013423 | 0.0033655 | -0.013419 | -0.0033629 | 4.6984e-06 | 2.6241e-06 | 0.020343 | 0.020343 | 0.020343 | 0.98191 | -0.34696 | 0.98154 | -0.35431 | 5.5886
39 | -0.02903 | -0.0072872 | 0.029037 | 0.0072914 | 6.7106e-06 | 4.1772e-06 | 0.043938 | 0.043938 | 0.043938 | 0.98323 | -0.32125 | 0.98347 | -0.31641 | 12.0709
40 | 0.0050367 | 0.0012622 | -0.005036 | -0.0012621 | 6.7047e-07 | 4.1559e-08 | 0.0076356 | 0.0076357 | 0.0076357 | 0.98154 | -0.35431 | 0.98139 | -0.3571 | 2.0977
41 | -0.031235 | -0.0078424 | 0.031252 | 0.0078527 | 1.6386e-05 | 1.0239e-05 | 0.047265 | 0.047265 | 0.047265 | 0.98347 | -0.31641 | 0.98404 | -0.30542 | 12.9849
42 | 0.08954 | 0.022674 | -0.089433 | -0.022605 | 0.00010767 | 6.8114e-05 | 0.13548 | 0.13548 | 0.13548 | 0.98404 | -0.30542 | 0.98275 | -0.33049 | 18.6102
43 | -0.12079 | -0.030526 | 0.12105 | 0.030692 | 0.00026042 | 0.00016561 | 0.18275 | 0.18275 | 0.18275 | 0.98404 | -0.30542 | 0.98635 | -0.26055 | 25.1026
44 | -0.0046645 | -0.001169 | 0.0046649 | 0.001169 | 3.6822e-07 | -1.8343e-08 | 0.0070308 | 0.0070307 | 0.0070308 | 0.98721 | -0.2446 | 0.9873 | -0.24295 | 1.9315
45 | -0.10668 | -0.026901 | 0.10713 | 0.027184 | 0.00044268 | 0.00028273 | 0.16065 | 0.16065 | 0.16065 | 0.9885 | -0.2195 | 0.99298 | -0.1332 | 44.1348
46 | 0.011974 | 0.0030021 | -0.011969 | -0.0029992 | 5.3366e-06 | 2.8542e-06 | 0.018025 | 0.018025 | 0.018025 | 0.9885 | -0.2195 | 0.98802 | -0.22886 | 4.9519
47 | 0.066623 | 0.016846 | -0.066445 | -0.016732 | 0.00017775 | 0.00011316 | 0.10034 | 0.10034 | 0.10034 | 0.9885 | -0.2195 | 0.98563 | -0.27529 | 27.5665
48 | 0.15103 | 0.038542 | -0.15087 | -0.038441 | 0.00015855 | 0.00010105 | 0.22657 | 0.22657 | 0.22657 | 0.99298 | -0.1332 | 0.99185 | -0.15495 | 31.1219
49 | -0.25815 | -0.065726 | 0.25893 | 0.066224 | 0.00077815 | 0.00049729 | 0.38722 | 0.38722 | 0.38722 | 0.99298 | -0.1332 | 0.99625 | -0.070893 | 53.1893
50 | 0.010259 | 0.0025709 | -0.010259 | -0.0025707 | 3.2799e-07 | 1.63e-07 | 0.015451 | 0.015451 | 0.015451 | 0.98802 | -0.22886 | 0.98799 | -0.22953 | 4.2448
51 | 0.057965 | 0.014607 | -0.057901 | -0.014567 | 6.3914e-05 | 4.0622e-05 | 0.087539 | 0.08754 | 0.08754 | 0.98563 | -0.27529 | 0.98444 | -0.29837 | 24.0493
52 | -0.005942 | -0.0014892 | 0.005943 | 0.0014894 | 1.0438e-06 | 2.3221e-07 | 0.0089968 | 0.0089966 | 0.0089968 | 0.98277 | -0.33089 | 0.98296 | -0.3272 | 2.4716
53 | -0.0094807 | -0.0023761 | 0.0094813 | 0.0023764 | 6.4081e-07 | 3.0495e-07 | 0.014352 | 0.014352 | 0.014352 | 0.98296 | -0.3272 | 0.98303 | -0.32578 | 3.9428
54 | -0.048008 | -0.012062 | 0.04803 | 0.012076 | 2.2374e-05 | 1.4176e-05 | 0.07268 | 0.07268 | 0.07268 | 0.98303 | -0.32578 | 0.98353 | -0.31602 | 19.9671
55 | 0.038526 | 0.0096854 | -0.038465 | -0.0096468 | 6.1224e-05 | 3.8576e-05 | 0.058328 | 0.058328 | 0.058328 | 0.98303 | -0.32578 | 0.98133 | -0.35912 | 16.0243
56 | -0.051514 | -0.012949 | 0.051557 | 0.012977 | 4.3468e-05 | 2.7577e-05 | 0.07795 | 0.07795 | 0.07795 | 0.98353 | -0.31602 | 0.98444 | -0.29837 | 21.415
57 | 0.027896 | 0.006998 | -0.027883 | -0.0069899 | 1.2965e-05 | 8.0539e-06 | 0.042303 | 0.042303 | 0.042303 | 0.98133 | -0.35912 | 0.98083 | -0.36887 | 11.6216
58 | 0.019194 | 0.0048121 | -0.019189 | -0.0048093 | 4.6875e-06 | 2.814e-06 | 0.02912 | 0.02912 | 0.02912 | 0.98083 | -0.36887 | 0.98057 | -0.374 | 7.9999
59 | 0.0086301 | 0.002163 | -0.0086298 | -0.0021628 | 3.0827e-07 | 1.3683e-07 | 0.013096 | 0.013096 | 0.013096 | 0.98057 | -0.374 | 0.98053 | -0.37475 | 3.5979
60 | 0.14698 | 0.037465 | -0.14659 | -0.037221 | 0.0003838 | 0.00024455 | 0.22072 | 0.22072 | 0.22072 | 0.99185 | -0.15495 | 0.98902 | -0.20921 | 30.3193
61 | -0.26457 | -0.067638 | 0.26463 | 0.067674 | 5.7195e-05 | 3.6554e-05 | 0.39564 | 0.39564 | 0.39564 | 0.99625 | -0.070893 | 0.99649 | -0.066426 | 54.3466
62 | 0.0053613 | 0.0013432 | -0.0053607 | -0.0013431 | 6.3636e-07 | 7.4004e-08 | 0.0080745 | 0.0080746 | 0.0080746 | 0.98799 | -0.22953 | 0.98786 | -0.23202 | 2.2183
63 | 0.13934 | 0.035404 | -0.13925 | -0.035345 | 9.3591e-05 | 5.9608e-05 | 0.20982 | 0.20982 | 0.20982 | 0.98902 | -0.20921 | 0.98829 | -0.22317 | 28.8215
64 | 0.0072478 | 0.0018164 | -0.0072472 | -0.0018161 | 6.3428e-07 | 2.2342e-07 | 0.010905 | 0.010905 | 0.010905 | 0.98902 | -0.20921 | 0.98892 | -0.21104 | 2.9958
65 | -0.26931 | -0.068846 | 0.27018 | 0.069401 | 0.00086845 | 0.00055506 | 0.40263 | 0.40262 | 0.40263 | 0.99649 | -0.066426 | 1 | 0 | 55.3056
66 | 0.0027131 | 0.0006796 | -0.0027129 | -0.00067992 | 2.2521e-07 | -3.1619e-07 | 0.0040867 | 0.0040868 | 0.0040868 | 0.98786 | -0.23202 | 0.98777 | -0.23376 | 1.1228
67 | 0.0025926 | 0.00064969 | -0.0025926 | -0.00064976 | 3.9305e-08 | -6.7237e-08 | 0.0038578 | 0.0038578 | 0.0038578 | 1 | 0 | 0.99998 | -0.00031825 | 1.0598
68 | 0.13775 | 0.034969 | -0.13775 | -0.034966 | 5.4958e-06 | 3.4999e-06 | 0.20756 | 0.20756 | 0.20756 | 0.98829 | -0.22317 | 0.98825 | -0.224 | 28.5116
69 | 0.0055776 | 0.0013977 | -0.0055776 | -0.0013977 | 2.1118e-09 | 3.254e-10 | 0.0083924 | 0.0083924 | 0.0083924 | 0.98892 | -0.21104 | 0.98892 | -0.21105 | 2.3056
70 | -0.1273 | -0.032258 | 0.12732 | 0.032273 | 2.4704e-05 | 1.5719e-05 | 0.19217 | 0.19217 | 0.19217 | 0.98635 | -0.26055 | 0.98656 | -0.25651 | 26.3971
71 | -0.13324 | -0.033755 | 0.13345 | 0.033888 | 0.00020847 | 0.00013272 | 0.20109 | 0.20109 | 0.20109 | 0.98656 | -0.25651 | 0.98825 | -0.224 | 27.622
72 | 0.012504 | 0.0031342 | -0.012503 | -0.0031339 | 5.2424e-07 | 2.861e-07 | 0.018932 | 0.018932 | 0.018932 | 0.98275 | -0.33049 | 0.9827 | -0.33137 | 5.2012
73 | 0.076929 | 0.019471 | -0.076917 | -0.019464 | 1.1655e-05 | 7.343e-06 | 0.11655 | 0.11655 | 0.11655 | 0.98275 | -0.33049 | 0.98258 | -0.33365 | 16.0096
74 | 0.01002 | 0.0025116 | -0.010019 | -0.002511 | 1.2653e-06 | 6.2415e-07 | 0.015173 | 0.015173 | 0.015173 | 0.9827 | -0.33137 | 0.98257 | -0.33402 | 4.1684
75 | 0.07437 | 0.018826 | -0.074317 | -0.018792 | 5.3029e-05 | 3.3375e-05 | 0.11269 | 0.11269 | 0.11269 | 0.98258 | -0.33365 | 0.98182 | -0.34851 | 15.4798
76 | 0.0072212 | 0.0018098 | -0.0072208 | -0.0018097 | 3.9097e-07 | 1.3981e-07 | 0.010936 | 0.010936 | 0.010936 | 0.98257 | -0.33402 | 0.98251 | -0.33516 | 3.0044
77 | 0.071843 | 0.018172 | -0.071827 | -0.018162 | 1.5559e-05 | 9.781e-06 | 0.10894 | 0.10894 | 0.10894 | 0.98182 | -0.34851 | 0.98159 | -0.35303 | 14.9647
78 | -0.065408 | -0.016531 | 0.065412 | 0.016533 | 3.7388e-06 | 2.3418e-06 | 0.099299 | 0.099299 | 0.099299 | 0.98065 | -0.37131 | 0.98071 | -0.37012 | 13.64
79 | 0.069274 | 0.017522 | -0.06923 | -0.017495 | 4.3885e-05 | 2.7551e-05 | 0.10507 | 0.10507 | 0.10507 | 0.98159 | -0.35303 | 0.98091 | -0.36624 | 14.433
80 | 0.067345 | 0.017022 | -0.067332 | -0.017014 | 1.2514e-05 | 7.848e-06 | 0.10221 | 0.10221 | 0.10221 | 0.98091 | -0.36624 | 0.98071 | -0.37012 | 14.0402
81 | -0.00079323 | -0.0001988 | 0.00079323 | 0.00019873 | 3.4289e-09 | -7.512e-08 | 0.0012125 | 0.0012125 | 0.0012125 | 0.97344 | -0.51257 | 0.97344 | -0.51248 | 0.33312
82 | 0.003184 | 0.00079781 | -0.0031839 | -0.00079795 | 1.6747e-07 | -1.4244e-07 | 0.0047909 | 0.004791 | 0.004791 | 0.98892 | -0.21105 | 0.98887 | -0.21216 | 1.3162
83 | -0.011429 | -0.0028655 | 0.011431 | 0.0028666 | 2.0438e-06 | 1.0882e-06 | 0.017515 | 0.017515 | 0.017515 | 0.97101 | -0.56044 | 0.9712 | -0.55669 | 4.8118

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27922 | 0.071255

## res_load
| p_mw | q_mvar
0 | 0.0027039 | 0.00067765
1 | 0.0042408 | 0.0010629
2 | 0.0033035 | 0.00082795
3 | 0.0034625 | 0.0008678
4 | 0.0032717 | 0.00081996
5 | 0.0020878 | 0.00052326
6 | 0.0033852 | 0.00084841
7 | 0.0032245 | 0.00080815
8 | 0.0058364 | 0.0014627
9 | 0.0080739 | 0.0020235
10 | 0.0018175 | 0.0004555
11 | 0.0016024 | 0.00040159
12 | 0.0022605 | 0.00056653
13 | 0.00153 | 0.00038346
14 | 0.0029153 | 0.00073064
15 | 0.0018506 | 0.00046381
16 | 0.004366 | 0.0010942
17 | 0.0019462 | 0.00048777
18 | 0.0036434 | 0.00091312
19 | 0.0043365 | 0.0010868
20 | 0.0031143 | 0.00078051
21 | 0.0017803 | 0.00044618
22 | 0.0017818 | 0.00044656
23 | 0.0067029 | 0.0016799
24 | 0.002199 | 0.00055112
25 | 0.008382 | 0.0021007
26 | 0.0021988 | 0.00055107
27 | 0.005036 | 0.0012621
28 | 0.0046645 | 0.001169
29 | 0.0043198 | 0.0010826
30 | 0.0017092 | 0.00042836
31 | 0.0084802 | 0.0021253
32 | 0.005942 | 0.0014892
33 | 0.0035376 | 0.00088662
34 | 0.0034836 | 0.00087307
35 | 0.010569 | 0.0026488
36 | 0.0086896 | 0.0021778
37 | 0.010559 | 0.0026464
38 | 0.0086298 | 0.0021628
39 | 0.006344 | 0.0015899
40 | 0.0038948 | 0.00097612
41 | 0.0056412 | 0.0014138
42 | 0.0048977 | 0.0012275
43 | 0.0046757 | 0.0011718
44 | 0.0026475 | 0.00066353
45 | 0.004804 | 0.001204
46 | 0.0025926 | 0.00064976
47 | 0.0014981 | 0.00037546
48 | 0.0016696 | 0.00041845
49 | 0.006247 | 0.0015657
50 | 0.0059123 | 0.0014817
51 | 0.0043015 | 0.0010781
52 | 0.0024829 | 0.00062227
53 | 0.0025471 | 0.00063836
54 | 0.0027978 | 0.00070119
55 | 0.0024746 | 0.00062019
56 | 0.001608 | 0.000403
57 | 0.0083809 | 0.0021005
58 | 0.0032099 | 0.00080447
59 | 0.0027129 | 0.00067992
60 | 0.0025532 | 0.00063989
61 | 0.0018853 | 0.00047251
62 | 0.0019203 | 0.00048128
63 | 0.0072208 | 0.0018097
64 | 0.00079323 | 0.0001988
65 | 0.00082008 | 0.00020553
66 | 0.0023935 | 0.00059988
67 | 0.0031839 | 0.00079795
68 | 0.0018181 | 0.00045565
69 | 0.0015981 | 0.00040053

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1