## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2493-9_1_4_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_2493-9_1_4_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_2493-9_1_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2493-9_1_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2493-9_1_4_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_2493-9_1_4_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_2493-9_1_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2493-9_1_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_2493-9_1_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_2493-9_1_4_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_2493-9_1_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_2493-9_1_4_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_2493-9_1_4_node_105 | 0.4 | n |  | TRUE
13 | bus_LV_2493-9_1_4_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_2493-9_1_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_2493-9_1_4_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_2493-9_1_4_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_2493-9_1_4_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_2493-9_1_4_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_2493-9_1_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_2493-9_1_4_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_2493-9_1_4_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_2493-9_1_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_2493-9_1_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_2493-9_1_4_node_133 | 0.4 | n |  | TRUE
25 | bus_LV_2493-9_1_4_node_111 | 0.4 | n |  | TRUE
26 | bus_LV_2493-9_1_4_node_166 | 0.4 | n |  | TRUE
27 | bus_LV_2493-9_1_4_node_114 | 0.4 | n |  | TRUE
28 | bus_LV_2493-9_1_4_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_2493-9_1_4_node_112 | 0.4 | n |  | TRUE
30 | bus_LV_2493-9_1_4_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_2493-9_1_4_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_2493-9_1_4_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_2493-9_1_4_node_122 | 0.4 | n |  | TRUE
34 | bus_LV_2493-9_1_4_node_106 | 0.4 | n |  | TRUE
35 | bus_LV_2493-9_1_4_node_107 | 0.4 | n |  | TRUE
36 | bus_LV_2493-9_1_4_node_109 | 0.4 | n |  | TRUE
37 | bus_LV_2493-9_1_4_node_119 | 0.4 | n |  | TRUE
38 | bus_LV_2493-9_1_4_node_113 | 0.4 | n |  | TRUE
39 | bus_LV_2493-9_1_4_node_121 | 0.4 | n |  | TRUE
40 | bus_LV_2493-9_1_4_node_120 | 0.4 | n |  | TRUE
41 | bus_LV_2493-9_1_4_node_173 | 0.4 | n |  | TRUE
42 | bus_LV_2493-9_1_4_node_134 | 0.4 | n |  | TRUE
43 | bus_LV_2493-9_1_4_node_140 | 0.4 | n |  | TRUE
44 | bus_LV_2493-9_1_4_node_141 | 0.4 | n |  | TRUE
45 | bus_LV_2493-9_1_4_node_142 | 0.4 | n |  | TRUE
46 | bus_LV_2493-9_1_4_node_143 | 0.4 | n |  | TRUE
47 | bus_LV_2493-9_1_4_node_144 | 0.4 | n |  | TRUE
48 | bus_LV_2493-9_1_4_node_146 | 0.4 | n |  | TRUE
49 | bus_LV_2493-9_1_4_node_168 | 0.4 | n |  | TRUE
50 | bus_LV_2493-9_1_4_node_167 | 0.4 | n |  | TRUE
51 | bus_LV_2493-9_1_4_node_145 | 0.4 | n |  | TRUE
52 | bus_LV_2493-9_1_4_node_147 | 0.4 | n |  | TRUE
53 | bus_LV_2493-9_1_4_node_164 | 0.4 | n |  | TRUE
54 | bus_LV_2493-9_1_4_node_148 | 0.4 | n |  | TRUE
55 | bus_LV_2493-9_1_4_node_150 | 0.4 | n |  | TRUE
56 | bus_LV_2493-9_1_4_node_151 | 0.4 | n |  | TRUE
57 | bus_LV_2493-9_1_4_node_153 | 0.4 | n |  | TRUE
58 | bus_LV_2493-9_1_4_node_154 | 0.4 | n |  | TRUE
59 | bus_LV_2493-9_1_4_node_155 | 0.4 | n |  | TRUE
60 | bus_LV_2493-9_1_4_node_160 | 0.4 | n |  | TRUE
61 | bus_LV_2493-9_1_4_node_158 | 0.4 | n |  | TRUE
62 | bus_LV_2493-9_1_4_node_156 | 0.4 | n |  | TRUE
63 | bus_LV_2493-9_1_4_node_157 | 0.4 | n |  | TRUE
64 | bus_LV_2493-9_1_4_node_190 | 0.4 | n |  | TRUE
65 | bus_LV_2493-9_1_4_node_159 | 0.4 | n |  | TRUE
66 | bus_LV_2493-9_1_4_node_163 | 0.4 | n |  | TRUE
67 | bus_LV_2493-9_1_4_node_180 | 0.4 | n |  | TRUE
68 | bus_LV_2493-9_1_4_node_162 | 0.4 | n |  | TRUE
69 | bus_LV_2493-9_1_4_node_165 | 0.4 | n |  | TRUE
70 | bus_LV_2493-9_1_4_node_174 | 0.4 | n |  | TRUE
71 | bus_LV_2493-9_1_4_node_171 | 0.4 | n |  | TRUE
72 | bus_LV_2493-9_1_4_node_170 | 0.4 | n |  | TRUE
73 | bus_LV_2493-9_1_4_node_195 | 0.4 | n |  | TRUE
74 | bus_LV_2493-9_1_4_node_172 | 0.4 | n |  | TRUE
75 | bus_LV_2493-9_1_4_node_175 | 0.4 | n |  | TRUE
76 | bus_LV_2493-9_1_4_node_182 | 0.4 | n |  | TRUE
77 | bus_LV_2493-9_1_4_node_186 | 0.4 | n |  | TRUE
78 | bus_LV_2493-9_1_4_node_176 | 0.4 | n |  | TRUE
79 | bus_LV_2493-9_1_4_node_177 | 0.4 | n |  | TRUE
80 | bus_LV_2493-9_1_4_node_178 | 0.4 | n |  | TRUE
81 | bus_LV_2493-9_1_4_node_179 | 0.4 | n |  | TRUE
82 | bus_LV_2493-9_1_4_node_181 | 0.4 | n |  | TRUE
83 | bus_LV_2493-9_1_4_node_183 | 0.4 | n |  | TRUE
84 | bus_LV_2493-9_1_4_node_185 | 0.4 | n |  | TRUE
85 | bus_LV_2493-9_1_4_node_187 | 0.4 | n |  | TRUE
86 | bus_LV_2493-9_1_4_node_188 | 0.4 | n |  | TRUE
87 | bus_LV_2493-9_1_4_node_189 | 0.4 | n |  | TRUE
88 | bus_LV_2493-9_1_4_node_191 | 0.4 | n |  | TRUE
89 | bus_LV_2493-9_1_4_node_192 | 0.4 | n |  | TRUE
90 | bus_MV_291_1_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2493-9_1_4_load_4 | 0 | 0.0020957 | 0.00052523 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2493-9_1_4_load_5 | 1 | 0.002257 | 0.00056567 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2493-9_1_4_load_6 | 2 | 0.022967 | 0.0057562 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2493-9_1_4_load_7 | 3 | 0.0016164 | 0.00040512 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2493-9_1_4_load_53 | 4 | 0.001852 | 0.00046416 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2493-9_1_4_load_31 | 5 | 0.0032113 | 0.00080484 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2493-9_1_4_load_32 | 6 | 0.0035186 | 0.00088184 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2493-9_1_4_load_34 | 8 | 0.0043854 | 0.0010991 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2493-9_1_4_load_35 | 9 | 0.0016824 | 0.00042166 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2493-9_1_4_load_36 | 10 | 0.0017794 | 0.00044595 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2493-9_1_4_load_63 | 11 | 0.0017219 | 0.00043154 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2493-9_1_4_load_105 | 12 | 0.0017174 | 0.00043042 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2493-9_1_4_load_88 | 13 | 0.0032187 | 0.00080668 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2493-9_1_4_load_42 | 14 | 0.0030102 | 0.00075443 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2493-9_1_4_load_43 | 15 | 0.011839 | 0.0029673 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2493-9_1_4_load_45 | 16 | 0.0025391 | 0.00063637 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2493-9_1_4_load_82 | 17 | 0.0026841 | 0.0006727 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2493-9_1_4_load_47 | 18 | 0.015536 | 0.0038936 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2493-9_1_4_load_48 | 19 | 0.012788 | 0.0032051 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2493-9_1_4_load_50 | 21 | 0.020449 | 0.005125 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2493-9_1_4_load_52 | 23 | 0.021366 | 0.0053547 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2493-9_1_4_load_133 | 24 | 0.011345 | 0.0028434 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2493-9_1_4_load_111 | 25 | 0.0019346 | 0.00048486 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2493-9_1_4_load_166 | 26 | 0.0032739 | 0.00082051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2493-9_1_4_load_114 | 27 | 0.0020895 | 0.00052368 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2493-9_1_4_load_83 | 28 | 0.0028698 | 0.00071923 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2493-9_1_4_load_86 | 30 | 0.0026143 | 0.00065521 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2493-9_1_4_load_87 | 31 | 0.0017086 | 0.00042823 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2493-9_1_4_load_89 | 32 | 0.0023347 | 0.00058514 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2493-9_1_4_load_122 | 33 | 0.0060724 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2493-9_1_4_load_106 | 34 | 0.0024703 | 0.00061912 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2493-9_1_4_load_107 | 35 | 0.001041 | 0.00026091 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2493-9_1_4_load_109 | 36 | 0.0016331 | 0.00040931 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2493-9_1_4_load_119 | 37 | 0.001613 | 0.00040426 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2493-9_1_4_load_113 | 38 | 0.0011009 | 0.00027592 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2493-9_1_4_load_121 | 39 | 0.0010955 | 0.00027455 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2493-9_1_4_load_120 | 40 | 0.0016331 | 0.00040931 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2493-9_1_4_load_134 | 42 | 0.0055241 | 0.0013845 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2493-9_1_4_load_140 | 43 | 0.0033062 | 0.00082861 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2493-9_1_4_load_144 | 47 | 0.05118 | 0.012827 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2493-9_1_4_load_146 | 48 | 0.0059974 | 0.0015031 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2493-9_1_4_load_167 | 50 | 0.002665 | 0.0006679 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2493-9_1_4_load_145 | 51 | 0.0061392 | 0.0015386 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2493-9_1_4_load_148 | 54 | 0.0020427 | 0.00051195 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2493-9_1_4_load_150 | 55 | 0.0017743 | 0.00044467 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2493-9_1_4_load_151 | 56 | 0.0024046 | 0.00060265 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2493-9_1_4_load_154 | 58 | 0.0034975 | 0.00087655 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2493-9_1_4_load_158 | 61 | 0.0019875 | 0.00049812 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2493-9_1_4_load_190 | 64 | 0.00089303 | 0.00022381 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2493-9_1_4_load_159 | 65 | 0.0062841 | 0.001575 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2493-9_1_4_load_180 | 67 | 0.0033174 | 0.00083142 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2493-9_1_4_load_162 | 68 | 0.0031628 | 0.00079268 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2493-9_1_4_load_165 | 69 | 0.025172 | 0.0063088 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2493-9_1_4_load_174 | 70 | 0.0062728 | 0.0015721 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2493-9_1_4_load_171 | 71 | 0.0066124 | 0.0016572 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2493-9_1_4_load_195 | 73 | 0.006264 | 0.0015699 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2493-9_1_4_load_172 | 74 | 0.0022834 | 0.00057228 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2493-9_1_4_load_186 | 77 | 0.0029682 | 0.00074389 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2493-9_1_4_load_176 | 78 | 0.0099887 | 0.0025034 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2493-9_1_4_load_177 | 79 | 0.0024082 | 0.00060356 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2493-9_1_4_load_178 | 80 | 0.00086005 | 0.00021555 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2493-9_1_4_load_179 | 81 | 0.011487 | 0.0028789 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2493-9_1_4_load_181 | 82 | 0.006715 | 0.0016829 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2493-9_1_4_load_183 | 83 | 0.0072351 | 0.0018133 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2493-9_1_4_load_185 | 84 | 0.0021088 | 0.00052851 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2493-9_1_4_load_188 | 86 | 0.011767 | 0.0029491 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2493-9_1_4_load_189 | 87 | 0.01185 | 0.0029698 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2493-9_1_4_load_191 | 88 | 0.00089333 | 0.00022389 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2493-9_1_4_load_192 | 89 | 0.0042465 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2493-9_1_4_line_0 |  | 0 | 1 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2493-9_1_4_line_1 |  | 0 | 2 | 0.0096949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2493-9_1_4_line_2 |  | 1 | 3 | 0.00036798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2493-9_1_4_line_3 |  | 3 | 4 | 0.016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2493-9_1_4_line_4 |  | 4 | 27 | 0.016905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2493-9_1_4_line_5 |  | 5 | 6 | 0.013888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2493-9_1_4_line_6 |  | 5 | 7 | 0.00084488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2493-9_1_4_line_7 |  | 6 | 8 | 0.0056693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2493-9_1_4_line_8 |  | 7 | 9 | 0.032877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2493-9_1_4_line_9 |  | 7 | 10 | 0.017383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2493-9_1_4_line_10 |  | 8 | 11 | 0.046981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2493-9_1_4_line_11 |  | 9 | 12 | 0.00027032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2493-9_1_4_line_12 |  | 10 | 13 | 0.0027371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2493-9_1_4_line_13 |  | 12 | 34 | 0.00046354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2493-9_1_4_line_14 |  | 13 | 30 | 0.0096901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2493-9_1_4_line_15 |  | 14 | 15 | 0.0024591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2493-9_1_4_line_16 |  | 15 | 16 | 0.023631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2493-9_1_4_line_17 |  | 16 | 17 | 0.0085627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2493-9_1_4_line_18 |  | 17 | 22 | 0.01253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2493-9_1_4_line_19 |  | 18 | 19 | 0.0048665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2493-9_1_4_line_20 |  | 18 | 20 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2493-9_1_4_line_21 |  | 19 | 21 | 0.019691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2493-9_1_4_line_22 |  | 20 | 22 | 0.006929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2493-9_1_4_line_23 |  | 20 | 23 | 0.026244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2493-9_1_4_line_24 |  | 21 | 24 | 0.004203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2493-9_1_4_line_25 |  | 22 | 25 | 0.040315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2493-9_1_4_line_26 |  | 23 | 26 | 0.042687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2493-9_1_4_line_27 |  | 24 | 42 | 0.015446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2493-9_1_4_line_28 |  | 25 | 29 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2493-9_1_4_line_29 |  | 26 | 63 | 0.03349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2493-9_1_4_line_30 |  | 27 | 29 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2493-9_1_4_line_31 |  | 28 | 29 | 0.015569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2493-9_1_4_line_32 |  | 29 | 38 | 0.041886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2493-9_1_4_line_33 |  | 30 | 31 | 0.016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2493-9_1_4_line_34 |  | 31 | 32 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_2493-9_1_4_line_35 |  | 32 | 33 | 0.0055217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2493-9_1_4_line_36 |  | 33 | 41 | 0.025446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2493-9_1_4_line_37 |  | 34 | 35 | 0.00024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2493-9_1_4_line_38 |  | 35 | 36 | 0.021178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2493-9_1_4_line_39 |  | 36 | 37 | 0.00069978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2493-9_1_4_line_40 |  | 37 | 40 | 0.00024929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2493-9_1_4_line_41 |  | 38 | 39 | 0.00019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_2493-9_1_4_line_42 |  | 39 | 40 | 0.0014862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2493-9_1_4_line_43 |  | 41 | 75 | 0.009201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_2493-9_1_4_line_44 |  | 41 | 74 | 0.028106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_2493-9_1_4_line_45 |  | 43 | 44 | 0.01735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2493-9_1_4_line_46 |  | 43 | 45 | 0.027312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_2493-9_1_4_line_47 |  | 44 | 46 | 0.034986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_2493-9_1_4_line_48 |  | 44 | 47 | 0.0044544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2493-9_1_4_line_49 |  | 45 | 48 | 0.0048239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_2493-9_1_4_line_50 |  | 46 | 49 | 0.043301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2493-9_1_4_line_51 |  | 46 | 50 | 0.0088005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2493-9_1_4_line_52 |  | 48 | 53 | 0.02789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2493-9_1_4_line_53 |  | 49 | 70 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2493-9_1_4_line_54 |  | 49 | 71 | 0.032205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2493-9_1_4_line_55 |  | 51 | 52 | 0.015906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2493-9_1_4_line_56 |  | 52 | 54 | 0.02765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2493-9_1_4_line_57 |  | 53 | 54 | 0.0072645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2493-9_1_4_line_58 |  | 53 | 68 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2493-9_1_4_line_59 |  | 55 | 56 | 0.050059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2493-9_1_4_line_60 |  | 56 | 57 | 0.01908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2493-9_1_4_line_61 |  | 57 | 58 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2493-9_1_4_line_62 |  | 57 | 59 | 0.016835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_2493-9_1_4_line_63 |  | 59 | 60 | 0.039058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2493-9_1_4_line_64 |  | 59 | 61 | 0.019082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2493-9_1_4_line_65 |  | 60 | 66 | 0.030168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_2493-9_1_4_line_66 |  | 60 | 67 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_2493-9_1_4_line_67 |  | 61 | 65 | 0.0072159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2493-9_1_4_line_68 |  | 62 | 63 | 0.00338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_2493-9_1_4_line_69 |  | 62 | 64 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_2493-9_1_4_line_70 |  | 64 | 87 | 0.020398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2493-9_1_4_line_71 |  | 66 | 69 | 0.013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2493-9_1_4_line_72 |  | 66 | 68 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_2493-9_1_4_line_73 |  | 67 | 80 | 0.00069779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_2493-9_1_4_line_74 |  | 70 | 72 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2493-9_1_4_line_75 |  | 71 | 74 | 0.017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_2493-9_1_4_line_76 |  | 72 | 73 | 0.015744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2493-9_1_4_line_77 |  | 75 | 76 | 0.068233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2493-9_1_4_line_78 |  | 75 | 77 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_2493-9_1_4_line_79 |  | 76 | 82 | 0.00020744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2493-9_1_4_line_80 |  | 77 | 84 | 0.028188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2493-9_1_4_line_81 |  | 78 | 79 | 0.0038645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2493-9_1_4_line_82 |  | 78 | 80 | 0.026176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_2493-9_1_4_line_83 |  | 79 | 81 | 0.0088444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2493-9_1_4_line_84 |  | 82 | 83 | 0.018175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2493-9_1_4_line_85 |  | 84 | 85 | 0.005654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2493-9_1_4_line_86 |  | 85 | 86 | 0.023491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2493-9_1_4_line_87 |  | 87 | 88 | 0.0059448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2493-9_1_4_line_88 |  | 88 | 89 | 0.029779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2493-9_1_4_trafo_134 | 0.63 MVA 20/0.4 kV | 90 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2638341.8959 | 1248177.8004 | 2638356.2048 | 1248183.6086
1 | 2638365.1879 | 1248187.255 | 2638356.2048 | 1248183.6086
2 | 2638341.8959 | 1248177.8004 | 2638341.5549 | 1248177.662
3 | 2638341.5549 | 1248177.662 | 2638326.2265 | 1248171.44
4 | 2638326.2265 | 1248171.44 | 2638310.5624 | 1248165.0817
5 | 2638335.2718 | 1248068.9477 | 2638322.4101 | 1248063.7073
6 | 2638336.0543 | 1248069.2665 | 2638335.2718 | 1248068.9477
7 | 2638317.1598 | 1248061.5682 | 2638322.4101 | 1248063.7073
8 | 2638336.0543 | 1248069.2665 | 2638324.4973 | 1248096.6211 | 2638323.2633 | 1248099.5534
9 | 2638336.0543 | 1248069.2665 | 2638351.3418 | 1248075.7918 | 2638352.0428 | 1248076.0873
10 | 2638317.1598 | 1248061.5682 | 2638337.0572 | 1248019.0088
11 | 2638323.1584 | 1248099.8026 | 2638323.2633 | 1248099.5534
12 | 2638352.0428 | 1248076.0873 | 2638354.5649 | 1248077.1506
13 | 2638322.9786 | 1248100.2298 | 2638323.1584 | 1248099.8026
14 | 2638363.4939 | 1248080.9151 | 2638354.5649 | 1248077.1506
15 | 2638236.2683 | 1248224.7812 | 2638238.7212 | 1248224.6064
16 | 2638238.7212 | 1248224.6064 | 2638245.4258 | 1248224.1287 | 2638262.2775 | 1248222.7386
17 | 2638270.8214 | 1248222.1775 | 2638264.4277 | 1248222.5612 | 2638262.2775 | 1248222.7386
18 | 2638283.3286 | 1248221.4268 | 2638270.8214 | 1248222.1775
19 | 2638311.4319 | 1248220.7417 | 2638306.5655 | 1248220.7738
20 | 2638290.2705 | 1248221.0936 | 2638306.3721 | 1248220.775 | 2638306.5655 | 1248220.7738
21 | 2638311.4319 | 1248220.7417 | 2638323.4164 | 1248220.6628 | 2638331.1098 | 1248220.2095
22 | 2638283.3286 | 1248221.4268 | 2638290.2705 | 1248221.0936
23 | 2638290.2705 | 1248221.0936 | 2638289.5453 | 1248247.3272
24 | 2638335.3054 | 1248219.9623 | 2638331.1098 | 1248220.2095
25 | 2638283.3286 | 1248221.4268 | 2638282.7126 | 1248218.5876 | 2638282.7797 | 1248216.3755 | 2638283.6609 | 1248209.7212 | 2638286.9025 | 1248197.7008 | 2638291.3553 | 1248182.2971
26 | 2638288.3656 | 1248289.9974 | 2638288.8025 | 1248274.197 | 2638289.5453 | 1248247.3272
27 | 2638335.3054 | 1248219.9623 | 2638338.3814 | 1248219.7811 | 2638350.6785 | 1248218.4905
28 | 2638297.6203 | 1248161.0902 | 2638292.3402 | 1248178.8901 | 2638291.3553 | 1248182.2971
29 | 2638288.0993 | 1248323.4806 | 2638287.916 | 1248306.257 | 2638288.3656 | 1248289.9974
30 | 2638297.6203 | 1248161.0902 | 2638303.0061 | 1248162.0145 | 2638310.5624 | 1248165.0817
31 | 2638297.6203 | 1248161.0902 | 2638289.5992 | 1248157.8029 | 2638283.1971 | 1248155.2273
32 | 2638297.6203 | 1248161.0902 | 2638304.2025 | 1248145.1332 | 2638311.3523 | 1248127.8235 | 2638313.6438 | 1248122.3899
33 | 2638363.4939 | 1248080.9151 | 2638367.2775 | 1248082.5103 | 2638378.9548 | 1248087.0035
34 | 2638394.8059 | 1248093.2147 | 2638387.8798 | 1248090.4377 | 2638378.9548 | 1248087.0035
35 | 2638399.931 | 1248095.2696 | 2638394.8059 | 1248093.2147
36 | 2638423.9677 | 1248103.4353 | 2638416.9322 | 1248101.8665 | 2638410.0616 | 1248099.3315 | 2638399.931 | 1248095.2696
37 | 2638322.8846 | 1248100.4534 | 2638322.9786 | 1248100.2298
38 | 2638314.664 | 1248119.9709 | 2638318.0627 | 1248111.9118 | 2638322.8846 | 1248100.4534
39 | 2638314.3921 | 1248120.6157 | 2638314.664 | 1248119.9709
40 | 2638314.2952 | 1248120.8454 | 2638314.3921 | 1248120.6157
41 | 2638313.6438 | 1248122.3899 | 2638313.7177 | 1248122.2148
42 | 2638314.2952 | 1248120.8454 | 2638313.7177 | 1248122.2148
43 | 2638423.9677 | 1248103.4353 | 2638424.7369 | 1248094.2676
44 | 2638423.9677 | 1248103.4353 | 2638423.2651 | 1248117.4734 | 2638422.5674 | 1248131.5064
45 | 2638401.3832 | 1248245.3942 | 2638411.1817 | 1248250.5499 | 2638416.4763 | 1248253.9237
46 | 2638421.8256 | 1248274.4123 | 2638427.1173 | 1248260.7042 | 2638416.4763 | 1248253.9237
47 | 2638401.3832 | 1248245.3942 | 2638407.067 | 1248230.5989 | 2638408.9133 | 1248220.6932 | 2638407.6801 | 1248211.7126
48 | 2638401.3832 | 1248245.3942 | 2638399.8358 | 1248249.5712
49 | 2638421.8256 | 1248274.4123 | 2638419.6809 | 1248278.7332
50 | 2638407.6801 | 1248211.7126 | 2638417.1554 | 1248208.4829 | 2638425.0179 | 1248205.9321 | 2638423.4305 | 1248200.3515 | 2638422.5668 | 1248194.9535 | 2638421.9365 | 1248188.5118 | 2638421.8704 | 1248181.2288
51 | 2638407.6801 | 1248211.7126 | 2638402.1521 | 1248212.9443 | 2638399.0483 | 1248213.3984
52 | 2638407.2807 | 1248303.7154 | 2638419.6809 | 1248278.7332
53 | 2638421.8704 | 1248181.2288 | 2638429.2834 | 1248176.9517 | 2638433.0582 | 1248174.7747 | 2638433.9357 | 1248174.5247 | 2638438.339 | 1248173.2412 | 2638442.5973 | 1248175.4549
54 | 2638421.8704 | 1248181.2288 | 2638421.709 | 1248163.0157 | 2638421.6525 | 1248156.5777 | 2638421.9073 | 1248149.0292
55 | 2638438.7165 | 1248318.9067 | 2638445.5942 | 1248304.565
56 | 2638438.7165 | 1248318.9067 | 2638413.8215 | 1248306.8762
57 | 2638407.2807 | 1248303.7154 | 2638413.8215 | 1248306.8762
58 | 2638407.2807 | 1248303.7154 | 2638397.9817 | 1248299.4136
59 | 2638407.6238 | 1248429.6868 | 2638406.7245 | 1248428.0941 | 2638404.1404 | 1248422.507 | 2638400.0766 | 1248413.3858 | 2638396.3931 | 1248404.9897 | 2638392.6953 | 1248397.6387 | 2638387.0362 | 1248386.4725 | 2638385.9212 | 1248384.607
60 | 2638376.8568 | 1248367.861 | 2638379.0507 | 1248373.0676 | 2638381.4858 | 1248377.186 | 2638385.9212 | 1248384.607
61 | 2638376.8568 | 1248367.861 | 2638374.9202 | 1248371.8956 | 2638371.8797 | 1248376.1566 | 2638367.4917 | 1248383.2885 | 2638364.8033 | 1248389.0683
62 | 2638376.8568 | 1248367.861 | 2638377.3327 | 1248365.507 | 2638377.6626 | 1248363.53 | 2638377.5958 | 1248361.0168 | 2638380.8032 | 1248361.3044 | 2638381.7018 | 1248361.2991 | 2638383.8011 | 1248361.3016 | 2638387.1935 | 1248359.8337
63 | 2638387.1935 | 1248359.8337 | 2638385.0453 | 1248355.7393 | 2638381.8876 | 1248347.758 | 2638378.7455 | 1248336.2078 | 2638377.5841 | 1248326.6384 | 2638377.5814 | 1248322.3912
64 | 2638387.1935 | 1248359.8337 | 2638391.531 | 1248364.0312 | 2638398.9364 | 1248370.2276 | 2638401.8127 | 1248372.0215
65 | 2638384.0997 | 1248292.9916 | 2638381.7311 | 1248300.7592 | 2638379.6537 | 1248309.0513 | 2638378.2896 | 1248317.9706 | 2638377.5814 | 1248322.3912
66 | 2638377.5814 | 1248322.3912 | 2638374.4223 | 1248321.6369 | 2638371.7372 | 1248321.1526 | 2638367.4552 | 1248320.0464 | 2638361.0392 | 1248317.0042
67 | 2638401.8127 | 1248372.0215 | 2638407.277 | 1248375.4295 | 2638407.9659 | 1248375.7865
68 | 2638284.709 | 1248323.4476 | 2638288.0993 | 1248323.4806
69 | 2638284.709 | 1248323.4476 | 2638278.2289 | 1248323.6171 | 2638265.1541 | 1248324.1665 | 2638263.3404 | 1248324.2298
70 | 2638242.955 | 1248324.9419 | 2638263.3404 | 1248324.2298
71 | 2638384.0997 | 1248292.9916 | 2638386.3873 | 1248286.0463 | 2638388.6464 | 1248279.7929
72 | 2638384.0997 | 1248292.9916 | 2638397.9817 | 1248299.4136
73 | 2638360.4087 | 1248316.7052 | 2638361.0392 | 1248317.0042
74 | 2638453.9105 | 1248181.3363 | 2638442.5973 | 1248175.4549
75 | 2638421.9073 | 1248149.0292 | 2638422.3534 | 1248135.813 | 2638422.5674 | 1248131.5064
76 | 2638453.9105 | 1248181.3363 | 2638446.5041 | 1248195.229
77 | 2638424.7369 | 1248094.2676 | 2638425.999 | 1248081.3005 | 2638428.6044 | 1248052.1425 | 2638404.6315 | 1248042.2586
78 | 2638424.7369 | 1248094.2676 | 2638438.3447 | 1248098.9588 | 2638442.6241 | 1248100.7954
79 | 2638404.4398 | 1248042.1795 | 2638404.6315 | 1248042.2586
80 | 2638468.5277 | 1248111.9126 | 2638442.6241 | 1248100.7954
81 | 2638337.1363 | 1248304.7344 | 2638333.7248 | 1248302.919
82 | 2638337.1363 | 1248304.7344 | 2638343.4289 | 1248308.0832 | 2638353.9045 | 1248313.6212 | 2638360.4087 | 1248316.7052
83 | 2638325.9172 | 1248298.7639 | 2638333.7248 | 1248302.919
84 | 2638387.6404 | 1248035.2441 | 2638404.4398 | 1248042.1795
85 | 2638473.7234 | 1248114.1425 | 2638468.5277 | 1248111.9126
86 | 2638473.7234 | 1248114.1425 | 2638464.7489 | 1248135.8514
87 | 2638242.955 | 1248324.9419 | 2638237.0138 | 1248325.1495
88 | 2638207.2806 | 1248326.789 | 2638235.5993 | 1248325.1989 | 2638237.0138 | 1248325.1495

## bus_geodata
| x | y | coords
0 | 2638356.2048 | 1248183.6086
1 | 2638341.8959 | 1248177.8004
2 | 2638365.1879 | 1248187.255
3 | 2638341.5549 | 1248177.662
4 | 2638326.2265 | 1248171.44
5 | 2638335.2718 | 1248068.9477
6 | 2638322.4101 | 1248063.7073
7 | 2638336.0543 | 1248069.2665
8 | 2638317.1598 | 1248061.5682
9 | 2638323.2633 | 1248099.5534
10 | 2638352.0428 | 1248076.0873
11 | 2638337.0572 | 1248019.0088
12 | 2638323.1584 | 1248099.8026
13 | 2638354.5649 | 1248077.1506
14 | 2638236.2683 | 1248224.7812
15 | 2638238.7212 | 1248224.6064
16 | 2638262.2775 | 1248222.7386
17 | 2638270.8214 | 1248222.1775
18 | 2638306.5655 | 1248220.7738
19 | 2638311.4319 | 1248220.7417
20 | 2638290.2705 | 1248221.0936
21 | 2638331.1098 | 1248220.2095
22 | 2638283.3286 | 1248221.4268
23 | 2638289.5453 | 1248247.3271
24 | 2638335.3054 | 1248219.9623
25 | 2638291.3553 | 1248182.2971
26 | 2638288.3656 | 1248289.9974
27 | 2638310.5624 | 1248165.0817
28 | 2638283.1971 | 1248155.2273
29 | 2638297.6203 | 1248161.0902
30 | 2638363.4939 | 1248080.9151
31 | 2638378.9548 | 1248087.0035
32 | 2638394.8059 | 1248093.2147
33 | 2638399.931 | 1248095.2696
34 | 2638322.9786 | 1248100.2298
35 | 2638322.8846 | 1248100.4534
36 | 2638314.664 | 1248119.9709
37 | 2638314.3921 | 1248120.6157
38 | 2638313.6438 | 1248122.3899
39 | 2638313.7177 | 1248122.2148
40 | 2638314.2952 | 1248120.8454
41 | 2638423.9677 | 1248103.4353
42 | 2638350.6784 | 1248218.4905
43 | 2638416.4763 | 1248253.9237
44 | 2638401.3832 | 1248245.3942
45 | 2638421.8256 | 1248274.4123
46 | 2638407.6801 | 1248211.7126
47 | 2638399.8358 | 1248249.5712
48 | 2638419.6809 | 1248278.7332
49 | 2638421.8704 | 1248181.2288
50 | 2638399.0483 | 1248213.3984
51 | 2638445.5942 | 1248304.565
52 | 2638438.7165 | 1248318.9067
53 | 2638407.2807 | 1248303.7154
54 | 2638413.8215 | 1248306.8762
55 | 2638407.6238 | 1248429.6868
56 | 2638385.9212 | 1248384.607
57 | 2638376.8568 | 1248367.861
58 | 2638364.8033 | 1248389.0683
59 | 2638387.1935 | 1248359.8337
60 | 2638377.5814 | 1248322.3912
61 | 2638401.8127 | 1248372.0215
62 | 2638284.709 | 1248323.4476
63 | 2638288.0993 | 1248323.4806
64 | 2638263.3404 | 1248324.2298
65 | 2638407.9659 | 1248375.7865
66 | 2638384.0997 | 1248292.9916
67 | 2638361.0392 | 1248317.0042
68 | 2638397.9817 | 1248299.4136
69 | 2638388.6464 | 1248279.7929
70 | 2638442.5973 | 1248175.4549
71 | 2638421.9073 | 1248149.0292
72 | 2638453.9105 | 1248181.3363
73 | 2638446.5041 | 1248195.229
74 | 2638422.5674 | 1248131.5064
75 | 2638424.7369 | 1248094.2676
76 | 2638404.6315 | 1248042.2586
77 | 2638442.6241 | 1248100.7954
78 | 2638337.1363 | 1248304.7344
79 | 2638333.7248 | 1248302.919
80 | 2638360.4087 | 1248316.7052
81 | 2638325.9172 | 1248298.7639
82 | 2638404.4398 | 1248042.1795
83 | 2638387.6404 | 1248035.2441
84 | 2638468.5277 | 1248111.9126
85 | 2638473.7234 | 1248114.1425
86 | 2638464.7489 | 1248135.8514
87 | 2638242.955 | 1248324.9419
88 | 2638237.0138 | 1248325.1495
89 | 2638207.2806 | 1248326.789
90 | 2638407.6801 | 1248211.7126

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98864 | -0.21667 | 0.0020957 | 0.00052523
1 | 0.98899 | -0.20977 | 0.002257 | 0.00056567
2 | 0.98844 | -0.22065 | 0.022967 | 0.0057562
3 | 0.989 | -0.2096 | 0.0016164 | 0.00040512
4 | 0.98944 | -0.20107 | 0.001852 | 0.00046416
5 | 0.9849 | -0.2882 | 0.0032113 | 0.00080484
6 | 0.98478 | -0.2906 | 0.0035186 | 0.00088184
7 | 0.98491 | -0.288 | 0 | 0
8 | 0.98475 | -0.29122 | 0.0043854 | 0.0010991
9 | 0.98664 | -0.25461 | 0.0016824 | 0.00042166
10 | 0.98405 | -0.3047 | 0.0017794 | 0.00044595
11 | 0.98467 | -0.29268 | 0.0017219 | 0.00043154
12 | 0.98666 | -0.25433 | 0.0017174 | 0.00043042
13 | 0.98392 | -0.30731 | 0.0032187 | 0.00080668
14 | 0.99366 | -0.12056 | 0.0030102 | 0.00075443
15 | 0.99366 | -0.12043 | 0.011839 | 0.0029673
16 | 0.99398 | -0.11424 | 0.0025391 | 0.00063637
17 | 0.99412 | -0.11161 | 0.0026841 | 0.0006727
18 | 0.99611 | -0.073643 | 0.015536 | 0.0038936
19 | 0.99651 | -0.06603 | 0.012788 | 0.0032051
20 | 0.99483 | -0.098071 | 0 | 0
21 | 0.99819 | -0.034185 | 0.020449 | 0.005125
22 | 0.99435 | -0.10718 | 0 | 0
23 | 0.99457 | -0.10299 | 0.021366 | 0.0053547
24 | 0.99857 | -0.027026 | 0.011345 | 0.0028434
25 | 0.99175 | -0.15674 | 0.0019346 | 0.00048486
26 | 0.99437 | -0.10697 | 0.0032739 | 0.00082051
27 | 0.98992 | -0.19181 | 0.0020895 | 0.00052368
28 | 0.99029 | -0.18464 | 0.0028698 | 0.00071923
29 | 0.99033 | -0.18384 | 0 | 0
30 | 0.98345 | -0.31642 | 0.0026143 | 0.00065521
31 | 0.98265 | -0.33186 | 0.0017086 | 0.00042823
32 | 0.98184 | -0.34758 | 0.0023347 | 0.00058514
33 | 0.98158 | -0.35262 | 0.0060724 | 0.0015219
34 | 0.98668 | -0.25385 | 0.0024703 | 0.00061912
35 | 0.9867 | -0.2536 | 0.001041 | 0.00026091
36 | 0.98785 | -0.2315 | 0.0016331 | 0.00040931
37 | 0.98788 | -0.23076 | 0.001613 | 0.00040426
38 | 0.98799 | -0.22871 | 0.0011009 | 0.00027592
39 | 0.98798 | -0.22892 | 0.0010955 | 0.00027455
40 | 0.9879 | -0.2305 | 0.0016331 | 0.00040931
41 | 0.98042 | -0.3752 | 0 | 0
42 | 1 | 0 | -0.40861 | -0.10432
43 | 0.97454 | -0.49034 | 0.0033062 | 0.00082861
44 | 0.97491 | -0.48319 | 0 | 0
45 | 0.97399 | -0.50119 | 0 | 0
46 | 0.97606 | -0.46059 | 0 | 0
47 | 0.9747 | -0.48737 | 0.05118 | 0.012827
48 | 0.9739 | -0.50311 | 0.0059974 | 0.0015031
49 | 0.9775 | -0.43217 | 0 | 0
50 | 0.97603 | -0.46102 | 0.002665 | 0.0006679
51 | 0.97307 | -0.51945 | 0.0061392 | 0.0015386
52 | 0.97316 | -0.51765 | 0 | 0
53 | 0.97337 | -0.51343 | 0 | 0
54 | 0.97332 | -0.51453 | 0.0020427 | 0.00051195
55 | 0.97223 | -0.53596 | 0.0017743 | 0.00044467
56 | 0.97232 | -0.53432 | 0.0024046 | 0.00060265
57 | 0.97239 | -0.53285 | 0 | 0
58 | 0.97231 | -0.53443 | 0.0034975 | 0.00087655
59 | 0.97245 | -0.53166 | 0 | 0
60 | 0.97264 | -0.52783 | 0 | 0
61 | 0.9723 | -0.53457 | 0.0019875 | 0.00049812
62 | 0.99422 | -0.10988 | 0 | 0
63 | 0.99423 | -0.10961 | 0 | 0
64 | 0.99413 | -0.11156 | 0.00089303 | 0.00022381
65 | 0.97226 | -0.53541 | 0.0062841 | 0.001575
66 | 0.97295 | -0.52172 | 0 | 0
67 | 0.97253 | -0.53009 | 0.0033174 | 0.00083142
68 | 0.9732 | -0.51685 | 0.0031628 | 0.00079268
69 | 0.97263 | -0.52819 | 0.025172 | 0.0063088
70 | 0.97723 | -0.43748 | 0.0062728 | 0.0015721
71 | 0.97868 | -0.40925 | 0.0066124 | 0.0016572
72 | 0.97716 | -0.43894 | 0 | 0
73 | 0.97707 | -0.44074 | 0.006264 | 0.0015699
74 | 0.97934 | -0.39627 | 0.0022834 | 0.00057228
75 | 0.98036 | -0.37648 | 0 | 0
76 | 0.97947 | -0.39376 | 0 | 0
77 | 0.98021 | -0.37939 | 0.0029682 | 0.00074389
78 | 0.97238 | -0.53305 | 0.0099887 | 0.0025034
79 | 0.97233 | -0.53404 | 0.0024082 | 0.00060356
80 | 0.97253 | -0.53017 | 0.00086005 | 0.00021555
81 | 0.97223 | -0.53592 | 0.011487 | 0.0028789
82 | 0.97947 | -0.39382 | 0.006715 | 0.0016829
83 | 0.97935 | -0.39621 | 0.0072351 | 0.0018133
84 | 0.97985 | -0.38649 | 0.0021088 | 0.00052851
85 | 0.97978 | -0.3877 | 0 | 0
86 | 0.97953 | -0.39272 | 0.011767 | 0.0029491
87 | 0.99397 | -0.11462 | 0.01185 | 0.0029698
88 | 0.99394 | -0.11516 | 0.00089333 | 0.00022389
89 | 0.99383 | -0.11739 | 0.0042465 | 0.0010643
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025067 | -0.006284 | 0.025076 | 0.0062891 | 8.2438e-06 | 5.0779e-06 | 0.03773 | 0.03773 | 0.03773 | 0.98864 | -0.21667 | 0.98899 | -0.20977 | 10.3654
1 | 0.022972 | 0.0057588 | -0.022967 | -0.0057562 | 4.3463e-06 | 2.6573e-06 | 0.034576 | 0.034576 | 0.034576 | 0.98864 | -0.21667 | 0.98844 | -0.22065 | 9.4988
2 | -0.027333 | -0.0068548 | 0.027333 | 0.0068549 | 2.3339e-07 | 1.4465e-07 | 0.041126 | 0.041126 | 0.041126 | 0.98899 | -0.20977 | 0.989 | -0.2096 | 11.2983
3 | -0.028949 | -0.0072601 | 0.028961 | 0.0072674 | 1.177e-05 | 7.3204e-06 | 0.043558 | 0.043558 | 0.043558 | 0.989 | -0.2096 | 0.98944 | -0.20107 | 11.9664
4 | -0.030813 | -0.0077315 | 0.030827 | 0.00774 | 1.3615e-05 | 8.4964e-06 | 0.046343 | 0.046343 | 0.046343 | 0.98944 | -0.20107 | 0.98992 | -0.19181 | 12.7316
5 | 0.0096273 | 0.0024125 | -0.0096262 | -0.002412 | 1.1018e-06 | 5.2844e-07 | 0.014545 | 0.014545 | 0.014545 | 0.9849 | -0.2882 | 0.98478 | -0.2906 | 3.9959
6 | -0.012839 | -0.0032174 | 0.012839 | 0.0032174 | 1.192e-07 | 6.5537e-08 | 0.019397 | 0.019397 | 0.019397 | 0.9849 | -0.2882 | 0.98491 | -0.288 | 5.3288
7 | 0.0061076 | 0.0015302 | -0.0061074 | -0.0015301 | 1.8106e-07 | 4.3749e-08 | 0.0092285 | 0.0092285 | 0.0092285 | 0.98478 | -0.2906 | 0.98475 | -0.29122 | 2.5353
8 | -0.22835 | -0.057931 | 0.22871 | 0.058165 | 0.00036737 | 0.00023344 | 0.34524 | 0.34524 | 0.34524 | 0.98491 | -0.288 | 0.98664 | -0.25461 | 23.7116
9 | 0.21551 | 0.054714 | -0.21534 | -0.054604 | 0.00017302 | 0.00010985 | 0.32584 | 0.32584 | 0.32584 | 0.98491 | -0.288 | 0.98405 | -0.3047 | 22.3794
10 | 0.001722 | 0.00043102 | -0.0017219 | -0.00043154 | 1.1928e-07 | -5.2132e-07 | 0.0026019 | 0.0026021 | 0.0026021 | 0.98475 | -0.29122 | 0.98467 | -0.29268 | 0.71485
11 | -0.2304 | -0.058586 | 0.2304 | 0.058588 | 3.0651e-06 | 1.9479e-06 | 0.34778 | 0.34778 | 0.34778 | 0.98664 | -0.25461 | 0.98666 | -0.25433 | 23.8858
12 | 0.21356 | 0.054158 | -0.21353 | -0.054141 | 2.6797e-05 | 1.7011e-05 | 0.32315 | 0.32315 | 0.32315 | 0.98405 | -0.3047 | 0.98392 | -0.30731 | 22.1946
13 | -0.23212 | -0.059019 | 0.23212 | 0.059022 | 5.3346e-06 | 3.3905e-06 | 0.35037 | 0.35037 | 0.35037 | 0.98666 | -0.25433 | 0.98668 | -0.25385 | 24.0637
14 | 0.21031 | 0.053334 | -0.21022 | -0.053276 | 9.2031e-05 | 5.8408e-05 | 0.31829 | 0.31829 | 0.31829 | 0.98392 | -0.30731 | 0.98345 | -0.31642 | 21.8603
15 | -0.0030102 | -0.00075443 | 0.0030102 | 0.00075441 | 1.8739e-08 | -1.9861e-08 | 0.0045078 | 0.0045078 | 0.0045078 | 0.99366 | -0.12056 | 0.99366 | -0.12043 | 1.2384
16 | -0.01485 | -0.0037217 | 0.014854 | 0.0037242 | 4.382e-06 | 2.4983e-06 | 0.022238 | 0.022237 | 0.022238 | 0.99366 | -0.12043 | 0.99398 | -0.11424 | 6.1092
17 | -0.017393 | -0.0043605 | 0.017395 | 0.0043618 | 2.1771e-06 | 1.2823e-06 | 0.026039 | 0.026039 | 0.026039 | 0.99398 | -0.11424 | 0.99412 | -0.11161 | 7.1535
18 | -0.02008 | -0.0050345 | 0.020084 | 0.0050371 | 4.2446e-06 | 2.5541e-06 | 0.030056 | 0.030056 | 0.030056 | 0.99412 | -0.11161 | 0.99435 | -0.10718 | 8.2572
19 | -0.361 | -0.092271 | 0.36114 | 0.092355 | 0.000133 | 8.4864e-05 | 0.53991 | 0.53991 | 0.53991 | 0.99611 | -0.073643 | 0.99651 | -0.06603 | 37.0819
20 | 0.34547 | 0.088377 | -0.34506 | -0.088117 | 0.00040794 | 0.00026023 | 0.5167 | 0.5167 | 0.5167 | 0.99611 | -0.073643 | 0.99483 | -0.098071 | 35.488
21 | -0.37392 | -0.095561 | 0.3745 | 0.095929 | 0.00057688 | 0.00036817 | 0.55901 | 0.55901 | 0.55901 | 0.99651 | -0.06603 | 0.99819 | -0.034185 | 38.3934
22 | 0.30252 | 0.077454 | -0.30238 | -0.077369 | 0.00013334 | 8.4981e-05 | 0.45307 | 0.45307 | 0.45307 | 0.99483 | -0.098071 | 0.99435 | -0.10718 | 31.1175
23 | 0.042543 | 0.010663 | -0.042533 | -0.010658 | 9.9627e-06 | 5.0135e-06 | 0.063634 | 0.063635 | 0.063635 | 0.99483 | -0.098071 | 0.99457 | -0.10299 | 4.3705
24 | -0.39495 | -0.10105 | 0.39509 | 0.10114 | 0.00013692 | 8.7411e-05 | 0.58949 | 0.58949 | 0.58949 | 0.99819 | -0.034185 | 0.99857 | -0.027026 | 40.487
25 | 0.2823 | 0.072332 | -0.28162 | -0.071901 | 0.00067632 | 0.00043076 | 0.42302 | 0.42302 | 0.42302 | 0.99435 | -0.10718 | 0.99175 | -0.15674 | 29.0533
26 | 0.021167 | 0.0053031 | -0.021163 | -0.0053028 | 4.0136e-06 | 3.5332e-07 | 0.031669 | 0.031669 | 0.031669 | 0.99457 | -0.10299 | 0.99437 | -0.10697 | 2.1751
27 | -0.40643 | -0.10398 | 0.40696 | 0.10432 | 0.00053247 | 0.00033997 | 0.6064 | 0.6064 | 0.6064 | 0.99857 | -0.027026 | 1 | 0 | 41.6481
28 | 0.27969 | 0.071416 | -0.27932 | -0.071183 | 0.00036589 | 0.00023303 | 0.42011 | 0.42011 | 0.42011 | 0.99175 | -0.15674 | 0.99033 | -0.18384 | 28.854
29 | 0.01789 | 0.0044822 | -0.017887 | -0.0044825 | 2.2501e-06 | -2.9742e-07 | 0.02677 | 0.026771 | 0.026771 | 0.99437 | -0.10697 | 0.99423 | -0.10961 | 1.8387
30 | -0.032916 | -0.0082637 | 0.032929 | 0.0082715 | 1.2506e-05 | 7.8287e-06 | 0.049484 | 0.049484 | 0.049484 | 0.98992 | -0.19181 | 0.99033 | -0.18384 | 13.5944
31 | -0.0028698 | -0.00071923 | 0.0028699 | 0.0007191 | 1.0856e-07 | -1.3084e-07 | 0.0043121 | 0.0043121 | 0.0043121 | 0.99029 | -0.18464 | 0.99033 | -0.18384 | 1.1846
32 | 0.24352 | 0.062193 | -0.243 | -0.061857 | 0.00052694 | 0.00033509 | 0.36632 | 0.36632 | 0.36632 | 0.99033 | -0.18384 | 0.98799 | -0.22871 | 25.1593
33 | 0.2076 | 0.052621 | -0.20745 | -0.052523 | 0.00015393 | 9.7673e-05 | 0.31433 | 0.31433 | 0.31433 | 0.98345 | -0.31642 | 0.98265 | -0.33186 | 21.5886
34 | 0.20574 | 0.052095 | -0.20559 | -0.051996 | 0.00015511 | 9.8411e-05 | 0.31174 | 0.31174 | 0.31174 | 0.98265 | -0.33186 | 0.98184 | -0.34758 | 21.4109
35 | 0.20325 | 0.051411 | -0.2032 | -0.05138 | 4.9173e-05 | 3.1192e-05 | 0.30821 | 0.30821 | 0.30821 | 0.98184 | -0.34758 | 0.98158 | -0.35262 | 21.1679
36 | 0.19713 | 0.049858 | -0.19692 | -0.049723 | 0.00021327 | 0.00013521 | 0.299 | 0.299 | 0.299 | 0.98158 | -0.35262 | 0.98042 | -0.3752 | 20.5357
37 | -0.23459 | -0.059641 | 0.2346 | 0.059643 | 2.8515e-06 | 1.8126e-06 | 0.35409 | 0.35409 | 0.35409 | 0.98668 | -0.25385 | 0.9867 | -0.2536 | 24.3195
38 | -0.23564 | -0.059904 | 0.23589 | 0.060064 | 0.00025115 | 0.00015965 | 0.35566 | 0.35566 | 0.35566 | 0.9867 | -0.2536 | 0.98785 | -0.2315 | 24.4274
39 | -0.23752 | -0.060473 | 0.23753 | 0.060478 | 8.4139e-06 | 5.349e-06 | 0.35812 | 0.35812 | 0.35812 | 0.98785 | -0.2315 | 0.98788 | -0.23076 | 24.5963
40 | -0.23914 | -0.060883 | 0.23915 | 0.060884 | 3.0382e-06 | 1.9317e-06 | 0.36055 | 0.36055 | 0.36055 | 0.98788 | -0.23076 | 0.9879 | -0.2305 | 24.7632
41 | 0.2419 | 0.061582 | -0.24189 | -0.06158 | 2.3695e-06 | 1.5067e-06 | 0.36466 | 0.36466 | 0.36466 | 0.98799 | -0.22871 | 0.98798 | -0.22892 | 25.0454
42 | 0.2408 | 0.061305 | -0.24078 | -0.061294 | 1.8361e-05 | 1.1675e-05 | 0.36301 | 0.36301 | 0.36301 | 0.98798 | -0.22892 | 0.9879 | -0.2305 | 24.9321
43 | 0.030819 | 0.0077308 | -0.030817 | -0.00773 | 1.8874e-06 | 7.4387e-07 | 0.046777 | 0.046777 | 0.046777 | 0.98042 | -0.3752 | 0.98036 | -0.37648 | 3.2127
44 | 0.1661 | 0.041992 | -0.16593 | -0.041886 | 0.00016763 | 0.00010586 | 0.25222 | 0.25222 | 0.25222 | 0.98042 | -0.3752 | 0.97934 | -0.39627 | 17.3231
45 | -0.089986 | -0.022601 | 0.090017 | 0.02262 | 3.0715e-05 | 1.8793e-05 | 0.13742 | 0.13742 | 0.13742 | 0.97454 | -0.49034 | 0.97491 | -0.48319 | 9.4379
46 | 0.08668 | 0.021773 | -0.086635 | -0.021745 | 4.4863e-05 | 2.7352e-05 | 0.13237 | 0.13237 | 0.13237 | 0.97454 | -0.49034 | 0.97399 | -0.50119 | 9.0912
47 | -0.14121 | -0.035453 | 0.14136 | 0.035549 | 0.00015239 | 9.5783e-05 | 0.21555 | 0.21555 | 0.21555 | 0.97491 | -0.48319 | 0.97606 | -0.46059 | 14.8042
48 | 0.05119 | 0.012833 | -0.05118 | -0.012827 | 1.0197e-05 | 6.4709e-06 | 0.078133 | 0.078133 | 0.078133 | 0.97491 | -0.48319 | 0.9747 | -0.48737 | 21.4652
49 | 0.086635 | 0.021745 | -0.086627 | -0.02174 | 7.9238e-06 | 4.8311e-06 | 0.13237 | 0.13237 | 0.13237 | 0.97399 | -0.50119 | 0.9739 | -0.50311 | 9.0912
50 | -0.14402 | -0.036217 | 0.14422 | 0.03634 | 0.00019578 | 0.00012313 | 0.21961 | 0.21961 | 0.21961 | 0.97606 | -0.46059 | 0.9775 | -0.43217 | 15.0832
51 | 0.002665 | 0.00066783 | -0.002665 | -0.0006679 | 5.4476e-08 | -7.5126e-08 | 0.0040629 | 0.0040629 | 0.0040629 | 0.97606 | -0.46059 | 0.97603 | -0.46102 | 1.1162
52 | 0.08063 | 0.020237 | -0.08059 | -0.020213 | 3.969e-05 | 2.4014e-05 | 0.1232 | 0.12321 | 0.12321 | 0.9739 | -0.50311 | 0.97337 | -0.51343 | 8.4619
53 | 0.012541 | 0.003144 | -0.012538 | -0.0031423 | 3.1728e-06 | 1.7397e-06 | 0.019091 | 0.019091 | 0.019091 | 0.9775 | -0.43217 | 0.97723 | -0.43748 | 5.2448
54 | -0.15676 | -0.039484 | 0.15693 | 0.039593 | 0.00017203 | 0.00010848 | 0.2387 | 0.2387 | 0.2387 | 0.9775 | -0.43217 | 0.97868 | -0.40925 | 16.3943
55 | -0.0061392 | -0.0015386 | 0.0061397 | 0.0015388 | 5.2569e-07 | 1.3884e-07 | 0.0093881 | 0.009388 | 0.0093881 | 0.97307 | -0.51945 | 0.97316 | -0.51765 | 2.5791
56 | -0.0061397 | -0.0015388 | 0.0061407 | 0.001539 | 9.1382e-07 | 2.4126e-07 | 0.009388 | 0.0093879 | 0.009388 | 0.97316 | -0.51765 | 0.97332 | -0.51453 | 2.5791
57 | 0.0081838 | 0.0020511 | -0.0081833 | -0.002051 | 4.2638e-07 | 1.8259e-07 | 0.012511 | 0.012511 | 0.012511 | 0.97337 | -0.51343 | 0.97332 | -0.51453 | 3.437
58 | 0.072406 | 0.018162 | -0.072394 | -0.018155 | 1.177e-05 | 7.0234e-06 | 0.11069 | 0.11069 | 0.11069 | 0.97337 | -0.51343 | 0.9732 | -0.51685 | 7.6027
59 | -0.0017743 | -0.00044467 | 0.0017744 | 0.00044414 | 1.3842e-07 | -5.3224e-07 | 0.0027155 | 0.0027153 | 0.0027155 | 0.97223 | -0.53596 | 0.97232 | -0.53432 | 0.74603
60 | -0.004179 | -0.0010468 | 0.0041793 | 0.0010467 | 2.9263e-07 | -4.9382e-08 | 0.0063953 | 0.0063952 | 0.0063953 | 0.97232 | -0.53432 | 0.97239 | -0.53285 | 1.7569
61 | 0.0034977 | 0.00087641 | -0.0034975 | -0.00087655 | 2.6276e-07 | -1.3521e-07 | 0.0053524 | 0.0053525 | 0.0053525 | 0.97239 | -0.53285 | 0.97231 | -0.53443 | 1.4705
62 | -0.007677 | -0.0019231 | 0.0076774 | 0.001923 | 4.3561e-07 | -1.389e-07 | 0.011748 | 0.011747 | 0.011748 | 0.97239 | -0.53285 | 0.97245 | -0.53166 | 1.6137
63 | -0.015951 | -0.0039967 | 0.015953 | 0.0039971 | 2.9082e-06 | 4.0727e-07 | 0.024407 | 0.024406 | 0.024407 | 0.97245 | -0.53166 | 0.97264 | -0.52783 | 2.235
64 | 0.0082731 | 0.0020736 | -0.0082719 | -0.0020731 | 1.1468e-06 | 4.9722e-07 | 0.012659 | 0.012659 | 0.012659 | 0.97245 | -0.53166 | 0.9723 | -0.53457 | 3.4778
65 | -0.044023 | -0.011033 | 0.044036 | 0.011039 | 1.2828e-05 | 6.712e-06 | 0.067349 | 0.067348 | 0.067349 | 0.97264 | -0.52783 | 0.97295 | -0.52172 | 4.6256
66 | 0.028069 | 0.0070356 | -0.028066 | -0.0070345 | 3.0254e-06 | 1.0676e-06 | 0.042943 | 0.042943 | 0.042943 | 0.97264 | -0.52783 | 0.97253 | -0.53009 | 2.9494
67 | 0.0062844 | 0.001575 | -0.0062841 | -0.001575 | 2.503e-07 | 7.0699e-08 | 0.0096176 | 0.0096177 | 0.0096177 | 0.9723 | -0.53457 | 0.97226 | -0.53541 | 2.6422
68 | -0.017887 | -0.0044826 | 0.017887 | 0.0044825 | 2.271e-07 | -2.9987e-08 | 0.026771 | 0.026771 | 0.026771 | 0.99422 | -0.10988 | 0.99423 | -0.10961 | 1.8387
69 | 0.017887 | 0.0044826 | -0.017886 | -0.0044828 | 1.4367e-06 | -1.8958e-07 | 0.026771 | 0.026771 | 0.026771 | 0.99422 | -0.10988 | 0.99413 | -0.11156 | 1.8387
70 | 0.016993 | 0.0042589 | -0.01699 | -0.0042579 | 2.4742e-06 | 1.0546e-06 | 0.025435 | 0.025435 | 0.025435 | 0.99413 | -0.11156 | 0.99397 | -0.11462 | 3.4938
71 | 0.02518 | 0.0063136 | -0.025172 | -0.0063088 | 7.7648e-06 | 4.7961e-06 | 0.038511 | 0.038511 | 0.038511 | 0.97295 | -0.52172 | 0.97263 | -0.52819 | 10.5799
72 | -0.069216 | -0.017353 | 0.069232 | 0.017362 | 1.6069e-05 | 9.5242e-06 | 0.10586 | 0.10586 | 0.10586 | 0.97295 | -0.52172 | 0.9732 | -0.51685 | 7.2705
73 | 0.024749 | 0.0062031 | -0.024749 | -0.0062031 | 9.3803e-08 | 2.54e-08 | 0.037867 | 0.037867 | 0.037867 | 0.97253 | -0.53009 | 0.97253 | -0.53017 | 2.6008
74 | 0.006265 | 0.0015702 | -0.0062645 | -0.0015701 | 4.3514e-07 | 1.1875e-07 | 0.0095396 | 0.0095396 | 0.0095396 | 0.97723 | -0.43748 | 0.97716 | -0.43894 | 2.6208
75 | -0.16355 | -0.04125 | 0.16365 | 0.041314 | 0.00010173 | 6.4223e-05 | 0.24875 | 0.24875 | 0.24875 | 0.97868 | -0.40925 | 0.97934 | -0.39627 | 17.0848
76 | 0.0062645 | 0.0015701 | -0.006264 | -0.0015699 | 5.3728e-07 | 1.4666e-07 | 0.0095396 | 0.0095397 | 0.0095397 | 0.97716 | -0.43894 | 0.97707 | -0.44074 | 2.6208
77 | 0.013962 | 0.003503 | -0.013951 | -0.0034965 | 1.1494e-05 | 6.4963e-06 | 0.021194 | 0.021194 | 0.021194 | 0.98036 | -0.37648 | 0.97947 | -0.39376 | 5.8226
78 | 0.016854 | 0.004227 | -0.016852 | -0.004226 | 2.3379e-06 | 1.0159e-06 | 0.025583 | 0.025583 | 0.025583 | 0.98036 | -0.37648 | 0.98021 | -0.37939 | 3.5142
79 | 0.013951 | 0.0034965 | -0.013951 | -0.0034965 | 3.4943e-08 | 1.9753e-08 | 0.021194 | 0.021194 | 0.021194 | 0.97947 | -0.39376 | 0.97947 | -0.39382 | 5.8226
80 | 0.013884 | 0.0034821 | -0.013879 | -0.0034795 | 4.6962e-06 | 2.6504e-06 | 0.021078 | 0.021078 | 0.021078 | 0.98021 | -0.37939 | 0.97985 | -0.38649 | 5.7906
81 | 0.013897 | 0.0034833 | -0.013896 | -0.003483 | 6.5539e-07 | 3.7151e-07 | 0.021266 | 0.021266 | 0.021266 | 0.97238 | -0.53305 | 0.97233 | -0.53404 | 5.8423
82 | -0.023885 | -0.0059867 | 0.023889 | 0.0059875 | 3.2785e-06 | 7.9927e-07 | 0.036552 | 0.036551 | 0.036552 | 0.97238 | -0.53305 | 0.97253 | -0.53017 | 2.5104
83 | 0.011488 | 0.0028794 | -0.011487 | -0.0028789 | 1.0251e-06 | 5.4638e-07 | 0.017581 | 0.017581 | 0.017581 | 0.97233 | -0.53404 | 0.97223 | -0.53592 | 4.8299
84 | 0.0072359 | 0.0018136 | -0.0072351 | -0.0018133 | 8.236e-07 | 2.9839e-07 | 0.010993 | 0.010993 | 0.010993 | 0.97947 | -0.39382 | 0.97935 | -0.39621 | 3.02
85 | 0.01177 | 0.002951 | -0.01177 | -0.0029506 | 6.7748e-07 | 3.6237e-07 | 0.017875 | 0.017875 | 0.017875 | 0.97985 | -0.38649 | 0.97978 | -0.3877 | 4.9108
86 | 0.01177 | 0.0029506 | -0.011767 | -0.0029491 | 2.8147e-06 | 1.5057e-06 | 0.017875 | 0.017875 | 0.017875 | 0.97978 | -0.3877 | 0.97953 | -0.39272 | 4.9108
87 | 0.0051404 | 0.0012881 | -0.0051403 | -0.0012881 | 1.3202e-07 | 7.4383e-09 | 0.0076953 | 0.0076954 | 0.0076954 | 0.99397 | -0.11462 | 0.99394 | -0.11516 | 2.1141
88 | 0.004247 | 0.0010642 | -0.0042465 | -0.0010643 | 4.5142e-07 | -9.7001e-08 | 0.006358 | 0.0063581 | 0.0063581 | 0.99394 | -0.11516 | 0.99383 | -0.11739 | 1.7467

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41414 | 0.10571

## res_load
| p_mw | q_mvar
0 | 0.0020957 | 0.00052523
1 | 0.002257 | 0.00056567
2 | 0.022967 | 0.0057562
3 | 0.0016164 | 0.00040512
4 | 0.001852 | 0.00046416
5 | 0.0032113 | 0.00080484
6 | 0.0035186 | 0.00088184
7 | 0.0043854 | 0.0010991
8 | 0.0016824 | 0.00042166
9 | 0.0017794 | 0.00044595
10 | 0.0017219 | 0.00043154
11 | 0.0017174 | 0.00043042
12 | 0.0032187 | 0.00080668
13 | 0.0030102 | 0.00075443
14 | 0.011839 | 0.0029673
15 | 0.0025391 | 0.00063637
16 | 0.0026841 | 0.0006727
17 | 0.015536 | 0.0038936
18 | 0.012788 | 0.0032051
19 | 0.020449 | 0.005125
20 | 0.021366 | 0.0053547
21 | 0.011345 | 0.0028434
22 | 0.0019346 | 0.00048486
23 | 0.0032739 | 0.00082051
24 | 0.0020895 | 0.00052368
25 | 0.0028698 | 0.00071923
26 | 0.0026143 | 0.00065521
27 | 0.0017086 | 0.00042823
28 | 0.0023347 | 0.00058514
29 | 0.0060724 | 0.0015219
30 | 0.0024703 | 0.00061912
31 | 0.001041 | 0.00026091
32 | 0.0016331 | 0.00040931
33 | 0.001613 | 0.00040426
34 | 0.0011009 | 0.00027592
35 | 0.0010955 | 0.00027455
36 | 0.0016331 | 0.00040931
37 | 0.0055241 | 0.0013845
38 | 0.0033062 | 0.00082861
39 | 0.05118 | 0.012827
40 | 0.0059974 | 0.0015031
41 | 0.002665 | 0.0006679
42 | 0.0061392 | 0.0015386
43 | 0.0020427 | 0.00051195
44 | 0.0017743 | 0.00044467
45 | 0.0024046 | 0.00060265
46 | 0.0034975 | 0.00087655
47 | 0.0019875 | 0.00049812
48 | 0.00089303 | 0.00022381
49 | 0.0062841 | 0.001575
50 | 0.0033174 | 0.00083142
51 | 0.0031628 | 0.00079268
52 | 0.025172 | 0.0063088
53 | 0.0062728 | 0.0015721
54 | 0.0066124 | 0.0016572
55 | 0.006264 | 0.0015699
56 | 0.0022834 | 0.00057228
57 | 0.0029682 | 0.00074389
58 | 0.0099887 | 0.0025034
59 | 0.0024082 | 0.00060356
60 | 0.00086005 | 0.00021555
61 | 0.011487 | 0.0028789
62 | 0.006715 | 0.0016829
63 | 0.0072351 | 0.0018133
64 | 0.0021088 | 0.00052851
65 | 0.011767 | 0.0029491
66 | 0.01185 | 0.0029698
67 | 0.00089333 | 0.00022389
68 | 0.0042465 | 0.0010643

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1