## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_25-1_1_4_node_52 | 0.4 | n |  | TRUE
1 | bus_LV_25-1_1_4_node_159 | 0.4 | n |  | TRUE
2 | bus_LV_25-1_1_4_node_175 | 0.4 | n |  | TRUE
3 | bus_LV_25-1_1_4_node_54 | 0.4 | n |  | TRUE
4 | bus_LV_25-1_1_4_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_25-1_1_4_node_227 | 0.4 | n |  | TRUE
6 | bus_LV_25-1_1_4_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_25-1_1_4_node_230 | 0.4 | n |  | TRUE
8 | bus_LV_25-1_1_4_node_228 | 0.4 | n |  | TRUE
9 | bus_LV_25-1_1_4_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_25-1_1_4_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_25-1_1_4_node_229 | 0.4 | n |  | TRUE
12 | bus_LV_25-1_1_4_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_25-1_1_4_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_25-1_1_4_node_251 | 0.4 | n |  | TRUE
15 | bus_LV_25-1_1_4_node_248 | 0.4 | n |  | TRUE
16 | bus_LV_25-1_1_4_node_203 | 0.4 | n |  | TRUE
17 | bus_LV_25-1_1_4_node_202 | 0.4 | n |  | TRUE
18 | bus_LV_25-1_1_4_node_156 | 0.4 | n |  | TRUE
19 | bus_LV_25-1_1_4_node_157 | 0.4 | n |  | TRUE
20 | bus_LV_25-1_1_4_node_158 | 0.4 | n |  | TRUE
21 | bus_LV_25-1_1_4_node_160 | 0.4 | n |  | TRUE
22 | bus_LV_25-1_1_4_node_161 | 0.4 | n |  | TRUE
23 | bus_LV_25-1_1_4_node_162 | 0.4 | n |  | TRUE
24 | bus_LV_25-1_1_4_node_169 | 0.4 | n |  | TRUE
25 | bus_LV_25-1_1_4_node_163 | 0.4 | n |  | TRUE
26 | bus_LV_25-1_1_4_node_164 | 0.4 | n |  | TRUE
27 | bus_LV_25-1_1_4_node_165 | 0.4 | n |  | TRUE
28 | bus_LV_25-1_1_4_node_166 | 0.4 | n |  | TRUE
29 | bus_LV_25-1_1_4_node_167 | 0.4 | n |  | TRUE
30 | bus_LV_25-1_1_4_node_168 | 0.4 | n |  | TRUE
31 | bus_LV_25-1_1_4_node_173 | 0.4 | n |  | TRUE
32 | bus_LV_25-1_1_4_node_170 | 0.4 | n |  | TRUE
33 | bus_LV_25-1_1_4_node_207 | 0.4 | n |  | TRUE
34 | bus_LV_25-1_1_4_node_171 | 0.4 | n |  | TRUE
35 | bus_LV_25-1_1_4_node_172 | 0.4 | n |  | TRUE
36 | bus_LV_25-1_1_4_node_174 | 0.4 | n |  | TRUE
37 | bus_LV_25-1_1_4_node_201 | 0.4 | n |  | TRUE
38 | bus_LV_25-1_1_4_node_184 | 0.4 | n |  | TRUE
39 | bus_LV_25-1_1_4_node_176 | 0.4 | n |  | TRUE
40 | bus_LV_25-1_1_4_node_177 | 0.4 | n |  | TRUE
41 | bus_LV_25-1_1_4_node_178 | 0.4 | n |  | TRUE
42 | bus_LV_25-1_1_4_node_179 | 0.4 | n |  | TRUE
43 | bus_LV_25-1_1_4_node_180 | 0.4 | n |  | TRUE
44 | bus_LV_25-1_1_4_node_181 | 0.4 | n |  | TRUE
45 | bus_LV_25-1_1_4_node_186 | 0.4 | n |  | TRUE
46 | bus_LV_25-1_1_4_node_182 | 0.4 | n |  | TRUE
47 | bus_LV_25-1_1_4_node_183 | 0.4 | n |  | TRUE
48 | bus_LV_25-1_1_4_node_185 | 0.4 | n |  | TRUE
49 | bus_LV_25-1_1_4_node_200 | 0.4 | n |  | TRUE
50 | bus_LV_25-1_1_4_node_187 | 0.4 | n |  | TRUE
51 | bus_LV_25-1_1_4_node_191 | 0.4 | n |  | TRUE
52 | bus_LV_25-1_1_4_node_188 | 0.4 | n |  | TRUE
53 | bus_LV_25-1_1_4_node_189 | 0.4 | n |  | TRUE
54 | bus_LV_25-1_1_4_node_190 | 0.4 | n |  | TRUE
55 | bus_LV_25-1_1_4_node_192 | 0.4 | n |  | TRUE
56 | bus_LV_25-1_1_4_node_193 | 0.4 | n |  | TRUE
57 | bus_LV_25-1_1_4_node_195 | 0.4 | n |  | TRUE
58 | bus_LV_25-1_1_4_node_194 | 0.4 | n |  | TRUE
59 | bus_LV_25-1_1_4_node_199 | 0.4 | n |  | TRUE
60 | bus_LV_25-1_1_4_node_198 | 0.4 | n |  | TRUE
61 | bus_LV_25-1_1_4_node_196 | 0.4 | n |  | TRUE
62 | bus_LV_25-1_1_4_node_197 | 0.4 | n |  | TRUE
63 | bus_LV_25-1_1_4_node_204 | 0.4 | n |  | TRUE
64 | bus_LV_25-1_1_4_node_205 | 0.4 | n |  | TRUE
65 | bus_LV_25-1_1_4_node_206 | 0.4 | n |  | TRUE
66 | bus_LV_25-1_1_4_node_246 | 0.4 | n |  | TRUE
67 | bus_LV_25-1_1_4_node_249 | 0.4 | n |  | TRUE
68 | bus_LV_25-1_1_4_node_245 | 0.4 | n |  | TRUE
69 | bus_LV_25-1_1_4_node_208 | 0.4 | n |  | TRUE
70 | bus_LV_25-1_1_4_node_209 | 0.4 | n |  | TRUE
71 | bus_LV_25-1_1_4_node_210 | 0.4 | n |  | TRUE
72 | bus_LV_25-1_1_4_node_211 | 0.4 | n |  | TRUE
73 | bus_LV_25-1_1_4_node_214 | 0.4 | n |  | TRUE
74 | bus_LV_25-1_1_4_node_212 | 0.4 | n |  | TRUE
75 | bus_LV_25-1_1_4_node_213 | 0.4 | n |  | TRUE
76 | bus_LV_25-1_1_4_node_218 | 0.4 | n |  | TRUE
77 | bus_LV_25-1_1_4_node_216 | 0.4 | n |  | TRUE
78 | bus_LV_25-1_1_4_node_215 | 0.4 | n |  | TRUE
79 | bus_LV_25-1_1_4_node_217 | 0.4 | n |  | TRUE
80 | bus_LV_25-1_1_4_node_222 | 0.4 | n |  | TRUE
81 | bus_LV_25-1_1_4_node_221 | 0.4 | n |  | TRUE
82 | bus_LV_25-1_1_4_node_219 | 0.4 | n |  | TRUE
83 | bus_LV_25-1_1_4_node_220 | 0.4 | n |  | TRUE
84 | bus_LV_25-1_1_4_node_223 | 0.4 | n |  | TRUE
85 | bus_LV_25-1_1_4_node_224 | 0.4 | n |  | TRUE
86 | bus_LV_25-1_1_4_node_226 | 0.4 | n |  | TRUE
87 | bus_LV_25-1_1_4_node_225 | 0.4 | n |  | TRUE
88 | bus_LV_25-1_1_4_node_240 | 0.4 | n |  | TRUE
89 | bus_LV_25-1_1_4_node_241 | 0.4 | n |  | TRUE
90 | bus_LV_25-1_1_4_node_242 | 0.4 | n |  | TRUE
91 | bus_LV_25-1_1_4_node_244 | 0.4 | n |  | TRUE
92 | bus_LV_25-1_1_4_node_250 | 0.4 | n |  | TRUE
93 | bus_MV_391_0_node_184 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_25-1_1_4_load_175 | 2 | 0.0014689 | 0.00036813 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_25-1_1_4_load_227 | 5 | 0.0020018 | 0.0005017 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_25-1_1_4_load_230 | 7 | 0.0018509 | 0.00046388 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_25-1_1_4_load_228 | 8 | 0.0020953 | 0.00052514 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_25-1_1_4_load_229 | 11 | 0.0067038 | 0.0016801 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_25-1_1_4_load_251 | 14 | 0.012405 | 0.0031089 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_25-1_1_4_load_248 | 15 | 0.075961 | 0.019038 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_25-1_1_4_load_203 | 16 | 0.0020435 | 0.00051215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_25-1_1_4_load_202 | 17 | 0.0014026 | 0.00035153 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_25-1_1_4_load_156 | 18 | 0.0020481 | 0.00051329 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_25-1_1_4_load_157 | 19 | 0.0056375 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_25-1_1_4_load_158 | 20 | 0.0035036 | 0.00087809 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_25-1_1_4_load_160 | 21 | 0.0012756 | 0.00031969 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_25-1_1_4_load_161 | 22 | 0.0023335 | 0.00058483 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_25-1_1_4_load_162 | 23 | 0.0013949 | 0.0003496 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_25-1_1_4_load_163 | 25 | 0.0012169 | 0.00030499 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_25-1_1_4_load_164 | 26 | 0.0034673 | 0.00086898 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_25-1_1_4_load_165 | 27 | 0.0011345 | 0.00028434 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_25-1_1_4_load_166 | 28 | 0.0057123 | 0.0014316 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_25-1_1_4_load_168 | 30 | 0.0040908 | 0.0010253 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_25-1_1_4_load_173 | 31 | 0.0010559 | 0.00026463 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_25-1_1_4_load_170 | 32 | 0.0019254 | 0.00048256 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_25-1_1_4_load_207 | 33 | 0.0027134 | 0.00068004 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_25-1_1_4_load_171 | 34 | 0.0015552 | 0.00038977 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_25-1_1_4_load_172 | 35 | 0.0014312 | 0.00035869 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_25-1_1_4_load_174 | 36 | 0.0012783 | 0.00032038 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_25-1_1_4_load_201 | 37 | 0.0027994 | 0.0007016 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_25-1_1_4_load_176 | 39 | 0.00090709 | 0.00022734 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_25-1_1_4_load_177 | 40 | 0.0013608 | 0.00034105 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_25-1_1_4_load_179 | 42 | 0.00050939 | 0.00012767 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_25-1_1_4_load_180 | 43 | 0.0003892 | 9.7542e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_25-1_1_4_load_181 | 44 | 0.0013841 | 0.00034688 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_25-1_1_4_load_186 | 45 | 0.0016953 | 0.00042489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_25-1_1_4_load_182 | 46 | 0.0012645 | 0.00031692 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_25-1_1_4_load_183 | 47 | 0.0014311 | 0.00035867 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_25-1_1_4_load_200 | 49 | 0.00094743 | 0.00023745 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_25-1_1_4_load_191 | 51 | 0.0016947 | 0.00042473 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_25-1_1_4_load_188 | 52 | 0.00049041 | 0.00012291 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_25-1_1_4_load_189 | 53 | 0.0010793 | 0.00027049 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_25-1_1_4_load_190 | 54 | 0.00097813 | 0.00024514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_25-1_1_4_load_192 | 55 | 0.00097852 | 0.00024524 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_25-1_1_4_load_193 | 56 | 0.0011385 | 0.00028534 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_25-1_1_4_load_199 | 59 | 0.0014534 | 0.00036425 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_25-1_1_4_load_198 | 60 | 0.0015304 | 0.00038355 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_25-1_1_4_load_196 | 61 | 0.0018698 | 0.00046862 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_25-1_1_4_load_197 | 62 | 0.0015123 | 0.00037901 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_25-1_1_4_load_246 | 66 | 0.0037818 | 0.0009478 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_25-1_1_4_load_245 | 68 | 0.0077493 | 0.0019422 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_25-1_1_4_load_208 | 69 | 0.0042165 | 0.0010568 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_25-1_1_4_load_209 | 70 | 0.0085608 | 0.0021455 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_25-1_1_4_load_210 | 71 | 0.0085562 | 0.0021444 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_25-1_1_4_load_212 | 74 | 0.002039 | 0.00051103 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_25-1_1_4_load_213 | 75 | 0.003245 | 0.00081328 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_25-1_1_4_load_216 | 77 | 0.0030679 | 0.0007689 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_25-1_1_4_load_215 | 78 | 0.0029043 | 0.00072788 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_25-1_1_4_load_217 | 79 | 0.0027049 | 0.0006779 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_25-1_1_4_load_222 | 80 | 0.0047114 | 0.0011808 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_25-1_1_4_load_221 | 81 | 0.0018777 | 0.00047059 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_25-1_1_4_load_219 | 82 | 0.0012519 | 0.00031375 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_25-1_1_4_load_220 | 83 | 0.00072508 | 0.00018172 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_25-1_1_4_load_223 | 84 | 0.0020518 | 0.00051423 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_25-1_1_4_load_224 | 85 | 0.00079923 | 0.00020031 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_25-1_1_4_load_226 | 86 | 0.0022357 | 0.00056033 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_25-1_1_4_load_225 | 87 | 0.0020495 | 0.00051366 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_25-1_1_4_load_240 | 88 | 0.0020627 | 0.00051696 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_25-1_1_4_load_241 | 89 | 0.001419 | 0.00035563 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_25-1_1_4_load_244 | 91 | 0.018796 | 0.0047107 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_25-1_1_4_load_250 | 92 | 0.0074252 | 0.0018609 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_25-1_1_4_line_0 |  | 0 | 1 | 0.01262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_25-1_1_4_line_1 |  | 0 | 2 | 0.022689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_25-1_1_4_line_2 |  | 1 | 21 | 0.0063614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_25-1_1_4_line_3 |  | 1 | 20 | 0.039476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_25-1_1_4_line_4 |  | 2 | 39 | 0.015897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_25-1_1_4_line_5 |  | 3 | 4 | 0.043477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_25-1_1_4_line_6 |  | 3 | 5 | 0.01504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_25-1_1_4_line_7 |  | 4 | 11 | 0.02351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_25-1_1_4_line_8 |  | 4 | 8 | 0.033643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_25-1_1_4_line_9 |  | 6 | 7 | 0.031301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_25-1_1_4_line_10 |  | 6 | 8 | 0.024932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_25-1_1_4_line_11 |  | 7 | 9 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_25-1_1_4_line_12 |  | 9 | 10 | 0.19007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_25-1_1_4_line_13 |  | 10 | 16 | 0.050719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_25-1_1_4_line_14 |  | 10 | 17 | 0.06859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_25-1_1_4_line_15 |  | 12 | 13 | 0.080811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_25-1_1_4_line_16 |  | 12 | 14 | 0.012282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_25-1_1_4_line_17 |  | 13 | 15 | 0.089444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_25-1_1_4_line_18 |  | 15 | 91 | 0.03007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_25-1_1_4_line_19 |  | 16 | 63 | 0.047645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_25-1_1_4_line_20 |  | 17 | 30 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_25-1_1_4_line_21 |  | 18 | 19 | 0.027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_25-1_1_4_line_22 |  | 18 | 20 | 0.033245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_25-1_1_4_line_23 |  | 22 | 23 | 0.015671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_25-1_1_4_line_24 |  | 23 | 24 | 0.027072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_25-1_1_4_line_25 |  | 24 | 33 | 0.0077848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_25-1_1_4_line_26 |  | 24 | 28 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_25-1_1_4_line_27 |  | 25 | 26 | 0.025517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_25-1_1_4_line_28 |  | 25 | 27 | 0.010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_25-1_1_4_line_29 |  | 26 | 28 | 0.027405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_25-1_1_4_line_30 |  | 27 | 29 | 0.02623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_25-1_1_4_line_31 |  | 27 | 30 | 0.041711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_25-1_1_4_line_32 |  | 29 | 31 | 0.03343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_25-1_1_4_line_33 |  | 29 | 32 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_25-1_1_4_line_34 |  | 31 | 37 | 0.023651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_25-1_1_4_line_35 |  | 32 | 34 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_25-1_1_4_line_36 |  | 33 | 69 | 0.0069727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_25-1_1_4_line_37 |  | 34 | 35 | 0.021016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_25-1_1_4_line_38 |  | 35 | 36 | 0.030538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_25-1_1_4_line_39 |  | 36 | 38 | 0.022343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_25-1_1_4_line_40 |  | 38 | 48 | 0.020894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_25-1_1_4_line_41 |  | 39 | 40 | 0.017832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_25-1_1_4_line_42 |  | 40 | 41 | 0.047297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_25-1_1_4_line_43 |  | 41 | 42 | 0.0122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_25-1_1_4_line_44 |  | 41 | 43 | 0.019686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_25-1_1_4_line_45 |  | 42 | 44 | 0.0042229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_25-1_1_4_line_46 |  | 43 | 45 | 0.012478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_25-1_1_4_line_47 |  | 44 | 46 | 0.012729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_25-1_1_4_line_48 |  | 45 | 50 | 0.0088266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_25-1_1_4_line_49 |  | 46 | 47 | 0.0078943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_25-1_1_4_line_50 |  | 48 | 49 | 0.0058496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_25-1_1_4_line_51 |  | 49 | 57 | 0.038032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_25-1_1_4_line_52 |  | 50 | 51 | 0.016182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_25-1_1_4_line_53 |  | 50 | 52 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_25-1_1_4_line_54 |  | 51 | 56 | 0.010736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_25-1_1_4_line_55 |  | 52 | 53 | 0.015675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_25-1_1_4_line_56 |  | 53 | 54 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_25-1_1_4_line_57 |  | 54 | 55 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_25-1_1_4_line_58 |  | 55 | 57 | 0.015966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_25-1_1_4_line_59 |  | 56 | 58 | 0.033265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_25-1_1_4_line_60 |  | 58 | 59 | 0.012661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_25-1_1_4_line_61 |  | 58 | 60 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_25-1_1_4_line_62 |  | 60 | 62 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_25-1_1_4_line_63 |  | 61 | 62 | 0.0059396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_25-1_1_4_line_64 |  | 63 | 64 | 0.028028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_25-1_1_4_line_65 |  | 63 | 65 | 0.071787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_25-1_1_4_line_66 |  | 64 | 66 | 0.03314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_25-1_1_4_line_67 |  | 65 | 67 | 0.053723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_25-1_1_4_line_68 |  | 65 | 68 | 0.085267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_25-1_1_4_line_69 |  | 67 | 92 | 0.027894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_25-1_1_4_line_70 |  | 68 | 90 | 0.022487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_25-1_1_4_line_71 |  | 69 | 70 | 0.029733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_25-1_1_4_line_72 |  | 70 | 71 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_25-1_1_4_line_73 |  | 71 | 72 | 0.011128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_25-1_1_4_line_74 |  | 72 | 73 | 0.039654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_25-1_1_4_line_75 |  | 72 | 74 | 0.013813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_25-1_1_4_line_76 |  | 73 | 76 | 0.007709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_25-1_1_4_line_77 |  | 73 | 77 | 0.014979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_25-1_1_4_line_78 |  | 74 | 75 | 0.004338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_25-1_1_4_line_79 |  | 76 | 80 | 0.016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_25-1_1_4_line_80 |  | 76 | 81 | 0.0036264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_25-1_1_4_line_81 |  | 77 | 79 | 0.019667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_25-1_1_4_line_82 |  | 78 | 79 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_25-1_1_4_line_83 |  | 80 | 84 | 0.0048146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_25-1_1_4_line_84 |  | 81 | 83 | 0.0033879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_25-1_1_4_line_85 |  | 82 | 83 | 0.0086812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_25-1_1_4_line_86 |  | 84 | 85 | 0.00856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_25-1_1_4_line_87 |  | 85 | 86 | 0.0040818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_25-1_1_4_line_88 |  | 86 | 87 | 0.0063051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_25-1_1_4_line_89 |  | 88 | 89 | 0.038638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_25-1_1_4_line_90 |  | 88 | 90 | 0.04292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_25-1_1_4_line_91 |  | 90 | 91 | 0.025575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_25-1_1_4_trafo_66 | 0.63 MVA 20/0.4 kV | 93 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2688791.8802 | 1279950.6881 | 2688779.2987 | 1279952.0777
1 | 2688791.8802 | 1279950.6881 | 2688801.5593 | 1279950.4781 | 2688814.4548 | 1279952.1849
2 | 2688779.2987 | 1279952.0777 | 2688778.5835 | 1279949.6871 | 2688776.8147 | 1279948.415 | 2688775.1327 | 1279948.2804
3 | 2688779.2987 | 1279952.0777 | 2688770.8352 | 1279954.3745 | 2688761.2287 | 1279957.2546 | 2688743.0093 | 1279967.0331
4 | 2688814.4548 | 1279952.1849 | 2688826.4597 | 1279955.6575 | 2688829.5796 | 1279957.0099
5 | 2688528.6696 | 1279881.7507 | 2688520.4731 | 1279888.2888 | 2688541.4178 | 1279913.7804
6 | 2688541.4178 | 1279913.7804 | 2688553.2824 | 1279904.5371
7 | 2688528.6696 | 1279881.7507 | 2688532.7999 | 1279881.8572 | 2688548.5758 | 1279870.6032
8 | 2688528.6696 | 1279881.7507 | 2688508.6494 | 1279854.7133
9 | 2688493.8128 | 1279834.6764 | 2688496.7925 | 1279832.8529 | 2688521.1621 | 1279819.4594
10 | 2688493.8128 | 1279834.6764 | 2688508.6494 | 1279854.7133
11 | 2688535.2585 | 1279811.7121 | 2688521.1621 | 1279819.4594
12 | 2688712.8279 | 1279789.995 | 2688691.6405 | 1279786.1397 | 2688678.4719 | 1279785.0853 | 2688662.8592 | 1279783.6938 | 2688653.6793 | 1279782.1657 | 2688644.2927 | 1279778.3991 | 2688630.3878 | 1279770.35 | 2688617.9845 | 1279777.3474 | 2688586.457 | 1279786.6706 | 2688563.6357 | 1279796.5474 | 2688537.7067 | 1279810.2699 | 2688535.2585 | 1279811.7121
13 | 2688712.8279 | 1279789.995 | 2688721.0871 | 1279775.3289 | 2688742.3147 | 1279748.9148
14 | 2688712.8279 | 1279789.995 | 2688718.9251 | 1279792.1886 | 2688728.1782 | 1279795.3415 | 2688738.9568 | 1279799.9521 | 2688752.1139 | 1279805.7661 | 2688763.2387 | 1279812.328 | 2688771.5389 | 1279820.382 | 2688772.6264 | 1279821.7471
15 | 2688509.9182 | 1279674.6929 | 2688513.5425 | 1279675.9817 | 2688515.3274 | 1279674.6852 | 2688512.6825 | 1279666.2161 | 2688521.969 | 1279668.1571 | 2688536.4365 | 1279671.288 | 2688548.7709 | 1279672.8856 | 2688554.5731 | 1279675.2192 | 2688565.6323 | 1279684.1817 | 2688574.2421 | 1279683.1657
16 | 2688509.9182 | 1279674.6929 | 2688507.714 | 1279673.3921 | 2688504.2276 | 1279668.4244 | 2688502.9217 | 1279665.0119
17 | 2688574.2421 | 1279683.1657 | 2688569.8989 | 1279673.2254 | 2688567.8632 | 1279664.7098 | 2688567.8957 | 1279652.055 | 2688570.5828 | 1279638.2169 | 2688578.1822 | 1279626.4544 | 2688587.2993 | 1279617.1834 | 2688601.2065 | 1279609.1069
18 | 2688601.2065 | 1279609.1069 | 2688627.2097 | 1279594.0059
19 | 2688772.1607 | 1279711.7766 | 2688742.3147 | 1279748.9148
20 | 2688783.9077 | 1279837.0737 | 2688783.7101 | 1279836.7791 | 2688779.5903 | 1279830.4896 | 2688772.6264 | 1279821.7471
21 | 2688713.8956 | 1279983.0629 | 2688690.3089 | 1279997.8096
22 | 2688743.0093 | 1279967.0331 | 2688718.461 | 1279980.2085 | 2688713.8956 | 1279983.0629
23 | 2688724.7434 | 1279906.3062 | 2688730.7802 | 1279920.7676
24 | 2688712.8323 | 1279882.029 | 2688720.8194 | 1279896.9063 | 2688724.7434 | 1279906.3062
25 | 2688712.8323 | 1279882.029 | 2688705.8648 | 1279885.5013
26 | 2688712.8323 | 1279882.029 | 2688723.6431 | 1279877.51 | 2688727.0874 | 1279876.6834
27 | 2688754.3171 | 1279874.7254 | 2688756.1981 | 1279874.7753 | 2688776.2065 | 1279875.5882 | 2688779.1714 | 1279875.7552 | 2688779.8115 | 1279875.787
28 | 2688790.0637 | 1279876.2974 | 2688779.8115 | 1279875.787
29 | 2688754.3171 | 1279874.7254 | 2688746.4959 | 1279874.5179 | 2688738.1291 | 1279874.8813 | 2688731.2733 | 1279875.6788 | 2688727.0874 | 1279876.6834
30 | 2688790.0637 | 1279876.2974 | 2688801.609 | 1279876.8828 | 2688816.3074 | 1279878.1051
31 | 2688790.0637 | 1279876.2974 | 2688791.3194 | 1279866.7526 | 2688792.7196 | 1279856.5872 | 2688792.4382 | 1279852.8242 | 2688791.7142 | 1279850.022 | 2688789.522 | 1279845.4407 | 2688783.9077 | 1279837.0737
32 | 2688816.3074 | 1279878.1051 | 2688817.9608 | 1279874.5715 | 2688821.8812 | 1279870.6605 | 2688828.5758 | 1279866.6023 | 2688836.8681 | 1279863.2132 | 2688843.7865 | 1279861.2048
33 | 2688816.3074 | 1279878.1051 | 2688816.1664 | 1279880.9832 | 2688816.9019 | 1279884.0191 | 2688818.4904 | 1279886.2894 | 2688821.2749 | 1279888.9559
34 | 2688866.9542 | 1279856.7236 | 2688851.7628 | 1279858.8894 | 2688843.7865 | 1279861.2048
35 | 2688821.2749 | 1279888.9559 | 2688821.2749 | 1279888.9559 | 2688826.2257 | 1279890.9432 | 2688838.0007 | 1279893.8552
36 | 2688705.8648 | 1279885.5013 | 2688701.0925 | 1279887.8797 | 2688699.659 | 1279888.6775
37 | 2688838.0007 | 1279893.8552 | 2688858.4016 | 1279898.9005
38 | 2688887.4057 | 1279908.255 | 2688872.0533 | 1279902.2766 | 2688858.4016 | 1279898.9005
39 | 2688907.7173 | 1279917.5382 | 2688892.0764 | 1279910.0738 | 2688887.4057 | 1279908.255
40 | 2688907.7173 | 1279917.5382 | 2688925.7825 | 1279928.1306
41 | 2688829.5796 | 1279957.0099 | 2688844.9843 | 1279963.6878 | 2688845.9363 | 1279964.1124
42 | 2688888.7353 | 1279984.1533 | 2688881.5562 | 1279979.9972 | 2688845.9363 | 1279964.1124
43 | 2688888.7353 | 1279984.1533 | 2688894.1141 | 1279973.203
44 | 2688888.7353 | 1279984.1533 | 2688903.8685 | 1279992.8889 | 2688905.6212 | 1279994.2387
45 | 2688891.5041 | 1279971.0041 | 2688891.4256 | 1279971.1495 | 2688894.4396 | 1279972.5405 | 2688894.1141 | 1279973.203
46 | 2688905.6212 | 1279994.2387 | 2688915.5072 | 1280001.852
47 | 2688897.5537 | 1279959.8051 | 2688891.5041 | 1279971.0041
48 | 2688922.5004 | 1280007.2376 | 2688915.5072 | 1280001.852
49 | 2688897.5537 | 1279959.8051 | 2688901.3058 | 1279952.8594
50 | 2688925.7825 | 1279928.1306 | 2688930.4386 | 1279931.6716
51 | 2688959.2588 | 1279956.4151 | 2688942.954 | 1279941.1896 | 2688930.4386 | 1279931.6716
52 | 2688922.5004 | 1280007.2376 | 2688934.8065 | 1280017.7451
53 | 2688922.5004 | 1280007.2376 | 2688929.9419 | 1279997.5721
54 | 2688934.8065 | 1280017.7451 | 2688942.9709 | 1280024.7163
55 | 2688929.9419 | 1279997.5721 | 2688931.2432 | 1279995.8819 | 2688938.1551 | 1279993.8511 | 2688941.7226 | 1279988.6125
56 | 2688941.7226 | 1279988.6125 | 2688948.6572 | 1279978.4296 | 2688948.6572 | 1279978.4296
57 | 2688948.6572 | 1279978.4296 | 2688945.918 | 1279976.2531 | 2688950.349 | 1279969.6642
58 | 2688959.2588 | 1279956.4151 | 2688950.349 | 1279969.6642
59 | 2688968.2686 | 1280046.3167 | 2688942.9709 | 1280024.7163
60 | 2688968.2686 | 1280046.3167 | 2688969.6696 | 1280047.5611 | 2688978.2489 | 1280054.1001
61 | 2688968.2686 | 1280046.3167 | 2688976.6057 | 1280030.5298
62 | 2688976.6057 | 1280030.5298 | 2688983.271 | 1280017.9087
63 | 2688986.0447 | 1280012.6565 | 2688983.271 | 1280017.9087
64 | 2688772.1607 | 1279711.7766 | 2688789.7615 | 1279689.9229
65 | 2688720.2536 | 1279662.0199 | 2688772.1607 | 1279711.7766
66 | 2688789.7615 | 1279689.9229 | 2688804.5065 | 1279671.6293 | 2688808.6626 | 1279662.9267
67 | 2688678.1809 | 1279695.5824 | 2688720.2536 | 1279662.0199
68 | 2688720.2536 | 1279662.0199 | 2688700.0358 | 1279642.6326 | 2688681.3068 | 1279622.1447 | 2688663.1596 | 1279598.8901
69 | 2688678.1809 | 1279695.5824 | 2688665.011 | 1279706.0823 | 2688657.9813 | 1279697.555
70 | 2688649.3254 | 1279581.1624 | 2688663.1596 | 1279598.8901
71 | 2688699.659 | 1279888.6775 | 2688683.7968 | 1279897.5056 | 2688674.2301 | 1279904.0304
72 | 2688674.2301 | 1279904.0304 | 2688667.6523 | 1279908.5167 | 2688661.0244 | 1279914.6622
73 | 2688652.8645 | 1279922.2283 | 2688661.0244 | 1279914.6622
74 | 2688625.5965 | 1279951.0765 | 2688635.7982 | 1279939.5866 | 2688652.8645 | 1279922.2283
75 | 2688652.8645 | 1279922.2283 | 2688649.1865 | 1279918.5254 | 2688642.5897 | 1279913.0171
76 | 2688625.5965 | 1279951.0765 | 2688621.3156 | 1279957.4954
77 | 2688625.5965 | 1279951.0765 | 2688613.2986 | 1279942.5248
78 | 2688642.5897 | 1279913.0171 | 2688639.2599 | 1279910.2367
79 | 2688621.3156 | 1279957.4954 | 2688634.5717 | 1279966.6913 | 2688634.5717 | 1279966.6913
80 | 2688621.3156 | 1279957.4954 | 2688619.3467 | 1279960.5407
81 | 2688613.2986 | 1279942.5248 | 2688600.0809 | 1279933.3335 | 2688596.5419 | 1279932.88 | 2688596.5419 | 1279932.88
82 | 2688587.5363 | 1279926.7521 | 2688596.5419 | 1279932.88
83 | 2688634.5717 | 1279966.6913 | 2688637.9788 | 1279970.093
84 | 2688619.3467 | 1279960.5407 | 2688617.5073 | 1279963.3858
85 | 2688612.7938 | 1279970.676 | 2688613.6397 | 1279969.368 | 2688617.5073 | 1279963.3858
86 | 2688637.9788 | 1279970.093 | 2688644.0365 | 1279976.141
87 | 2688644.0365 | 1279976.141 | 2688645.0888 | 1279977.1916 | 2688647.1942 | 1279978.7083
88 | 2688652.3101 | 1279982.3936 | 2688647.1942 | 1279978.7083
89 | 2688687.583 | 1279561.7065 | 2688700.6173 | 1279555.0779 | 2688722.1736 | 1279544.4921
90 | 2688649.3254 | 1279581.1624 | 2688687.583 | 1279561.7065
91 | 2688649.3254 | 1279581.1624 | 2688627.2097 | 1279594.0059

## bus_geodata
| x | y | coords
0 | 2688791.8802 | 1279950.6881
1 | 2688779.2987 | 1279952.0777
2 | 2688814.4548 | 1279952.1849
3 | 2688541.4178 | 1279913.7804
4 | 2688528.6696 | 1279881.7507
5 | 2688553.2824 | 1279904.5371
6 | 2688493.8128 | 1279834.6764
7 | 2688521.1621 | 1279819.4594
8 | 2688508.6494 | 1279854.7133
9 | 2688535.2585 | 1279811.7121
10 | 2688712.8279 | 1279789.995
11 | 2688548.5758 | 1279870.6032
12 | 2688509.9182 | 1279674.6929
13 | 2688574.2421 | 1279683.1657
14 | 2688502.9217 | 1279665.0119
15 | 2688601.2065 | 1279609.1069
16 | 2688742.3147 | 1279748.9148
17 | 2688772.6264 | 1279821.7471
18 | 2688713.8956 | 1279983.0629
19 | 2688690.3089 | 1279997.8096
20 | 2688743.0093 | 1279967.0331
21 | 2688775.1327 | 1279948.2804
22 | 2688730.7802 | 1279920.7676
23 | 2688724.7434 | 1279906.3062
24 | 2688712.8323 | 1279882.029
25 | 2688779.8115 | 1279875.787
26 | 2688754.3171 | 1279874.7254
27 | 2688790.0637 | 1279876.2974
28 | 2688727.0874 | 1279876.6834
29 | 2688816.3074 | 1279878.1051
30 | 2688783.9077 | 1279837.0737
31 | 2688843.7865 | 1279861.2048
32 | 2688821.2749 | 1279888.9559
33 | 2688705.8648 | 1279885.5013
34 | 2688838.0007 | 1279893.8552
35 | 2688858.4016 | 1279898.9005
36 | 2688887.4057 | 1279908.255
37 | 2688866.9542 | 1279856.7236
38 | 2688907.7173 | 1279917.5382
39 | 2688829.5796 | 1279957.0099
40 | 2688845.9363 | 1279964.1124
41 | 2688888.7353 | 1279984.1533
42 | 2688894.1141 | 1279973.203
43 | 2688905.6212 | 1279994.2387
44 | 2688891.5041 | 1279971.0041
45 | 2688915.5072 | 1280001.852
46 | 2688897.5537 | 1279959.8051
47 | 2688901.3058 | 1279952.8594
48 | 2688925.7825 | 1279928.1306
49 | 2688930.4386 | 1279931.6716
50 | 2688922.5004 | 1280007.2376
51 | 2688934.8065 | 1280017.7451
52 | 2688929.9419 | 1279997.5721
53 | 2688941.7226 | 1279988.6125
54 | 2688948.6572 | 1279978.4296
55 | 2688950.349 | 1279969.6642
56 | 2688942.9709 | 1280024.7163
57 | 2688959.2588 | 1279956.4151
58 | 2688968.2686 | 1280046.3167
59 | 2688978.2489 | 1280054.1001
60 | 2688976.6057 | 1280030.5298
61 | 2688986.0447 | 1280012.6565
62 | 2688983.271 | 1280017.9087
63 | 2688772.1607 | 1279711.7766
64 | 2688789.7615 | 1279689.9229
65 | 2688720.2536 | 1279662.0199
66 | 2688808.6626 | 1279662.9267
67 | 2688678.1809 | 1279695.5824
68 | 2688663.1596 | 1279598.8901
69 | 2688699.659 | 1279888.6775
70 | 2688674.2301 | 1279904.0304
71 | 2688661.0244 | 1279914.6622
72 | 2688652.8645 | 1279922.2283
73 | 2688625.5965 | 1279951.0765
74 | 2688642.5897 | 1279913.0171
75 | 2688639.2599 | 1279910.2367
76 | 2688621.3156 | 1279957.4954
77 | 2688613.2986 | 1279942.5248
78 | 2688587.5363 | 1279926.7521
79 | 2688596.5419 | 1279932.88
80 | 2688634.5717 | 1279966.6913
81 | 2688619.3467 | 1279960.5407
82 | 2688612.7938 | 1279970.676
83 | 2688617.5073 | 1279963.3858
84 | 2688637.9788 | 1279970.093
85 | 2688644.0365 | 1279976.141
86 | 2688647.1942 | 1279978.7083
87 | 2688652.3101 | 1279982.3936
88 | 2688687.583 | 1279561.7065
89 | 2688722.1736 | 1279544.4921
90 | 2688649.3254 | 1279581.1624
91 | 2688627.2097 | 1279594.0059
92 | 2688657.9813 | 1279697.555
93 | 2688630.3878 | 1279770.35

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97428 | -0.49567 | 0 | 0
1 | 0.97413 | -0.49856 | 0 | 0
2 | 0.97454 | -0.49048 | 0.0014689 | 0.00036813
3 | 0.99673 | -0.062914 | 0 | 0
4 | 0.99681 | -0.061387 | 0 | 0
5 | 0.9967 | -0.063443 | 0.0020018 | 0.0005017
6 | 0.99732 | -0.051527 | 0 | 0
7 | 0.99763 | -0.045602 | 0.0018509 | 0.00046388
8 | 0.99708 | -0.056249 | 0.0020953 | 0.00052514
9 | 0.99781 | -0.042037 | 0 | 0
10 | 1 | 0 | -0.27244 | -0.069954
11 | 0.99667 | -0.064152 | 0.0067038 | 0.0016801
12 | 0.97107 | -0.5571 | 0 | 0
13 | 0.97201 | -0.53858 | 0 | 0
14 | 0.97093 | -0.55991 | 0.012405 | 0.0031089
15 | 0.97305 | -0.51813 | 0.075961 | 0.019038
16 | 0.99689 | -0.05838 | 0.0020435 | 0.00051215
17 | 0.9923 | -0.14589 | 0.0014026 | 0.00035153
18 | 0.97348 | -0.51138 | 0.0020481 | 0.00051329
19 | 0.97333 | -0.51426 | 0.0056375 | 0.0014129
20 | 0.97372 | -0.50668 | 0.0035036 | 0.00087809
21 | 0.97412 | -0.49871 | 0.0012756 | 0.00031969
22 | 0.98095 | -0.36512 | 0.0023335 | 0.00058483
23 | 0.98098 | -0.36446 | 0.0013949 | 0.0003496
24 | 0.98107 | -0.36263 | 0 | 0
25 | 0.98506 | -0.28494 | 0.0012169 | 0.00030499
26 | 0.98349 | -0.31553 | 0.0034673 | 0.00086898
27 | 0.98571 | -0.27244 | 0.0011345 | 0.00028434
28 | 0.98189 | -0.34677 | 0.0057123 | 0.0014316
29 | 0.98457 | -0.2944 | 0 | 0
30 | 0.99018 | -0.18634 | 0.0040908 | 0.0010253
31 | 0.98446 | -0.29672 | 0.0010559 | 0.00026463
32 | 0.98407 | -0.30412 | 0.0019254 | 0.00048256
33 | 0.98069 | -0.37021 | 0.0027134 | 0.00068004
34 | 0.98341 | -0.31696 | 0.0015552 | 0.00038977
35 | 0.98264 | -0.33185 | 0.0014312 | 0.00035869
36 | 0.98157 | -0.35273 | 0.0012783 | 0.00032038
37 | 0.9844 | -0.29791 | 0.0027994 | 0.0007016
38 | 0.98081 | -0.36752 | 0 | 0
39 | 0.97475 | -0.48641 | 0.00090709 | 0.00022734
40 | 0.97499 | -0.48155 | 0.0013608 | 0.00034105
41 | 0.97571 | -0.46751 | 0 | 0
42 | 0.97565 | -0.46853 | 0.00050939 | 0.00012767
43 | 0.97609 | -0.46002 | 0.0003892 | 9.7542e-05
44 | 0.97564 | -0.46885 | 0.0013841 | 0.00034688
45 | 0.97633 | -0.45518 | 0.0016953 | 0.00042489
46 | 0.97561 | -0.46948 | 0.0012645 | 0.00031692
47 | 0.9756 | -0.46969 | 0.0014311 | 0.00035867
48 | 0.9801 | -0.38138 | 0 | 0
49 | 0.9799 | -0.38526 | 0.00094743 | 0.00023745
50 | 0.97652 | -0.45149 | 0 | 0
51 | 0.97638 | -0.45421 | 0.0016947 | 0.00042473
52 | 0.97688 | -0.44434 | 0.00049041 | 0.00012291
53 | 0.97736 | -0.43501 | 0.0010793 | 0.00027049
54 | 0.97774 | -0.42745 | 0.00097813 | 0.00024514
55 | 0.97811 | -0.42023 | 0.00097852 | 0.00024524
56 | 0.97631 | -0.45568 | 0.0011385 | 0.00028534
57 | 0.97864 | -0.40988 | 0 | 0
58 | 0.97611 | -0.45956 | 0 | 0
59 | 0.97609 | -0.45989 | 0.0014534 | 0.00036425
60 | 0.97603 | -0.46116 | 0.0015304 | 0.00038355
61 | 0.97597 | -0.46225 | 0.0018698 | 0.00046862
62 | 0.97598 | -0.46205 | 0.0015123 | 0.00037901
63 | 0.99401 | -0.11269 | 0 | 0
64 | 0.99392 | -0.11457 | 0 | 0
65 | 0.98981 | -0.19271 | 0 | 0
66 | 0.9938 | -0.11678 | 0.0037818 | 0.0009478
67 | 0.98944 | -0.19981 | 0 | 0
68 | 0.9804 | -0.37404 | 0.0077493 | 0.0019422
69 | 0.98036 | -0.37666 | 0.0042165 | 0.0010568
70 | 0.97907 | -0.40192 | 0.0085608 | 0.0021455
71 | 0.97846 | -0.41374 | 0.0085562 | 0.0021444
72 | 0.97816 | -0.41975 | 0 | 0
73 | 0.97726 | -0.43738 | 0 | 0
74 | 0.97809 | -0.42108 | 0.002039 | 0.00051103
75 | 0.97808 | -0.42134 | 0.003245 | 0.00081328
76 | 0.97715 | -0.43959 | 0 | 0
77 | 0.97714 | -0.43976 | 0.0030679 | 0.0007689
78 | 0.97701 | -0.44235 | 0.0029043 | 0.00072788
79 | 0.97704 | -0.44177 | 0.0027049 | 0.0006779
80 | 0.97697 | -0.44308 | 0.0047114 | 0.0011808
81 | 0.97713 | -0.43985 | 0.0018777 | 0.00047059
82 | 0.97712 | -0.44017 | 0.0012519 | 0.00031375
83 | 0.97713 | -0.43997 | 0.00072508 | 0.00018172
84 | 0.97694 | -0.44371 | 0.0020518 | 0.00051423
85 | 0.9769 | -0.44451 | 0.00079923 | 0.00020031
86 | 0.97688 | -0.44482 | 0.0022357 | 0.00056033
87 | 0.97687 | -0.44506 | 0.0020495 | 0.00051366
88 | 0.97794 | -0.422 | 0.0020627 | 0.00051696
89 | 0.97789 | -0.423 | 0.001419 | 0.00035563
90 | 0.97808 | -0.41927 | 0 | 0
91 | 0.97552 | -0.46934 | 0.018796 | 0.0047107
92 | 0.98925 | -0.2035 | 0.0074252 | 0.0018609
93 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012473 | 0.0031279 | -0.012472 | -0.003127 | 1.7177e-06 | 9.4217e-07 | 0.019051 | 0.019051 | 0.019051 | 0.97428 | -0.49567 | 0.97413 | -0.49856 | 5.2339
1 | -0.012473 | -0.0031279 | 0.012476 | 0.0031296 | 3.0881e-06 | 1.6938e-06 | 0.019051 | 0.019051 | 0.019051 | 0.97428 | -0.49567 | 0.97454 | -0.49048 | 5.2338
2 | 0.0012756 | 0.00031962 | -0.0012756 | -0.00031969 | 9.0569e-09 | -7.3397e-08 | 0.0019485 | 0.0019485 | 0.0019485 | 0.97413 | -0.49856 | 0.97412 | -0.49871 | 0.53531
3 | 0.011196 | 0.0028074 | -0.011192 | -0.0028051 | 4.3302e-06 | 2.2801e-06 | 0.017103 | 0.017103 | 0.017103 | 0.97413 | -0.49856 | 0.97372 | -0.50668 | 4.6986
4 | -0.013945 | -0.0034978 | 0.013948 | 0.0034993 | 2.7031e-06 | 1.5319e-06 | 0.021294 | 0.021294 | 0.021294 | 0.97454 | -0.49048 | 0.97475 | -0.48641 | 5.85
5 | -0.0020019 | -0.00050154 | 0.002002 | 0.00050107 | 1.4561e-07 | -4.7352e-07 | 0.0029885 | 0.0029883 | 0.0029885 | 0.99673 | -0.062914 | 0.99681 | -0.061387 | 0.82103
6 | 0.0020019 | 0.00050154 | -0.0020018 | -0.0005017 | 5.0375e-08 | -1.6378e-07 | 0.0029885 | 0.0029886 | 0.0029886 | 0.99673 | -0.062914 | 0.9967 | -0.063443 | 0.82105
7 | 0.0067047 | 0.0016804 | -0.0067038 | -0.0016801 | 8.8317e-07 | 2.588e-07 | 0.010009 | 0.010009 | 0.010009 | 0.99681 | -0.061387 | 0.99667 | -0.064152 | 2.7497
8 | -0.0087067 | -0.0021815 | 0.0087088 | 0.0021824 | 2.1311e-06 | 9.2522e-07 | 0.012997 | 0.012997 | 0.012997 | 0.99681 | -0.061387 | 0.99708 | -0.056249 | 3.5706
9 | -0.010807 | -0.0027088 | 0.01081 | 0.0027103 | 3.0515e-06 | 1.5444e-06 | 0.016124 | 0.016124 | 0.016124 | 0.99732 | -0.051527 | 0.99763 | -0.045602 | 4.4296
10 | 0.010807 | 0.0027088 | -0.010804 | -0.0027075 | 2.4307e-06 | 1.2304e-06 | 0.016124 | 0.016124 | 0.016124 | 0.99732 | -0.051527 | 0.99708 | -0.056249 | 4.4296
11 | -0.012661 | -0.0031742 | 0.012663 | 0.0031753 | 2.1511e-06 | 1.1666e-06 | 0.018884 | 0.018884 | 0.018884 | 0.99763 | -0.045602 | 0.99781 | -0.042037 | 5.188
12 | -0.012663 | -0.0031753 | 0.012688 | 0.0031891 | 2.5417e-05 | 1.3779e-05 | 0.018884 | 0.018883 | 0.018884 | 0.99781 | -0.042037 | 1 | 0 | 5.188
13 | 0.13465 | 0.034908 | -0.13427 | -0.034664 | 0.00038336 | 0.00024403 | 0.20078 | 0.20078 | 0.20078 | 1 | 0 | 0.99689 | -0.05838 | 27.5798
14 | 0.12345 | 0.031857 | -0.12258 | -0.0313 | 0.00087104 | 0.00055657 | 0.18402 | 0.18402 | 0.18402 | 1 | 0 | 0.9923 | -0.14589 | 50.5559
15 | -0.012406 | -0.0031098 | 0.012417 | 0.0031159 | 1.0952e-05 | 6.0088e-06 | 0.019011 | 0.019011 | 0.019011 | 0.97107 | -0.5571 | 0.97201 | -0.53858 | 5.2228
16 | 0.012406 | 0.0031098 | -0.012405 | -0.0031089 | 1.6647e-06 | 9.1345e-07 | 0.019011 | 0.019011 | 0.019011 | 0.97107 | -0.5571 | 0.97093 | -0.55991 | 5.2228
17 | -0.012417 | -0.0031159 | 0.01243 | 0.0031225 | 1.2122e-05 | 6.6481e-06 | 0.019011 | 0.01901 | 0.019011 | 0.97201 | -0.53858 | 0.97305 | -0.51813 | 5.2227
18 | -0.088391 | -0.02216 | 0.088597 | 0.022292 | 0.00020604 | 0.00013149 | 0.13517 | 0.13517 | 0.13517 | 0.97305 | -0.51813 | 0.97552 | -0.46934 | 37.1353
19 | 0.13223 | 0.034152 | -0.13188 | -0.033929 | 0.00034927 | 0.0002223 | 0.19773 | 0.19773 | 0.19773 | 0.99689 | -0.05838 | 0.99401 | -0.11269 | 27.1609
20 | 0.12118 | 0.030949 | -0.12094 | -0.030798 | 0.00023643 | 0.00015107 | 0.18192 | 0.18192 | 0.18192 | 0.9923 | -0.14589 | 0.99018 | -0.18634 | 49.9781
21 | 0.0056383 | 0.001413 | -0.0056375 | -0.0014129 | 7.7482e-07 | 1.501e-07 | 0.0086184 | 0.0086185 | 0.0086185 | 0.97348 | -0.51138 | 0.97333 | -0.51426 | 2.3677
22 | -0.0076863 | -0.0019263 | 0.007688 | 0.001927 | 1.7209e-06 | 6.8793e-07 | 0.011749 | 0.011749 | 0.011749 | 0.97348 | -0.51138 | 0.97372 | -0.50668 | 3.2277
23 | -0.0023335 | -0.00058483 | 0.0023336 | 0.00058468 | 7.3631e-08 | -1.5071e-07 | 0.0035397 | 0.0035397 | 0.0035397 | 0.98095 | -0.36512 | 0.98098 | -0.36446 | 0.97246
24 | -0.0037285 | -0.00093428 | 0.0037288 | 0.00093415 | 3.2471e-07 | -1.34e-07 | 0.0056556 | 0.0056555 | 0.0056556 | 0.98098 | -0.36446 | 0.98107 | -0.36263 | 1.5537
25 | 0.053859 | 0.013553 | -0.053839 | -0.013541 | 1.949e-05 | 1.2375e-05 | 0.081708 | 0.081708 | 0.081708 | 0.98107 | -0.36263 | 0.98069 | -0.37021 | 22.4474
26 | -0.057588 | -0.014487 | 0.057631 | 0.014515 | 4.3675e-05 | 2.7759e-05 | 0.087364 | 0.087364 | 0.087364 | 0.98107 | -0.36263 | 0.98189 | -0.34677 | 24.0011
27 | 0.067004 | 0.016938 | -0.066906 | -0.016876 | 9.8128e-05 | 6.2478e-05 | 0.10127 | 0.10127 | 0.10127 | 0.98506 | -0.28494 | 0.98349 | -0.31553 | 27.8204
28 | -0.068221 | -0.017243 | 0.068261 | 0.017269 | 4.092e-05 | 2.6058e-05 | 0.1031 | 0.1031 | 0.1031 | 0.98506 | -0.28494 | 0.98571 | -0.27244 | 28.3254
29 | 0.063438 | 0.016007 | -0.063343 | -0.015947 | 9.4754e-05 | 6.0295e-05 | 0.09602 | 0.096021 | 0.096021 | 0.98349 | -0.31553 | 0.98189 | -0.34677 | 26.3793
30 | 0.046971 | 0.01191 | -0.046921 | -0.011878 | 4.9523e-05 | 3.1361e-05 | 0.070956 | 0.070956 | 0.070956 | 0.98571 | -0.27244 | 0.98457 | -0.2944 | 19.4934
31 | -0.11637 | -0.029464 | 0.11685 | 0.029772 | 0.00048326 | 0.00030876 | 0.17577 | 0.17577 | 0.17577 | 0.98571 | -0.27244 | 0.99018 | -0.18634 | 48.2893
32 | 0.0038559 | 0.00096588 | -0.0038555 | -0.00096603 | 4.2571e-07 | -1.5264e-07 | 0.0058273 | 0.0058275 | 0.0058275 | 0.98457 | -0.2944 | 0.98446 | -0.29672 | 1.601
33 | 0.043065 | 0.010913 | -0.043045 | -0.0109 | 2.0092e-05 | 1.2698e-05 | 0.065129 | 0.065129 | 0.065129 | 0.98457 | -0.2944 | 0.98407 | -0.30412 | 17.8925
34 | 0.0027996 | 0.0007014 | -0.0027994 | -0.0007016 | 1.5881e-07 | -1.9905e-07 | 0.0042315 | 0.0042316 | 0.0042316 | 0.98446 | -0.29672 | 0.9844 | -0.29791 | 1.1625
35 | 0.04112 | 0.010417 | -0.041094 | -0.010401 | 2.5352e-05 | 1.6004e-05 | 0.062217 | 0.062217 | 0.062217 | 0.98407 | -0.30412 | 0.98341 | -0.31696 | 17.0927
36 | 0.051126 | 0.012861 | -0.05111 | -0.012851 | 1.5742e-05 | 9.9869e-06 | 0.077591 | 0.077591 | 0.077591 | 0.98069 | -0.37021 | 0.98036 | -0.37666 | 21.3163
37 | 0.039539 | 0.010011 | -0.039511 | -0.0099937 | 2.8243e-05 | 1.7809e-05 | 0.059864 | 0.059864 | 0.059864 | 0.98341 | -0.31696 | 0.98264 | -0.33185 | 16.4462
38 | 0.03808 | 0.009635 | -0.038042 | -0.009611 | 3.8123e-05 | 2.4012e-05 | 0.057697 | 0.057697 | 0.057697 | 0.98264 | -0.33185 | 0.98157 | -0.35273 | 15.8509
39 | 0.036763 | 0.0092906 | -0.036737 | -0.0092742 | 2.605e-05 | 1.639e-05 | 0.055759 | 0.055759 | 0.055759 | 0.98157 | -0.35273 | 0.98081 | -0.36752 | 15.3185
40 | 0.036737 | 0.0092742 | -0.036713 | -0.0092589 | 2.4361e-05 | 1.5327e-05 | 0.055759 | 0.055759 | 0.055759 | 0.98081 | -0.36752 | 0.9801 | -0.38138 | 15.3185
41 | -0.014855 | -0.0037266 | 0.014858 | 0.0037286 | 3.4393e-06 | 1.9788e-06 | 0.022679 | 0.022678 | 0.022679 | 0.97475 | -0.48641 | 0.97499 | -0.48155 | 6.2304
42 | -0.016219 | -0.0040697 | 0.01623 | 0.004076 | 1.0869e-05 | 6.3659e-06 | 0.024755 | 0.024755 | 0.024755 | 0.97499 | -0.48155 | 0.97571 | -0.46751 | 6.8009
43 | 0.0045894 | 0.0011499 | -0.0045892 | -0.0011499 | 2.2412e-07 | -8.9288e-09 | 0.0069991 | 0.0069992 | 0.0069992 | 0.97571 | -0.46751 | 0.97565 | -0.46853 | 1.9228
44 | -0.02082 | -0.0052259 | 0.020827 | 0.0052305 | 7.4436e-06 | 4.5179e-06 | 0.031754 | 0.031754 | 0.031754 | 0.97571 | -0.46751 | 0.97609 | -0.46002 | 8.7237
45 | 0.0040798 | 0.0010223 | -0.0040798 | -0.0010223 | 6.1311e-08 | -1.3497e-08 | 0.0062223 | 0.0062223 | 0.0062223 | 0.97565 | -0.46853 | 0.97564 | -0.46885 | 1.7094
46 | -0.021216 | -0.005328 | 0.021221 | 0.005331 | 4.8961e-06 | 2.9775e-06 | 0.032347 | 0.032347 | 0.032347 | 0.97609 | -0.46002 | 0.97633 | -0.45518 | 8.8866
47 | 0.0026957 | 0.00067539 | -0.0026956 | -0.0006755 | 8.0683e-08 | -1.0731e-07 | 0.0041113 | 0.0041114 | 0.0041114 | 0.97564 | -0.46885 | 0.97561 | -0.46948 | 1.1295
48 | -0.022916 | -0.0057559 | 0.022921 | 0.0057583 | 4.0388e-06 | 2.4744e-06 | 0.034931 | 0.034931 | 0.034931 | 0.97633 | -0.45518 | 0.97652 | -0.45149 | 9.5965
49 | 0.0014311 | 0.00035858 | -0.0014311 | -0.00035867 | 1.4104e-08 | -8.9549e-08 | 0.0021827 | 0.0021828 | 0.0021828 | 0.97561 | -0.46948 | 0.9756 | -0.46969 | 0.59966
50 | 0.036713 | 0.0092589 | -0.036706 | -0.0092546 | 6.8202e-06 | 4.2912e-06 | 0.055759 | 0.055759 | 0.055759 | 0.9801 | -0.38138 | 0.9799 | -0.38526 | 15.3185
51 | 0.035759 | 0.0090171 | -0.035717 | -0.0089907 | 4.2083e-05 | 2.6455e-05 | 0.054321 | 0.054321 | 0.054321 | 0.9799 | -0.38526 | 0.97864 | -0.40988 | 14.9233
52 | 0.0092025 | 0.0023063 | -0.0092013 | -0.0023058 | 1.1932e-06 | 5.6125e-07 | 0.014023 | 0.014023 | 0.014023 | 0.97652 | -0.45149 | 0.97638 | -0.45421 | 3.8524
53 | -0.032123 | -0.0080647 | 0.032134 | 0.0080715 | 1.0962e-05 | 6.8632e-06 | 0.048954 | 0.048954 | 0.048954 | 0.97652 | -0.45149 | 0.97688 | -0.44434 | 13.4488
54 | 0.0075066 | 0.001881 | -0.0075061 | -0.0018808 | 5.2689e-07 | 2.0295e-07 | 0.01144 | 0.01144 | 0.01144 | 0.97638 | -0.45421 | 0.97631 | -0.45568 | 3.1429
55 | -0.032624 | -0.0081944 | 0.032639 | 0.0082035 | 1.452e-05 | 9.0965e-06 | 0.049701 | 0.049701 | 0.049701 | 0.97688 | -0.44434 | 0.97736 | -0.43501 | 13.654
56 | -0.033718 | -0.008474 | 0.03373 | 0.0084817 | 1.2179e-05 | 7.6401e-06 | 0.051344 | 0.051344 | 0.051344 | 0.97736 | -0.43501 | 0.97774 | -0.42745 | 14.1055
57 | -0.034708 | -0.0087268 | 0.03472 | 0.0087343 | 1.1973e-05 | 7.5194e-06 | 0.052832 | 0.052832 | 0.052832 | 0.97774 | -0.42745 | 0.97811 | -0.42023 | 14.5144
58 | -0.035699 | -0.0089796 | 0.035717 | 0.0089907 | 1.7667e-05 | 1.1107e-05 | 0.054321 | 0.054321 | 0.054321 | 0.97811 | -0.42023 | 0.97864 | -0.40988 | 14.9233
59 | 0.0063676 | 0.0015955 | -0.0063664 | -0.0015951 | 1.1749e-06 | 3.3604e-07 | 0.0097048 | 0.009705 | 0.009705 | 0.97631 | -0.45568 | 0.97611 | -0.45956 | 2.6662
60 | 0.0014534 | 0.00036411 | -0.0014534 | -0.00036425 | 2.3307e-08 | -1.4334e-07 | 0.0022156 | 0.0022156 | 0.0022156 | 0.97611 | -0.45956 | 0.97609 | -0.45989 | 0.60869
61 | 0.004913 | 0.001231 | -0.0049126 | -0.001231 | 3.7553e-07 | 1.7193e-08 | 0.0074894 | 0.0074895 | 0.0074895 | 0.97611 | -0.45956 | 0.97603 | -0.46116 | 2.0575
62 | 0.0033822 | 0.00084747 | -0.0033821 | -0.00084756 | 1.4231e-07 | -8.7297e-08 | 0.0051563 | 0.0051564 | 0.0051564 | 0.97603 | -0.46116 | 0.97598 | -0.46205 | 1.4166
63 | -0.0018698 | -0.00046862 | 0.0018698 | 0.00046855 | 1.8101e-08 | -6.264e-08 | 0.0028508 | 0.0028508 | 0.0028508 | 0.97597 | -0.46225 | 0.97598 | -0.46205 | 0.78318
64 | 0.0037825 | 0.00094748 | -0.0037822 | -0.00094763 | 3.3697e-07 | -1.4762e-07 | 0.0056622 | 0.0056623 | 0.0056623 | 0.99401 | -0.11269 | 0.99392 | -0.11457 | 1.5556
65 | 0.12809 | 0.032982 | -0.1276 | -0.032666 | 0.00049655 | 0.00031594 | 0.19207 | 0.19207 | 0.19207 | 0.99401 | -0.11269 | 0.98981 | -0.19271 | 26.3832
66 | 0.0037822 | 0.00094763 | -0.0037818 | -0.0009478 | 3.9846e-07 | -1.7444e-07 | 0.0056623 | 0.0056624 | 0.0056624 | 0.99392 | -0.11457 | 0.9938 | -0.11678 | 1.5556
67 | 0.007429 | 0.0018623 | -0.0074265 | -0.0018614 | 2.513e-06 | 9.1804e-07 | 0.011168 | 0.011169 | 0.011169 | 0.98981 | -0.19271 | 0.98944 | -0.19981 | 3.0683
68 | 0.12017 | 0.030804 | -0.11912 | -0.030135 | 0.0010464 | 0.00066861 | 0.1809 | 0.1809 | 0.1809 | 0.98981 | -0.19271 | 0.9804 | -0.37404 | 49.6983
69 | 0.0074265 | 0.0018614 | -0.0074252 | -0.0018609 | 1.3048e-06 | 4.769e-07 | 0.011169 | 0.011169 | 0.011169 | 0.98944 | -0.19981 | 0.98925 | -0.2035 | 3.0684
70 | 0.11137 | 0.028193 | -0.11113 | -0.028039 | 0.00024124 | 0.00015411 | 0.16914 | 0.16914 | 0.16914 | 0.9804 | -0.37404 | 0.97808 | -0.41927 | 46.4671
71 | 0.046894 | 0.011794 | -0.046837 | -0.011758 | 5.6511e-05 | 3.5792e-05 | 0.071191 | 0.071192 | 0.071192 | 0.98036 | -0.37666 | 0.97907 | -0.40192 | 19.5581
72 | 0.038276 | 0.0096126 | -0.038255 | -0.009599 | 2.158e-05 | 1.3598e-05 | 0.058181 | 0.058181 | 0.058181 | 0.97907 | -0.40192 | 0.97846 | -0.41374 | 15.9837
73 | 0.029699 | 0.0074546 | -0.02969 | -0.0074493 | 8.5138e-06 | 5.3091e-06 | 0.045169 | 0.045169 | 0.045169 | 0.97846 | -0.41374 | 0.97816 | -0.41975 | 12.409
74 | 0.024406 | 0.006125 | -0.024385 | -0.0061124 | 2.0501e-05 | 1.2623e-05 | 0.03713 | 0.03713 | 0.03713 | 0.97816 | -0.41975 | 0.97726 | -0.43738 | 10.2006
75 | 0.0052844 | 0.0013243 | -0.0052841 | -0.0013243 | 3.3475e-07 | 4.0863e-08 | 0.0080389 | 0.0080389 | 0.0080389 | 0.97816 | -0.41975 | 0.97809 | -0.42108 | 2.2085
76 | 0.015707 | 0.0039373 | -0.015705 | -0.0039363 | 1.6535e-06 | 9.6164e-07 | 0.023916 | 0.023916 | 0.023916 | 0.97726 | -0.43738 | 0.97715 | -0.43959 | 6.5703
77 | 0.0086787 | 0.0021751 | -0.0086777 | -0.0021747 | 9.8088e-07 | 4.4011e-07 | 0.013215 | 0.013215 | 0.013215 | 0.97726 | -0.43738 | 0.97714 | -0.43976 | 3.6304
78 | 0.0032451 | 0.00081325 | -0.003245 | -0.00081328 | 3.9648e-08 | -2.9069e-08 | 0.0049368 | 0.0049369 | 0.0049369 | 0.97809 | -0.42108 | 0.97808 | -0.42134 | 1.3563
79 | 0.01185 | 0.0029704 | -0.011848 | -0.0029693 | 1.9702e-06 | 1.0589e-06 | 0.018046 | 0.018046 | 0.018046 | 0.97715 | -0.43959 | 0.97697 | -0.44308 | 4.9576
80 | 0.0038547 | 0.00096591 | -0.0038547 | -0.00096593 | 4.6857e-08 | -1.5437e-08 | 0.00587 | 0.00587 | 0.00587 | 0.97715 | -0.43959 | 0.97713 | -0.43985 | 1.6126
81 | 0.0056097 | 0.0014058 | -0.0056092 | -0.0014057 | 5.3823e-07 | 9.8132e-08 | 0.0085426 | 0.0085427 | 0.0085427 | 0.97714 | -0.43976 | 0.97704 | -0.44177 | 2.3469
82 | -0.0029043 | -0.00072788 | 0.0029044 | 0.0007278 | 7.9921e-08 | -8.5264e-08 | 0.0044233 | 0.0044233 | 0.0044233 | 0.97701 | -0.44235 | 0.97704 | -0.44177 | 1.2152
83 | 0.0071368 | 0.0017885 | -0.0071366 | -0.0017885 | 2.1333e-07 | 7.6243e-08 | 0.01087 | 0.01087 | 0.01087 | 0.97697 | -0.44308 | 0.97694 | -0.44371 | 2.9863
84 | 0.001977 | 0.00049534 | -0.001977 | -0.00049537 | 1.1515e-08 | -3.5068e-08 | 0.0030106 | 0.0030106 | 0.0030106 | 0.97713 | -0.43985 | 0.97713 | -0.43997 | 0.82709
85 | -0.0012519 | -0.00031375 | 0.0012519 | 0.00031365 | 1.1832e-08 | -1.0117e-07 | 0.0019065 | 0.0019064 | 0.0019065 | 0.97712 | -0.44017 | 0.97713 | -0.43997 | 0.52375
86 | 0.0050848 | 0.0012742 | -0.0050846 | -0.0012742 | 1.9254e-07 | 1.605e-08 | 0.0077448 | 0.0077448 | 0.0077448 | 0.97694 | -0.44371 | 0.9769 | -0.44451 | 2.1277
87 | 0.0042853 | 0.0010739 | -0.0042853 | -0.0010739 | 6.5218e-08 | -9.3643e-09 | 0.0065274 | 0.0065274 | 0.0065274 | 0.9769 | -0.44451 | 0.97688 | -0.44482 | 1.7933
88 | 0.0020496 | 0.0005136 | -0.0020495 | -0.00051366 | 2.3044e-08 | -6.4188e-08 | 0.0031219 | 0.0031219 | 0.0031219 | 0.97688 | -0.44482 | 0.97687 | -0.44506 | 0.85768
89 | 0.001419 | 0.00035518 | -0.001419 | -0.00035563 | 6.7545e-08 | -4.4153e-07 | 0.002159 | 0.0021592 | 0.0021592 | 0.97794 | -0.422 | 0.97789 | -0.423 | 0.59318
90 | -0.0034817 | -0.00087215 | 0.0034822 | 0.0008719 | 4.5169e-07 | -2.4951e-07 | 0.0052976 | 0.0052974 | 0.0052976 | 0.97794 | -0.422 | 0.97808 | -0.41927 | 1.4554
91 | 0.10765 | 0.027167 | -0.10739 | -0.027002 | 0.00025745 | 0.00016445 | 0.16384 | 0.16384 | 0.16384 | 0.97808 | -0.41927 | 0.97552 | -0.46934 | 45.0118

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27244 | 0.069954

## res_load
| p_mw | q_mvar
0 | 0.0014689 | 0.00036813
1 | 0.0020018 | 0.0005017
2 | 0.0018509 | 0.00046388
3 | 0.0020953 | 0.00052514
4 | 0.0067038 | 0.0016801
5 | 0.012405 | 0.0031089
6 | 0.075961 | 0.019038
7 | 0.0020435 | 0.00051215
8 | 0.0014026 | 0.00035153
9 | 0.0020481 | 0.00051329
10 | 0.0056375 | 0.0014129
11 | 0.0035036 | 0.00087809
12 | 0.0012756 | 0.00031969
13 | 0.0023335 | 0.00058483
14 | 0.0013949 | 0.0003496
15 | 0.0012169 | 0.00030499
16 | 0.0034673 | 0.00086898
17 | 0.0011345 | 0.00028434
18 | 0.0057123 | 0.0014316
19 | 0.0040908 | 0.0010253
20 | 0.0010559 | 0.00026463
21 | 0.0019254 | 0.00048256
22 | 0.0027134 | 0.00068004
23 | 0.0015552 | 0.00038977
24 | 0.0014312 | 0.00035869
25 | 0.0012783 | 0.00032038
26 | 0.0027994 | 0.0007016
27 | 0.00090709 | 0.00022734
28 | 0.0013608 | 0.00034105
29 | 0.00050939 | 0.00012767
30 | 0.0003892 | 9.7542e-05
31 | 0.0013841 | 0.00034688
32 | 0.0016953 | 0.00042489
33 | 0.0012645 | 0.00031692
34 | 0.0014311 | 0.00035867
35 | 0.00094743 | 0.00023745
36 | 0.0016947 | 0.00042473
37 | 0.00049041 | 0.00012291
38 | 0.0010793 | 0.00027049
39 | 0.00097813 | 0.00024514
40 | 0.00097852 | 0.00024524
41 | 0.0011385 | 0.00028534
42 | 0.0014534 | 0.00036425
43 | 0.0015304 | 0.00038355
44 | 0.0018698 | 0.00046862
45 | 0.0015123 | 0.00037901
46 | 0.0037818 | 0.0009478
47 | 0.0077493 | 0.0019422
48 | 0.0042165 | 0.0010568
49 | 0.0085608 | 0.0021455
50 | 0.0085562 | 0.0021444
51 | 0.002039 | 0.00051103
52 | 0.003245 | 0.00081328
53 | 0.0030679 | 0.0007689
54 | 0.0029043 | 0.00072788
55 | 0.0027049 | 0.0006779
56 | 0.0047114 | 0.0011808
57 | 0.0018777 | 0.00047059
58 | 0.0012519 | 0.00031375
59 | 0.00072508 | 0.00018172
60 | 0.0020518 | 0.00051423
61 | 0.00079923 | 0.00020031
62 | 0.0022357 | 0.00056033
63 | 0.0020495 | 0.00051366
64 | 0.0020627 | 0.00051696
65 | 0.001419 | 0.00035563
66 | 0.018796 | 0.0047107
67 | 0.0074252 | 0.0018609

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1