## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2528-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2528-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2528-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2528-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2528-2_0_4_node_90 | 0.4 | n |  | TRUE
5 | bus_LV_2528-2_0_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_2528-2_0_4_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_2528-2_0_4_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_2528-2_0_4_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_2528-2_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2528-2_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2528-2_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2528-2_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2528-2_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2528-2_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_2528-2_0_4_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_2528-2_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2528-2_0_4_node_131 | 0.4 | n |  | TRUE
18 | bus_LV_2528-2_0_4_node_127 | 0.4 | n |  | TRUE
19 | bus_LV_2528-2_0_4_node_129 | 0.4 | n |  | TRUE
20 | bus_LV_2528-2_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2528-2_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_2528-2_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2528-2_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_2528-2_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2528-2_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2528-2_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2528-2_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2528-2_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2528-2_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_2528-2_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_2528-2_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_2528-2_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2528-2_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_2528-2_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2528-2_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2528-2_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2528-2_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2528-2_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2528-2_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_2528-2_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2528-2_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_2528-2_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2528-2_0_4_node_119 | 0.4 | n |  | TRUE
44 | bus_LV_2528-2_0_4_node_120 | 0.4 | n |  | TRUE
45 | bus_LV_2528-2_0_4_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_2528-2_0_4_node_121 | 0.4 | n |  | TRUE
47 | bus_LV_2528-2_0_4_node_132 | 0.4 | n |  | TRUE
48 | bus_LV_2528-2_0_4_node_117 | 0.4 | n |  | TRUE
49 | bus_LV_2528-2_0_4_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_2528-2_0_4_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_2528-2_0_4_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_2528-2_0_4_node_138 | 0.4 | n |  | TRUE
53 | bus_LV_2528-2_0_4_node_137 | 0.4 | n |  | TRUE
54 | bus_LV_2528-2_0_4_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_2528-2_0_4_node_133 | 0.4 | n |  | TRUE
56 | bus_LV_2528-2_0_4_node_134 | 0.4 | n |  | TRUE
57 | bus_LV_2528-2_0_4_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_2528-2_0_4_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_2528-2_0_4_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_2528-2_0_4_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_2528-2_0_4_node_103 | 0.4 | n |  | TRUE
62 | bus_LV_2528-2_0_4_node_108 | 0.4 | n |  | TRUE
63 | bus_LV_2528-2_0_4_node_136 | 0.4 | n |  | TRUE
64 | bus_LV_2528-2_0_4_node_106 | 0.4 | n |  | TRUE
65 | bus_LV_2528-2_0_4_node_104 | 0.4 | n |  | TRUE
66 | bus_LV_2528-2_0_4_node_105 | 0.4 | n |  | TRUE
67 | bus_LV_2528-2_0_4_node_107 | 0.4 | n |  | TRUE
68 | bus_LV_2528-2_0_4_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_2528-2_0_4_node_114 | 0.4 | n |  | TRUE
70 | bus_LV_2528-2_0_4_node_135 | 0.4 | n |  | TRUE
71 | bus_LV_2528-2_0_4_node_109 | 0.4 | n |  | TRUE
72 | bus_LV_2528-2_0_4_node_111 | 0.4 | n |  | TRUE
73 | bus_LV_2528-2_0_4_node_112 | 0.4 | n |  | TRUE
74 | bus_LV_2528-2_0_4_node_113 | 0.4 | n |  | TRUE
75 | bus_LV_2528-2_0_4_node_122 | 0.4 | n |  | TRUE
76 | bus_LV_2528-2_0_4_node_118 | 0.4 | n |  | TRUE
77 | bus_LV_2528-2_0_4_node_126 | 0.4 | n |  | TRUE
78 | bus_LV_2528-2_0_4_node_123 | 0.4 | n |  | TRUE
79 | bus_LV_2528-2_0_4_node_124 | 0.4 | n |  | TRUE
80 | bus_LV_2528-2_0_4_node_125 | 0.4 | n |  | TRUE
81 | bus_LV_2528-2_0_4_node_128 | 0.4 | n |  | TRUE
82 | bus_LV_2528-2_0_4_node_130 | 0.4 | n |  | TRUE
83 | bus_MV_386_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2528-2_0_4_load_0 | 0 | 0.0022156 | 0.00055529 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2528-2_0_4_load_1 | 1 | 0.0040501 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2528-2_0_4_load_2 | 2 | 0.0055314 | 0.0013863 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2528-2_0_4_load_3 | 3 | 0.0028332 | 0.00071006 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2528-2_0_4_load_90 | 4 | 0.0057664 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2528-2_0_4_load_44 | 5 | 0.0025029 | 0.00062729 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2528-2_0_4_load_45 | 6 | 0.0067272 | 0.001686 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2528-2_0_4_load_96 | 7 | 0.003108 | 0.00077893 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2528-2_0_4_load_43 | 8 | 0.0019983 | 0.00050081 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2528-2_0_4_load_5 | 9 | 0.002175 | 0.00054511 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2528-2_0_4_load_6 | 10 | 0.0012029 | 0.00030149 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2528-2_0_4_load_9 | 13 | 0.0028372 | 0.00071107 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2528-2_0_4_load_39 | 14 | 0.015917 | 0.0039891 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2528-2_0_4_load_16 | 16 | 0.003182 | 0.00079749 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2528-2_0_4_load_129 | 19 | 0.002501 | 0.00062681 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2528-2_0_4_load_14 | 20 | 0.0086051 | 0.0021566 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2528-2_0_4_load_24 | 23 | 0.0092183 | 0.0023103 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2528-2_0_4_load_17 | 24 | 0.01075 | 0.0026943 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2528-2_0_4_load_18 | 25 | 0.0096539 | 0.0024195 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2528-2_0_4_load_19 | 26 | 0.016901 | 0.0042357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2528-2_0_4_load_20 | 27 | 0.005024 | 0.0012591 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2528-2_0_4_load_33 | 29 | 0.015955 | 0.0039988 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2528-2_0_4_load_34 | 30 | 0.001445 | 0.00036215 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2528-2_0_4_load_40 | 31 | 0.010891 | 0.0027294 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2528-2_0_4_load_32 | 32 | 0.0016486 | 0.00041317 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2528-2_0_4_load_35 | 33 | 0.021826 | 0.0054702 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2528-2_0_4_load_27 | 34 | 0.0041535 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2528-2_0_4_load_28 | 35 | 0.0035605 | 0.00089235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2528-2_0_4_load_29 | 36 | 0.0018255 | 0.00045752 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2528-2_0_4_load_30 | 37 | 0.0069418 | 0.0017398 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2528-2_0_4_load_31 | 38 | 0.0020941 | 0.00052484 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2528-2_0_4_load_37 | 41 | 0.0050094 | 0.0012555 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2528-2_0_4_load_119 | 43 | 0.0024702 | 0.00061908 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2528-2_0_4_load_120 | 44 | 0.0022503 | 0.00056397 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2528-2_0_4_load_116 | 45 | 0.0033571 | 0.00084138 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2528-2_0_4_load_121 | 46 | 0.0042758 | 0.0010716 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2528-2_0_4_load_132 | 47 | 0.011903 | 0.0029833 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2528-2_0_4_load_117 | 48 | 0.0025525 | 0.00063971 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2528-2_0_4_load_97 | 49 | 0.0017541 | 0.00043962 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2528-2_0_4_load_92 | 50 | 0.012655 | 0.0031717 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2528-2_0_4_load_95 | 51 | 0.0036126 | 0.00090539 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2528-2_0_4_load_138 | 52 | 0.0022041 | 0.00055241 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2528-2_0_4_load_137 | 53 | 0.0012443 | 0.00031184 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2528-2_0_4_load_133 | 55 | 0.0033853 | 0.00084843 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2528-2_0_4_load_134 | 56 | 0.0035441 | 0.00088824 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2528-2_0_4_load_99 | 57 | 0.0047262 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2528-2_0_4_load_100 | 58 | 0.0072211 | 0.0018098 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2528-2_0_4_load_101 | 59 | 0.0058682 | 0.0014707 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2528-2_0_4_load_102 | 60 | 0.0027554 | 0.00069056 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2528-2_0_4_load_103 | 61 | 0.0013861 | 0.00034738 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2528-2_0_4_load_136 | 63 | 0.0056556 | 0.0014174 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2528-2_0_4_load_106 | 64 | 0.0026817 | 0.0006721 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2528-2_0_4_load_104 | 65 | 0.0023175 | 0.00058083 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2528-2_0_4_load_105 | 66 | 0.0024371 | 0.00061078 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2528-2_0_4_load_107 | 67 | 0.0019417 | 0.00048664 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2528-2_0_4_load_115 | 68 | 0.0035774 | 0.00089658 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2528-2_0_4_load_114 | 69 | 0.0019008 | 0.00047638 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2528-2_0_4_load_135 | 70 | 0.0042558 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2528-2_0_4_load_109 | 71 | 0.004042 | 0.001013 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2528-2_0_4_load_112 | 73 | 0.0038204 | 0.00095748 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2528-2_0_4_load_113 | 74 | 0.0014273 | 0.00035772 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2528-2_0_4_load_122 | 75 | 0.0051997 | 0.0013032 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2528-2_0_4_load_118 | 76 | 0.0012633 | 0.00031661 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2528-2_0_4_load_126 | 77 | 0.0045479 | 0.0011398 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2528-2_0_4_load_123 | 78 | 0.0043215 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2528-2_0_4_load_124 | 79 | 0.0037183 | 0.0009319 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2528-2_0_4_load_125 | 80 | 0.0034348 | 0.00086083 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2528-2_0_4_load_128 | 81 | 0.0039569 | 0.00099168 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2528-2_0_4_load_130 | 82 | 0.0029808 | 0.00074705 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2528-2_0_4_line_0 |  | 0 | 1 | 0.0055857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2528-2_0_4_line_1 |  | 0 | 2 | 0.03255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2528-2_0_4_line_2 |  | 1 | 3 | 0.017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2528-2_0_4_line_3 |  | 2 | 4 | 0.049918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2528-2_0_4_line_4 |  | 3 | 5 | 0.034171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2528-2_0_4_line_5 |  | 3 | 6 | 0.025051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2528-2_0_4_line_6 |  | 4 | 50 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2528-2_0_4_line_7 |  | 5 | 7 | 0.0012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2528-2_0_4_line_8 |  | 6 | 8 | 0.0040668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2528-2_0_4_line_9 |  | 7 | 49 | 0.0043681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2528-2_0_4_line_10 |  | 8 | 39 | 0.019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2528-2_0_4_line_11 |  | 9 | 10 | 0.00090568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2528-2_0_4_line_12 |  | 9 | 11 | 0.034982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2528-2_0_4_line_13 |  | 10 | 12 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2528-2_0_4_line_14 |  | 11 | 13 | 0.042387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2528-2_0_4_line_15 |  | 12 | 16 | 0.040552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2528-2_0_4_line_16 |  | 14 | 15 | 0.047374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2528-2_0_4_line_17 |  | 15 | 41 | 0.01354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2528-2_0_4_line_18 |  | 16 | 17 | 0.068814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2528-2_0_4_line_19 |  | 17 | 18 | 0.040825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2528-2_0_4_line_20 |  | 17 | 19 | 0.013082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2528-2_0_4_line_21 |  | 18 | 77 | 0.017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2528-2_0_4_line_22 |  | 18 | 76 | 0.056534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2528-2_0_4_line_23 |  | 19 | 81 | 0.004674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2528-2_0_4_line_24 |  | 20 | 21 | 0.012929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2528-2_0_4_line_25 |  | 21 | 22 | 0.042381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2528-2_0_4_line_26 |  | 21 | 23 | 0.015139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2528-2_0_4_line_27 |  | 22 | 29 | 0.019011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2528-2_0_4_line_28 |  | 22 | 30 | 0.025013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2528-2_0_4_line_29 |  | 22 | 28 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2528-2_0_4_line_30 |  | 23 | 31 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2528-2_0_4_line_31 |  | 24 | 25 | 0.019174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2528-2_0_4_line_32 |  | 24 | 26 | 0.0053147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2528-2_0_4_line_33 |  | 25 | 27 | 0.00094852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2528-2_0_4_line_34 |  | 26 | 28 | 0.040053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2528-2_0_4_line_35 |  | 29 | 32 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2528-2_0_4_line_36 |  | 30 | 33 | 0.022789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2528-2_0_4_line_37 |  | 32 | 38 | 0.0078758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2528-2_0_4_line_38 |  | 33 | 40 | 0.021242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2528-2_0_4_line_39 |  | 34 | 35 | 0.024737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2528-2_0_4_line_40 |  | 34 | 36 | 0.0025712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2528-2_0_4_line_41 |  | 35 | 37 | 0.0044231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2528-2_0_4_line_42 |  | 36 | 38 | 0.023088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2528-2_0_4_line_43 |  | 37 | 39 | 0.046069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2528-2_0_4_line_44 |  | 40 | 41 | 0.027701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2528-2_0_4_line_45 |  | 42 | 43 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2528-2_0_4_line_46 |  | 42 | 44 | 0.026564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2528-2_0_4_line_47 |  | 42 | 45 | 0.037329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2528-2_0_4_line_48 |  | 43 | 46 | 0.017632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2528-2_0_4_line_49 |  | 44 | 47 | 0.0046303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2528-2_0_4_line_50 |  | 45 | 48 | 0.017564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2528-2_0_4_line_51 |  | 46 | 75 | 0.0025189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2528-2_0_4_line_52 |  | 47 | 54 | 0.032831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2528-2_0_4_line_53 |  | 48 | 76 | 0.00020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2528-2_0_4_line_54 |  | 49 | 54 | 0.014033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2528-2_0_4_line_55 |  | 51 | 52 | 0.025295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2528-2_0_4_line_56 |  | 52 | 53 | 0.029795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2528-2_0_4_line_57 |  | 53 | 70 | 0.0020054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2528-2_0_4_line_58 |  | 54 | 55 | 0.0016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2528-2_0_4_line_59 |  | 55 | 56 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2528-2_0_4_line_60 |  | 56 | 60 | 0.0012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2528-2_0_4_line_61 |  | 57 | 58 | 0.0038859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2528-2_0_4_line_62 |  | 57 | 59 | 0.028505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2528-2_0_4_line_63 |  | 58 | 60 | 0.026663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2528-2_0_4_line_64 |  | 59 | 61 | 0.0039332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2528-2_0_4_line_65 |  | 61 | 62 | 0.0073829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2528-2_0_4_line_66 |  | 62 | 63 | 0.018788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2528-2_0_4_line_67 |  | 62 | 64 | 0.018227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2528-2_0_4_line_68 |  | 63 | 70 | 0.0044108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2528-2_0_4_line_69 |  | 64 | 65 | 0.009799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2528-2_0_4_line_70 |  | 65 | 66 | 0.0086791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2528-2_0_4_line_71 |  | 66 | 67 | 0.0093791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2528-2_0_4_line_72 |  | 67 | 68 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2528-2_0_4_line_73 |  | 68 | 69 | 0.0048855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2528-2_0_4_line_74 |  | 69 | 73 | 0.015459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2528-2_0_4_line_75 |  | 71 | 72 | 0.01844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2528-2_0_4_line_76 |  | 72 | 73 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2528-2_0_4_line_77 |  | 74 | 75 | 0.0040111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2528-2_0_4_line_78 |  | 77 | 80 | 0.0095803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2528-2_0_4_line_79 |  | 78 | 79 | 0.0013994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2528-2_0_4_line_80 |  | 78 | 80 | 0.01509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2528-2_0_4_line_81 |  | 81 | 82 | 0.010374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2528-2_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 83 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2611177.9535 | 1223699.3733 | 2611172.5879 | 1223700.9259
1 | 2611177.9535 | 1223699.3733 | 2611190.1026 | 1223695.8578 | 2611205.5032 | 1223691.4062 | 2611209.2353 | 1223690.3785
2 | 2611155.402 | 1223705.8989 | 2611172.5879 | 1223700.9259
3 | 2611209.2353 | 1223690.3785 | 2611201.3205 | 1223641.092
4 | 2611155.402 | 1223705.8989 | 2611167.531 | 1223737.8444
5 | 2611155.402 | 1223705.8989 | 2611131.3347 | 1223712.8487
6 | 2611185.9426 | 1223645.7319 | 2611201.3205 | 1223641.092
7 | 2611167.9677 | 1223738.9947 | 2611167.531 | 1223737.8444
8 | 2611131.3347 | 1223712.8487 | 2611127.4275 | 1223713.977
9 | 2611167.9677 | 1223738.9947 | 2611169.5181 | 1223743.0783
10 | 2611108.799 | 1223718.9976 | 2611115.6034 | 1223717.3982 | 2611125.6023 | 1223714.504 | 2611127.4275 | 1223713.977
11 | 2610916.6533 | 1223690.5648 | 2610917.5308 | 1223690.789
12 | 2610882.7602 | 1223681.9054 | 2610916.6533 | 1223690.5648
13 | 2610935.2003 | 1223694.297 | 2610928.0976 | 1223693.2057 | 2610921.8976 | 1223691.9047 | 2610917.5308 | 1223690.789
14 | 2610882.7602 | 1223681.9054 | 2610872.9707 | 1223723.1466
15 | 2610935.2003 | 1223694.297 | 2610934.7973 | 1223703.2015 | 2610934.6664 | 1223734.8398
16 | 2610996.2851 | 1223574.0834 | 2610998.8155 | 1223579.4356 | 2610997.6215 | 1223597.8219 | 2610998.6064 | 1223606.551 | 2610996.0023 | 1223616.6076 | 2610996.6343 | 1223620.4118
17 | 2610996.2851 | 1223574.0834 | 2611009.8097 | 1223574.7314
18 | 2610962.3983 | 1223797.8182 | 2610934.6664 | 1223734.8398
19 | 2610962.3983 | 1223797.8182 | 2611002.8387 | 1223791.4331
20 | 2610962.3983 | 1223797.8182 | 2610964.455 | 1223810.7371
21 | 2611002.8387 | 1223791.4331 | 2611006.121 | 1223808.5708
22 | 2611002.8387 | 1223791.4331 | 2611058.6796 | 1223782.6066
23 | 2610964.455 | 1223810.7371 | 2610965.1899 | 1223815.3529
24 | 2611134.8338 | 1223569.8925 | 2611147.6547 | 1223568.2217
25 | 2611092.7622 | 1223575.9291 | 2611134.8338 | 1223569.8925
26 | 2611134.8338 | 1223569.8925 | 2611137.2569 | 1223584.8362
27 | 2611092.7622 | 1223575.9291 | 2611093.7818 | 1223586.2481 | 2611094.2827 | 1223594.8756
28 | 2611092.7622 | 1223575.9291 | 2611071.5516 | 1223589.1865
29 | 2611086.9236 | 1223563.6667 | 2611092.7622 | 1223575.9291
30 | 2611139.6016 | 1223599.2963 | 2611137.2569 | 1223584.8362
31 | 2611075.8188 | 1223519.6788 | 2611073.9011 | 1223512.1014 | 2611070.0993 | 1223501.3993 | 2611070.0993 | 1223501.3993
32 | 2611075.8188 | 1223519.6788 | 2611077.1228 | 1223524.8311
33 | 2611069.7503 | 1223500.5173 | 2611070.0993 | 1223501.3993
34 | 2611086.9236 | 1223563.6667 | 2611077.5972 | 1223526.7057 | 2611077.1228 | 1223524.8311
35 | 2611095.2344 | 1223611.2676 | 2611094.2827 | 1223594.8756
36 | 2611071.5516 | 1223589.1865 | 2611069.6541 | 1223590.3725 | 2611049.1064 | 1223589.9901
37 | 2611095.2344 | 1223611.2676 | 2611095.6909 | 1223619.1301
38 | 2611027.8682 | 1223589.5949 | 2611049.1064 | 1223589.9901
39 | 2611097.1781 | 1223644.746 | 2611097.6027 | 1223652.0601 | 2611099.7212 | 1223669.3416
40 | 2611097.1781 | 1223644.746 | 2611097.029 | 1223642.1791
41 | 2611099.7212 | 1223669.3416 | 2611100.2594 | 1223673.7318
42 | 2611097.029 | 1223642.1791 | 2611095.6909 | 1223619.1301
43 | 2611108.799 | 1223718.9976 | 2611101.9348 | 1223683.4086 | 2611100.5008 | 1223675.7015 | 2611100.2594 | 1223673.7318
44 | 2611027.8682 | 1223589.5949 | 2611022.1015 | 1223575.3204 | 2611009.8097 | 1223574.7314
45 | 2611113.1022 | 1223774.0043 | 2611113.2643 | 1223787.8056
46 | 2611113.1022 | 1223774.0043 | 2611121.9011 | 1223772.1974 | 2611138.9992 | 1223768.1046 | 2611138.9992 | 1223768.1046
47 | 2611113.1022 | 1223774.0043 | 2611076.2311 | 1223779.8323
48 | 2611113.2643 | 1223787.8056 | 2611113.3968 | 1223799.0973 | 2611113.1303 | 1223805.4308
49 | 2611138.9992 | 1223768.1046 | 2611143.4392 | 1223766.791
50 | 2611076.2311 | 1223779.8323 | 2611058.8829 | 1223782.5745
51 | 2611113.0244 | 1223807.9474 | 2611113.1303 | 1223805.4308
52 | 2611174.4991 | 1223756.1971 | 2611153.8991 | 1223763.6964 | 2611143.4392 | 1223766.791
53 | 2611058.8829 | 1223782.5745 | 2611058.6796 | 1223782.6066
54 | 2611174.4991 | 1223756.1971 | 2611169.5181 | 1223743.0783
55 | 2611227.5226 | 1223891.3032 | 2611236.7381 | 1223914.8595
56 | 2611216.5724 | 1223863.5941 | 2611221.3614 | 1223875.5543 | 2611227.5226 | 1223891.3032
57 | 2611216.5724 | 1223863.5941 | 2611215.8269 | 1223861.7324
58 | 2611174.4991 | 1223756.1971 | 2611175.0906 | 1223757.7165
59 | 2611181.2173 | 1223773.4524 | 2611175.0906 | 1223757.7165
60 | 2611181.6722 | 1223774.6207 | 2611181.2173 | 1223773.4524
61 | 2611192.7558 | 1223803.0881 | 2611191.3459 | 1223799.467
62 | 2611203.0979 | 1223829.651 | 2611192.7558 | 1223803.0881
63 | 2611181.6722 | 1223774.6207 | 2611191.3459 | 1223799.467
64 | 2611204.5249 | 1223833.3162 | 2611203.0979 | 1223829.651
65 | 2611207.2035 | 1223840.1961 | 2611204.5249 | 1223833.3162
66 | 2611207.2035 | 1223840.1961 | 2611214.1873 | 1223857.6376
67 | 2611207.2035 | 1223840.1961 | 2611201.3996 | 1223842.0974 | 2611193.8977 | 1223843.7066 | 2611189.5007 | 1223844.375
68 | 2611214.1873 | 1223857.6376 | 2611215.8269 | 1223861.7324
69 | 2611189.5007 | 1223844.375 | 2611181.3987 | 1223845.6065 | 2611179.8032 | 1223845.7706
70 | 2611179.8032 | 1223845.7706 | 2611171.1696 | 1223846.6586
71 | 2611161.8267 | 1223847.4615 | 2611165.8977 | 1223847.2008 | 2611171.1696 | 1223846.6586
72 | 2611161.8267 | 1223847.4615 | 2611151.8993 | 1223848.0974 | 2611149.2942 | 1223848.1979
73 | 2611144.4123 | 1223848.3861 | 2611149.2942 | 1223848.1979
74 | 2611144.4123 | 1223848.3861 | 2611138.6977 | 1223848.6065 | 2611128.9584 | 1223848.75
75 | 2611109.4016 | 1223847.796 | 2611106.6994 | 1223865.7014 | 2611106.6361 | 1223866.0273
76 | 2611109.4016 | 1223847.796 | 2611117.498 | 1223848.5003 | 2611125.2996 | 1223848.8039 | 2611128.9584 | 1223848.75
77 | 2611113.0244 | 1223807.9474 | 2611112.8558 | 1223811.955
78 | 2611007.9231 | 1223817.9801 | 2611006.121 | 1223808.5708
79 | 2611022.8072 | 1223815.4954 | 2611024.1875 | 1223815.265
80 | 2611022.8072 | 1223815.4954 | 2611007.9231 | 1223817.9801 | 2611007.9231 | 1223817.9801
81 | 2610966.8209 | 1223825.598 | 2610965.1899 | 1223815.3529

## bus_geodata
| x | y | coords
0 | 2611177.9535 | 1223699.3733
1 | 2611172.5879 | 1223700.9259
2 | 2611209.2353 | 1223690.3785
3 | 2611155.402 | 1223705.8989
4 | 2611201.3205 | 1223641.092
5 | 2611167.531 | 1223737.8444
6 | 2611131.3347 | 1223712.8487
7 | 2611167.9677 | 1223738.9947
8 | 2611127.4275 | 1223713.977
9 | 2610916.6533 | 1223690.5648
10 | 2610917.5308 | 1223690.789
11 | 2610882.7602 | 1223681.9054
12 | 2610935.2003 | 1223694.297
13 | 2610872.9707 | 1223723.1466
14 | 2610996.6343 | 1223620.4118
15 | 2610996.2851 | 1223574.0834
16 | 2610934.6664 | 1223734.8398
17 | 2610962.3983 | 1223797.8182
18 | 2611002.8387 | 1223791.4331
19 | 2610964.455 | 1223810.7371
20 | 2611147.6547 | 1223568.2217
21 | 2611134.8338 | 1223569.8925
22 | 2611092.7622 | 1223575.9291
23 | 2611137.2569 | 1223584.8362
24 | 2611075.8188 | 1223519.6788
25 | 2611070.0993 | 1223501.3993
26 | 2611077.1227 | 1223524.8311
27 | 2611069.7503 | 1223500.5173
28 | 2611086.9236 | 1223563.6667
29 | 2611094.2827 | 1223594.8756
30 | 2611071.5516 | 1223589.1865
31 | 2611139.6016 | 1223599.2963
32 | 2611095.2344 | 1223611.2676
33 | 2611049.1064 | 1223589.9901
34 | 2611097.1781 | 1223644.746
35 | 2611099.7212 | 1223669.3416
36 | 2611097.029 | 1223642.1791
37 | 2611100.2594 | 1223673.7318
38 | 2611095.6909 | 1223619.1301
39 | 2611108.799 | 1223718.9976
40 | 2611027.8682 | 1223589.5949
41 | 2611009.8097 | 1223574.7314
42 | 2611113.1022 | 1223774.0043
43 | 2611113.2643 | 1223787.8056
44 | 2611138.9992 | 1223768.1046
45 | 2611076.2311 | 1223779.8323
46 | 2611113.1303 | 1223805.4308
47 | 2611143.4392 | 1223766.791
48 | 2611058.8829 | 1223782.5745
49 | 2611169.5181 | 1223743.0783
50 | 2611185.9426 | 1223645.7319
51 | 2611236.7381 | 1223914.8595
52 | 2611227.5226 | 1223891.3032
53 | 2611216.5724 | 1223863.5941
54 | 2611174.4991 | 1223756.1971
55 | 2611175.0906 | 1223757.7165
56 | 2611181.2173 | 1223773.4524
57 | 2611192.7558 | 1223803.0881
58 | 2611191.3459 | 1223799.467
59 | 2611203.0979 | 1223829.651
60 | 2611181.6722 | 1223774.6207
61 | 2611204.5249 | 1223833.3162
62 | 2611207.2035 | 1223840.1961
63 | 2611214.1873 | 1223857.6376
64 | 2611189.5007 | 1223844.375
65 | 2611179.8032 | 1223845.7706
66 | 2611171.1696 | 1223846.6586
67 | 2611161.8267 | 1223847.4615
68 | 2611149.2942 | 1223848.1979
69 | 2611144.4123 | 1223848.3861
70 | 2611215.8269 | 1223861.7324
71 | 2611106.6361 | 1223866.0273
72 | 2611109.4016 | 1223847.796
73 | 2611128.9584 | 1223848.75
74 | 2611112.8558 | 1223811.955
75 | 2611113.0244 | 1223807.9474
76 | 2611058.6796 | 1223782.6066
77 | 2611006.121 | 1223808.5708
78 | 2611022.8072 | 1223815.4954
79 | 2611024.1875 | 1223815.265
80 | 2611007.9231 | 1223817.9801
81 | 2610965.1899 | 1223815.3529
82 | 2610966.8209 | 1223825.598
83 | 2611108.799 | 1223718.9976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99132 | -0.16567 | 0.0022156 | 0.00055529
1 | 0.99145 | -0.16308 | 0.0040501 | 0.0010151
2 | 0.9906 | -0.17951 | 0.0055314 | 0.0013863
3 | 0.99195 | -0.1535 | 0.0028332 | 0.00071006
4 | 0.98976 | -0.19586 | 0.0057664 | 0.0014452
5 | 0.98965 | -0.19764 | 0.0025029 | 0.00062729
6 | 0.99401 | -0.11396 | 0.0067272 | 0.001686
7 | 0.98957 | -0.19921 | 0.003108 | 0.00077893
8 | 0.99436 | -0.10731 | 0.0019983 | 0.00050081
9 | 0.97793 | -0.42589 | 0.002175 | 0.00054511
10 | 0.97793 | -0.42581 | 0.0012029 | 0.00030149
11 | 0.97783 | -0.4277 | 0 | 0
12 | 0.97803 | -0.42377 | 0 | 0
13 | 0.97772 | -0.42989 | 0.0028372 | 0.00071107
14 | 0.98623 | -0.26501 | 0.015917 | 0.0039891
15 | 0.98693 | -0.25151 | 0 | 0
16 | 0.97827 | -0.41917 | 0.003182 | 0.00079749
17 | 0.97887 | -0.4074 | 0 | 0
18 | 0.97958 | -0.39341 | 0 | 0
19 | 0.97875 | -0.40964 | 0.002501 | 0.00062681
20 | 0.98876 | -0.21594 | 0.0086051 | 0.0021566
21 | 0.98886 | -0.21396 | 0 | 0
22 | 0.98998 | -0.19229 | 0 | 0
23 | 0.98858 | -0.21938 | 0.0092183 | 0.0023103
24 | 0.98777 | -0.23516 | 0.01075 | 0.0026943
25 | 0.98751 | -0.24019 | 0.0096539 | 0.0024195
26 | 0.98789 | -0.23275 | 0.016901 | 0.0042357
27 | 0.98751 | -0.24027 | 0.005024 | 0.0012591
28 | 0.98945 | -0.20251 | 0 | 0
29 | 0.99199 | -0.1534 | 0.015955 | 0.0039988
30 | 0.98896 | -0.21197 | 0.001445 | 0.00036215
31 | 0.98843 | -0.22223 | 0.010891 | 0.0027294
32 | 0.99396 | -0.11532 | 0.0016486 | 0.00041317
33 | 0.98807 | -0.22935 | 0.021826 | 0.0054702
34 | 0.99811 | -0.036019 | 0.0041535 | 0.001041
35 | 0.99971 | -0.0055712 | 0.0035605 | 0.00089235
36 | 0.99778 | -0.042174 | 0.0018255 | 0.00045752
37 | 1 | 0 | -0.33757 | -0.085788
38 | 0.99492 | -0.096877 | 0.0020941 | 0.00052484
39 | 0.99602 | -0.075503 | 0 | 0
40 | 0.98766 | -0.23729 | 0 | 0
41 | 0.98712 | -0.24766 | 0.0050094 | 0.0012555
42 | 0.98349 | -0.31693 | 0 | 0
43 | 0.98332 | -0.32025 | 0.0024702 | 0.00061908
44 | 0.98486 | -0.29044 | 0.0022503 | 0.00056397
45 | 0.98204 | -0.34525 | 0.0033571 | 0.00084138
46 | 0.98315 | -0.32372 | 0.0042758 | 0.0010716
47 | 0.9851 | -0.28564 | 0.011903 | 0.0029833
48 | 0.98141 | -0.35754 | 0.0025525 | 0.00063971
49 | 0.989 | -0.21009 | 0.0017541 | 0.00043962
50 | 0.98957 | -0.19948 | 0.012655 | 0.0031717
51 | 0.98214 | -0.34361 | 0.0036126 | 0.00090539
52 | 0.98222 | -0.34196 | 0.0022041 | 0.00055241
53 | 0.98238 | -0.33883 | 0.0012443 | 0.00031184
54 | 0.98721 | -0.2447 | 0 | 0
55 | 0.98711 | -0.2467 | 0.0033853 | 0.00084843
56 | 0.9861 | -0.26642 | 0.0035441 | 0.00088824
57 | 0.98439 | -0.29961 | 0.0047262 | 0.0011845
58 | 0.98457 | -0.296 | 0.0072211 | 0.0018098
59 | 0.98315 | -0.32371 | 0.0058682 | 0.0014707
60 | 0.98602 | -0.2678 | 0.0027554 | 0.00069056
61 | 0.98301 | -0.32663 | 0.0013861 | 0.00034738
62 | 0.98273 | -0.33191 | 0 | 0
63 | 0.98244 | -0.33767 | 0.0056556 | 0.0014174
64 | 0.98235 | -0.33939 | 0.0026817 | 0.0006721
65 | 0.98217 | -0.34294 | 0.0023175 | 0.00058083
66 | 0.98203 | -0.34572 | 0.0024371 | 0.00061078
67 | 0.9819 | -0.34831 | 0.0019417 | 0.00048664
68 | 0.98174 | -0.35134 | 0.0035774 | 0.00089658
69 | 0.9817 | -0.3522 | 0.0019008 | 0.00047638
70 | 0.98239 | -0.33857 | 0.0042558 | 0.0010666
71 | 0.98144 | -0.35718 | 0.004042 | 0.001013
72 | 0.98151 | -0.35583 | 0 | 0
73 | 0.98159 | -0.3544 | 0.0038204 | 0.00095748
74 | 0.98313 | -0.32412 | 0.0014273 | 0.00035772
75 | 0.98313 | -0.32402 | 0.0051997 | 0.0013032
76 | 0.98141 | -0.35767 | 0.0012633 | 0.00031661
77 | 0.97932 | -0.39849 | 0.0045479 | 0.0011398
78 | 0.97911 | -0.4027 | 0.0043215 | 0.0010831
79 | 0.9791 | -0.40279 | 0.0037183 | 0.0009319
80 | 0.97922 | -0.40049 | 0.0034348 | 0.00086083
81 | 0.97872 | -0.41023 | 0.0039569 | 0.00099168
82 | 0.97869 | -0.41079 | 0.0029808 | 0.00074705
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.026201 | -0.0065779 | 0.026204 | 0.0065799 | 3.2406e-06 | 2.0019e-06 | 0.039333 | 0.039333 | 0.039333 | 0.99132 | -0.16567 | 0.99145 | -0.16308 | 10.8058
1 | 0.023985 | 0.0060226 | -0.023969 | -0.0060129 | 1.5826e-05 | 9.709e-06 | 0.036007 | 0.036007 | 0.036007 | 0.99132 | -0.16567 | 0.9906 | -0.17951 | 9.8921
2 | -0.030254 | -0.007595 | 0.030268 | 0.0076036 | 1.3836e-05 | 8.6239e-06 | 0.045412 | 0.045411 | 0.045412 | 0.99145 | -0.16308 | 0.99195 | -0.1535 | 12.4757
3 | 0.018438 | 0.0046266 | -0.018424 | -0.0046181 | 1.4362e-05 | 8.5493e-06 | 0.027698 | 0.027699 | 0.027699 | 0.9906 | -0.17951 | 0.98976 | -0.19586 | 7.6095
4 | 0.14677 | 0.03727 | -0.14646 | -0.037072 | 0.00031108 | 0.00019821 | 0.22035 | 0.22035 | 0.22035 | 0.99195 | -0.1535 | 0.98965 | -0.19764 | 30.2677
5 | -0.17988 | -0.045583 | 0.18022 | 0.045802 | 0.00034244 | 0.00021851 | 0.27001 | 0.27001 | 0.27001 | 0.99195 | -0.1535 | 0.99401 | -0.11396 | 37.0893
6 | 0.012657 | 0.0031729 | -0.012655 | -0.0031717 | 2.1812e-06 | 1.1896e-06 | 0.019029 | 0.01903 | 0.01903 | 0.98976 | -0.19586 | 0.98957 | -0.19948 | 5.2279
7 | 0.14396 | 0.036444 | -0.14395 | -0.036437 | 1.0822e-05 | 6.8943e-06 | 0.21659 | 0.21659 | 0.21659 | 0.98965 | -0.19764 | 0.98957 | -0.19921 | 29.7507
8 | -0.18695 | -0.047488 | 0.18701 | 0.047526 | 5.9816e-05 | 3.8177e-05 | 0.28008 | 0.28008 | 0.28008 | 0.99401 | -0.11396 | 0.99436 | -0.10731 | 38.4725
9 | 0.14084 | 0.035658 | -0.14077 | -0.035611 | 7.3558e-05 | 4.7021e-05 | 0.21191 | 0.21191 | 0.21191 | 0.98957 | -0.19921 | 0.989 | -0.21009 | 58.2176
10 | -0.189 | -0.048027 | 0.18929 | 0.048212 | 0.00028995 | 0.00018507 | 0.28307 | 0.28307 | 0.28307 | 0.99436 | -0.10731 | 0.99602 | -0.075503 | 38.8833
11 | -0.0050128 | -0.0012556 | 0.0050128 | 0.0012556 | 1.9758e-08 | 1.2817e-09 | 0.0076272 | 0.0076272 | 0.0076272 | 0.97793 | -0.42589 | 0.97793 | -0.42581 | 2.0954
12 | 0.0028377 | 0.00071045 | -0.0028375 | -0.00071073 | 2.4456e-07 | -2.8234e-07 | 0.0043177 | 0.0043178 | 0.0043178 | 0.97793 | -0.42589 | 0.97783 | -0.4277 | 1.1862
13 | -0.0062157 | -0.001557 | 0.0062163 | 0.0015572 | 6.047e-07 | 1.6079e-07 | 0.0094576 | 0.0094575 | 0.0094576 | 0.97793 | -0.42581 | 0.97803 | -0.42377 | 2.5982
14 | 0.0028375 | 0.00071073 | -0.0028372 | -0.00071107 | 2.9636e-07 | -3.4198e-07 | 0.0043178 | 0.004318 | 0.004318 | 0.97783 | -0.4277 | 0.97772 | -0.42989 | 1.1863
15 | -0.0062163 | -0.0015572 | 0.0062177 | 0.0015576 | 1.3602e-06 | 3.6148e-07 | 0.0094575 | 0.0094573 | 0.0094575 | 0.97803 | -0.42377 | 0.97827 | -0.41917 | 2.5982
16 | -0.015917 | -0.0039891 | 0.015927 | 0.0039951 | 1.0246e-05 | 5.9522e-06 | 0.024015 | 0.024015 | 0.024015 | 0.98623 | -0.26501 | 0.98693 | -0.25151 | 6.5975
17 | -0.015927 | -0.0039951 | 0.01593 | 0.0039968 | 2.9283e-06 | 1.701e-06 | 0.024015 | 0.024015 | 0.024015 | 0.98693 | -0.25151 | 0.98712 | -0.24766 | 6.5975
18 | -0.0093997 | -0.0023551 | 0.009405 | 0.0023576 | 5.2749e-06 | 2.5114e-06 | 0.014297 | 0.014297 | 0.014297 | 0.97827 | -0.41917 | 0.97887 | -0.4074 | 3.9279
19 | -0.018845 | -0.0047236 | 0.018857 | 0.0047311 | 1.2564e-05 | 7.5272e-06 | 0.028647 | 0.028647 | 0.028647 | 0.97887 | -0.4074 | 0.97958 | -0.39341 | 7.8701
20 | 0.0094399 | 0.002366 | -0.0094389 | -0.0023655 | 1.0102e-06 | 4.8209e-07 | 0.01435 | 0.01435 | 0.01435 | 0.97887 | -0.4074 | 0.97875 | -0.40964 | 3.9423
21 | 0.016028 | 0.0040188 | -0.016024 | -0.0040165 | 3.8792e-06 | 2.2631e-06 | 0.024348 | 0.024348 | 0.024348 | 0.97958 | -0.39341 | 0.97932 | -0.39849 | 6.6891
22 | -0.034886 | -0.0087499 | 0.034945 | 0.0087873 | 5.954e-05 | 3.7393e-05 | 0.052995 | 0.052995 | 0.052995 | 0.97958 | -0.39341 | 0.98141 | -0.35767 | 14.5591
23 | 0.0069379 | 0.0017387 | -0.0069377 | -0.0017387 | 1.95e-07 | 6.6062e-08 | 0.010548 | 0.010548 | 0.010548 | 0.97875 | -0.40964 | 0.97872 | -0.41023 | 2.8977
24 | -0.0086051 | -0.0021566 | 0.0086059 | 0.002157 | 8.1312e-07 | 3.5455e-07 | 0.01295 | 0.01295 | 0.01295 | 0.98876 | -0.21594 | 0.98886 | -0.21396 | 3.5577
25 | -0.028721 | -0.0072006 | 0.028751 | 0.0072191 | 2.9688e-05 | 1.8456e-05 | 0.04322 | 0.04322 | 0.04322 | 0.98886 | -0.21396 | 0.98998 | -0.19229 | 11.8737
26 | 0.020116 | 0.0050436 | -0.02011 | -0.0050405 | 5.2018e-06 | 3.135e-06 | 0.03027 | 0.03027 | 0.03027 | 0.98886 | -0.21396 | 0.98858 | -0.21938 | 8.316
27 | -0.11547 | -0.029028 | 0.11569 | 0.029165 | 0.00021485 | 0.00013726 | 0.1736 | 0.1736 | 0.1736 | 0.98998 | -0.19229 | 0.99199 | -0.1534 | 47.6918
28 | 0.044306 | 0.011144 | -0.044264 | -0.011118 | 4.1617e-05 | 2.6314e-05 | 0.06661 | 0.06661 | 0.06661 | 0.98998 | -0.19229 | 0.98896 | -0.21197 | 18.2994
29 | 0.042417 | 0.010664 | -0.042396 | -0.010651 | 2.0702e-05 | 1.3075e-05 | 0.063768 | 0.063768 | 0.063768 | 0.98998 | -0.19229 | 0.98945 | -0.20251 | 17.5188
30 | 0.010892 | 0.0027302 | -0.010891 | -0.0027294 | 1.4766e-06 | 7.5721e-07 | 0.016395 | 0.016395 | 0.016395 | 0.98858 | -0.21938 | 0.98843 | -0.22223 | 4.5041
31 | 0.014681 | 0.0036806 | -0.014678 | -0.0036786 | 3.5172e-06 | 2.0056e-06 | 0.022117 | 0.022117 | 0.022117 | 0.98777 | -0.23516 | 0.98751 | -0.24019 | 6.0762
32 | -0.025432 | -0.0063749 | 0.025435 | 0.0063767 | 2.9254e-06 | 1.8042e-06 | 0.038312 | 0.038312 | 0.038312 | 0.98777 | -0.23516 | 0.98789 | -0.23275 | 10.5253
33 | 0.005024 | 0.0012591 | -0.005024 | -0.0012591 | 2.0385e-08 | 9.1132e-10 | 0.0075703 | 0.0075703 | 0.0075703 | 0.98751 | -0.24019 | 0.98751 | -0.24027 | 2.0798
34 | -0.042335 | -0.010612 | 0.042396 | 0.010651 | 6.1077e-05 | 3.8576e-05 | 0.063769 | 0.063768 | 0.063769 | 0.98789 | -0.23275 | 0.98945 | -0.20251 | 17.5188
35 | -0.13164 | -0.033164 | 0.13188 | 0.033317 | 0.00024025 | 0.00015355 | 0.19753 | 0.19753 | 0.19753 | 0.99199 | -0.1534 | 0.99396 | -0.11532 | 54.2669
36 | 0.042819 | 0.010756 | -0.042784 | -0.010733 | 3.5482e-05 | 2.2416e-05 | 0.064436 | 0.064436 | 0.064436 | 0.98896 | -0.21197 | 0.98807 | -0.22935 | 17.7021
37 | -0.13353 | -0.03373 | 0.13365 | 0.033806 | 0.00011814 | 7.5505e-05 | 0.2 | 0.2 | 0.2 | 0.99396 | -0.11532 | 0.99492 | -0.096877 | 54.9449
38 | 0.020958 | 0.0052633 | -0.02095 | -0.0052585 | 7.937e-06 | 4.8077e-06 | 0.031566 | 0.031566 | 0.031566 | 0.98807 | -0.22935 | 0.98766 | -0.23729 | 8.6719
39 | -0.14212 | -0.036084 | 0.14233 | 0.036216 | 0.00020855 | 0.00013283 | 0.21205 | 0.21205 | 0.21205 | 0.99811 | -0.036019 | 0.99971 | -0.0055712 | 29.1272
40 | 0.13797 | 0.035043 | -0.13793 | -0.035016 | 4.0859e-05 | 2.6116e-05 | 0.20585 | 0.20585 | 0.20585 | 0.99811 | -0.036019 | 0.99778 | -0.042174 | 56.5532
41 | -0.14589 | -0.037109 | 0.14593 | 0.037134 | 3.9176e-05 | 2.4957e-05 | 0.21735 | 0.21735 | 0.21735 | 0.99971 | -0.0055712 | 1 | 0 | 29.8551
42 | 0.1361 | 0.034559 | -0.13575 | -0.034331 | 0.00035725 | 0.00022834 | 0.20313 | 0.20313 | 0.20313 | 0.99778 | -0.042174 | 0.99492 | -0.096877 | 55.8053
43 | 0.18999 | 0.048654 | -0.18929 | -0.048212 | 0.00069214 | 0.00044177 | 0.28307 | 0.28307 | 0.28307 | 1 | 0 | 0.99602 | -0.075503 | 38.8833
44 | 0.02095 | 0.0052585 | -0.020939 | -0.0052522 | 1.0351e-05 | 6.2701e-06 | 0.031566 | 0.031566 | 0.031566 | 0.98766 | -0.23729 | 0.98712 | -0.24766 | 8.672
45 | 0.013377 | 0.0033537 | -0.013375 | -0.0033525 | 2.1203e-06 | 1.1818e-06 | 0.02024 | 0.02024 | 0.02024 | 0.98349 | -0.31693 | 0.98332 | -0.32025 | 5.5604
46 | -0.055575 | -0.013989 | 0.055646 | 0.014034 | 7.0466e-05 | 4.476e-05 | 0.084107 | 0.084106 | 0.084107 | 0.98349 | -0.31693 | 0.98486 | -0.29044 | 23.1062
47 | 0.042198 | 0.010636 | -0.042141 | -0.010599 | 5.7099e-05 | 3.607e-05 | 0.063867 | 0.063867 | 0.063867 | 0.98349 | -0.31693 | 0.98204 | -0.34525 | 17.5459
48 | 0.010905 | 0.0027334 | -0.010903 | -0.0027325 | 1.8005e-06 | 9.2867e-07 | 0.016502 | 0.016502 | 0.016502 | 0.98332 | -0.32025 | 0.98315 | -0.32372 | 4.5335
49 | -0.057896 | -0.014598 | 0.057909 | 0.014606 | 1.3296e-05 | 8.4504e-06 | 0.087506 | 0.087506 | 0.087506 | 0.98486 | -0.29044 | 0.9851 | -0.28564 | 24.0402
50 | 0.038784 | 0.0097581 | -0.038761 | -0.0097438 | 2.2757e-05 | 1.4342e-05 | 0.05878 | 0.05878 | 0.05878 | 0.98204 | -0.34525 | 0.98141 | -0.35754 | 16.1484
51 | 0.0066271 | 0.0016609 | -0.006627 | -0.0016608 | 9.5031e-08 | 2.8879e-08 | 0.01003 | 0.01003 | 0.01003 | 0.98315 | -0.32372 | 0.98313 | -0.32402 | 2.7556
52 | -0.069813 | -0.01759 | 0.06995 | 0.017677 | 0.00013699 | 8.7258e-05 | 0.10549 | 0.10549 | 0.10549 | 0.9851 | -0.28564 | 0.98721 | -0.2447 | 28.9798
53 | 0.036209 | 0.009104 | -0.036209 | -0.0091039 | 2.3264e-07 | 1.4629e-07 | 0.05491 | 0.05491 | 0.05491 | 0.98141 | -0.35754 | 0.98141 | -0.35767 | 15.0852
54 | 0.13901 | 0.035172 | -0.13878 | -0.035024 | 0.00023046 | 0.00014731 | 0.20927 | 0.20927 | 0.20927 | 0.989 | -0.21009 | 0.98721 | -0.2447 | 57.4926
55 | -0.0036126 | -0.00090539 | 0.0036129 | 0.00090526 | 2.8415e-07 | -1.3827e-07 | 0.0054733 | 0.0054732 | 0.0054733 | 0.98214 | -0.34361 | 0.98222 | -0.34196 | 1.5037
56 | -0.005817 | -0.0014577 | 0.0058178 | 0.0014578 | 8.6765e-07 | 1.7813e-07 | 0.0088124 | 0.0088122 | 0.0088124 | 0.98222 | -0.34196 | 0.98238 | -0.33883 | 2.421
57 | -0.0070621 | -0.0017697 | 0.0070622 | 0.0017697 | 8.605e-08 | 2.9681e-08 | 0.010697 | 0.010697 | 0.010697 | 0.98238 | -0.33883 | 0.98239 | -0.33857 | 2.9387
58 | 0.068834 | 0.017348 | -0.068827 | -0.017343 | 6.5859e-06 | 4.1941e-06 | 0.10379 | 0.10379 | 0.10379 | 0.98721 | -0.2447 | 0.98711 | -0.2467 | 28.5128
59 | 0.065442 | 0.016495 | -0.06538 | -0.016456 | 6.1668e-05 | 3.9252e-05 | 0.098683 | 0.098683 | 0.098683 | 0.98711 | -0.2467 | 0.9861 | -0.26642 | 27.1108
60 | 0.061836 | 0.015567 | -0.061832 | -0.015565 | 4.0955e-06 | 2.6051e-06 | 0.093335 | 0.093335 | 0.093335 | 0.9861 | -0.26642 | 0.98602 | -0.2678 | 25.6416
61 | -0.051767 | -0.013008 | 0.051776 | 0.013014 | 8.9257e-06 | 5.663e-06 | 0.078264 | 0.078264 | 0.078264 | 0.98439 | -0.29961 | 0.98457 | -0.296 | 21.5011
62 | 0.047041 | 0.011824 | -0.046987 | -0.01179 | 5.4067e-05 | 3.4241e-05 | 0.07112 | 0.07112 | 0.07112 | 0.98439 | -0.29961 | 0.98315 | -0.32371 | 19.5384
63 | -0.058997 | -0.014824 | 0.059077 | 0.014874 | 7.9515e-05 | 5.055e-05 | 0.089177 | 0.089177 | 0.089177 | 0.98457 | -0.296 | 0.98602 | -0.2678 | 24.4993
64 | 0.041119 | 0.010319 | -0.041113 | -0.010315 | 5.7134e-06 | 3.6067e-06 | 0.062238 | 0.062238 | 0.062238 | 0.98315 | -0.32371 | 0.98301 | -0.32663 | 17.0984
65 | 0.039727 | 0.0099678 | -0.039717 | -0.0099615 | 1.0014e-05 | 6.3151e-06 | 0.06014 | 0.06014 | 0.06014 | 0.98301 | -0.32663 | 0.98273 | -0.33191 | 16.522
66 | 0.016979 | 0.0042568 | -0.016974 | -0.004254 | 4.6567e-06 | 2.7423e-06 | 0.025709 | 0.025709 | 0.025709 | 0.98273 | -0.33191 | 0.98244 | -0.33767 | 7.063
67 | 0.022738 | 0.0057048 | -0.02273 | -0.0056998 | 8.1033e-06 | 4.9552e-06 | 0.034431 | 0.034431 | 0.034431 | 0.98273 | -0.33191 | 0.98235 | -0.33939 | 9.4591
68 | 0.011318 | 0.0028366 | -0.011318 | -0.0028363 | 4.861e-07 | 2.5526e-07 | 0.017143 | 0.017143 | 0.017143 | 0.98244 | -0.33767 | 0.98239 | -0.33857 | 4.7096
69 | 0.020048 | 0.0050277 | -0.020045 | -0.0050256 | 3.389e-06 | 2.0449e-06 | 0.030369 | 0.030369 | 0.030369 | 0.98235 | -0.33939 | 0.98217 | -0.34294 | 8.3431
70 | 0.017727 | 0.0044448 | -0.017725 | -0.0044434 | 2.3478e-06 | 1.3927e-06 | 0.026858 | 0.026858 | 0.026858 | 0.98217 | -0.34294 | 0.98203 | -0.34572 | 7.3786
71 | 0.015288 | 0.0038326 | -0.015286 | -0.0038316 | 1.8874e-06 | 1.0893e-06 | 0.023165 | 0.023165 | 0.023165 | 0.98203 | -0.34572 | 0.9819 | -0.34831 | 6.3641
72 | 0.013344 | 0.0033449 | -0.013342 | -0.0033438 | 1.9254e-06 | 1.0735e-06 | 0.020223 | 0.020223 | 0.020223 | 0.9819 | -0.34831 | 0.98174 | -0.35134 | 5.5557
73 | 0.0097649 | 0.0024473 | -0.0097645 | -0.0024471 | 4.0133e-07 | 1.9508e-07 | 0.014801 | 0.014801 | 0.014801 | 0.98174 | -0.35134 | 0.9817 | -0.3522 | 4.0661
74 | 0.0078637 | 0.0019707 | -0.0078629 | -0.0019704 | 8.2363e-07 | 3.3169e-07 | 0.011919 | 0.01192 | 0.01192 | 0.9817 | -0.3522 | 0.98159 | -0.3544 | 3.2746
75 | -0.004042 | -0.001013 | 0.0040422 | 0.0010129 | 2.5969e-07 | -6.6838e-08 | 0.0061282 | 0.0061282 | 0.0061282 | 0.98144 | -0.35718 | 0.98151 | -0.35583 | 1.6836
76 | -0.0040422 | -0.0010129 | 0.0040425 | 0.0010129 | 2.7593e-07 | -7.1061e-08 | 0.0061282 | 0.0061281 | 0.0061282 | 0.98151 | -0.35583 | 0.98159 | -0.3544 | 1.6836
77 | -0.0014273 | -0.00035772 | 0.0014273 | 0.00035767 | 7.0198e-09 | -4.6369e-08 | 0.0021603 | 0.0021603 | 0.0021603 | 0.98313 | -0.32412 | 0.98313 | -0.32402 | 0.5935
78 | 0.011477 | 0.0028767 | -0.011475 | -0.0028761 | 1.0925e-06 | 5.7864e-07 | 0.017438 | 0.017438 | 0.017438 | 0.97932 | -0.39849 | 0.97922 | -0.40049 | 4.7907
79 | 0.0037183 | 0.00093189 | -0.0037183 | -0.0009319 | 1.6758e-08 | -6.8745e-09 | 0.005651 | 0.005651 | 0.005651 | 0.97911 | -0.4027 | 0.9791 | -0.40279 | 1.5525
80 | -0.0080398 | -0.002015 | 0.0080407 | 0.0020153 | 8.4483e-07 | 3.5088e-07 | 0.012219 | 0.012219 | 0.012219 | 0.97911 | -0.4027 | 0.97922 | -0.40049 | 3.3568
81 | 0.0029808 | 0.00074697 | -0.0029808 | -0.00074705 | 7.9901e-08 | -7.923e-08 | 0.0045319 | 0.004532 | 0.004532 | 0.97872 | -0.41023 | 0.97869 | -0.41079 | 1.245

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34451 | 0.087527

## res_load
| p_mw | q_mvar
0 | 0.0022156 | 0.00055529
1 | 0.0040501 | 0.0010151
2 | 0.0055314 | 0.0013863
3 | 0.0028332 | 0.00071006
4 | 0.0057664 | 0.0014452
5 | 0.0025029 | 0.00062729
6 | 0.0067272 | 0.001686
7 | 0.003108 | 0.00077893
8 | 0.0019983 | 0.00050081
9 | 0.002175 | 0.00054511
10 | 0.0012029 | 0.00030149
11 | 0.0028372 | 0.00071107
12 | 0.015917 | 0.0039891
13 | 0.003182 | 0.00079749
14 | 0.002501 | 0.00062681
15 | 0.0086051 | 0.0021566
16 | 0.0092183 | 0.0023103
17 | 0.01075 | 0.0026943
18 | 0.0096539 | 0.0024195
19 | 0.016901 | 0.0042357
20 | 0.005024 | 0.0012591
21 | 0.015955 | 0.0039988
22 | 0.001445 | 0.00036215
23 | 0.010891 | 0.0027294
24 | 0.0016486 | 0.00041317
25 | 0.021826 | 0.0054702
26 | 0.0041535 | 0.001041
27 | 0.0035605 | 0.00089235
28 | 0.0018255 | 0.00045752
29 | 0.0069418 | 0.0017398
30 | 0.0020941 | 0.00052484
31 | 0.0050094 | 0.0012555
32 | 0.0024702 | 0.00061908
33 | 0.0022503 | 0.00056397
34 | 0.0033571 | 0.00084138
35 | 0.0042758 | 0.0010716
36 | 0.011903 | 0.0029833
37 | 0.0025525 | 0.00063971
38 | 0.0017541 | 0.00043962
39 | 0.012655 | 0.0031717
40 | 0.0036126 | 0.00090539
41 | 0.0022041 | 0.00055241
42 | 0.0012443 | 0.00031184
43 | 0.0033853 | 0.00084843
44 | 0.0035441 | 0.00088824
45 | 0.0047262 | 0.0011845
46 | 0.0072211 | 0.0018098
47 | 0.0058682 | 0.0014707
48 | 0.0027554 | 0.00069056
49 | 0.0013861 | 0.00034738
50 | 0.0056556 | 0.0014174
51 | 0.0026817 | 0.0006721
52 | 0.0023175 | 0.00058083
53 | 0.0024371 | 0.00061078
54 | 0.0019417 | 0.00048664
55 | 0.0035774 | 0.00089658
56 | 0.0019008 | 0.00047638
57 | 0.0042558 | 0.0010666
58 | 0.004042 | 0.001013
59 | 0.0038204 | 0.00095748
60 | 0.0014273 | 0.00035772
61 | 0.0051997 | 0.0013032
62 | 0.0012633 | 0.00031661
63 | 0.0045479 | 0.0011398
64 | 0.0043215 | 0.0010831
65 | 0.0037183 | 0.0009319
66 | 0.0034348 | 0.00086083
67 | 0.0039569 | 0.00099168
68 | 0.0029808 | 0.00074705

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1