## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2556-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2556-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2556-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2556-3_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2556-3_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_2556-3_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2556-3_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2556-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2556-3_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2556-3_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2556-3_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2556-3_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2556-3_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2556-3_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2556-3_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2556-3_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_MV_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2556-3_0_3_load_0 | 0 | 0.00096199 | 0.0002411 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2556-3_0_3_load_17 | 4 | 0.0040902 | 0.0010251 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2556-3_0_3_load_7 | 7 | 0.0085887 | 0.0021525 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2556-3_0_3_load_16 | 8 | 0.00079624 | 0.00019956 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2556-3_0_3_load_8 | 9 | 0.0022679 | 0.00056839 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2556-3_0_3_load_15 | 10 | 0.0014888 | 0.00037312 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2556-3_0_3_load_9 | 11 | 0.00056748 | 0.00014222 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2556-3_0_3_load_12 | 13 | 0.00019839 | 4.9721e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2556-3_0_3_load_14 | 14 | 0.00013077 | 3.2774e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2556-3_0_3_line_0 |  | 0 | 1 | 0.02371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2556-3_0_3_line_1 |  | 1 | 2 | 0.028404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2556-3_0_3_line_2 |  | 1 | 3 | 0.93375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2556-3_0_3_line_3 |  | 2 | 4 | 0.02264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2556-3_0_3_line_4 |  | 3 | 9 | 0.065747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2556-3_0_3_line_5 |  | 3 | 10 | 0.93522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2556-3_0_3_line_6 |  | 3 | 6 | 1.2176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2556-3_0_3_line_7 |  | 5 | 6 | 0.60045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2556-3_0_3_line_8 |  | 5 | 7 | 0.023496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2556-3_0_3_line_9 |  | 6 | 8 | 0.092359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2556-3_0_3_line_10 |  | 10 | 15 | 0.10401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2556-3_0_3_line_11 |  | 11 | 12 | 0.041415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2556-3_0_3_line_12 |  | 12 | 13 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2556-3_0_3_line_13 |  | 13 | 14 | 0.0095448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2556-3_0_3_line_14 |  | 14 | 15 | 0.028256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2556-3_0_3_trafo_5 | 0.63 MVA 20/0.4 kV | 16 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88
0 | 2598851.6968 | 1231416.8877 | 2598850.2806 | 1231416.3655 | 2598847.0925 | 1231416.0993 | 2598840.9057 | 1231415.7448 | 2598836.4453 | 1231415.1232 | 2598830.046 | 1231412.7008 | 2598828.6306 | 1231412.3492
1 | 2598851.6968 | 1231416.8877 | 2598852.6891 | 1231418.633 | 2598852.7501 | 1231420.423 | 2598852.3189 | 1231422.7689 | 2598851.2743 | 1231424.5813 | 2598849.4269 | 1231426.2383 | 2598847.2236 | 1231427.5395 | 2598840.265 | 1231430.3871 | 2598838.2435 | 1231432.0663 | 2598836.6689 | 1231434.1012 | 2598835.5562 | 1231436.236
2 | 2598851.6968 | 1231416.8877 | 2598859.0933 | 1231408.1699 | 2598866.3686 | 1231398.7406 | 2598869.207 | 1231392.0471 | 2598875.2328 | 1231382.4846 | 2598876.5422 | 1231379.2046 | 2598875.1908 | 1231362.1725 | 2598877.8851 | 1231354.156 | 2598881.9508 | 1231350.4641 | 2598891.8777 | 1231346.4597 | 2598897.2532 | 1231341.1221 | 2598898.7894 | 1231335.5852 | 2598898.772 | 1231324.4674 | 2598900.8377 | 1231315.8841 | 2598901.1767 | 1231307.2456 | 2598900.1671 | 1231294.7383 | 2598900.4144 | 1231281.8305 | 2598901.9118 | 1231271.4351 | 2598895.8492 | 1231249.2119 | 2598891.1184 | 1231222.1411 | 2598891.6776 | 1231215.7817 | 2598896.1899 | 1231210.5888 | 2598901.8918 | 1231208.5642 | 2598921.0047 | 1231204.3913 | 2598926.1082 | 1231201.433 | 2598930.9459 | 1231194.5613 | 2598931.9056 | 1231183.9548 | 2598930.4717 | 1231169.8689 | 2598930.7341 | 1231156.1717 | 2598931.7992 | 1231142.4189 | 2598934.6225 | 1231135.0139 | 2598937.1739 | 1231131.8893 | 2598938.4006 | 1231131.311 | 2598935.2269 | 1231127.4537 | 2598924.7445 | 1231119.6177 | 2598908.423 | 1231110.0708 | 2598896.5169 | 1231102.98 | 2598894.1993 | 1231101.4128 | 2598893.0705 | 1231099.4007 | 2598893.3728 | 1231095.8986 | 2598899.135 | 1231091.795 | 2598891.9062 | 1231070.5838 | 2598899.3657 | 1231071.2605 | 2598908.8403 | 1231075.7502 | 2598925.0315 | 1231076.8699 | 2598935.5963 | 1231079.5584 | 2598947.5015 | 1231082.2466 | 2598993.4153 | 1231076.3234 | 2598986.6817 | 1231069.8764 | 2599008.4156 | 1231066.9707 | 2599028.3016 | 1231062.9648 | 2599009.8122 | 1231042.4669 | 2599005.396 | 1231035.8971 | 2599005.2438 | 1231032.0171 | 2598999.4803 | 1231029.1831 | 2598974.7991 | 1231025.4075 | 2598958.9705 | 1231020.5187 | 2598937.2605 | 1230990.5382 | 2598913.9717 | 1230982.1044 | 2598882.9245 | 1230956.7843 | 2598889.1718 | 1230954.1592 | 2598893.9879 | 1230952.1904 | 2598899.1146 | 1230950.6885 | 2598905.8241 | 1230949.0751 | 2598913.0031 | 1230947.5506 | 2598930.7464 | 1230944.7232 | 2598957.9033 | 1230942.6613 | 2598974.9423 | 1230940.0343 | 2599026.8314 | 1230928.1734 | 2599031.7233 | 1230926.3382 | 2599035.2747 | 1230924.025 | 2599042.1046 | 1230917.5978
3 | 2598835.5562 | 1231436.236 | 2598835.0196 | 1231441.2502 | 2598833.0439 | 1231444.6527 | 2598828.9095 | 1231445.8987 | 2598819.5649 | 1231445.0113
4 | 2599042.1046 | 1230917.5978 | 2599032.8274 | 1230917.4549 | 2599013.213 | 1230918.0587 | 2599007.0032 | 1230918.6491 | 2598990.1992 | 1230923.555 | 2598987.6396 | 1230924.2337 | 2598984.5876 | 1230924.2454 | 2598977.2782 | 1230923.079
5 | 2599042.1046 | 1230917.5978 | 2599747.3496 | 1230303.3793
6 | 2599042.1046 | 1230917.5978 | 2599035.2747 | 1230924.025 | 2599037.9788 | 1230926.893 | 2599041.8792 | 1230928.2486 | 2599046.2716 | 1230927.6698 | 2599049.8382 | 1230925.9904 | 2599054.8818 | 1230925.1334 | 2599060.3497 | 1230925.5105 | 2599080.6009 | 1230929.3205 | 2599089.7119 | 1230932.2429 | 2599096.46 | 1230935.0212 | 2599102.8902 | 1230938.689 | 2599106.4804 | 1230941.6124 | 2599110.9187 | 1230944.469 | 2599115.4931 | 1230946.1692 | 2599120.4915 | 1230946.7577 | 2599139.334 | 1230950.3124 | 2599148.5206 | 1230952.9125 | 2599157.8514 | 1230957.3137 | 2599237.7766 | 1231001.4727 | 2599268.5708 | 1231016.9221 | 2599281.4003 | 1231022.9017 | 2599312.7013 | 1231036.3168 | 2599355.1594 | 1231067.6969 | 2599398.3679 | 1231108.7275 | 2599407.4112 | 1231119.4662 | 2599418.4623 | 1231140.1106 | 2599419.5993 | 1231149.8608 | 2599415.223 | 1231157.5325 | 2599413.8229 | 1231165.3929 | 2599414.581 | 1231172.1302 | 2599414.9306 | 1231183.6481 | 2599414.583 | 1231190.619 | 2599413.0692 | 1231196.9007 | 2599409.3368 | 1231206.2067 | 2599402.0604 | 1231215.4019 | 2599393.8373 | 1231223.5188 | 2599401.5853 | 1231233.2904 | 2599411.6281 | 1231244.5071 | 2599424.0946 | 1231260.7265 | 2599431.2144 | 1231274.1671 | 2599438.6299 | 1231291.41 | 2599446.302 | 1231300.7925 | 2599476.2699 | 1231328.3504 | 2599503.0491 | 1231353.5406 | 2599518.0517 | 1231366.1801 | 2599531.9557 | 1231374.9285 | 2599541.3086 | 1231382.71 | 2599558.4998 | 1231400.4414 | 2599566.8831 | 1231406.2441 | 2599576.69 | 1231411.691 | 2599606.8374 | 1231425.4412 | 2599615.0691 | 1231430.1434 | 2599624.0657 | 1231436.3464 | 2599631.8204 | 1231443.4278 | 2599640.8703 | 1231453.7778 | 2599652.4192 | 1231466.2845 | 2599658.826 | 1231473.5661 | 2599664.4226 | 1231481.6595 | 2599672.0262 | 1231493.5105 | 2599677.017 | 1231503.0381 | 2599681.031 | 1231512.5657 | 2599684.924 | 1231524.6171 | 2599686.4162 | 1231530.0092 | 2599683.3722 | 1231532.5776 | 2599681.5021 | 1231537.0248 | 2599681.2755 | 1231544.3959 | 2599682.389 | 1231551.0998 | 2599684.3431 | 1231556.9699 | 2599687.5541 | 1231562.0171 | 2599691.3178 | 1231566.0415 | 2599694.4529 | 1231568.5317 | 2599699.1176 | 1231570.3325 | 2599699.2469 | 1231579.5491 | 2599693.8408 | 1231588.1991 | 2599689.1697 | 1231603.0082 | 2599677.048 | 1231627.1679 | 2599687.6422 | 1231635.4055 | 2599698.6679 | 1231643.8543 | 2599705.7256 | 1231649.8463 | 2599718.6061 | 1231652.9585 | 2599734.2357 | 1231661.1847 | 2599744.7006 | 1231664.3972 | 2599749.1759 | 1231666.4982 | 2599755.2642 | 1231669.9555 | 2599761.2993 | 1231672.3233 | 2599767.3648 | 1231674.4131 | 2599773.1273 | 1231675.6913 | 2599780.5707 | 1231675.2907
7 | 2600279.7991 | 1231862.5104 | 2600274.0369 | 1231863.433 | 2600268.3654 | 1231865.1338 | 2600260.8766 | 1231868.5134 | 2600255.4929 | 1231870.4588 | 2600251.9114 | 1231871.4593 | 2600243.6201 | 1231871.7481 | 2600235.3288 | 1231871.3476 | 2600229.6574 | 1231870.3246 | 2600224.9402 | 1231868.7236 | 2600219.8746 | 1231865.4103 | 2600209.5997 | 1231856.8383 | 2600196.0764 | 1231845.8203 | 2600186.3011 | 1231836.5367 | 2600179.4865 | 1231829.021 | 2600173.5729 | 1231821.0939 | 2600167.947 | 1231814.123 | 2600164.3427 | 1231810.8321 | 2600159.5573 | 1231808.0414 | 2600152.856 | 1231805.462 | 2600144.966 | 1231801.8709 | 2600136.1371 | 1231797.5349 | 2600127.3914 | 1231792.4317 | 2600111.7855 | 1231781.4139 | 2600105.4629 | 1231777.0779 | 2600101.6768 | 1231775.2657 | 2600097.073 | 1231773.8871 | 2600088.3349 | 1231770.9853 | 2600078.794 | 1231766.7049 | 2600074.1599 | 1231764.5926 | 2600069.6924 | 1231761.891 | 2600064.7175 | 1231758.022 | 2600058.2282 | 1231752.0406 | 2600046.6126 | 1231740.8895 | 2600039.8128 | 1231735.2973 | 2600035.5042 | 1231732.2622 | 2600030.5142 | 1231729.4717 | 2600025.7589 | 1231727.6595 | 2600020.0116 | 1231726.1142 | 2600014.6884 | 1231724.9914 | 2600008.8654 | 1231724.4133 | 2600002.6336 | 1231723.2794 | 2599992.5777 | 1231720.689 | 2599983.5593 | 1231717.7986 | 2599973.5261 | 1231713.7296 | 2599965.9539 | 1231710.2276 | 2599958.6315 | 1231705.6361 | 2599951.7711 | 1231700.8223 | 2599942.4799 | 1231695.6194 | 2599931.326 | 1231690.083 | 2599927.767 | 1231687.7372 | 2599924.4276 | 1231685.0246 | 2599920.8307 | 1231681.0556 | 2599907.7227 | 1231662.745 | 2599885.3914 | 1231634.4176 | 2599874.9491 | 1231631.6162 | 2599866.2561 | 1231628.9038 | 2599857.3814 | 1231627.7479 | 2599848.166 | 1231629.616 | 2599838.8069 | 1231633.9968 | 2599831.4469 | 1231640.8901 | 2599822.8074 | 1231650.6629 | 2599813.5242 | 1231658.7682 | 2599802.4615 | 1231665.6839 | 2599780.5707 | 1231675.2907
8 | 2600279.7991 | 1231862.5104 | 2600285.3418 | 1231862.2549 | 2600291.4978 | 1231862.4219 | 2600298.729 | 1231863.3227 | 2600303.0913 | 1231864.4357
9 | 2599780.5707 | 1231675.2907 | 2599779.5563 | 1231680.1492 | 2599780.5713 | 1231685.8193 | 2599784.2212 | 1231689.4657 | 2599790.5214 | 1231691.8891 | 2599796.2081 | 1231692.7004 | 2599801.2892 | 1231694.9237 | 2599808.1876 | 1231699.1815 | 2599814.2834 | 1231702.8279 | 2599820.9848 | 1231705.6626 | 2599825.604 | 1231708.0861 | 2599829.1098 | 1231706.8741 | 2599835.6066 | 1231704.0388 | 2599841.0963 | 1231700.392 | 2599845.7682 | 1231698.5685 | 2599854.1809 | 1231697.2007
10 | 2599847.7978 | 1230304.4471 | 2599835.899 | 1230300.5564 | 2599822.6974 | 1230297.0993 | 2599811.3743 | 1230295.5544 | 2599794.8706 | 1230293.9987 | 2599778.9955 | 1230292.9766 | 2599771.0807 | 1230293.255 | 2599762.9767 | 1230295.5456 | 2599754.2669 | 1230300.8826 | 2599748.9729 | 1230303.0175 | 2599747.3496 | 1230303.3793
11 | 2599886.8254 | 1230275.3951 | 2599900.5421 | 1230281.276 | 2599907.7451 | 1230286.3233 | 2599909.3433 | 1230291.2706 | 2599909.2828 | 1230295.7288 | 2599907.3034 | 1230303.5192
12 | 2599886.8254 | 1230275.3951 | 2599882.0387 | 1230277.0074 | 2599876.5094 | 1230280.1422
13 | 2599876.5094 | 1230280.1422 | 2599874.6845 | 1230281.1768 | 2599868.603 | 1230285.4749
14 | 2599847.7978 | 1230304.4471 | 2599858.2721 | 1230293.3068 | 2599867.5424 | 1230286.2244 | 2599868.603 | 1230285.4749

## bus_geodata
| x | y | coords
0 | 2598828.6306 | 1231412.3492
1 | 2598851.6968 | 1231416.8877
2 | 2598835.5562 | 1231436.236
3 | 2599042.1046 | 1230917.5978
4 | 2598819.5649 | 1231445.0113
5 | 2600279.7991 | 1231862.5104
6 | 2599780.5707 | 1231675.2907
7 | 2600303.0913 | 1231864.4357
8 | 2599854.1809 | 1231697.2007
9 | 2598977.2782 | 1230923.079
10 | 2599747.3496 | 1230303.3793
11 | 2599907.3034 | 1230303.5192
12 | 2599886.8254 | 1230275.3951
13 | 2599876.5094 | 1230280.1422
14 | 2599868.603 | 1230285.4749
15 | 2599847.7978 | 1230304.4471
16 | 2599780.5707 | 1231675.2907

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98479 | -0.29533 | 0.00096199 | 0.0002411
1 | 0.98481 | -0.29492 | 0 | 0
2 | 0.9847 | -0.297 | 0 | 0
3 | 0.98915 | -0.21021 | 0 | 0
4 | 0.98462 | -0.29867 | 0.0040902 | 0.0010251
5 | 0.9953 | -0.090422 | 0 | 0
6 | 1 | 0 | -0.020903 | -0.0048353
7 | 0.99512 | -0.093974 | 0.0085887 | 0.0021525
8 | 0.99993 | -0.0012843 | 0.00079624 | 0.00019956
9 | 0.98901 | -0.21287 | 0.0022679 | 0.00056839
10 | 0.9871 | -0.2504 | 0.0014888 | 0.00037312
11 | 0.98696 | -0.2532 | 0.00056748 | 0.00014222
12 | 0.98698 | -0.25278 | 0 | 0
13 | 0.98699 | -0.25266 | 0.00019839 | 4.9721e-05
14 | 0.987 | -0.25253 | 0.00013077 | 3.2774e-05
15 | 0.98702 | -0.25208 | 0 | 0
16 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00096199 | -0.0002411 | 0.00096201 | 0.00024081 | 1.8785e-08 | -2.8965e-07 | 0.0014536 | 0.0014535 | 0.0014536 | 0.98479 | -0.29533 | 0.98481 | -0.29492 | 0.39933
1 | 0.004091 | 0.0010249 | -0.0040906 | -0.001025 | 4.0697e-07 | -1.009e-07 | 0.0061812 | 0.0061813 | 0.0061813 | 0.98481 | -0.29492 | 0.9847 | -0.297 | 1.6982
2 | -0.005053 | -0.0012657 | 0.0050734 | 0.0012669 | 2.0399e-05 | 1.1219e-06 | 0.0076347 | 0.0076304 | 0.0076347 | 0.98481 | -0.29492 | 0.98915 | -0.21021 | 2.0974
3 | 0.0040906 | 0.001025 | -0.0040902 | -0.0010251 | 3.244e-07 | -8.0362e-08 | 0.0061813 | 0.0061814 | 0.0061814 | 0.9847 | -0.297 | 0.98462 | -0.29867 | 1.6982
4 | 0.0022682 | 0.00056773 | -0.0022679 | -0.00056839 | 2.8703e-07 | -6.6013e-07 | 0.0034118 | 0.0034121 | 0.0034121 | 0.98915 | -0.21021 | 0.98901 | -0.21287 | 0.9374
5 | 0.00239 | 0.00058634 | -0.0023855 | -0.00059542 | 4.5277e-06 | -9.0821e-06 | 0.003591 | 0.0035952 | 0.0035952 | 0.98915 | -0.21021 | 0.9871 | -0.2504 | 0.98769
6 | -0.0097316 | -0.0024209 | 0.0098293 | 0.0024677 | 9.7735e-05 | 4.6749e-05 | 0.014633 | 0.014628 | 0.014633 | 0.98915 | -0.21021 | 1 | 0 | 4.0201
7 | -0.0085901 | -0.0021531 | 0.0086273 | 0.0021691 | 3.713e-05 | 1.5923e-05 | 0.012843 | 0.01284 | 0.012843 | 0.9953 | -0.090422 | 1 | 0 | 3.5282
8 | 0.0085901 | 0.0021531 | -0.0085887 | -0.0021525 | 1.4532e-06 | 6.2477e-07 | 0.012843 | 0.012843 | 0.012843 | 0.9953 | -0.090422 | 0.99512 | -0.093974 | 3.5282
9 | 0.00079629 | 0.00019838 | -0.00079624 | -0.00019956 | 4.8609e-08 | -1.1805e-06 | 0.0011845 | 0.0011849 | 0.0011849 | 1 | 0 | 0.99993 | -0.0012843 | 0.32552
10 | 0.00089674 | 0.0002223 | -0.00089667 | -0.00022358 | 7.1205e-08 | -1.2838e-06 | 0.0013509 | 0.0013514 | 0.0013514 | 0.9871 | -0.2504 | 0.98702 | -0.25208 | 0.37127
11 | -0.00056748 | -0.00014222 | 0.00056749 | 0.0001417 | 1.1366e-08 | -5.22e-07 | 0.00085557 | 0.00085538 | 0.00085557 | 0.98696 | -0.2532 | 0.98698 | -0.25278 | 0.23505
12 | -0.00056749 | -0.0001417 | 0.00056749 | 0.00014156 | 3.1297e-09 | -1.4378e-07 | 0.00085538 | 0.00085533 | 0.00085538 | 0.98698 | -0.25278 | 0.98699 | -0.25266 | 0.235
13 | -0.00076588 | -0.00019128 | 0.00076588 | 0.00019116 | 4.77e-09 | -1.1893e-07 | 0.0011544 | 0.0011544 | 0.0011544 | 0.98699 | -0.25266 | 0.987 | -0.25253 | 0.31715
14 | -0.00089665 | -0.00022393 | 0.00089667 | 0.00022358 | 1.9353e-08 | -3.4874e-07 | 0.0013515 | 0.0013514 | 0.0013515 | 0.987 | -0.25253 | 0.98702 | -0.25208 | 0.3713

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.020903 | 0.0048353

## res_load
| p_mw | q_mvar
0 | 0.00096199 | 0.0002411
1 | 0.0040902 | 0.0010251
2 | 0.0085887 | 0.0021525
3 | 0.00079624 | 0.00019956
4 | 0.0022679 | 0.00056839
5 | 0.0014888 | 0.00037312
6 | 0.00056748 | 0.00014222
7 | 0.00019839 | 4.9721e-05
8 | 0.00013077 | 3.2774e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1