## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_28-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_28-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_28-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_28-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_28-3_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_28-3_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_28-3_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_28-3_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_28-3_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_28-3_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_28-3_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_28-3_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_28-3_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_28-3_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_28-3_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_28-3_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_28-3_0_3_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_28-3_0_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_28-3_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_28-3_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_28-3_0_3_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_28-3_0_3_node_95 | 0.4 | n |  | TRUE
22 | bus_LV_28-3_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_28-3_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_28-3_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_28-3_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_28-3_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_28-3_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_28-3_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_28-3_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_28-3_0_3_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_28-3_0_3_node_137 | 0.4 | n |  | TRUE
32 | bus_LV_28-3_0_3_node_135 | 0.4 | n |  | TRUE
33 | bus_LV_28-3_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_28-3_0_3_node_133 | 0.4 | n |  | TRUE
35 | bus_LV_28-3_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_28-3_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_28-3_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_28-3_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_28-3_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_28-3_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_28-3_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_28-3_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_28-3_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_28-3_0_3_node_128 | 0.4 | n |  | TRUE
45 | bus_LV_28-3_0_3_node_129 | 0.4 | n |  | TRUE
46 | bus_LV_28-3_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_28-3_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_28-3_0_3_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_28-3_0_3_node_130 | 0.4 | n |  | TRUE
50 | bus_LV_28-3_0_3_node_131 | 0.4 | n |  | TRUE
51 | bus_LV_28-3_0_3_node_132 | 0.4 | n |  | TRUE
52 | bus_LV_28-3_0_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_28-3_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_28-3_0_3_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_28-3_0_3_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_28-3_0_3_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_28-3_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_28-3_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_28-3_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_28-3_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_28-3_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_28-3_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_28-3_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_28-3_0_3_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_28-3_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_28-3_0_3_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_28-3_0_3_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_28-3_0_3_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_28-3_0_3_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_28-3_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_28-3_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_28-3_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_28-3_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_28-3_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_28-3_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_28-3_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_28-3_0_3_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_28-3_0_3_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_28-3_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_28-3_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_28-3_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_28-3_0_3_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_28-3_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_28-3_0_3_node_119 | 0.4 | n |  | TRUE
85 | bus_LV_28-3_0_3_node_114 | 0.4 | n |  | TRUE
86 | bus_LV_28-3_0_3_node_118 | 0.4 | n |  | TRUE
87 | bus_LV_28-3_0_3_node_115 | 0.4 | n |  | TRUE
88 | bus_LV_28-3_0_3_node_116 | 0.4 | n |  | TRUE
89 | bus_LV_28-3_0_3_node_117 | 0.4 | n |  | TRUE
90 | bus_LV_28-3_0_3_node_167 | 0.4 | n |  | TRUE
91 | bus_LV_28-3_0_3_node_154 | 0.4 | n |  | TRUE
92 | bus_LV_28-3_0_3_node_168 | 0.4 | n |  | TRUE
93 | bus_LV_28-3_0_3_node_136 | 0.4 | n |  | TRUE
94 | bus_LV_28-3_0_3_node_170 | 0.4 | n |  | TRUE
95 | bus_LV_28-3_0_3_node_152 | 0.4 | n |  | TRUE
96 | bus_LV_28-3_0_3_node_134 | 0.4 | n |  | TRUE
97 | bus_LV_28-3_0_3_node_158 | 0.4 | n |  | TRUE
98 | bus_LV_28-3_0_3_node_159 | 0.4 | n |  | TRUE
99 | bus_LV_28-3_0_3_node_138 | 0.4 | n |  | TRUE
100 | bus_LV_28-3_0_3_node_139 | 0.4 | n |  | TRUE
101 | bus_LV_28-3_0_3_node_140 | 0.4 | n |  | TRUE
102 | bus_LV_28-3_0_3_node_141 | 0.4 | n |  | TRUE
103 | bus_LV_28-3_0_3_node_142 | 0.4 | n |  | TRUE
104 | bus_LV_28-3_0_3_node_143 | 0.4 | n |  | TRUE
105 | bus_LV_28-3_0_3_node_145 | 0.4 | n |  | TRUE
106 | bus_LV_28-3_0_3_node_146 | 0.4 | n |  | TRUE
107 | bus_LV_28-3_0_3_node_162 | 0.4 | n |  | TRUE
108 | bus_LV_28-3_0_3_node_144 | 0.4 | n |  | TRUE
109 | bus_LV_28-3_0_3_node_163 | 0.4 | n |  | TRUE
110 | bus_LV_28-3_0_3_node_164 | 0.4 | n |  | TRUE
111 | bus_LV_28-3_0_3_node_165 | 0.4 | n |  | TRUE
112 | bus_LV_28-3_0_3_node_156 | 0.4 | n |  | TRUE
113 | bus_LV_28-3_0_3_node_212 | 0.4 | n |  | TRUE
114 | bus_LV_28-3_0_3_node_166 | 0.4 | n |  | TRUE
115 | bus_LV_28-3_0_3_node_192 | 0.4 | n |  | TRUE
116 | bus_LV_28-3_0_3_node_194 | 0.4 | n |  | TRUE
117 | bus_LV_28-3_0_3_node_151 | 0.4 | n |  | TRUE
118 | bus_LV_28-3_0_3_node_147 | 0.4 | n |  | TRUE
119 | bus_LV_28-3_0_3_node_148 | 0.4 | n |  | TRUE
120 | bus_LV_28-3_0_3_node_149 | 0.4 | n |  | TRUE
121 | bus_LV_28-3_0_3_node_150 | 0.4 | n |  | TRUE
122 | bus_LV_28-3_0_3_node_153 | 0.4 | n |  | TRUE
123 | bus_LV_28-3_0_3_node_155 | 0.4 | n |  | TRUE
124 | bus_LV_28-3_0_3_node_169 | 0.4 | n |  | TRUE
125 | bus_LV_28-3_0_3_node_157 | 0.4 | n |  | TRUE
126 | bus_LV_28-3_0_3_node_211 | 0.4 | n |  | TRUE
127 | bus_LV_28-3_0_3_node_160 | 0.4 | n |  | TRUE
128 | bus_LV_28-3_0_3_node_161 | 0.4 | n |  | TRUE
129 | bus_LV_28-3_0_3_node_214 | 0.4 | n |  | TRUE
130 | bus_LV_28-3_0_3_node_213 | 0.4 | n |  | TRUE
131 | bus_LV_28-3_0_3_node_193 | 0.4 | n |  | TRUE
132 | bus_LV_28-3_0_3_node_190 | 0.4 | n |  | TRUE
133 | bus_LV_28-3_0_3_node_195 | 0.4 | n |  | TRUE
134 | bus_LV_28-3_0_3_node_171 | 0.4 | n |  | TRUE
135 | bus_LV_28-3_0_3_node_204 | 0.4 | n |  | TRUE
136 | bus_LV_28-3_0_3_node_172 | 0.4 | n |  | TRUE
137 | bus_LV_28-3_0_3_node_173 | 0.4 | n |  | TRUE
138 | bus_LV_28-3_0_3_node_174 | 0.4 | n |  | TRUE
139 | bus_LV_28-3_0_3_node_175 | 0.4 | n |  | TRUE
140 | bus_LV_28-3_0_3_node_176 | 0.4 | n |  | TRUE
141 | bus_LV_28-3_0_3_node_177 | 0.4 | n |  | TRUE
142 | bus_LV_28-3_0_3_node_178 | 0.4 | n |  | TRUE
143 | bus_LV_28-3_0_3_node_179 | 0.4 | n |  | TRUE
144 | bus_LV_28-3_0_3_node_180 | 0.4 | n |  | TRUE
145 | bus_LV_28-3_0_3_node_181 | 0.4 | n |  | TRUE
146 | bus_LV_28-3_0_3_node_182 | 0.4 | n |  | TRUE
147 | bus_LV_28-3_0_3_node_205 | 0.4 | n |  | TRUE
148 | bus_LV_28-3_0_3_node_196 | 0.4 | n |  | TRUE
149 | bus_LV_28-3_0_3_node_186 | 0.4 | n |  | TRUE
150 | bus_LV_28-3_0_3_node_183 | 0.4 | n |  | TRUE
151 | bus_LV_28-3_0_3_node_210 | 0.4 | n |  | TRUE
152 | bus_LV_28-3_0_3_node_197 | 0.4 | n |  | TRUE
153 | bus_LV_28-3_0_3_node_184 | 0.4 | n |  | TRUE
154 | bus_LV_28-3_0_3_node_185 | 0.4 | n |  | TRUE
155 | bus_LV_28-3_0_3_node_187 | 0.4 | n |  | TRUE
156 | bus_LV_28-3_0_3_node_188 | 0.4 | n |  | TRUE
157 | bus_LV_28-3_0_3_node_200 | 0.4 | n |  | TRUE
158 | bus_LV_28-3_0_3_node_201 | 0.4 | n |  | TRUE
159 | bus_LV_28-3_0_3_node_206 | 0.4 | n |  | TRUE
160 | bus_LV_28-3_0_3_node_189 | 0.4 | n |  | TRUE
161 | bus_LV_28-3_0_3_node_191 | 0.4 | n |  | TRUE
162 | bus_LV_28-3_0_3_node_199 | 0.4 | n |  | TRUE
163 | bus_LV_28-3_0_3_node_203 | 0.4 | n |  | TRUE
164 | bus_LV_28-3_0_3_node_198 | 0.4 | n |  | TRUE
165 | bus_LV_28-3_0_3_node_202 | 0.4 | n |  | TRUE
166 | bus_LV_28-3_0_3_node_209 | 0.4 | n |  | TRUE
167 | bus_LV_28-3_0_3_node_208 | 0.4 | n |  | TRUE
168 | bus_MV_368_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_28-3_0_3_load_0 | 0 | 0.0014696 | 0.00036831 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_28-3_0_3_load_1 | 1 | 0.0012532 | 0.00031409 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_28-3_0_3_load_2 | 2 | 0.00096175 | 0.00024104 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_28-3_0_3_load_12 | 5 | 0.0067359 | 0.0016882 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_28-3_0_3_load_10 | 6 | 0.0014722 | 0.00036898 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_28-3_0_3_load_15 | 9 | 0.0011953 | 0.00029958 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_28-3_0_3_load_18 | 11 | 0.0030688 | 0.00076911 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_28-3_0_3_load_16 | 12 | 0.003725 | 0.00093357 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_28-3_0_3_load_19 | 13 | 0.0052909 | 0.001326 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_28-3_0_3_load_54 | 16 | 0.0034221 | 0.00085767 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_28-3_0_3_load_55 | 17 | 0.014439 | 0.0036186 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_28-3_0_3_load_56 | 18 | 0.00059582 | 0.00014933 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_28-3_0_3_load_23 | 19 | 0.010754 | 0.0026952 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_28-3_0_3_load_74 | 20 | 0.0001801 | 4.5137e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_28-3_0_3_load_95 | 21 | 0.0010539 | 0.00026412 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_28-3_0_3_load_24 | 22 | 0.0090572 | 0.0022699 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_28-3_0_3_load_29 | 25 | 0.002933 | 0.00073507 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_28-3_0_3_load_30 | 26 | 0.0029181 | 0.00073134 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_28-3_0_3_load_28 | 27 | 0.0015291 | 0.00038322 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_28-3_0_3_load_40 | 29 | 0.012707 | 0.0031848 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_28-3_0_3_load_73 | 30 | 0.0014649 | 0.00036714 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_28-3_0_3_load_137 | 31 | 0.0051373 | 0.0012875 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_28-3_0_3_load_135 | 32 | 0.0015126 | 0.0003791 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_28-3_0_3_load_133 | 34 | 0.0029324 | 0.00073493 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_28-3_0_3_load_32 | 35 | 0.0042757 | 0.0010716 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_28-3_0_3_load_33 | 36 | 0.0024695 | 0.00061891 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_28-3_0_3_load_35 | 38 | 0.001419 | 0.00035564 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_28-3_0_3_load_39 | 40 | 0.0014651 | 0.0003672 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_28-3_0_3_load_41 | 41 | 0.0042272 | 0.0010594 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_28-3_0_3_load_42 | 42 | 0.0045415 | 0.0011382 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_28-3_0_3_load_129 | 45 | 0.0017162 | 0.00043012 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_28-3_0_3_load_43 | 46 | 0.0035711 | 0.00089501 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_28-3_0_3_load_50 | 47 | 0.00086573 | 0.00021697 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_28-3_0_3_load_130 | 49 | 0.0025192 | 0.00063137 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_28-3_0_3_load_131 | 50 | 0.002563 | 0.00064235 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_28-3_0_3_load_132 | 51 | 0.00051392 | 0.0001288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_28-3_0_3_load_65 | 52 | 0.0013221 | 0.00033134 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_28-3_0_3_load_47 | 53 | 0.0024528 | 0.00061473 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_28-3_0_3_load_69 | 54 | 0.00064192 | 0.00016088 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_28-3_0_3_load_70 | 55 | 0.00035308 | 8.8489e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_28-3_0_3_load_66 | 56 | 0.0011448 | 0.00028692 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_28-3_0_3_load_44 | 57 | 0.0020162 | 0.00050532 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_28-3_0_3_load_45 | 58 | 0.0072611 | 0.0018198 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_28-3_0_3_load_49 | 60 | 0.0023833 | 0.0005973 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_28-3_0_3_load_77 | 63 | 0.00023847 | 5.9767e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_28-3_0_3_load_78 | 64 | 0.00043704 | 0.00010953 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_28-3_0_3_load_52 | 65 | 0.0004212 | 0.00010556 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_28-3_0_3_load_75 | 66 | 0.00066899 | 0.00016766 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_28-3_0_3_load_90 | 67 | 0.00069613 | 0.00017447 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_28-3_0_3_load_94 | 68 | 0.0010156 | 0.00025454 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_28-3_0_3_load_71 | 69 | 0.00023372 | 5.8576e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_28-3_0_3_load_63 | 70 | 0.0032661 | 0.00081855 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_28-3_0_3_load_57 | 71 | 0.001144 | 0.00028671 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_28-3_0_3_load_58 | 72 | 0.00035753 | 8.9606e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_28-3_0_3_load_60 | 74 | 0.00058026 | 0.00014543 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_28-3_0_3_load_61 | 75 | 0.011576 | 0.0029013 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_28-3_0_3_load_62 | 76 | 0.018952 | 0.0047499 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_28-3_0_3_load_64 | 77 | 0.00037648 | 9.4354e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_28-3_0_3_load_93 | 78 | 0.00037933 | 9.5069e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_28-3_0_3_load_67 | 79 | 0.00035132 | 8.8049e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_28-3_0_3_load_72 | 80 | 0.00023221 | 5.8198e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_28-3_0_3_load_76 | 81 | 0.0010883 | 0.00027275 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_28-3_0_3_load_87 | 83 | 0.0032706 | 0.0008197 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_28-3_0_3_load_119 | 84 | 0.0015844 | 0.00039709 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_28-3_0_3_load_114 | 85 | 0.00027178 | 6.8115e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_28-3_0_3_load_116 | 88 | 0.0018765 | 0.0004703 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_28-3_0_3_load_167 | 90 | 0.0045665 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_28-3_0_3_load_154 | 91 | 0.0022883 | 0.0005735 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_28-3_0_3_load_136 | 93 | 0.0010273 | 0.00025746 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_28-3_0_3_load_170 | 94 | 0.0012231 | 0.00030653 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_28-3_0_3_load_152 | 95 | 0.0035192 | 0.000882 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_28-3_0_3_load_134 | 96 | 0.0029124 | 0.00072991 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_28-3_0_3_load_158 | 97 | 0.0027549 | 0.00069044 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_28-3_0_3_load_138 | 99 | 0.0021712 | 0.00054416 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_28-3_0_3_load_139 | 100 | 0.0012905 | 0.00032342 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_28-3_0_3_load_142 | 103 | 0.0013861 | 0.0003474 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_28-3_0_3_load_143 | 104 | 0.0012868 | 0.00032251 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_28-3_0_3_load_145 | 105 | 0.00095099 | 0.00023834 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_28-3_0_3_load_146 | 106 | 0.0011014 | 0.00027604 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_28-3_0_3_load_162 | 107 | 0.0015101 | 0.00037846 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_28-3_0_3_load_163 | 109 | 0.0012349 | 0.00030949 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_28-3_0_3_load_164 | 110 | 0.0014494 | 0.00036325 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_28-3_0_3_load_165 | 111 | 0.0015408 | 0.00038617 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_28-3_0_3_load_156 | 112 | 0.0011472 | 0.00028751 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_28-3_0_3_load_212 | 113 | 0.0014758 | 0.00036988 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_28-3_0_3_load_166 | 114 | 0.0017255 | 0.00043246 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_28-3_0_3_load_194 | 116 | 0.0015642 | 0.00039203 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_28-3_0_3_load_147 | 118 | 0.0014141 | 0.00035442 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_28-3_0_3_load_149 | 120 | 0.0021969 | 0.0005506 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_28-3_0_3_load_153 | 122 | 0.0014083 | 0.00035296 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_28-3_0_3_load_155 | 123 | 0.00092112 | 0.00023085 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_28-3_0_3_load_169 | 124 | 0.0012759 | 0.00031976 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_28-3_0_3_load_157 | 125 | 0.0024773 | 0.00062086 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_28-3_0_3_load_211 | 126 | 0.0014219 | 0.00035637 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_28-3_0_3_load_160 | 127 | 0.0011718 | 0.00029367 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_28-3_0_3_load_161 | 128 | 0.00097695 | 0.00024485 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_28-3_0_3_load_214 | 129 | 0.0013676 | 0.00034274 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_28-3_0_3_load_213 | 130 | 0.0015566 | 0.00039013 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_28-3_0_3_load_190 | 132 | 0.002245 | 0.00056266 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_28-3_0_3_load_195 | 133 | 0.0012389 | 0.00031051 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_28-3_0_3_load_171 | 134 | 0.0010586 | 0.00026531 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_28-3_0_3_load_172 | 136 | 0.0013309 | 0.00033355 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_28-3_0_3_load_173 | 137 | 0.0010425 | 0.00026128 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_28-3_0_3_load_177 | 141 | 0.0010662 | 0.00026721 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_28-3_0_3_load_178 | 142 | 0.00096374 | 0.00024154 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_28-3_0_3_load_179 | 143 | 0.0014571 | 0.00036518 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_28-3_0_3_load_180 | 144 | 0.00078027 | 0.00019555 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_28-3_0_3_load_181 | 145 | 0.0010943 | 0.00027426 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_28-3_0_3_load_205 | 147 | 0.0017495 | 0.00043848 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_28-3_0_3_load_196 | 148 | 0.0010649 | 0.00026688 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_28-3_0_3_load_186 | 149 | 0.0011361 | 0.00028473 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_28-3_0_3_load_183 | 150 | 0.0015446 | 0.00038711 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_28-3_0_3_load_210 | 151 | 0.0014835 | 0.00037181 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_28-3_0_3_load_184 | 153 | 0.0011384 | 0.00028531 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_28-3_0_3_load_187 | 155 | 0.00088434 | 0.00022164 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_28-3_0_3_load_200 | 157 | 0.0013335 | 0.00033421 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_28-3_0_3_load_201 | 158 | 0.0011234 | 0.00028155 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_28-3_0_3_load_206 | 159 | 0.00090969 | 0.00022799 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_28-3_0_3_load_189 | 160 | 0.0023144 | 0.00058004 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_28-3_0_3_load_191 | 161 | 0.0011609 | 0.00029094 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_28-3_0_3_load_199 | 162 | 0.0012019 | 0.00030123 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_28-3_0_3_load_198 | 164 | 0.00090419 | 0.00022661 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_28-3_0_3_load_202 | 165 | 0.0025626 | 0.00064224 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_28-3_0_3_load_208 | 167 | 0.002023 | 0.00050701 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_28-3_0_3_line_0 |  | 0 | 1 | 0.010751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_28-3_0_3_line_1 |  | 0 | 2 | 0.0094733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_28-3_0_3_line_2 |  | 1 | 3 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_28-3_0_3_line_3 |  | 3 | 4 | 0.034921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_28-3_0_3_line_4 |  | 4 | 5 | 0.025989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_28-3_0_3_line_5 |  | 4 | 6 | 0.021596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_28-3_0_3_line_6 |  | 5 | 7 | 0.029145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_28-3_0_3_line_7 |  | 6 | 8 | 0.037856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_28-3_0_3_line_8 |  | 7 | 12 | 0.066414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_28-3_0_3_line_9 |  | 7 | 9 | 0.0020278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_28-3_0_3_line_10 |  | 8 | 10 | 0.085124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_28-3_0_3_line_11 |  | 10 | 11 | 0.022684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_28-3_0_3_line_12 |  | 11 | 13 | 0.057178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_28-3_0_3_line_13 |  | 13 | 14 | 0.025532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_28-3_0_3_line_14 |  | 14 | 15 | 0.046241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_28-3_0_3_line_15 |  | 15 | 16 | 0.020009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_28-3_0_3_line_16 |  | 15 | 17 | 0.039793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_28-3_0_3_line_17 |  | 15 | 18 | 0.0086102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_28-3_0_3_line_18 |  | 16 | 20 | 0.020809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_28-3_0_3_line_19 |  | 17 | 19 | 0.012007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_28-3_0_3_line_20 |  | 18 | 21 | 0.037233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_28-3_0_3_line_21 |  | 20 | 30 | 0.005257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_28-3_0_3_line_22 |  | 21 | 70 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_28-3_0_3_line_23 |  | 22 | 23 | 0.078017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_28-3_0_3_line_24 |  | 23 | 24 | 0.006329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_28-3_0_3_line_25 |  | 24 | 25 | 0.036293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_28-3_0_3_line_26 |  | 24 | 26 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_28-3_0_3_line_27 |  | 25 | 29 | 0.021878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_28-3_0_3_line_28 |  | 26 | 30 | 0.038347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_28-3_0_3_line_29 |  | 27 | 28 | 0.050333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_28-3_0_3_line_30 |  | 28 | 31 | 0.01201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_28-3_0_3_line_31 |  | 28 | 32 | 0.0089953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_28-3_0_3_line_32 |  | 29 | 33 | 0.008282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_28-3_0_3_line_33 |  | 32 | 34 | 0.0046649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_28-3_0_3_line_34 |  | 33 | 40 | 0.014029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_28-3_0_3_line_35 |  | 33 | 37 | 0.045197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_28-3_0_3_line_36 |  | 34 | 96 | 0.022776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_28-3_0_3_line_37 |  | 35 | 36 | 0.021968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_28-3_0_3_line_38 |  | 35 | 37 | 0.0031487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_28-3_0_3_line_39 |  | 36 | 38 | 0.028233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_28-3_0_3_line_40 |  | 37 | 39 | 0.027656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_28-3_0_3_line_41 |  | 39 | 41 | 0.0071612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_28-3_0_3_line_42 |  | 39 | 42 | 0.011322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_28-3_0_3_line_43 |  | 40 | 46 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_28-3_0_3_line_44 |  | 41 | 47 | 0.0098452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_28-3_0_3_line_45 |  | 42 | 48 | 0.0055643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_28-3_0_3_line_46 |  | 43 | 44 | 0.015313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_28-3_0_3_line_47 |  | 43 | 45 | 0.014115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_28-3_0_3_line_48 |  | 44 | 49 | 0.0061291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_28-3_0_3_line_49 |  | 44 | 50 | 0.024631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_28-3_0_3_line_50 |  | 45 | 51 | 0.014794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_28-3_0_3_line_51 |  | 46 | 52 | 0.0038207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_28-3_0_3_line_52 |  | 47 | 53 | 0.010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_28-3_0_3_line_53 |  | 48 | 54 | 0.016126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_28-3_0_3_line_54 |  | 48 | 55 | 0.03233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_28-3_0_3_line_55 |  | 49 | 92 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_28-3_0_3_line_56 |  | 50 | 61 | 0.020296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_28-3_0_3_line_57 |  | 51 | 93 | 0.0019753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_28-3_0_3_line_58 |  | 52 | 56 | 0.017251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_28-3_0_3_line_59 |  | 53 | 58 | 0.025803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_28-3_0_3_line_60 |  | 54 | 69 | 0.025408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_28-3_0_3_line_61 |  | 55 | 80 | 0.00295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_28-3_0_3_line_62 |  | 56 | 79 | 0.0011523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_28-3_0_3_line_63 |  | 57 | 58 | 0.0038392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_28-3_0_3_line_64 |  | 57 | 59 | 0.027789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_28-3_0_3_line_65 |  | 59 | 60 | 0.0021081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_28-3_0_3_line_66 |  | 60 | 61 | 0.021289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_28-3_0_3_line_67 |  | 62 | 63 | 0.069015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_28-3_0_3_line_68 |  | 62 | 64 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_28-3_0_3_line_69 |  | 63 | 67 | 0.006484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_28-3_0_3_line_70 |  | 64 | 68 | 0.0057652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_28-3_0_3_line_71 |  | 65 | 66 | 0.0162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_28-3_0_3_line_72 |  | 66 | 69 | 0.010887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_28-3_0_3_line_73 |  | 67 | 82 | 0.0088487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_28-3_0_3_line_74 |  | 68 | 78 | 0.025817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_28-3_0_3_line_75 |  | 70 | 75 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_28-3_0_3_line_76 |  | 71 | 72 | 0.0047965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_28-3_0_3_line_77 |  | 71 | 73 | 0.029163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_28-3_0_3_line_78 |  | 72 | 74 | 0.012072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_28-3_0_3_line_79 |  | 73 | 75 | 0.0123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_28-3_0_3_line_80 |  | 73 | 76 | 0.011072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_28-3_0_3_line_81 |  | 76 | 77 | 0.0049549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_28-3_0_3_line_82 |  | 77 | 78 | 0.018975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_28-3_0_3_line_83 |  | 80 | 81 | 0.0023698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_28-3_0_3_line_84 |  | 82 | 83 | 0.024557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_28-3_0_3_line_85 |  | 84 | 85 | 0.13685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_28-3_0_3_line_86 |  | 84 | 86 | 0.089479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_28-3_0_3_line_87 |  | 86 | 87 | 0.1336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_28-3_0_3_line_88 |  | 87 | 88 | 0.030639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_28-3_0_3_line_89 |  | 88 | 89 | 0.021027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_28-3_0_3_line_90 |  | 89 | 90 | 0.04343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_28-3_0_3_line_91 |  | 90 | 91 | 0.00052297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_28-3_0_3_line_92 |  | 91 | 121 | 0.023436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_28-3_0_3_line_93 |  | 92 | 94 | 0.024184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_28-3_0_3_line_94 |  | 92 | 95 | 0.054897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_28-3_0_3_line_95 |  | 93 | 96 | 0.014287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_28-3_0_3_line_96 |  | 94 | 134 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_28-3_0_3_line_97 |  | 95 | 121 | 0.023462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_28-3_0_3_line_98 |  | 97 | 98 | 0.019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_28-3_0_3_line_99 |  | 98 | 127 | 0.012658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_28-3_0_3_line_100 |  | 98 | 125 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_28-3_0_3_line_101 |  | 99 | 100 | 0.00085937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_28-3_0_3_line_102 |  | 99 | 101 | 0.012275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_28-3_0_3_line_103 |  | 100 | 102 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_28-3_0_3_line_104 |  | 101 | 103 | 0.0076913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_28-3_0_3_line_105 |  | 102 | 104 | 0.015124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_28-3_0_3_line_106 |  | 102 | 105 | 0.039563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_28-3_0_3_line_107 |  | 103 | 106 | 0.015962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_28-3_0_3_line_108 |  | 104 | 107 | 0.024655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_28-3_0_3_line_109 |  | 105 | 112 | 0.00087564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_28-3_0_3_line_110 |  | 106 | 113 | 0.0068144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_28-3_0_3_line_111 |  | 107 | 114 | 0.0039683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_28-3_0_3_line_112 |  | 108 | 109 | 0.021772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_28-3_0_3_line_113 |  | 108 | 110 | 0.019016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_28-3_0_3_line_114 |  | 108 | 111 | 0.040779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_28-3_0_3_line_115 |  | 109 | 115 | 0.0085315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_28-3_0_3_line_116 |  | 110 | 116 | 0.0024874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_28-3_0_3_line_117 |  | 112 | 117 | 0.013204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_28-3_0_3_line_118 |  | 115 | 131 | 0.002489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_28-3_0_3_line_119 |  | 115 | 132 | 0.010545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_28-3_0_3_line_120 |  | 116 | 133 | 0.019009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_28-3_0_3_line_121 |  | 117 | 123 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_28-3_0_3_line_122 |  | 117 | 120 | 0.015882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_28-3_0_3_line_123 |  | 118 | 119 | 0.013874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_28-3_0_3_line_124 |  | 119 | 120 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_28-3_0_3_line_125 |  | 119 | 121 | 0.035875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_28-3_0_3_line_126 |  | 121 | 122 | 0.017423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_28-3_0_3_line_127 |  | 122 | 124 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_28-3_0_3_line_128 |  | 123 | 125 | 0.003623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_28-3_0_3_line_129 |  | 124 | 126 | 0.01536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_28-3_0_3_line_130 |  | 126 | 135 | 0.0068951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_28-3_0_3_line_131 |  | 127 | 128 | 0.0041172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_28-3_0_3_line_132 |  | 128 | 129 | 0.010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_28-3_0_3_line_133 |  | 129 | 130 | 0.0020871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_28-3_0_3_line_134 |  | 131 | 162 | 0.043207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_28-3_0_3_line_135 |  | 132 | 160 | 0.0078079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_28-3_0_3_line_136 |  | 133 | 144 | 0.033543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_28-3_0_3_line_137 |  | 135 | 163 | 0.043067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_28-3_0_3_line_138 |  | 136 | 137 | 0.0046758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_28-3_0_3_line_139 |  | 136 | 138 | 0.022597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_28-3_0_3_line_140 |  | 137 | 139 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_28-3_0_3_line_141 |  | 138 | 140 | 0.044726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_28-3_0_3_line_142 |  | 138 | 141 | 0.01288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_28-3_0_3_line_143 |  | 139 | 142 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_28-3_0_3_line_144 |  | 139 | 143 | 0.020314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_28-3_0_3_line_145 |  | 140 | 144 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_28-3_0_3_line_146 |  | 140 | 145 | 0.027802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_28-3_0_3_line_147 |  | 141 | 146 | 0.0078478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_28-3_0_3_line_148 |  | 143 | 147 | 0.033878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_28-3_0_3_line_149 |  | 145 | 148 | 0.025577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_28-3_0_3_line_150 |  | 146 | 149 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_28-3_0_3_line_151 |  | 146 | 150 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_28-3_0_3_line_152 |  | 147 | 151 | 0.0012387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_28-3_0_3_line_153 |  | 148 | 152 | 0.01855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_28-3_0_3_line_154 |  | 150 | 153 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_28-3_0_3_line_155 |  | 151 | 166 | 0.039678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_28-3_0_3_line_156 |  | 152 | 164 | 0.040508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_28-3_0_3_line_157 |  | 153 | 154 | 0.0076154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_28-3_0_3_line_158 |  | 154 | 155 | 0.005834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_28-3_0_3_line_159 |  | 154 | 156 | 0.024212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_28-3_0_3_line_160 |  | 156 | 157 | 0.023121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_28-3_0_3_line_161 |  | 156 | 158 | 0.054664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_28-3_0_3_line_162 |  | 158 | 159 | 0.02987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_28-3_0_3_line_163 |  | 160 | 161 | 0.016328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_28-3_0_3_line_164 |  | 162 | 163 | 0.0187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_28-3_0_3_line_165 |  | 163 | 165 | 0.021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_28-3_0_3_line_166 |  | 166 | 167 | 0.029512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_28-3_0_3_trafo_44 | 0.63 MVA 20/0.4 kV | 168 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2688129.0768 | 1270358.2798 | 2688123.2256 | 1270349.2609
1 | 2688129.0768 | 1270358.2798 | 2688134.2328 | 1270366.227
2 | 2688116.7847 | 1270339.3333 | 2688123.2256 | 1270349.2609
3 | 2688140.7045 | 1270314.1918 | 2688128.1 | 1270324.3231 | 2688116.7847 | 1270339.3333
4 | 2688140.7045 | 1270314.1918 | 2688154.9655 | 1270335.919
5 | 2688140.7045 | 1270314.1918 | 2688134.5567 | 1270304.6255 | 2688128.8959 | 1270296.1103
6 | 2688170.9799 | 1270360.2701 | 2688167.7936 | 1270355.4631 | 2688154.9655 | 1270335.919
7 | 2688107.9379 | 1270264.5846 | 2688128.8959 | 1270296.1103
8 | 2688170.9799 | 1270360.2701 | 2688203.3212 | 1270339.5693 | 2688210.6159 | 1270345.383 | 2688217.07 | 1270348.0371 | 2688225.365 | 1270356.3005
9 | 2688170.9799 | 1270360.2701 | 2688172.0873 | 1270361.9688
10 | 2688107.9379 | 1270264.5846 | 2688100.063 | 1270250.7448 | 2688104.3153 | 1270247.6612 | 2688100.7172 | 1270240.6908 | 2688102.9307 | 1270237.0764 | 2688113.447 | 1270243.3383 | 2688128.8967 | 1270249.2847 | 2688150.476 | 1270257.4467
11 | 2688150.476 | 1270257.4467 | 2688153.7726 | 1270235.0036
12 | 2688162.9918 | 1270178.5773 | 2688156.4819 | 1270216.5584 | 2688153.7726 | 1270235.0036
13 | 2688167.3049 | 1270153.4128 | 2688162.9918 | 1270178.5773
14 | 2688167.3049 | 1270153.4128 | 2688203.0593 | 1270157.1717 | 2688213.1245 | 1270159.8909
15 | 2688213.1245 | 1270159.8909 | 2688211.5981 | 1270150.7495 | 2688210.8127 | 1270140.0371
16 | 2688213.1245 | 1270159.8909 | 2688204.0752 | 1270198.6416
17 | 2688213.1245 | 1270159.8909 | 2688220.1951 | 1270164.8043
18 | 2688210.8127 | 1270140.0371 | 2688209.2911 | 1270119.2836
19 | 2688204.0752 | 1270198.6416 | 2688201.3447 | 1270210.3342
20 | 2688251.4586 | 1270185.0171 | 2688225.2266 | 1270168.3007 | 2688220.1951 | 1270164.8043
21 | 2688209.2911 | 1270119.2836 | 2688208.9067 | 1270114.0407
22 | 2688251.4586 | 1270185.0171 | 2688262.903 | 1270192.3101
23 | 2688197.5068 | 1270058.4081 | 2688198.6017 | 1270048.5831 | 2688202.26 | 1270041.4541 | 2688225.9868 | 1270024.7948 | 2688232.8997 | 1270019.9274 | 2688235.1335 | 1270012.4546 | 2688234.786 | 1269997.5857
24 | 2688203.8413 | 1270058.0024 | 2688197.5068 | 1270058.4081
25 | 2688203.8413 | 1270058.0024 | 2688240.1302 | 1270058.5144
26 | 2688203.8413 | 1270058.0024 | 2688204.2351 | 1270062.3674 | 2688205.4608 | 1270075.8493
27 | 2688240.1302 | 1270058.5144 | 2688262.0062 | 1270058.8231
28 | 2688205.4608 | 1270075.8493 | 2688208.7977 | 1270112.5543 | 2688208.9067 | 1270114.0407
29 | 2688400.4467 | 1269996.5907 | 2688384.8865 | 1269981.9125 | 2688372.7559 | 1269969.8657 | 2688364.3012 | 1269962.0995 | 2688363.9771 | 1269961.9307
30 | 2688400.4467 | 1269996.5907 | 2688401.9126 | 1269993.6769 | 2688402.4709 | 1269985.0337 | 2688402.5581 | 1269985.0361
31 | 2688400.4467 | 1269996.5907 | 2688403.385 | 1269999.3702 | 2688406.9991 | 1270002.7535
32 | 2688270.2874 | 1270058.94 | 2688262.0062 | 1270058.8231
33 | 2688410.4046 | 1270005.9416 | 2688406.9991 | 1270002.7535
34 | 2688270.2874 | 1270058.94 | 2688268.0693 | 1270072.7925
35 | 2688315.582 | 1270060.8184 | 2688305.7379 | 1270060.4154 | 2688270.2874 | 1270058.94
36 | 2688410.4046 | 1270005.9416 | 2688419.9115 | 1270014.8413 | 2688423.1484 | 1270019.2823 | 2688422.6466 | 1270023.5107
37 | 2688340.6059 | 1270062.9727 | 2688318.719 | 1270061.0885
38 | 2688315.582 | 1270060.8184 | 2688318.719 | 1270061.0885
39 | 2688340.6059 | 1270062.9727 | 2688363.424 | 1270064.9371 | 2688368.7487 | 1270065.192
40 | 2688324.6979 | 1270084.7409 | 2688317.3718 | 1270077.4921 | 2688314.2336 | 1270069.4609 | 2688315.582 | 1270060.8184
41 | 2688324.6979 | 1270084.7409 | 2688330.7955 | 1270088.4963
42 | 2688324.6979 | 1270084.7409 | 2688320.5846 | 1270095.2891
43 | 2688266.3272 | 1270083.6726 | 2688268.0693 | 1270072.7925
44 | 2688340.0639 | 1270091.6479 | 2688332.3405 | 1270089.4479 | 2688330.7955 | 1270088.4963
45 | 2688318.563 | 1270100.4732 | 2688320.5846 | 1270095.2891
46 | 2688411.4362 | 1270067.2351 | 2688426.7952 | 1270067.1982
47 | 2688411.4362 | 1270067.2351 | 2688415.0932 | 1270053.602
48 | 2688426.7952 | 1270067.1982 | 2688432.9242 | 1270067.185
49 | 2688426.7952 | 1270067.1982 | 2688427.4999 | 1270071.39 | 2688428.3367 | 1270077.8189 | 2688430.2989 | 1270091.5769
50 | 2688415.0932 | 1270053.602 | 2688418.926 | 1270039.3128
51 | 2688266.3272 | 1270083.6726 | 2688265.7231 | 1270087.4453
52 | 2688340.0639 | 1270091.6479 | 2688350.3383 | 1270094.5744
53 | 2688318.563 | 1270100.4732 | 2688319.9866 | 1270105.4096 | 2688326.2146 | 1270114.4629
54 | 2688318.563 | 1270100.4732 | 2688312.5435 | 1270102.4626 | 2688308.7298 | 1270106.3866 | 2688303.408 | 1270126.2024
55 | 2688448.1967 | 1270067.1519 | 2688432.9242 | 1270067.185
56 | 2688429.2722 | 1270111.8163 | 2688430.5158 | 1270093.0973 | 2688430.2989 | 1270091.5769
57 | 2688418.926 | 1270039.3128 | 2688419.4378 | 1270037.405
58 | 2688262.9956 | 1270104.4797 | 2688265.7231 | 1270087.4453
59 | 2688375.5288 | 1270100.0853 | 2688356.6926 | 1270096.3844 | 2688350.3383 | 1270094.5744
60 | 2688326.2146 | 1270114.4629 | 2688339.6503 | 1270133.9936 | 2688340.9405 | 1270135.1033
61 | 2688303.408 | 1270126.2024 | 2688302.6428 | 1270129.0514
62 | 2688262.9956 | 1270104.4797 | 2688262.8134 | 1270105.6175
63 | 2688375.5288 | 1270100.0853 | 2688379.2959 | 1270100.8254
64 | 2688406.5637 | 1270106.1829 | 2688379.2959 | 1270100.8254
65 | 2688406.5637 | 1270106.1829 | 2688408.6098 | 1270106.6905
66 | 2688429.2722 | 1270111.8163 | 2688408.6098 | 1270106.6905
67 | 2688371.4958 | 1270230.471 | 2688368.0696 | 1270247.7228 | 2688369.5577 | 1270260.411 | 2688380.2721 | 1270291.1186 | 2688380.9953 | 1270297.204
68 | 2688371.4958 | 1270230.471 | 2688349.2865 | 1270223.8265
69 | 2688380.9953 | 1270297.204 | 2688381.7605 | 1270303.6427
70 | 2688343.7632 | 1270222.174 | 2688349.2865 | 1270223.8265
71 | 2688364.0912 | 1270148.3517 | 2688350.3483 | 1270143.1945 | 2688349.1946 | 1270142.2022
72 | 2688340.9405 | 1270135.1033 | 2688349.1946 | 1270142.2022
73 | 2688382.8048 | 1270312.4295 | 2688381.7605 | 1270303.6427
74 | 2688319.0299 | 1270214.7744 | 2688343.7632 | 1270222.174
75 | 2688262.903 | 1270192.3101 | 2688267.3627 | 1270195.1521 | 2688274.6241 | 1270198.9921
76 | 2688293.7669 | 1270176.7766 | 2688295.1271 | 1270172.177
77 | 2688285.4969 | 1270204.742 | 2688293.7669 | 1270176.7766
78 | 2688298.5504 | 1270160.601 | 2688295.1271 | 1270172.177
79 | 2688285.4969 | 1270204.742 | 2688274.6241 | 1270198.9921
80 | 2688285.4969 | 1270204.742 | 2688296.1044 | 1270207.9155
81 | 2688300.8514 | 1270209.3357 | 2688296.1044 | 1270207.9155
82 | 2688300.8514 | 1270209.3357 | 2688319.0299 | 1270214.7744
83 | 2688302.0282 | 1270131.3401 | 2688302.6428 | 1270129.0514
84 | 2688382.8048 | 1270312.4295 | 2688366.1075 | 1270330.4358
85 | 2688522.9925 | 1270316.4477 | 2688659.375 | 1270305.1779
86 | 2688666.607 | 1270215.9921 | 2688662.3564 | 1270268.0376 | 2688659.375 | 1270305.1779
87 | 2688537.3578 | 1270182.1593 | 2688666.607 | 1270215.9921
88 | 2688537.3578 | 1270182.1593 | 2688530.5435 | 1270152.2879
89 | 2688522.3964 | 1270133.1283 | 2688528.7439 | 1270144.3993 | 2688530.5435 | 1270152.2879
90 | 2688522.3964 | 1270133.1283 | 2688526.1692 | 1270125.9123 | 2688527.8682 | 1270119.4991 | 2688527.7236 | 1270111.079 | 2688526.9296 | 1270105.3179 | 2688525.7764 | 1270091.3892 | 2688525.7901 | 1270090.9502
91 | 2688525.7901 | 1270090.9502 | 2688525.8063 | 1270090.4275
92 | 2688526.556 | 1270067.0032 | 2688526.4162 | 1270070.8042 | 2688525.8063 | 1270090.4275
93 | 2688448.1967 | 1270067.1519 | 2688450.5042 | 1270058.2903 | 2688462.0428 | 1270060.6094 | 2688465.2989 | 1270060.5264
94 | 2688448.1967 | 1270067.1519 | 2688503.0938 | 1270067.0477
95 | 2688422.6466 | 1270023.5107 | 2688422.2355 | 1270026.9749 | 2688419.4378 | 1270037.405
96 | 2688477.1511 | 1270060.2242 | 2688465.2989 | 1270060.5264
97 | 2688526.556 | 1270067.0032 | 2688503.0938 | 1270067.0477
98 | 2688486.0896 | 1270001.0653 | 2688467.2428 | 1269998.654
99 | 2688486.0896 | 1270001.0653 | 2688485.9746 | 1270013.723
100 | 2688486.0896 | 1270001.0653 | 2688501.0619 | 1270001.3026
101 | 2688578.9256 | 1270016.861 | 2688578.9371 | 1270017.7203
102 | 2688579.1011 | 1270029.9938 | 2688578.9371 | 1270017.7203
103 | 2688578.7148 | 1270001.0755 | 2688578.9256 | 1270016.861
104 | 2688579.1011 | 1270029.9938 | 2688586.7807 | 1270030.4179
105 | 2688578.7148 | 1270001.0755 | 2688578.7102 | 1269985.9518
106 | 2688578.7148 | 1270001.0755 | 2688539.154 | 1270001.5236
107 | 2688586.7807 | 1270030.4179 | 2688602.7179 | 1270031.2979
108 | 2688578.7102 | 1269985.9518 | 2688578.7027 | 1269961.2967
109 | 2688539.154 | 1270001.5236 | 2688538.2784 | 1270001.5336
110 | 2688609.5219 | 1270031.6736 | 2688602.7179 | 1270031.2979
111 | 2688578.7015 | 1269957.3284 | 2688578.7027 | 1269961.2967
112 | 2688654.6656 | 1269998.0122 | 2688648.6422 | 1270018.9339
113 | 2688654.6656 | 1269998.0122 | 2688659.7562 | 1269987.7469 | 2688665.2164 | 1269982.5217
114 | 2688654.6656 | 1269998.0122 | 2688653.9135 | 1269993.475 | 2688652.1847 | 1269988.8341 | 2688633.0709 | 1269964.1393
115 | 2688646.2819 | 1270027.1324 | 2688648.6422 | 1270018.9339
116 | 2688667.0135 | 1269980.802 | 2688665.2164 | 1269982.5217
117 | 2688525.0749 | 1270001.6831 | 2688538.2784 | 1270001.5336
118 | 2688646.2819 | 1270027.1324 | 2688644.7102 | 1270029.066
119 | 2688646.2819 | 1270027.1324 | 2688656.7181 | 1270028.6437
120 | 2688667.0135 | 1269980.802 | 2688667.4673 | 1269980.3677 | 2688682.7668 | 1269970.1806
121 | 2688525.0749 | 1270001.6831 | 2688504.6845 | 1270001.36
122 | 2688525.0749 | 1270001.6831 | 2688525.4331 | 1270017.5609
123 | 2688525.7393 | 1270031.1394 | 2688539.6117 | 1270030.9296
124 | 2688525.7393 | 1270031.1394 | 2688525.4331 | 1270017.5609
125 | 2688526.556 | 1270067.0032 | 2688525.7393 | 1270031.1394
126 | 2688526.556 | 1270067.0032 | 2688543.9772 | 1270067.2229
127 | 2688543.9772 | 1270067.2229 | 2688556.9721 | 1270067.3867
128 | 2688501.0619 | 1270001.3026 | 2688504.6845 | 1270001.36
129 | 2688556.9721 | 1270067.3867 | 2688559.1328 | 1270067.414 | 2688561.6155 | 1270067.4512 | 2688572.3237 | 1270067.869
130 | 2688579.2135 | 1270068.1378 | 2688572.3237 | 1270067.869
131 | 2688485.9746 | 1270013.723 | 2688485.9372 | 1270017.84
132 | 2688485.8386 | 1270028.7026 | 2688485.9372 | 1270017.84
133 | 2688485.8196 | 1270030.7897 | 2688485.8386 | 1270028.7026
134 | 2688644.7102 | 1270029.066 | 2688622.4764 | 1270028.3986 | 2688622.3725 | 1270049.3612
135 | 2688664.4453 | 1270029.7627 | 2688664.4453 | 1270029.7627 | 2688656.7181 | 1270028.6437
136 | 2688682.7668 | 1269970.1806 | 2688684.6001 | 1269968.9599 | 2688696.9784 | 1269965.4873 | 2688715.461 | 1269965.2423
137 | 2688622.2798 | 1270068.0614 | 2688598.2881 | 1270068.2128 | 2688579.2135 | 1270068.1378
138 | 2688769.6916 | 1270003.307 | 2688774.3672 | 1270003.2661
139 | 2688747.0957 | 1270003.5044 | 2688769.6916 | 1270003.307
140 | 2688793.0975 | 1270007.4099 | 2688777.5007 | 1270003.2388 | 2688774.3672 | 1270003.2661
141 | 2688728.7513 | 1269962.84 | 2688736.7217 | 1269984.7777 | 2688747.0957 | 1270003.5044
142 | 2688747.0957 | 1270003.5044 | 2688736.2355 | 1270004.1084 | 2688735.6422 | 1270006.0212
143 | 2688793.0975 | 1270007.4099 | 2688792.2148 | 1270020.0737 | 2688796.672 | 1270025.4117
144 | 2688793.0975 | 1270007.4099 | 2688812.7228 | 1270012.6555
145 | 2688728.7513 | 1269962.84 | 2688718.9936 | 1269965.1954 | 2688715.461 | 1269965.2423
146 | 2688728.7513 | 1269962.84 | 2688754.6291 | 1269952.6776
147 | 2688733.3174 | 1270013.5167 | 2688735.6422 | 1270006.0212
148 | 2688812.7228 | 1270012.6555 | 2688845.4522 | 1270021.4037
149 | 2688754.6291 | 1269952.6776 | 2688761.3695 | 1269950.0306 | 2688775.7147 | 1269941.3613 | 2688776.9511 | 1269940.3876
150 | 2688733.3174 | 1270013.5167 | 2688713.1188 | 1270013.1131
151 | 2688733.3174 | 1270013.5167 | 2688734.5315 | 1270015.3476 | 2688733.9955 | 1270023.9485
152 | 2688845.4522 | 1270021.4037 | 2688846.6488 | 1270021.7236
153 | 2688791.5241 | 1269928.9109 | 2688776.9511 | 1269940.3876
154 | 2688733.9955 | 1270023.9485 | 2688732.7662 | 1270043.6776
155 | 2688885.4493 | 1270029.5834 | 2688867.514 | 1270027.3006 | 2688846.6488 | 1270021.7236
156 | 2688791.5241 | 1269928.9109 | 2688819.4174 | 1269958.2859
157 | 2688725.1508 | 1270043.6855 | 2688732.7662 | 1270043.6776
158 | 2688724.9525 | 1270037.8555 | 2688725.1508 | 1270043.6855
159 | 2688727.0868 | 1270067.5785 | 2688727.2318 | 1270051.9235 | 2688725.2185 | 1270045.6881 | 2688725.1508 | 1270043.6855
160 | 2688727.0868 | 1270067.5785 | 2688703.9657 | 1270067.6851
161 | 2688727.0868 | 1270067.5785 | 2688781.7487 | 1270068.0988
162 | 2688781.7487 | 1270068.0988 | 2688811.6172 | 1270068.3831
163 | 2688664.4453 | 1270029.7627 | 2688680.274 | 1270033.7691
164 | 2688622.2798 | 1270068.0614 | 2688622.3725 | 1270049.3612
165 | 2688622.2798 | 1270068.0614 | 2688643.4543 | 1270067.9639
166 | 2688885.4493 | 1270029.5834 | 2688885.7138 | 1270042.9984 | 2688885.0576 | 1270047.103 | 2688883.7625 | 1270052.1543 | 2688880.3892 | 1270057.9702

## bus_geodata
| x | y | coords
0 | 2688129.0768 | 1270358.2798
1 | 2688123.2256 | 1270349.2609
2 | 2688134.2328 | 1270366.227
3 | 2688116.7847 | 1270339.3333
4 | 2688140.7045 | 1270314.1918
5 | 2688154.9655 | 1270335.919
6 | 2688128.8959 | 1270296.1103
7 | 2688170.9799 | 1270360.2701
8 | 2688107.9379 | 1270264.5846
9 | 2688172.0873 | 1270361.9688
10 | 2688150.476 | 1270257.4467
11 | 2688153.7726 | 1270235.0036
12 | 2688225.365 | 1270356.3005
13 | 2688162.9918 | 1270178.5774
14 | 2688167.3049 | 1270153.4128
15 | 2688213.1245 | 1270159.8909
16 | 2688210.8127 | 1270140.0371
17 | 2688204.0752 | 1270198.6416
18 | 2688220.1951 | 1270164.8043
19 | 2688201.3447 | 1270210.3342
20 | 2688209.2911 | 1270119.2836
21 | 2688251.4586 | 1270185.0171
22 | 2688234.786 | 1269997.5857
23 | 2688197.5068 | 1270058.4081
24 | 2688203.8413 | 1270058.0024
25 | 2688240.1302 | 1270058.5144
26 | 2688205.4608 | 1270075.8493
27 | 2688363.9771 | 1269961.9307
28 | 2688400.4467 | 1269996.5907
29 | 2688262.0062 | 1270058.8231
30 | 2688208.9067 | 1270114.0407
31 | 2688402.5581 | 1269985.0361
32 | 2688406.9991 | 1270002.7535
33 | 2688270.2874 | 1270058.94
34 | 2688410.4046 | 1270005.9416
35 | 2688318.719 | 1270061.0885
36 | 2688340.6059 | 1270062.9727
37 | 2688315.582 | 1270060.8184
38 | 2688368.7487 | 1270065.192
39 | 2688324.6979 | 1270084.7409
40 | 2688268.0693 | 1270072.7925
41 | 2688330.7955 | 1270088.4963
42 | 2688320.5846 | 1270095.2891
43 | 2688411.4362 | 1270067.2351
44 | 2688426.7952 | 1270067.1982
45 | 2688415.0932 | 1270053.602
46 | 2688266.3272 | 1270083.6726
47 | 2688340.0639 | 1270091.6479
48 | 2688318.563 | 1270100.4732
49 | 2688432.9242 | 1270067.185
50 | 2688430.2989 | 1270091.5769
51 | 2688418.926 | 1270039.3128
52 | 2688265.7231 | 1270087.4453
53 | 2688350.3383 | 1270094.5744
54 | 2688326.2146 | 1270114.4629
55 | 2688303.408 | 1270126.2024
56 | 2688262.9956 | 1270104.4797
57 | 2688379.2959 | 1270100.8254
58 | 2688375.5288 | 1270100.0853
59 | 2688406.5637 | 1270106.1829
60 | 2688408.6098 | 1270106.6905
61 | 2688429.2722 | 1270111.8163
62 | 2688371.4958 | 1270230.471
63 | 2688380.9953 | 1270297.204
64 | 2688349.2865 | 1270223.8265
65 | 2688364.0912 | 1270148.3517
66 | 2688349.1946 | 1270142.2022
67 | 2688381.7605 | 1270303.6427
68 | 2688343.7632 | 1270222.174
69 | 2688340.9405 | 1270135.1033
70 | 2688262.903 | 1270192.3101
71 | 2688293.7669 | 1270176.7766
72 | 2688295.1271 | 1270172.177
73 | 2688285.4969 | 1270204.742
74 | 2688298.5504 | 1270160.601
75 | 2688274.6241 | 1270198.9921
76 | 2688296.1044 | 1270207.9155
77 | 2688300.8514 | 1270209.3357
78 | 2688319.0299 | 1270214.7744
79 | 2688262.8134 | 1270105.6175
80 | 2688302.6428 | 1270129.0514
81 | 2688302.0282 | 1270131.3401
82 | 2688382.8048 | 1270312.4295
83 | 2688366.1075 | 1270330.4358
84 | 2688659.375 | 1270305.1779
85 | 2688522.9925 | 1270316.4477
86 | 2688666.607 | 1270215.9921
87 | 2688537.3578 | 1270182.1593
88 | 2688530.5435 | 1270152.2879
89 | 2688522.3964 | 1270133.1283
90 | 2688525.7901 | 1270090.9502
91 | 2688525.8063 | 1270090.4275
92 | 2688448.1967 | 1270067.1519
93 | 2688419.4378 | 1270037.405
94 | 2688465.2989 | 1270060.5264
95 | 2688503.0938 | 1270067.0477
96 | 2688422.6466 | 1270023.5107
97 | 2688467.2428 | 1269998.654
98 | 2688486.0896 | 1270001.0653
99 | 2688578.9371 | 1270017.7203
100 | 2688578.9256 | 1270016.861
101 | 2688579.1011 | 1270029.9938
102 | 2688578.7148 | 1270001.0755
103 | 2688586.7806 | 1270030.4179
104 | 2688578.7102 | 1269985.9518
105 | 2688539.154 | 1270001.5236
106 | 2688602.7179 | 1270031.2979
107 | 2688578.7027 | 1269961.2967
108 | 2688654.6656 | 1269998.0122
109 | 2688648.6422 | 1270018.9339
110 | 2688665.2164 | 1269982.5217
111 | 2688633.0709 | 1269964.1393
112 | 2688538.2784 | 1270001.5336
113 | 2688609.5219 | 1270031.6736
114 | 2688578.7015 | 1269957.3284
115 | 2688646.2819 | 1270027.1324
116 | 2688667.0135 | 1269980.802
117 | 2688525.0749 | 1270001.6831
118 | 2688539.6117 | 1270030.9296
119 | 2688525.7393 | 1270031.1394
120 | 2688525.4331 | 1270017.5609
121 | 2688526.556 | 1270067.0032
122 | 2688543.9772 | 1270067.2229
123 | 2688504.6845 | 1270001.36
124 | 2688556.9721 | 1270067.3867
125 | 2688501.0619 | 1270001.3026
126 | 2688572.3237 | 1270067.869
127 | 2688485.9746 | 1270013.723
128 | 2688485.9372 | 1270017.84
129 | 2688485.8386 | 1270028.7026
130 | 2688485.8196 | 1270030.7897
131 | 2688644.7102 | 1270029.066
132 | 2688656.7181 | 1270028.6437
133 | 2688682.7668 | 1269970.1806
134 | 2688477.1511 | 1270060.2242
135 | 2688579.2135 | 1270068.1378
136 | 2688769.6916 | 1270003.307
137 | 2688774.3672 | 1270003.2661
138 | 2688747.0957 | 1270003.5044
139 | 2688793.0975 | 1270007.4099
140 | 2688728.7513 | 1269962.84
141 | 2688735.6422 | 1270006.0212
142 | 2688796.672 | 1270025.4117
143 | 2688812.7228 | 1270012.6555
144 | 2688715.461 | 1269965.2423
145 | 2688754.6291 | 1269952.6776
146 | 2688733.3174 | 1270013.5168
147 | 2688845.4522 | 1270021.4037
148 | 2688776.9511 | 1269940.3876
149 | 2688713.1188 | 1270013.1131
150 | 2688733.9955 | 1270023.9485
151 | 2688846.6488 | 1270021.7236
152 | 2688791.5241 | 1269928.9109
153 | 2688732.7662 | 1270043.6776
154 | 2688725.1508 | 1270043.6855
155 | 2688724.9525 | 1270037.8555
156 | 2688727.0868 | 1270067.5785
157 | 2688703.9657 | 1270067.6851
158 | 2688781.7487 | 1270068.0988
159 | 2688811.6172 | 1270068.3831
160 | 2688664.4453 | 1270029.7627
161 | 2688680.274 | 1270033.7691
162 | 2688622.3725 | 1270049.3612
163 | 2688622.2798 | 1270068.0614
164 | 2688819.4174 | 1269958.2859
165 | 2688643.4543 | 1270067.9639
166 | 2688885.4493 | 1270029.5834
167 | 2688880.3892 | 1270057.9702
168 | 2688406.5637 | 1270106.1829

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1