## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2904-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2904-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2904-1_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2904-1_0_5_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_2904-1_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2904-1_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2904-1_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2904-1_0_5_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2904-1_0_5_node_84 | 0.4 | n |  | TRUE
9 | bus_LV_2904-1_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2904-1_0_5_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2904-1_0_5_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_2904-1_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2904-1_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2904-1_0_5_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_2904-1_0_5_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_2904-1_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2904-1_0_5_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_2904-1_0_5_node_109 | 0.4 | n |  | TRUE
19 | bus_LV_2904-1_0_5_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_2904-1_0_5_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_2904-1_0_5_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_2904-1_0_5_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_2904-1_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2904-1_0_5_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_2904-1_0_5_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_2904-1_0_5_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_2904-1_0_5_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_2904-1_0_5_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_2904-1_0_5_node_110 | 0.4 | n |  | TRUE
30 | bus_LV_2904-1_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2904-1_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2904-1_0_5_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_2904-1_0_5_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_2904-1_0_5_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_2904-1_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_2904-1_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_2904-1_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2904-1_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2904-1_0_5_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2904-1_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2904-1_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2904-1_0_5_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_2904-1_0_5_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_2904-1_0_5_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_2904-1_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_2904-1_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2904-1_0_5_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_2904-1_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2904-1_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_2904-1_0_5_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_2904-1_0_5_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_2904-1_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_2904-1_0_5_node_111 | 0.4 | n |  | TRUE
54 | bus_LV_2904-1_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_2904-1_0_5_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_2904-1_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_2904-1_0_5_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_2904-1_0_5_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_2904-1_0_5_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_2904-1_0_5_node_88 | 0.4 | n |  | TRUE
61 | bus_LV_2904-1_0_5_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_2904-1_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_2904-1_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_2904-1_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_2904-1_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_2904-1_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2904-1_0_5_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_2904-1_0_5_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2904-1_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_2904-1_0_5_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_2904-1_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_2904-1_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_2904-1_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_2904-1_0_5_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_2904-1_0_5_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_2904-1_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_2904-1_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_2904-1_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2904-1_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_2904-1_0_5_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_2904-1_0_5_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_2904-1_0_5_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_2904-1_0_5_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_2904-1_0_5_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_2904-1_0_5_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_2904-1_0_5_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_2904-1_0_5_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_2904-1_0_5_node_97 | 0.4 | n |  | TRUE
89 | bus_LV_2904-1_0_5_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_2904-1_0_5_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_2904-1_0_5_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_2904-1_0_5_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_2904-1_0_5_node_104 | 0.4 | n |  | TRUE
94 | bus_LV_2904-1_0_5_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_2904-1_0_5_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_2904-1_0_5_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_2904-1_0_5_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_2904-1_0_5_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_2904-1_0_5_node_106 | 0.4 | n |  | TRUE
100 | bus_LV_2904-1_0_5_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_2904-1_0_5_node_108 | 0.4 | n |  | TRUE
102 | bus_MV_400_0_node_207 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2904-1_0_5_load_0 | 0 | 0.025838 | 0.0064757 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2904-1_0_5_load_1 | 1 | 0.0025852 | 0.00064791 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2904-1_0_5_load_14 | 3 | 0.0014766 | 0.00037008 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2904-1_0_5_load_84 | 8 | 0.021913 | 0.005492 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2904-1_0_5_load_42 | 11 | 0.00033356 | 8.3599e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2904-1_0_5_load_52 | 14 | 0.0010816 | 0.00027106 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2904-1_0_5_load_57 | 15 | 0.039344 | 0.0098606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2904-1_0_5_load_109 | 18 | 0.0026972 | 0.00067598 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2904-1_0_5_load_63 | 19 | 0.0081484 | 0.0020422 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2904-1_0_5_load_61 | 20 | 0.003719 | 0.00093207 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2904-1_0_5_load_55 | 21 | 0.034246 | 0.0085827 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2904-1_0_5_load_16 | 23 | 0.0023791 | 0.00059627 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2904-1_0_5_load_85 | 24 | 0.00038857 | 9.7385e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2904-1_0_5_load_41 | 25 | 0.0041406 | 0.0010377 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2904-1_0_5_load_50 | 26 | 0.0018954 | 0.00047503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2904-1_0_5_load_45 | 27 | 0.028527 | 0.0071497 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2904-1_0_5_load_110 | 29 | 0.0061653 | 0.0015452 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2904-1_0_5_load_43 | 32 | 0.0075822 | 0.0019003 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2904-1_0_5_load_70 | 33 | 0.010063 | 0.0025221 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2904-1_0_5_load_17 | 35 | 0.0046827 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2904-1_0_5_load_18 | 36 | 0.006501 | 0.0016293 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2904-1_0_5_load_40 | 39 | 0.017794 | 0.0044595 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2904-1_0_5_load_92 | 42 | 0.0051251 | 0.0012845 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2904-1_0_5_load_86 | 43 | 0.0022449 | 0.00056262 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2904-1_0_5_load_112 | 44 | 0.0059051 | 0.0014799 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2904-1_0_5_load_28 | 46 | 0.0022391 | 0.00056118 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2904-1_0_5_load_39 | 48 | 0.0077646 | 0.001946 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2904-1_0_5_load_23 | 49 | 0.001255 | 0.00031453 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2904-1_0_5_load_22 | 50 | 0.0060184 | 0.0015083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2904-1_0_5_load_111 | 53 | 0.005818 | 0.0014581 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2904-1_0_5_load_36 | 56 | 0.026717 | 0.0066958 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2904-1_0_5_load_90 | 57 | 0.0014423 | 0.00036147 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2904-1_0_5_load_89 | 59 | 0.0032397 | 0.00081194 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2904-1_0_5_load_88 | 60 | 0.0031236 | 0.00078285 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2904-1_0_5_load_59 | 61 | 0.0020187 | 0.00050593 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2904-1_0_5_load_53 | 63 | 0.0015379 | 0.00038543 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2904-1_0_5_load_48 | 64 | 0.037607 | 0.0094252 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2904-1_0_5_load_56 | 65 | 0.031283 | 0.0078403 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2904-1_0_5_load_60 | 66 | 0.0038035 | 0.00095325 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2904-1_0_5_load_49 | 67 | 0.031964 | 0.0080111 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2904-1_0_5_load_54 | 69 | 0.0081101 | 0.0020326 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2904-1_0_5_load_113 | 70 | 0.0082079 | 0.0020571 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2904-1_0_5_load_66 | 72 | 0.0004245 | 0.00010639 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2904-1_0_5_load_65 | 73 | 0.0011576 | 0.00029013 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2904-1_0_5_load_74 | 74 | 0.0070234 | 0.0017602 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2904-1_0_5_load_67 | 76 | 0.0012073 | 0.00030258 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2904-1_0_5_load_68 | 78 | 0.0014176 | 0.00035528 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2904-1_0_5_load_73 | 79 | 0.0064734 | 0.0016224 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2904-1_0_5_load_76 | 80 | 0.0029014 | 0.00072717 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2904-1_0_5_load_83 | 82 | 0.0028063 | 0.00070333 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2904-1_0_5_load_79 | 83 | 0.0074441 | 0.0018657 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2904-1_0_5_load_78 | 86 | 0.0030852 | 0.00077322 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2904-1_0_5_load_99 | 87 | 0.0028068 | 0.00070346 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2904-1_0_5_load_97 | 88 | 0.0010641 | 0.0002667 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2904-1_0_5_load_94 | 89 | 0.0015432 | 0.00038677 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2904-1_0_5_load_93 | 90 | 0.002286 | 0.00057293 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2904-1_0_5_load_95 | 91 | 0.0017258 | 0.00043252 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2904-1_0_5_load_96 | 92 | 0.00078479 | 0.00019669 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2904-1_0_5_load_105 | 94 | 0.0022443 | 0.00056247 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2904-1_0_5_load_103 | 95 | 0.001479 | 0.00037067 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2904-1_0_5_load_102 | 96 | 0.00043708 | 0.00010954 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2904-1_0_5_load_100 | 97 | 0.001203 | 0.00030151 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2904-1_0_5_load_101 | 98 | 0.00091296 | 0.00022881 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2904-1_0_5_load_106 | 99 | 0.001429 | 0.00035814 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2904-1_0_5_load_107 | 100 | 0.00055642 | 0.00013945 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2904-1_0_5_load_108 | 101 | 0.0017979 | 0.00045061 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2904-1_0_5_line_0 |  | 0 | 1 | 0.00031888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2904-1_0_5_line_1 |  | 1 | 2 | 0.027504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2904-1_0_5_line_2 |  | 2 | 3 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2904-1_0_5_line_3 |  | 2 | 4 | 0.056302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2904-1_0_5_line_4 |  | 3 | 7 | 0.035632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2904-1_0_5_line_5 |  | 4 | 5 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2904-1_0_5_line_6 |  | 5 | 13 | 0.031456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2904-1_0_5_line_7 |  | 6 | 7 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2904-1_0_5_line_8 |  | 6 | 8 | 0.026531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2904-1_0_5_line_9 |  | 7 | 23 | 0.033944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2904-1_0_5_line_10 |  | 8 | 24 | 0.0073628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2904-1_0_5_line_11 |  | 9 | 10 | 0.045949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2904-1_0_5_line_12 |  | 9 | 11 | 0.026757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2904-1_0_5_line_13 |  | 10 | 19 | 0.045149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2904-1_0_5_line_14 |  | 10 | 20 | 0.042831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2904-1_0_5_line_15 |  | 11 | 25 | 0.035136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2904-1_0_5_line_16 |  | 12 | 13 | 0.031218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2904-1_0_5_line_17 |  | 12 | 14 | 0.02363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2904-1_0_5_line_18 |  | 13 | 15 | 0.053538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2904-1_0_5_line_19 |  | 14 | 26 | 0.026323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2904-1_0_5_line_20 |  | 16 | 17 | 0.021232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2904-1_0_5_line_21 |  | 16 | 18 | 0.013857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2904-1_0_5_line_22 |  | 17 | 29 | 0.016498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2904-1_0_5_line_23 |  | 17 | 30 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2904-1_0_5_line_24 |  | 17 | 31 | 0.004972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2904-1_0_5_line_25 |  | 19 | 33 | 0.032952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2904-1_0_5_line_26 |  | 20 | 34 | 0.010933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2904-1_0_5_line_27 |  | 21 | 22 | 0.045893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2904-1_0_5_line_28 |  | 22 | 65 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2904-1_0_5_line_29 |  | 22 | 28 | 0.026827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2904-1_0_5_line_30 |  | 25 | 39 | 0.0018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2904-1_0_5_line_31 |  | 26 | 67 | 0.009399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2904-1_0_5_line_32 |  | 27 | 28 | 0.055777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2904-1_0_5_line_33 |  | 28 | 64 | 0.0042256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2904-1_0_5_line_34 |  | 29 | 63 | 0.00020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2904-1_0_5_line_35 |  | 30 | 32 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2904-1_0_5_line_36 |  | 30 | 40 | 0.13594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2904-1_0_5_line_37 |  | 31 | 44 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2904-1_0_5_line_38 |  | 33 | 75 | 0.0080563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2904-1_0_5_line_39 |  | 34 | 71 | 0.026048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2904-1_0_5_line_40 |  | 35 | 36 | 0.00082232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2904-1_0_5_line_41 |  | 36 | 37 | 0.029743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2904-1_0_5_line_42 |  | 37 | 38 | 0.017547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2904-1_0_5_line_43 |  | 37 | 39 | 0.038534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2904-1_0_5_line_44 |  | 38 | 48 | 0.0080095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2904-1_0_5_line_45 |  | 40 | 41 | 0.0063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2904-1_0_5_line_46 |  | 40 | 42 | 0.014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2904-1_0_5_line_47 |  | 41 | 43 | 0.0023075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2904-1_0_5_line_48 |  | 42 | 54 | 0.020171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2904-1_0_5_line_49 |  | 44 | 53 | 0.029268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2904-1_0_5_line_50 |  | 45 | 46 | 0.068792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2904-1_0_5_line_51 |  | 45 | 47 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2904-1_0_5_line_52 |  | 47 | 51 | 0.043305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2904-1_0_5_line_53 |  | 47 | 50 | 0.0091021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2904-1_0_5_line_54 |  | 48 | 61 | 0.011595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2904-1_0_5_line_55 |  | 49 | 50 | 0.025246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2904-1_0_5_line_56 |  | 51 | 52 | 0.018193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2904-1_0_5_line_57 |  | 51 | 53 | 0.010203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2904-1_0_5_line_58 |  | 52 | 56 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2904-1_0_5_line_59 |  | 54 | 55 | 0.004672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2904-1_0_5_line_60 |  | 55 | 60 | 0.022615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2904-1_0_5_line_61 |  | 55 | 59 | 0.062611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2904-1_0_5_line_62 |  | 57 | 58 | 0.026098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2904-1_0_5_line_63 |  | 58 | 60 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2904-1_0_5_line_64 |  | 61 | 62 | 0.023628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2904-1_0_5_line_65 |  | 62 | 66 | 0.031484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2904-1_0_5_line_66 |  | 62 | 64 | 0.027822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2904-1_0_5_line_67 |  | 63 | 68 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2904-1_0_5_line_68 |  | 66 | 70 | 0.0070927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2904-1_0_5_line_69 |  | 67 | 68 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2904-1_0_5_line_70 |  | 68 | 69 | 0.024353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_2904-1_0_5_line_71 |  | 69 | 70 | 0.0093141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_2904-1_0_5_line_72 |  | 71 | 72 | 0.025591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2904-1_0_5_line_73 |  | 72 | 76 | 0.025481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2904-1_0_5_line_74 |  | 73 | 74 | 0.017584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2904-1_0_5_line_75 |  | 74 | 77 | 0.022799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2904-1_0_5_line_76 |  | 75 | 77 | 0.045436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2904-1_0_5_line_77 |  | 75 | 79 | 0.032806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2904-1_0_5_line_78 |  | 76 | 78 | 0.024368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2904-1_0_5_line_79 |  | 77 | 80 | 0.034693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2904-1_0_5_line_80 |  | 79 | 81 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2904-1_0_5_line_81 |  | 81 | 82 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2904-1_0_5_line_82 |  | 81 | 83 | 0.019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2904-1_0_5_line_83 |  | 82 | 84 | 0.053168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2904-1_0_5_line_84 |  | 83 | 86 | 0.074499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2904-1_0_5_line_85 |  | 84 | 85 | 0.007338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2904-1_0_5_line_86 |  | 85 | 87 | 0.024274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2904-1_0_5_line_87 |  | 85 | 88 | 0.010102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2904-1_0_5_line_88 |  | 87 | 96 | 0.0062815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2904-1_0_5_line_89 |  | 89 | 90 | 0.029908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2904-1_0_5_line_90 |  | 90 | 91 | 0.068627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2904-1_0_5_line_91 |  | 91 | 92 | 0.085901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2904-1_0_5_line_92 |  | 92 | 93 | 0.020088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2904-1_0_5_line_93 |  | 93 | 94 | 0.023489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2904-1_0_5_line_94 |  | 93 | 95 | 0.00035641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2904-1_0_5_line_95 |  | 94 | 99 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2904-1_0_5_line_96 |  | 95 | 98 | 0.0098083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2904-1_0_5_line_97 |  | 96 | 97 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2904-1_0_5_line_98 |  | 97 | 98 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2904-1_0_5_line_99 |  | 99 | 100 | 0.021478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2904-1_0_5_line_100 |  | 100 | 101 | 0.011491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2904-1_0_5_trafo_47 | 0.63 MVA 20/0.4 kV | 102 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2679582.8541 | 1282829.3695 | 2679582.5366 | 1282829.3402
1 | 2679610.2405 | 1282831.9147 | 2679603.9566 | 1282831.3183 | 2679582.8541 | 1282829.3695
2 | 2679610.2405 | 1282831.9147 | 2679627.6776 | 1282833.4546
3 | 2679610.2405 | 1282831.9147 | 2679612.6058 | 1282815.2326 | 2679614.1297 | 1282775.8089
4 | 2679663.171 | 1282836.5892 | 2679627.6776 | 1282833.4546
5 | 2679616.0096 | 1282750.602 | 2679614.1297 | 1282775.8089
6 | 2679616.0096 | 1282750.602 | 2679616.2191 | 1282745.1002 | 2679617.4815 | 1282723.3656 | 2679617.5923 | 1282721.8325 | 2679617.8156 | 1282719.2
7 | 2679663.171 | 1282836.5892 | 2679673.789 | 1282837.6113
8 | 2679673.789 | 1282837.6113 | 2679673.5716 | 1282839.2542 | 2679671.261 | 1282864.0209
9 | 2679663.171 | 1282836.5892 | 2679660.1535 | 1282870.3991
10 | 2679670.5771 | 1282871.3518 | 2679671.261 | 1282864.0209
11 | 2679762.154 | 1282868.6989 | 2679765.2607 | 1282847.2006 | 2679767.2753 | 1282833.1605 | 2679768.9861 | 1282823.2642
12 | 2679768.9861 | 1282823.2642 | 2679773.2017 | 1282796.8418
13 | 2679762.154 | 1282868.6989 | 2679761.3176 | 1282875.0152 | 2679757.4125 | 1282913.5957
14 | 2679762.154 | 1282868.6989 | 2679780.565 | 1282868.092 | 2679804.7821 | 1282865.0329
15 | 2679778.7375 | 1282762.1447 | 2679773.2017 | 1282796.8418
16 | 2679617.8156 | 1282719.2 | 2679620.0085 | 1282688.059
17 | 2679620.0085 | 1282688.059 | 2679643.5173 | 1282690.449
18 | 2679617.8156 | 1282719.2 | 2679671.1637 | 1282723.7031
19 | 2679643.5173 | 1282690.449 | 2679669.7058 | 1282693.1114
20 | 2679693.7969 | 1282662.9125 | 2679672.6065 | 1282660.791
21 | 2679672.6065 | 1282660.791 | 2679658.8184 | 1282659.4107
22 | 2679693.7969 | 1282662.9125 | 2679692.3962 | 1282679.3513
23 | 2679696.5238 | 1282638.9515 | 2679693.7969 | 1282662.9125
24 | 2679693.7969 | 1282662.9125 | 2679698.7525 | 1282663.4689
25 | 2679754.094 | 1282946.3802 | 2679757.4125 | 1282913.5957
26 | 2679815.6286 | 1282863.6628 | 2679804.7821 | 1282865.0329
27 | 2679722.2159 | 1282786.7009 | 2679676.5545 | 1282782.0995
28 | 2679741.1138 | 1282795.0746 | 2679735.2843 | 1282794.1839 | 2679730.394 | 1282791.0262 | 2679727.0592 | 1282788.8904 | 2679722.2159 | 1282786.7009
29 | 2679727.2428 | 1282760.3467 | 2679722.2159 | 1282786.7009
30 | 2679778.7375 | 1282762.1447 | 2679779.0294 | 1282760.3158
31 | 2679679.0566 | 1282694.0621 | 2679669.7058 | 1282693.1114
32 | 2679727.2428 | 1282760.3467 | 2679671.6785 | 1282755.4789
33 | 2679727.2428 | 1282760.3467 | 2679728.1214 | 1282756.2134
34 | 2679692.3962 | 1282679.3513 | 2679692.3791 | 1282679.5521
35 | 2679696.5238 | 1282638.9515 | 2679677.706 | 1282637.9407 | 2679676.3949 | 1282637.8418
36 | 2679696.5238 | 1282638.9515 | 2679701.4994 | 1282639.1411 | 2679701.4982 | 1282635.349 | 2679706.2528 | 1282633.5562 | 2679709.4965 | 1282630.2306 | 2679711.0105 | 1282625.992 | 2679717.2623 | 1282608.4506 | 2679713.2226 | 1282576.825 | 2679710.7366 | 1282558.5538 | 2679708.1058 | 1282558.2068 | 2679704.9597 | 1282555.9847 | 2679703.0954 | 1282553.3684 | 2679702.8384 | 1282550.7182 | 2679702.2506 | 1282538.6668 | 2679716.3418 | 1282538.8575 | 2679716.6408 | 1282533.4125
37 | 2679698.7525 | 1282663.4689 | 2679710.5842 | 1282664.8005
38 | 2679753.2827 | 1282954.3955 | 2679754.094 | 1282946.3802
39 | 2679815.6286 | 1282863.6628 | 2679841.5872 | 1282860.7118
40 | 2679821.9186 | 1282731.6128 | 2679822.7409 | 1282731.6166
41 | 2679793.4843 | 1282725.8138 | 2679795.8539 | 1282727.703 | 2679800.2856 | 1282729.798 | 2679804.7901 | 1282730.9489 | 2679810.5558 | 1282731.5608 | 2679821.9186 | 1282731.6128
42 | 2679793.4843 | 1282725.8138 | 2679777.017 | 1282732.0072
43 | 2679793.4843 | 1282725.8138 | 2679788.6659 | 1282731.2086 | 2679785.0574 | 1282735.4189 | 2679783.6916 | 1282738.136 | 2679782.2928 | 1282742.1761 | 2679781.0143 | 1282747.8747 | 2679779.0294 | 1282760.3158
44 | 2679777.017 | 1282732.0072 | 2679769.0175 | 1282731.6069
45 | 2679716.6408 | 1282533.4125 | 2679717.0187 | 1282527.1234
46 | 2679716.6408 | 1282533.4125 | 2679729.7777 | 1282534.213 | 2679730.8172 | 1282534.1493
47 | 2679717.0187 | 1282527.1234 | 2679719.323 | 1282527.2449
48 | 2679750.7922 | 1282531.6173 | 2679740.0281 | 1282533.5845 | 2679730.8172 | 1282534.1493
49 | 2679739.7685 | 1282666.7792 | 2679721.2139 | 1282665.9969 | 2679710.5842 | 1282664.8005
50 | 2679761.1274 | 1282632.8644 | 2679762.596 | 1282614.7913 | 2679770.1229 | 1282594.5873 | 2679777.5869 | 1282587.3488 | 2679789.2431 | 1282581.0457 | 2679794.3855 | 1282579.2417
51 | 2679778.8314 | 1282635.7286 | 2679767.1922 | 1282633.5804 | 2679761.1274 | 1282632.8644
52 | 2679749.9627 | 1282667.2089 | 2679755.3074 | 1282656.7725 | 2679765.7861 | 1282645.9273 | 2679778.8314 | 1282635.7286
53 | 2679778.8314 | 1282635.7286 | 2679787.6606 | 1282637.9406
54 | 2679769.0175 | 1282731.6069 | 2679760.8697 | 1282731.1992 | 2679757.605 | 1282731.0883 | 2679757.4344 | 1282731.0838
55 | 2679787.6606 | 1282637.9406 | 2679801.7299 | 1282641.4655 | 2679811.4435 | 1282646.0507
56 | 2679749.9627 | 1282667.2089 | 2679761.7345 | 1282668.9919 | 2679767.9095 | 1282670.4322
57 | 2679749.9627 | 1282667.2089 | 2679739.7685 | 1282666.7792
58 | 2679767.9095 | 1282670.4322 | 2679771.5008 | 1282692.3242
59 | 2679750.7922 | 1282531.6173 | 2679750.5024 | 1282526.9539
60 | 2679750.5024 | 1282526.9539 | 2679749.8857 | 1282514.8242 | 2679749.6507 | 1282504.3576
61 | 2679750.5024 | 1282526.9539 | 2679771.3847 | 1282520.809 | 2679796.1304 | 1282508.2889 | 2679806.1196 | 1282499.7979
62 | 2679749.3459 | 1282490.908 | 2679740.8372 | 1282491.0041 | 2679723.3779 | 1282488.8719
63 | 2679749.3459 | 1282490.908 | 2679749.3704 | 1282491.8758 | 2679749.6507 | 1282504.3576
64 | 2679733.9066 | 1282728.9993 | 2679754.0623 | 1282730.9958 | 2679757.4344 | 1282731.0838
65 | 2679733.9066 | 1282728.9993 | 2679735.3515 | 1282702.6856 | 2679731.9207 | 1282699.3141 | 2679731.6015 | 1282699.2826
66 | 2679733.9066 | 1282728.9993 | 2679728.1214 | 1282756.2134
67 | 2679691.0389 | 1282695.2803 | 2679692.3791 | 1282679.5521
68 | 2679731.6015 | 1282699.2826 | 2679724.543 | 1282698.5862
69 | 2679691.0389 | 1282695.2803 | 2679679.0566 | 1282694.0621
70 | 2679691.0389 | 1282695.2803 | 2679715.274 | 1282697.6716
71 | 2679724.543 | 1282698.5862 | 2679715.274 | 1282697.6716
72 | 2679841.5872 | 1282860.7118 | 2679836.4489 | 1282885.7813
73 | 2679836.4489 | 1282885.7813 | 2679831.3327 | 1282910.7429
74 | 2679802.4623 | 1282933.1428 | 2679799.1885 | 1282950.419
75 | 2679794.9438 | 1282972.8192 | 2679799.1885 | 1282950.419
76 | 2679794.9438 | 1282972.8192 | 2679753.2827 | 1282954.3955
77 | 2679753.2827 | 1282954.3955 | 2679749.548 | 1282986.9884
78 | 2679841.6649 | 1282924.9164 | 2679829.045 | 1282921.9046 | 2679831.3327 | 1282910.7429
79 | 2679794.9438 | 1282972.8192 | 2679826.6716 | 1282986.8519
80 | 2679747.5612 | 1283004.3268 | 2679749.548 | 1282986.9884
81 | 2679747.5612 | 1283004.3268 | 2679745.445 | 1283023.5211
82 | 2679747.5612 | 1283004.3268 | 2679765.9417 | 1283010.9991
83 | 2679739.6185 | 1283076.3689 | 2679745.445 | 1283023.5211
84 | 2679835.9696 | 1283036.4197 | 2679765.9417 | 1283010.9991
85 | 2679739.6185 | 1283076.3689 | 2679732.6922 | 1283073.8843
86 | 2679732.6922 | 1283073.8843 | 2679710.6975 | 1283063.6141
87 | 2679732.6922 | 1283073.8843 | 2679733.5106 | 1283083.9532
88 | 2679705.006 | 1283060.9565 | 2679710.6975 | 1283063.6141
89 | 2679607.4016 | 1283092.2059 | 2679633.4746 | 1283106.8575
90 | 2679607.4016 | 1283092.2059 | 2679584.3886 | 1283079.2739 | 2679590.3271 | 1283037.4641
91 | 2679651.2368 | 1283035.8498 | 2679648.1003 | 1283034.3854 | 2679603.9752 | 1283012.7378 | 2679597.7956 | 1283012.2095 | 2679593.0593 | 1283018.2284 | 2679590.3271 | 1283037.4641
92 | 2679669.4387 | 1283044.3487 | 2679651.2368 | 1283035.8498
93 | 2679669.4387 | 1283044.3487 | 2679672.229 | 1283021.0263
94 | 2679669.7616 | 1283044.4995 | 2679669.4387 | 1283044.3487
95 | 2679672.229 | 1283021.0263 | 2679673.674 | 1283008.948
96 | 2679669.7616 | 1283044.4995 | 2679678.6488 | 1283048.6493
97 | 2679691.5467 | 1283054.6718 | 2679705.006 | 1283060.9565
98 | 2679691.5467 | 1283054.6718 | 2679678.6488 | 1283048.6493
99 | 2679676.2255 | 1282987.6223 | 2679673.674 | 1283008.948
100 | 2679677.5905 | 1282976.2126 | 2679676.2255 | 1282987.6223

## bus_geodata
| x | y | coords
0 | 2679582.5366 | 1282829.3402
1 | 2679582.8541 | 1282829.3695
2 | 2679610.2405 | 1282831.9147
3 | 2679627.6776 | 1282833.4546
4 | 2679614.1297 | 1282775.8089
5 | 2679616.0096 | 1282750.602
6 | 2679673.789 | 1282837.6113
7 | 2679663.171 | 1282836.5892
8 | 2679671.261 | 1282864.0209
9 | 2679768.9861 | 1282823.2642
10 | 2679762.1539 | 1282868.6989
11 | 2679773.2017 | 1282796.8418
12 | 2679620.0085 | 1282688.059
13 | 2679617.8156 | 1282719.2
14 | 2679643.5173 | 1282690.449
15 | 2679671.1637 | 1282723.7031
16 | 2679672.6065 | 1282660.791
17 | 2679693.7969 | 1282662.9125
18 | 2679658.8184 | 1282659.4107
19 | 2679757.4125 | 1282913.5957
20 | 2679804.7821 | 1282865.0329
21 | 2679676.5545 | 1282782.0995
22 | 2679722.2159 | 1282786.7009
23 | 2679660.1535 | 1282870.3991
24 | 2679670.5771 | 1282871.3518
25 | 2679778.7375 | 1282762.1447
26 | 2679669.7058 | 1282693.1114
27 | 2679671.6785 | 1282755.4789
28 | 2679727.2428 | 1282760.3467
29 | 2679692.3962 | 1282679.3513
30 | 2679696.5238 | 1282638.9515
31 | 2679698.7525 | 1282663.4689
32 | 2679676.3949 | 1282637.8418
33 | 2679754.094 | 1282946.3802
34 | 2679815.6286 | 1282863.6628
35 | 2679822.7409 | 1282731.6166
36 | 2679821.9186 | 1282731.6128
37 | 2679793.4843 | 1282725.8138
38 | 2679777.017 | 1282732.0072
39 | 2679779.0294 | 1282760.3158
40 | 2679716.6408 | 1282533.4125
41 | 2679717.0187 | 1282527.1234
42 | 2679730.8172 | 1282534.1493
43 | 2679719.323 | 1282527.2449
44 | 2679710.5842 | 1282664.8005
45 | 2679761.1274 | 1282632.8644
46 | 2679794.3855 | 1282579.2417
47 | 2679778.8314 | 1282635.7286
48 | 2679769.0175 | 1282731.6069
49 | 2679811.4435 | 1282646.0507
50 | 2679787.6606 | 1282637.9406
51 | 2679749.9627 | 1282667.2089
52 | 2679767.9095 | 1282670.4322
53 | 2679739.7685 | 1282666.7792
54 | 2679750.7922 | 1282531.6173
55 | 2679750.5024 | 1282526.9539
56 | 2679771.5008 | 1282692.3242
57 | 2679723.3779 | 1282488.8719
58 | 2679749.3459 | 1282490.908
59 | 2679806.1196 | 1282499.7979
60 | 2679749.6507 | 1282504.3576
61 | 2679757.4344 | 1282731.0838
62 | 2679733.9066 | 1282728.9993
63 | 2679692.3791 | 1282679.5521
64 | 2679728.1214 | 1282756.2134
65 | 2679741.1138 | 1282795.0746
66 | 2679731.6015 | 1282699.2826
67 | 2679679.0566 | 1282694.0621
68 | 2679691.0389 | 1282695.2803
69 | 2679715.274 | 1282697.6716
70 | 2679724.543 | 1282698.5862
71 | 2679841.5872 | 1282860.7118
72 | 2679836.4489 | 1282885.7813
73 | 2679802.4623 | 1282933.1428
74 | 2679799.1885 | 1282950.419
75 | 2679753.2827 | 1282954.3955
76 | 2679831.3327 | 1282910.7429
77 | 2679794.9437 | 1282972.8192
78 | 2679841.6649 | 1282924.9164
79 | 2679749.548 | 1282986.9884
80 | 2679826.6716 | 1282986.8519
81 | 2679747.5612 | 1283004.3268
82 | 2679745.445 | 1283023.5211
83 | 2679765.9417 | 1283010.9991
84 | 2679739.6185 | 1283076.3689
85 | 2679732.6922 | 1283073.8843
86 | 2679835.9696 | 1283036.4197
87 | 2679710.6975 | 1283063.6141
88 | 2679733.5106 | 1283083.9532
89 | 2679633.4746 | 1283106.8575
90 | 2679607.4016 | 1283092.2059
91 | 2679590.3271 | 1283037.4641
92 | 2679651.2368 | 1283035.8498
93 | 2679669.4387 | 1283044.3487
94 | 2679672.229 | 1283021.0263
95 | 2679669.7616 | 1283044.4995
96 | 2679705.006 | 1283060.9565
97 | 2679691.5467 | 1283054.6718
98 | 2679678.6488 | 1283048.6493
99 | 2679673.674 | 1283008.948
100 | 2679676.2255 | 1282987.6223
101 | 2679677.5905 | 1282976.2126
102 | 2679741.1138 | 1282795.0746

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1