## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2920-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2920-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2920-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2920-12_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2920-12_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2920-12_0_5_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_2920-12_0_5_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_2920-12_0_5_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_2920-12_0_5_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_2920-12_0_5_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_2920-12_0_5_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_2920-12_0_5_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_2920-12_0_5_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_2920-12_0_5_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_2920-12_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2920-12_0_5_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_2920-12_0_5_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_2920-12_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2920-12_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2920-12_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2920-12_0_5_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2920-12_0_5_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_2920-12_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2920-12_0_5_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_2920-12_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2920-12_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2920-12_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2920-12_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2920-12_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2920-12_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_2920-12_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2920-12_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2920-12_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2920-12_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2920-12_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2920-12_0_5_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_2920-12_0_5_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_2920-12_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2920-12_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2920-12_0_5_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2920-12_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2920-12_0_5_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_2920-12_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2920-12_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2920-12_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2920-12_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2920-12_0_5_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_2920-12_0_5_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_2920-12_0_5_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_2920-12_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2920-12_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_2920-12_0_5_node_11 | 0.4 | n |  | TRUE
52 | bus_LV_2920-12_0_5_node_13 | 0.4 | n |  | TRUE
53 | bus_LV_2920-12_0_5_node_14 | 0.4 | n |  | TRUE
54 | bus_LV_2920-12_0_5_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2920-12_0_5_node_16 | 0.4 | n |  | TRUE
56 | bus_LV_2920-12_0_5_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_2920-12_0_5_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_2920-12_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2920-12_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2920-12_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_2920-12_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_MV_401_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2920-12_0_5_load_0 | 0 | 0.05409 | 0.013556 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2920-12_0_5_load_1 | 1 | 0.0069269 | 0.001736 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2920-12_0_5_load_4 | 3 | 0.047548 | 0.011917 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2920-12_0_5_load_39 | 6 | 0.0090469 | 0.0022674 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2920-12_0_5_load_63 | 7 | 0.0023286 | 0.00058361 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2920-12_0_5_load_52 | 8 | 0.0061146 | 0.0015325 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2920-12_0_5_load_44 | 11 | 0.0046907 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2920-12_0_5_load_41 | 12 | 0.00067473 | 0.0001691 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2920-12_0_5_load_40 | 13 | 0.008571 | 0.0021481 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2920-12_0_5_load_9 | 14 | 0.0014094 | 0.00035323 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2920-12_0_5_load_5 | 15 | 0.027513 | 0.0068954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2920-12_0_5_load_6 | 16 | 0.098356 | 0.02465 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2920-12_0_5_load_10 | 18 | 0.00077791 | 0.00019496 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2920-12_0_5_load_12 | 19 | 0.095781 | 0.024005 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2920-12_0_5_load_64 | 21 | 0.0054115 | 0.0013562 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2920-12_0_5_load_56 | 23 | 0.0019386 | 0.00048585 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2920-12_0_5_load_17 | 26 | 0.0036975 | 0.00092667 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2920-12_0_5_load_33 | 29 | 0.0011768 | 0.00029493 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2920-12_0_5_load_31 | 32 | 0.0046442 | 0.0011639 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2920-12_0_5_load_62 | 35 | 0.0010837 | 0.0002716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2920-12_0_5_load_54 | 36 | 0.0032667 | 0.00081871 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2920-12_0_5_load_49 | 39 | 0.044015 | 0.011031 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2920-12_0_5_load_55 | 41 | 0.00038451 | 9.6366e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2920-12_0_5_load_37 | 42 | 0.013238 | 0.0033178 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2920-12_0_5_load_38 | 43 | 0.0058562 | 0.0014677 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2920-12_0_5_load_36 | 44 | 0.040543 | 0.010161 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2920-12_0_5_load_57 | 47 | 0.0040497 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2920-12_0_5_load_61 | 48 | 0.00039523 | 9.9053e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2920-12_0_5_load_11 | 51 | 0.00093126 | 0.0002334 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2920-12_0_5_load_58 | 54 | 0.0012153 | 0.00030457 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2920-12_0_5_load_60 | 56 | 0.01795 | 0.0044988 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2920-12_0_5_load_59 | 57 | 0.073677 | 0.018465 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2920-12_0_5_load_53 | 58 | 0.0011933 | 0.00029906 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2920-12_0_5_load_47 | 59 | 0.0010091 | 0.00025289 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2920-12_0_5_load_51 | 60 | 0.0027184 | 0.0006813 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2920-12_0_5_load_46 | 61 | 0.0032748 | 0.00082073 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2920-12_0_5_line_0 |  | 0 | 1 | 0.060042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2920-12_0_5_line_1 |  | 0 | 2 | 0.085155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2920-12_0_5_line_2 |  | 2 | 3 | 0.069715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2920-12_0_5_line_3 |  | 3 | 7 | 0.058554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2920-12_0_5_line_4 |  | 4 | 5 | 0.06235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_2920-12_0_5_line_5 |  | 4 | 6 | 0.049235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_2920-12_0_5_line_6 |  | 5 | 8 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_2920-12_0_5_line_7 |  | 6 | 13 | 0.049507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_2920-12_0_5_line_8 |  | 7 | 14 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2920-12_0_5_line_9 |  | 8 | 50 | 0.077016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_2920-12_0_5_line_10 |  | 9 | 10 | 0.024209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2920-12_0_5_line_11 |  | 9 | 11 | 0.051185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2920-12_0_5_line_12 |  | 10 | 12 | 0.047952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2920-12_0_5_line_13 |  | 11 | 45 | 0.083833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2920-12_0_5_line_14 |  | 12 | 13 | 0.0089774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_2920-12_0_5_line_15 |  | 14 | 17 | 0.009915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2920-12_0_5_line_16 |  | 15 | 16 | 0.0396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_2920-12_0_5_line_17 |  | 15 | 17 | 0.050021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_2920-12_0_5_line_18 |  | 17 | 18 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_2920-12_0_5_line_19 |  | 18 | 19 | 0.011363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_2920-12_0_5_line_20 |  | 19 | 51 | 0.0039036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_2920-12_0_5_line_21 |  | 20 | 21 | 0.032458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2920-12_0_5_line_22 |  | 20 | 22 | 0.16021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2920-12_0_5_line_23 |  | 22 | 23 | 0.029566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2920-12_0_5_line_24 |  | 23 | 40 | 0.047884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2920-12_0_5_line_25 |  | 24 | 25 | 0.030696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_2920-12_0_5_line_26 |  | 24 | 26 | 0.033961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_2920-12_0_5_line_27 |  | 25 | 58 | 0.022401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2920-12_0_5_line_28 |  | 25 | 55 | 0.022079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_2920-12_0_5_line_29 |  | 26 | 27 | 0.03665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_2920-12_0_5_line_30 |  | 27 | 28 | 0.063788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_2920-12_0_5_line_31 |  | 28 | 29 | 0.0924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2920-12_0_5_line_32 |  | 28 | 30 | 0.18279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_2920-12_0_5_line_33 |  | 28 | 31 | 0.19092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_2920-12_0_5_line_34 |  | 28 | 32 | 0.050763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_2920-12_0_5_line_35 |  | 30 | 42 | 0.044358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2920-12_0_5_line_36 |  | 30 | 43 | 0.042721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2920-12_0_5_line_37 |  | 30 | 44 | 0.11043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_2920-12_0_5_line_38 |  | 31 | 40 | 0.1187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2920-12_0_5_line_39 |  | 31 | 41 | 0.0097937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_2920-12_0_5_line_40 |  | 32 | 49 | 0.035472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_2920-12_0_5_line_41 |  | 33 | 34 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_2920-12_0_5_line_42 |  | 33 | 35 | 0.024196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_2920-12_0_5_line_43 |  | 34 | 36 | 0.0072893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_2920-12_0_5_line_44 |  | 35 | 48 | 0.0089972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_2920-12_0_5_line_45 |  | 36 | 41 | 0.012704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_2920-12_0_5_line_46 |  | 37 | 38 | 0.19185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_2920-12_0_5_line_47 |  | 37 | 39 | 0.013924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2920-12_0_5_line_48 |  | 38 | 48 | 0.031075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_2920-12_0_5_line_49 |  | 40 | 47 | 0.034823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2920-12_0_5_line_50 |  | 45 | 46 | 0.16751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2920-12_0_5_line_51 |  | 46 | 59 | 0.044345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2920-12_0_5_line_52 |  | 46 | 60 | 0.018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2920-12_0_5_line_53 |  | 49 | 50 | 0.026592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_2920-12_0_5_line_54 |  | 51 | 52 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_2920-12_0_5_line_55 |  | 52 | 53 | 0.016658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_2920-12_0_5_line_56 |  | 53 | 54 | 0.04122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_2920-12_0_5_line_57 |  | 54 | 57 | 0.0044538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_2920-12_0_5_line_58 |  | 55 | 56 | 0.034453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_2920-12_0_5_line_59 |  | 56 | 57 | 0.068923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_2920-12_0_5_line_60 |  | 59 | 61 | 0.01982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2920-12_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 62 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2695453.5223 | 1288947.2775 | 2695443.1462 | 1288888.1385
1 | 2695468.2381 | 1289031.1517 | 2695453.5223 | 1288947.2775
2 | 2695468.2381 | 1289031.1517 | 2695456.3692 | 1289034.9961 | 2695439.7659 | 1289038.9083 | 2695410.9361 | 1289038.196 | 2695399.6293 | 1289039.0903
3 | 2695341.2781 | 1289043.9519 | 2695368.1104 | 1289041.5832 | 2695399.6293 | 1289039.0903
4 | 2695427.499 | 1288799.5043 | 2695369.3447 | 1288822.4386
5 | 2695427.499 | 1288799.5043 | 2695421.2562 | 1288750.6663
6 | 2695369.3447 | 1288822.4386 | 2695357.2866 | 1288827.1947
7 | 2695414.9789 | 1288701.5589 | 2695421.2562 | 1288750.6663
8 | 2695317.6853 | 1289047.9896 | 2695336.0728 | 1289044.4114 | 2695341.2781 | 1289043.9519
9 | 2695284.3222 | 1288851.7999 | 2695348.0852 | 1288830.8241 | 2695357.2866 | 1288827.1947
10 | 2695407.6036 | 1288645.1093 | 2695403.7159 | 1288636.8945 | 2695399.9865 | 1288632.3411 | 2695391.6195 | 1288628.3464
11 | 2695391.6195 | 1288628.3464 | 2695360.3187 | 1288632.7879 | 2695340.9979 | 1288635.9075
12 | 2695407.6036 | 1288645.1093 | 2695410.2977 | 1288664.9375 | 2695413.8406 | 1288692.6539
13 | 2695258.0579 | 1288648.0801 | 2695313.9354 | 1288640.2772 | 2695340.9979 | 1288635.9075
14 | 2695414.9789 | 1288701.5589 | 2695413.8406 | 1288692.6539
15 | 2695307.9529 | 1289049.8834 | 2695317.6853 | 1289047.9896
16 | 2695307.2326 | 1289002.9349 | 2695300.8431 | 1288963.8537
17 | 2695307.9529 | 1289049.8834 | 2695313.0376 | 1289046.2402 | 2695313.1232 | 1289040.9591 | 2695312.3473 | 1289034.2182 | 2695307.2326 | 1289002.9349
18 | 2695307.9529 | 1289049.8834 | 2695298.944 | 1289054.5307 | 2695296.8042 | 1289055.5806
19 | 2695296.8042 | 1289055.5806 | 2695286.6028 | 1289060.5857
20 | 2695283.0983 | 1289062.3051 | 2695286.6028 | 1289060.5857
21 | 2695154.42 | 1289182.2313 | 2695140.5944 | 1289181.8631 | 2695123.3874 | 1289181.407 | 2695121.8728 | 1289181.3714
22 | 2695063.3589 | 1289069.9592 | 2695051.8721 | 1289078.0255 | 2695041.2276 | 1289078.0649 | 2695058.3485 | 1289102.441 | 2695106.5143 | 1289169.5793 | 2695109.5875 | 1289173.8884 | 2695113.2804 | 1289176.05 | 2695116.5538 | 1289176.7924 | 2695122.0019 | 1289176.6358 | 2695121.8728 | 1289181.3714
23 | 2695063.3589 | 1289069.9592 | 2695045.5934 | 1289046.326
24 | 2695017.1276 | 1289007.9015 | 2695018.8651 | 1289009.4643 | 2695026.7237 | 1289021.2239 | 2695045.5934 | 1289046.326
25 | 2695167.1247 | 1288967.6205 | 2695158.1709 | 1288938.2493
26 | 2695158.1709 | 1288938.2493 | 2695190.5345 | 1288927.9563
27 | 2695167.1247 | 1288967.6205 | 2695179.1929 | 1288963.979 | 2695188.5439 | 1288961.0613
28 | 2695167.1247 | 1288967.6205 | 2695173.9108 | 1288988.6381
29 | 2695216.8934 | 1288912.5308 | 2695219.0634 | 1288918.8828 | 2695190.5345 | 1288927.9563
30 | 2695182.7198 | 1288879.5041 | 2695184.5379 | 1288886.2841 | 2695205.7216 | 1288879.7762 | 2695210.3693 | 1288893.4081 | 2695216.8934 | 1288912.5308
31 | 2695172.9089 | 1288787.6405 | 2695175.0391 | 1288807.1258 | 2695178.3644 | 1288846.4039 | 2695182.7198 | 1288879.5041
32 | 2695102.6616 | 1288790.2636 | 2695102.9899 | 1288806.1499 | 2695112.2943 | 1288899.2508 | 2695172.9244 | 1288880.3577 | 2695182.7198 | 1288879.5041
33 | 2695010.2588 | 1288912.538 | 2695012.7718 | 1288909.7427 | 2695015.9618 | 1288907.759 | 2695019.5864 | 1288906.7388 | 2695023.7029 | 1288906.8386 | 2695027.597 | 1288908.1693 | 2695030.8877 | 1288910.6358 | 2695033.2791 | 1288913.9774 | 2695034.5288 | 1288917.8788 | 2695045.9221 | 1288923.0451 | 2695046.5548 | 1288918.707 | 2695050.6598 | 1288919.0513 | 2695112.2943 | 1288899.2508 | 2695172.9244 | 1288880.3577 | 2695182.7198 | 1288879.5041
34 | 2695182.7198 | 1288879.5041 | 2695187.7396 | 1288879.4074 | 2695231.4489 | 1288865.9208
35 | 2695102.6616 | 1288790.2636 | 2695108.1947 | 1288785.3374 | 2695141.0797 | 1288768.4892
36 | 2695102.6616 | 1288790.2636 | 2695103.2014 | 1288757.3315 | 2695101.9797 | 1288747.6236
37 | 2695102.6616 | 1288790.2636 | 2695103.2014 | 1288757.3315 | 2695098.4949 | 1288719.9329 | 2695101.5446 | 1288711.7859 | 2695130.8218 | 1288701.2832
38 | 2695010.2588 | 1288912.538 | 2695008.4061 | 1288916.7119 | 2695008.0776 | 1288921.2662 | 2695009.3119 | 1288925.6568 | 2695006.6172 | 1288930.8735 | 2695003.143 | 1288938.8469 | 2694999.429 | 1288948.6625 | 2694996.8622 | 1288962.2222 | 2694994.8481 | 1288970.3526 | 2694993.9444 | 1288979.8689 | 2695000.7085 | 1288980.4452 | 2695000.5941 | 1288992.1761 | 2695002.222 | 1289006.1039 | 2695008.4281 | 1289005.003 | 2695015.7152 | 1289006.6443 | 2695017.1276 | 1289007.9015
39 | 2695010.2588 | 1288912.538 | 2695008.6295 | 1288902.8808
40 | 2695263.2764 | 1288851.17 | 2695259.1693 | 1288852.805 | 2695255.7377 | 1288854.8736 | 2695247.5002 | 1288860.9681 | 2695231.4489 | 1288865.9208
41 | 2695007.6895 | 1288871.4372 | 2695008.0723 | 1288877.927 | 2695008.3666 | 1288882.9252
42 | 2695007.6895 | 1288871.4372 | 2695001.2792 | 1288856.8317 | 2694998.2507 | 1288849.1623
43 | 2695008.3666 | 1288882.9252 | 2695008.0625 | 1288890.2081
44 | 2694994.9461 | 1288840.7939 | 2694998.2507 | 1288849.1623
45 | 2695008.0625 | 1288890.2081 | 2695007.9141 | 1288893.761 | 2695008.6295 | 1288902.8808
46 | 2694983.9745 | 1288811.7231 | 2694988.9468 | 1288816.4297 | 2694993.3675 | 1288818.603 | 2694997.7068 | 1288818.851 | 2695002.3161 | 1288817.7021 | 2695007.0203 | 1288816.2544 | 2695006.7824 | 1288798.4679 | 2695006.4609 | 1288790.5 | 2695005.8208 | 1288782.2933 | 2695004.5209 | 1288774.065 | 2695002.2435 | 1288764.5863 | 2694995.7348 | 1288745.8534 | 2694987.0428 | 1288721.0908 | 2694983.8993 | 1288713.2219 | 2694980.4991 | 1288706.8391 | 2694981.8294 | 1288702.034 | 2694984.9725 | 1288690.4187 | 2694987.594 | 1288685.0895 | 2694992.0053 | 1288679.4889 | 2694999.2539 | 1288673.7785 | 2695011.1921 | 1288668.9222
47 | 2695011.1921 | 1288668.9222 | 2695024.4868 | 1288664.7847
48 | 2694983.9745 | 1288811.7231 | 2694990.2387 | 1288828.8729 | 2694994.9461 | 1288840.7939
49 | 2695017.1276 | 1289007.9015 | 2695026.7219 | 1289004.1529 | 2695050.103 | 1288996.7589
50 | 2695258.0579 | 1288648.0801 | 2695312.8677 | 1288634.4101 | 2695358.7724 | 1288624.9781 | 2695410.543 | 1288615.1076 | 2695404.243 | 1288610.4013 | 2695403.1507 | 1288606.9806
51 | 2695403.1507 | 1288606.9806 | 2695386.2785 | 1288610.2991 | 2695359.6312 | 1288615.4945
52 | 2695403.1507 | 1288606.9806 | 2695399.9104 | 1288588.4558
53 | 2695263.2764 | 1288851.17 | 2695266.2858 | 1288858.036 | 2695269.1187 | 1288856.8029 | 2695284.3222 | 1288851.7999
54 | 2695263.0895 | 1289072.1221 | 2695283.0983 | 1289062.3051
55 | 2695263.0895 | 1289072.1221 | 2695257.2212 | 1289056.5242
56 | 2695257.2212 | 1289056.5242 | 2695245.3845 | 1289017.0399
57 | 2695245.3845 | 1289017.0399 | 2695244.1056 | 1289012.7737
58 | 2695173.9108 | 1288988.6381 | 2695206.3941 | 1288977.1554
59 | 2695206.3941 | 1288977.1554 | 2695212.8692 | 1288974.8665 | 2695222.5734 | 1288970.3638 | 2695228.6119 | 1288971.2845 | 2695232.4265 | 1288973.8151 | 2695244.1056 | 1289012.7737
60 | 2695340.3057 | 1288619.8929 | 2695359.6312 | 1288615.4945

## bus_geodata
| x | y | coords
0 | 2695453.5223 | 1288947.2775
1 | 2695443.1462 | 1288888.1385
2 | 2695468.2381 | 1289031.1517
3 | 2695399.6293 | 1289039.0903
4 | 2695427.499 | 1288799.5043
5 | 2695369.3447 | 1288822.4386
6 | 2695421.2562 | 1288750.6663
7 | 2695341.2781 | 1289043.9519
8 | 2695357.2866 | 1288827.1947
9 | 2695391.6195 | 1288628.3464
10 | 2695407.6036 | 1288645.1093
11 | 2695340.9979 | 1288635.9075
12 | 2695413.8406 | 1288692.6539
13 | 2695414.9789 | 1288701.5589
14 | 2695317.6853 | 1289047.9896
15 | 2695307.2326 | 1289002.9349
16 | 2695300.8431 | 1288963.8537
17 | 2695307.9529 | 1289049.8834
18 | 2695296.8042 | 1289055.5806
19 | 2695286.6028 | 1289060.5857
20 | 2695121.8728 | 1289181.3714
21 | 2695154.42 | 1289182.2313
22 | 2695063.3589 | 1289069.9592
23 | 2695045.5934 | 1289046.326
24 | 2695158.1709 | 1288938.2493
25 | 2695167.1247 | 1288967.6205
26 | 2695190.5345 | 1288927.9563
27 | 2695216.8934 | 1288912.5308
28 | 2695182.7198 | 1288879.5041
29 | 2695172.9089 | 1288787.6405
30 | 2695102.6616 | 1288790.2636
31 | 2695010.2588 | 1288912.538
32 | 2695231.4489 | 1288865.9208
33 | 2695007.6895 | 1288871.4372
34 | 2695008.3666 | 1288882.9252
35 | 2694998.2507 | 1288849.1623
36 | 2695008.0625 | 1288890.2081
37 | 2695011.1921 | 1288668.9222
38 | 2694983.9745 | 1288811.7231
39 | 2695024.4868 | 1288664.7847
40 | 2695017.1276 | 1289007.9015
41 | 2695008.6295 | 1288902.8808
42 | 2695141.0797 | 1288768.4892
43 | 2695101.9797 | 1288747.6236
44 | 2695130.8218 | 1288701.2832
45 | 2695258.0579 | 1288648.0801
46 | 2695403.1507 | 1288606.9806
47 | 2695050.103 | 1288996.7589
48 | 2694994.9461 | 1288840.7939
49 | 2695263.2764 | 1288851.17
50 | 2695284.3222 | 1288851.7999
51 | 2695283.0983 | 1289062.3051
52 | 2695263.0895 | 1289072.1221
53 | 2695257.2212 | 1289056.5242
54 | 2695245.3845 | 1289017.0399
55 | 2695173.9108 | 1288988.6381
56 | 2695206.3941 | 1288977.1554
57 | 2695244.1056 | 1289012.7737
58 | 2695188.5439 | 1288961.0613
59 | 2695359.6312 | 1288615.4945
60 | 2695399.9104 | 1288588.4558
61 | 2695340.3057 | 1288619.8929
62 | 2695307.9529 | 1289049.8834

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1