## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2920-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2920-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2920-8_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2920-8_0_4_node_92 | 0.4 | n |  | TRUE
4 | bus_LV_2920-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2920-8_0_4_node_106 | 0.4 | n |  | TRUE
6 | bus_LV_2920-8_0_4_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_2920-8_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2920-8_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_2920-8_0_4_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_2920-8_0_4_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_2920-8_0_4_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_2920-8_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_2920-8_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2920-8_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2920-8_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2920-8_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2920-8_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2920-8_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2920-8_0_4_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_2920-8_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2920-8_0_4_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_2920-8_0_4_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_2920-8_0_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_2920-8_0_4_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_2920-8_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2920-8_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2920-8_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2920-8_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2920-8_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2920-8_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2920-8_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2920-8_0_4_node_104 | 0.4 | n |  | TRUE
33 | bus_LV_2920-8_0_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_2920-8_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_2920-8_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2920-8_0_4_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_2920-8_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2920-8_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_2920-8_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2920-8_0_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_2920-8_0_4_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_2920-8_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_2920-8_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_2920-8_0_4_node_105 | 0.4 | n |  | TRUE
45 | bus_LV_2920-8_0_4_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_2920-8_0_4_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_2920-8_0_4_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_2920-8_0_4_node_102 | 0.4 | n |  | TRUE
49 | bus_LV_2920-8_0_4_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_2920-8_0_4_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_2920-8_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2920-8_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_2920-8_0_4_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_2920-8_0_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_2920-8_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2920-8_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_2920-8_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2920-8_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_2920-8_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2920-8_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_2920-8_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_2920-8_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_2920-8_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2920-8_0_4_node_30 | 0.4 | n |  | TRUE
65 | bus_LV_2920-8_0_4_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_2920-8_0_4_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_2920-8_0_4_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_2920-8_0_4_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_2920-8_0_4_node_98 | 0.4 | n |  | TRUE
70 | bus_LV_2920-8_0_4_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_2920-8_0_4_node_37 | 0.4 | n |  | TRUE
72 | bus_LV_2920-8_0_4_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_2920-8_0_4_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_2920-8_0_4_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_2920-8_0_4_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_2920-8_0_4_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_2920-8_0_4_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_2920-8_0_4_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_2920-8_0_4_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_2920-8_0_4_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_2920-8_0_4_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_2920-8_0_4_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_2920-8_0_4_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_2920-8_0_4_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_2920-8_0_4_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_2920-8_0_4_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_2920-8_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_2920-8_0_4_node_103 | 0.4 | n |  | TRUE
89 | bus_LV_2920-8_0_4_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_2920-8_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_2920-8_0_4_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_2920-8_0_4_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_2920-8_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_2920-8_0_4_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_2920-8_0_4_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_2920-8_0_4_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_2920-8_0_4_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_2920-8_0_4_node_96 | 0.4 | n |  | TRUE
99 | bus_MV_401_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2920-8_0_4_load_0 | 0 | 0.0092966 | 0.0023299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2920-8_0_4_load_1 | 1 | 0.0035762 | 0.00089629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2920-8_0_4_load_3 | 2 | 0.0018196 | 0.00045603 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2920-8_0_4_load_106 | 5 | 0.0020121 | 0.00050427 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2920-8_0_4_load_90 | 6 | 0.00028852 | 7.2311e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2920-8_0_4_load_34 | 7 | 0.0031063 | 0.0007785 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2920-8_0_4_load_35 | 8 | 0.0032369 | 0.00081126 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2920-8_0_4_load_59 | 10 | 0.0051695 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2920-8_0_4_load_57 | 11 | 0.0011801 | 0.00029576 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2920-8_0_4_load_25 | 12 | 0.0060415 | 0.0015141 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2920-8_0_4_load_26 | 13 | 0.0017768 | 0.00044531 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2920-8_0_4_load_7 | 14 | 0.0085359 | 0.0021393 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2920-8_0_4_load_8 | 15 | 0.0034828 | 0.00087288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2920-8_0_4_load_12 | 18 | 0.0082305 | 0.0020628 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2920-8_0_4_load_79 | 19 | 0.0036538 | 0.00091572 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2920-8_0_4_load_11 | 20 | 0.0013164 | 0.00032993 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2920-8_0_4_load_60 | 21 | 0.0049437 | 0.001239 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2920-8_0_4_load_56 | 22 | 0.0027525 | 0.00068983 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2920-8_0_4_load_52 | 23 | 0.0046817 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2920-8_0_4_load_45 | 24 | 0.0032687 | 0.00081921 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2920-8_0_4_load_13 | 25 | 0.038033 | 0.0095319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2920-8_0_4_load_24 | 30 | 0.0020479 | 0.00051324 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2920-8_0_4_load_104 | 32 | 0.0022895 | 0.00057381 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2920-8_0_4_load_91 | 36 | 1.9584e-05 | 4.9081e-06 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2920-8_0_4_load_40 | 37 | 0.0072324 | 0.0018126 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2920-8_0_4_load_80 | 40 | 0.0011276 | 0.00028261 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2920-8_0_4_load_69 | 41 | 0.074108 | 0.018573 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2920-8_0_4_load_68 | 42 | 0.041115 | 0.010304 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2920-8_0_4_load_54 | 43 | 0.0025135 | 0.00062993 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2920-8_0_4_load_105 | 44 | 0.065696 | 0.016465 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2920-8_0_4_load_78 | 45 | 0.002118 | 0.00053083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2920-8_0_4_load_102 | 48 | 0.0020197 | 0.00050619 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2920-8_0_4_load_101 | 49 | 0.0028804 | 0.00072188 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2920-8_0_4_load_89 | 50 | 0.0005085 | 0.00012744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2920-8_0_4_load_33 | 52 | 0.00094397 | 0.00023658 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2920-8_0_4_load_29 | 53 | 0.0019273 | 0.00048302 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2920-8_0_4_load_66 | 54 | 0.024482 | 0.0061358 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2920-8_0_4_load_53 | 55 | 0.0069145 | 0.0017329 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2920-8_0_4_load_44 | 59 | 0.006682 | 0.0016747 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2920-8_0_4_load_38 | 60 | 0.0033545 | 0.00084072 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2920-8_0_4_load_48 | 61 | 0.0025593 | 0.00064142 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2920-8_0_4_load_61 | 62 | 0.00084277 | 0.00021122 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2920-8_0_4_load_58 | 63 | 0.0024047 | 0.00060267 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2920-8_0_4_load_30 | 64 | 0.0015782 | 0.00039554 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2920-8_0_4_load_32 | 65 | 0.0018755 | 0.00047003 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2920-8_0_4_load_88 | 66 | 0.0014339 | 0.00035936 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2920-8_0_4_load_100 | 67 | 0.0019987 | 0.00050093 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2920-8_0_4_load_87 | 68 | 0.00097604 | 0.00024462 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2920-8_0_4_load_98 | 69 | 0.00075548 | 0.00018934 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2920-8_0_4_load_36 | 70 | 0.0012077 | 0.00030268 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2920-8_0_4_load_37 | 71 | 0.0020323 | 0.00050934 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2920-8_0_4_load_43 | 73 | 0.004565 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2920-8_0_4_load_46 | 74 | 0.0017328 | 0.00043429 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2920-8_0_4_load_47 | 75 | 0.0024773 | 0.00062086 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2920-8_0_4_load_93 | 76 | 0.0024214 | 0.00060685 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2920-8_0_4_load_94 | 77 | 0.00013916 | 3.4876e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2920-8_0_4_load_49 | 78 | 0.0019104 | 0.0004788 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2920-8_0_4_load_51 | 79 | 0.0017215 | 0.00043145 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2920-8_0_4_load_55 | 80 | 0.0025151 | 0.00063035 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2920-8_0_4_load_63 | 81 | 0.024338 | 0.0060997 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2920-8_0_4_load_64 | 82 | 0.050806 | 0.012733 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2920-8_0_4_load_65 | 83 | 0.04496 | 0.011268 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2920-8_0_4_load_67 | 84 | 0.0013979 | 0.00035035 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2920-8_0_4_load_76 | 85 | 0.0015782 | 0.00039553 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2920-8_0_4_load_86 | 87 | 0.0014459 | 0.00036237 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2920-8_0_4_load_103 | 88 | 0.00075948 | 0.00019034 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2920-8_0_4_load_74 | 89 | 0.0012965 | 0.00032493 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2920-8_0_4_load_84 | 90 | 0.0012545 | 0.0003144 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2920-8_0_4_load_95 | 93 | 0.0017058 | 0.00042752 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2920-8_0_4_load_77 | 94 | 0.0016646 | 0.00041719 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2920-8_0_4_load_75 | 95 | 0.0014111 | 0.00035365 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2920-8_0_4_load_83 | 96 | 0.0039756 | 0.00099639 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2920-8_0_4_load_85 | 97 | 0.0017699 | 0.00044358 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2920-8_0_4_load_96 | 98 | 0.00086944 | 0.0002179 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2920-8_0_4_line_0 |  | 0 | 1 | 0.029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2920-8_0_4_line_1 |  | 1 | 2 | 0.0045715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2920-8_0_4_line_2 |  | 2 | 3 | 0.030821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2920-8_0_4_line_3 |  | 3 | 6 | 0.026114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2920-8_0_4_line_4 |  | 3 | 4 | 0.048869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2920-8_0_4_line_5 |  | 4 | 5 | 0.033805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2920-8_0_4_line_6 |  | 6 | 50 | 0.025887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2920-8_0_4_line_7 |  | 7 | 8 | 0.00058139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2920-8_0_4_line_8 |  | 8 | 70 | 0.012461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2920-8_0_4_line_9 |  | 9 | 10 | 0.011177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2920-8_0_4_line_10 |  | 9 | 11 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2920-8_0_4_line_11 |  | 10 | 62 | 0.011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2920-8_0_4_line_12 |  | 11 | 63 | 0.0017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2920-8_0_4_line_13 |  | 12 | 13 | 0.015466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2920-8_0_4_line_14 |  | 13 | 56 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2920-8_0_4_line_15 |  | 14 | 15 | 0.019739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2920-8_0_4_line_16 |  | 14 | 16 | 0.010505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2920-8_0_4_line_17 |  | 15 | 17 | 0.017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2920-8_0_4_line_18 |  | 16 | 18 | 0.010569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2920-8_0_4_line_19 |  | 17 | 19 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2920-8_0_4_line_20 |  | 18 | 22 | 0.0064783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2920-8_0_4_line_21 |  | 20 | 21 | 0.0074862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2920-8_0_4_line_22 |  | 21 | 23 | 0.017403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2920-8_0_4_line_23 |  | 22 | 24 | 0.027071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2920-8_0_4_line_24 |  | 23 | 58 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2920-8_0_4_line_25 |  | 24 | 72 | 0.017766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2920-8_0_4_line_26 |  | 25 | 26 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2920-8_0_4_line_27 |  | 25 | 27 | 0.054825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2920-8_0_4_line_28 |  | 26 | 28 | 0.024993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2920-8_0_4_line_29 |  | 27 | 29 | 0.004771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2920-8_0_4_line_30 |  | 27 | 30 | 0.011744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2920-8_0_4_line_31 |  | 28 | 41 | 0.013932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2920-8_0_4_line_32 |  | 28 | 42 | 0.027794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2920-8_0_4_line_33 |  | 28 | 34 | 0.006483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2920-8_0_4_line_34 |  | 29 | 37 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2920-8_0_4_line_35 |  | 29 | 35 | 0.03782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2920-8_0_4_line_36 |  | 30 | 43 | 0.010519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2920-8_0_4_line_37 |  | 31 | 32 | 0.029988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2920-8_0_4_line_38 |  | 31 | 33 | 0.01513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2920-8_0_4_line_39 |  | 31 | 34 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2920-8_0_4_line_40 |  | 33 | 44 | 0.006429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2920-8_0_4_line_41 |  | 33 | 38 | 0.004699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2920-8_0_4_line_42 |  | 35 | 36 | 0.03704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2920-8_0_4_line_43 |  | 36 | 50 | 0.048643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2920-8_0_4_line_44 |  | 37 | 51 | 0.041639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2920-8_0_4_line_45 |  | 38 | 39 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2920-8_0_4_line_46 |  | 38 | 40 | 0.0063208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2920-8_0_4_line_47 |  | 39 | 52 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2920-8_0_4_line_48 |  | 39 | 53 | 0.016056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2920-8_0_4_line_49 |  | 42 | 54 | 0.0033435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2920-8_0_4_line_50 |  | 43 | 55 | 0.016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2920-8_0_4_line_51 |  | 45 | 46 | 0.019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2920-8_0_4_line_52 |  | 46 | 85 | 0.015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2920-8_0_4_line_53 |  | 47 | 48 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2920-8_0_4_line_54 |  | 47 | 49 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2920-8_0_4_line_55 |  | 48 | 92 | 0.016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2920-8_0_4_line_56 |  | 51 | 72 | 0.024723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2920-8_0_4_line_57 |  | 51 | 73 | 0.01709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2920-8_0_4_line_58 |  | 52 | 67 | 0.0060379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2920-8_0_4_line_59 |  | 53 | 64 | 0.0037356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2920-8_0_4_line_60 |  | 54 | 82 | 0.027096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2920-8_0_4_line_61 |  | 55 | 80 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2920-8_0_4_line_62 |  | 56 | 57 | 0.010248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2920-8_0_4_line_63 |  | 56 | 58 | 0.011311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2920-8_0_4_line_64 |  | 57 | 59 | 0.021846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2920-8_0_4_line_65 |  | 57 | 60 | 0.0087744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2920-8_0_4_line_66 |  | 58 | 61 | 0.0089101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2920-8_0_4_line_67 |  | 59 | 72 | 2.8208e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2920-8_0_4_line_68 |  | 60 | 71 | 0.0095654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2920-8_0_4_line_69 |  | 61 | 78 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2920-8_0_4_line_70 |  | 63 | 79 | 0.0031493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2920-8_0_4_line_71 |  | 64 | 65 | 0.014548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2920-8_0_4_line_72 |  | 65 | 66 | 0.00011413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2920-8_0_4_line_73 |  | 66 | 68 | 0.0047441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2920-8_0_4_line_74 |  | 67 | 69 | 0.007271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2920-8_0_4_line_75 |  | 68 | 97 | 0.0009664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2920-8_0_4_line_76 |  | 69 | 98 | 0.00030183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2920-8_0_4_line_77 |  | 70 | 71 | 0.012381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2920-8_0_4_line_78 |  | 73 | 74 | 0.0037379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2920-8_0_4_line_79 |  | 74 | 75 | 0.0033727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2920-8_0_4_line_80 |  | 75 | 76 | 0.0021648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2920-8_0_4_line_81 |  | 76 | 77 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2920-8_0_4_line_82 |  | 78 | 79 | 0.0082455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2920-8_0_4_line_83 |  | 81 | 82 | 0.0013307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2920-8_0_4_line_84 |  | 81 | 83 | 0.017471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2920-8_0_4_line_85 |  | 83 | 84 | 0.022968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2920-8_0_4_line_86 |  | 85 | 89 | 0.0038601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2920-8_0_4_line_87 |  | 86 | 87 | 0.017061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2920-8_0_4_line_88 |  | 86 | 88 | 0.014962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2920-8_0_4_line_89 |  | 87 | 90 | 0.00098417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2920-8_0_4_line_90 |  | 88 | 94 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2920-8_0_4_line_91 |  | 89 | 95 | 0.0050425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2920-8_0_4_line_92 |  | 90 | 96 | 0.0017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2920-8_0_4_line_93 |  | 91 | 92 | 0.05174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2920-8_0_4_line_94 |  | 91 | 93 | 0.053334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2920-8_0_4_line_95 |  | 93 | 98 | 0.00049736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2920-8_0_4_line_96 |  | 94 | 95 | 0.0057457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2920-8_0_4_line_97 |  | 96 | 97 | 0.013223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2920-8_0_4_trafo_69 | 0.63 MVA 20/0.4 kV | 99 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2695374.6009 | 1289275.8997 | 2695369.0789 | 1289278.4575 | 2695356.3364 | 1289283.0108 | 2695349.7774 | 1289284.606 | 2695346.6726 | 1289283.6549
1 | 2695346.6726 | 1289283.6549 | 2695346.6726 | 1289283.6549 | 2695343.7979 | 1289280.9948 | 2695343.3226 | 1289280.5442
2 | 2695318.0635 | 1289263.3734 | 2695334.1798 | 1289271.8753 | 2695343.3226 | 1289280.5442
3 | 2695318.0635 | 1289263.3734 | 2695292.7144 | 1289269.6466
4 | 2695361.9415 | 1289242.6206 | 2695359.9196 | 1289244.2671 | 2695332.3043 | 1289259.8563 | 2695318.0635 | 1289263.3734
5 | 2695343.3772 | 1289214.3833 | 2695348.3715 | 1289221.4039 | 2695356.4971 | 1289232.8347 | 2695361.9415 | 1289242.6206
6 | 2695267.1624 | 1289273.7949 | 2695292.7144 | 1289269.6466
7 | 2695352.8815 | 1289336.165 | 2695353.4591 | 1289336.0991
8 | 2695352.8815 | 1289336.165 | 2695343.3663 | 1289337.2498 | 2695340.4864 | 1289337.4021
9 | 2695365.9332 | 1289380.8992 | 2695368.0176 | 1289386.0376 | 2695370.0292 | 1289391.2983
10 | 2695365.9332 | 1289380.8992 | 2695362.5668 | 1289382.2014 | 2695356.7482 | 1289381.1618 | 2695350.8269 | 1289377.1603
11 | 2695370.0292 | 1289391.2983 | 2695371.2484 | 1289394.4865 | 2695373.256 | 1289401.8624
12 | 2695350.8269 | 1289377.1603 | 2695349.3454 | 1289376.1591
13 | 2695361.6945 | 1289340.0882 | 2695346.2824 | 1289341.3733
14 | 2695324.7117 | 1289343.2978 | 2695338.3008 | 1289342.0388 | 2695346.2824 | 1289341.3733
15 | 2695266.8416 | 1289412.0964 | 2695262.8585 | 1289421.3118 | 2695260.5337 | 1289430.729
16 | 2695271.5749 | 1289402.736 | 2695268.7107 | 1289407.772 | 2695266.8416 | 1289412.0964
17 | 2695256.1148 | 1289447.304 | 2695260.0009 | 1289432.8872 | 2695260.5337 | 1289430.729
18 | 2695271.5749 | 1289402.736 | 2695272.3307 | 1289392.1943
19 | 2695256.1148 | 1289447.304 | 2695251.6591 | 1289466.3744
20 | 2695274.814 | 1289386.2109 | 2695272.3307 | 1289392.1943 | 2695272.3307 | 1289392.1943
21 | 2695304.8151 | 1289379.5363 | 2695297.7498 | 1289382.0113
22 | 2695304.8151 | 1289379.5363 | 2695309.3819 | 1289377.9365 | 2695317.4011 | 1289370.4595 | 2695318.4423 | 1289369.2445
23 | 2695285.1914 | 1289361.2076 | 2695274.814 | 1289386.2109
24 | 2695325.6473 | 1289354.5342 | 2695325.1839 | 1289361.3773 | 2695318.4423 | 1289369.2445
25 | 2695292.6174 | 1289345.1022 | 2695289.4641 | 1289353.1584 | 2695285.3106 | 1289360.9205 | 2695285.1914 | 1289361.2076
26 | 2695143.8648 | 1289301.0682 | 2695147.1206 | 1289301.0318 | 2695150.8971 | 1289301.7379 | 2695155.2481 | 1289303.5543 | 2695162.7444 | 1289307.5789
27 | 2695211.7098 | 1289332.0261 | 2695199.8763 | 1289326.7744 | 2695190.1222 | 1289321.879 | 2695171.9194 | 1289311.5977 | 2695167.7853 | 1289310.2853 | 2695162.7444 | 1289307.5789
28 | 2695127.3881 | 1289317.6281 | 2695129.4816 | 1289311.5453 | 2695130.7409 | 1289309.2747 | 2695134.1268 | 1289305.3703 | 2695137.7213 | 1289302.9484 | 2695140.6067 | 1289301.705 | 2695143.8648 | 1289301.0682
29 | 2695213.0814 | 1289327.4552 | 2695211.7098 | 1289332.0261
30 | 2695211.7098 | 1289332.0261 | 2695217.8409 | 1289334.6164 | 2695219.9546 | 1289337.9536 | 2695221.0252 | 1289338.3391
31 | 2695127.3881 | 1289317.6281 | 2695131.6931 | 1289319.0433 | 2695140.2162 | 1289323.0087
32 | 2695127.3881 | 1289317.6281 | 2695118.3527 | 1289343.9126
33 | 2695121.2103 | 1289315.6042 | 2695127.3881 | 1289317.6281
34 | 2695213.0814 | 1289327.4552 | 2695224.2581 | 1289332.5072 | 2695227.583 | 1289333.6972
35 | 2695190.846 | 1289306.8104 | 2695186.6699 | 1289313.6602 | 2695213.0814 | 1289327.4552
36 | 2695221.0252 | 1289338.3391 | 2695230.9225 | 1289341.903
37 | 2695118.9127 | 1289307.8601 | 2695110.6086 | 1289332.9709 | 2695107.9822 | 1289335.364
38 | 2695107.4848 | 1289298.3892 | 2695109.0198 | 1289300.8718 | 2695116.4515 | 1289306.9973 | 2695118.9127 | 1289307.8601
39 | 2695118.9127 | 1289307.8601 | 2695123.0747 | 1289309.3064 | 2695121.2103 | 1289315.6042
40 | 2695102.1534 | 1289302.0063 | 2695107.4848 | 1289298.3892
41 | 2695103.8427 | 1289295.4054 | 2695107.4848 | 1289298.3892
42 | 2695190.846 | 1289306.8104 | 2695197.1985 | 1289299.8957 | 2695207.6819 | 1289291.2463 | 2695217.9757 | 1289285.0404 | 2695219.8628 | 1289284.2667
43 | 2695267.1624 | 1289273.7949 | 2695246.8696 | 1289277.0894 | 2695241.6998 | 1289277.6619 | 2695228.2826 | 1289280.8144 | 2695219.8628 | 1289284.2667
44 | 2695267.8893 | 1289343.6229 | 2695255.4503 | 1289341.9535 | 2695236.9506 | 1289337.0499 | 2695227.583 | 1289333.6972
45 | 2695095.7797 | 1289303.2823 | 2695103.8427 | 1289295.4054
46 | 2695103.8427 | 1289295.4054 | 2695099.8454 | 1289292.1268 | 2695100.6177 | 1289291.2736
47 | 2695095.7797 | 1289303.2823 | 2695088.1221 | 1289299.5331 | 2695079.6703 | 1289293.4133 | 2695079.5465 | 1289293.3174
48 | 2695095.7797 | 1289303.2823 | 2695085.1437 | 1289315.3102
49 | 2695118.3527 | 1289343.9126 | 2695117.2658 | 1289347.0745
50 | 2695247.1204 | 1289346.1044 | 2695233.2134 | 1289342.7279 | 2695230.9225 | 1289341.903
51 | 2695100.8503 | 1289380.7676 | 2695106.5605 | 1289362.0579
52 | 2695100.8503 | 1289380.7676 | 2695086.5461 | 1289374.8439
53 | 2695073.499 | 1289205.1116 | 2695070.1674 | 1289207.9715 | 2695061.664 | 1289215.8062
54 | 2695073.499 | 1289205.1116 | 2695081.5195 | 1289198.2349
55 | 2695049.7997 | 1289226.7375 | 2695061.664 | 1289215.8062
56 | 2695267.8893 | 1289343.6229 | 2695288.2642 | 1289345.2763 | 2695292.6174 | 1289345.1022
57 | 2695267.8893 | 1289343.6229 | 2695268.296 | 1289338.4248 | 2695270.6778 | 1289332.6136 | 2695270.2645 | 1289327.0329
58 | 2695079.5465 | 1289293.3174 | 2695074.7734 | 1289289.6197
59 | 2695082.6691 | 1289318.1087 | 2695085.1437 | 1289315.3102
60 | 2695117.2658 | 1289347.0745 | 2695111.1506 | 1289364.864 | 2695108.4152 | 1289372.6836
61 | 2695260.7977 | 1289346.622 | 2695254.5377 | 1289345.5086 | 2695252.1082 | 1289347.3154 | 2695247.1204 | 1289346.1044
62 | 2695324.7117 | 1289343.2978 | 2695314.4736 | 1289344.2106
63 | 2695324.7117 | 1289343.2978 | 2695324.6999 | 1289348.658 | 2695325.6473 | 1289354.5342
64 | 2695314.4736 | 1289344.2106 | 2695292.6456 | 1289345.101
65 | 2695314.4736 | 1289344.2106 | 2695315.35 | 1289338.731 | 2695318.5705 | 1289338.5607
66 | 2695325.6473 | 1289354.5342 | 2695332.7533 | 1289359.9096 | 2695332.7533 | 1289359.9096
67 | 2695292.6174 | 1289345.1022 | 2695292.6456 | 1289345.101
68 | 2695328.1226 | 1289338.0557 | 2695318.5705 | 1289338.5607
69 | 2695332.7533 | 1289359.9096 | 2695340.8144 | 1289368.7247
70 | 2695349.3454 | 1289376.1591 | 2695346.736 | 1289374.3957
71 | 2695082.6691 | 1289318.1087 | 2695073.0318 | 1289329.0072
72 | 2695073.0318 | 1289329.0072 | 2695072.9562 | 1289329.0927
73 | 2695072.9562 | 1289329.0927 | 2695071.56 | 1289330.6716 | 2695069.8992 | 1289332.7192
74 | 2695069.0256 | 1289285.1667 | 2695074.7734 | 1289289.6197
75 | 2695069.8992 | 1289332.7192 | 2695069.2905 | 1289333.4698
76 | 2695068.7869 | 1289284.9819 | 2695069.0256 | 1289285.1667
77 | 2695340.4864 | 1289337.4021 | 2695328.1226 | 1289338.0557
78 | 2695269.9885 | 1289323.3052 | 2695270.2645 | 1289327.0329
79 | 2695268.5452 | 1289320.2569 | 2695268.5452 | 1289320.2569 | 2695269.9885 | 1289323.3052 | 2695269.9885 | 1289323.3052
80 | 2695268.5452 | 1289320.2569 | 2695266.6562 | 1289319.1995
81 | 2695259.4224 | 1289311.5792 | 2695264.494 | 1289317.9893 | 2695266.6562 | 1289319.1995
82 | 2695340.8144 | 1289368.7247 | 2695344.8106 | 1289373.0945 | 2695346.736 | 1289374.3957
83 | 2695107.9758 | 1289373.9397 | 2695108.4152 | 1289372.6836
84 | 2695107.9758 | 1289373.9397 | 2695102.2069 | 1289390.4309
85 | 2695102.2069 | 1289390.4309 | 2695098.4503 | 1289401.1695 | 2695094.6519 | 1289412.1202
86 | 2695082.9797 | 1289373.367 | 2695086.5461 | 1289374.8439
87 | 2695048.509 | 1289359.0918 | 2695059.2559 | 1289345.8417
88 | 2695048.509 | 1289359.0918 | 2695062.3325 | 1289364.8165
89 | 2695059.8758 | 1289345.0774 | 2695059.2559 | 1289345.8417
90 | 2695062.3325 | 1289364.8165 | 2695073.0124 | 1289369.2393
91 | 2695082.9797 | 1289373.367 | 2695078.3209 | 1289371.4377
92 | 2695060.9611 | 1289343.7393 | 2695059.8758 | 1289345.0774
93 | 2695049.7997 | 1289226.7375 | 2695028.0506 | 1289255.3345 | 2695018.8708 | 1289268.2759
94 | 2695018.8708 | 1289268.2759 | 2695037.3504 | 1289269.7977 | 2695050.8692 | 1289273.8195 | 2695056.9397 | 1289276.9203 | 2695062.1357 | 1289279.829 | 2695068.3938 | 1289284.6773
95 | 2695068.3938 | 1289284.6773 | 2695068.7869 | 1289284.9819
96 | 2695073.0124 | 1289369.2393 | 2695078.3209 | 1289371.4377
97 | 2695060.9611 | 1289343.7393 | 2695069.2905 | 1289333.4698

## bus_geodata
| x | y | coords
0 | 2695374.6009 | 1289275.8997
1 | 2695346.6726 | 1289283.6549
2 | 2695343.3226 | 1289280.5442
3 | 2695318.0635 | 1289263.3734
4 | 2695361.9415 | 1289242.6206
5 | 2695343.3772 | 1289214.3833
6 | 2695292.7144 | 1289269.6466
7 | 2695353.4591 | 1289336.0991
8 | 2695352.8815 | 1289336.165
9 | 2695365.9332 | 1289380.8992
10 | 2695370.0292 | 1289391.2983
11 | 2695350.8269 | 1289377.1603
12 | 2695361.6945 | 1289340.0882
13 | 2695346.2824 | 1289341.3733
14 | 2695266.8416 | 1289412.0964
15 | 2695260.5337 | 1289430.729
16 | 2695271.5749 | 1289402.736
17 | 2695256.1148 | 1289447.304
18 | 2695272.3307 | 1289392.1943
19 | 2695251.6591 | 1289466.3744
20 | 2695297.7498 | 1289382.0113
21 | 2695304.8151 | 1289379.5363
22 | 2695274.814 | 1289386.2109
23 | 2695318.4423 | 1289369.2445
24 | 2695285.1914 | 1289361.2076
25 | 2695162.7444 | 1289307.5789
26 | 2695143.8648 | 1289301.0682
27 | 2695211.7098 | 1289332.0261
28 | 2695127.3881 | 1289317.6281
29 | 2695213.0814 | 1289327.4552
30 | 2695221.0252 | 1289338.3391
31 | 2695118.9127 | 1289307.8601
32 | 2695107.9822 | 1289335.364
33 | 2695107.4848 | 1289298.3892
34 | 2695121.2103 | 1289315.6042
35 | 2695190.846 | 1289306.8104
36 | 2695219.8628 | 1289284.2667
37 | 2695227.583 | 1289333.6972
38 | 2695103.8427 | 1289295.4054
39 | 2695095.7797 | 1289303.2823
40 | 2695100.6177 | 1289291.2736
41 | 2695140.2162 | 1289323.0087
42 | 2695118.3527 | 1289343.9126
43 | 2695230.9225 | 1289341.903
44 | 2695102.1534 | 1289302.0063
45 | 2695106.5605 | 1289362.0579
46 | 2695100.8503 | 1289380.7676
47 | 2695073.499 | 1289205.1116
48 | 2695061.664 | 1289215.8062
49 | 2695081.5195 | 1289198.2349
50 | 2695267.1624 | 1289273.7949
51 | 2695267.8893 | 1289343.6229
52 | 2695079.5465 | 1289293.3174
53 | 2695085.1437 | 1289315.3102
54 | 2695117.2658 | 1289347.0745
55 | 2695247.1204 | 1289346.1044
56 | 2695324.7117 | 1289343.2978
57 | 2695314.4736 | 1289344.2106
58 | 2695325.6473 | 1289354.5342
59 | 2695292.6456 | 1289345.101
60 | 2695318.5705 | 1289338.5607
61 | 2695332.7533 | 1289359.9096
62 | 2695373.256 | 1289401.8624
63 | 2695349.3454 | 1289376.1591
64 | 2695082.6691 | 1289318.1087
65 | 2695073.0318 | 1289329.0072
66 | 2695072.9562 | 1289329.0927
67 | 2695074.7734 | 1289289.6197
68 | 2695069.8992 | 1289332.7192
69 | 2695069.0256 | 1289285.1667
70 | 2695340.4864 | 1289337.4021
71 | 2695328.1226 | 1289338.0557
72 | 2695292.6174 | 1289345.1022
73 | 2695270.2645 | 1289327.0329
74 | 2695269.9885 | 1289323.3052
75 | 2695268.5452 | 1289320.2569
76 | 2695266.6562 | 1289319.1995
77 | 2695259.4224 | 1289311.5792
78 | 2695340.8144 | 1289368.7247
79 | 2695346.736 | 1289374.3957
80 | 2695260.7977 | 1289346.622
81 | 2695107.9758 | 1289373.9397
82 | 2695108.4152 | 1289372.6836
83 | 2695102.2069 | 1289390.4309
84 | 2695094.6519 | 1289412.1202
85 | 2695086.5461 | 1289374.8439
86 | 2695048.509 | 1289359.0918
87 | 2695059.2559 | 1289345.8417
88 | 2695062.3325 | 1289364.8165
89 | 2695082.9797 | 1289373.367
90 | 2695059.8758 | 1289345.0774
91 | 2695018.8708 | 1289268.2759
92 | 2695049.7997 | 1289226.7375
93 | 2695068.3938 | 1289284.6773
94 | 2695073.0124 | 1289369.2393
95 | 2695078.3209 | 1289371.4377
96 | 2695060.9611 | 1289343.7393
97 | 2695069.2905 | 1289333.4698
98 | 2695068.7869 | 1289284.9819
99 | 2695127.3881 | 1289317.6281

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1