## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2932-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2932-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2932-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2932-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2932-7_0_4_node_135 | 0.4 | n |  | TRUE
5 | bus_LV_2932-7_0_4_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_2932-7_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2932-7_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2932-7_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2932-7_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2932-7_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2932-7_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2932-7_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_2932-7_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2932-7_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2932-7_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2932-7_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2932-7_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2932-7_0_4_node_138 | 0.4 | n |  | TRUE
19 | bus_LV_2932-7_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2932-7_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2932-7_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2932-7_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2932-7_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2932-7_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2932-7_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2932-7_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2932-7_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2932-7_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2932-7_0_4_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_2932-7_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_2932-7_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2932-7_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2932-7_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2932-7_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2932-7_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2932-7_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2932-7_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2932-7_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2932-7_0_4_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_2932-7_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2932-7_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2932-7_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2932-7_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2932-7_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2932-7_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2932-7_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2932-7_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2932-7_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2932-7_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2932-7_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2932-7_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_2932-7_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_2932-7_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2932-7_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_2932-7_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_2932-7_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2932-7_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_2932-7_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_2932-7_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_2932-7_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_2932-7_0_4_node_122 | 0.4 | n |  | TRUE
62 | bus_LV_2932-7_0_4_node_147 | 0.4 | n |  | TRUE
63 | bus_LV_2932-7_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_2932-7_0_4_node_131 | 0.4 | n |  | TRUE
65 | bus_LV_2932-7_0_4_node_120 | 0.4 | n |  | TRUE
66 | bus_LV_2932-7_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_2932-7_0_4_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_2932-7_0_4_node_137 | 0.4 | n |  | TRUE
69 | bus_LV_2932-7_0_4_node_151 | 0.4 | n |  | TRUE
70 | bus_LV_2932-7_0_4_node_134 | 0.4 | n |  | TRUE
71 | bus_LV_2932-7_0_4_node_132 | 0.4 | n |  | TRUE
72 | bus_LV_2932-7_0_4_node_136 | 0.4 | n |  | TRUE
73 | bus_LV_2932-7_0_4_node_145 | 0.4 | n |  | TRUE
74 | bus_LV_2932-7_0_4_node_144 | 0.4 | n |  | TRUE
75 | bus_LV_2932-7_0_4_node_139 | 0.4 | n |  | TRUE
76 | bus_LV_2932-7_0_4_node_140 | 0.4 | n |  | TRUE
77 | bus_LV_2932-7_0_4_node_141 | 0.4 | n |  | TRUE
78 | bus_LV_2932-7_0_4_node_142 | 0.4 | n |  | TRUE
79 | bus_LV_2932-7_0_4_node_143 | 0.4 | n |  | TRUE
80 | bus_LV_2932-7_0_4_node_146 | 0.4 | n |  | TRUE
81 | bus_MV_400_1_node_197 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2932-7_0_4_load_0 | 0 | 0.021664 | 0.0054294 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2932-7_0_4_load_1 | 1 | 0.0051653 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2932-7_0_4_load_3 | 3 | 0.017074 | 0.004279 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2932-7_0_4_load_133 | 5 | 0.0059221 | 0.0014842 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2932-7_0_4_load_4 | 6 | 0.0017906 | 0.00044877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2932-7_0_4_load_5 | 7 | 0.0017158 | 0.00043003 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2932-7_0_4_load_7 | 9 | 0.0024494 | 0.00061387 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2932-7_0_4_load_8 | 10 | 0.0027544 | 0.00069032 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2932-7_0_4_load_9 | 11 | 0.0017159 | 0.00043003 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2932-7_0_4_load_25 | 12 | 0.00065102 | 0.00016316 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2932-7_0_4_load_11 | 13 | 0.0017159 | 0.00043003 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2932-7_0_4_load_24 | 14 | 0.004711 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2932-7_0_4_load_10 | 15 | 0.0018984 | 0.00047578 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2932-7_0_4_load_12 | 16 | 0.0017159 | 0.00043003 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2932-7_0_4_load_13 | 17 | 0.00079856 | 0.00020014 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2932-7_0_4_load_18 | 19 | 0.0017159 | 0.00043003 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2932-7_0_4_load_14 | 20 | 0.00086238 | 0.00021613 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2932-7_0_4_load_15 | 21 | 0.00082645 | 0.00020713 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2932-7_0_4_load_16 | 22 | 0.001531 | 0.00038371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2932-7_0_4_load_17 | 23 | 0.0015215 | 0.00038131 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2932-7_0_4_load_19 | 24 | 0.00084685 | 0.00021224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2932-7_0_4_load_21 | 25 | 0.00093991 | 0.00023556 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2932-7_0_4_load_20 | 26 | 0.0026073 | 0.00065346 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2932-7_0_4_load_22 | 27 | 0.0018381 | 0.00046067 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2932-7_0_4_load_23 | 28 | 0.00055051 | 0.00013797 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2932-7_0_4_load_51 | 29 | 0.00059145 | 0.00014823 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2932-7_0_4_load_50 | 30 | 0.0014723 | 0.000369 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2932-7_0_4_load_27 | 32 | 0.0012104 | 0.00030335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2932-7_0_4_load_28 | 33 | 0.00071216 | 0.00017848 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2932-7_0_4_load_29 | 34 | 0.0027137 | 0.00068012 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2932-7_0_4_load_30 | 35 | 0.00082514 | 0.0002068 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2932-7_0_4_load_31 | 36 | 0.0046778 | 0.0011724 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2932-7_0_4_load_32 | 37 | 0.0042998 | 0.0010776 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2932-7_0_4_load_33 | 38 | 0.0024612 | 0.00061685 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2932-7_0_4_load_108 | 39 | 0.0039299 | 0.00098492 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2932-7_0_4_load_34 | 40 | 0.0047326 | 0.0011861 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2932-7_0_4_load_35 | 41 | 0.0022224 | 0.00055699 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2932-7_0_4_load_36 | 42 | 0.0030015 | 0.00075224 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2932-7_0_4_load_37 | 43 | 0.005485 | 0.0013747 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2932-7_0_4_load_38 | 44 | 0.0023988 | 0.00060121 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2932-7_0_4_load_39 | 45 | 0.0028927 | 0.00072498 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2932-7_0_4_load_41 | 46 | 0.0014612 | 0.00036622 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2932-7_0_4_load_44 | 47 | 0.0038013 | 0.0009527 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2932-7_0_4_load_43 | 48 | 0.0032943 | 0.00082563 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2932-7_0_4_load_46 | 50 | 0.011209 | 0.0028093 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2932-7_0_4_load_55 | 52 | 0.0084928 | 0.0021285 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2932-7_0_4_load_54 | 53 | 0.0028329 | 0.00070998 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2932-7_0_4_load_56 | 54 | 0.011213 | 0.0028104 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2932-7_0_4_load_53 | 55 | 0.0022727 | 0.00056959 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2932-7_0_4_load_52 | 56 | 0.00057435 | 0.00014395 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2932-7_0_4_load_57 | 57 | 0.0010317 | 0.00025857 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2932-7_0_4_load_60 | 60 | 0.0010162 | 0.00025468 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2932-7_0_4_load_147 | 62 | 0.0049646 | 0.0012443 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2932-7_0_4_load_131 | 64 | 0.011208 | 0.002809 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2932-7_0_4_load_120 | 65 | 0.0078683 | 0.001972 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2932-7_0_4_load_63 | 66 | 0.0049656 | 0.0012445 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2932-7_0_4_load_119 | 67 | 0.0038085 | 0.0009545 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2932-7_0_4_load_137 | 68 | 0.007879 | 0.0019747 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2932-7_0_4_load_151 | 69 | 0.011211 | 0.0028097 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2932-7_0_4_load_132 | 71 | 0.0058314 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2932-7_0_4_load_136 | 72 | 0.0022732 | 0.00056971 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2932-7_0_4_load_145 | 73 | 0.0059205 | 0.0014838 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2932-7_0_4_load_139 | 75 | 0.0015968 | 0.0004002 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2932-7_0_4_load_140 | 76 | 0.0016247 | 0.0004072 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2932-7_0_4_load_141 | 77 | 0.0016783 | 0.00042062 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2932-7_0_4_load_142 | 78 | 0.001597 | 0.00040024 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2932-7_0_4_load_143 | 79 | 0.0017004 | 0.00042616 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2932-7_0_4_load_146 | 80 | 0.0018384 | 0.00046074 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2932-7_0_4_line_0 |  | 0 | 1 | 0.0051378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2932-7_0_4_line_1 |  | 0 | 2 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2932-7_0_4_line_2 |  | 1 | 3 | 0.037502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2932-7_0_4_line_3 |  | 2 | 4 | 0.20476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2932-7_0_4_line_4 |  | 4 | 5 | 0.032373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2932-7_0_4_line_5 |  | 5 | 71 | 0.00025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2932-7_0_4_line_6 |  | 6 | 7 | 0.022652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2932-7_0_4_line_7 |  | 6 | 8 | 0.020496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2932-7_0_4_line_8 |  | 7 | 9 | 0.0064939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2932-7_0_4_line_9 |  | 8 | 10 | 0.016137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2932-7_0_4_line_10 |  | 9 | 11 | 0.001036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2932-7_0_4_line_11 |  | 10 | 12 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2932-7_0_4_line_12 |  | 11 | 13 | 0.00061446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2932-7_0_4_line_13 |  | 12 | 14 | 0.0048264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2932-7_0_4_line_14 |  | 13 | 15 | 0.014377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2932-7_0_4_line_15 |  | 14 | 31 | 0.0038062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2932-7_0_4_line_16 |  | 15 | 16 | 0.010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2932-7_0_4_line_17 |  | 16 | 17 | 0.011567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2932-7_0_4_line_18 |  | 17 | 18 | 0.012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2932-7_0_4_line_19 |  | 18 | 19 | 0.025888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2932-7_0_4_line_20 |  | 19 | 22 | 0.011291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2932-7_0_4_line_21 |  | 20 | 21 | 0.0010788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2932-7_0_4_line_22 |  | 20 | 22 | 0.01069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2932-7_0_4_line_23 |  | 21 | 23 | 0.022993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2932-7_0_4_line_24 |  | 23 | 24 | 0.011987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2932-7_0_4_line_25 |  | 24 | 25 | 0.0015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2932-7_0_4_line_26 |  | 25 | 26 | 0.0014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2932-7_0_4_line_27 |  | 26 | 27 | 0.021106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2932-7_0_4_line_28 |  | 27 | 28 | 0.0075123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2932-7_0_4_line_29 |  | 28 | 29 | 0.00055216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2932-7_0_4_line_30 |  | 29 | 30 | 0.0002632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2932-7_0_4_line_31 |  | 30 | 56 | 0.023274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2932-7_0_4_line_32 |  | 31 | 32 | 0.0040766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2932-7_0_4_line_33 |  | 32 | 33 | 0.018692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2932-7_0_4_line_34 |  | 33 | 34 | 0.0092828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2932-7_0_4_line_35 |  | 34 | 35 | 0.016147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2932-7_0_4_line_36 |  | 35 | 36 | 0.023201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2932-7_0_4_line_37 |  | 36 | 37 | 0.042572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2932-7_0_4_line_38 |  | 37 | 38 | 0.033262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2932-7_0_4_line_39 |  | 38 | 39 | 0.022004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2932-7_0_4_line_40 |  | 40 | 41 | 0.0007461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2932-7_0_4_line_41 |  | 40 | 42 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2932-7_0_4_line_42 |  | 41 | 43 | 0.03202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2932-7_0_4_line_43 |  | 42 | 44 | 0.009359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2932-7_0_4_line_44 |  | 43 | 45 | 0.0151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2932-7_0_4_line_45 |  | 44 | 46 | 0.0018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2932-7_0_4_line_46 |  | 46 | 47 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2932-7_0_4_line_47 |  | 47 | 48 | 0.006686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2932-7_0_4_line_48 |  | 48 | 49 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2932-7_0_4_line_49 |  | 49 | 50 | 0.0073439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2932-7_0_4_line_50 |  | 49 | 51 | 0.014752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2932-7_0_4_line_51 |  | 50 | 52 | 0.03079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_2932-7_0_4_line_52 |  | 51 | 53 | 0.0076598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2932-7_0_4_line_53 |  | 52 | 54 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2932-7_0_4_line_54 |  | 53 | 55 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2932-7_0_4_line_55 |  | 54 | 57 | 0.022419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_2932-7_0_4_line_56 |  | 55 | 56 | 0.0077409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2932-7_0_4_line_57 |  | 57 | 58 | 0.0012508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2932-7_0_4_line_58 |  | 58 | 59 | 0.035911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2932-7_0_4_line_59 |  | 58 | 60 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2932-7_0_4_line_60 |  | 59 | 61 | 0.03328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2932-7_0_4_line_61 |  | 59 | 62 | 0.032729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2932-7_0_4_line_62 |  | 60 | 63 | 0.00011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2932-7_0_4_line_63 |  | 61 | 64 | 0.02365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_2932-7_0_4_line_64 |  | 61 | 65 | 0.023701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2932-7_0_4_line_65 |  | 63 | 66 | 0.022568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2932-7_0_4_line_66 |  | 64 | 68 | 0.022008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_2932-7_0_4_line_67 |  | 65 | 67 | 0.0022977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2932-7_0_4_line_68 |  | 68 | 69 | 0.021374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2932-7_0_4_line_69 |  | 68 | 70 | 0.043034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2932-7_0_4_line_70 |  | 70 | 72 | 0.022952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2932-7_0_4_line_71 |  | 70 | 71 | 0.029514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2932-7_0_4_line_72 |  | 72 | 73 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2932-7_0_4_line_73 |  | 73 | 74 | 0.0054052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2932-7_0_4_line_74 |  | 74 | 80 | 0.021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2932-7_0_4_line_75 |  | 74 | 79 | 0.022219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2932-7_0_4_line_76 |  | 75 | 76 | 0.031123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2932-7_0_4_line_77 |  | 75 | 77 | 0.0079913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2932-7_0_4_line_78 |  | 76 | 78 | 0.0040902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2932-7_0_4_line_79 |  | 77 | 79 | 0.024159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2932-7_0_4_trafo_134 | 0.63 MVA 20/0.4 kV | 81 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2686580.4498 | 1283209.1141 | 2686580.6299 | 1283203.9794
1 | 2686578.6362 | 1283220.6307 | 2686580.4498 | 1283209.1141 | 2686580.4498 | 1283209.1141
2 | 2686580.6299 | 1283203.9794 | 2686581.9447 | 1283166.5009
3 | 2686603.9991 | 1283423.8112 | 2686578.6362 | 1283220.6307
4 | 2686603.9991 | 1283423.8112 | 2686604.7322 | 1283430.6278 | 2686607.464 | 1283455.9979
5 | 2686607.4913 | 1283456.2512 | 2686607.464 | 1283455.9979
6 | 2686459.7379 | 1283649.549 | 2686456.3628 | 1283627.1495
7 | 2686462.7917 | 1283669.8166 | 2686459.7379 | 1283649.549
8 | 2686456.3628 | 1283627.1495 | 2686455.3953 | 1283620.7281
9 | 2686462.7917 | 1283669.8166 | 2686478.9161 | 1283670.4472
10 | 2686455.3953 | 1283620.7281 | 2686455.2409 | 1283619.7037
11 | 2686503.3342 | 1283671.4023 | 2686478.9161 | 1283670.4472
12 | 2686455.1494 | 1283619.0961 | 2686455.2409 | 1283619.7037
13 | 2686508.1569 | 1283671.5909 | 2686503.3342 | 1283671.4023
14 | 2686453.0073 | 1283604.8797 | 2686455.1494 | 1283619.0961
15 | 2686511.9602 | 1283671.7397 | 2686508.1569 | 1283671.5909
16 | 2686453.0073 | 1283604.8797 | 2686451.4109 | 1283594.2846
17 | 2686451.4109 | 1283594.2846 | 2686449.6875 | 1283582.8468
18 | 2686447.844 | 1283570.612 | 2686449.6875 | 1283582.8468
19 | 2686447.844 | 1283570.612 | 2686473.4749 | 1283566.9705
20 | 2686473.4749 | 1283566.9705 | 2686484.6534 | 1283565.3823
21 | 2686495.2368 | 1283563.8786 | 2686496.3049 | 1283563.7269
22 | 2686495.2368 | 1283563.8786 | 2686484.6534 | 1283565.3823
23 | 2686496.3049 | 1283563.7269 | 2686513.7483 | 1283561.2486 | 2686519.0882 | 1283560.64
24 | 2686530.9977 | 1283559.2825 | 2686519.0882 | 1283560.64
25 | 2686532.5493 | 1283559.1057 | 2686530.9977 | 1283559.2825
26 | 2686532.5493 | 1283559.1057 | 2686533.9718 | 1283558.9435
27 | 2686554.9644 | 1283556.7862 | 2686548.3189 | 1283557.3083 | 2686533.9718 | 1283558.9435
28 | 2686562.4537 | 1283556.1978 | 2686554.9644 | 1283556.7862
29 | 2686563.0041 | 1283556.1545 | 2686562.4537 | 1283556.1978
30 | 2686563.2665 | 1283556.1339 | 2686563.0041 | 1283556.1545
31 | 2686563.2665 | 1283556.1339 | 2686586.4695 | 1283554.3111
32 | 2686511.9602 | 1283671.7397 | 2686516.0341 | 1283671.8871
33 | 2686516.0341 | 1283671.8871 | 2686534.7137 | 1283672.5631
34 | 2686543.9904 | 1283672.8988 | 2686534.7137 | 1283672.5631
35 | 2686543.9904 | 1283672.8988 | 2686560.127 | 1283673.4828
36 | 2686560.127 | 1283673.4828 | 2686583.3128 | 1283674.3218
37 | 2686583.3128 | 1283674.3218 | 2686594.7464 | 1283674.7356 | 2686625.747 | 1283677.5848
38 | 2686658.873 | 1283680.5811 | 2686656.1123 | 1283680.3756 | 2686625.747 | 1283677.5848
39 | 2686680.8158 | 1283682.2147 | 2686658.873 | 1283680.5811
40 | 2686653.6071 | 1283606.132 | 2686654.3529 | 1283606.1121
41 | 2686653.6071 | 1283606.132 | 2686639.9169 | 1283606.4962
42 | 2686686.3089 | 1283607.6754 | 2686661.4496 | 1283605.9233 | 2686654.3529 | 1283606.1121
43 | 2686639.9169 | 1283606.4962 | 2686639.9169 | 1283606.4962 | 2686638.524 | 1283597.2414
44 | 2686686.3089 | 1283607.6754 | 2686701.3713 | 1283608.737
45 | 2686638.256 | 1283595.4607 | 2686638.524 | 1283597.2414
46 | 2686638.256 | 1283595.4607 | 2686635.8052 | 1283579.1774
47 | 2686634.8101 | 1283572.5658 | 2686635.8052 | 1283579.1774
48 | 2686631.491 | 1283550.513 | 2686634.8101 | 1283572.5658
49 | 2686631.491 | 1283550.513 | 2686638.8065 | 1283549.8675
50 | 2686616.7626 | 1283551.9312 | 2686631.491 | 1283550.513
51 | 2686638.8065 | 1283549.8675 | 2686664.9736 | 1283547.5582 | 2686669.4472 | 1283546.904
52 | 2686616.7626 | 1283551.9312 | 2686609.1264 | 1283552.5311
53 | 2686682.6636 | 1283544.9714 | 2686669.4472 | 1283546.904
54 | 2686594.1866 | 1283553.7048 | 2686609.1264 | 1283552.5311
55 | 2686682.6636 | 1283544.9714 | 2686704.8464 | 1283541.7275
56 | 2686594.1866 | 1283553.7048 | 2686586.4695 | 1283554.3111
57 | 2686706.084 | 1283541.5465 | 2686704.8464 | 1283541.7275
58 | 2686701.5859 | 1283505.9164 | 2686706.084 | 1283541.5465
59 | 2686706.084 | 1283541.5465 | 2686716.9086 | 1283539.9892
60 | 2686701.5859 | 1283505.9164 | 2686697.6052 | 1283472.8738
61 | 2686701.5859 | 1283505.9164 | 2686732.9491 | 1283496.5597
62 | 2686717.0233 | 1283539.9727 | 2686716.9086 | 1283539.9892
63 | 2686697.6052 | 1283472.8738 | 2686695.2686 | 1283475.0302 | 2686692.3892 | 1283476.8227 | 2686687.5146 | 1283477.9854 | 2686675.5062 | 1283479.1752
64 | 2686697.6052 | 1283472.8738 | 2686694.7041 | 1283449.3515
65 | 2686717.0233 | 1283539.9727 | 2686717.5557 | 1283535.4322 | 2686734.8515 | 1283530.4602
66 | 2686653.6052 | 1283481.3452 | 2686675.5062 | 1283479.1752
67 | 2686694.4228 | 1283447.0711 | 2686694.7041 | 1283449.3515
68 | 2686653.6052 | 1283481.3452 | 2686655.1168 | 1283502.6654
69 | 2686653.6052 | 1283481.3452 | 2686610.6509 | 1283485.5954
70 | 2686610.6509 | 1283485.5954 | 2686587.8108 | 1283487.8547
71 | 2686610.6509 | 1283485.5954 | 2686607.4913 | 1283456.2512
72 | 2686571.399 | 1283489.4782 | 2686587.8108 | 1283487.8547
73 | 2686566.0201 | 1283490.0103 | 2686571.399 | 1283489.4782
74 | 2686566.0201 | 1283490.0103 | 2686567.5974 | 1283511.0859
75 | 2686566.0201 | 1283490.0103 | 2686543.909 | 1283492.1959
76 | 2686512.1721 | 1283491.268 | 2686481.3839 | 1283495.8245
77 | 2686512.1721 | 1283491.268 | 2686520.0772 | 1283490.0981
78 | 2686477.3378 | 1283496.4233 | 2686481.3839 | 1283495.8245
79 | 2686520.0772 | 1283490.0981 | 2686521.5537 | 1283489.8796 | 2686526.6732 | 1283489.9325 | 2686532.1888 | 1283491.1256 | 2686536.0171 | 1283492.1939 | 2686540.0657 | 1283492.5758 | 2686543.909 | 1283492.1959

## bus_geodata
| x | y | coords
0 | 2686580.4498 | 1283209.1141
1 | 2686580.6299 | 1283203.9794
2 | 2686578.6362 | 1283220.6307
3 | 2686581.9447 | 1283166.5009
4 | 2686603.9991 | 1283423.8112
5 | 2686607.464 | 1283455.9979
6 | 2686459.7379 | 1283649.549
7 | 2686456.3628 | 1283627.1495
8 | 2686462.7917 | 1283669.8166
9 | 2686455.3953 | 1283620.7281
10 | 2686478.9161 | 1283670.4472
11 | 2686455.2409 | 1283619.7037
12 | 2686503.3342 | 1283671.4023
13 | 2686455.1494 | 1283619.0961
14 | 2686508.1569 | 1283671.5909
15 | 2686453.0073 | 1283604.8797
16 | 2686451.4109 | 1283594.2846
17 | 2686449.6875 | 1283582.8468
18 | 2686447.844 | 1283570.612
19 | 2686473.4749 | 1283566.9705
20 | 2686495.2368 | 1283563.8786
21 | 2686496.3049 | 1283563.7269
22 | 2686484.6534 | 1283565.3823
23 | 2686519.0882 | 1283560.64
24 | 2686530.9977 | 1283559.2825
25 | 2686532.5493 | 1283559.1057
26 | 2686533.9718 | 1283558.9435
27 | 2686554.9644 | 1283556.7862
28 | 2686562.4537 | 1283556.1978
29 | 2686563.0041 | 1283556.1545
30 | 2686563.2665 | 1283556.1339
31 | 2686511.9602 | 1283671.7397
32 | 2686516.0341 | 1283671.8871
33 | 2686534.7137 | 1283672.5631
34 | 2686543.9904 | 1283672.8988
35 | 2686560.127 | 1283673.4828
36 | 2686583.3127 | 1283674.3218
37 | 2686625.747 | 1283677.5848
38 | 2686658.873 | 1283680.5811
39 | 2686680.8158 | 1283682.2147
40 | 2686653.607 | 1283606.132
41 | 2686654.3529 | 1283606.1121
42 | 2686639.9169 | 1283606.4962
43 | 2686686.3089 | 1283607.6754
44 | 2686638.524 | 1283597.2414
45 | 2686701.3713 | 1283608.737
46 | 2686638.256 | 1283595.4607
47 | 2686635.8052 | 1283579.1774
48 | 2686634.8101 | 1283572.5658
49 | 2686631.491 | 1283550.513
50 | 2686638.8065 | 1283549.8675
51 | 2686616.7626 | 1283551.9312
52 | 2686669.4472 | 1283546.904
53 | 2686609.1264 | 1283552.5311
54 | 2686682.6636 | 1283544.9714
55 | 2686594.1866 | 1283553.7048
56 | 2686586.4695 | 1283554.3111
57 | 2686704.8464 | 1283541.7275
58 | 2686706.084 | 1283541.5465
59 | 2686701.5859 | 1283505.9164
60 | 2686716.9086 | 1283539.9892
61 | 2686697.6052 | 1283472.8738
62 | 2686732.9491 | 1283496.5597
63 | 2686717.0233 | 1283539.9727
64 | 2686675.5062 | 1283479.1752
65 | 2686694.7041 | 1283449.3515
66 | 2686734.8515 | 1283530.4602
67 | 2686694.4228 | 1283447.0711
68 | 2686653.6052 | 1283481.3452
69 | 2686655.1168 | 1283502.6654
70 | 2686610.6509 | 1283485.5954
71 | 2686607.4913 | 1283456.2512
72 | 2686587.8108 | 1283487.8547
73 | 2686571.399 | 1283489.4782
74 | 2686566.0201 | 1283490.0103
75 | 2686512.1721 | 1283491.268
76 | 2686481.3839 | 1283495.8245
77 | 2686520.0772 | 1283490.0981
78 | 2686477.3378 | 1283496.4233
79 | 2686543.909 | 1283492.1959
80 | 2686567.5974 | 1283511.0859
81 | 2686653.6052 | 1283481.3452

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1